| To whom it may concern | Date | 15 October 2026 |
| --- | --- | --- |
|  | Enquiries | 3 |
|  | E-mail address | lebekogb@eskom.co.za |

Dear Sir/Madam

| Request for Enquiry Number | E3508GXNOU |
| --- | --- |
| Description / Project Title | The supply and delivery of whole or part of the scope for various Control & Instrumentation consumables & components at Koeberg Operating Unit for a period of 1 year |
| Tender Questions Closing Date | 30 October 2026 |

| Item | Questions | Answers | Clarity Published Dates |
| --- | --- | --- | --- |
|  | 217041- I require the existing unit’s serial number or full product number. Following up on my email below, could you please confirm if the complete assembly—including the Fisher 249B caged sensor, 2500 controller, and 67CFR regulator is required? | We require the level controller/ transmitter | 15/10/2026 |
|  | 556434- Please confirm the actuator model and size this steel arm will be fitted to. | OPERATING ARM FOR 4211 | 15/10/2026 |
|  | 698793- Please confirm the product/part number of the required DVC6200 positioner or provide the existing serial number. | The positioner model is 3582 | 15/10/2026 |