| Item | Quantity | Specifications |
| --- | --- | --- |
| Electric fence installation | 1 | - 600m long - The area of installation or work must be cleared and prepared - Installation of the fence (repair the electric fence, the frontal perimeter fence and supply of all fence material) - Paint the poles and two motor gates - New energizer + cables with accessories - Electrical necessities - Earth spikes - Replace energizer with alarm system - Spares - Isolator |
| Installation of gate motors | 2 | - 2 x Battery 12V 7A (per gate motor) - 1 x opener kit (per gate mote) - Intelligent speed control. - High duty cycle capability. - Smooth acceleration and deceleration. - Multiple operating features, including Intruder-detection Alarm. - Exceptionally easy system setup via LCD user interface. - Onboard code-hopping multichannel receiver with selective add and delete. - Integrated Chrono Guard timer functionality - Be alerted of gate activity via SMS - Fingerprint access point at main gate - Main gate to be opened with phone, fingerprint and pin code - 15 x two button remotes (only for the main gate) - 8 x 4 button remotes for the yard gate and campus alarm system - G-Switch |