ARC Infruitec-Nietvoorbij

Private Bag X5026, Stellenbosch, 7599, South Africa

Tel: (021) 809 3172

Fax: (021) 809 3400/3592

OFFICE OF SUPPLY CHAIN MANAGEMENT

- DESCRIPTION OF SERVICE: SUPPLY, DELIVER AND INSTALLATION – of new power supply for a   -80 degrees freezer

Scope of Work, Conditions for Supply, Deliver and Installation at Nietvoorbij campus, Klapmuts road R44, Stellenbosch.

| installation of new Power supply |  | Quantity | If No, Please Indicate Deviation |
| --- | --- | --- | --- |
| 1. Specific Description | Compliance to Specification (Yes/No) *Describe If Specification Differs |  |  |
| 1.1 For the power supply to the lab: Power supply from main D/B board to office number 74, +/- 10 meters of 3 core 4/6 mm and earth cable to isolator for –80 freezer and 30amp circuit breaker of DB board. One dedicated power supply for a minus 80 freezer, COC needed |  | 1 |  |
| Suppliers must have a valid trade test certificate for this electrical work ( supply proof) |  |  |  |
| Supplier must issue compliance certificate upon completion of the work. |  |  |  |
| Supplier must comply to health and safety regulation whilst working on site as per Department of Labor Regulations |  |  |  |
| Supplier must be registered on CSD, and that the tax status must be compliant at the time of closing of quotation |  |  |  |
| 2. General |  |  |  |
| 2.1 Site inspection is compulsory to attend by all suppliers on 18/02/2022 from 11:00 – 15:00 Closing Date 22/02/2022 at 11:00 am |  |  |  |

- PRICING SCHEDULE FOR SUPPLY, DELIVERY AND INSTALLATION OF  installation of new POWER SUPPLY

| Item description | Quantity | Unit price | Total Price |  |
| --- | --- | --- | --- | --- |
| - Power supply to the Office | 1 |  |  |  |
| - Labour & Travel | 1 |  |  |  |
| SUBTOTAL |  |  |  |  |  |
| VAT |  |  |  |  |  |
| GRANDTOTAL |  |  |  |  |  |

Company name:……………………………………………………………………………………………….

Contact person:………………………………………………………………………………………………..

Contact number:……………………………………………………………………………………………….

Date and signature:…………………………………………………………………………………………

- Contact: Mr Dave Kloppers 083 6370557 & Prof F Halleen – Email address- HalleenF@arc.agric.za or 021 8093040

NB: Bidders must complete the table below as per the commitment of the RFQ.

AGREE WITH THE ABOVE SPECIFICATION: We the undersigned submit this RFQ in accordance with the conditions contained in the referenced above RFQ document and attach the documents required:

Bidders representative:…………………………………………………………………….

Capacity:………………………………………………………………………………………

Date and signature:…………………………………………………………………………

| DISAGREE WITH THE ABOVE SPECIFICATION: |  |  |
| --- | --- | --- |
| PAGE NUMBER | CLAUSE NUMBER | DEVIATION |
| Bidders representative and capacity ………………………………………………………………………….. |  |  |
| Date and signature ………………………………………………………………………………………………………………………… |  |  |

- EVALUATION PROCESS & CRITERIA STAGE ONE FOR SUPPLY, DELIVER AND INSTALLATION OF:

installation of new POWER SUPPLY

ADMINISTRATIVE COMPLIANCE EVALUATION OF ALL PROPOSALS

|  | Comply with specification. Please indicate Yes or No |  |  |
| --- | --- | --- | --- |
|  | Yes | No | If no, indicate deviation |
| EVALUATION PROCESS: NB: It must be noted that ARC reserve the rights to request for clarification if all the below questions are not answered properly. |  |  |  |
| STAGE ONE: ADMINISTRATION COMPLIANCE |  |  |  |
| All suppliers are duly lodged will be examined to determine compliance with quoting requirements and conditions. Quotes with obvious deviations from the requirements/conditions, will be eliminated or disqualified from further adjudication. - Mandatory Quotes will only be compliant if supplier has submitted the following documents: |  |  |  |
| Administrative documents - According to National Treasury SCM Instruction number 4 of 2016/2017, only suppliers who are registered on Central Supplier Database (CSD) may be appointed. Suppliers is therefore encourage to register their entities on CSD, www.csd.gov.za and such information will be verified through Central Supplier Database (CSD); |  |  |  |
| - All SBD documents must be submitted and completed; |  |  |  |
| - Non-Mandatory - Valid B-BBEE certificate or sworn affidavit certify by commissioner of oaths. |  |  |  |

| STAGE TWO: FUNCTIONALITY |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| TECHNICAL CRITERIA | Description | Weight | Score | Total |
| The service provider must provide a minimum of three reference letters/ list for the similar job/ service/ installation rendered | A detailed reference letters/ list for the similar job/ service/ installation rendered Scoring guide 5 reference letters = 5 4 reference letters = 4 3 reference letters = 3 2 reference letters = 1 No submission = 0 ARC reserves the right to authenticate all supporting documents submitted, Failure to submit a detailed reference will result in a zero score | 55% |  |  |
| Project Team/ Key Personnel assigned to validate and calibrate equipment | The following information must be submitted and it will be verified at the stage of evaluation: The responsible person for validation and calibration must supply an compliance certificate and demonstrate the related experience in years Scoring guide: The responsible person (Certificate with Average years’ experience) - Certificate + more than 5 years [10] = 5 - Certificate + more than 3 but less than 5 years = 3 - Certificate + 1-3 years = 2 - No certificate and/or less than 1 years = 0 | 45% |  |  |
|  | TOTAL | 500 |  |  |
| AVERAGE ( Total ÷ 5) |  | 100 |  |  |
| NB: The minimum qualifying score is 50%. All tenders that fail to achieve the minimum qualifying score shall not be considered for further evaluation on price and B-BBEE (80/20) |  |  |  |  |  |