Administration Centre: ICT Section

Zone D, Gwadana Drive

Ezibeleni Tel: 047 – 873 8866

TERMS OF REFERENCE: Uninterrupted power supply (UPS)

Supply, delivery, and installation UPS backup power systems for Nonesi, Aliwal North & Sterkspruit campus

A better fu

|  | Uninterrupted power supply: Qty-: 3 |
| --- | --- |
| ITEMS: 1 | DESCRIPTION |
| UPS Batteries | UPS5000 UPS5000-E,120kVA, three phase four. wire system,380V, full Function Module,30kVA power Battery: 480V Battery pack for Huawei UPS with 40 x 40AH 12V batteries, links, |

NB:  The existing UPS systems will be traded in with the appointed services provider who will do the installation.

DELIVERYADDRESS   : Queenstown Cnr Robinson Rd & Zeiler Street

: Emfundweni Street, Zwelitsha Location, Sterkspruit. Eastern Cape, ZA 9762

: Cnr Young & Somerset St, Aliwal North, Eastern Cape, ZA, 9750

Prepared by:								Approved by

………………….							…………………

ASD: IT									DP: Corporate services

Mr. O Myataza								Mr. L Malindi

# ture with IKHALA

| Administration Centre | 047 – 873 8800 | Queen Nonesi | 047 – 873 8878 |
| --- | --- | --- | --- |
| Aliwal North | 051 – 634 1035 | Queenstown | 045 – 838 2593/4 |
| Ezibeleni: Engineering | 047 – 873 1293 | Sterkspruit | 051 – 6110 205 |
|  | 0655-PRAID-TP-Letterhead-A |  | Page 1 of 1 |