TENDER SPECS FOR TWO AUTO-TITRATORS FOR ACID AND ASCORBIC ACID TITRATIONS

|  |  | Yes | List specification |
| --- | --- | --- | --- |
| 1 | Supply and commissioning of two auto titrators. One to be installed and commissioned in Nelspruit and the other in Port Elizabeth. Both titrators must be supplied with all required accessories to preform both Acidity (acid base titration with NaOH) and Ascorbic acid (Voltametric Titration with DPI) analysis on each instrument. Must be able to store both PDF reports and CSV files of results via both USB stick and ethernet. |  |  |
| 2 | Both titrators must be fully operated via a Full-coverage Resistive Touch Screen. All data (method functions, sample info etc.) input should be entered digitally via the Full-coverage Resistive Touch Screen without the use of any analogue or push buttons. |  |  |
| 3 | Both Titrators must have the capability of connecting to a sample processor/changer with 8 or more sample positions. |  |  |
| 4 | Both Titrators must use a rod stirrer and not a magnetic stirrer. |  |  |
| 5 | Both Titrators must be able to have personalised individual user home screens and customisable shortcut icons per user |  |  |
| 6 | Both Titrators must include Plug-and-play burettes that will allow storage of titrant info and titrant standardisation value with user defined expiration dates via RFID communication with the titrator. |  |  |
| 7 | Both Titrators must have the capability of adding an additional dosing unit to enable the Titrator to host two burettes on the titrator simultaneously. |  |  |
| 8 | Commissioning of a titrator at Addo and a titrator at Nelspruit |  |  |
| 9 | Training on operating of equipment |  |  |