| To whom it may concern | Date | 29/06/2026 |
| --- | --- | --- |
|  | Enquiries | Refiloe Mabula |
|  | E-mail address | mabulara@ntcsa.co.za |

Dear Sir/Madam

| Request for Enquiry Number | E3032NTCSAMWP |
| --- | --- |
| Description / Project Title | East Grid High Risk IMBAE CT Replacement Project -Civil works |
| Tender Questions Closing Date | 9 July 2026 |

| Item | Questions | Answers |
| --- | --- | --- |
|  | Which series of Fisher injection mortar (FIS) should be used? | FIS EM or similar approved. |
|  | Sikatop Armatec is not included in the BOQ. May this cost be incorporated within the concrete pricing, or will the BOQ be revised accordingly? | The cost may be incorporated within the concrete pricing. |
|  | The scope of work (page 4, clause 3.2) specifies treatment of structural steel with an anti-rust agent; however, this is not included in the BOQ. Please clarify. | Structural steelwork is provided for under the Cabling and Stringing BOQ. It should therefore be disregarded under this transaction |
|  | Will the scope of work across the three substations be executed simultaneously, or sequentially? | The works will be executed sequentially, progressing from one substation to the next upon completion |
|  | Will there be separate site establishments for each substation or a single central establishment? | A central site establishment will be utilized. |
|  | Will the works be performed on an outage basis? | Yes, all works will be executed on an outage basis. |