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	Tender Questions and Answers
	Document Identifier
	559-222407715
	Rev
	1

	
	
	Effective Date
	July 2024

	
	
	Review Date
	July 2027



	To whom it may concern
	Date
	29/06/2026

	
	Enquiries
	Refiloe Mabula

	
	E-mail address
	mabulara@ntcsa.co.za


Dear Sir/Madam
	Request for Enquiry Number
	E3032NTCSAMWP

	Description / Project Title
	East Grid High Risk IMBAE CT Replacement Project -Civil works

	Tender Questions Closing Date
	9 July 2026



	Item 
	Questions 
	Answers 

	1. 
	Which series of Fisher injection mortar (FIS) should be used?
	FIS EM or similar approved.

	2. 
	Sikatop Armatec is not included in the BOQ. May this cost be incorporated within the concrete pricing, or will the BOQ be revised accordingly?

	The cost may be incorporated within the concrete pricing.

	3. 
	The scope of work (page 4, clause 3.2) specifies treatment of structural steel with an anti-rust agent; however, this is not included in the BOQ. Please clarify.
	Structural steelwork is provided for under the Cabling and Stringing BOQ. It should therefore be disregarded under this transaction

	4. 
	Will the scope of work across the three substations be executed simultaneously, or sequentially?

	The works will be executed sequentially, progressing from one substation to the next upon completion

	5. 
	Will there be separate site establishments for each substation or a single central establishment?
	A central site establishment will be utilized.

	6. 
	Will the works be performed on an outage basis?
	Yes, all works will be executed on an outage basis.
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