Herewith the specifications for a Digital Thermo-Hygrometer:

Air temperature measuring range: -10°C to 50°C

Accuracy: ±1°C

Functions: Minimum and Maximum

Temperature display in °C

Dimensions: 115 x 75 x 15mm

Unit must mount on a wall.

Specify power supply…..battery or rechargeable