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TENDER NO: SCM - INFRA 04/2026(3GB)


INVITATION FOR TENDERS FROM SUITABLE CONTRACTORS WITH CIDB GRADING OF (3GB) OR HIGHER FOR REPAIRS AND RENOVATIONS AT TROMPSBURG LIBRARY, TROMPSBURG





OCTOBER 2026


TENDER DOCUMENT						SCM - INFRA 04/ 2026


FOR 


REPAIRS AND RENOVATIONS AT TROMPSBURG LIBRARY

PROJECT TEAM



IN-HOUSE: 	DEPARTMENTAL INFRASTRUCTURE UNIT
						MR. S. FAKUDE
ZANA BUILDING 
CORNER OF HILL STREET AND HENRY STREET
BLOEMFONTEIN
9301 
TEL:	(064) 800 4466
	
						E-MAIL: fakude.sm@sacr.fs.gov.za














FREE STATE PROVINCIAL GOVERNMENT

DEPARTMENT OF SPORT, ARTS, CULTURE AND RECREATION

		REPAIRS AND RENOVATIONS AT TROMPSBURG LIBRARY

	DEPARTMENTAL INFRASTRUCTURE UNIT

Zana Building 
Corner of Hill Street and Henry Street
Bloemfontein

Contact:
Name: Mr. S. Fakude
Telephone   064 800 4466
	

	
Tenderer . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 

Total of the prices inclusive of value added tax:  R . . . . . . . . . . . . . . . . . . . . . . . . . . .
. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 
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THE TENDER

PART T1:  TENDERING PROCEDURES

T1.1 - Tender Notice and Invitation to Tender


[bookmark: _Toc112204145]FREE STATE PROVINCIAL GOVERNMENT

DEPARTMENT OF SPORT, ARTS, CULTURE AND RECREATION

REPAIRS AND RENOVATIONS AT TROMPSBURG LIBRARY
SCM - INFRA 04/ 2026

T1.1 Tender Notice and Invitation to Tender
	The DEPARTMENT OF SPORT, ARTS, CULTURE AND RECREATION, Free State Provincial Government, invites tenders for REPAIRS AND RENOVATIONS AT TROMPSBURG LIBRARY.

	Tenderers should have a CIDB contractor grading designation of 3GB or higher.  Joint Ventures with contractors with a 3GBor higher grading will also be considered.

	

	Points will be allocated to 80/20 points system
PRICE ……………………………………………………………………………………...80 Points
Specific goals……………………………………………………………………….……20 Points
Functionality (total) ……………………..………………………………………………45 Points

Experience…………………………………………………..……................................20  Points
Expertise………..………………………...……………….……….………………….…12  Points
Work Quality…………..…………………………………………...………………….....13 Points


The assessment of functionality will be done separately from the 80/20 preference points system. Bidders will be disqualified if it fails to achieve the minimum threshold of 32 points for functionality as indicated in the document

		Documents can be downloaded online at www.etenders.gov.za

	

	Enquiries relating to the issue of these documents may be addressed to Mr RL Masisi, email address: masisi@sacr.fs.gov.za; cell phone number 066 474 7494.
	A compulsory briefing session with representatives of the Employer will take place:
Date:  19 October  2026
Time:  14H00
Venue: Trompsburg Library, Corner David & Voortrekker Street, Trompsburg 9880

	Requirements for sealing, addressing, delivery, opening and assessment of tenders are stated in the Tender Data.




	

	




	

	

	

	

















PART T1:  TENDERING PROCEDURES
[bookmark: _Toc112204146]
FREE STATE PROVINCIAL GOVERNMENT

DEPARTMENT OF SPORT, ARTS, CULTURE AND RECREATION

REPAIRS AND RENOVATIONS AT TROMPSBURG LIBRARY.
SCM - INFRA 04/ 2026

T1.2 Tender Data	

The conditions of tender are the Standard Conditions of Tender as contained in Annex F of the CIDB Standard for Uniformity in Construction Procurement. (Seewww.cidb.org.za) which are reproduced without amendment or alteration for the convenience of tenderers as an Annex to this Tender Data.
The Standard Conditions of Tender make several references to the Tender Data for details that apply specifically to this tender. The Tender Data shall have precedence in the interpretation of any ambiguity or inconsistency between it and the standard conditions of tender. Each item of data given below is cross-referenced to the clause in the Standard Conditions of Tender to which it mainly applies.

The additional conditions of tender are:

	Clause number
	Tender Data

	T.1.1
	The employer is the DEPARTMENT OF SPORT, ARTS, CULTURE AND RECREATION, Free State Provincial Government.

	T.1.2
	The tender documents issued by the employer comprise:
T1.1 Tender notice and invitation to tender
T1.2 Tender data
T2.1 List of returnable documents
T2.2 Returnable schedules
Part 1: Agreements and contract data 
C1.1 Form of offer and acceptance
C1.2 Contract data
C1.3 Form of Guarantee
C1.4 Adjudicator’s Contract
Part 2: Pricing data
C2.1 Pricing instructions
C2.2 Activity schedules / Bills of Quantities
Part 3: Scope of work
C3  Scope of work
Part 4: Site information
C4  Site information

	T.1.3
	The employer’s agent is:
Name:  IN-HOUSE DEPARTMENTAL INFRASTRUCTURE UNIT
Address:Zana Building
Corner of Henry and Hill Street
Bloemfontein
Tel: 064 800 4466
E-mail: fakude.sm@sacr.fs.gov.za


	T.2.1
	The following tenderers who are registered with the CIDB, or are capable of being so registered prior to the closing date, are eligible to submit tenders: 

a) contractors who have a contractor grading designation equal to 3GB or higher 


Joint ventures are eligible to submit tenders provided that:
1.	Every member of the joint venture is registered with the CIDB;
2.	A CIDB JV calculator will be used to determine the overall joint venture grading.

	


	

	

		T   T.2.2


	The employer’s agent address for delivery of tender offers and identification details to be shown on each tender offer package are: 

[bookmark: Text18]Location of tender box: Entrance, Zana Building
Physical address: Zana Building, Corner of Henry and Hill Street, Bloemfontein.
Closing Date: 26 October 2026 
Closing Time: 11H00


	    TT.2.3
	A two-envelope procedure will not be followed.

	T  T.2.4
	The closing time for submission of tender offers is as stated in the Tender Notice and Invitation to Tender.

	T  T.2.5
	Telephonic, telegraphic, telex, facsimile or e-mailed tender offers will not be accepted.

	T  T.2.6
	The tender offer validity period is 120 days

	T  T.2.7
	The tenderer shall, when requested by the Employer to do so, submit the names of all management and supervisory staff that will be employed to supervise the labour-intensive portion of the works together with satisfactory evidence that such staff members satisfy the eligibility requirements.

	T  T.2.8
	The tenderer is required to submit with his tender a Certificate of Contractor Registration issued by the Construction Industry Development Board and a copy of a Tax Pin issued by the South African Revenue Services.
Where a tenderer satisfies CIDB contractor grading designation requirements through joint venture formation, such tenderers must submit the Certificates of Contractor Registration in respect of each partner.




	
	

	
	

	
	

	
	

	
	

	T.3.1
	Tenders will be opened immediately after the closing time for tenders at:
DEPARTMENT OF SPORT, ARTS, CULTURE AND RECREATION
Zana Building 
Corner of Henry and Hill Street
Bloemfontein


	T.3.2.1
	The procedure for the evaluation of responsive tenders is Method 4 (refer to page 23)

The financial offer will be scored using Formula 2 (option 1) where the value of W1 is:
1)  55where the financial value inclusive of VAT of all responsive tenders received have a value in excess of R 500 000; or 
2)  80 where the financial value inclusive of VAT of one or more responsive tender offers equals or is less than R 500 000. 

Up to 100 minus W1 tender evaluation points will be awarded to tenderers who complete the referencing schedule and who are found to be eligible for the preference claimed.

Preference will be granted as follows:
Points shall be allocated according to the 80/20 points system whereby:

Price ………………………………………………………………………80 Points
Specific goals………………………………………………….…………20 Points
Functionality (total)……..………………………………….…………45 Points

Experience……………………………………………………....…….…20 Points
Expertise……….. ………………………...……………….…………….12 Points
Work Quality………….. ……………………………………………...…13 Points


The assessment of functionality will be done separately from the 80/20 preference points system. Bidders will be disqualified if it fails to achieve the minimum threshold of 32 points for functionality as indicated in the document.









	T3.2.2
	Tender offers will only be accepted if:
a) the tenderer has in his or her possession an original valid Tax Pin issued by the South African Revenue Services or has made arrangements to meet outstanding tax obligations;
b) the tenderer is registered with the Construction Industry Development Board in an appropriate contractor grading designation;
c) the tenderer or any of its directors is not listed on the Register of Tender Defaulters in terms of the Prevention and Combating of Corrupt Activities Act of 2004  as a person prohibited from doing business with the public sector; 
d) the tenderer has not:
i) abused the Employer’s Supply Chain Management System; or
 ii)  failed to perform on any previous contract and has been given a written notice to this effect; and   
e) has completed the Compulsory Enterprise Questionnaire and there are no conflicts of interest which may impact on the tenderer’s ability to perform the contract in the best interests of the employer or potentially compromise the tender process.



	T3.2.3
	The number of paper copies of the signed contract to be provided by the employer is one.


[bookmark: _Toc112204164][bookmark: _Toc112222845][bookmark: _Toc112204165]
Annex: Standard Conditions of Tender

(As contained in Annexure F of the CIDB Standard for Uniformity in Construction Procurement)

F.1	General

F.1.1	Actions

The employer and each tenderer submitting a tender offer shall comply with these conditions of tender. In their dealings with each other, they shall discharge their duties and obligations as set out in F.2 and F.3, timorously and with integrity, and behave equitably, honestly and transparently.

F.1.2	Tender Documents

The documents issued by the employer for the purpose of a tender offer are listed in the tender data.

F.1.3	Interpretation

F.1.3.1	The tender data and additional requirements contained in the tender schedules that are included in the returnable documents are deemed to be part of these conditions of tender.

F.1.3.2	These conditions of tender, the tender data and tender schedules which are only required for tender evaluation purposes, shall not form part of any contract arising from the invitation to tender.

F.1.3.3 For the purposes of these conditions for the calling for expressions of interest, the following definitions apply:

a)	Comparative offer means the tenderers financial offer after the factors of non-firm prices, all unconditional discounts and any other tendered parameters that will affect the value of the financial offer have been taken into consideration
b)	Corrupt practice means the offering, giving, receiving or soliciting of anything of value to influence the action of the employer or his staff or agents in the tender process; and
c)	Fraudulent practice means the misrepresentation of the facts in order to influence the tender process or the award of a contract arising from a tender offer to the detriment of the employer, including collusive practices intended to establish prices at artificial levels
d)	Quality (functionality) means the totality of features and characteristics of a product or service that bear on its ability to satisfy stated or implied needs

F.1.4	Communication and employer’s agent

Each communication between the employerand a tenderer shall be to or from the employer'sagent only, and in a form that can be read, copied and recorded.  Writing shall be in the English language. The employer shall not take any responsibility for non-receipt of communications from or by a tenderer. The name and contact details of the employer’s agent are stated in the tender data.

F.1.5. The employer’s right to accept or reject any tender offer

F.1.5.1	The employer may accept or reject any variation, deviation, tender offer, or alternative tender offer, and may cancel the tender process and reject all tender offers at any time before the formation of a contract. The employer shall not accept or incur any liability to a tenderer for such cancellation and rejection, but will give written reasons for such action upon written request to do so.
F.1.5.2	The employer may not subsequent to the cancellation or abandonment of a tender process or the rejection of all responsive tender offers re-issue  a tender covering substantially the same scope of work within a period of six months unless only one tender was received and such tender was returned unopened to the tenderer.

F.2	Tenderer’s obligations

F.2.1	Eligibility

Submit a tender offer only if the tenderer satisfies the criteria stated in the tender data and the tenderer, or any of his principals, is not under any restriction to do business with employer.

F.2.2	Cost of tendering 

Accept that the employer will not compensate the tenderer for any costs incurred in the preparation and submission of a tender offer, including the costs of any testing necessary to demonstrate that aspects of the offer satisfy requirements.

F.2.3	Check documents

Check the tender documents on receipt for completeness and notify the employer of any discrepancy or omission.

F.2.4	Confidentiality and copyright of documents

Treat as confidential all matters arising in connection with the tender.  Use and copy the documents issued by the employer only for the purpose of preparing and submitting a tender offer in response to the invitation.

F.2.5	Reference documents

Obtain, as necessary for submitting a tender offer, copies of the latest versions of standards, specifications, conditions of contract and other publications, which are not attached but which are incorporated into the tender documents by reference.

F.2.6	Acknowledge addenda

Acknowledge receipt of addenda to the tender documents, which the employer may issue, and if necessary apply for an extension to the closing time stated in the tender data, in order to take the addenda into account.

F.2.7	Clarification meeting

Attend, where required, a clarification meeting at which tenderers may familiarize themselves with aspects of the proposed work, services or supply and raise questions.   Details of the meeting(s) are stated in the tender data.

F.2.8	Seek clarification

Request clarification of thetender documents, if necessary, by notifying the employer at least five working days before the closing time stated in the tender data.





F.2.9	Insurance

Be aware that the extent of insurance to be provided by the employer (if any) might not be for the full cover required in terms of the conditions of contract identified in the contract data.  The tenderer is advised to seek qualified advice regarding insurance.

F.2.10.	Pricing the tender offer

F.2.10.1	Include in the rates, prices, and the tendered total of the prices (if any) all duties, taxes (except Value Added Tax (VAT), and other levies payable by the successful tenderer, such duties, taxes and levies being those applicable 14 days before the closing time stated in the tender data.

F2.10.2	Show VAT payable by the employer separately as an addition to the tendered total of the prices.

F.2.10.3	Provide rates and prices that are fixed for the duration of the contract and not subject to adjustment except as provided for in the conditions of contract identified in the contract data.

F.2.10.4	State the rates and prices in Rand unless instructed otherwise in the tender data.  The conditions of contract identified in the contract data may provide for part payment in other currencies.

F.2.11	Alterations to documents

Not make any alterations or additions to the tender documents, except to comply with instructions issued by the employer, or necessary to correct errors made by the tenderer.  All signatories to the tender offer shall initial all such alterations. Erasures and the use of masking fluid are prohibited.

F.2.12	Alternative tender offers

F.2.12.1	Submit alternative tender offers only if a main tender offer, strictly in accordance with all the requirements of the tender documents, is also submitted.  The alternative tender offer is to be submitted with the main tender offer together with a schedule that compares the requirements of the tender documents with the alternative requirements the tenderer proposes.

F.2.12.2	Accept that an alternative tender offer may be based only on the criteria stated in the tender data or criteria otherwise acceptable to the employer.

F.2.13.	Submitting a tender offer

F.2.13.1	Submit a tender offer to provide the whole of the works, services or supply identified in the contract data and described in the scope of works, unless stated otherwise in the tender data.

F.2.13.2	Return all returnable documents to the employer after completing them in their entirety, either electronically (if they were issued in electronic format) or by writing in black ink.

F.2.13.3	Submit the parts of the tender offer communicated on paper as an original plus the number of copies stated in the tender data, with an English translation of any documentation in a language other than English, and the parts communicated electronically in the same format as they were issued by the employer.

F.2.13.4	Sign the original and all copies of the tender offer where required in terms of the tender data.  The employer will hold all authorized signatories liable on behalf of the tenderer.  Signatories for tenderers proposing to contract as joint ventures shall state which of the signatories is the lead partner whom the employer shall hold liable for the purpose of the tender offer.
F.2.13.5	Seal the original and each copy of the tender offer as separate packages marking the packages as "ORIGINAL" and "COPY".  Each package shall state on the outside the employer's address and identification details stated in the tender data, as well as the tenderer's name and contact address.

F.2.13.6	Where a two-envelope system is required in terms of the tender data, place and seal the returnable documents listed in the tender data in an envelope marked “financial proposal” and place the remaining returnable documents in an envelope marked “technical proposal”. Each envelope shall state on the outside the employer’s address and identification details stated in the tender data, as well as the tenderer's name and contact address.

F.2.13.7	Seal the original tender offer and copy packages together in an outer package that states on the outside only the employer's address and identification details as stated in the tender data.

F.2.13.8	Accept that the employer will not assume any responsibility for the misplacement or premature opening of the tender offer if the outer package is not sealed and marked as stated.



F.2.14	Information and data to be completed in all respects

Accept that tender offers, which do not provide all the data or information requested completely and in the form required, may be regarded by the employer as non-responsive.

F.2.15	Closing time

F.2.15.1	Ensure that the employer receives the tender offer at the address specifiedin the tender data not later than the closing time stated in the tender data. Proof of posting shall not be accepted as proof of delivery. The employer shall not accept tender offers submitted by telegraph, telex, facsimile or e-mail, unless stated otherwise in the tender data.

F.2.15.2	Accept that, if the employer extends the closing time stated in the tender data for any reason, the requirements of these conditions of tender apply equally to the extended deadline.

F.2.16	Tender offer validity

F.2.16.1	Hold the tender offer(s) valid for acceptance by the employer at any time during the validity period stated in the tender data after the closing time stated in the tender data.

F.2.16.2	If requested by the employer, consider extending the validity period stated in the tender data for an agreed additional period.

F.2.17	Clarification of tender offer after submission

Provide clarification of a tender offer in response to a request to do so from the employer during the evaluation of tender offers.  This may include providing a breakdown of rates or prices and correction of arithmetical errors by the adjustment of certain rates or item prices (or both).  No change in the total of the prices or substance of the tender offer is sought, offered, or permitted.  The total of the prices stated by the tenderer shall be binding upon the tenderer. 

Note:	Sub-clause F.2.17 does not preclude the negotiation of the final terms of the contract with a preferred tenderer following a competitive selection process, should the Employer elect to do so.



F.2.18.	Provide other material
F.2.18.1 Provide, on request by the employer, any other material that has a bearing on the tender offer, the tenderer’s commercial position (including notarized joint venture agreements), preferencing arrangements, or samples of materials, considered necessary by the employer for the purpose of a full and fair risk assessment.  Should the tenderer not provide the material, or a satisfactory reason as to why it cannot be provided, by the time for submission stated in the employer’s request, the employer may regard the tender offer as non-responsive.

F.2.18.2 Dispose of samples of materials provided for evaluation by the employer, where required.

F.2.19.	Inspections, tests and analysis 

Provide access during working hours to premises for inspections, tests and analysis as provided for in the tender data.

F.2.20. Submit securities, bonds, policies, etc.

If requested, submit for the employer’s acceptance before formation of the contract, all securities, bonds, guarantees, policies and certificates of insurance required in terms of the conditions of contract identified in the contract data.

F.2.21	Check final draft

Check the final draft of the contract provided by the employer within the time available for the employer to issue the contract.

F.2.22	Return of other tender documents

If so instructed by the employer, return all retained tender documents within 28 days after the expiry of the validity period stated in the tender data.

F.2.23	Certificates

Include in the tender submission or provide the employer with any certificates as stated in the tender data.


F.3.	The employer’s undertakings

F.3.1	Respond to clarification

Respond to a request for clarification received up to five working days before the tender closing time stated in the Tender Data and notify all tenderers who drew procurement documents.

F.3.2	Issue Addenda

If necessary, issue addenda that may amend or amplify the tender documents to each tenderer during the period from the date that tender documents are available until seven days before the tender closing time stated in the Tender Data.  If, as a result a tenderer applies for an extension to the closing time stated in the Tender Data, the Employer may grant such extension and, shall then notify all tenderers who drew documents.

F.3.3	Return late tender offers

Return tender offers received after the closing time stated in the Tender Data, unopened, (unless it is necessary to open a tender submission to obtain a forwarding address), to the tenderer concerned.

F.3.4	Opening of tender submissions

F.3.4.1	Unless the two-envelope system is to be followed, open valid tender submissions in the presence of tenderers’ agents who choose to attend at the time and place stated in the tender data.  Tender submissions for which acceptable reasons for withdrawal have been submitted will not be opened.

F.3.4.2	Announce at the meeting held immediately after the opening of tender submissions, at a venue indicated in the tender data, the name of each tenderer whose tender offer is opened, the total of his prices, preferences claimed and time for completion, if any, for the main tender offer only.

F.3.4.3	Make available the record outlined in F.3.4.2 to all interested persons upon request.




F.3.5	Two-envelope system

F.3.5.1	Where stated in the tender data that a two-envelope system is to be followed, open only the technical proposal of valid tenders in the presence of tenderers’ agents who choose to attend at the time and place stated in the tender data and announce the name of each tenderer whose technical proposal is opened.

F.3.5.2	Evaluate the quality of the technical proposals offered by tenderers, then advise tenderers who remain in contention for the award of the contract of the time and place when the financial proposals will be opened.  Open only the financial proposals of tenderers, who score in the quality evaluation more than the minimum number of points for quality stated in the tender data, and announce the score obtained for the technical proposals and the total price and any preferences claimed. Return unopened financial proposals to tenderers whose technical proposals failed to achieve the minimum number of points for quality.

F.3.6	Non-disclosure

Not disclose to tenderers, or to any other person not officially concerned with such processes, information relating to the evaluation and comparison of tender offers, the final evaluation price and recommendations for the award of a contract, until after the award of the contract to the successful tenderer.

F.3.7	Grounds for rejection and disqualification

Determine whether there has been any effort by a tenderer to influence the processing of tender offers and instantly disqualify a tenderer (and his tender offer) if it is established that he engaged in corrupt or fraudulent practices.

F.3.8	Test for responsiveness

F.3.8.1 Determine, on opening and before detailed evaluation, whether each tender offer properly received:

a) complies with the requirements of these Conditions of Tender,
b) has been properly and fully completed and signed, and
c) is responsive to theother requirementsof the tender documents.


F.3.8.2 A responsive tender is one that conforms to all the terms, conditions, and specifications of the tender documents without material deviation or qualification.  A material deviation or qualification is one which, in the Employer's opinion, would:

a) detrimentally affect the scope, quality, or performance of the works, services or supply identified in the Scope of Work,
b) change the Employer's or the tenderer's risks and responsibilities under the contract, or
c) Affect the competitive position of other tenderers presenting responsive tenders, if it were to be rectified.

Reject a non-responsive tender offer, and not allow it to be subsequently made responsive by correction or withdrawal of the non-conforming deviation or reservation.

F.3.9	Arithmetical errors

F.3.9.1 Check responsive tender offers for arithmetical errors, correcting them in the following manner:

a) Where there is a discrepancy between the amounts in figures and in words, the amount in words shall govern.
b) If bills of quantities (or schedule of quantities or schedule of rates) apply and there is an error in the line item total resulting from the product of the unit rate and the quantity, the line item total shall govern and the rate shall be corrected.  Where there is an obviously gross misplacement of the decimal point in the unit rate, the line item total as quoted shall govern, and the unit rate shall be corrected.
c) Where there is an error in the total of the prices either as a result of other corrections required by this checking process or in the tenderer's addition of prices, the total of the prices shall govern and the tenderer will be asked to revise selected item prices (and their rates if bills of quantities apply) to achieve the tendered total of the prices.

F.3.9.2 Consider the rejection of a tender offer if the tenderer does not correct or accept the correction of his arithmetical errors in the manner described in F.3.9.1.

F.3.10	Clarification of a tender offer

Obtain clarification from a tenderer on any matter that could give rise to ambiguity in a contract arising from the tender offer.
F.3.11	Evaluation of tender offers

F.3.11.1 General

Appoint an evaluation panel of not less than three persons.  Reduce each responsive tender offer to a comparative offer and evaluate it using the tender evaluation method that is indicated in the Tender Data and described below:



	Method 1: Financial offer 
	1) Rank tender offers from the most favourable to the least favourable comparative offer.

	
	2) Recommend highest ranked tenderer for the award of the contract, unless there are compelling and justifiable reasons not to do so.

	Method 2:
Financial offer and preferences
	1) Score tender evaluation points for financial offer.

	
	2) Confirm that tenderers are eligible for the preferences claimed and if so, score tender evaluation points for Preferencing.

	
	3) Calculate total tender evaluation points.

	
	4) Rank tender offers from the highest number of tender evaluation points to the lowest.

	
	5) Recommend tenderer with the highest number of tender evaluation points for the award of the contract, unless there are compelling and justifiable reasons not to do so.

	Method 3:
Financial offer and quality
	1) Score quality, rejecting all tender offers that fail to score the 	minimum number of points for quality stated in the Tender data.

	
	2) Score tender evaluation points for financial offer.

	
	3) Calculate total tender evaluation points.

	
	4) Rank tender offers from the highest number of tender evaluation points to the lowest.

	
	5) Recommend tenderer with the highest number of tender evaluation points for the award of the contract, unless there are compelling and justifiable reasons not to do so.

	Method 4:
Financial offer, quality and preferences
	1) Score quality, rejecting all tender offers that fail to score the 	minimum number of points for quality stated in the Tender data.

	
	2) Score tender evaluation points for financial offer.

	
	3) Confirm that tenderers are eligible for the preferences claimed, and if so, score tender evaluation points for Preferencing.

	
	4) Calculate total tender evaluation points.

	
	5) Rank tender offers from the highest number of tender evaluation points to the lowest.

	
	6) Recommend tenderer with the highest number of tender evaluation points for the award of the contract, unless there are compelling and justifiable reasons not to do so.



Score financial offers, preferences and quality, as relevant, to two decimal places.


F.3.11.2   Scoring Financial Offers 

Score the financial offers of remaining responsive tender offers using the following formula:
NFO	= W1 x A where:
NFO 	= the number of tender evaluation points awarded for the financial offer.
W1	= the maximum possible number of tender evaluation points awarded for the financial offer as stated in the Tender Data.
A 	= a number calculated using either formulas 1 or 2 below as stated in the Tender Data.

	
Formula 
	Comparison aimed at achieving
	Option 1
	Option 2

	1
	Highest price or discount
	A = (1+ (P – Pm))
                 Pm
	A = P / Pm

	2
	Lowest price or percentage commission / fee
	A = (1 – (P – Pm)
                   Pm
	A = Pm / P



where:
Pm	=	the comparative offer of the most favourable tender offer.
P	=	the comparative offer of tender offer under consideration.

F.3.12	Insurance provided by the employer

If requested by the proposed successful tenderer, submit for the tenderer's information the policies and / or certificates of insurance which the conditions of contract identified in the contract data, require the employer to provide.

F.3.13	Acceptance of tender offer

F.3.13.1	Accept tender offer only if the tenderer complies with the legal requirements stated in the Tender Data.

F.3.13.2	Notify the successful tenderer of the employer's acceptance of his tender offer by completing and returning one copy of the form of offer and acceptance before the expiry of the validity period stated in the tender data, or agreed additional period.  Providing the form of offer and acceptance does not contain any qualifying statements, it will constitute the formation of a contract between the employer and the successful tenderer as described in the form of offer and acceptance. 

F.3.14	Notice to unsuccessful tenderers

After the successful tenderer has acknowledged the employer’s notice of acceptance, notify other tenderers that their tender offers have not been accepted.

F.3.15.	Prepare contract documents

If necessary, revise documents that shall form part of the contract and that were issued by the employer as part of the tender documents to take account of:
a) addenda issued during the tender period, 
b) inclusion of some of the returnable documents,
c) other revisions agreed between the employer and the successful tenderer, and 
d)	the schedule of deviations attached to the form of offer and acceptance, if any.

F.3.16		Issue final contract

Prepare and issue the final draft of contract documents to the successful tenderer for acceptance as soon as possible after the date of the employer's signing of the form of offer and acceptance (including the schedule of deviations, if any). Only those documents that the conditions of tender require the tenderer to submit, after acceptance by the employer, shall be included.

F.3.17		Complete adjudicator's contract

Unless alternative arrangements have been agreed or otherwise provided for in the contract, arrange for both parties to complete formalities for appointing the selected adjudicator at the same time as the main contract is signed.

F.3.18		Provide copies of the contracts
Provide to the successful tenderer the number of copies stated in the Tender Data of the signed copy of the contract as soon as possible after completion and signing of the form of offer and acceptance.




PART T2:  RETURNABLE DOCUMENTS

T2.1 - List of Returnable Documents

FREE STATE PROVINCIAL GOVERNMENT

DEPARTMENT OF SPORT, ARTS, CULTURE AND RECREATION

REPAIRS AND RENOVATIONS AT TROMPSBURG LIBRARY
SCM - INFRA 04 / 2026

T2.1 List of Returnable Documents		
	
The tenderer must complete the following returnable documents: 

1  Returnable Schedules required only for tender evaluation purposes 

· A Joint Venture agreement (where applicable)
· Compulsory Enterprise Questionnaire
· Record of Addenda to Tender Documents
· Proposed Amendments and Qualifications
· Schedule of Subcontractors
· Schedule of Plant and Equipment 
· Schedule of the Tenderer’s Experience

2  Other documents required only for tender evaluation purposes

· Proof of registration for regional levies if a preference is claimed for being registered in the Free State Province.
· Certificate of Contractor Registration issued by the Construction Industry Development Board
· An original valid Tax Clearance Certificate issued by the South African Revenue Services.

3  Returnable Schedules that will be incorporated into the contract

Preferencing Schedule (direct preferences)

4  Other documents that will be incorporated into the contract   -  None


5   The offer portion of the C1.1 Offer and Acceptance

6   C1.2      Contract Data (Part 2)

7   C2.2      Bills of quantities 































Record of Addenda to tender documents

	We confirm that the following communications received from the Employer before the submission of this tender offer, amending the tender documents, have been taken into account in this tender offer:

	
	Date
	Title or Details

	1. 
	

	

	2. 
	

	

	3. 
	

	

	4. 
	

	

	5. 
	

	

	6. 
	

	

	7. 
	

	

	8. 
	

	

	Attach additional pages if more space is required.

	Signed
	
	Date
	

	Name
	
	Position
	

	Tenderer
	








Compulsory Enterprise Questionnaire

	The following particulars must be furnished. In the case of a joint venture, separate enterprise questionnaires in respect of each partner must be completed and submitted.

	Section 1:    Name of enterprise:  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 

	Section 2:    VAT registration number, if any: . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

	Section 3:    CIDB registration number, if any: . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 

	Section 4:    Particulars of sole proprietors and partners in partnerships
	Name*
	Identity number*
	Personal income tax number*

	
	
	

	
	
	

	
	
	


* Complete only if sole proprietor or partnership and attach separate page if more than 3 partners

	Section 5:    Particulars of companies and close corporations
Company registration number . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 
Close corporation number . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 
Tax reference number . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

	Section 6:   Record in the service of the state
Indicate by marking the relevant boxes with a cross, if any sole proprietor, partner in a partnership or director, manager, principal shareholder or stakeholder in a company or close corporation is currently or has been within the last 12 months in the service of any of the following: 

	· a member of any municipal council
· a member of any provincial legislature
· a member of the National Assembly or the National Council of Province
· a member of the board of directors of any municipal entity
· an official of any municipality or municipal entity
	   an employee of any provincial department, national or provincial public entity or constitutional institution within the meaning of the Public Finance Management Act, 1999 (Act 1 of 1999)
   a member of an accounting authority of any national     or provincial public entity
    an employee of Parliament or a provincial legislature




If any of the above boxes are marked, disclose the following:

	Name of sole proprietor, partner, director, manager, principal shareholder or stakeholder 
	Name of institution, public office, board or organ of state and position held
	Status of service
(tick appropriate column)

	
	
	Current
	Within last 12 months

	
	
	
	

	
	
	
	

	
	
	
	


*insert separate page if necessary

	Section 7:   Record of spouses, children and parents in the service of the state
Indicate by marking the relevant boxes with a cross, if any spouse, child or parent of  a  sole proprietor, partner in a partnership or director, manager, principal shareholder or stakeholder in a company or close corporation is currently or has been within the last 12 months been in the service of any of the following:

	· a member of any municipal council
· a member of any provincial legislature
· a member of the National Assembly or the National Council of Province
· a member of the board of directors of any municipal entity
· an official of any municipality or municipal entity

	   an employee of any provincial department, national or provincial public entity or constitutional institution within the meaning of the Public Finance Management Act, 1999 (Act 1 of 1999)
   a member of an accounting authority of any national     or provincial public entity
    an employee of Parliament or a provincial legislature



	Name of spouse, child or parent
	Name of institution, public office, board or organ of state and position held
	Status of service
(tick appropriate column)

	
	
	Current
	Within last 12 months

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


*insert separate page if necessary


	The undersigned, who warrants that he / she is duly authorized to do so on behalf of the enterprise:  
i)   authorizes the Employer to obtain a tax clearance certificate from the South African Revenue  Services that my / our tax matters are in order; 
ii)  confirms that the neither the name of the enterprise or the name of any partner, manager, director or other person, who wholly or partly exercises, or may exercise, control over the enterprise appears on the Register of Tender Defaulters established in terms of the Prevention and Combating of Corrupt Activities Act of 2004; 
iii) confirms that no partner, member, director or other person, who wholly or partly exercises, or may exercise, control over the enterprise appears,  has within the last five years been convicted of fraud or corruption;
iv) confirms that I / we are not associated, linked or involved with any other tendering entities submitting tender offers and have no other relationship with any of the tenderers or those responsible for compiling the scope of work that could cause or be interpreted as a conflict of interest; and
iv)  confirms that the contents of this questionnaire are within my personal knowledge and are to the best of my belief both true and correct.

	Signed
	
	Date
	

	Name
	
	Position
	

	Enterprise name
	













PART T2: RETURNABLE DOCUMENTS

T2.2 -  Retournable Schedule

Certificate of Authority for Joint Ventures

This Returnable Schedule is to be completed by joint ventures.

We, the undersigned, are submitting this tender offer in Joint Venture and hereby authorize Mr./Mrs. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . , authorized signatory of the company . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .  , acting in the capacity of lead partner, to sign all documents in connection with the tender offer and any contract resulting from it on our behalf.  

	NAME OF FIRM
	ADDRESS
	DULY AUTHORISED SIGNATORY

	Lead partner



	





	


Signature. . . . . . . . . . . . . . .
Name . . . . . . . . . . . . . . . . .
Designation . . . . . . . . . . . . .



	


	







	


Signature. . . . . . . . . . . . . . .
Name . . . . . . . . . . . . . . . . .
Designation . . . . . . . . . . . . .


	



	






	


Signature. . . . . . . . . . . . . . .
Name . . . . . . . . . . . . . . . . .
Designation . . . . . . . . . . . . .



	





	
	

Signature. . . . . . . . . . . . . . .
Name . . . . . . . . . . . . . . . . .
Designation . . . . . . . . . . . . .






Schedule of Proposed Subcontractors
			
	We notify you that it is our intention to employ the following Subcontractors for work in this contract. 
If we are awarded a contract we agree that this notification does not change the requirement for us to submit the names of proposed Subcontractors in accordance with requirements in the contract for such appointments.  If there are no such requirements in the contract, then your written acceptance of this list shall be binding between us.
We confirm that all Subcontractors who are contracted to construct a house are registered as home builders with the National Home Builders Registration Council.

	
	Name and address of proposed Subcontractor
	Nature and extent of work
	Previous experience with Subcontractor.

	1. 
	
	
	

	2. 
	
	
	

	3. 
	
	
	

	4. 
	
	
	

	5. 
	








	
	

	
Signed
	
	
Date
	

	
Name
	
	
Position
	

	
Tenderer
	


		
		

























Schedule of Plant and Equipment














	
















	The following are lists of major items of relevant equipment that I / we presently own or lease and will have available for this contract or will acquire or hire for this contract if my / our tender is accepted.
	
(a)	Details of major equipment that is owned by and immediately available for this contract.  

	Quantity
	Description, size, capacity, etc.

	













	


Attach additional pages if more space is required.

(b)	Details of major equipment that will be hired, or acquired for this contract if my / our tender is acceptable.

	Quantity
	Description, size, capacity, etc.

	













	


Attach additional pages if more space is required.
	

	

	Signed
	
	Date
	

	Name
	
	Position
	

	Tenderer
	































Schedule of the Tenderer’s Experience

	The following is a statement of similar work successfully executed by myself / ourselves:
	Employer, contact person and telephone number.
	Description of contract
	Value of work inclusive of VAT (Rand)
	Date completed

	























	
	
	




	

	Signed
	
	Date
	

	Name
	
	Position
	

	Tenderer
	



Schedule of the Tenderer’s Experience

	The following is a statement of contracts currently being executed by myself / ourselves:
	Employer, contact person and telephone number.
	Description of contract
	Value of work inclusive of VAT (Rand)
	Date completed

	























	
	
	




	

	Signed
	
	Date
	

	Name
	
	Position
	

	Tenderer
	




Proposed amendments and qualifications

	The Tenderer should record any deviations or qualifications he may wish to make to the tender documents in this Returnable Schedule. Alternatively, a tenderer may state such deviations and qualifications in a covering letter to his tender and reference such letter in this schedule.

The Tenderer’s attention is drawn to clause F.3.8 of the Standard Conditions of Tender referenced in the Tender Data regarding the employer’s handling of material deviations and qualifications.

	Page
	Clause or item
	Proposal

	





















	
	




	

	Signed
	
	Date
	

	Name
	
	Position
	

	Tenderer
	




Referencing schedule (direct preference)

	1  Definitions

The following definitions shall apply to this schedule:	

Disabled: in respect of a person, a permanent impairment of a physical, intellectual, or sensory function, which results in restricted, or lack of, ability to perform an activity in the manner, or within the range, considered normal for a human being.

Equity ownership: The percentage of an enterprise or business owned by individuals or, in respect of a company, the percentage of the company’s shares that are owned by individuals, who are actively involved in the management of an enterprise or business and exercise control over the enterprise, commensurate with their degree of ownership at the closing date of the tender.

Note:   All claims for HDI black equity ownership by an HDI will be considered according to the following criteria:
· equity within private companies will be based on the percentage of equity ownership;
· preference points will not be awarded to public companies and tertiary institutions;
 -       equity claims for a trust will only be allowed in respect of those persons who are both trustees and beneficiaries and who are actively involved in the management of the Trust (i.e. the arrangement through which the property of one person is made over or bequeathed to a trustee to administer such property for the benefit of another person);
· ; and.
· a joint venture may, based on the percentage of the contract value managed or executed by their HDI(black-owned), be entitled to equity ownership.

Historically disadvantaged individual (HDI): A South African citizen
a)      who, due to the apartheid policy that had been in place, had no franchise in national elections prior to the introduction of the Constitution of the RSA, 1983 (Act 110 of 1983) or the Constitution of the RSA, 1993 (Act 200 of 1993) (the interim Constitution), or
provided that a person who obtained South African citizenship on or after the coming to effect of the Interim Constitution, is deemed not to be an HDI;

joint venture: a grouping of two or more contractors who jointly and severally undertake to perform a construction works contract.

managed: the possession and exercise of legal authority and power to manage the assets, goodwill and daily operations of a business and the active and continuous exercise of appropriate managerial and financial authority and power in determining the policies and directing the operations of the business.

owner: A person who has all the customary incidents of ownership, including the right of disposition, and sharing in all the risks and profits commensurate with the degree of ownership interest as demonstrated by an examination of the substance, rather than the form of ownership arrangements.

Registered contractor: a contractor registered with the Construction Industry Development Board in a contractor grading designation appropriate to the works.

SMME: A sole trader, partnership or legal entity, including co-operative enterprises and non-governmental organizations, managed by one owner or more which, including its branches or subsidiaries, if any, is predominantly carried out in any sector or sub sector of the economy mentioned in column 1 of the Schedule and which can be classified as a micro - a very small, a small or a medium enterprise by satisfying the criteria mentioned in columns 3, 4 and 5 of the Schedule opposite the smallest relevant size or class as mentioned in column 2 of the Schedule 

Schedule 
	Column 1
	Column 2
	Column 3
	Column 4
	Column 5

	SECTOR OR SUB-SECTORS IN ACCORDANCE WITH THE STANDARD INDUSTRIAL CLASSIFICATION 
	SIZE OR CLASS
	TOTAL FULL-TIME EQUIVALENT OF PAID EMPLOYEES

LESS THAN
	TOTAL ANNUAL TURNOVER


LESS THAN
	TOTAL GROSS
ASSET VALUE
(FIXED PROPERTY EXCLUDED)
LESS THAN

	Construction
	Medium
Small
Very small
Micro
	200
50
20
5
	R26,00 m
R  6,00 m
R  3,00 m
R  0,20 m
	R5,00 m
R1,00 m
R0,50 m
R0,10 m



Youth: A South African citizen who is between the age of 18 and 35 at the time that tenders close.

2   Conditions associated with the granting of preferences

The tenderer who claims a preference, undertakes to:

1) not subcontract more than 25% of the contract price, unless such contracting is undertaken in terms of a preference claimed.
2) maintain a HDI / black equity ownership of not less than that upon which the preference is based for the duration of the Contract, or in the case of a joint venture, ensure that the percentage of the contract value managed or executed by HDI’s not less than that upon which the preference is based;
3) accept the sanctions set out in Section 3 below should conditions 1 or 2 be breached; 
4) complete sections 4 to 7 below as relevant; 
5) enter into written subcontract agreements in accordance with the provisions of the Construction Industry Development Board’s Best Practice Guideline D1: Subcontracting Arrangements; and 
6) complete the Declaration with regard to Equity Ownership contained in section 5 below.
7) provide proof of registration for regional levies if a preference is claimed for being registered in the Free State Province.
	
3   Sanctions relating to breaches of Referencing conditions

The sanctions for breaching the Referencing conditions are:
1)    termination of the Contract; or 
2)  a financial penalty payable to the Employer equal to 1,25 times the number of tender evaluation points awarded in respect of the preference claimed, multiplied by the Contract Price exclusive of VAT, divided by 100.

4  Tender preference claim in respect of HDI / youth  enterprise status or structure of the tendering entity

Number of preference points = NOP x EP / 100
NOP =   maximum tender evaluation points provided for HDI  equity ownership 
EP    = the percentage of equity ownership by an HDI within the business enterprise or, in the case of a joint venture, the percentage of the contract value managed or executed by their HDI / Youth members.

I/we apply on behalf of my/our firm for a preference based on:

Non-joint ventures
HDI equity ownership percentage of ……….……. %
Youth equity ownership percentage of   …………. %
Joint Ventures
the percentage of the contract value managed or executed by their HDI members of ………%
the percentage of the contract value managed or executed by their  Youth members of ………%
5 Tender preferences claimed	
NOTE:	 FREE STATE GOVERNMENT TO DECIDE ON THESE CATEGORIES AND POINTS
I  / we apply on behalf of my / our firm for the following preference:


	Category of preference

	Percentage of maximum tender evaluation points provided for in the Preferential Procurement Policy Framework Act (Act 5 of 2000)

	Preference claimed for Category of Preference
(Y=yes)

	SPECIFIC GOALS:
	20
	

	FUNCTIONALITY:
	
	

	Experience
	20
	

	Work quality
	13
	

	Expertise
	12
	

	Having a CIDB Contractor grading designation of a 3GB or Joint Venture 
	
	

	SMME status
Micro
Very small
Small
Medium
	
	

	Undertaking to subcontract the following to registered contractors:
40% of the contract price
30% of the contract price
10% of the contract price
	
	

	Having a head office in Free State Province
	
	


6    Declaration with regard to equity ownership

6.1 How long has the Company been in existence?    . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 

6.2 Describe principal business activities:

. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 
. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 
. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

6.3 List all shareholders by name, identity number, citizenship, status, ownership, as relevant

	Name
	Status
	ID number
	Date RSA Citizenship obtained
	Percentage owned 

	
	Woman
	Black person
	Youth
	Disability
	
	
	

	

	
	
	
	
	
	
	

	

	
	
	
	
	
	
	




6.4   In the case of a person with a disability:

	Name 
	Describe what the permanent impairment is.
	Outline how the permanent impairment impacts on ability to perform an activity in the manner or within the ranges considered normal for a human being?

	

	
	

	

	
	

	

	
	

	

	
	









7    SMME criteria

Provide the following information:

	TOTAL FULL-TIME EQUIVALENT OF PAID EMPLOYEES
	TOTAL ANNUAL TURNOVER



	TOTAL GROSS
ASSET VALUE
(FIXED PROPERTY EXCLUDED)

	



	
	





The undersigned, who warrants that he / she is duly authorized to do so on behalf of the firm or sole proprietor confirms that he / she understands the conditions under which such preferences are granted and confirms that the tenderer satisfies the conditions pertaining to the granting of tender preferences.


Signature : ...............................................................................................................................……….

Name : .......................................................................................................................................………

Duly authorized to sign on behalf of : ............................................................................................………

Telephone : ......................................................................  

Fax :  ................................................................................

Date : ...............................................................................



THE CONTRACT

PART C1:  AGREEMENT AND CONTRACT DATA

C1.1 - Form of Offer and Acceptance

FREE STATE PROVINCIAL GOVERNMENT

DEPARTMENT OF SPORT, ARTS, CULTURE AND RECREATION

REPAIRS AND RENOVATIONS AT TROMPSBURG  PUBLIC LIBRARY.
 SCM - INFRA 04 / 2026

C1.1Form of Offer and Acceptance 

	Offer

The employer, identified in the acceptance signature block, has solicited offers to enter into a contract for the procurement of:


REPAIRS AND RENOVATIONS AT TROMPSBURG PUBLIC LIBRARY.
 SCM - INFRA 04/ 2026

The tenderer, identified in the offer signature block, has examined the documents listed in the tender data and addenda thereto as listed in the returnable schedules, and by submitting this offer has accepted the conditions of tender.

By the representative of the tenderer, deemed to be duly authorized, signing this part of this form of offer and acceptance, the tenderer offers to perform all of the obligations and liabilities of the contractor under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the contract data.




THE OFFERED TOTAL OF THE PRICES INCLUSIVE OF VALUE ADDED TAX IS:
. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .  . . . . . . . . . . . . . . . . . . . . . . .  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Rand (in words); R . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .. (in figures) 
This offer may be accepted by the employer by signing the acceptance part of this form of offer and acceptance and returning one copy of this document to the tenderer before the end of the period of validity stated in the tender data, whereupon the tenderer becomes the party named as the contractor in the conditions of contract identified in the contract data.

Signature       . . . . . . . . . . . . . . . . . . . . . . . . . . . . . ..                        Date . . . . . . . . . . . . . . . . . ..     
Name             . . . . . . . . . . . . . . . . . . . . . . . . . . . . . ... 
Capacity         . . . . . . . . . . . . . . . . . . . . . . . . . . . . . ...
for the tenderer
 (Name and           . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 
address of 
organization)        . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .


Name and               
signature 
of witness     . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .                          . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

Acceptance

By signing this part of this form of offer and acceptance, the employer identified below accepts the tenderer’s offer.  In consideration thereof, the employer shall pay the contractor the amount due in accordance with the conditions of contract identified in the contract data.  Acceptance of the tenderer’s offer shall form an agreement between the employer and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in: 

Part C1:	Agreements and contract data, (which includes this agreement)
Part C2:	Pricing data
Part C3:	Scope of work.
Part C4:	Site information
And drawings and documents or parts thereof, which may be incorporated by reference into Parts 1 to 4 above. 

Deviations from and amendments to the documents listed in the tender data and any addenda thereto as listed in the tender schedules as well as any changes to the terms of the offer agreed by the tenderer and the employer during this process of offer and acceptance, are contained in the schedule of deviations attached to and forming part of this agreement.  No amendments to or deviations from said documents are valid unless contained in this schedule.

The tenderer shall within two weeks after receiving a completed copy of this agreement, including the schedule of deviations (if any), contact the employer’s agent (whose details are given in the contract data) to arrange the delivery of any bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the contract data. Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed original copy of this document, including the schedule of deviations (if any).  Unless the tenderer (now contractor) within five working days of the date of such receipt notifies the employer in writing of any reason why he cannot accept the contents of this agreement, this agreement shall constitute a binding contract between the parties.


Signature         . . . . . . . . . . . . . . . . . . . . . . . . . . . . .              Date . . . . . . . . . . . . . . . . . . .    
Name               . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
Capacity           . . . . . . . . . . . . . . . . . . . . . . . . . . . .
for the
Employer DEPARTMENT OF SPORT, ARTS, CULTURE AND RECREATION
Corner of Hill and Henry Street, 
Zana Building
Bloemfontein


Name and           . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .    
signature 
of witness                                                                                             Date . . . . . . . . . . . . . . . . . . .    


Schedule of Deviations

1 Subject . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
    Details  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
                . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
                . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
                . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
2 Subject . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
    Details  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
                . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
                . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
                . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
3 Subject . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
    Details  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
                . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
                . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
                . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
4 Subject . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
    Details  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
                . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
                . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
                . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
5 Subject . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
    Details  . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
                . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
                . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
                . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
By the duly authorized representatives signing this agreement, the employer and the tenderer agree to and accept the foregoing schedule of deviations as the only deviations from and amendments to the documents listed in the tender data and addenda thereto as listed in the tender schedules, as well as any confirmation, clarification or changes to the terms of the offer agreed by the tenderer and the employer during this process of offer and acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Agreement shall have any meaning or effect in the contract between the parties arising from this agreement.








PART C1:  AGREEMENT AND CONTRACT DATA

C1.2 - Contract Data

FREE STATE PROVINCIAL GOVERNMENT

DEPARTMENT OF SPORT, ARTS, CULTURE AND RECREATION


REPAIRS AND RENOVATIONS AT TROMPSBURG PUBLIC LIBRARY.
 SCM - INFRA 04 / 2026

C1.2	Contract Data

The Conditions of Contract are clauses 1 to 41 of the JBCC Minor Works Agreement (Edition 5.1 of March 2014) published by the Joint Building Contracts Committee.

Copies of these conditions of contract may be obtained from the Association of South African Quantity Surveyors (011-3154140), Master Builders Association (011-205-9000; 057-3526269) South African Association of Consulting Engineers (011-4632022) or South African Institute of Architects (051-4474909; 011-4860684; 053-8312003;)

The JBCC Principal Building Agreement makes several references to the Contract Data for specific data, which together with these conditions collectively describe the risks, liabilities and obligations of the contracting parties and the procedures for the administration of the Contract. The Contract Data shall have precedence in the interpretation of any ambiguity or inconsistency between it and the JBCC Principal Building Agreement.

Each item of data given below is cross-referenced to the clause in the JBCC Principal Building Agreement to which it mainly applies.

The additions, deletions and alterations to the JBCC Principal Agreement are:

	Clause
	Additions, deletions and alterations


	1.2.1
	Replace the following definitions in DEFINITIONS AND INTERPRETATIONS with the following wording:
AGREEMENT means the agreement arising from the signing of the Form of Offer and Acceptance by the parties.
BILLS OF QUANTITIES means the document drawn up in accordance with the Pricing Instructions contained in the Pricing Data.
CONSTRUCTION PERIOD means the period commencing on the date that the Agreement made in terms of the Offer and Acceptance comes into effect and ending on the date of practical completion.
CONTRACT DOCUMENTS means the Agreement and all documents referenced therein.
CONTRACT DRAWINGS means the drawings listed in the Scope of Work.
CONTRACT SUM means the total of prices in the Form of Offer and Acceptance.
SCHEDULE means the variables listed in the Contract Data. 


	1.2.2
	The contractor and principal agent shall appoint a selected subcontractor in accordance with the provisions of the Scope of Work. 


	
	

	
	



















Part 1: Contract Data completed by the Employer

	Clause
	Item and data


	1.1




1.2
	CONTRACTING AND OTHER PARTIES

The Employer is the DEPARTMENT OF SPORT, ARTS, CULTURE AND RECREATION, Free State Provincial Government

The address of the Employer is: Corner of Hill Street and Henry Street, Bloemfontein.
Cell phone: 		 066 474 7494
Email address: 	masisi@sacr.fs.gov.za
Address (physical):	Corner of Hill and Henry Street, Zana Building,  Bloemfontein
Address (postal):	Private Bag X20606, Bloemfontein,9301

	
	

	
1.3

1.4
	
Contract Details

The Works comprise:  	REPAIRS AND RENOVATIONS AT MAJWEMASWEU PUBLIC LIBRARY.

	1.5
	The Site comprises: The existing premises, the tenderer should familiarize himself with the site before pricing the document.

	
1.6
	
The Works or installations to be undertaken by direct contractors comprises N/A

	1.7

1.8

1.9
1.10

1.11



1.12











1.13

	The Employer is an organ of State

· The interest rate as determined by the Minister of Finance, from time to time, in terms of section 80(1)(b) of the Public Finance Management Act, 1999 (Act No 1 of 1999) will apply.
· Lateral support insurance is not  to be effected by the contractor
· Payment will be made for materials and goods
· Dispute determinations shall be by arbitration 

· Extended defects liability period will apply to the following elements:

· General building work	:	3 months
· Electrical installation	:	12 months unless stated otherwise
· Civil works                          :              12 months unless stated otherwise 

Any leakages to roofs or damage caused as a result thereof within six (6) months after completion of the work due to poor materials or competency of workmen, shall be repaired by the contractor at his cost.  If no heavy rainfall is experienced during the aforesaid period, such period will be extended until sufficient heavy rainfalls provide a test of competency.

Possession of the site is to be given within three days after the contractor provided the employer with the construction guarantee in accordance with the provisions of 14.0

	
	
The period for the commencement of the works after the contractor takes possession of the site is 7 working days.

For the works as a whole:
The date for practical completion is 6 (SIX) MONTHS AFTER DATE OF ACCEPTANCE INCLUSIVE OF ALL STATUATORY AND BUILDER’S HOLIDAYS
The penalty per calendar day is R 6,500.00 (Six Thousand Five hundred Rands).


	
	For the works in sections: N/A


	
	The law applicable to the agreement shall be that of the Republic of South Africa.


	
	
Insurances 

	
	Contract insurance to be effected by the contractor

Contract works insurance is to be effected by the contractor for a sum not less than the contract sum with a deductible in an amount that the contractor deems appropriate.


	
	The supplementary insurance is required.  Such insurance shall comprise a Coupon Policy for Special Risks issued by the South African Special Risk Insurance Association.


	1.14

	Public liability insurance to be effected by the contractor for the sum of R 10 000 000.00  per claim with a deductible in an amount of R 5, 000.00.


	1.15

	Support insurance to be effected by the contractor for the sum of …..N/A…..with a deductible in an amount that the contractor deems appropriate.

	
	
Documents
A waiver of the contractor’s lien or right of continuing possession is required.

	
	Three copies of the construction document are to be supplied to the contractor free of charge. 


	1.16


1.17



	Bills of Quantities/lump sum documents schedule of rates is drawn up in accordance with Standard System of Measurement Building Work – 1999 edition 

Bills of quantities/lump sum document are to be submitted with this tender.

JBCC Engineering General Conditions are not to be included in the contract document. 


	
1.18

	
The contract value will be adjusted using CPAP indices.  
Where applicable the base month for the application of CPAP is the month in which the tender closed. 

	1.19
	There is no latest day of the month for the issue of an interim payment certificate.


	1.20 
	The employer will not provide advanced payments against an advanced payment guarantee 


	1.21
	The construction guarantee is to be a fixed guarantee in an amount of 10% of the contract sum. 

	


















	










Part 2: Contract Data completed by the Contractor

	Clause
	Item and data


	1
	The name of the Contractor is. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 
The address of the contractor is:
Telephone:  . . . . . . . . . . . . . . . . . . . . . . . . . . . 
Facsimile:    . . . . . . . . . . . . . . . . . . . . . . . . . . . 
Address (physical):      . . . . . . . . . . . . . . . . . . . . . . . . . . . 
                                     . . . . . . . . . . . . . . . . . . . . . . . . . . . 
                                     . . . . . . . . . . . . . . . . . . . . . . . . . . .
Address (postal):          . . . . . . . . . . . . . . . . . . . . . . . . . . . 
                                . . . . . . . . . . . . . . . . . . . . . . . . . . . 
                                . . . . . . . . . . . . . . . . . . . . . . . . . . .























PART C1:  AGREEMENT AND CONTRACT DATA

C1.3 - Construction Guarantee


FREE STATE PROVINCIAL GOVERNMENT

DEPARTMENT OF SPORT, ARTS, CULTURE AND RECREATION


REPAIRS AND RENOVATIONS AT TROMPSBURG  PUBLIC LIBRARY.
 SCM - INFRA 04 / 2026

C1.3	Construction Guarantee


GUARANTOR DETAILS AND DEFINITIONS


Guarantor means	. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 
Physical address	. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .  
	. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 

Guarantor’s signatory 1	. . . . . . . . . . . . . . . . . . . . . . . . . . . Capacity . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 

Guarantor’s signatory 1	. . . . . . . . . . . . . . . . . . . . . . . . . . . Capacity . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
Employer means	The DEPARTMENT OF SPORT, ARTS, CULTURE AND RECREATION, Free State Provincial Government

Contractor means	. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .
Agent means	. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .. . . . . . . . . 

Works means	REPAIRS AND RENOVATIONS AT TROMPSBURG PUBLIC LIBRARY TENDER NO: SCM - INFRA 4 / 2026
The site is situated at the existing premises: Trompsburg Library, Corner David & Voortrekker Street, Trompsburg, 9880
Agreement means the JBCC Minor Works agreement Contract Sum i.e. the total of prices in the Form of Offer and Acceptance inclusive of VAT 
Amount in figures 	R . . . . . . . . . . . . . . . . . . . . . . . . 
Amount in words	. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . (Rand)
Guaranteed Sum means the maximum aggregate amount of R . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 
Amount in words	 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . (Rand)

1	The Guarantor’s liability shall be limited to the amount of the Guaranteed Sum as follows:

	GUARANTOR’S LIABILITY
	PERIOD OF LIABILITY

	Maximum Guaranteed Sum (not exceeding 10 % of the contract sum) in the amount of:
. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 
. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 
(Rands) (R . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .)
	From and including the date of issue of this Construction Guarantee and up to and including the date of the only practical completion certificate or the last practical completion certificate where there are sections, upon which this Construction Guarantee shall expire.




2	The Guarantor hereby acknowledges that:

2.1	Any reference in this Guarantee to the Agreement is made for the purpose of convenience and shall not be construed as any intention whatsoever to create an accessory obligation or any intention whatsoever to create a surety ship.

2.2	Its obligation under this Guarantee is restricted to the payment of money.

3 	Subject to the Guarantor’s maximum liability referred to in clauses 1, the Guarantor hereby undertakes to pay the Employer the sum certified upon receipt of the documents identified in sub-clauses 3.1 to 3.3:

3.1	A copy of a first written demand issued by the Employer to the Contractor stating that payment of a sum certified by the Principal Agent in an interim or final payment certificate has not been made in terms of the Agreement and failing such payment within seven (7) calendar days, the Employer intends to call upon the Guarantor to make payment in terms of sub-clause 3.2
3.2	A first written demand issued by the Employer to the Guarantor at the Guarantor’s physical address with a copy to the Contractor stating that a period of seven (7) calendar days has elapsed since the first written demand in terms of sub-clause 4.1 and that the sum certified has still not been paid therefore the Employer calls up this Guarantee and demands payment of the sum certified from the Guarantor.
3.3	A copy of the said payment certificate which entitles the Employer to receive payment in terms of the Agreement of the sum certified in clause 3.

4 	Subject to the Guarantor’s maximum liability referred to in clause 1, the Guarantor undertakes to pay the Employer the Guaranteed Sum or the full outstanding balance upon receipt of a first written demand from the Employer to the Guarantor at the Guarantor's physical address calling up this Guarantee stating that:

4.1 	The Agreement has been cancelled due to the Contractor's default and that the Guarantee is called up in terms of clause 4. The demand shall enclose a copy of the notice of cancellation; or
4.2	A provisional sequestration or liquidation court order has been granted against the Contractor and that the Guarantee is called up in terms of clause 4. The demand shall enclose a copy of the court order.
5	It is recorded that the aggregate amount of payments required to be made by the Guarantor in terms of clauses 3 and 4 shall not exceed the Guarantor's maximum liability in terms of clause 1.
6	Where the Guarantor is a registered insurer and has made payment in terms of clause 4, the Employer shall upon the date of issue of the final payment certificate submit an expense account to the Guarantor showing how all monies received in terms of the Guarantee have been expended and shall refund to the Guarantor any resulting surplus. All monies refunded to the Guarantor in terms of this Guarantee shall bear interest at the prime overdraft rate of the Employer’s bank compounded monthly and calculated from the date payment was made by the Guarantor to the Employer until the date of refund.

7	Payment by the Guarantor in terms of clause 3 or 4 shall be made within seven (7) calendar days upon receipt of the first written demand to the Guarantor.

8	The Employer shall have the absolute right to arrange his affairs with the Contractor in any manner which the Employer deems fit and the Guarantor shall not have the right to claim his release from this Guarantee on account of any conduct alleged to be prejudicial to the Guarantor

9	The Guarantor chooses the physical address as stated above for all purposes in connection herewith.

10	This Guarantee is neither negotiable nor transferable and shall expire in terms of clause 1, or payment in full of the Guaranteed Sum or on the guaranteed expiry date, whichever is the earlier, where after no claims will be considered by the Guarantor. The original of this Guarantee shall be returned to the Guarantor after it has expired

11	This Guarantee, with the required demand notices in terms of clauses 3 or 4, shall be regarded as a liquid document for the purpose of obtaining a court order.

12	Where this Guarantee is issued in the Republic of South Africa the Guarantor hereby consents in terms of Section 45 of the Magistrate's Courts Act No 32 of 1944, as amended, to the jurisdiction of the Magistrate's Court of any district having jurisdiction in terms of Section 28 of the said Act, notwithstanding that the amount of the claim may exceed the jurisdiction of the Magistrate's Court.

Signed at . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Date . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .

Guarantor’s	                Guarantor’s
Signatory 1      . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .      Signatory 2  . . . . . . . . . . . . . . . . . . . . . . . . . . 


Witness 1      . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .      Witness 2  . . . . . . . . . . . . . . . . . . . . . . . . . . 

Guarantor’s seal or stamp







PART C1:  AGREEMENT AND CONTRACT DATA

C1.4 - Adjudicator’s Contract


FREE STATE PROVINCIAL GOVERNMENT

DEPARTMENT OF SPORT, ARTS, CULTURE AND RECREATION


REPAIRS AND RENOVATIONS FOR TROMPSBURG PUBLIC LIBRARY.
 SCM - INFRA 04 / 2026

[bookmark: _Toc112204155]ADJUDICATOR’S CONTRACT

DEPARTMENT OF SPORT, ARTS, CULTURE AND RECREATIONTO PROVIDE INFORMATION

This agreement is made on the . . . . . . . .  Day of . . . . . . . . . . . . . . .  Between:
. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . (name of company / organisation)
         of . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 
             . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . (address) and
. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . (name of company / organisation)
         of . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 
             . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . (address) 
(the Parties) and
. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . (name)
         of . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 
             . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . (address) 
(the Adjudicator).
Disputes or differences may arise/have arisen* between the Parties under a Contract dated . . . . . . . . and known as. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 
and these disputes or differences shall be/have been* referred to adjudication in accordance with the JBCC Minor Works Agreement Adjudication Rules, (hereinafter called "the Procedure") and the Adjudicator may be or has been requested to act. 
* Delete as necessary

IT IS NOW AGREED as follows:

1 The rights and obligations of the Adjudicator and the Parties shall be as set out in the JBCC Minor Works Agreement Adjudication Rules.
2 The Adjudicator hereby accepts the appointment and agrees to conduct the adjudication in accordance with the JBCC Minor Works Agreement Adjudication Rules.
3 The Parties bind themselves jointly and severally to pay the Adjudicator's fees and expenses as set out in the Contract Data.
4 The Parties and the Adjudicator shall at all times maintain the confidentiality of the adjudication and shall endeavour to ensure that anyone acting on their behalf or through them will do likewise, save with the consent of the other Parties which consent shall not be unreasonably refused.
The Adjudicator shall inform the Parties if he intends to destroy the documents which have been sent to him in relation to the adjudication and he shall retain documents for a further period at the request of either Party.

	SIGNED by:
	
	
	SIGNED by:
	
	
	SIGNED by:
	

	Name:
	
	Name:
	
	Name:

	who warrants that he / she is duly authorized to sign for and on behalf of the first Party in the presence of
	
	who warrants that he / she is duly authorized to sign for and behalf of the second Party in the presence of 
	
	the Adjudicator in the presence of

	
	
	
	
	

	Witness
	
	
	Witness:
	
	
	Witness:
	

	Name:
	
	
	Name
	
	
	Name:
	

	Address:
	
	Address:
	
	Address:

	
	
	
	
	

	
	
	
	
	

	Date:
	
	
	Date:
	
	
	Date:
	


[bookmark: _Toc505579659][bookmark: _Toc505702062]





Contract Data	DEPARTMENT OF SPORT, ARTS, CULTURE AND RECREATION TO PROVIDE 				INFORMATION

	1
	The Adjudicator shall be paid at the hourly rate of R. . . . . . . . . . . . in respect of all time spent upon, or in connection with, the adjudication including time spent travelling.

	2
	The Adjudicator shall be reimbursed in respect of all disbursements properly made including, but not restricted to:
(a)	Printing, reproduction and purchase of documents, drawings, maps, records and photographs.
(b)	Telegrams, telex, faxes, and telephone calls.
(c)	Postage and similar delivery charges.
(d)	Travelling, hotel expenses and other similar disbursements. 
(e)	Room charges.
(f)	Charges for legal or technical advice obtained in accordance with the Procedure.

	3
	The Adjudicator shall be paid an appointment fee of R . . . . . . . . . . . . .  This fee shall become payable in equal amounts by each Party within 14 days of the appointment of the Adjudicator, subject to an Invoice being provided. This fee will be deducted from the final statement of any sums which shall become payable under item 1 and/or item 2 of the Contract Data.  If the final statement is less than the appointment fee the balance shall be refunded to the Parties.

	4
	The Adjudicator is/is not* currently registered for VAT.

	5
	Where the Adjudicator is registered for VAT, it shall be charged additionally in accordance with the rates current at the date of invoice.

	6
	All payments, other than the appointment fee (item 3) shall become due 7 days after receipt of invoice, thereafter interest shall be payable at 5% per annum above the Reserve Bank base rate for every day the amount remains outstanding.   


	*		Delete as necessary










THE CONTRACT

PART C2:  AGREEMENT AND CONTRACT DATA

C2.1 - Pricing Instructions

[bookmark: _Toc112204158]FREE STATE PROVINCIAL GOVERNMENT

DEPARTMENT OF SPORT, ARTS, CULTURE AND RECREATION

REPAIRS AND RENOVATIONS FOR TROMPBSURG PUBLIC LIBRARY.
 SCM - INFRA 04 / 2026

C2.1 Pricing Instructions

1       The Bills of Quantities have been drawn up in accordance with the Standard System of Measuring Building Work (as amended) published and issued by the Association of South African Quantity Surveyors (Sixth Edition (Revised)), 1999. Where applicable the:

a)	civil engineering work has been drawn up in accordance with the provisions of the latest edition of SABS 1200 Standardized Specifications for Civil Engineering Works.
b)	mechanical work has been drawn up in accordance with the provisions of the Model Bills of Quantities for Mechanical Work, published by the South African Association of Quantity Surveyors, October2005).  
c)	electrical work has been drawn up in accordance with the provisions of the Model Bills of Quantities for Electrical Work, published by the South African Association of Quantity Surveyors, (July 2005).  

2	The agreement is based on the JBCC Minor Works Agreement, prepared by the Joint Building Contracts Committee, Edition 5.1, March 2014. The additions, deletions and alterations to the JBCC Principal Building Agreement as well as the contract specific variables are as stated in the Contract Data. Only the headings and clause numbers for which allowance must be made in the Bills of Quantities are recited.

3	Preliminary and general requirements are based on the JBCC Minor Works Agreement, May 2005 Addition preliminaries for the use of JBCC Series 2000. Only the headings and clause numbers for which allowance must be made in the Bills of Quantities are recited.
4	It will be assumed that prices included in the Bills of Quantities are based on Acts, Ordinances, Regulations, By-laws, International Standards and National Standards that were published 28 days before the closing date for tenders. (Refer to www.stanza.org.za or www.iso.org for information on standards).

5	The drawings listed in the Scope of Works used for the setting up of these Bills of Quantities are kept by the Principal Agent or Engineer and can be viewed at any time during office hours up until the completion of the works.

6	Reference to any particular trademark, name, patent, design, type, specific origin or producer is purely to establish a standard for requirements.  Products or articles of an equivalent standard may be substituted. 

7	Where any item is not relevant to this specific contract, such item is marked N/A (signifying “not applicable”)

8	The Contract Data and the standard form of contract referenced therein must be studied for the full extent and meaning of each and every clause set out in Section 1 (Preliminaries) of the Bills of Quantities 

9	The Bills of Quantities is not intended for the ordering of materials. Any ordering of materials, based on the Bills of Quantities, is at the Contractor’s risk.

10	The amount of the Preliminaries to be included in each monthly payment certificate shall be assessed as an amount prorated to the value of the work duly executed in the same ratio as the preliminaries bears to the total of prices excluding any contingency sum, the amount for the Preliminaries and any amount in respect of contract price adjustment provided for in the contract. 

11	Where the initial contract period is extended, the monthly charge shall be calculated on the basis as set out in 10 but considering the revised period for completing the works. 

12	The amount or items of the Preliminaries shall be adjusted to take account of the theoretical financial effect which changes in time or value (or both) have on this section. Such adjustments shall be based on adjustments in the following categories as recorded in the Bills of Quantities:

a)	an amount which is not to be varied, namely Fixed (F)
b)	an amount which is to be varied in proportion to the contract value, namely Value Related  (V); and 
c)	an amount which is to be varied in proportion to the contract period as compared to the initial construction period excluding revisions to the construction period for which no adjustment to the contractor is not entitled to in terms of the contract, namely Time Related (T).

13	Where no provision is made in the Bills of Quantities to indicate which of the three categories in 12 apply or where no selection is made, the adjustments shall be based on the following breakdown:

a)	10 percent is fixed;
b)	15 percent is Value Related
c)	75 percent is Time Related.

14	The adjustment of the Preliminaries shall apply notwithstanding the actual employment of resources in the execution of the works. The contract value used for the adjustment of the Preliminaries shall exclude any contingency sum, the amount for the Preliminaries and any amount in respect of contract price adjustment provided for in the contract. Adjustments in respect of any staged or sectional completion shall be prorated to the value of each section.











PART C3:  SCOPE OF WORK

FREE STATE PROVINCIAL GOVERNMENT


PART C3:  SCOPE OF WORK

FREE STATE PROVINCIAL GOVERNMENT
DEPARTMENT OF SPORT, ARTS, CULTURE AND RECREATION

REPAIRS AND RENOVATIONS AT TROMPSBURG LIBRARY
SCM – INFRA 04 / 2026

C3.  Scope of Work

1       DESCRIPTION OF THE WORKS

1.1 Employer’s objectives

The employer’s objective is to renovate/repair/refurbish existing facility.
1.2 Extent of the works

NB 	Tenderers are specifically requested to inspect the site beforehand so as to become 	acquainted with the location of the site, conditions, existing building work, access roads, 	layout of various buildings, availability of water, electricity, etc.  

1.3  Location of the works

The site is situated at the existing premises: Trompsburg Library, Corner David & Voortrekker Street, Trompsburg, 9880

2	Drawings
The drawings used for setting up the Bills of Quantities are as follows:
· n/a

3	Procurement

3.1 Preferential procurement procedures

The works shall be executed in accordance with the conditions attached to preferences granted in accordance with the preferencing schedule




SECTION 1: PRELIMINARIES

	 
	BILL 1: PRELIMINARIES
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	NOTES
	 
	 
	 
	 

	 
	The agreement is to be the JBCC Series 2000 Principal Building Agreement prepared by the Joint Building Contracts Committee, Edition 4.1, March 2005. 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	The preliminaries are to be the JBCC Series 2000 Preliminaries prepared by the Joint Building Contracts Committee, code 2103, May 2005, and shall be deemed to be incorporated herein. 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	Tenderers are referred to the above mentioned documents for the full intent and meaning of each clause thereof (hereinafter referred to by heading and clause number only) for which such allowance must be made as may be considered necessary. 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	Where standard clauses or alternatives are not entirely applicable to this contract, such modifications, corrections or supplements as will apply are given under each relevant clause heading. 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	Where any item is not relevant to this specific contract, such item is marked N/A (signifying "Not Applicable"). 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	If Alternative A as set out in clause 10.2 & 3 hereinafter is to be used for the adjustment of the preliminaries, the preliminaries, each item priced is to be allocated to one or more of the three categories by insertion of "F","V","T" as the case may be against the price in the "rate" column immediately preceding the "amount" column the tendered amount for the Preliminaries must be allocated to one or more of the following three categories where :  "F" denotes a fixed amount (amount not to be varied), "V" denotes an amount variable in proportion to value, and "T" denotes an amount proportionate to time. 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	SECTION A:  PRINCIPAL BUILDING AGREEMENT
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	Definitions (A1)
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	1
	Definitions and interpretation (Clause 1).   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	Objective (A2)
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	2
	Offer and acceptance and performance (Clause 2).  F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	Preparation (A3 - A14)
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	3
	Documents (Clause 3).   F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	4
	Design responsibility (Clause 4).   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	5
	Employer's agents (Clause 5).  F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	6
	Site representative (Clause 6).  Prior to the award of the contract, tenderers shall submit, upon request,the names of the proposed senior management personnel to be responsible for the supervision and administration of the works.  Prior to the date of commencement of the works the contractor shall nominate senior site personnel to whom instructions may be issued. F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	7
	Compliance with regulation (Clause 7).  F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	8
	Works risk (Clause 8).  
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	9
	Indemnities (Clause 9).   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	
	 
	 
	 
	 

	10
	Works insurances (Clause 10).   F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	11
	Liability insurances (Clause 11). F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	12
	Effecting insurances (Clause 12).   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	13
	No Clause (Clause 13).   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	14
	Security (Clause 14).   F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	Execution (A15 - A23)
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	15
	Preparation for and execution of the works (Clause 15). F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	16
	Access to the works (Clause 16). F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	17
	Contract instructions (Clause 17). F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	18
	Setting out of the works (Clause 18).  The contractor shall notify the Architect if any encroachments of adjoining foundations, buildings, structures, pavements, boundaries, etc., exist in order that the necessary arrangements may be made for the rectification of any such encroachments’:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	19
	Assignment (Clause 19).   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	
	 
	 
	 
	 

	20
	Nominated subcontractors (Clause 20).   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	21
	Selected subcontractors (Clause 21).   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	22
	Employer's direct contractors (Clause 22).  F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	23
	Contractor's domestic subcontractors (Clause 23).   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	Completion (A24- A30)
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	24
	Practical completion (Clause 24).F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	25
	Works completion (Clause 25). F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	26
	Final completion (Clause 26).   F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	27
	Latent defects liability period (Clause 27).   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	28
	Sectional completion (Clause 28).  F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	29
	Revision for date of practical completion (Clause 29).  F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	30
	Penalty for non-completion (Clause 30).   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	Payment (A31 - A35)
	 
	 
	 
	 

	31
	Interim payment to the contractor (Clause 31).  Notwithstanding this or any other clause materials and goods stored off site shall not be included in the amount authorized for payment.  Clause 31.6.5 shall be deemed to be deleted. F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	32
	Adjustment to the contract value (Clause 32).  Notwithstanding the provisions of clause 32.13 or any other clause all fluctuations in costs shall be for the account of the contractor. See also clause 42.4.6.F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	33
	Recovery of expense and loss (Clause 33).  F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	34
	Final account and final payment (Clause 34).   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	35
	Payment to other parties (Clause 35).   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	Cancellation (A36 - A39)
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	36
	Cancellation by Employer - Contractor's default (Clause 36).  F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	37
	Cancellation by Employer - Loss and damage (Clause 37).  F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	38
	Cancellation by Contractor - Employer's default (Clause 38).  F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	39
	Cancellation - Cessation of the works (Clause 39).  F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	Dispute (A40)
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	40
	Dispute settlement (Clause 40).   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	State Provisions (A41)
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	41
	State Substitutions (Clause 41).   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	Schedule (A42)
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	42
	Pre-Tender information (Clause 42).  F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	CONTRACTING AND OTHER PARTIES
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	42.1.1 Employer: Department of Sports, Arts, Culture and Recreation. Postal Address: Business Partners, Corner of Henry Street and East Burger Street. Email:fakude.sm@sacr.fs.gov.za. Contact Details: 064 800 4466
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	42.2  CONTRACT DETAILS
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	42.2.1   Works Description:  Repairs and renovations at Trompsburg Library.
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	42.2.2   Site Description: The site is situated at the existing premises of Trompsburg Library in Trompsburg, Free State Province.
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	42.2.3   Work or Installation by Direct Contractors:  (None) 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	42.2.4   This Agreement is for a State Contract :  (Yes)                          Payment will be made for materials and goods              on site: (Yes)             Dispute resolution method (arbitration) 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	42.2.5   Contract period: 4 months including builder's holidays.
	 
	 
	 
	 

	 
	
	 
	 
	 
	 

	 
	42.2.6   Period for the commencement of the works after             the contractor takes possession of the site: 7             working days.  
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	42.2.7   Completions in sections are required: No 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	42.2.8   Intended date of practical completion and the             penalty per calendar day for the works as a             whole:                           Date:       3 Calendar months after contract                            commencement including builders                            holidays                       Penalty:  R1 420 per Calendar Day.                                                Intended dates of practical completion where             section completion is required and the penalty             per calendar day for the works in sections:  N/A          
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	42.2.9   Arbitration rules as recommended by             Association of Arbitrators  (SA) :  (Yes)                        Law applicable: Republic of South Africa 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	42.3   INSURANCES
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	42.3.1   Contract works insurance to be effected by the :                           CONTRACTOR              For the amount of: CONTRACT VALUE +               20%              With a deductible of: R 5 000   42.3.2   Supplementary insurance required (Yes)            42.3.3   Public liability insurance to be effected by the                             CONTRACTOR             For the amount of: R 500 000             With a deductible of: R nil 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	42.4    DOCUMENTS 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	42.4.1   Waiver of the contractor's lien or right of continuing possession is required: (Yes)
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	42.4.2   Number of construction document copies to be            supplied free of charge:  3  (THREE)              
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	42.4.3   This document is drawn up in accordance with the ASAQS Standard System of Measuring Building Work:  (YES) Sixth Edition, revision 2 2013.
	 
	 
	 
	 

	 
	
	 
	 
	 
	 

	 
	42.4.4   Number of days for submission of priced documents:              Priced bills of quantities to be submitted with tender.                               
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	42.4.5   JBCC Engineering General Conditions are to be               included in the documents: (No)
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	42.4.6   The contract value to be adjusted using CPAP:   (NO)
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	42.4.7   Details of changes made to the provisions of JBCC standard documentation: (As stated)
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	SECTION B: PRELIMINARIES
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	Definitions (B1):
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	43
	Definitions and interpretation (B1)   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	Documents (B2):
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	44
	Checking of documents (B2.1) These Bills of Quantities contain pages and annexure as indexed.  The items in these Bills of Quantities are to be read and priced in conjunction with, and the descriptions regarded as amplified by the Model Preambles for Trades as recommended and published by the Association of South African Quantity Surveyors, 2008 edition, and no claim arising from brevity of description of items fully described in the said Model Preambles for Trades will be entertained. F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	45
	Provisional Bills of Quantities (B2.2)  The Quantities are Provisional (NO) F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	46
	Availability of construction documentation (B2.3)   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	
	 
	 
	 
	 

	47
	Interests of Agents (B2.4)   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	48
	Priced documents (B2.5)   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	49
	Tender submission (B2.6) Notwithstanding anything contained in this clause tenders shall be valid for a period of 90 days from the closing date of tenders.F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	The Site (B3)
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	50
	Defined works area (B3.1) Contractor to visit site and acquaint themselves with the site. F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	51
	Geotechnical investigation (B3.2)   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	52
	Inspection of the Site (B3.3) No claims for extras arising from the contractor having failed to comply with this clause will be entertained.A compulsory, site clarification meeting will be held at the proposed site as per the tender document attached herewithF:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	53
	Existing premises occupied (B3.4) (YES)   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	54
	Previous work - dimensional accuracy (B3.5)  F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	55
	Previous work - defects (B3.6)   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	
	 
	 
	 
	 

	56
	Services - known (B3.7) Existing services and points of connection are unknown.  F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	57
	Services - unknown (B3.8)   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	58
	Protection of trees (B3.9)  F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	59
	Articles of value (B3.10)   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	60
	Inspection of adjoining properties (B3.11)   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	Management of contract (B4)
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	61
	Management of the Works (B4.1) F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	62
	Programme for the Works (B4.2) Added to the provisions in (B4.2), the contractor shall ensure that he/she has suitable staff to programme the works using suitable and recognized programming software and the programme for the work is to be developed in sufficient detail indicating an activity network with early and late start dates, early and late finish dates and duration for each activity, further each activity is to be linked and the critical path indicated. Furthermore, the programming of the works shall include detailed documentation and information required schedule which indicates latest dates by which information is required in order to achieve programme dates. F:........................V:............................. T:........................
	Item
	1
	 
	 

	 
	 
	 
	 
	 
	 

	63
	Progress meetings (B4.3) F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	
	 
	 
	 
	 

	64
	Technical meetings (B4.4) F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	65
	Labor and plant records (B4.5) F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	Samples and shop drawings (B5)
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	66
	Samples of materials (B5.1) F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	67
	Workmanship samples (B5.2)   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	68
	Shop drawings (B5.3) F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	69
	Compliance with manufacturer's instructions (B5.4) 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	Temporary works and plant (B6)
	 
	 
	 
	 

	70
	Deposits and fees (B6.1)   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	71
	Enclosure of the works (B6.2) No access to public shall be allowed on site at all times and strict access control shall be maintained during the construction period.  The contractor shall fully enclose the works by providing a 2m high diamond mesh fence or suitably similar and approved including access gates, posts.  The fence shall be maintained throughout the contract and removed on completion of the contract. F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	72
	Advertising (B6.3)   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	73
	Plant, equipment, sheds and offices (B6.4)  F:........................V:............................. T:........................  
	Item
	 
	 
	 

	 
	
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	74
	Office accommodation for meetings held on the site which shall be kept clean and fit for use at all times (B6.4.3) F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	75
	Main notice board (B6.5) F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	76
	Subcontractors notice board (B6.6)  F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	Temporary Services (B7)
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	77
	Location (B7.1) F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	78
	Water (B7.2)Alternative chosen: AF:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	79
	Electricity (B7.3)  Alternative chosen: A  F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	80
	Telecommunication equipment (B7.4) F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	81
	Ablution facilities (B7.5) Alternative chosen: AF:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	Prime cost amounts (B8)
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	82
	Responsibility for prime cost amounts (B8.1)  F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	Attendance on Nominated/Selected Subcontractors (B9
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	83
	General Attendance (B9.1)   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	
	 
	 
	 
	 

	84
	Special Attendance (B9.2)   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	85
	Commissioning - fuel, water and power (B9.3)   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	Financial Aspects (B10)
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	86
	Statutory taxes, duties and levies (B10.1)   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	87
	Payment of Preliminaries (B10.2)   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	88
	Adjustment of Preliminaries (B10.3)   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	89
	Payment certificate cash flow (B10.4)   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	General (B11)
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	90
	Protection of the Works (B11.1) F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	91
	Protection/isolation of existing/sectional occupied works (B11.2)   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	92
	Site security (B11.3) F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	93
	Notice before covering work (B11.4)  F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	94
	Disturbance (B11.5)   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	Carried to collection
	 
	 
	 
	 

	95
	Environmental disturbance (B11.6)   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	96
	Works cleaning and clearing (B11.7)  F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	97
	Vermin (B11.8)   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	98
	Overhand work (B11.9)   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	99
	Instruction manuals (B11.10)   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	100
	As built information (B11.11)   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	101
	Tenant installations (B11.12)   F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	Schedule of Variables (B12)
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	102
	Pre-tender information (B12.1) Information necessary for making choices and completion of those clauses contained in the schedule which are necessary for tender purposes is given hereunder.  Where no information is given it shall mean that either no details or specific requirements are available or that the clause is irrelevant for this specific contract.    The provisions of the Occupational Health Safety Act 1993, the Construction Regulations 2014 and the Project Occupational Health and Safety Specification apply in full to this contract and relevant items and variables listed hereunder. Rates for the respective items are to reflect this. 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	12.1.1   Provisional Bills of Quantities (B2.2)            The quantities are provisional (NO). 
	 
	 
	 
	 

	 
	
	 
	 
	 
	 

	 
	12.1.2   Availability of Construction documentation (B2.3)                 Construction documentation is complete (Yes). 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	12.1.3 Interests of Agents (B2.4)   (None). 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	12.1.4  Defined works area (B3.1) As per Architects' drawings See site plan (ANNEXURE F)
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	12.1.5  Geotechnical investigation (B3.2)
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	12.1.6  Existing premises occupied (B3.4)    (YES) 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	12.1.7  Previous work - dimensional accuracy (B3.5) 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	12.1.8  Previous work - defects (B3.6) 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	12.1.9 Services - known (B3.7)           Existing services and points of connection are              known and will be pointed out on site by the            principal agent.
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	12.1.10  Protection of trees (B3.9) 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	12.1.11  Inspection of adjoining properties (B3.11) 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	12.1.12  Enclosure of the works (B6.2) 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	12.1.13  Offices (B6.4.3) 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	12.1.14 Main notice board (B6.5)             One main notice board is required. 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	12.1.15   Subcontractors Notice Board (B6.6)                A SC Notice Board is NOT required. 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	12.1.16   Water (B7.2)              Alternative chosen:  A 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	12.1.17   Electricity (B7.3)               Alternative chosen:  A 
	 
	 
	 
	 

	 
	
	 
	 
	 
	 

	 
	12.1.18   Telecommunications (B7.4) The contractor shall provide telecommunication facilities as stated in the schedule and shall be entitled to recover usage costs from the users thereof. 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	12.1.19   Ablution facilities (B7.5)               Alternative chosen:  A 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	12.1.20  Protection of existing/sectional occupied works (B11.2)  Protection is required (Yes) 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	12.1.21    Special Attendance (B9.2) 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	12.1.22   Protection of the Works (B11.1) 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	12.1.23   Disturbance (B11.5)               Refer to clause B3.4 
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	12.1.24   Environmental disturbance (B11.6)                  
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	103
	Post-tender information (B12.2)  12.2.1   Payment of Preliminaries (B10.2)            Alternative chosen:  A 12.2.2   Adjustment of Preliminaries (B10.3)                             Alternative chosen:  A12.2.3   Additional agreed Preliminaries items 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	SECTION C: SPECIFIC PRELIMINARIES
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	Section C: Specific Preliminaries:
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	104
	Proprietary branded products. The contractor shall take delivery of, handle, store, and use, apply and/or fix all proprietary branded products in strict accordance with the manufacturer's instructions after consultation with the manufacturer's authorized representative. F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	Carried to collection
	 
	 
	 
	 

	105
	Overtime Tenderers will be allowed to work two shifts in order to meet the completion date. Any costs associated with this requirement will be priced under this item Should overtime be required to be worked for any other reason whatsoever, the costs of such overtime are to be borne by the contractor unless the principal agent has specifically authorized in writing, prior to the execution thereof, that costs for such overtime are to be borne by the employer.F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	106
	As built drawings The position of construction breaks and the extent of individual concrete pours are to be recorded by the contractor on the structural engineer's drawings and are to be submitted to the principal agent and the structural engineer for their records.F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	107
	Site instructions Contract instructions issued on site are to be recorded in triplicate in a site instruction book which is to be maintained on site by the contractor. F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	108
	Non Cession of Monies  The Contractor shall NOT cede nor assign his rights or claims to any monies due or to become due under this contract.F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	109
	Labor record  At the end of each week the contractor shall provide the principal agent with a written record, in schedule form, reflecting the number and description of tradesmen and laborers employed by him and all subcontractors on the works each day.F:........................V:............................. T:........................ 
	Item
	 
	 
	 

	 
	
	 
	 
	 
	 

	110
	Plant record At the end of each week the contractor shall provide the principal agent with a written record, in schedule form, reflecting the number, type and capacity of all plant, excluding hand tools, currently used on the works. F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	111
	Community Liaison Officer The Contractor shall employ one Community Liaison Officer (CLO), nominated by the community for full duration of the contract.  The duties of the CLO and the conditions of  employment shall be in accordance with Annexure D  Agreement of Temporary Employment as Community Liaison  Officer attached to these Bills of Quantities 
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	112
	Note:  The CLO's rate of remuneration shall be R170 per working day F:........................V:............................. T:........................
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	113
	Community involvement. It is a prerequisite and condition of tender that the successful Contractor continuously employs a minimum of 50% of the on-site workforce (excluding specialist subcontractor’s e.g.  Electrical installation workforce, etc) in respect of unskilled labour requirements, from local residents living in the immediate vicinity and/or surrounding local communities for the respective building works at normal wage rates.  The representative / agent shall be empowered to inspect the books and records of the contractor from time to time to ensure that this requirement is met.  Should it become apparent that this condition is not complied with, the representative / agent shall  close down the works until such time as this requirement is  met.  Any such work stoppages will be for the Contractor/s account.  Any difficulty experienced by the Contractor in the procurement of the required percentage of local labour is to be immediately referred to the representative / agent.
	Item
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	Carried to collection
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	Health and Safety:
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	114
	The provision of the Occupational Health and Safety Act 1985, the Construction Regulations 2003 and the Project Occupational Health and Safety Specification apply in full to this contract and relevant items and variables listed hereunder. Rates for the respective items are to reflect this. (See separate document marked Health and Safety Specification ANNEXURE E).
	Item
	 
	 
	

	 
	 
	 
	 
	 
	 

	 
	Carried to collection
	 
	 
	 
	

	 
	 
	 
	 
	 
	 










SECTION 2: BUILDING WORK

	ITEM NO
	DESCRIPTION
	UNIT 
	QUANTITY
	RATES
	TOTAL

	 
	 
	 
	 
	 
	 

	 
	SECTION 2
	 
	 
	 
	 

	 
	BUILDING WORK
	 
	 
	 
	 

	 
	BILL NOQ 1
	 
	 
	 
	 

	 
	ALTERATIONS 
	 
	 
	 
	 

	 
	
	 
	 
	 
	 

	 
	SUPPLIMENTARY  PREAMBLES
	 
	 
	 
	 

	 
	ALTERATIONS In taking down and removing existing work the utmost care shall be observed to prevent any structural or other damage to remaining portions of the building. The Contractor shall ensure the stability of all structures during alteration work Special care shall be exercised during the progress of the work to ensure that any electrical installations, water supply pipes, telephone and other services which may be encountered are not interfered with and notice shall be given to the Principal Agent if any disconnection or alterations become necessary The Contractor shall take all precautions necessary to prevent any nuisance from dust whilst carrying out the work
	Note
	 
	 
	 

	 
	DISPOSAL OF DEBRIS ETC The Contractor shall be responsible for the removal from the site of all materials, debris and rubbish resulting from the alterations
	Note
	 
	 
	 

	 
	MAKING GOOD DAMAGED WORK The Contractor shall make good in all trades to existing work where damaged or disturbed through the alterations with all necessary new materials to match the existing
	Note
	 
	 
	 

	 
	View site Before submitting his tender the tenderer shall visit the site and satisfy himself as to the nature and extent of the work to be done and the value of the materials salvageable from the alterations. No claim for any variations of the contract sum in respect of the nature and extent of the work or of inferior or damaged materials will be entertained
	Note
	 
	 
	 

	 
	The contractor shall carry out the whole of the works with as little mess and noise as possible and with a minimum of disturbance to tenants in the building and to adjoining premises and their tenants. He shall provide proper protection and provide, erect and remove when directed, any temporary tarpaulins that may be necessary during the progress of the works, all to the satisfaction of the principal agent
	Note
	 
	 
	 

	 
	Doors, fanlights, windows, fittings, frames, linings, etc which are to remain the property of the employer shall be carefully taken out, temporarily stored, transported over a distance of approximately ?km to store and handed over to the employer
	Note
	 
	 
	 

	 
	Doors, fanlights, windows, fittings, frames, linings, etc which are to be re-used shall be thoroughly overhauled before refixing including taking off, easing and remanding, cramping up, re-wedging as required and making good cramps, dowels, etc, and oiling, adjusting and repairing ironmongery as necessary, replacing any glass damaged in removal or subsequently and stopping up all nail and screw holes with tinted plastic wood to match timber, unless otherwise described. Re-painting or re-varnishing is given separately
	Note
	 
	 
	 

	 
	Prices for taking out of doors, windows, etc shall include for removal of all beads, architraves, ironmongery, etc Prices for taking out and removing doors and frames shall include for removing door stops, cabin hooks, etc
	Note
	 
	 
	 

	 
	Making good of finishes shall include making good of the brick and concrete surfaces onto which the new finishes are applied, where necessary The contractor will be required to take all dimensions affecting the existing buildings on the site and he will be held solely responsible for the accuracy of all such dimensions where used in the manufacture of new items (doors, windows, fittings, etc)
	Note
	 
	 
	 

	 
	All materials from alterations except where described to be re-used stays property of the client.
	 Note
	 
	 
	 

	
	
	
	
	
	

	 
	REMOVAL OF EXISTING DOORS, WINDOWS, ETC. FROM BRICKWORK
	 
	 
	 
	 

	 
	Taking out and removing doors, windows, etc. from brickwork to be demolished:
	 
	 
	 
	 

	1.
	Timber single door and frame not exceeding 2,5m².
	No
	7
	 
	 

	 
	REMOVAL OF EXISTING JOINERY
	 
	 
	 
	 

	 
	Taking out and removing built in cupboard doors, frames, shelves, cleats, bearers and shelving from brickwork including making good as necessary:
	 
	 
	 
	 

	 
	Timber built in cupboard exceeding 5m² and not exceeding 10m².
	 
	 
	 
	 

	 
	Taking out and removing kitchen units, etc:
	 
	 
	 
	 

	2.
	Timber sink unit including removing sink, temporarily disconnecting services and reinstating when new cupboard and sink (elsewhere measured) installed.(kitchen sink unit)
	No
	2
	 
	 

	3.
	Timber built in cupboard exceeding 5m² and not exceeding 10m².(kitchen storing unit)
	No
	1
	 
	 

	 
	REMOVAL OF EXISTING JOINERY SUNDRIES
	 
	 
	 
	 

	 
	Carefully taking down and removing sundry joinery and setting aside for re-use:
	 
	 
	 
	 

	4.
	Timber cornices from brickwork.
	M
	22
	 
	 

	5.
	Timber skirtings from brickwork.
	M
	146
	 
	 

	 
	REMOVAL OF EXISTING CEILINGS, PARTITIONING AND FLOORING
	 
	 
	 
	 

	 
	Taking down and removing ceilings, partitioning, and flooring, etc:
	 
	 
	 
	 

	6.
	Gypsum plasterboard or fibre cement ceilings including cornices and cover strips from brandering to remain, including preparing branders for new ceiling (elsewhere  measured).
	M2
	27
	 
	 

	 
	REMOVAL OF EXISTING FLOOR COVERINGS
	 
	 
	 
	 

	 
	Taking up and removing vinyl floor coverings, carpeting, etc:
	 
	 
	 
	 

	7.
	Wall to wall carpets including underfelt and edge strips including preparing screed for new floor finish (elsewhere measured).
	M2
	245
	 
	 

	8.
	Vinyl sheet or tile floor covering including preparing screed for new vinyl floor covering (elsewhere measured) (Toilets & office)
	M2
	11
	 
	 

	9.
	Ceramic tiles to walls.
	M2
	56
	 
	 

	 
	REMOVAL OF EXISTING IRONMONGERY
	 
	 
	 
	 

	 
	Taking out and removing ironmongery, lockers, blinds, etc:
	 
	 
	 
	 

	 
	Vertical louvre blinds including making good to plaster and prepare to receive new (elsewhere measured).
	M2
	60
	 
	 

	 
	REMOVAL OF EXISTING SANITARY FITTINGS
	 
	 
	 
	 

	 
	Taking out and removing sanitary fittings including making good wall and floor finishes and stop off services:
	 
	 
	 
	 

	10.
	Stainless steel catering double bowl pot washing sink unit.(office & kitchen sink)
	No
	2
	 
	 

	11.
	Vitreous china wall hung urinal and flush valve.
	No
	1
	 
	 

	12.
	Vitreous china wash hand basin.
	No
	2
	 
	 

	13.
	Vitreous china WC suite.
	No
	1
	 
	 

	14.
	Vitreous china paraplegic WC suite.
	No
	1
	 
	 

	 
	REMOVAL OF EXISTING WATER SUPPLY AND FITTINGS
	 
	 
	 
	 

	 
	Taking off and removing piping including holder bats, fittings, etc. including disconnecting piping from fittings and making good wall and floor finishes (making good tiling and paintwork elsewhere measured):
	 
	 
	 
	 

	15.
	High pressure water heater in ceiling, including temporarily stopping off service (new geyser elsewhere measured).
	No
	1
	 
	 

	 
	REMOVAL OF EXISTING GLAZING
	 
	 
	 
	 

	 
	Taking out and removing glass and mirrors:
	 
	 
	 
	 

	17.
	Glass from steel windows including cleaning out rebates and preparing for new glass (elsewhere measured).
	M2
	7
	 
	 

	 
	REMOVAL OF EXISTING RAINWATER GOODS
	 
	 
	 
	 

	 
	Taking off and removing piping, gutters, etc. and making good wall finishes (making good paintwork elsewhere measured):
	 
	 
	 
	 

	18.
	Sheet metal rainwater pipe and holderbats.
	M
	38
	 
	 

	19.
	Sheet metal eaves gutter and brackets.
	M
	175
	 
	 

	 
	DECOMMISSION EXTRACTOR FANS & WALL HEATERS
	 
	 
	 
	 

	20.
	Decommission wall mounted electrical heaters
	No
	7
	 
	 

	 
	REMOVAL OF EXISTING METALWORK
	 
	 
	 
	 

	 
	Carefully taking out and setting aside sundry metalwork for re-use (elsewhere measured):
	 
	 
	 
	 

	21.
	Metal burglar proofing screwed to timber frame exceeding 2,5m² and not exceeding 5m².
	No
	21
	 
	 

	 
	
	 
	 
	 
	 

	 
	SUBTOTAL=
	 
	 
	 
	 

	 
	CARRIED OVER TO SUMMARY
	 
	 
	 
	 




	ITEM NO
	DESCRIPTION
	UNIT 
	QUANTITY
	RATES
	TOTAL

	 
	 
	 
	 
	 
	 

	 
	SECTION NO 2
	 
	 
	 
	 

	 
	BUILDING WORK
	 
	 
	 
	 

	 
	BILL NO 2
	 
	 
	 
	 

	 
	SITE CLEARANCE, ETC.
	 
	 
	 
	 

	 
	
	 
	 
	 
	 

	 
	SUPPLIMENTARY PREAMBLES
	 
	 
	 
	 

	 
	Disposal of debris etc The Contractor shall be responsible for the removal from the site of all materials, rubble, debris and rubbish resulting from the demolitions
	Note
	 
	 
	 

	 
	SOIL INSECTICIDES The application of soil insecticides shall be carried out in accordance with “The application of soil insecticides for the protection of buildings” - SANS 10124
	Note
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	SITE CLEARANCE, ETC.
	 
	 
	 
	 

	1.
	Digging up and removing rubbish, debris, vegetation, hedges, shrubs and trees not exceeding 200mm girth, bush, etc. (include clearing v-drain)
	M2
	210
	 
	 

	2.
	Clean up garden refuse and cart away to a suitable dumping site.
	M3
	5
	 
	 

	 
	REMOVAL OF TREES, ETC.
	 
	 
	 
	 

	 
	Cut down and remove:
	 
	 
	 
	 

	3.
	Cut down and remove branches or limbs of tree exceeding 500mm and not exceeding 1000mm girth.
	No
	11
	 
	 

	 
	Grub up and remove:
	 
	 
	 
	 

	4.
	Cut down, grub up roots and remove tree stump, with girth of trunk exceeding 1000mm and not exceeding 1500mm, including all necessary filling and ramming.
	No
	5
	 
	 

	 
	 
	 
	 
	 
	 

	 
	SUBTOTAL=
	 
	 
	 
	 

	 
	CARRIED OVER TO SUMMARY
	 
	 
	 
	 





	ITEM NO
	DESCRIPTION
	UNIT 
	QUANTITY
	RATES
	TOTAL

	 
	 
	 
	 
	 
	 

	 
	SECTOPN 2 
	 
	 
	 
	 

	 
	BUILDING WORK
	 
	 
	 
	 

	 
	BILL NO 3
	 
	 
	 
	 

	 
	WATERPROOFING
	 
	 
	 
	 

	 
	
	 
	 
	 
	 

	 
	SUPPLEMANTRY PREAMBLES
	 
	 
	 
	 

	 
	Waterproofing of roofs, basements, etc shall be laid under a ten year guarantee. Waterproofing to roofs shall be laid to even falls to outlets etc with necessary ridges, hips and valleys. Descriptions of sheet or membrane waterproofing shall be deemed to include additional labour to turn-ups and turn-downs
	Note
	 
	 
	 

	 
	Waterproofing to roofs, basements, etc shall be carried out by workmen who are experienced in this type of work
	Note
	 
	 
	 

	 
	
	 
	 
	 
	 

	 
	Two coats heavy duty acrylic emulsion paint
	 
	 
	 
	 

	1.
	On sloping IBR roof sheeting
	M2
	980
	 
	 

	 
	
	 
	 
	 
	 

	 
	SUBTOTAL=
	 
	 
	 
	 

	 
	CARRIED OVER TO SUMMARY
	 
	 
	 
	 














	ITEM NO
	DESCRIPTION
	UNIT 
	QUANTITY
	RATES
	TOTAL

	 
	 
	 
	 
	 
	 

	 
	SECTION NO 2
	 
	 
	 
	 

	 
	BUILDING WORK
	 
	 
	 
	 

	 
	BILL NO 4
	 
	 
	 
	 

	 
	CARPENTRY & JOINERY 
	 
	 
	 
	 

	 
	
	 
	 
	 
	 

	 
	PREAMBLES
	 
	 
	 
	 

	 
	General The following cupboard fittings are given as complete units i.e. the components of the units have not been given separately. Descriptions of such units shall, therefore, be deemed to include all components, assembling, housing, notching, gluing, blocking, planting-on and screwing with countersunk screws, edge strips, thermosetting plastic laminate, glass, ironmongery, metalwork, paint or varnish finishes, etc
	Note
	 
	 
	 

	 
	JOINERY Skirtings, cornices, rails, etc shall be in single lengths wherever practicable and shall have splayed heading joints where necessary. Skirtings shall be trenched at back All horns of door frames shall be checked and splayed back where frames are fixed projecting or flush with surface and built in Heads of screws in exposed faces of hardwood joinery shall be sunk and match pelleted Joinery shall have arris rounded angles and shall be blocked and planted on
	Note
	 
	 
	 

	 
	DOORS Flush doors shall have solid timber edge strips with concealed edges. Where doors are to be finished with a transparent finish, the veneer and the edge strips shall be timber of the same species and as far as possible of matching colour. Unless otherwise described all flush doors shall be of interior quality, but where exterior quality doors are specified the glue used shall be of the WBP type Framed and ledged batten doors described as filled in with V-jointed boarding shall be filled in flush on one side with tongued and grooved vertical boarding, V-jointed on one or both sides and of the thickness stated. The boarding shall be in narrow widths, closely cramped up, rebated or tongued on outer edges and housed to grooves in stiles and rails and twice countersunk brass screwed at each intersection with ledges and braces and the inner edges of the abutting stiles and rails shall be chamfered to form a V-joint at junction with the board Unless otherwise described double doors shall have rebated meeting stiles
	Note
	 
	 
	 

	 
	FIXING All nails and screws shall be of the size, length and type appropriate to their respective uses. All screws for hardwood joinery work shall be brass Items described as “plugged” shall be screwed to fibre, plastic or metal plugs at not exceeding 600mm centres. Where items are described as “bolted”, the bolts have been given separately
	 
	 
	 
	 

	 
	ADHESIVES Adhesives shall comply with BS 1204 and 4071 where applicable. Adhesives used in the manufacture of external joinery exposed to excessive moisture (eg kitchen and laboratory worktops) shall be of the WBP type
	Note
	 
	 
	 

	 
	
	 
	 
	 
	 

	 
	FRAMED DOORS, ETC.
	 
	 
	 
	 

	 
	Wrought meranti framed, ledged and braced batten doors hung to steel or timber frames:
	 
	 
	 
	 

	1.
	44mm Thick framed ledged and braced stable pattern batten door with rebated meeting ledge, size 813 x 2032mm with automatic hydraulic door closer and female/male/disabled sign (toilet entrance)
	No
	2
	 
	 

	2.
	44mm Thick framed ledged and braced stable pattern batten door with rebated meeting ledge, size 813 x 2032mm with Yale indicator bolt, satin lock for toilets.
	No
	2
	 
	 

	3.
	44mm Thick framed ledged and braced stable pattern batten door with rebated meeting ledge, size 813 x 2032mm with union lever lockset & handles (outside toilets & office door)
	No
	3
	 
	 

	 
	Wrought meranti:
	 
	 
	 
	 

	4.
	32mm Quadrant bead plugged to wall or floor.
	M
	161
	 
	 

	 
	Gypsum plasterboard cornices:
	 
	 
	 
	 

	5.
	75mm Coved cornices mitred at corners, with splayed heading joints and bed in Rhinobed gypsum plaster and spiked to branders.
	M
	35
	 
	 

	 
	KITCHEN & OFFICE CABINETS
	 
	 
	 
	 

	6.
	Replace kitchen cabinet with new cabinet with the number of drawers matching the existing ones.
	No
	1
	 
	 

	7.
	Replace office cabinet with new cabinet and drawers with the number of drawers matching the existing ones.
	No
	1
	 
	 

	 
	 
	 
	 
	 
	 

	 
	SUBTOTAL=
	 
	 
	 
	 

	 
	CARRIED OVER TO SUMMARY 
	 
	 
	 
	 








	ITEM NO
	DESCRIPTION
	UNIT 
	QUANTITY
	RATES
	TOTAL

	 
	 
	 
	 
	 
	 

	 
	SECTION NO 2
	 
	 
	 
	 

	 
	BUILDING WORK
	 
	 
	 
	 

	 
	BILL NO 6
	 
	 
	 
	 

	 
	FLOOR COVERING
	 
	 
	 
	 

	 
	
	 
	 
	 
	 

	 
	SUPPLIMENTARY PREAMBLES
	 
	 
	 
	 

	 
	Fixing: Floor coverings, wall linings, etc shall, where applicable, be fixed with adhesive as recommended by the manufacturers of the flooring, linings, etc
	Note
	 
	 
	 

	 
	Laying of materials: Floor tiles shall be laid with continuous joints in both directions  
Patterned floor coverings shall be matched at joints
	Note
	 
	 
	 

	 
	GENERAL: Floor coverings, wall linings, skirtings, nosings, etc shall include all preparatory work to screeded or plastered surfaces etc, priming coats and adhesives Floor coverings and wall linings shall be dressed around and into corners. Wood block and wood mosaic flooring shall be sanded with a sanding machine and sealed with a coat of approved penetrating sealer Plastic handrails shall have welded and polished butt joints
	Note
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	FLOOR COVERING
	 
	 
	 
	 

	 
	CARPETING
	 
	 
	 
	 

	1.
	Wall to wall carpets including under felt and edge strips including preparing screed for new floor finish (Kids friendly play area carpet)
	M2
	14
	 
	 

	2.
	Supply & install and aluminum strip connecting carpets
	M
	4
	 
	 

	 
	6,5mm Thick Belgotex Berber Point or other approved carpeting laid wall to wall with an approved adhesive:
	 
	 
	 
	 

	3.
	On floors (main library & office)
	M2
	231
	 
	 

	 
	 
	 
	 
	 
	 

	 
	SUBTOTAL=
	 
	 
	 
	 

	 
	CARRIED OVER TO SUMMARY
	 
	 
	 
	 

	ITEM NO
	DESCRIPTION
	UNIT 
	QUANTITY
	RATES
	TOTAL

	 
	 
	 
	 
	 
	 

	 
	SECTION NO 2
	 
	 
	 
	 

	 
	BUILDING WORK
	 
	 
	 
	 

	 
	BILL NO 7
	 
	 
	 
	 

	 
	METAL WORK
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	SUPPLIMENTARY PREAMBLES
	 
	 
	 
	 

	 
	WELDING OF METALWORK All welds shall be cleaned and filed or ground off smooth to approval. All welded joints shall be continuous
	Note
	 
	 
	 

	 
	Burglar bars and flyscreens Where windows are described as fitted with burglar bars or flyscreens, these shall be standard type fitted over opening sashes
	Note
	 
	 
	 

	 
	Items described as "plugged" shall be deemed to include screwing to fibre, plastic or metal plugs at not exceeding 600mm centres
	Note
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	WELDING WORK
	 
	 
	 
	 

	1.
	Supply & install metal protective cage for aircon outside unit
	No
	6
	 
	 

	2.
	Supply, fasten and weld African gate and razor wire flat wrap to existing palisade fence.
	M
	65
	 
	 

	 
	SERVICING OF EXISTING METALWORK
	 
	 
	 
	 

	 
	Service existing steel windows:
	 
	 
	 
	 

	3.
	Extra on servicing existing steel window sash for supply and fitting new handle.
	No
	84
	 
	 

	4.
	Extra on servicing existing steel window sash for supply and fitting new sliding stay.
	No
	84
	 
	 

	 
	BURGLAR GUARDS SET ASIDE FOR RE-USE.
	 
	 
	 
	 

	5.
	Re use the burglar guards set aside to existing windows.
	No
	21
	 
	 

	 
	BURGALR DOOR
	 
	 
	 
	 

	6.
	Supply & install a single door burglar guard door
	No
	2
	 
	 

	 
	CABLE TRUNKING
	 
	 
	 
	 

	7.
	Supply & install hot-dip galvanized steel perforated Electrical Cable trunking ISO/CE certified.
	M
	25
	 
	 

	 
	HANDLES & LOCKS
	 
	 
	 
	 

	8.
	Replace double door handles and locking mechanism.
	No
	1
	 
	 

	 
	SERVICE ALUMINUM DOORS 
	 
	 
	 
	 

	9.
	Service aluminum double door hinges and replace all door locks.
	No
	3
	 
	 

	 
	BURGLAR GUARDS LOCKS
	 
	 
	 
	 

	10.
	Replace burglar guard locking mechanism with new locking mechanism (main door)
	No
	1
	 
	 

	 
	 
	 
	 
	 
	 

	 
	SUBTOTAL=
	 
	 
	 
	 

	 
	CARRIED OVER TO SUMMARY
	 
	 
	 
	 
























	ITEM NO
	DESCRIPTION
	UNIT 
	QUANTITY
	RATES
	TOTAL

	 
	 
	 
	 
	 
	 

	 
	SECTION NO 2
	 
	 
	 
	 

	 
	BUILDING WORK
	 
	 
	 
	 

	 
	BILL NO 8
	 
	 
	 
	 

	 
	TILING
	 
	 
	 
	 

	 
	
	 
	 
	 
	 

	 
	SUPPLEMANTRY PREAMBLES
	 
	 
	 
	 

	 
	PREPARATORY WORK Surfaces shall be clean and free of oil and thoroughly wetted directly before any tiling is commenced. Concrete surfaces shall be slashed with a mixture of one part cement and one part coarse sand or otherwise treated to form a proper key
	Note
	 
	 
	 

	 
	CERAMIC WALL AND FLOOR TILING Where tiles are fixed to plaster or screeds with an adhesive, the adhesive shall be as recommended by the manufacturer of the tiles. Joints shall be straight, continuous and flush pointed with an approved grouting compound
	Note
	 
	 
	 

	 
	GENERAL Tiling described as “on walls” is on brick walls or block walls unless otherwise stated and shall include concrete columns, beams and lintels flush with the face of the wall
	Note
	 
	 
	 

	 
	Fixing Unless described as "fixed with adhesive to plaster (plaster elsewhere)" descriptions of tiling on brick or concrete walls, columns, etc shall be deemed to include 1:4 cement plaster backing and descriptions of tiling on concrete floors etc shall be deemed to include 1:3 plaster bedding
	Note
	 
	 
	 

	 
	Tiling described as "fixed with adhesive on power floated concrete" shall be deemed to include for approved tiling key-coat
	 
	 
	 
	 

	 
	Ceramic, porcelain, marble and granite tiles are to be fixed and grouted with suitable adhesives and grouts as recommended by the manufacturer of the tiles
	Note
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	WALL TILING
	 
	 
	 
	 

	 
	152 x 152 x 5mm First quality, white glazed, cushion edged, ceramic tiles fixed with an approved adhesive to plastered walls (plaster elsewhere measured):
	 
	 
	 
	 

	1.
	On walls (kitchen & office)
	M2
	56
	 
	 

	 
	 
	 
	 
	 
	 

	 
	SUBTOTAL=
	 
	 
	 
	 

	 
	CARRIED OVER TO SUMMARY
	 
	 
	 
	 























	ITEM NO
	DESCRIPTION
	UNIT 
	QUANTITY
	RATES
	TOTAL

	 
	 
	 
	 
	 
	 

	 
	SECTION 2
	 
	 
	 
	 

	 
	BUILDING WORKS 
	 
	 
	 
	 

	 
	BILL NO 9
	 
	 
	 
	 

	 
	PLUMBING & DRAINANAGE
	 
	 
	 
	 

	 
	
	 
	 
	 
	 

	 
	SUPPLIMENTRY PREAMBLES
	 
	 
	 
	 

	 
	Galvanized sheet iron gutters Galvanized sheet iron gutters shall have beaded edges and all joints shall be riveted and soldered. Angles shall be strengthened with 50 x 0,6mm galvanized sheet iron strips soldered on over the internal faces of mitres Gutters shall be fixed with falls to outlets on 30 x 3mm galvanized mild steel brackets, bent to the shape of gutters, with front ends taken up to the underside of beaded edge of gutter and each screwed to roof timbers or bolted to fibre-cement fascias with 6mm galvanized gutter bolts. Gutters shall be bolted to brackets at front with 6mm galvanized gutter bolts, one to each bracket Brackets shall be positioned at joints of gutters and intermediately at not exceeding 1,25m centres
	Note
	 
	 
	 

	 
	RAINWATER PIPES Galvanized sheet iron pipes shall have seams at the back and shall be jointed with soldered slip joints. 
Pipes shall be fixed to walls etc with galvanized mild steel holder bats spaced at not exceeding 2m 
centres with tails driven in or cut and pinned in 1:3 cement mortar
	Note
	 
	 
	 

	 
	SANITARY FITTINGS Glazed ceramic, acrylic and porcelain enameled sanitary fittings and component parts shall be white. 
Accessories for sanitary fittings shall be chromium plated brass  
Waste outlets for baths, basins, etc shall comprise chromium plated brass waste union with grating, 
rubber washers and locknut, fitted with rubber or vulcanite plug on a chromium plated brass chain and 
stay 
	Note
	 
	 
	 

	 
	INSTALLATION OF SANITARY FITTINGS                                                       1. Ceramic wash hand basins  
Ceramic wash hand basins shall be fixed to walls on a pair of standard painted steel or cast iron 
brackets bolted to wall with 6mm diameter expanding bolts.     Ceramic urinals  
2. Ceramic stall and slab urinals shall be bedded on floors and against walls in 1:3 cement mortar. Slabs, 
channels, treads, etc shall be jointed in 1:3 cement mortar and pointed in white cement  
Ceramic bowl urinals shall be fixed to walls on standard steel brackets bolted to wall with 6mm 
diameter expanding bolts. Cisterns shall be fixed to walls on standard brackets bolted to wall with 6mm 
diameter expanding bolts
	Note
	 
	 
	 

	 
	FIRE EXTINGUISHERS All fire extinguishers shall be fully charged
	Note
	 
	 
	 

	 
	
	 
	 
	 
	 

	 
	SANITARY FITTINGS
	 
	 
	 
	 

	 
	Wash hand basins fixed complete and connected to services:
	 
	 
	 
	 

	1.
	Vaal Springbok (Code 7031) or other approved 550 x 400mm wash hand basin, two 15mm chromium plated pillar taps with star pattern handles, 32mm chromium plated waste union, vulcanite plug and chain, wall hung with two Vaal (code 8118Z0) semi-concealed cast iron brackets. make good of wall tiles.
	No
	2
	 
	 

	2.
	Vaal low level paraplegic wash hand basin with two chrome plated swinging taps hung on the wall. Make good of wall tiles.
	No
	1
	 
	 

	 
	WC suites fixed complete in position and connected to services:
	 
	 
	 
	 

	3.
	WC suite comprising white vitreous china pan with P or S trap, 11 liter Shires Lynx or other approved low-level black or white Durante cistern complete with valve less syphonic fitting, ball valve, matching flush pipe and heavy duty white double flap seat and cover.Make good of vinyl tiles.
	No
	2
	 
	 

	4.
	Low-level white closet for paraplegics comprising "Protea(7502)" pan with "Masterbilt" double flap plastic seat and 9litre Code710631 cistern with purpose made chromed side flush handle and support rails. Make of affected vinyl tiles.
	No
	1
	 
	 

	 
	Vitreous China wall hung urinals fixed complete and connected to services:
	 
	 
	 
	 

	5.
	Armitage Shanks SANLINE or other approved 495 x 400mm  flat back wall hung urinal with wall hangers, strainer waste, top inlet spreader and chromium plated Flush master FJ6000 and plush pipe. Make good of wall and wall tiles.
	No
	1
	 
	 

	 
	Steel dispenser case holder
	 
	 
	 
	 

	6.
	ABS construction lockable Roll Control Paper Dispenser with viewing window in colour white
	No
	3
	 
	 

	 
	Stainless steel sink
	 
	 
	 
	 

	7.
	Standard stainless steel catering bowl potwashing sink unit.(office sink & kitchen sink))
	No
	2
	 
	 

	 
	MAINTENANCE OF EXISTING WATER SUPPLY AND FITTINGS
	 
	 
	 
	 

	 
	Plumbing Maintenance:
	 
	 
	 
	 

	8.
	Unblock existing 110mm diameter toilet drainage pipe in services area 
	M
	22
	 
	 

	 
	RAINWATER DISPOSAL
	 
	 
	 
	 

	 
	0.7mm Baked enamel aluminum downpipe including holderbats:
	 
	 
	 
	 

	9.
	75mm x 100mm gutter 
	M
	175
	 
	 

	10.
	100 x 75mm Rainwater pipe.
	M
	38
	 
	 

	11.
	Extra over 100 x 75mm rainwater pipe for bend.
	No
	20
	 
	 

	12.
	Extra over 100 x 75mm rainwater pipe for shoe.
	No
	20
	 
	 

	 
	RAINWATER GOOD DRAINAGES
	 
	 
	 
	 

	13.
	Clear v-drains of all vegetation and leave them clean.
	M
	126
	 
	 

	 
	WATER SUPPLY
	 
	 
	 
	 

	 
	ELECTRIC WATER HEATERS
	 
	 
	 
	 

	 
	Installation of water heaters to include connection to water supply and electrical service:
	 
	 
	 
	 

	14.
	150 Litre horizontal high pressure electric water heater fitted with one kilowatt element, baked enamel finish externally and hoisting and fixing in roof space strictly in accordance with the manufacturer’s instructions including all bolts and connections.
	No
	1
	 
	 

	 
	TANKS, ETC.
	 
	 
	 
	 

	 
	Jojo tank booster pump & connections
	 
	 
	 
	 

	15.
	Supply & install a 0.75kw centrifugal water pump connected to an existing Jojo tank. All electrical & water connections to be included in the pricing.
	No
	1
	 
	 

	16.
	Supply & install float valve kit
	No
	1
	 
	 

	17.
	Supply & install a protective cage to protect the water pump from theft.
	No
	1
	 
	 

	 
	TAPS ETC
	 
	 
	 
	 

	18.
	Supply & install kitchen double handle mixer Faucet. Make good of affected wall tiles and plumbing (kitchen & office) 
	No
	2
	 
	 

	 
	FIRE APPLIANCES, ETC.
	 
	 
	 
	 

	19.
	4,5kg DPC fire extinguisher to SABS 1567 including brackets for wall mounting.
	No
	1
	 
	 

	20.
	9kg DPC fire extinguisher to SABS 1567 including brackets for wall mounting.
	No
	5
	 
	 

	21.
	Supply and install photoluminescent sign frame - fire extinguisher, hose and red arrow down
	No
	6
	 
	 

	22.
	Supply & install fire extinguisher cabinet. Cabinet to be mounted against the wall.
	No
	7
	 
	 

	 
	FIRST AID KIT
	 
	 
	 
	 

	23.
	Supply &install first aid kit regulation box with all content inside. 
	No
	1
	 
	 

	 
	 
	 
	 
	 
	 

	 
	SUBTOTAL=
	 
	 
	 
	 

	 
	CARRIED OVER TO SUMMARY 
	 
	 
	 
	 







	ITEM NO
	DESCRIPTION
	UNIT 
	QUANTITY
	RATES
	TOTAL

	 
	 
	 
	 
	 
	 

	 
	SECTION NO 2
	 
	 
	 
	 

	 
	BUILDING WORKS 
	 
	 
	 
	 

	 
	BILL NO 10
	 
	 
	 
	 

	 
	GLAZING
	 
	 
	 
	 

	 
	
	 
	 
	 
	 

	 
	SUPPLIMENTARY PREAMBLES
	 
	 
	 
	 

	 
	PUTTY ETC Glazing putty shall be Type I for wooden sashes and Type II for steel sashes. Putty for glazing to unpainted 
hardwood shall be tinted to match the colour of the wood  
Back putty shall not exceed 3mm thick. Putty shall not be painted until it has formed a surface crust, and if the 
putty does not form a surface crust it shall be replaced    
Butyl putty shall be used where glass is to be fixed in aluminum sashes with glazing beads    
Non-setting compounds shall be used where laminated glass is fixed in sashes with glazing beads 
	Note
	 
	 
	 

	 
	
	 
	 
	 
	 

	 
	GLAZING TO STEEL WITH PUTTY
	 
	 
	 
	 

	 
	4 mm Clear float glass:
	 
	 
	 
	 

	1.
	Panes exceeding 5m² and not exceeding 10m².
	M2
	4
	 
	 

	 
	SAFETY GLASS.
	 
	 
	 
	 

	2.
	Replace safety glass on aluminum door. 
	M2
	3
	 
	 

	 
	 
	 
	 
	 
	 

	 
	SUBTOTAL=
	 
	 
	 
	 

	 
	CARRIED OVER TO SUMMARY
	 
	 
	 
	 










	ITEM NO
	DESCRIPTION
	UNIT 
	QUANTITY
	RATES
	TOTAL

	 
	 
	 
	 
	 
	 

	 
	SECTION NO 2
	 
	 
	 
	 

	 
	BUILDINGG WORK
	 
	 
	 
	 

	 
	BILL NO 11
	 
	 
	 
	 

	 
	PAINTWORK
	 
	 
	 
	 

	 
	
	 
	 
	 
	 

	 
	SUPPLIMENTATY PREAMBLES
	 
	 
	 
	 

	 
	GENERAL Paintwork shall include the preparation of surfaces, filling, stopping, sanding and priming of nail heads and screws. Where windows, sashes, etc are to be painted, the rebates of the openings to be glazed shall be primed
	Note
	 
	 
	 

	 
	Plastered surfaces etc Plastered surfaces shall be thoroughly inspected and, if necessary, washed down and brushed in order to remove any traces of efflorescence and allowed to dry completely before any paint finish is applied. Before any paint is applied, holes, cracks and irregularities in plaster and other surfaces shall be filled with a suitable filler and finished smooth. Unfinished concrete surfaces shall have all projections rubbed off and shall be thoroughly cleaned with a spirits-of-salts solution (1 part concentrated spirits of-salts to 4 parts water
	Note
	 
	 
	 

	 
	Metal surfaces Metal surfaces shall be sanded, where necessary, washed with a suitable cleaning agent and left smooth Protective coatings applied by manufacturers to galvanized metal surfaces shall be removed with a suitable agent and the surfaces washed down Rust, grease and defective factory primers on metal surfaces, as well as pitch on cast iron pipes, shall be removed
	Note
	 
	 
	 

	 
	Wood surfaces Knots in woodwork shall be treated with knotting. Minor blemishes shall be filled with a suitable filler. Wood surfaces shall be sanded smooth
	Note
	 
	 
	 

	 
	Previously painted plastered surfaces Surfaces shall be thoroughly washed down and allowed to dry completely before any paint is applied. Blistered or peeling paint shall be completely removed and cracks shall be opened, filled with a suitable filler and finished smooth
	Note
	 
	 
	 

	 
	Previously painted metal surfaces Surfaces shall be thoroughly rubbed and cleaned down. Blistered or peeling paint shall be completely removed down to bare metal
	Note
	 
	 
	 

	 
	Previously painted wood surfaces Surfaces shall be thoroughly cleaned down. Blistered or peeling paint shall be completely removed and cracks and crevices shall be primed, filled with suitable filler and finished smooth
	Note
	 
	 
	 

	 
	
	 
	 
	 
	 

	 
	ON PREVIOUSLY PAINTED PLASTER, ETC.
	 
	 
	 
	 

	 
	Surfaces shall be thoroughly washed down and allowed to dry completely before any paint is applied.   Blistered or peeling paint shall be completely removed and cracks shall be opened, filled with a suitable filler and finished smooth.
	 
	 
	 
	 

	 
	Clean down, etc, and apply two coats of exterior quality PVA emulsion paint as SABS Specification 1586 Grade 1 of semi-gloss designation on:
	 
	 
	 
	 

	1.
	Plastered walls internally.
	M2
	322
	 
	 

	 
	Clean down, etc, and apply two coats of acrylic emulsion paint as SABS Specification 1586 Grade 1 of semi-gloss designation on:
	 
	 
	 
	 

	2.
	Gypsum plasterboard ceilings, coverstrips, cornices, etc., internally including priming and stopping up nail heads.
	M2
	27
	 
	 

	 
	Clean down, etc, and apply one finishing coat Plascon Wall & All or other approved pure acrylic emulsion paint with Teflon as SABS Specification 1586 Grade I, on:
	 
	 
	 
	 

	3.
	Fair face brickwork walls externally.
	M2
	 
	 
	 

	 
	ON PREVIOUSLY PAINTED METAL
	 
	 
	 
	 

	 
	Surfaces shall be thoroughly rubbed and cleaned down.   Blistered or peeling paint shall be completely removed down to bare metal.
	Note
	 
	 
	 

	4.
	Door frames.
	M2
	42
	 
	 

	5.
	Gates, grilles, burglar screens, balustrades, etc. (contractor to lay putty first before painting windows) (both sides measured over the full flat area).
	M2
	281
	 
	 

	6.
	Palisade fence and gates (measured both sides)
	M2
	234
	 
	 

	 
	Clean down, etc., touch up acrylic emulsion metal primer and apply two coats acrylic roof paint as SABS Specification 940 of semi-matt designation on:
	 
	 
	 
	 

	7.
	Profiled metal roof sheeting and accessories, inclusive of gutters and downpipe (measured on flat).
	M2
	980
	 
	 

	 
	PAINT ON WOOD
	 
	 
	 
	 

	 
	Prepare and stop with tinted stopping and apply three coats of Spick and Span Woodcoat Clear Suede or other approved matt polyurethane finish, including burnishing with steel wool between coats on wood:
	 
	 
	 
	 

	8.
	Doors.
	M2
	30
	 
	 

	9.
	Skirting and quadrant bead not exceeding 300mm girth.
	M
	161
	 
	 

	10.
	Exposed roof trusses (treating of timber) 
	M2
	68
	 
	 

	11.
	General surfaces
	M2
	118
	 
	 

	 
	ON NEW FIBRE CEMENT, ETC.
	 
	 
	 
	 

	 
	Prepare and apply one coat alkali resistant primer as SABS Specification 1416, one undercoat and one finishing coat PVA emulsion paint as SABS Specification 1586 Type I on:
	 
	 
	 
	 

	12.
	Barge and fascia boards
	M2
	95
	 
	 

	 
	
	 
	 
	 
	 

	 
	SUBTOTAL
	 
	 
	 
	 

	 
	CARRIED OVER TO SUMMARY
	 
	 
	 
	 






	ITEM NO
	DESCRIPTION
	UNIT 
	QUANTITY
	RATES
	TOTAL

	 
	 
	 
	 
	 
	 

	 
	SECTION 2
	 
	 
	 
	 

	 
	BUILDING WORK
	 
	 
	 
	 

	 
	BILL NO 12
	 
	 
	 
	 

	 
	ELECTRICAL WORK
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	PROVISIONAL PREAMBLES
	 
	 
	 
	 

	 
	Contract price adjustment provisions With reference to clause ? of the Preliminaries all items in this bill will be subject to fluctuations in the cost of labour and material on the following basis: (a) Ring main units, miniature substations, transformers, main low tension boards, distribution boards and busbars between transformer and low tension boards calculated on the indices published by the Steel and Engineering Industries Federation of South Africa (b) Cables in excess of 16mm² calculated on the basis of proven cost (c) All other work calculated on the index for work group
	Note
	 
	 
	 

	 
	Distribution boards etc Rates for distribution boards etc are to include for busbars, jumpers, neutral bars, internal wiring and connections, circuit identification markers, control gear labels, circuit legend cards and working drawings
	Note
	 
	 
	 

	 
	Switches, socket outlets, etc Rates for switches, socket outlets, etc are to include for screwing to outlet boxes, connecting up and cover plates
	Note
	 
	 
	 

	 
	Light fittings Rates for light fittings are to include for hanging, fixing and connecting and for lamp holders and fluorescent tubes and lamps of the type and wattage described
	Note
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	LIGHT FITTINGS
	 
	 
	 
	 

	 
	Disconnect, take off and remove existing light fitting and replace with new fitting as described below including necessary lamps screwing to and including plugs in wall where necessary or screwing to ceiling and electrical re-connection:
	 
	 
	 
	 

	1.
	2 x 58W SS surface mounted LED tubes with fittings mounted on ceiling or rafters. 
	No
	2
	 
	 

	2.
	3 x 58W SS high brightness surface mounted LED tubes with fittings mounted on the ceiling or rafters.
	No
	43
	 
	 

	 
	Disconnect, take off and remove existing light fitting and replace with new fitting as described below including necessary lamps screwing to and including plugs in wall where necessary or screwing to ceiling and electrical re-connection:
	 
	 
	 
	 

	3.
	150mm Glass bowl luminaire with porcelain lamp holder complete with 100W incandescent lamp as ILM Accent Range-DEC/BWL/150.
	No
	5
	 
	 

	 
	EXTERNAL LED FLOOD LIGHTS
	 
	 
	 
	 

	4.
	Supply & install 100w LED flood light connected to day-night switch
	No
	9
	 
	 

	 
	PROVISIONAL SUM
	 
	 
	 
	 

	5.
	Allow a sum of R50 000.00 for servicing and upgrading of electricity in the library. Upgrading must include increase of capacity to accommodate new aircons. Leaev electricity working perfectly.
	SUM
	SUM
	 
	 

	 
	 
	 
	 
	 
	 

	 
	SUBTOTAL=
	 
	 
	 
	 

	 
	CARRIED OVER TO SUMMARY
	 
	 
	 
	 










	ITEM NO
	DESCRIPTION
	UNIT 
	QUANTITY
	RATES
	TOTAL

	 
	 
	 
	 
	 
	 

	 
	SECTION N0 2
	 
	 
	 
	 

	 
	BUILDING WORKS
	 
	 
	 
	 

	 
	BILL NO 13
	 
	 
	 
	 

	 
	MECHANCAL WORK
	 
	 
	 
	 

	 
	
	 
	 
	 
	 

	 
	PROVISIONAL PREAMBLE
	 
	 
	 
	 

	 
	Major equipment Descriptions of major equipment such as chillers, air handling units and the like shall be deemed to include connections to water, air and electrical supply and/or discharge points, supports, bearers, vibration insulation mountings, filters, insulation, inspection ladders and gangways, access doors and panels and painting etc as specified
	Note
	 
	 
	 

	 
	Piping Pipe diameters are nominal internal unless otherwise stated Where fittings have reducing ends or branches they are described as "reducing". In the case of pipes with diameters not exceeding 60mm only the largest end or branch diameter is given. Should the contractor wish to use other fittings and bushes or reducers he may do so on the understanding that no claim in this regard will be entertained. In the case of pipes with diameters exceeding 60mm all diameters are given and no claim for extra bushes, reducers, etc will be entertained
	Note
	 
	 
	 

	 
	Fixing of pipes Unless otherwise stated, descriptions of pipes shall be deemed to include fixing to walls etc, casting in, building in or suspending not exceeding 1m below suspension level
	Note
	 
	 
	 

	 
	Insulation Descriptions of insulation shall be deemed to include priming the pipes with zinc chromate primer before the insulation is applied, painting the insulation when completed and applying vapour barrier where specified
	Note
	 
	 
	 

	 
	
	 
	 
	 
	 

	 
	AIR-CONDITIONING INSTALLATION
	 
	 
	 
	 

	 
	Descriptions of equipment such as window/wall unit and split airconditioning units shall be deemed to include all necessary and appropriate:
	 
	 
	 
	 

	 
	Interconnecting insulated refrigerant piping and electrical wiring, drain piping, refrigerant charges,connections to electrical supply, and
	Note
	 
	 
	 

	 
	Supply and return air plenums, diffusers and grilles, fitters, metal or PVC trunking, insulated ducting, controls, supports, mounting brackets, vibration isolators, painting, etc.
	Note
	 
	 
	 

	 
	The Contractor shall provide all guards and protective devices, etc. and arrange for all inspections, tests, certificates, etc. necessary to comply with the abovementioned Acts, Codes of Practice, Specifications, etc.
	Note
	 
	 
	 

	 
	All electrical work is to be carried out by a registered electrician.
	Note
	 
	 
	 

	 
	Any approved console airconditioner
	 
	 
	 
	 

	1.
	Supply & install 36000 btu/hr non inverter airconditioner 
	No
	5
	 
	 

	2.
	Supply & install 18000 btu/hr non inverter airconditioner 
	No
	1
	 
	 

	 
	
	 
	 
	 
	 

	 
	SUBTOTAL=
	 
	 
	 
	 

	 
	CARRIED OVER TO SUMMARY
	 
	 
	 
	 






SECTION 3: PROVISIONAL SUMS


	ITEM NO
	DESCRIPTION
	UNIT 
	QUANTITY
	RATES
	TOTAL

	 
	 
	 
	 
	 
	 

	 
	SECTION NO 3
	 
	 
	 
	 

	 
	BUILDING WORK
	 
	 
	 
	 

	 
	BILL NO 1
	 
	 
	 
	 

	 
	TILING
	 
	 
	 
	 

	 
	
	 
	 
	 
	 

	 
	PROVISIONAL PREAMBLE
	 
	 
	 
	 

	 
	Note: All provisional sums are for further application for delivery to site of all articles concerned.
	 
	 
	 
	 

	 
	 
	 
	 
	 
	 

	 
	PROVISIONAL SUM
	 
	 
	 
	 

	1.
	Allow a sum of R500 000.00 for fitting of electrical connections, plugs, wall plugs, earthing and all electrical connetions in the library.
	SUM
	SUM
	 
	 

	 
	 
	 
	 
	 
	 

	 
	SUBTOTAL=
	 
	 
	 
	 

	 
	CARRIED OVER TO SUMMARY
	 
	 
	 
	 


















SECTION 4:  SUMMARRY

	ITEM NO. 
	DESCRIPTION
	 
	AMOUNT

	 
	 
	 
	 

	 
	SECTION 1
	 
	 

	 
	 
	
	 

	BILL 1 
	PRELIMINARIES
	
	

	
	
	
	

	
	SECTION 2
	
	

	
	
	
	

	BIIL 1
	ALTERATIONS 
	
	 

	BILL 2.
	SITE CLEARANCE 
	
	 

	BILL 3.
	WATER PROOFING
	
	 

	BILL 4.
	CARPENTRY & JOINERY
	
	 

	BILL 5.
	CEILINGS, PARTITIONS & ACCESS FLOORING
	
	 

	BILL 6.
	FLOOR COVERING
	
	 

	BILL 7.
	METAL WORK
	
	 

	BILL 8.
	TILING
	
	 

	BILL 9.
	PLUMBING & DRAINAGE 
	
	 

	BILL 10.
	GLAZING 
	
	 

	BILL 11.
	PAINTWORK
	
	 

	BILL 12.
	ELECTRICAL WORK
	
	 

	BILL 13.
	MECHANICAL WORK
	
	 

	 
	 
	
	 

	
	SECTION 3 
	
	

	
	
	
	

	BILL 1
	PROVISIONAL SUM
	
	

	
	
	
	

	
	SUBTOTAL 1
	
	

	
	
	
	

	
	CONTIGENCIES
	
	

	
	
	
	

	 
	SUBTOTAL  2
	
	 

	
	
	
	

	 
	ADD: VAT 15% =
	 
	 

	
	
	
	

	 
	TOTAL CARRIED TO OFFER=
	 
	 






	



PART 5:  SITE INFORMATION



















	









FREE STATE PROVINCIAL GOVERNMENT

DEPARTMENT OF SPORT, ARTS, CULTURE AND RECREATION


REPAIRS AND RENOVATIONS OF TROMPSBURG LIBRARY 

SCM – INFRA 04/2026 




C4 Site Information

Tenderers are required to acquaint themselves with the conditions of the site during the scheduled compulsory site inspection



























PART C5:  ADDITIONAL RETURNABLE DOCUMENTS

C5.1: INVITATION TO TENDER – SBD1






























REQUEST FOR QUOTATION FOR REPAIRS AND RENOVATIONS AT TROMPSBURG LIBRARY.
The department requests your quotation on the goods and/or works services listed hereunder and /or on the available RFQ forms. Please furnish all information as requested and return your quotation on the date stipulated on SBD1. Late and incomplete submissions will invalidate the quotation submitted.

REQUIREMENTS: 
1. BID REQUIREMENTS
1.1 All bidding Vendors must have a Valid bank account
1.2 All the Relevant Forms attached to this bid documents must be completed and signed in ink where applicable by a duly authorised official


2. REQUIRED DOCUMENTATION
The prospective bidders are required to provide the following documentation:
2.1 Original completed and signed applicable Bid Documents (SBD 1, 4, 6.1)
2.2 Company Registration Certificate from the Registrar of Companies (CK2)
2.3 Original Valid Tax Clearance Certificates or SARS PIN
2.4 Joint Venture Agreement signed by both parties where applicable
2.5 SANAS BBBEE Certificate or DTI SWORN Affidavit
2.6 Consolidated BBBEE Certificate in case of a Joint Venture
2.7 Originally Certified Copies of Identity Documents of the main shareholders / Directors of the Company
2.8 Central Suppliers Database (CSD) report of the business

3. EVALUATION CRITERIA AND PROCESSES TO BE USED
3.1 The evaluation process will entail the following phases:
i. Phase 1 — Evaluation on Legal requirements
ii. Phase 3 — 80/20 Points preference system

4. QUOTATIONS MUST HAVE THE FOLLOWING.

QUOTATION NUMBER
QUOTATION VALIDITY DATE
COMPANY BANKING DETAILS








SBD 1
INVITATION TO BID
	YOU ARE HEREBY INVITED TO BID FOR REQUIREMENTS OF THE (SPORT, ARTS, CULTURE AND RECREATION)

	BID NUMBER:
	SCM – INFRA 04/2026
	CLOSING DATE:
	26/10/2026
	CLOSING TIME:
	11:00

	DESCRIPTION
	REPAIRS AND RENOVATIONS AT TROMPSBURG LIBRARY

	BID RESPONSE DOCUMENTS MAY BE DEPOSITED IN THE BID BOX SITUATED AT (STREET ADDRESS)

	ZANA BUILDING

	34 CORNER HILL AND HENRY STREET

	BLOEMFONTEIN

	9300

	BIDDING PROCEDURE ENQUIRIES MAY BE DIRECTED TO
	TECHNICAL ENQUIRIES MAY BE DIRECTED TO:

	CONTACT PERSON
	
	CONTACT PERSON
	

	TELEPHONE NUMBER
	
	TELEPHONE NUMBER
	

	FACSIMILE NUMBER
	
	FACSIMILE NUMBER
	

	E-MAIL ADDRESS
	
	E-MAIL ADDRESS
	

	SUPPLIER INFORMATION

	NAME OF BIDDER
	

	POSTAL ADDRESS
	

	STREET ADDRESS
	

	TELEPHONE NUMBER
	CODE
	
	NUMBER
	

	CELLPHONE NUMBER
	

	FACSIMILE NUMBER
	CODE
	
	NUMBER
	

	E-MAIL ADDRESS
	

	VAT REGISTRATION NO
	

	SUPPLIER COMPLIANCE STATUS
	TAX COMPLIANCE SYSTEM PIN:
	
	OR
	CENTRAL SUPPLIER DATABASE No: 
	MAAA

	B-BBEE STATUS LEVEL VERIFICATION CERTIFICATE

	TICK APPLICABLE BOX]


|_| Yes                     |_| No

	B-BBEE STATUS LEVEL SWORN AFFIDAVIT  


	[TICK APPLICABLE BOX]


|_| Yes                  |_| No


	ARE YOU THE ACCREDITED REPRESENTATIVE IN SOUTH AFRICA FOR THE GOODS /SERVICES /WORKS OFFERED?
	|_|Yes                         |_|No 

[IF YES ENCLOSE PROOF]

	ARE YOU A FOREIGN BASED SUPPLIER FOR THE GOODS /SERVICES /WORKS OFFERED?

	|_|Yes |_|No

[IF YES, ANSWER THE QUESTIONNAIRE BELOW ]


	QUESTIONNAIRE TO BIDDING FOREIGN SUPPLIERS

	IS THE ENTITY A RESIDENT OF THE REPUBLIC OF SOUTH AFRICA (RSA)?		|_|YES  |_| NO
DOES THE ENTITY HAVE A BRANCH IN THE RSA?				|_|YES  |_| NO
DOES THE ENTITY HAVE A PERMANENT ESTABLISHMENT IN THE RSA?	|_|YES  |_| NO
DOES THE ENTITY HAVE ANY SOURCE OF INCOME IN THE RSA?		|_|YES  |_| NO
IS THE ENTITY LIABLE IN THE RSA FOR ANY FORM OF TAXATION?		|_|  YES  |_| NO 
IF THE ANSWER IS “NO” TO ALL OF THE ABOVE, THEN IT IS NOT A REQUIREMENT TO REGISTER FOR A TAX COMPLIANCE STATUS SYSTEM PIN CODE FROM THE SOUTH AFRICAN REVENUE SERVICE (SARS) AND IF NOT REGISTER AS PER 2.3 BELOW. 




PART B
TERMS AND CONDITIONS FOR BIDDING
	
	1. BID SUBMISSION:

	1.1. BIDS MUST BE DELIVERED BY THE STIPULATED TIME TO THE CORRECT ADDRESS. LATE BIDS WILL NOT BE ACCEPTED FOR CONSIDERATION.
1.2. ALL BIDS MUST BE SUBMITTED ON THE OFFICIAL FORMS PROVIDED–(NOT TO BE RE-TYPED) OR IN THE MANNER PRESCRIBED IN THE BID DOCUMENT.
1.3. THIS BID IS SUBJECT TO THE PREFERENTIAL PROCUREMENT POLICY FRAMEWORK ACT, 2000 AND THE PREFERENTIAL PROCUREMENT REGULATIONS, 2022, THE GENERAL CONDITIONS OF CONTRACT (GCC) AND, IF APPLICABLE, ANY OTHER SPECIAL CONDITIONS OF CONTRACT.
1.4. THE SUCCESSFUL BIDDER WILL BE REQUIRED TO FILL IN AND SIGN A WRITTEN CONTRACT FORM (SBD7).


	2. TAX COMPLIANCE REQUIREMENTS

	2.1 BIDDERS MUST ENSURE COMPLIANCE WITH THEIR TAX OBLIGATIONS. 
2.2 BIDDERS ARE REQUIRED TO SUBMIT THEIR UNIQUE PERSONAL IDENTIFICATION NUMBER (PIN) ISSUED BY SARS TO ENABLE   THE ORGAN OF STATE TO VERIFY THE TAXPAYER’S PROFILE AND TAX STATUS.
2.3 APPLICATION FOR TAX COMPLIANCE STATUS (TCS) PIN MAY BE MADE VIA E-FILING THROUGH THE SARS WEBSITE WWW.SARS.GOV.ZA.
2.4 BIDDERS MAY ALSO SUBMIT A PRINTED TCS CERTIFICATE TOGETHER WITH THE BID. 
2.5 IN BIDS WHERE CONSORTIA / JOINT VENTURES / SUB-CONTRACTORS ARE INVOLVED, EACH PARTY MUST SUBMIT A SEPARATE   TCS CERTIFICATE / PIN / CSD NUMBER.
2.6 WHERE NO TCS PIN IS AVAILABLE BUT THE BIDDER IS REGISTERED ON THE CENTRAL SUPPLIER DATABASE (CSD), A CSD NUMBER MUST BE PROVIDED. 
2.7 NO BIDS WILL BE CONSIDERED FROM PERSONS IN THE SERVICE OF THE STATE, COMPANIES WITH DIRECTORS WHO ARE PERSONS IN THE SERVICE OF THE STATE, OR CLOSE CORPORATIONS WITH MEMBERS PERSONS IN THE SERVICE OF THE STATE.”



NB: FAILURE TO PROVIDE / OR COMPLY WITH ANY OF THE ABOVE PARTICULARS MAY RENDER THE BID INVALID.


SIGNATURE OF BIDDER:					……………………………………………


CAPACITY UNDER WHICH THIS BID IS SIGNED:		……………………………………………
(Proof of authority must be submitted e.g. company resolution)


DATE:								…………………………………………...





						
BILL OF QUANTITY 
SPECIFICATION 

NB: ATTACH THE QUOATION ON THE COMPANY LETTER HEAD
NB: SEE ATTACHED SPECIFICATION. 



























SBD 4

BIDDER’S DISCLOSURE

1. PURPOSE OF THE FORM
Any person (natural or juristic) may make an offer or offers in terms of this invitation to bid. In line with the principles of transparency, accountability, impartiality, and ethics as enshrined in the Constitution of the Republic of South Africa and further expressed in various pieces of legislation, it is required for the bidder to make this declaration in respect of the details required hereunder.

Where a person/s are listed in the Register for Tender Defaulters and / or the List of Restricted Suppliers, that person will automatically be disqualified from the bid process. 


2. Bidder’s declaration
2.1 	Is the bidder, or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest[footnoteRef:1] in the enterprise,  [1: the power, by one person or a group of persons holding the majority of the equity of an enterprise, alternatively, the person/s having the deciding vote or power to influence or to direct the course and decisions of the enterprise.

] 

	employed by the state?						YES/NO	
2.1.1	If so, furnish particulars of the names, individual identity numbers, and, if applicable, state employee numbers of sole proprietor/ directors / trustees / shareholders / members/ partners or any person having a controlling interest in the enterprise, in table below.
	Full Name
	Identity Number
	Name of State institution

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


	















2.2	Do you, or any person connected with the bidder, have a relationship with any person who is employed by the procuring institution? YES/NO					
2.2.1     If so, furnish particulars:
……………………………………………………………………………………
……………………………………………………………………………………

2.3 	Does the bidder or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise have any interest in any other related enterprise whether or not they are bidding for this contract?				YES/NO

2.3.1 If so, furnish particulars:
…………………………………………………………………………….
…………………………………………………………………………….

3 DECLARATION

I, the undersigned, (name)……………………………………………………………………. in submitting the accompanying bid, do hereby make the following statements that I certify to be true and complete in every respect:

3.1 	I have read and I understand the contents of this disclosure;
3.2	I understand that the accompanying bid will be disqualified if this disclosure is found not to be true and complete in every respect;
3.3 	The bidder has arrived at the accompanying bid independently from, and without consultation, communication, agreement or arrangement with any competitor. However, communication between partners in a joint venture or consortium[footnoteRef:2] will not be construed as collusive bidding. [2:  Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.] 

3.4	In addition, there have been no consultations, communications, agreements or arrangements with any competitor regarding the quality, quantity, specifications, prices, including methods, factors or formulas used to calculate prices, market allocation, the intention or decision to submit or not to submit the bid, bidding with the intention not to win the bid and conditions or delivery particulars of the products or services to which this bid invitation relates.
3.4	The terms of the accompanying bid have not been, and will not be, disclosed by the bidder, directly or indirectly, to any competitor, prior to the date and time of the official bid opening or of the awarding of the contract.

3.5 	There have been no consultations, communications, agreements or arrangements made by the bidder with any official of the procuring institution in relation to this procurement process prior to and during the bidding process except to provide clarification on the bid submitted where so required by the institution; and the bidder was not involved in the drafting of the specifications or terms of reference for this bid.

3.6 I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to bids and contracts, bids that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No 89 of 1998 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act No 12 of 2004 or any other applicable legislation.

I CERTIFY THAT THE INFORMATION FURNISHED IN PARAGRAPHS 1, 2 and 3 ABOVE IS CORRECT. 
I ACCEPT THAT THE STATE MAY REJECT THE BID OR ACT AGAINST ME IN TERMS OF PARAGRAPH 6 OF PFMA SCM INSTRUCTION 03 OF 2021/22 ON PREVENTING AND COMBATING ABUSE IN THE SUPPLY CHAIN MANAGEMENT SYSTEM SHOULD THIS DECLARATION PROVE TO BE FALSE.  


………………………………	 ..…………………………………………… 	
	Signature	                          Date

………………………………	………………………………………………
	Position 	Name of bidder











			





SBD 6.1
PREFERENCE POINTS CLAIM FORM IN TERMS OF THE PREFERENTIAL PROCUREMENT REGULATIONS 2022
This preference form must form part of all tenders invited.  It contains general information and serves as a claim form for preference points for specific goals. 

NB:	BEFORE COMPLETING THIS FORM, TENDERERS MUST STUDY THE GENERAL CONDITIONS, DEFINITIONS AND DIRECTIVES APPLICABLE IN RESPECT OF THE TENDER AND PREFERENTIAL PROCUREMENT REGULATIONS, 2022


1. GENERAL CONDITIONS
1.1 The following preference point systems are applicable to invitations to tender:
· the 80/20 system for requirements with a Rand value of up to R50 000 000 (all applicable taxes included); and 
· the 90/10 system for requirements with a Rand value above R50 000 000 (all applicable taxes included).

1.2 To be completed by the organ of state
	(delete whichever is not applicable for this tender).

a) The applicable preference point system for this tender is the 80/20 preference point system.

1.3 Points for this tender (even in the case of a tender for income-generating contracts) shall be awarded for: 
(a) Price; and
(b) Specific Goals.

1.4 To be completed by the organ of state:
The maximum points for this tender are allocated as follows:
	
	POINTS

	PRICE
	         80

	SPECIFIC GOALS
	         20

	Total points for Price and SPECIFIC GOALS 
	       100



1.5 Failure on the part of a tenderer to submit proof or documentation required in terms of this tender to claim points for specific goals with the tender, will be interpreted to mean that preference points for specific goals are not claimed.

1.6 The organ of state reserves the right to require of a tenderer, either before a tender is adjudicated or at any time subsequently, to substantiate any claim in regard to preferences, in any manner required by the organ of state.


2. DEFINITIONS
(a) “tender” means a written offer in the form determined by an organ of state in response to an invitation to provide goods or services through price quotations, competitive tendering process or any other method envisaged in legislation; 
(b) “price” means an amount of money tendered for goods or services, andincludes all applicable taxes less all unconditional discounts;
(c) “rand value” means the total estimated value of a contract in Rand, calculated at the time of bid invitation, and includes all applicable taxes; 
(d) “tender for income-generating contracts” means a written offer in the form determined by an organ of state in response to an invitation for the origination of income-generating contracts through any method envisaged in legislation that will result in a legal agreement between the organ of state and a third party that produces revenue for the organ of state, and includes, but is not limited to, leasing and disposal of assets and concession contracts, excluding direct sales and disposal of assets through public auctions; and 
(e) “the Act” means the Preferential Procurement Policy Framework Act, 2000 (Act No. 5 of 2000).  

3. FORMULAE FOR PROCUREMENT OF GOODS AND SERVICES

3.1. POINTS AWARDED FOR PRICE

3.1.1   THE 80/20 OR 90/10 PREFERENCE POINT SYSTEMS 
[bookmark: _Hlk78214518]	A maximum of 80 or 90 points is allocated for price on the following basis:

		80/20	or	90/10	

		or	
	Where
	Ps	=	Points scored for price of tender under consideration
	Pt	=	Price of tender under consideration
	Pmin	=	Price of lowest acceptable tender

3.2. FORMULAE FOR DISPOSAL OR LEASING OF STATE ASSETS AND INCOME GENERATING PROCUREMENT


3.2.1. POINTS AWARDED FOR PRICE

A maximum of 80 or 90 points is allocated for price on the following basis:
	
		            80/20	               or	            90/10	

		or	
	
Where
	Ps	=	Points scored for price of tender under consideration
	Pt	=	Price of tender under consideration
	Pmax	=	Price of highest acceptable tender

4. POINTS AWARDED FOR SPECIFIC GOALS 

4.1. In terms of Regulation 4(2); 5(2); 6(2) and 7(2) of the Preferential Procurement Regulations, preference points must be awarded for specific goals stated in the tender. For the purposes of this tender the tenderer will be allocated points based on the goals stated in table 1 below as may be supported by proof/ documentation stated in the conditions of this tender: 
4.2. In cases where organs of state intend to use Regulation 3(2) of the Regulations, which states that, if it is unclear whether the 80/20 or 90/10 preference point system applies, an organ of state must, in the tender documents, stipulate in the case of— 

(a) any other invitation for tender, that either the 80/20 or 90/10 preference point system will apply and that the lowest acceptable tender will be used to determine the applicable preference point system,  
then the organ of state must indicate the points allocated for specific goals for both the 90/10 and 80/20 preference point system. 
















	
Table 1: Specific goals for the tender and points claimed are indicated per the table below. 
(Note to organs of state: Where either the 90/10 or 80/20 preference point system is applicable, corresponding points must also be indicated as such. 
Note to tenderers: The tenderer must indicate how they claim points for each preference point system.)  
	The specific goals allocated points in terms of this tender
	Number of points
allocated
(80/20 system)
(To be completed by the organ of state)
	Number of points claimed (80/20 system)
(To be completed by the tenderer)
	Evidence to be submitted by supplier to substantiate the points claimed / allocated per specific goal
( NB: Any of the evidence indicated below per specific goal should be regarded as sufficient) 

	Free State and based company
	10
	
	· CK2

	Historically Disadvantaged Individual (HDI) means a South African citizen. -
Who, due to the apartheid policy that had been in place, had  no franchise in national elections prior to introduction of constitution of the Republic of South Africa , 1983 or the one of 1993: Black and Indians
		Achievement level
	Total number of points that may be claimed

	100% black ownership
	10

	75%-99% black ownership
	8

	60%-74% black ownership
	6

	51% -59%black ownership
	3

	0-50% black ownership
	0



	
	· B-BBEE Certificate
· Sworn Affidavit




DECLARATION WITH REGARD TO COMPANY/FIRM

4.3. Name of company/firm…………………………………………………………………….
4.4. Company registration number: …………………………………………………………...
4.5. TYPE OF COMPANY/ FIRM
	Partnership/Joint Venture / Consortium
	One-person business/sole propriety
	Close corporation
	Public Company
	Personal Liability Company
[bookmark: _Hlk117764996]	(Pty) Limited 
	Non-Profit Company
	State Owned Company
[TICK APPLICABLE BOX]

4.6. I, the undersigned, who is duly authorised to do so on behalf of the company/firm, certify that the points claimed, based on the specific goals as advised in the tender, qualifies the company/ firm for the preference(s) shown and I acknowledge that:
i) The information furnished is true and correct;
ii) The preference points claimed are in accordance with the General Conditions as indicated in paragraph 1 of this form;
iii) In the event of a contract being awarded as a result of points claimed as shown in paragraphs 1.4 and 4.2, the contractor may be required to furnish documentary proof to the satisfaction of the organ of state that the claims are correct; 
iv) If the specific goals have been claimed or obtained on a fraudulent basis or any of the conditions of contract have not been fulfilled, the organ of state may, in addition to any other remedy it may have –
(a) disqualify the person from the tendering process;
(b) recover costs, losses or damages it has incurred or suffered as a result of that person’s conduct;
(c) cancel the contract and claim any damages which it has suffered as a result of having to make less favourable arrangements due to such cancellation;
(d) recommend that the tenderer or contractor, its shareholders and directors, or only the shareholders and directors who acted on a fraudulent basis, be restricted from obtaining business from any organ of state for a period not exceeding 10 years, after the audialterampartem (hear the other side) rule has been applied; and
(e) forward the matter for criminal prosecution, if deemed necessary.
SIGNATURE(S) OF TENDERER(S)
SURNAME AND NAME:	 ……………………………………………………….
DATE:			………………………………………………………
ADDRESS:		………………………………………………………
			………………………………………………………
		………………………………………………………
		………………………………………………………














PART C5. 5:  FUNCTIONALITY

THIS FORM MUST BE COMPLETED AND BE RETURNED WITH YOUR BID DOCUMENT

FUNCTIONALITY

NOTE:
The maximum score for functionality is 45 points. Bidders must score a minimum of 32 points to qualify.
The point’s criteria for functionality will be applicable on this bid.  (Referring to
                 “General Terms of Bid” and “Notes to Bidders” when applicable).
Departmental representative will contact references provided by respective bidders and also do physical inspection if necessary.

1.1EXPERIENCE (20 POINTS) 
	[bookmark: _Hlk169095019]Category
	Points allocated
	Indicate whether you are claiming the allocated points   Yes/No

	Capacity of the contractor to execute infrastructure projects of similar nature and complexity (Each completed project must be R1 million& above including all applicable taxes) 20 pts
	
	

	· 1 Completed project
	5
	

	· 2 Completed projects
	10
	

	· 3 Completed projects
	15
	

	· 4 Completed projects	
	20
	


NB: Supporting documentation to substantiate the above claims will be appointment letters and completion certificates and must be of the same project. Only a completion certificate will be accepted, not a reference letter. Failure to submit a completion certificate will result to points not being awarded.   
1.2.   WORK QUALITY (13 POINTS).	
		Number of  staff
	Points allocated
	Indicate whether you are claiming the allocated points     Yes/No

	Corresponding reference letters to the project above and completion certificates of projects indicated above as per contractual agreement. NB: Projects listed in 1.1 (above). 
	
	

	Maximum of  Four (4) reference letters
	13
	

	Maximum of Three (3) reference letters 
	10
	

	Maximum of Two (2) reference letters
	6
	

	Maximum of One (1) reference letter
	3
	


NB: Supporting documentation to substantiate the above claims will be corresponding reference letters to the appointment letters and completion certificates submitted on the above category on Experience 

[bookmark: _Hlk55305154]2. EXPERTISE (12 POINTS)

		Number of  staff
	Points allocated
	Indicate whether you are claiming the allocated points     Yes/No

	1 Qualified Site Agent with a qualification in Built Environment and experience of 5 years and above
	5
	

	1 Qualified Site Agent with a qualification in Built Environment and experience of 3 to 5 years
	3
	

	1 General Foreman with experience of 5 years and above
	2
	

	1 Qualified Health and Safety Officer with Health and Safety certificates and experience of 3 to 5 years
	2
	


NB: Supporting documentation to substantiate the above claims will be qualification certificates of qualified personnel (Minimum: National Diploma in Built Environment/SAQA NQF Level 6), CV with contactable references must be attached together with the qualification certificates, where a company does not have permanent, qualified and experienced personnel, they must provide an affidavit signed by the Site Agent, Foreman and Health & Safety Officer giving the company consent to utilize their personal information for the purposing of responding to this bid. Failure to submit either one of these documents will result to bidder forfeiting allocated points.
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