| Contact Person | Mapule Msiza |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Email Address | Mapule.msiza@tia.org.za |  |  |  |  |  |
| Closing Date | 11 July 2025 @ 09:00am |  |  |  |  |  |
| delivery address | Technology innovation agency Umbogintwini industrial complex 1 Dickens Road Umbogintwini Amanzimtoti 4126 South Africa |  |  |  |  |  |
| Description of Goods / Services |  |  |  |  |  |  |
| Item Description |  | Quantity |  |  |  |  |
| Supply and install monitoring system |  |  |  |  |  |  |
| - Temperature Monitoring machine must be able to monitor specialized temperature sensors and monitoring devices on designated equipment to ensure continuous and accurate tracking of internal temperature conditions. - Remote Monitoring System: All installed devices are connected to a centralized remote monitoring system, which will allow both service provider and authorized facility personnel to access real-time temperature data, receive alerts, and generate compliance reports. - 24/7 Alert Notifications: The system is configured to send automated alerts via email or SMS in the event of temperature deviations, ensuring immediate response and intervention to protect temperature-sensitive materials. - Monthly Maintenance & Calibration: Supplier to conduct routine monthly maintenance and system checks to ensure all monitoring devices are functioning optimally. This includes recalibration, hardware inspection, and replacement of faulty sensors where necessary. - Compliance Support: The monitoring system and reports support regulatory and quality assurance requirements, providing traceable temperature logs and validation documentation. Deliverables: - Installation of temperature monitoring devices on all specified equipment - Access of credentials to the remote monitoring dashboard - Service provider to do monthly physical maintenance on installed monitoring devices - Immediate alert system setup for key personnel (via sms and email) |  |  |  | Service providers to go for a site visit on 7 July 2025 aT 11:00am at Technology innovation agency Umbogintwini industrial complex 1 Dickens Road Umbogintwini Amanzimtoti |  |  |
| - Invoice paid after good and services delivery and within 30 days as per the National Treasury Act. - Suppliers must all be registered on the Central Supplier Database - Quotations: to be accompanied by SBD 4 AND 6.1 forms, Proof of specific goals where applicable, the completed and signed request for quotation form - Quotation received after the closing date and time will not be considered. - 80/20 preferential point system will be used 6. The validity period of price quotations after the closing date is 30 days |  |  |  |  |  |  |
| Specific Goals For TIA For Day - To - Day Procurement |  |  | Proof |  |  |  |
| 50% Owned By Historically Disadvantaged Individuals |  | 5 | Share Register / CSD Report |  |  |  |
| 51% Owned Black Women |  | 5 | Share register /CSD Report |  |  |  |
| At Least One Of The Owners Has A Disability / Disabilities |  | 5 | Statements Or Letters On A Physician’s / Medical Professional’s Letterhead With Practise Number Confirming Disability |  |  |  |
| At Least One Of The Owners Is A Youth |  | 5 | Copy Of A Certified ID CARD |  |  |  |
| Total |  | 20 |  |  |  |  |
| Supplier’s Information |  |  |  |  |  |  |
| Company Name |  |  |  |  |  |  |
| Contact Person |  |  |  |  |  |  |
| Contact Number |  |  |  |  |  |  |
| Email Address |  |  |  |  |  |  |
| Signature |  |  |  |  | Date |  |