[image: image1.png]&M

AR = LNR

¢ in Research and Developmen:




REQUEST FOR QUOTATION FORM FOR GOODS

AND SERVICES

AGRICULTURAL RESEARCH COUNCIL (ARC)

1.
You are kindly requested to submit a written quotation RFQ-013361 to Agricultural 


Research Council as per below or attached specification.

	Description

	ITEM 
DESCRIPTION

UNIT

QTY
1.1.
GUTTER SYSTEM  COMPONENTS
1.1.1
Gutter system components (Domestic gutters)
a
125  mm white U- PVC  gutter  (D-shape /Vynadeep)  
6 m
120
b

PVC gutter end cap (D-shape/ Vynadeep)

Each

50
c
Gutter bracket with screws  D-shape/Vynadeep 

Each

400 

d

Gutter connectors (UPVC gutter union clip) D-shape/Vynadeep 

Each

100
e

90 0 internal gutter angle 

Each

50 
f

90 0external gutter angle   

Each

50 

g

Gutter drop (gutter outlet) 

Each

50
1.1.2
Downsprout (gutter down pipe)
a

Socketed uPVC round downpipe (round downspout )
3m
100

b

Downsprout bracket with screws @ 1 m spacing (downsprout strap)
Each

50 

Sub-total for 1.1: Gutter system components
1.2 

a

5 000 L, vertical plastic storage tank (round Jojo Tank or similar) @ 1 per household including overflow pipe
Each
10
b

 5 000L Jojo tank filter screen (for top of tank)

Each

10

c

Metal tap  

Each

10

d

Storage tank shut off ball valve 

Each

10

e

40 to 20 mm reducer

Each

10

f 

20 mm T-connector

Each

10

g

20 mm hose clamps 

Each

50

Sub-total for 1.2: Water Storage Tanks
1.3 

ITEM 
DESCRIPTION
UNIT
QTY
a

 Cement bricks (220 x 110 x 70) 
Each

  3 000         

b

42.5 N All-purpose cement for mortar 

50 kg bag

100

c

22 mm concrete stone for  25 Mpa concrete slab

m3
12

Sub-total for 1.3: Water storage tank stands
1.4
DELIVERY CHARGES
Transport and delivery of materials to site 

Delivery address: U Save Masibekela Village 

R 571 Mananga Road, Masibekela, Komatipoort, 1340

Co-ordinates:-25.85653, 31.81531
Each
1


	

	CLOSING DATE : 22 June 2022 @11:00


	KINDLY ENSURE THAT YOUR COMPANY IS REGISTERED ON CENTRALISED SUPPLIER DATABASE IF NOT ,KINDLY REGISTER ON THIS WEBSITE www.csd.gov.za


2.
The above specified goods/services should be delivered/rendered to: 


Address 

   : U Save Masibekela Village 

                                              R 571 Mananga Road, Masibekela, Komatipoort, 1340

                                              Co-ordinates:-25.85653, 31.81531
3.
The particulars of the guarantee that will apply to the goods quoted for,


with particular regard to the period and extent of the warranty must be 


clearly stated. Where services are required, service providers must submit


documentation pertaining the relevant experience.

4.
Your written quotation should be sent to:







Lungile Kubheka






E Mail: KubhekaL@arc.agric.za

5.
All price quotations that have a rand value of R30,000-00 to R50 000 000.00


including VAT, will be evaluated by applying the 80/20 principle as


prescribed by the Preferential Procurement Policy Framework Act 5 of


2000 and its Regulations. The lowest acceptable price will score


80 points, the 20 BBBEE points will be allocated as follows:

	B-BBEE Status

Level of

Contributor
	80/20

	1
	20

	2
	18

	3
	14

	4
	12

	5
	8

	6
	6

	7
	4

	8
	2

	Non-compliant

Contributor
	0


6.
Standard conditions: 

6.1
The validity of the quotations must be indicated.

6.2
Prices quoted should be in South African Rand and inclusive of VAT costs 


such as delivery, insurance, taxes, etc.

6.3
No price adjustments or amendment of the delivery particulars contained 


in paragraph 2 will be considered by the ARC.

6.4
The supplier accepts full responsibility for the proper execution and


fulfilment of the goods/services quoted for.

6.5
ARC reserves the right to accept or reject any special terms and 


conditions that may qualify the goods/services to be provided. 

6.6
Quotes should be submitted on an official letterhead and duly signed

6.7
Goods and services should be supplied/rendered upon receipt of a 


purchase order from the ARC

6.8
The General Conditions of Contract issued by National Treasury are


applicable. 

6.9
The ARC supply chain management code of conduct is applicable.

6.10
SBD Forms must be signed and returned together with the quotation,, failure to comply will result to disqualification of your quotation.

6.11
Your quotation must indicate the delivery date.

6.12
The ARC reserve the right to do due diligence on the quotations.

6.13
The ARC reserve the right to benchmark prices quoted.
Compulsory requirements

· Valid tax PIN number from SARS.

· Central Supplier Database report (Current and updated CSD report) showing a tax compliant status for the duration of the bidding process.

· Complete and sign the Standard Bidding Documents (SBD forms)

Thank you in anticipation

Supply Chain Management: ARC


Page 1 of 4

