[image: image1.emf]Tender Number: RFP/LOG/2023/24
RFP Title:  RFP/LOG/2023/24 - Reinstatement and Repairs to Studio 6

[image: image23.jpg]e

SABC




SOUTH AFRICAN BROADCASTING SABC SOC LIMITED

(“the SABC”)

REQUEST FOR PROPOSAL (RFP)
                        RFP NUMBER: RFP/LOG/2023/24
RFP TITLE: THE APPOINTMENT OF A BUILDING CONTRACTOR FOR REINSTATEMENT AND REPAIRS TO STUDIO 6 AT SABC AUCKLAND PARK.
EXPECTED TIMEFRAME

	BID PROCESS
	EXPECTED DATES

	Bid Advertisement Date
	26 July 2023

	Bid Documents Available From
	National Treasury’s tender portal

(http://www.etenders.gov.za) 

SABC Website

(http://www.sabc.co.za/sabc/tenders/)
CIDB website

http://www.cidb.co.za)

	Compulsory Briefing Session Date & Time

See Annexure A (Guideline for Briefing Session)
	02 August 2023 @ 10h00-11h30 AM


	Compulsory site inspection
	04 August 2023 @9h00-12h00 PM

	Venue / Link for virtual Briefing Session
	Join on your computer, mobile app or room device 

Click here to join the meeting 

Meeting ID: 344 037 290 81 
Passcode: wq6pnh 
Download Teams | Join on the web
Learn More | Meeting options 

	Bid Closing Date and Time
	18 August 2023 @12h00 PM

	Contact details
	tenderqueries@sabc.co.za

	Preference point system
	80/20 or 90/10 preference system will be used for this bid whichever is applicable

	CIDB Grading
	A minimum of 7 GB: CIDB Grading is applicable for this bid


NB!! BIDDERS MUST ATTEND COMPULSORY BRIEFING SESSION AND ATTEND SITE INSPECTION, FAILURE TO ATTEND WILL RESULT IN DISQUALIFICATION!!! 
The SABC retains the right to change the timeframe whenever necessary and for whatever reason it deems fit. 
BIDS DELIVERY:
         Bids must be lodged in the:

                                                  SABC's Tender Box



                                                      SABC Office 

                                                       Radio Park

                                                      Henley Road. 
                                                      Auckland Park
                                                      Johannesburg

OR 

ELECTRONIC SUBMISSION
RFPSubmissions@sabc.co.za
During the COVID-19 pandemic, bidders may submit bids in the tender box or electronically until further notice. Refer to Document A for Conditions to be observed when bidding.
Late Bid submissions will not be accepted for consideration by the SABC.
1. MANDATORY DOCUMENTS  
All bid respondents must submit mandatory documents that comply with all mandatory requirements.  Bids that do not fully comply with the mandatory requirements will be disqualified and will not be considered for further evaluation.
	1. 
	2. MANDATORY REQUIREMENT
	COMPLY/ NOT COMPLY

	2.1 
	Provide a proof of CIDB Grading: 
A minimum of CIDB =7 GB Grading  
	

	2.2 
	Proof of Valid letter or certificate from Engineering Council of South Africa (ECSA) registered as professional structural Engineer subject to verification by the SABC.







	


Note: Prior  to appointment, the successful bidder will be required provide the documentation for Specialist work such as harmful substances(asbestos) and Fire;  a Valid certified copy of the South African Qualification and Certificate Committee (SAQCC) fire Registration.

NON-SUBMISSION OF THE MANDATORY DOCUMENTS WILL RESULT IN DISQUALIFICATION.
2. REQUIRED DOCUMENTS
2.1 SARS “Pin” to validate supplier’s tax matters.  

2.2 Original or Certified copy of Valid BBBEE Certificate (from SANAS accredited Verification Agency)

2.3 All EME’s and 51% black Owned QSE’s are only required to obtain a sworn affidavit on an annual basis, confirming the following;

3.3.1. Annual Total Revenue of R10 Million or less (EME) or Revenue between R10 Million and R50 Million for QSE

3.3.2. Level of Black Ownership

Note 1: 

Verification Agencies and Auditors who are accredited by the IRBA (Independent Regulatory Board for Auditors) are no longer the ‘approved regulatory bodies’ for B-BBEE verification and therefore IRBA auditors are not allowed to issue B-BBEE certificates after 30 September 2016.

Note 2: 

Any misrepresentation in terms of the above constitutes a criminal offence as set out in the B-BBEE act as amended.

2.4 Proof of Valid TV License Statement (Company’s, Shareholders and all Directors’), or affidavit proving that company and/or officials are not in possession of TV licence. Verification will also be done by the SABC internally. 
2.5 Proof of Central Supplier Database (CSD) registration reflecting the CSD Supplier Number (Bidder must be registered in order to do business with the SABC). Verification will also be done. 

2.6 Certified copy of Company Registration Document that reflect Company Name, Registration number, date of registration and active Directors or Members.

2.7 Certified copy of Shareholders’ certificates.

2.8 Certified copy of ID documents of the Directors or Members.

2.9 Last three years audited/reviewed financial statements OR the Companies Management Accounts. 
2.10 Letter of Good standing (COIDA)

2.11 NHBRC Certificate 

2.12 For an appointed bidder will be required to submit a Public Liability cover
2.13 The appointed bidder will be required to submit a project plan.
NB: NO CONTRACT WILL BE AWARDED TO ANY BIDDER/S WHOM THEIR TAX AND TV LICENCE MATTERS ARE NOT IN ORDER. NO CONTRACT WILL BE AWARDED TO ANY BIDDER WHO IS NOR REGISTERED ON THE CENTRAL SUPPLIER DATABASE (CSD). 
C O N T E N T S

DOCUMENT A:
CONDITIONS TO BE OBSERVED WHEN BIDDING

DOCUMENT B: 
GENERAL CONDITIONS OF THE BID/PROPOSAL

DOCUMENT C: 
QUESTIONNAIRE

DOCUMENT D: 
DECLARATION OF INTEREST

DOCUMENT E: 
FUNCTIONALITY REQUIREMENTS
DOCUMENT F: 
CONFIDENTIALITY
DOCUMENT G: 
PREFERENCE POINTS CLAIM FORM IN TERMS OF THE PREFERENTIAL PROCUREMENT REGULATIONS 2017- SBD 6.1
DOCUMENT H: 
DECLARATION OF BIDDER’S PAST SUPPLY CHAIN MANAGEMENT PRACTICES - SBD 8

DOCUMENT I: 

CERTIFICATE OF INDEPENDENT BID DETERMINATION SBD 9  
DOCUMENT J: 
ACCEPTANCE OF CONDITIONS OF BID

DOCUMENT K: 
VENDOR FORM (SABC SUPPLIER/VENDOR REGISTRATION FORM) - (ATTACHED SEPARATELY) / PLEASE ALSO REGISTER ON CENTRALISED DATA BASE - https://secure.csd.gov.za
DOCUMENT A

CONDITIONS TO BE OBSERVED WHEN BIDDING

1.0 LODGING OF PROPOSALS

1.1 Bidders are required to complete and sign the RFP Document and initial all pages (including proposal and brochures).

1.2 During the COVID-19 pandemic, bidders may submit bids in the tender box or electronically until further notice as follows:

1.2.1. Tender box submission

Bids submitted in the tender box must adhere to the following:

· Bids must be submitted in one (1) original, two (2) copies of the original and 1 (one) soft copy (CD) or memory stick, by hand and be enclosed in a sealed envelope marked distinctly with the RFP number. All soft copies should be in PDF format and must contain proposal, all completed forms, and attachments. This envelope must indicate the Bid number and the name and delivery address of the Bidder.
1.2.2. Electronic submission:

Bids submitted electronically must adhere to the following:

· The single point of entry is RFPSubmissions@sabc.co.za. 
· Electronic submissions must be submitted in a PDF format that is protected from any modifications, deletions or additions. 
· Financial/pricing information must be presented in a separate attachment from the Technical/Functional Response information. The onus is on the Bidder to ensure that all mandatory and required documents are included in the electronic submission.
· All electronic submissions must be prominently marked with the full details of the tender in the email subject line namely Bidder’s Name, Tender No and Tender Title.
· Bidders are advised to email electronic submissions at least thirty minutes before the bid closing time to cater for any possible delay in transmission or receipt of the bid. The onus is on bidder to ensure that the bid is submitted on time via email 
· Tender submission emails received after submission date and time will be declared late bid submissions and will not be accepted for consideration by SABC.
1.4 The SABC will not be responsible for any failure or delay in the email transmission or receipt of the email including but not limited to: 

· Receipt of incomplete bid 

· File size (must not exceed 30mb)
· Delay in transmission or receipt of the bid 

· Failure of the Bidder to properly identify the bid 

· Illegibility of the bid; or 

· Security of the bid data.
1.5   Bidders must ensure that bids are delivered timeously to the correct address. Bids not received in a specified manner, and by the specified time and date as set out in this RFP document will be rejected. The bid box is generally open 24 hours a day, 7 days a week.
2.0 COMPLIANCE WITH CONDITIONS OF PROPOSAL

2.1 No alteration, amendment or variation of the submitted proposal by the closing date of this bid shall be permitted, unless otherwise agreed in writing by both the SABC and the bidder. Should the bidder desire to make any amendments to the conditions of their proposal document, they shall stipulate upfront in their proposal document. The SABC reserves the right to reject such bid document.
3.0 COMPLIANCE WITH TECHNICAL SPECIFICATIONS

3.1 All bidders are required to submit bids in accordance with stipulated technical specification as indicated on this bid document. Failure to comply with the required technical specification will result in disqualification.
4.0 SCHEDULE OF QUANTITIES

4.1 Bidders are required to submit a detailed Schedule of Quantities indicating how the bid amount is composed. This schedule shall contain itemised descriptions, quantities and unit prices.
5.0 BID PRICES

5.1 No change in the submitted bid prices shall be accepted and/or approved by the SABC after receipt and before award of this bid.

5.2 All prices are to be quoted in the Republic of South African Rand with VAT as a separate item.

5.3 All local suppliers quoting in foreign currency must convert the currency to Rands and indicate the exchange rate applicable. The local suppliers must provide reasons with evidence why they are quoting in foreign currency
5.4 The prices quoted should be inclusive of all costs needed to perform the specified services, not limited to, all kinds of local guarantee bonds, taxes and duties, customs, customs clearance, inland transportation, storage, unpacking, positioning, installation, integration and testing. The prices quoted should be inclusive of all costs for the duration of the project. 

5.5 This bid document is not an offer to purchase, order or contract.

5.6 Prices must be fixed for the first year and shall, where applicable, be subject to an increase of not more than the applicable CPI.

5.7 Bid prices for supplies in respect of which installation/erection/assembly is a requirement, shall include ALL costs on a basis of delivery on site as specified.

5.8 Bid prices shall, where necessary, include packaging. If desired, packaging material may be returned to the bidder provided the amount of credit that will be allowed for the returnable packaging is shown against each item concerned. 

5.9 Any response submitted by a Bidder is subject to negotiation and review by the SABC.

6.0 SOURCE OF SERVICE AND MATERIAL

6.1 In the case of equipment/goods, which are partially or completely designed and/or manufactured in the Republic of South Africa, Bidders shall state the local content percentage.
6.2 Documentation certifying the local content percentage shall be submitted.
7.0 ACCEPTANCE OF PROPOSALS

7.1 The SABC does not bind itself to accept the lowest or any bid/proposal, nor shall it be responsible for or pay any expenses or losses which may be incurred by the Bidders in the preparation and delivery of its/his/her bid/proposal. The SABC reserves the right to accept a separate bid/proposal or separate bids/proposals for any one or more of the sections of a specification. The SABC also reserves the right to withdraw the bid at any stage.

7.2 No bid shall be deemed to have been accepted unless and until a formal contract/ letter of award is prepared and signed. 
7.3 The SABC reserves the right, should it deem it necessary, to monitor every stage of the contract to ensure:

7.3.1 that the directors who were awarded the bid are in control of the company and/or that changes in directors does not affect delivery of the goods/services/work  adversely;
7.3.2 that, if there are changes in the control of the company, these should be brought to the attention of the SABC;
7.3.3 that in the event that the bid or any part thereof is to be subcontracted to another company or organisation after the bid was awarded, the Bidders must immediately advise the SABC and the SABC shall approve same as it deems fit;
7.3.4 successful delivery of the goods/services/works in terms of the contract, or timeous termination of the contract should such action be in the best interest of the SABC;
7.3.5 audit the successful Bidder’s contract from time to time.

7.4 This bid will remain valid 180 (one hundred and eighty) days from the date of bid closing.  

8.0 DEFAULT BY BIDDERS

8.1 If Bidders purport to withdraw their bid(s)/proposals within the period for which they have agreed that their bid/proposal shall remain open for acceptance, or fails to enter into a written contract when called upon to do so, or fails to accept an order in terms of the bid, the SABC may, without prejudice to any other legal remedy which it may have, accept their bid(s)notwithstanding the purported withdrawal, or proceed to accept any other less favourable bid or call for bids afresh and may recover from the defaulting Bidders any additional expense it has incurred for the calling for new bids or the acceptance of any less favourable bid.

9.0 AMPLIFICATION OF PROPOSALS

9.1 The SABC may, after the opening of bids, call on the Bidder to amplify in writing any matter which is not clear in the Bidder's submission and such amplification shall form part of the original bid.

9.2 In the event of the Bidders failing to supply such information within the specified timeframe, the bid will be liable to rejection.

9.3 The SABC reserves the right to:
9.3.1 not evaluate and award bids that do not comply strictly with this bid document;
9.3.2 make a selection solely on the information received in the bids;
9.3.3 enter into negotiations with any one or more of preferred Bidder(s) based on the criteria specified in the evaluation of this bid;
9.3.4 contact any Bidder during the evaluation process, in order to clarify any information, without informing any other Bidders. During the evaluation process, no change in the content of the bid shall be sought, offered or permitted;  
9.3.5 award a contract to one or more Bidder(s);
9.3.6 accept any bid in part or full at its own discretion; and 

9.3.7 cancel this bid or any part thereof at any time.
9.4 Should Bidder(s) be selected for further negotiations, they will be chosen on the basis of the greatest benefit to the SABC and not necessarily on the basis of the lowest costs. 

10.0 IMPORT/EXPORT PERMITS

10.1 Bidders are required to include complete information on equipment and/or components requiring export/import permits.
11.0 COST OF BIDDING

11.1 The Bidder shall bear all costs and expenses associated with preparation and submission of its bid/proposal, and the SABC shall under no circumstances be responsible or liable for any such costs, regardless of, without limitation, the conduct or outcome of the bidding, evaluation, and selection process.
12.0 COMMUNICATION
12.1 The SABC has provided a single point of entry for any questions or queries that the Bidder may have. All queries must be submitted in writing and directed to authorised contact person. Unauthorised communication with any other personnel or member of staff of the SABC, with regard to this bid is strongly discouraged and will result in disqualification of the respective Bidder’s bid/proposal submission.

12.2 Should there be a difference of interpretation between the Bidder and SABC; SABC reserves the right to make a final ruling on such interpretation.

12.3 The closing time for clarification of queries is 3 (three) days before the deadline for bid/proposal submission. The Bidders should take note that questions together with responses will be sent to all Bidders who attended compulsory Briefing Session. 
13.0 AUTHORISED CONTACT PERSONS 
13.1 All enquiries in respect of this bid must be addressed to:


Tender Office

SCM Division
Radio Park Office Block

Henley Road

Auckland Park

Johannesburg

South Africa

E-mail: RFPSubmissions@sabc.co.za
14.0 BROAD-BASED ECONOMIC EMPOWERMENT

14.1 According to the 2013 B-BBEE Revised Coded of Good Practice the Exempted Micro Enterprise (EME) is only required to produce a sworn affidavit signed by the Commissioner of Oaths as per the requirement in the Justice of Peace and Commissioners of Oaths Act,1963(Act No.61 of 1963) or the Companies and Intellectual Property Commission(“CIPC”) certificate on an annual basis. 

14.2 Bidders other than EMEs must submit their original and valid B-BBEE status level verification certificate or a certified copy thereof, substantiating their B-BBEE rating issued by a Verification Agency accredited by SANAS.

14.3 Only South African Accreditation Systems ( SANAS) is the authorised body to issue B-BBEE certificates
14.4 IRBA and Accounting Officers are not allowed to issue B-BBEE affidavit or certificates to EMEs and QSEs as it was under 2007 Codes
14.5 EME’s and QSE’s must submit an affidavit confirming that the entity’s turnover is below R10 million and percentage of black ownership to claim BBBEE points 
14.6 QSEs have to comply with all elements 
14.7 Start-up enterprises are verified similar to EMEs, but can opt to be rated using the QSE and Generic Scorecard 
14.8 QSE with at least 51% black ownership or above are only required to obtain a sworn affidavit on an annual basis with a confirmation of turnover and black ownership
14.9 A trust, consortium or joint venture, will qualify for points for their B-BBEE status level as a legal entity, provided that  B-BBEE status level certificate under the consortium name is submitted. 

14.10 A trust, consortium or joint venture will qualify for points for their B-BBEE status level as an unincorporated entity, provided that the entity submits their consolidated B-BBEE scorecard as if they were a group structure and that such a consolidated B-BBEE scorecard is prepared for every separate bid.

14.11 Tertiary institutions and public entities will be required to submit their B-BBEE status level certificates in terms of the specialized scorecard contained in the B-BBEE Codes of Good Practice.

14.12 A bidder will not be awarded points for B-BBEE status level if it is indicated in the bid documents that such a bidder intends sub-contracting more than 25% of the value of the contract to any other enterprise that does not qualify for at least the points that such a bidder qualifies for, unless the intended sub-contractor is an EME that has the capability and ability to execute the sub-contract.

14.13 A bidder awarded a contract may not sub-contract more than 25% of the value of the contract to any other enterprise that does not have an equal or higher B-BBEE status level than the person concerned, unless the contract is sub-contracted to an EME that has the capability and ability to execute the sub-contract. 
15.0 MISREPRESENTATION AND FRONTING IS PROHIBITED

Fronting means a deliberate circumvention or attempted circumvention of the B-BBEE Act and the Codes. Fronting commonly involves reliance on data or claims of compliance based on misrepresentations of facts, whether made by the party claiming compliance or by any other person.
It is an offence to misrepresent or provide false information regarding a company’s information or engaging in a fronting practice. If there is any contravention of some sought,  the SABC may open a criminal and/or civil case/s against the bidder and its directors/members in terms of applicable legislation, and ban the bidder & its directors/members from doing business with the SABC for a pre-determined period.

It is important to note that any proposal that does not conform fully to the instructions and requirements in this RFP may be disqualified.

Suppliers might be required to demonstrate their proposed capabilities by means of a presentation, clear and easily verifiable reference documentation and/or a visit to an existing client site where their capabilities may be demonstrated.
Bids, which do not meet the technical requirements, will not be considered for further evaluation.
END OF DOCUMENT
DOCUMENT B

GENERAL CONDITIONS OF PROPOSAL

1.0 COMPLIANCE WITH COMPLETION OF PROPOSAL
1.1 The bid forms should not be retyped or redrafted but photocopies may be prepared and used. 
1.2 Bid forms must be signed in the original form; in ink and forms with photocopied signatures or other such reproduction of signature will be rejected.

1.3 Should bid forms not be filled in by means of mechanical devices, for example typewriters, ink, preferably black, must be used to fill in bid.

1.4 Bidders shall check the numbers of the pages and satisfy themselves that none are missing or duplicated.  No liability shall be accepted in regard to claims arising from the fact that pages are missing or duplicated. Incomplete bids will result in disqualification.

2.0 COMPLIANCE WITH TECHNICAL SPECIFICATIONS
2.1 Unless a departure is clearly stated by the Bidder at the time of bidding, the works shall be taken as complying in detail with the Technical Specifications, and the Bidder shall be held liable on all the terms and conditions of the contract as if this bid contained no departures.  Technical specifications contained in any brochures or any other descriptions submitted shall apply for acceptance test purposes.
3.0 WARRANTY

3.1 If there are any defects arising from failure of goods to meet the specifications within the period specified in the contract, the Bidder shall replace the defective items at his expense or shall refund the SABC such costs as the SABC may incur in replacing such defective item. The Bidder shall also bear the cost of transporting replaced/repaired items to the place of destination.

4.0 INSPECTION

4.1 The Bidder shall permit and assist the SABC's representatives in carrying out any inspections that are called for in the proposal or specifications.

5.0 PACKAGING

5.1 Goods purchased on this bid must be adequately protected and securely packaged during shipment and until delivery at the destination.
5.2 Goods must be clearly marked with the Bidder’s name, description of contents and the SABC's order number and delivery address.

6.0 RISK

6.1 The Bidder will be responsible for losses that SABC incurred due to Bidder’s negligence or intention and Bidder must provide Liability Insurance. This will be a condition of contract.
7.0 DELIVERY

7.1 Delivery will be to the SABC Auckland Park, Johannesburg, Republic of South Africa. The contractual delivery date must be strictly complied with and each delivery must be preceded or accompanied by delivery note. If delivery does not take place within the period stipulated, the SABC may cancel the contract concluded with the bidder without further notice to the Bidder and with immediate effect without prejudice to any other course of action available to the SABC to recover any damages out of such delay. Receipt of the goods by the SABC will not be regarded as acceptance thereof until the goods have been acceptance tested in compliance with the Technical Specifications.

8.0 PAYMENT

8.1 Payment, in currency other than South African Rand, will be made by means of a telegraphic or wired bank transfer.

The Bidder must provide:

· Name and address of their bank.

· Company account number to be credited.

· Sort/swift code of bank.
8.2 The SABC’s standard payment terms are 60 days from date of Invoice.
9.0 ASSIGNMENT OF CONTRACT

9.1 The Bidder shall not have the right to cede any right or delegate any obligation in terms of this contract to any third party unless with the prior written approval of the SABC.
10.0 PROPOSALS ARE CONSIDERED TO BE BINDING ON THE BIDDERS

10.1
Representations made in the bid/proposal, including claims made in respect of commitments to dates of delivery, shall be considered binding on the Bidder on acceptance of the bid/proposal by the SABC and same will be form part of the contract to be concluded, unless specifically noted by the Bidder in the bid/proposal that same maybe subject to change. 
11.0 COMPLIANCE WITH SABC POLICIES

11.1. SABC will not procure any goods, services, works or content from any employee or employee-owned business, to ensure that suppliers competing for the SABC’s business have confidence in the integrity of SABC’s selection process.

11.2. SABC will not procure any goods, services, works or content from any SABC Independent Contractor or Independent Contractor-owned business, to ensure that suppliers competing for the SABC’s business have confidence in the integrity of SABC’s selection process.

11.3. No former employees, SABC’s Non-Executive members and Independent Contractors will be awarded contracts with the SABC within 24 months after resigning from SABC employment or not being engaged with the SABC.

11.4. Should former employees, SABC’s Non-Executive members and Independent Contractors resign from the employment of the SABC or not being engaged with the SABC and become directors of other businesses bidding with SABC, such bid will not be considered until the cooling off period of two years has expired.
11.5. “The SABC has a zero tolerance to theft, fraud and corruption. Such activities will be investigated and stringent action institutes such as laying of criminal charges or even removal from the SABC database of service providers. Should you suspect or become aware of any suspicious acts of fraud, theft or corruption involving SABC employees or other suppliers rendering services to the SABC, contact the SABC whistle blowers hotline at “0800 372 831”
12.0 FAILURE TO COMPLY WITH THESE CONDITIONS
12.1 These conditions form part of the bid and failure to comply therewith may invalidate a bid.
13.0 RFP SCHEDULE
13.1 Bidders will be contacted as soon as practicable with a status update.  At this time, short-listed Bidders may be asked to meet with SABC representatives. Bidders should provide a list of persons and their contact details who are mandated to negotiate on behalf of their company.
14.0 ADDITIONAL NOTES
14.1 All returnable documents as indicated in the bid form must be returned with the response

14.2 Changes by the Bidder to his/her submission is not allowed after the closing date.  

14.3 The person or persons signing the bids must be legally authorized by the Bidder to do so. A list of the person(s) authorized to negotiate on your behalf must be submitted along with the bid.

14.4 SABC reserves the right to undertake post-bid negotiations with the preferred Bidder or any number of short-listed Bidders.
FAILURE TO OBSERVE ANY OF THE ABOVE-MENTIONED REQUIREMENTS MAY RESULT IN THE BID BEING OVERLOOKED.

15.0 DISCLAIMERS
15.1 Bidders are hereby advised that the SABC is not committed to any course of action as a result of its issuance of this BID and/or its receipt of a bid in response to it.  In particular, please note that the SABC may:

15.2 change all services on bid and to have Supplier re-bid on any changes.

15.3 reject any bid which does not conform to instructions and specifications issued herein

15.4 disqualify bids after the stated submission deadline

15.5 not necessarily accept the lowest priced bid

15.6 reject all bids, if it so deem fit
15.7 award a contract in connection with this bid at any time

15.8 award only a portion as a contract

15.9 split the award of the contract to more than one Supplier

15.10 make no award of a contract.

Kindly note that SABC will not reimburse any Bidder for any preparation costs or other work performed in connection with this bid, whether or not the Bidder is awarded a contract.
END OF DOCUMENT B

DOCUMENT C

QUESTIONNAIRE TO BE COMPLETED WHEN BIDDING
If the information required in respect of each item cannot be inserted in the space provided, additional information may be provided on a separate sheet of paper with a suitable reference to the questionnaire number concerned.

	1. Company’s Treasury CSD unique registration reference number.
	

	2. Have your company been issued with a SARS Compliance Status PIN.
	

	3. If yes, please provide PIN number.  The provision of the PIN will be construed as your permission to SABC Procurement to access your tax status on-line.
	

	4. Are you registered in terms of section 23(1) or 23(3) of the Value-added Tax Act, 1991 (Act 89 of 1991)?
	

	5. If so, state your VAT registration number and original current tax clearance certificate to be submitted
	

	6. Are the prices quoted fixed for the full period of contract?
	

	7. Is the delivery period stated in the bid firm?
	

	8. What is the address in the Republic of South Africa where an item of the type offered by you may be inspected preferably under working conditions? (Where  Applicable)

	

	9. What is the approximate value of stock in the Republic of South Africa for this particular item? (If required).
	

	10. Where are the stock held?
	

	11. What facilities exist for servicing the items offered?
	

	12. Where are these facilities available?
	

	13. What are the names and addresses of the factories/suppliers where the supplies will be manufactured and may be inspected, if required?
	


*
ALSO INDICATE WHICHEVER IS NOT APPLICABLE
END OF DOCUMENT C
DOCUMENT D

SBD-4

DECLARATION OF INTEREST
1.0 Any legal person, including persons employed by the state, or persons having a kinship with persons employed by the state, including a blood relationship, may make an offer or offers in terms of this invitation to bid (includes a price quotation, advertised competitive bid, limited bid or proposal).  In view of possible allegations of favouritism, should the resulting bid, or part thereof, be awarded to persons employed by the state, or to persons connected with or related to them, it is required that the bidder or his/her authorised representative declare his/her position in relation to the evaluating/adjudicating authority where- 


-
the bidder is employed by the state; and/or


-
the legal person on whose behalf the bidding document is signed, has a relationship with persons/a person who are/is involved in the evaluation and or adjudication of the bid(s), or where it is known that such a relationship exists between the person or persons for or on whose behalf the declarant acts and persons who are involved with the evaluation and or adjudication of the bid. 

2.0 In order to give effect to the above, the following questionnaire must be completed and submitted with the bid.

2.1 Full Name of bidder or his or her representative:

………………………………………………………….…………………………………
2.2 Identity Number: ………………………………………………………………………….
2.3 Position occupied in the Company (director, trustee, shareholder²):
………………………………………………………….…………………………………
2.4 Company Registration Number: ………………………………………………………..
2.5 Tax Reference Number: ………………………………………………………….……
2.6 VAT Registration Number: ……………………………………………………………...
2.6.1. The names of all directors / trustees / shareholders / members, their individual identity numbers, tax reference numbers and, if applicable, employee / personnel numbers must be indicated in paragraph 3 below.

¹“State” means –

a. any national or provincial department, national or provincial public entity or constitutional institution within the meaning of the Public Finance Management Act, 1999 (Act No. 1 of 1999)

b. any municipality or municipal entity;
c. provincial legislature;
d. national Assembly or the national Council of provinces; or
e. Parliament. 
²”Shareholder” means a person who owns shares in the company and is actively involved in the management of the enterprise or business and exercises control over the enterprise.


2.7 
Are you or any person connected with the bidder                       
YES / NO

      
presently employed by the state?

2.7.1 If so, furnish the following particulars:

Name of person / director / trustee / shareholder/ member:
……………………………………………………………………....…………….………
Name of state institution at which you or the person connected to the bidder is employed 
……………………………………………………………………....…………….………
Position occupied in the state institution: ……………………………………………………………....…………………….………
Any other particulars:
………………………..……………………………………………………………………
………………………..……………………………………………………………………
………………………..……………………………………………………………………
2.7.2 If you are presently employed by the state, did you obtain YES/NO
the appropriate authority to undertake remunerative 

work outside employment in the state?

2.7.2.1 If yes, did you attached proof of such authority to the bid  YES / NO
(Note: Failure to submit proof of such authority, where applicable, may result in the disqualification of the bid).

2.7.2.2 If no, furnish reasons for non-submission of such proof:

………………………..…………………………………………………………………
………………………..…………………………………………………………………
………………………..…………………………………………………………………
2.8 Did you or your spouse, or any of the company’s directors / 
YES /NO
trustees / shareholders / members or their spouses conduct 

business with the state in the previous twelve months?

2.8.1 If so, furnish particulars:

…….……………………..…………………………………………………………………
…….……………………..…………………………………………………………………
…….……………………..…………………………………………………………………
…….……………………..…………………………………………………………………
2.9 Do you, or any person connected with the bidder, have
YES / NO

any relationship (family, friend, other) with a person 



employed by the state and who may be involved with 


the evaluation and or adjudication of this bid?


2.9.1  If so, furnish particulars.

…….……………………..…………………………………………………………………
…….……………………..…………………………………………………………………
…….……………………..…………………………………………………………………
2.10   Are you, or any person connected with the bidder,

YES/NO

aware of any relationship (family, friend, other) between 

any other bidder and any person employed by the state
who may be involved with the evaluation and or adjudication

of this bid?

2.10.1 If so, furnish particulars.
…….……………………..…………………………………………………………………
…….……………………..…………………………………………………………………
…….……………………..…………………………………………………………………
2.11 Do you or any of the directors / trustees / shareholders / members 
YES/NO
of the company have any interest in any other related companies 

whether or not they are bidding for this contract?

2.11.1 If so, furnish particulars:

…….……………………..…………………………………………………………………
…….……………………..…………………………………………………………………
3.0 Full details of directors / trustees / members / shareholders.

	Full Name
	Identity Number
	Personal Tax Reference Number
	State Employee Number / Pers. Number

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	
	


4.0 DECLARATION

I, THE UNDERSIGNED (NAME) 

…….……………………..…………………………………………………………………
CERTIFY THAT THE INFORMATION FURNISHED IN PARAGRAPHS 2 and 3 ABOVE IS CORRECT. I ACCEPT THAT THE STATE MAY REJECT THE BID OR ACT AGAINST ME IN TERMS OF PARAGRAPH 23 OF THE GENERAL CONDITIONS OF CONTRACT SHOULD THIS DECLARATION PROVE TO BE FALSE.  
………………………………
                                     ……………………………… 

Signature
                                Date
………………………………….
                                     ………………………………

        Position 






Name of bidder
END OF DOCUMENT D
DOCUMENT E

FUNCTIONAL SPECIFICATION
1.  BIDDERS

The Bidders shall acquaint himself fully with the terms of the specification and ascertain that he is in full possession of all pages and drawings as per Annexures. Should any doubt arise regarding the interpretation of the specifications or drawings, or should any ambiguities or discrepancies appear therein, the bidder shall refer to the SABC for clarification. The Bidder shall inspect all specifications and drawings, including architectural, structural and services design drawings, pertaining to the Works, and shall make 
the necessary allowance in his tender price for any extras and omissions, which might occur as a result of the final detailed coordinated shop drawings.
2. QUALIFYING CONDITIONS BY BIDDERS
Where completed tender forms are accompanied by letters or printed covers having printed standard conditions of tender, these conditions, when at variance with the conditions of this specification will be disregarded unless it is specifically mentioned in a covering letter which of these printed clauses shall take precedence.
3. CONTINGENCIES
Where an amount for contingencies is included in the Tender Form, expenditure out of this sum shall only be made with the authority of the SABC/Engineer. The contingency sum, whether in part or in whole, shall be deducted from the final account, wherein all variations shall be fully detailed.
4. PROVISIONAL SUMS ("P.s. ITEMS")

Where a provisional sum is shown in the Tender Form or referred to in the specifications, this shall be expended or used at the discretion of the Engineer. The Contractor shall make all payments against provisional sums and shall include in his tendered price for all costs incurred and profit required for handling, installation and assuming responsibility.

Tenderers shall allow in their tendered price for taking delivery of all P.S. items, and assuming all responsibilities and providing all attention as detailed in the preceding clause on Prime Cost Items (P.C.'s).

5. PRIME COST ITEMS ("P.c. ITEMS")
Where P.C. items are shown in the Tender Form or referred to in the specification, they shall be purchased by the contractor on instructions from the Engineer/SABC. Full documentation pertaining to the purchase i.e. order and invoice, shall be made available 
to the Engineer/SABC. All discounts to the contractor, other than settlement discounts, shall be passed onto the SABC. Any additional profit or other charges required by the contractor in respect of P.C. items will be deemed to have been included in the Nett tender price.
On receiving instructions to purchase P.C. items, the contractor shall satisfy himself before placing the order, that quantities and details are correct, and that such items present no difficulties from the point of view of installation or putting into operation. If 
the items are considered to be defective or unsatisfactory in any way, the matter shall be referred to the Engineer/SABC before the order is placed or installation commenced. The contractor shall take delivery of all P.C. items, unpack, check, store, clean, assemble and install as directed. Having taken delivery of P.C. items, and having signed for their receipt in good order, the Contractor will be held responsible for them until installation is completed. ABC or its agent shall where necessarily call upon suppliers to comply with specifications where they have been issued, and for suppliers to make good any defects and implement any guarantees given. The contractor shall ensure that P.C. items are in sound working order when the work is handed over.

6. WORKING HOURS
Unless the Works programme requires otherwise, contractors shall work the same hours (07H00 - 17H00) and any deviation from this general rule must be agreed upon and approved by SABC beforehand.
7. AREAS FOR STORAGE
There is no storage area in the building. The Contractor will provide own storage externally and SABC to provide suitable area/location.
8. UTILITIES TO BE PROVIDED BY THE SABC

Potable Water draw-off points required for execution of the Contract Works will be supplied by SABC free of charge. Single Phase electricity draw-off points required for execution of the Contract Works will be supplied by the SABC free of charge. The Contractor will provide his own builder's distribution board with earth leakage and supply cable.

Toilets are for the use of the SABC purposes only. The use of toilets will be allowed if the Contractor ensures that the status of the toilets is not degraded. Otherwise, an area will be designated for temporary toilets to be provided by the Contractor. The tender amount must allow for the use of temporary toilets.
9. WORKMEN AND SUPERVISION ON SITE

The project is of a nature where work will be executed in occupied broadcast areas. The areas are inside SABC facilities where dust and noise are not acceptable. Extra precaution must be taken by the Contractor to minimise noise and dust. This must be included in the quoted price. Full time supervision must control the workmen on site to adhere to these strict requirements.
The Contractor will have full time supervision of a qualified technical person who will supervise the work all the time. The preliminary and general cost will be reflected in the rates quantities.

The Contractor shall be held responsible for the conduct of his employees and the conduct of his sub-contractor's employees for the full duration of the Contract Works. All workers on site, including those of any sub-contractors, shall be supervised by a competent foreman experienced in the trades and/or activities comprising the Contract Works which will attend site full time. The site supervisor shall be appointed in terms of the SABC Health &Safety (H & S) requirements, and the supervisor will be responsible for the enforcement of the H&S provisions.
10. OCCUPATIONAL HEALTH AND SAFETY ACT (OHS ACT)

The work will be strictly executed in accordance with OHS ACT requirements, H&S regulations applicable to the Construction Industry and the SABC OHS requirements and specification. (See Addendum A to this document). The contractor will, inter alia be required to:
a. Must appoint their own  Professional Health and Safety Consultant to oversee the SABC OHS matters on the contract.

b. Provide proof [image: image2.jpg]of - Lefter



 of Good Standing with the Workman's Compensation requirements. This to be included in the quotation submission.
[image: image20.jpg]



c. [image: image21.jpg]


Provide proof of All Risk insurance as required by the JBCC contract document. Supplementary insurance for surrounding areas to the value of R 2 000 000.00 (Two Million Rand) maximum will be provided by the contractor before signing of the contract.
d. Submit a safety plan to the SABC in accordance with the SABC safety representative minimum requirements. A safety file will be submitted compiled by the independent safety consultant to be appointed by the contractor. A safety file will be approved by the SABC OHS department prior to handing over of the site.
e. Appoint a safety officer on site for the monitoring and supervision of safety and health matters on site. A certified First Aider must be represented on site. Sign the SABC OHS Indemnity form and all workers to attend the SABC OHS induction course of 2 (two) hours prior to handing over of site. Obtain Hot Work permit or similar permits from the SABC safety representatives when executing risk work on site.
f. Proper risk assessments to be executed by the consulting Safety Specialist that must be appointed by the Contractor. The cost thereof to be clearly reflected in the rates column by the bidder. Liaise with the SABC Health and Safety representatives such as welding, plumbing disconnections, etc. are executed. The tender amount must allow for all the H&S requirements to be fulfilled by the contractor.
g. Where the Contractor does not comply with the SABC OHS standards, the work will be stopped on site at the cost of the defaulting Contractor. All sub-contractors, working on the site will have to comply with the Principal Contractor's OHS standards. It will be the Principal Contractor's responsibility to ensure that subcontractors comply. Allow for all the cost to comply with the OHS   requirements in the tender amount.
h. The SABC will appoint an independent Professional Health and Safety Consultant to oversee the SABC OHS matters on the contract.

i. During the process of stripping demolition works in the studio, should it occur that hazardous material such as asbestos be encountered, the successful bidder must acquire the services of an accredited service provider for removal, handling, and disposal of hazardous material as per the relevant National Regulations and bylaws. The successful bidder will therefore have to submit a letter with their submission indicating that they will comply with this requirement in the event that hazardous materials are encountered.

11. CONTRACT WORKS AREA

[image: image22.jpg]


The Contractor shall confine his/her activities to the Contract Works site, his camp site and access route to these sites. Furthermore, the location of his/her camp site, including the housing of temporary structures and materials and equipment storage area, must be approved by  SABC. The Contractor will be responsible to protect existing floors and wall finishes of feeder routes leading to the area. The contractor must note that the site is subject to access control and security measures. The Contractor will adhere at all times to these measures. A list of names of working staff and Identification Document (ID) proof will be submitted to the SABC. Workers will wear clothing clearly identifying the identity of the construction company. The Workers will be security cleared (criminal record). The site area is inside an existing building. Care should be taken to reduce noise and dust when executing the work.
12. CONSTRUCTION GUARANTEE
The contractor shall provide a Fixed Construction Guarantee to the employer equal in value to five percentage (5%) of the contract sum.
13. ESCALATION
Where applicable the contract value shall be adjusted according to the CPAP value, using the information stated in the contract data.
14. UN-INTERRUPTED WORK

The Contractor is required to work continuously on the Contract Works throughout the duration of such works, based on a five-day working week. Permission may be obtained from the Principal Agent to work weekends subject to the SABC's approval. All labour and any other cost incurred in connection with such weekend work will be for the Contractor's account. Instructions for stoppage of noisy work will be given by one nominated SABC representative only. In such instances, work will proceed on activities that will not disturb the environment. The instruction to stop noisy work will only be given by the authorized SABC appointee. The site supervisor will be responsible to schedule work accordingly. The stoppage will be recorded in the site book
15. DISPUTE RESOLUTION [image: image3.jpg]



Should any difference or question at any time arise between the SABC and the Contractor, it will be dealt with in terms of the JBCC 2000 document, arbitration will apply.
16. INJURY OR DAMAGE TO PERSONS OR PROPERTY
The Contractor will execute all work strictly in accordance with statutory and the SABC OHS requirements. The Contractor shall take all precautions necessary for the protection of life and property in connection with the Contract Works as well as anywhere upon the SABC's property until the Final Completion of the Contract Works and the Contractor shall hand over the Contract Works in a safe condition.

The Contractor shall be deemed to have indemnified the SABC as he hereby does indemnify it against injury or damage to any person or to any purport of the SABC or of others occurring prior to the Final Completion of the Contract Works or occurring owing to the Contract Works being handed over in an unsafe condition.

The SABC Indemnity form shall be signed.

17. INSURANCE - JBCC CLAUSE 10 INSURANCES OF CONTRACT DATA DOCUMENT

The following insurance requirement will be applicable to the contract:

Clause 10 — Insurances
Contract works insurance to be affected by — Employer for the sum of contract value with a deductible of 1% (one percent) of contract sum with a minimum R5000.00 (Five Thousand Rand) payable by the Contractor.

Supplementary insurance to be effected — not applicable.

Public Liability insurance to be effected by — Employer for the sum of R2 million (Two Million Rand) with a deductible of R2 500.00 (Two Thousand Five Hundred Rand) payable by the contractor.

Temporary lateral support insurance — not applicable.
18. ACCESS TO BE GIVEN TO OTHER CONTRACTORS

The Contractor shall afford all reasonable access to other Contractors and/or contractor s who may be employed by the SABC to execute another work whether in connection with the Contract Works or not. The SABC will also execute work in the building area. The contractor will provide necessary access and co-ordination of services in accordance with a building programme approved by the architect.

                                      SCOPE OF WORKS
   1.1-  ARCHITECTURAL AND STRUCTURAL 
  1.2.1 - FIRE INSTALLATION
  1.2.2 - MECHANICAL HVAC INSTALLATION

 

            1.2.3 -  ELECTRICAL INSTALLATION
STUDIO 6 SCOPE OF WORKS SUMMARY

TV Studio 6 is situated in TV Production Block, Auckland Park TV Centre. The facility was extensively damaged during a fire in 2013.The Studio has since been vacant after the damaged interior was stripped out to allow safe movement in the area.

The area is propped up by steel scaffolding installed under the supervision of the Client Health & Safety. The area was subjected to water leakage and damp over the years leading to sagging roof and structural damage.

TV Studio 6 is a production studio, and it consists of the following areas:

· TV Production Studio

=           478m²
· Drawback area


=           96m²
· 3 Control rooms


=           112,29m²
· Equipment rooms


=           32,85m²
· Dimmer room


=           77m²
· Technical void area

=           89m

· Staircase



=           11,35m²
· Sound lobbies


=           38,76m²
· Lantern store


=           51,3m²
· Total building area

=            986,55m²
The floor plan for the area or current pictures of the building structure will assist in conducting baseline risk assessment. 
The building work will include the making good of the building structure and the finishes damaged by the fire. The structural damage to the existing building and the subsequent damage, due to water penetration over an extensive period, has been evaluated by a competent structural engineer. The successful contractor will be required to carry out load tests to determine the conditions of all structural elements. 
The load test should be done by a competent person, certified to conduct load test on structural elements, certified attachments &special equipment if applicable and calibration of devices to be used for load testing 
The structural damage inside Studio 6 is mainly the following:

· The roof construction was subjected to excessive temperature resulting in deflection

· Roof work to be done in accordance with the construction regulation 10 sub regulation (1-5) 
· The parapet walls and roof monitors on the concrete slabs will require demolition and                  replacement 

· Demolition work must be done in accordance with Construction regulation 14
· Water proofing to the concrete roof

· Internal steel walkways have been removed

· Concrete columns and beams in the drawback area 

· Brick piers in the technical void area 

· Screeds to balconies 

· Infill brick walls in various locations

· External face bricks walls
A working at heights training from all personnel working at heights, medical fitness certificates , Competent working platforms such as scaffolding ,Ladders erector and supervisor appointments ,CV and training certificates 
1. REPAIR METHODOLOGY 
1.1 Architectural & Structural
· The existing floors will be scrapped off the existing finishes, cleaned and made good with specialist acoustic vinyl rubber floor sheeting with cushion effect for acoustic purposes and anti-static flooring in other areas of the building

· The existing walls to be scrapped off the existing wall finishes, cleaned and replastered and painted and fitted with acoustical cladding in accordance with the requirements for the use of the area such as proper absorption and acoustic reverberation.

· Infill brick walls and external face brick walls which matches the original to be demolished and rebuild in certain areas.

· New drywall partitioning to be constructed in various technical rooms

· New ventilation room to be constructed with an opening made to penetrate the main studio

· Replacement of acoustic doors and frames, with the fire rating required by the latest fire regulations of the National Building Regulations.

· Replacement of acoustic windows at the control rooms with isolation levels of 45dBA.

· Installation of acoustic ceilings

· Removal and replacements of various elements such as steel staircases, brick wall piers, handrails, balustrades, steel mesh fencing, etc

· Strengthening the technical void floor slab on the first floor.

· All existing smaller beams supporting the slab are to be replaced with new steel beams.

· Demolishing of RC beams and replacing them with post tensioned trapezoidal beams constructed in permanent steel shutters or steel box girders.

· The entire concrete roof over Studio 6 will be demolished and replaced with a new rib and block concrete slab. The waterproofing to be replaced over sections of the plant room area roof and entire Studio 6 roof area. The appointed contractor to note there is limited access, as the site is operational. A plan to be devised for the roof construction (getting plant and material up to the roof).

· The demolition and rebuilding of new monitor rooms on the roof.

· Temporary support in the form of scaffolding was placed in position to secure the concrete roof. This temporary structure is still in place and is inspected regularly to ensure the stability thereof. The appointed contractor is expected to takeover the maintenance of this structure until the construction of the roof has been completed. 

The demolition work must comply with the SANS 10400 regulations and the Occupational Health and Safety Act Construction Regulations. The appointed contractor is to submit a methodology outlining the safe and logical sequence of works for approval by the structural engineer. Allowance must be made for propping structures while demolition works are implemented, specifically: 
· The first floor is to be propped while demolition work of the second floor and columns is done.
· The upper and lower roof slab must remain adequately propped during demolitions. 

· Stockpiling of rubble is not permitted on any suspended floors.
· NB: All Specialist work-related to structure will require a sign-off by a Professional Engineer registered with ECSA.
· NB: Professional Engineer to provide a professional indemnity cover.

· NB: Valid proof of registration issued by Department of Labour/any statutory body related to the removal of hazardous substances will be required in the event any hazardous   material containing asbestos are encountered during the project implementation.
1.2 SPECIALIST SERVICES (FIRE, MECHANICAL- HVAC & ELECTRICAL)

      1.2.1 Rational Fire Installation

The rational fire design has been based on SANS 10400:2021 and is in line with current methods and codes.  The design has undertaken by a competent person (fire engineering) in accordance with the requirements of BS 7974 to achieve the same level of fire safety implied in part T and W of SANS 10400:2020. 

The studio 6 internal volume is 7000 cubic meters. The vertical height of the room is 13 meters. The floor areas and relevant occupancy classifications are approximated measurements in the table below: 

[image: image4.png]O | B SECONDFIOOR -FencoRey X | [} Rational Fire Design - Studic X | [} THRDFLOOR - FencoRev X | [} Rational Fire Design -Studic X | [ Studio 6 - Methodology Fire X |

G @ File | CyUsers/Ben/AppData/Local/Microsoft/Windows/INetCache/Content.Outlook/BQELYOZS/Studio%206%20-%20Methodology%20Fire%20Report...

FE .%{ “
o e v TSt
-

Attention: Ben Fine

RATIONAL FIRE DESIGN and PROCUREMENT IMPLEMENTATION PLAN
METHODOLOGY FOR THE REINSTATEMENT OF STUDIO 6

There are no proof of the rational fire design being submitted or approved. The new rational fire design will be
based on SANS 10400:2021 and be in line with current methods and codes.

The design will be undertaken by a competent person (fire engineering) in accordance with the requirements of
857974 t0 achieve the same level of fire safety implied in part T and W of SANS 10400:2020.

Background

The studio 6 internal volume is 7000 cubic meters. The Vertical height of the room is 13 meters.

The floor areas and relevant occupancy classifications are approximated measurements in the table below:

Floor [ Type Occupancy | Floor Area Population Total People
Ground | studio | 61 595 T person per 15m*_| 40
Tst Office | G1 122 Tpersonper 15| 9
2nd Offie | G1 2 Tpersonper 15m' |9
i Office |61 12 Tpersonper 15m |9
%1 [ 67 | People

H O Type here to search NG 1021




The reconstruction of the fire damaged studio includes the following:

· Ventilation system

· Calculated, designed, and to be installed in terms of BS EN 7974 and BS EN 12101 

· Fire detection system to be installed to SANS 10139

· First aid firefighting equipment like the installation of fire hose reels, extinguishers, and fire hydrants 

· A fixed fire protection system is to be installed (gas protection system).  

· Even trained professionals and professional response teams will also need a gaseous or similar fire suppression system to contain the fire and suppression systems would enhance structural stability by containing a possible blaze. Once heat builds up and high temperatures are reached the building would be untenable. 

· The installed automatic gas fire suppression system is to be linked to an activation signal from a fire detection system. 

· The BS EN 7974 code of practice processes as prescribed in the SANS 10400:2020 Part T (Fire protection), must be followed. 

· In summary, the following form part of the fire protection scope:

· Gas suppression 
· Smoke ventilation extraction

· Fire hose reels

· Fire hydrants including mains

· Fire extinguishers

· Fire signage

· Fire stopping to penetrations

NB: A Competent person valid registered with SAQCC fire D & GS to execute installation and testing of fire suppression system!!!.
     1.2.2 Mechanical- HVAC

The air handling units serving Studio 6 and the associated support areas are to be replaced with new air handling units that connect directly to the existing chilled water system, by way of new chilled water pipes and control valves. 

Areas to be Airconditioned and Ventilated:

	Space
	Area (m2)

	TV Production Studio
	478

	Drawback Area
	96

	Control Suite (3 of Control Rooms)
	112.29

	Equipment Room
	32.85

	Dimmer Room
	77

	Lantern Store
	51.3

	Total Area
	847.44


TV Production Studio

This area will be served by a separate plant, comprising of a chilled water air handling unit supplying conditioned air to the studio through a system of internally insulated sheet metal ducting, and distributed to the studio through dedicated drum louvres. Installation and equipment details on the drawing.

Control Suite

Studio 6 contains three (3) control rooms located on the second floor of the studio in the control suite. This control suite, as well as the dimmer room and lantern store on the floor above, will be conditioned by a single chilled water air handling unit. Installation and equipment details on the drawing.

Equipment Room

A dedicated closed control chilled water floor standing top discharge unit will supply conditioned air to the equipment room. This unit will control closely the temperature in the equipment room, as well as the relative humidity therein. Details on the drawing. Installation and equipment details on the drawing.

Inside Controlled Conditions
For all air-conditioned areas

· Studio 6

· Summer

22.5°C db at controlled 40% to 60%R.H.

· Winter


21°C db

· Auxiliary Areas

· Summer

22.5°C db at controlled 40% to 60% R.H 

· Winter


21°C db

The temperatures to be controlled within a tolerance of ± 1,5 °C. i.e. maximum 24.0°C db and minimum 21.0°C db.

People Density
The calculations have allowed for the following:

Offices




1 person per 10m2

Receptions, Lounges, Foyers etc.

1 person per 8m2

 Fresh Air Ventilation Rates

Fresh air requirements have been allowed for in accordance with the National Building Regulations SANS 10400 Part O Table 2. 

	
	Lighting Loads
	Equipment Loads

	TV Production Studio
	200 watts/m2
	300 watts/m2

	Control Suite
	30 watts/m2
	200 watts/m2

	Drawback Area
	15 watts/m2 
	5   watts/m2

	Equipment Room
	50 watts/m2
	400 watts/m2

	Dimmer Room
	30 watts/m2
	100 watts/m2


 1.2.3 Electrical 

The electrical installation for Studio 6 will be based on the installation of Studio 7, with more modern and efficient equipment where necessary. 

Studio Power

Normal, generator and UPS power is available on site.  The supply to the Studio 6 Main Low Voltage panel will be taken from existing upstream main low voltage distribution boards and existing cable wireways.  
  Principal Items to be Installed

· Electrical Load

· The electrical load requirements to be based on that of Studio 7.
· Distribution Boards

· The boards will be fed from the upstream Low Voltage Distribution Boards by means of suitably rated armoured 4-core cables. The following distribution boards will be installed:

· DB14, 14E, 14.5, 14.5E (Main DB – Second floor)

· DB14.6, 14.6E (Sub DB – Third floor)

· DB14.6.1, 14.6.1E (Sub DB – AC Plant Area)

· DB14.5T (TV Tech DB – Second floor)

· Distribution boards provided will serve the following loads and they will have a normal as well as emergency section:

· Lighting 
· General power associated with the studio

· Cable Wireways

· Cable wireways (cable ladder, cable trays, trunking) will be run in ceiling voids and access flooring where available, and on surface otherwise.  

· Cable trunking to be installed in the walls, linking the various levels as is currently the case with Studio 7.  

· Surface mounted conduit will be used for some services.

· Low Voltage Cabling

· Supply cable to and from main & sub distribution boards will be done by means of suitably rated armoured 4-core cables, installed on cable ladders and/or cable trays.  

· Tertiary cabling to power outlets and lighting to be installed on cable trays and/or in trunking.

· Small Power Installation  

· Small power reticulation in trunking and conduiting will terminate in the following socket outlets:

· Normal Power: 3-pin 16A switched socket outlet (white)

· UPS Power: 3-pin 16A switched socket outlet with shaved earth pin (red)

· Lighting

· A variety of light fittings will be installed.  Energy efficient lighting, preferably LED, is to be used as far as possible.  General lighting to be provided to the following areas:

· Staircases

· Gallery walkways and corridors

· Common areas

· Stores

· Sound rooms

· Control suites

· Dimmer area

· Studio area general

· The following light fittings are :

· Open channel fluorescent-type industrial fittings

· Dust & moisture proof fluorescent-type industrial fittings

· 600x600 or 1200x600 lay-in fittings

· Bulkhead fittings

· Recessed wall lights

· Exit lights

· The average lighting levels will be designed based on SANS 10114-1 guidelines. 

· Circulation areas and corridors
100 lux

· Staircases



150 lux

· Sound rooms & suites


350 lux

· Plantrooms  



200 lux

· Stores




100 lux

· It should be noted that specialised production/studio lighting is not included.  Dimming will also not form part of the scope.

· Earthing and Lightning Protection 

· Surge arrestors are suggested to be installed in all distribution boards

· All metal structures within the building to be bonded to the building earth

· Earth mats and lightning protection for the building not included in the scope (as this should already be in place for the entire building and structure) – this installation will merely link into the existing

Standards

The electrical installation will be done in accordance with South African standards and regulations. Typical standards related to electrical installations to be adhered to include:

· SANS 10142
· SANS 10114
· SANS 204
· Registered as electrical contractor in accordance with Electrical installation regulations.
· To issue certificate of compliance in accordance with Electrical Installation regulations. 
SABC to provide any other specific requirements and standards to be followed.

Note to bidders:

The scope of work document is to be read in conjunction with the following annexures: 

· Tender Drawings- Architectural, Structural, Fire, HVAC and Electrical

· Annexure C-1:  Specification- Electrical 

· Annexure C-2: Specification- Fire Installation 

· Annexure C-3: Specification- HVAC Installation 
TENDER RESPONSE FORMAT

Vendors are requested to respond to the tender in the following formats.


5.1
Technical Response

A point-by-point response is required, i.e. a comment for each point or paragraph that is associated with the numbering should be made.


5.2
Pricing Breakdown Model

5.2.1 All elements of pricing must be specified, broken down into individual elements on a Bill of Materials (BOM) and the pricing of each, specified on hard copy (paper copy) and in soft copy (Excel format).

5.2. 2 Bidders must provide a detailed cost breakdown by pricing all items for the delivery of a total solution as per the specification. All deviations should be stipulated as options with the indicative unit prices.
4.0 EVALUATION CRITERIA
Bidders should note that only bidders who met the Prequalification Criteria and mandatory documents of the bid will be evaluated further using a predetermined set of evaluation criteria. The evaluation criteria is designed to reflect the SABC’s requirements in terms of identifying a suitable service provider and ensure the selection process is transparent and afford all the bidders a fair opportunity for evaluation and selection.
The bid responses will be evaluated on either 80/20 or 90/10-point system (refer document G) and the functionality will be evaluated based on the criteria below:

4.1 TECHNICAL EVALUATION (PAPER BASED)
	Evaluation Area
	Evaluation Criteria
	Points

	Companies Previous Experience in building works Projects.
	Bidders must submit a minimum of four (04) reference letters for projects completed in the last 10 years related to building works.
Each letter/s must meet ALL of the following requirements in order to be accepted for evaluation.

The reference letter must:  

1. Be on client’s company’s letterhead.
2. Be signed by an authorised client representative.
3. Indicate project value.
4. Indicate project location. 

5. Stipulate the client contact details (name and phone number/email)

6. Stipulate the detailed description of actual services provided. 

7. Stipulate the contract period (start and end date-(YYYYMMDD)
Letters that do not meet all the above stated elements will not be accepted for evaluation.
Reference letters for projects completed in the last 10 years as of 31 December 2022
Each letter carries 5 points with 4 minimum submitted.
· <4 years submitted = (0 points)

·  4 letters submitted= (20 points)

· 5-6 letters submitted = (25-30 points)

· >6 letters submitted=(maximum 40 points)

Bidder must provide a company profile indicating number of years in Building Construction works.

- Less than 7 years’ experience =0 point
- 7 years’ experience = 10 points

- Over 7 years’ experience = 15 points


	55

	Construction SAFETY PLAN
	Construction Safety Plan is required due to SABC premises being occupied. Bidders must provide a brief layout as to how work would be carried out with minimal business disruption. The construction methodology must be detailed and cover the following:

For each aspect listed below, the plan must list mitigation/control of such hazards.

The safety Plan must cover the following elements. If the below listed information on each plan is not covered, a zero (0) will be scored.  
Rubble/ waste management and removal plan =5 points

· demonstrating how waste and rubble including hazardous waste will be managed and disposed off.
· Housekeeping plan: = 5 points
· demonstrating how these sites will be kept tidy, clean and safe

· Dust management plan: =5 points
· demonstrating how dust will be managed. 
· Noise management plan: =5 points
· demonstrating how noise will be managed.
· Access to site and egress plan: =5 points

· demonstrating how access, egress, and traffic flow will be managed.
· Demolition plan: =5 points
· Provide risk assessment for demolition, demonstrating how affected areas will demonstrating how demolition work on affected areas will be carried out.
· Fall protection for working at heights plan: =5 points
· Demonstrating how working at heights will be managed.
· Control of fumes plan =5 points
· provide a plan for control of fumes emanating from plant and equipment.
· Fire prevention and hot works protection plan: = 5 points

· demonstrating the prevention of a fire situation and the spread thereof.
Bidders will be rated on the on the above points as follows:

· No identification of mitigation measures from any of the above plans=0 point
· Poor/limited with less mitigation coverage on the required plan =3 point
· Full scope with 5 or more with all mitigation coverage on the required plan=5 points.
	45

	KEY PERSONNEL
	Bidders must provide CV and Qualifications of the following key personnel:

· Professional Structural Engineer: Must have professional structural work experience, with a valid proof of ECSA registration=5 points
· Construction Supervisor: Must have Civil and building works experience of at least 3 years, with a minimum of NQF level 5 in civil engineering=5 points
· Part time Construction Health and Safety Agent: Must have Health and Safety work experience of at least 10 years, with a minimum of NQF Level 5 in Health and Safety related qualification with a valid proof of SACPCMP (South African Council Project and Construction Management Profession) Registration=1 point 
· Part time Construction Health and Safety Manager: Must have Health and Safety work experience of at least 6 years, with a minimum of NQF Level 5 in Health and Safety related qualification with a valid proof of SACPCMP (South African Council Project and Construction Management Profession) Registration=2 point 
· Full time Construction Health and Safety Officer: Must have Health and Safety work experience of at least 3 years, with a minimum of NQF Level 5 in Health and Safety related qualification with a valid proof of SACPCMP (South African Council Project and Construction Management Profession) Registration=2 points 
· Electrical Supervisor: Must have Electrical works experience of at least 3 years, with a minimum of NQF level 5 in electrical engineering=5 points
· Mechanical Supervisor: Must have mechanical works experience of at least 3 years, with a minimum of NQF level 5 in mechanical engineering=5 points
· Fire Protection Supervisor: Must have Fire detection and suppression work experience of at least 3 years, with a Fire Installers certification with SAQCC Fire=5 points.

No CV and Qualifications submitted for any of the below=0


	30 points

	TOTAL
	
	130


Threshold for the above evaluation:

Bidders who obtain less than threshold of 100 out 135 points will be declared non-responsive and will be eliminated from further evaluation. Qualified bidders will be evaluated on Price and B-BBEE
NB: Bidders are required to submit a project plan. 
5.0 FINANCIAL STABILITY
The financial stability evaluation is used to assess the financial risk of the shortlisted bidders.

Respondents are required to submit their audited financial statements / management accounts for the past 3 years with their Proposal/Bid in order to enable the SABC to establish financial stability as follows:-
	Area
	Assessment Criteria

	Financial analysis
	Bidders’ financial due diligence will be assessed based on submitted audited financial statements/management accounts using financial ratios, where applicable. 


6.0 OBJECTIVE CRITERIA
6.1 The SABC reserve the right not to consider proposals from bidders who are currently in litigation with the SABC.

6.2 The SABC further reserve the right not to award this tender to any bidder based on the proven poor record of accomplishment of the bidder in previous projects within the SABC.

6.3 Bidders who are blacklisted or have committed other acts of fraud and misrepresentation of facts e.g. tax compliance, BBBEE, company financials, etc. will be eliminated from the bid process.
6.4 No SABC former employees shall be awarded contracts with the SABC within 24 months after termination of employment with the SABC.

6.5 Should employees resign or retire from the employment of the SABC and become directors of other businesses tendering with the SABC, such tender shall not be considered until the cooling off period of 6 (six) months has expired.

6.6 Should the employee be dismissed from the SABC employment, such employee shall be prohibited from conducting business with SABC for a period of 5 (five) years from the date of dismissal.

6.7 Should the employee be found guilty in a court of law due to criminal conduct/act, such employee will not be considered to do/conduct business with SABC, until the criminal record has been legally expunged.

6.8 The SABC shall not procure any goods, services, works or Content from any Board member or Board member owned business, to ensure that suppliers competing for the SABC’s business have confidence in the integrity of SABC’s selection process. 

6.9 Should the SABC’s Board members no longer serve on the SABC Board but become directors of other companies, the SABC shall not conduct business with those companies until the cooling off period of 6 (six) months has expired.

6.10 Should the Board member be found guilty in a court of law due to criminal conduct/act, such Board member will not be considered to do/conduct business with SABC, until the criminal record has been legally expunged.

6.11 The SABC shall not procure any goods, services, works or Content from any independent contractor or independent contractor owned business, to ensure that suppliers competing for the SABC’s business have confidence in the integrity of SABC’s selection process.

6.12 Should the Independent Contractor no longer be contracted to the SABC but become directors of other companies, the SABC shall not conduct business with those companies until the cooling-off period of 6 (six) months has expired.

6.13 Should the Independent Contract be found guilty in a court of law due to criminal conduct/act, such employee will not be considered to do/conduct business with SABC, until the criminal record has been legally expunged.

END OF DOCUMENT E

ANNEXURES TO DOCUMENT E:
1. ANNEXURE A-GUIDELINES TO BRIEFING SESSION
2. ANNEXURE B: REFERENCE LETTER TEMPLATE
3. ANNEXURE C: DETAILED SPECIFICATION DOCUMENT
3.1. Annexure C-1:  Specification- Electrical 

3.2. Annexure C-2: Specification- Fire Installation 

3.3. Annexure C-3: Specification- HVAC Installation 
4. ANNEXURE D: DRAWINGS 
5. ANNEXURE D-1- Architectural 
5.1. PL100-REV-00-SK :
Studio 6 Ground Floor  
5.2. PL200-REV-00-SK :
1st Floor Plan 
5.3. PL300-REV-00-SK :
2nd Floor Plan 
5.4. PL400-REV-00-SK :
3rd Floor Plan 
5.5. PL500-REV-00-SK :
Roof Plan 
5.6. SE001-REV-00-SK :      Sections 

5.7. CD001-REV-00-SK :      Door Schedule 
5.8. CD002-REV-00-SK:       Door Detail 
5.9. SE002-REV-00-SK :       Sections
5.10. EL001-REV-00-SK :
Elevation 1

5.11. EL002-REV-00-SK: 
Elevation 2 

5.12. EL003-REV-00-SK: 
Elevation 3 

5.13. EL004-REV-00-SK: 
Elevation 4 

5.14. CE001-REV-00-SK:
Ground Floor Ceiling Plan 

5.15. CE002-REV-00-SK: 
1st Floor Ceiling Plan 

5.16. CE003-REV-00-SK: 
2nd Floor Ceiling Plan 

5.17. PL301-REV-00-SK: 
Control Suite Floor

6. ANNEXURE D-2: Structural Drawings
6.1. J2133_S101 
General Notes 

6.2. J2133_S102 
Ground Floor Slab Layout 

6.3. J2133_S103 
First Floor Structural Remedial Works (Proposed Steel Beam Supports) 
6.4. PJ2133_S104 
Second Floor Slab Layout 

6.5. J2133_S105 
Lower Roof Slab Layout 

6.6. J2133_S106 
Lower Roof Slab Steel Beams Layout 

6.7. J2133_S107 
Upper Roof Slab Layout 

6.8. J2133_S108 
Upper Roof Steel Beams Layout 

6.9. J2133_S109 
Typical Sections And Details

7. ANNEXURE D-3: Electrical Drawings
7.1. EL-LI100-REV-01-SK: 
GROUND FLOOR Lighting Layout 

7.2. EL-LI200-REV-01-SK: 
1ST FLOOR Lighting Layout 

7.3. EL-LI300-REV-01-SK: 
2ND FLOOR Lighting Layout 

7.4. EL-LI400-REV-01-SK: 
3RD FLOOR Lighting Layout 

7.5. EL-LI401-REV-01-SK: 
3RD FLOOR Lighting Layout

7.6. EL-SLD001-REV-01-SK: 
Single Line Diagrams

8. ANNEXURE D-4: HVAC Installation drawings
8.1. G3915-1001: 
HVAC Installation: 2nd Floor Layout 

8.2. G3915-1002: 
HVAC Installation: 3rd Floor Layout 

8.3. G3915-1003:
HVAC Installation: Roof Layout

9. ANNEXURE D-4: Fire Installation drawings
9.1. PL100-REV-00-SK: Fire Protection:  Ground Floor  

9.2. PL200-REV-00-SK: Fire Protection: 1st Floor  
10. ANNEXURE E:  BILL OF QUANTITIES
11.  ANNEXURE F:  KEY PERSONEL

DOCUMENT F

CONFIDENTIALITY

All information related to this bid both during and after completion is to be treated with strict confidence. Should the need however arise to divulge any information gleaned from the service which is either directly or indirectly related to the SABC, written approval to divulge such information will have to be obtained from SABC.

The bidders must ensure that confidential information is: maintained confidential; not disclosed to or used by any unauthorised person; so as to prevent any disclosure or unauthorised use with at least the standard of care that bidders maintain to protect their own confidential information; only used for the purpose of considering and responding to this RFP; and not reproduced in any form except as required for the purpose of considering and responding to this bid. Bidders must ensure that: access to confidential information is only given to those of its partners, officers, employees and advisers who require access for the purpose of considering and responding to this RFP; and those partners, officers, employee and advisers are informed of the confidential information section and keep that information confidential. This bid remains at all times the property of the SABC. No rights other than as provided in this bid and in respect of the confidential information are granted or conveyed to bidder/s

NAME OF BIDDER:__________________________________________________________ 

PHYSICAL ADDRESS: ​​​​​​​​​​​​​​​__________________________________________________________
 ______________________________________________________________________________

Bidder’s contact person:


Name : __________________________________ 







Telephone : ______________________________ 







Mobile : _________________________________ 







Fax.: ____________________________________







E-mail address : __________________________

END OF DOCUMENT F

DOCUMENT G
SBD 6.1

PREFERENCE POINTS CLAIM FORM IN TERMS OF THE PREFERENTIAL PROCUREMENT REGULATIONS 2022

This preference form must form part of all tenders invited.  It contains general information and serves as a claim form for preference points for specific goals. 

NB:
BEFORE COMPLETING THIS FORM, TENDERERS MUST STUDY THE GENERAL CONDITIONS, DEFINITIONS AND DIRECTIVES APPLICABLE IN RESPECT OF THE TENDER AND PREFERENTIAL PROCUREMENT REGULATIONS, 2022
1. GENERAL CONDITIONS

1.0 The following preference point systems are applicable to invitations to tender:

· the 80/20 system for requirements with a Rand value of up to R50 000 000 (all applicable taxes included); and 

· the 90/10 system for requirements with a Rand value above R50 000 000 (all applicable taxes included).

1.1 To be completed by the organ of state


(delete whichever is not applicable for this tender).
(a) The applicable preference point system for this tender would either be 80/20 OR 90/10 preference point system.

(b) The 80/20 OR 90/10 preference point system will be applicable in this tender. The lowest/ highest acceptable tender will be used to determine the accurate system once tenders are received.

1.2 Points for this tender (even in the case of a tender for income-generating contracts) shall be awarded for: 

(c) Price; and

(d) Specific Goals.

1.3 To be completed by the organ of state:

The maximum points for this tender are allocated as follows:

	SPECIFIC GOALS
	80/20
	90/10

	EME/SME 51% owned by Black people
	10
	4

	51% owned by Black people;
	5
	3

	51% owned by Black people who are women
	3
	 2

	Black Youth
	2
	1


1.4 Failure on the part of a tenderer to submit proof or documentation required in terms of this tender to claim points for specific goals with the tender, will be interpreted to mean that preference points for specific goals are not claimed.

1.5 The organ of state reserves the right to require of a tenderer, either before a tender is adjudicated or at any time subsequently, to substantiate any claim in regard to preferences, in any manner required by the organ of state.

2. DEFINITIONS

(a)  “tender” means a written offer in the form determined by an organ of state in response to an invitation to provide goods or services through price quotations, competitive tendering process or any other method envisaged in legislation; 

(b) “price” means an amount of money tendered for goods or services, and includes all applicable taxes less all unconditional discounts; 
(c) “rand value” means the total estimated value of a contract in Rand, calculated at the time of bid invitation, and includes all applicable taxes; 
(d) “tender for income-generating contracts” means a written offer in the form determined by an organ of state in response to an invitation for the origination of income-generating contracts through any method envisaged in legislation that will result in a legal agreement between the organ of state and a third party that produces revenue for the organ of state, and includes, but is not limited to, leasing and disposal of assets and concession contracts, excluding direct sales and disposal of assets through public auctions; and 

(e) “the Act” means the Preferential Procurement Policy Framework Act, 2000 (Act No. 5 of 2000).  

3. FORMULAE FOR PROCUREMENT OF GOODS AND SERVICES

3.1. POINTS AWARDED FOR PRICE

3.1.1   THE 80/20 OR 90/10 PREFERENCE POINT SYSTEMS 

A maximum of 80 or 90 points is allocated for price on the following basis:



80/20
or
90/10



[image: image6.png]Ps=80(1—

Pefmin )




or
[image: image8.png]Ps=90(1-

Pefmin )





Where


Ps
=
Points scored for price of tender under consideration


Pt
=
Price of tender under consideration


Pmin
=
Price of lowest acceptable tender

3.2. FORMULAE FOR DISPOSAL OR LEASING OF STATE ASSETS AND INCOME GENERATING PROCUREMENT

3.2.1. POINTS AWARDED FOR PRICE

A maximum of 80 or 90 points is allocated for price on the following basis:



            80/20
               or
            90/10



[image: image10.png]Ps=80(1+

fofmar )




or
[image: image12.png]Ps=90(1+

fefmar )




Where


Ps
=
Points scored for price of tender under consideration


Pt
=
Price of tender under consideration


Pmax
=
Price of highest acceptable tender

4. POINTS AWARDED FOR SPECIFIC GOALS 

4.1. In terms of Regulation 4(2); 5(2); 6(2) and 7(2) of the Preferential Procurement Regulations, preference points must be awarded for specific goals stated in the tender. For the purposes of this tender the tenderer will be allocated points based on the goals stated in table 1 below as may be supported by proof/ documentation stated in the conditions of this tender: 
4.2. In cases where organs of state intend to use Regulation 3(2) of the Regulations, which states that, if it is unclear whether the 80/20 or 90/10 preference point system applies, an organ of state must, in the tender documents, stipulate in the case of— 

(a) an invitation for tender for income-generating contracts, that either the 80/20 or 90/10 preference point system will apply and that the highest acceptable tender will be used to determine the applicable preference point system: or

(b) any other invitation for tender, that either the 80/20 or 90/10 preference point system will apply and that the lowest acceptable tender will be used to determine the applicable preference point system,  

then the organ of state must indicate the points allocated for specific goals for both the 90/10 and 80/20 preference point system. 

Table 1: Specific goals for the tender and points claimed are indicated per the table below. 

Note to tenderers: The tenderer must indicate how they claim points for each preference point system.  

	The specific goals allocated points in terms of this tender
	Number of points

allocated

(80/20 system)

(To be completed by the organ of state)


	Number of points

allocated

(90/10 system)

(To be completed by the organ of state)
	Number of points claimed.

(80/20 system)

(To be completed by the tenderer)
	Number of points claimed (90/10 system)

(To be completed by the tenderer)


	SMMEs (inclusive or QSEs and EMEs) 51% owned by Black people
	10
	4
	
	

	51% owned by Black people;
	5
	3
	
	

	51% owned by Black people who are women
	3
	 2
	
	

	Black Youth
	2
	1
	
	


NB:  All tenders will be issued to the market with all specific goals, and these will be scored in accordance with the evidence as submitted by the bidder. The bidder who does not meet the specific goals will not be disqualified but score zero
Source Documents to be submitted with the Bid or RFQ

	Specific Goals
	Acceptable Evidence

	B-BBEE
	Valid BEE Certificate / Sworn Affidavit (in case of JV, a consolidated scorecard will be accepted)

	Black Women Owned
	Certified ID Documents of the Owners/shareholder

	Black Youth owned
	Certified ID Documents of the Owners

	EME or QSE 51% Black Owned
	Annual Financial/ Management Accounts/ B-BBEE Certificate / Affidavit/ Certified ID Documents of the Owners/shareholder

	51% Black Owned
	CIPC Documents / B-BBEE Certificate/Affidavit/ Certified ID Documents of the Owners/shareholder

	South African Enterprises
	CIPC Documents



DECLARATION WITH REGARD TO COMPANY/FIRM

4.3. Name of company/firm…………………………………………………………………….

4.4. Company registration number: …………………………………………………………...

4.5. TYPE OF COMPANY/ FIRM

(
Partnership/Joint Venture / Consortium

(
One-person business/sole propriety

(
Close corporation

(
Public Company

(
Personal Liability Company

(
(Pty) Limited 

(
Non-Profit Company

(
State Owned Company

[Tick applicable box]
4.6. I, the undersigned, who is duly authorised to do so on behalf of the company/firm, certify that the points claimed, based on the specific goals as advised in the tender, qualifies the company/ firm for the preference(s) shown and I acknowledge that:

i) The information furnished is true and correct;

ii) The preference points claimed are in accordance with the General Conditions as indicated in paragraph 1 of this form;

iii) In the event of a contract being awarded as a result of points claimed as shown in paragraphs 1.4 and 4.2, the contractor may be required to furnish documentary proof to the satisfaction of the organ of state that the claims are correct; 

iv) If the specific goals have been claimed or obtained on a fraudulent basis or any of the conditions of contract have not been fulfilled, the organ of state may, in addition to any other remedy it may have –

(a) disqualify the person from the tendering process;

(b) recover costs, losses or damages it has incurred or suffered as a result of that person’s conduct;

(c) cancel the contract and claim any damages which it has suffered as a result of having to make less favourable arrangements due to such cancellation;

(d) recommend that the tenderer or contractor, its shareholders and directors, or only the shareholders and directors who acted on a fraudulent basis, be restricted from obtaining business from any organ of state for a period not exceeding 10 years, after the audi alteram partem (hear the other side) rule has been applied; and

(e) forward the matter for criminal prosecution, if deemed necessary.


DOCUMENT I
SBD 8

DECLARATION OF BIDDER’S PAST SUPPLY CHAIN MANAGEMENT PRACTICES

1.0 This Standard Bidding Document must form part of all bids invited.  

2.0 It serves as a declaration to be used by institutions in ensuring that when goods and services are being procured, all reasonable steps are taken to combat the abuse of the supply chain management system. 

3.0 The bid of any bidder may be disregarded if that bidder, or any of its directors have-

a. abused the institution’s supply chain management system;

b. committed fraud or any other improper conduct in relation to such system; or

c. failed to perform on any previous contract.

4.0 In order to give effect to the above, the following questionnaire must be completed and submitted with the bid.

	Item
	Question
	Yes
	No

	4.1
	Is the bidder or any of its directors listed on the National Treasury’s Database of Restricted Suppliers as companies or persons prohibited from doing business with the public sector?

(Companies or persons who are listed on this Database were informed in writing of this restriction by the Accounting Officer/Authority of the institution that imposed the restriction after the audi alteram partem rule was applied).

The Database of Restricted Suppliers now resides on the National Treasury’s website(www.treasury.gov.za) and can be accessed by clicking on its link at the bottom of the home page. 
	Yes

 FORMCHECKBOX 


	No

 FORMCHECKBOX 



	4.1.1
	If so, furnish particulars:



	4.2
	Is the bidder or any of its directors listed on the Register for Tender Defaulters in terms of section 29 of the Prevention and Combating of Corrupt Activities Act (No 12 of 2004)? 
Register for Tender Defaulters can be accessed on the National Treasury’s website (www.treasury.gov.za) by clicking on its link at the bottom of the home page. 

	Yes

 FORMCHECKBOX 

	No

 FORMCHECKBOX 


	4.2.1
	If so, furnish particulars:



	4.3
	Was the bidder or any of its directors convicted by a court of law (including a court outside of the Republic of South Africa) for fraud or corruption during the past five years?


	Yes

 FORMCHECKBOX 

	No

 FORMCHECKBOX 


	4.4
	Was any contract between the bidder and any organ of state terminated during the past five years on account of failure to perform on or comply with the contract?


	Yes

 FORMCHECKBOX 

	No

 FORMCHECKBOX 


	4.4.1
	If so, furnish particulars:




CERTIFICATION

I, THE UNDERSIGNED (FULL NAME)…………………………………………………

CERTIFY THAT THE INFORMATION FURNISHED ON THIS DECLARATION FORM IS TRUE AND CORRECT.


I ACCEPT THAT, IN ADDITION TO CANCELLATION OF A CONTRACT, ACTION MAY BE TAKEN AGAINST ME SHOULD THIS DECLARATION PROVE TO BE FALSE.


………………………………………...


…………………………..


Signature 






Date


……………………………………….


…………………………..


Position






Name of Bidder

END OF DOCUMENT I
DOCUMENT J
SBD 9
CERTIFICATE OF INDEPENDENT BID DETERMINATION

1.0 This Standard Bidding Document (SBD) must form part of all bids¹ invited.

2.0 Section 4 (1) (b) (iii) of the Competition Act No. 89 of 1998, as amended, prohibits an agreement between, or concerted practice by, firms, or a decision by an association of firms, if it is between parties in a horizontal relationship and if it involves collusive bidding (or bid rigging).² Collusive bidding is a pe se prohibition meaning that it cannot be justified under any grounds.
3.0 
Treasury Regulation 16A9 prescribes that accounting officers and accounting authorities must take all reasonable steps to prevent abuse of the supply chain management system and authorizes accounting officers and accounting authorities to:

a.
disregard the bid of any bidder if that bidder, or any of its directors have abused the institution’s supply chain management system and or committed fraud or any other improper conduct in relation to such system.

b.
cancel a contract awarded to a supplier of goods and services if the supplier committed any corrupt or fraudulent act during the bidding process or the execution of that contract.

4.0 This SBD serves as a certificate of declaration that would be used by institutions to ensure that, when bids are considered, reasonable steps are taken to prevent any form of bid-rigging. 
5.0 In order to give effect to the above, the attached Certificate of Bid Determination (SBD 9) must be completed and submitted with the bid:

¹ Includes price quotations, advertised competitive bids, limited bids and proposals.

² Bid rigging (or collusive bidding) occurs when businesses, that would otherwise be expected to compete, secretly conspire to raise prices or lower the quality of goods and / or services for SABCs who wish to acquire goods and / or services through a bidding process.  Bid rigging is, therefore, an agreement between competitors not to compete.

CERTIFICATE OF INDEPENDENT BID DETERMINATION
I, the undersigned, in submitting the accompanying bid:

______________________________________________________________________
(RFP Title: RFP/LOG/2023/24- Reinstatement and Repairs to Studio 6


in response to the invitation for the bid made by:

(South African Broadcasting Corporation SOC Limited “SABC”)
do hereby make the following statements that I certify to be true and complete in every respect:

I certify, on behalf of:_______________________________________________________that:

(Name of Bidder)
1. I have read and I understand the contents of this Certificate;

2. I understand that the accompanying bid will be disqualified if this Certificate is found not to be true and complete in every respect;

3. I am authorized by the bidder to sign this Certificate, and to submit the accompanying bid, on behalf of the bidder;

4. Each person whose signature appears on the accompanying bid has been authorized by the bidder to determine the terms of, and to sign the bid, on behalf of the bidder;

5. For the purposes of this Certificate and the accompanying bid, I understand that the word “competitor” shall include any individual or organization, other than the bidder, whether or not affiliated with the bidder, who:

(a) 
has been requested to submit a bid in response to this bid invitation;

(b) 
could potentially submit a bid in response to this bid invitation, based on their qualifications, abilities or experience; and

(c)
provides the same goods and services as the bidder and/or is in the same line of business as the bidder

6. The bidder has arrived at the accompanying bid independently from, and without consultation, communication, agreement or arrangement with any competitor. However communication between partners in a joint venture or consortium³ will not be construed as collusive bidding.
7.  In particular, without limiting the generality of paragraphs 6 above, there has been no consultation, communication, agreement or arrangement with any competitor regarding:

(a) prices;      

(b) geographical area where product or service will be rendered (market allocation)  

(c) 
methods, factors or formulas used to calculate prices;

(d)
 the intention or decision to submit or not to submit, a bid; 

(e)
 the submission of a bid which does not meet the specifications and conditions of the bid; or

(f)        bidding with the intention not to win the bid.

8. In addition, there have been no consultations, communications, agreements or arrangements with any competitor regarding the quality, quantity, specifications and conditions or delivery particulars of the products or services to which this bid invitation relates.

9. The terms of the accompanying bid have not been, and will not be, disclosed by the bidder, directly or indirectly, to any competitor, prior to the date and time of the official bid opening or of the awarding of the contract.

³ Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.

10.   I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to bids and contracts, bids that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No 89 of 1998 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act No 12 of 2004 or any other applicable legislation.

 …………………………………………………

…………………………………

Signature







Date

………………………………………………….

…………………………………

Position 







Name of Bidder

END OF DOCUMENT J
DOCUMENT K
ACCEPTANCE OF CONDITIONS OF BID
By signing the BID document, the Bidder is deemed to acknowledge and accept that all the conditions governing this BID, including those contained in any printed form stated to form part thereof and SABC Limited will recognize no claim for relief based on an allegation that the Bidder overlooked any such condition or failed properly to take it into account for the purpose of calculating bided prices or otherwise.

SIGNEDat______________________________________this___________________day of _________________________2023
NAME OF COMPANY _____________________________________________________
NAME OF THE SIGNATORY (IES)___________________________________________
CAPACITY:______________________________________________________________
Are you authorised to sign on behalf of the company (YES/NO) ___________________
WITNESSES:


1.  ______________________________



2.  ______________________________


 






________________________________










BIDDER
END OF DOCUMENT K
END OF THE REQUEST FOR PROPOSAL DOCUMENT
ANNEXURE A: GUIDELINE FOR COMPULSORY BRIEFING SESSION

· The briefing session meeting will be arranged by means of an online session using the Microsoft TEAMS. Find below the link:
Microsoft Teams meeting
Join on your computer, mobile app or room device
Click here to join the meeting
Meeting ID: 344 037 290 81 
Passcode: wq6pnh
Download Teams | Join on the web
Learn More | Meeting options
· Bidders who have do not access to Microsoft Teams or similar enablers are kindly requested to advice of their interest to participate in the online briefing session by sending an email to RFPSubmissions@sabc.co.za 3 days before the briefing session. 
· On the date and time of the briefing session, bidders will join via Microsoft Teams or similar enablers to attend the online briefing session meeting.
· On joining the meeting, bidders must join as their company names.
· Bidders who are unable to connect via Microsoft TEAMS or similar enablers are requested to submit their queries related to the bid via email. The aforementioned process will follow

· The dates and times of the briefing sessions is advertised on the National Treasury E-Tender Portal and the SABC Website. 
· All queries and responses from the various briefings sessions will be consolidated into a schedule of questions and answers and communicated by publishing on the National Treasury E-Tender Portal and the SABC Website.
ANNEXURE B: REFERENCE LETTER TEMPLATE
The Bidder is recommended to use the attached reference letter template to obtain clear

and easily verifiable references in response to the bid requirements.

This reference letter format is not to be completed by the bidder, but it is to be completed by the

clients of the bidder who is bidding for this project giving reference to their level of the service

rendered in either their current or previous project.

IT IS RECOMMENDED THAT THIS LETTER BE COPIED AND PASTED ON THE LETTERHEAD OF

THE CLIENT/S OF THE BIDDER and must be completed by the client and NOT by the bidder.
REFERENCE LETTER:
Title: Reinstatement and Repairs to Studio 6 for SABC Auckland Park l Offices.
Bid Number: RFP/LOG/2023/24
	
	REFERENCE LETTER FORMAT

	
	Clients Letterhead



	
	Clients Legal Name



	
	Name of the company you are giving reference about 



	Bid Number 
	

	Bid Description: 
	

	Be on client’s company’s letterhead
	

	Be signed by an authorized client representative
	

	Project Location
	

	Stipulate the contract period (start and end date
	

	Stipulate the client contact details (name and phone number/email)


	

	Stipulate the detailed description of actual services provided 


	

	Project Cost/value

	

	Please rate the above bidder according to the following Criteria by ticking column and providing comments / details: (Optional)

	Criteria (Optional)

	Not meet requirements
	Meets requirements 


	Exceeds requirements 



	1. Proactively engages in problem resolution
	
	
	

	2. Timeous and accurate reporting of all incidents 
	
	
	

	3.  Active and Accurate reporting in Occurrence Books
	
	
	

	4. Service levels achieved at 95-100%
	
	
	

	5. Full compliance with all safety protocols
	
	
	

	6. Based on the above stated criteria, rate the Overall Satisfaction with bidder
	
	
	

	Comments (optional)
	

	Completed by: 
	

	Signature: 
	

	Company Name: 
	

	Position:
	

	Contact Telephone Number: 
	

	Date: 
	


NB!! Letters that do not meet all the above requirements will be automatically disqualified. 








“ANNEXURE F”

KEY PERSONNEL

The Tenderer shall list below the personnel which he intends to use on the Works.

[NB. The Curricula Vitae of the listed personnel together with Qualifications are to be attached to this page which will be evaluated when scoring quality (Technical Offer) in line with Pg 41/69 requirements.
If CVs and Qualification are not attached, a zero (0) will be scored in terms of the Technical/ Functionality of this Tender.
	CATEGORY OF EMPLOYEE
	NAME AND SURNAME
	YEARS OF EXPERIENCE 
	QUALIFICATIONS

	Professional Structural Engineer
	
	
	1.

2. 

3.

	Construction Supervisor
	
	
	

	Part time and Full time Construction Health and Safety Officer:
	
	
	1.

2. 

3.

	Electrical Supervisor
	
	
	

	Mechanical Supervisor
	
	
	

	Fire Protection Supervisor
	
	
	


SIGNATURE: 

 DATE



(Of person authorised to sign on behalf of the Tenderer)
[image: image13.jpg]


[image: image14.jpg]


[image: image15.jpg]


[image: image16.jpg]


[image: image17.jpg]


[image: image18.jpg]


[image: image19.jpg]






……………………………………….


SIGNATURE(S) OF TENDERER(S)





SURNAME AND NAME:	 ……………………………………………………….


DATE:			………………………………………………………


ADDRESS:		………………………………………………………


			………………………………………………………


		………………………………………………………


		………………………………………………………












	Confidential and Proprietary Information
	Page 54 of 54
	Bid Document



