ANNEXURE C3.2: SCOPE OF WORK (INCLUDING DRAWINGS, WHERE APPLICABLE)

- DO THE FOLLOWING WORK AT THE BELOW LISTED House 51.

( SITE MEETING COMPULSARY )

HOUSE 51:

Main bedroom:

1.Paint window frame outside and inside (2.2m x 1.8m) and install window furniture.

2.Paint ceiling and walls (36 square meters)

3.Replace building cupboard locks (x6) and paint cupboards inside and outside (2.7 x 3m)

4.Paint bedroom door and replace mortice lock.

5.Intall curtain rails.

On suite bathroom:

1.Remove wall tiles 20 square meters (White), bath, toilet vanity cupboard with basin.

2.Intall new wall tiles, bath, toilet, vanity cupboard with basin and new shower door.

3.Install bath mixer, basin mixer.

4.Install curtain rail.

5.Paint ceiling, door and replace door lock.

6.Install new shower door.

Passage:

1.Paint passage ceiling and walls (15 square meters)

2.Paint build in cupboard and replace lock (50mm x 2.3m)

Quest bathroom:

1.Remove wall tiles 20 square meters (White), bath, toilet vanity cupboard with basin.

2.Intall new wall tiles, bath, toilet, vanity cupboard with basin and new shower door.

3.Install bath mixer, basin mixer.

4.Install curtain rail.

5.Paint ceiling, door and replace door lock.

6.Intall window furniture.

7.Intall new shower door.

Bedroom 1:

1.Paint window frame outside and inside (2.2m x 1.8m) and install window furniture.

2.Paint ceiling and walls (36 square meters)

3.Replace building cupboard locks (x6) and paint cupboards inside and outside (2.7 x 3m)

4.Paint bedroom door and replace mortice lock.

5.Intall curtain rails.

Bedroom 2:

1.Paint window frame outside and inside (2.2m x 1.8m) and install window furniture.

2.Paint ceiling and walls (36 square meters)

3.Replace building cupboard locks (x6) and paint cupboards inside and outside (2.7 x 3m)

4.Paint bedroom door and replace mortice lock.

5.Intall curtain rails.

Kitchen:

Install new Zink mixer and basin pipes.

Paint ceiling 26sq meters.

Study Room:

1.Paint window frame outside and inside (2.2m x 1.8m) and install window furniture.

2.Paint ceiling and walls (36 square meters)

3.Replace building cupboard locks (x6) and paint cupboards inside and outside (2.7 x 3m)

4.Paint bedroom door and replace mortice lock.

5.Intall curtain rails.

Living room:

1.Paint window frame outside and inside (2.2m x 1.8m) and install window furniture.

2.Paint ceiling and walls (50 square meters)

3.Replace building cupboard locks (x6) and paint cupboards inside and outside (2.7 x 3m)

4.Paint bedroom door and replace mortice lock.

5.Intall curtain rails.

Roof and Outside walls

1: Paint roof, exterior walls window frames, gutters and facia boars also replace facia boards where needed (Square meters = 550)