{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["Technical Schedules ","Sheet3"],"read":"whole","date_system":"1900"}

{"sheet":"Technical Schedules ","index":0,"n_rows":306,"n_cols":7,"rows_kept":306,"merged":[[1,0,1,6],[2,0,2,6],[3,0,3,4]]}
[]
["TECHNICAL SCHEDULES A & B FOR"]
["TELEPROTECTION EQUIPMENT FOR USE ON DIGITAL TELECOMMUNICATIONS CHANNELS OR DEDICATED OPTICAL FIBRE, ESKOM STANDARD 240-77422828"]
[]
["Schedule A: Purchaser's specifications"]
["Schedule B: Guarantees, compliance and technical particulars of equipment offered"]
[]
["The following tabulated requirements emulate the sectional numbering of Standard 240-77422828:"]
[]
["Numbering","Section numbering","Description","Schedule A","Schedule B","Provide evidence or the location in the tender documentation for evidence ","Comments"]
[1,1,"Manufacturer","Specify"]
[2,2,"Manufacturer’s type reference","Specify"]
[3,3,"Teleprotection Equipment"]
["3.1.1",3.1,"Background"]
["3.1.1a)","3.1.","Conventional interfaces to protection and telecontrol equipment","Comply"]
["3.1.1b)",3.1,"IEC 61850 standard and conventional interfaces to protection and telecontrol equipment","Comply"]
[3.2,3.2,"Teleprotection Equipment Requirements"]
["3.2.1","3.2.1","General"]
["3.2.1a)","3.2.1a)","a) Comply with clause 3.2.1a) of this specification","Comply"]
["3.2.1b)","3.2.1b)","b) Comply with clause 3.2.1b) of this specification","Comply"]
["3.2.1c)","3.2.1c)","c) Comply with clause 3.2.1c) of this specification","Comply"]
["3.2.1d)","3.2.1d)","d) Comply with clause 3.2.1d) of this specification","Comply"]
["3.2.1e)","3.2.1e)","e) Comply with clause 3.2.1e) of this specification","Comply"]
["3.2.1f)","3.2.1f)","f) Comply with clause 3.2.1f) of this specification","Comply"]
["3.2.2","3.2.2","Environmental conditions"]
["3.2.2a)","3.2.2a)","a) Comply with clause 3.2.2a) of this specification","Comply"]
["3.2.2b)","3.2.2b)","b) Comply with altitude from 0 to 2000m","Comply"]
["3.2.2c)","3.2.2c)","c) Temperature: Maximum +55 oC","Comply"]
["3.2.2c)","3.2.2c)","d) Temperature: Minimum 0 oC","Comply"]
["3.2.2d)","3.2.2d)","e) Comply with clause 3.2.2d) of this specification","Comply"]
["3.2.2e)","3.2.2e)","f) Comply with clause 3.2.2e) of this specification","Comply"]
["3.2.2f)","3.2.2f)","g) Comply with clause 3.2.2f) of this specification","Comply"]
["3.2.3","3.2.3","Equipment Design"]
["3.2.3a)","3.2.3a)","a) Comply with clause 3.2.3a) of this specification","Comply"]
["3.2.3b)","3.2.3b)","b) Comply with clause 3.2.3b) of this specification","Comply"]
["3.2.3c)","3.2.3c)","c) Comply with clause 3.2.3c) of this specification","Comply"]
["3.2.3d)","3.2.3d)","d) Comply with clause 3.2.3d) of this specification","Comply"]
["3.2.3e)","3.2.3e)","e) Comply with clause 3.2.3e) of this specification","Comply"]
["3.2.3f)","3.2.3f)","f) Comply with clause 3.2.3f) of this specification","Comply"]
["3.2.3g)","3.2.3g)","g) Comply with clause 3.2.3g) of this specification","Comply"]
["3.2.3h)","3.2.3h)","h) Comply with clause 3.2.3h) of this specification","Comply"]
["3.2.3i)","3.2.3i)","i) Comply with clause 3.2.3i) of this specification","Comply"]
["3.2.3j)","3.2.3j)","j) Comply with clause 3.2.3j) of this specification","Comply"]
["3.2.4","3.2.4","End-to-end and local test facilities"]
["3.2.4a) ","3.2.4a) ","a) Comply with clause 3.2.4a) of this specification","Comply"]
["3.2.4b)","3.2.4b)","b) Comply with clause 3.2.4b) of this specification","Comply"]
["3.2.4c)","3.2.4c)","c) Comply with clause 3.2.4c) of this specification","Comply"]
["3.2.5","3.2.5","Management, Alarms and test facilities"]
["3.2.5.1","3.2.5.1","Functions required"]
["3.2.5.1a)","3.2.5.1a)","a) Comply with clause 3.2.5.1a) of this specification","Comply"]
["3.2.5.1b)","3.2.5.1b)","b) Comply with clause 3.2.5.1b) of this specification","Comply"]
["3.2.5.1c)","3.2.5.1c)","c) Comply with clause 3.2.5.1c) of this specification","Comply"]
["3.2.5.1d)","3.2.5.1d)","d) Comply with clause 3.2.5.1d) of this specification","Comply"]
["3.2.5.1e)","3.2.5.1e)","e) Comply with clause 3.2.5.1e) of this specification","Comply"]
["3.2.5.2","3.2.5.2","HMI interface standards/requirements"]
["3.2.5.2a)","3.2.5.2a)","a) Comply with clause 3.2.5.2a) of this specification","Comply"]
["3.2.5.2b)","3.2.5.2b)","b) Comply with clause 3.2.5.2b) of this specification","Comply"]
["3.2.5.2c)","3.2.5.2c)","c) Comply with clause 3.2.5.2c) of this specification","Comply"]
["3.2.5.2d)","3.2.5.2d)","d) Comply with clause 3.2.5.2d) of this specification","Comply"]
["3.2.5.2e)","3.2.5.2e)","e) Comply with clause 3.2.5.2e) of this specification","Comply"]
["3.2.5.2f)","3.2.5.2f)","f) Comply with clause 3.2.5.2f) of this specification","Comply"]
["3.2.5.3","3.2.5.3","Cyber Security"]
["3.2.5.3a)","3.2.5.3a)","a) Comply with clause 3.2.5.3a) of this specification","Comply"]
["3.2.5.3b)","3.2.5.3b)","b) Comply with clause 3.2.5.3b) of this specification","Comply"]
["3.2.5.3c)","3.2.5.3c)","c) Comply with clause 3.2.5.3c) of this specification","Comply"]
["3.2.5.3d)","3.2.5.3d)","d) Comply with clause 3.2.5.3d) of this specification","Comply"]
["3.2.5.3e)","3.2.5.3e)","e) Comply with clause 3.2.5.3e) of this specification","Comply"]
["3.2.5.3f)","3.2.5.3f)","f) Comply with clause 3.2.5.3f) of this specification","Comply"]
["3.2.5.3g)","3.2.5.3g)","g) Comply with clause 3.2.5.3g) of this specification","Comply"]
["3.2.5.3h)","3.2.5.3h)","h) Comply with clause 3.2.5.3h) of this specification","Comply"]
["3.2.5.4","3.2.5.4","Alarms"]
["3.2.5.4a)","3.2.5.4a)","a) Comply with clause 3.2.5.4a) of this specification","Comply"]
["3.2.5.4b)","3.2.5.4b)","b) Comply with clause 3.2.5.4b) of this specification","Comply"]
["3.2.5.4c)","3.2.5.4c)","c) Comply with clause 3.2.5.4c) of this specification","Comply"]
["3.2.5.4d)","3.2.5.4d)","d) Comply with clause 3.2.5.4d) of this specification","Comply"]
["3.2.5.4e)","3.2.5.4e)","e) Comply with clause 3.2.5.4e) of this specification","Comply"]
["3.2.6","3.2.6","Power Supplies"]
["3.2.6a)","3.2.6a)","a) Comply with clause 3.2.6a) of this specification","Comply"]
["3.2.6b)","3.2.6b)","b) Comply with clause 3.2.6b) of this specification","Comply"]
["3.2.6c)","3.2.6c)","c) Comply with clause 3.2.6c) of this specification","Comply"]
["3.2.6d)","3.2.6d)","d) Comply with clause 3.2.6d) of this specification","Comply"]
["3.2.6e)","3.2.6e)","e) Comply with clause 3.2.6e) of this specification","Comply"]
["3.2.6f)","3.2.6f)","f) Comply with clause 3.2.6f) of this specification","Comply"]
["3.2.6g)","3.2.6g)","g) Comply with clause 3.2.6g) of this specification","Comply"]
["3.2.6h)","3.2.6h)","h) Comply with clause 3.2.6h) of this specification","Comply"]
["3.2.6i)","3.2.6i)","i) Comply with clause 3.2.6i) of this specification","Comply"]
["3.2.6j)","3.2.6j)","j) Comply with clause 3.2.6j) of this specification","Comply"]
["3.2.6k)","3.2.6k)","k) Comply with clause 3.2.6k) of this specification","Comply"]
["3.2.6l)","3.2.6l)","l) Comply with clause 3.2.6l) of this specification","Comply"]
["3.2.6m)","3.2.6m)","m) Comply with clause 3.2.6m) of this specification","Comply"]
["3.2.7","3.2.7","Interface with Eskom's protection relay equipment"]
["3.2.7a)","3.2.7a)","a) Comply with clause 3.2.7a) of this specification","Comply"]
["3.2.7b)","3.2.7b)","b) Comply with clause 3.2.7b) of this specification","Comply"]
["3.2.7c)","3.2.7c)","System A"]
["3.2.7c)1)","3.2.7c)1)","c) Comply with clause 3.2.7c)1) of this specification","Comply"]
["3.2.7c)2)","3.2.7c)2)","d) Comply with clause 3.2.7c)2) of this specification","Comply"]
["3.2.7c)3)","3.2.7c)3)","e) Comply with clause 3.2.7c)3) of this specification","Comply"]
["3.2.7c)4)","3.2.7c)4)","f) Comply with clause 3.2.7c)4) of this specification","Comply"]
["3.2.7c)5)","3.2.7c)5)","g) Comply with clause 3.2.7c)5) of this specification","Comply"]
["3.2.7c)6)","3.2.7c)6)","h) Comply with clause 3.2.7c)6) of this specification","Comply"]
["3.2.7c)7)","3.2.7c)7)","i) Comply with clause 3.2.7c)7) of this specification","Comply"]
["3.2.7c)8)","3.2.7c)8)","j) Comply with clause 3.2.7c)8) of this specification","Comply"]
["3.2.7d)","3.2.7d)","System C"]
["3.2.7d)1)","3.2.7d)1)","k) Comply with clause 3.2.7d)1) of this specification","Comply"]
["3.2.7d)2)","3.2.7d)2)","l) Comply with clause 3.2.7d)2) of this specification","Comply"]
["3.2.7d)3)","3.2.7d)3)","m) Comply with clause 3.2.7d)3) of this specification","Comply"]
["3.2.7d)4)","3.2.7d)4)","n) Comply with clause 3.2.7d)4) of this specification","Comply"]
["3.2.7d)5)","3.2.7d)5)","o) Comply with clause 3.2.7d)5) of this specification","Comply"]
["3.2.7d)6)","3.2.7d)6)","p) Comply with clause 3.2.7d)6) of this specification","Comply"]
["3.2.7d)7)","3.2.7d)7)","q) Comply with clause 3.2.7d)7) of this specification","Comply"]
["3.2.7d)8)","3.2.7d)8)","r) Comply with clause 3.2.7d)8) of this specification","Comply"]
["3.2.7d)9)","3.2.7d)9)","s) Comply with clause 3.2.7d)9) of this specification","Comply"]
["3.2.7d)10)","3.2.7d)10)","t) Comply with clause 3.2.7d)10) of this specification","Comply"]
["3.2.7d)11)","3.2.7d)11)","u) Comply with clause 3.2.7d)11) of this specification","Comply"]
["3.2.8","3.2.8","Channel and Performance Requirements"]
["3.2.8a)","3.2.8a)","a) Comply with clause 3.2.8a) of this specification","Comply"]
["3.2.8b)","3.2.8b)","b) Comply with clause 3.2.8b) of this specification","Comply"]
["3.2.8c)","3.2.8c)","c) Comply with clause 3.2.8c) of this specification","Comply"]
["3.2.8d)","3.2.8d)","d) Specify \"Dependability\" requirements for the \"Permissive Intertrip\" according to clause 3.2.8d) of this specification","Specify"]
["3.2.8e)","3.2.8d)","e) Specify \"Dependability\" requirements for the \"Direct Intertrip\" according to clause 3.2.8d) of this specification","Specify"]
["3.2.8f)","3.2.8d)","f) Specify \"Dependability\" requirements for the \"Blocking Protection\" according to clause 3.2.8d) of this specification","Specify"]
["3.2.8g)","3.2.8d)","g) Specify \"Security\" requirements for the \"Permissive Intertrip\" according to clause 3.2.8d) of this specification","Specify"]
["3.2.8h)","3.2.8d)","h) Specify \"Security\" requirements for the \"Direct Intertrip\" according to clause 3.2.8d) of this specification","Specify"]
["3.2.8i)","3.2.8d)","i) Specify \"Security\" requirements for the \"Blocking Protection\" according to clause 3.2.8d) of this specification","Specify"]
["3.2.8j)","3.2.8e)1) & 3.2.8e)2)","j) Specify \"Back-toBack Operate\" times for the \"Permissive and Blocking Protection\" systems according to clause 3.2.8e)1) and 3.2.8e)2) of this specification","Specify"]
["3.2.8k)","3.2.8e)1) & 3.2.8e)2)","k) Specify \"Back-toBack Operate\" times for the \"Direct Transfer Trip Protection\" systems according to clause 3.2.8e)1) and 3.2.8e)2) of this specification","Specify"]
["3.2.9","3.2.9","Voltage withstand and Electromagnetic Capability Requirements"]
["3.2.9.1","3.2.9 Table 1","Power Supply <60VDC"]
["3.2.9.1a)","3.2.9 Table 1","a) Specify the \"Dielectric Withstand\" voltages according to Table 1 for \"Power Supply <60V DC\" of this specification.","Specify"]
["3.2.9.1b)","3.2.9 Table 1","b) Specify the \"Impulse Voltage\" values according to Table 1 for \"Power Supply <60V DC\" of this specification.","Specify"]
["3.2.9.1c)","3.2.9 Table 1","c) Specify the \"Insulation Resistance\" values according to Table 1 for \"Power Supply <60V DC\" of this specification.","Specify"]
["3.2.9.1d)","3.2.9 Table 1","d) Specify the CM and DM voltage values for the \"Damped oscillatory wave immunity test\" according to Table 1 for \"Power Supply <60V DC\" of this specification.","Specify"]
["3.2.9.1e)","3.2.9 Table 1","e) Specify the \"Electrical fast/transient bursts\" voltages according to Table 1 for \"Power Supply <60V DC\" of this specification.","Specify"]
["3.2.9.1f)","3.2.9 Table 1","f) Specify the CM and DM voltage values for the \"Impulse Voltage Test 1.2/50us\" test according to Table 1 for \"Power Supply <60V DC\" of this specification.","Specify"]
["3.2.9.2","3.2.9 Table 1","Power Supply >60VDC"]
["3.2.9.2a)","3.2.9 Table 1","a) Specify the \"Dielectric Withstand\" voltages according to Table 1 for \"Power Supply >60V DC\" of this specification.","Specify"]
["3.2.9.2b)","3.2.9 Table 1","b) Specify the \"Impulse Voltage\" values according to Table 1 for \"Power Supply >60V DC\" of this specification.","Specify"]
["3.2.9.2c)","3.2.9 Table 1","c) Specify the \"Insulation Resistance\" values according to Table 1 for \"Power Supply >60V DC\" of this specification.","Specify"]
["3.2.9.2d)","3.2.9 Table 1","d) Specify the CM and DM voltage values for the \"Damped oscillatory wave immunity test\" according to Table 1 for \"Power Supply >60V DC\" of this specification.","Specify"]
["3.2.9.2e)","3.2.9 Table 1","e) Specify the \"Electrical fast/transient bursts\" voltages according to Table 1 for \"Power Supply >60V DC\" of this specification.","Specify"]
["3.2.9.2f)","3.2.9 Table 1","f) Specify the CM and DM voltage values for the \"Impulse Voltage Test 1.2/50us\" test according to Table 1 for \"Power Supply >60V DC\" of this specification.","Specify"]
["3.2.9.3)","3.2.9 Table 1","Telecommunication Interfaces - X.21"]
["3.2.9.3a)","3.2.9 Table 1","a) Specify the \"Dielectric Withstand\" voltages according to Table 1 for \"X.21\" of this specification.","Specify"]
["3.2.9.3b)","3.2.9 Table 1","b) Specify the \"Impulse Voltage\" values according to Table 1 for \"X.21\" of this specification.","Specify"]
["3.2.9.3c)","3.2.9 Table 1","c) Specify the \"Insulation Resistance\" values according to Table 1 for \"X.21\" of this specification.","Specify"]
["3.2.9.3d)","3.2.9 Table 1","d) Specify the CM  voltage values for the \"Damped oscillatory wave immunity test\" according to Table 1 for \"X.21\" of this specification.","Specify"]
["3.2.9.3e)","3.2.9 Table 1","e) Specify the \"Electrical fast/transient bursts\" voltages according to Table 1 for \"X.21\" of this specification.","Specify"]
["3.2.9.3f)","3.2.9 Table 1","f) Specify the CM and DM voltage values for the \"Impulse Voltage Test 1.2/50us\" test according to Table 1 for \"X.21\" of this specification.","Specify"]
["3.2.9.4","3.2.9 Table 1","Telecommunication Interfaces - G703.1"]
["3.2.9.4a)","3.2.9 Table 1","a) Specify the \"Dielectric Withstand\" voltages according to Table 1 for \"G703.1\" of this specification.","Specify"]
["3.2.9.4b)","3.2.9 Table 1","b) Specify the \"Impulse Voltage\" values according to Table 1 for \"G703.1\" of this specification.","Specify"]
["3.2.9.4c)","3.2.9 Table 1","c) Specify the \"Insulation Resistance\" values according to Table 1 for \"G703.1\" of this specification.","Specify"]
["3.2.9.4d)","3.2.9 Table 1","d) Specify the CM voltage values for the \"Damped oscillatory wave immunity test\" according to Table 1 for \"G703.1\" of this specification.","Specify"]
["3.2.9.4e)","3.2.9 Table 1","e) Specify the \"Electrical fast/transient bursts\" voltages according to Table 1 for \"G703.1\" of this specification.","Specify"]
["3.2.9.4f)","3.2.9 Table 1","f) Specify the CM and DM voltage values for the \"Impulse Voltage Test 1.2/50us\" test according to Table 1 for \"G703.1\" of this specification.","Specify"]
["3.9.5","3.2.9 Table 1","Telecommunication Interfaces Ethernet"]
["3.2.9.5a)","3.2.9 Table 1","a) Specify the \"Dielectric Withstand\" voltages according to Table 1 for \"Ethernet\" of this specification.","Specify"]
["3.2.9.5b)","3.2.9 Table 1","b) Specify the \"Impulse Voltage\" values according to Table 1 for \"Ethernet\" of this specification.","Specify"]
["3.2.9.5c)","3.2.9 Table 1","c) Specify the \"Insulation Resistance\" values according to Table 1 for \"Ethernet\" of this specification.","Specify"]
["3.2.9.5d)","3.2.9 Table 1","d) Specify the CM voltage values for the \"Damped oscillatory wave immunity test\" according to Table 1 for \"Ethernet\" of this specification.","Specify"]
["3.2.9.5e)","3.2.9 Table 1","e) Specify the \"Electrical fast/transient bursts\" voltages according to Table 1 for \"Ethernet\" of this specification.","Specify"]
["3.2.9.5f)","3.2.9 Table 1","f) Specify the CM and DM voltage values for the \"Impulse Voltage Test 1.2/50us\" test according to Table 1 for \"Ethernet\" of this specification.","Specify"]
["3.2.9.6","3.2.9 Table 1","Protection equipment Interfaces - System A contacts"]
["3.2.9.6a)","3.2.9 Table 1","a) Specify the \"Dielectric Withstand\" voltages according to Table 1 for \"System A contacts (inputs/outputs)\" of this specification.","Specify"]
["3.2.9.6b)","3.2.9 Table 1","b) Specify the \"Impulse Voltage\" values according to Table 1 for \"System A contacts (inputs/outputs)\" of this specification.","Specify"]
["3.2.9.6c)","3.2.9 Table 1","c) Specify the \"Insulation Resistance\" values according to Table 1 for \"System A contacts (inputs/outputs)\" of this specification.","Specify"]
["3.2.9.6d)","3.2.9 Table 1","d) Specify the CM and DM voltage values for the \"Damped oscillatory wave immunity test\" according to Table 1 for \"System A contacts (inputs/outputs)\" of this specification.","Specify"]
["3.2.9.6e)","3.2.9 Table 1","e) Specify the \"Electrical fast/transient bursts\" voltages according to Table 1 for \"System A contacts (inputs/outputs)\" of this specification.","Specify"]
["3.2.9.6f)","3.2.9 Table 1","f) Specify the CM and DM voltage values for the \"Impulse Voltage Test 1.2/50us\" test according to Table 1 for \"System A contacts (inputs/outputs)\" of this specification.","Specify"]
["3.9.7","3.2.9 Table 1","Protection equipment Interfaces - System C contacts"]
["3.2.9.7a)","3.2.9 Table 1","a) Specify the \"Dielectric Withstand\" voltages according to Table 1 for \"System C contacts (inputs/outputs)\" of this specification.","Specify"]
["3.2.9.7b)","3.2.9 Table 1","b) Specify the \"Impulse Voltage\" values according to Table 1 for \"System C contacts (inputs/outputs)\" of this specification.","Specify"]
["3.2.9.7c)","3.2.9 Table 1","c) Specify the \"Insulation Resistance\" values according to Table 1 for \"System C contacts (inputs/outputs)\" of this specification.","Specify"]
["3.2.9.7d)","3.2.9 Table 1","d) Specify the CM and DM voltage values for the \"Damped oscillatory wave immunity test\" according to Table 1 for \"System C contacts (inputs/outputs)\" of this specification.","Specify"]
["3.2.9.7e)","3.2.9 Table 1","e) Specify the \"Electrical fast/transient bursts\" voltages according to Table 1 for \"System C contacts (inputs/outputs)\" of this specification.","Specify"]
["3.2.9.7f)","3.2.9 Table 1","f) Specify the CM and DM voltage values for the \"Impulse Voltage Test 1.2/50us\" test according to Table 1 for \"System C contacts (inputs/outputs)\" of this specification.","Specify"]
["3.2.9.8","3.2.9 Table 1","Protection equipment Interfaces - Alarm contacts"]
["3.2.9.8a)","3.2.9 Table 1","a) Specify the \"Dielectric Withstand\" voltages according to Table 1 for \"Alarm contacts\" of this specification.","Specify"]
["3.2.9.8b)","3.2.9 Table 1","b) Specify the \"Impulse Voltage\" values according to Table 1 for \"Alarm contacts\" of this specification.","Specify"]
["3.2.9.8c)","3.2.9 Table 1","c) Specify the \"Insulation Resistance\" values according to Table 1 for \"Alarm contacts\" of this specification.","Specify"]
["3.2.9.8d)","3.2.9 Table 1","d) Specify the CM and DM voltage values for the \"Damped oscillatory wave immunity test\" according to Table 1 for \"Alarm contacts\" of this specification.","Specify"]
["3.2.9.8e)","3.2.9 Table 1","e) Specify the \"Electrical fast/transient bursts\" voltages according to Table 1 for \"Alarm contacts\" of this specification.","Specify"]
["3.2.9.8f)","3.2.9 Table 1","f) Specify the CM and DM voltage values for the \"Impulse Voltage Test 1.2/50us\" test according to Table 1 for \"Alarm contacts\" of this specification.","Specify"]
["3.2.9.9","3.2.9 Table 1","Other Interfaces - RS 232 Serial"]
["3.2.9.9a)","3.2.9 Table 1","a) Specify the \"Dielectric Withstand\" voltages according to Table 1 for \"RS 232 serial\" of this specification.","Specify"]
["3.2.9.9b)","3.2.9 Table 1","b) Specify the \"Impulse Voltage\" values according to Table 1 for \"RS 232 serial\" of this specification.","Specify"]
["3.2.9.9c)","3.2.9 Table 1","c) Specify the \"Insulation Resistance\" values according to Table 1 for \"RS 232 serial\" of this specification.","Specify"]
["3.2.9.9d)","3.2.9 Table 1","d) Specify the CM voltage values for the \"Damped oscillatory wave immunity test\" according to Table 1 for \"RS 232 serial\" of this specification.","Specify"]
["3.2.9.9e)","3.2.9 Table 1","e) Specify the \"Electrical fast/transient bursts\" voltages according to Table 1 for \"RS 232 serial\" of this specification.","Specify"]
["3.2.9.9f)","3.2.9 Table 1","f) Specify the CM and DM voltage values for the \"Impulse Voltage Test 1.2/50us\" test according to Table 1 for \"RS 232 serial\" of this specification.","Specify"]
["3.2.9.10","3.2.9 Table 1","Other Interfaces - IRIG-B input"]
["3.2.9.10a)","3.2.9 Table 1","a) Specify the \"Dielectric Withstand\" voltages according to Table 1 for \"IRGI-B input\" of this specification.","Specify"]
["3.2.9.10b)","3.2.9 Table 1","b) Specify the \"Impulse Voltage\" values according to Table 1 for \"IRGI-B input\" of this specification.","Specify"]
["3.2.9.10c)","3.2.9 Table 1","c) Specify the \"Insulation Resistance\" values according to Table 1 for \"IRGI-B input\" of this specification.","Specify"]
["3.2.9.10d)","3.2.9 Table 1","d) Specify the CM voltage values for the \"Damped oscillatory wave immunity test\" according to Table 1 for \"IRGI-B input\" of this specification.","Specify"]
["3.2.9.10e)","3.2.9 Table 1","e) Specify the \"Electrical fast/transient bursts\" voltages according to Table 1 for \"IRGI-B input\" of this specification.","Specify"]
["3.2.9.10f)","3.2.9 Table 1","f) Specify the CM and DM voltage values for the \"Impulse Voltage Test 1.2/50us\" test according to Table 1 for \"IRGI-B input\" of this specification.","Specify"]
["3.2.9.11","3.2.9 Table 1","Other Interfaces - GPS Sync Input"]
["3.2.9.11a)","3.2.9 Table 1","a) Specify the \"Dielectric Withstand\" voltages according to Table 1 for \"GPS Sync Input\" of this specification.","Specify"]
["3.2.9.11b)","3.2.9 Table 1","b) Specify the \"Impulse Voltage\" values according to Table 1 for \"GPS Sync Input\" of this specification.","Specify"]
["3.2.9.11c)","3.2.9 Table 1","c) Specify the \"Insulation Resistance\" values according to Table 1 for \"GPS Sync Input\" of this specification.","Specify"]
["3.2.9.11d)","3.2.9 Table 1","d) Specify the CM voltage values for the \"Damped oscillatory wave immunity test\" according to Table 1 for \"GPS Sync Input\" of this specification.","Specify"]
["3.2.9.11e)","3.2.9 Table 1","e) Specify the \"Electrical fast/transient bursts\" voltages according to Table 1 for \"GPS Sync Input\" of this specification.","Specify"]
["3.2.9.11f)","3.2.9 Table 1","f) Specify the CM and DM voltage values for the \"Impulse Voltage Test 1.2/50us\" test according to Table 1 for \"GPS Sync Input\" of this specification.","Specify"]
["3.2.9.12","3.2.9","General"]
["3.2.9.12a)","3.2.9a)","a) Comply with clause 3.2.9)a) of this specification","Comply"]
["3.2.9.12b)","3.2.9b)","b) Comply with clause 3.2.9)b) of this specification","Comply"]
["3.2.9.12c)","3.2.9c)","c) Comply with clause 3.2.9)c) of this specification","Comply"]
["3.2.9.12d)","3.2.9d)","d) Comply with clause 3.2.9)d) of this specification","Comply"]
["3.2.9.12e)","3.2.9e)","e) Comply with clause 3.2.9)e) of this specification","Comply"]
["3.2.10","3.2.10","IEC 61850 Standard Implementation"]
["3.2.10a)","3.2.10a)","a) Comply with clause 3.2.10)a) of this specification","Comply"]
["3.2.10b)","3.2.10b)","b) Comply with clause 3.2.10)b) of this specification","Comply"]
["3.2.10c)","3.2.10c)","c) Comply with clause 3.2.10)c) of this specification","Comply"]
["3.2.10d)","3.2.10d)","d) Comply with clause 3.2.10)d) of this specification","Comply"]
["3.2.10e)","3.2.10e)","e) Comply with clause 3.2.10)e) of this specification","Comply"]
["3.2.10f)","3.2.10f)","f) Comply with clause 3.2.10)f) of this specification","Comply"]
["3.2.10g)","3.2.10g)","g) Comply with clause 3.2.10)g) of this specification","Comply"]
["3.2.10h)","3.2.10h)","h) Comply with clause 3.2.10)h) of this specification","Comply"]
["3.2.10i)","3.2.10i)","i) Comply with clause 3.2.10)i) of this specification","Comply"]
["3.2.10j)","3.2.10j)","j) Comply with clause 3.2.10)j) of this specification","Comply"]
["3.2.10k)","3.2.10k)","k) Comply with clause 3.2.10)k) of this specification","Comply"]
["3.2.10l)","3.2.10 Table 2","l) Confirm if the \"ITPC class Loginal Node\" is implemented in the IEC 61850 implementation on the Teleprotection Equipment","Comply"]
[3.3,3.3,"General Requirements"]
["3.3.1","3.3.1","Housing of equipment and cabling facilities"]
["3.3.1a)","3.3.1a)","a) Comply with clause 3.3.1)a) of this specification","Comply"]
["3.3.1b)","3.3.1b)","b) Comply with clause 3.3.1)b) of this specification","Comply"]
["3.3.1c)","3.3.1c)","c) Comply with clause 3.3.1)c) of this specification","Comply"]
["3.3.1d)","3.3.1d)","d) Comply with clause 3.3.1)d) of this specification","Comply"]
["3.3.1e)","3.3.1e)","e) Comply with clause 3.3.1)e) of this specification","Comply"]
["3.3.1f)","3.3.1f)","f) Comply with clause 3.3.1)f) of this specification","Comply"]
["3.3.1g)","3.3.1g)","g) Comply with clause 3.3.1)g) of this specification","Comply"]
["3.3.2","3.3.2","Drawings and Instruction Manuals"]
["3.3.2a)","3.3.2a)","a) Comply with clause 3.3.2)a) of this specification","Comply"]
["3.3.2b)","3.3.2b)","b) Comply with clause 3.3.2)b) of this specification","Comply"]
["3.3.2c)","3.3.2c)","c) Comply with clause 3.3.2)c) of this specification","Comply"]
["3.3.2d)","3.3.2d)","d) Comply with clause 3.3.2)d) of this specification","Comply"]
["3.3.2e)","3.3.2e)","e) Comply with clause 3.3.2)e) of this specification","Comply"]
["3.3.2f)","3.3.2f)","f) Comply with clause 3.3.2)f) of this specification","Comply"]
["3.3.2g)","3.3.2g)","g) Comply with clause 3.3.2)g) of this specification","Comply"]
["3.3.2h)","3.3.2h)","h) Comply with clause 3.3.2)h) of this specification","Comply"]
["3.3.2i)","3.3.2i)","i) Comply with clause 3.3.2)i) of this specification","Comply"]
["3.3.2j)","3.3.2j)","j) Comply with clause 3.3.2)j) of this specification","Comply"]
["3.3.2k)","3.3.2k)","k) Comply with clause 3.3.2)k) of this specification","Comply"]
["3.3.2l)","3.3.2l)","l) Comply with clause 3.3.2)l) of this specification","Comply"]
["3.3.3","3.3.3","Tools, Test Equipment and Software"]
["3.3.3a)","3.3.3a)","a) Comply with clause 3.3.3)a) of this specification","Comply"]
["3.3.3b)","3.3.3b)","b) Comply with clause 3.3.3)b) of this specification","Comply"]
["3.3.3c)","3.3.3c)","c) Comply with clause 3.3.3)c) of this specification","Comply"]
["3.3.3d)","3.3.3d)","d) Comply with clause 3.3.3)d) of this specification","Comply"]
["3.3.3e)","3.3.3e)","e) Comply with clause 3.3.3)e) of this specification","Comply"]
[3.4,3.4,"Tests"]
["3.4.1","3.4.1","Test Certificates"]
["3.4.1a)","3.4.1a)","a) Comply with clause 3.4.1)a) of this specification","Comply"]
["3.4.1b)","3.4.1b)","b) Comply with clause 3.4.1)b) of this specification","Comply"]
["3.4.1c)","3.4.1c)","c) Comply with clause 3.4.1)c) of this specification","Comply"]
["3.4.2","3.4.2","Witnessing of Tests"]
["3.4.2a)","3.4.2a)","a) Comply with clause 3.4.2)a) of this specification","Comply"]
["3.4.2b)","3.4.2b)","b) Comply with clause 3.4.2)b) of this specification","Comply"]
["3.4.3","3.4.3","Routine Tests"]
["3.4.3a)","3.4.3a)","a) Comply with clause 3.4.3)a) of this specification","Comply"]
["3.4.3b)","3.4.3b)","b) Comply with clause 3.4.3)b) of this specification","Comply"]
["3.4.3c)","3.4.3c)","c) Comply with clause 3.4.3)c) of this specification","Comply"]
["3.4.3d)","3.4.3d)","d) Comply with clause 3.4.3)d) of this specification","Comply"]
["3.4.3e)","3.4.3e)","e) Comply with clause 3.4.3)e) of this specification","Comply"]
["3.4.3f)","3.4.3f)","f) Comply with clause 3.4.3)f) of this specification","Comply"]
["3.4.3g)","3.4.3g)","g) Comply with clause 3.4.3)g) of this specification","Comply"]
["3.4.4","3.4.4","Type Tests"]
["3.4.4a)","3.4.4a)","a) Comply with clause 3.4.4)a) of this specification","Comply"]
["3.4.4b)","3.4.4b)","b) Comply with clause 3.4.4)b) of this specification","Comply"]
["3.4.4c)","3.4.4c)","c) Comply with clause 3.4.4)c) of this specification","Comply"]
["3.4.4d)","3.4.4d)","d) Comply with clause 3.4.4)d) of this specification","Comply"]
["3.4.4e)","3.4.4e)","e) Comply with clause 3.4.4)e) of this specification","Comply"]
["3.4.4f)","3.4.4f)","f) Comply with clause 3.4.4)f) of this specification","Comply"]
["3.4.4g)","3.4.4g)","g) Comply with clause 3.4.4)g) of this specification","Comply"]
["3.4.4h)","3.4.4h)","h) Comply with clause 3.4.4)h) of this specification","Comply"]
["3.4.4i)","3.4.4i)","i) Comply with clause 3.4.4)i) of this specification","Comply"]
["3.4.4j)","3.4.4j)","j) Comply with clause 3.4.4)j) of this specification","Comply"]
["3.4.4k)","3.4.4k)","k) Comply with clause 3.4.4)k) of this specification","Comply"]
["3.4.4l)","3.4.4l)","l) Comply with clause 3.4.4)l) of this specification","Comply"]
["3.4.4m)","3.4.4m)","m) Comply with clause 3.4.4)m) of this specification","Comply"]
["3.4.4n)","3.4.4n)","n) Comply with clause 3.4.4)n) of this specification","Comply"]
["3.4.4o)","3.4.4o)","o) Comply with clause 3.4.4)o) of this specification","Comply"]
["3.4.4p)","3.4.4p)","p) Comply with clause 3.4.4)p) of this specification","Comply"]
["3.4.4q)","3.4.4q)","q) Comply with clause 3.4.4)q) of this specification","Comply"]
["3.4.4r)","3.4.4r)","r) Comply with clause 3.4.4)r) of this specification","Comply"]
["3.4.4s)","3.4.4s)","s) Comply with clause 3.4.4)s) of this specification","Comply"]
["3.4.4t)","3.4.4t)","t) Comply with clause 3.4.4)t) of this specification","Comply"]
["3.4.4u)","3.4.4u)","u) Comply with clause 3.4.4)u) of this specification","Comply"]
["3.4.4v)","3.4.4v)","v) Comply with clause 3.4.4)v) of this specification","Comply"]
["3.4.4w)","3.4.4w)","w) Comply with clause 3.4.4)w) of this specification","Comply"]
[3.5,3.5,"Marking, labelling and packaging"]
["3.5a)","3.5a)","a) Comply with clause 3.5)a) of this specification","Comply"]
["3.5b)","3.5b)","b) Comply with clause 3.5)b) of this specification","Comply"]
["3.5c)","3.5c)","c) Comply with clause 3.5)c) of this specification","Comply"]
["3.5d)","3.5d)","d) Comply with clause 3.5)d) of this specification","Comply"]
["3.5e)","3.5e)","e) Comply with clause 3.5)e) of this specification","Comply"]
["3.5f)","3.5f)","f) Comply with clause 3.5)f) of this specification","Comply"]
["3.5g)","3.5g)","g) Comply with clause 3.5)g) of this specification","Comply"]
["3.5h)","3.5h)","h) Comply with clause 3.5)h) of this specification","Comply"]
["3.5i)","3.5i)","i) Comply with clause 3.5)i) of this specification","Comply"]
[3.6,3.6,"Spares"]
["3.6a)","3.6a)","a) Comply with clause 3.6)a) of this specification","Comply"]
["3.6b)","3.6b)","b) Comply with clause 3.6)b) of this specification","Comply"]
["3.6c)","3.6c)","c) Comply with clause 3.6)c) of this specification","Comply"]
["3.6d)","3.6d)","d) Comply with clause 3.6)d) of this specification","Comply"]

{"sheet":"Sheet3","index":1,"n_rows":0,"n_cols":0,"rows_kept":0}