SUPPLY OF GOODS

CONTRACT

Bid for the Supply of Services for City Power

Johannesburg (SOC) Ltd

REQUEST FOR BID

Bid No 2485 GS

HOPEFIELD SUBSTATION UPGRADE

COMPANY NAME: ______________________

Closing Date: 13 December 2022

Time:	 11h00

Tel  +27(0) 11 490 7000

Fax +27(0) 11 490 7590

40 Heronmere Road         P.O.Box 38766

Reuven                             Booysens

Johannesburg                   2016

TABLE OF CONTENTS

PART 1: TENDERING PROCEDURE

  - INVITATION TO BID (MBD 1)

1.2	  TENDER DATA

1.4 	  CIDB STANDARD CONDITION OF TENDER

PART 2: PRICING DATA

2.1    PRICING INSTRUCTION

2.2    FIRM PRICES FORM (MBD 3.1)

2.3    PRICE SCHEDULE

PART 3: AGREEMENTS AND CONTRACT DATA

3.1    FORM OF ACCEPTANCE

3.2    CONTRACT DATA

3.3    FORMAL CONTRACT (MBD 7.1)

PART 4: RETURNABLE DOCUMENTS

4.1   RETURNABLE DOCUMENTS REQUIRED FOR EVALUATION PURPOSE

- Municipal Rates and Taxes (Not in arrears for more than 90 days)

- SHERQ Regulations

- Invitation to Bid ( MBD 1)

- Form of Offer ( MBD 3.1)

- Declaration of Interest Form ( MBD 4 )

- Declaration for Procurement above R10 000 000 ( MBD 5 )

- Preference Claim Form ( MBD 6.1 )

- Declaration Certificate for Local Content ( MDB 6.2 )

- Annexure C, D & E (Please refer to DTI website for further clarity)

- Declaration for Purchase of Goods (MBD 7.1)

- Declaration of Bidder’s past SCM practices ( MBD 8 )

- Certificate of Independent Bid Determination ( MBD 9 )

- Certified B-BBEE Certificate or Sworn Affidavit

- Valid Tax Clearance Certificate or SARS Pin

- Financial Statements for the past three years

- Central Supplier Database  (CSD) Registration Report

- Additional soft copy of the Bid Document must be submitted on Memory Stick

4.2   OTHER DOCUMENTS REQUIRED FOR EVALUATION PURPOSE

4.3   DOCUMENTS THAT WILL BE INCORPORATED IN THE CONTRACT

PART 5: SCOPE OF WORK

5.1    EVALUATION CRITERIA

5.2    PRICING SCHEDULE

5.3.   SPECIFICATIONS

  - TENDER NOTICE AND INVITATION TO TENDER

| YOU ARE HEREBY INVITED TO BID FOR REQUIREMENTS OF CITY POWER JOHANNESBURG SOC. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BID NUMBER: | 2485 GS | CLOSING DATE: |  | 13 December 2022 |  |  |  |  |  | CLOSING TIME: |  |  |  |  | 11:00 |
| DESCRIPTION | HOPEFIELD SUBSTATION UPGRADE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| THE SUCCESSFUL BIDDER WILL BE REQUIRED TO FILL IN AND SIGN A WRITTEN CONTRACT FORM (MBD7). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BID RESPONSE DOCUMENTS MAY BE DEPOSITED IN THE BID BOX SITUATED AT (STREET ADDRESS) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City Power Tender Advice Centre |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 40 Heronmere Road |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reuven |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Johannesburg |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bidders should ensure that bids are delivered timeously to the correct address. If the bid is late, it will not be accepted for consideration. The bid box is generally open 24 hours a day, 7 days a week. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SUPPLIER INFORMATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NAME OF BIDDER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| POSTAL ADDRESS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| STREET ADDRESS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TELEPHONE NUMBER |  | CODE |  |  |  |  |  | NUMBER |  |  |  |  |  |  |  |
| CELLPHONE NUMBER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FACSIMILE NUMBER |  | CODE |  |  |  |  |  | NUMBER |  |  |  |  |  |  |  |
| E-MAIL ADDRESS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| VAT REGISTRATION NUMBER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TAX COMPLIANCE STATUS |  | TCS PIN: |  |  |  | OR |  |  | CSD No: |  |  |  |  |  |  |
| B-BBEE STATUS LEVEL VERIFICATION CERTIFICATE [TICK APPLICABLE BOX] |  | Yes No |  |  |  | B-BBEE STATUS LEVEL SWORN AFFIDAVIT |  |  |  |  | Yes No |  |  |  |  |
| [A B-BBEE STATUS LEVEL VERIFICATION CERTIFICATE/ SWORN AFFIDAVIT (FOR EMES & QSEs) MUST BE SUBMITTED IN ORDER TO QUALIFY FOR PREFERENCE POINTS FOR B-BBEE] |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| #### ARE YOU THE ACCREDITED REPRESENTATIVE IN SOUTH AFRICA FOR THE GOODS /SERVICES /WORKS OFFERED? |  | Yes No [IF YES ENCLOSE PROOF] |  |  |  |  | - ARE YOU A FOREIGN BASED SUPPLIER FOR THE GOODS /SERVICES /WORKS OFFERED? |  |  |  |  |  |  | Yes No [IF YES, ANSWER PART B:3 ] |  |
| - TOTAL NUMBER OF ITEMS OFFERED |  |  |  |  |  |  | - TOTAL BID PRICE |  |  |  |  |  |  | R |  |
| - SIGNATURE OF BIDDER |  | ……………………………… |  |  |  |  | - DATE |  |  |  |  |  |  |  |  |
| - CAPACITY UNDER WHICH THIS BID IS SIGNED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BIDDING PROCEDURE ENQUIRIES MAY BE DIRECTED TO: |  |  |  |  | TECHNICAL INFORMATION MAY BE DIRECTED TO: |  |  |  |  |  |  |  |  |  |  |
| DEPARTMENT |  | SCM |  |  | CONTACT PERSON |  |  |  |  |  |  |  | Lucky Munyai |  |  |
| CONTACT PERSON |  | Lucky Munyai |  |  | TELEPHONE NUMBER |  |  |  |  |  |  |  | 011 490 7624 |  |  |
| TELEPHONE NUMBER |  | 011 490 7624 |  |  | FACSIMILE NUMBER |  |  |  |  |  |  |  |  |  |  |
| FACSIMILE NUMBER |  |  |  |  | E-MAIL ADDRESS |  |  |  |  |  |  |  | lmunyai@citypower.co.za |  |  |
| E-MAIL ADDRESS |  | lmunyai@citypower.co.za |  |  |  |  |  |  |  |  |  |  |  |  |  |

# INVITATION TO BID 		                                            MBD 1

PART B

TERMS AND CONDITIONS FOR BIDDING

- BID SUBMISSION:

- BIDS MUST BE DELIVERED BY THE STIPULATED TIME TO THE CORRECT ADDRESS. LATE BIDS WILL NOT BE ACCEPTED FOR CONSIDERATION. - ALL BIDS MUST BE SUBMITTED ON THE OFFICIAL FORMS PROVIDED–(NOT TO BE RE-TYPED) OR ONLINE - THIS BID IS SUBJECT TO THE PREFERENTIAL PROCUREMENT POLICY FRAMEWORK ACT AND THE PREFERENTIAL PROCUREMENT REGULATIONS, 2017, THE GENERAL CONDITIONS OF CONTRACT (GCC) AND, IF APPLICABLE, ANY OTHER SPECIAL CONDITIONS OF CONTRACT.

- TAX COMPLIANCE REQUIREMENTS

- BIDDERS MUST ENSURE COMPLIANCE WITH THEIR TAX OBLIGATIONS. - BIDDERS ARE REQUIRED TO SUBMIT THEIR UNIQUE PERSONAL IDENTIFICATION NUMBER (PIN) ISSUED BY SARS TO ENABLE THE ORGAN OF STATE TO VIEW THE TAXPAYER’S PROFILE AND TAX STATUS. - APPLICATION FOR THE TAX COMPLIANCE STATUS (TCS) CERTIFICATE OR PIN MAY ALSO BE MADE VIA E-FILING. IN ORDER TO USE THIS PROVISION, TAXPAYERS WILL NEED TO REGISTER WITH SARS AS E-FILERS THROUGH THE WEBSITE WWW.SARS.GOV.ZA. - FOREIGN SUPPLIERS MUST COMPLETE THE PRE-AWARD QUESTIONNAIRE IN PART B: 3. - BIDDERS MAY ALSO SUBMIT A PRINTED TCS CERTIFICATE TOGETHER WITH THE BID. - IN BIDS WHERE CONSORTIA / JOINT VENTURES / SUB-CONTRACTORS ARE INVOLVED, EACH PARTY MUST SUBMIT A SEPARATE TCS CERTIFICATE / PIN / CSD NUMBER. - WHERE NO TCS IS AVAILABLE BUT THE BIDDER IS REGISTERED ON THE CENTRAL SUPPLIER DATABASE (CSD), A CSD NUMBER MUST BE PROVIDED.

- QUESTIONNAIRE TO BIDDING FOREIGN SUPPLIERS

- IS THE ENTITY A RESIDENT OF THE REPUBLIC OF SOUTH AFRICA (RSA)? YES NO - DOES THE ENTITY HAVE A BRANCH IN THE RSA? YES NO - DOES THE ENTITY HAVE A PERMANENT ESTABLISHMENT IN THE RSA? YES NO - DOES THE ENTITY HAVE ANY SOURCE OF INCOME IN THE RSA? YES NO - IS THE ENTITY LIABLE IN THE RSA FOR ANY FORM OF TAXATION? YES NO IF THE ANSWER IS “NO” TO ALL OF THE ABOVE, THEN IT IS NOT A REQUIREMENT TO REGISTER FOR A TAX COMPLIANCE STATUS SYSTEM PIN CODE FROM THE SOUTH AFRICAN REVENUE SERVICE (SARS) AND IF NOT REGISTER AS PER 2.3 ABOVE.

NB: FAILURE TO PROVIDE ANY OF THE ABOVE PARTICULARS MAY RENDER THE BID INVALID.

NO BIDS WILL BE CONSIDERED FROM PERSONS IN THE SERVICE OF THE STATE.

SIGNATURE OF BIDDER:					……………………………………………

CAPACITY UNDER WHICH THIS BID IS SIGNED:	……………………………………………

DATE:								…………………………………………...

ANY ENQUIRIES REGARDING THE BIDDING PROCEDURE MAY BE DIRECTED TO:

Municipality / Municipal Entity:   City Power

Department:   Supply Chain Management

Contact Person:    Lucky Munyai

Tel:   011 490 7624

E-mail: lmunyai@citypower.co.za

ANY ENQUIRIES REGARDING TECHNICAL INFORMATION MAY BE DIRECTED TO:

Contact Person:    Lucky Munyai

Tel:   011 490 7624

E-mail: lmunyai@citypower.co.za

REPORT FRAUD AND CORRUPTION TO EITHER OF THE FOLLOWING SERVICES;

TOLL FREE – 0800 002 587

FAX – 0800 007 788

E-mail: anticorruption@tip-offs.com

  - TENDER DATA

The conditions of tender are the Standard Conditions of Tender as contained in Annex F of the CIDB Standard for Uniformity in Construction Procurement ( July 2015). (See www.cidb.org.za)

The Standard Conditions of Tender make several references to the Tender Data for details that apply specifically to this tender. The Tender Data shall have precedence in the interpretation of any ambiguity or inconsistency between it and the standard conditions of tender. Each item data given below is cross-referenced to the clause in the Standard Conditions of Tender to which it mainly applies.

The CIDB Standard Condition of Tender, as contained in Annex F of the Standard for Uniformity published on July 2015 are included in this document.

F1.1	The employer is City Power Johannesburg (SOC) Ltd

F1.2	The tender documents issued by the employer comprise:

Part 1: Tendering procedure

1.1    Invitation to Bid (MBD 1)

1.2    Tender data

1.4    CIDB Standard conditions of tender (updated July 2015)

Part 2: Pricing data

2.1    Pricing instruction

2.2    Firm Prices Form (MBD 3.1)

2.3    Price Schedule

Part 3: Agreements and contract data

3.1   Form of acceptance

3.2   Contract data

3.3   Formal contract (MBD 7.1)

Part 4: Returnable documents

  - Returnable documents required for evaluation purpose

- Municipal Rates and Taxes (Not in arrears for more than 90 days)

- SHERQ Regulations

- Invitation to Bid ( MDB 1)

- Firm prices (MBD 3.1)

- Declaration of Interest Form ( MBD 4 )

- Declaration for Procurement above R10 000 000 ( MBD 5)

- Preference Claim Form ( MBD 6.1)

- Declaration  for Local Content ( MDB 6.2)

- Annexure C, D & E (Please refer to DTI website for further clarity)

- Declaration for Purchase of Goods (MBD 7.1)

- Declaration of Bidder’s past SCM practices ( MBD 8)

- Certificate of Independent Bid Determination ( MBD 9)

- Certified B-BBEE Certificate or Sworn Affidavit

- Valid Tax Clearance Certificate or SARS Pin

- Financial Statements for the past three years

- Central Supplier Database  (CSD) Registration Report

- Additional soft copy of the Bid Document must be submitted on Memory Stick

4.2   Other documents required for evaluation purpose

4.3   Documents that will be incorporated in the contract

Part 5: Scope of work

5.1   Evaluation Criteria

5.2   Pricing Schedule

5.3   Specifications

F1.4	The employer’s agent is:

Name: Lucky Munyai

Address: 40 Heronmere Road, Booysens, Johannesburg

Tel: (011) 490 7624

E-mail: lmunyai@citypower.co.za

F2.1	Only those bidders who satisfy the eligibility criteria are eligible to submit tenders and the tenderer, or his principals, is not under any restriction to do business with employer.

F2.7	The arrangements for a NON-COMPULSORY clarification meeting are:

Location:	HOPEFIELD SUBSTATION

PORTION 162 OF FARM ELANDSFONTEIN 308 IQ

WEST OF ENNERDALE AND SOUTH OF LAWLEY

THE COORDINATES ARE (-26.409111,27817310)

Date: 22 November 2022

Starting time: 10h00

F2.12	If a tenderer wishes to submit an alternative offer, the only criteria permitted for such alternative offer is that it demonstrably satisfies the Employer’s standards and requirements, the details of which may be obtained from the Employer’s agent.

Acceptance of an alternative offer will mean acceptance in principle of the offer. It will be an obligation of the contract for the tenderer, in the event that the alternative is accepted, to accept full responsibility and liability that the alternative offer complies in all respects with the Employer’s standards and requirements.

F2.13.2 Return all returnable documents after completing and signing them in their entirely.

F2.13.3 Parts of each tender offer communicated on paper shall be submitted as an original, plus two copies

F2.13.5 The employer’s address for delivery of tender offer and identification details to be shown on each tender offer package are:

Location of tender box: City Power Head Office Tender Advice Centre

Physical address: 40 Heronmere Road, Reuven

Identification details: Tender no: 2485 GS

Postal address: P.O. Box 38766, Booysens, 2016

F2.13.6 A two envelope system will not be followed

F2.15	The closing time for submission of tender offers is as stated in the Notice and Invitation to Tender. Telephonic, telegraphic, telex, facsimile or e-mailed tender offers will not be accepted.

Questions for clarification of issues will be considered by the City Power up to the close of business five working days before the closing date and time.

F2.16	The tender offer is validity period is 150 days.

F2.16.2 The tender must consider extending the validity period if requested by the Purchaser.

F3.4	Tender offers/quotes will be opened by City Power SCM unit, in accordance with City Power procurement policy, in the presence of City Power Legal Representative.

F3.11 Method 2 will be used to evaluate the offers

The minimum threshold for functionality is 85% (Only bidders who obtain 85% and above will be evaluated further on Price and B-BBEE)

City Power Johannesburg reserves the right to award the bid to a maximum of one (1) Bidder. The duration of the contract is three (3) years.

THE 90/10 PREFERENCE POINT SYSTEMS

A maximum of 90 points is allocated for price on the following basis:

# 90/10

Where

Ps 	=       Points scored for price of bid under consideration

Pt		=	Rand value of bid under consideration

Pmin	=	Rand value of lowest acceptable bid

Points awarded for B-BBEE Status Level of Contribution

In terms of Regulation 5 (2) and 6 (2) of the Preferential Procurement Regulations, preference points must be awarded to a bidder for attaining the B-BBEE status level of contribution in accordance with the table below:

| B-BBEE Status Level of Contributor | Number of points (90/10 system) | Number of points (80/20 system) |
| --- | --- | --- |
| 1 | 10 | 20 |
| 2 | 9 | 18 |
| 3 | 6 | 14 |
| 4 | 5 | 12 |
| 5 | 4 | 8 |
| 6 | 3 | 6 |
| 7 | 2 | 4 |
| 8 | 1 | 2 |
| Non-compliant contributor | 0 | 0 |

F3.13.1 Tenders will only be accepted if:

- The tenderer has in his or her possession an original valid tax clearance certificate or pin issued by the South African Revenue Services

- The tenderer is registered with Central System Database (CSD)

- The tenderer is not in arrears for more than 3 months with municipal rates and taxes and municipal service charges

- The tenderer or any of its directors is not listed on the Register of Tender Defaulters in terms of the Prevention and Combating of Corrupt Activities Act of 2004 as a person prohibited from doing business with the public sector

- The tenderer has not:

- Abused the Employer’s Supply Chain Management System; or

- Failed to perform on any previous contract and has been given a written notice to this effect

- Has completed the Declaration of Interest Form and there are no conflicts of interest which may impact on the tenderer’s ability to perform the contract in the best interest of the employer or potentially compromise the tender process.

F3.18 The number of paper copies of the signed contract to be provided by the employer is one.

1.4                             CIDB STANDARD CONDITIONS OF TENDER

Annex F

(normative)

Standard Conditions of Tender

F.l General

F.l.l Actions

F.1.1.1 The employer and each tenderer submitting a tender offer shall comply with these conditions of tender. In their dealings with other, they shall discharge their duties and obligations as set out in F.2and F.3, timeously and with integrity, and behave equitably, honestly and transparently, comply with all legal obligations and not engage in anticompetitive practices.

F.1.1.2 The employer and the tenderer and all their agents and employees involved in the tender process shall avoid conflicts of interest and where a conflict of interest is perceived or known, declare any potential conflict of interest in their tender submissions. Employees, agents and advisors of the employer shall declare any conflict of interest to whoever is responsible for overseeing the procurement process at the start of any deliberations relating to the procurement process or as soon as they become aware of such conflict, and abstain from any decisions where such conflict exists or recuse themselves from the procurement process, as appropriate

Note	1) A conflict of interest may arise due to a conflict or roles which might provide an incentive for improper acts

in some circumstances. A conflict of interest can create an appearance of impropriety that can undermine confidence in the ability of that person to act properly in his or her position even if no improper acts result.

Note	2) Conflicts of interest in respect of those engaged in the procurement process include direct, indirect or family interests in the tender or outcome of the procurement process and any bias, inclination, obligation, allegiance or loyalty which in way affect any decisions taken.

F.1.1.3  The employer shall not seek and a tenderer shall not submit a tender without having a firm intention and the capacity to proceed with the contract.

F.1.2 Tender Documents

The documents issued by the employer for the purpose of a tender offer are listed in the tender data.

F.1.3 Interpretation

F.1.3.1 The tender data additional requirements contained in the tender schedules that are included in the returnable documents are deemed to be part of these conditions of tender.

F.1.3.2 These conditions of tender, the tender data and tender schedules which are only required for

tender evaluation purposes, shall not form part of any contract arising from the invitation to tender.

F.1.3.3 For the purposes of these conditions for the calling for expressions of interest, the following definitions apply:

- conflict of interest means any situation in which:

- someone in a position of trust has competing professional or personal interests which make it difficult to fulfill his or her duties impartially;

- an individual or organization is in a position to exploit a professional or official capacity in some way for their personal or corporate benefit: or

- incompatibility or contradictory interests exist between an employee and the organization which employs that employee.

- comparative offer means the tenderer’s financial offer after the factors of non-firm prices, all unconditional discounts and any other tendered parameters that will affect the value of the financial offer have been taken into consideration

- corrupt practice means the offering, giving, receiving or soliciting of anything of value to influence the action of the employer or his staff or agents in the tender process;

- fraudulent practice means the misrepresentation of the facts in order to influence the tender process

or the award of a contract arising from a tender offer to the detriment of the employer, including collusive practices intended to establish prices at artificial levels

- organization means a company, firm, enterprise, association or other legal entity, whether incorporated or not, or a public body

- quality (functionality) means the totality of features and characteristics of a product or service that bear on its ability to satisfy stated or implied need

F.1.4 Communication and employer’s agent

Each communication between the employer and a tenderer shall be to or from the employer’s agent only, and in a form that can be read, copied and recorded. Writing shall be in the English language. The employer shall not take any responsibility for non-receipt of communications from or by a tenderer. The name and contact details of the employer’s agent are stated in the tender data.

F.1.5 The employer’s right to accept or reject any tender offer

F.1.5.1 The employer may accept or reject any variation, deviation, tender offer, or alternative tender offer, and may cancel the tender process and reject all tender offers at any time before the formation f a contract. The employer shall not accept or incur any liability to a tenderer for such cancellation and rejection, but will give written reasons for such action upon written request to do so.

F.1.5.2 The employer may not subsequent to the cancellation or abandonment of a tender processor the rejection of all responsive tender offers re-issue a tender covering substantially the same scope of work within a period of six months unless only one tender was received and such tender was returned unopened to the tenderer.

F.1.6 Procurement Procedures

F1.6.1 General

Unless otherwise stated in the tender data, a contract will, subject to F.3.13, be concluded with the tenderer who in terms of F.3.11 is the highest ranked or the tenderer scoring the highest number of tender evaluation points, as relevant, based on the tender submissions that are received at the closing time of tenders.

F.1.6.2 Competitive negotiation procedure

F.1.6.2.1  Where the tender data require that the competitive negotiating procedure is to be followed, tenders shall submit tender offers in response to the proposed contract in the first round of submissions. Notwithstanding the requirements of F.3.4, the employer shall announce only the names of the tenders who make a submission. The requirements of F.3.8 relating to the material deviations or qualifications which affect the competitive position of tenders shall not apply.

F.1.6.2.2  All responsive tenderers, or not less than three responsive tenderers that are highest ranked in terms of the evaluation method and evaluation criteria stated in the tender data, shall be invited in each round to enter into competitive negotiations, based on the principle of equal treatment and keeping confidential the proposed solutions and associated information. Notwithstanding the provision of F.2.17, the employer may request that tenders be clarified, specified and fine-tuned in order to improve a tenderer’s competitive position provided that such clarification, specification, fine-tuning or additional information does not alter any fundamental aspects of the offers or impose substantial new requirements which restrict or distort competition or have discriminatory effect.

F.1.6.2.3  At the conclusion of each round of negotiations, tenderers shall be invited by the employer to make a fresh tender offer, based on the same evaluation criteria, with or without adjusted weightings. Tenderers shall be advised when they are to submit their best and final offer.

F.1.6.2.4  The contract shall be awarded in accordance  with the provisions of F.3.11 and F.3.13 after tenderers have been requested to submit their best and final offer.

F.1.6.3 Proposed procedure using the two-stage system

F.1.6.3.1 Option 1

Tenderers shall in the first stage submit technical proposals and, if required, cost parameters around which a contract may be negotiated. The employer shall evaluate each responsive submission in terms of the method of evaluation stated in the tender data, and in the second stage negotiate a contract with the tender scoring the highest number of evaluation points and award the contract in terms of these conditions of tender.

F.1.6.3.2 Option 2

F.1.6.3.2.1 Tenderers shall submit in the first stage only technical proposals. The employer shall invite all responsive tenderers to submit tender offers in the second stage, following the issuing of procurement documents.

F.1.6.3.2.2 The employer shall evaluate tenders received during the second stage in terms of the method of evaluation stated in the tender data, and award the contract in terms of these conditions of tender.

F.2 Tenderer’s Obligations

F.2.1 Eligibility

F.2.1.1 Submit a tender offer only if the tenderer satisfies the criteria stated in the tender data and the tenderer, or any of his principals, is not under any restriction to do business with employer.

F.2.1.2 Notify the employer of any proposed material change in the capabilities or information of the tendering entity (or both) or any other criteria which formed part of the qualifying requirements used by the employer as the basis in a prior process to invite the tenderer to submit a tender offer and obtain the employer’s written approval to do so prior to the closing time for tenders.

F.2.2 Cost of tendering

Accept that the employer will not compensate the tenderer for any costs incurred in the preparation and submission of a tender offer, including the costs of any testing necessary to demonstrate that aspects of the offer satisfy requirements.

F.2.3 Check documents

Check the tender documents on receipt for completeness and notify the employer of any discrepancy or omission.

F.2.4 Confidentiality and copyright of documents

Treat as confidential all matters arising in connection with the tender. Use and copy the documents issued by the employer only for the purpose of preparing and submitting a tender offer in response to the invitation

F.2.5 Reference documents

Obtain, as necessary for submitting a tender offer, copies of the latest versions of standards, specifications, conditions of contract and other which are not attached but which are incorporated into the tender documents by reference.

F.2.6 Acknowledge addenda

Acknowledge receipt of addenda to the tender documents, which the employer may issue, and if necessary apply for an extension to the closing time stated in the tender data, in order to take the addenda into account.

F.2.7 Clarification meeting

Attend, where required, a clarification meeting at which tenderers may familiarize themselves with aspects of the proposed work, services or supply and raise questions. Details of the meetings are stated in the data.

F.2.8 Seek clarification

Request clarification of the tender documents, if necessary, by notifying the employer at least five working days before the closing time stated in the tender data.

F.2.9 Insurance

Be aware that the extent of insurance to be provided by the employer (if any) might not be for the full cover required in of the conditions of contract identified in the contract data. The tenderer is advised to seek qualified advice regarding insurance.

F.2.10 the tender offer

Include in the rates, prices, and the tendered total of the prices (if any) all duties, (except Value Added Tax (VAT), and other levies payable by the successful tenderer, such duties, taxes and levies being t hose applicable 14 days before the closing time stated in the tender data.VAT payable by the employer separately as an addition to the tendered total of the

prices.

F.2.10.3 Provide rates and prices that are fixed for the duration of the contract and not subject to adjustment except as provided for in the conditions of identified in the contract data

F.2.10.4 State the rates and prices in Rand unless instructed otherwise in the tender data. The conditions of contract identified in the data may provide for part payment in other currencies.

F.2.11 Alterations to documents

Not make any alterations or additions to the tender documents, except to comply with instructions issued by the employer, or necessary to correct errors made by the tenderer. All signatories to the tender offer shall initial all such alterations. Erasures and the use of masking fluid are prohibited.

F.2.12 tender offers

F.2.12.1 Submit alternative tender offers only if a main tender offer, strictly in accordance with all the requirements of the tender documents, is also submitted. The alternative tender offer is to be submitted with the main tender offer together with a schedule that compares the requirements of the tender documents with the alternative requirements the tenderer proposes.

F.2.12.2 Accept that an alternative tender offer may be based only on the criteria stated in the tender data or criteria otherwise acceptable to the employer.

F.2.13 submitting a tender offer

F.2.13.1 Submit a tender offer to provide the whole of the works, services or supply identified in the contract data and described in the scope of works, unless stated otherwise in the tender data.

F.2.13.2 Return all returnable documents to the employer after completing them in their entirety, either electronically (ithey were issued in electronic format) or by writing in Mack ink.

F.2.13.3 Submit the parts of the tender offer communicated on paper as an original plus the number of copies stated in the tender data, with an English translation of documentation in a language other than English, and the parts communicated electronically in the same format as they were issued by the employer.

F.2.13.4 Sign the original and all copies of the tender offer where required in terms of the tender data. The employer will hold all authorized signatories liable on behalf of the tenderer. Signatories for tenderers proposing to contract as joint ventures shall state which of the signatories is the lead partner whom the employer shall hold liable for the purpose of the tender offer.

F.2.13.5 Seal the original and each copy of the tender offer as separate packages marking the packages as and ”COPY”. Each package shall state on the outside the employer’s address and identification details stated in the tender data, as well as the tenderer’s name and contact address.

F.2.13.6 Where a two-envelope system is required in terms of the tender data, place and seal the returnable documents listed in the tender data in an envelope marked “financial proposal” and place the remaining returnable documents in an envelope marked “technical proposal”. Each envelope shall state on the outside the employer’s address and identification details stated in the tender data, as well as the tenderer‘s name and contact address.

F.2.13.7 Seal the original tender offer and copy packages together in an outer package that states on the outside only the employer‘s address and identification details as stated in the tender data. F.2.13.8 Accept that the employer will not assume any responsibility for the premature opening of the tender offer if the outer package is not sealed and marked as stated.

F.2.14 Information and data to be completed in all respects

Accept that tender offers, which do not provide all the data or information requested completely and in the form required, may be regarded by the employer as non-responsive.

F.2.15 Closing time

F.2.15.1 Ensure that the employer receives the tender offer at the address specified in the tender data not later than the closing time stated in the tender data. Proof of shall not be accepted as proof of delivery. The employer shall not accept tender offers submitted by telegraph, telex, facsimile or e-mail, unless stated otherwise in the tender data.

F.2.15.2 Accept that, if the employer extends the closing time stated in the tender data for any reason, the requirements of these conditions of tender apply equally to the extended deadline.

F.2.16 Tender offer validity

F.2.16.1 Hold the tender valid for acceptance by the employer at any time during the validity period stated in the tender data after the closing time stated in the tender data.

F.2.16.2 If requested by the employer, consider extending the validity period stated in the tender data for an agreed additional period.

F.2.17 of tender offer after submission

Provide clarification of a tender offer in response to a request to do so from the employer during the evaluation of tender offers. This may include providing a breakdown of rates or prices and correction of arithmetical errors by the adjustment of certain rates or item prices (Or both). No change in the competitive position of tenderers or substance of the tender offer is sought, offered, or permitted.

Note: F.2.17does not preclude the negotiation of the final terms of the contract with a preferred tenderer following a competitive selection process, should the Employer elect to do so.

F.2.18 Provide other material

F.2.18.1 Provide, on request by the employer, any other material that has a bearing on the tender offer, the tenderer’s commercial position (including notarized joint venture agreements), preferencing arrangements, or samples of materials, considered necessary by the employer for the purpose of a full and fair risk assessment. Should the tenderer not provide the material, or a satisfactory reason as to why it cannot be provided, by the time for submission stated in the employer’s request, the employer may regard the tender offer as non-responsive.

F.2.18.2 Dispose of samples of materials provided for evaluation by the employer, where required.

F.2.19 Inspections, tests and analysis

Provide access during working hours to premises for or inspections, tests and analysis as provided for in the tender data. All Factory Routine Testing for the commodities awarded, will be required to be done during Proto-Type Inspection, Testing & Approval

F.2.20 bonds, policies, etc.

If requested, submit for the employer’s acceptance before formation of the contract, all securities, bonds, guarantees, policies and certificates of insurance required in terms of the conditions of contract identified in the contract data.

F.2.21 Check final draft

Check the final draft of the contract provided by the employer within the time available for the employer to issue the contract.

F.2.22 Return of other tender documents

If instructed by the employer, return all retained tender documents within 28 days after the expiry of the validity period stated in the tender data.

F.2.23 Certificates

Include in the tender submission or provide the employer with any certificates as stated in the tender data.

F.3 The employer’s undertakings

F.3.1 Respond to clarification

Respond to a request for clarification received up to five working days before the tender closing time stated in the Tender Data and notify all tenderers who drew procurement documents.

F.3.2 Issue Addenda

If necessary, issue addenda that amend or amplify the tender documents to each tenderer during the period from the date that tender documents are available until seven days before the tender closing time stated in the Tender Data. If, as a result a tenderer applies for an extension to the closing time stated in the Tender Data, the Employer may grant such extension and, shall then notify all tenderers who drew documents.

F.3.3 Return late tender offers

Return tender offers received after the closing time stated in the Tender Data, unopened, (unless it is necessary to open a tender submission to obtain a forwarding address), to the tenderer concerned.

F.3.4 of tender submissions

F.3.4.1 Unless the two-envelope system is to be followed, open valid tender submissions in the presence of tenderers’ agents who choose to attend at the time and place stated in the tender data. Tender submissions for which acceptable reasons for withdrawal have been submitted will not be opened.

F.3.4.2 Announce at the meeting held immediately after the opening of tender submissions, at a venue indicated in the tender data, the name of each tenderer whose tender offer is opened, the total of his prices, preferences claimed and time for completion, if any, for the main tender offer only.

F.3.4.3 Make available the record outlined in to all interested persons upon request.

F.3.5 Two-envelope system

F.3.5.1 Where stated in the tender data that a two-envelope system is to be followed, open the technical proposal of valid tenders in the presence of tenderers’ agents who choose to attend at the time and place stated in the tender data and announce the name of each tenderer whose technical proposal is opened.

F.3.5.2 Evaluate the of the technical proposals offered by tenderers, then advise tenderers who remain in contention for the award of the contract of the time and place when the financial proposals will be opened. Open only the financial proposals of tenderers, who score in the quality evaluation more than the minimum number of points for quality stated in the tender data, and announce the score obtained for the technical proposals and the total price and any preferences claimed. Return unopened financial proposals to tenderers whose technical proposals failed to achieve the minimum number of points for quality.

F.3.6 Non-disclosure

Not disclose to tenderers, or to any other person not officially concerned with such processes, information relating to the evaluation and comparison of tender offers, the final evaluation price and recommendations for the award of a contract, until after the award of the contract to the successful tenderer.

F.3.7 Grounds for rejection

Determine whether there has been any effort by a tenderer to influence the processing of tender offers and instantly disqualify a tenderer (and his tender offer) if it is established that he engaged in corrupt or fraudulent practices.

F.3.8 Test for responsiveness

F.3.8.1 Determine, after opening and before detailed evaluation, whether each tender offer properly received:

a) complies with the requirements of these Conditions of Tender,

b) has been properly and fully completed and signed, and

c) is responsive to the other requirements of the tender documents.

F.3.8.2 A responsive tender is one that conforms to all the terms, conditions, and specifications of the tender documents without material deviation or qualification. A material deviation or qualification is one which, in the Employer's opinion, would:

a) detrimentally affect the scope, quality, or performance of the works, services or supply identified in the Scope of Work,

b) change the Employer's or the tenderer's risks and responsibilities under the contract, or

c) affect the competitive position of other tenderers presenting responsive tenders, if it were to be rectified.

Reject a non-responsive tender offer, and not allow it to be subsequently made responsive correction or withdrawal of the non-conforming deviation or reservation.

F.3.9 Arithmetical errors

F.3.9.1 Check responsive tender offers for arithmetical errors, correcting them in the following manner:

a) Where there is a discrepancy between the amounts in figures and in words, the amount in words shall govern.

b) If bills of quantities (or schedule of quantities or schedule of rates) apply and there is an error in the line item total resulting from the product of the unit rate and the quantity, the line item total shall govern and the rate shall be corrected. Where there is an obviously gross misplacement of the decimal point in the unit rate, the line item total as quoted shall govern, and the unit rate shall be corrected.

c) Where there is an error in the total of the prices either as a result of other corrections required by this checking process or in the tenderer's addition of prices, the total of the prices shall govern

and the tenderer will be asked to revise selected item prices (and their rates if bills of quantities

F.3.9.2 Consider the rejection of a tender offer if the tenderer does not correct or accept the correction of his arithmetical errors in the manner described in F.3.9.1.

F.3.10 Clarification of a tender offer

Obtain clarification from a tenderer on any matter that could give rise to ambiguity in a contract arising from the tender offer.

F.3.11 Evaluation of tender offers

F.3.11.1 General

Appoint an evaluation panel of not less than three persons. Reduce each responsive tender offer to a comparative offer and evaluate it using the tender evaluation method that is indicated in the Tender Data described below:

| Method 1: Financial offer | 1. Rank tender offers from the most favourable to the least favourable comparative offer. 2. Recommend highest ranked tenderer for the award of the contract, unless there are compelling and justifiable reasons not to do so. |
| --- | --- |
| Method 2: Financial offer and preferences | 1.Score tender evaluation points for financial offer 2. Confirm that tenderers are eligible for the preferences claimed and if so, score Tender evaluation points for preferencing 3) Calculate total tender evaluation points. 4. Rank tender offers from the highest number of tender evaluation points to the lowest. 5) Recommend tenderer with the highest number of tender evaluation points for The award of the contract, unless there are compelling and justifiable reasons not to do so. |
| Method 3: Financial offer and Quality | 1.Score quality, rejecting all tender offers that fail to score the minimum number of points for Quality stated in the Tender data 2. Score tender evaluation points for financial offer 3. Calculate total tender evaluation points 4. Rank tender offers from the highest number of tender evaluation to the lowest 5) Recommend tenderer with the highest number of tender evaluation points for the award of the contract, unless there are compelling and justifiable reasons not to do so. |
| Method 4: Financial offer, quality And preferences Preferences | 1.Score quality, rejecting all tender offers that fail to score the minimum number of points for Quality stated in the Tender data 2. Score tender evaluation points for financial offer 3. Confirm that tenderers are eligible for the preferences claimed, and if so, score tender evaluation points for preferencing 3. Calculate total tender evaluation points 4. Rank tender offers from the highest number of tender evaluation to the lowest 5) Rank tender offers from the highest number of tender evaluation points to the lowest. 6) Recommend tenderer with the highest number of tender evaluation points for the award of the contract, unless there are compelling and justifiable reasons not to do so. |

Where:

Pm  = the comparative offer of the most favourable tender offer.

P     = the comparative offer of tender offer under consideration.

F.3.11.3 Scoring quality (functionality)

Score quality in each of the categories in accordance with the Tender Data and calculate total score

for quality.

F.3.12 Insurance provided by the employer

If requested by the proposed successful tenderer, submit for the tenderer's information the policies and or certificates of insurance which the conditions of contract identified in the contract data, require the employer to provide.

F.3.13 Acceptance of tender offer

F.3.13.1 Accept tender offer only if the tenderer complies with the legal requirements stated in the Tender Data.

F.3.13.2 Notify the successful tenderer of the employer's acceptance of his tender offer by completing and returning one copy of the form of offer and acceptance before the expiry of the validity period stated in the tender data, or agreed additional period. Providing the form of offer acceptance does not contain any qualifying statements, it will constitute the formation of a contract between the employer and the successful tenderer as described in the form of offer and acceptance.

F.3.14 Notice to unsuccessful tenderers

After the successful tenderer has acknowledged the employer's notice Of acceptance, notify other tenderers that their tender offers have not been accepted.

F.3.15. Prepare contract documents

If necessary, revise documents that shall form part of the contract and that were issued by employer as part of the tender documents to take account of:

a) addenda issued during the tender period

b) inclusion of some of the returnable documents

c) other revisions agreed between the employer and the successful tenderer, and

d) the schedule of deviations attached o the form of offer and acceptance, if any.

F.3.16 Issue final contract

Prepare and issue the final draft of contract documents to the successful tenderer for acceptance as soon as possible after the date of the employer's signing of the form of offer and acceptance (including the schedule of deviations, if any). Only those documents that the conditions of tender require the tenderer to submit, after acceptance by the employer, shall be included.

F.3.17 Complete adjudicator's contract

Unless alternative arrangements have been agreed or otherwise provided for in the contract, arrange for both patties to complete formalities for appointing the selected adjudicator at the same time as the main contract is signed.

F.3.18 Provide copies of the contracts

Provide to the successful tenderer the number of copies stated in the Tender Data of the signed copy of the contract as soon as possible after completion and signing of the form of offer and acceptance.

F.3.19 Provide written reasons for actions taken

Provide upon request written reasons to tenderers for any action that is taken in applying these conditions of tender, but withhold information which is not in the public interest to be divulged, which is considered to prejudice the legitimate commercial interests of tenderers or might prejudice fair competition between tenderers.

MBD 3.1

###### PRICING SCHEDULE – FIRM PRICES

(PURCHASES)

NOTE:	PRICE ADJUSTMENTS WILL BE ALLOWED AT THE PERIODS AND TIMES SPECIFIED IN THE BIDDING DOCUMENTS (INCLUDING PRICES SUBJECT TO RATES OF EXCHANGE VARIATIONS)

IN CASES WHERE DIFFERENT DELIVERY POINTS INFLUENCE THE PRICING, A SEPARATE

PRICING SCHEDULE MUST BE SUBMITTED FOR EACH DELIVERY POINT

Name of Bidder…………………………………… Bid Number…………………... Closing Time ……………. ….. Closing Date ………………………..

OFFER TO BE VALID FOR………….DAYS FROM THE CLOSING DATE OF BID.

__________________________________________________________________________

ITEM	QUANTITY	DESCRIPTION		BID PRICE IN RSA CURRENCY

NO.							** (ALL APPLICABLE TAXES EXCLUDED)

1		1		Cost per unit		R

Note:

- Required by:					………………………………….

-	At:						………………………………….

- Brand and Model				………………………………….

- Country of Origin		………………………………….

-	Does the offer comply with the specification(s)?			*YES/NO

- If not to specification, indicate deviation(s)	………………………………….

- Period required for delivery			………………………………….

- Delivery basis					…………………………………….

Note:	All delivery costs must be included in the bid price, for delivery at the prescribed destination.

** “all applicable taxes” excludes  value- added tax, pay as you earn, income tax, unemployment  insurance fund contributions and skills development levies.

## PART 3: AGREEMENTS AND CONTRACT DATA

3.1       FORM OF OFFER

The Chief Executive Officer

CITY POWER Johannesburg

Reuven, JOHANNESBURG

SIR, I (or We), the undersigned hereby BID and should this BID be accepted, undertake to supply and deliver the GOODS AND SERVICES as described and referred to in the Specification, Schedule of Quantities, Drawings and Schedule of Prices Conditions of Contract, and have no objection to enter into the formal Contract with the said City Power, embodying the said Conditions of Contract, Specifications, Schedule of Quantities, Drawings and Schedule of Prices, in consideration of the sum (Inclusive of Value Added Tax)  section of the scope as indicated under the headings below.

| ### R |  |  |  |  |  |  |  |  |  |  |  | . |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Amount in Figures (VAT Incl.) |  |

|  | Amount in Words |
| --- | --- |

based on the provisional quantities specified and unit rates incorporated by me (or us) in the said Schedule of Quantities and Schedule of Prices or such other sum as may be ascertained in accordance with the aforementioned documents.

| Name of Authorised Person | Signature of Authorised Person | Date |
| --- | --- | --- |

If the Bidder is a Company, Corporation or Firm, state by what authority the person signing does so, whether by Articles of Association, Resolution, Power of Attorney, or otherwise.

I (We) ___________________________________ am (are) authorised to enter into this contract on behalf of

______________________________ by virtue of ____________________

dated the ______ day of ________________ 20____, a certified copy of which is attached to this BID.

WITNESSES: ____________________________          ____________________________

Signature				       Date

This section must be completed in full.

MBD 7.1

# CONTRACT FORM - PURCHASE OF GOODS/WORKS

THIS FORM MUST BE FILLED IN DUPLICATE BY BOTH THE SUCCESSFUL BIDDER (PART 1) AND THE PURCHASER (PART 2).  BOTH FORMS MUST BE SIGNED IN THE ORIGINAL SO THAT THE SUCCESSFUL BIDDER AND THE PURCHASER WOULD BE IN POSSESSION OF ORIGINALLY SIGNED CONTRACTS FOR THEIR RESPECTIVE RECORDS.

# PART 1 (TO BE FILLED IN BY THE BIDDER)

- I hereby undertake to supply all or any of the goods and/or works described in the attached bidding documents to (name of institution)………..…………………………. in accordance with the requirements and specifications stipulated in bid number………..……….. at the price/s quoted.  My offer/s remain binding upon me and open for acceptance by the purchaser during the validity period indicated and calculated from the closing time of bid.

- The following documents shall be deemed to form and be read and construed as part of this agreement:

- Bidding documents, viz

- Invitation to bid;

- Tax clearance certificate;

- Pricing schedule(s);

- Technical Specification(s);

- Preference claims  for Broad Based Black Economic Empowerment Status Level of Contribution in terms of the Preferential Procurement Regulations 2011;

- Declaration of interest;

- Declaration of bidder’s past SCM practices;

- Certificate of Independent Bid Determination;

- Special Conditions of Contract;

- General Conditions of Contract; and

- Other (specify)

- I confirm that I have satisfied myself as to the correctness and validity of my bid; that the price(s) and rate(s) quoted cover all the goods and/or works specified in the bidding documents; that the price(s) and rate(s) cover all my obligations and I accept that any mistakes regarding price(s) and rate(s) and calculations will be at my own risk.

- I accept full responsibility for the proper execution and fulfilment of all obligations and conditions devolving on me under this agreement as the principal liable for the due fulfillment of this contract.

- I declare that I have no participation in any collusive practices with any bidder or any other person regarding this or any other bid.

- I confirm that I am duly authorised to sign this contract.

WITNESSES

1	…….……………

- ……………………

DATE:	…………………….

NAME (PRINT)		………………………………………….

CAPACITY		………………………………………….

SIGNATURE		………………………………………….

NAME OF FIRM	………………………………………….

DATE			………………………………………….

MBD 7.1

CONTRACT FORM - PURCHASE OF GOODS/WORKS

# PART 2 (TO BE FILLED IN BY THE PURCHASER)

- I……………………………………………….in,my,capacity as……………………………………………...…..accept your bid under reference number ………………dated………………………for the supply of goods/works indicated hereunder and/or further specified in the annexure(s).

- An official order indicating delivery instructions is forthcoming.

- I undertake to make payment for the goods/works delivered in accordance with the terms and conditions of the contract, within 30 (thirty) days after receipt of an invoice accompanied by the delivery note.

| ## ITEM NO. | PRICE (ALL APPLICABLE TAXES EXCLUDED) | ### BRAND | DELIVERY PERIOD | B-BBEE STATUS LEVEL OF CONTRIBUTION | MINIMUM THRESHOLD FOR LOCAL PRODUCTION AND CONTENT (if applicable) |
| --- | --- | --- | --- | --- | --- |

4.	I confirm that I am duly authorized to sign this contract.

SIGNED AT ………………………………………ON………………………………..

NAME (PRINT)	…………………………………….

SIGNATURE	…………………………………….

WITNESSES

- ……………………….

- ……………………….

DATE	……………………….

OFFICIAL STAMP

3.2       CONTRACT DATA

3.2.1	PURCHASE PRICE

3.2.1	The Purchase Price shall be the amount set out in the PURCHASE ORDER.

3.2.2	Unless otherwise stipulated in the PURCHASE ORDER, no additional costs of whatever nature shall be payable by CITY POWER.

3.2.3	VAT shall be deemed to be included from the Purchase Price.

3.2.4	All other taxes payable in respect of the items stipulated on the PURCHASE ORDER shall be deemed to be included in the Purchase Price.

3.2.5	PURCHASE ORDERS placed on a “Price to be Agreed” (PTBA), “Estimated Price” or “Price Subject to Adjustment” basis, are issued on the condition that CITY POWER shall be advised, in writing, of the details of the proposed Purchase Price prior to execution of the order CITY POWER may demand, prior to payment, that the price computation be substantiated by documentary evidence.

3.3 TERMS OF PAYMENT

CITY POWER payment terms are 30 days from the date of receipt of the invoice and statement of account.

3.4 METHOD OF PAYMENT

3.4.1    SUPPLIER must elect payment by cheque or electronic fund transfer for the purpose of a contract within 14 (fourteen) days of a purchase order being awarded. SUPPLIER must exercise its choice in writing and submit it to CITY POWER’s Financial Department, failing which all payments in terms of this contract will be by cheque. The onus is on the SUPPLIER to ensure that the Financial Department has received and recorded its choice in this regard.

3.4.2    The method of payment elected by SUPPLIER may only be altered with CITY POWER’s consent.

3.4.3    If payment is made by cheque, same will be posted.

3.4.4  SUPPLIER assumes the entire risk in cheques from the moment of posting and CITY POWER’s liability is deemed to be met when the cheque is posted.

3.4.5  If cheque(s) will be delivered by hand to SUPPLIER or be collected from CITY POWER by SUPPLIER or its representative. The receiver should acknowledge the receipt.

3.4.6 SUPPLIER shall ensure that CITY POWER at all times has the correct banking information of SUPPLIER in order to make an electronic fund transfer, by submitting a cancelled cheque and a letterhead to:

FINANCIAL ACCOUNTANT

FINANCIAL DEPARTMENT

CITY POWER

P.O. BOX 38766

BOOYSENS

2016

If any aspect of SUPPLIER’s banking information changes, SUPPLIER shall timeously inform CITY POWER in writing of such changes.

SUPPLIER assumes the entire risk of incorrect electronic fund transfers arising from changes in SUPPLIER’s banking information.

3.4.7	  Settlement discount as agreed upon and stated in the contract will be deducted from payment.

3.5 INVOICING

3.5.1	Invoices shall comply with the VAT Act, failing which payment will not be made.

3.5.2	All invoices, monthly statements and other related documentation must be submitted to:

THE FINANCIAL DEPARTMENT

CITY POWER

P.O. BOX 38766

BOOYSENS

2016

3.5.3	SUPPLIERS invoice(s) shall be fully detailed in respect of:

3.5.3.1	Information

-	The CITY POWER Purchase Order Number.

-	The full description of item(s) to which the invoice(s) relate(s)

-	A unique Invoice Number.

- 	Date of issue of the invoice.

-	Company/Close Corporation Registration Number

-	VAT Registration Number

-	Delivery Notes Number

3.5.3.2	Value Added Tax

-	Amount of VAT.

-	In the event of VAT being levied at differentiated rates, each

rate invoiced.

3.5.3.3	Structure of Invoice

-	Total value of GOODS AND SERVICES excluding VAT

-	VAT on amount payable

-	Total amount payable

-	Comments if applicable

- 	Settlement Discount … %

3.6 STATEMENT OF ACCOUNTS

3.6.1	SUPPLIER shall submit an original monthly statement to the Financial Department by not later than the 10th day of the month following the month in which the GOODS AND SERVICES were delivered.

3.6.2	Said statement must reflect the following:

-           Opening balance (which shall be the closing balance of the immediate

preceding statement).

- Add: Amount of the current month’s invoices

Debit notes

(Detailed as per document number)

-	Deduct:  Credit notes

Payments received during month

Settlement discounts allowed

(Detailed as per document number)

-	Closing balance

3.7 ORIGINAL DOCUMENTS

SUPPLIER must submit original invoices, debit/credit notes, for GOODS AND SERVICES supplied and relevant information or documentation and monthly statements. Faxed documents will not be accepted and processed for payment.

3.8 SET OFF

CITY POWER may deduct any amount owed by the SUPPLIER to CITY POWER from any liquidated and fully due amount owed by CITY POWER to SUPPLIER.

3.9 STANDARD COMMERCIAL TERMS AND CONDITIONS

# 3.9.1 ENTIRE CONTRACT

The CONTRACT constitutes the entire CONTRACT between the parties and all previous negotiations, proposals and writings pertaining to the procurement of GOODS AND SERVICES or the subject matter thereof are superseded by this CONTRACT as are SUPPLIERS terms and conditions contained in any of its documentation, invoices and/or delivery notes.

3.9.2 SUPPLY OF GOODS AND

SUPPLIER shall supply the GOODS AND SERVICES as specified in the PURCHASE ORDER in accordance with these Standard Commercial Terms for Procurement of GOODS AND SERVICES.

3.9.3 QUOTATIONS

3.9.3.1	SIGNED AND ACCEPTED IN WRITING:

3.9.3.1.1 Quotations in response to a request by CITY POWER shall be in writing when requested and be signed by the SUPPLIER.

3.9.3.1.2 The quotation must be signed by an authorised representative of the   SUPPLIER.

3.9.3.1.3 Failure to sign the quotation will invalidate the quotation.

3.9.3.1.4 CITY POWER does not hold itself liable to be bound by any agreement, arrangement or order for the procurement of GOODS AND SERVICES, not entered into by and on behalf of CITY POWER by authorised CITY POWER Procurement and Supply Management personnel.

3.9.3.1.5 The representative of the SUPPLIER signing the quotation warrants his/her authority by his/her signature on the quotation.

3.9.3.1.6 Unless otherwise advised, only written acceptance of a quotation, by means of a Purchase Order, by an authorised CITY POWER Official shall be valid.

3.10 TERMS AND CONDITIONS:

3.10.1	CITY POWER reserves the right to adjust arithmetical errors in quotations. CITY POWER will not accept any liability whatsoever for errors in quotations.

3.10.2	The SUPPLIER must prepare and submit its quotations at its own expense.

3.10.3	CITY POWER reserves the right to invite quotations from several potential SUPPLIERS for the supply of GOODS AND SERVICES.

3.10.4	CITY POWER may in its discretion accept or reject quotations without furnishing reasons.

3.10.5	CITY POWER may accept any part of or an item of a quotation without being obliged to accept such quotation in its entirety.

3.10.6	Notwithstanding clause 4.3.1.5, whoever submits an accepted quotation, shall satisfy CITY POWER, if so required by CITY POWER, in the manner and detail required:

3.10.6.1 As to the authority of the person who signed the quotation and the SUPPLIER's legal

capacity to enter into a CONTRACT;

3.10.6.2 As to the SUPPLIER's capability (financially, technically and otherwise) to successfully supply the GOODS AND SERVICES in accordance with the specifications of the GOODS AND SERVICES.

3.10.7    For purposes of making an offer and acceptance thereof the parties agree that the following shall be deemed as acceptable in execution thereof.

- -Facsimile Message delivered by CITY POWER

    - An offer shall be deemed to be accepted upon the terms and conditions contained in the CONTRACT as 	Follows

      - Facsimile Message - Successful despatch per facsimile confirmed by CITY POWER’s fax

transmission report.

3.10.9	It is the responsibility of the SUPPLIER to ensure that their sets of documents relating to the GOODS AND SERVICES are complete and legible, and if not, SUPPLIER must apply to CITY POWER for the required documents of portions thereof. CITY POWER will not accept any liability whatsoever for errors in quotations if the SUPPLIER has failed to perform its obligation in terms thereof.

3.10.10	Both parties undertake to act only on the basis of utmost good faith and trust in the execution of this CONTRACT. Should the SUPPLIER commit any act which compromise or may compromise such relationship, or which is contrary to CITY POWER’s Commercial Ethics with which the SUPPLIER declares itself fully familiar then CITY POWER shall be entitled, notwithstanding the provisions of clause 4.15, to terminate this CONTRACT forthwith.

# 3.10.11 DISCREPANCY IN DESCRIPTION

The SUPPLIER shall immediately inform the relevant Procurement Officer of any discrepancy or ambiguity between the Request for Quotation and the PURCHASE ORDER  with respect to the description, dimension or quantities in the PURCHASE ORDER prior to executing the PURCHASE ORDER, failing which the SUPPLIER shall indemnify CITY POWER against any and all damages arising as a result thereof.

3.11 DELIVERY AND INSPECTION UPON DELIVERY

3.11.1 DELIVERY

3.11.1.1The SUPPLIER rendering the GOODS AND SERVICES to be done in terms of the PURCHASE ORDER to CITY POWER as specified by the project engineer during the hours stipulated in 3.11.1.2. CITY POWER reserves the right to withdraw SUPPLIER’s permits should SUPPLIER not adhere hereto.

3.11.1.2 The GOODS AND SERVICES shall be done during normal working hours at the following times:

Monday – Friday:	08:00 to 17:00

3.11.1.3 In the event that delivery of the GOODS AND SERVICES can only be effected outside of the above stipulated times, the CITY POWER Project co-ordinator shall be contacted.

3.11.1.4 SUPPLIER must ensure that the GOODS AND SERVICES are accompanied by the works completion certificate with a valid CITY POWER purchase order number failing which CITY POWER will not accept the GOODS AND SERVICES. The GOODS AND SERVICES must physically be identifiable per PURCHASE ORDER and line number, failing which no acceptance of the GOODS AND SERVICES can and will be made.  In the event that SUPPLIER delivers the GOODS AND SERVICES by sub contractor, SUPPLIER must ensure that its official works completion certificate accompanies the GOODS AND SERVICES as the sub contractor’s documentation shall not be acceptable. The GOODS AND SERVICES shall be provisionally accepted upon delivery and such provisional acceptance shall be indicated on the works completion certificate by CITY POWER.

3.11.1.5 In the event that the GOODS AND SERVICES are not rendered in accordance with the Standard Commercial Terms of Procurement of GOODS AND SERVICES and the CONTRACT, CITY POWER shall be entitled to withhold payment.

3.11.1.6 SUPPLIER must submit its invoices to the Financial Department as indicated in clause 3.5. The project co-ordinator shall not direct invoices to the Financial Department. CITY POWER shall not be responsible for delays in payment emanating as a result of incorrect submission of invoices or incorrect invoicing procedures followed by the SUPPLIER and no interest shall accrue on such outstanding amounts due the SUPPLIER.

3.11.2 INSPECTION UPON DELIVERY

3.11.2.1 CITY POWER shall inspect the GOODS AND SERVICES upon receipt thereof on site with a signed works completion certificate.

3.11.2.2 GOODS AND SERVICES shall be subject to one or more of the following inspections, whatever the case may be and whichever may be applicable, under the circumstances

- Statutory

- Technical in accordance with applicable specifications

- Visual

- Statutory and Technical inspection shall take place within 3 (three)

business days from date of delivery.

3.11.2.3 Where GOODS AND SERVICES are subject to statutory, technical and visual inspections, the GOODS AND SERVICES will:

- be provisionally accepted upon delivery and such provisional acceptance shall be indicated by CITY POWER on the works completion certificate.

3.11.2.4 In the event that the GOODS AND SERVICES are rejected after either a statutory, technical or visual inspection, CITY POWER shall notify the SUPPLIER verbally or in writing of such rejection and the GOODS AND SERVICES must be rectified by the SUPPLIER within 7 (seven) business days of receipt of notice of the rejection.  Should the SUPPLIER not rectify the DEFECTS within 7 (seven) days, CITY POWER shall notify the SUPPLIER in writing that the GOODS AND SERVICES have not been rectified.

3.11.2.5 CITY POWER reserves the right to rectify the GOODS AND SERVICES should the DEFECTS not be rectified within the above-specified period. CITY POWER shall supply the SUPPLIER with the following documentation:

- Dispatch Advice

- Non-conformance Report, stating the reason for the non-acceptance of the GOODS AND SERVICES,

- Any certification documentation, which accompanied the GOODS AND SERVICES.

3.12 INSPECTION OF GOODS AND SERVICES

3.12.1 CITY POWER shall be entitled to inspect the GOODS AND SERVICES to be performed in terms of a CONTRACT

.

3.12.2 Failure to inspect the GOODS AND SERVICES shall in no way impair and prejudice any of CITY POWER’s rights set out in clause 3.11.2 hereunder nor be deemed to constitute acceptance of the GOODS AND SERVICES by CITY POWER.

  - RISK AND INSURANCE

# 3.12.1 RISK

All risk in the GOODS AND SERVICES which are to be rendered by the SUPPLIER, shall remain with the SUPPLIER until delivery and commissioning of said GOODS AND SERVICES has been made to the point of delivery as stated in the PURCHASE ORDER or clause 4.6 of this CONTRACT and the works completion form signed and accepted by the designated CITY POWER official, at which point the risk shall pass to CITY POWER.

3.12.2 INSURANCE

- The minimum limit of indemnity for insurance in respect of loss or damage to property (except the works, Plant,  Machinery and Equipment) and liability for bodily injury to or death of a person (not an employee of the Contractor) caused by activity in connection with this contract for any one event is R5m

- The contractor is liable for insurance in respect of death of or bodily injury to employees of the Contractor arising out and in the course of their employment in connection with this contract.

- The insurance against loss of or damage to the works, Plant and Materials which includes cover for Plant and Materials provided by the Employer for an amount of R50m. The Contractor is liable for any amount exceeding R50m.

# 3.13 WARRANTIES

The SUPPLIER warrants that the GOODS AND SERVICES supplied by it in terms of the PURCHASE ORDER complies with the specifications of the GOODS AND SERVICES as stipulated in the CONTRACT.

3.14. COMMUNICATIONS

The SUPPLIER must indicate the PURCHASE ORDER number on all its documentation which shall include but not be limited to, invoices, delivery notes, consignment notes, bills of lading, packing lists, packaging and communications, failure to do so will result in delayed payment. No interest will accumulate in respect of such payments and settlement discount shall still be deducted.

3.15. FORCE MAJEURE

3.16.1	Should circumstances which were not foreseeable with reasonable foresight or avoidable with reasonable care ("circumstances"), arise (or be reasonably anticipated) and delay, (or have the potential to delay) performance, (whether in whole or in part) or make performance, (whether in whole or in part) impossible, the party who's performance is affected, (or who's performance may be affected) ("affected party") shall forthwith, in good faith and by the most expeditious means, notify the other party in writing of:

3.16.1.1 the cause(s), nature and extent of the circumstances;

3.16.1.2 the expected duration of the circumstances;

3.16.1.3 the extent to which the performance will be affected.

3.16.2 	If the circumstances change after the affected party has notified the other party in accordance with   clause 4.11.1, the affected party shall forthwith, in good faith and by the most expeditious means inform the other party of such changes and keep the other party updated on such changes.

3.16.3	 Subject to paragraphs 3.16.1 and 3.16.2 the circumstances shall NOT terminate the CONTRACT between the parties or absolve the affected party from performance.

3.16.3.1 Should the circumstances make the agreed performance impossible, the affected party 			shall, having regard to all relevant factors, as soon as possible and in good faith submit

proposals for  alternatives to the other party. Such proposals shall be in sufficient detail(s) to

enable the other party to technically and financially assess the alternative(s) and to decide

whether any alternative is  acceptable.

3.16.3.2 Should there be no alternative acceptable to the other party, it may elect to cancel the

CONTRACT.

3.16.4	   Should the circumstances delay the agreed performance?

3.16.4.1  the affected party shall forthwith and in good faith take all reasonable steps to mitigate the 		  delay  and to recover lost time, and

3.16.4.2  having regard to all relevant factors and in good faith notify the other party as soon as 	 		  possible of  the steps to be taken to mitigate the delay and recover lost time and keep the 		  other party updated  on changes and progress thereof;

3.16.4.3  the other party may, if the extent to which the delay may be mitigated and lost time be

recovered are unacceptable to it, elect to cancel the CONTRACT.

3.16.5 	  Neither of the parties shall have any claim, arising from the circumstances, on the other.

3.16.6 	Without limiting the generality and intention of clause 3.16.1 in any way, the circumstances may     include, without being limited thereto:

-	Acts of God;

-	War, riots, civil- or military insurrection and like political happenings;

-	Natural disasters such as earthquakes, fire, storms and floods;

-	Governmental acts or omissions;

-	Terrorism or sabotage;

-	Labour unrest such as strikes and lockouts.

3.17 ADDITIONS AND OMISSIONS

3.17.1	The AGREEMENT may only be amended in writing by "Change Order" under signature of the

parties and SUPPLIER shall only react to written amendments.

3.17.2	No amendment shall be valid unless it is signed on behalf of CITY POWER by:

3.17.2.1 A duly authorised commercial officer or his/her superior.

3.17.3	Terms and conditions in SUPPLIER's documentation, which conflict with the contents hereof, shall

be of no force or effect.

# 3.18 CONCESSIONS

3.18.1	Concessions made by CITY POWER shall not prejudice its rights.

# 3.19 DISPUTE RESOLUTION

3.19.1    Should any dispute arise at any time and in any way in connection with this CONTRACT, the 	 	 dispute will be referred to contracting parties nominated senior management to resolve the dispute

within ten (7) days after referral of the dispute to them.

3.19.2    Should the PARTIES fail to resolve the dispute or difference within the aforesaid period or such longer period as the PARTIES may agree, such dispute shall be determined by arbitration in terms of the following:

3.19.2.1 Within 3 (three) days after the negotiations in paragraph 3.19.1. became deadlocked, CITY POWER and SUPPLIER shall by negotiating in good faith, agree on a arbitrator, failing which either may refer the matter to Arbitration Board of South Africa for appointment.

3.19.2.2 The PARTIES shall within 14 (fourteen) days of the appointment of the arbitrator or such other period as the arbitrator considers reasonable, submit written representations to him. Thereafter the arbitrator shall give his determination in writing and furnish CITY POWER and the SUPPLIER each with a copy thereof, provided that the arbitrator may, in his discretion, convene a hearing of the parties and their witnesses or accept further representations from the PARTIES, before giving his determination.

3.19.2.3 The cost of appointment of the arbitration, whatever the case may be shall be determined by the arbitrator hearing the dispute.

3.19.2.4 The appointment of an arbitrator shall be in no way prejudice the rights that either party have to institute legal proceedings in a competent Court of Law with jurisdiction over the subject matter.

3.20 TERMINATION

3.20.1	In the event that the GOODS AND SERVICES stipulated in the PURCHASE ORDER:

- not conform to the provisions of the order;

- be defective in any way;

- not be delivered by the stipulated date of performance

CITY POWER shall be entitled to:

- cancel the order, either wholly or in part and claim any damages it may have suffered as a result thereof;

- demand that the rejected GOODS AND SERVICES be re-done at no cost to CITY POWER.

3.20.2   CITY POWER may in its sole and unfettered discretion, unless agreed to otherwise in writing, and at

Any time, with or without cause, terminate the agreement by written notice to SUPPLIER.

3.20.2.1 Unless otherwise agreed in writing such termination shall become effective 3 (three)

business days after date on which SUPPLIER is notified in writing of the termination.

3.20.2.2 Should either of the parties fail to comply with the terms and conditions of this agreement 	             and remain in default for 3 (three) days or any other period as agreed to by the parties after

having been given notice to remedy the default, then the other party may cancel this

agreement without further notice.

3.20.2.3  Should CITY POWER, at any time, have reason to suspect that SUPPLIER is no longer

capable (financially, technically or otherwise) of supplying the GOODS AND SERVICES,

then CITY POWER may cancel this agreement in terms of 3.20.2.1

3.20.2.4  Cancellation in terms of 3.20.2.1 shall be without prejudice to the cancelling party's other

rights.

3.20.2.5 If CITY POWER cancels this agreement in terms of 3.20.2.1, it shall be entitled to retain all

Monies due to SUPPLIER until such time as the WORK is completed.

3.20.3 Time is of the essence to the extent that it goes to the root of agreements be between CITY POWER

and  SUPPLIER in respect of the delivery date of the GOODS AND SERVICES, and entitles

CITY POWER to cancel in terms of Clause 3.20.

3.21 CESSIONS

3.21.1	SUPPLIER shall not cede, assign, factorise or otherwise make over its right, or obligations, or any part or aspect thereof, in terms of any agreement with CITY POWER, unless consented to in writing by CITY POWER.

    - SUPPLIER shall in no way encumber its rights or obligations in terms of any agreement with CITY POWER.

3.21.3	Should the SUPPLIER be taken over, or should control of the SUPPLIER pass to anybody other than those disclosed to CITY POWER, then CITY POWER may at its discretion cancel the agreement without prior notice.

3.21.4	SUPPLIER shall immediately advise CITY POWER, in writing, of any actual or proposed transfer of ownership, passing of or change of directors, partners or other stakeholders.

# 3.22 CONFIDENTIALITY

3.22.1	SUPPLIER hereby undertakes not to disclose, in whole or in part, any Confidential Information to anybody without the express prior written approval thereto by CITY POWER.

3.22.2	The SUPPLIER shall restrict access to the Confidential Information only to a limited number of its employees, officers, agents or associates and directors (“representatives”) who have a clear need to know the same for the purpose of this Contract.

3.22.3	The SUPPLIER shall be responsible for ensuring that all representatives are underwritten obligation of sufficient scope to obligate them to comply with the terms and conditions of this Contract.

3.22.4	The Confidential Information shall remain the property of CITY POWER and CITY POWER may demand the return thereof at any time upon giving written notice to the SUPPLIER.  Within 30 days of receipt of such notice, the SUPPLIER shall return all of the original Confidential Information and shall destroy all copies and reproductions (including in electronic form) in its possession and in the possession of its representatives to whom it was disclosed pursuant to this Contract.  The SUPPLIER may however retain one copy of the Confidential Information in its confidential legal files for the sole purpose of identifying and maintaining its obligations under this Contract.

3.22.5	Without derogating from the generality of the foregoing, SUPPLIER hereby binds itself not to do anything, directly or indirectly, which will or may prejudicially affect CITY POWER's position in the markets, local and international.

3.22.6	Each party shall, in respect of information received from the other, employ the same methods and endeavours to prevent such information becoming known to others as they do in respect of their own.

3.22.7	Should there be a breach of the provisions of clause 3.22.1, 3.22.2, 3.22.3, 3.22.4 or 3.22.6 of this CONTRACT, CITY POWER shall, without limiting any other rights that it might have, be entitled to forthwith cancel any CONTRACT that it has with SUPPLIER.

# 3.23 TRANSPORT

3.23.1	SUPPLIER shall arrange transport in accordance with CITY POWER's instructions which shall be obtained in good time before the transport is required; however CITY POWER may elect to arrange transport.

3.24  FOREIGN CURRENCY

3.24.1	SUPPLIER shall arrange forward cover for foreign currency, in accordance with CITY POWER's instructions, however CITY POWER may elect to arrange forward cover for foreign currency.

# 3.25 JURISDICTION

3.25.1	The parties consent to the jurisdiction of the Magistrates Court in proceedings arising from the CONTRACT.

3.25.2	The above consent is without prejudice to the right of either of the parties to institute proceedings in any other South African court of competent jurisdiction, at will.

# 3.26 LABOUR RELATIONS

3.26.1	CITY POWER practices labour relations in the spirit of its Mission.

3.26.3	SUPPLIER shall do nothing to the detriment of CITY POWER's labour relations or which may prejudice harmonious labour relations on CITY POWER's premises, regardless of whether CITY POWER's labour or the labour of others are involved.

3.26.4	SUPPLIER shall not recruit personnel:

3.26.4.1 in the employ of CITY POWER or any of its other

SUPPLIERS/CONTRACTORS, or their SUB-CONTRACTORS,

3.26.4.2 anywhere on CITY POWER's premises without CITY POWER's

consent which shall be obtained beforehand in writing.

3.26.5	Should SUPPLIER experience any labour disharmony which may have an impact on CITY POWER's operation or SUPPLIER's supply of the GOODS AND SERVICES it shall immediately inform CITY POWER thereof and keep it informed.

# 3.27 COMPLIANCE WITH LAW AND CITY POWER'S RULES

3.27.1	SUPPLIER shall comply with the law.

3.27.2	Without limiting the generality of 3.26.1, SUPPLIER shall in particular comply with:

3.27.2.1 all laws relating to Security, Safety, Occupational Health and Environment;

3.27.2.2 CITY POWER’S SAFETY AND HEALTH REQUIREMENTS i.e.

1. CITY POWER maintains high standards with respect to Safety and Health.

2. SUPPLIER may enter areas which may be hazardous.

3. In order to maintain Safety Standards, SUPPLIER shall at all times fully comply with the provisions of the provisions of the Occupational Health and Safety Act 85 of 1993, as amended and all regulations published therewith.

4. No delivery SUPPLIER may enter the premises without a guide.

5. All hazardous materials must be delivered with Safety Data Sheets.

- If any delivery must take place after hours, the standby person of the Plant or Standby from Procurement and Supply Management must guide the truck to the correct place.

- After the delivery has been completed it is the responsibility of the guide to ensure that the truck is guided out to the Secondary area.

3.27.2.3 The latest revision of all CITY POWER's rules and in particular those relating to Security, Safety, Occupational Health and Environment which SUPPLIER admits it is fully acquainted with,

3.27.2.4 The successful bidder would be required to submit a signed written agreement with CITY POWER on occupational health and safety regulations in accordance with the provision of Section 37 (2) of the Occupational Health and Safety Act 85 of 1993.

3.27.3 SUPPLIER must acquaint itself with CITY POWER’s Procurement Policy that is available on request.

3.28 NON-EXCLUSIVITY

CITY POWER shall not in any way be precluded from contracting with any other party the supply of the GOODS AND SERVICES during performance of or after expiration of this agreement.

3.29 CONFLICT OF LAWS

The provision of this CONTRACT shall be governed by South African Law and the parties agree to the inclusive jurisdiction of South African courts.

3.30 PENALTY CLAUSE

3.30.1   CITY POWER may deduct from the Contract Price of the GOODS AND SERVICES concerned an amount equal to 0.5% of outstanding purchase order value for each day beyond the specified delivery time.

    - In the event that the supplier fails to perform and the penalty clause is imposed for a period of more than four

weeks, CITY POWER shall terminate the agreement with immediate effect. The SUPPLIER shall not be entitled to claim for damages or for outstanding amount after the aforesaid termination.

    - CITY POWER may in its sole and absolute discretion, obtain the GOODS AND SERVICES from other suppliers and provided that the failure to perform is not attributable to any of the circumstances set out in the vis major or casus fortuitous clause, CITY POWER may recover from SUPPLIER any amount by which the price so paid exceeds of the Contract Price of the GOODS AND SERVICES concerned. The cost to CITY POWER if any of collection of GOODS AND SERVICES shall be taken into account in determining the amount of any such excess.

PART 4: RETURNABLE DOCUMENTS

4.1 RETURNABLE DOCUMENTS REQUIRED FOR TENDER EVALUATION PURPOSES

- Municipal Rates and Taxes (Not in arrears for more than 90 days)

- SHERQ Regulations

- Invitation to Bid ( MDB 1)

- Firm prices ( MBD 3.1)

- Declaration of Interest Form ( MBD 4)

- Declaration for Procurement above R10 000 000 ( MBD 5)

- Preference Claim Form ( MBD 6.1)

- Declaration Certificate for Local Content ( MDB 6.2 )

- Annexure C, D & E (Please refer to DTI website for further clarity)

- Declaration for Purchase of Goods (MBD 7.1)

- Declaration of Bidder’s past SCM practices ( MBD 8 )

- Certificate of Independent Bid Determination ( MBD 9 )

- Certified B-BBEE Certificate or Sworn Affidavit

- Valid Tax Clearance Certificate or SARS Pin

- Financial Statements for the past three years

- Central Supplier Database  (CSD) Registration Report

4.2. OTHER DOCUMENTS REQUIRED FOR TENDER EVALUATION PURPOSES

- Electricity, water and rates statement ( latest ) indicating the firm’s good standing with the municipality that the bidders head office is located and it must not be in arrears for more than 90 days

- Audited annual financial statements for the past three years or since the company’s establishment if established during the past three years, the bidder is required by law to prepare annual financial statements for auditing

- Particulars of any contracts awarded to the bidder by an organ of state during the past five years including particulars of any material non-compliance or dispute concerning the execution of such contract.

- Delivery/lead times

- Company profile

- CIDB Registration particulars ( CIDB Registration number ) where applicable

- Additional soft copy of the Bid Document must be submitted on Memory Stick

- Valid Tax Clearance Certificate or SARS Pin

- Central Supplier Database (CSD) Registration Report

4.3. OTHER DOCUMENTS THAT WILL BE INCORPORATED INTO THE CONTRACT

- Offer

- Form of offer (MBD 3.1)

- Signed contract document

- Suppliers signed bid document

AGREEMENT ON OCCUPATIONAL HEALTH AND SAFETY AND REGULATIONS REGARDING MANDATARIES

- Background

The Occupational Health and Safety Act 85 of 1993 (OHS Act) (Republic of South Africa) schedules comprehensive requirements for employers such as contractors.  The Construction Regulations lay down requirements with respect to clients and designers.

Clients shall, inter alia:

- prepare Health & Safety specification for the construction work

- appoint full-time competent employees in writing

- perform Risk Assessments

- develop a Health and Safety Plan

- train and involve employees on matters pertaining to Health and Safety

- Purpose

To determine the procedure necessary for the implementation and management of

all construction projects to be undertaken.

- Objectives

- To comply with the provisions of OHS Act section 37(2) in implementing and maintaining an effective control system with regard to managing contractors within city power premises.

- implement and maintain an effective management system for each construction project

- minimize and or mitigate risks and hazards associated with construction activities

- develop a cost-effective program for both the contractor and principal contractor

- References

- Occupational Health &, Safety Act 85 of 1993 (Construction Regulations)

- Compensation for Injuries and Diseases Act 130 of 1993

- Integrated ISO Management System

- SANS 16001:2013 (Wellness and Diseases Management System)

- Basic Conditions of Employment Act,1983 (Act 3 of 1983)

- King III Code of Conduct

CITY POWER JHB (SOC) LTD

WRITTEN AGREEMENT ON OCCUPATIONAL

HEALTH AND SAFETY AND REGULATIONS

In accordance with the provision of Section 37 (2) of the

Occupational Health and Safety Act 85 of 1993

AS ENTERED INTO BY AND BETWEEN

City Power of Johannesburg (SOC) Ltd

(Hereinafter referred to as “the Employer”)

AND

COMPANY

(Hereinafter referred to as “the Mandatory”)

WORKMAN`S COMPENSATION FUND NUMBER

CONTRACT/ORDER NO.

PART “A”

GENERAL RULES FOR PROMOTING THE HEALTH, SAFETY AND DISCIPLINE OF CONTRACTORS

1. DEFINITIONS

In these rules, unless inconsistent with the context, the following words of expression shall be

interpreted to have the following meaning:

1.1 Act

The Occupational Health and Safety Act 85 of 1993

1.2 City Power

City Power Johannesburg (SOC) Ltd

1.3 City Power controlled area

The City Power Loss Control department controls entry to the area of City Power works in Johannesburg including all the areas within the works perimeter security fence.

1.4 City Power premises

The whole of City Power control area, together with all other buildings, land, etc. which are owned, rented or leased by City Power or which in any other way fall under the authority of City Power in Johannesburg area.

1.5 Risk area

An area with a probability that a hazard can result in injury to persons or damage

1.6 Competent person

A person who complies with the definition in the regulations of the Act.

1.7 Authorized person

A competent person employed, appointed and authorized by City Power to performa specific task, operation or duty.

1.8 City Power authorized person

The authorized City Power official appointed to represent City Power in all matters relating to a particular contractor, sub-contractor or contract works. For matters concerning construction and erection work on City Power premises, City Power`s authorized representative shall be either:

a. the area manager, team leader, maintenance manager or his/her nominated representative; or

b. the manager concerned , or his/her nominated representative as indicated to the Contractor in writing at the time of, or subsequent to, the placing of the contract or order, or as indicated to the Contractor`s head representative in writing at the time of or subsequent to, his/her appointment.

1.9 Contractor

Any company, business, firm or individual who has a contract or agreement with or an order from City Power to carry out work or to perform any task or operation for City Power to carry out work or to perform any task or operation for City Power or on City Power premises.

Where appropriate to the context, the word contractor shall be understood to include sub-contractor.

1.10 Sub-contractor

Any company, business, firm or partnership or individual who has a contract or agreement with or an order from a contractor to carry out work or to perform any task or operation for the contractor to carry out work or to perform any task or operation for the contractor or on City Power premises.

1.11 Contract Works

The materials, plant and equipment to be supplied, work to be done and tasks and operations to be performed under terms of a contractor`s contractor order from agreement with City Power or a sub-contractor`s contract or order from or agreement with a contractor.

1.12 Contractor`s head representative

The competent person appointed as a Managing Director, in terms of the Act and as the contractor`s head representative and responsible person for the contract works.

1.13 Contractor`s employees

Includes any of the following:

a. any person employed by the contractor or a sub-contractor, including the contractor’s head representative.

b. any person, other than an employee of City Power, who carries out work or performs any task on City Power premises for or on behalf of the contractor or any sub-contractor.

c. any principal, partner, shareholder, director, consultant, executive, manager, staff member or employee of the contractor or any sub-contractor any contractor’s employee, for any reason whatsoever.

1.14 	Site or construction site

Includes the following:

a. the buildings, ground or any other place on City Power premises, in which or over or under which the contract works are to be executed.

b. any off-loading, stacking or storage areas, yards, workshops, offices, permanent or temporary buildings or other areas erected by, occupied by or allocated to the contractor or sub-contractor for the purpose of carrying out any contract works.

  - Regulation

Refers to any rule in these “General Rules” aimed at improving health, safety and discipline of contractors and/or sub-contractors.

1.16 	Rule

Refers to any rule in these “General Rules” aimed at improving health, safety and discipline of contractors and/or sub-contractors.

1.17 	Gender, singular and plural

Where consistent with the text, any word in these rules implying the masculine gender shall be interpreted as including the feminine gender and vice-versa.

Similarly, any word implying the singular shall be interpreted as including the plural and vice-versa.

2. APPLICABLE LEGISLATION

2.1       City Power premises (offices and depots) are defined as factory, in terms of the Act. Therefore, whilst contractors or sub-contractors or contractor`s employees are on City Power premises, they shall adhere strictly to the requirements of this Act and associated regulations.

2.2       In addition to City Power`s general conditions of contract and the requirements of the Act, these rules are issued in accordance with duties allocated to the Managing Director, as appointed in terms of the Act to draw attention to certain regulations and requirements of the said Act, together with other requirements necessary for safety, health and proper discipline on City Power premises.

2.3       Apart from the Act and Regulations and special instructions issued by the chief inspector, these rules and instructions may be amended, substituted or deleted by authorized City Power officials as and when circumstances and conditions require, in the interest of health and safety and in provision for proper discipline.

2.4      The contractor shall comply with the requirements of the OHS Act and other relevant statutes; Code of Practices; Policies; Standards and Guidelines and Protocols.

3. ENTERING AND WORKING IN RISK AREAS

3.1 	Medical Certificate of fitness

The contractor shall, in compliance with the Act, be responsible for the medical examination of his/her employees and shall provide City Power with written proof that medical examination of his/her employees engaged on the site has been done and that the necessary certificates of fitness have been obtained. These medical examinations shall be conducted before the employee will be allowed to commence working on City Power sites. The Wellness department (City Power) can conduct the examinations at a prescribed fee payable by the contractor.

3.2	Hazard Identification and Risk Assessment

Prior to contract work commencing on site, the contractor together with City Power project team shall conduct HIRA`s related to the specific task to be performed. A HIRA shall be completed before the start of commissioning.

3.3 	Safe Work Procedures

The contractor shall prepare written safe work procedures for all tasks to be performed.

3.4 	Safety Induction Course

All the contractor`s employees shall attend a safety induction course presented by City

Power before commencing work on site

3.4 	Protection Services (Loss Control)

City Power Loss Control is responsible for the security of and controls the movement of persons on City Power premises. In terms of the Control of Access to Public Premises and Vehicles Act, Act No 53 of 1985, security officers have the authority to arrest, search and question any person without a warrant.

It is expected that the contractor`s representative and all contractors employees will give

full co-operation to the security officers in the execution of their duties

PART “B”

AGREEMENT ON OCCUPATIONAL HEALTH AND SAFETY AND REGULATIONS REGARDINGMANDATARIES

1. 	General

The Mandatory and City Power are individual employers, each in its own right, with duties

and obligations prescribed by the Occupational Health and Safety Act 85 of 1993 and Regulations.

The Mandatory accepts, in terms of the general conditions of the contract and in terms of the Act, his/her obligations as an Employer in respect of all persons in his/her employ, other persons on the premises or on the site or place of work to be executed by him/her and under his/her control. S/He shall, before commencement with the execution of the contract work, comply with the procedures stipulated in the Act, and shall implement and maintain a Health and Safety Policy and Programme on the Site and Work for the duration of the contract.

City Power accepts, in terms of the Act, its obligations as an employer of its own employees working on or associated with the site or place of work, and the Mandatory and his/her responsible person shall at all times, co-operate in respect of the health and safety management of the site, and shall agree on the practical arrangements and procedures to be implemented and maintained during execution of work.

2. 	Special Permits

Where special permits are required before work may be carried out such as for work, isolation permits, work permits and occupations, the Mandatory shall apply to City Power Representative or the relevant external Authority for such permit to be issued. The Mandatory shall comply with the conditions and requirements pertaining to the issue of such permits.

3. 	Health and Safety Programme

The Mandatory shall, with his/her tender, submit a Health and Safety Programme setting out the practical arrangements and procedures to be implemented by him/her to ensure compliance by him/her with the Act and Regulations and particularly in respect of :-

(i) the provision, as far as is reasonably practical, of a working environment that is safe and without risk to the health and safety of his/her employees and sub-contractors in terms of section 8 of the OHS Act.

(ii) the execution of the contract work in such a manner as to ensure in terms of section 9 of the OHS Act that persons other than those in the Mandatory`s employment, who may be directly affected by the contract work are not thereby exposed to hazards to their health and safety.

(iii) ensuring, as far as is reasonably practical, in terms of section 37 of the OHS Act that no employee or sub-contractor of the Mandatory does or omits to do any act which could be an offence for the Mandatory to do or omit to do.

3.2 The Mandatory`s Health and Safety Programme shall be based on a Risk Analysis in

respect of the hazards to health and safety of his/her employees and other persons under his/her control, that are associated with or directly affected by the Mandatory`s activities in performing the contract work and shall establish precautionary measures as are reasonable and practical in protecting the safety and health of such employees

and persons.

3.2.1 The Health and Safety Programme shall include full particulars in respect of:

3.2.1.1 	Reporting

The Mandatory and/or his designated person appointed in terms of Section 16(2) of the Occupational Health and Safety Act 85 of 1993 (OHS Act) shall report to the Regional Manager and/or representative designated by the Employer prior to commencing the work at the premises.

3.2.1.2 	Compliance

- In terms of this agreement the Mandatory warrants that s/he agrees tithe arrangements and procedures as prescribed by City Power and as provided for in terms of Section 37 (2) of OHS Act for the purposes of compliance thereto.

- The Mandatory acknowledges that this agreement constitutes an agreement in terms of Section 37 (2) of OHS Act, whereby all responsibility for health and safety matters relating to the work that the Mandatory and his employees are to perform on the premises shall bathe obligation of the Mandatory.

- The Mandatory further warrants that he and/or his employees undertake to maintain such compliance with the OHS Act. Without derogating from the generality of the above, or from the provisions of the said agreement, the Mandatory shall ensure that the clauses as hereunder described are at all times adhered to by him or her

- The Mandatory hereby undertakes to unsure that the health and safety of any other person on the premises is not endangered by the conduct and/or activities of all his employees while they are on the premises of City Power

- City Power may terminate this agreement with immediate effect on written notice to the contractor in the event that the mandatary fails to comply with the signed agreement. This may further lead to liquidation, judgement etc.

3.2.1.3 	Mandatory

The Mandatory shall be deemed to be an employer in his own right while on the premises of City Power. In terms of Section 16 (1) of the OHS Act, the Mandatory shall accordingly ensure that the requirements of the OHS Act are complied with by himself and/or his nominated Managing Director.

3.2.1.4		Appointments and training

The Mandatory shall appoint competent persons as per Section 16 (2) of the OHS Act. Any such appointed person shall be trained on any occupational health and safety matter and the OHS Act provisions pertinent to the work that is to be performed under his responsibility. Copies of any appointments made by the Mandatory shall immediately be provided to the Safety, Health and Environmental Risk (SHEQ) Manager`s office.

The Mandatory shall further ensure that all his/her employees are trained on the health and safety aspects relating to the work and that they understand the hazards associated with such work being carried out on the premises. Without derogating from the aforegoing, the Mandatory shall, in particular, ensure that all his/her users or operators of any materials, machinery or equipment are properly trained in the use of such materials, machinery or equipment.

Notwithstanding the provision of the above, the Mandatory shall ensure that the appointed responsible persons and his employees are at all times familiar with the provisions of the OHS Act, and that they comply with the provisions thereof.

3.2.1.5		Supervision, disciplinary and reporting

The Mandatory shall ensure that all work performed on City Power premises are done under strict supervision and that no unsafe or unhealthy work practices are permitted. Discipline regarding health and safety matters shall be strictly enforced against any of his/her employees regarding non-compliance by such employee with any health and safety matters.

The Mandatory shall further ensure that his/her employees report to him/her all unsafe or unhealthy work situations immediately after they become aware of the same and that he/she in turn immediately reports these to City Power representative.

3.2.1.6 	Access to the OHS Act

The Mandatory shall ensure that he/she has an updated copy of the OHS Act on site at all times and that this is accessible to his/her appointed responsible persons and employees, save that the parties may make arrangements for the Mandatory and his/her appointed responsible persons and employees to have access to the Employer’s updated copy/copies of the Act.

3.2.1.7 	Co-operation

The Mandatory and/or his/her responsible persons and employees shall provide full co-operation and information if and when City Power or a representative inquiries into occupational health and safety issues concerning the Mandatory. It is hereby recorded that City Power or a representative shall at all times be entitled to make such inquiry.

Without derogating from the generality of the above, the Mandatory and his/her responsible person/s shall make available to City Power or a representative/s, on request, all and any checklists and inspection register/s required to be kept by him/her in respect of any of his/her materials, machinery or equipment.

3.2.1.8 	Work procedures

The Mandatory shall be entitled to utilize the procedures, guidelines and other documentation as used by City Power for the purposes of ensuring a healthy and safe working environment. The Mandatory shall then ensure that his/her responsible persons and employees are familiar with and utilize the documents.

The Mandatory shall implement safe work practices as prescribed by City Power and shall ensure that his/her responsible persons and employees are made conversant with and adhere to such Safe Work Practices.

The Mandatary shall ensure that work for which a permit is required by the Employer is not performed by his employees prior to the obtaining of such a permit.

3.2.1.9 	Health and safety meetings

If required in terms of the OHS Act, the Mandatory shall establish his/her own health and safety committee(s) and ensure that his/her employees, being the committee members, hold health and safety meetings as often as may be required and at least once every three (3) months. City Power may elect to permit the Mandatory’s health and safety representatives to attend City Power`s health and safety committee meetings.

3.2.1.10 	Compensation registration

The Mandatory shall ensure that he/she has a valid registration with the Compensation Commissioner, as required in terms of the Compensation for Occupational Injuries and Diseases Act 130 of 1993 (COID Act), and that all payments owing to the Commissioner are discharged.

The Mandatory shall further ensure that the cover shall remain in force while any such employee is present on the premises

3.2.1.11 	Medical Examinations

The Mandatory shall ensure that all his/her employees undergo routine medical examinations and that they are medically fit for the purposes of the work they are to perform.

3.2.1.12 	Incident Reporting and Investigation

All incidents referred to in Section 24 of the OHS Act shall be reported by the Mandatory to the Department of Labour and to City Power. City Power shall further be provided with copies of any written documentation relating to any incident.

City Power retains an interest in the reporting of any incident as described above as well as in any formal investigation and/or inquiry conducted in terms of Section 32 of the OHS Act into such incident.

3.2.1.13 	Subcontractors

The Mandatory shall notify City Power or a representative of any subcontractor he/she may wish to perform work on the Employer’s premises. It is hereby recorded that all the terms and provisions contained in this clause shall be equally binding upon the subcontractor commencing with the work.

Without derogating from the generality of this paragraph:

[a] The Mandatory shall ensure that training as discussed under Appointments and training, is provided prior to the subcontractor commencing work on City Power premises.

[b] The Mandatory shall ensure that work performed by the subcontractor is done under strict supervision and discipline, as described under the section Supervision, discipline and reporting.

[c] The Mandatory shall inform the Employer of any health and safety hazard and/or issue that the subcontractor may have brought to his attention.

[d] The Mandatory shall inform City Power or a representative of any difficulty encountered regarding compliance by the subcontractor with any health and safety instruction, procedure and/or legal provision applicable to the work the subcontractor performs on City Power premises.

3.2.1.14 	Security and Access

The Mandatory and his/her employees shall enter and leave the premises only through the main gate(s) and/or checkpoint(s) designated by City Power. The Mandatory shall ensure that employees observe the security rules of City Power at all times and shall not permit any person who is not directly associated with the work from entering the premises.

The Mandatory and his/her employees shall not enter any area of the premises that is not directly associated with the work.

The Mandatory shall ensure that all materials, machinery or equipment brought by him/her onto the premises are recorded at the main gate(s) and/or checkpoint(s). A failure to do this may result in a refusal by the Employer to allow the materials, machinery or equipment to be removed from the premises.

3.2.1.15 	Fire Precautions and Facilities

The Mandatory shall ensure that an adequate supply of fire-protection and first-aid facilities are provided for the work to be performed on the Employer’s premises, save that the parties may mutually make arrangements for the provision of such facilities.

The Mandatory shall further ensure that all his/her employees are familiar with fire precautions at the premises, which include fire-alarm signals and emergency exits, and that such precautions are adhered to.

3.2.1.16 	Hygiene and Cleanliness

The Mandatory shall ensure that the work site and surrounding area is at all times maintained to a reasonably practicable level of hygiene and cleanliness. In this regard, no loose materials shall be left lying about unnecessarily and the work site shall be cleared of waste material regularly and on completion of the work.

3.2.1.17 	Nuisance

The Mandatory shall ensure that neither he nor his employees undertake any activity that may cause environmental impairment or constitute any form of nuisance to the Employer and/or his surroundings.

The Mandatory shall ensure that no hindrance, hazard, annoyance or inconvenience is inflicted on the Employer, another Mandatory or any tenants. Where such situations are unavoidable, the Mandatory shall

give prior notice to the Employer.

3.2.1.18	Intoxication

No intoxicating substance of any form shall be allowed on site. Any person suspected of being intoxicated shall not be allowed on the site. Any person required to take medication shall notify the relevant responsible person thereof, as well as the potential side effects of the medication.

3.2.1.19 	Personal Protective Equipment

NB: Non-conformance to the PPE Policy and any instruction regarding the use of PPE is regarded as a serious and dismissible misconduct.

The Mandatory shall ensure that his responsible persons and employees are provided with adequate personal protective equipment (PPE) for the work they may perform and in accordance with the requirements of General Safety Regulation 2(1) of the OHS Act, Construction Regulation Sec.4 )e) & (h) and the approved City Power PPE Policy. The Mandatory shall further ensure that his responsible persons and employees wear the PPE issued to them all material times.

The Mandatory shall supply his/her employees with the necessary safety clothing and equipment as required by the areas worked in, which includes amongst others:

o Hard hats

o Safety shoes

o Eye protection

o Respirators

o Safety gloves

o Hearing protection

o Overalls (fire/acid resistant)

o Safety harness and any other appropriate PPE relevant to the scope of the activity.

The Mandatory shall ensure that the equipment is maintained in a good condition. In the event of the Mandatary committing a breach of this agreement and failing to remedy such breach within seven (07) days of receiving a Non-Conformance Notice from City Power to remedy such breach, City Power shall be entitled to terminate the contract with immediate effect.

3.2.1.20 	Plant, Machinery and Equipment

The Mandatory shall ensure that all the plant, machinery, equipment and/or vehicles he may wish to utilize on the Employer’s premises is/are at all times of sound order and fit for the purpose for which they intended, and that it/they complies/comply, with the requirements of Section 10 of the OHS Act.

In accordance with provisions of Section 10(4) of the OHS Act, the Mandatory hereby assumes the liability for taking the necessary steps to ensure that any article or substance that it erects or installs at the premises, or manufactures, sells or supplies to or for the Employer, complies with all the prescribed requirements and will be safe and without risks to health and safety when properly used.

3.2.1.21 	Usage of the Employer’s Equipment

The Mandatory hereby acknowledges that his employees shall not be permitted to use any materials, machinery or equipment of the Employer unless the prior written consent of the Employer has been obtained, in which case the Mandatory shall ensure that only those persons authorized to make use of same, have access thereto.

3.2.1.22 	Transport

The Mandatory shall ensure that all road vehicles used on the premises are in a roadworthy condition and are licensed and insured. All drivers shall have relevant and valid driving licenses and no vehicle shall carry passengers unless it is specifically designated to do so. All drivers shall adhere to the speed limits and road signs on the premises at all time.

In the event that any hazardous substances are to be transported on premises, the Mandatory shall ensure that the requirements of then Regulations for Hazardous Chemical Substances (OHS Act 85 of 1993) are complied with at all times.

3.2.1.23 	Clarification

In the event that the Mandatory requires clarification of any of the terms of provisions of this agreement, he should contact the Safety Health and Environmental Risk Department.

3.2.1.24 	Duration of Agreement

This agreement shall remain in force for the duration of the work to be performed by the Mandatory and/or while any of the Mandatory’s workmen are present on the Employer’s premises.

3.2.1.25 	Headings

The headings as contained in this agreement are for reference purposes only and shall not be construed as having any interpretative value in themselves or as giving any indication as to the meaning of the contents of the paragraphs contained in this agreement.

In the event of the Mandatary committing a breach of this agreement City Power shall be entitled to suspend and or terminate the Contract with immediate effect as per 11.2.1.2 (v)(Compliance).

Signatories

Thus done and signed at _______________________________________ on ________________________

________________________________________

for and on behalf of the Employer

_______________________________________

for and on behalf of the Mandatory

Witnesses:

- _______________________________________

- _______________________________________

INDEMNITY CLAUSE

I/We the undersigned do hereby indemnify and hold harmless City Power Johannesburg (Pty) Ltd in respect of all loss, damage or injury that may be caused to any premises or to any person or animal by reason of the performance of this contract.

I/We, further indemnify City Power Johannesburg (Pty) Ltd in respect of all legal and other expenses that may be incurred by City Power Johannesburg in examining, resisting or settling any claims which may be made by the third party in respect of any damage, injury or less that may in any way be occasioned by work necessary in terms of the contract.

BUSINESS NAME AND ADDRESS

____________________________________

____________________________________

____________________________________

____________________________________

NAME OF PERSON AUTHORISED

TO SIGN THIS BID			             ____________________________________________

(Block Letters)

SIGNATURE					____________________________________________

WITNESSES  (Block Letters)

(1)	___________________________

(2)	___________________________

Telephone	_____________________

Facsimile	_____________________

MBD4

DECLARATION OF INTEREST FORM

1.	No bid will be accepted from persons in the service of the state.

- Any person, having a kinship with persons in the service of the state, including a blood relationship, may make an offer or offers in terms of this invitation to bid.  In view of possible allegations of favouritism, should the resulting bid, or part thereof, be awarded to persons connected with or related to persons in service of the state, it is required that the bidder or their authorised representative declare their position in relation to the evaluating/adjudicating authority and/or take an oath declaring his/her interest.

3	In order to give effect to the above, the following questionnaire must be completed and submitted with the bid.

3.1  Full Name of bidder or his or her representative:……………………………………………..

3.2  Identity Number: ………………………………………………………………………………….

3.3  Position occupied in the Company (director, trustee, hareholder²):………………………..

3.4  Company Registration Number: ……………………………………………………………….

3.5  Tax Reference Number:…………………………………………………………………………

3.6  VAT Registration Number:   ……………………………………………………………………

3.7  The names of all directors / trustees / shareholders members, their individual identity

numbers and state employee numbers must be indicated in paragraph 4 below.

3.8	Are you presently in the service of the state                                                           YES / NO

3.8.1	If yes, furnish particulars.

………………………………………………………………………………..

² Shareholder” means a person who owns shares in the company and is actively involved in the management of the company or business and exercises control over the company.

3.9	Have you been in the service of the state for the past                                         YES / NO

twelve months?

    - If yes, furnish particulars.

………………………………………………………………

………………………………………………………………

  - Do you, have any relationship (family, friend, other)                                                 YES / NO

with persons in the service of the state and who may be involved

with the evaluation and or adjudication of this bid?

3.10.1 If yes, furnish particulars.

………………………………………………………………

………………………………………………………………

  - Are you, aware of any relationship (family, friend, other)                                           YES / NO

between any other bidder and any persons in the service of the

state who may be involved with the evaluation and or

adjudication of this bid?

3.11.1	If yes, furnish particulars

…………………………………………………………….

…………………………………………………………….

3.12	Are any of the company’s directors, trustees, managers, principle                          YES / NO

shareholders or stakeholders in service of the state?

3.12.1	If yes, furnish particulars.

………………………………………………………………

………………………………………………………………

  - Are any spouse, child or parent of the company’s directors, trustees,                      YES / NO

managers, principle shareholders or stakeholders in service

of the state?

3.13.1 	If yes, furnish particulars.

………………………………………………………………

  - Do you or any of the directors, trustees, managers, principle shareholders,

or stakeholders of this company have any interest in any other related companies or

business whether or not they are bidding for this contract.                                                YES / NO

3.14.1  If yes, furnish particulars:

……………………………………………………………………………..

……………………………………………………………………………..

# 4.	Full details of directors / trustees / members / shareholders.

| Full Name | Identity Number | State Employee Number |
| --- | --- | --- |

## CERTIFICATION

## I, THE UNDERSIGNED (NAME)

## ………………………………………………………………………

## CERTIFY THAT THE INFORMATION FURNISHED ON THIS DECLARATION FORM IS CORRECT.

## I ACCEPT THAT THE STATE MAY ACT AGAINST ME SHOULD THIS DECLARATION PROVE TO BE FALSE.

…………………………………..			………………………

Signature		Date

………………………………….                                                   ................................…………….

Position 	                                                                                  Name of Bidder

MBD5

DECLARATION FOR PROCUREMENT ABOVE R10 MILLION (ALL APPLICABLE TAXES INCLUDED)

For all procurement expected to exceed R10 million (all applicable taxes included), bidders must complete the following questionnaire:

1	Are you by law required to prepare annual financial statements for auditing?

1.1	If yes, submit audited annual financial statements for the past three years or since the date of establishment if established during the past three years.

………………………………………………………………

………………………………………………………………

2	Do you have any outstanding undisputed commitments for municipal services towards any municipality for more than three months or any other service provider in respect of which payment is overdue for more than 30 days?

2.1	If no, this serves to certify that the bidder has no undisputed commitments for municipal services towards any municipality for more than three months or other service provider in respect of which payment is overdue for more than 30 days.

  - If yes, provide particulars.  *YES / NO

………………………………………………………………

……………………………………………………………….

……………………………………………………………….

……………………………………………………………..

3	Has any contract been awarded to you by an organ of state during the past five years, including particulars of any material non-compliance or dispute concerning the execution of such contract?

  - If yes, provide particulars.  *YES / NO

## …………………………………………………

# …………………………………………………

- Will any portion of goods or services be sourced from outside    the Republic, and, if so, what portion and whether any portion of payment from municipality / municipal entity is expected to be transferred out of the Republic?

  - If yes, provide particulars.  *YES / NO

……………………………………………………..

……………………………………………………..

# CERTIFICATION

I, THE UNDERSIGNED (NAME)     ………………………………………………………………………

CERTIFY THAT THE INFORMATION FURNISHED ON THIS DECLARATION FORM IS CORRECT.

I ACCEPT THAT THE STATE MAY ACT AGAINST ME SHOULD THIS DECLARATION PROVE TO BE FALSE.

…………………………………..		……………………………………..

Signature		Date

……………………….................		…………………………………….

Position 		Name of Bidder

# MBD 6.1

PREFERENCE POINTS CLAIM FORM IN TERMS OF THE PREFERENTIAL PROCUREMENT REGULATIONS 2017

This preference form must form part of all bids invited.  It contains general information and serves as a claim form for preference points for Broad-Based Black Economic Empowerment (B-BBEE) Status Level of Contribution

NB:	BEFORE COMPLETING THIS FORM, BIDDERS MUST STUDY THE GENERAL CONDITIONS, DEFINITIONS AND DIRECTIVES APPLICABLE IN RESPECT OF B-BBEE, AS PRESCRIBED IN THE PREFERENTIAL PROCUREMENT REGULATIONS, 2017.

- GENERAL CONDITIONS

  - The following preference point systems are applicable to all bids:

- the 80/20 system for requirements with a Rand value of up to R50 000 000 (all applicable taxes included); and

- the 90/10 system for requirements with a Rand value above R50 000 000 (all applicable taxes included).

a) The value of this bid is estimated to exceed/not exceed R50 000 000 (all applicable taxes included) and therefore the 90/10 preference point system shall be applicable; or

b) Either the 80/20 or 90/10 preference point system will be applicable to this tender (delete whichever is not applicable for this tender).

  - Points for this bid shall be awarded for:

- Price; and

- B-BBEE Status Level of Contributor.

  - The maximum points for this bid are allocated as follows:

|  | POINTS |
| --- | --- |
| PRICE | 90 |
| B-BBEE STATUS LEVEL OF CONTRIBUTOR | 10 |
| Total points for Price and B-BBEE must not exceed | 100 |

  - Failure on the part of a bidder to submit proof of B-BBEE Status level of contributor together with the bid, will be interpreted to mean that preference points for B-BBEE status level of contribution are not claimed.

  - The purchaser reserves the right to require of a bidder, either before a bid is adjudicated or at any time subsequently, to substantiate any claim in regard to preferences, in any manner required by the purchaser.

- DEFINITIONS

- “B-BBEE” means broad-based black economic empowerment as defined in section 1 of the Broad-Based Black Economic Empowerment Act;

- “B-BBEE status level of contributor” means the B-BBEE status of an entity in terms of a code of good practice on black economic empowerment, issued in terms of section 9(1) of the Broad-Based Black Economic Empowerment Act;

- “bid” means a written offer in a prescribed or stipulated form in response to an invitation by an organ of state for the provision of goods or services, through price quotations, advertised competitive bidding processes or proposals;

- “Broad-Based Black Economic Empowerment Act” means the Broad-Based Black Economic Empowerment Act, 2003 (Act No. 53 of 2003);

- “EME” means an Exempted Micro Enterprise in terms of a code of good practice  on black economic empowerment issued in terms of section 9 (1) of the Broad-Based Black Economic Empowerment Act;

- “functionality” means the ability of a tenderer to provide goods or services in accordance with specifications as set out in the tender documents.

- “prices” includes all applicable taxes less all unconditional discounts;

- “proof of B-BBEE status level of contributor” means:

- B-BBEE Status level certificate issued by an authorized body or person;

- A sworn affidavit as prescribed by the B-BBEE Codes of Good Practice;

- Any other requirement prescribed in terms of the B-BBEE Act;

- “QSE” means a qualifying small business enterprise in terms of a code of good practice  on black economic empowerment issued in terms of section 9 (1) of the Broad-Based Black Economic Empowerment Act;

- “rand value” means the total estimated value of a contract in Rand, calculated at the time of bid invitation, and includes all applicable taxes;

- POINTS AWARDED FOR PRICE

  - THE 80/20 OR 90/10 PREFERENCE POINT SYSTEMS

A maximum of 80 or 90 points is allocated for price on the following basis:

# 80/20	or	90/10

or

Where

Ps	=	Points scored for price of bid under consideration

Pt	=	Price of bid under consideration

Pmin	=	Price of lowest acceptable bid

- POINTS AWARDED FOR B-BBEE STATUS LEVEL OF CONTRIBUTOR

  - In terms of Regulation 6 (2) and 7 (2) of the Preferential Procurement Regulations, preference points must be awarded to a bidder for attaining the B-BBEE status level of contribution in accordance with the table below:

| B-BBEE Status Level of Contributor | Number of points (90/10 system) | Number of points (80/20 system) |
| --- | --- | --- |
| 1 | 10 | 20 |
| 2 | 9 | 18 |
| 3 | 6 | 14 |
| 4 | 5 | 12 |
| 5 | 4 | 8 |
| 6 | 3 | 6 |
| 7 | 2 | 4 |
| 8 | 1 | 2 |
| Non-compliant contributor | 0 | 0 |

- BID DECLARATION

  - Bidders who claim points in respect of B-BBEE Status Level of Contribution must complete the following:

- B-BBEE STATUS LEVEL OF CONTRIBUTOR CLAIMED IN TERMS OF PARAGRAPHS 1.4 AND 4.1

  - B-BBEE Status Level of Contributor:	.      =     ………(maximum of 10 or 20 points)

(Points claimed in respect of paragraph 7.1 must be in accordance with the table reflected in paragraph 4.1 and must be substantiated by relevant proof of B-BBEE status level of contributor.

- SUB-CONTRACTING

  - Will any portion of the contract be sub-contracted?

(Tick applicable box)

| YES |  | NO |  |
| --- | --- | --- | --- |

    - If yes, indicate:

- What percentage of the contract will be subcontracted............…………….…………%

- The name of the sub-contractor…………………………………………………………..

- The B-BBEE status level of the sub-contractor......................................……………..

- Whether the sub-contractor is an EME or QSE

(Tick applicable box)

| YES |  | NO |  |
| --- | --- | --- | --- |

- Specify, by ticking the appropriate box, if subcontracting with an enterprise in terms of Preferential Procurement Regulations,2017:

| Designated Group: An EME or QSE which is at last 51% owned by: | EME √ | QSE √ |
| --- | --- | --- |
| Black people |  |  |
| Black people who are youth |  |  |
| Black people who are women |  |  |
| Black people with disabilities |  |  |
| Black people living in rural or underdeveloped areas or townships |  |  |
| Cooperative owned by black people |  |  |
| Black people who are military veterans |  |  |
| OR |  |  |
| Any EME |  |  |
| Any QSE |  |  |

- DECLARATION WITH REGARD TO COMPANY/FIRM

  - Name of company/firm:…………………………………………………………………………….

  - VAT registration number:……………………………………….…………………………………

  - Company registration number:…………….……………………….…………………………….

  - TYPE OF COMPANY/ FIRM

Partnership/Joint Venture / Consortium

One person business/sole propriety

Close corporation

Company

(Pty) Limited

[Tick applicable box]

  - DESCRIBE PRINCIPAL BUSINESS ACTIVITIES

…………………………………………………………………………………………………………………………………………………………………………………………………………………………………

  - COMPANY CLASSIFICATION

Manufacturer

Supplier

Professional service provider

Other service providers, e.g. transporter, etc.

[Tick applicable box]

  - MUNICIPAL INFORMATION

Municipality where business is situated: ….……………………………………………….

Registered Account Number: ………………………….

Stand Number:……………………………………………….

  - Total number of years the company/firm has been in business:……………………………

  - I/we, the undersigned, who is / are duly authorised to do so on behalf of the company/firm, certify that the points claimed, based on the B-BBE status level of contributor indicated in paragraphs 1.4 and 6.1 of the foregoing certificate, qualifies the company/ firm for the preference(s) shown and I / we acknowledge that:

- The information furnished is true and correct;

- The preference points claimed are in accordance with the General Conditions as indicated in paragraph 1 of this form;

- In the event of a contract being awarded as a result of points claimed as shown in paragraphs 1.4 and 6.1, the contractor may be required to furnish documentary proof to the satisfaction of the purchaser that the claims are correct;

- If the B-BBEE status level of contributor has been claimed or obtained on a fraudulent basis or any of the conditions of contract have not been fulfilled, the purchaser may, in addition to any other remedy it may have –

  - disqualify the person from the bidding process;

  - recover costs, losses or damages it has incurred or suffered as a result of that person’s conduct;

  - cancel the contract and claim any damages which it has suffered as a result of having to make less favourable arrangements due to such cancellation;

  - recommend that the bidder or contractor, its shareholders and directors, or only the shareholders and directors who acted on a fraudulent basis, be restricted by the National Treasury from obtaining business from any organ of state for a period not exceeding 10 years, after the audi alteram partem (hear the other side) rule has been applied; and

  - forward the matter for criminal prosecution.

WITNESSES

- ……………………………………..

- …………………………………….

……………………………………….

SIGNATURE(S) OF BIDDERS(S)

DATE:		…………………………………..

ADDRESS	…………………………………..

…………………………………..

…………………………………..

MBD 6.2

DECLARATION CERTIFICATE FOR LOCAL PRODUCTION AND CONTENT FOR DESIGNATED SECTORS

This Municipal Bidding Document (MBD) must form part of all bids invited. It contains general information and serves as a declaration form for local content (local production and local content are used interchangeably).

Before completing this declaration, bidders must study the General Conditions, Definitions, Directives applicable in respect of Local Content as prescribed in the Preferential Procurement Regulations, 2017,  the South African Bureau of Standards (SABS) approved technical specification number SATS 1286:2011 (Edition 1) and the Guidance on the Calculation of Local Content together with the Local Content Declaration Templates [Annex C (Local Content Declaration: Summary Schedule), D (Imported Content Declaration: Supporting Schedule to Annex C) and E (Local Content Declaration: Supporting Schedule to Annex C)].

- General Conditions

  - Preferential Procurement Regulations, 2017 (Regulation 8) make provision for the promotion of local production and content.

  - Regulation 8.(2) prescribes that in the case of designated sectors, organs of state must advertise such tenders with the specific bidding condition that only locally produced or manufactured goods, with a stipulated minimum threshold for local production and content will be considered.

  - Where necessary, for tenders referred to in paragraph 1.2 above, a two stage bidding process may be followed, where the first stage involves a minimum threshold for local production and content and the second stage price and B-BBEE.

  - A person awarded a contract in relation to a designated sector, may not sub-contract in such a manner that the local production and content of the overall value of the contract is reduced to below the stipulated minimum threshold.

  - The local content (LC) expressed as a percentage of the bid price must be calculated in accordance with the SABS approved technical specification number SATS 1286: 2011 as follows:

LC = [1 - x / y] * 100

Where

x 	is the imported content in Rand

y	is the bid price in Rand excluding value added tax (VAT)

Prices referred to in the determination of x must be converted to Rand (ZAR) by using the exchange rate published by South African Reserve Bank (SARB) on the date of advertisement of the bid as indicated in paragraph 3.1 below.

The SABS approved technical specification number SATS 1286:2011 is accessible on http:/www.thedti.gov.za/industrial development/ip.jsp at no cost.

  - A bid may be disqualified if this Declaration Certificate and the Annex C (Local Content Declaration: Summary Schedule) are not submitted as part of the bid documentation;

- The stipulated minimum threshold(s) for local production and content (refer to Annex A of SATS 1286:2011) for this bid is/are as follows:

| Description of services, works or goods | Stipulated minimum threshold | Project scope and Items list on BoQ |
| --- | --- | --- |
| Steel Power Pylons, Monopole Pylons, Steel Substation Structures, Powerline Hardware, Street Light Steel Poles, Steel Lattice Towers | - 100% | Equipment supports - Item 5.4, 5.5 and 5.9 |
| Electrical and telecom cables | - 100% | Low voltage cables - Item 7.2.1 – 7.2.12, 7.3.1 – 7.3.4, 7.4.21 – 7.4.30, 7.5.15 – 7.5.24, 9.3.7 – 9.3.24 Power cabling - Item 8.5.1 – 8.5.3, 8.6.14 Fibre Optic cable - Item 9.4.5 |
| Valves products and actuators | - 90% | Fire protection and ventilation - Item 6.1 |
| Steel Value-added Products - Fabricated Structural Steel - Joining/Connecting Components - Frames - Roof and Cladding - Fasteners - Wire Products - Ducting and Structural pipework - Gutters, downpipes & lauders - Plates - Sheets - Galvanised and Colour Coated Coils - Wire Rod and Drawn Wire - Sections - Reinforcing bars | - 100% - 100% - 100% - 100% - 100% - 100% - 100% - 100% - 100% - 100% - 100% - 100% - 100% - 100% | Construction and civils - Item 2.2, 3.1, 3.2, 5.2 - 5.9 and 7.3.23 – 7.3.24, 7.6, Barricade/Fencing - item 8.6.16 |
| Plastic Pipes - Polyvinyl chloride (PVC) pipes - High density polyethylene (HDPE) pipes - Polypropylene (PP) pipes - Glass reinforced plastic (GRP) pipes | - 100% - 100% - 100% - 100% | Sleeves - Item 4.1.1, 4.4.4, 4.6.1, 4.8.1 – 4.8.3, 7.1.9, 7.1.11, 7.3.21 – 7.3.22 |

NOTE: BIDDERS HAVE TO COMPLETE ANNEXURE C BEFORE COMPLETING ANNEX D and

E. FOR FURTHER INFORMATION REGARDING THE BREAKDOWN OF LOCAL CONTENT,

KINDLY CONTACT DEPARTMENT OF TRADE AND INDUSTRY (WWW.DTI.GOV.ZA)

3.	Does any portion of the goods or services offered

have any imported content?

(Tick applicable box)

| YES |  | NO |  |
| --- | --- | --- | --- |

3.1	 If yes, the rate(s) of exchange to be used in this bid to calculate the local content as prescribed in paragraph 1.5 of the general conditions must be the rate(s) published by SARB for the specific currency on the date of advertisement of the bid.

The relevant rates of exchange information is accessible on www.resbank.co.za

Indicate the rate(s) of exchange against the appropriate currency in the table below (refer to Annex A of SATS 1286:2011):

| Currency | Rates of exchange |
| --- | --- |
| US Dollar |  |
| Pound Sterling |  |
| Euro |  |
| Yen |  |
| Other |  |

NB: Bidders must submit proof of the SARB rate (s) of exchange used.

4.	Where, after the award of a bid, challenges are experienced in meeting the stipulated minimum threshold for local content the dti must be informed accordingly in order for the dti to verify and in consultation with the AO/AA provide directives in this regard.

LOCAL CONTENT DECLARATION

(REFER TO ANNEX B OF SATS 1286:2011)

LOCAL CONTENT DECLARATION BY CHIEF FINANCIAL OFFICER OR OTHER LEGALLY RESPONSIBLE PERSON NOMINATED IN WRITING BY THE CHIEF EXECUTIVE OR SENIOR MEMBER/PERSON WITH MANAGEMENT RESPONSIBILITY (CLOSE CORPORATION, PARTNERSHIP OR INDIVIDUAL) IN RESPECT OF BID NO. ................................................................................. ISSUED BY: (Procurement Authority / Name of Institution): ......................................................................................................................... NB - The obligation to complete, duly sign and submit this declaration cannot be transferred to an external authorized representative, auditor or any other third party acting on behalf of the bidder. - Guidance on the Calculation of Local Content together with Local Content Declaration Templates (Annex C, D and E) is accessible on http://www.thedti.gov.za/industrial_development/ip.jsp. Bidders should first complete Declaration D. After completing Declaration D, bidders should complete Declaration E and then consolidate the information on Declaration C. Declaration C should be submitted with the bid documentation at the closing date and time of the bid in order to substantiate the declaration made in paragraph (c) below. Declarations D and E should be kept by the bidders for verification purposes for a period of at least 5 years. The successful bidder is required to continuously update Declarations C, D and E with the actual values for the duration of the contract. I, the undersigned, …………………………….................................................... (full names), do hereby declare, in my capacity as ……………………………………… ……….. of ...............................................................................................................(name of bidder entity), the following: - The facts contained herein are within my own personal knowledge. - I have satisfied myself that: - the goods/services/works to be delivered in terms of the above-specified bid comply with the minimum local content requirements as specified in the bid, and as measured in terms of SATS 1286:2011; and - The local content percentage (%) indicated below has been calculated using the formula given in clause 3 of SATS 1286:2011, the rates of exchange indicated in paragraph 3.1 above and the information contained in Declaration D and E which has been consolidated in Declaration C: Bid price, excluding VAT (y); R. Imported content (x), as calculated in terms of SATS 1286:2011; R. Stipulated minimum threshold for local content (paragraph 3 above). Local content %, as calculated in terms of SATS 1286:2011. If the bid is for more than one product, the local content percentages for each product contained in Declaration C shall be used instead of the table above. The local content percentages for each product has been calculated using the formula given in clause 3 of SATS 1286:2011, the rates of exchange indicated in paragraph 3.1 above and the information contained in Declaration D and E. - I accept that the Procurement Authority / Institution has the right to request that the local content be verified in terms of the requirements of SATS 1286:2011. - I understand that the awarding of the bid is dependent on the accuracy of the information furnished in this application. I also understand that the submission of incorrect data, or data that are not verifiable as described in SATS 1286:2011, may result in the Procurement Authority / Institution imposing any or all of the remedies as provided for in Regulation 14 of the Preferential Procurement Regulations, 2017 promulgated under the Preferential Policy Framework Act (PPPFA), 2000 (Act No. 5 of 2000). SIGNATURE: ________________________ WITNESS No. 1 DATE: ___________ WITNESS No. 2 DATE: ___________

MBD 8

# DECLARATION OF BIDDER’S PAST SUPPLY CHAIN MANAGEMENT PRACTICES

- This Municipal Bidding Document must form part of all bids invited.

- It serves as a declaration to be used by municipalities and municipal entities in ensuring that when goods and services are being procured, all reasonable steps are taken to combat the abuse of the supply chain management system.

- The bid of any bidder may be rejected if that bidder, or any of its directors have:

  - abused the municipality’s / municipal entity’s supply chain management system or committed any improper conduct in relation to such system;

  - been convicted for fraud or corruption during the past five years;

  - willfully neglected, reneged on or failed to comply with any government, municipal or other public sector contract during the past five years; or

  - been listed in the Register for Tender Defaulters in terms of section 29 of the Prevention and Combating of Corrupt Activities Act (No 12 of 2004).

- In order to give effect to the above, the following questionnaire must be completed and submitted with the bid.

| Item | Question | Yes | No |
| --- | --- | --- | --- |
| 4.1 | Is the bidder or any of its directors listed on the National Treasury’s Database of Restricted Suppliers as companies or persons prohibited from doing business with the public sector? (Companies or persons who are listed on this Database were informed in writing of this restriction by the Accounting Officer/Authority of the institution that imposed the restriction after the audi alteram partem rule was applied). The Database of Restricted Suppliers now resides on the National Treasury’s website(www.treasury.gov.za) and can be accessed by clicking on its link at the bottom of the home page. | Yes | No |
| 4.1.1 | If so, furnish particulars: |  |  |
| 4.2 | Is the bidder or any of its directors listed on the Register for Tender Defaulters in terms of section 29 of the Prevention and Combating of Corrupt Activities Act (No 12 of 2004)? The Register for Tender Defaulters can be accessed on the National Treasury’s website (www.treasury.gov.za) by clicking on its link at the bottom of the home page. | Yes | No |
| 4.2.1 | If so, furnish particulars: |  |  |
| 4.3 | Was the bidder or any of its directors convicted by a court of law (including a court of law outside the Republic of South Africa) for fraud or corruption during the past five years? | Yes | No |
| 4.3.1 | If so, furnish particulars: |  |  |
| Item | Question | Yes | No |
| 4.4 | Does the bidder or any of its directors owe any municipal rates and taxes or municipal charges to the municipality / municipal entity, or to any other municipality / municipal entity, that is in arrears for more than three months? | Yes | No |
| 4.4.1 | If so, furnish particulars: |  |  |
| 4.5 | Was any contract between the bidder and the municipality / municipal entity or any other organ of state terminated during the past five years on account of failure to perform on or comply with the contract? | Yes | No |
| 4.7.1 | If so, furnish particulars: |  |  |

CERTIFICATION

I, THE UNDERSIGNED (FULL NAME) …………..……………………………..……

CERTIFY THAT THE INFORMATION FURNISHED ON THIS

DECLARATION FORM TRUE AND CORRECT.

I ACCEPT THAT, IN ADDITION TO CANCELLATION OF A CONTRACT,

ACTION MAY BE TAKEN AGAINST ME SHOULD THIS DECLARATION

PROVE TO BE FALSE.

………………………………………...		…………………………..

Signature 			Date

……………………………………….		…………………………..

Position			Name of Bidder

MBD 9

CERTIFICATE OF INDEPENDENT BID DETERMINATION

1	This Municipal Bidding Document (MBD) must form part of all bids¹ invited.

2	Section 4 (1) (b) (iii) of the Competition Act No. 89 of 1998, as amended, prohibits an agreement between, or concerted practice by, firms, or a decision by an association of firms, if it is between parties in a horizontal relationship and if it involves collusive bidding (or bid rigging).² Collusive bidding is a pe se prohibition meaning that it cannot be justified under any grounds.

3	Municipal Supply Regulation 38 (1) prescribes that a supply chain management policy must provide measures for the combating of abuse of the supply chain management system, and must enable the accounting officer, among others, to:

a.	take all reasonable steps to prevent such abuse;

b.	reject the bid of any bidder if that bidder or any of its directors has abused the supply chain management system of the municipality or municipal entity or has committed any improper conduct in relation to such system; and

c.	cancel a contract awarded to a person if the person committed any corrupt or fraudulent act during the bidding process or the execution of the contract.

- This MBD serves as a certificate of declaration that would be used by institutions to ensure that, when bids are considered, reasonable steps are taken to prevent any form of bid-rigging.

- In order to give effect to the above, the attached Certificate of Bid Determination (MBD 9) must be completed and submitted with the bid:

¹ Includes price quotations, advertised competitive bids, limited bids and proposals.

² Bid rigging (or collusive bidding) occurs when businesses, that would otherwise be expected to compete, secretly conspire to raise prices or lower the quality of goods and / or services for purchasers who wish to acquire goods and / or services through a bidding process.  Bid rigging is, therefore, an agreement between competitors not to compete.

MBD 9

CERTIFICATE OF INDEPENDENT BID DETERMINATION

I, the undersigned, in submitting the accompanying bid:

________________________________________________________________________

(Bid Number and Description)

in response to the invitation for the bid made by:

______________________________________________________________________________

(Name of Municipality / Municipal Entity)

do hereby make the following statements that I certify to be true and complete in every respect:

I certify, on behalf of: _______________________________________________________that:

(Name of Bidder)

- I have read and I understand the contents of this Certificate;

- I understand that the accompanying bid will be disqualified if this Certificate is found not to be true and complete in every respect;

- I am authorized by the bidder to sign this Certificate, and to submit the accompanying bid, on behalf of the bidder;

- Each person whose signature appears on the accompanying bid has been authorized by the bidder to determine the terms of, and to sign, the bid, on behalf of the bidder;

- For the purposes of this Certificate and the accompanying bid, I understand that the word “competitor” shall include any individual or organization, other than the bidder, whether or not affiliated with the bidder, who:

(a) 	has been requested to submit a bid in response to this bid invitation;

(b) 	could potentially submit a bid in response to this bid invitation, based on their qualifications, abilities or experience; and

(c)	provides the same goods and services as the bidder and/or is in the same line of business as the bidder

- The bidder has arrived at the accompanying bid independently from, and without consultation, communication, agreement or arrangement with any competitor. However communication between partners in a joint venture or consortium³ will not be construed as collusive bidding.

- In particular, without limiting the generality of paragraphs 6 above, there has been no consultation, communication, agreement or arrangement with any competitor regarding:

- prices;

- geographical area where product or service will be rendered (market allocation)

(c) 	methods, factors or formulas used to calculate prices;

(d)	 the intention or decision to submit or not to submit, a bid;

(e)	 the submission of a bid which does not meet the specifications and conditions of the bid; or

(f)        bidding with the intention not to win the bid.

- In addition, there have been no consultations, communications, agreements or arrangements with any competitor regarding the quality, quantity, specifications and conditions or delivery particulars of the products or services to which this bid invitation relates.

- The terms of the accompanying bid have not been, and will not be, disclosed by the bidder, directly or indirectly, to any competitor, prior to the date and time of the official bid opening or of the awarding of the contract.

³ Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.

- I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to bids and contracts, bids that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No 89 of 1998 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act  No 12 of 2004 or any other applicable legislation.

…………………………………………………			…………………………………

Signature							Date

………………………………………………….			…………………………………

Position 							Name of Bidder

PART 5: SCOPE OF WORK

            - EVALUATION CRITERIA

            - PRICING SCHEDULE

            - PROJECT SPECIFICATION

            - SEE ATTACHED SPECIFICATIONS : CP_TSSPEC_060 Rev 2

: CP_TSSPEC_061 Rev 5

: CP_TSSPEC_117 Rev 3

: CP_TSSPEC_009 Rev 0

: CP_TSSPEC_124 Rev 2

: CP_TSSPEC_120 Rev 2

: ESKOM SPEC NO: 240-56030436

: CP_TSSPEC_160 Rev 1

: CP_TSSPEC_151 Rev 1

: CP_TSSPEC_001 Rev 8

: CP_TSSPEC_053 Rev 7

: CP_TSSPEC_002 Rev 7

: CP_TSSPEC_054 Rev 5

: CP_TSSPEC_148 Rev 1

: CP_TSSPEC_045 Rev 3

: CP_TSSPEC_202 Rev 0

: CP_TSSPEC_237 Rev 0

: CP_TSSPEC_294 Rev 1

: CP_TSSPEC_213 Rev 1

: CP_TSSPEC_056 Rev 2

: CP_TSSPEC_055 Rev 3

: CP_TSSPEC_268 Rev 1

: CP_TSSPEC_214 Rev 4

5. DRAWINGS (For Information purposes only)

6. Tenderers can access the DTI website by clicking the following link, where they must obtain/download ANNEXURES C, D, and E in XLS format to complete and submit with their tender by the bid closing date and time: http://www.thedtic.gov.za/wp-content/uploads/PI-annex.xls

5.1: EVALUATION CRITERIA

BID NUMBER: 2485 GS

BID DESCRIPTION: HOPEFIELD SUBSTATION UPGRADE

MINIMUM THRESHOLD OF 85% ON TECHNICAL FUNCTIONALITY MUST BE ACHIEVED FAILING WHICH, THE BID WILL NOT BE FURTHER EVALUATED.

| Item | Mandatory Requirements |
| --- | --- |
| - 1 | Valid proof of electrical contractor registration with department of labour |
| - 2 | It is estimated that tenderers should have a CIDB contractor grading of 8EP or higher |
| - 3 | Bidders who satisfy minimum threshold for Local Content as designated by Department of Trade & Industry (DTI) will be further Evaluated. Refer. MBD 6.2 & Annexures. |
| - 4 | Provide a valid COIDA certificate issued by the Department of Labour |

| Item | Technical Evaluation Criteria | Scoring | Weighting |
| --- | --- | --- | --- |
| 1. | Technical Schedules and Type Test Reports: Fully completed, compliant and signed technical schedules and complete type test reports for all equipment stated below: Note: All specific equipment requirement for construction of a substation are clearly outlined on a Bill of Quantities (BoQ) schedules. - OPGW technical schedule and type test reports (CP_TSSPEC_060) - HV conductors technical schedule and type test reports (CP_TSSPEC_061) - HV Surge Arrestors technical schedule and type test reports (CP_TSSPEC_117) - AC disconnectors and earthing switches technical schedule and type test reports (CP_TSSPEC_009) - HV Insulators technical schedule and type test reports (CP_TSSPEC_124) - HV Voltage Transformer technical schedule and type test reports (CP_TSSPEC_120) - HV Mixed Technology Hybrid Breaker technical schedules and type test reports (Eskom spec no: 240-56030436) - Battery charger technical schedule and type test reports (CP_TSSPEC_160) - Batteries technical schedule and type test report (CP_TSSPEC_151) - MV 11kV cables technical schedule and type test reports (CP_TSSPEC_001) - MV cable accessories technical schedule and type test reports (CP_TSSPEC_053) - Control cable technical schedule and type test reports (CP_TSSPEC_002) - Control cable accessories technical schedule and type test reports (CP_TSSPEC_054) - 200kVA, NECRT Transformer technical schedule and type test reports (CP_TSSPEC_148) - PVC Sleeves technical schedule and type test reports (CP_TSSPEC_045) - Copper Clad Steel wire technical schedule and type test reports (CP_TSSPEC_202) NB: - Only type test reports issued by an accredited independent laboratory will be accepted - If a type test report is not submitted or incomplete and the technical schedules are not fully completed no points will be allocated (Equals to Zero). - Ticks [√, X], Asterisk [*] Word [Noted], TBA [“To Be Advised”] or TBC [“To Be Confirmed”] shall not be accepted when completing a technical schedule - The Bill of Quantities (BoQ) and project scope outline requirements for equipment, as per the technical schedules, deviations should be noted on the deviation section of each specification and shall be evaluated. THIS WILL APPLY TO ALL EQUIPMENT LISTED ABOVE. | Fully completed, compliant and signed with the type test reports = 10 Not Fully completed, compliant and signed with the type test reports = 0 | 35 |
|  | Technical Schedules: Fully completed, compliant and signed technical schedules for all equipment stated below: - Integrated Security System technical schedule (CP_TSSPEC_237) - CCTV Camera technical schedule (CP_TSSPEC_294) - Perimeter Fence technical schedule (CP_TSSPEC_213) - Earth Rods and Couplers technical schedule (CP_TSSPEC_056) - Exothermic Welding technical schedule (CP_TSSPEC_055) - SCADA RTU technical schedule (CP_TSSPEC_268) - IED technical schedule (CP_TSSPEC_214) NB: Ticks [√, X], Asterisk [*] Word [Noted], TBA [“To Be Advised”] or TBC [“To Be Confirmed”] shall not be accepted when completing a technical schedule - The Bill of Quantities (BoQ) and project scope outline requirements for equipment, as per the technical schedules, deviations should be noted on the deviation section of each specification and shall be evaluated. THIS WILL APPLY TO ALL EQUIPMENT LISTED ABOVE. | Fully completed, compliant and signed technical schedules = 10 Not Fully completed, compliant and signed technical schedule = 0 | 15 |
| 2. | Substation construction in Civil Works, Primary and Secondary Plant experience: Three (3) completed projects on full substations upgrade rated at a minimum 88KV scope with contactable references (Provide reference letters from clients confirming scope of work, value and satisfaction. These must be on the client’s letter heads addressed to bidder). Outline reference: - - Civil work (Foundations, Building, Structural and Roofing). - Primary Plant (Power transformer, HV & MV Switchgear and MV & LV cables) - Secondary Plant (Protection System; SCADA, Telecoms, DC systems, Integrated Security System and Fire) | Three or more projects completed with reference letters = 10 Two projects completed with reference letters = 7 One project completed with reference letters = 2 No projects completed, or no reference letters provided = 0 | 20 |
| 3. | Provide a detailed Team composition - Project Manager x 1 - CV – should include the following: - Minimum of 3 years’ experience in Electrical construction (covering electrical substation construction including civil, equipment design and commissioning) - Relevant qualifications ( N Dip/B-tech/BSC/Masters in Project Management) - SACPCMP/PMP Registered as a professional project manager - ID - Electrical Engineers x 2 (One - Primary Plant and One - Secondary Plant Engineers) - CV – should include the following: - Minimum of 3 years’ experience in Primary and Secondary plant (covering substation equipment design and commissioning) - Relevant qualifications ( B-tech/BSC in Electrical Engineering) - ECSA Registered as an Electrical professional Engineer/Technologist - ID - Civil or Structural Engineer x1 - CV – should include the following: - Minimum of 3 years’ experience in Civil/Structural (covering substation civil and structural work) - Relevant qualifications (B-tech/BSC in Civil Engineering) - ECSA Registered as a Civil or Structural professional Engineer/Technologist - ID - SHERQ Officer x1 - CV – should include the following: - Minimum of 3 years’ experience in the management of SHEQ requirements within the substation - Relevant qualifications (Diploma/B-tech/BSC in Safety Management or Samtrac certificate in Safety Management) - SACPCMP Registered as a professional Safety Officer - ID NB: - Clear Certified copies must not be older than 3 months from the closing date of this bid. - All qualifications to be SAQA accredited - Foreign nationals must provide a certified passport together with a certified valid work permit (If the work permit reflects a company name it must be the same name of the bidding company) - ECSA registration as a Professional is also a requirement for foreign nationals | All Team composition details and supporting documents provided = 10 Incomplete Team composition details provided and supporting documents = 0 | 20 |
| 4. | SHERQ Requirements: Provide the following valid ISO Certificates ISO 9001 (3) ISO 14001 (3) ISO 45001 (4) OR Detailed SHERQ Plan covering Safety and Health (4) Environment (3), and Quality (3) including Risk identification and mitigation in the three topics | 0 - 10 points | 10 |
| TOTAL |  |  | 100 |
|  | SECOND STAGE OF EVALUATION |  |  |
| 1. | Price |  | 90 |
| 2. | B-BBEE Level |  | 10 |

5.2 BILL OF QUANTITIES

| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | SECTION 1 : PRELIMINARIES AND GENERAL |  |  |  |  |
| 1 |  | SPECIFIC REQUIREMENTS |  |  |  |  |
| 1.1.1 |  | Compliance to General and Special Conditions of Contract | Sum | 1 |  |  |
| 1.1.2 |  | Allow for Engineering Designs, Drawings and Calculations | Sum | 1 |  |  |
| 1.1.3 |  | Allow for Attendance to Site Meeting | Sum | 1 |  |  |
| 1.1.4 |  | Allow for construction to be done in close proximity of energized HV/MV equipment | Sum | 1 |  |  |
| 1.2 |  | CONTRACTOR'S FIXED CHARGE ITEMS |  |  |  |  |
| 1.2.1 |  | Contractual Requirements | Sum | 1 |  |  |
| 1.2.2 |  | Establish Site | Sum | 1 |  |  |
| 1.2.3 |  | De-establish Site | Sum | 1 |  |  |
| 1.2.4 |  | Plant and Equipment | Sum | 1 |  |  |
| 1.3 |  | STORAGE, INSURANCE AND GUARANTEE |  |  |  |  |
| 1.3.1 |  | Allow for safe storage and safekeeping of all materials and equipment for the duration of the contract | Sum | 1 |  |  |
| 1.3.2 |  | Performance Guarantee and/or Surety | Sum | 1 |  |  |
| 1.3.3 |  | 12 months guarantee against defects on all workmanship, material and equipment | Sum | 1 |  |  |
| 1.4 |  | PERMITS AND NOTICES |  |  |  |  |
| 1.4.1 |  | Obtain all necessary permits for transport of equipment and/or giving of notices to authorities | Sum | 1 |  |  |
| 1.4.2 |  | Acquire Wayleave approvals | Sum | 1 |  |  |
| 1.5 |  | CONTRACTOR'S TIME RELATED ITEMS |  |  |  |  |
| 1.5.1 |  | Contractual Requirements | Item | 1 |  |  |
| 1.5.2 |  | Operate/Maintain site | Months | 12 |  |  |
| 1.5.3 |  | Supervision | Months | 12 |  |  |
| 1.6 |  | OHS ACT REQUIREMENTS |  |  |  |  |
| 1.6.1 |  | Allow for compliance with the requirements of the construction regulations | Sum | 1 |  |  |
| 1.7 |  | DOCUMENTATION |  |  |  |  |
| 1.7.1 |  | Marked up As-built Drawings | Sum | 1 |  |  |
| 1.7.2 |  | Operations and Maintenance Manuals | Sum | 1 |  |  |
| 1.8 |  | SPECIALISED SERVICES |  |  |  |  |
| 1.8.1 |  | Allow for work to be done within a live substation restricted environment. | Sum | 1 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
| 1.8.2 |  | Compliance to EMP Plan | Sum | 1 |  |  |
| 1.8.3 |  | Transportation of all obsolete materials to Reuven or dumpsite | Sum | 1 |  |  |
| 1.8.4 |  | Provisional amount to repair any damage to existing earthmat | Sum | 1 |  | R50 000.00 |
| 1.8.5 |  | Underground Services Scan and Report | Sum | 1 |  |  |
|  |  | SECTION 2 : ALTERATIONS TO EXISTING BUILDING |  |  |  |  |
|  |  | The tenderer is advised to refer to the following drawings amongst others for details when pricing this document: |  |  |  |  |
|  |  | 1. 19-003-01-01 |  |  |  |  |
|  |  | 2. 19-003-02-03 |  |  |  |  |
|  |  | 3. 19-003-05-02 |  |  |  |  |
|  |  | 4. 19-003-02-02 |  |  |  |  |
|  |  | 5. 19-003-03-01 |  |  |  |  |
|  |  | 6. 19-003-04-01 |  |  |  |  |
|  |  | 7. 19-003-02-01 |  |  |  |  |
|  |  | 8. 19-003-05-01 |  |  |  |  |
| 2.1 |  | ALTERATIONS |  |  |  |  |
| 2.1 |  | Removal of existing work |  |  |  |  |
| 2.1.1 |  | Demolish existing 100 thick concrete aprons | m2 | 116 |  |  |
| 2.1.2 |  | Break up and removing existing 100mm thick screed | m2 | 280 |  |  |
| 2.1.3 |  | Take out and remove existing single doors | No. | 3 |  |  |
| 2.1.4 |  | Take out and removing existing double doors | No. | 3 |  |  |
| 2.1.5 |  | Take out and removing existing windows | No. | 88 |  |  |
| 2.1.6 |  | Taking out and removing doors 900 x 2100mm high including thresholds, sills, etc. and building up openings in brick walls, including making good cement plaster on one side and facebrick on the other side | No. | 2 |  |  |
| 2.1.7 |  | Taking out and removing window 2100 x 900mm high including thresholds, sills, etc. and building up openings in brick walls, including making good cement plaster on one side and facebrick on the other side | No. | 1 |  |  |
| 2.1.8 |  | Breaking out for and forming openings through brick walls for 900 x 2100mm high new doors and frames, including prestressed concrete lintels, making good cement plaster on both sides and into reveals and with 20 MPa concrete thresholds with steel trowelled finish | No. | 1 |  |  |
| 2.1.9 |  | Take out and remove existing water closet complete with piping, fittings etc. | No. | 1 |  |  |
| 2.1.10 |  | Take out and remove existing wash hand basin complete with piping, fittings etc. | No. | 1 |  |  |
| 2.1.11 |  | Take out and removing existing roof | m2 | 280 |  |  |
| 2.1.12 |  | Saw cutting existing 100mm thick surface bed, break up and removing concrete, excavation and preparatory work to allow for new 600mm wide trench | m | 17 |  |  |
| 2.1.13 |  | Saw cutting existing 100mm thick surface bed, break up and removing concrete, excavation and preparatory work to allow for extension of existing 600m trench to new 1200mm wide trench | m | 6 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
| 2.1.14 |  | Take out existing L shaped mono pitched of timber trusses and purlins, corrugated sheet steel covering, eaves soffit covering, fascia, barge boards, gutters and rainwater pipes | No. | 1 |  |  |
| 2.2 |  | NEW WORK |  |  |  |  |
| 2.2.1 |  | Prepare surfaces and install coloured granolithic including joints | m2 | 280 |  |  |
| 2.2.2 |  | Prepare wall surfaces and paint existing surface with an undercoat and two coats of eggshell enamel | m2 | 393 |  |  |
| 2.2.3 |  | Construction of new roofing complete with steel trusses, purlins etc. and installation of new 0.8mm thick IBR roof covering, flashings, and aerolite insulation, etc. | m2 | 280 |  |  |
| 2.2.4 |  | Supply, install and paint fascia and bargeboards | m | 25 |  |  |
| 2.2.5 |  | Supply, install and paint gutters | m | 25 |  |  |
| 2.2.6 |  | Supply, install and paint downpipes | m | 22 |  |  |
| 2.2.7 |  | Supply and install rainwater goods fittings (shoes, outlets, offsets, etc.) | Sum | 1 |  |  |
| 2.2.8 |  | Supply, install and paint 9mm thick gypsum plasterboard ceiling complete including branding, insulation, etc | m2 | 280 |  |  |
| 2.2.9 |  | Supply, install and paint gypsum cornices | m | 104 |  |  |
| 2.2.10 |  | Supply and install wash hand basins with piping, fittings, taps, waste union, bottle traps, taps, etc. complete | No. | 1 |  |  |
| 2.2.11 |  | Supply and install 1000mm wide aprons, including excavation, reinforcement, finishing to surfaces, etc. | m2 | 41 |  |  |
| 2.2.12 |  | Supply and install 1800mm wide aprons, including excavation, reinforcement, finishing to surfaces, etc. | m2 | 94 |  |  |
| 2.2.13 |  | Supply, install and paint single transformer door (D2) complete with ironmongery, door frame, etc. | No. | 4 |  |  |
| 2.2.14 |  | Supply, install and paint double transformer door (D1) complete with ironmongery, door frame, etc. | No. | 3 |  |  |
| 2.2.15 |  | Supply and install fibretek fibreglass trench cover to 600mm wide trench complete with framing, etc. | m | 76 |  |  |
| 2.2.16 |  | Supply and install fibretek fibreglass trench cover to 1200mm wide trench complete with framing, etc. | m | 26 |  |  |
|  |  | SECTION 3 : NEW WORKS |  |  |  |  |
|  |  | The tenderer is advised to refer to the following drawings amongst others for details when pricing this document: |  |  |  |  |
|  |  | 1. 19-003-01-01 |  |  |  |  |
|  |  | 2. 19-003-02-03 |  |  |  |  |
|  |  | 3. 19-003-05-02 |  |  |  |  |
|  |  | 4. 19-003-02-02 |  |  |  |  |
|  |  | 5. 19-003-03-01 |  |  |  |  |
|  |  | 6. 19-003-04-01 |  |  |  |  |
|  |  | 7. 19-003-02-01 |  |  |  |  |
|  |  | 8. 19-003-05-01 |  |  |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
| 3.1 |  | GUARD HOUSE |  |  |  |  |
| 3.1.1 |  | Prepare surfaces, excavate for and including 700 x 230 strip concrete footings, layerworks, compaction, soil poisoning, reinforcement, waterproofing, brickwork, testing, etc. | Item | 1 |  |  |
| 3.1.2 |  | Prepare surfaces and supply install 150mm thick surface bed including joints, waterproofing, layerworks, compaction, testing, etc. | m2 | 19 |  |  |
| 3.1.3 |  | Powerfloating to surfaces | m2 | 10 |  |  |
| 3.1.4 |  | Construct one brick wall complete with brickforce, external facebrick finish, waterproofing, etc. | m2 | 9 |  |  |
| 3.1.5 |  | Prepare surfaces, screed and install tiling to floors including joints, grouting, etc. | m2 | 15 |  |  |
| 3.1.6 |  | Install tile skirting | m | 10 |  |  |
| 3.1.7 |  | Prepare surfaces, plaster and install tiling to walls including joints, grouting, etc. | m2 | 15 |  |  |
| 3.1.8 |  | Prepare surfaces, plaster and paint existing surface with an undercoat and two coats of eggshell enamel | m2 | 65 |  |  |
| 3.1.9 |  | Supply and install 1000mm wide aprons, including excavation, reinforcement, finishing to surfaces, etc. | m2 | 23 |  |  |
| 3.1.10 |  | Construction of new roofing complete with steel trusses, purlins etc. and installation of new 0.8mm thick IBR roof covering, flashings, and aerolite insulation, etc. | m2 | 19 |  |  |
| 3.1.11 |  | Supply, install and paint fascia and bargeboards | m | 9 |  |  |
| 3.1.12 |  | Supply, install and paint gutters | m | 5 |  |  |
| 3.1.13 |  | Supply, install and paint downpipes | m | 5 |  |  |
| 3.1.14 |  | Supply and install rainwater goods fittings (shoes, outlets, offsets, etc.) | Sum | 1 |  |  |
| 3.1.15 |  | Supply, install and paint 9mm thick gypsum plasterboard ceiling complete including branding, insulation, etc | m2 | 19 |  |  |
| 3.1.16 |  | Supply, install and paint gypsum cornices | m | 27 |  |  |
| 3.1.17 |  | Supply and install wash hand basins with piping, fittings, taps, waste union, bottle traps, taps, etc. complete | No. | 1 |  |  |
| 3.1.18 |  | Supply and install shower with piping, fittings, traps, shower enclosure, trays, taps, etc. complete | No. | 1 |  |  |
| 3.1.19 |  | Supply and install water closet with piping, fittings, traps, flush system, toilet roll holder, etc. complete | No. | 1 |  |  |
| 3.1.20 |  | Supply and install double bowl sink with piping, fittings, taps, traps, waste union, sink cupboard, etc. complete | No. | 1 |  |  |
| 3.1.21 |  | Supply, install and paint single steel door (D4) complete with ironmongery, door frame, etc. | No. | 2 |  |  |
| 3.1.22 |  | Supply, install and paint steel door (D3) complete with lintols, ironmongery, door frame, etc. | No. | 1 |  |  |
| 3.1.23 |  | Supply, install and paint mild steel louvre window 2100mm x 900mm high (W6) complete with lintols, ironmongery, sills, etc | No. | 2 |  |  |
| 3.1.24 |  | Supply, install and paint mild steel louvre window 900mm x 900mm high (W5) complete with lintols, ironmongery, sills,etc | No. | 1 |  |  |
| 3.1.25 |  | Supply, install and paint mild steel louvre window, 600mm x 900mm high (W4) complete with lintols, ironmongery, sills,etc | No. | 2 |  |  |
| 3.1.26 |  | Supply and install 600 x 450mm high mirror complete | No. | 1 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
| 3.2 |  | RIPPLE CONTROL ROOM |  |  |  |  |
| 3.2.1 |  | Prepare surfaces, excavate for and including 700 x 230 strip concrete footings, layerworks, compaction, soil poisoning, reinforcement, waterproofing, brickwork, testing, etc. | Item | 1 |  |  |
| 3.2.2 |  | Prepare surfaces and supply install 150mm thick surface bed including joints, waterproofing, layerworks, compaction, testing, etc. | m2 | 29 |  |  |
| 3.2.3 |  | Prepare surfaces and install coloured granolithic including joints | m2 | 14 |  |  |
| 3.2.4 |  | Construct one brick wall complete with brickforce, external facebrick finish, waterproofing, etc. | m2 | 86 |  |  |
| 3.2.5 |  | Prepare surfaces, plaster and paint existing surface with an undercoat and two coats of eggshell enamel | m2 | 60 |  |  |
| 3.2.6 |  | Supply and install 1000mm wide aprons, including excavation, reinforcement, finishing to surfaces, etc. | m2 | 16 |  |  |
| 3.2.7 |  | Construction of new roofing complete with steel trusses, purlins etc. and installation of new 0.8mm thick IBR roof covering, flashings, and aerolite insulation, etc. | m2 | 29 |  |  |
| 3.2.8 |  | Supply, install and paint fascia and bargeboards | m | 5 |  |  |
| 3.2.9 |  | Supply, install and paint gutters | m | 5 |  |  |
| 3.2.10 |  | Supply, install and paint downpipes | m | 11 |  |  |
| 3.2.11 |  | Supply and install rainwater goods fittings (shoes, outlets, offsets, etc.) | Sum | 1 |  |  |
| 3.2.12 |  | Supply, install and paint 9mm thick gypsum plasterboard ceiling complete including branding, insulation, etc complete | m2 | 29 |  |  |
| 3.2.13 |  | Supply, install and paint gypsum cornices | m | 16 |  |  |
| 3.2.14 |  | Supply, install and paint single door (D2) complete with ironmongery, door frame, etc. | No. | 2 |  |  |
| 3.2.15 |  | Construct 600mm wide trenches including excavations, formwork, reinforcement, imported fill, concrete, etc. complete | m | 76 |  |  |
| 3.2.16 |  | Supply and install fibretek fibreglass trench cover to 600mm wide trench complete with framing, etc. complete | m | 76 |  |  |
|  |  | SECTION 5: EXTERNAL WORKS |  |  |  |  |
|  |  | The tenderer is advised to refer to the following drawings amongst others for details when pricing this document: |  |  |  |  |
|  |  | 1. ECS 260-TR-005 |  |  |  |  |
|  |  | 2. 19-003-01-01 |  |  |  |  |
|  |  | 3. ECS-260-STR-001 |  |  |  |  |
|  |  | 4. ECS-260-STR-005 |  |  |  |  |
|  |  | 5. ECS-260-STR-010 |  |  |  |  |
|  |  | 6. ECS-260-STR-020 |  |  |  |  |
|  |  | 7. ECS-260-STR-025 |  |  |  |  |
|  |  | 8. ECS-260-STR-030 |  |  |  |  |
|  |  | 9. ECS-260-STR-035 |  |  |  |  |
|  |  | 10. ECS-260-STR-040 |  |  |  |  |
|  |  | 11. ECS-260-STR-045 |  |  |  |  |
|  |  | 12. ECS-260-STR-050 |  |  |  |  |
|  |  | 13. ECS-260-CIV-011 |  |  |  |  |
|  |  | 14. ECS-260-CIV-003 |  |  |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
|  |  | REMOVAL OF EXISTING WORK |  |  |  |  |
| 5.1 |  | Removal of existing work |  |  |  |  |
| 5.1.1 |  | Take out and remove 3 in No. existing containers | Item | 1 |  |  |
| 5.1.2 |  | Demolish existing 1.8m high precast concrete wall | m | 650 |  |  |
| 5.1.3 |  | Remove existing yard stone and dispose | m³ | 246 |  |  |
| 5.2 |  | SITE WORKS |  |  |  |  |
| 5.2.1 |  | Herbicide/Insecticide application | m2 | 3944 |  |  |
| 5.2.2 |  | Supply and lay 25mm - 40mm yard stone | m³ | 293 |  |  |
| 5.2.3 |  | Construct 1.8m high ClearVu fencing complete | m | 200 |  |  |
| 5.2.4 |  | Construct 2.8m high boundary wall complete including excavations, necessary excavation in soft rock and hard rock, imported fill, cart away, formwork, concrete, reinforcement, etc. and all other work as may be necessary | m | 298 |  |  |
| 5.2.5 |  | Electrification of 2.8m boundary wall | m | 298 |  |  |
| 5.2.6 |  | Supply and install 3m wide sliding gate complete | No. | 1 |  |  |
| 5.2.7 |  | Supply and install 6m wide sliding gate complete | No. | 2 |  |  |
| 5.2.8 |  | Construct 6m high fire wall complete including excavations, necessary excavation in soft rock and hard rock, imported fill, cart away, formwork, concrete, reinforcement, coping on top, etc. and all other work as may be necessary | m | 9 |  |  |
| 5.2.9 |  | Allow for fire booster connection | Item | 1 |  |  |
| 5.3 |  | CONCRETE WORKS |  |  |  |  |
| 5.3 |  | Oil drainage dam |  |  |  |  |
| 5.3.1 |  | Construct 4600mm x 4600mm x 3820mm high oil dam complete including excavations, necessary excavation in soft rock and hard rock, imported fill, cart away, formwork, concrete, reinforcement, etc. and all other work as may be necessary | No. | 1 |  |  |
| 5.3.2 |  | Supply and install complete 300mm spigot and socket concrete pipe including clamps | m | 10 |  |  |
| 5.3.3 |  | 9E Lockable light duty 930 x 630mm polymer concrete access cover with frame | No. | 1 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
| 5.4 |  | Transformer plinth |  |  |  |  |
| 5.4.1 |  | Construct transformer plinth including sumps, bund walls, ramps, etc. overall size 12230mm x 8350mm x 930mm high complete including excavations, necessary excavation in soft rock and hard rock, imported fill, cart away, formwork, concrete, reinforcement, screening, jointing, etc. and all other work as may be necessary | No. | 2 |  |  |
| 5.4.2 |  | Supply and install complete 650 x 650 galvanised B60 30mm x 4.5mm gripweld grating cover and frame | No. | 2 |  |  |
| 5.4 |  | Medium Equipment Support |  |  |  |  |
| 5.4.1 |  | Construct 1200mm x 1200mm x 1000mm high medium equipment foundation complete including excavations, necessary excavation in soft rock and hard rock, imported fill, cart away, formwork, concrete, reinforcement, holding down bolts, etc. and all other work as may be necessary | No. | 14 |  |  |
| 5.5 |  | Tubular Busbar Support |  |  |  |  |
| 5.5.1 |  | Construct 2 in No.1000mm x 1000mm x 800mm tubular busbar foundation complete including excavations, necessary excavation in soft rock and hard rock, imported fill, cart away, formwork, concrete, reinforcement, holding down bolts, etc. and all other work as may be necessary | No. | 12 |  |  |
| 5.6 |  | Necrt Support Plinth |  |  |  |  |
| 5.6.1 |  | Construct 2300mm x 1500mm x 675mm high Necrt support plinth complete including excavations, necessary excavation in soft rock and hard rock, imported fill, cart away, formwork, concrete, reinforcement, holding down bolts, etc. and all other work as may be necessary | No. | 2 |  |  |
| 5.7 |  | Hybrid Circuit Breaker Plinth |  |  |  |  |
| 5.7.1 |  | Construct 3000mm x 2000mm x 1000mm high hybrid circuit breaker plinth formed of 2 plinths complete including excavations, necessary excavation in soft rock and hard rock, imported fill, cart away, formwork, concrete, reinforcement, holding down bolts, etc. and all other work as may be necessary | No. | 5 |  |  |
| 5.8 |  | Switch gear building extension |  |  |  |  |
| 5.8.1 |  | Construct 6110mm x 4451mm x 1500mm high switch gear building extension including excavations, necessary excavation in soft rock and hard rock, imported fill, cart away, formwork, concrete, reinforcement, holding down bolts, etc. and all other work as may be necessary (trench cover measured elsewhere) | No. | 1 |  |  |
| 5.8.2 |  | 4.5mm Thick vastrap welded on 100 x 75x 20x 2.5mm CFLC spaced at 800mm centres including 90 x 65 x 8mm angle on both sides with 125 x 50 x 5mm lugs complete | m | 18 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
| 5.9 |  | STEELWORKS |  |  |  |  |
| 5.9.1 |  | Supply and install structural steel lattice support for medium equipment overall size 6600 x 204 x 5020mm high including columns, beams, bracing, plates, holding down bolts, bolts, etc. and all necessary work complete | No. | 14 |  |  |
| 5.9.2 |  | Supply and install structural steel for tubular busbar support overall size 900 x 900 x 2327mm high including columns, beams, bracing, plates, holding down bolts, bolts, etc. and all necessary work complete | No. | 12 |  |  |
| 5.10 |  | WATER AND SEWER CONNECTION |  |  |  |  |
| 5.10.1 |  | Supply install new water meter | No. | 1 |  |  |
| 5.10.2 |  | Supply install new gate valve | No. | 1 |  |  |
| 5.10.3 |  | Supply and install new sewer manhole complete including cover | No. | 1 |  |  |
| 5.10.4 |  | Provide the sum of R 10 000 (Ten Thousand Rand) for municipal connection | Sum | 1 |  | R10 000.00 |
| 5.10.5 |  | Testing the water pipe system | Item | 1 |  |  |
|  |  | SECTION No. 6: FIRE PROTECTION AND VENTILATION |  |  |  |  |
| 6.1 |  | FIRE RING MAIN SUPPLY ( All Pipings Maximum of 15 bars pressure) |  |  |  |  |
|  |  | 100mm dia GMS/BS Underground fire water pipework laid in and including trenches exceeding 1.0m but not exceeding 2.0m deep |  |  |  |  |
| 6.1.1 |  |  |  |  |  |  |
| 6.1.2 |  | Supply | m | 50 |  |  |
|  |  | Install | m | 50 |  |  |
|  |  | 100mm dia 90 degree bend ( For Ring Main) |  |  |  |  |
| 6.1.3 |  | Supply | No | 4 |  |  |
| 6.1.4 |  | Install | No. | 4 |  |  |
|  |  | 100mm X 90 degree Junction ( For Ring Main) |  |  |  |  |
| 6.1.5 |  | Supply | No | 2 |  |  |
| 6.1.6 |  | Install | No. | 2 |  |  |
|  |  | 100mm ABC cast iron ssn coupling and concrete around ( Ring Main) |  |  |  |  |
| 6.1.7 |  | Supply | No | 2 |  |  |
| 6.1.8 |  | Install | No. | 2 |  |  |
|  |  | 100mm non-return valves ( Ring Main) |  |  |  |  |
| 6.1.9 |  | Supply | No | 2 |  |  |
| 6.1.10 |  | Install | No. | 2 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
|  |  | 100mm isolating valves ( Ring Main) |  |  |  |  |
| 6.1.11 |  | Supply | No | 2 |  |  |
| 6.1.12 |  | Install | No. | 2 |  |  |
|  |  | 100mm pressure gauge ( Ring Main) |  |  |  |  |
| 6.1.13 |  | Supply | No | 1 |  |  |
| 6.1.14 |  | Install | No. | 1 |  |  |
|  |  | 100mm Fire Hydrant Pillar |  |  |  |  |
| 6.1.15 |  | Supply | No | 1 |  |  |
| 6.1.16 |  | Install | No. | 1 |  |  |
|  |  | Fireman twin booster hydrant, c/w all accessories |  |  |  |  |
| 6.1.17 |  | Supply | No | 1 |  |  |
| 6.1.18 |  | Install | No. | 1 |  |  |
| 6.2 |  | FIRE EQUIPMENT |  |  |  |  |
|  |  | Outdoor fire extinguisher ( 4.5 kg DCP) in weather and vandal resistant enclosure |  |  |  |  |
| 6.2.1 |  | Supply | No | 1 |  |  |
| 6.2.2 |  | Install | No. | 1 |  |  |
|  |  | Indoor fire extinguisher ( 5 kg CO2) |  |  |  |  |
| 6.2.3 |  | Supply | No | 2 |  |  |
| 6.2.4 |  | Install | No. | 2 |  |  |
|  |  | Outdoor fire extinguishers ( 5kg CO2) in weather and vandal resistant enclosure |  |  |  |  |
| 6.2.5 |  | Supply | No | 4 |  |  |
| 6.2.6 |  | Install | No. | 4 |  |  |
| 6.2.7 |  | Fire protection signage |  |  |  |  |
|  |  |  | Item | 1 |  |  |
|  |  | Domestic and Fire water storage Jojo tank (1000 litres) mounted on concrete plinth c/w all accessories and circulating pump |  |  |  |  |
| 6.2.8 |  | Supply | No | 1 |  |  |
| 6.2.9 |  | Install | No. | 1 |  |  |
| 6.2.10 |  | System designs, drawings, documentation and commissioning | Item | 1 |  |  |
| 6.2.11 |  | Sundries | Item | 1 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
| 6.3 |  | VENTILATION |  |  |  |  |
|  |  | WMEF-(Wall Mounted Extractor Fan) - ø306mm Axial flow wall mounted fan, duty @ 60Pa , 266L/s air flow, 1400rpm max and complete with a speed controller, timer and isolator. |  |  |  |  |
| 6.3.1 |  | Supply | No | 1 |  |  |
| 6.3.2 |  | Install | No. | 1 |  |  |
|  |  | WL- 1800 x 800 Weather louvre c/w W.M.S |  |  |  |  |
| 6.3.3 |  | Supply | No | 24 |  |  |
| 6.3.4 |  | Install | No. | 24 |  |  |
|  |  | DG -1, 600x300 single blade,45°, aluminium door Grille (EUROPAIR or Equal) |  |  |  |  |
| 6.3.5 |  | Supply | No | 4 |  |  |
| 6.3.6 |  | Install | No. | 4 |  |  |
| 6.3.7 |  | System designs, drawings, documentation and commissioning | Item | 1 |  |  |
| 6.3.8 |  | Sundries | Item | 1 |  |  |
|  |  | SECTION No. 7: BUILDING SERVICES ELECTRICAL INSTALLATIONS |  |  |  |  |
| 7.1 |  | MEDIUM VOLTAGE RETICULATION |  |  |  |  |
|  |  | Local Miniature Substation |  |  |  |  |
|  | 3702 | 11000/400V 315kVA miniature substation, complete with 11 kV 3-way "3SD" SF6 Ring Main Unit, LV switchgear compartment and auxiliary equipment as specified. Rate to include pre-cast concrete plinth. |  |  |  |  |
| 7.1.1 |  | Supply | No | 0 |  |  |
| 7.1.2 |  | Install | No. | 0 |  |  |
|  |  | Trenching |  |  |  |  |
|  |  | Excavate for new cable trenches, sleeves foundations, manholes, joint holes etc in soil (up to 1.0m deep). Backfilling shall be done in stages and thoroughly consolidated at each stage to prevent subsequent subsidence. |  |  |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
|  |  | Pickable soil |  |  |  |  |
| 7.1.3 |  | Install | m³ | 50 |  |  |
|  |  | Bedding under the filling around cables comprising sifted sand |  |  |  |  |
| 7.1.4 |  | Install | m³ | 6 |  |  |
|  |  | Cable Warning Tape |  |  |  |  |
|  |  | "Skull and Crossbones" danger tape, installed 100 mm above cable / sleeve |  |  |  |  |
|  |  | PVC Warning Marking Tape |  |  |  |  |
| 7.1.5 |  | Supply | m | 250 |  |  |
| 7.1.6 |  | Install | m | 250 |  |  |
|  |  | Cable Markers |  |  |  |  |
|  |  | Pre-cast concrete cable markers, complete with aluminium marker plate, engraved with cable and / or sleeve details |  |  |  |  |
|  |  | Concrete Route Markers |  |  |  |  |
| 7.1.7 |  | Supply | No. | 10 |  |  |
| 7.1.8 |  | Install | No. | 10 |  |  |
|  |  | PVC Sleeves |  |  |  |  |
|  |  | Protective, black un-plasticized polyvinyl chloride or high density polyethylene, 6m in length with an outer diameter of 110mm fitted with an end cap and coupling per end. |  |  |  |  |
|  | 12236 | 6m x 110mm diameter |  |  |  |  |
| 7.1.9 |  | Supply | No. | 67 |  |  |
| 7.1.10 |  | Install | No. | 67 |  |  |
|  |  | Draw wires |  |  |  |  |
|  |  | Draw wire drawn into PVC cable sleeves |  |  |  |  |
|  |  | 1.6mm² Galvanised steel draw wire |  |  |  |  |
| 7.1.11 |  | Supply | m | 400 |  |  |
| 7.1.12 |  | Install | m | 400 |  |  |
| 7.2 |  | LOW VOLTAGE RETICULATION |  |  |  |  |
|  |  | Low voltage cables |  |  |  |  |
|  | 3932 | 95mm² 4-core 600/1000V XLPE aluminium cable |  |  |  |  |
| 7.2.1 |  | Supply | m | 100 |  |  |
| 7.2.2 |  | Install | m | 100 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
|  | 3931 | 50mm² 4-core 600/1000V XLPE aluminium cable |  |  |  |  |
| 7.2.3 |  | Supply | m | 30 |  |  |
| 7.2.4 |  | Install | m | 30 |  |  |
|  | 3929 | 25mm² 4-core 600/1000V XLPE aluminium cable |  |  |  |  |
| 7.2.5 |  | Supply | m | 80 |  |  |
| 7.2.6 |  | Install | m | 80 |  |  |
|  |  | Low voltage cables termination |  |  |  |  |
|  | 6077 | 95mm² 4-core 600/1000V XLPE aluminium cable |  |  |  |  |
| 7.2.7 |  | Supply | No | 2 |  |  |
| 7.2.8 |  | Install | No. | 2 |  |  |
|  |  | 50mm² 4-core 600/1000V XLPE aluminium cable |  |  |  |  |
| 7.2.9 |  | Supply | No | 2 |  |  |
| 7.2.10 |  | Install | No. | 2 |  |  |
|  |  | 25mm² 4-core 600/1000V XLPE aluminium cable |  |  |  |  |
| 7.2.11 |  | Supply | No | 2 |  |  |
| 7.2.12 |  | Install | No. | 2 |  |  |
|  |  | Earthing Conductors |  |  |  |  |
|  |  | 50mm² stranded copper cladded steel earth conductor (NRS 102) or equivalent |  |  |  |  |
| 7.2.13 |  | Supply | m | 100 |  |  |
| 7.2.14 |  | Install | m | 100 |  |  |
|  |  | 25mm² stranded copper cladded steel earth conductor (NRS 102) or equivalent |  |  |  |  |
| 7.2.15 |  | Supply | m | 30 |  |  |
| 7.2.16 |  | Install | m | 30 |  |  |
|  |  | 16mm² stranded copper cladded steel earth conductor (NRS 102) or equivalent |  |  |  |  |
| 7.2.17 |  | Supply | m | 80 |  |  |
| 7.2.18 |  | Install | m | 80 |  |  |
|  |  | Earthing Conductors Termination |  |  |  |  |
|  |  | 50mm² stranded copper cladded steel earth conductor (NRS 102) or equivalent |  |  |  |  |
| 7.2.19 |  | Supply | No | 2 |  |  |
| 7.2.20 |  | Install | No. | 2 |  |  |
|  |  | 25mm² stranded copper cladded steel earth conductor (NRS 102) or equivalent |  |  |  |  |
| 7.2.21 |  | Supply | No | 2 |  |  |
| 7.2.22 |  | Install | No. | 2 |  |  |
|  |  | 16mm² stranded copper cladded steel earth conductor (NRS 102) or equivalent |  |  |  |  |
| 7.2.23 |  | Supply | No | 2 |  |  |
| 7.2.24 |  | Install | No. | 2 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
| 7.3 |  | AREA LIGHTING |  |  |  |  |
|  |  | Low voltage cables |  |  |  |  |
|  | 3929 | 25mm² 4-core 600/1000V XLPE aluminium cable |  |  |  |  |
| 7.3.1 |  | Supply | m | 500 |  |  |
| 7.3.2 |  | Install | m | 500 |  |  |
|  |  | Low voltage cables termination |  |  |  |  |
|  |  | 25mm² 4-core 600/1000V XLPE aluminium cable |  |  |  |  |
| 7.3.3 |  | Supply | No | 26 |  |  |
| 7.3.4 |  | Install | No. | 26 |  |  |
|  |  | Earthing Conductors |  |  |  |  |
|  |  | 16mm² stranded copper cladded steel earth conductor (NRS 102) or equivalent |  |  |  |  |
| 7.3.5 |  | Supply | m | 500 |  |  |
| 7.3.6 |  | Install | m | 500 |  |  |
|  |  | Earthing Conductors Termination |  |  |  |  |
|  |  | 16mm² stranded copper cladded steel earth conductor (NRS 102) or equivalent |  |  |  |  |
| 7.3.7 |  | Supply | No | 26 |  |  |
| 7.3.8 |  | Install | No. | 26 |  |  |
|  |  | Earth Rods |  |  |  |  |
|  |  | Copper clad steel earth rod, M16, suitable for use with exothermic welding system. |  |  |  |  |
|  | 7088 | 1500mm long 16mm diameter |  |  |  |  |
| 7.3.9 |  | Supply | No. | 6 |  |  |
| 7.3.10 |  | Install | No. | 6 |  |  |
|  |  | Area Lights |  |  |  |  |
|  |  | Installed and mounted on poles, including poles, mounting brackets, excavation to install poles, lamps, 5A circuit breaker and 2 x 2.5mm² PVC conductors from circuit breaker to luminaire on top of pole. |  |  |  |  |
|  |  | Type S |  |  |  |  |
|  |  | 55W LED lamp streetlight fitting mounted on 8m galvanised steel pole. |  |  |  |  |
| 7.3.11 |  | Supply | No. | 8 |  |  |
| 7.3.12 |  | Install | No. | 8 |  |  |
|  |  | Type F |  |  |  |  |
|  |  | 104W LED lamp floodlight fitting mounted at a height of 6m on an existing 21m lightning protection galvanised steel pole. The price should include the cost of the relevant mounting bracket. |  |  |  |  |
| 7.3.13 |  | Supply | No. | 11 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
| 7.3.14 |  | Install | No. | 11 |  |  |
|  |  | Trenching |  |  |  |  |
|  |  | Excavate for new cable trenches, sleeves foundations, manholes, joint holes etc in soil (up to 1.0m deep). Backfilling shall be done in stages and thoroughly consolidated at each stage to prevent subsequent subsidence. |  |  |  |  |
|  |  | Pickable soil |  |  |  |  |
| 7.3.15 |  | Install | m³ | 300 |  |  |
|  |  | Bedding under the filling around cables comprising sifted sand |  |  |  |  |
| 7.3.16 |  | Install | m³ | 40 |  |  |
|  |  | Cable Warning Tape |  |  |  |  |
|  |  | "Skull and Crossbones" danger tape, installed 100 mm above cable / sleeve |  |  |  |  |
|  |  | PVC Warning Marking Tape |  |  |  |  |
| 7.3.17 |  | Supply | m | 500 |  |  |
| 7.3.18 |  | Install | m | 500 |  |  |
|  |  | Cable Markers |  |  |  |  |
|  |  | Pre-cast concrete cable markers, complete with aluminium marker plate, engraved with cable and / or sleeve details |  |  |  |  |
|  |  | Concrete Route Markers |  |  |  |  |
| 7.3.19 |  | Supply | No. | 20 |  |  |
| 7.3.20 |  | Install | No. | 20 |  |  |
|  |  | PVC Sleeves |  |  |  |  |
|  |  | Protective, black un-plasticized polyvinyl chloride or high density polyethylene, 6m in length with an outer diameter of 110mm fitted with an end cap and coupling per end. |  |  |  |  |
|  | 12236 | 6m x 110mm diameter |  |  |  |  |
| 7.3.21 |  | Supply | No. | 4 |  |  |
| 7.3.22 |  | Install | No. | 4 |  |  |
|  |  | Draw wires |  |  |  |  |
|  |  | Draw wire drawn into PVC cable sleeves |  |  |  |  |
|  |  | 1.6mm² Galvanised steel draw wire |  |  |  |  |
| 7.3.23 |  | Supply | m | 20 |  |  |
| 7.3.24 |  | Install | m | 20 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
| 7.4 |  | EXISTING SWITCHGEAR BUILDING |  |  |  |  |
|  |  | Distribution Boards |  |  |  |  |
|  |  | Distribution board complete with all MCBs, switchgear, accessories, sheet metal frames, sub-frames, busbars, terminals, wiring, conduit terminations, labelling, fixtures and fittings as specified, with all equipment fitted and equipped in factory all strictly as per schematic diagram. |  |  |  |  |
|  |  | (Please note that the distribution board's shop drawing should be submitted to the Engineer for approval prior to manufacture). |  |  |  |  |
|  |  | DB-SUB |  |  |  |  |
| 7.4.1 |  | Supply | No. | 1 |  |  |
| 7.4.2 |  | Install | No. | 1 |  |  |
|  |  | Galvanised steel conduits |  |  |  |  |
|  |  | Galvanised steel conduit including bending, short lengths, draw boxes, cutting, bands, jointing, couplings, saddles and accessories as per SABS 1065. Fixed to surface or laid in or flush mounted in brickwork, dry walls (partitions), concrete, roof space or ceiling void. The rate to allow for the conduit mounting brackets to suspend conduits from concrete slab as would be required in the ceiling void. |  |  |  |  |
|  |  | 20mm |  |  |  |  |
| 7.4.3 |  | Supply | m | 100 |  |  |
| 7.4.4 |  | Install | m | 100 |  |  |
|  |  | 25mm |  |  |  |  |
| 7.4.5 |  | Supply | m | 100 |  |  |
| 7.4.6 |  | Install | m | 100 |  |  |
|  |  | Galvanised steel round boxes |  |  |  |  |
|  |  | Surface or flush mounted 60mm deep Galvanised steel conduit round boxes with one, two, three or four way or back entry as required, including fixing to conduit with the necessary locknuts, adaptors, bushes, etc., installed in brickwork, on surface in ceiling void or cast in concrete inclusive of cover plates, where necessary. |  |  |  |  |
|  |  | 20mm |  |  |  |  |
| 7.4.7 |  | Supply | No. | 15 |  |  |
| 7.4.8 |  | Install | No. | 15 |  |  |
|  |  | 25mm |  |  |  |  |
| 7.4.9 |  | Supply | No. | 15 |  |  |
| 7.4.10 |  | Install | No. | 15 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
|  |  | Galvanised boxes |  |  |  |  |
|  |  | Surface or flush mounted galvanised boxes with one, two, three or four way or back entry as required, including fixing to conduit with the necessary locknuts, adaptors, bushes, etc., installed chased in brickwork, on surface in ceiling or cast in concrete, excluding cover plates. |  |  |  |  |
|  |  | 100 x 50 x 50mm |  |  |  |  |
| 7.4.11 |  | Supply | No. | 2 |  |  |
| 7.4.12 |  | Install | No. | 2 |  |  |
|  |  | 100 x 100 x 50mm |  |  |  |  |
| 7.4.13 |  | Supply | No. | 2 |  |  |
| 7.4.14 |  | Install | No. | 2 |  |  |
| 7.4.15 |  | Power trunking |  |  |  |  |
| 7.4.16 |  |  |  |  |  |  |
|  |  | Supply and install ceiling mounted single compartment galvanized steel trunking complete with covers, tees, bends, hangers, threaded rods, purlin clamps and all other accessories for a complete installation. |  |  |  |  |
|  |  | 127mm wide x 76 mm deep (as Cabstrut P9000) |  |  |  |  |
| 7.4.17 |  | Supply | m | 10 |  |  |
| 7.4.18 |  | Install | m | 10 |  |  |
|  |  | Cable Trays |  |  |  |  |
|  |  | Heavy Duty Galvanised Perforated Cable Trays complete with cantilever hangers or suspension rods complete with all joints, bends, tees, splicing etc |  |  |  |  |
|  |  | 150mm wide cable tray |  |  |  |  |
| 7.4.19 |  | Supply | m | 20 |  |  |
| 7.4.20 |  | Install | m | 20 |  |  |
|  |  | PVC insulated conductors |  |  |  |  |
|  |  | 600/1000V PVC insulated conductors drawn into conduit or installed in wiring channel including conductor identification labels, terminating, etc. |  |  |  |  |
|  | 1722 | 2.5 mm² (RED) |  |  |  |  |
| 7.4.21 |  | Supply | m | 200 |  |  |
| 7.4.22 |  | Install | m | 200 |  |  |
|  | 1521 | 2.5 mm² (YELLOW) |  |  |  |  |
| 7.4.23 |  | Supply | m | 100 |  |  |
| 7.4.24 |  | Install | m | 100 |  |  |
|  | 1724 | 2.5 mm² (BLUE) |  |  |  |  |
| 7.4.25 |  | Supply | m | 100 |  |  |
| 7.4.26 |  | Install | m | 100 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
|  | 1723 | 2.5 mm² (BLACK) |  |  |  |  |
| 7.4.27 |  | Supply | m | 200 |  |  |
| 7.4.28 |  | Install | m | 200 |  |  |
|  |  | PVC Insulated earth conductors |  |  |  |  |
|  |  | 600/1000V PVC insulated earth conductors drawn into conduit or installed in wiring channel including conductor identification labels, terminating, etc. |  |  |  |  |
|  | 1725 | 2.5 mm² (YELLOW & GREEN) |  |  |  |  |
| 7.4.29 |  | Supply | m | 300 |  |  |
| 7.4.30 |  | Install | m | 300 |  |  |
|  |  | Socket outlets |  |  |  |  |
|  |  | Socket outlet complete with all necessary chrome fixing screws, steel cover plates, labelling, cradles, including all holes, drilling, etc |  |  |  |  |
|  |  | 16A, 230V, 3-pin double switched, wall mounted |  |  |  |  |
| 7.4.31 |  | Supply | No. | 3 |  |  |
| 7.4.32 |  | Install | No. | 3 |  |  |
|  |  | Isolators |  |  |  |  |
|  |  | 20A DP Single phase Isolator |  |  |  |  |
| 7.4.33 |  | Supply | No. | 1 |  |  |
| 7.4.34 |  | Install | No. | 1 |  |  |
|  |  | 20A DP Single phase isolator, surface mounted, weatherproof, IP56 |  |  |  |  |
| 7.4.35 |  | Supply | No. | 2 |  |  |
| 7.4.36 |  | Install | No. | 2 |  |  |
|  |  | 130A TPN Three phase isolator, surface mounted, weatherproof, IP56 |  |  |  |  |
| 7.4.37 |  | Supply | No. | 1 |  |  |
| 7.4.38 |  | Install | No. | 1 |  |  |
|  |  | Light switches |  |  |  |  |
|  |  | Light switch complete with all necessary chrome fixing screws, steel cover plates, labelling, cradles, including all holes, drilling, etc inclusive of termination of circuit wiring onto switch terminals. |  |  |  |  |
|  |  | 16A, 230V, 1 Lever 1 Way |  |  |  |  |
| 7.4.39 |  | Supply | No. | 2 |  |  |
| 7.4.40 |  | Install | No. | 2 |  |  |
|  |  | 16A, 230V, 1 Lever 2 Way |  |  |  |  |
| 7.4.41 |  | Supply | No. | 4 |  |  |
| 7.4.42 |  | Install | No. | 4 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
|  |  | Occupancy Sensors |  |  |  |  |
|  |  | Ceiling mounted occupancy sensors for lighting control |  |  |  |  |
|  |  | 10A, 250V, Passive 360⁰ occupancy sensor |  |  |  |  |
| 7.4.43 |  | Supply | No. | 5 |  |  |
| 7.4.44 |  | Install | No. | 5 |  |  |
|  |  | Light fittings |  |  |  |  |
|  |  | SABS approved light fittings as per the specification, complete with lamps, machine or wood screws, bolts, installed and connected as specified. All fittings shall be similar or equal to (and subject to approval) the light fittings specified in the schedule of light fittings. |  |  |  |  |
|  |  | Please note that all ceiling mounted lay in fittings shall be delivered with 3m of 1,5mm² flexible cabtyre with a 5 amp 3 pin plug top fitted. |  |  |  |  |
|  |  | Type A |  |  |  |  |
| 7.4.45 |  | Supply | No. | 14 |  |  |
| 7.4.46 |  | Install | No. | 14 |  |  |
|  |  | Type AE |  |  |  |  |
| 7.4.47 |  | Supply | No. | 6 |  |  |
| 7.4.48 |  | Install | No. | 6 |  |  |
|  |  | Type B |  |  |  |  |
| 7.4.49 |  | Supply | No. | 0 |  |  |
| 7.4.50 |  | Install | No. | 0 |  |  |
|  |  | Type W |  |  |  |  |
| 7.4.51 |  | Supply | No. | 14 |  |  |
| 7.4.52 |  | Install | No. | 14 |  |  |
| 7.5 |  | NEW GUARD HOUSE |  |  |  |  |
|  |  | Distribution Boards |  |  |  |  |
|  |  | Distribution board complete with all MCBs, switchgear, accessories, sheet metal frames, sub-frames, busbars, terminals, wiring, conduit terminations, labelling, fixtures and fittings as specified, with all equipment fitted and equipped in factory all strictly as per schematic diagram. |  |  |  |  |
|  |  | (Please note that the distribution board's shop drawing should be submitted to the Engineer for approval prior to manufacture). |  |  |  |  |
|  |  | DB-G |  |  |  |  |
| 7.5.1 |  | Supply | No. | 1 |  |  |
| 7.5.2 |  | Install | No. | 1 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
|  |  | Galvanised steel conduits |  |  |  |  |
|  |  | Galvanised steel conduit including bending, short lengths, draw boxes, cutting, bands, jointing, couplings, saddles and accessories as per SABS 1065. Fixed to surface or laid in or flush mounted in brickwork, dry walls (partitions), concrete, roof space or ceiling void. The rate to allow for the conduit mounting brackets to suspend conduits from concrete slab as would be required in the ceiling void. |  |  |  |  |
|  |  | 20mm |  |  |  |  |
| 7.5.3 |  | Supply | m | 100 |  |  |
| 7.5.4 |  | Install | m | 100 |  |  |
|  |  | 25mm |  |  |  |  |
| 7.5.5 |  | Supply | m | 100 |  |  |
| 7.5.6 |  | Install | m | 100 |  |  |
|  |  | Galvanised steel round boxes |  |  |  |  |
|  |  | Surface or flush mounted 60mm deep Galvanised steel conduit round boxes with one, two, three or four way or back entry as required, including fixing to conduit with the necessary locknuts, adaptors, bushes, etc., installed in brickwork, on surface in ceiling void or cast in concrete inclusive of coverplates, where necessary. |  |  |  |  |
|  |  | 20mm |  |  |  |  |
| 7.5.7 |  | Supply | No. | 15 |  |  |
| 7.5.8 |  | Install | No. | 15 |  |  |
|  |  | 25mm |  |  |  |  |
| 7.5.9 |  | Supply | No. | 15 |  |  |
| 7.5.10 |  | Install | No. | 15 |  |  |
|  |  | Galvanised boxes |  |  |  |  |
|  |  | Surface or flush mounted galvanised boxes with one, two, three or four way or back entry as required, including fixing to conduit with the necessary locknuts, adaptors, bushes, etc., installed chased in brickwork, on surface in ceiling or cast in concrete, excluding coverplates. |  |  |  |  |
|  |  | 100 x 50 x 50mm |  |  |  |  |
| 7.5.11 |  | Supply | No. | 2 |  |  |
| 7.5.12 |  | Install | No. | 2 |  |  |
|  |  | 100 x 100 x 50mm |  |  |  |  |
| 7.5.13 |  | Supply | No. | 2 |  |  |
| 7.5.14 |  | Install | No. | 2 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
|  |  | PVC insulated conductors |  |  |  |  |
|  |  | 600/1000V PVC insulated conductors drawn into conduit or installed in wiring channel including conductor identification labels, terminating, etc. |  |  |  |  |
|  | 1722 | 2.5 mm² (RED) |  |  |  |  |
| 7.5.15 |  | Supply | m | 200 |  |  |
| 7.5.16 |  | Install | m | 200 |  |  |
|  | 1521 | 2.5 mm² (YELLOW) |  |  |  |  |
| 7.5.17 |  | Supply | m | 50 |  |  |
| 7.5.18 |  | Install | m | 50 |  |  |
|  | 1724 | 2.5 mm² (BLUE) |  |  |  |  |
| 7.5.19 |  | Supply | m | 50 |  |  |
| 7.5.20 |  | Install | m | 50 |  |  |
|  | 1723 | 2.5 mm² (BLACK) |  |  |  |  |
| 7.5.21 |  | Supply | m | 200 |  |  |
| 7.5.22 |  | Install | m | 200 |  |  |
|  |  | PVC Insulated earth conductors |  |  |  |  |
|  |  | 600/1000V PVC insulated earth conductors drawn into conduit or installed in wiring channel including conductor identification labels, terminating, etc. |  |  |  |  |
|  | 1725 | 2.5 mm² (YELLOW & GREEN) |  |  |  |  |
| 7.5.23 |  | Supply | m | 250 |  |  |
| 7.5.24 |  | Install | m | 250 |  |  |
|  |  | Socket outlets |  |  |  |  |
|  |  | Socket outlet complete with all necessary chrome fixing screws, steel cover plates, labelling, cradles, including all holes, drilling, etc |  |  |  |  |
|  |  | 16A, 230V, 3-pin double switched, wall mounted |  |  |  |  |
| 7.5.25 |  | Supply | No. | 2 |  |  |
| 7.5.26 |  | Install | No. | 2 |  |  |
|  |  | Isolators |  |  |  |  |
|  |  | 20A DP Single phase Isolator |  |  |  |  |
| 7.5.27 |  | Supply | No. | 1 |  |  |
| 7.5.28 |  | Install | No. | 1 |  |  |
|  |  | 20A DP Single phase isolator, surface mounted, weatherproof, IP56 |  |  |  |  |
| 7.5.29 |  | Supply | No. | 2 |  |  |
| 7.5.30 |  | Install | No. | 2 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
|  |  | Light switches |  |  |  |  |
|  |  | Light switch complete with all necessary chrome fixing screws, steel cover plates, labeling, cradles, including all holes,drilling, etc inclusive of termination of circuit wiring onto switch terminals. |  |  |  |  |
|  |  | 16A, 230V, 1 Lever 1 Way |  |  |  |  |
| 7.5.31 |  | Supply | No. | 2 |  |  |
| 7.5.32 |  | Install | No. | 2 |  |  |
|  |  | Occupancy Sensors |  |  |  |  |
|  |  | Ceiling mounted occupancy sensors for lighting control |  |  |  |  |
|  |  | 10A, 250V, Passive 360⁰ occupancy sensor |  |  |  |  |
| 7.5.33 |  | Supply | No. | 2 |  |  |
| 7.5.34 |  | Install | No. | 2 |  |  |
|  |  | Light fittings |  |  |  |  |
|  |  | SABS approved light fittings as per the specification, complete with lamps, machine or wood screws, bolts, installed and connected as specified. All fittings shall be similar or equal to (and subject to approval) the light fittings specified in the schedule of light fittings. |  |  |  |  |
|  |  | Please note that all ceiling mounted lay in fittings shall be delivered with 3m of 1,5mm² flexible cabtyre with a 5 amp 3 pin plug top fitted. |  |  |  |  |
|  |  | Type A |  |  |  |  |
| 7.5.35 |  | Supply | No. | 1 |  |  |
| 7.5.36 |  | Install | No. | 1 |  |  |
|  |  | Type AE |  |  |  |  |
| 7.5.37 |  | Supply | No. | 1 |  |  |
| 7.5.38 |  | Install | No. | 1 |  |  |
|  |  | Type B |  |  |  |  |
| 7.5.39 |  | Supply | No. | 1 |  |  |
| 7.5.40 |  | Install | No. | 1 |  |  |
|  |  | Type W |  |  |  |  |
| 7.5.41 |  | Supply | No. | 4 |  |  |
| 7.5.42 |  | Install | No. | 4 |  |  |
| 7.6 |  | EARTHING AND LIGHTNING PROTECTION |  |  |  |  |
|  |  | Substation Earth Grid |  |  |  |  |
| 7.6.1 |  | Take appropriate Earth Resistance Measurements and submit earth grid design to Engineer for approval submit earth test results to Engineer after completion | Item | 1 |  |  |
| 7.6.2 |  | Earth grid installation c/w earth mat material, earth electrodes, earth connection straps, earth connection conductors, exothermic welding material, etc. to fulfil the complete earth grid installation. | Item | 1 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
|  |  | Lightning Protection of Switchyard |  |  |  |  |
| 7.6.3 |  | Take appropriate Earth Resistance Measurements and submit Lightning Protection System design to Engineer for approval in accordance with SANS 10313 in conjunction with SANS 62305. | Item | 1 |  |  |
| 7.6.4 |  | LPS installation c/w earth, earth electrodes, earth connection straps, CCS, exothermic welding material, down conductors, stand-off brackets, test joint brackets, etc. to fulfil the complete LPS installation. | Item | 1 |  |  |
|  |  | Lightning Protection of Building |  |  |  |  |
| 7.6.5 |  | Co-ordinate and provide Lightning protection system the existing switchgear building and the new guard house to SANS 10313 in conjunction with SANS 62305 including equipotential bonding and electronic earthing requirements (cross bond to earth mat) inclusive of certification by specialist. | Item | 1 |  |  |
| 7.7 |  | FACTORY ACCEPTANCE TESTS |  |  |  |  |
|  |  | Provide for all factory acceptance tests as specified inclusive of all expenses for two city power personel/representatives to attend local/regional/overseas FATs where applicable |  |  |  |  |
|  |  | Local Miniature Substation |  |  |  |  |
| 7.7.1 | 3702 | 11000/400V 315kVA miniature substation | Item | 0 |  |  |
|  |  | Distribution Boards |  |  |  |  |
| 7.7.2 |  | DB-SUB | Item | 0 |  |  |
| 7.7.3 |  | DB-G | Item | 0 |  |  |
| 7.8 |  | SITE TESTING AND COMMISSIONING |  |  |  |  |
|  |  | Local Miniature Substation |  |  |  |  |
| 7.8.1 | 3072 | 11000/400V 315kVA miniature substation | Item | 0 |  |  |
|  |  | Distribution Boards |  |  |  |  |
| 7.8.2 |  | DB-SUB | Item | 0 |  |  |
| 7.8.3 |  | DB-G | Item | 0 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
|  |  | SECTION No. 8: PRIMARY PLANT |  |  |  |  |
| 8.1 |  | DECOMMISSIONING |  |  |  |  |
|  |  | Decommissioning of Primary Plant equipment |  |  |  |  |
| 8.1.1 |  | Damaged 11kV Switchgear and return to City Power | Item | 1 |  |  |
| 8.1.2 |  | Existing 88/11kV, 45MVA Power Transformers and return to City Power | Item | 1 |  |  |
|  |  | Decommissioning of MV Cables |  |  |  |  |
| 8.1.3 |  | Decommissioning of all Existing old MV cables and return to Reuven Salvage yard | Item | 1 |  |  |
| 8.2 |  | OUTDOOR EQUIPMENT |  |  |  |  |
|  |  | Price shall include all sundries, tools, mounting accessories for the correct operation of the equipment price shall further include for fixing and alignment, on and off-site testing as per specification and equipment manufacturers requirements for a complete installation. Price shall include for all transport, off- loading, rigging insurance, etc. Steelworks, excavations and foundations measured under civil works |  |  |  |  |
|  |  | 88kV Yard Equipment |  |  |  |  |
|  | 1091 | 88kV Surge Arrestor (mounted on steelwork structure) |  |  |  |  |
| 8.2.1 |  | Supply | No | 6 |  |  |
| 8.2.2 |  | Install | No. | 6 |  |  |
|  |  | 88kV Voltage Transformer |  |  |  |  |
| 8.2.3 |  | Supply | No | 6 |  |  |
| 8.2.4 |  | Install | No. | 6 |  |  |
|  |  | 88kV Hybrid Circuit Breaker |  |  |  |  |
| 8.2.5 |  | Supply | No | 4 |  |  |
| 8.2.6 |  | Install | No. | 4 |  |  |
|  |  | 88kV Hybrid Bus-Section Breaker |  |  |  |  |
| 8.2.7 |  | Supply | No | 1 |  |  |
| 8.2.8 |  | Install | No. | 1 |  |  |
|  |  | 88kV Post Insulators |  |  |  |  |
| 8.2.9 |  | Supply | No | 42 |  |  |
| 8.2.10 |  | Install | No. | 42 |  |  |
|  |  | Transformer Yard |  |  |  |  |
|  |  | 88/11kV, 40MVA, YNd1 ONAF Power Transformer |  |  |  |  |
| 8.2.11 |  | Supply | No | 0 |  |  |
| 8.2.12 |  | Install | No. | 2 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
|  | 1091 | 88kV Surge Arrestor (mounted on transformer) |  |  |  |  |
| 8.2.13 |  | Supply | No | 0 |  |  |
| 8.2.14 |  | Install | No. | 6 |  |  |
|  | 2843 | 11kV Surge Arrestor (mounted on transformer) |  |  |  |  |
| 8.2.15 |  | Supply | No | 0 |  |  |
| 8.2.16 |  | Install | No. | 6 |  |  |
|  |  | 360A, 10s, NECRT (Neutral Earthing Coupler/ Resistor/ Auxiliary Transformer) Dyn11 complete with Current transformers as specified and 100kVA Auxiliary transformer |  |  |  |  |
| 8.2.17 |  | Supply | No | 2 |  |  |
| 8.2.18 |  | Install | No. | 2 |  |  |
|  |  | 11kV Transformer cable end support structure (excluding steel work, foundations and terminations |  |  |  |  |
| 8.2.19 |  | Supply | No | 2 |  |  |
| 8.2.20 |  | Install | No. | 2 |  |  |
|  |  | 11kV Post Insulators |  |  |  |  |
| 8.2.21 |  | Supply | No | 12 |  |  |
| 8.2.22 |  | Install | No. | 12 |  |  |
| 8.3 |  | 11kV PRIMARY EQUIPMENT |  |  |  |  |
|  |  | Price shall include all sundries, tools, mounting accessories for the correct operation of the equipment price shall further include for fixing and alignment, on and off-site testing as per specification and equipment manufacturers requirements for a complete installation. Price shall include for all transport, off- loading, rigging insurance, etc. |  |  |  |  |
|  |  | 11kV Indoor Metal Clad Switchgear (with off-board protection) |  |  |  |  |
|  |  | Incomer breaker, 2500A (inclusive of VT) |  |  |  |  |
| 8.3.1 |  | Supply | No | 0 |  |  |
| 8.3.2 |  | Install | No. | 2 |  |  |
|  |  | Bus-Section Breaker, 2500A |  |  |  |  |
| 8.3.3 |  | Supply | No | 0 |  |  |
| 8.3.4 |  | Install | No. | 1 |  |  |
|  |  | Bus-Section Riser Panel, 2500A |  |  |  |  |
| 8.3.5 |  | Supply | No | 0 |  |  |
| 8.3.6 |  | Install | No. | 1 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
|  |  | Outgoing Feeder Breaker, 800A |  |  |  |  |
| 8.3.7 |  | Supply | No | 0 |  |  |
| 8.3.8 |  | Install | No. | 14 |  |  |
| 8.4 |  | STRINGERS & BUSBAR TUBES |  |  |  |  |
|  |  | Overhead Stringers |  |  |  |  |
|  |  | Stranded aluminium conductor Stringing |  |  |  |  |
|  |  | Twin Bull |  |  |  |  |
| 8.4.1 |  | Supply | m | 60 |  |  |
| 8.4.2 |  | Install | m | 60 |  |  |
|  |  | Centipede |  |  |  |  |
| 8.4.3 |  | Supply | m | 600 |  |  |
| 8.4.4 |  | Install | m | 600 |  |  |
|  |  | String Sets |  |  |  |  |
| 8.4.5 |  | Supply | No | 20 |  |  |
| 8.4.6 |  | Install | No. | 20 |  |  |
|  |  | Busbar Tubes |  |  |  |  |
|  |  | Aluminium Alloy Tubing Busbar |  |  |  |  |
|  |  | 120mm diameter, 8W |  |  |  |  |
| 8.4.7 |  | Supply | m | 300 |  |  |
| 8.4.8 |  | Install | m | 300 |  |  |
|  |  | Damping Conductor |  |  |  |  |
| 8.4.9 |  | Supply | m | 300 |  |  |
| 8.4.10 |  | Install | m | 300 |  |  |
|  |  | End cap |  |  |  |  |
| 8.4.11 |  | Supply | No | 20 |  |  |
| 8.4.12 |  | Install | No. | 20 |  |  |
|  |  | Clamps |  |  |  |  |
|  |  | All Required Clamps & Covers |  |  |  |  |
| 8.4.13 |  | Supply | No | 200 |  |  |
| 8.4.14 |  | Install | No. | 200 |  |  |
| 8.5 |  | 11kV POWER CABLING |  |  |  |  |
|  |  | 11kV Power Cables |  |  |  |  |
|  | 3236 | 11kV 1000mm² XLPE 1-core Aluminium Cable |  |  |  |  |
| 8.5.1 |  | Supply | m | 720 |  |  |
| 8.5.2 |  | Install | m | 720 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
|  | 3234 | 11kV 300mm² XLPE 3-core Aluminium Cable |  |  |  |  |
| 8.5.3 |  | Supply | m | 300 |  |  |
| 8.5.4 |  | Install | m | 300 |  |  |
|  |  | Trefoil Clamps |  |  |  |  |
| 8.5.5 |  | Supply | No | 200 |  |  |
| 8.5.6 |  | Install | No. | 200 |  |  |
|  |  | 11kV Power Cables Termination |  |  |  |  |
|  |  | 11kV 1000mm² XLPE 1-core Aluminium Cable (Indoor) termination |  |  |  |  |
| 8.5.7 |  | Supply | No | 24 |  |  |
| 8.5.8 |  | Install | No. | 24 |  |  |
| ITEM | SAP | DESCRIPTION | UNIT | QTY | RATE | AMOUNT |
|  |  | 11kV 1000mm² XLPE 1-core Aluminium Cable (Outdoor) termination |  |  |  |  |
| 8.5.9 |  | Supply | No | 24 |  |  |
| 8.5.10 |  | Install | No. | 24 |  |  |
|  |  | 11kV 300mm² XLPE 3-core Aluminium Cable (Indoor) termination |  |  |  |  |
| 8.5.11 |  | Supply | No | 10 |  |  |
| 8.5.12 |  | Install | No. | 10 |  |  |
|  |  | 11kV Power Cables Joint |  |  |  |  |
|  |  | Include for the disconnection from switchgear and removal of old termination |  |  |  |  |
|  | 915 | 11kV 300mm2 XLPE 3-core aluminium to 185mm2 XLPE 3-core copper cable transition joint |  |  |  |  |
| 8.5.13 |  | Supply | No | 10 |  |  |
| 8.5.14 |  | Install | No. | 10 |  |  |
|  |  | Cable Testing |  |  |  |  |
| 8.5.15 |  | Test all installed cables | Item | 1 |  |  |
| 8.5.16 |  | Tan Delta Testing of all cables | Item | 1 |  |  |
| 8.7 |  | FACTORY ACCEPTANCE TESTS |  |  |  |  |
|  |  | Provide for all factory acceptance tests as specified inclusive of all expenses for two city power personnel/representatives to attend local/regional/overseas FATs where applicable |  |  |  |  |
|  |  | Primary Plant Equipment |  |  |  |  |
| 8.7.1 |  | 88kV Hybrid Circuit Breaker (minimum two units) | Item | 1 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
| 8.7.2 |  | 88kV Voltage Transformer (minimum two units) | Item | 1 |  |  |
| 8.7.3 |  | 88/11kV 40MVA Power Transformer | Item | 0 |  |  |
| 8.7.4 |  | 100kVA Auxiliary transformer | Item | 1 |  |  |
| 8.7.5 |  | 11kV Switchgear Feederboard | Item | 0 |  |  |
| 8.8 |  | SITE TESTING AND COMMISSIONING |  |  |  |  |
|  |  | Primary Plant Equipment |  |  |  |  |
| 8.8.1 |  | 88kV Hybrid Circuit Breaker (minimum two units) | Item | 1 |  |  |
| 8.8.2 |  | 88kV Voltage Transformer (minimum two units) | Item | 1 |  |  |
| 8.8.3 |  | 88/11kV 40MVA Power Transformer | Item | 1 |  |  |
| 8.8.4 |  | 100kVA Auxiliary transformer | Item | 1 |  |  |
| 8.8.5 |  | 11kV Switchgear Feederboard (OEM to install and commission switchboard) | Item | 1 |  |  |
| 8.9 |  | TRAINING |  |  |  |  |
|  |  | Primary Plant Equipment |  |  |  |  |
| 8.9.1 |  | Training on primary plant equipment for engineers and technicians on site | Item | 1 |  |  |
|  |  | SECTION No. 9: SECONDARY PLANT |  |  |  |  |
| 9.1 |  | DECOMMISSIONING |  |  |  |  |
|  |  | Decommissioning of Existing 88KV Protection & Control Panels |  |  |  |  |
| 9.1.1 |  | Decommissioning of Existing 88KV Incomer Protection & Control Panel(includes the cables from Marshalling kiosk to Protection & control panel) | Item | 2 |  |  |
| 9.1.2 |  | Decommissioning of Existing 88/11KV Transformer Protection & Control Panel (includes the cables from Marshalling kiosk to Protection & control panel) | Item | 2 |  |  |
| 9.1.3 |  | Decommissioning of Existing 88KV Bus section Protection & Control Panel (includes the cables from Marshalling kiosk to Protection & control panel) | Item | 1 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
| 9.1.4 |  | Decommissioning of Existing 88KV Busbar Protection & Control Panel(includes the cables from Marshalling kiosk to Protection & control panel) | Item | 1 |  |  |
|  |  | Decommissioning of 11KV Protection equipment |  |  |  |  |
| 9.1.5 |  | Decommissioning of all Existing 11KV protection equipment from switchgear panels | Item | 1 |  |  |
|  |  | Decommissioning of LV Control Cables |  |  |  |  |
| 9.1.6 |  | Decommissioning of all Existing LV control cables and return to Reuven Salvage yard | Item | 1 |  |  |
|  |  | Decommissioning of DC Supplies Equipment |  |  |  |  |
| 9.1.7 |  | Remove existing battery charger and battery bank and return them to City Power | Item | 1 |  |  |
| 9.2 |  | PROTECTION |  |  |  |  |
|  |  | 88kV Protection and Control Panels (One Scheme per Panel) |  |  |  |  |
|  |  | 88kV Line Incomer Protection and Control Panel (includes relays & all other items to fulfil the protection scheme engineering shall be in line with specification) |  |  |  |  |
| 9.2.1 |  | Supply | No | 2 |  |  |
| 9.2.2 |  | Install | No. | 2 |  |  |
|  |  | 88kV Bus Zone Protection and Control Panel (includes relays & all other items to fulfil the protection scheme engineering shall be in line with specification) |  |  |  |  |
| 9.2.3 |  | Supply | No | 1 |  |  |
| 9.2.4 |  | Install | No. | 1 |  |  |
|  |  | 88kV Bus Section Protection and Control Panel (includes relays & all other items to fulfil the protection scheme engineering shall be in line with specification) |  |  |  |  |
| 9.2.5 |  | Supply | No | 1 |  |  |
| 9.2.6 |  | Install | No. | 1 |  |  |
|  |  | 88/11kV Transformer Protection and Control Panel (includes relays & all other items to fulfil the protection scheme engineering shall be in line with specification) |  |  |  |  |
| 9.2.7 |  | Supply | No | 2 |  |  |
| 9.2.8 |  | Install | No. | 2 |  |  |
|  |  | 11kV Feederboard Off-Board Protection Panels |  |  |  |  |
|  |  | 11kV Feeder Protection and Control Panel (3 Feeder schemes per panel) (includes relays & all other items to fulfill the protection scheme and engineering shall be in line with specification) |  |  |  |  |
| 9.2.9 |  | Supply | No | 0 |  |  |
| 9.2.10 |  | Install | No. | 4 |  |  |
|  |  | 11kV Feeder Protection and Control Panel (2 Feeder schemes per panel) (includes relays & all other items to fulfill the protection scheme and engineering shall be in line with specification) |  |  |  |  |
| 9.2.11 |  | Supply | No | 0 |  |  |
| 9.2.12 |  | Install | No. | 1 |  |  |
|  |  | 11KV Bus Coupler & Incomer Protection Control Panel (2 Incomer schemes & one bus section scheme shall be included) (includes relays & all other items to fulfill the protection scheme and engineering shall be in line with specification |  |  |  |  |
| 9.2.13 |  | Supply | No | 0 |  |  |
| 9.2.14 |  | Install | No. | 1 |  |  |
|  |  | 11kV Arc Protection Panel (includes relays , sensor cables and all other items to fulfill the Arc protection scheme and engineering shall be in line with specification) |  |  |  |  |
| 9.2.15 |  | Supply | No | 0 |  |  |
| 9.2.16 |  | Install | No. | 1 |  |  |
|  |  | Protection Settings |  |  |  |  |
| 9.2.17 |  | Determination of protection relay settings in conjunction with Eskom and City Power Protection division and programming of the protection relays | Item | 1 |  |  |
|  |  | Remote Ends Protection |  |  |  |  |
|  |  | Remote Ends 88kV Line Incomer Protection and Control Panel (includes relays & all other items to retrofit the existing protection schemes and engineering. Shall be in line with specification) |  |  |  |  |
| 9.2.18 |  | Supply | No | 2 |  |  |
| 9.2.19 |  | Install | No. | 2 |  |  |
|  |  | Remote End 11kV CBD Main Feeders Protection and Control Panel Retrofitting (includes relays & all other items to fulfil the protection scheme, supply, installation and commissioning of differential relays on this feeders) |  |  |  |  |
| 9.2.20 |  | Supply | No | 0 |  |  |
| 9.2.21 |  | Install | No. | 4 |  |  |
|  |  | Remote End 11kV CBD Feeders Protection and Control Panel Retrofitting (includes relays & all other items to fulfil the protection scheme, supply, installation and commissioning of differential relays on this feeders) |  |  |  |  |
| 9.2.22 |  | Supply | No | 0 |  |  |
| 9.2.23 |  | Install | No. | 4 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
| 9.3 |  | CONTROL |  |  |  |  |
|  |  | Metering and Quality of Supply |  |  |  |  |
|  |  | 88KV Metering & Quality of Supply Panel (includes Meters & all other items to fulfil the metering scheme and engineering shall be in line with specification) |  |  |  |  |
| 9.3.1 |  | Supply | No | 1 |  |  |
| 9.3.2 |  | Install | No. | 1 |  |  |
|  |  | Junction Boxes and Kiosks |  |  |  |  |
|  |  | Marshalling Kiosks |  |  |  |  |
| 9.3.3 |  | Supply | No | 8 |  |  |
| 9.3.4 |  | Install | No. | 8 |  |  |
|  |  | Voltage Transformer Junction boxes |  |  |  |  |
| 9.3.5 |  | Supply | No | 2 |  |  |
| 9.3.6 |  | Install | No. | 2 |  |  |
|  |  | Control Cables |  |  |  |  |
|  |  | 1000/600V PVC/SWA/PVC cables according to specification |  |  |  |  |
|  |  | 4mm² 2 Core |  |  |  |  |
| 9.3.7 |  | Supply | m | 2000 |  |  |
| 9.3.8 |  | Install | m | 2000 |  |  |
|  |  | 4mm² 4 Core |  |  |  |  |
| 9.3.9 |  | Supply | m | 5000 |  |  |
| 9.3.10 |  | Install | m | 5000 |  |  |
|  |  | 4mm² 7 Core |  |  |  |  |
| 9.3.11 |  | Supply | m | 1000 |  |  |
| 9.3.12 |  | Install | m | 1000 |  |  |
|  |  | 4mm² 12 Core |  |  |  |  |
| 9.3.13 |  | Supply | m | 2000 |  |  |
| 9.3.14 |  | Install | m | 2000 |  |  |
|  |  | 2,5mm² 4 Core |  |  |  |  |
| 9.3.15 |  | Supply | m | 1000 |  |  |
| 9.3.16 |  | Install | m | 1000 |  |  |
|  |  | 2,5mm² 7 Core |  |  |  |  |
| 9.3.17 |  | Supply | m | 500 |  |  |
| 9.3.18 |  | Install | m | 500 |  |  |
|  |  | 2,5mm² 12 Core |  |  |  |  |
| 9.3.19 |  | Supply | m | 2000 |  |  |
| 9.3.20 |  | Install | m | 2000 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
|  |  | 2,5mm² 19 Core |  |  |  |  |
| 9.3.21 |  | Supply | m | 2000 |  |  |
| 9.3.22 |  | Install | m | 2000 |  |  |
|  |  | 2,5mm² 27 Core |  |  |  |  |
| 9.3.23 |  | Supply | m | 4000 |  |  |
| 9.3.24 |  | Install | m | 4000 |  |  |
|  |  | Control Cable Terminations |  |  |  |  |
|  |  | End termination of 1000/600V PVC/SWA/PVC cables according to specification |  |  |  |  |
|  |  | 4mm² 2 Core |  |  |  |  |
| 9.3.25 |  | Supply | No | 40 |  |  |
| 9.3.26 |  | Install | No. | 40 |  |  |
|  |  | 4mm² 4 Core |  |  |  |  |
| 9.3.27 |  | Supply | No | 100 |  |  |
| 9.3.28 |  | Install | No. | 100 |  |  |
|  |  | 4mm² 7 Core |  |  |  |  |
| 9.3.29 |  | Supply | No | 20 |  |  |
| 9.3.30 |  | Install | No. | 20 |  |  |
|  |  | 4mm² 12 Core |  |  |  |  |
| 9.3.31 |  | Supply | No | 40 |  |  |
| 9.3.32 |  | Install | No. | 40 |  |  |
|  |  | 2,5mm² 4 Core |  |  |  |  |
| 9.3.33 |  | Supply | No | 20 |  |  |
| 9.3.34 |  | Install | No. | 20 |  |  |
|  |  | 2,5mm² 7 Core |  |  |  |  |
| 9.3.35 |  | Supply | No | 10 |  |  |
| 9.3.36 |  | Install | No. | 10 |  |  |
|  |  | 2,5mm² 12 Core |  |  |  |  |
| 9.3.37 |  | Supply | No | 40 |  |  |
| 9.3.38 |  | Install | No. | 40 |  |  |
|  |  | 2,5mm² 19 Core |  |  |  |  |
| 9.3.39 |  | Supply | No | 40 |  |  |
| 9.3.40 |  | Install | No. | 40 |  |  |
|  |  | 2,5mm² 27 Core |  |  |  |  |
| 9.3.41 |  | Supply | No | 80 |  |  |
| 9.3.42 |  | Install | No. | 80 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
|  |  | Miscellaneous |  |  |  |  |
| 9.3.43 |  | Termination of Cable cores | Item | 1 |  |  |
| 9.3.44 |  | Any cable not included in the cable schedule but required to complete the project | Item | 1 |  |  |
|  |  | DC Supplies |  |  |  |  |
|  |  | AC/DC Panel |  |  |  |  |
| 9.3.45 |  | Supply | No | 1 |  |  |
| 9.3.46 |  | Install | No. | 1 |  |  |
|  |  | Battery Charger Panel |  |  |  |  |
| 9.3.47 |  | Supply | No | 2 |  |  |
| 9.3.48 |  | Install | No. | 2 |  |  |
|  |  | Battery Bank |  |  |  |  |
| 9.3.49 |  | Supply | No | 2 |  |  |
| 9.3.50 |  | Install | No. | 2 |  |  |
|  |  | Drawings Cabinet |  |  |  |  |
|  |  | Half Panel Cabinet For Drawings |  |  |  |  |
| 9.3.51 |  | Supply | No | 2 |  |  |
| 9.3.52 |  | Install | No. | 2 |  |  |
| ITEM | SAP | DESCRIPTION | UNIT | QTY | RATE | AMOUNT |
| 9.4 |  | AUTOMATION AND TELECOMMUNICATIONS |  |  |  |  |
|  |  | MUX Equipment |  |  |  |  |
|  |  | FOX615 Multiplexer (to be installed at both Hopefield Substation and Ennerdale Substation) inclusive of Service Cards - In Line with current City Power Installed Base - 2 x CESM1 - CPU - 1 x SAMO2 - STM16 - 2 x LEDS1 - SCADA - 1 x ELET1 - Ethernet Switch Card - 1 x EPSI1 - 4 port Router Card - 2 x TEPI1- Protection Interface - 1 x OPIC1 - Protection Interface - 110VDC/48VDC Converter or 50vDC Battery Charger for 12 Hours - Telecoms Panel |  |  |  |  |
| 9.4.1 |  | Supply | No | 2 |  |  |
| 9.4.2 |  | Install | No. | 2 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
|  |  | RTU/Gateway Equipment |  |  |  |  |
|  |  | RTU/Gateway Panel (includes all necessary RTU modules, Licences, FO Cables ,HMI Computer, GPS clock and engineering shall be in line with specification ) |  |  |  |  |
| 9.4.3 |  | Supply | No | 1 |  |  |
| 9.4.4 |  | Install | No. | 1 |  |  |
|  |  | Hopefield - Ennerdale Fibre-Optic Link |  |  |  |  |
|  |  | 48-core fibre-optic cable (48 SM ADSS) |  |  |  |  |
| 9.4.5 |  | Supply | m | 8000 |  |  |
| 9.4.6 |  | Install | m | 8000 |  |  |
|  |  | Line joint 48 splices |  |  |  |  |
| 9.4.7 |  | Supply | No | 2 |  |  |
| 9.4.8 |  | Install | No. | 2 |  |  |
|  |  | 40mm sleeve |  |  |  |  |
| 9.4.9 |  | Supply | m | 100 |  |  |
| 9.4.10 |  | Install | m | 100 |  |  |
|  |  | 43U 600 x 600 cubicle |  |  |  |  |
| 9.4.11 |  | Supply | No | 2 |  |  |
| 9.4.12 |  | Install | No. | 2 |  |  |
|  |  | Fibre patch panel |  |  |  |  |
| 9.4.13 |  | Supply | No | 2 |  |  |
| 9.4.14 |  | Install | No. | 2 |  |  |
|  |  | Single mode ST pigtails |  |  |  |  |
| 9.4.15 |  | Supply | No | 96 |  |  |
| 9.4.16 |  | Install | No. | 96 |  |  |
|  |  | ST mid couplers |  |  |  |  |
| 9.4.17 |  | Supply | No | 96 |  |  |
| 9.4.18 |  | Install | No. | 96 |  |  |
|  |  | Termination of fibre cable in patch panel incl. splicing |  |  |  |  |
| 9.4.19 |  | Supply | No | 2 |  |  |
| 9.4.20 |  | Install | No. | 2 |  |  |
|  |  | OTDR testing including traces in hard and soft copy |  |  |  |  |
| 9.4.21 |  | Supply | No | 1 |  |  |
| 9.4.22 |  | Install | No. | 1 |  |  |
|  |  | Fibre optic patch lead dual ST-ST SM (patch length is the distance from patch panel to relay) |  |  |  |  |
| 9.4.23 |  | Supply | No | 2 |  |  |
| 9.4.24 |  | Install | No. | 2 |  |  |
| 9.4.25 |  | Aerial Hardware | Item | 1 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
| 9.4.26 |  | Application for required road closure and wayleaves | Item | 1 |  |  |
| 9.5 |  | FACTORY ACCEPTANCE TESTS |  |  |  |  |
|  |  | Provide for all factory acceptance tests as specified inclusive of all expenses for two city power personnel/representatives to attend local/regional/overseas FATs where applicable. This should be inclusive, in number and type, of all related protection and control panels as shown on the Single Line Drawing and in preceding sections. |  |  |  |  |
|  |  | Protection Equipment |  |  |  |  |
| 9.5.1 |  | 88kV Line Incomer Protection and Control Panel | Item | 1 |  |  |
| 9.5.2 |  | 88kV Bus Zone Protection and Control Panel | Item | 1 |  |  |
| 9.5.3 |  | 88kV Bus Section Protection and Control Panel | Item | 1 |  |  |
| 9.5.4 |  | 88/11kV Transformer Protection and Control Panel | Item | 1 |  |  |
| 9.5.5 |  | Remote Ends 88kV Line Incomer Protection and Control Panel | Item | 1 |  |  |
|  |  | Metering and Quality of Supply Equipment |  |  |  |  |
| 9.5.12 |  | 88KV Metering & Quality of Supply Panel | Item | 1 |  |  |
|  |  | Substation Automation system |  |  |  |  |
| 9.5.13 |  | Multiplexer Panel | Item | 1 |  |  |
| 9.5.14 |  | RTU/Gateway Panel | Item | 1 |  |  |
| ITEM | SAP | DESCRIPTION | UNIT | QTY | RATE | AMOUNT |
|  |  | DC Supplies |  |  |  |  |
| 9.5.15 |  | AC/DC Panel | Item | 1 |  |  |
| 9.5.16 |  | Battery Charger Panel | Item | 1 |  |  |
| 9.5.17 |  | Battery Bank | Item | 1 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
| 9.6 |  | SITE ACCEPTANCE TESTING AND COMMISSIONING |  |  |  |  |
|  |  | Provide for all Site Acceptance Testing and Commissioning as specified inclusive of all expenses for two city power personnel/representatives to attend where applicable. This should be inclusive, in number and type, of all related protection and control panels as shown on the Single Line Drawing and in preceding sections. |  |  |  |  |
|  |  | Protection Equipment |  |  |  |  |
| 9.6.1 |  | 88kV Line Incomer Protection and Control Panel | Item | 1 |  |  |
| 9.6.2 |  | 88kV Bus Zone Protection and Control Panel | Item | 1 |  |  |
| 9.6.3 |  | 88kV Bus Section Protection and Control Panel | Item | 1 |  |  |
| 9.6.4 |  | 88/11kV Transformer Protection and Control Panel | Item | 1 |  |  |
| 9.6.5 |  | 11kV Feeder Protection and Control Panel (3 Feeder schemes per panel) | Item | 1 |  |  |
| 9.6.6 |  | 11kV Feeder Protection and Control Panel (2 Feeder schemes per panel) | Item | 1 |  |  |
| 9.6.7 |  | 11KV Bus Coupler & Incomer Protection Control Panel (2 Incomer schemes & one bus section scheme shall be included) | Item | 1 |  |  |
| 9.6.8 |  | 11kV Arc Protection Panel | Item | 1 |  |  |
| 9.6.9 |  | Remote Ends 88kV Line Incomer Protection and Control Panel | Item | 1 |  |  |
| 9.6.10 |  | Remote End 11kV CBD Main Feeders Protection and Control Panel | Item | 1 |  |  |
| 9.6.11 |  | Remote End 11kV CBD Feeders Protection and Control Panel | Item | 1 |  |  |
|  |  | Metering and Quality of Supply Equipment |  |  |  |  |
| 9.6.12 |  | 88KV Metering & Quality of Supply Panel | Item | 1 |  |  |
|  |  | Substation Automation system |  |  |  |  |
| 9.6.13 |  | Multiplexer Panel | Item | 1 |  |  |
| 9.6.14 |  | RTU/Gateway Panel | Item | 1 |  |  |
| 9.6.15 |  | SCADA Site Acceptance Test (SAT) | Item | 1 |  |  |
|  |  | DC Supplies |  |  |  |  |
| 9.6.16 |  | AC/DC Panel | Item | 1 |  |  |
| 9.6.17 |  | Battery Charger Panel | Item | 1 |  |  |
| 9.6.18 |  | Battery Bank | Item | 1 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
| 9.7 |  | TRAINING |  |  |  |  |
|  |  | Protection Equipment |  |  |  |  |
| 9.7.1 |  | Training on secondary plant equipment for engineers and technicians on site. Numbers to be confirmed by City Power. | Item | 1 |  |  |
|  |  | Substation Automation system |  |  |  |  |
| 9.7.2 |  | IEC 61850 Training (Engineers and Technicians) locally (South Africa). Numbers to be confirmed by City Power. | Item | 1 |  |  |
|  |  | SECTION No. 10: INTEGRATED SECURITY SYSTEM |  |  |  |  |
|  |  | Integrated Security System Software Platform for City Power is Lenel Ongard. All configuration should be done by Lenel Accredited personnel |  |  |  |  |
| 10.1 |  | ACCESS CONTROL |  |  |  |  |
|  |  | Door Reader Controller (supports OSDP Readers) - 12 VDC, 2 Reader Interface, W/M, 8 inputs, 6 (5A) form C relays |  |  |  |  |
| 10.1.1 |  | Supply | No | 3 |  |  |
| 10.1.2 |  | Install | No. | 3 |  |  |
|  |  | Power Supply & Enclosure - 12VDC output, 220/230 VAC (1.6 amps) input continuous supply current with enclosure (24" x 18" x 4.5"). Lock and open frame transformer, tamper switch, power distribution module, UPS capable CE Approved, houses 6 controller boards |  |  |  |  |
| 10.1.3 |  | Supply | No | 1 |  |  |
| 10.1.4 |  | Install | No. | 1 |  |  |
|  |  | Battery 12 V 7.2 AH |  |  |  |  |
| 10.1.5 |  | Supply | No | 2 |  |  |
| 10.1.6 |  | Install | No. | 2 |  |  |
|  |  | HID iCLASS SE R10, Mini-Mullion, Wiegand Interface, Pigtail, Black(32-bit 14443A CSN standard iCLASS + SIO (EV1, MIFARE, iCLASS, SEOS), LED RED, FLSH GRN, BZR ON) |  |  |  |  |
| 10.1.7 |  | Supply | No | 6 |  |  |
| 10.1.8 |  | Install | No. | 6 |  |  |
|  |  | Emergency green break glass unit |  |  |  |  |
| 10.1.9 |  | Supply | No | 4 |  |  |
| 10.1.10 |  | Install | No. | 4 |  |  |
| ITEM | SAP | DESCRIPTION | UNIT | QTY | RATE | AMOUNT |
|  |  | 5A Power Supply with battery backup for maglocks (Maglocks per PSU) |  |  |  |  |
| 10.1.11 |  | Supply | No | 4 |  |  |
| 10.1.12 |  | Install | No. | 4 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
|  |  | Electromagnetic Lock, 600Kg Holding Force, Surface Mounted 12/24VDC Selectable with back box and accessories, including door monitor |  |  |  |  |
| 10.1.13 |  | Supply | No | 4 |  |  |
| 10.1.14 |  | Install | No. | 4 |  |  |
|  |  | L Mount Bracket for 600Kg magnets for Electromagnetic Lock |  |  |  |  |
| 10.1.15 |  | Supply | No | 4 |  |  |
| 10.1.16 |  | Install | No. | 4 |  |  |
|  |  | Door Monitors |  |  |  |  |
| 10.1.17 |  | Supply | No | 8 |  |  |
| 10.1.18 |  | Install | No. | 8 |  |  |
|  |  | Request to Exit Button Surface Mounted |  |  |  |  |
| 10.1.19 |  | Supply | No | 4 |  |  |
| 10.1.20 |  | Install | No. | 4 |  |  |
|  |  | Regular door-closer for top jamb applications door weight up to 60Kg |  |  |  |  |
| 10.1.21 |  | Supply | No | 4 |  |  |
| 10.1.22 |  | Install | No. | 4 |  |  |
| 10.1.23 |  | System designs, drawings, documentation | Item | 1 |  |  |
|  |  | Gooseneck rain cover (150 x 150 x 100mm deep) |  |  |  |  |
| 10.1.24 |  | Supply | No | 1 |  |  |
| 10.1.25 |  | Install | No. | 1 |  |  |
|  |  | Access Control (Cont'd) |  |  |  |  |
|  |  | Industrial Gate Motor including Rack, IR Beams, loops |  |  |  |  |
| 10.1.26 |  | Supply | No | 1 |  |  |
| 10.1.27 |  | Install | No. | 1 |  |  |
|  |  | 6m Motorised Industrial Sliding Gate |  |  |  |  |
| 10.1.28 |  | Supply | No | 1 |  |  |
| 10.1.29 |  | Install | No. | 1 |  |  |
|  |  | 6m Manual Industrial Sliding Gate |  |  |  |  |
| 10.1.30 |  | Supply | No | 1 |  |  |
| 10.1.31 |  | Install | No. | 1 |  |  |
| 10.1.32 |  | Sundries | Item | 1 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
| 10.2 |  | CCTV |  |  |  |  |
|  |  | Perimeter IR 80m Long Range Bullet Camera, 8-35mm Lens, complete with Housing |  |  |  |  |
| 10.2.1 |  | Supply | No | 7 |  |  |
| 10.2.2 |  | Install | No. | 7 |  |  |
|  |  | Crossline / Tripwire Analytics |  |  |  |  |
| 10.2.3 |  | Supply | No | 7 |  |  |
| 10.2.4 |  | Install | No. | 7 |  |  |
|  |  | Indoor Dome Camera |  |  |  |  |
| 10.2.5 |  | Supply | No | 4 |  |  |
| 10.2.6 |  | Install | No. | 4 |  |  |
|  |  | Dome Camera (long range) including mounting bracket |  |  |  |  |
| 10.2.7 |  | Supply | No | 7 |  |  |
| 10.2.8 |  | Install | No. | 7 |  |  |
|  |  | PTZ Camera |  |  |  |  |
| 10.2.9 |  | Supply | No | 2 |  |  |
| 10.2.10 |  | Install | No. | 2 |  |  |
|  |  | Thermographic PT Camera (Power Supply included) |  |  |  |  |
| 10.2.11 |  | Supply | No | 2 |  |  |
| 10.2.12 |  | Install | No. | 2 |  |  |
|  |  | Lenel Network Video Recorder software license single channel for cameras |  |  |  |  |
| 10.2.13 |  | Supply | No | 22 |  |  |
| 10.2.14 |  | Install | No. | 22 |  |  |
|  |  | Infrared Illuminator (up to 100 m) |  |  |  |  |
| 10.2.15 |  | Supply | No | 6 |  |  |
| 10.2.16 |  | Install | No. | 6 |  |  |
| 10.2.17 |  | Sundries | Item | 1 |  |  |
| 10.3 |  | FIRE DETECTION AND ALARM SYSTEM |  |  |  |  |
|  |  | ZP2 Analogue Addressable 2 Loop Fire Control Panel with Back up Batteries, 230V, EN54 approved |  |  |  |  |
| 10.3.1 |  | Supply | No | 1 |  |  |
| 10.3.2 |  | Install | No. | 1 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
|  |  | Addressable Optical Smoke Sensor |  |  |  |  |
| 10.3.3 |  | Supply | No | 11 |  |  |
| 10.3.4 |  | Install | No. | 11 |  |  |
|  |  | Addressable Manual Call Point - Red |  |  |  |  |
| 10.3.5 |  | Supply | No | 7 |  |  |
| 10.3.6 |  | Install | No. | 7 |  |  |
|  |  | Addressable Interface unit |  |  |  |  |
| 10.3.7 |  | Supply | No | 2 |  |  |
| 10.3.8 |  | Install | No. | 2 |  |  |
|  |  | Addressable Fire Sounder with Strobe |  |  |  |  |
| 10.3.9 |  | Supply | No | 2 |  |  |
| 10.3.10 |  | Install | No. | 2 |  |  |
|  |  | Detector Base surface mounting - Addressable |  |  |  |  |
| 10.3.11 |  | Supply | No | 11 |  |  |
| 10.3.12 |  | Install | No. | 11 |  |  |
|  |  | Detector Base isolated - Addressable |  |  |  |  |
| 10.3.13 |  | Supply | No | 11 |  |  |
| 10.3.14 |  | Install | No. | 11 |  |  |
|  |  | Fire Detection Beams |  |  |  |  |
| 10.3.15 |  | Supply | No | 1 |  |  |
| 10.3.16 |  | Install | No. | 1 |  |  |
|  |  | 24 VDC-3Amp Power Supply |  |  |  |  |
| 10.3.17 |  | Supply | No | 1 |  |  |
| 10.3.18 |  | Install | No. | 1 |  |  |
|  |  | Line Relay Module - High Voltage - DIN Rail Mounting |  |  |  |  |
| 10.3.19 |  | Supply | No | 1 |  |  |
| 10.3.20 |  | Install | No. | 1 |  |  |
|  |  | Fault/Fire Interface to Lenel System |  |  |  |  |
| 10.3.21 |  | Supply | No | 1 |  |  |
| 10.3.22 |  | Install | No. | 1 |  |  |
| 10.3.23 |  | System designs, drawings, documentation | Item | 1 |  |  |
| 10.3.24 |  | NFPA Approval | Item | 1 |  |  |
| 10.3.25 |  | Third Party Inspection (FSIB) | Item | 1 |  |  |
| 10.3.26 |  | Removal of existing Fire Detection System | Item | 1 |  |  |
| 10.3.27 |  | Sundries | Item | 1 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
| 10.4 |  | INTRUSION SYSTEM |  |  |  |  |
|  |  | Input Control Module (Series two) - 12/24 VDC, 16 zone input monitor module, (32) 1K resistors (with 2 programmable output relays), RoHS, CE, C-Tick and UL294 certified |  |  |  |  |
| 10.4.1 |  | Supply | No | 1 |  |  |
| 10.4.2 |  | Install | No. | 1 |  |  |
|  |  | Command Display terminal Keypad - 32-character back-lit LCD display with a 16 position keypad, supports both direct RS-485 communication with the ISC and Wiegand Input, 12VDC+15% @175mA (keypad only). C-Tick Certified |  |  |  |  |
| 10.4.3 |  | Supply | No | 1 |  |  |
| 10.4.4 |  | Install | No. | 1 |  |  |
|  |  | Surface Mounted Roller Shutter Magnetic Contact - N/C with armoured cable |  |  |  |  |
| 10.4.5 |  | Supply | No | 2 |  |  |
| 10.4.6 |  | Install | No. | 2 |  |  |
|  |  | PIR Infrared motion sensor, 360 degrees, ceiling mounted |  |  |  |  |
| 10.4.7 |  | Supply | No | 4 |  |  |
| 10.4.8 |  | Install | No. | 4 |  |  |
|  |  | PIR Infrared outside motion sensor/beam, 12m Detection Area, wall mounted |  |  |  |  |
| 10.4.9 |  | Supply | No | 6 |  |  |
| 10.4.10 |  | Install | No. | 6 |  |  |
|  |  | Magnetic door contacts (door & gate monitor) |  |  |  |  |
| 10.4.11 |  | Supply | No | 8 |  |  |
| 10.4.12 |  | Install | No. | 8 |  |  |
|  |  | IR Beams - External 60m |  |  |  |  |
| 10.4.13 |  | Supply | No | 6 |  |  |
| 10.4.14 |  | Install | No. | 6 |  |  |
|  |  | 24 Port Rack mountable Ethernet Surge Protection |  |  |  |  |
| 10.4.15 |  | Supply | No | 2 |  |  |
| 10.4.16 |  | Install | No. | 2 |  |  |
|  |  | Single Channel Ethernet Surge Protection |  |  |  |  |
| 10.4.17 |  | Supply | No | 9 |  |  |
| 10.4.18 |  | Install | No. | 9 |  |  |
|  |  | Micro-wave sensor for perimeter |  |  |  |  |
| 10.4.19 |  | Supply | No | 6 |  |  |
| 10.4.20 |  | Install | No. | 6 |  |  |
|  |  | Single Channel Remote Panic Button |  |  |  |  |
| 10.4.21 |  | Supply | No | 1 |  |  |
| 10.4.22 |  | Install | No. | 1 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
|  |  | 5km Range - Mechanical Fire Siren |  |  |  |  |
| 10.4.23 |  | Supply | No | 1 |  |  |
| 10.4.24 |  | Install | No. | 1 |  |  |
|  |  | Pepper gas Actuator |  |  |  |  |
| 10.4.25 |  | Supply | No | 6 |  |  |
| 10.4.26 |  | Install | No. | 6 |  |  |
|  |  | Electric fence energizer ( to power 400m electric fence ) |  |  |  |  |
| 10.4.27 |  | Supply | No | 1 |  |  |
| 10.4.28 |  | Install | No. | 1 |  |  |
| 10.4.29 |  | Removal of existing Intrusion System | Item | 1 |  |  |
| 10.4.30 |  | Sundries | Item | 1 |  |  |
| 10.5 |  | CABLES AND TRENCHING |  |  |  |  |
|  |  | Mylar Cable, 2-Pair, 0.22mm - Pushbutton, RS 485 Bus |  |  |  |  |
| 10.5.1 |  | Supply | m | 300 |  |  |
| 10.5.2 |  | Install | m | 300 |  |  |
|  |  | Mylar Cable, 3-Pair, 0.22mm - Reader |  |  |  |  |
| 10.5.3 |  | Supply | m | 500 |  |  |
| 10.5.4 |  | Install | m | 500 |  |  |
|  |  | Mylar Cable, 4-Pair, 0.22mm - All outdoor devices |  |  |  |  |
| 10.5.5 |  | Supply | m | 1200 |  |  |
| 10.5.6 |  | Install | m | 1200 |  |  |
|  |  | Mylar Cable, 1-Pair, 0.5mm - Door monitor |  |  |  |  |
| 10.5.7 |  | Supply | m | 400 |  |  |
| 10.5.8 |  | Install | m | 400 |  |  |
|  |  | Mylar Cable, 1-Pair, 1.0mm - Maglock |  |  |  |  |
| 10.5.9 |  | Supply | m | 400 |  |  |
| 10.5.10 |  | Install | m | 400 |  |  |
|  |  | PH30 Fire Resistance 2-core-1mm |  |  |  |  |
| 10.5.11 |  | Supply | m | 300 |  |  |
| 10.5.12 |  | Install | m | 300 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
|  |  | 3-core 4mm² PVC-SWA-PVC electrical cable |  |  |  |  |
| 10.5.13 |  | Supply | m | 300 |  |  |
| 10.5.14 |  | Install | m | 300 |  |  |
|  |  | Bosal conduit, 25mm plus spacer saddles at 1,5m distances including fixings for fire detection, access control and CAT 6 cable |  |  |  |  |
| 10.5.15 |  | Supply | m | 400 |  |  |
| 10.5.16 |  | Install | m | 400 |  |  |
|  |  | Trenching in soil (450mm x 600mm deep) |  |  |  |  |
| 10.5.17 |  | Supply | m | 600 |  |  |
| 10.5.18 |  | Install | m | 600 |  |  |
|  |  | 50mm sleeves with draw wire |  |  |  |  |
| 10.5.19 |  | Supply | m | 200 |  |  |
| 10.5.20 |  | Install | m | 200 |  |  |
|  |  | 6m concrete camera poles |  |  |  |  |
| 10.5.21 |  | Supply | No | 6 |  |  |
| 10.5.22 |  | Install | No. | 6 |  |  |
|  |  | Earthing of poles. 3 Point Star |  |  |  |  |
| 10.5.23 |  | Supply | No | 6 |  |  |
| 10.5.24 |  | Install | No. | 6 |  |  |
|  |  | IP65 external Camera/Electrical Kiosk at external camera poles |  |  |  |  |
| 10.5.25 |  | Supply | No | 6 |  |  |
| 10.5.26 |  | Install | No. | 6 |  |  |
| 10.5.27 |  | Sundries | Item | 1 |  |  |
| 10.6 |  | NETWORKING AND DATA CABLES |  |  |  |  |
|  |  | CAT 6 Data Point Complete (includes CAT6 cable, RJ45 outlet, installation, testing & certification) |  |  |  |  |
| 10.6.1 |  | Supply | No | 30 |  |  |
| 10.6.2 |  | Install | No. | 30 |  |  |
|  |  | CAT 6 Patch lead (3m) |  |  |  |  |
| 10.6.3 |  | Supply | No | 30 |  |  |
| 10.6.4 |  | Install | No. | 30 |  |  |
|  |  | CAT 6 Fly leads (1m) |  |  |  |  |
| 10.6.5 |  | Supply | No | 30 |  |  |
| 10.6.6 |  | Install | No. | 30 |  |  |
|  |  | CAT 6 24 port Patch Panel |  |  |  |  |
| 10.6.7 |  | Supply | No | 2 |  |  |
| 10.6.8 |  | Install | No. | 2 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
|  |  | Splice Fibre Cable into Fibre Patch Panel (including LC/PC Pigtails and OTDR) |  |  |  |  |
| 10.6.9 |  | Supply | No | 6 |  |  |
| 10.6.10 |  | Install | No. | 6 |  |  |
|  |  | Splice Fibre Cable in field termination boxes (including, LC/PC Pigtails) |  |  |  |  |
| 10.6.11 |  | Supply | No | 6 |  |  |
| 10.6.12 |  | Install | No. | 6 |  |  |
|  |  | 24 ports LC/PC Patch Panel |  |  |  |  |
| 10.6.13 |  | Supply | No | 2 |  |  |
| 10.6.14 |  | Install | No. | 2 |  |  |
|  |  | Fibre Fly leads - 1m - camera (Duplex LC/PC - Match optical equipment supplied) |  |  |  |  |
| 10.6.15 |  | Supply | No | 6 |  |  |
| 10.6.16 |  | Install | No. | 6 |  |  |
|  |  | Cable Management Panel |  |  |  |  |
| 10.6.17 |  | Supply | No | 1 |  |  |
| 10.6.18 |  | Install | No. | 1 |  |  |
|  |  | 4 Core Single Mode Fibre OS1 (UG) |  |  |  |  |
| 10.6.19 |  | Supply | m | 300 |  |  |
| 10.6.20 |  | Install | m | 300 |  |  |
|  |  | Compact Fibre Splice Box |  |  |  |  |
| 10.6.21 |  | Supply | No | 8 |  |  |
| 10.6.22 |  | Install | No. | 8 |  |  |
|  |  | Cisco 2960 24 port POE Switch |  |  |  |  |
| 10.6.23 |  | Supply | No | 2 |  |  |
| 10.6.24 |  | Install | No. | 2 |  |  |
|  |  | Cisco 2960 4 x 1GBE Fibre Module |  |  |  |  |
| 10.6.25 |  | Supply | No | 4 |  |  |
| 10.6.26 |  | Install | No. | 4 |  |  |
|  |  | Fibre to Copper Converter (Single -mode - 1 GB/s) |  |  |  |  |
| 10.6.27 |  | Supply | No | 12 |  |  |
| 10.6.28 |  | Install | No. | 12 |  |  |
|  |  | 1000BASE-LX SFP (1310 nm, for distances up 10km) |  |  |  |  |
| 10.6.29 |  | Supply | No | 2 |  |  |
| 10.6.30 |  | Install | No. | 2 |  |  |
|  |  | Networking and Data Cables (Cont'd) |  |  |  |  |
|  |  | 1000BASE-LX/LH SFP (1310 nm, for distances up 10km) |  |  |  |  |
| 10.6.31 |  | Supply | No | 2 |  |  |
| 10.6.32 |  | Install | No. | 2 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
|  |  | 1000BASE-LX 1000BASE-ZX SFPSFP (1310 nm, for distances up 70km) |  |  |  |  |
| 10.6.33 |  | Supply | No | 2 |  |  |
| 10.6.34 |  | Install | No. | 2 |  |  |
|  |  | 4 Port PoE+ Ruggedized Network Switch for Kiosk |  |  |  |  |
| 10.6.35 |  | Supply | No | 4 |  |  |
| 10.6.36 |  | Install | No. | 4 |  |  |
|  |  | 19" Data Cabinet 42U x 600 x 1000mm deep complete with 4way, 10way power, bottom gland plate and perforated doors |  |  |  |  |
| 10.6.37 |  | Supply | No | 1 |  |  |
| 10.6.38 |  | Install | No. | 1 |  |  |
|  |  | 19" Data Cabinet 12U x 600 x 450mm deep complete with, 10way power, bottom gland plate and perforated doors |  |  |  |  |
| 10.6.39 |  | Supply | No | 1 |  |  |
| 10.6.40 |  | Install | No. | 1 |  |  |
|  |  | UPS Rack mounted 5kVA - 8-hour battery capacity complete with circuit breakers |  |  |  |  |
| 10.6.41 |  | Supply | No | 1 |  |  |
| 10.6.42 |  | Install | No. | 1 |  |  |
|  |  | UPS additional 3U rack mounter battery packs |  |  |  |  |
| 10.6.43 |  | Supply | No | 1 |  |  |
| 10.6.44 |  | Install | No. | 1 |  |  |
|  |  | Class II Surge Arrestor |  |  |  |  |
| 10.6.45 |  | Supply | No | 1 |  |  |
| 10.6.46 |  | Install | No. | 1 |  |  |
| 10.6.47 |  | Sundries | Item | 1 |  |  |
| 10.7 |  | SERVICES |  |  |  |  |
| 10.7.1 |  | Project Management | Item | 1 |  |  |
| 10.7.2 |  | Installation & Commissioning | Item | 1 |  |  |
| 10.7.3 |  | Drawings/Designs | Item | 1 |  |  |
| 10.7.4 |  | Software Engineering (programming and configuration) | Item | 1 |  |  |
| Item | SAP No. | Description | Unit | Quantity | Rate | Amount |
| 10.8 |  | MISCELLANEOUS |  |  |  |  |
| 10.8.1 |  | Clearing of bush at perimeter fence/wall including herbicide | m² | 400 |  |  |
| 10.8.2 |  | Tree felling and removal | No. | 1 |  |  |
| 10.8.3 |  | Lenel System Upgrade and Support Plan | Item | 1 |  |  |
| 10.9 |  | PROGRAMMING OF HEADEND AT REUVEN FOR SYSTEMS ABOVE |  |  |  |  |
| 10.9.1 |  | Scan, add and configure all devices into Lenel Headend | Item | 1 |  |  |
| 10.9.2 |  | Import graphic screens from CAD files into Leel Headend | Item | 1 |  |  |
| 10.9.3 |  | Add all devices onto graphic screens | Item | 1 |  |  |
| 10.9.4 |  | Add all cameras into NVR's | Item | 1 |  |  |
| 10.9.5 |  | Setup logic and rules for actions and alarms | Item | 1 |  |  |
| 10.9.6 |  | Classify alarm types | Item | 1 |  |  |
| 10.9.7 |  | Configure reports as per standard City Power reports | Item | 1 |  |  |
| 10.9.8 |  | Commission Substation with Installation contractor | Item | 1 |  |  |
| Sub- Total |  |  |  |  |  |  |
| VAT @15% |  |  |  |  |  |  |
| Grand Total |  |  |  |  |  |  |

MSCM Regulations: “in the service of the state” means to be –

- a member of –

  - any municipal council;

  - any provincial legislature; or

  - the national Assembly or the national Council of provinces;

- a member of the board of directors of any municipal entity;

- an official of any municipality or municipal entity;

- an employee of any national or provincial department, national or provincial public entity or constitutional institution within the meaning of the Public Finance Management Act, 1999 (Act No.1 of 1999);

- a member of the accounting authority of any national or provincial public entity; or

- an employee of Parliament or a provincial legislature.