| № | DRAWING NUMBER | TITLE |
| --- | --- | --- |
| 1 | ## 0.45/ 55546 sheet 1 to 5 | ## Ash Handling Plant Cast Iron Ash Sump Pipe Arrangement detail drawing |
| 2 | ## 0.45/ 4790 | ## GA of Ash disposal piping |
| 3 | ## 0.45/ 4788 | ## Details of Ash disposal piping- Bends |
| 4 | ## 0.45/ 1254 | ## Ash sump and pump chamber concrete details |
| 5 | ## 0.45/ 1255 | ## Ash sump and pump chamber concrete details |
| 6 | ## 0.45/11411 | ## Details of sluice water pipe |
| 7 | ## 0.45/ 1466 | ## Ash hopper sluicing and hopper cooling water diagram |
| 8 | ## 0.45/ 5270 | ## Details of coal rejects sluiceways |
| 9 | ## 0.45/ 5271 | ## GA of Ash Sluice liners in Central Area |
| 10 | ## 0.45/ 5272 | ## GA of Ash Sluice liners in LH side Area |
| 11 | ## 0.45/ 5273 | ## GA of Ash Sluice liners in RH side Area |
| 12 | ## 0.45/ 5274 | ## GA of Ash Sluice liners in Hopper Area |
| 13 | ## 0.45/ 5275 | ## Reject Coal Sluice liner details |
| 14 | ## 0.45/ 5276 | ## Details of ash sluice liners |
| 15 | ## 28.45/ 33598 | ## Ash hopper P&I diagram |
| 16 | ## 0.45/ 5266 | ## Layout of sluices and pipe trenches in Ash hopper area |
| 17 | ## 28.45/ 52058 | ## Ash hopper liners Ash plant Boiler |