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[bookmark: Text][bookmark: _Toc151363499][bookmark: _Toc137459202]Written Quote 

RFQ NUMBER:  GSM019/2024
CLOSING DATE: 30 April 2024 @ 16:00 pm 
VALIDITY OF RFQ: 90 days
	RFQ DOCUMENTS AND QUESTIONS TO BE E-MAILED TO: Rubinadata@flysaa.com – SAA can only receive 2mb data per email

	
Vendors should ensure that quotations are returned before the closing date and time.
If the quotation is late, it will not be accepted for consideration.



SAA requests your quotation on the goods and/or services listed on the attached form.
Please furnish all information as requested and return your quote on/before the date stipulated. 
Late and incomplete submissions may invalidate the quote submitted.

NAME OF VENDOR:  	

POSTAL ADDRESS: 	

TELEPHONE NO.:  	

CELL NO: 	

E MAIL ADDRESS: 	

CONTACT PERSON: 	

This RFQ will be evaluated on pricing, BEE and functionality.
Required Documentation to be attached;
1. SAA Vendor Document. Refer to Annexure 1
2. SBD 1 Document. Refer to Annexure 2
3. SBD 2 Document. Refer to Annexure 3
4. General Conditions of Contract. Refer to Annexure 4

CONDITIONS
· [bookmark: _Toc106771007][bookmark: _Toc106774648]All goods or services purchased will be subject to SAA General Conditions of Contract. A copy of said conditions is available from the local Procurement office.
· [bookmark: _Toc106771008][bookmark: _Toc106774649]It is the responsibility of the Vendor to ensure that SAA is in possession of a valid Original Tax Clearance Certificate. The onus therefore rests on the vendor to ensure SAA receives a valid Tax Clearance Certificate, as soon as the validity of the said certificate expires. Where SAA does not have a valid Tax Clearance Certificate, an Original Tax Clearance Certificate must be submitted with this RFQ. Failure to do so may invalidate the quote submitted in terms of the RFQ.
· [bookmark: _Toc106771009][bookmark: _Toc106774650]All purchases will be made through an official purchase order. Therefore, no goods must be delivered or services rendered before an official order/contract has been received.
· [bookmark: _Toc106771010][bookmark: _Toc106774651]I certify that the information supplied is correct and I have read and understand SAA General Conditions of Contract and accept SAA General Conditions of Contract.
· [bookmark: _Toc106771011][bookmark: _Toc106774652]I further certify that all the required information has been furnished and the relevant forms completed and are herewith submitted as part of the bid.
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SIGNATURE OF VENDOR: ____________________________ CAPACITY: _______________________________
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RFQ NUMBER GSM019/2024– AIRCRAFT WEIGHING PLATFORM SCALES
	

  BACKGROUND

1.1. Service Providers are requested to provide Prices with their quotation to SAA for all the services to be provided as per specification. Service providers are expected to submit a costing that is fair and reasonable.
1.2. SAA has the right to enter into negotiation with a prospective Service Provider regarding any terms and conditions, including price(s), of a proposed contract.

1. SCOPE OF WORK

	[bookmark: _Hlk161149085]AIRCRAFT WEIGHING PLATFORM SCALES:
1. Scale range must be suitable to weigh helicopters, narrow body and wide body aircraft.
Each scale must have the capability to weigh at least 30 000Kg.
2. Ability to select between pounds and kilograms during operation.
3. They must be quick and easy to set up by one person. Scales must have built in wheels
so that they do not have to be lifted from the floor and can easily be positioned by one
person.
4. Automatic adjustment for off center wheels on pads. Aircraft wheel does not necessarily
have to be positioned in the centre of the weighing pad.
5. Latitude and Altitude correction.
6. Must be light weight <55kgs per unit and low profile, typically 7cm or less.
7. The scales must be labelled as Intrinsically Safe, so not able to create spark around fuel
and fumes.
8. Load cell overload protection 150% of capacity.
9. Wireless Communication of up to (100m) Line of Sight Data Transmission to Remote PC,
Tablet, AC Indicator & Software.
10. Must come with Storage cart including Ramps, Spacers, and Tire Stops & Scales with
low profile ramp eliminating need to lift scales. Must be easy to be wheeled into position.
11. Storage cart must come with ring tow bar, suspension, brake Tow Ring & pneumatic
tires enabling transportation at no less than 10 mph (16 kmh)
12. Automatic adjustment for non-levelling floor.
13. Automatic Temperature compensation.
14. Long battery life (150-300 hours)
15. Battery status indicator on screen.
16. Auto shutoff when not in use
17. Must be robust to transport by road or air.
18. Maintenance and spares support.
19. Must have app support and control and Software to enable weighing records and reports.
20. Complete package to be provided, inclusive of storage and transportation carts, complete
set of ramps and spacers and end stops required for weighing a wide body aircraft
encompassing a B747-800 and Airbus A340-600.
21. Accuracy to be +/- 0.1% of reading.
22. Graduation intervals of no more than 5kgs.



2. EVALUATION PROCESS & CRITERIA 

Responses will be evaluated on the functional criteria, where after qualifying responses will be evaluated on the Price and Preference Points: 

2.1 EVALUATION PROCESS 

2.1.1 COMPLIANCE WITH MINIMUM REQUIREMENTS
All quotations duly lodged will be examined to determine compliance with bidding requirements and conditions. Quotations with obvious deviations from the requirements/conditions will be eliminated from further adjudication.

2.1.2 EVALUATION OF QUOTATION 

The contract shall be awarded at the sole and absolute discretion of SAA. SAA hereby represents that it is not obliged to award this quotation to any bidder. SAA is entitled to retract this quotation at any time as from the date of issue. 

SAA shall not be obliged to accept the lowest of any quotation, offer or proposal.

All quotation will be evaluated according to the criteria, weightings and threshold scores as Indicated in 3.2 below:

2.2 EVALUATION CRITERIA

Phase 1 – Critical Criteria
	No.
	DESCRIPTION
	BIDDER TO INDICATE COMPLIANCE (YES / NO) and provide the relevant document required 

	1
	The scales must be certified Intrinsically Safe , so as not
to create spark around fuel and fumes. Evidence required will be a type certification granted by a recognised laboratory.
	

	
	No scale charging or warm up needed. Using standard alkaline batteries available everywhere and last at least 150+ hours. Specification Document confirming battery requirement and lifespan to be provided. 
	

	
	Load cell overload protection 150% of capacity. Detailed on the specification Documentation to be provided.
	

	
	Must enable a one person setup and weigh functionality. Must be low profile and light weight as per specification requirements of this RFQ. Detailed on the specification Documentation to be  provided.
	

	
	Each individual unit must have the ability to weigh up to 30 000kgs. Detailed on the specification Documentation to be provided.
	

	
	Accuracy of 0.1% of reading. Detailed on the specification Documentation to be provided.
	

	
	Graduation intervals of no more than 5kgs. Detailed on the specification Documentation to be provided.
	

	
	Wireless Communication to Remote PC, Tablet, AC Indicator & Software. Proof to be provided 
	

	
	Must come with Storage cart including Ramps, Spacers, and Tire Stops & Scales with low profile ramp eliminating need to lift scales. 
Confirmation of ability to supply with specification, or indicated in specification documentation. 
	



All tenders that do not comply with the Critical Requirement shall not be considered for further      evaluation -- Functional Evaluation. 
Phase 2 – Functional Evaluation Criteria 
Bidders are required to achieve a minimum threshold of 80% of the allocated weighting on each evaluation criteria set out below. 

	
	Evaluation Criteria – Please provide your response to the below as Annexure A in order to score your response 
	Weight %

	1
	Must actively sense, correct and control temperature fluctuations, load placement, side angle load mitigation to provide the most exact and reliable weighing.

· Fully comply = 40
· Partial comply = 20
· Non-compliant = 0
	40

	2
	Easy-To-View – Must have a Backlit Display Readout with Messaging & Battery Meter

· Fully comply = 10
· Non-compliant = 0
	10

	3
	Linear response over the entire weighing range of the scale capacity.

· Fully comply = 10
· Non-compliant = 0
	10

	4
	Must have app support and control and Software to enable weighing records and reports.
· Fully comply = 40
· Partial compliant = 20
· Non-compliant = 0
	40

	Total
	100%






Threshold

The minimum Qualifying Score for Functionality is 80% - hence, all Tenders failing to meet the threshold shall not be considered for further evaluation against Price and BBBEE. 

Preference Point System

All Tenders that comply with the mandatory requirements for Functionality and that have achieved the minimum qualifying score of 80% (“acceptable Tenders”) will be evaluated further in terms of the applicable preference point system as follows:

Phase 3 – Price and Preference Evaluation
All Tenders that comply with the mandatory requirement (“acceptable Tenders”) will be evaluated further in terms of the applicable price and preference point system as follows:

	Criteria
	Points

	Price
	80

	BBBEE
	20

	Total
	100 points



1. STANDARD CONDITIONS FOR REQUEST FOR QUOTATION

Conditions:

4.1	All prices quoted must be exclusive of Value Added Tax (VAT).
4.2 All goods/services purchased will be subject to SAA Conditions of Contract and Order, available when requested.
4.3 All prices submitted must be firm. “Firm” prices are deemed to be fixed prices, which are only subject to the following statutory changes, namely VAT.
4.4 Note: Although SAA would prefer to award this contract to one service provider, it remains at our discretion to award the functions of the manufacturing of this product to the company that will provide us with excellent & prompt service.  SAA is thus not obligated to award this quote to any bidder.  SAA is entitled to retract this quote at any time as from date of issue, without any refunds whatsoever.  SAA is not obligated to award this quote to the bidder that quotes the lowest.
4.5 Service, pricing and availability will be taken into consideration.
4.6 Pricing should be given based an individual component that would make up the solution based on technical and functional requirements. 

THE FOLLOWING MUST ACCOMPANY YOUR QUOTE
	 SAA Vendor application and supporting documents. Refer to Annexure 1
· SBD 1 Document. Refer to Annexure 2
· SBD 2 Document (Tax Clearance certificate). Refer to Annexure 3
· Central Supplier Database registration report. 
· BBBEE Certificate

IF NOT QUOTING, INDICATE SO AND RETURN EMAIL TO THE RELEVANT PROCUREMENT OFFICIAL
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