BIOMETRIC ACCESS CONTROL SYSTEM

- BACKGROUND

Ikhala TVET College is required to provide a security technique that regulates who or what have access or use facility resources within the college parameters.

Ikhala TVET College has therefore incorporated this item as a priority on their operational plan through ICT Information technology section under Corporate Services.

The College is looking to contract the services of a qualified and registered team of Professional Service Provider (PSP), comprising of a certified ICT security personnel with a full understanding of:

- ICT Security.

- Cyber security

- Networking

- Cloud computing

- SCOPE OF WORK

The biometric Access Control System shall be installed at all campuses entrances, section dividers & special rooms(Labs, serve rooms etc.) and shall include, but shall not be limited to the following:

- Computer (CPU, flat panel monitor, mouse, keyboard, etc.), card readers, battery backup, data converters, power supplies, badge printing system to print backup cards for use by staff and faculty in case of emergency.

All hardware and software required for a complete and ready to operate system.

- The system shall be a large networked system for multiple campus/college buildings with the capacity to track when card/ biometric users come and go.

- The biometric access control system shall connect to the existing monitored alarm systems and CCTV systems in each campus/admin and provide authorized individuals safe and secure access in and out of all Ikhala TVET College premises regardless of the location.(Integrates all sites)

- The ICT section/Campus manager delegated authority will be the only authority to generate ID cards for all users.

System controller must be able to communicate with all systems for all the campuses to allow proper data synchronization of all access control accounts data. It should also provide LAN connection from designated IFP panels to the property for remote monitoring of the access control system.

- The system shall provide programming of the ACS system software for the door and the interlock functions and provide for integration between the ACS and the fire alarm system.

- The system shall, upon receipt of fire alarm signals, drop out all locking devices with the alarm zone.

- PROJECT LOCATION

This project is located at Ikhala TVET College: Admin Centre.

- PROJECT DURATION

The project expected duration is 1 month from date of award.

- PROJECT TEAM STRUCTURE

The project team will consist of the Client (Ikhala TVET College) represented by the ASD IT Manager & ASD Facilities

The team will also consist of campus managers & ICT technicians where needed.

- METHODOLOGY

Completion of the works in due time and to the specification.

- SKILLS TRANSFER

Not Applicable

- TIME FRAMES

| PROCESS | CONCLUDED BY: |
| --- | --- |
| SITE BRIEFING (Ikhala TVET College: Admin Centre) |  |
| IKHALA COLLEGE: RFQ |  |
| CONSULTANT/PSP: Submit Quotations |  |

- PREFERENCE POINT SYSTEM

The tender will be evaluated on the 80/20 Preference Points system as prescribed by the Preferential Procurement Policy Framework Act 5 of 2000, and Points will be awarded to a bidder for attaining the B-BBEE status level of contribution in accordance with legislation.

- EVALUATION PROCESS TO BE FOLLOWED

Evaluation of proposals – All proposals will be evaluated by a team for functionality, price and B-BBEE. Based on the results of the evaluation process, Ikhala College will approve the awarding of the contract to successful tenderers.

A two-phase evaluation process will be followed.

- The first phase, Technical Proposal, includes functionality, local presence and experience relevant to the nature of the project.

- The functionality evaluation will be based on the criteria as listed underneath.

- Pricing Proposals will only be considered after functionality phase has been adjudicated and accepted. Only proposals that achieved a minimum qualification score of 60% for functionality will be evaluated further using the preference points system.

- The 80/20 preference point system will be used where 80 points will be dedicated to price and 20 points to B-BBEE status.

- Proposals with functionality points of less than the pre-determined minimum overall percentage of 60% and less than 50% on any of the individual criteria will be eliminated from further evaluation.

- EVALUATION CRITERIA

| FUNCTIONAL FACTORS | WEIGHT |
| --- | --- |
| - Experience of the tenderer regarding work done of a similar nature | 60 |
| - Number of years operational in the relevant field | 30 |
| - Local presence | 10 |
| TOTAL | 100 |

- COST OF PROPOSAL

- Tenderers are expected to fully acquaint themselves with the conditions, requirements and specifications of this Request for Quotation (RFQ) before submitting proposals.

- Each tenderer assumes all risks for resource commitment and expenses, direct or indirect, of proposal preparation and participation throughout the RFQ process.

- Ikhala College will not be responsible directly or indirectly for any costs incurred by tenderers.

13.	PRICING PROPOSAL

Price needs to be provided in South African Rand (excl. VAT), with details on price elements that are subject to escalation and exchange rate fluctuations, if any, clearly indicated.

Only firm prices* will be accepted during the tender validity period. Non–firm prices** (including prices subject to rates of exchange variations) will not be considered.

*Firm price is the price that is only subject to adjustments in accordance with the actual increase or decrease resulting from the change, imposition, or abolition of customs or excise duty and any other duty, levy, or tax which, in terms of a law or regulation is binding on the contractor and demonstrably has an influence on the price of any supplies, or the rendering costs of any service, for the execution of the contract;

**Non-firm price is all prices other than “firm” prices.

- VALIDITY PERIOD OF PROPOSAL

Each proposal shall be valid for a minimum period of One (1) month calculated from the closing date.

- COMPULSORY BRIEFING SESSION

Compulsory site briefing is scheduled as follows.

| SITE | DATE | TIME |
| --- | --- | --- |
| Admin Centre |  |  |

- CLOSING DATE

- TECHNICAL SPECIFICATIONS

See Scope of Works

- Prerequisites

- Relevant ICT diploma or degree

- Certified with a relevant ICT security certificate.

- 3-year experience in working with access control systems with references.