BID SPECIFICATION

# COVER PAGE (SUMMARY)

| RFB Ref. No: | RFB 2554-2021 |
| --- | --- |
| Description | Supply, Installation and Commissioning of Diesel Generators at Beta Data Centre including maintenance for period of three (3) years |
| Compulsory Vendor Briefing Session | Date: 28 February 2022 Time: 11:00 am (South African Time) Note: Compulsory Briefing Session will be done virtually. Kindly RSVP (Salmina.Mema@sita.co.za) before 25 February 2022 at 17h00 via email to get the link for the meeting. |
| Compulsory Site Visit | Date: 02 March 2022 Time: 10:00 - 11:00 am (South African Time) Note: Non-Compulsory Site Visit. Kindly RSVP (Salmina.Mema@sita.co.za) before 01 March 2022 at 17h00 via email Address: Beta Data Centre, 222 Johannes Ramokhoase Street, Pretoria |
| Closing Date for questions / queries | 09 March 2022 |
| RFB Closing Details | Date: 17 March 2022 Time: 11:00 am (South African Time) Place: Erasmuskloof (459 Tsitsa Street) |
| Public Opening of RFB Responses | Not Applicable due to Covid-19 |
| RFB Validity Period | 120 Days from the Closing Date |

Contents

ANNEX A:	INTRODUCTION	4

1	PURPOSE AND BACKGROUND	4

1.1	PURPOSE	4

1.2	BACKGROUND	4

2	SCOPE OF BID	4

2.1	SCOPE OF WORK	4

2.2	DELIVERY ADDRESS	4

3	REQUIREMENTS	5

3.1	PRODUCT/ SERVICE / SOLUTION REQUIREMENTS	5

4	BID EVALUATION STAGES	7

ANNEX A.1:	ADMINISTRATIVE PRE-QUALIFICATION	8

5	ADMINISTRATIVE PRE-QUALIFICATION REQUIREMENTS	8

5.1	ADMINISTRATIVE PRE-QUALIFICATION VERIFICATION	8

5.2	ADMINISTRATIVE PRE-QUALIFICATION REQUIREMENTS	8

6	TECHNICAL MANDATORY REQUIREMENT	9

6.1	INSTRUCTION AND EVALUATION CRITERIA	9

6.2	TECHNICAL MANDATORY REQUIREMENTS	9

6.3	DECLARATION OF COMPLIANCE	11

ANNEX A.2:	SPECIAL CONDITIONS OF CONTRACT (SCC)	12

7	SPECIAL CONDITIONS OF CONTRACT	12

7.1	INSTRUCTION	12

7.2	SPECIAL CONDITIONS OF CONTRACT	12

7.3	DECLARATION OF COMPLIANCE	21

ANNEX A.3:	COSTING AND PRICING	22

8	COSTING AND PRICING	22

8.1	COSTING AND PRICING EVALUATION	22

8.2	COSTING AND PRICING CONDITIONS	22

8.3	BID PRICING SCHEDULE	23

8.4	DECLARATION OF ACCEPTANCE	23

ANNEX A.4:	Terms and definitions	24

9.	ABBREVIATIONS	24

ANNEX B:	SUPPLIER SUBSTANTIATING EVIDENCE	25

10.	MANDATORY REQUIREMENT EVIDENCE	25

10.1.	SUPPLIER CERTIFICATION / AFFILIATION REQUIREMENTS	25

10.2.	SUPPLIER EXPERIENCE AND CAPABILITY REQUIREMENTS	25

10.3.	CIDB REGISTRATION REQUIREMENTS	25

10.4.	DIESEL GENERATOR DATA SHEETS	26

10.5.	TECHNICAL MANDATORY FUNCTIONAL REQUIREMENTS	26

10.6.	LOCAL CONTENT REQUIREMENT	26

ANNEX C:	Addendum 1	27

ANNEX D:	LOCAL CONTENT REQUIREMENTS	28

ANNEX E:	CIDB REGISTRATION REQUIREMENT	29

INTRODUCTION

# PURPOSE AND BACKGROUND

## PURPOSE

The purpose of this RFB is to invite Suppliers (hereinafter referred to as “bidders”) to submit bids for the “Supply, Installation and Commissioning of Diesel Generators at Beta Data Centre including maintenance for a period of  thirty six (36) months ”.

## BACKGROUND

The diesel generators upgrade to the critical equipment will make the Beta Data Centre flexible achieve higher level reliability and availability of the electrical power supply to the critical computer environments. The existing diesel generators have reached end of life with the current diesel engines starting to experience fluid leaks that are no longer repairable. Even though the leaks are minor, they will become critical if this generator units are continued to be used which will then increase the risk of unplanned downtime during the period of municipal power supply interruption

# SCOPE OF BID

## SCOPE OF WORK

The scope of work by the bidders is to Supply, Installation and Commissioning of Diesel Generators at Beta Data Centre which includes:

- 3x 1600kVA Diesel generator sets, mounting frames, radiator with expansion tank and all auxiliaries.

- 3x Controllers and panels, including breaker control, generator control, load control, with communication ports and cards to connect the system for full monitoring, fault alarms and control to a separate TCP/IP network via DDC.

- Site Establishment, Preliminary and General works.

- Factory Acceptance Testing of all three generators.

- Disconnection and removal of the existing generators.

- 3x 1000 litres day tank with side glass/gauge, drip tray, electronic fuel level sensor, isolating valves and all auxiliaries.

- 24 months Extended Warranty.

- 36 Months Maintenance and Service.

## DELIVERY ADDRESS

| No | Site Name | Physical Address |
| --- | --- | --- |
| 1 | Beta Data Centre | 222 Johannes Ramokhoase Street, Pretoria |

REQUIREMENTS

## PRODUCT/ SERVICE / SOLUTION REQUIREMENTS

The supply, delivery and installation of all systems related to the generator installation to ensure a complete and fully functional system shall be allowed for.  This will include but not be limited to the following:

  - Site Establishment, Preliminary and General works.

  - 3x 1600kVA Diesel generator sets, mounting frames, radiator with expansion tank and all auxiliaries, for minimum requirement as detailed in the following documents.

    - eSDHS-01299 SITA Generator Technical Specification

    - eSDHS-01285_Electrical Infrastructure Maintenance Plan

    - Diesel Generator Datasheet - General Requirements.

  - Vibration dampers.

  - Batteries, chargers and all related power supplies required for a fully functional installation.

  - Cables, pipes, connectors and connection to all systems.

  - 3x Controllers and panels, including breaker control, generator control, load control, etc

  - All protection related equipment including CT’s, voltage sensing, LV breakers, contactors, monitoring and controlling devices and related wiring, containment and panels, etc.

  - Onset fuel (including all fuel required for FAT of all three generators), oil and air filters.

  - All liquids and lubricants required.

  - Acoustic treatment (intake air, exhaust air and cooling system),

  - Silencers and Flue pipes.

  - Communication ports and cards to connect the system for full monitoring, fault alarms and control to a separate TCP/IP network via DDC.  Networks provided by others.

  - Hangers, fixing material, cable ways, insulation material (heat and sound) etc. for the complete generator and associated installation within the room.

  - Disconnection and removal of the existing generators.

  - 3x 1000 litres day tank with side glass/gauge, drip tray, electronic fuel level sensor, isolating valves and all auxiliaries.

  - 24 months Extended Warranty.

  - 36 Months Maintenance and Service.

# BID EVALUATION STAGES

- The bid evaluation process consists of several stages that are applicable according to the nature of the bid as defined in the table below.

- The bidder must qualify for each stage to be eligible to proceed to the next stage of the evaluation.

| Stage | Description | Applicable for this bid YES/NO |
| --- | --- | --- |
| Stage 1 | Administrative pre-qualification verification | YES |
| Stage 2 | Technical Mandatory requirement evaluation | YES |
| Stage 3 | Special Conditions of Contract verification | YES |
| Stage 4 | Price / B-BBEE evaluation | YES |

ADMINISTRATIVE PRE-QUALIFICATION

# ADMINISTRATIVE PRE-QUALIFICATION REQUIREMENTS

## ADMINISTRATIVE PRE-QUALIFICATION VERIFICATION

- The bidder must comply with ALL of the bid pre-qualification requirements in order for the bid to be accepted for evaluation.

If the Bidder failed to comply with any of the administrative pre-qualification requirements, or if SITA is unable to verify whether the pre-qualification requirements are met, then SITA reserves the right to-

  - Reject the bid and not evaluate it, or

  - Accept the bid for evaluation, on condition that the Bidder must submit within 7 (seven) days any supplementary information to achieve full compliance, provided that the supplementary information is administrative and not substantive in nature.

## ADMINISTRATIVE PRE-QUALIFICATION REQUIREMENTS

  - Submission of bid response: The bidder has submitted a bid response documentation pack :

- – that was delivered at the correct physical or postal address and within the stipulated date and time as specified in the “Invitation to Bid” cover page, and;

- in the correct format as one original document, two hard copies and one (1) electronic copy in USB in Portable Document Format

- Attendance of briefing session:

A Compulsory Virtual Briefing session will be held. The bidder has to sign the briefing session attendance register using the same information (bidder company name, bidder representative person name and contact details) as submitted in the bidder’s response document. The attendance of the briefing session is compulsory.

- Registered Supplier. The bidder is, in terms of National Treasury Instruction Note 4A of 2016/17, registered as a Supplier on National Treasury Central Supplier Database (CSD).

Note: Detailed Technical information will be provided at the Compulsory Briefing and Site Visit, after signing a Non-Disclosure Agreement.

# TECHNICAL MANDATORY REQUIREMENT

## INSTRUCTION AND EVALUATION CRITERIA

- The bidder must comply with ALL the requirements as per section 6.2 below by providing substantiating evidence in the form of documentation or information, failing which it will be regarded as “NOT COMPLIED”.

- The bidder must provide a unique reference number (e.g. binder/folio, chapter, section, page) to locate substantiating evidence in the bid response. During evaluation, SITA reserves the right to treat substantiation evidence that cannot be located in the bid response as “NOT COMPLIED”.

- The bidder must complete the declaration of compliance as per section 6.3 below by marking with an “X” either “COMPLY”, or “NOT COMPLY” with ALL of the technical mandatory requirements, failing which it will be regarded as “NOT COMPLY”.

- The bidder must comply with ALL the TECHNICAL MANDATORY REQUIREMENTS in order for the bid to proceed to the next stage of the evaluation.

- No URL references or links will be accepted as evidence.

## TECHNICAL MANDATORY REQUIREMENTS

| TECHNICAL MANDATORY REQUIREMENTS | Substantiating evidence of compliance (used to evaluate bid) | Evidence reference (to be completed by bidder) |
| --- | --- | --- |
| - BIDDER CERTIFICATION / AFFILIATION REQUIREMENTS The Bidder must be registered with the Department of Labour as an Electrical Contractor. | Attach to ANNEX B a copy of valid documentation (certificate, license, or letter) from the Department of Labour as evidence that the bidder is registered as an electrical contractor. Note: SITA reserves the right to verify the information provided. | <provide unique reference to locate substantiating evidence in the bid response – see Annex B, section 10.1> |
| - BIDDER EXPERIENCE AND CAPABILITY The bidder must have executed two(2) projects of Supply, Installation and Commissioning of Diesel Generators of minimum capacity 1600kVA in the past five (5) years. | Provide to Annex B a reference details for two(2) customers to whom Supply, Installation and Commissioning of Diesel Generators of minimum capacity 1600kVA was delivered in the last five (5) years. Note: SITA reserves the right to verify the information provided. | <provide unique reference to locate substantiating evidence in the bid response – see Annex B, section 10.2, table 1> |
| - CIDB REGISTRATION REQUIREMENT The bidder must be registered with Construction Industry Development Board (CIDB) with a minimum rating of 6EB or 6EP. | The Bidder needs to complete and sign ANNEX E as evidence that the bidder is registered with the CIDB with a minimu rating of 6EB or 6EP. Note: SITA reserves the right to verify the information provided. | <provide unique reference to locate substantiating evidence in the bid response – see Annex B, section 10.3 and ANNEX E> |
| - DIESEL GENERATOR DATA SHEETS The Bidder shall confirm compliance with the specifications as referred to in section 5(1)(a) of special conditions of contract by completing and submitting signed equipment data sheets listed in section 5(1)(b). | Attach to Annex B a fully completed and signed Data Sheets for Diesel Generators– General Requirements. Note: SITA reserves the right to verify the information provided. | <provide unique reference to locate substantiating evidence in the bid response – see Annex B, section 10.4> |
| - TECHNICAL MANDATORY FUNCTIONAL REQUIREMENTS The bidder must confirm compliance to the technical mandatory functional requirements | The bidder must confirm that they comply with the Technical Mandatory Functional Requirements by completing ANNEX C: Addendum 1. | <provide unique reference to locate substantiating evidence in the bid response – see section 10.5 and Annex C: Addendum 1> |
| - LOCAL CONTENT REQUIREMENTS FOR ELECTRICITY The bidder must comply with the LOCAL CONTENT obligations as prescribed by PPPFA Regulation 2017 (Regulation 8) and National Treasury Instruction 5 of 2016/17 for designated sector, “Electrical cables products”, which prescribes a Local Content target for the designated sector of at least 90%. | Bidder must complete, sign and submit the Local Content Requirements as indicated in Annex D, for the Local Content target for designated sector “Electrical and telecom cables” is at least 90% at bid closure. Note: - Failure to submit all the documents indicated in Annex D, will result in disqualification. - SITA reserves the right to verify the information provided. | <provide unique reference to locate substantiating evidence in the bid response – see Annex B, section 10.6> |

NB: SITA reserves the right to verify information provided above

## DECLARATION OF COMPLIANCE

|  | Comply | Not Comply |
| --- | --- | --- |
| The bidder declares by indicating with an “X” in either the “COMPLY” or “NOT COMPLY” column that – - The bid complies with each and every TECHNICAL MANDATORY REQUIREMENT as specified in SECTION 6.25.2 above; AND - Each and every requirement specification is substantiated by evidence as proof of compliance. |  |  |

SPECIAL CONDITIONS OF CONTRACT (SCC)

# SPECIAL CONDITIONS OF CONTRACT

## INSTRUCTION

- The successful supplier will be bound by Government Procurement: General Conditions of Contract (GCC) as well as this Special Conditions of Contract (SCC), which will form part of the signed contract with the successful Supplier. However, SITA reserves the right to include or waive the condition in the signed contract.

- SITA reserves the right to –

  - Negotiate the conditions, or

  - Automatically disqualify a bidder for not accepting these conditions.

  - Award to multiple bidders.

- In the event that the bidder qualifies the proposal with own conditions, and does not specifically withdraw such own conditions when called upon to do so, SITA will invoke the rights reserved in accordance with subsection 7.1(2) above.

- The bidder must complete the declaration of acceptance as per section 7.3 below by marking with an “X” either “ACCEPT ALL” or “DO NOT ACCEPT ALL”, failing which the declaration will be regarded as “DO NOT ACCEPT ALL” and the bid will be disqualified.

## SPECIAL CONDITIONS OF CONTRACT

- CONTRACTING CONDITIONS

  - Formal Contract. The Supplier must enter into a formal written Contract (Agreement) with SITA.

  - Right of Award. SITA reserves the right to award the contract for required goods or services to multiple Suppliers.

  - Right to Audit. SITA reserves the right, before entering into a contract, to conduct or commission an external service provider to conduct a financial audit or probity to ascertain whether a qualifying bidder has the financial wherewithal or technical capability to provide the goods and services as required by this tender.

- DELIVERY ADDRESS. The supplier must deliver the required products or services at as indicated in Section 2.2, Delivery Address.

- DELIVERY SCHEDULE

  - The scope of work (Section 2.1) and Section 3 (Requirements) must be completed within 26 weeks after the contract has been awarded for decommission, supply, install and commissioning of the new equipment.

  - The 24 months extended warranty will commence exactly 12 months after standard warranty.

  - The 36 months maintenance and service will commence immediately after handover and commissioning.

  - The Supplier is responsible to perform the work as outlined in the following Breakdown Structure (WBS):

| WBS | Statement of Work | Delivery Timeframe |
| --- | --- | --- |
|  | Supply, Installation and commissioning of 3x 1600kVA Diesel generator sets, mounting frames, radiator with expansion tank and all auxiliaries. | 26 Weeks |
|  | Site Establishment, Preliminary and General works. | 8 Weeks |
|  | 3x Supply, Installation and commissioning Controllers and panels, including breaker control, generator control, load control, with communication ports and cards to connect the system for full monitoring, fault alarms and control to a separate TCP/IP network via DDC. | 26 Weeks |
|  | Factory Acceptance Testing of all three generators. | 26 Weeks |
|  | Disconnection and removal of the existing generators. | 26 Weeks |
|  | Supply, Installation and commissioning of 3x 1000 litres day tank with side glass/gauge, drip tray, electronic fuel level sensor, isolating valves and all auxiliaries. | 26 Weeks |
|  | Dual line day tank refuelling system with associated controls, cabling and programming. | 26 Weeks |
|  | 24 months Extended Warranty. | 24 months will commence on 13th month after commissioning and handover |
|  | 36 Months Maintenance and Service. | From the first month after handover with Servicing at month 36 |

- SERVICES AND PERFORMANCE METRICS

  - During Warranty and Maintenance periods the Supplier is responsible to provide the following services as specified in the Service Breakdown Structure (SBS):

| SBS | Service Element | Service Grade | Service Level |
| --- | --- | --- | --- |
|  | Emergency Contact during warranty and maintenance periods |  | 24h x 7days x 52weeks |
|  | Incident Response during warranty and maintenance periods |  | Maximum 180-minutes |

  - During Warranty and Maintenance periods the Supplier is responsible to provide the following services on the diesel generators as specified in Electrical Infrastructure Maintenance Plan eSDHS-01285:

- Periodic Generator Testing Requirements. This will be done monthly from the date of commissioning of the first generator unit.

- Generator Routine Maintenance Requirements. This will commence within three months of commissioning and handover over warranty and maintenance period.

- Generator Service Requirements. This will be done on year 3 of the warranty and maintenance period.

- Diesel Engine Coolant Testing Requirements. This will be done annually from the date of commissioning and handover.

- Diesel Engine Oil Testing Requirements. This will be done annually from the date of commissioning and handover.

- SCOPE OF TECHNICAL SOLUTION DEVELOPMENT

- SPECIFICATIONS AND DATA SHEETS

- Project Specifications

  - eSDHS-01299 SITA Generator Technical Specification

  - eSDHS-01285_Electrical Infrastructure Maintenance Plan

- Project Data Sheets

01 – Diesel Generator Datasheet - General Requirements

- SUPPLIER PERFORMANCE REPORTING

  - The Supplier will report on a monthly basis to SITA during the design, and manufacturing phase of the project; monthly written reports are to be presented to the SITA on the progress until delivery of the equipment.

  - The Supplier will report on a bi-weekly basis to SITA/Client during the installation and implementation phase of the project; bi-weekly written reports are to be presented to the SITA/Client on the progress of the preceding week until installation process has been completed.

  - Quarterly meetings to be scheduled between SITA/Client and service provider during warranty and maintenance periods.

  - The Supplier is required to generate regular reports as outputs during the maintenance and support cycle within the following service levels (the report type will drive the service level agreement; definition of the content of each report type will be finalised at the time of concluding the contracted service level agreement).

- CERTIFICATION, EXPERTISE AND QUALIFICATION

  - The Supplier must be registered at the Department of Labour as an Electrical Contractor

  - The Supplier must have executed three (3) projects of Supply, Installation and Commissioning of Diesel Generators of minimum capacity 1600kVA at Data Centre environment in the past 3 years.

  - The Supplier must be registered with Construction Industry Development Board (CIDB) with a minimum rating of 6EB or 6EP.

  - The Bidder shall comply to the specifications as referred to in section 5(1)(a) of special conditions of contract by filling and submitting signed equipment data sheets listed in section 5(1)(b)

    - Diesel Generator Datasheet - General Requirements

  - The Supplier represents that,

    - it has the necessary expertise, skill, qualifications and ability to undertake the work required in terms of the Statement of Work or Service Definition and;

    - it is committed to provide the Products or Services; and

    - perform all obligations detailed herein without any interruption to the Customer.

  - The Supplier must provide the service in a good and workmanlike manner and in accordance with the practices and high professional standards used in well-managed operations performing services similar to the Services;

  - The Supplier must perform the Services in the most cost-effective manner consistent with the level of quality and performance as defined in Statement of Work or Service Definition;

  - Original Equipment Manufacturer (OEM). The Supplier must ensure that work or service for the commissioning of the new equipment is performed by a person who is certified by Original Equipment Manufacturer and the certification will be included in the commissioning reports and handover documents.

- LOGISTICAL CONDITIONS

  - Hours of work, 08h00 – 16h30.

  - Provision to be made for work which will be Saturday and Sunday or weekday after hours.

  - The installation and commissioning activities that would require downtime can only be scheduled for Sundays only. The Supplier to make sure all the resources, tools and equipment are available to complete all the scheduled tasks during that period.

  - It must be noted that the Data Centres are live/active sites, and downtimes are limited. All site the services will have to be restored at the end of the scheduled downtime.

  - The installation and commissioning activities that does not require downtime, those can be completed during hours in 8(a) or per arrangement as per 8(b).

  - In the event that SITA grants the Supplier permission to access SITA's facilities and infrastructure, the Supplier must adhere to SITA's relevant policies and procedures (which policy and procedures are available to the Supplier on request) or in the absence of such policy and procedures, in terms of, best industry practice.

  - Tools of Trade. The Supplier must bring their necessary tools of trade in order for them to perform their duties adequately.

  - On-site and Remote Support. The Supplier must give off-site and remote support, and only when off-site support is not sufficient, then on-site support will be required upon approval by SITA representative.

- SKILLS TRANSFER AND TRAINING

The Supplier must provide basic training on the equipment to technical staff to enable SITA to operate and support the equipment after implementation.

- REGULATORY, QUALITY AND STANDARDS

  - The Supplier must for the duration of the contract ensure compliance with ISO/IEC General Quality Standards, and Protection of Personal Information Act (POPIA).

  - The Supplier must for the duration of the contract ensure compliance with General Quality Standards, ISO 9001.

  - The Supplier must for the duration of the contract ensure compliance with the project specification and listed standards:

    - eSDHS-01299 SITA Generator Technical Specification

- PERSONNEL SECURITY CLEARANCE

  - The Supplier personnel who are required to work with GOVERNMENT CLASSIFIED information or access government RESTRICTED areas must be a South African Citizen and at the expense of the Supplier be security vetted (pre-employment screening, criminal record screening and credit screening).

  - The Supplier must ensure that the security clearances of all personnel involved in the Contract remains valid for the period of the contract.

  - The Supplier must provide proof of security vetting

- CONFIDENTIALITY AND NON-DISCLOSURE CONDITIONS

  - The Supplier, including its management and staff, must before commencement of the Contract, sign a non-disclosure agreement regarding Confidential Information.

  - Confidential Information means any information or data, irrespective of the form or medium in which it may be stored, which is not in the public domain and which becomes available or accessible to a Party as a consequence of this Contract, including information or data which is prohibited from disclosure by virtue of:

    - the Promotion of Access to Information Act, 2000 (Act no. 2 of 2000);

    - being clearly marked "Confidential" and which is provided by one Party to another Party in terms of this Contract;

    - being information or data, which one Party provides to another Party or to which a Party has access because of Services provided in terms of this Contract and in which a Party would have a reasonable expectation of confidentiality;

    - being information provided by one Party to another Party in the course of contractual or other negotiations, which could reasonably be expected to prejudice the right of the non-disclosing Party;

    - being information, the disclosure of which could reasonably be expected to endanger a life or physical security of a person;

    - being technical, scientific, commercial, financial and market-related information, know-how and trade secrets of a Party;

    - being financial, commercial, scientific or technical information, other than trade secrets, of a Party, the disclosure of which would be likely to cause harm to the commercial or financial interests of a non-disclosing Party; and

    - being information supplied by a Party in confidence, the disclosure of which could reasonably be expected either to put the Party at a disadvantage in contractual or other negotiations or to prejudice the Party in commercial competition; or

    - information the disclosure of which would be likely to prejudice or impair the safety and security of a building, structure or system, including, but not limited to, a computer or communication system; a means of transport; or any other property; or a person; methods, systems, plans or procedures for the protection of an individual in accordance with a witness protection scheme; the safety of the public or any part of the public; or the security of property; information the disclosure of which could reasonably be expected to cause prejudice to the defence of the Republic; security of the Republic; or international relations of the Republic; or plans, designs, drawings, functional and technical requirements and specifications of a Party, but must not include information which has been made automatically available, in terms of the Promotion of Access to Information Act, 2000; and information which a Party has a statutory or common law duty to disclose or in respect of which there is no reasonable expectation of privacy or confidentiality;

  - Notwithstanding the provisions of this Contract, no Party is entitled to disclose Confidential Information, except where required to do so in terms of a law, without the prior written consent of any other Party having an interest in the disclosure;

  - Where a Party discloses Confidential Information which materially damages or could materially damage another Party, the disclosing Party must submit all facts related to the disclosure in writing to the other Party, who must submit information related to such actual or potential material damage to be resolved as a dispute;

  - Parties may not, except to the extent that a Party is legally required to make a public statement, make any public statement or issue a press release which could affect another Party, without first submitting a written copy of the proposed public statement or press release to the other Party and obtaining the other Party's prior written approval for such public statement or press release, which consent must not unreasonably be withheld.

- GUARANTEE AND WARRANTIES

The Supplier warrants that:

  - The warranty of goods supplied under this contract remains valid for twelve (12) months after the goods, or any portion thereof as the case may be, have been delivered to and accepted at the final destination indicated in the contract, or for eighteen (18) months after the date of shipment from the port or place of loading in the source country, whichever period concludes earlier;

  - as at Commencement Date, it has the rights, title and interest in and to the Product or Services to deliver such Product or Services in terms of the Contract and that such rights are free from any encumbrances whatsoever;

  - the Product is in good working order, free from Defects in material and workmanship, and substantially conforms to the Specifications, for the duration of the Warranty period;

  - during the Warranty period and Extended Warranty periods any defective item or part component of the Product be repaired or replaced within 3 (three) days after receiving a written notice from SITA;

  - the Products is maintained during its Warranty Period and Extended Warranty periods at no additional expense to SITA;

  - the Product possesses all material functions and features required for SITA’s Operational Requirements;

  - the Product remains connected or Service is continued during the term of the Contract;

  - all third-party warranties that the Supplier receives in connection with the Products including the corresponding software and the benefits of all such warranties are ceded to SITA without reducing or limiting the Supplier’s obligations under the Contract;

  - no actions, suits, or proceedings, pending or threatened against it or any of its third-party suppliers or sub-contractors that have a material adverse effect on the Supplier’s ability to fulfil its obligations under the Contract exist;

  - SITA is notified immediately if it becomes aware of any action, suit, or proceeding, pending or threatened to have a material adverse effect on the Supplier’s ability to fulfil the obligations under the Contract;

  - any Product sold to SITA after the Commencement Date of the Contract remains free from any lien, pledge, encumbrance or security interest;

  - SITA’s use of the Product and Manuals supplied in connection with the Contract does not infringe any Intellectual Property Rights of any third party;

  - the information disclosed to SITA does not contain any trade secrets of any third party, unless disclosure is permitted by such third party;

  - it is financially capable of fulfilling all requirements of the Contract and that the Supplier is a validly organized entity that has the authority to enter into the Contract;

  - it is not prohibited by any loan, contract, financing arrangement, trade covenant, or similar restriction from entering into the Contract;

  - the prices, charges and fees to SITA as contained in the Contract are at least as favourable as those offered by the Supplier to any of its other customers that are of the same or similar standing and situation as SITA; and

  - any misrepresentation by the Supplier amounts to a breach of Contract.

- INTELLECTUAL PROPERTY RIGHTS

  - SITA retains all Intellectual Property Rights in and to SITA's Intellectual Property. As of the Effective Date, the Supplier is granted a non-exclusive license, for the continued duration of this Contract, to perform any lawful act including the right to use, copy, maintain, modify, enhance and create derivative works of SITA's Intellectual Property for the sole purpose of providing the Products or Services to SITA pursuant to this Contract; provided that the Supplier must not be permitted to use SITA's Intellectual Property for the benefit of any entities other than SITA without the written consent of SITA, which consent may be withheld in SITA's sole and absolute discretion. Except as otherwise requested or approved by SITA, which approval is in SITA's sole and absolute discretion, the Supplier must cease all use of SITA's Intellectual Property, at of the earliest of:

    - termination or expiration date of this Contract;

    - the date of completion of the Services; and

    - the date of rendering of the last of the Deliverables.

  - If so required by SITA, the Supplier must certify in writing to SITA that it has either returned all SITA Intellectual Property to SITA or destroyed or deleted all other SITA Intellectual Property in its possession or under its control.

  - SITA, at all times, owns all Intellectual Property Rights in and to all Bespoke Intellectual Property.

  - Save for the license granted in terms of this Contract, the Supplier retains all Intellectual Property Rights in and to the Supplier’s pre-existing Intellectual Property that is used or supplied in connection with the Products or Services.

  - Provide SITA with the compliant safety file.

- GENERAL

  - The supplier will be bound by Government Procurement: General Conditions of Contract.

  - (GCC) as well as this Special Conditions of Contract (SCC), which will form part of the signed contract with the Supplier. However, SITA reserves the right to include or waive the condition in the signed contract.

  - SITA reserves the right to:

    - Negotiate the conditions, or

    - Automatically disqualify a bidder for not accepting these conditions.

    - Right to Audit: SITA reserves the right, before entering into a contract, to conduct or commission an external service provider to conduct probity to ascertain whether a qualifying bidder has the technical capability to provide the goods and services as required by this tender.

  - “The parties in this Agreement agree that the offer price of all the equipment shall be at the wholesale price or below wholesale price as agreed with the OEM. Should, at any time during the existence of the agreement that the offered price which is higher than the wholesale price or as agreed with the OEM, SITA client shall be entitled to such wholesale price with the exclusion of the mark-up which the reseller may have charged”.

- NOTE: These conditions will form part of the contract obligations and suppliers are expected to comply in order for SITA to conclude an agreement with the potential suppliers. Failure to comply during finalisation of a contract may result to disqualification.

- COUNTER CONDITIONS

Bidders’ attention is drawn to the fact that amendments to any of the Bid Conditions or setting of counter conditions by bidders may result in the invalidation of such bids.

- FRONTING

  - The SITA supports the spirit of Broad Based Black Economic Empowerment and recognizes that real empowerment can only be achieved through individuals and businesses conducting themselves in accordance with the Constitution and in an honest, fair, equitable, transparent and legally compliant manner. Against this background the SITA any form of fronting.

  - The SITA, in ensuring that bidders conduct themselves in an honest manner will, as part of the bid evaluation processes, conduct or initiate the necessary enquiries/investigations to determine the accuracy of the representation made in bid documents. Should any of the fronting indicators as contained in the Guidelines on Complex Structures and Transactions and Fronting, issued by the Department of Trade and Industry, be established during such enquiry/investigation, the onus will be on the bidder / contractor to prove that fronting does not exist. Failure to do so within a period of 14 days from date of notification may invalidate the bid / contract and may also result in the restriction of the bidder/contractor to conduct business with the public sector for a period not exceeding ten (10) years, in addition to any other remedies SITA may have against the bidder/contractor concerned.

- PRODUCT ADHERANCE / MODEL CHANGE

  - In the event where a bidder offers a product/service against an item and the item is subsequently awarded to the bidder, it is required of the contractor to continue to supply the model awarded throughout the contract period.

  - In the event that the product/service is discontinued, SITA Contract Management must be notified of such an occurrence and an official amendment will be issued.

  - In the case where equipment has been discontinued and or replaced with a new product/service, the contractors are required to submit letters from manufacturer/suppliers stating the changes.

  - Furthermore, contractors are to take note that the price of the new product/service should not differ from the current bid price of the original model.

  - The new product/service must adhere to the minimum specification for the item category.

  - Contractors are not to deliver new products/services prior to approval of model changes by the SITA.

- BUSINESS CONTINUITY AND DISASTER RECOVERY PLANS

- The bidder confirms that they have written business continuity and disaster recovery plans that define the roles, responsibilities and procedures necessary to ensure that the required services under this bid specification is in place and will be maintained continuously in the event of a disruption to the bidder’s operations, regardless of the cause of the disruption.

- SUPPLIER DUE DILIGENCE

SITA reserves the right to conduct supplier due diligence prior to final award or at any time during the Contract period and this may include pre-announced/ non-announced site visits. During the due diligence process the information submitted by the Supplier will be verified and any misrepresentation thereof may disqualify the bid or Contract in whole or parts thereof.

## DECLARATION OF COMPLIANCE

|  | ACCEPT ALL | DO NOT ACCEPT ALL |
| --- | --- | --- |
| - The Supplier declares to ACCEPT ALL the Special Condition of Contract as specified in section 7.2 above by indicating with an “X” in the “ACCEPT ALL” column, OR - The Supplier declares to NOT ACCEPT ALL the Special Conditions of Contract as specified in section 7.2 above by - - Indicating with an “X” in the “DO NOT ACCEPT ALL” column, and; - Provide reason and proposal for each of the conditions that is not accepted. |  |  |
| Comments by Supplier: Provide reason and proposal for each of the conditions not accepted as per the format: Condition Reference: Reason: Proposal: |  |  |

COSTING AND PRICING

# COSTING AND PRICING

## COSTING AND PRICING EVALUATION

- In terms of Preferential Procurement Policy Framework Act (PPPFA), the following preference point system is applicable to all Bids:

  - the 80/20 system (80 Price, 20 B-BBEE) for requirements with a Rand value of up to R50 000 000 (all applicable taxes included); or

  - the 90/10 system (90 Price and 10 B-BBEE) for requirements with a Rand value above R50 000 000 (all applicable taxes included).

- This bid will be evaluated using the preferential point system of 80/20 or 90/10, subject to the following conditions –

  - If the lowest acceptable bid price is up to and including R50 000 000 (all applicable taxes included) then the 80/20 preferential point system will apply to all acceptable bids; or

  - If the lowest acceptable bid price is above R50 000 000 (all applicable taxes included) then the 90/10 preferential point system will apply to all acceptable bids;

- The Supplier must complete the declaration of acceptance as per section 8.3 below by marking with an “X” either “ACCEPT ALL”, or “DO NOT ACCEPT ALL”, failing which the declaration will be regarded as “DO NOT ACCEPT ALL” and the bid will be disqualified.

- Supplier will be bound by the following general costing and pricing conditions and SITA reserves the right to negotiate the conditions or automatically disqualify the Supplier for not accepting these conditions. These conditions will form part of the Contract between SITA and the Supplier. However, SITA reserves the right to include or waive the condition in the Contract.

## COSTING AND PRICING CONDITIONS

- SOUTH AFRICAN PRICING

The total price must be VAT inclusive and be quoted in South African Rand (ZAR).

- TOTAL PRICE

  - All quoted prices are the total price for the entire scope of required services and deliverables to be provided by the Supplier.

  - The cost of delivery, labour, S&T, overtime, etc. must be included in this bid.

  - All additional costs must be clearly specified.

SITA reserves the right to negotiate pricing with the successful bidder prior to the award as well as envisaged quantities.

- BID EXCHANGE RATE CONDITIONS

The Suppliers must use the exchange rate provided below to enable SITA to compare the prices provided by using the same exchange rate:

| Foreign currency | South African Rand (ZAR) exchange rate |
| --- | --- |
| 1 US Dollar | R15,18 |
| 1 Euro | R17,20 |
| 1 Pound | R20,69 |

- RATE OF EXCHANGE PRICING INFORMATION

Provide the TOTAL BID PRICE for the duration of Contract and clearly indicate the Local Price and Foreign Price, where –

  - Local Price means the portion of the TOTAL price that is NOT dependent on the Foreign Rate of Exchange (ROE) and;

  - Foreign Price means the portion of the TOTAL price that is dependent on the Foreign Rate of Exchange (ROE).

  - Exchange Rate means the ROE (ZA Rand vs foreign currency) as determined at time of bid.

## BID PRICING SCHEDULE

Bidders must complete the bid pricing schedule in the Excel spreadsheet format provided and upload this as part of their submission on the GCommerce system.

## DECLARATION OF ACCEPTANCE

|  | ACCEPT ALL | DO NOT ACCEPT ALL |
| --- | --- | --- |
| - The Supplier declares to ACCEPT ALL the Costing and Pricing conditions as specified in section 8.2 above by indicating with an “X” in the “ACCEPT ALL” column, or - The Supplier declares to NOT ACCEPT ALL the Costing and Pricing Conditions as specified in section 8.2 above by - - Indicating with an “X” in the “DO NOT ACCEPT ALL” column, and; - Provide reason and proposal for each of the condition not accepted. |  |  |
| Comments by Supplier: Provide the condition reference, the reasons for not accepting the condition. |  |  |

Terms and definitions

# ABBREVIATIONS

BBBEE	Broad Based Black Economic Empowerment

BSCOM	Bid Specification Committee

CRM		Customer Relations Manager

CSD		Central Supplier Database

DoA		Delegation of Authority

EME		Exempted Micro Enterprise

GCC		General Condition of Contract

GPS		Global Positioning System

HA		High Availability

ICT		Information and Communication Technology

IEC		International Electro-technical Commission

IOPS		Input Output Operations per Second

ISO		International Standardization Organization

N/A		Not Applicable

NT		National Treasury

OEM		Original Equipment Manufacturer

OSM		Original Software Manufacturer

POC		Proof of Concept

PPPFA	Preferential Procurement Policy Framework Act

QSE		Qualifying Small Enterprise

RFA		Request for Accreditation

RFB		Request for Bid

RFP		Request for Proposal

RFQ		Request for Quotation

RSA		Republic of South Africa

SBD		Standard Bidding Document

SCC		Special Condition of Contract

SCM		Supplier Chain Management

SITA		State Information Technology Agency

SMME	Small Medium and Micro Enterprise

TB		Terra Bites

TCV		Total Contract Value

USD		United States Dollar

VAT		Value Added Tax

WCED	Western Cape Education Department

WCG		Western Cape Government

ZAR 		South African Rand

SUPPLIER SUBSTANTIATING EVIDENCE

# MANDATORY REQUIREMENT EVIDENCE

## SUPPLIER CERTIFICATION / AFFILIATION REQUIREMENTS

- Attach a copy of valid documentation (certificate, license, or letter) from the Department of Labour as evidence that the bidder is registered as an electrical contractor here.

## SUPPLIER EXPERIENCE AND CAPABILITY REQUIREMENTS

Complete table below, noting that:

  - Provide reference details for two(2) customers to whom Supply, Installation and Commissioning of Diesel Generators of minimum capacity 1600kVA was delivered in the last five (5) years.

  - Project end-date must be current or not older than five (5) years from date this bid is advertised.

  - Scope of work must be related.

Table 1: References

| No | Company name | Reference Person Name, Tel and/or email | Project Scope of work | Project Start and End-date |
| --- | --- | --- | --- | --- |
| 1 | <Company name> <Site Address> | <Person Name> <Tel> <email> | < Provide scope details of the Supply, Installation and Commissioning of Diesel Generator project that was delivered in the past five (5) years> | Start Date: End Date: |
| 2 | <Company name> <Site Address> | <Person Name> <Tel> <email> | < Provide scope details of the Supply, Installation and Commissioning of Diesel Generator project that was delivered in the past five (5) years> | Start Date: End Date: |

## CIDB REGISTRATION REQUIREMENTS

The Bidder needs to complete and sign ANNEX E as evidence that the bidder is registered with the CIDB with a minimum rating of 6EB or 6EP and attach it here.

## DIESEL GENERATOR DATA SHEETS

- The Bidder shall confirm compliance with the specifications as referred to in section 5(1)(a) of special conditions of contract by completing and submitting signed equipment data sheets listed in section 5(1)(b).

Attach a fully completed and signed Data Sheets for Diesel Generators– General Requirements here.

## TECHNICAL MANDATORY FUNCTIONAL REQUIREMENTS

- The bidder must confirm that they comply with the Technical Service requirements by completing ANNEX C: Addendum1 and attach it here.

## LOCAL CONTENT REQUIREMENT

- The bidder must confirm compliance to the Local Content requirements by completing the Declaration Certificate for Local Production and Content for Designated sectors, in ANNEX D to this document and attach it here.

Addendum 1

| Serial no | Service and Support (Milestones) | Timelines | Indicate Comply=Yes / Not Comply =No |
| --- | --- | --- | --- |
| 1 | Supply, Installation and commissioning of 3x 1600kVA Diesel generator sets, mounting frames, radiator with expansion tank and all auxiliaries, | For the duration of the contract. |  |
| 2 | Supply, Installation and commissioning Controllers and panels, including breaker control, generator control, load control, with communication ports and cards to connect the system for full monitoring, fault alarms and control to a separate TCP/IP network via DDC. | For the duration of the contract. |  |
| 3 | Factory Acceptance Testing of all three generators. | For the duration of the contract. |  |
| 4 | Disconnection and removal of the existing generators. | For the duration of the contract. |  |
| 5 | Supply, Installation and commissioning of 3x 1000 litres day tank with side glass/gauge, drip tray, electronic fuel level sensor, isolating valves and all auxiliaries. | For the duration of the contract. |  |
| 6 | Dual line day tank refuelling system with associated controls, cabling and programming. | For the duration of the contract. |  |
| 7 | 24 months Extended Warranty | For the duration of the contract. |  |
| 8 | 36 Months Maintenance and Service | For the duration of the contract. |  |
| 9 | Site Establishment, Preliminary and General works | For the duration of the contract. |  |

I, the Supplier (Full names)………………………………………………….representing (company name)…………………………………………………………….. Hereby confirm that I comply with the above Technical Mandatory Requirements and understand that it will form part of the contract and is legally binding.

Thus done and signed at ……………………………………. On this………day of……………….20….

__________________

Signature

Designation:

LOCAL CONTENT REQUIREMENTS

# 11. Mandatory Local Content Requirements:

11.1	The bidder must confirm compliance to the Mandatory Local Content requirements.

11.2	The following documents are attached to guide guidance in completing the Local Content requirements:

- Document 01:	Guidance Document for the Calculation of Local Content.

- Document 02:	South African National Standard:  Local goods, services and work – Measurement and verification of local content.

11.3	The Bidder must complete, sign and submit the following documents at bid closure:

- Document 03:	SBD 6.2 Declaration Certificate for Local Production and content for Designated Sectors.

- Document 04:	Annexure C: Local Content Declaration.

11.4 The following Annexures should not be submitted by the bidder, however be kept by the by the bidder and be provide the documents upon request.

- Document 05: 	Annexure D: Imported Content Declaration.

- Document 06: 	Annexure E: Local Content Declaration.

NOTE: Failure to complete, sign and submit the documents as requested in section 11.3 above at bid closing will result in disqualification.

CIDB REGISTRATION REQUIREMENT

The Bidder needs to complete and sign ANNEX E to confirm that the Bidder is registered with the Construction Industry Development Board (CIDB) with a minimum rating of 6EB or 6EP.

      - The Bidder needs to indicate their CIDB rating by ticking next to the relevant CIDB rating in the table below:

| Service and Support (Milestones) | CIDB Rating | Indicate the CIDB rating here by ticking next to the appropriate rating |
| --- | --- | --- |
| CIDB Rating | 6EB |  |
|  | 6EP |  |

      - The Bidder needs to provide their CRS number in the space in the table below:

| Requirement | Bidder CRS Number |
| --- | --- |
| Bidder to provide their CRS number: |  |

Note: SITA reserves the right to verify the information:

I, the Supplier (Full names)………………………………………………….representing (company name)…………………………………………………………….. hereby confirm that the Bidder is registered with Construction Industry Development Board (CIDB) and understand that it will form part of the contract and is legally binding.

Thus done and signed at ……………………………………. On this………day of……………….20….

__________________

Signature

Designation: