Eskom Holdings SOC Ltd

Contract No. _________

SUPPLY AND INSTALLATION OF THE NEW ASTERIA SUBSTATION AND LOOP IN LOOP OUT (LILO) AS PART OF THE HOUHOEK STRENGTHENING PROJECT




	[image: image3.jpg]R Eskom






NEC3 Engineering & Construction Contract
	Between


	ESKOM HOLDINGS SOC Ltd 

(Reg No. 2002/015527/30) 

	and


	[Insert at award stage]
(Reg No. ___________ )

	for


	[●]
Insert title of the works

	
	

	Contents:


	
	No of pages

	Part C1
	Agreements & Contract Data
	38

	Part C2
	Pricing Data
	4

	Part C3
	Scope of Work
	40

	Part C4
	Site Information
	5

	
	
	

	CONTRACT No.
	[Insert at award stage]

	
	

	
	

	
	


Part C1: Agreements & Contract Data
	Contents:


	
	No of pages

	C1.1
	Form of Offer and Acceptance 

[to be inserted from Returnable Documents at award stage]
	3

	C1.2a
	Contract Data provided by the Employer
	20

	C1.2b
	Contract Data provided by the Contractor
[to be inserted from Returnable Documents at award stage]
	16

	C1.3
	Proforma Guarantees
	


C1.1 Form of Offer & Acceptance

Offer

The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

Supply and Installation of the new Asteria Substation and Loop in Loop out (LILO) as part of the Houhoek Strengthening project

The tenderer, identified in the Offer signature block, has examined the documents listed in the Tender Data and addenda thereto and by submitting this Offer has accepted the Conditions of Tender.

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Contractor under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data. 

Delete the Options which do not apply

	Options A B, C or D
	The offered total of the Prices exclusive of VAT is 
	R [●]

	Option E or F
	The first forecast of the total Defined Cost plus the Fee exclusive of VAT is
	R [●]

	
	Sub total
	R [●]

	
	Value Added Tax @ 15% is
	R [●]

	
	The offered total of the amount due inclusive of VAT is

	R [●]

	
	(in words) [●]



This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

	Signature(s)


	
	
	

	Name(s)


	
	
	

	Capacity


	
	
	

	For the tenderer:

	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	

	Tenderer’s CIDB registration number (if applicable) 
	


Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Employer and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in: 

Part C1

Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2

Pricing Data

Part C3

Scope of Work: Works Information

Part C4

Site Information

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed original copy signed between them of this document, including the Schedule of Deviations (if any).  

Unless the tenderer (now Contractor) within five working days of the date of such receipt notifies the Employer in writing of any reason why he cannot accept the contents of this agreement, this agreement shall constitute a binding contract between the Parties.

	Signature(s)


	
	
	

	Name(s)
	
	
	

	Capacity


	
	
	

	for the Employer


	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	


Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

Schedule of Deviations to be completed by the Employer prior to contract award

Note:

1.  This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.
2. The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

3. A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

	No.
	Subject
	Details

	1
	[●]
	[●]

	2
	[●]
	[●]

	3
	[●]
	[●]

	4
	[●]
	[●]

	5
	[●]
	[●]

	6
	[●]
	[●]

	7
	[●]
	[●]

	
	
	


By the duly authorised representatives signing this Schedule of Deviations below, the Employer and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance.  

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement. 

	
	For the tenderer:


	
	For the Employer



	Signature


	
	
	

	Name
	
	
	

	Capacity


	
	
	

	On behalf of
	(Insert name and address of organisation)


	
	(Insert name and address of organisation)



	Name & signature of witness
	
	
	

	Date
	
	
	


C1.2 ECC3 Contract Data

Part one - Data provided by the Employer
	Clause
	Statement
	Data

	1
	General
	

	
	The conditions of contract are the core clauses and the clauses for main Option 
	

	
	
	B:

Priced contract with bill of quantities

	
	dispute resolution Option
	W1:
Dispute resolution procedure

	
	and secondary Options 
	

	
	
	X1:

Price adjustment for inflation

	
	
	X2

Changes in the law

	
	
	X3:

Multiple currencies

	
	
	X4:

Parent company guarantee

	
	
	X7:

Delay damages

	
	
	X13:
Performance Bond

	
	
	X16:
Retention

	
	
	X18:
Limitation of liability 

	
	
	Z:

Additional conditions of contract

	
	of the NEC3 Engineering and Construction Contract, April 2013 (ECC3)
	If 2005 Edition is to be used delete “April 2013” and replace with “June 2005 with amendments June 2006”. Always delete this note before finalising this Data

	10.1
	The Employer is (Name):
	Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa

	
	Address
	Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg

	10.1
	The Project Manager is: (Name)
	Zukiswa Kadira

	
	Address
	Eskom Mega Watt Park

	
	Tel
	011 800 3475

	
	Fax
	N/A

	
	e-mail
	kadirazs@eskom.co.za

	10.1
	The Supervisor is: (Name)
	TBA

	
	Address
	TBA

	
	Tel No.
	TBA

	
	Fax No.
	TBA

	
	e-mail
	TBA

	11.2(13)
	The works are 
	Establish 2 x 1.7 km loop in and loop out 400 kV lines from the Bacchus-Palmiet line into the

proposed Asteria substation, and

Construction of the new Asteria substation which will consist of the following:

· Equip 2 x 400kV feeder bays at the new substation and provide space for 2 x future 400 kV bays

· Establish a new 132kV busbar.

· Establish and equip 2 x 400/132kV transformer bays and provide space for 1 x future

· 400/132kV transformer bay.

· Supply and Install 2 x 500 MVA 400/132kV transformer

· Provide for 3 x 132kV spare feeder bays and 4 x 132kV future feeder bays

· Equip and commission 3 x 132kV feeder bays (Houhoek 1 & 2 and Bacchus 1)

• Provision of security services during construction

	11.2(14)
	The following matters will be included in the Risk Register
	COVID19 pandemic, non-availability of outages and commissioning resources, crime prevalence around the construction area, community unrests, low visibility, high winds

	11.2(15)
	The boundaries of the site are 
	Asteria Substation boundaries

	11.2(16)
	The Site Information is in 
	Part 4: Site Information

	11.2(19)
	The Works Information is in  
	Part 3: Scope of Work and all documents and drawings to which it makes reference.

	12.2
	The law of the contract is the law of 
	the Republic of South Africa

	13.1
	The language of this contract is 
	English

	13.3
	The period for reply is
	Two (2) weeks

	2
	The Contractor's main responsibilities
	Data required by this section of the core clauses is provided by the Contractor in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data. 



	3
	Time
	

	11.2(3)
	The completion date for the whole of the works is
	31 August 2026

	11.2(9)
	The key dates and the conditions to be met are:
	Condition to be met
	key date

	
	
	1
	Site Establishment

Final Design Report
	30 September 2024

15 December 2024

	
	
	2
	132kV Earthworks/Terrace 
	30 May 2025

	
	
	3
	400kV Earth works/Terrace

Transformer plinths

132kV Equipment foundations

400kV Equipment foundations

Control Room Building

Equipment Installation

Line deviation

Commissioning

Handover


	30 October 2025

30 June 2025
30 August 2025
30 November 2025
15 December 2025
30 March 2026
30 March 2026

May 2026

31 August 2026

	30.1
	The access dates are:
	Part of the Site
	Date

	
	
	1
	Whole of the works
	30 September 2024

	
	
	
	
	

	
	
	
	
	

	31.1
	The Contractor is to submit a first programme for acceptance within 
	Two (2) weeks of the Contract Date.

	31.2
	The starting date is
	02 September 2024

	32.2
	The Contractor submits revised programmes at intervals no longer than 
	Tw (2) weeks.

	35.1
	The Employer is not willing to take over the works before the Completion Date.
	

	4
	Testing and Defects
	

	42.2
	The defects date is 
	Hundred and Fifty Six (156) weeks after Completion of the whole of the works.

	43.2
	The defect correction period is 
	Two (2) weeks

	
	except that the defect correction period for 
	Defects which the Supervisor notifies may jeopardise the performance of the works in use is the shortest possible time starting immediately after notification of the defect 

Defects which the Supervisor notifies require urgent attention is 48 (forty-eight) hours starting immediately after notification of the Defect, unless the parties, acting in good faith, agree otherwise.

	
	and the defect correction period for 
	Two (2) weeks

	5
	Payment
	

	50.1
	The assessment interval is 
	Between the 20th and 25th day of each successive month



	51.1
	The currency of this contract is the 
	South African Rand.

	51.2
	The period within which payments are made is 
	Sixty (60) days

	51.4
	The interest rate is 
	the publicly quoted prime rate of interest (calculated on a 365 day year) charged from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and 

(ii) the LIBOR rate applicable at the time for amounts due in other currencies.  LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove.

	6
	Compensation events
	

	60.1(13)
	The place where weather is to be recorded is:
	Asteria Substation

	
	The weather measurements to be recorded for each calendar month are, 
	the cumulative rainfall (mm)

	
	
	the number of days with rainfall more than 10 mm

	
	
	the number of days with minimum air temperature less than 0 degrees Celsius

	
	
	the number of days with snow lying at 09:00 hours South African Time

	
	
	and these measurements:

	
	The weather measurements are supplied by
	South African Weather Service

	
	The weather data are the records of past weather measurements for each calendar month which were recorded at: 
	Botrivier

	
	and which are available from: 
	the South African Weather Bureau and included in Annexure A to this Contract Data provided by the Employer

	60.1(13)


	Assumed values for the ten year return weather data for each weather measurement for each calendar month are:
	As stated in Annexure A to this Contract Data provided by the Employer.



	7
	Title
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.

	8
	Risks and insurance
	

	80.1
	These are additional Employer's risks  
	None

	9
	Termination
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.

	10
	Data for main Option clause
	

	B
	Priced contract with bill of quantities
	

	60.6
	The method of measurement is 
	Option B published by NEC3, Engineering and Construction Contract of 2005 and amended as stated in Part C2.1, Pricing Assumptions.

	11
	Data for Option W1
	

	W1.1
	The Adjudicator is 
	the person selected by agreement of the parties from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators (see www.ice-sa.org.za). The party referring the dispute shall propose the name of the Adjudicator to the other party. If the Parties do not agree on an Adjudicator the Adjudicator will be appointed, then the Adjudicator shall be appointed in terms of clause W1.2(3) below.  The failure to identify or appoint a specific person to act as an Adjudicator shall not operate as preventing a time bar defence.

	
	Address
	[●]

	
	Tel No.
	[●]

	
	Fax No.
	[●]

	
	e-mail
	[●]

	W1.2(3)
	The Adjudicator nominating body is:
	Subject to the provisions of clause W1.1 above, the Chairman of ICE-SA a joint Division of the South African Institution of Civil Engineering and the London Institution of Civil Engineers. (See www.ice-sa.org.za ) or its successor body.

	W1.4(2)
	The tribunal is: 
	arbitration.

	W1.4(5)
	The arbitration procedure is 
	the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body.

	
	The place where arbitration is to be held is
	Johannesburg South Africa

	
	The person or organisation who will choose an arbitrator 

· if the Parties cannot agree a choice or
· if the arbitration procedure does not state who selects an arbitrator, is
	the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body.

	12
	Data for secondary Option clauses
	

	X1
	Price adjustment for inflation
	

	X1.1(a)
	The base date for indices is 
	One-month prior tender closing date 

	X1.1(c)
	The proportions used to calculate the Price Adjustment Factor are:

Local Portion:


	Proportion

	linked to index for
	Index prepared by

	
	Preliminary & General items
	0. 85
	Table D-3 (CPI)
	Seifsa Index



	
	Earthworks
	0. 70

0.15
	Table G-3 (CE: Bulk Earthworks )

Table D-3 (CPI) Plant
	Seifsa Index

Seifsa Index



	
	Civil Works
	0. 70

0.15


	Table G-3 (CE: Roads & General)

Table C-3(a): Labour

(hourly paid)


	Seifsa Index

Seifsa Index



	
	Building Works

Structural Steel

HV Plant Equipment

Electrical Cables

Transport/Delivery

Test & Commissioning


	0.75

0.10

0.70

0.15

0.85

0.70

0.15

0.85

0.85
	Table G2 (A) (Building Installation)

Table C-3(a): Labour (hourly paid)

Table E-A: (Galvanised)

Table D-3 (CPI) Plant

Table D-3 (CPI)

Table M-6: (Electrical Cable)

Table C-3(a): Labour (hourly paid)

Table L-2(A): Road Freight Costs

Table D-3 (CPI)
	Seifsa Index

Seifsa Index

Seifsa Index

Seifsa Index

Seifsa Index

Seifsa Index

Seifsa Index

Seifsa Index

Seifsa Index

	
	
	0. [●]
	[●]
	[●]

	
	
	0.15
	Fixed Portion     (non-adjustable)
	

	X2
	Changes in the law
	There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data.

	X3
	Multiple currencies
	

	X3.1


	The Employer will pay for these items or activities in the currencies stated
	Items & activities
	Other currency
	Maximum payment in other currency

	
	
	[●]
	[●]
	[●]

	
	
	[●]
	[●]
	[●]

	
	
	[●]
	[●]
	[●]

	
	
	[●]
	[●]
	[●]

	X3.1
	The exchange rates are those published in
	To be finalised on contract award

	
	
	The items & activities will be paid in the other currency 
- to a foreign Bank account nominated by the Contractor 

- to a valid SARB approved CFC account in South Africa

- in accordance with an alternative payment method agreed with the Employer before the Contract Date.

(select one of the three methods as agreed with successful tenderer and delete the others and this note)

	X4
	Parent company guarantee
	There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data.

	X7
	Delay damages (but not if Option X5 is also used)
	

	X7.1
	Delay damages for Completion of the whole of the works are
	0.1% of the contract amount per day up to a maximum of 10% of the total contract amount as at contract date.

	X13
	Performance bond
	

	X13.1
	The amount of the performance bond is
	5% of the contract value

	X16
	Retention (not used with Option F)
	

	X16.1
	The retention free amount is 
	0%

	
	The retention percentage is
	5% of contract value

50% of the retention is payable when the whole of the works is taken over on Completion and the remainder is paid on the expiry of the defects period which is 156 weeks after the works has been taken over


	X18
	Limitation of liability
	

	X18.1
	The Contractor’s liability to the Employer for indirect or consequential loss is limited to:
	R0.0 (zero Rand)

	X18.2
	For any one event, the Contractor’s liability to the Employer for loss of or damage to the Employer’s property is limited to:
	the amount of the deductibles relevant to the event 

	X18.3
	The Contractor’s liability for Defects due to his design which are not listed on the Defects Certificate is limited to
	The greater of 

· the total of the Prices at the Contract Date 

and 

· the amounts excluded and unrecoverable from the Employer’s assets policy for correcting the Defect (other than the resulting physical damage which is not excluded) plus the applicable deductible as at contract date.

	X18.4
	The Contractor’s total liability to the Employer for all matters arising under or in connection with this contract, other than excluded matters, is limited to:
	the total of the Prices other than for the additional excluded matters.

The Contractor’s total liability for the additional excluded matters is not limited. 

The additional excluded matters are amounts for which the Contractor is liable under this contract for

· Defects due to his design which arise before the Defects Certificate is issued,

· Defects due to manufacture and fabrication outside the Site,

· loss of or damage to property (other than the works, Plant and Materials),

· death of or injury to a person and 

· infringement of an intellectual property right.

	X18.5
	The end of liability date is 
	(i) Seven (7) years after the defects date for latent Defects and 
(ii) the date on which the liability in question prescribes in accordance with the Prescription Act No. 68 of 1969 (as amended or in terms of any replacement legislation) for any other matter.

A latent Defect is a Defect which would not have been discovered on reasonable inspection by the Employer or the Supervisor before the defects date, without requiring any inspection not ordinarily carried out by the Employer or the Supervisor during that period. 

If the Employer or the Supervisor do undertake any inspection over and above the reasonable inspection, this does not place a greater responsibility on the Employer or the Supervisor to have discovered the Defect.



	X20
	Key Performance Indicators (not used when Option X12 applies)
	

	X20.1
	The incentive schedule for Key Performance Indicators is in 
	Annexure [●] to this Contract Data

	X20.2
	A report of performance against each Key Performance Indicator is provided at intervals of 
	[●] months

	Z
	The Additional conditions of contract are
	Z1 to Z15 always apply.

	
	

	Z1
	Cession delegation and assignment

	Z1.1
	The Contractor does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Employer.

	Z1.2
	Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. 

	
	

	Z2
	Joint ventures

	Z2.1
	If the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Employer for the performance of this contract.

	Z2.2
	Unless already notified to the Employer, the persons or organisations notify the Project Manager within two weeks of the Contract Date of the key person who has the authority to bind the Contractor on their behalf.

	Z2.3
	The Contractor does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Employer having been given to the Contractor in writing.

	
	

	Z3
	Change of Broad Based Black Economic Empowerment (B-BBEE) status

	Z3.1
	Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change.

	Z3.2
	The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Project Manager within thirty days of the notification or as otherwise instructed by the Project Manager.

	Z3.3
	Where, as a result, the Contractor’s B-BBEE status has decreased since the Contract Date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Works.

	Z3.4
	Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93.

	
	

	Z4
	Confidentiality

	Z4.1
	The Contractor does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time).  Should the Contractor disclose information to Others in terms of clause 25.1, the Contractor ensures that the provisions of this clause are complied with by the recipient.

	Z4.2
	If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Project Manager.

	Z4.3
	In the event that the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure.  In the event that such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed.

	Z4.4
	The taking of images (whether photographs, video footage or otherwise) of the works or any portion thereof, in the course of Providing the Works and after Completion, requires the prior written consent of the Project Manager.  All rights in and to all such images vests exclusively in the Employer.  

	Z4.5
	The Contractor ensures that all his subcontractors abide by the undertakings in this clause.

	
	

	Z5
	Waiver and estoppel: Add to core clause 12.3:

	Z5.1
	Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Project Manager, the Supervisor, or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing.

	
	

	Z6
	Health, safety and the environment:  Add to core clause 27.4

	Z6.1
	The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the works. Without limitation the Contractor:

· accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2014 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Site;

· warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of works; and

· undertakes, in and about the execution of the works, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	Z6.2
	The Contractor, in and about the execution of the works, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	
	

	Z7
	Provision of a Tax Invoice and interest.  Add to core clause 51

	Z7.1
	Within one week of receiving a payment certificate from the Project Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures stated in the Works Information, showing the amount due for payment equal to that stated in the payment certificate.

	Z7.2
	If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice.  Interest due by the Employer in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made.

	Z7.3
	The Contractor (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment.

	
	

	Z8
	Notifying compensation events

	Z8.1
	Delete from the last sentence in core clause 61.3, “unless the Project Manager should have notified the event to the Contractor but did not”.

	
	

	Z9
	Employer’s limitation of liability

	Z9.1
	The Employer’s liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand)

	Z9.2
	The Contractor’s entitlement under the indemnity in 83.1 is provided for in 60.1(14) and the Employer’s liability under the indemnity is limited.

	
	

	Z10
	Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it":  

	Z10.1
	   or had a business rescue order granted against it.

	
	

	Z11
	Addition to secondary Option X7 Delay damages (if applicable in this contract)

	Z11.1
	If the amount due for the Contractor’s payment of delay damages reaches the limits stated in this Contract Data for Option X7 or Options X5 and X7 used together, the Employer may terminate the Contractor’s obligation to Provide the Works using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table.

	
	


	Z12
	Ethics

	For the purposes of this Z-clause, the following definitions apply:

	Affected Party
	means, as the context requires, any party, irrespective of whether it is the Contractor or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends,

	Coercive Action
	means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally,

	Collusive Action
	means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally,

	Committing Party
	means, as the context requires, the Contractor, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractor or the Subcontractor’s employees,

	Corrupt Action
	means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party,

	Fraudulent Action
	means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation,

	Obstructive Action
	means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and

	Prohibited Action
	means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action.

	Z12.1
	A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof.

	Z12.2
	The Employer may terminate the Contractor’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Contractor did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Employer has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Employer can terminate the Contractor’s obligation to Provide the Services for this reason.

	Z12.3
	If the Employer terminates the Contractor’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2.

	Z12.4
	A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Employer does not have a contractual bond with the Committing Party, the Contractor ensures that the Committing Party co-operates fully with an investigation.

	
	

	Z13
	Insurance

	Z 13.1
	Replace core clause 84 with the following:


	Insurance cover
	84
	

	
	
	

	
	84.1
	When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force.

	
	
	

	
	84.2
	The Contractor provides the insurances stated in the Insurance Table A.

	
	
	

	
	84.3
	The insurances provide cover for events which are at the Contractor’s risk from the starting date until the earlier of Completion and the date of the termination certificate.

	
	
	

	
	
	INSURANCE TABLE A
Insurance against
Minimum amount of cover or minimum limit of indemnity
Loss of or damage to the works, Plant and Materials
The replacement cost where not covered by the Employer’s insurance
The Employer’s policy deductible, as at Contract Date, where covered by the Employer’s insurance
Loss of or damage to Equipment
The replacement cost
Liability for loss of or damage to property (except the works, Plant and Materials and Equipment) and liability for bodily injury to or death of a person (not an employee of the Contractor) caused by activity in connection with this contract
Loss of or damage to property

Employer’s property

The replacement cost where not covered by the Employer’s insurance
The Employer’s policy deductible, as at Contract Date, where covered by the Employer’s insurance
Other property

The replacement cost

Bodily injury to or death of a person 

The amount required by applicable law
Liability for death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract
The amount required by the applicable law


	
	
	

	Z 13.2
	
	Replace core clause 87 with the following:
The Employer provides the insurances stated in the Insurance Table B.

	
	
	

	
	
	

	
	
	

	
	
	INSURANCE TABLE B
Insurance against or name of policy
Minimum amount of cover or minimum limit of indemnity

Assets All Risk

Per the insurance policy document

Contract Works insurance

Per the insurance policy document

Environmental Liability

Per the insurance policy document
General and Public Liability

Per the insurance policy document
Transportation (Marine)

Per the insurance policy document
Motor Fleet and Mobile Plant

Per the insurance policy document
Terrorism

Per the insurance policy document
Cyber Liability

Per the insurance policy document

Nuclear Material Damage and Business Interruption
Per the insurance policy document
Nuclear Material Damage Terrorism
Per the insurance policy document



	Z14
	Nuclear Liability

	Z14.1
	The Employer is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS.

	Z14.2
	The Employer is solely responsible for and indemnifies the Contractor or any other person against any and all liabilities which the Contractor or any person may incur arising out of or resulting from nuclear damage, as defined in Act 47 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Contractor or any other person or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer.

	Z14.3
	Subject to clause Z14.4 below, the Employer waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Contractor or any other person, or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer.

	Z14.4
	The Employer does not waive its rights provided for in section 30 (7) of Act 47 of 1999, or any replacement section dealing with the same subject matter.

	Z14.5
	The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned.

	
	

	Z15
	Asbestos

	For the purposes of this Z-clause, the following definitions apply:

	AAIA
	means approved asbestos inspection authority.

	ACM
	means asbestos containing materials.

	AL
	means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4 hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL.

	Ambient Air
	means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet.

	Compliance Monitoring
	means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	OEL
	means occupational exposure limit.

	Parallel Measurements
	means measurements performed in parallel, yet separately, to existing measurements to verify validity of results.

	Safe Levels
	means  airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	Standard
	means the Employer’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles.

	SANAS
	means the South African National Accreditation System.

	TWA
	means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4 hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA.

	Z15.1
	The Employer ensures that the Ambient Air in the area where the Contractor will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM.

	Z15.2
	Upon written request by the Contractor, the Employer certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Contractor may perform Parallel Measurements and related control measures at the Contractor’s expense. For the purposes of compliance the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z15.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan.

	Z15.3
	The Employer manages asbestos and ACM according to the Standard.

	Z15.4
	In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe.

	Z15.5
	The Contractor’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable.

	Z15.6
	The Contractor continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations, 2001.

	Z15.7
	Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Employer at the Employer’s expense, and conducted in line with South African legislation.


Annexure A:
 One-in-ten-year-return weather data obtained from SA Weather Bureau for [weather station]

If any one of these weather measurements recorded within a calendar month, before the Completion Date for the whole of the works and at the place stated in this Contract Data is shown to be more adverse than the amount stated below then the Contractor may notify a compensation event.

	
	Weather measurement

	Month
	Cumulative rainfall (mm)
	Number of days with rain more than 10mm
	Number of days with min air temp < 0 deg.C
	Number of days with snow lying at 08:00 CAT
	[Other measurements if applicable]

	January
	[●]
	[●]
	[●]
	[●]
	

	February
	[●]
	[●]
	[●]
	[●]
	

	March
	[●]
	[●]
	[●]
	[●]
	

	April
	[●]
	[●]
	[●]
	[●]
	

	May
	[●]
	[●]
	[●]
	[●]
	

	June
	[●]
	[●]
	[●]
	[●]
	

	July
	[●]
	[●]
	[●]
	[●]
	

	August
	[●]
	[●]
	[●]
	[●]
	

	September
	[●]
	[●]
	[●]
	[●]
	

	October
	[●]
	[●]
	[●]
	[●]
	

	November
	[●]
	[●]
	[●]
	[●]
	

	December
	[●]
	[●]
	[●]
	[●]
	


Only the difference between the more adverse recorded weather and the equivalent measurement given above is taken into account in assessing a compensation event.

C1.2 Contract Data

Part two - Data provided by the Contractor
[Instructions to the contract compiler:  (delete this notes before issue to tenderers with an enquiry)
Whenever a cell is shaded in the left hand column it denotes this data is optional.  If not required select and delete the whole row, otherwise insert the required Data.]

Notes to a tendering contractor:

1. Please read both the NEC3 Engineering and Construction Contract (April 2013) and the relevant parts of its Guidance Notes (ECC3-GN)
 in order to understand the implications of this Data which the tenderer is required to complete.  An example of the completed Data is provided on pages 156 to 158 of the ECC3 (April 2013) Guidance Notes.

2. The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data

3. Where a form field like this [     ] appears, data is required to be inserted relevant to the option selected. Click on the form field once and type in the data.  Otherwise complete by hand and in ink.

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

	Clause
	Statement
	Data

	10.1
	The Contractor is (Name):
	     

	
	Address
	     

	
	Tel No.
	     

	
	Fax No.
	     

	11.2(8)
	The direct fee percentage is
	     %

	
	The subcontracted fee percentage is
	     %

	11.2(18)
	The working areas are the Site and
	     

	24.1
	The Contractor's key persons are:
	

	
	1
Name:
	     

	
	
Job:
	     

	
	
Responsibilities:
	     

	
	
Qualifications:
	     

	
	
Experience:
	     

	
	2
Name:
	     

	
	
Job
	     

	
	
Responsibilities:
	     

	
	
Qualifications:
	     

	
	
Experience:
	     

	
	
	CV's (and further key persons data including CVs) are appended to Tender Schedule entitled     .

	11.2(3)
	The completion date for the whole of the works is
	     

	11.2(14)
	The following matters will be included in the Risk Register
	     

	11.2(19)
	The Works Information for the Contractor’s design is in:
	     

	31.1
	The programme identified in the Contract Data is
	     

	A
	Priced contract with activity schedule
	

	11.2(20) 
	The activity schedule is in
	     

	11.2(30)
	The tendered total of the Prices is 
	      (in figures) 

      (in words), excluding VAT 

	B
	Priced contract with bill of quantities
	

	11.2(21)
	The bill of quantities is in
	     

	11.2(31) 
	The tendered total of the Prices is 
	      (in figures) 

      (in words), excluding VAT 

	C
	Target contract with activity schedule
	

	11.2(20) 
	The activity schedule is in
	     

	11.2(30) 
	The tendered total of the Prices is 
	      (in figures) 

      (in words), excluding VAT 

	D
	Target contract with bill of quantities
	

	11.2(21)
	The bill of quantities is in
	     

	11.2(31) 
	The tendered total of the Prices is 
	      (in figures) 

      (in words), excluding VAT 

	F
	Management contract
	

	20.2 
	Work which the Contractor’s will do himself is
	Activity
	price (lump sum or rate)

	
	
	     
	     

	
	
	     
	     

	
	
	     
	     

	
	Data for Schedules of Cost Components
	Note “SCC” means Schedule of Cost Components starting on page 60, and “SSCC” means Shorter Schedule of Cost Components starting on page 63 of ECC3 (April 2013).

	A
	Priced contract with activity schedule
	Data for the Shorter Schedule of Cost Components

	B
	Priced contract with bill of quantities
	Data for the Shorter Schedule of Cost Components

	41 in SSCC
	The percentage for people overheads is:
	     %

	21 in SSCC
	The published list of Equipment is the last edition of the list published by
	     

	
	The percentage for adjustment for Equipment in the published list is
	Minus      %

	22 in SSCC
	The rates of other Equipment are:
	Equipment
	Size or capacity
	Rate

	
	
	     
	     
	     

	
	
	     
	     
	     

	
	
	     
	     
	     

	
	
	     
	     
	     

	
	
	     
	     
	     

	61 in SSCC
	The hourly rates for Defined Cost of design outside the Working Areas are
	Category of employee
	Hourly rate

	
	Note:  Hourly rates are estimated ‘cost to company of the employee’ and not selling rates.  
	     
	     

	
	Please insert another schedule if foreign resources may also be used
	     
	     

	
	
	     
	     

	
	
	     
	     

	62 in SSCC
	The percentage for design overheads is
	     %

	63 in SSCC
	The categories of design employees whose travelling expenses to and from the Working Areas are included in Defined Cost are:
	     

	
	If Option C, D or E is used
	Data for Schedule of Cost Components 

	23 in SCC
	The listed items of Equipment purchased for work on this contract, with an on cost charge, are:
	Equipment
	Time related charge
	Per (time period)

	
	
	     
	     
	      

	
	
	     
	     
	     

	
	
	     
	     
	     

	
	
	     
	     
	     

	
	
	     
	     
	     

	24 in SCC
	The rates of special Equipment are:
	Equipment
	Size or capacity
	Rate

	
	
	     
	     
	     

	
	
	     
	     
	     

	
	
	     
	     
	     

	
	
	     
	     
	     

	
	
	     
	     
	     

	44 in SCC
	The percentage for Working Areas overheads is:
	:
     %

	51 in SCC
	The hourly rates for Defined Cost of manufacture or fabrication outside the Working Areas are
	Category of employee


	Hourly rate

	
	Note:  Hourly rates are estimated ‘cost to company of the employee’ and not selling rates
	     
	     

	
	Please insert another schedule if foreign resources may also be used
	     
	     

	
	
	     
	     

	
	
	     
	     

	52 in SCC
	The percentage for manufacture and fabrication overheads is
	     %

	
	If Option C, D, or E is used
	Data for both schedules of cost components

	61 in SCC & SSCC
	The hourly rates for Defined Cost of design outside the Working Areas are
	Category of employee
	Hourly rate

	
	Note:  Hourly rates are estimated ‘cost to company of the employee’ and not selling rates.  
	     
	     

	
	Please insert another schedule if foreign resources may also be used
	     
	     

	
	
	     
	     

	
	
	     
	     

	62 in SCC & SSCC
	The percentage for design overheads is
	     %

	63 in SCC & SSCC
	The categories of design employees whose travelling expenses to and from the Working Areas are included as a cost of design of the works and Equipment done outside the Working Areas are:
	     

	
	If Option C, D or E is used
	Data for the Shorter Schedule of Cost Components

	41 in SSCC
	The percentage for people overheads is:
	     %

	21 in SSCC
	The published list of Equipment is the last edition of the list published by
	     

	
	The percentage for adjustment for Equipment in the published list is
	     %

	22 in SSCC
	The rates of other Equipment are:
	Equipment
	Size or capacity
	Rate

	
	
	     
	     
	     

	
	
	     
	     
	     

	
	
	     
	     
	     

	
	
	     
	     
	     

	
	
	     
	     
	     


C1.3 Forms of Securities 

Pro formas for Bonds & Guarantees

For use with the NEC3 Engineering & Construction Contract 

[Note to contract compiler:

Once it has been decided which securities are required for this contract delete from this file the ones not required, revise the notes below accordingly and delete this note.]
The conditions of contract stated in the Contract Data Part 1 include the following Secondary Options:

Option X4:
Parent company guarantee

Option X13:
Performance Bond

Option X14:
Advanced payment to the Contractor
Each of these secondary Options requires a bond or guarantee “in the form set out in the Works Information”.    Pro forma documents for these bonds and guarantees are provided here for convenience but are to be treated as part of the Works Information.

Option X16:
Retention (not used with Option F)

The Contractor may provide a Retention Money Guarantee in the form stated here.  When the Employer receives and accepts a Retention Money Guarantee exactly in the form stated he will instruct the Project Manager not to assess any amount be retained in terms of secondary Option X16.
The Contractor shall guarantee his ASGI-SA Obligations by providing the Employer with an ASGI-SA Guarantee in the form provided here.

[Note to contract compiler:  If there are no ASGI-SA Obligations in this contract, delete the above statement]

The organisation providing the bond / guarantee does so by copying the pro forma document onto his letterhead without any change to the text or format and completing the required details.  The completed document is then given to the Employer within the time stated in the contract.  

Pro forma Parent Company Guarantee (for use with Option X4)

(to be reproduced exactly as shown below on the letterhead of the Contractor’s Parent Company)
	Eskom Holdings SOC Ltd

Megawatt Park

Maxwell Drive

Sandton

Johannesburg
	Date:
	


Dear Sirs,

Parent Company Guarantee for Contract No  

With reference to the above numbered contract made or to be made between 

	Eskom Holdings SOC Ltd
	(the Employer) and

	{Insert registered name and address of the Contractor}
	(the Contractor), for

	{Insert details of the works from the Contract Data}
	(the works).


	I/We the undersigned 
	

	on behalf of the Contractor’s parent company 
	

	of physical address
	


and duly authorised thereto do hereby unconditionally guarantee to the Employer that the Contractor shall Provide the Works in accordance with the above numbered Contract.

1. If for any reason the Contractor fails to Provide the Works, we hereby agree to cause to Provide the Works at no additional cost to the Employer.

2. If we fail to comply with the terms of this Deed of Guarantee, the Employer may itself procure such performance (whether or not the Agreement be formally determined).  The Employer is to notify us and we shall indemnify the Employer for any additional cost or expense it incurs.

3. Our liability shall be as primary obligor and not merely as surety and shall not be impaired or discharged by reason of any arrangement or change in relationship made between the Contractor and the Employer and/or between us and Contractor; nor any alteration in the obligations undertaken by the Contractor or in the terms of the Agreement; nor any indulgence, failure, delay by you as to any matter; nor any dissolution or liquidation or such other analogous event of the Contractor.

4. The Employer shall not be obliged before taking steps to enforce the terms of this Deed of Guarantee to obtain judgement against the Contractor in any court or other tribunal, to make or file any claim in liquidation (or analogous proceedings) or to seek any remedy or proceed first against the Contractor.

5. This Deed of Guarantee shall be governed by and construed in accordance with the laws of the Republic of South Africa and we hereby submit to the non-exclusive jurisdiction of the High Court of South Africa.

	Signed at
	
	on this
	
	day of 
	
	200_


	Signature(s)
	
	

	Name(s) (printed)
	
	

	Position in parent company


	
	

	Signature of Witness(s)


	
	

	Name(s) (printed)
	
	


Pro forma Performance Bond – Demand Guarantee (for use with Option X13)

(to be reproduced exactly as shown below on the letterhead of the Contractor’s Parent Company)
	Eskom Holdings SOC Ltd

Megawatt Park

Maxwell Drive

Sandton

Johannesburg
	Date:
	


Dear Sirs

Reference No. [●] [Drafting Note: Bank reference number to be inserted]
Performance Bond – Demand Guarantee: [Drafting Note: Name of Contractor to be inserted]
Project [  ] Contract Reference: …… [Drafting Note: Contractor contract reference number to be inserted]
1. In this Guarantee the following words and expressions shall have the following meanings:-

1.1 “Bank” - means [●], [●] Branch, (Registration No. [●]); [Drafting Note: Name of Bank to be inserted]

1.2 “Bank’s Address” - means [●]; [Drafting Note: Bank’s physical address to be inserted]

1.3 “Contract” – means the written agreement relating to the Project, entered into between Eskom and the Contractor, on or about the [●] day of [●] 200[●] (Contract Reference No. [.]as amended, varied, restated, novated or substituted from time to time; [Drafting Note: Signature Date and Contract reference number to be inserted]

1.4 “Contractor” – means [●] a company registered in accordance with the laws of [●] under Registration Number [●]. [Drafting Note: Name and details of Contractor to be inserted]

1.5 “Eskom” - means Eskom Holdings SOC Ltd, a company registered in accordance with the laws of the Republic of South Africa under Registration Number 2002/015527/30].

1.6 “Expiry Date” - means the date on which the Defects Certificate is issued in terms of the Contract.

1.7 “Guaranteed Sum” - means the sum of R [●] ([●] Rand); 

1.8 “Project” - means [insert if applicable.].

2. At the instance of the Contractor, we the undersigned ______________ and ______________, in our respective capacities as _____________ and ___________ of the Bank, and duly authorized thereto, confirm that we hold the Guaranteed Sum at the disposal of Eskom, as security for the proper performance by the Contractor of all of its obligations in terms of and arising from the Contract and hereby undertake to pay to Eskom, on written demand from Eskom received prior to the Expiry Date, any sum or sums not exceeding in total the Guaranteed Sum.

3. A demand for payment under this guarantee shall be made in writing at the Bank’s address and shall:

3.1 be signed on behalf of Eskom by a Group Executive, Divisional Executive, Senior General Manager, General Manager  or its delegate;

3.2 state the amount claimed (“the Demand Amount’);

3.3 state that the Demand Amount is payable to Eskom in the circumstances contemplated in the Contract.

4. Notwithstanding the reference herein to the Contract the liability of the Bank in terms hereof is as principal and not as surety and the Bank’s obligation/s to make payment:

4.1 is and shall be absolute provided demand is made in terms of this bond in all circumstances; and

4.2 is not, and shall not be construed to be, accessory or collateral on any basis whatsoever. 

5. The Bank’s obligations in terms of this Guarantee:

5.1 shall be restricted to the payment of money only and shall be limited to the maximum of the Guaranteed Sum; and

5.2 shall not be discharged and compliance with any demand for payment received by the Bank in terms hereof shall not be delayed, by the fact that a dispute may exist between Eskom and the Contractor.

6. Eskom shall be entitled to arrange its affairs with the Contractor in any manner which it sees fit, without advising us and without affecting our liability under this Guarantee. This includes, without limitation, any extensions, indulgences, release or compromise granted to the Contractor or any variation under or to the Contract. 

7. Should Eskom cede its rights against the Contractor to a third party where such cession is permitted under the Contract, then Eskom shall be entitled to cede to such third party the rights of Eskom under this Guarantee on written notification to the Bank of such cession.

8. This Guarantee:

8.1 shall expire on the Expiry Date until which time it is irrevocable;

8.2 is, save as provided for in 7 above, personal to Eskom and is neither negotiable nor transferable;

8.3 shall be returned to the Bank upon the earlier of payment of the full Guaranteed Sum or expiry hereof;

8.4 shall be regarded as a liquid document for the purpose of obtaining a court order; and

8.5 shall be governed by and construed in accordance with the law of the Republic of South Africa and shall be subject to the jurisdiction of the Courts of the Republic of South Africa. 

8.6 Any claim which arises or demand for payment received after expiry date will be invalid and unenforceable.

9. The Bank chooses domicilium citandi et executandi for all purposes in connection with this Guarantee at the Bank’s Address.

Signed at _____________________

Date ____________________________

For and behalf of the Bank

Bank Signatory: ___________________

Bank Signatory: ___________________

Witness: ________________________

Witness: _________________________

Bank’s seal or stamp

Pro forma Advanced Payment Bond (for use with Option X14)

(to be reproduced exactly as shown below on the letterhead of the Bank providing the Bond)
	Eskom Holdings Limited

Megawatt Park

Maxwell Drive

Sandton

Johannesburg 
	Date:
	


Dear Sirs,

Advanced Payment Bond for Contract No.  

With reference to the above numbered contract made or to be made between 

	Eskom Holdings SOC Limited
	(the Employer) and

	{Insert registered name and address of the Contractor}
	(the Contractor), for

	{Insert details of the works from the Contract Data}
	(the works).


	I/We the undersigned 
	

	on behalf of the Surety
	

	of physical address
	

	
	


and duly authorised thereto do hereby bind ourselves as Surety and co-principal debtors in solidum for the due and proper repayment by the Contractor to the Employer of the advanced payment made by the Employer to the Contractor under the Contract, and for all losses and expenses that may be suffered or incurred by the Employer as a result of non-payment by the Contractor, subject to the following conditions

1. The terms Employer, Contractor, and the works have the meaning as assigned to them by the conditions of contract listed in the Contract Data for the aforesaid Contract.

2. We renounce all benefits from the legal exceptions "Benefit of Excussion and Division", "No value received" “Revision of Accounts”, “Cession of Action” and any other exceptions which might or could be pleaded against the validity of this bond, with the meaning and effect of which exceptions we declare ourselves to be fully acquainted.

3. The Employer has the absolute right to arrange his affairs with the Contractor in any manner which the Employer deems fit and without being advised thereof the Surety shall not have the right to claim his release on account of any conduct alleged to be prejudicial to the Surety.  Without derogating from the foregoing compromise, extension of the construction period, indulgence, release or variation of the Contractor's obligation shall not affect the validity of this Advance Payment bond.

4. This bond expires on the date when the Surety receives a notice from the Project Manager stating that the advanced payment has been repaid to the Employer in terms of the Contract, or liquidated by deductions from other payments due to the Contractor.
5. The amount of the bond shall be payable to the Employer upon the Employer's demand and no later than 7 days following the submission to the Surety of a certificate signed by the Project Manager stating the amount of the Employer's losses, damages and expenses incurred as a result of the non-performance aforesaid.  The signed certificate shall be deemed to be conclusive proof of the extent of the Employer's loss, damage and expense.

6. Our total liability hereunder shall not exceed the sum of ............................. (R ................) which is equal to the advance payment.

7. This Advanced Payment Bond is neither negotiable nor transferable and is governed by the laws of the Republic of South Africa.

	Signed at
	
	on this
	
	day of 
	
	200_


	Signature(s)
	
	

	Name(s) (printed)
	
	

	Position in Surety company


	
	

	Signature of Witness(s)


	
	

	Name(s) (printed)
	
	


Pro forma Retention Money Guarantee (may be used when Option X16 applies)

(to be reproduced exactly as shown below on the letterhead of the Bank providing the Guarantee)
	Eskom Holdings SOC Limited

Megawatt Park

Maxwell Drive

Sandton

Johannesburg 
	Date:
	


Dear Sirs

Reference No. [●] [Drafting Note: Bank reference number to be inserted]
Retention Money Guarantee: [Drafting Note: Name of Contractor to be inserted]
Project [  ] : Contract Reference:  [Drafting Note: Contractor contract reference number to be inserted]
1. In this Guarantee the following words and expressions shall have the following meanings:-

1.1 “Bank” - means [●], [●] Branch, (Registration No. [●]); [Drafting Note: Name of Bank to be inserted]

1.2 “Bank’s Address” - means [●]; [Drafting Note: Bank’s physical address to be inserted]

1.3 “Contract” – means the written agreement relating to the Project, entered into between Eskom and the Contractor, on or about the [●] day of [●] 200[●] (Contract Reference No. ………. as amended, varied, restated, novated or substituted from time to time; [Drafting Note: Signature Date and Contract reference number to be inserted]

1.4 “Contractor” – means [●] a company registered in accordance with the laws of [●] under Registration Number [●]. [Drafting Note: Name and details of Contractor to be inserted]

1.5 “Eskom” - means Eskom Holdings SOC Limited, a company registered in accordance with the laws of the Republic of South Africa under Registration Number 2002/015527/30

1.6 “Expiry Date” - means the date on which the Defects Certificate is issued in terms of the Contract.

1.7 “Guaranteed Sum” - means the sum of R [●] ([●] Rand); [Drafting Note: Insert amount of Retention Money Guarantee.].

1.8 “Project” - means the…………………………………..

2. At the instance of the Contractor, we the undersigned ______________ and ______________, in our respective capacities as _____________ and ___________ of the Bank, and duly authorized thereto, confirm that we hold the Guaranteed Sum at the disposal of Eskom, as security for the proper performance by the Contractor of all of its obligations in terms of and arising from the Contract and hereby undertake to pay to Eskom, on written demand from Eskom received prior to the Expiry Date, any sum or sums not exceeding in total the Guaranteed Sum.

3. A demand for payment under this guarantee shall be made in writing at the Bank’s address and shall:

3.1 be signed on behalf of Eskom by a director of Eskom or his authorised delegate.

3.2 state the amount claimed (“the Demand Amount’);

3.3 state that the Contractor has failed to carry out his obligation(s) to rectify certain defect(s) for which he is responsible under the Contract (and the nature of such defect(s)) alternatively that the Demand Amount is payable to Eskom in the circumstances contemplated in the Contract.

4. Notwithstanding the reference herein to the Contract the liability of the Bank in terms hereof is as principal and not as surety and the Bank’s obligation/s to make payment:

4.1 is and shall be absolute provided demand is made in terms of this bond in all circumstances; and

4.2 is not, and shall not be construed to be, accessory or collateral on any basis whatsoever. 

5. The Bank’s obligations in terms of this Guarantee:

5.1 shall be restricted to the payment of money only and shall be limited to the maximum of the Guaranteed Sum; and

5.2 shall not be discharged and compliance with any demand for payment received by the Bank in terms hereof shall not be delayed by the fact that a dispute may exist between Eskom and the Contractor.

6. Eskom shall be entitled to arrange its affairs with the Contractor in any manner which it sees fit, without advising us and without affecting our liability under this Guarantee. This includes, without limitation, any extensions, indulgences, release or compromise granted to the Contractor or any variation under or to the Contract. 

7. Should Eskom cede its rights against the Contractor to a third party where such cession is permitted under the Contract, then Eskom shall be entitled to cede to such third party the rights of Eskom under this Guarantee on written notification to the Bank of such cession.

8. This Guarantee:

8.1 shall expire on the Expiry Date until which time it is irrevocable;

8.2 is, save as provided for in 7 above, personal to Eskom and is neither negotiable nor transferable;

8.3 shall be returned to the Bank upon the earlier of payment of the full Guaranteed Sum or expiry hereof;

8.4 shall be regarded as a liquid document for the purpose of obtaining a court order; and

8.5 shall be governed by and construed in accordance with the law of the Republic of South Africa and shall be subject to the jurisdiction of the Courts of the Republic of South Africa.

8.6 Any claim which arises or demand for payment received after expiry date will be invalid and unenforceable.

9. The Bank chooses domicilium citandi et executandi for all purposes in connection with this Guarantee at the Bank’s Address.

Signed at _____________________

Date ____________  Bank’s seal or stamp

For and behalf of the Bank

Bank Signatory: ___________________

Bank Signatory: ___________________

Witness: ________________________

Witness: _________________________

Pro forma ASGI-SA Guarantee
(to be reproduced exactly as shown below on the letterhead of the Bank providing the Guarantee)
	Eskom Holdings Limited

Megawatt Park

Maxwell Drive

Sandton

Johannesburg
	Date:
	


Dear Sirs

Reference No. [●] [Drafting Note: Bank reference number to be inserted]
Pro-Forma ASGI-SA  Guarantee: [Drafting Note: Name of Contractor to be inserted]
Project [  ] Contract Reference: [●] [Drafting Note: Contractor contract reference number to be inserted]
10. In this Guarantee the following words and expressions shall have the following meanings:-

1.1 “Bank” - means [●], [●] Branch, (Registration No. [●]); [Drafting Note: Name of Bank to be inserted]

1.2 “Bank’s Address” - means [●]; [Drafting Note: Bank’s physical address to be inserted]

1.3 “Contract” – means the written agreement relating to the Project, entered into between the Employer and the Contractor, on or about the [●] day of [●] 200[●] (Contract Reference No. [●] as amended, varied, restated, novated or substituted from time to time; [Drafting Note: Signature Date and Contract reference number to be inserted]

1.4 “Contractor” – means [●] a company registered in accordance with the laws of [●] under Registration Number [●]. [Drafting Note: Name and details of Contractor to be inserted]

1.5 “Contractor’s ASGI-SA Obligations” – means the Contractor’s ASGI-SA Obligations under and as defined in the Contract.

1.6 “Employer” - means Eskom Holdings Limited, a company registered in accordance with the laws of the Republic of South Africa under Registration Number 2002/015527/06.

1.7 “Expiry Date” - means the [●] day of [●] 200[●]; [Drafting Note: anticipated date of issue of ASGI-SA Performance Certificate to be inserted.]

1.8 “Guaranteed Sum” - means the sum of R [●] ([●] Rand); 

1.9 “Project” – means the …………………………

2. At the instance of the Contractor, we the undersigned ______________ and ______________, in our respective capacities as _____________ and ___________ of the Bank, and duly authorized thereto, confirm that we hold the Guaranteed Sum at the disposal of the Employer, as security for the proper performance by the Contractor of the Contractor’s ASGI-SA Obligations and hereby undertake to pay to the Employer, on written demand from the Employer received prior to the Expiry Date, any sum or sums not exceeding in total the Guaranteed Sum.

3. A demand for payment under this guarantee shall be made in writing at the Bank’s address and shall:

3.1 state the amount claimed (“the Demand Amount’);

3.2 state that the Demand Amount is payable to the Employer in the circumstances contemplated in the Contract.

4. Notwithstanding the reference herein to the Contract the liability of the Bank in terms hereof is as principal and not as surety and the Bank’s obligation/s to make payment:

4.1 is and shall be absolute provided demand is made in terms of this bond in all circumstances; and

4.2 is not, and shall not be construed to be, accessory or collateral on any basis whatsoever. 

5. The Bank’s obligations in terms of this Guarantee:

5.1 shall be restricted to the payment of money only and shall be limited to the maximum of the Guaranteed Sum; and

5.2 shall not be discharged and compliance with any demand for payment received by the Bank in terms hereof shall not be delayed, by the fact that a dispute may exist between the Employer and the Contractor.

6. The Employer shall be entitled to arrange its affairs with the Contractor in any manner which it sees fit, without advising us and without affecting our liability under this Guarantee. This includes, without limitation, any extensions, indulgences, release or compromise granted to the Contractor or any variation under or to the Contract. 

7. Should the Employer cede its rights against the Contractor to a third party where such cession is permitted under the Contract, then the Employer shall be entitled to cede to such third party the rights of the Employer under this Guarantee on written notification to the Bank of such cession.

8. This Guarantee:

8.1 shall expire on the Expiry Date until which time it is irrevocable;

8.2 is, save as provided for in 7 above, personal to the Employer and is neither negotiable nor transferable;

8.3 shall be returned to the Bank upon the earlier of payment of the full Guaranteed Sum or expiry hereof;

8.4 shall be regarded as a liquid document for the purpose of obtaining a court order; and

8.5 shall be governed by and construed in accordance with the law of the Republic of South Africa and shall be subject to the jurisdiction of the courts of the Republic of South Africa.

8.6 Any claim which arises or demand for payment received after expiry date will be invalid and unenforceable.

9. The Bank chooses domicilium citandi et executandi for all purposes in connection with this Guarantee at the Bank’s Address.

Signed at _____________________

Date ____________________________

For and behalf of the Bank

Bank Signatory: ___________________

Bank Signatory: ___________________

Witness: ________________________

Witness: _________________________

Bank’s seal or stamp
Part 2: Pricing Data

ECC3 Option B

	Document reference
	Title
	No of pages

	C2.1
	Pricing assumptions: Option B
	3

	C2.2
	The bill of quantities
	     


C2.1 Pricing assumptions: Option B

1. How work is priced and assessed for payment

Clause 11 in NEC3 Engineering and Construction Contract (ECC3) Option B states:

	Identified and defined terms
	11

11.2
	(21) The Bill of Quantities is the bill of quantities as changed in accordance with this contract to accommodate implemented compensation events and for accepted quotations for acceleration.



	
	
	(28) The Price for Work Done to Date is the total of 

· the quantity of the work which the Contractor has completed for each item in the Bill of Quantities multiplied by the rate and

· a proportion of each lump sum which is the proportion of the work covered by the item which the Contractor has completed.

Completed work is work without Defects which would either delay or be covered by immediately following work.



	
	
	(31) The Prices are the lump sums and the amounts obtained by multiplying the rates by the quantities for the items in the Bill of Quantities.




This confirms that Option B is a re-measurement contract and the bill comprises only items measured using quantities and rates or stated as lump sums.  Value related items are not used.  Time related items are items measured using rates where the rate is a unit of time.

2. Function of the Bill of Quantities

Clause 55.1 in Option B states, “Information in the Bill of Quantities is not Works Information or Site Information”.  This confirms that specifications and descriptions of the work or any constraints on how it is to be done are not included in the Bill, but in the Works Information.  This is further confirmed by Clause 20.1 which states, “The Contractor Provides the Works in accordance with the Works Information”. Hence the Contractor does not Provide the Works in accordance with the Bill of Quantities.  The Bill of Quantities is only a pricing document.  

3. Guidance before pricing and measuring

Employers preparing tenders or contract documents, and tendering contractors are advised to consult the sections dealing with the bill of quantities in the NEC3 Engineering and Construction Contract Guidance Notes before preparing the bill of quantities or before entering rates and lump sums into the bill. 

There is no general provision in Option B for payment for materials on Site before incorporation into the works.  If secondary Option X14 Advanced payment has not been used then the tendering contractor may obtain the same effect by inserting appropriate items in the method related charges where the method of measurement allows, or alternatively making allowance in the rates of the bill of quantities for the financing of Plant and Materials until they are incorporated in the works.
When compensation events arise, the default position is that the Bill of Quantities is not used to calculate the cost effect of the event.  Defined Cost and the resulting Fee is used and Defined Cost includes all components of cost which the Contractor is likely to incur, including so called P & G items.  Rates and lump sums from the Bill of Quantities, or from any other source, may be used instead of Defined Cost and the Fee only if the Contractor and Project Manager agree.  If they are unable to agree, then Defined Cost plus Fee is used.   

4. Measurement and payment
4.1. Symbols

The units of measurement described in the Bill of Quantities are metric units abbreviated as follows:
[add or delete as required] 
	Abbreviation
	Unit

	%
	percent

	h
	hour

	ha
	hectare

	kg
	kilogram

	kl
	kilolitre

	km
	kilometre

	km-pass
	kilometre-pass

	kPa
	kilopascal

	kW
	kilowatt

	l
	litre

	m
	metre

	mm
	millimetre

	m2
	square metre

	m2-pass
	square metre pass

	m3
	cubic metre

	m3-km
	cubic metre-kilometre

	MN
	meganewton

	MN.m
	meganewton-metre

	MPa
	megapascal

	No.
	number

	sum
	Lump sum

	t
	tonne (1000kg)


4.2. General assumptions

4.2.1. Unless otherwise stated, items are measured net in accordance with the drawings, and no allowance has been made in the quantities for waste.

4.2.2. The Prices and rates stated for each item in the Bill of Quantities shall be treated as being fully inclusive of all work, risks, liabilities, obligations, overheads, profit and everything necessary as incurred or required by the Contractor in carrying out or providing that item.    
4.2.3. An item against which no Price is entered will be treated as covered by other Prices or rates in the bill of quantities.  
4.2.4. The quantities contained in the Bill of Quantities may not be final and do not necessarily represent the actual amount of work to be done.  The quantities of work assessed and certified for payment by the Project Manager at each assessment date will be used for determining payments due.

4.2.5. The short descriptions of the items of payment given in the bill of quantities are only for the purposes of identifying the items.  Detail regarding the extent of the work entailed under each item is provided in the Works Information.
4.3. Departures from the method of measurement
Only use this section if the statement for Option B in the Contract Data, “The method of measurement is ________ amended as follows” refers the reader to this section rather than include the amendments within the Contract Data statement.  Otherwise delete this heading.  In any case delete this note when complied with. 
4.4. Amplification of or assumptions about measurement items

The following is provided to assist in the interpretation of descriptions given in the method of measurement.  In the event of any ambiguity or inconsistency between the statements in the method of measurement and this section, the interpretation given in this section shall be used. 

C2.2 the bill of quantities
Use this page as a summary page or as a cover page to the bill of quantities.  

Part 3: Scope of Work

	Document reference
	Title
	No of pages

	
	This cover page
	1

	C3.1
	Employer’s Works Information
	39

	C3.2
	Contractor’s Works Information

(insert at award stage or delete if not applicable)
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	


C3.1: Employer’s works Information

Contents

5Part 3: Scope of Work

C3.1: Employer’s works Information
6
1
Description of the works
8
1.1
Executive overview
8
1.2
Employer’s objectives and purpose of the works
8
1.3
Interpretation and terminology
9
2
Management and start up.
10
2.1
Management meetings
10
2.2
Documentation control
12
2.3
Health and safety risk management
15
2.4
Environmental constraints and management
16
2.5
Quality assurance requirements
17
2.6
Programming constraints
17
2.7
Contractor’s management, supervision and key people
18
2.8
Invoicing and payment
19
2.9
Insurance provided by the Employer
21
2.10
Contract change management
21
2.11
Provision of bonds and guarantees
21
2.12
Records of Defined Cost, payments & assessments of compensation events to be kept by the Contractor
22
2.13
Training workshops and technology transfer
22
3
Engineering and the Contractor’s design
22
3.1
Employer’s design
22
3.2
Parts of the works which the Contractor is to design
22
3.3
Procedure for submission and acceptance of Contractor’s design
23
3.4
Other requirements of the Contractor’s design
23
3.5
Use of Contractor’s design
23
3.6
Design of Equipment
23
3.7
Equipment required to be included in the works
23
3.8
As-built drawings, operating manuals and maintenance schedules
23
4
Procurement
24
4.1
People
24
4.1.1
Minimum requirements of people employed on the Site
24
4.1.2
BBBEE and preferencing scheme
24
4.1.3
Accelerated Shared Growth Initiative – South Africa (ASGI-SA)
28
4.2
Subcontracting
28
4.2.1
Preferred subcontractors
28
4.2.2
Subcontract documentation, and assessment of subcontract tenders
29
4.2.3
Limitations on subcontracting
29
4.2.4
Attendance on subcontractors
29
4.3
Plant and Materials
29
4.3.1
Quality
29
4.3.2
Plant & Materials provided “free issue” by the Employer
29
4.3.3
Contractor’s procurement of Plant and Materials
29
4.3.4
Spares and consumables
29
4.4
Tests and inspections before delivery
30
4.5
Marking Plant and Materials outside the Working Areas
30
4.6
Contractor’s Equipment (including temporary works).
30
4.7
Cataloguing requirements by the Contractor
30
5
Construction
31
5.1
Temporary works, Site services & construction constraints
31
5.1.1
Employer’s Site entry and security control, permits, and Site regulations
31
5.1.2
Restrictions to access on Site, roads, walkways and barricades
31
5.1.3
People restrictions on Site; hours of work, conduct and records
31
5.1.4
Health and safety facilities on Site
32
5.1.5
Environmental controls, fauna & flora, dealing with objects of historical interest
32
5.1.6
Title to materials from demolition and excavation
32
5.1.7
Cooperating with and obtaining acceptance of Others
32
5.1.8
Publicity and progress photographs
32
5.1.9
Contractor’s Equipment
32
5.1.10
Equipment provided by the Employer
32
5.1.11
Site services and facilities
32
5.1.12
Facilities provided by the Contractor
32
5.1.13
Existing premises, inspection of adjoining properties and checking work of Others
33
5.1.14
Survey control and setting out of the works
33
5.1.15
Excavations and associated water control
33
5.1.16
Underground services, other existing services, cable and pipe trenches and covers
34
5.1.17
Control of noise, dust, water and waste
34
5.1.18
Sequences of construction or installation
34
5.1.19
Giving notice of work to be covered up
34
5.1.20
Hook ups to existing works
34
5.2
Completion, testing, commissioning and correction of Defects
34
5.2.1
Work to be done by the Completion Date
34
5.2.2
Use of the works before Completion has been certified
34
5.2.3
Materials facilities and samples for tests and inspections
35
5.2.4
Commissioning
35
5.2.5
Start-up procedures required to put the works into operation
36
5.2.6
Take over procedures
36
5.2.7
Access given by the Employer for correction of Defects
36
5.2.8
Performance tests after Completion
36
5.2.9
Training and technology transfer
36
5.2.10
Operational maintenance after Completion
36
6
Plant and Materials standards and workmanship
37
6.1
Investigation, survey and Site clearance
37
6.2
Building works
37
6.3
Civil engineering and structural works
37
6.4
Electrical & mechanical engineering works
37
6.5
Process control and IT works
37
6.6
Other [as required]
37
7
List of drawings
38
7.1
Drawings issued by the Employer
38
C3.2
Contractor’s Works Information
40


1 Description of the works
1.1 Executive overview 

Eskom Transmission Grid Planning and Eskom Transmission Western Grid initiated a study to investigate

possible alternatives and solutions to address the transformation constraints at Bacchus MTS, as well as transmission constraints on the network supplying the Houhoek area. The 132kV network in-feeds into

Houhoek Distribution substation were analysed with present and future loads.

The capacity of Bacchus/Houhoek was reached in 2013, but can be “stretched” until around 2016, by operating with a normally open point at Gala substation, to reduce the strain on the Bacchus network. This, however, depends on the loading in the Firgrove network. Further, it has also become difficult to conduct maintenance work on the 132kV networks as the existing networks no longer comply with N-1 criteria.

High level Scope of works is as follows:
Build a new 2 x 500 MVA 400/132kV substation with the following bays:

400 kV bays:

· 2 x equipped feeder bays (Bacchus and Palmiet)

· 2 x future feeder bays

· 2 x equipped transformer bays (2 x 500MVA, 400/132kV)

· 1 x future transformer bay

132kV bays:

· 3 x equipped feeder bays (Houhoek 1 and 2, Bacchus 1)

· 3 x spare feeder bays

· 4 x future feeder bays

· 2 x equipped transformer bays (2 x 500MVA, 400/132kV)

· 1 x future transformer bay

Construct 2 x ~1.7km 400 kV loop-in and out lines from the existing Palmiet – Bacchus 400 kV line to

the new Asteria Substation.

onstruction supply (transformer & line from Distribution).

At Palmiet:

Upgrade Protection on Bacchus Feeder and update database.

At Bacchus:

Upgrade Protection on Palmiet Feeder and update database.
1.2 Employer’s objectives and purpose of the works
The objective of this project is to solve the network constraints by establishing a new Asteria Substation (Houhoek MTS). The new substation would de-load Bacchus MTS. The new station would also be able to supply the long-term load growth in the southern-western part of the Southern Cape CLN and can be used for the integration of Wind Energy Facilities which are currently being explored in this area.

The loop in and out of Palmiet-Bacchus 400 kV line into the new Asteria MTS (also be referred to as

Asteria 400 kV LILO), which is adjacent to the existing Houhoek distribution substation forms of the

Houhoek network strengthening project in the Western Cape Grid which aims to address the

capacity issues at Bacchus MTS and the network constraints around the Houhoek area. This project

will also ensure that Houhoek network is N-1 compliant. The Asteria 400 kV LILO are approximately 2

km each in length.

1.3 Interpretation and terminology

The following abbreviations are used in this Works Information:

	Abbreviation
	Meaning given to the abbreviation

	OPGW
	Optical fibre ground wire

	E/W
	Earthwire

	SHERQ
	Safety, Health, Environmental, Risk and Quality 

	AFC 
	Approved for construction

	B-BBEE
	Broad Based Black Economic Empowerment

	DCP
	Dynamic Cone Penetrometer

	DOL
	Department of Labour

	EMP 
	Environmental Management Plan

	HV
	High Voltage

	NCR
	Non-Conformance Report

	OBL
	Outside battery limits

	ROD
	Record of Decision

	SD&L
	Skills Development & Localisation

	SHE
	Safety Health and Environment

	SHEQ
	Safety, Health, Environmental & Quality

	TMH
	Technical Methods for Highways

	TOC
	Top of Concrete

	ARC 
	Auto re-closing (i.e. and O-CO operation under command of a relay) 

	BZ 
	Bus Zone 

	CB 
	Circuit breaker 

	CT 
	Current transformer 

	GIS 
	Gas Insulated Switchgear 

	I 
	Amps 

	KIPTS 
	Natural ageing and pollution performance test procedure for outdoor insulator products 

	EMC 
	Electro Magnetic Compatibility 

	M 
	Metering 

	MCB 
	Miniature circuit breaker 

	MR 
	Multi ratio 

	MVA 
	Mega Volt Amps 

	N/C 
	Normally Closed 

	N/O 
	Normally open 

	OEM 
	Original Equipment Manufacturer 

	OHS Act 
	Occupational Health and Safety (OHS) Act No 85 0f 1993, as amended, of the Republic of South Africa 

	P 
	Protection 

	FMECA 
	Failure Modes, Effects and Criticality Analysis 

	SF6 
	Sulphur Hexafluoride 

	T 
	Turns 

	TRFR 
	Transformer 

	V 
	Volts 

	VT 
	Voltage transformer 


2 Management and start up.

2.1 Management meetings

General

Formal routine meetings shall be held twice a month throughout the duration of the contract. 
Should the requirement arise for any other additional meetings such meetings will be scheduled 
accordingly, these meetings provide a forum for review of the Contractor's operations, assessment 
of progress and schedule, discussion and resolution of problems facing the Contractor and the 
Project Manager, and coordination of the activities of all parties concerned.

All safety meetings shall be held as per attached SHE Specification. (TPDMAN-SP-84).

Pre-Construction Kick-off Meeting

The pre-construction kick-off meeting takes place prior to the Contractor mobilising to site between 
Employer and the Contractor. This meeting will be held at a location to be determined by the Employer. 
Minutes of Meeting

The Project Manager prepares minutes of meeting for all meetings held between employer and contractor. 

The Minutes of Meeting contain all significant aspects of the meeting recorded together with any 
actions placed and is presented to the Contractor for signature within 14 working days after the meeting. 
The contractor needs to sign off the minutes as acceptance within 3 working days.

After the Contractor has signed the minutes of meeting, the minutes are to be officially published.

Regular meetings of a general nature may be convened and chaired by the Project Manager as follows:
	Title and purpose
	Approximate time & interval
	Location
	Attendance by:

	Risk Reduction Meeting
	As per NEC 3 procedure


	Site or wherever as instructed by the Project Manager 
	Employer:
Project Manager

(Supervisor &

SHE officer) optional
Contractor:
Project Director, Site Manager, Contract Manager, Site Supervisor/s, Scheduler and SHE Manager. 

	Progress meetings
	Monthly or as instructed by the Project Manager
	Site or as instructed by the Project Manager 
	Employer:
Project Manager

(Supervisor &

SHE officer) optional
Contractor:
Project Director, Site Manager, Contract Manager, Site Supervisor/s, Scheduler and SHE Manager 

	Integration Meeting
	Monthly or as instructed by the Project Manager
	Site or as instructed by the Project Manager 
	Employer:
Project Manager

Supervisor

SHE officer
Contractor:
Project Director, Site Manager, Contract Manager, Site Supervisor/s, Scheduler and SHE Manager

	Health, Safety and Environmental meetings 
	As stipulated in TPDMAN-SP-84 (H&S specification)
	Site or as instructed by the Project Manager 
	As stipulated in TPDMAN-SP-84(Health and Safety/H&S specification)


Meetings of a specialist nature may be convened as specified elsewhere in this Works Information or if not so specified by persons and at times and locations to suit the Parties, as may be required due to the nature and the progress of the works.  Records of these meetings shall be submitted to the Project Manager by the person convening the meeting within five days of the meeting.  

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.  

The Project Manager prepares minutes of meetings for all meetings held between Employer and Contractor. 

The minutes of a meeting contain all significant aspects of the meeting recorded together with any actions placed and is presented to the Contractor for signature at the next project meeting. After the Contractor has signed the minutes of meeting, the minutes are to be officially published.

The Contractor shall attend regular site meetings with the Project Manager and Supervisor where the progress of construction will be reviewed.  Such meetings shall be held monthly and may be attended by representatives of the Employer.

The Contractor shall also attend weekly meetings with the Supervisor and provide, prior to each meeting as required by the Project Manager, detailed programmes showing separately the various activities of the Contractor anticipated over the forthcoming two-week period as well as the progress achieved over the preceding week relative to the programme applicable to that period.

As a result of COVID-19 other measures to curb the pandemic as well as other health and safety risks associated with travel, some meetings will be convened via MS Teams.  
2.2 Documentation control

The Contractor shall submit all documentation to the Project Manager’s requirements. All relevant documentation and drawings, including revisions, will be issued to the Contractor, but control, maintenance and handling of these documents will be the Contractor’s sole responsibility and at its expense, and managed with a suitable document control system developed by the Contractor and accepted by the Project Manager.
2.2.1) Contractual correspondence.

•
Properly compiled letters on official Company letter head or forms attached to an e-mail and not as a message in an e-mail itself.

•
Alpha numeric identification – Reference: Date / Asteria 400/132kV Substation  Project/ Communication number e.g., 20200615/Asteris/02.

•
All correspondence to be addressed to the Project Manager.

Contractual forms to be used.
· ECC – instructions by the SS (Supervisor)

· ECC _ Instruction by the PM (Project Manager) 

· ECC _ Notification of Defects 

· ECC _ Risk Register 

· ECC _ Early warning by PM

· ECC _ Early warning by Contractor 

· ECC _ Notification of CE (Compensation Event) by the Contractor
· ECC _ Submission by Contractor for acceptance by the PM 

· ECC _ Completion Certificate 

· ECC _ Quotation for the proposed instruction of changed decisions

2.2.2) Site communication.
Site instructions issued by the Supervisor.

•
Site Memorandums addressed to the Supervisor.

•
Contractor Daily Site Diary (Minimum Employer requirements on Contractor Daily Site Diary are);

· Contract No.

· Date

· Work Hours – Start, Finish and Overtime

· Rainfall (mm)

· Temperature

· Visitors to site

· Contractor employees on site and description (Site Agent, Foreman, Skilled, etc.)

· List of Plant and Equipment

· Brief description of the day’s activities

· Toolbox talk topic

· Diary signed daily by Employer Site Manager/Supervisor and Contractor – Contract Manager/Site Agent 

· Daily Contractor attendance register to be attached to the Daily Site Diary.

•
Site instructions issued by the Supervisor.

•
Site Memorandums addressed to the Supervisor

Summary of the documentation required from the Contractor before and during construction includes the following:

	DOCUMENT
	Before
	During

	Programme
	X
	X

	Resource Schedule
	X
	X

	Health and Safety Plan
	X
	

	Quality Assurance Plan
	X
	

	Method Statements
	X
	

	Materials Inventory
	
	X

	Drawing Register
	
	X

	Progress Schedule
	
	X

	Application for Payment
	
	X

	Geotechnical and Foundation design reports
	X
	

	Soil Test Results
	X
	

	Concrete Batching note
	
	X

	Cube Test Reports
	
	X

	Weather Data
	
	X

	Monthly Safety Report
	
	X

	Inventory list of all materials
	
	X

	Foundation photographs
	
	X

	List of Equipment and Machinery on site 
	
	x

	
	
	


Communication

· All correspondence from the Contractor is signed by the Contractor’s authorised representative.  

· Correspondence from the Project Manager is issued and signed in the name of the Project Manager or his authorised representative.

· All formal correspondence from the Contractor is addressed to the Project Manager or his authorised representative and delivered to the Project Manager or his authorised representative.

· Emails and other forms of electronic communication (collectively referred to herein as emails) between the Contractor and the Project Manager are for the expedient transfer of preliminary technical data and non-contractual information only.

· The Contractor provides all contractually required submittals, notifications, and the like by means of official correspondence or formal document transmittal.

· Emails or documentation included therein, sent from the Project Manager to the Contractor do not, in themselves, constitute either acceptance of a proposal from the Contractor or an instruction under the terms of the contract either of which may be or may result in a compensation event to the contract. 

· The Contractor does not act on any email that the Contractor believes results in a compensation event to the contract whether the email by the Project Manager stated that it constituted a compensation event. The Contractor requests formal written confirmation of any instruction that may be or may result in a compensation event and receives this confirmation through formal correspondence, document transmittal, and Project Manager’s instruction or compensation event, before acting on such an instruction.

· seq level1 \h \r0 Signature authorities

· The Contractor provides, a “Signature Authorization Form”, the names and specimen signatures of those individuals within the Contractor’s organization authorized to sign documents on behalf of the Contractor. The Contractor also specifies the financial or other limits of authority for everyone. 

· The Contractor delegate’s authority within its organization to home office and field office personnel as required for effective performance of the work.  

· The Contractor’s Contract Signatory signs the “Signature Authorization Form”.
Drawings and Document Transmittals

Documentation Requirements
The Contractor submits all documentation conforming to the requirements of the Employer and / or the Project Manager applicable standards and specifications with the following specific requirements:

· When required, the Contractor transmits to the Employer / Project Manager, technical submissions, sketches or drawings, calculations and other pertinent data, in sufficient detail to enable the Employer / Project Manager to review the information and determine that the Contractor clearly understands the requirements of the contract. 

· Documents and data provided by the Contractor under the contract are subject to the Employer / Project Manager review and accept prior to Contractor’s start of procurement.

· Review and acceptance of drawings, documents and / or data, etc. by the Employer / Project Manager, does not absolve the Contractor from any responsibilities under this contract.

· The review by the Employer / Project Manager with or without comments does not relieve the Contractor of any obligations or requirements under the contract nor be construed as an authorization of, or consent to, any deviation from the contract. If the Contractor considers that the Employer / Project Manager comments constitute a compensation event to the contract, the Contractor requests a formal instruction.

· All drawings and other documents are in English and are sized in accordance with metric standard sizes and carry titles to indicate equipment numbers or any other identification number of the portion of work covered on the drawing and / or document.

· The revision number marks changes or additions to any document, at the point of a revision, and the revision is reflected in its title block or drawing number by an appropriate revision indication.

· An Aconex transmittal summarizing the content of the set accompanies multiple sheets with the same drawing number.

· The format of electronic documentation conforms to the following requirements:

	Document
	Native Format
	Issued to Employer

	Specifications
	MS Word 2007
	Native & PDF 

	Manuals
	MS Word 2007
	Native & PDF 

	Datasheets
	Microsoft Excel 2007
	Native & PDF 

	Programs
	Primavera P6 or MS Projects 
	Native & PDF

	Spreadsheets
	MS Excel 2007
	Native & PDF

	Drawings
	AutoCAD Release 2004 or later
	Native & PDF

	Other Documentation
	Microsoft Office 2007compliant
	Native & PDF


· The Contractor is, in interpreting the drawings and specifications, bound by the figures marked thereon and not by scaled measurements.

· If the Contractor believes that new or revised IFC (issued for construction) documents constitute a change to the Contract, the Contractor notifies Employer / Project Manager of the change and does not proceed with the changes until officially instructed to do so by the Employer / Project Manager.

· The Employer / Project Manager reviews engineering information or queries raised and returns comments to the Contractor within the period of reply. This review by the Employer / Project Manager does not relieve the Contractor of his responsibility to ensure that the package is in accordance with the requirements.
· The Contractor submits a written signed off as built as final issue of the “Handover” documentation.
. 

2.3 Health and safety risk management

The Contractor shall comply with the health and safety requirements contained in Annexure: Asteria 400/132kV Substation (H&S) Specification form (TPDMAN-SP-84) to this Works Information and all the other documents that the specification refers.
The Contractor shall comply with the health and safety requirements contained in Annexure (TPDMAN-SP-84) to this Works Information.
The Contractor shall also ensure and allow for in his pricing structure that all Personal Protective Equipment (PPE) issued to his employees are in accordance with the Employer’s Personal Protective Equipment Specification (240-44175132).
In accordance with Eskom internal procedure and wherever Health and Safety Issues are concerned:

In accordance with Eskom internal procedure and wherever Health and Safety Issues are concerned:

· The Executive projects manager, Mr Johan Bornman will induct the contractor MD before commencement of work, on site.

· This will assist in ensuring that the MD gets first-hand information of requirements etc.
· Site managers, Site supervisors, including site representatives shall be required to conduct 1 VFL/BBSO per day (The client will provide training on request.)

· The contractor shall include 2 hours stoppage time every month in the schedule for any safety related issue, which will not constitute compensation.

· The MD is required to conduct 2 Visible Felt Leadership per month. 

· The contractor shall present all lost time incident and medical incidents to the Western Portfolio management team, the presentation of all incidents shall be done within 30 days of the incident. All incidents shall be presented by the contractor’s MD to the Western Portfolio management team.

The Contractor shall comply with the health and safety requirements as prescribed in the Project health and safety specification. 

   In addition to the above, the following shall apply:

During construction, all workers on structures shall use the following:

· Full body harnesses

· Double Lanyards 

· Double climbing hooks, alternatively fall arrest system approved by Eskom.

· 
The fall arrest system is to be installed and used prior to any dressing or stringing operations.  On cross-rope structures where the system is to be installed before the tower is erected, it will be used during the entire construction period.

· 
When working on towers, only head protecting helmets with chin straps that conform to Standard Reference Number EN 12492:2000 - Mountaineering equipment - Helmets for mountaineers - or EN 397:2000 Industrial Safety Helmets are acceptable.  In addition, the requirements of SABS 0333:1999 part 3 and SABS 1833:1999 shall apply.

The Contractor supplies his Health and Safety Plan in accordance with the Occupational Health and Safety Act no.85 of 1993 and the Construction Regulations prior to the commencement of work on site.

The Contractor supplies the Project Manager with a monthly safety report indicating the total number of employees on site, the number of hours worked, the number of hours lost due to injury and details of any incidents/accidents.

Minutes of Safety Meetings are forwarded to the Project Manager.

Reporting of incidents shall be in accordance with Eskom procedure (32-95 Occupational Health and Safety Incident Management Procedure).

Unsafe working condition

Where the instruction relates to health and safety matters or is in relation to a Contractor default, the instruction is not a “compensation event”.
Termination due to Non Compliance.

Eskom reserves the right to terminate the contract in the event that the contractor is found to be consistently non-compliant to any SHEQ related issue.

2.4 Environmental constraints and management

The Contractor shall comply with the environmental criteria and constraints stated in Environmental Requirements for Contractors and/or Suppliers (TPDMAN-ST-37) ,TPD Waste Management Plan and Approved Environmental Management Programme (EMPr) for Asteria 400/132kV S/S integration  project.
to this Works Information and all the other documents that the specification refers.

The following penalties will apply for Environmental non-compliance and are non-refundable: 

Penalties for Environmental related issues

· Legal contravention and non-compliance as per legislative requirement and outlined in TPDMAN-ST-37.

Campsite Layout

· Campsite establishment and de-establishment is to be managed in accordance with the health and safety specification.

· The layout should be such that it facilitates a circular traffic route that eliminates the need to reverse when loading and offloading. There must be one point of entry and exit

· The Contractor shall comply with the environmental criteria and constraints stated in Annexures as per EMPr.

· The contractor must also comply with the following environmental procedures: TPDMAN-ST-37 Environmental requirements for contractors and or suppliers working on transmission delivery projects.

2.5 Quality assurance requirements

The Contractor and all sub-contractors shall comply with the requirements listed in the Employer’s Quality requirement standard, ‘Supplier Contract Quality Requirements Specification’, document identifier 240-105658000-QM-58. 

The following penalties will apply for Quality and are non – refundable:

Penalties for Quality related issues

· NCRs not closed out satisfactorily within 30 days:
R10, 000.00 per event.

In addition to the above, the following shall apply:

· The Contractor shall have a fully documented, implemented and maintained quality management system, which complies with the requirements of the ISO 9001:2015 or their quality management system shall carry valid certification from an acceptable QMS Certification body as indicated in the applicable PDP invitation.  In addition, the Contractor is to meet the requirements of “Quality Requirements for the Procurement of Assets, Goods and Services”.  In this regard the Supervisor may instruct the Contractor to perform quality inspections prior to his own inspections, or to assist in inspections.

· The Contractor ensures that his staff and sub-contractors are conversant with the content of the scope of work, quality control plans and work instructions.

· The involvement of the Contractor's Appointed Inspection Authority (AIA) is a requirement to ensure that all the conditions of the code are met, but this does not absolve the Contractor from any of his responsibilities for quality.

· The Contractor compiles, in conjunction with the Project Manager and his AIA, a product inspection and test plan. This document shows at which stages during the contract the AIA is required, and what types of inspection, testing, witnessing etc. are carried out to ensure that the requirements of the works information are met.

· The Contractor ensures that the works is carried out in accordance with the inspection and test plans, acceptance test procedures and other specifications in the works information.

· The Contractor ensures that all specifications and requirements are communicated to the relevant parties in his organisation.  Copies of all relevant specifications and drawings must be available on site.

· All documentation has a clearly stated revision number and previously similar documentation is revoked.

· Any quality-related problems/issues are to be reported to the Supervisor immediately and resolved as soon as possible. 

· All completed work is signed-off on inspection and test plans and control sheets daily and all the relevant signatures are on the documentation.

The Contractor must comply with the following quality procedure: 240-105658000-QM-58 Quality requirements for organisations.

2.6 Programming constraints 

The programme is to be submitted for acceptance in accordance with Core Clause 31 in the Engineering and Construction Contract, in terms of which resources to complete each activity must be clearly identified. The Contractor will allow two weeks of the starting date for compiling a schedule to be reviewed by Eskom every two weeks to ensure accuracy. The Contractor will be expected to use the allowed time from start date to prepare a proper schedule by interfacing with all relevant stakeholders. It is suggested that Gantt or bar chart formats be used for project planning, while progress graphs/schedules be submitted at monthly project meetings to monitor progress.

The programme is to include all the requirements of clause 31.2 of the Engineering and Construction Contract. 

Progress

Eskom will monitor the process of compiling a schedule in the first three months of the contract on a weekly basis by means of a report from the Contractor. A weekly progress report is to be submitted to the Project Manager every Friday.

The Contractor monitors progress weekly in conjunction with the Supervisor. A weekly progress report is to be submitted to the Project Manager every Friday.

The Contractor submits his record of Work Done to Date (verified by the Supervisor) to the Project Manager on the 20th of each month. (The application is to have the same format as the relevant Activity Schedule, and show present, previous, and total quantities to date).

The Contractor must allow for 10 days of rain above the average rain fall per annum and the effects of rain on the critical path of the foundation activities. Allow a further 10 days for rain above the average rain fall and the effects of rain on the critical path of the tower assembly and erection activities. Lastly, allow a further 10 days for rain above the average rain fall and the effects of rain on the critical path of the stringing activities. 

The Contractor must allow an additional 10 days for mist and fog per annum. No compensation event will be considered before this period has lapsed.

The contractor should obtain a weather data from SA weather services. The contractor should familiarise himself/herself with the minimum and maximum temperatures, monthly average rain fall , wind, fog and snow fall around the area using the 10 year weather data from SA Weather Services and price or make allowance in his tender quotation

Only the difference between more adverse whether recorded and the equivalent measurement given above is taken into consideration when assessing the compensation event

The above allowance must run sequentially and should be priced as part of tender submission in the applicable rates

No compensation will be considered for rain, wind fog and snow fall outside the ten-year average (2010 to 2020. Should there be a claim the Contractor will need to prove conclusively that this is over and above the norm, should they not be able to do so, any claim will be declined. 
2.7 Contractor’s management, supervision and key people

The Contractor shall submit an organizational structure showing his human recourses and their lines of authority/communication. 

The Contractor shall ensure that they comply with the registration of identified personnel as per the requirements of the South African Council for the Project and Construction Management Professions (SACPCMP) as gazetted in Project and Construction Management Professions Act No. 48 of 2000, Section 18(1) (a) or (b) and (c).

The following are the categories that must be registered, and their certificates be downloaded from privyseal (www.privyseal.com) and be submitted:

· Construction Manager (CM), reference to Construction Regulation GNR. 84 of 7 February 2014 section 8(1), in terms of appointment and registration in terms section 18(1) (c) of the Act 48 of 2000.

· Construction Health and Safety Manager (CHSM), registration in terms section 18(1) (c) of the Act 48 of 2000.

· Construction Health and Safety Officer (CHSO), reference to Construction Regulations GNR.84 of 7 February 2014 section 8(6), and in terms section 18(1)(c) of the Act 48 of 2000.

Note: 

· Alternate Construction Manager, reference to Construction Regulations GNR.84 of 7 February 2014 section 8(1), shall be registered with SACPCMP should the person be appointed as Alternate Construction Manager.

· Consideration shall be made to those who are registered as Candidate in any of the categories mentioned above, provided that the individual candidate submits an agreement (appointment) between the candidate and the mentor. Both the candidate and the mentor shall submit their certificates downloaded from privyseal (www.privyseal.com)

The Contractor shall provide CVs for acceptance to Eskom for experienced and competent personnel in the following key positions:


Project Manager/s
Minimum competency level: National Diploma Engineering/Construction Management. The resource will have a minimum of 15 years relevant experience. The Contracts Manager shall be registered as a Professional Construction Project Manager (Pr.CPM) with the South African Council for Project and Construction Management Professions (SACPCMP) (or equivalent internationally recognised body) as the one point of responsibility for the management of the project from conception to completion, which includes the management of related professional services. This registration must remain valid for the duration of the contract.  The Contractor must provide proof of registration to the Project Manager.

Construction Manager/s
Minimum competency level: National Diploma Engineering/Construction Management or a minimum of 10 years relevant construction experience for the approval of the Project Manager. The Site Manager shall be registered as a Professional Construction Manager (Pr.CM) with the South African Council for Project and Construction Management Professions (SACPCMP). This registration must remain valid for the duration of the contract.  The Contractor must provide proof of registration to the Project Manager. The Construction Manager shall be full time on site for the duration of the project.


Planner/Scheduler
Minimum competency level: 10 years relevant construction planning experience for the approval of the Project Manager and Planning Manager. Primavera/MS projects competence.


Supervisors

Minimum competency level: As specified in Form TPDMAN-SP-84(H&S Specification) and the documents it is referring to. 


Required SHE personnel

Minimum competency level: As specified in Form TPDMAN-SP-84 (H&S Specification) and the documents it is referring to. Including but not limited to SACPCMP, registered as a Construction Health and Safety Manager (CHSM) & Construction Health and Safety Officer (CHSO). The Contractor shall discuss these appointments and the number of appointments with the Project.
2.8 Invoicing and payment
Within one week of receiving a payment certificate in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice showing the amount due for payment equal to that stated in the payment certificate.  

The Contractor shall address the tax invoice to:
Eskom Holdings SOC Limited

P O Box 1091

Johannesburg

2000

and include on each invoice the following information:

· Name and address of the Contractor. 

· The contract number and title.

· Contractor’s VAT registration number.

· The Employer’s VAT registration number 4740101508.

· Description of service provided for each item invoiced based on the Price List.

· Previous, present and to date values per payment certificate.

· Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT.

· Any other information as may be required.

-An original invoice must be sent to the Accounts Payable Department and a copy to the Project Manager.

-The Contractor must submit an FRI within 1 week of contract award.

-Details on how to submit invoices and additional information: 

-The Contractor must ensure that the Eskom order number is clearly indicated on your invoice together with the line number on the order you are billing for. 

-All Electronic invoices must be sent in PDF format only. 

-Each PDF file should contain one invoice; or one debit note; or one credit note only as Eskom’s SAP system does not support more than one PDF being linked into workflow at a time. 

-The Contractors E-mail may contain more than one PDF file (e.g., 2 invoices on 2 separate PDF files in one e-mail) 

Send all invoices in PDF to the following email addresses:

1. For local invoices: invoiceseskomlocal@eskom.co.za

2. For foreign invoices:  Invoicesgrpcapital@eskom.co.za
The Contractor can request a park invoice from the Finance Shared Services (FSS) contact center which can then be followed up and corrected. The Contractor is welcome to forward the details of invoices to the FSS contact center.

All queries and follow up on local invoice payments should be made by contacting the FSS contact center

Tel: 011 800 5060

e-mail: fss@eskom.co.za

For Foreign invoices, the Contractor will still be required to physically deliver hard copies of original documents to the respective documentation management centers even though you have e-mailed those invoices (Eskom is still seeking clarity from the South African Reserve Bank regarding e-invoicing for Foreign Invoices or invoices in foreign currency. Current requirements are that these manual invoices should still be submitted.

The Contractor can send the invoice copy to the email addresses indicated below). 

Tax Requirement 

A PDF file that was created directly from a system meets the definition of original document and is allowed (including saving documents from excel to PDF, word to PDF etc.) 

An Invoice that was printed and then scanned to PDF by the Vendor is not acceptable as this is not an original tax invoice by SARS definition but a copy. 

The following wording needs to appear on the invoice: “Your invoice is encrypted in order to comply with SARS requirements that invoices, and statements sent electronically are tamperproof.” 

If there is Cost Price Adjustment (CPA) on your invoice, we recommend that the Contractor issue a separate invoice for CPA so that if there are any issues on the CPA the rest of the invoice can be paid while resolving the CPA issues. 

Introduction of electronic invoicing does not guarantee payment but will ensure visibility of all invoices and ensure that no invoices get lost. If the goods receipt is not done the invoice will be parked and the system will automatically send an e-mail to the end user to do the goods receipt. This is also tracked by Eskom through the park invoice report. 

The Contractor can request a park invoice report from the Finance Shared Services (FSS) contact center which can then be followed up and corrected. The Contractor is welcome to forward the details of invoices corrected to the FSS contact center. 

Email addresses for invoice submission: 

Group Capital Power Delivery Projects (PDP): invoicesgrpcapitalPDP@eskom.co.za   

Procedure for invoice payment: 

Work done is assessed by Quantity Surveyor (QS), after which the Eskom QS and the Contractor agree on the assessment and the amount to be invoiced. The Eskom QS will then generate an assessment and payment certificate aligning to the Contractor’s invoice that was agreed based on the assessment. 

Assessment is scanned and sent to project officer and project manager. Originals to be filed in project file. Ensure that Project Manager signs off or approves the payment certificate before a Good Receipt (GR) is created. Goods receipt will be created on SAP and the goods receipt number emailed to the supplier. For work done GR number will be on payment certificate sent to supplier. Invoice is recorded and receipted as per the finance invoice receipting procedure.

Within one week of receiving a payment certificate from the Project Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice showing the amount due for payment equal to that stated in the Project Manager’s payment certificate.  
2.9 Insurance provided by the Employer
As stipulated in the Contract Data.
Furthermore, The Contractor shall be liable for any damage, removal or defects on any of the Employer’s existing infrastructure that is not part of the project scope.
2.10 Contract change management 
As prescribed by the NEC.

2.11 Provision of bonds and guarantees

The form in which a bond or guarantee required by the conditions of contract (if any) is to be provided by the Contractor is given in Part 1 Agreements and Contract Data, document C1.3, Sureties.  

The Employer may withhold payment of amounts due to the Contractor until the bond or guarantee required in terms of this contract has been received and accepted by the person notified to the Contractor by the Project Manager to receive and accept such bond or guarantee.  Such withholding of payment due to the Contractor does not affect the Employer’s right to termination stated in this contract. 

2.12 Records of Defined Cost, payments & assessments of compensation events to be kept by the Contractor
A risk register is to be kept by the Contractor in which all events are recorded.  Records of events that could give rise to Compensation events are to be kept up to date, for inspection by the Supervisor and/or Project Manager always and this is to be kept in a risk register. This is not for inspection purposes but for management as per core clause 16.
In order to facilitate payment for work done, the Contractor is to submit his Schedule of Work Done (verified by the Supervisor) for payment to the Project Manager by the 20th day of each month, in a similar format to the bill of quantities.  Payment for Preliminary and General Items will be proportional to the duration of the contract. 

· Payment for foundations shall be due upon completion of backfilling and completion of compaction.

· Payment for tower steel shall be due after the successful release inspection from the manufacturer’s plant, delivery to site and verification by both Eskom and the contractor Supervisor’s.  

· Payment for tower assembly and erection shall be due as per the Supervisor’s verification.

· Payment for stringing shall be due upon regulation, clamping, installation of line hardware, accessories, jumpers, anti-climbing devices, Latchways and line inspection complete and accepted by the Supervisor. 

· Payment for minor works, access and environmental work items shall be due as per the verification.

· One half of retention money shall be paid on the satisfactory completion of groundwork rehabilitation (including bush clearing), to be completed no later than four weeks after the issue of the Take-Over Certificate.

· The balance of retention shall be paid on the defects date i.e., on the issue of the Completion Certificate.

· Weather Data is recorded in accordance with the Contract Data and submitted to the Supervisor daily.

2.13 Training workshops and technology transfer

The supplier shall provide training of an international standard on the supplied equipment by OEM accredited instructors. The training shall be in accordance with the Eskom training standard 240-56065202, and organised on the following levels: 

•
Orientation and basic functioning 

•
Operational and first line maintenance 
3 Engineering and the Contractor’s design
In accordance with the Employer’s specifications which are provided to the Contractor.
3.1 Employer’s design
The Contractor shall verify the designs provided by the Employer and accept them as constructable.
The Contractor shall comply with the Employer’s commissioning procedure/ operating philosophy/ user requirement specification (URS)/ performance specification.

Where the Contractor is to do designs, the Contractor shall submit designs for acceptance well in advance of construction in accordance to issued specifications with the tender.

3.2 Parts of the works which the Contractor is to design

The Contractor is required to verify the Employer’s designs and notify the Employer should the designs be un-constructable.

The Contractor is further required to review and accept the application drawings that will be provided by the Employer.
3.3 Procedure for submission and acceptance of Contractor’s design

Designs will be submitted to the Employer via the Project manager in conjunction with the Project Engineering Integration Manager.

Specific timelines and durations will be stipulated and agreed upon for the approval of designs and the verification of issued designs.

The Contractor will be issued with preliminary Eskom designs witch they will have to verify and adopt and accept as constructable and sufficient to complete all of the works.

The Contractor will supply to Eskom the equipment outline drawings with application drawings will be produced and final drawings for construction will be issued to the contractor.

The Contractor will be designing the tower foundations which will be approved by the Employer prior to executing.

The Contractor is to demonstrate that the works can operate as specified by the Employer

3.4 Other requirements of the Contractor’s design
The contractor’s designs will remain the property of the Employer
3.5 Use of Contractor’s design

Should, whilst reviewing the Employer’s design the Contractor requires amendments to be made, they shall notify the Project manager and mark-up the drawings for the Employer to correct.

Furthermore, on completion the Contractor shall submit as-built drawings to the Employer for updating and record keeping.

3.6 Design of Equipment

The Contractor shall procure Eskom specified equipment and materials as specified in the specifications.

3.7 Equipment required to be included in the works
Refer to the drawings and specifications.
3.8 As-built drawings, operating manuals and maintenance schedules

In accordance with the Employer’s specifications which are provided to the Contractor.
Upon Completion the Contractor is to provide final "as built" records in accordance with the requirements as laid out below.

Two copies of Construction Records are to be compiled by the Contractor at the end of the project in a hard copy format.  In addition, the Contractor is to supply a Compact Disk of the records to the Project Manager.

The Construction Records consists of the following information which originates from various parties as indicated below:

The Contractor compiles the document and submits copies to the Employer within four weeks after receipt of the relevant information.
4 Procurement
4.1 People

4.1.1 Minimum requirements of people employed on the Site
People employed on site shall have all relevant documents as required by law for employment within the country, i.e. relevant work permits and Identifications.
4.1.2 BBBEE and preferencing scheme

The table below will be used as a scoring mechanism with regards to B-BBEE compliance which will account for 10% of the weightings for each package associated with this project.

	B-BBEE
	Number of Points

(90/10 system)

	1
	10

	2
	9

	3
	8

	4
	5

	5
	4

	6
	3

	7
	2

	8
	1

	Non-compliant contributor
	0


4.1.3 SUPPLIER DEVELOPMENT LOCALISATION AND INDUSTRIALISATION (SDL&I)

SDL&I mandate is to achieve maximum and sustainable local development impact through leveraging Eskom’s procurement spend in a manner that allows flexibility within the business in order to accommodate government local development initiatives and policies.

As a State-Owned Enterprise, ESKOM supports Government’s socio-economic development initiatives that it addresses through Supplier Development and Localisation objectives, which include enterprise development, transfer of skills, job creation, incubation, localisation of procurement initiatives and industrialisation. 

For the purposes of tendering, the tenderer must demonstrate the manner in which the SD&L requirements will be met in due course in an implementation program. If the tender is awarded all SD&L undertakings (the Contractor’s SD&L Obligations) must be made by the Contractor at the time of contracting. 

SDL&I Undertaking

· The SDL&I undertaking generally identifies the following areas for SDL&I evaluation. These are procurement from EMEs, QSEs, LMEs (Generic); local content of the tender as a whole; Job creation and Skills Development commitments of the tenderer. 

· Targets and weighting are set for each individual project.

· Tenderers who complete and submit the undertaking as required, but who do not meet Eskom’s targets, will not be disqualified. SDL&I undertakings do not form part of scoring but commitments will form part of contractual obligations.
1.1 Designated Sectors 

	When applicable the following stipulated minimum threshold for Local Production and Content must be achieved in full by the tenderer

	YES

NO

a) Is this Commodity or part of it a Designated Sector?     

(
☐
Please indicate below Designated  Components

Commodity

Components

Local Content Threshold

Transformers

Class 3B

80%

Steel

Steel

100%

Cement

Cement

100%

Cables

Cables

100%

Substation Hardware

Substation Hardware

100%

Insulators

Insulators

100%

NOTE: SBD 6.2 Declaration Form and Annex C (Local Content Declaration-Summary Schedule) are therefore mandatory for contract award.

	1.2 CIDB Skills Development Continuation of Mandatory Requirements for Contract Award

	YES

NO

a) Is there CIDB compulsory training?

(
☐
If Yes,  what is the% of the Construction Skills Development Goal % (CSDG)

 If the answer above is Yes, it will then be mandatory for the supplier to match Eskom’s targets

Criteria

Eskom Target

Tenderer Commitment

Engineers (Experiential Training)

4

Health Safety Officer

2

Site supervisor

2

Shutterhands

4

Administrator

2

Concrete hands

4

Steel Fixer

4

Brick Layer

4

Plasterer

4

Plumber

4

Stringer

2

Cabler

2

Environmental officer

2

Rigger

2




1.3 NIPP
In line with DTI requirements on important content that are above $5million, the National Industrial Participation Programme has to be applied in order to stimulate local manufacturing capability and job creation.  International suppliers have to commit on minimum thirty percent local participation programme through formalized DTI NIPP obligations agreements.  Therefore, in line with NIPP requirements, once the contract is awarded, the international company has to complete SBD 5 form as an undertaking to DTI.

Note:  The above NIPP obligation will apply only if the foreign portion is equivalent or more than the stipulated minimum threshold of $5 million.  Suppliers will be encouraged to indicate or declare how much local manufacturing / procurement spend amounts to in this transaction. In an event where the foreign content does not exceed the NIPP threshold of $5 million, the normal SDL&I targets of skills development, Subcontracting and job creation will be applied.
Section 2: Other SDL&I Objectives in line with RDP Goals
	Tenderers who complete and submit the undertaking as required, but who do not meet Eskom’s targets, will not be disqualified. SDL&I undertakings do not form part of scoring but commitments will form part of contractual obligations

	1. BBBEE requirements: All tenderers must at a minimum maintain their BBBEE status throughout the contract period.

2. Jobs. Tenderers are required to submit proposals for the type and number of jobs that will be created and retained in South Africa as a direct result of being awarded a contract.
Type of Jobs to be created

Number of Jobs to be created

Type of Jobs to be retained

Number of Jobs to be retained

3. Subcontracting

Mandatory subcontracting on contracts above R30 million as a condition for contract award

If feasible to subcontract for a contract above R30 million, Eskom:

a) must apply subcontracting to previously designated groups.

b) must advertise the tender with a specific condition for contract award that the successful

tenderer must subcontract a minimum of 30% of the value of the contract to:

i. An EME or QSE which is at least 51% owned by black people.

ii. An EME or QSE which is at least 51% owned by black people who are youth.

iii. An EME or QSE which is at least 51% owned by black people who are women.

iv. An EME or QSE which is at least 51% owned by black people with Disabilities.

v. An EME or QSE which is 51% owned by black people living in rural or underdeveloped areas or townships.

vi. A cooperative which is at least 51% owned by black people.

vii. An EME or QSE which is at least 51% owned by black people who are military veterans;

Tender Returnable if the above element is a requirement;

· Proof of a sub-contract agreement/s must be submitted.

· CSD report of subcontractors

· Sub-contractor/s B-BBEE certificate / sworn affidavit must be submitted.

Subcontracting, in this instance, will be treated as a condition for contract award. A supplier awarded a contract may not subcontract more than 25% of the value of the contract to any other entity that does not have an equal or higher B-BBEE status level of a contributor than the supplier concerned unless the contract is subcontracted to an EME that has the capability and ability to execute the subcontract.

Section 4: SDL&I Penalty and Performance Security

Eskom will apply a penalty of 2.5% of the invoice amount for failure to meet SDL&I obligations.

As security for the fulfilment of all SDL&I obligations, Eskom will apply a penalty of 2.5% of every invoice amount (excluding VAT) for failure to submit SDL&I performance reports every quarter; or failure to meet the SDL&I obligations in a contract.




Definitions and Interpretation

The definitions below shall be referred to in the interpretation of this document. The targets for EMEs, and QSEs are a percentage of the local content portion of the tender only.

Exempted Micro Enterprise (EME)

· In terms of the Generic Codes of Good Practice, an enterprise including a sole propriety with annual total revenue of R10 million or less qualifies as an EME. 

· In instances where Sector Charters are developed to address the transformation challenges of specific sectors or industries, the threshold for qualification as an EME may be different from the generic threshold of R10 million. In such instances, the relevant Sector Charter thresholds will therefore be used as a basis for a potential bidder to qualify as an EME. (For example the approved thresholds for EMEs for the Tourism and Construction Sector Charters are R2.5 million and R1.5 million respectively). 

· An EME automatically qualifies as a level 4 contributor with B-BBEE recognition level of 100% in terms of the Codes of Good Practice. 

· An EME with at least 51% black ownership qualifies as Level 2 Contributor with B-BBEE level of 125% in terms of the Codes of Good Practice. 

· An EME with 100% black ownership qualifies as a Level 1 contributor with B-BBEE level of 135% in terms of the Codes of Good Practice. 

· An EME that is regarded as a specialized enterprise with at least 75% black beneficiaries qualifies as Level 1 contributor with B-BBEE level of 135% in terms of Codes of Good Practice. 

· An EME that is regarded as a specialized enterprise with at least 51% black beneficiaries qualifies as a Level 2 contributor with B-BBEE level of 125% in terms of the Codes of Good Practice. 

· An EME is required to submit a sworn affidavit confirming their annual total revenue of R10 million or less and level of black ownership to claim points as prescribed by regulation 6 and 7 of the Preferential Procurement Regulations 2017. 

Qualifying Small Enterprises (QSE) 

· The Codes define a QSE as any enterprise with annual total revenue of between R10 million and R50 million. 

· A QSE with at least 51% black ownership qualifies as a Level 2 contributor. 

· A QSE with 100% black ownership qualifies as a Level 1 Contributor. 

· A QSE that is regarded as a specialized enterprise with at least 75% black beneficiaries qualifies as a Level 1 contributor with B-BBEE level of 135% in terms of the Codes of Good Practice. 

· A QSE that is regarded as a specialized enterprise with at least 51% black beneficiaries qualifies as a Level 2 contributor with B-BBEE level of 125% in terms of the Codes of Good Practice. 

· A QSE is required to submit a sworn affidavit confirming their annual total revenue of between R10 million and R50 million and level of black ownership or a B-BBEE level verification certificate to claim points as prescribed by regulation 6 and 7 of the Preferential Procurement Regulations 2017. 

Large Measured Entity (LME) /Generic

· A generic Enterprise’s B-BBEE compliance is measured using the Generic Scorecard.  The Generic scorecard is based on five elements each of which has an assigned weighting which correlates with the importance of that specific element and a set target.

· A generic Enterprise has a annual turnover that is more than R 50 million rands.

SDL&I Progress Report 

Means the Contractor’s SDL&I progress report contemplated in clause 7 of this annexure.

Local Content 

· Goods made in South Africa (from local raw materials).

· Only good that are made within the borders of SA can be claimed to be local content.

· Local Content (is mainly based on local manufacturing, there must be value addition to the product.

· LC is measured on the product which must be manufactured in South Africa at a specified minimum threshold (LC).

· LC percentage is determined based on the availability of input materials.

· Assembly of products is considered to have some level of local content.

· Example where 100 local content is required, no imports are allowed all materials including the production process must be local.

· If local content is less than 100 imported raw materials can be used without any

Exemption.

· Key to protect local industry against imports, build industrial capacity, create jobs and contribute to the economic growth in South Africa.

Local Procurement

· Goods and services purchased locally irrespective of where they were made or produced.

· It is based on geographical area, may be a region/district/province.

· Local procurement is based on the location of the business.

· Imported goods are considered.

· Using local resources to stimulate growth and development.

· Simply buying from a local supplier.

Imported Goods and Services

“Imported goods and services” means, but is not limited to:

Goods and services directly imported into South Africa;

Goods which although stored in South Africa are produced and/or wholly manufactured outside the borders of South Africa and/or have a minimum of 50% (fifty percent) of production costs (including labour) incurred outside of South Africa and payable to foreign residents and/or foreign registered entities; 

Goods that have been "substantially transformed" outside of South Africa. Substantially transformed refers to the irreversible incorporation of imported components in the goods, with the labour costs and profit content earned by foreign residents and/or foreign registered entities exceeding 50% (fifty percent) of the Contract Amount and/or the significant assembly and manufacture of the goods occurring outside of South Africa's borders; and/or

Services with at least 50% (fifty percent) of the labour cost incurred outside of South Africa's borders and/or with at least 50% (fifty percent) of the service fee payable to foreign residents and/or foreign registered entities, regardless of whether the service involves domestic capital goods or other domestic costs

Final Review

Final Review means the review (to be conducted at the completion date of the whole of works by the Project Manager) of the Contractor’s performance in respect of the Contractor SDL&I Obligations. 

Skills Development 

This is the requirement that tenderers commit to train certain individuals in specified trades.  

The requirement is that the targeted numbers of individuals are trained and complete practical tasks to achieve the outcome of passing a trade test and qualifying as an artisan, or the equivalent for any other required skill.

Contractor’s SDL&I Commitments

Means those commitments regarding local content, skills development, Job creation and procurement from EMEs and QSEs made by the Contractor in his tender submission and used by the Employer for the purposes of calculating the Contractor’s SD&L score in the tender evaluation process.

Contractor’s SDL&I Obligations

Means those obligations of the Contractor regarding local content, skills development and procurement from QSEs and EMEs derived from Contractor’s SDL&I Commitments and agreed between the Contractor and the Employer. 

Certificate of Fulfilment 

Means the certificate issued by the Employer after the Final Review as evidence of the Contractor’s successful fulfilment of the Contractor SDL&I Obligations.

SDL&I Progress Reports

The Contractor shall submit monthly SDL&I progress reports to the Project Manager.  SDL&I progress reports shall be submitted by the 7th (seventh) day of the month following the months to which the report relates.  Each report shall include:

An executive summary;

Charts and detailed descriptions of the progress in narrative format, including each stage of progress of the Contractor SDL&I Obligations, the meeting (or delay in the meeting) of anticipated dates and targets (as set out in the program) and any documents, statistics or other form of verification of the dates and targets to be provided in respect thereof;

Percentage progress and the actual or expected dates of commencement of any of the major stages making up the Contractor SDL&I Obligations;

Schedule of forecast and actual, together with a 3 (three) month look-ahead of major activities and events;

Comparisons of actual and planned progress in terms of the Implementation Program;

Details of actual and planned resources;

An Affidavit from the sub-Contractors stating the work that has been subcontracted to meet the Contractor’s SDL&I obligations;

A schedule identifying all details of persons in the process of undergoing or who have successfully completed the Skills Transfer for the relevant period (including details of their personal information and certified copies of their test results and certificates received);

A risk register and assessment dealing with all areas of concern which may cause delays to the fulfilment of the SDL&I obligations and details of the corrective or other measures being adopted, or to be adopted to mitigate or overcome such delay; and such other matters and information (including schedules and charts) as the Project Manager may require to be included in the SDL&I progress report from time to time. 

An electronic copy and two hard copies of each SDL&I progress report shall be submitted to the Project Manager.

Additional Reports

The Project Manager shall be entitled to request the Contractor to provide additional reports when in his opinion they are warranted to monitor the progress of the fulfilment of the Contractor SD&L obligations.

The Final Review

The parties’ record that the purpose of the final review is for the Project Manager to determine whether the Contractor has fulfilled the Contractor’s SDL&I obligations as at completion date.

The Contractor shall provide the Project Manager with the following documentation to be used by the Project Manager as a basis for the final review:

A consolidated SDL&I progress report recording all steps taken to meet the Contractor’s SD&L obligations from the starting date to the completion date including all information and documentation referred to in clause 8.1 above;

All of the SDL&I progress reports provided by the Contractor during the course of the contract and any other additional report, documentation or information that the Project Manager deems to be reasonably relevant to the conduct of the final review (to be provided by the Contractor at least 21 (twenty one) business days prior to the final review). The Project Manager shall notify the Contractor of such request by way of written notice at least 30 (thirty) business days prior to the final review.

The Employer shall, in its reasonable discretion, conduct the final review by comparing those Contractor’s SDL&I obligations actually fulfilled by the Contractor as at the time of the final review against with the Contractor’s SDL&I obligations as a whole. 

The Project Manager shall notify the Contractor of its findings on the final review by way of written notice within 30 (thirty) business days of the final review. The notice shall contain the Project Manager’s reasons for its findings.

Should the final review reveal that the Contractor has not fulfilled and/or complied with any of the Contractor’s SD&L obligations as at the completion date:

The Contractor shall be in breach of a material obligation under the contract and the Employer shall be entitled to have immediate recourse to and make a claim against the whole of the retention as the penalty for the Contractor’s breach of the Contractor SDL&I obligations.

Should the final review reveal that the Contractor has fulfilled and/or complied with all of the Contractor’s SDL&I obligations as at the completion date, the Employer shall issue a certificate of fulfilment.

SDL&I Penalty and Performance Security

As security for the fulfilment of all SDL&I obligations, Eskom will apply a penalty of 2.5% of every invoice amount (excluding VAT) for failure to submit SDL&I performance reports every quarter; or failure to meet the SDL&I obligations in a contract.

4.1.4 Accelerated Shared Growth Initiative – South Africa (ASGI-SA) 

The Contractor complies with and fulfils the Contractor’s obligations in respect of the Accelerated and Shared Growth Initiative - South Africa in accordance with and as provided for in the Contractor’s ASGI-SA Compliance Schedule stated below

.
[Insert the agreed ASGI-SA Compliance Schedule here]

The Contractor shall keep accurate records and provide the Project Manager with reports on the Contractor’s actual delivery against the above stated ASGI-SA criteria.   [Elaborate on access to and format of records and frequency of submission etc.]

The Contractor’s failure to comply with his ASGI-SA obligations constitutes substantial failure on the part of the Contractor to comply with his obligations under this contract.
4.2 Subcontracting
4.2.1 Preferred subcontractors

Refer to SDL&I undertakings on subcontracting as well as specifications and Scope of work documents.
4.2.2 Subcontract documentation, and assessment of subcontract tenders

The Contractor shall manage his sub-Contractors in the same way that the Employer manages the Contractor. Special attention must be given to the management of the sub-Contractors’ SHEQ compliance.
The Contractor will be required to subcontract a minimum of 30% of the contract and the following designated groups will be targeted and this will be a condition of tender:

· an EME or QSE which is at least 51% owned by black people;

· an EME or QSE which is at least 51% owned by black people who are youth;

· an EME or QSE which is at least 51% owned by black people who are

· women;

· an EME or QSE which is at least 51% owned by black people with

· disabilities;

· an EME or QSE which is 51% owned by black people living in rural or

· underdeveloped areas or townships;

· a cooperative which is at least 51% owned by black people;

· an EME or QSE which is at least 51% owned by black people who are

· military veterans;

· an EME or QSE.
4.2.3 Limitations on subcontracting

Proof of a sub-contract agreement will be required as proof of meeting the 30% minimum requirement.
4.2.4 Attendance on subcontractors

Not applicable to this contract.

4.3 Plant and Materials
4.3.1 Quality

The Contractor shall comply to document “240-105658000 Supplier Quality Management Specification in works information during fabrication, supply and delivery of foundation steelwork, reinforcing, earthing devices and all other foundation related material. All copper will be supplied by the Contractor.
4.3.2 Plant & Materials provided “free issue” by the Employer
No Plant and material will be provided “free issue” to the Contractor for this Contract. All Plant and Material is to be provided by the Contractor.
4.3.3 Contractor’s procurement of Plant and Materials

All transportation to site of plant and material required for this project will be by means of road transport. The Contractor must familiarise himself with the road conditions to site. 

The Contractor must prepare a fenced off storage yard on or off-site for the off-loading and safekeeping of all plant and material delivered to site. Material must be off loaded and stored separately in areas allocated for this purpose. The Contractor must manage such storage areas as to ensure safety compliance as well as security of the plant and material.
4.3.4 Spares and consumables
In accordance with the Employer’s specifications which are provided to the Contractor.
The Contractor shall supply an extra amount of 10 cable trench covers over and above the amount required per substation for the total of the Works.  

4.4 Tests and inspections before delivery

All the testing as required by the relevant specifications as indicated in the document shall be done by the Contractor.
4.5 Marking Plant and Materials outside the Working Areas

The Contractor shall mark all Equipment, Plant and Material which is outside of the working area destined for the works.
4.6 Contractor’s Equipment (including temporary works).

The Contractor shall ensure the provision of suitable construction equipment for the construction of the works.
4.7 Cataloguing requirements by the Contractor
Not applicable for this contract

5 Construction
5.1 Temporary works, Site services & construction constraints

5.1.1 Employer’s Site entry and security control, permits, and Site regulations
Security control and entry will be done in accordance to the security scope of work for Asteria Substation. The Contractor will ensure that the Contractor’s staff complement undergoes screening by SAPS before commencing with construction.
The Contractor will have to adhere to Eskom’s High Voltage regulations. Contractor’s personnel will be expected to have completed the necessary High Voltage Regulations (ORHVS) modules in order to be issued with a permit to work in the 132kV and 400kV yard.
5.1.2 Restrictions to access on Site, roads, walkways and barricades

Where the restrictions are applicable, the Contractor shall be required to comply with these. The Contractor will ensure the following are adhered to for access to site:

· Security/police clearances not more than a year old are submitted to the Employer
· Certified ID/ Passport copies and work permit for foreign employees are submitted to the Employer
· Tool/equipment list with serial numbers if available are submitted to the Employer
· People with criminal records depending on the seriousness of the charges will not be accepted at Eskom sites.

5.1.2.1. Positive identification at all times:

· Eskom Employee only by means of Eskom Id Card, No Eskom ID card employee will be treated as a visitor.

· Visitor and Contractors access by means of SA ID, passport, drivers licence

· Recording of visitors details electronically or manually.

5.1.2.2. Visitor confirming process.

· Visitors must be accompanied by a host at all times.

· Declaration, recording and movement control of equipment and material.

· Screening of persons and articles/parcels through the use of electronic equipment ensuring prohibited items are not brought on site.

· Alcohol testing to be conducted at Eskom sites.

· Safety inductions to be conducted at Eskom sites.
5.1.3 People restrictions on Site; hours of work, conduct and records

The Contractor must clearly indicate its proposed working hours in the Tender and specifically in the programme provided with the Tender. After award the Contractor will adhere to these agreed working hours and keep detailed and accurate records of compliance herewith. The Contractor ensures that the Supervisor must sign these records daily and the Project Manager and Supervisor must have access to these records at any time.

The Contractor indicates any shift work or extended working hours required in order to meet with the required completion dates of the Package Order. The Project Manager and SHEQ manager’s permission to work these hours are obtained prior to working such hours. Permission will only be granted if the longer hours worked have been accepted in writing by the Department of Labour. 

The Contractor keeps records of his people on Site, including those of his SubContractors which the Project Manager or Supervisor have access to at any time.  These records will be needed when assessing compensation events
5.1.4 Health and safety facilities on Site 
Refer to the H&S specification, EMP, South African Government Guidelines and Directions on Management of COVID-19 and other epidemic outbreaks, World Health Organisation Guidelines, the latest Disaster Management Act and applicable government regulations. The Contractor shall appoint the security for the site camp and plant and material.
5.1.5 Environmental controls, fauna & flora, dealing with objects of historical interest 

The Contractor shall comply with all the requirements of the EMP, TPDMAN-FM-57 and all other statutory requirements.
5.1.6 Title to materials from demolition and excavation

The Contractor shall make his own arrangements, to the approval of the Supervisor and the Local Authorities, for the disposal of all surplus material and construction waste resulting from the works.  Disposal of all waste (Building, Hazardous and Domestic) must be in accordance with the EMP and TPDMAN-FM-57. Steel, copper and all other high value materials will be disposed of by the Employer
5.1.7 Cooperating with and obtaining acceptance of Others

The Contractor will be required to integrate with Eskom personnel during construction. It is expected that cooperation will be given when this happens during the project construction.
5.1.8 Publicity and progress photographs 

As agreed with the Employer’s Project Manager.
5.1.9 Contractor’s Equipment

Records are to be kept of Equipment on Site including whether it is owned or hired.  This includes any scaffolding, rigs, heavy lifts and cranes. 

The Contractor shall inform the Project Manager prior to the removal of any equipment during the contract period from the Working Areas.   

5.1.10 Equipment provided by the Employer
No equipment shall be provided by the Employer.
5.1.11 Site services and facilities
The Contractor shall conduct site inspection and establish what facilities (i.e. power supply, water, waste disposal, tele-coms, ablutions, fire protection and lighting) are required or necessary for providing the Works

The Contractor shall provide everything else necessary for providing the Works any measures which the Contractor may require to maintain continuity and quality of supply shall be arranged by him at his own expense.

5.1.12 Facilities provided by the Contractor
Contractor shall provide all facilities necessary for providing the Works
The Contractor is to provide the following items to facilitate the Employer’s site Supervisors and project administration team within four weeks of contract award:
Facilities for Employer 

a) Establishment of Employer facilities on site i.e. Site office, sheds, toilets including plumbing, electricity, air conditioning, internet connections, copying and printing facilities etc.
b) Portable water and toilet facilities for sole use of Clients Representatives.
Facilities for the Contractor
c) Establishment of facilities on site ie. Site office, sheds, toilets including plumbing and electricity, including internet connections, copying and printing facilities etc.

d) Staff accomodation

e) Access to site & permits

f) Establishment of equipment, tools and plant

g) Allow the sum  for hiring of standby generator including transport to site, working on site, diesel fuel and removing from site at contract completion. (ON EMPLOYER'S INSTRUCTION)

h) Name boards

i) Dealing with water during construction

j) Removal of the site Establishment

The Contractor shall negotiate with landowners for the erection of any construction camp(s) and accommodation for his personnel, and ensuring compliance with all by-laws and requirements of the relevant authorities after contract award.  All necessary services - water, electricity, sewerage, toilet facilities, telephones, etc. are to be provided by the Contractor to suit his needs.

All evidence of construction camp(s), batching plants, etc. are to be removed upon completion, and such areas rehabilitated to the satisfaction of the landowner and the Supervisor.

The Contractor shall provide sanitary amenities, first aid and firefighting facilities as required by the Occupational Health and Safety Act.

The Contractor keeps records of the following and submits copies of these records to the Supervisor weekly:
· Number of personnel by category and/or trade on site on a daily basis.
· Detailed list of equipment by category on site on a daily basis with an indication of its working condition i.e. working order, under repair, working but standing idle etc.
· A site diary is to be kept by the Contractor in which all events are recorded.  Records of events that could give rise to Compensation Events are to be kept up to date for inspection by the Supervisor and/or Project Manager at all times.
5.1.13 Existing premises, inspection of adjoining properties and checking work of Others

Refer to Construction Environmental Management Plan and Site Information. 
5.1.14 Survey control and setting out of the works
Set out points/beacons will be identified by the Supervisor. All Top of Concrete (TOC) and specified levels will be provided to the Supervisor by a Professional Land Surveyor. The Supervisor may request at various intervals for the Contractor to verify certain of the works. These costs will be to the Contractor and should be included in the rates.

5.1.15 Excavations and associated water control

Excavations and associated water control

Refer to the H&S specification, EMP and any other statutory requirements.
5.1.16 Underground services, other existing services, cable and pipe trenches and covers

Should there be any underground services that may require relocating; this should be discussed with the Supervisor who will discuss it with the Project Manager and the designers.
5.1.17 Control of noise, dust, water and waste 

The contractor shall appoint the AIA registered service provider to conduct the occupational health and hygiene survey. Implement the recommendations stated on the report to ensure that the requirements of this section are fulfilled. Additionally, refer to the H&S specification, EMP and any other statutory requirements.
5.1.18 Sequences of construction or installation

As per approved Project Schedule reflecting the key milestone dates

5.1.19 Giving notice of work to be covered up
After construction the Contractor is to rehabilitate any damage caused to the environment to the satisfaction of the Supervisor. The remedial works are to be “signed-off” by both parties before acceptance
5.1.20 Hook ups to existing works

Hook ups to existing works will be done in accordance to the project specification.
5.2 Completion, testing, commissioning and correction of Defects

5.2.1 Work to be done by the Completion Date

On or before the Completion Date the Contractor shall have done everything required to Provide the Works except for the work listed below which may be done after the Completion Date but in any case before the dates stated.  The Project Manager cannot certify Completion until all the work except that listed below has been done and is also free of Defects which would have, in his opinion, prevented the Employer from using the works and Others from doing their work.

	
	Item of work
	To be completed by

	
	As built drawings
	Within 10 days after Completion

	
	
	

	
	
	


5.2.2 Use of the works before Completion has been certified

The Employer will not be taking over any of the works for use before completion.

All assets will be taken over once commissioned and fully functional as specified in the specifications and scope of work documents.

5.2.3 Materials facilities and samples for tests and inspections 
The Contractor shall be responsible for the strength and quality of all materials used and workmanship employed. The Contractor shall be responsible for the stability of the permanent works and the temporary works. The fact that the Employer has not objected during the construction period to any materials and/or workmanship employed by the Contractor and even though such materials and/or workmanship has been inspected by the Supervisor shall not relieve the Contractor of such responsibility.
5.2.4 Commissioning
The assets shall be commissioned to Eskom’s standards and specifications. This is intended to protect the safety, integrity, and security of the Transmission system.
The pre-commissioning and commissioning activities shall be the responsibility of the Contractor, and shall be witnessed and the results verified, accepted and approved by the Eskom Transmission Western Grid representative(s).   The Contractor shall utilise the Eskom approved pre-commissioning and commissioning procedures and shall compile the required documentation for handover purposes prior energisation.  
The Contractor shall submit to Eskom, the pre-commissioning and commissioning test plans and program, which shall comply with the Eskom requirements, for approval.  
Eskom Transmission has test routines for most of the protection IEDs and these shall be obtained from Eskom and shall be used by the Contractor) during commissioning, where applicable.  Test routines that are not available for IEDs within the schemes that will be designed by the appointed Contractor shall be developed by the Contractor.

The following standard shall be used:

· 240-54615413 – Standard for Commissioning Protection Assets.

· 240-55197966 – Standard for the commissioning of metering installations (HV and MV).

· 240-137465740 – Standby Battery storage and commissioning in Eskom
Commissioning options
The OEM shall make provision for the two commissioning potions:
Option 1

· The commissioning of Asteria substation shall be commissioned by the OEM and Eskom (Western Grid Secondary Plant and PTM&C) commissioning teams shall oversee and witness the commissioning.

· The OEM shall submit a detailed training program and provided training that will include the installation, maintenance, operation of all the equipment. 

· The commissioning training shall be provided by the OEM during the commissioning of the Asteria substation.

· Commissioning at the remote ends will be executed by Eskom (PTM&C and Western Grid secondary plant) teams.

Option 2
· The commissioning of Asteria substation shall be commissioned by the Eskom (Western grid secondary plant and PTM&C) commissioning teams. The OEM shall oversee and witness the commissioning.

· The OEM shall submit a detailed training program and provided training that will include the installation, maintenance, operation of all the equipment. 

· Commissioning at the remote ends will be executed by Eskom (PTM&C and Western Grid secondary plant) teams.

After the evaluation of the tender, Eskom will advise which option will be selected for the commissioning of Asteria substation.
The final switching of the equipment and lines shall be with the carried under the permission of the National Control (Approved commissioning plan and outages).
5.2.5 Start-up procedures required to put the works into operation

As per specifications
5.2.6 Take over procedures

Take-over of The Works will be in accordance NEC procedures in conjunction with Eskom Tx procedure TST 41 - 638. The Contractor advises the Supervisor when the Works is available for final inspection, and provides assistance.

5.2.7 Access given by the Employer for correction of Defects

Clause 43.4 of the NEC will apply as well as normal ORHVS procedures for getting permits
5.2.8 Performance tests after Completion

The Contractor shall do testing in accordance with the specifications provided.  
5.2.9 Training and technology transfer

The supplier shall provide training of an international standard on the supplied equipment by OEM accredited instructors. The training shall be in accordance with the Eskom training standard 240-56065202, and organised on the following levels: 

· Orientation and basic functioning 

· Operational and first line maintenance 

· Installation, testing and commissioning.
Specialized maintenance
5.2.10 Operational maintenance after Completion

The Supplier shall provide a Reliability Availability Maintainability Programme Manual within 2 months after Notification of Acceptance.

6 Plant and Materials standards and workmanship

6.1 Investigation, survey and Site clearance

As per specifications, designs and scope of work documents provided.

6.2 Building works
As per specifications provided.
6.3 Civil engineering and structural works
As per specifications provided.
6.4 Electrical & mechanical engineering works

As per specifications provided.
6.5 Process control and IT works
Not applicable for this contract.
6.6 Other [as required]

7 List of drawings

7.1 Drawings issued by the Employer
This is the list of drawings issued by the Employer at or before the Contract Date and which apply to this contract.

Note:  Some drawings may contain both Works Information and Site Information.

	Drawing  number
	Revision
	Title

	WHou12P01-SE-D10
	1
	Asteria 132/400kV Earthmat layout

	WHou12P01-SE-D11
	1
	Asteria Overhead Earthwire Layout

	WHOU12P01-SE-D12
	1
	Asteria 400Kv Tubular Busbar Layout

	WHOU12P01-SE-D18
	1
	Asteria 132Kv Tubular Busbar Layout

	WHOU12P01-SE-D7
	1
	Asteria Key plan

	WHOU12P01-SE-D7
	1
	Asteria 132/400kV Foundation and Trench drawing

	WHOU12P01-SE-D16
	1
	Asteria 132/400kV Yard Bay Layout & Equipment Schedule

	WHOU12P01-SE-D16- Sheet 20A
	1
	Asteria 132kV Feeder 1 Bay Earthing

	WHOU12P01-SE-D16- Sheet 20
	1
	Asteria 132kV Feeder 1 Bay

	WHOU12P01-SE-D16- Sheet 21
	1
	Asteria 132kV Feeder 2 (Spare) Bay

	WHou12P01-SE-D16- Sheet 22A
	1
	Asteria 132kV Feeder 3 Bay Earthing

	WHou12P01-SE-D16- Sheet 22
	1
	Asteria 132kV Feeder 1 Bay

	WHou12P01-SE-D16- Sheet 23A
	1
	Asteria 132kV Bus Coupler A Earhing

	WHou12P01-SE-D16- Sheet 23
	1
	Asteria 132kV Bus Coupler A

	WHou12P01-SE-D16- Sheet 24A
	1
	Asteria 132kV Feeder 4 Bay Earthing

	WHou12P01-SE-D16- Sheet 24
	1
	Asteria 132kV Feeder 4 Bay

	WHou12P01-SE-D16- Sheet 25
	1
	Asteria 132kV Feeder 5 (Spare) Bay

	WHou12P01-SE-D16- Sheet 26A
	1
	Asteria Transformer 11 Bay Earthing

	WHou12P01-SE-D16- Sheet 26
	1
	Asteria Transformer 11

	WHou12P01-SE-D16- Sheet 27
	1
	Asteria 132kV Feeder 6 (Spare) Bay

	WHou12P01-SE-D16- Sheet 28A
	1
	Asteria Transformer 12 Bay Earthing

	WHou12P01-SE-D16- Sheet 28
	1
	Asteria Transformer 12

	WHou12P01-SE-D16- Sheet 31A
	1
	Asteria 132kV Busbar 1 Bus Section 1 (future) & Busbar 1 VT & ES Bay Earthing

	WHou12P01-SE-D16- Sheet 31
	1
	Asteria 132kV Busbar 1 Bus Section 1 (future) & Busbar 1 VT & ES Bay

	WHou12P01-SE-D16- Sheet 32A
	1
	Asteria 132kV Busbar 2 Bus Section 1 (Spare) & Busbar 2 VT & ES Bay Earthing

	WHou12P01-SE-D16- Sheet 32
	1
	Asteria 132kV Busbar 2 Bus Section 1 (Spare) & Busbar 2 VT & ES Bay

	WHou12P01-SE-D16- Sheet 4A
	1
	Asteria 400kV Transformer 11- Feeder 3 Bay Diameter CB Earthing

	WHou12P01-SE-D16- Sheet 4D
	1
	Asteria 400kV Feeder 3 Exit Bay Diameter CB Electrical Layout

	WHou12P01-SE-D16- Sheet 4D
	1
	Asteria 400kV Feeder 3 Exit Bay Diameter GA Electrical Earthing Layout

	WHou12P01-SE-D16- Sheet 4
	1
	Asteria 400kV Transformer 11- Feeder 3 Bay Diameter CB Electrical Layout

	WHou12P01-SE-D16- Sheet 5A
	1
	Asteria 400kV Transformer 12- Feeder 4 Bay Diameter GC Earthing 

	WHou12P01-SE-D16- Sheet 5
	1
	Asteria 400kV Transformer 12- Feeder 4 Bay Diameter GC Electrical Layout

	WHou12P01-SE-D16-sheet 7A
	1
	Asteria 400kV Busbar CVT Bay Earthing

	WHou12P01-SE-D16-Sheet 7
	1
	Asteria 400kV Busbar CVT Bay Electrical Layout

	
	
	

	
	
	


C3.2
Contractor’s Works Information

	This section of the Works Information will always be contract specific depending on the nature of the works.

It is most likely to be required for design and construct contracts where the tendering contractor will have proposed specifications and schedules for items of Plant and Materials and workmanship, which once accepted by the Employer prior to award of contract now become obligations of the Contractor per core clause 20.1.

Typical sub headings could be

a) 
Contractor’s design

b)
Plant and Materials specifications and schedules

c)
Other



This section could also be compiled as a separate file.



Part 4: Site Information
	Document reference
	Title
	No of pages

	
	This cover page
	1

	C4
	Site Information
	3

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	


Part 4: Site Information

5. General description

Palmiet Bacchus 400 kV lines traverses through the Houhoek nature reserve and Small farm holdings towards Asteria. Palmiet-Bacchus 400 kV Line will be looped into Asteria 400 kV MTS. The project also includes replacement of 1 x 19/2.7 earthwire with 12 kA OPGW on the Palmiet – Asteria 400 kV leg ( Approx 30 km) as necessitated by the PTMC design requirements.

 Asteria : 2km South-Western side of Bot River, 70 km South-Eastern site of Cape Town. ( 20 kms from the coast) 

Palmiet Substation: 50km South-Eastern side of Cape Town 

Bacchus Substation: 20 km South of Worcester

[image: image1.png]Hammanshof

Villiersdorp. &

- Helderstroom

I Towards Bacchus and IPP Collector

s
Towards Hermanus and IPP CoM

Legend
Voltage Level

= 400kV
—132kV

Conductor type
B Bear
C  Chicadee
KB Kingbird
W Wolf

Structure type

DC  Double Circuit





[image: image2.png]



6. Existing buildings, structures, and plant & machinery on the Site

None
7. Subsoil information

According to the Geotechnical Investigation Report for Asteria Substaton (Report No. 113193-G02-03).
The profile at the site comprises topsoil and hillwash underlain by a pedogenic horizon which in turn is

underlain by either residual sandstone or sandstone bedrock. The top soil and hillwash are classified as

G9 material according to TRH14 and the pedogenic layer is classified as G4 to G5 material according to

the TRH14. The residual sandstone and Quarziric sandstone bedrock are classified as G6 material

according to TRH14.
Soil Nominations for the Line must be conducted by the Contractor and reviewed for acceptance by LES. Must be conducted by an engineering geologist/geotechnical engineer that is professionally registered with the South African Council for Natural Scientific Professions (SACNASP) or Engineering Council of South Africa (ECSA). Refer to TRMSCAAC 6 for the soil classifications details, characteristics, and the required documents for submission.
8. Hidden services 

Existing hidden services information will be confirmed during construction.
9. Other reports and publicly available information

No information to provide
As per documents, report, standards and specifications provided.

� This total is required by the Employer for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.


� Available from Engineering Contract Strategies Tel 011 803 3008, Fax 011 803 3009 or see � HYPERLINK "http://www.ecs.co.za" �www.ecs.co.za� 







DOCUMENT C2.1
PAGE 2
PRICING DATA




Part C2: Pricing Data
PAGE 1
C2 ecc3/b Cover

