Specifications for Positive Displacement Pipette MR10 and

Pipette Tips C POSD 10µL

BTP currently has no positive displacement pipette to conduct Bionano isolation workflows.

Pipetting of recovered gDNA for accurate sampling is always carried out with a standard

positive displacement pipette. Positive displacement pipette is designed and especially suited

for dense and viscous ultra-high molecular weight.

Specifications

Rainin MR-10 POS-D Positive Displacement Pipette 0.5 -10 μL.

Capillary-piston assemblies, 10 μL max. volume, for Pos-D and Gilson Microman

positive-displacement pipettes