Heavy duty laboratory mill Specification

- FAM-200 Ultra Centrifugal Mill

- FAM-200, 220 V, 50 /60Hz incl: Labyrinth disc, stainless steel collecting pan and lid.

- Centrifugal Mill-rapid size reduction of soft to medium-hard and fibrous materials

- Size reduction principle: impact, shearing.

- Feed size: <10mm

- Final fineness: < 40μm

- Motor speed: 6000 – 18000 rpm, constant adjustable

- Peripheral speed: 31.4~94.2m/s

- Rotor diameter: 98mm

- Collecting pan volume 900ml (volume of the sample collected no more than 300m

- 12 teeth, stainless steel rotor

- Ring sieves: 0.08, 0.12, 0.20, 0.25., 0.50, 0.75, 1.00 and 2.00 mm)