{"text_format":"3","workbook":"xlsx","n_sheets":8,"sheets":["CATA Fuel Mgt","CATB Fuel Disp Eqp ","CATC FireProtection","CATC1 Fire Protect Maint & Rep","CATD Ligtning&PS ","CATD1 Ligtning Maint & Rep","CATE Maint & Repairs ","CATF FuelTesting "],"not_rendered":{"defined_names":6},"read":"whole","date_system":"1900"}

{"sheet":"CATA Fuel Mgt","index":0,"n_rows":19,"n_cols":12,"rows_kept":19}
["ITEM NUMBER ","CATEGORY","ITEM DESCRIPTION","UNIT OF MEASURE","BIDDER NAME","PROVINCE ","MANUFACTURER","BRAND NAME ","COUNTRY OF ORIGIN","DOES IT CONFORM WITH SPECIFICATION","LEAD TIME \n(DAYS)","PRICE PER UNIT INCLUDING VAT AND DELIVERY"]
["RT83-01-01-01","FUEL MANGEMENT ","SUPPLY, INSTALLATION AND TECHNICAL SUPPORT FOR A FUEL MANAGEMENT SYSTEM WITH AUTOMATIC TANK GAUGING","EACH",null,"EASTEN CAPE "]
["RT83-01-01-02","FUEL MANGEMENT ","SUPPLY, INSTALLATION AND TECHNICAL SUPPORT FOR AN INTERSTITIAL MONITORING SYSTEM FOR DOUBLE WALLED TANKS USED FOR THE STORAGE OF FLAMMABLE SUBSTANCES","EACH",null,"EASTEN CAPE "]
["RT83-01-02-01","FUEL MANGEMENT ","SUPPLY, INSTALLATION AND TECHNICAL SUPPORT FOR A FUEL MANAGEMENT SYSTEM WITH AUTOMATIC TANK GAUGING","EACH",null,"FREE STATE"]
["RT83-01-02-02","FUEL MANGEMENT ","SUPPLY, INSTALLATION AND TECHNICAL SUPPORT FOR AN INTERSTITIAL MONITORING SYSTEM FOR DOUBLE WALLED TANKS USED FOR THE STORAGE OF FLAMMABLE SUBSTANCES","EACH",null,"FREE STATE"]
["RT83-01-03-01","FUEL MANGEMENT ","SUPPLY, INSTALLATION AND TECHNICAL SUPPORT FOR A FUEL MANAGEMENT SYSTEM WITH AUTOMATIC TANK GAUGING","EACH",null,"GAUTENG "]
["RT83-01-03-02","FUEL MANGEMENT ","SUPPLY, INSTALLATION AND TECHNICAL SUPPORT FOR AN INTERSTITIAL MONITORING SYSTEM FOR DOUBLE WALLED TANKS USED FOR THE STORAGE OF FLAMMABLE SUBSTANCES","EACH",null,"GAUTENG "]
["RT83-01-04-01","FUEL MANGEMENT ","SUPPLY, INSTALLATION AND TECHNICAL SUPPORT FOR A FUEL MANAGEMENT SYSTEM WITH AUTOMATIC TANK GAUGING","EACH",null,"KWAZULU NATAL "]
["RT83-01-04-02","FUEL MANGEMENT ","SUPPLY, INSTALLATION AND TECHNICAL SUPPORT FOR AN INTERSTITIAL MONITORING SYSTEM FOR DOUBLE WALLED TANKS USED FOR THE STORAGE OF FLAMMABLE SUBSTANCES","EACH",null,"KWAZULU NATAL "]
["RT83-01-05-01","FUEL MANGEMENT ","SUPPLY, INSTALLATION AND TECHNICAL SUPPORT FOR A FUEL MANAGEMENT SYSTEM WITH AUTOMATIC TANK GAUGING","EACH",null,"LIMPOPO"]
["RT83-01-05-02","FUEL MANGEMENT ","SUPPLY, INSTALLATION AND TECHNICAL SUPPORT FOR AN INTERSTITIAL MONITORING SYSTEM FOR DOUBLE WALLED TANKS USED FOR THE STORAGE OF FLAMMABLE SUBSTANCES","EACH",null,"LIMPOPO"]
["RT83-01-06-01","FUEL MANGEMENT ","SUPPLY, INSTALLATION AND TECHNICAL SUPPORT FOR A FUEL MANAGEMENT SYSTEM WITH AUTOMATIC TANK GAUGING","EACH",null,"MPUMALANGA "]
["RT83-01-06-02","FUEL MANGEMENT ","SUPPLY, INSTALLATION AND TECHNICAL SUPPORT FOR AN INTERSTITIAL MONITORING SYSTEM FOR DOUBLE WALLED TANKS USED FOR THE STORAGE OF FLAMMABLE SUBSTANCES","EACH",null,"MPUMALANGA "]
["RT83-01-07-01","FUEL MANGEMENT ","SUPPLY, INSTALLATION AND TECHNICAL SUPPORT FOR A FUEL MANAGEMENT SYSTEM WITH AUTOMATIC TANK GAUGING","EACH",null,"NORTH WEST "]
["RT83-01-07-02","FUEL MANGEMENT ","SUPPLY, INSTALLATION AND TECHNICAL SUPPORT FOR AN INTERSTITIAL MONITORING SYSTEM FOR DOUBLE WALLED TANKS USED FOR THE STORAGE OF FLAMMABLE SUBSTANCES","EACH",null,"NORTH WEST "]
["RT83-01-08-01","FUEL MANGEMENT ","SUPPLY, INSTALLATION AND TECHNICAL SUPPORT FOR A FUEL MANAGEMENT SYSTEM WITH AUTOMATIC TANK GAUGING","EACH",null,"NORTHEN CAPE "]
["RT83-01-08-02","FUEL MANGEMENT ","SUPPLY, INSTALLATION AND TECHNICAL SUPPORT FOR AN INTERSTITIAL MONITORING SYSTEM FOR DOUBLE WALLED TANKS USED FOR THE STORAGE OF FLAMMABLE SUBSTANCES","EACH",null,"NORTHEN CAPE "]
["RT83-01-09-01","FUEL MANGEMENT ","SUPPLY, INSTALLATION AND TECHNICAL SUPPORT FOR A FUEL MANAGEMENT SYSTEM WITH AUTOMATIC TANK GAUGING","EACH",null,"WESTEN CAPE "]
["RT83-01-09-02","FUEL MANGEMENT ","SUPPLY, INSTALLATION AND TECHNICAL SUPPORT FOR AN INTERSTITIAL MONITORING SYSTEM FOR DOUBLE WALLED TANKS USED FOR THE STORAGE OF FLAMMABLE SUBSTANCES","EACH",null,"WESTEN CAPE "]

{"sheet":"CATB Fuel Disp Eqp ","index":1,"n_rows":37,"n_cols":12,"rows_kept":37}
["ITEM NUMBER ","CATEGORY","ITEM DESCRIPTION","UNIT OF MEASURE","PROVINCE ","BIDDER NAME","MANUFACTURER","BRAND NAME ","COUNTRY OF ORIGIN","DOES IT CONFORM WITH SPECIFICATION","LEAD TIME \n(DAYS)","PRICE PER UNIT INCLUDING VAT AND DELIVERY"]
["RT83-02-01-01","FUEL DISPENSERS","GRAVITY FED PUMP","EACH","EASTEN CAPE "]
["RT83-02-01-02","FUEL DISPENSERS","ELECTRIC PUMP DISPENSER","EACH","EASTEN CAPE "]
["RT83-02-01-03","FUEL DISPENSERS","ELECTRONIC FUEL DISPENSERS : SINGLE","EACH","EASTEN CAPE "]
["RT83-02-01-04","FUEL DISPENSERS","ELECTRONIC FUEL DISPENSERS : DUAL","EACH","EASTEN CAPE "]
["RT83-02-02-01","FUEL DISPENSERS","GRAVITY FED PUMP","EACH","FREE STATE"]
["RT83-02-02-02","FUEL DISPENSERS","ELECTRIC PUMP DISPENSER","EACH","FREE STATE"]
["RT83-02-02-03","FUEL DISPENSERS","ELECTRONIC FUEL DISPENSERS : SINGLE","EACH","FREE STATE"]
["RT83-02-02-04","FUEL DISPENSERS","ELECTRONIC FUEL DISPENSERS : DUAL","EACH","FREE STATE"]
["RT83-02-03-01","FUEL DISPENSERS","GRAVITY FED PUMP","EACH","GAUTENG "]
["RT83-02-03-02","FUEL DISPENSERS","ELECTRIC PUMP DISPENSER","EACH","GAUTENG "]
["RT83-02-03-03","FUEL DISPENSERS","ELECTRONIC FUEL DISPENSERS : SINGLE","EACH","GAUTENG "]
["RT83-02-03-04","FUEL DISPENSERS","ELECTRONIC FUEL DISPENSERS : DUAL","EACH","GAUTENG "]
["RT83-02-04-01","FUEL DISPENSERS","GRAVITY FED PUMP","EACH","KWAZULU NATAL "]
["RT83-02-04-02","FUEL DISPENSERS","ELECTRIC PUMP DISPENSER","EACH","KWAZULU NATAL "]
["RT83-02-04-03","FUEL DISPENSERS","ELECTRONIC FUEL DISPENSERS : SINGLE","EACH","KWAZULU NATAL "]
["RT83-02-04-04","FUEL DISPENSERS","ELECTRONIC FUEL DISPENSERS : DUAL","EACH","KWAZULU NATAL "]
["RT83-02-05-01","FUEL DISPENSERS","GRAVITY FED PUMP","EACH","LIMPOPO"]
["RT83-02-05-02","FUEL DISPENSERS","ELECTRIC PUMP DISPENSER","EACH","LIMPOPO"]
["RT83-02-05-03","FUEL DISPENSERS","ELECTRONIC FUEL DISPENSERS : SINGLE","EACH","LIMPOPO"]
["RT83-02-05-04","FUEL DISPENSERS","ELECTRONIC FUEL DISPENSERS : DUAL","EACH","LIMPOPO"]
["RT83-02-06-01","FUEL DISPENSERS","GRAVITY FED PUMP","EACH","MPUMALANGA "]
["RT83-02-06-02","FUEL DISPENSERS","ELECTRIC PUMP DISPENSER","EACH","MPUMALANGA "]
["RT83-02-06-03","FUEL DISPENSERS","ELECTRONIC FUEL DISPENSERS : SINGLE","EACH","MPUMALANGA "]
["RT83-02-06-04","FUEL DISPENSERS","ELECTRONIC FUEL DISPENSERS : DUAL","EACH","MPUMALANGA "]
["RT83-02-07-01","FUEL DISPENSERS","GRAVITY FED PUMP","EACH","NORTH WEST "]
["RT83-02-07-02","FUEL DISPENSERS","ELECTRIC PUMP DISPENSER","EACH","NORTH WEST "]
["RT83-02-07-03","FUEL DISPENSERS","ELECTRONIC FUEL DISPENSERS : SINGLE","EACH","NORTH WEST "]
["RT83-02-07-04","FUEL DISPENSERS","ELECTRONIC FUEL DISPENSERS : DUAL","EACH","NORTH WEST "]
["RT83-02-08-01","FUEL DISPENSERS","GRAVITY FED PUMP","EACH","NORTHEN CAPE "]
["RT83-02-08-02","FUEL DISPENSERS","ELECTRIC PUMP DISPENSER","EACH","NORTHEN CAPE "]
["RT83-02-08-03","FUEL DISPENSERS","ELECTRONIC FUEL DISPENSERS : SINGLE","EACH","NORTHEN CAPE "]
["RT83-02-08-04","FUEL DISPENSERS","ELECTRONIC FUEL DISPENSERS : DUAL","EACH","NORTHEN CAPE "]
["RT83-02-09-01","FUEL DISPENSERS","GRAVITY FED PUMP","EACH","WESTEN CAPE "]
["RT83-02-09-02","FUEL DISPENSERS","ELECTRIC PUMP DISPENSER","EACH","WESTEN CAPE "]
["RT83-02-09-03","FUEL DISPENSERS","ELECTRONIC FUEL DISPENSERS : SINGLE","EACH","WESTEN CAPE "]
["RT83-02-09-04","FUEL DISPENSERS","ELECTRONIC FUEL DISPENSERS : DUAL","EACH","WESTEN CAPE "]

{"sheet":"CATC FireProtection","index":2,"n_rows":262,"n_cols":12,"rows_kept":262}
["ITEM NUMBER ","CATEGORY","ITEM DESCRIPTION","UNIT OF MEASURE","PROVINCE ","BIDDER NAME","MANUFACTURER","BRAND NAME ","COUNTRY OF ORIGIN","DOES IT CONFORM WITH SPECIFICATION","LEAD TIME \n(DAYS)","PRICE PER UNIT INCLUDING VAT AND DELIVERY"]
["RT83-03-01-01","FIRE & EMERGENCY EQUIPMENT"," SUPPLY, DELIVERY AND INSTALLATION OF FIRE FIGHTING EQUIPMENT","EACH","EASTEN CAPE "]
["RT83-03-01-02","FIRE & EMERGENCY EQUIPMENT","SUPPLY, DELIVERY AND INSTALLATION FIRE HOSE REELS","EACH","EASTEN CAPE "]
["RT83-03-01-03","FIRE & EMERGENCY EQUIPMENT","SSUPPLY, DELIVERY AND INSTALLATION OF FIRE EXTINGUISHERS ","EACH","EASTEN CAPE "]
["RT83-03-01-04","FIRE & EMERGENCY EQUIPMENT","SUPPLY, DELIVERY AND INSTALLATION OF SYMBOLIC SAFETY SIGNAGE","EACH","EASTEN CAPE "]
["RT83-03-01-05","FIRE & EMERGENCY EQUIPMENT","SUPPLY AND INSTALLATION OF PROTECTIVE BOLLARDS TO PREVENT COLLISIONS IN BOTH FORECOURTS AND SINGLE USE BULK FUEL TANK SITES: CONCRETE","EACH","EASTEN CAPE "]
["RT83-03-01-06","FIRE & EMERGENCY EQUIPMENT","SUPPLY AND INSTALLATION OF PROTECTIVE BOLLARDS TO PREVENT COLLISIONS IN BOTH FORECOURTS AND SINGLE USE BULK FUEL TANK SITES: STEEL","EACH","EASTEN CAPE "]
["RT83-03-01-07","FIRE & EMERGENCY EQUIPMENT","WHEELIE BINS (240L) SPILL KITS FOR OIL AND FUEL SPILLAGES AT THE POINT OF DISBURSEMENT.","EACH","EASTEN CAPE "]
["RT83-03-01-08","FIRE & EMERGENCY EQUIPMENT","PORTABLE SPILL KITS FOR OIL AND FUEL SPILLAGES AT THE POINT OF DISBURSEMENT","EACH","EASTEN CAPE "]
["RT83-03-01-09","FIRE & EMERGENCY EQUIPMENT","240L WHEELY BIN","EACH","EASTEN CAPE "]
["RT83-03-01-10","FIRE & EMERGENCY EQUIPMENT","LOOSE ABSORBENT (PEAT OR OTHER MATERIAL)","EACH","EASTEN CAPE "]
["RT83-03-01-11","FIRE & EMERGENCY EQUIPMENT","2M ABSORBENT BOOM","EACH","EASTEN CAPE "]
["RT83-03-01-12","FIRE & EMERGENCY EQUIPMENT","200G ABSORBENT PADS","EACH","EASTEN CAPE "]
["RT83-03-01-13","FIRE & EMERGENCY EQUIPMENT","HEAVY DUTY DISPOSAL BAG (FOR CONTAMINATED WASTE)","EACH","EASTEN CAPE "]
["RT83-03-01-14","FIRE & EMERGENCY EQUIPMENT","SPILL BROOM","EACH","EASTEN CAPE "]
["RT83-03-01-15","FIRE & EMERGENCY EQUIPMENT","GLOVES","EACH","EASTEN CAPE "]
["RT83-03-01-16","FIRE & EMERGENCY EQUIPMENT","DUST MASK","EACH","EASTEN CAPE "]
["RT83-03-01-17","FIRE & EMERGENCY EQUIPMENT","SAFETY GLASSES","EACH","EASTEN CAPE "]
["RT83-03-01-18","FIRE & EMERGENCY EQUIPMENT","SPARK PROOF SHOVEL","EACH","EASTEN CAPE "]
["RT83-03-01-19","FIRE & EMERGENCY EQUIPMENT","LOCATION OF SPILL KIT SIGNAGE - 200MMX300MM","EACH","EASTEN CAPE "]
["RT83-03-01-20","FIRE & EMERGENCY EQUIPMENT","200G ABSORBENT PADS","EACH","EASTEN CAPE "]
["RT83-03-01-21","FIRE & EMERGENCY EQUIPMENT","20LT LOOSE ABSORBENT (PEAT OR OTHER MATERIAL)","EACH","EASTEN CAPE "]
["RT83-03-01-22","FIRE & EMERGENCY EQUIPMENT","1.2M OIL ABSORBENT SOCKS","EACH","EASTEN CAPE "]
["RT83-03-01-23","FIRE & EMERGENCY EQUIPMENT","DUST PAN AND A BRUSH","EACH","EASTEN CAPE "]
["RT83-03-01-24","FIRE & EMERGENCY EQUIPMENT","HEAVY DUTY DISPOSAL BAG (FOR CONTAMINATED WASTE)","EACH","EASTEN CAPE "]
["RT83-03-01-25","FIRE & EMERGENCY EQUIPMENT","GLOVES","EACH","EASTEN CAPE "]
["RT83-03-01-26","FIRE & EMERGENCY EQUIPMENT","DUST MASK","EACH","EASTEN CAPE "]
["RT83-03-01-27","FIRE & EMERGENCY EQUIPMENT","SAFETY GLASSES","EACH","EASTEN CAPE "]
["RT83-03-01-28","FIRE & EMERGENCY EQUIPMENT","SPARK PROOF SHOVEL","EACH","EASTEN CAPE "]
["RT83-03-01-29","FIRE & EMERGENCY EQUIPMENT","LOCATION OF SPILL KIT SIGNAGE - 200MMX300MM","EACH","EASTEN CAPE "]
["RT83-03-02-01","FIRE & EMERGENCY EQUIPMENT"," SUPPLY, DELIVERY AND INSTALLATION OF FIRE FIGHTING EQUIPMENT","EACH","FREE STATE"]
["RT83-03-02-02","FIRE & EMERGENCY EQUIPMENT","SUPPLY, DELIVERY AND INSTALLATION FIRE HOSE REELS","EACH","FREE STATE"]
["RT83-03-02-03","FIRE & EMERGENCY EQUIPMENT","SSUPPLY, DELIVERY AND INSTALLATION OF FIRE EXTINGUISHERS ","EACH","FREE STATE"]
["RT83-03-02-04","FIRE & EMERGENCY EQUIPMENT","SUPPLY, DELIVERY AND INSTALLATION OF SYMBOLIC SAFETY SIGNAGE","EACH","FREE STATE"]
["RT83-03-02-05","FIRE & EMERGENCY EQUIPMENT","SUPPLY AND INSTALLATION OF PROTECTIVE BOLLARDS TO PREVENT COLLISIONS IN BOTH FORECOURTS AND SINGLE USE BULK FUEL TANK SITES: CONCRETE","EACH","FREE STATE"]
["RT83-03-02-06","FIRE & EMERGENCY EQUIPMENT","SUPPLY AND INSTALLATION OF PROTECTIVE BOLLARDS TO PREVENT COLLISIONS IN BOTH FORECOURTS AND SINGLE USE BULK FUEL TANK SITES: STEEL","EACH","FREE STATE"]
["RT83-03-02-07","FIRE & EMERGENCY EQUIPMENT","WHEELIE BINS (240L) SPILL KITS FOR OIL AND FUEL SPILLAGES AT THE POINT OF DISBURSEMENT.","EACH","FREE STATE"]
["RT83-03-02-08","FIRE & EMERGENCY EQUIPMENT","PORTABLE SPILL KITS FOR OIL AND FUEL SPILLAGES AT THE POINT OF DISBURSEMENT","EACH","FREE STATE"]
["RT83-03-02-09","FIRE & EMERGENCY EQUIPMENT","240L WHEELY BIN","EACH","FREE STATE"]
["RT83-03-02-10","FIRE & EMERGENCY EQUIPMENT","LOOSE ABSORBENT (PEAT OR OTHER MATERIAL)","EACH","FREE STATE"]
["RT83-03-02-11","FIRE & EMERGENCY EQUIPMENT","2M ABSORBENT BOOM","EACH","FREE STATE"]
["RT83-03-02-12","FIRE & EMERGENCY EQUIPMENT","200G ABSORBENT PADS","EACH","FREE STATE"]
["RT83-03-02-13","FIRE & EMERGENCY EQUIPMENT","HEAVY DUTY DISPOSAL BAG (FOR CONTAMINATED WASTE)","EACH","FREE STATE"]
["RT83-03-02-14","FIRE & EMERGENCY EQUIPMENT","SPILL BROOM","EACH","FREE STATE"]
["RT83-03-02-15","FIRE & EMERGENCY EQUIPMENT","GLOVES","EACH","FREE STATE"]
["RT83-03-02-16","FIRE & EMERGENCY EQUIPMENT","DUST MASK","EACH","FREE STATE"]
["RT83-03-02-17","FIRE & EMERGENCY EQUIPMENT","SAFETY GLASSES","EACH","FREE STATE"]
["RT83-03-02-18","FIRE & EMERGENCY EQUIPMENT","SPARK PROOF SHOVEL","EACH","FREE STATE"]
["RT83-03-02-19","FIRE & EMERGENCY EQUIPMENT","LOCATION OF SPILL KIT SIGNAGE - 200MMX300MM","EACH","FREE STATE"]
["RT83-03-02-20","FIRE & EMERGENCY EQUIPMENT","200G ABSORBENT PADS","EACH","FREE STATE"]
["RT83-03-02-21","FIRE & EMERGENCY EQUIPMENT","20LT LOOSE ABSORBENT (PEAT OR OTHER MATERIAL)","EACH","FREE STATE"]
["RT83-03-02-22","FIRE & EMERGENCY EQUIPMENT","1.2M OIL ABSORBENT SOCKS","EACH","FREE STATE"]
["RT83-03-02-23","FIRE & EMERGENCY EQUIPMENT","DUST PAN AND A BRUSH","EACH","FREE STATE"]
["RT83-03-02-24","FIRE & EMERGENCY EQUIPMENT","HEAVY DUTY DISPOSAL BAG (FOR CONTAMINATED WASTE)","EACH","FREE STATE"]
["RT83-03-02-25","FIRE & EMERGENCY EQUIPMENT","GLOVES","EACH","FREE STATE"]
["RT83-03-02-26","FIRE & EMERGENCY EQUIPMENT","DUST MASK","EACH","FREE STATE"]
["RT83-03-02-27","FIRE & EMERGENCY EQUIPMENT","SAFETY GLASSES","EACH","FREE STATE"]
["RT83-03-02-28","FIRE & EMERGENCY EQUIPMENT","SPARK PROOF SHOVEL","EACH","FREE STATE"]
["RT83-03-02-29","FIRE & EMERGENCY EQUIPMENT","LOCATION OF SPILL KIT SIGNAGE - 200MMX300MM","EACH","FREE STATE"]
["RT83-03-03-01","FIRE & EMERGENCY EQUIPMENT"," SUPPLY, DELIVERY AND INSTALLATION OF FIRE FIGHTING EQUIPMENT","EACH","GAUTENG "]
["RT83-03-03-02","FIRE & EMERGENCY EQUIPMENT","SUPPLY, DELIVERY AND INSTALLATION FIRE HOSE REELS","EACH","GAUTENG "]
["RT83-03-03-03","FIRE & EMERGENCY EQUIPMENT","SSUPPLY, DELIVERY AND INSTALLATION OF FIRE EXTINGUISHERS ","EACH","GAUTENG "]
["RT83-03-03-04","FIRE & EMERGENCY EQUIPMENT","SUPPLY, DELIVERY AND INSTALLATION OF SYMBOLIC SAFETY SIGNAGE","EACH","GAUTENG "]
["RT83-03-03-05","FIRE & EMERGENCY EQUIPMENT","SUPPLY AND INSTALLATION OF PROTECTIVE BOLLARDS TO PREVENT COLLISIONS IN BOTH FORECOURTS AND SINGLE USE BULK FUEL TANK SITES: CONCRETE","EACH","GAUTENG "]
["RT83-03-03-06","FIRE & EMERGENCY EQUIPMENT","SUPPLY AND INSTALLATION OF PROTECTIVE BOLLARDS TO PREVENT COLLISIONS IN BOTH FORECOURTS AND SINGLE USE BULK FUEL TANK SITES: STEEL","EACH","GAUTENG "]
["RT83-03-03-07","FIRE & EMERGENCY EQUIPMENT","WHEELIE BINS (240L) SPILL KITS FOR OIL AND FUEL SPILLAGES AT THE POINT OF DISBURSEMENT.","EACH","GAUTENG "]
["RT83-03-03-08","FIRE & EMERGENCY EQUIPMENT","PORTABLE SPILL KITS FOR OIL AND FUEL SPILLAGES AT THE POINT OF DISBURSEMENT","EACH","GAUTENG "]
["RT83-03-03-09","FIRE & EMERGENCY EQUIPMENT","240L WHEELY BIN","EACH","GAUTENG "]
["RT83-03-03-10","FIRE & EMERGENCY EQUIPMENT","LOOSE ABSORBENT (PEAT OR OTHER MATERIAL)","EACH","GAUTENG "]
["RT83-03-03-11","FIRE & EMERGENCY EQUIPMENT","2M ABSORBENT BOOM","EACH","GAUTENG "]
["RT83-03-03-12","FIRE & EMERGENCY EQUIPMENT","200G ABSORBENT PADS","EACH","GAUTENG "]
["RT83-03-03-13","FIRE & EMERGENCY EQUIPMENT","HEAVY DUTY DISPOSAL BAG (FOR CONTAMINATED WASTE)","EACH","GAUTENG "]
["RT83-03-03-14","FIRE & EMERGENCY EQUIPMENT","SPILL BROOM","EACH","GAUTENG "]
["RT83-03-03-15","FIRE & EMERGENCY EQUIPMENT","GLOVES","EACH","GAUTENG "]
["RT83-03-03-16","FIRE & EMERGENCY EQUIPMENT","DUST MASK","EACH","GAUTENG "]
["RT83-03-03-17","FIRE & EMERGENCY EQUIPMENT","SAFETY GLASSES","EACH","GAUTENG "]
["RT83-03-03-18","FIRE & EMERGENCY EQUIPMENT","SPARK PROOF SHOVEL","EACH","GAUTENG "]
["RT83-03-03-19","FIRE & EMERGENCY EQUIPMENT","LOCATION OF SPILL KIT SIGNAGE - 200MMX300MM","EACH","GAUTENG "]
["RT83-03-03-20","FIRE & EMERGENCY EQUIPMENT","200G ABSORBENT PADS","EACH","GAUTENG "]
["RT83-03-03-21","FIRE & EMERGENCY EQUIPMENT","20LT LOOSE ABSORBENT (PEAT OR OTHER MATERIAL)","EACH","GAUTENG "]
["RT83-03-03-22","FIRE & EMERGENCY EQUIPMENT","1.2M OIL ABSORBENT SOCKS","EACH","GAUTENG "]
["RT83-03-03-23","FIRE & EMERGENCY EQUIPMENT","DUST PAN AND A BRUSH","EACH","GAUTENG "]
["RT83-03-03-24","FIRE & EMERGENCY EQUIPMENT","HEAVY DUTY DISPOSAL BAG (FOR CONTAMINATED WASTE)","EACH","GAUTENG "]
["RT83-03-03-25","FIRE & EMERGENCY EQUIPMENT","GLOVES","EACH","GAUTENG "]
["RT83-03-03-26","FIRE & EMERGENCY EQUIPMENT","DUST MASK","EACH","GAUTENG "]
["RT83-03-03-27","FIRE & EMERGENCY EQUIPMENT","SAFETY GLASSES","EACH","GAUTENG "]
["RT83-03-03-28","FIRE & EMERGENCY EQUIPMENT","SPARK PROOF SHOVEL","EACH","GAUTENG "]
["RT83-03-03-29","FIRE & EMERGENCY EQUIPMENT","LOCATION OF SPILL KIT SIGNAGE - 200MMX300MM","EACH","GAUTENG "]
["RT83-03-04-01","FIRE & EMERGENCY EQUIPMENT"," SUPPLY, DELIVERY AND INSTALLATION OF FIRE FIGHTING EQUIPMENT","EACH","KWAZULU NATAL "]
["RT83-03-04-02","FIRE & EMERGENCY EQUIPMENT","SUPPLY, DELIVERY AND INSTALLATION FIRE HOSE REELS","EACH","KWAZULU NATAL "]
["RT83-03-04-03","FIRE & EMERGENCY EQUIPMENT","SSUPPLY, DELIVERY AND INSTALLATION OF FIRE EXTINGUISHERS ","EACH","KWAZULU NATAL "]
["RT83-03-04-04","FIRE & EMERGENCY EQUIPMENT","SUPPLY, DELIVERY AND INSTALLATION OF SYMBOLIC SAFETY SIGNAGE","EACH","KWAZULU NATAL "]
["RT83-03-04-05","FIRE & EMERGENCY EQUIPMENT","SUPPLY AND INSTALLATION OF PROTECTIVE BOLLARDS TO PREVENT COLLISIONS IN BOTH FORECOURTS AND SINGLE USE BULK FUEL TANK SITES: CONCRETE","EACH","KWAZULU NATAL "]
["RT83-03-04-06","FIRE & EMERGENCY EQUIPMENT","SUPPLY AND INSTALLATION OF PROTECTIVE BOLLARDS TO PREVENT COLLISIONS IN BOTH FORECOURTS AND SINGLE USE BULK FUEL TANK SITES: STEEL","EACH","KWAZULU NATAL "]
["RT83-03-04-07","FIRE & EMERGENCY EQUIPMENT","WHEELIE BINS (240L) SPILL KITS FOR OIL AND FUEL SPILLAGES AT THE POINT OF DISBURSEMENT.","EACH","KWAZULU NATAL "]
["RT83-03-04-08","FIRE & EMERGENCY EQUIPMENT","PORTABLE SPILL KITS FOR OIL AND FUEL SPILLAGES AT THE POINT OF DISBURSEMENT","EACH","KWAZULU NATAL "]
["RT83-03-04-09","FIRE & EMERGENCY EQUIPMENT","240L WHEELY BIN","EACH","KWAZULU NATAL "]
["RT83-03-04-10","FIRE & EMERGENCY EQUIPMENT","LOOSE ABSORBENT (PEAT OR OTHER MATERIAL)","EACH","KWAZULU NATAL "]
["RT83-03-04-11","FIRE & EMERGENCY EQUIPMENT","2M ABSORBENT BOOM","EACH","KWAZULU NATAL "]
["RT83-03-04-12","FIRE & EMERGENCY EQUIPMENT","200G ABSORBENT PADS","EACH","KWAZULU NATAL "]
["RT83-03-04-13","FIRE & EMERGENCY EQUIPMENT","HEAVY DUTY DISPOSAL BAG (FOR CONTAMINATED WASTE)","EACH","KWAZULU NATAL "]
["RT83-03-04-14","FIRE & EMERGENCY EQUIPMENT","SPILL BROOM","EACH","KWAZULU NATAL "]
["RT83-03-04-15","FIRE & EMERGENCY EQUIPMENT","GLOVES","EACH","KWAZULU NATAL "]
["RT83-03-04-16","FIRE & EMERGENCY EQUIPMENT","DUST MASK","EACH","KWAZULU NATAL "]
["RT83-03-04-17","FIRE & EMERGENCY EQUIPMENT","SAFETY GLASSES","EACH","KWAZULU NATAL "]
["RT83-03-04-18","FIRE & EMERGENCY EQUIPMENT","SPARK PROOF SHOVEL","EACH","KWAZULU NATAL "]
["RT83-03-04-19","FIRE & EMERGENCY EQUIPMENT","LOCATION OF SPILL KIT SIGNAGE - 200MMX300MM","EACH","KWAZULU NATAL "]
["RT83-03-04-20","FIRE & EMERGENCY EQUIPMENT","200G ABSORBENT PADS","EACH","KWAZULU NATAL "]
["RT83-03-04-21","FIRE & EMERGENCY EQUIPMENT","20LT LOOSE ABSORBENT (PEAT OR OTHER MATERIAL)","EACH","KWAZULU NATAL "]
["RT83-03-04-22","FIRE & EMERGENCY EQUIPMENT","1.2M OIL ABSORBENT SOCKS","EACH","KWAZULU NATAL "]
["RT83-03-04-23","FIRE & EMERGENCY EQUIPMENT","DUST PAN AND A BRUSH","EACH","KWAZULU NATAL "]
["RT83-03-04-24","FIRE & EMERGENCY EQUIPMENT","HEAVY DUTY DISPOSAL BAG (FOR CONTAMINATED WASTE)","EACH","KWAZULU NATAL "]
["RT83-03-04-25","FIRE & EMERGENCY EQUIPMENT","GLOVES","EACH","KWAZULU NATAL "]
["RT83-03-04-26","FIRE & EMERGENCY EQUIPMENT","DUST MASK","EACH","KWAZULU NATAL "]
["RT83-03-04-27","FIRE & EMERGENCY EQUIPMENT","SAFETY GLASSES","EACH","KWAZULU NATAL "]
["RT83-03-04-28","FIRE & EMERGENCY EQUIPMENT","SPARK PROOF SHOVEL","EACH","KWAZULU NATAL "]
["RT83-03-04-29","FIRE & EMERGENCY EQUIPMENT","LOCATION OF SPILL KIT SIGNAGE - 200MMX300MM","EACH","KWAZULU NATAL "]
["RT83-03-05-01","FIRE & EMERGENCY EQUIPMENT"," SUPPLY, DELIVERY AND INSTALLATION OF FIRE FIGHTING EQUIPMENT","EACH","LIMPOPO"]
["RT83-03-05-02","FIRE & EMERGENCY EQUIPMENT","SUPPLY, DELIVERY AND INSTALLATION FIRE HOSE REELS","EACH","LIMPOPO"]
["RT83-03-05-03","FIRE & EMERGENCY EQUIPMENT","SSUPPLY, DELIVERY AND INSTALLATION OF FIRE EXTINGUISHERS ","EACH","LIMPOPO"]
["RT83-03-05-04","FIRE & EMERGENCY EQUIPMENT","SUPPLY, DELIVERY AND INSTALLATION OF SYMBOLIC SAFETY SIGNAGE","EACH","LIMPOPO"]
["RT83-03-05-05","FIRE & EMERGENCY EQUIPMENT","SUPPLY AND INSTALLATION OF PROTECTIVE BOLLARDS TO PREVENT COLLISIONS IN BOTH FORECOURTS AND SINGLE USE BULK FUEL TANK SITES: CONCRETE","EACH","LIMPOPO"]
["RT83-03-05-06","FIRE & EMERGENCY EQUIPMENT","SUPPLY AND INSTALLATION OF PROTECTIVE BOLLARDS TO PREVENT COLLISIONS IN BOTH FORECOURTS AND SINGLE USE BULK FUEL TANK SITES: STEEL","EACH","LIMPOPO"]
["RT83-03-05-07","FIRE & EMERGENCY EQUIPMENT","WHEELIE BINS (240L) SPILL KITS FOR OIL AND FUEL SPILLAGES AT THE POINT OF DISBURSEMENT.","EACH","LIMPOPO"]
["RT83-03-05-08","FIRE & EMERGENCY EQUIPMENT","PORTABLE SPILL KITS FOR OIL AND FUEL SPILLAGES AT THE POINT OF DISBURSEMENT","EACH","LIMPOPO"]
["RT83-03-05-09","FIRE & EMERGENCY EQUIPMENT","240L WHEELY BIN","EACH","LIMPOPO"]
["RT83-03-05-10","FIRE & EMERGENCY EQUIPMENT","LOOSE ABSORBENT (PEAT OR OTHER MATERIAL)","EACH","LIMPOPO"]
["RT83-03-05-11","FIRE & EMERGENCY EQUIPMENT","2M ABSORBENT BOOM","EACH","LIMPOPO"]
["RT83-03-05-12","FIRE & EMERGENCY EQUIPMENT","200G ABSORBENT PADS","EACH","LIMPOPO"]
["RT83-03-05-13","FIRE & EMERGENCY EQUIPMENT","HEAVY DUTY DISPOSAL BAG (FOR CONTAMINATED WASTE)","EACH","LIMPOPO"]
["RT83-03-05-14","FIRE & EMERGENCY EQUIPMENT","SPILL BROOM","EACH","LIMPOPO"]
["RT83-03-05-15","FIRE & EMERGENCY EQUIPMENT","GLOVES","EACH","LIMPOPO"]
["RT83-03-05-16","FIRE & EMERGENCY EQUIPMENT","DUST MASK","EACH","LIMPOPO"]
["RT83-03-05-17","FIRE & EMERGENCY EQUIPMENT","SAFETY GLASSES","EACH","LIMPOPO"]
["RT83-03-05-18","FIRE & EMERGENCY EQUIPMENT","SPARK PROOF SHOVEL","EACH","LIMPOPO"]
["RT83-03-05-19","FIRE & EMERGENCY EQUIPMENT","LOCATION OF SPILL KIT SIGNAGE - 200MMX300MM","EACH","LIMPOPO"]
["RT83-03-05-20","FIRE & EMERGENCY EQUIPMENT","200G ABSORBENT PADS","EACH","LIMPOPO"]
["RT83-03-05-21","FIRE & EMERGENCY EQUIPMENT","20LT LOOSE ABSORBENT (PEAT OR OTHER MATERIAL)","EACH","LIMPOPO"]
["RT83-03-05-22","FIRE & EMERGENCY EQUIPMENT","1.2M OIL ABSORBENT SOCKS","EACH","LIMPOPO"]
["RT83-03-05-23","FIRE & EMERGENCY EQUIPMENT","DUST PAN AND A BRUSH","EACH","LIMPOPO"]
["RT83-03-05-24","FIRE & EMERGENCY EQUIPMENT","HEAVY DUTY DISPOSAL BAG (FOR CONTAMINATED WASTE)","EACH","LIMPOPO"]
["RT83-03-05-25","FIRE & EMERGENCY EQUIPMENT","GLOVES","EACH","LIMPOPO"]
["RT83-03-05-26","FIRE & EMERGENCY EQUIPMENT","DUST MASK","EACH","LIMPOPO"]
["RT83-03-05-27","FIRE & EMERGENCY EQUIPMENT","SAFETY GLASSES","EACH","LIMPOPO"]
["RT83-03-05-28","FIRE & EMERGENCY EQUIPMENT","SPARK PROOF SHOVEL","EACH","LIMPOPO"]
["RT83-03-05-29","FIRE & EMERGENCY EQUIPMENT","LOCATION OF SPILL KIT SIGNAGE - 200MMX300MM","EACH","LIMPOPO"]
["RT83-03-06-01","FIRE & EMERGENCY EQUIPMENT"," SUPPLY, DELIVERY AND INSTALLATION OF FIRE FIGHTING EQUIPMENT","EACH","MPUMALANGA "]
["RT83-03-06-02","FIRE & EMERGENCY EQUIPMENT","SUPPLY, DELIVERY AND INSTALLATION FIRE HOSE REELS","EACH","MPUMALANGA "]
["RT83-03-06-03","FIRE & EMERGENCY EQUIPMENT","SSUPPLY, DELIVERY AND INSTALLATION OF FIRE EXTINGUISHERS ","EACH","MPUMALANGA "]
["RT83-03-06-04","FIRE & EMERGENCY EQUIPMENT","SUPPLY, DELIVERY AND INSTALLATION OF SYMBOLIC SAFETY SIGNAGE","EACH","MPUMALANGA "]
["RT83-03-06-05","FIRE & EMERGENCY EQUIPMENT","SUPPLY AND INSTALLATION OF PROTECTIVE BOLLARDS TO PREVENT COLLISIONS IN BOTH FORECOURTS AND SINGLE USE BULK FUEL TANK SITES: CONCRETE","EACH","MPUMALANGA "]
["RT83-03-06-06","FIRE & EMERGENCY EQUIPMENT","SUPPLY AND INSTALLATION OF PROTECTIVE BOLLARDS TO PREVENT COLLISIONS IN BOTH FORECOURTS AND SINGLE USE BULK FUEL TANK SITES: STEEL","EACH","MPUMALANGA "]
["RT83-03-06-07","FIRE & EMERGENCY EQUIPMENT","WHEELIE BINS (240L) SPILL KITS FOR OIL AND FUEL SPILLAGES AT THE POINT OF DISBURSEMENT.","EACH","MPUMALANGA "]
["RT83-03-06-08","FIRE & EMERGENCY EQUIPMENT","PORTABLE SPILL KITS FOR OIL AND FUEL SPILLAGES AT THE POINT OF DISBURSEMENT","EACH","MPUMALANGA "]
["RT83-03-06-09","FIRE & EMERGENCY EQUIPMENT","240L WHEELY BIN","EACH","MPUMALANGA "]
["RT83-03-06-10","FIRE & EMERGENCY EQUIPMENT","LOOSE ABSORBENT (PEAT OR OTHER MATERIAL)","EACH","MPUMALANGA "]
["RT83-03-06-11","FIRE & EMERGENCY EQUIPMENT","2M ABSORBENT BOOM","EACH","MPUMALANGA "]
["RT83-03-06-12","FIRE & EMERGENCY EQUIPMENT","200G ABSORBENT PADS","EACH","MPUMALANGA "]
["RT83-03-06-13","FIRE & EMERGENCY EQUIPMENT","HEAVY DUTY DISPOSAL BAG (FOR CONTAMINATED WASTE)","EACH","MPUMALANGA "]
["RT83-03-06-14","FIRE & EMERGENCY EQUIPMENT","SPILL BROOM","EACH","MPUMALANGA "]
["RT83-03-06-15","FIRE & EMERGENCY EQUIPMENT","GLOVES","EACH","MPUMALANGA "]
["RT83-03-06-16","FIRE & EMERGENCY EQUIPMENT","DUST MASK","EACH","MPUMALANGA "]
["RT83-03-06-17","FIRE & EMERGENCY EQUIPMENT","SAFETY GLASSES","EACH","MPUMALANGA "]
["RT83-03-06-18","FIRE & EMERGENCY EQUIPMENT","SPARK PROOF SHOVEL","EACH","MPUMALANGA "]
["RT83-03-06-19","FIRE & EMERGENCY EQUIPMENT","LOCATION OF SPILL KIT SIGNAGE - 200MMX300MM","EACH","MPUMALANGA "]
["RT83-03-06-20","FIRE & EMERGENCY EQUIPMENT","200G ABSORBENT PADS","EACH","MPUMALANGA "]
["RT83-03-06-21","FIRE & EMERGENCY EQUIPMENT","20LT LOOSE ABSORBENT (PEAT OR OTHER MATERIAL)","EACH","MPUMALANGA "]
["RT83-03-06-22","FIRE & EMERGENCY EQUIPMENT","1.2M OIL ABSORBENT SOCKS","EACH","MPUMALANGA "]
["RT83-03-06-23","FIRE & EMERGENCY EQUIPMENT","DUST PAN AND A BRUSH","EACH","MPUMALANGA "]
["RT83-03-06-24","FIRE & EMERGENCY EQUIPMENT","HEAVY DUTY DISPOSAL BAG (FOR CONTAMINATED WASTE)","EACH","MPUMALANGA "]
["RT83-03-06-25","FIRE & EMERGENCY EQUIPMENT","GLOVES","EACH","MPUMALANGA "]
["RT83-03-06-26","FIRE & EMERGENCY EQUIPMENT","DUST MASK","EACH","MPUMALANGA "]
["RT83-03-06-27","FIRE & EMERGENCY EQUIPMENT","SAFETY GLASSES","EACH","MPUMALANGA "]
["RT83-03-06-28","FIRE & EMERGENCY EQUIPMENT","SPARK PROOF SHOVEL","EACH","MPUMALANGA "]
["RT83-03-06-29","FIRE & EMERGENCY EQUIPMENT","LOCATION OF SPILL KIT SIGNAGE - 200MMX300MM","EACH","MPUMALANGA "]
["RT83-03-07-01","FIRE & EMERGENCY EQUIPMENT"," SUPPLY, DELIVERY AND INSTALLATION OF FIRE FIGHTING EQUIPMENT","EACH","NORTH WEST "]
["RT83-03-07-02","FIRE & EMERGENCY EQUIPMENT","SUPPLY, DELIVERY AND INSTALLATION FIRE HOSE REELS","EACH","NORTH WEST "]
["RT83-03-07-03","FIRE & EMERGENCY EQUIPMENT","SSUPPLY, DELIVERY AND INSTALLATION OF FIRE EXTINGUISHERS ","EACH","NORTH WEST "]
["RT83-03-07-04","FIRE & EMERGENCY EQUIPMENT","SUPPLY, DELIVERY AND INSTALLATION OF SYMBOLIC SAFETY SIGNAGE","EACH","NORTH WEST "]
["RT83-03-07-05","FIRE & EMERGENCY EQUIPMENT","SUPPLY AND INSTALLATION OF PROTECTIVE BOLLARDS TO PREVENT COLLISIONS IN BOTH FORECOURTS AND SINGLE USE BULK FUEL TANK SITES: CONCRETE","EACH","NORTH WEST "]
["RT83-03-07-06","FIRE & EMERGENCY EQUIPMENT","SUPPLY AND INSTALLATION OF PROTECTIVE BOLLARDS TO PREVENT COLLISIONS IN BOTH FORECOURTS AND SINGLE USE BULK FUEL TANK SITES: STEEL","EACH","NORTH WEST "]
["RT83-03-07-07","FIRE & EMERGENCY EQUIPMENT","WHEELIE BINS (240L) SPILL KITS FOR OIL AND FUEL SPILLAGES AT THE POINT OF DISBURSEMENT.","EACH","NORTH WEST "]
["RT83-03-07-08","FIRE & EMERGENCY EQUIPMENT","PORTABLE SPILL KITS FOR OIL AND FUEL SPILLAGES AT THE POINT OF DISBURSEMENT","EACH","NORTH WEST "]
["RT83-03-07-09","FIRE & EMERGENCY EQUIPMENT","240L WHEELY BIN","EACH","NORTH WEST "]
["RT83-03-07-10","FIRE & EMERGENCY EQUIPMENT","LOOSE ABSORBENT (PEAT OR OTHER MATERIAL)","EACH","NORTH WEST "]
["RT83-03-07-11","FIRE & EMERGENCY EQUIPMENT","2M ABSORBENT BOOM","EACH","NORTH WEST "]
["RT83-03-07-12","FIRE & EMERGENCY EQUIPMENT","200G ABSORBENT PADS","EACH","NORTH WEST "]
["RT83-03-07-13","FIRE & EMERGENCY EQUIPMENT","HEAVY DUTY DISPOSAL BAG (FOR CONTAMINATED WASTE)","EACH","NORTH WEST "]
["RT83-03-07-14","FIRE & EMERGENCY EQUIPMENT","SPILL BROOM","EACH","NORTH WEST "]
["RT83-03-07-15","FIRE & EMERGENCY EQUIPMENT","GLOVES","EACH","NORTH WEST "]
["RT83-03-07-16","FIRE & EMERGENCY EQUIPMENT","DUST MASK","EACH","NORTH WEST "]
["RT83-03-07-17","FIRE & EMERGENCY EQUIPMENT","SAFETY GLASSES","EACH","NORTH WEST "]
["RT83-03-07-18","FIRE & EMERGENCY EQUIPMENT","SPARK PROOF SHOVEL","EACH","NORTH WEST "]
["RT83-03-07-19","FIRE & EMERGENCY EQUIPMENT","LOCATION OF SPILL KIT SIGNAGE - 200MMX300MM","EACH","NORTH WEST "]
["RT83-03-07-20","FIRE & EMERGENCY EQUIPMENT","200G ABSORBENT PADS","EACH","NORTH WEST "]
["RT83-03-07-21","FIRE & EMERGENCY EQUIPMENT","20LT LOOSE ABSORBENT (PEAT OR OTHER MATERIAL)","EACH","NORTH WEST "]
["RT83-03-07-22","FIRE & EMERGENCY EQUIPMENT","1.2M OIL ABSORBENT SOCKS","EACH","NORTH WEST "]
["RT83-03-07-23","FIRE & EMERGENCY EQUIPMENT","DUST PAN AND A BRUSH","EACH","NORTH WEST "]
["RT83-03-07-24","FIRE & EMERGENCY EQUIPMENT","HEAVY DUTY DISPOSAL BAG (FOR CONTAMINATED WASTE)","EACH","NORTH WEST "]
["RT83-03-07-25","FIRE & EMERGENCY EQUIPMENT","GLOVES","EACH","NORTH WEST "]
["RT83-03-07-26","FIRE & EMERGENCY EQUIPMENT","DUST MASK","EACH","NORTH WEST "]
["RT83-03-07-27","FIRE & EMERGENCY EQUIPMENT","SAFETY GLASSES","EACH","NORTH WEST "]
["RT83-03-07-28","FIRE & EMERGENCY EQUIPMENT","SPARK PROOF SHOVEL","EACH","NORTH WEST "]
["RT83-03-07-29","FIRE & EMERGENCY EQUIPMENT","LOCATION OF SPILL KIT SIGNAGE - 200MMX300MM","EACH","NORTH WEST "]
["RT83-03-08-01","FIRE & EMERGENCY EQUIPMENT"," SUPPLY, DELIVERY AND INSTALLATION OF FIRE FIGHTING EQUIPMENT","EACH","NORTHEN CAPE "]
["RT83-03-08-02","FIRE & EMERGENCY EQUIPMENT","SUPPLY, DELIVERY AND INSTALLATION FIRE HOSE REELS","EACH","NORTHEN CAPE "]
["RT83-03-08-03","FIRE & EMERGENCY EQUIPMENT","SSUPPLY, DELIVERY AND INSTALLATION OF FIRE EXTINGUISHERS ","EACH","NORTHEN CAPE "]
["RT83-03-08-04","FIRE & EMERGENCY EQUIPMENT","SUPPLY, DELIVERY AND INSTALLATION OF SYMBOLIC SAFETY SIGNAGE","EACH","NORTHEN CAPE "]
["RT83-03-08-05","FIRE & EMERGENCY EQUIPMENT","SUPPLY AND INSTALLATION OF PROTECTIVE BOLLARDS TO PREVENT COLLISIONS IN BOTH FORECOURTS AND SINGLE USE BULK FUEL TANK SITES: CONCRETE","EACH","NORTHEN CAPE "]
["RT83-03-08-06","FIRE & EMERGENCY EQUIPMENT","SUPPLY AND INSTALLATION OF PROTECTIVE BOLLARDS TO PREVENT COLLISIONS IN BOTH FORECOURTS AND SINGLE USE BULK FUEL TANK SITES: STEEL","EACH","NORTHEN CAPE "]
["RT83-03-08-07","FIRE & EMERGENCY EQUIPMENT","WHEELIE BINS (240L) SPILL KITS FOR OIL AND FUEL SPILLAGES AT THE POINT OF DISBURSEMENT.","EACH","NORTHEN CAPE "]
["RT83-03-08-08","FIRE & EMERGENCY EQUIPMENT","PORTABLE SPILL KITS FOR OIL AND FUEL SPILLAGES AT THE POINT OF DISBURSEMENT","EACH","NORTHEN CAPE "]
["RT83-03-08-09","FIRE & EMERGENCY EQUIPMENT","240L WHEELY BIN","EACH","NORTHEN CAPE "]
["RT83-03-08-10","FIRE & EMERGENCY EQUIPMENT","LOOSE ABSORBENT (PEAT OR OTHER MATERIAL)","EACH","NORTHEN CAPE "]
["RT83-03-08-11","FIRE & EMERGENCY EQUIPMENT","2M ABSORBENT BOOM","EACH","NORTHEN CAPE "]
["RT83-03-08-12","FIRE & EMERGENCY EQUIPMENT","200G ABSORBENT PADS","EACH","NORTHEN CAPE "]
["RT83-03-08-13","FIRE & EMERGENCY EQUIPMENT","HEAVY DUTY DISPOSAL BAG (FOR CONTAMINATED WASTE)","EACH","NORTHEN CAPE "]
["RT83-03-08-14","FIRE & EMERGENCY EQUIPMENT","SPILL BROOM","EACH","NORTHEN CAPE "]
["RT83-03-08-15","FIRE & EMERGENCY EQUIPMENT","GLOVES","EACH","NORTHEN CAPE "]
["RT83-03-08-16","FIRE & EMERGENCY EQUIPMENT","DUST MASK","EACH","NORTHEN CAPE "]
["RT83-03-08-17","FIRE & EMERGENCY EQUIPMENT","SAFETY GLASSES","EACH","NORTHEN CAPE "]
["RT83-03-08-18","FIRE & EMERGENCY EQUIPMENT","SPARK PROOF SHOVEL","EACH","NORTHEN CAPE "]
["RT83-03-08-19","FIRE & EMERGENCY EQUIPMENT","LOCATION OF SPILL KIT SIGNAGE - 200MMX300MM","EACH","NORTHEN CAPE "]
["RT83-03-08-20","FIRE & EMERGENCY EQUIPMENT","200G ABSORBENT PADS","EACH","NORTHEN CAPE "]
["RT83-03-08-21","FIRE & EMERGENCY EQUIPMENT","20LT LOOSE ABSORBENT (PEAT OR OTHER MATERIAL)","EACH","NORTHEN CAPE "]
["RT83-03-08-22","FIRE & EMERGENCY EQUIPMENT","1.2M OIL ABSORBENT SOCKS","EACH","NORTHEN CAPE "]
["RT83-03-08-23","FIRE & EMERGENCY EQUIPMENT","DUST PAN AND A BRUSH","EACH","NORTHEN CAPE "]
["RT83-03-08-24","FIRE & EMERGENCY EQUIPMENT","HEAVY DUTY DISPOSAL BAG (FOR CONTAMINATED WASTE)","EACH","NORTHEN CAPE "]
["RT83-03-08-25","FIRE & EMERGENCY EQUIPMENT","GLOVES","EACH","NORTHEN CAPE "]
["RT83-03-08-26","FIRE & EMERGENCY EQUIPMENT","DUST MASK","EACH","NORTHEN CAPE "]
["RT83-03-08-27","FIRE & EMERGENCY EQUIPMENT","SAFETY GLASSES","EACH","NORTHEN CAPE "]
["RT83-03-08-28","FIRE & EMERGENCY EQUIPMENT","SPARK PROOF SHOVEL","EACH","NORTHEN CAPE "]
["RT83-03-08-29","FIRE & EMERGENCY EQUIPMENT","LOCATION OF SPILL KIT SIGNAGE - 200MMX300MM","EACH","NORTHEN CAPE "]
["RT83-03-09-01","FIRE & EMERGENCY EQUIPMENT"," SUPPLY, DELIVERY AND INSTALLATION OF FIRE FIGHTING EQUIPMENT","EACH","WESTEN CAPE "]
["RT83-03-09-02","FIRE & EMERGENCY EQUIPMENT","SUPPLY, DELIVERY AND INSTALLATION FIRE HOSE REELS","EACH","WESTEN CAPE "]
["RT83-03-09-03","FIRE & EMERGENCY EQUIPMENT","SSUPPLY, DELIVERY AND INSTALLATION OF FIRE EXTINGUISHERS ","EACH","WESTEN CAPE "]
["RT83-03-09-04","FIRE & EMERGENCY EQUIPMENT","SUPPLY, DELIVERY AND INSTALLATION OF SYMBOLIC SAFETY SIGNAGE","EACH","WESTEN CAPE "]
["RT83-03-09-05","FIRE & EMERGENCY EQUIPMENT","SUPPLY AND INSTALLATION OF PROTECTIVE BOLLARDS TO PREVENT COLLISIONS IN BOTH FORECOURTS AND SINGLE USE BULK FUEL TANK SITES: CONCRETE","EACH","WESTEN CAPE "]
["RT83-03-09-06","FIRE & EMERGENCY EQUIPMENT","SUPPLY AND INSTALLATION OF PROTECTIVE BOLLARDS TO PREVENT COLLISIONS IN BOTH FORECOURTS AND SINGLE USE BULK FUEL TANK SITES: STEEL","EACH","WESTEN CAPE "]
["RT83-03-09-07","FIRE & EMERGENCY EQUIPMENT","WHEELIE BINS (240L) SPILL KITS FOR OIL AND FUEL SPILLAGES AT THE POINT OF DISBURSEMENT.","EACH","WESTEN CAPE "]
["RT83-03-09-08","FIRE & EMERGENCY EQUIPMENT","PORTABLE SPILL KITS FOR OIL AND FUEL SPILLAGES AT THE POINT OF DISBURSEMENT","EACH","WESTEN CAPE "]
["RT83-03-09-09","FIRE & EMERGENCY EQUIPMENT","240L WHEELY BIN","EACH","WESTEN CAPE "]
["RT83-03-09-10","FIRE & EMERGENCY EQUIPMENT","LOOSE ABSORBENT (PEAT OR OTHER MATERIAL)","EACH","WESTEN CAPE "]
["RT83-03-09-11","FIRE & EMERGENCY EQUIPMENT","2M ABSORBENT BOOM","EACH","WESTEN CAPE "]
["RT83-03-09-12","FIRE & EMERGENCY EQUIPMENT","200G ABSORBENT PADS","EACH","WESTEN CAPE "]
["RT83-03-09-13","FIRE & EMERGENCY EQUIPMENT","HEAVY DUTY DISPOSAL BAG (FOR CONTAMINATED WASTE)","EACH","WESTEN CAPE "]
["RT83-03-09-14","FIRE & EMERGENCY EQUIPMENT","SPILL BROOM","EACH","WESTEN CAPE "]
["RT83-03-09-15","FIRE & EMERGENCY EQUIPMENT","GLOVES","EACH","WESTEN CAPE "]
["RT83-03-09-16","FIRE & EMERGENCY EQUIPMENT","DUST MASK","EACH","WESTEN CAPE "]
["RT83-03-09-17","FIRE & EMERGENCY EQUIPMENT","SAFETY GLASSES","EACH","WESTEN CAPE "]
["RT83-03-09-18","FIRE & EMERGENCY EQUIPMENT","SPARK PROOF SHOVEL","EACH","WESTEN CAPE "]
["RT83-03-09-19","FIRE & EMERGENCY EQUIPMENT","LOCATION OF SPILL KIT SIGNAGE - 200MMX300MM","EACH","WESTEN CAPE "]
["RT83-03-09-20","FIRE & EMERGENCY EQUIPMENT","200G ABSORBENT PADS","EACH","WESTEN CAPE "]
["RT83-03-09-21","FIRE & EMERGENCY EQUIPMENT","20LT LOOSE ABSORBENT (PEAT OR OTHER MATERIAL)","EACH","WESTEN CAPE "]
["RT83-03-09-22","FIRE & EMERGENCY EQUIPMENT","1.2M OIL ABSORBENT SOCKS","EACH","WESTEN CAPE "]
["RT83-03-09-23","FIRE & EMERGENCY EQUIPMENT","DUST PAN AND A BRUSH","EACH","WESTEN CAPE "]
["RT83-03-09-24","FIRE & EMERGENCY EQUIPMENT","HEAVY DUTY DISPOSAL BAG (FOR CONTAMINATED WASTE)","EACH","WESTEN CAPE "]
["RT83-03-09-25","FIRE & EMERGENCY EQUIPMENT","GLOVES","EACH","WESTEN CAPE "]
["RT83-03-09-26","FIRE & EMERGENCY EQUIPMENT","DUST MASK","EACH","WESTEN CAPE "]
["RT83-03-09-27","FIRE & EMERGENCY EQUIPMENT","SAFETY GLASSES","EACH","WESTEN CAPE "]
["RT83-03-09-28","FIRE & EMERGENCY EQUIPMENT","SPARK PROOF SHOVEL","EACH","WESTEN CAPE "]
["RT83-03-09-29","FIRE & EMERGENCY EQUIPMENT","LOCATION OF SPILL KIT SIGNAGE - 200MMX300MM","EACH","WESTEN CAPE "]

{"sheet":"CATC1 Fire Protect Maint & Rep","index":3,"n_rows":10,"n_cols":13,"rows_kept":10}
["ITEM NUMBER ","CATEGORY","ITEM DESCRIPTION","UNIT OF MEASURE","PROVINCE ","BIDDER NAME","Artisan:LABOUR RATE (R/Hour)","TRAVELLING (R/km)","TRAVELLING TIME  (R/Hour)","SUBSISTENCE ALLOWANCE PER NIGHT OUT (R/Night)","PERCENTAGE MARK UP ON REPLACEMENT PARTS/SURCHARGE ON OUTWORK (%)","THE FACTOR FOR CALCULATING NORMAL OVERTIME","TOTAL VALUE (Comparative Pricing) "]
["RT83-03-01-07","FIRE & EMERGENCY EQUIPMENT","MAINTENANCE AND REPAIRS: FIRE & EMERGENCY EQUIPMENT\n","EACH","EASTEN CAPE "]
["RT83-03-02-07","FIRE & EMERGENCY EQUIPMENT","MAINTENANCE AND REPAIRS: FIRE & EMERGENCY EQUIPMENT\n","EACH","FREE STATE"]
["RT83-03-03-07","FIRE & EMERGENCY EQUIPMENT","MAINTENANCE AND REPAIRS: FIRE & EMERGENCY EQUIPMENT\n","EACH","GAUTENG "]
["RT83-03-04-07","FIRE & EMERGENCY EQUIPMENT","MAINTENANCE AND REPAIRS: FIRE & EMERGENCY EQUIPMENT\n","EACH","KWAZULU NATAL "]
["RT83-03-05-07","FIRE & EMERGENCY EQUIPMENT","MAINTENANCE AND REPAIRS: FIRE & EMERGENCY EQUIPMENT\n","EACH","LIMPOPO"]
["RT83-03-06-07","FIRE & EMERGENCY EQUIPMENT","MAINTENANCE AND REPAIRS: FIRE & EMERGENCY EQUIPMENT\n","EACH","MPUMALANGA "]
["RT83-03-07-07","FIRE & EMERGENCY EQUIPMENT","MAINTENANCE AND REPAIRS: FIRE & EMERGENCY EQUIPMENT\n","EACH","NORTH WEST "]
["RT83-03-08-07","FIRE & EMERGENCY EQUIPMENT","MAINTENANCE AND REPAIRS: FIRE & EMERGENCY EQUIPMENT\n","EACH","NORTHEN CAPE "]
["RT83-03-09-07","FIRE & EMERGENCY EQUIPMENT","MAINTENANCE AND REPAIRS: FIRE & EMERGENCY EQUIPMENT\n","EACH","WESTEN CAPE "]

{"sheet":"CATD Ligtning&PS ","index":4,"n_rows":37,"n_cols":14,"rows_kept":37}
["ITEM NUMBER ","CATEGORY","ITEM DESCRIPTION","UNIT OF MEASURE","PROVINCE ","BIDDER NAME","MANUFACTURER","BRAND NAME ","COUNTRY OF ORIGIN","DOES IT CONFORM WITH SPECIFICATION","% LOCAL CONTENT","LEAD TIME \n(DAYS)","PRICE PER UNIT INCLUDING VAT AND DELIVERY","TOTAL VALUE (Comparative Pricing) "]
["RT83-04-01-01","INFRASTRUCTURE AND LIGHTNING PROTECTION","SUPPLY AND INSTALLATION OF A LIGHTNING PROTECTION SYSTEM FOR BULK FUEL STORAGE TANKS AND ASSOCIATED INFRASTRUCTURE","EACH","EASTEN CAPE "]
["RT83-04-01-02","INFRASTRUCTURE AND LIGHTNING PROTECTION","EARTHING RODS","EACH","EASTEN CAPE "]
["RT83-04-01-03","INFRASTRUCTURE AND LIGHTNING PROTECTION","EQUIPOTENTIAL BONDING","EACH","EASTEN CAPE "]
["RT83-04-01-04","LIGHTNING PROTECTION","SUPPLY AND INSTALLATION OF A LIGHTNING PROTECTION SYSTEM FOR BULK FUEL STORAGE TANKS AND ASSOCIATED INFRASTRUCTURE","EACH","EASTEN CAPE "]
["RT83-04-02-01","INFRASTRUCTURE AND LIGHTNING PROTECTION","SUPPLY AND INSTALLATION OF A LIGHTNING PROTECTION SYSTEM FOR BULK FUEL STORAGE TANKS AND ASSOCIATED INFRASTRUCTURE","EACH","FREE STATE"]
["RT83-04-02-02","INFRASTRUCTURE AND LIGHTNING PROTECTION","EARTHING RODS","EACH","FREE STATE"]
["RT83-04-02-03","INFRASTRUCTURE AND LIGHTNING PROTECTION","EQUIPOTENTIAL BONDING","EACH","FREE STATE"]
["RT83-04-02-04","LIGHTNING PROTECTION","SUPPLY AND INSTALLATION OF A LIGHTNING PROTECTION SYSTEM FOR BULK FUEL STORAGE TANKS AND ASSOCIATED INFRASTRUCTURE","EACH","FREE STATE"]
["RT83-04-03-01","INFRASTRUCTURE AND LIGHTNING PROTECTION","SUPPLY AND INSTALLATION OF A LIGHTNING PROTECTION SYSTEM FOR BULK FUEL STORAGE TANKS AND ASSOCIATED INFRASTRUCTURE","EACH","GAUTENG "]
["RT83-04-03-02","INFRASTRUCTURE AND LIGHTNING PROTECTION","EARTHING RODS","EACH","GAUTENG "]
["RT83-04-03-03","INFRASTRUCTURE AND LIGHTNING PROTECTION","EQUIPOTENTIAL BONDING","EACH","GAUTENG "]
["RT83-04-03-04","LIGHTNING PROTECTION","SUPPLY AND INSTALLATION OF A LIGHTNING PROTECTION SYSTEM FOR BULK FUEL STORAGE TANKS AND ASSOCIATED INFRASTRUCTURE","EACH","GAUTENG "]
["RT83-04-04-01","INFRASTRUCTURE AND LIGHTNING PROTECTION","SUPPLY AND INSTALLATION OF A LIGHTNING PROTECTION SYSTEM FOR BULK FUEL STORAGE TANKS AND ASSOCIATED INFRASTRUCTURE","EACH","KWAZULU NATAL "]
["RT83-04-04-02","INFRASTRUCTURE AND LIGHTNING PROTECTION","EARTHING RODS","EACH","KWAZULU NATAL "]
["RT83-04-04-03","INFRASTRUCTURE AND LIGHTNING PROTECTION","EQUIPOTENTIAL BONDING","EACH","KWAZULU NATAL "]
["RT83-04-04-04","LIGHTNING PROTECTION","SUPPLY AND INSTALLATION OF A LIGHTNING PROTECTION SYSTEM FOR BULK FUEL STORAGE TANKS AND ASSOCIATED INFRASTRUCTURE","EACH","KWAZULU NATAL "]
["RT83-04-05-01","INFRASTRUCTURE AND LIGHTNING PROTECTION","SUPPLY AND INSTALLATION OF A LIGHTNING PROTECTION SYSTEM FOR BULK FUEL STORAGE TANKS AND ASSOCIATED INFRASTRUCTURE","EACH","LIMPOPO"]
["RT83-04-05-02","INFRASTRUCTURE AND LIGHTNING PROTECTION","EARTHING RODS","EACH","LIMPOPO"]
["RT83-04-05-03","INFRASTRUCTURE AND LIGHTNING PROTECTION","EQUIPOTENTIAL BONDING","EACH","LIMPOPO"]
["RT83-04-05-04","LIGHTNING PROTECTION","SUPPLY AND INSTALLATION OF A LIGHTNING PROTECTION SYSTEM FOR BULK FUEL STORAGE TANKS AND ASSOCIATED INFRASTRUCTURE","EACH","LIMPOPO"]
["RT83-04-06-01","INFRASTRUCTURE AND LIGHTNING PROTECTION","SUPPLY AND INSTALLATION OF A LIGHTNING PROTECTION SYSTEM FOR BULK FUEL STORAGE TANKS AND ASSOCIATED INFRASTRUCTURE","EACH","MPUMALANGA "]
["RT83-04-06-02","INFRASTRUCTURE AND LIGHTNING PROTECTION","EARTHING RODS","EACH","MPUMALANGA "]
["RT83-04-06-03","INFRASTRUCTURE AND LIGHTNING PROTECTION","EQUIPOTENTIAL BONDING","EACH","MPUMALANGA "]
["RT83-04-06-04","LIGHTNING PROTECTION","SUPPLY AND INSTALLATION OF A LIGHTNING PROTECTION SYSTEM FOR BULK FUEL STORAGE TANKS AND ASSOCIATED INFRASTRUCTURE","EACH","MPUMALANGA "]
["RT83-04-07-01","INFRASTRUCTURE AND LIGHTNING PROTECTION","SUPPLY AND INSTALLATION OF A LIGHTNING PROTECTION SYSTEM FOR BULK FUEL STORAGE TANKS AND ASSOCIATED INFRASTRUCTURE","EACH","NORTH WEST "]
["RT83-04-07-02","INFRASTRUCTURE AND LIGHTNING PROTECTION","EARTHING RODS","EACH","NORTH WEST "]
["RT83-04-07-03","INFRASTRUCTURE AND LIGHTNING PROTECTION","EQUIPOTENTIAL BONDING","EACH","NORTH WEST "]
["RT83-04-07-04","LIGHTNING PROTECTION","SUPPLY AND INSTALLATION OF A LIGHTNING PROTECTION SYSTEM FOR BULK FUEL STORAGE TANKS AND ASSOCIATED INFRASTRUCTURE","EACH","NORTH WEST "]
["RT83-04-08-01","INFRASTRUCTURE AND LIGHTNING PROTECTION","SUPPLY AND INSTALLATION OF A LIGHTNING PROTECTION SYSTEM FOR BULK FUEL STORAGE TANKS AND ASSOCIATED INFRASTRUCTURE","EACH","NORTHEN CAPE "]
["RT83-04-08-02","INFRASTRUCTURE AND LIGHTNING PROTECTION","EARTHING RODS","EACH","NORTHEN CAPE "]
["RT83-04-08-03","INFRASTRUCTURE AND LIGHTNING PROTECTION","EQUIPOTENTIAL BONDING","EACH","NORTHEN CAPE "]
["RT83-04-08-04","LIGHTNING PROTECTION","SUPPLY AND INSTALLATION OF A LIGHTNING PROTECTION SYSTEM FOR BULK FUEL STORAGE TANKS AND ASSOCIATED INFRASTRUCTURE","EACH","NORTHEN CAPE "]
["RT83-04-09-01","INFRASTRUCTURE AND LIGHTNING PROTECTION","SUPPLY AND INSTALLATION OF A LIGHTNING PROTECTION SYSTEM FOR BULK FUEL STORAGE TANKS AND ASSOCIATED INFRASTRUCTURE","EACH","WESTEN CAPE "]
["RT83-04-09-02","INFRASTRUCTURE AND LIGHTNING PROTECTION","EARTHING RODS","EACH","WESTEN CAPE "]
["RT83-04-09-03","INFRASTRUCTURE AND LIGHTNING PROTECTION","EQUIPOTENTIAL BONDING","EACH","WESTEN CAPE "]
["RT83-04-09-04","LIGHTNING PROTECTION","SUPPLY AND INSTALLATION OF A LIGHTNING PROTECTION SYSTEM FOR BULK FUEL STORAGE TANKS AND ASSOCIATED INFRASTRUCTURE","EACH","WESTEN CAPE "]

{"sheet":"CATD1 Ligtning Maint & Rep","index":5,"n_rows":10,"n_cols":14,"rows_kept":10}
["ITEM NUMBER ","CATEGORY","ITEM DESCRIPTION","UNIT OF MEASURE","BIDDER NAME","PROVINCE ","LPS Desingers :LABOUR RATE (R/Hour)","Electrician: LABOUR RATE (R/Hour)","TRAVELLING (R/km)","TRAVELLING TIME  (R/Hour)","SUBSISTENCE ALLOWANCE PER NIGHT OUT (R/Night)","PERCENTAGE MARK UP ON REPLACEMENT PARTS/SURCHARGE ON OUTWORK (%)","THE FACTOR FOR CALCULATING NORMAL OVERTIME","TOTAL VALUE (Comparative Pricing) "]
["RT83-04-01-07","INFRASTRUCTURE AND LIGHTNING PROTECTION","MAINTENANCE AND REPAIRS: LIGHTNING PROTECTION \n","EACH",null,"EASTEN CAPE "]
["RT83-04-02-07","INFRASTRUCTURE AND LIGHTNING PROTECTION","MAINTENANCE AND REPAIRS: LIGHTNING PROTECTION \n","EACH",null,"FREE STATE"]
["RT83-04-03-07","INFRASTRUCTURE AND LIGHTNING PROTECTION","MAINTENANCE AND REPAIRS: LIGHTNING PROTECTION \n","EACH",null,"GAUTENG "]
["RT83-04-04-07","INFRASTRUCTURE AND LIGHTNING PROTECTION","MAINTENANCE AND REPAIRS: LIGHTNING PROTECTION \n","EACH",null,"KWAZULU NATAL "]
["RT83-04-05-07","INFRASTRUCTURE AND LIGHTNING PROTECTION","MAINTENANCE AND REPAIRS: LIGHTNING PROTECTION \n","EACH",null,"LIMPOPO"]
["RT83-04-06-07","INFRASTRUCTURE AND LIGHTNING PROTECTION","MAINTENANCE AND REPAIRS: LIGHTNING PROTECTION \n","EACH",null,"MPUMALANGA "]
["RT83-04-07-07","INFRASTRUCTURE AND LIGHTNING PROTECTION","MAINTENANCE AND REPAIRS: LIGHTNING PROTECTION \n","EACH",null,"NORTH WEST "]
["RT83-04-08-07","INFRASTRUCTURE AND LIGHTNING PROTECTION","MAINTENANCE AND REPAIRS: LIGHTNING PROTECTION \n","EACH",null,"NORTHEN CAPE "]
["RT83-04-09-07","INFRASTRUCTURE AND LIGHTNING PROTECTION","MAINTENANCE AND REPAIRS: LIGHTNING PROTECTION \n","EACH",null,"WESTEN CAPE "]

{"sheet":"CATE Maint & Repairs ","index":6,"n_rows":10,"n_cols":16,"rows_kept":10}
["ITEM NUMBER ","CATEGORY","ITEM DESCRIPTION","UNIT OF MEASURE","BIDDER NAME","PROVINCE ","Civil and/or Mechanical Engineer:LABOUR RATE (R/Hour)","Master Electrician/Electrician: LABOUR RATE (R/Hour)","Artisan and Welder:LABOUR RATE (R/Hour)","Technicians (testing): LABOUR RATE (R/Hour)","TRAVELLING (R/km)","TRAVELLING TIME  (R/Hour)","SUBSISTENCE ALLOWANCE PER NIGHT OUT (R/Night)","PERCENTAGE MARK UP ON REPLACEMENT PARTS/SURCHARGE ON OUTWORK (%)","THE FACTOR FOR CALCULATING NORMAL OVERTIME","TOTAL VALUE (Comparative Pricing) "]
["RT83-05-01-01","MAINTENANCE & REPAIRS","MAINTENANCE AND REPAIRS: PUMPING EQUIPMENT, TANKS, FORECOURT \n","EACH",null,"EASTEN CAPE "]
["RT83-05-02-01","MAINTENANCE & REPAIRS","MAINTENANCE AND REPAIRS: PUMPING EQUIPMENT, TANKS, FORECOURT \n","EACH",null,"FREE STATE"]
["RT83-05-03-01","MAINTENANCE & REPAIRS","MAINTENANCE AND REPAIRS: PUMPING EQUIPMENT, TANKS, FORECOURT \n","EACH",null,"GAUTENG "]
["RT83-05-04-01","MAINTENANCE & REPAIRS","MAINTENANCE AND REPAIRS: PUMPING EQUIPMENT, TANKS, FORECOURT \n","EACH",null,"KWAZULU NATAL "]
["RT83-05-05-01","MAINTENANCE & REPAIRS","MAINTENANCE AND REPAIRS: PUMPING EQUIPMENT, TANKS, FORECOURT \n","EACH",null,"LIMPOPO"]
["RT83-05-06-01","MAINTENANCE & REPAIRS","MAINTENANCE AND REPAIRS: PUMPING EQUIPMENT, TANKS, FORECOURT \n","EACH",null,"MPUMALANGA "]
["RT83-05-07-01","MAINTENANCE & REPAIRS","MAINTENANCE AND REPAIRS: PUMPING EQUIPMENT, TANKS, FORECOURT \n","EACH",null,"NORTH WEST "]
["RT83-05-08-01","MAINTENANCE & REPAIRS","MAINTENANCE AND REPAIRS: PUMPING EQUIPMENT, TANKS, FORECOURT \n","EACH",null,"NORTHEN CAPE "]
["RT83-05-09-01","MAINTENANCE & REPAIRS","MAINTENANCE AND REPAIRS: PUMPING EQUIPMENT, TANKS, FORECOURT \n","EACH",null,"WESTEN CAPE "]

{"sheet":"CATF FuelTesting ","index":7,"n_rows":10,"n_cols":13,"rows_kept":10}
["ITEM NUMBER ","CATEGORY","ITEM DESCRIPTION","UNIT OF MEASURE","BIDDER NAME","PROVINCE ","MANUFACTURER","BRAND NAME ","COUNTRY OF ORIGIN","DOES IT CONFORM WITH SPECIFICATION","ANALYSIS TIME \n(IN DAYS)","LEAD TIME \n(DAYS)","PRICE PER UNIT INCLUDING VAT AND DELIVERY"]
["RT83-06-01-01","FUEL TESTING AND QUALITY CONTROL ","FUEL ANALYSIS","EACH ",null,"EASTERN CAPE"]
["RT83-06-02-01","FUEL TESTING AND QUALITY CONTROL ","FUEL ANALYSIS","EACH ",null,"FREE STATE"]
["RT83-06-03-01","FUEL TESTING AND QUALITY CONTROL ","FUEL ANALYSIS","EACH ",null,"GAUTENG"]
["RT83-06-04-01","FUEL TESTING AND QUALITY CONTROL ","FUEL ANALYSIS","EACH ",null,"KWAZULU NATAL"]
["RT83-06-05-01","FUEL TESTING AND QUALITY CONTROL ","FUEL ANALYSIS","EACH ",null,"LIMPOPO"]
["RT83-06-06-01","FUEL TESTING AND QUALITY CONTROL ","FUEL ANALYSIS","EACH ",null,"MPUMALANGA"]
["RT83-06-07-01","FUEL TESTING AND QUALITY CONTROL ","FUEL ANALYSIS","EACH ",null,"NORTH WEST"]
["RT83-06-08-01","FUEL TESTING AND QUALITY CONTROL ","FUEL ANALYSIS","EACH ",null,"NORTHERN CAPE"]
["RT83-06-09-01","FUEL TESTING AND QUALITY CONTROL ","FUEL ANALYSIS","EACH ",null,"WESTERN CAPE"]