Eskom holdings SOC ltd

Contract number _________
contract title




	[image: image1.jpg]R Eskom






NEC3 Supply Contract (SC3)
	Between


	ESKOM HOLDINGS SOC Ltd 

(Reg No. 2002/015527/30)

	and


	[Insert at award stage]

(Reg No. ___________ )

	for


	Supply and delivery of various production equipment for Gauteng Cluster for the period of 60 months on an “as and when required” basis. 

 Insert title of the goods and services

	
	

	Contents:


	
	No of pages

	Part C1
	Agreements & Contract Data
	[●]

	Part C2
	Pricing Data
	[●]

	Part C3
	Scope of Work
	[●]

	
	
	

	CONTRACT No.
	[Insert at award stage]

	
	

	
	

	
	


PART C1:
AGREEMENTS & CONTRACT DATA

	Contents:


	
	No of pages

	C1.1
	Form of Offer and Acceptance 

[to be inserted from Returnable Documents at award stage]
	[●]

	C1.2a
	Contract Data provided by the Purchaser
	[●]

	C1.2b
	Contract Data provided by the Supplier
[to be inserted from Returnable Documents at award stage]
	[●]

	C1.3
	Proforma Guarantees
	[●]


C1.1 Form of Offer & Acceptance

Offer

The Purchaser, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

Supply and delivery of various production equipment for Gauteng Cluster for the period of 60 months on an “as and when required” basis. The tenderer, identified in the Offer signature block, has

	either
	examined the documents listed in the Tender Data and addenda thereto as listed in the Returnable Schedules, and by submitting this Offer has accepted the Conditions of Tender.

	or
	examined the draft contract as listed in the Acceptance section and agreed to provide this Offer.


By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Supplier under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data. 

	
	The offered total of the Prices exclusive of VAT is 
	Rate base

	
	Value Added Tax @ 15% is
	Rate base

	
	The offered total of the amount due inclusive of VAT is

	Rate base

	
	(in words) [●]



This Offer may be accepted by the Purchaser by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Supplier in the conditions of contract identified in the Contract Data.

	Signature(s)


	
	
	

	Name(s)


	
	
	

	Capacity


	
	
	

	For the tenderer:

	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	

	
	


Acceptance

By signing this part of this Form of Offer and Acceptance, the Purchaser identified below accepts the tenderer’s Offer.  In consideration thereof, the Purchaser shall pay the Supplier the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Purchaser and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in: 

Part C1

Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2

Pricing Data

Part C3

Scope of Work:  Goods Information including Supply Requirements

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Purchaser’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).  

	Signature(s)


	
	
	

	Name(s)
	
	
	

	Capacity


	
	
	

	for the Purchaser


	Eskom Holdings SOC Limited

2 Maxwell Drive

Sunninghill, Sandton

Johannesburg


	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	


Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

Schedule of Deviations to be completed by the Purchaser prior to contract award

Note:

1.  This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.
2. The extent of deviations from the tender documents issued by the Purchaser prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

3. A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

	No.
	Subject
	Details

	1
	[●]
	[●]

	2
	[●]
	[●]

	3
	[●]
	[●]

	4
	[●]
	[●]

	5
	[●]
	[●]

	6
	[●]
	[●]

	7
	[●]
	[●]

	
	
	


By the duly authorised representatives signing this Schedule of Deviations below, the Purchaser and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of Offer and Acceptance.  

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement. 

	
	For the tenderer:


	
	For the Purchaser



	Signature


	
	
	

	Name
	
	
	

	Capacity


	
	
	

	On behalf of
	(Insert name and address of organisation)


	
	Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Sandton, Johannesburg, 2199

	Name & signature of witness
	
	
	

	Date
	
	
	


C1.2 SC3 Contract Data

Part one - Data provided by the Purchaser
Completion of this data in full, according to the Options chosen, is essential to create a complete contract.

	Clause
	Statement
	Data

	1
	General
	

	
	The conditions of contract are the core clauses and the clauses for Options 
	

	
	
	X1:

Price adjustment for inflation

	
	
	X2

Changes in the law

	
	
	X7:

Delay damages

	
	
	Z:

Additional conditions of contract

	
	of the NEC3 Supply Contract (April 2013) 

	(If the December 2009 edition is to be used delete April 2013 and replace by December 2013)

	10.1
	The Purchaser is (name):
	Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa

	
	Address
	Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg

	
	Tel No.
	[●]

	
	Fax No.
	[●]

	10.1
	The Supply Manager is (name): 
	Mr Xolisa Gabela

	
	Address
	1 Dale Road, Eskom Academy of Learning, Midrand

	
	Tel
	+27 11 372 2505

	
	Fax
	[●]

	
	e-mail
	gabelax@eskom.co.za

	11.2(13)
	The goods are 
	Production equipment

	11.2(13)
	The services are 
	Supply and delivery of  production equipment within Gauteng Cluster on “an as and when required” basis for period of 60 months

	11.2(14)
	The following matters will be included in the Risk Register
	[●]

	11.2(15)
	The Goods Information is in 
	Part 3: Scope of Work and all documents and drawings to which it makes reference.

	11.2(15)
	The Supply Requirements as part of the Goods Information is in 
	Annexure A to this Contract Data

	12.2
	The law of the contract is the law of 
	The Republic of South Africa

	13.1
	The language of this contract is 
	English

	13.3
	The period for reply is
	1week

	2
	The Supplier’s main responsibilities
	Data required by this section of the core clauses is provided by the Supplier in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data.

	3
	Time
	

	30.1
	The starting date is.
	TBC

	30.1
	The delivery date of the goods and services is:
	goods and services 
	delivery date

	
	
	1
	As per Task Order
	As per Task Order

	30.2
	The Supplier does not bring the goods to the Delivery Place more than one week before the Delivery Date.
	No data required

	31.1
	The Supplier is to submit a first programme for acceptance within 
	Within one week of purchase order/s being issued

	32.2
	The Supplier submits revised programmes at intervals no longer than 
	4 weeks

	4
	Testing and defects
	

	42
	The defects date is 
	52 weeks

	43.2
	The defect correction period is 
	 4 weeks

	
	
	

	
	
	

	42.2
	The defects access period is  
	 5 days

	
	
	

	
	
	

	5
	Payment
	

	50.1
	The assessment interval is 
	 5 days upon receipt of pro-forma invoice and signed delivery note issued upon delivery of the goods

	51.1
	The currency of this contract is the 
	South African Rand

	51.2
	The period within which payments are made is
	30 Days upon submission of tax compliance invoice to Eskom finance shares services inclusive of goods receipt 

	51.4
	The interest rate is 


	the publicly quoted prime rate of interest (calculated on a 365 day year) charged from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and 


	6
	Compensation events
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.

	7
	Title
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.

	8
	Risks, liabilities, indemnities and insurance
	

	80.1
	These are additional Purchaser’s risks  
	 None

	
	
	

	
	
	

	88.1
	The Supplier’s liability to the Purchaser for indirect or consequential loss, including loss of profit, revenue and goodwill is limited to
	The total of each purchase order

	88.2
	For any one event, the Supplier’s liability to the Purchaser for loss of or damage to the Purchaser’s property is limited to
	(1) for the Purchaser’s existing and surrounding property in the care, custody and control of the Supplier the amount of the deductible (first amount payable) relevant to the event 

and

(2) for all other existing Purchaser’s property the  applicable deductible as at contract date 


	88.3
	The Supplier’s liability for Defects due to his design which are not notified before the last defects date is limited to:
	Total value of purchase order issued

	88.4
	The Supplier’s total liability to the Purchaser, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to
	Total value of purchase order issued


	88.5
	The end of liability date is 
	one year after Delivery of the whole of the goods and services.

	9
	Termination and dispute resolution
	

	94.1
	The Adjudicator is 
	the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him.  (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA).

	
	Address
	[●]

	
	Tel No.
	[●]

	
	Fax No.
	[●]

	
	e-mail
	[●]

	94.2(3)
	The Adjudicator nominating body is: 
	the Chairman of ICE-SA, a Division of the South African Institution of Civil Engineering, or its successor body (See www.ice-sa.org.za)

	94.4(2)
	The tribunal is: 
	arbitration

	94.4(5)
	The arbitration procedure is 
	the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body.

	94.4(5)
	The place where arbitration is to be held is
	Midrand, South Africa

	
	The person or organisation who will choose an arbitrator 

· if the Parties cannot agree a choice or
· if the arbitration procedure does not state who selects an arbitrator, is
	the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body.

	10
	Data for Option clauses
	

	X1
	Price adjustment for inflation
	

	X1.1
	The base date for indices is 
	One month prior to tender close

	
	The proportions used to calculate the Price Adjustment Factor are:
	proportion
	linked to index for
	Index prepared by

	
	
	0.75
	Table D2- Consumer price Index
	SEIFSA

	
	
	0.10
	Table L2- Road Freight Costs
	SEIFSA

	
	
	0.15
	non-adjustable
	

	
	
	1.00


	
	

	X2
	Changes in the law
	

	X2.1
	A change in the law of 


	[●] is a compensation event if it occurs after the Contract Date

	
	
	

	X7
	Delay damages
	

	X7.1
	Delay damages for Delivery are
	Delivery of
	amount per day

	
	
	All production tools
	0,5% per week capped to 2% of outstanding order value not delivered as per specified lead time.

	
	
	
	

	
	
	
	

	
	
	
	

	
	
	

	Z
	The additional conditions of contract are
	Z1 to Z15 always apply for Eskom

	
	

	Z1
	Cession delegation and assignment

	Z1.1
	The Supplier does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Purchaser.

	Z1.2
	Notwithstanding the above, the Purchaser may on written notice to the Supplier cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. 

	
	

	Z2
	Joint ventures

	Z2.1
	If the Supplier constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Purchaser for the performance of this contract.

	Z2.2
	Unless already notified to the Purchaser, the persons or organisations notify the Supply Manager within two weeks of the Contract Date of the key person who has the authority to bind the Supplier on their behalf.

	Z2.3
	The Supplier does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Purchaser having been given to the Supplier in writing.

	
	

	Z3
	Change of Broad Based Black Economic Empowerment (B-BBEE) status

	Z3.1
	Where a change in the Supplier’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Supplier’s B-BBEE status, the Supplier notifies the Purchaser within seven days of the change.

	Z3.2
	The Supplier is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Supply Manager within thirty days of the notification or as otherwise instructed by the Supply Manager.

	Z3.3
	Where, as a result, the Supplier’s B-BBEE status has decreased since the Contract Date the Purchaser may either re-negotiate this contract or alternatively, terminate the Supplier’s obligation to Provide the Goods and Services.

	Z3.4
	Failure by the Supplier to notify the Purchaser of a change in its B-BBEE status may constitute a reason for termination. If the Purchaser terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93.

	
	

	Z4
	Confidentiality

	Z4.1
	The Supplier does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Supplier, enters the public domain or to information which was already in the possession of the Supplier at the time of disclosure (evidenced by written records in existence at that time).  Should the Supplier disclose information to Others in terms of clause 23.1, the Supplier ensures that the provisions of this clause are complied with by the recipient.

	Z4.2
	If the Supplier is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Supply Manager.

	Z4.3
	In the event that the Supplier is, at any time, required by law to disclose any such information which is required to be kept confidential, the Supplier, to the extent permitted by law prior to disclosure, notifies the Purchaser so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure.  In the event that such protective order is not, or cannot, be obtained, then the Supplier may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed.

	Z4.4
	The taking of images (whether photographs, video footage or otherwise) of the goods or any portion thereof, in the course of Providing the Goods and Services and after Delivery, requires the prior written consent of the Supply Manager.  All rights in and to all such images vests exclusively in the Purchaser.  

	Z4.5
	The Supplier ensures that all his subcontractors abide by the undertakings in this clause.

	
	

	Z5
	Waiver and estoppel: Add to core clause 12.3:

	Z5.1
	Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Supply Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing.

	
	

	Z6
	Health, safety and the environment:  Add to core clause 25.4

	Z6.1
	The Supplier undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the provision of the goods and execution of the services. 

Without limitation the Supplier:

· warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of supply and

· undertakes, in and about the execution of the supply, to comply with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing.

	Z6.2
	The Supplier, in and about the execution of the supply, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing.

	
	

	Z7
	Provision of a Tax Invoice and interest.  Add to core clause 51

	Z7.1
	Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice in accordance with the Purchaser's procedures stated in the Goods Information, showing the amount due for payment equal to that stated in the payment certificate.

	Z7.2
	If the Supplier does not provide a tax invoice in the form and by the time required by this contract, the time by when the Purchaser is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice.  Interest due by the Purchaser in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made.

	Z7.3
	The Supplier (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Purchaser’s VAT number 4740101508 on each invoice he submits for payment.

	
	

	Z8
	Notifying compensation events

	Z8.1
	Delete from the last sentence in core clause 61.3 the words, “unless the event arises from the Supply Manager giving an instruction, changing an earlier decision or correcting an assumption”.

	
	

	Z9
	Purchaser’s limitation of liability

	Z9.1
	The Purchaser’s liability to the Supplier for the Supplier’s indirect or consequential loss is limited to R0.00 (zero Rand)

	Z9.2
	The Supplier’s entitlement under the indemnity in 83.1 is provided for in 60.1(12) and the Purchaser’s liability under the indemnity is limited.

	
	

	Z10
	Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it":  

	Z10.1
	   or had a business rescue order granted against it.

	
	

	Z11
	Addition to secondary Option X7 Delay damages (if applicable in this contract)

	Z11.1
	If the amount due for the Supplier’s payment of delay damages reaches the limits stated in this Contract Data for Option X7, the Purchaser may terminate the Supplier’s obligation to Provide the Goods and Services using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table.

	
	

	Z12
	Ethics

	For the purposes of this Z-clause, the following definitions apply:

	Affected Party
	means, as the context requires, any party, irrespective of whether it is the Supplier or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends,

	Coercive Action
	means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally,

	Collusive Action
	means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally,

	Committing Party
	means, as the context requires, the Supplier, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractors or the Subcontractor’s employees,

	Corrupt Action
	means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party,

	Fraudulent Action
	means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation,

	Obstructive Action
	means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and

	Prohibited Action
	means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action.

	Z12.1
	A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof.

	Z12.2
	The Purchaser may terminate the Supplier’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Supplier did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Purchaser has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Purchaser can terminate the Supplier’s obligation to Provide the Services for this reason.

	Z12.3
	If the Purchaser terminates the Supplier’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2.

	Z12.4
	A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Purchaser does not have a contractual bond with the Committing Party, the Supplier ensures that the Committing Party co-operates fully with an investigation.


Z13
Insurance
Z __13.1
Replace core clause 84 with the following:
	Insurance cover
	84
	

	
	84.1
	When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force. 

	
	84.2
	The Supplier provides the insurances stated in the Insurance Table A for events which are at the Supplier’s risk from the starting date until the last defects date or a termination certificate has been issued.

	
	
	


	INSURANCE TABLE A

	Insurance against

Minimum amount of cover or minimum limit of indemnity

Loss of or damage to the goods, plant and materials

The replacement cost where not covered by the Purchaser’s insurance.

The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance.
Liability for loss of or damage to property (except the goods, plant and materials and equipment) and liability for bodily injury to or death of a person (not an employee of the Supplier) caused by activity in connection with this contract

Loss of or damage to property

Purchaser’s property

The replacement cost where not covered by the Purchaser’s insurance.

The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance.
Other property

The replacement cost
Death of or bodily injury

The amount required by the applicable law.

Liability for death of or bodily injury to employees of the Supplier arising out of and in the course of their employment in connection with this contract

The amount required by the applicable law 




Z _13.2

Replace core clause 87 with the following:
	Insurance by the Purchaser
	
	87
	

	
	
	87.1
	The Purchaser provides the insurances stated in the Insurance Table B

	
	
	
	INSURANCE TABLE B

Insurance against or name of policy
Minimum amount of cover or minimum limit of indemnity

Assets All Risk

Per the insurance policy document

Contract Works insurance

Per the insurance policy document

Environmental Liability

Per the insurance policy document
General and Public Liability

Per the insurance policy document
Transportation (Marine)

Per the insurance policy document
Motor Fleet and Mobile Plant

Per the insurance policy document
Terrorism

Per the insurance policy document
Cyber Liability

Per the insurance policy document

Nuclear Material Damage and Business Interruption
Per the insurance policy document
Nuclear Material Damage Terrorism
Per the insurance policy document


	Z14
	Nuclear Liability

	Z14.1
	The Purchaser is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS.

	Z14.2
	The Purchaser is solely responsible for and indemnifies the Supplier or any other person against any and all liabilities which the Supplier or any person may incur arising out of or resulting from nuclear damage, as defined in Act 47 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Supplier or any other person or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser.

	Z14.3
	Subject to clause Z14.4 below, the Purchaser waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Supplier or any other person, or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser.

	Z14.4
	The Purchaser does not waive its rights provided for in section 30 (7) of Act 47 of 1999, or any replacement section dealing with the same subject matter.

	Z14.5
	The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned.

	
	

	Z15
	Asbestos

	For the purposes of this Z-clause, the following definitions apply:

	AAIA
	means approved asbestos inspection authority.

	ACM
	means asbestos containing materials.

	AL
	means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4 hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL.

	Ambient Air
	means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet.

	Compliance Monitoring
	means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	OEL
	means occupational exposure limit.

	Parallel Measurements
	means measurements performed in parallel, yet separately, to existing measurements to verify validity of results.

	Safe Levels
	means  airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	Standard
	means the Purchaser’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles.

	SANAS
	means the South African National Accreditation System.

	TWA
	means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4 hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA.

	Z15.1
	The Purchaser ensures that the Ambient Air in the area where the Supplier will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM.

	Z15.2
	Upon written request by the Supplier, the Purchaser certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Supplier may perform Parallel Measurements and related control measures at the Supplier’s expense. For the purposes of compliance the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z15.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan.

	Z15.3
	The Purchaser manages asbestos and ACM according to the Standard.

	Z15.4
	In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe.

	Z15.5
	The Supplier’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable.

	Z15.6
	The Supplier continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations.

	Z15.7
	Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Purchaser at the Purchaser’s expense, and conducted in line with South African legislation.


Annexure A:
Supply Requirements
[Notes: The example given in the NEC3 Supply Contract Guidance Notes pages 15 to 20 inclusive is based on Incoterms 2000.   However users will probably wish to use Incoterms 2010 which the details below are based on.    Users may need to adjust the information to comply with actual requirements. First decide whether Incoterms will be used or not, then delete the arrangement below which does not apply and delete these notes]

The Supply Requirements for this contract are based on the use of INCOTERMS:

The Supplier supplies the goods in accordance with INCOTERMS 2020
 as follows:

[Select the group and then term within the group which applies and state the applicable delivery place.  Delete all the other groups and this note]
	Group
	Category
	Term
	Delivery Place

	E
	departure
	EXW
	

	F
	main carriage unpaid
	FCA, FAS, FOB
	

	C
	main carriage paid
	CFR, CIF, CPT, CIP
	

	D
	arrival
	DPU, DAP, DDP
	DPU


The Parties obligations described in Incoterms for the category and term selected are now incorporated into this contract as part of the Supply Requirements and hence the Goods Information.  

The obligations of seller and buyer for the selected Incoterm determine each Party's costs, risks and insurance requirements incidental to the supply and transport of the goods from Supplier to Purchaser.

For each of the thirteen terms, Incoterms set out obligations of the seller (the Supplier) in ten paragraphs identified as A1 to A10 and the corresponding obligations of the buyer (the Purchaser) in paragraphs B1 to B10.  These obligations cover the following subjects:

	A
	The Supplier’s obligations
	B
	The Purchaser’s obligations

	A1
	Provision of goods in conformity with contract
	B1
	Payment of the price

	A2
	Licences, authorisations and formalities
	B2
	Licences, authorisations and formalities

	A3 
	Contracts of carriage and insurance
	B3
	Contracts of carriage and insurance

	A4
	Delivery
	B4
	Taking delivery

	A5
	Transfer of risks
	B5
	Transfer of risks

	A6 
	Division of costs
	B6
	Division of costs

	A7
	Notice to the buyer 
	B7
	Notice to the seller

	A8
	Proof of delivery, transport document or equivalent electronic message
	B8
	Proof of delivery, transport document or equivalent electronic message

	A9
	Checking - packing - marking
	B9
	Inspection of goods

	A10
	Other obligations
	B10
	Other obligations


[Should there be a need to amplify any of the published obligations listed above for the chosen INCOTERM, add them here.]

All other information NOT pertinent to the above is given in the balance of the Goods Information
The Supply Requirements for this contract are as follows:

[Use these when INCOTERMS do not apply].  [Revise and complete as required]
	1. The requirements for the supply are
	[State the constraints on how the Supplier manufactures, prototypes, tests and stores the goods including order and timing]

	2. The requirements for transport are 
	[State the extent to which the Supplier transports the goods and the mode of transport]

	3. The delivery place is
	[State the location where the goods are to be placed by the Supplier, such as whether it is a dispatch department at the Supplier’s premises, the Purchaser is to collect or other location the Purchaser may require. If the delivery place for the services is different to the goods state it here]

	4. Actions of the Parties during supply
	Action
	Party which does it

	
	Giving notice of Delivery
	

	
	Checking packing and marking before dispatch
	

	
	Contracting for transport
	

	
	Pay costs of transport
	

	
	Arrange access to delivery place
	

	
	Loading the goods
	

	
	Unloading the goods
	

	For international procurement
	Undertake export requirements
	

	
	Undertake import requirements
	

	5. Information to be provided by the Supplier 
	Title of document

	
	Packing lists for cases and their contents

	
	Copy of invoice for the goods

	
	Delivery Note

	
	Test results and maintenance manuals

	For  international procurement
	Licences, authorisations and other formalities associated with export of the goods 

	
	Air Waybill or Bill of Lading with associated landing, delivery and forwarding order 

	
	The Bill of Entry endorsed by the importation authority

	
	Customs work sheets, showing tax, duties and surcharges which the law of the country into which the goods are being imported requires the importer to pay

	
	Invoice from the importation clearing agent showing airline fees, landing charges, wharfage and dock dues as applicable

	
	Specify other import documents required by authorised officials. 


All other information NOT pertinent to the above is given in the balance of the Goods Information

C1.2 Contract Data

Part two - Data provided by the Supplier
Notes to a tendering supplier:

1. Please read both the NEC3 Supply Contract (SC3)
 and the relevant parts of its Guidance Notes (SC3-GN)
 in order to understand the implications of this Data which the tenderer is required to complete.  

2. The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data

3. Where a form field like this [     ] appears, data is required to be inserted relevant to the option selected. Click on the form field once and type in the data.  Otherwise complete by hand and in ink.

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

	Clause
	Statement
	Data

	10.1
	The Supplier is (Name):
	     

	
	Address
	     

	
	Tel No.
	     

	
	Fax No.
	     

	11.2(8)
	The Goods Information for the Supplier’s design is in:
	     

	11.2(11)
	The tendered total of the Prices is
	R     , 

      (in words)

	11.2(12)
	The price schedule is in:
	

	11.2(14)
	The following matters will be included in the Risk Register
	     

	25.2
	The restrictions to access for the Supply Manager and Others to work being done for this contract are
	     

	30.1
	The delivery date of the goods and services is:
	goods and services 
	delivery date

	
	
	1
	[●]
	[●]

	
	
	2
	[●]
	[●]

	
	
	3
	[●]
	[●]

	31.1
	The programme identified in the Contract Data is contained in:
	     

	63.2
	The percentage for overheads and profit added to the Defined Cost is
	     %


Part 2: Pricing Data

NEC3 Supply Contract
	Document reference
	Title
	No of pages

	C2.1
	Pricing assumptions
	2

	C2.2
	The price schedule 
	[●]


C2.1 Pricing assumptions

How goods and services are priced and assessed for payment

Clause 11 in NEC3 Supply Contract, (SC3) core clauses states:

	Identified and defined terms
	11

11.2
	(11) The Prices are the amounts stated in the price column of the Price Schedule.  Where a quantity is stated for an item in the Price Schedule, the Price is calculated by multiplying the quantity by the rate.



	
	
	(12) The Price Schedule is the price schedule unless later changed in accordance with this contract.



	Assessing the amount due
	50.2
	The amount due is

· the Price for each lump sum item in the Price Schedule which the Supplier has completed, 
· where a quantity is stated for an item in the Price Schedule, an amount calculated by multiplying the quantity which the Supplier has completed by the rate,

· plus other amounts to be paid to the Supplier,

· less amounts to be paid by or retained from the Supplier.
Any tax which the law requires the Purchaser to pay to the Supplier is included in the amount due.




This confirms that the Supply Contract is a priced contract where the Prices are derived from a list of items of goods and services which can be priced as lump sums or as expected quantities of goods and services multiplied by a rate, or a mix of both.

Function of the Price Schedule

Clause 53.1 states: “Information in the Price Schedule is not Goods Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price Schedule but in the Goods Information.  This is further confirmed by Clause 20.1 which states, “The Supplier Provides the Goods and Services in accordance with the Goods Information”. Hence the Supplier does not Provide the Goods and Services in accordance with the Price Schedule.   The Price Schedule is only a pricing document.  

Preparing the price schedule
Items in the price schedule may have been inserted by the Purchaser and the tendering supplier should insert any additional items which he considers necessary.  Whichever party provides the items in the price schedule the total of the Prices is assumed to be fully inclusive of everything necessary to Provide the Goods and Services as described at the time of entering into this contract.

It will be assumed that the tendering supplier has 

· Read Pages 8, 11, 12 and Appendix 5 of the SC3 Guidance Notes before preparing the price schedule;
· Included in his Prices and rates for correction of Defects (core clause 43.1) as there is no compensation event for this unless the Defect is due to a Supplier’s risk;

· Spread the cost of doing work he chooses not to list as separate items in the price schedule across other Prices and rates in order to fulfil the obligation to Provide the Goods and Services for the tendered total of the Prices; 
· Understood that there is no adjustment to lump sum prices in the price schedule if the amount, or quantity, of work within that lump sum item later turns out to be different to that which the Supplier estimated at time of tender. The only basis for a change to the Prices is as a result of a compensation event per clause 60.1;
· Understood that the Supplier does not have to allow in his Prices and rates for matters that may arise as a result of a compensation event.
Format of the price schedule
Entries in the first four columns in the price schedule in section C2.2 are made either by the Purchaser or the tendering supplier. 

If the Supplier is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering supplier enters the amount in the Price column only, the Unit, Quantity and Rate columns being left blank.

If the Supplier is to be paid an amount for the item which is the rate for the item multiplied by the quantity completed, the tendering Supplier enters the rate which is then multiplied by the Quantity to produce the Price, which is also entered.

If the Supplier is to be paid an amount for an item proportional to the length of time for which the goods and services are provided, a unit of time is stated in the Unit column and the length of time (as a quantity of the stated units of time) is stated in the Quantity column.

C2.2 the price schedule
	Category
	SAP stock no
	SAP Purchase Description
	Qty
	Rate

	1.Lifting Equipment
	723426
	SLING, CHAIN: TYPE: ADJUSTABLE; DIMENSIONS: LG 1.5 M; MATERIAL: ALLOY STEEL; CAPACITY: 3 T; LEG QUANTITY: 2 :
	 1
	 

	
	723427
	SLING, CHAIN: TYPE: ADJUSTABLE; DIMENSIONS: LG 3 M; MATERIAL: ALLOY STEEL; CAPACITY: 3 T; LEG QUANTITY: 2 : 
	 1
	 

	
	723869
	SLING, WEB: CAPACITY: 3 T; LENGTH: 1 M; : LIFTING DUPLEX FLAT
	 1
	 

	
	723870
	SLING, WEB: MATERIAL: POLYESTER; CAPACITY: 1 T; LENGTH: 3 M , LIFTING DUPLEX FLAT
	 1
	 

	
	723428
	SLING, WEB: TYPE: (2) SIDE FOLDED EYE; WIDTH: 50 MM; MATERIAL: POLYESTER HIGH TENACITY; CAPACITY: 3 T; LENGTH: 800 MM; THICKNESS: 1.7 MM ; ENDLESS NYLON SLING
	 1
	 

	
	723429
	SLING, WEB: TYPE: (2) SIDE FOLDED EYE; WIDTH: 25 MM; MATERIAL: POLYESTER; CAPACITY: 700 KG; LENGTH: 500 MM; THICKNESS: 0.87 MM  : ENDLESS NYLON SLING
	 1
	 

	
	723430
	SLING, WEB: TYPE: (2) SIDE FOLDED EYE; WIDTH: 25 MM; MATERIAL: POLYESTER; CAPACITY: 1.2 T; LENGTH: 1.2 M; THICKNESS: 1.35 MM  ; : ENDLESS NYLON SLING
	 1
	 

	
	723431
	SLING, WEB: TYPE: (2) SIDE FOLDED EYE; WIDTH: 25 MM; MATERIAL: POLYESTER; CAPACITY: 2 T; LENGTH: 1.5 M; THICKNESS: 1.85 MM  ; : ENDLESS NYLON SLING
	 1
	 

	
	723432
	SLING, CHAIN: TYPE: CLEVIS HOOK WITH LATCH; DIMENSIONS: 1 M; MATERIAL: STEEL; CAPACITY: 1 T; LEG QUANTITY: 1 ;:  CHAIN SLINGS
	 1
	 

	
	723433
	SLING, CHAIN: TYPE: CLEVIS HOOK WITH LATCH; DIMENSIONS: LG 3 M; MATERIAL: STEEL ALLOY; CAPACITY: 1 T; LEG QUANTITY: 1 ; :  CHAIN SLINGS
	 1
	 

	
	723434
	SLING, CHAIN: TYPE: CLEVIS HOOK WITH LATCH; DIMENSIONS: LG 1 M; MATERIAL: STEEL ALLOY; CAPACITY: 3 T; LEG QUANTITY: 1 ;:  CHAIN SLINGS
	 1
	 

	
	723435
	SLING, CHAIN: TYPE: CLEVIS HOOK WITH LATCH; DIMENSIONS: LG 3 M; MATERIAL: STEEL ALLOY; CAPACITY: 3 T; LEG QUANTITY: 1
	 1
	 

	
	723436
	SLING, CHAIN: TYPE: CLEVIS HOOK WITH LATCH; DIMENSIONS: LG 3 M; MATERIAL: STEEL ALLOY; CAPACITY: 5 T; LEG QUANTITY: 1  : CHAIN SLINGS
	 1
	 

	
	723449
	SLING, CHAIN: TYPE: CLEVIS HOOK WITH LATCH; DIMENSIONS: LG 5 M; MATERIAL: STEEL ALLOY; CAPACITY: 5 T; LEG QUANTITY: 4 : CHAIN SLINGS
	 1
	 

	
	723616
	SLING, CHAIN: TYPE: CLEVIS HOOK WITH LATCH; DIMENSIONS: LG 5 M; MATERIAL: STEEL ALLOY; CAPACITY: 3 T; LEG QUANTITY: 4  : CHAIN SLINGS
	 1
	 

	
	723651
	SHACKLE: TYPE: D; DIAMETER: 18 MM; MATERIAL: STEEL DROP FORGED; LOAD RATING: 1.5 T; PIN: 19 MM; INSIDE WIDTH: 68 MM; INSIDE LENGTH: 37 MM ;  CHAIN SLINGS
	 1
	 

	
	723697
	SHACKLE: TYPE: D; DIAMETER: 27 MM; MATERIAL: STEEL DROP FORGED; LOAD RATING: 3 T; PIN: 24 MM; INSIDE WIDTH: 80 MM; INSIDE LENGTH: 51 MM  :  CHAIN SLINGS
	 1
	 

	
	723871
	HOIST: TYPE: LEVER; CAPACITY: 0.75 T; CHAIN DIA 6 MM X LG 1.5 M; HOOK SIZE 147 MM,
	 1
	 

	
	723872
	HOIST: TYPE: LEVER; CAPACITY: 1.5 T; CHAIN DIA 8 MM X LG 1.5 M: HOOK SIZE 175 MM ; 
	 1
	 

	
	723873
	HOIST: TYPE: LEVER; CAPACITY: 3 T; CHAIN DIA 10 MM X LG 1.5 M; HOOK IZE 195 MM;
	 1
	 

	
	723737
	PULLEY: TYPE: SNATCH; DIAMETER: 120 MM; MATERIAL: STEEL FORGED; GROOVE: 10-14 MM; WIDTH: 32 MM  :  LIFTING
	 1
	 

	
	723874
	RATCHET: LOAD CAPACITY: 0.75 T ;
	 1
	 

	
	723875
	RATCHET: LOAD CAPACITY: 1 T
	 1
	 

	
	723880
	CUTTER: TYPE: CUTTER, HAND; SIZE: 50 MM; MATERIAL: METAL , 
	1
	

	
	723881
	GRIP, CABLE: TYPE: PULLING INNER; MATERIAL: STEEL; CONDUCTOR: 35 MM 
	1
	

	
	723882
	GRIP, CABLE: TYPE: PULLING INNER; MATERIAL: STEEL; CONDUCTOR: 70 MM ;
	1
	

	
	723883
	DRUM: TYPE: RUNNING BLOCK SHD; DIMENSIONS: DIA 120 X WD 30 MM; MATERIAL: NYLON
	1
	

	
	723886
	DRUM: TYPE: RUNNING BLOCK SHD; DIMENSIONS: DIA 320 X WD 60 MM; MATERIAL: NYLON
	1
	

	
	723887
	DRUM: TYPE: RUNNING BLOCK 300; DIMENSIONS: DIA 450 X WD 30 ; WEIGT: 1000KG ; MATERIAL: ALUMINIUM 
	1
	

	
	723763
	ASSEMBLY: TYPE: HAND LINE; APPLICATION: PULLEY 120 MM; LENGTH 24M ;  ID#: HO-HLB-C-24PA-BE
	1
	

	
	723888
	ROPE: MATERIAL: POLYPROPYLENE; DIMENSIONS: DIA 12 MM X LG 100 M
	1
	

	
	723764
	STAND: TYPE: ADJUSTABLE; MECHANICAL CABLE DRUM; AXLE HEIGHT FROM 0.3 TO 1.1 M - RATED LOAD 30 KN
	1
	

	
	723765
	STAND: TYPE: ADJUSTABLE; MECHANICAL CABLE DRUM; AXLE HEIGHT FROM 0.3 TO 1.1 M - RATED LOAD 100 KN
	1
	

	
	723766
	STAND: TYPE: HORIZONTAL; DIMENSIONS: DIA 1.5 M; HYDRAULIC CABLE DRUM (SBT-1500)
	1
	

	
	723906
	METER: TYPE: CABLE MEASURING; RANGE: 6-76 MM: SKU: 2600
TRUMETER 
	1
	

	
	 
	TOOL: TYPE: CUTTING; DISCRIPTION : ALUMIN WIRE RATCH CUTTER 30MM D REPL ; 
	1
	

	
	723907
	ASSEMBLY: TYPE: ROLLER; APPLICATION: GROUND CORNER CABLE; MANUF P/N: SHL3N; RATED LOAD 10KN; CABLE DIA 120-200 MM; WEIGHT 9-26 KG
	1
	

	2.Rigging Equipment
	723753
	GRIP: TYPE: WIRE; MATERIAL: STEEL; LARGE EYE LEVER WITH SAFETY LATCH; COME ALONG 1 TON ; 
	 1
	 

	
	723754
	GRIP: TYPE: WIRE; MATERIAL: STEEL; LARGE EYE LEVER WITH SAFETY LATCH; COME ALONG 2 TON  ; 
	 1
	 

	
	723755
	GRIP: TYPE: WIRE; MATERIAL: STEEL; LARGE EYE LEVER WITH SAFETY LATCH; COME ALONG 3 TON  ; 
	 1
	 

	
	723756
	GRIP: TYPE: WIRE; MATERIAL: ALUMINIUM; LARGE EYE LEVER WITH SAFETY LATCH; COME ALONG  1 TON  ; MAKE: 
	 1
	 

	
	723757
	GRIP: TYPE: WIRE; MATERIAL: ALUMINIUM; LARGE EYE LEVER WITH SAFETY LATCH; COME ALONG  2 TON  ;
	 1
	 

	
	723758
	GRIP: TYPE: WIRE; MATERIAL: ALUMINIUM; LARGE EYE LEVER WITH SAFETY LATCH; COME ALONG  3 TON  
	 1
	 

	
	723759
	PUNCH: TYPE: CHASER; POINT SIZE: 18-20 MM; LENGTH: 127-152 MM
	 1
	 

	
	723760
	WRENCH, TORQUE: DRIVE SIZE: 3/8 IN; RATING: 10-50 NM; GRADUATIONS: 10-50 NM; LENGTH: 360 MM
	 1
	 

	
	723877
	GRIP, CABLE: TYPE: PULLING OUTER; MATERIAL: NYLON; CONDUCTOR: 35-185 MM3
	 1
	 

	
	723876
	SWIVEL: TYPE: PULLING; DIMENSIONS: DIA 32 X LG 126 MM; CAPACITY: 11 KN; PIN DIA 10 MM; RECESS 14 MM : CCE 32MM
	 1
	 

	3. Electrical Crimpers
	723767
	CRIMPER: TYPE: BATTERY OPERATED; CRIMPING RANGE: 10-240 MM2; FURNISHED ITEMS: CASE; CHARGER; (2) SPARE BATTERY
	 1
	 

	
	723768
	CRIMPER: TYPE: 6 TON, BATTERY OPERATED; CRIMPING RANGE: 10-240 MM2; JAW TYPE: HEX NARROW PROFILE R18; CASE; CHARGER; 2 BATTERIES 18V/2-3AH; FULL DIE SET :
	 1
	 

	
	723769
	CRIMPER: TYPE: BATTERY OPERATED; CRIMPING RANGE: 16-400 MM2; JAW TYPE: HEX; DESIGN TYPE: 12 TON; FURNISHED ITEMS: CASE; CHARGER; (2) SPARE BATTERY; FULL DIE SET ECT400 16-400MM BATTERY POWERED CRIMPING TOOL
	 1
	 

	
	 
	Hydraulic Indent Crimper Kit Internal Dies C-Head 25-120mm  
	 1
	 

	4. Mechanical Crimping Equipment
	723770
	CRIMPER: TYPE: MECHANICAL; CRIMPING RANGE: 6; 10; 16; 25; 35; 50 MM2; JAW TYPE: HEX
	 1
	 

	
	723771
	CRIMPER: TYPE: MECHANICAL TOOL; CRIMPING RANGE: 10-120 MM; JAW TYPE: HEX
	 1
	 

	
	723772
	CRIMPER: TYPE: HYDRAULIC HAND; CRIMPING RANGE: 6-95 MM
	 1
	 

	
	723773
	CRIMPER: TYPE: PRE-INSULATED TERMINAL; CRIMPING RANGE: 0.5-6 MM
	 1
	 

	
	723774
	CRIMPER: TYPE: BARE TERMINAL; CRIMPING RANGE: 0.5-10 MM
	 1
	 

	
	723775
	CRIMPER: TYPE: DIE DA7; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 30 TON
	 1
	 

	
	723776
	CRIMPER: TYPE: DIE DA8; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 30 TON
	 1
	 

	
	723777
	CRIMPER: TYPE: DIE DA9; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 30 TON
	 1
	 

	
	723778
	CRIMPER: TYPE: DIE DA10; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 30 TON
	 1
	 

	
	723779
	CRIMPER: TYPE: DIE DA13; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 30 TON
	 1
	 

	
	723780
	CRIMPER: TYPE: DIE DS7; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 30 TON
	 1
	 

	
	723781
	CRIMPER: TYPE: DIE DS8; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 30 TON
	 1
	 

	
	723782
	CRIMPER: TYPE: DIE DS10; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 30 TON
	 1
	 

	
	723783
	CRIMPER: TYPE: DIE DS12; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 30 TON
	 1
	 

	
	723784
	CRIMPER: TYPE: DIE DA7; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 60 TON
	 1
	 

	
	723785
	CRIMPER: TYPE: DIE DA8; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 60 TON
	 1
	 

	
	723786
	CRIMPER: TYPE: DIE DA9; CRIMPING RANGE: 14-76 M; DESIGN TYPE: 60 TON
	 1
	 

	
	723787
	CRIMPER: TYPE: DIE DA10; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 60 TON
	 1
	 

	
	723788
	CRIMPER: TYPE: DIE DA13; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 60 TON
	 1
	 

	
	723789
	CRIMPER: TYPE: DIE DS7; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 60 TON
	 1
	 

	
	723790
	CRIMPER: TYPE: DIE DS8; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 60 TON
	 1
	 

	
	723791
	CRIMPER: TYPE: DIE DS10; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 60 TON
	 1
	 

	
	723792
	CRIMPER: TYPE: DIE DS12; CRIMPING RANGE: 14-76; DESIGN TYPE: 60 TON
	 1
	 

	
	723793
	CRIMPER: TYPE: DIE DA7; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 100 TON
	 1
	 

	
	723794
	CRIMPER: TYPE: DIE DA8; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 100 TON
	 1
	 

	
	723795
	CRIMPER: TYPE: DIE DA9; CRIMPING RANGE: 4-76 MM; DESIGN TYPE: 100 TON
	 1
	 

	
	723796
	CRIMPER: TYPE: DIE DA10; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 100 TON
	 1
	 

	
	723797
	CRIMPER: TYPE: DIE DA13; CRIMPING RANGE: 14-76; DESIGN TYPE: 100 TON
	 1
	 

	
	723798
	CRIMPER: TYPE: DIE DS7; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 100 TON
	 1
	 

	
	723799
	CRIMPER: TYPE: DIE DS8; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 100 TON
	 1
	 

	
	723800
	CRIMPER: TYPE: DIE DS10; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 100 TON
	 1
	 

	
	723802
	CRIMPER: TYPE: DIE DS12; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 100 TON
	 1
	 

	
	723893
	HOSE: TYPE: HYDRAULIC; INSIDE DIAMETER: 3/8 IN; OUTSIDE DIAMETER: 3/4 IN; LENGTH: 5 M; MATERIAL: STEEL; FOR CRIMPING WITH MALE/FEMALE COUPLINGS
	 1
	 

	
	723894
	HOSE: TYPE: HYDRAULIC; INSIDE DIAMETER: 3/8 IN; OUTSIDE DIAMETER: 3/4 IN; LENGTH: 10 M; MATERIAL: STEEL; FOR CRIMPING WITH MALE AND FEMALE COUPLINGS
	 1
	 

	
	723803
	TOOL: TYPE: CUTTING; STYLE: HAND HYDRAULIC; DIMENSIONS: WD 175 X LG 625.5 MM
	 1
	 

	
	0
	TOOL: TYPE: CRIMPER : STYLE: HAND ; SIZE: 16MMSQ ;  NON INSULATED 1.26 – 16mm 
	 1
	 

	
	723908
	TAMPER: TYPE: TAMPER HYDRAULIC; STYLE: POLE
	 1
	 

	5.Generators
 

 

 

 
	723901
	GENERATOR, ALTERNATING CURRENT: TYPE: DIESEL; POTENTIAL: 230 VAC; PHASE: SINGLE; POWER: 7 KVA; FREQUENCY 50/60 HZ; (2) FRONT WHEEL; (2) SUPPORT FEET/HANDLE
	 1
	 

	
	723902
	GENERATOR, ALTERNATING CURRENT: TYPE: PETROL; POTENTIAL: 230 V; PHASE: THREE; POWER: 7 KVA; FREQUENCY 50/60 HZ; (2) WHEEL FRONT/BACK
	 1
	 

	
	723903
	GENERATOR, ALTERNATING CURRENT: TYPE: PETROL; POTENTIAL: 230 V; PHASE: SINGLE; POWER: 1.5 KVAC; FREQUENCY 50/60 HZ; (2) WHEEL FRONT/BACK
	 1
	 

	
	723904
	GENERATOR, ALTERNATING CURRENT: TYPE: PETROL; POTENTIAL: 230 V; PHASE: SINGLE; POWER: 2.5 KVA; FREQUENCY 50/60 HZ; (2) WHEEL FRONT/BACK
	 1
	 

	
	723905
	GENERATOR, ALTERNATING CURRENT: TYPE: PETROL; POTENTIAL: 230 V; PHASE: SINGLE; POWER: 5 KVA; FREQUENCY 50/60 HZ; (2) WHEEL FRONT/BACK
	 1
	 

	6.Earthing Equipment
	715830
	KIT: TYPE: WORKING EARTH; APPLICATION: OVERHEAD LINE 33 KV; (1) STRANDED CU CABLE 16 MM2 X LG 4.5 M, WITH SCREW ON EARTH CLAMP-FIT EARTH SPIKE;  (1) 2 x STRANDED CU CABLE 16 MM2 X LG 10 M, SNAP ONLINE END CLAMP-FIT CONDUCTOR; RED SHEATHING/CARRY BAG
	 1
	 

	
	179719
	KIT: TYPE: SAFELY EARTHING RED; APPLICATION: 3 X  6M 20KA RATED STRANDED COPPER OVERHEAD LEAD.APPLICATION TO CONDUCTOR IN SUBSTATION. SCREW TYPE CLAMP THAT WORKS WITH LINKSTICK APPLICATOR, AND SCREW TYPE CLAMP FOR STRUCTURE/NIPPLE BOLT 
	 1
	 

	
	175831
	KIT: TYPE: SAFELY EARTHING RED; APPLICATION: 3 X  5M 25MMSQ STRANDED COPPER OVERHEAD APPLICATION TO CONDUCTOR IN SUBSTATION. SCREW TYPE CLAMP THAT WORKS WITH LINKSTICK APPLICATOR, AND SCREW TYPE CLAMP FOR STRUCTURE
	 1
	 

	
	715829
	KIT: TYPE: WORKING EARTH; APPLICATION: OVERHEAD LINE 33 KV; (1) STRANDED CU CABLE 16 MM2 X LG 4.5 M, WITH SCREW ON EARTH CLAMP-FIT EARTH SPIKE; ROD/SCREW ON CLUSTER BAR END CLAMP-FIT 25 MM BAR; (1) STRANDED CU CABLE 16 MM2 X LG 10 M, WITH SCREW ON CLUSTER BAR END CLAMP FIT 25 MM BAR/SNAP ONLINE END CLAMP-FIT CONDUCTOR; YELLOW SHEATHING/CARRY BAG
	 1
	 

	 
	175830
	2X2M X 40 SQUARE MILLIMETER CABLE WITH RED TRANSLUCENT PVC SHEATIHING WITH SNAP ON CLAMPS ON EITHER SIDE, 1 X 12M X 40 SQUARE MILLI METER CABLE WITH RED TRANSLUCENT PVC SHEATING, A SNAP ON CLAMP ON ONE END AND A BRASS EARTH CLAMP ON THE OTHER END, RED HEAVY DUTY CARRY BAG AND APPLICATOR/REMOVAL TOOL.CURRENT RATING 10KA
	 1
	 

	 
	175831
	3 X 12M X 40 SQUARE MILLIMETER CABLE WITH TRANSLUCENT PVC SHEATHING, A SCREW ON LINE CLAMP ON ONE END AND A BRASS EARTH CLAMP ON THE OTHER END.CURRENT RATING OF 10KA. RED HEAVY DUTY BAG AND APPLICATOR.
	 1
	 

	 
	179719
	3 X 6M X 95 SQUARE MILLIMETER CABLE WITH TRANSLUCENT PVC SHEATHING, A SCREW ON LINE CLAMP ON ONE END AND A BRASS EARTH CLAMP ON THE OTHER END.CURRENT RATING OF 20KA. RED HEAVY DUTY BAG AND APPLICATOR HEAD.
	 1
	 

	 
	175829
	2 X 10 M X 16 SQUARE MILLIMETER COPPER CABLES WITH YELLOW TRANSLUCENT PVC SHEATHING , A SNAP ON CLAMP ON ONE END AND A BRASS EARTH CLAMP ON THE OTHER END. 1 X 4 M X 16 SQUARE MILLIMETER CPPER CABLE WITH YELLOW TRANSLUCENT PVC SHEATHING WITH BRASS EARTH CLAMPS ON EAITHER SIDE. 4 X 2M X 16 SQUARE MILLIMETER CABLES WITH YELLOW TRANSLUCENT PVC SHEATHING WITH SNAP ON CLAMPS ON EITHER ENDS. ONE YELLOW HEAVY DUTY CARRY BAG AN APPLICATOR AND 1 CLUSTER BAR. CURRENT RATING 4KA.
	 1
	 

	 
	723911
	KIT: TYPE: WORKING EARTH; APPLICATION: OVERHEAD LINE 132 KV; (1) STRANDED CU CABLE 16 MM2 X LG 4.5 M, WITH SCREW ON EARTH CLAMP-FIT EARTH SPIKE; ROD/SCREW ON CLUSTER BAR END CLAMP-FIT 25 MM BAR; (1) STRANDED CU CABLE 16 MM2 X LG 10 M, WITH SCREW ON CLUSTER BAR END CLAMP FIT 25 MM BAR/SNAP ONLINE END CLAMP-FIT CONDUCTOR; YELLOW SHEATHING/BAG
	 1
	 

	7.Tele comms Equipment
	723820
	RADIO: TYPE: PORTABLE IC F43GT; BANDWIDTH: 450-512 MHZ; POWER SUPPLY: 7.2 V DC VDC; DIMENSIONS: WD 53 X HT 120 X DP 32.5 MM
	 1
	 

	8.Operating Sticks
	723821
	STICK: TYPE: LINE OPERATING; DIMENSIONS: LG 30 FT; MATERIAL: GLASS FIBER
	 1
	 

	
	723826
	STICK: TYPE: MEASURING INSULATED; DIMENSIONS: LG 15 M; MATERIAL: GLASS BIBER; TELESCOPIC
	 1
	 

	
	723841
	METER: TYPE: HV AMP; RANGE: 1-2000 A; READOUT: 3.5 DIGIT; STYLE: STICK; FREQUENCY RANGE: 50 HZ; VOLTAGE RANGE: 0-400 KV; ACCURACY: 1 PCT, 2 COUNT; ALKALINE BATTERY 9 VDC; SHOCK/WATER RESISTANT MOLDED URETHANE
	 1
	 

	
	723822
	STICK: TYPE: SUBSTATION OPERATING; DIMENSIONS: 5.5 M; MATERIAL: FIBERGLASS; DRAWING NO: D-DT-12603; TELESCOPIC; HEAVY DUTY; WITH LEATHER WATER REISTANT CARRYING BAG
	 1
	 

	9.FPI Equipment’s 
	723913
	INDICATOR: TYPE: FAULT PATH MK10; DIMENSIONS: WD 80 X LG 120 X HT 60 MM; RANGE: 1-36 KV; RATING: 25 KA; MONITORING A SINGLE-PHASE CONDUCTOR-OVERHEAD 3-PHASE RADIAL SYSTEM
	 1
	 

	10. Electrical Cutting Equipment
 

 
	723823
	SAW, POWER: TYPE: RECIPROCATING; BLADE SIZE: 50 MM; STYLE: CORDLESS HEAVY DUTY; RATING: 18 VOLT; WITH CASE; CHARGER; (2) LI-ION BATTERY
	 1
	 

	
	723824
	SAW, POWER: TYPE: BATTERY INSULATED; BLADE SIZE: 184 MM; STYLE: LIVE WORK CLEANING; WITH CHARGER (CIGARRETE LIGHT PIN)
	 1
	 

	
	723825
	GLOBAL POSITIONING SYSTEM: TYPE: HANDHELD; DISPLAY: LCD; MAP 78S
	 1
	 

	
	723915
	DRILL, POWER: TYPE: CORDLESS HEAVY DUTY; SPEED: 1500 RPM; CHUCK SIZE: 13 MM; POWER: 650 W; POTENTIAL: 28 V; CASE; CHARGER; (2) BATTERY 5 AH
	 1
	 

	
	723827
	DRILL: TYPE: BT45; CHUCK SIZE: 13 MM; LENGTH: 235 MM; MATERIAL: METAL/PLASTIC; MANUF P/N: BT45
	 1
	 

	
	723922
	DRILL: TYPE: PETROL; LENGTH: 470 MM; MATERIAL: CARBON STEEL; MANUF P/N: EDR400 
	 1
	 

	
	723923
	DRILL, POWER: TYPE: MAGNETIC; SPEED: 1ST GEAR 50-250; 2ND GEAR: 100-510 RPM; CHUCK SIZE: 35 MM; POWER: 1.2  W; POTENTIAL: 220-230 V
	 1
	 

	
	723924
	DRILL, POWER: TYPE: PORTABLE ELECTRIC POLE; SPEED: 115 RPM; DRIVE SIZE: 52 MM; MANUF P/N: B4-32
	 1
	 

	
	723828
	DRILL, POWER: TYPE: WOOD POLE; SPEED: 215–2130 RPM; DRIVE SIZE: 16 MM; CHUCK SIZE: 16 MM; POWER: 550 W; POTENTIAL: 18 V; POWER SOURCE: BATTERY; WITH CHARGER (CIGARRETE LIGHT PIN)
	 1
	 

	
	723829
	GRINDER: TYPE: ANGLE; BATTERY OPERATED; SIZE: 190 MM; DISK SIZE: ID 16 X OD 190 X THK 2.4 MM; WITH CHARGER (CIGARRETE LIGHTER PIN)
	 1
	 

	
	723830
	TORCH: TYPE: HEAD; DIMENSIONS: SQ 38 X DP 55 MM
	 1
	 

	
	723925
	STICK: TYPE: PHASING
	 1
	 

	
	723926
	TESTER: TYPE: ALCO C1C116:C149; FREQUENCY: 50 HZ; ACCURACY: +-0.05 PCT; DIMENSIONS: WD 56 X LG 124 X HT 41 MM; DISPLAY TYPE: ZERO: GREEN/LOW: RED/HIGH: BLINKING RED
	 1
	 

	
	723761
	TOOL: TYPE: CUTTING; STYLE: IN-LINE; DIMENSIONS: 45 MM; BATTERY POWERED ;
	 1
	

	
	723762
	TOOL: TYPE: CUTTING; STYLE: PISTOL; DIMENSIONS: 45 MM; BATTERY POWERED
	 1
	

	
	723913
	INDICATOR: TYPE: FAULT PATH MK10; DIMENSIONS: WD 80 X LG 120 X HT 60 MM; RANGE: 1-36 KV; RATING: 25 KA; MONITORING A SINGLE-PHASE CONDUCTOR-OVERHEAD 3-PHASE RADIAL SYSTEM
	 1
	

	11. Electrical Testing Equipment
 

 

 

 

 

 

 

 

 

 

 

 

 

 

 

 

 

 

 
	723831
	TRANSFORMER: TYPE: VARIAC; CURRENT: 10 A; POTENTIAL: 415 VAC; PHASE: 3; APPARENT POWER: 8.14 KVA; MOUNTING: SURFACE; 50/60 HZ; SQ 175 X DP 410 MM
	 1
	 

	
	723832
	TESTER: TYPE: INSULATION RESISTANCE; POTENTIAL:  30-600 V; FREQUENCY: 50/60 HZ; ACCURACY: +-5 PCT; DIMENSIONS: WD 260 X LG 330 X HT 160 MM; RANGE: 1-10 KV; CURRENT: 0.5-0.55 MA
	 1
	 

	
	723927
	TESTER: TYPE: MULTIFUNCTION; FREQUENCY: 50/60 HZ; ACCURACY: +-2 PCT; DIMENSIONS: WD 150 X LG 235 X HT 85 MM; RANGE: CONTINUITY: 0.01-99.9 OHM; GROUND TEST CURRENT:  4.5 MA
	 1
	 

	
	723833
	TESTER: TYPE: MULTIMETER 179; POTENTIAL: 1000 V DC/AC RMS; FREQUENCY: 100 HZ; ACCURACY: DC 0.09 PCT; DIMENSIONS: WD 90 X LG 185 X THK 43 MM; DISPLAY TYPE: DIGITAL; POWER: ALKALINE BATTERY 200 HR
	 1
	 

	
	723834
	TESTER: TYPE: MULTIMETER 189; POTENTIAL: AC 2.5 MV TO 1000 V; DC 0-1000 V; FREQUENCY: 0.5 HZ TO 1000 KHZ; ACCURACY: AC 0.025 PCT; DC 0.4 PCT; DIMENSIONS: SQ 5 X THK 1 IN; DISPLAY TYPE: ANALOG/DIGITAL
	 1
	 

	
	0
	TESTER: TYPE MULTIMETER 289; TRUE-RMS INDUSTRIAL LOGGING MULTIMETER WITH TRENDCAPTURE. RANGE: 50 mV to 1 Kv, ; 50 OHMS to 500 MOHMS WEIGHT: 871 g
	 1
	 

	
	723835
	TESTER: TYPE: MULTIMETER; POTENTIAL: 1000 VDC; 750 VAC; FREQUENCY: 50/60 HZ; ACCURACY: +-5 PCT; DIMENSIONS: WD 72 X LG 155 X HT 32 MM; RANGE: 200 K OHM
	 1
	 

	
	0
	TESTER: TYPE CLAMP ON AMMETER : POTENTIAL 1000V Fluke 303 Clamp Meter, Max Current 600A ac CAT III 600 V
	 1
	 

	
	723929
	TESTER: TYPE: CLAMP METER; FREQUENCY: 50 HZ; ACCURACY: <=5 PCT; DIMENSIONS: WD 112 X LG 271 X HT 46 MM; RANGE: 0-1 MOHM; 0-1 KV; DISPLAY TYPE: DIGITAL; 1000 A
	 1
	 

	
	724011
	TESTER: TYPE: CLAMP METER; FREQUENCY: 50/60 HZ; ACCURACY: +-5 PCT; DIMENSIONS: WD 112 X LG 271 X HT 46 MM; DISPLAY TYPE: DIGITAL; 5 A
	 1
	 

	
	723930
	METER: TYPE: DC CLAMP METER 365; RANGE: 0-1000 A; READOUT: DIGITAL; STYLE: RANGE TAKING; FREQUENCY RANGE: 50 HZ; VOLTAGE RANGE: 0-1000 V; RESISTANCE RANGE: 0-1 MOHM; DC CLAMP METER 365
	 1
	 

	
	723836
	OSCILLOSCOPE: TYPE: PORTABLE; LENGTH: 259.5 MM; POWER SOURCE: 100-240 VAC; BANDWIDTH: 60-100 MHZ; WIDTH: 163.2 MM; HEIGHT: 53.3 MM
	 1
	 

	
	723932
	TESTER: TYPE: AMBIENT TEMPERATURE; FREQUENCY: 100 HZ; ACCURACY: +-0.2 DEG C; DIMENSIONS: WD 79 X LG 169 X HT 29 MM; RANGE: 37 MM AT 100 DEG C
	 1
	 

	
	723965
	TESTER: TYPE: PORTABLE EARTH LEAKGE; POTENTIAL: 230 V; FREQUENCY: 50/60 HZ; DIMENSIONS: 400 MM; RANGE: X25; CURRENT SETTING 10-35 MA
	 1
	 

	
	723933
	TESTER: TYPE: TEMPERATURE; FREQUENCY: 100 HZ; ACCURACY: +-0.05 PCT AT 0.4 DEG C; DIMENSIONS: WD 79 X LG 169 X HT 29 MM; RANGE: 400 DEG C
	 1
	 

	
	723837
	THERMOMETER: TYPE: ELECTRONIC; RANGE: 400 DEG C; GRADUATIONS: -200 TO 400 DEG C
	 1
	 

	
	723838
	THERMOMETER: TYPE: ALCOHOL; RANGE: 2-8 AND -15 TO -25 DEG C; GRADUATIONS: -20 TO 110 DEG C
	 1
	 

	
	723934
	METER: TYPE: 3 PHASE; READOUT: DISPLAY LCD; STYLE: ROTATION
	 1
	 

	
	723950
	TESTER: TYPE: POLARITY; FREQUENCY: 50/60 HZ; ACCURACY: +-0.5 PCT; DIMENSIONS: WD 356 X LG 470 X HT 190 MM; FOR CURRENT TRANSFORMERS
	 1
	 

	
	723951
	METER: TYPE: CONDUCTIVITY; RANGE: 2000 MICRO S, 20.00 MILLI S, TDS: 2000 PPM 20000 PPM; READOUT: LCD 20 X 28 MM; STYLE: HANDHELD; VOLTAGE: 1.5 VDC; FREQUENCY RANGE: 50/60 HZ; ACCURACY: +-2 PCT FS + 1 D; DIMENSIONS: WD 148 X LG 203 X HT 78 MM
	 1
	 

	12. Earth Resistivity Equipment
	723839
	TESTER: TYPE: EARTH RESISTANCE; POTENTIAL: 230 VAC; FREQUENCY: 50/60 HZ; ACCURACY: +-5 PCT; DIMENSIONS: WD 250 X LG 270 X HT 80 MM; RANGE: 0.01-2000 OHM; 3 POLE
	 1
	 

	
	723952
	METER: TYPE: MICRO OHM; RANGE: 20000 MICRO OHM; STYLE: RECHARGABLE; VOLTAGE: 230 V; FREQUENCY RANGE: 50/60 HZ; CURRENT: OUTPUT 200 A; ACCURACY: +-0.5 PCT; DIMENSIONS: WD 190 X LG 250 X HT 180 MM
	 1
	 

	
	723953
	TESTER: TYPE: EARTH RESISTANCE; POTENTIAL: 230 VAC; ACCURACY: +-5 PCT; DIMENSIONS: WD 70 X LG 101 X HT 52 MM; RANGE: 0.01 OHM TO 19.99 K OHM; 4 POLE
	 1
	 

	13. DC Testing Equipment
	723840
	HYDROMETER: TYPE: DIGITAL; RANGE: 0-3 G/CM3; 0-40 DEG C; LENGTH: 240 MM; +-3 PCT; WD 90 X HT 45 MM; 50/60 HZ; 6-32 V
	 1
	 

	
	723954
	TESTER: TYPE: POLARITY EARTH LEAKAGE; DIMENSIONS: WD 100.6 X LG 194.8 X HT 45.2 MM
	 1
	 

	
	723955
	TESTER: TYPE: BATTERY STATE OF HEALTH; POTENTIAL: 0-20 VDC
	 1
	 

	
	723842
	TESTER: TYPE: BATTERY IMPEDENCE; POTENTIAL: 600 V; FREQUENCY: 20 KHZ; ACCURACY: +-5 PCT; DIMENSIONS: WD 103 X HT 22 X DP 58 MM; RANGE: 3-3000 M OHM; 6-1000 VOLT
	 1
	 

	
	723843
	RECORDER: TYPE: VOLTAGE DATA LOGGER; POTENTIAL: 0-20 V; MEMORY CONFIGURATION: 8 STRINGS OF 256 VDC, 8 STRINGS OF 256 S.G., 20 STRINGS OF 48 VDC
	 1
	 

	14. Line Testing Equipment
 
	723844
	DETECTOR: TYPE: VOLTAGE 375; RATING: 11/33 KV; HORIZONTAL/VERTICAL DISTANCE; CC-875-K
	 1
	

	
	723956
	TESTER: TYPE: HV HORIZONTAL DISTANCE
	 1
	

	
	212804
	1KV TO 3,3KV SINGLE- AND THREE-PHASE OVERHEAD LINES AND ASSOCIATED EQUIPMENT, AND APPARATUS WITHIN HIGH VOLTAGE SUBSTATIONS
	 1
	

	
	212803
	UNIT TWO: 3,3KV TO 11KV SINGLE- AND THREE PHASE OVERHEAD LINES AND ASSOCIATED EQUIPMENT, AND APPARATUS WITHIN HIGH VOLTAGE SUBSTATIONS; 
	 1
	

	
	212340
	11KV TO 33KV SINGLE- AND THREE PHASE OVERHEAD LINES AND ASSOCIATED EQUIPMENT, AND APPARATUS WITHIN HIGH VOLTAGE SUBSTATIONS, INCLUDING 19KV SWER OVERHEAD LINES AND ASSOCIATED EQUIPMENT;
	1
	

	
	0212338
	UNIT FOUR: 44KV TO 132KV SINGLE- AND THREE PHASE OVERHEAD LINES AND ASSOCIATED EQUIPMENT, AND APPARATUS WITHIN HIGH VOLTAGE SUBSTATIONS; 
	 1
	

	15. Distance measuring Equipment
	723845
	METER: TYPE: ULTRASONIC HEIGHT 600 E; RANGE: 23 M; READOUT: LCD DISPLAY; STYLE: DIGITAL; ACCURACY: 0.5 PCT AT 2 DIGITS; DIMENSIONS: WD 4 X LG 8-1/2 X HT 3 IN
	 1
	

	
	723959
	RANGE FINDER: TYPE: DIGITAL LASER; RANGE: 500 M; +-1 PCT; WD 70 X LG 101 X HT 52 MM
	 1
	

	
	723960
	RANGE FINDER: TYPE: BINOCULAR; RANGE: 2000 M
	 1
	

	16. Plant Testing Equipment
 

 

 

 

 

 

 

 

 

 

 
	723846
	TESTER: TYPE: HV INSULATION; POTENTIAL: 10 KV; FREQUENCY: 10-500 HZ; ACCURACY: 5 PCT AT 3 DIGITS; DIMENSIONS: WD 335 X LG 345 X THK 160 MM; MET01  - TERAOHM LT 10 KV; 15-25 A; DIGITAL; ELECTRONIC INTERFACE
	 1
	

	
	723961
	TESTER: TYPE:  POTENTIAL: 250 V; FREQUENCY: 50 HZ; ACCURACY: +-0.2 DEG; RANGE: CT MODE: 1, 4 V; PT MODE: 1, 4, 10, 40, 100, 250 V; 3 PHASE TRANSFORMER TURNS RATIO TESTER WITH BUILT-IN BATTERY/PRINTER; 0-1500 VA; DIGITAL; ELECTRONIC INTERFACE
	 1
	

	
	723962
	PRINTER: TYPE: CABLE MAKER
	 1
	

	
	723963
	TESTER: TYPE: INSULATION RESISTANCE; POTENTIAL: 0-10 KV; ACCURACY: +-5 PCT; DIMENSIONS: SQ 200 X LG 300 MM
	 1
	

	
	723964
	PRINTER, LABEL: WD 100 X LG 250 X HT 125 MM
	 1
	

	
	723849
	BLOCK, TEST: TYPE: HANDLE
	 1
	

	
	723966
	LEAD: TYPE: TEST
	 1
	

	
	723850
	ANALYZER: TYPE: CT ACCURACY/PHASE ANGLE VERIFICATION TEST UNIT; RANGE: 0-5 A; 0-120 V; POWER SOURCE: 110-240 VAC 50 HZ
	 1
	

	
	723967
	ANALYZER: TYPE: VT TESTING; HARD NYLON
	 1
	

	
	723968
	PROTECTOR, OVERLOAD: CURRENT: 15 A; POLE: 3; POTENTIAL: 230/400 V; TYPE: LOAD BOX; HARD NYLON
	 1
	

	
	723971
	TESTER: TYPE: SECONDARY INJECTION; POTENTIAL: AUX 0-264 VDC; FREQUENCY: 10-3000 HZ; RANGE: 10-300 V AC/DC; POWER: 2500 W; 6600 RPM
	 1
	

	
	723972
	TESTER: TYPE: MULTI-FUNCTIONAL; RANGE: 10-14 W; 1-1.5 KG
	 1
	

	17. Chainsaw Equipment
	723973
	SAW, CHAIN: TYPE: MS-381; MOTOR SIZE: 72.2 CM3; BAR LENGTH: 20 IN; USAGE DESIGN: FARMING/COMMERCIAL; 2-10 MM; 260-1450 RPM; 6 AH
	 1
	

	
	723974
	SAW, CHAIN: TYPE: CS620; BAR LENGTH: 380-450 MM; 0-1300 RPM; 5 AH
	 1
	

	
	723975
	SAW, CHAIN: TYPE: TELESCOPIC PT75; MOTOR SIZE: 750; BAR LENGTH: 300 MM; USAGE DESIGN: TREE PRUNER; 0-1800 RPM; 1.5 AH
	 1
	

	
	723976
	SAW, CHAIN: TYPE: TELESCOPIC PPT-2620HES; MOTOR SIZE: 25.4 CM3; BAR LENGTH: 300; USAGE DESIGN: PRUNING; 1.5 AH; ADJUSTABLE
	 1
	

	
	723979
	SET: TYPE: SAFETY GEAR; APPLICATION: CHAINSAW
	 1
	

	
	723851
	PRUNER: TYPE: TREE, HIGH CUTTER; SIZE: 517 X 156 X 210 MM; 3-5 AH
	 1
	

	
	723977
	CUTTER: TYPE: BRUSH, PETROL FS360; SIZE: 7.67 IN; WITH BLADES/HARNESS; BAR LG MIN 380 X MAX 450 MM; PITCH 3/8 IN; POWER 2.9 KW; 50-350 NM
	 1
	

	
	723978
	CUTTER: TYPE: BRUSH, PETROL SRM420; SIZE: 7.67 IN; 20-4000 NM
	 1
	

	
	723853
	SET: TYPE: SAFETY GEAR; APPLICATION: BRUSH CUTTER; COMPRISING: (3) TEST LEADS WITH CONNECTORS/CLIPS/TERMINAL ADAPTORS
	 1
	

	18. Big and Small Grinding Equipment
 

 

 
	723855
	SAW, POWER: TYPE: RECIPROCATING; BLADE SIZE: 355 MM; RATING: 1300 W
	 1
	

	
	723981
	GRINDER, ELECTRIC: TYPE: INDUSTRIAL; SPEED: 11000 RPM; WHEEL SIZE: 115 MM MM; POWER: 840 W; WD 129 X LG 271 X HT 106 MM
	 1
	

	
	723982
	GRINDER, ELECTRIC: TYPE: INDUSTRIAL; SPEED: 6500 RPM; WHEEL SIZE: 230 MM; POWER: 2200 W; WD 190 X LG 580 X HT 120 MM; SPINDLE LOCK M14
	 1
	

	
	723984
	HEAT GUN, ELECTRIC: POWER: 1500 W; SPECIAL FEATURES: FAN SPEED 10-18 FT3/MIN; LATTICE LENGTH 90-600 DEG C; TEMPERATURE RANGE 50-450 DEG C
	 1
	

	
	723985
	DRILL, POWER: TYPE: CORDLESS ROTARY HAMMER; SPEED: 0-1200; 0-4800 RPM; CHUCK SIZE: CONCRETE: 26 MM; STEEL: 13 MM; WOOD: 32 MM; POTENTIAL: 36 V; WITH CASE; CHARGER; (2) BATTERY 2.6 AH
	 1
	 

	
	723856
	WRENCH, IMPACT: DRIVE SIZE: 1/2 IN; POWER SOURCE: 28 V LI-ION; TORQUE: 440 NM; SPEED: 0-1450 RPM; DUTY: HEAVY DUTY; CORDLESS; WITH CASE; CHARGER; (2) BATTERY
	 1
	 

	
	723986
	DRILL, POWER: TYPE: CORDLESS HEAVY DUTY; SPEED: 0-1300 RPM; POTENTIAL: 28 V; WITH CASE; CHARGER; (2) BATTERY 5 AH
	 1
	 

	
	723987
	DRILL, POWER: TYPE: CORDLESS HEAVY DUTY; SPEED: 10-1800 RPM; POTENTIAL: 18 V; WITH CASE; CHARGER; (2) BATTERY 5 AH
	 1
	 

	
	723988
	GRINDER, ELECTRIC: TYPE: CORDLESS HEAVY DUTY; POTENTIAL: 18 V; SPEED: 0-400/1-1500 RPM; POWER: 40 NM; ADJUSTABLE; WITH CASE; CHARGER; (2) BATTERIES 1.5 AH
	 1
	 

	
	723990
	SAW, POWER: TYPE: CORDLESS HEAVY DUTY; STYLE: RECIPROCATING; RATING: 18 V; CUTTING RANGE: ALUMINIUM/STEEL: 6 MM; WOOD: 50 MM; 2700 RPM; STROKE LG 1800 MM; WITH CASE; CHARGER; (2) BATTERY
	 1
	 

	
	723994
	BLOWER, ELECTRICAL: TYPE: PANEL CORDLESS HEAVY DUTY; CAPACITY: 3-5 AH; POTENTIAL: 18 V; POWER: 35 NM; AIR SPEED 230 KM/H; AIR VOLUME 480 NM3/H; SPEED 6000-12000 RPM; WITH CAS; CHARGR; (2) BATTERY
	 1
	 

	19. Welding Equipment
 

 
	723857
	INVERTER: TYPE: PWM-QUASI SQUARE WAVE; POWER: 2 KW; OUTPUT RATING: 200-240 VAC 200-5500 VA 50 +-0.5 HZ; INPUT RATING: 140-280 VAC 47-53 HZ; 12/24/36/48/72 VDC; BATTERY TYPE: LEAD ACID/TUBULAR; OPERATING TEMPERATURE: 0-50 DEG C
	 1
	 

	
	723858
	TOOL: TYPE: STRAPPING C00169; STYLE: BAND-IT; DIMENSIONS: WD 101.6 X LG 254 X HT 76.2 MM; FINISH MATERIAL: EPOXY POWDER COATED; 1088.62 KG CUTS OFF THE TAIL OF THE CLAMP BEING FORMED
	 1
	 

	
	723859
	VISE: TYPE: BENCH; MATERIAL: BODY CAST STEEL; JAW NOMINAL WIDTH: 200 MM; JAW OPENING CAPACITY: 225 MM; BASE TYPE: 360 DEG SWIVEL BASE; LG 492 X HT 89 MM
	 1
	 

	
	723861
	TORCH OUTFIT, WELDING: TYPE: PORTABLE PORTAPACK; ACCOMODATED ITEMS: OXY ACETYLENE GAS WELDING SETS/BOTTLES; (1) ACETYLENE CYLINDER (PORTA PACK SIZE); (1) ACETYLENE REGULATOR (2 GAUGE) MODEL 101-1.4M-AC; (1) BRAZING HANDLE C/W MIXER AND 3 NOZZLES MODEL AG-265; (2) FLASHBACK ARRESTORS; (2) HOSE DIA 6MM X LG 3 M WITH 3/8 IN BSP FITTINGS; (1) OXYGEN REGULATOR (2 GAUGE) MODEL 101-7M-OX; (1) OXYGEN CYLINDER (PORTA PACK SIZE)
	1 
	

	
	723862
	KIT: TYPE: TORCH; APPLICATION: GUN BRAZING FLAME; COMPRISING: LPG HEATING BURNER; OXY PRESSURE 500 KPA; LPG PRESSURE 100 KPA; OXY CONSUMPTION 48 L/MIN; LPG CONSUMPTION 12 L/MIN; HEAT OUTPUT 40 MJ/HR
	 1
	

	
	723863
	PIPE, NON METALLIC: NOMINAL PIPE SIZE DESIGNATION: ID 9.5/8 X OD 16/14.5 MM; MATERIAL: PVC; LENGTH: 50 M; WALL THICKNESS: 6-7.5 MM; TYPE: NON METALIC; FOR LP GAS
	1 
	

	
	724007
	REGULATOR: TYPE: LP GAS; CONNECTION: (2) HOSE CLAMP
	 1
	

	
	723864
	CYLINDER: SIZE: 9 KG; TYPE: LP GAS; MATERIAL: CARBON STEEL
	1 
	

	
	723865
	SOLDERING IRON, NON ELECTRIC: TIP SIZE: 0.8; 2; 2.5 MM; TIP SHAPE: ROUND; STRAIGHT CHISEL; CONICAL; KNIFE; TIP MATERIAL: ALUMINIUM; TYPE: GAS
	 1
	

	
	
	
	
	

	20. Bolt Cutting Equipment
	724003
	CUTTER, BOLT: HEAD TYPE: HEAVY DUTY; SIZE: 350 MM; MATERIAL: CHROME VANADIUM STEEL
	 1
	 

	
	724004
	CUTTER, BOLT: HEAD TYPE: HEAVY DUTY; SIZE: 600 MM; MATERIAL: CHROME VANADIUM STEEL
	1 
	 

	
	724005
	CUTTER, BOLT: HEAD TYPE: HEAVY DUTY; SIZE: 910 MM; MATERIAL: CHROME VANADIUM STEEL
	 1
	 

	
	724006
	CUTTER, BOLT: HEAD TYPE: ADJUSTABLE JAW; MATERIAL: CHROME VANADIUM STEEL; MATERIAL ACCOMODATED DIAMETER: 25 MM
	 1
	 

	21. Rain Covering Equipment
	723860
	SHADE: TYPE: GAZEBO SELF ERRECTING; DIMENSIONS: SQ 3 M
	 1
	 

	22. High Pressure and Pumping Equipment
	724008
	PUMP: TYPE: ELECTRICAL; CAPACITY: 60 L/S; RATING: 880 W; POTENTIAL: 230 V; APPLICATION: OIL DRUM
	1 
	 

	
	723866
	GAUGE, FEELER: DIMENSIONS: LG 100 MM; BLADES: 13
	 1
	 

	
	723867
	PUMP, CENTRIFUGAL: NPSH: 8 M; CAPACITY: 164 GAL/MIN; TOTAL HEAD: 32 M; SIZE: 2 IN-NPT; SPEED: 3600 RPM; STAGE: 2; TYPE: DRAINAGE OIL; SELF-PRIMING; IMPELLER 4 VANE CASTIRON; SEAL SILICON CARBIDE/SILICON CARBIDE
	1 
	 

	
	724009
	PUMP: TYPE: DRAINAGE; CAPACITY: 130 L/MIN; POTENTIAL: 230 V; APPLICATION: PETROL DRUM
	 1
	 

	
	723868
	WASHER, PRESSURE CLEANING: TYPE: HIGH PRESSURE; FLOW RATE: 36000 L/MIN; PRESSURE RATING: 350 BAR; POWER SOURCE: 400 V 3 PH 15 KW; SPEED: 1450 RPM, MAX INLET TEMP 28 DEG C
	1 
	 

	23. Working Toolboxes
	184371
	HAND TOOLBOX FOR PTO/STO THREE TRAY * COATED STEEL * POWDER COATED TOOLKIT.
	 1
	 

	
	184372
	HAND TOOLBOX FOR TO THREE TRAY * STEEL * POWDER COATED *
	 1
	 

	24. Hydraulic press
	 
	PUNCH SET WITH PUMP. INCLUDES PUNCH, PE172 ELECTRIC/HYDRAULIC PUMP, 9756 HOSE, 9798 HOSE HALF COUPLER, 250459 PUNCH/DIE SET, METAL CASE. WT., 87.8 LBS. NOTE: 220 VOLT, 50 HZ. ORDER WITH SUFFIX “-220”.
	 1
	 


	The total of the Prices
	


Part 3: Scope of Work

	Document reference
	Title
	No of pages

	
	This cover page
	1

	C3.1
	Purchaser’s Goods Information
	

	C3.2
	Supplier’s Goods Information
(insert at award stage or delete if not applicable)
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	


C3.1: Purchaser’s Goods Information
Overview and purpose of the goods and services
The contract covers the Supply and delivery of production equipment’s for the Gauteng Cluster on an “as and when required” basis

Specification and description of the goods
The technical specification document for the Supply and deliver production equipment’s for the Gauteng Cluster on an “as and when required” basis is titled Eskom Gauteng Scope of work for provision of production equipment, User specification with unique identifier number M&O -GAUTENG CLUSTER-2024-09-05.

Suppliers to make sure that their products are approved by SANAS accredited body like SABS

when they tick the schedules or and any other accredited body. 

The purpose of the document is to record the user requirements for the Provision of Production Equipment for Gauteng Cluster.
The scope of work includes supplying and delivering of the following Production Equipment:

	Supply and Delivery of various production Equipment within Gauteng Cluster: (See attached detailed Scope of Work)

SAP Purchase Description

SLING, WEB: TYPE: (2) SIDE FOLDED EYE; WIDTH: 25 MM; MATERIAL: POLYESTER; CAPACITY: 2 T; LENGTH: 1.5 M; THICKNESS: 1.85 MM; ENDLESS NYLON SLING

SLING, CHAIN: TYPE: ADJUSTABLE; DIMENSIONS: LG 1.5 M; MATERIAL: ALLOY STEEL; CAPACITY: 3 T; LEG QUANTITY: 2:

SLING, CHAIN: TYPE: CLEVIS HOOK WITH LATCH; DIMENSIONS: 1 M; MATERIAL: STEEL; CAPACITY: 1 T; LEG QUANTITY: 1; CHAIN SLINGS

SLING, CHAIN: TYPE: ADJUSTABLE; DIMENSIONS: LG 3 M; MATERIAL: ALLOY STEEL; CAPACITY: 3 T; LEG QUANTITY: 2: 

SLING, CHAIN: TYPE: CLEVIS HOOK WITH LATCH; DIMENSIONS: LG 3 M; MATERIAL: STEEL ALLOY; CAPACITY: 1 T; LEG QUANTITY: 1; CHAIN SLINGS

SLING, WEB: CAPACITY: 3 T; LENGTH: 1 M; LIFTING DUPLEX FLAT

SLING, CHAIN: TYPE: CLEVIS HOOK WITH LATCH; DIMENSIONS: LG 1 M; MATERIAL: STEEL ALLOY; CAPACITY: 3 T; LEG QUANTITY: 1; CHAIN SLINGS

SLING, WEB: MATERIAL: POLYESTER; CAPACITY: 1 T; LENGTH: 3 M, LIFTING DUPLEX FLAT

SLING, CHAIN: TYPE: CLEVIS HOOK WITH LATCH; DIMENSIONS: LG 3 M; MATERIAL: STEEL ALLOY; CAPACITY: 3 T; LEG QUANTITY: 1

SLING, WEB: TYPE: (2) SIDE FOLDED EYE; WIDTH: 50 MM; MATERIAL: POLYESTER HIGH TENACITY; CAPACITY: 3 T; LENGTH: 800 MM; THICKNESS: 1.7 MM; ENDLESS NYLON SLING

SLING, CHAIN: TYPE: CLEVIS HOOK WITH LATCH; DIMENSIONS: LG 3 M; MATERIAL: STEEL ALLOY; CAPACITY: 5 T; LEG QUANTITY: 1 : CHAIN SLINGS

SLING, WEB: TYPE: (2) SIDE FOLDED EYE; WIDTH: 25 MM; MATERIAL: POLYESTER; CAPACITY: 700 KG; LENGTH: 500 MM; THICKNESS: 0.87 MM: ENDLESS NYLON SLING

SLING, CHAIN: TYPE: CLEVIS HOOK WITH LATCH; DIMENSIONS: LG 5 M; MATERIAL: STEEL ALLOY; CAPACITY: 5 T; LEG QUANTITY: 4: CHAIN SLINGS

SLING, WEB: TYPE: (2) SIDE FOLDED EYE; WIDTH: 25 MM; MATERIAL: POLYESTER; CAPACITY: 1.2 T; LENGTH: 1.2 M; THICKNESS: 1.35 MM; ENDLESS NYLON SLING

SLING, CHAIN: TYPE: CLEVIS HOOK WITH LATCH; DIMENSIONS: LG 5 M; MATERIAL: STEEL ALLOY; CAPACITY: 3 T; LEG QUANTITY: 4: CHAIN SLINGS

HOIST: TYPE: LEVER; CAPACITY: 0.75 T; CHAIN DIA 6 MM X LG 1.5 M; HOOK SIZE 147 MM,

SHACKLE: TYPE: D; DIAMETER: 18 MM; MATERIAL: STEEL DROP FORGED; LOAD RATING: 1.5 T; PIN: 19 MM; INSIDE WIDTH: 68 MM; INSIDE LENGTH: 37 MM; CHAIN SLINGS

HOIST: TYPE: LEVER; CAPACITY: 1.5 T; CHAIN DIA 8 MM X LG 1.5 M: HOOK SIZE 175 MM; 

SHACKLE: TYPE: D; DIAMETER: 27 MM; MATERIAL: STEEL DROP FORGED; LOAD RATING: 3 T; PIN: 24 MM; INSIDE WIDTH: 80 MM; INSIDE LENGTH: 51 MM:  CHAIN SLINGS

HOIST: TYPE: LEVER; CAPACITY: 3 T; CHAIN DIA 10 MM X LG 1.5 M; HOOK IZE 195 MM;

PULLEY: TYPE: SNATCH; DIAMETER: 120 MM; MATERIAL: STEEL FORGED; GROOVE: 10-14 MM; WIDTH: 32 MM:  LIFTING

RATCHET: LOAD CAPACITY: 0.75 T;

RATCHET: LOAD CAPACITY: 1 T

GRIP: TYPE: WIRE; MATERIAL: STEEL; LARGE EYE LEVER WITH SAFETY LATCH; COME ALONG 1 TON;

GRIP: TYPE: WIRE; MATERIAL: STEEL; LARGE EYE LEVER WITH SAFETY LATCH; COME ALONG 2 TON;

GRIP: TYPE: WIRE; MATERIAL: STEEL; LARGE EYE LEVER WITH SAFETY LATCH; COME ALONG 3 TON;

GRIP: TYPE: WIRE; MATERIAL: ALUMINIUM; LARGE EYE LEVER WITH SAFETY LATCH; COME ALONG  1 TON; MAKE:

GRIP: TYPE: WIRE; MATERIAL: ALUMINIUM; LARGE EYE LEVER WITH SAFETY LATCH; COME ALONG  2 TON;

GRIP: TYPE: WIRE; MATERIAL: ALUMINIUM; LARGE EYE LEVER WITH SAFETY LATCH; COME ALONG  3 TON  

STAND: TYPE: ADJUSTABLE; MECHANICAL CABLE DRUM; AXLE HEIGHT FROM 0.3 TO 1.1 M - RATED LOAD 100 KN

PUNCH: TYPE: CHASER; POINT SIZE: 18-20 MM; LENGTH: 127-152 MM

STAND: TYPE: HORIZONTAL; DIMENSIONS: DIA 1.5 M; HYDRAULIC CABLE DRUM (SBT-1500)

WRENCH, TORQUE: DRIVE SIZE: 3/8 IN; RATING: 10-50 NM; GRADUATIONS: 10-50 NM; LENGTH: 360 MM

METER: TYPE: CABLE MEASURING; RANGE: 6-76 MM: SKU: 2600
TRUMETER 

GRIP, CABLE: TYPE: PULLING OUTER; MATERIAL: NYLON; CONDUCTOR: 35-185 MM3

TOOL: TYPE: CUTTING; DISCRIPTION: ALUMIN WIRE RATCH CUTTER 30MM D REPL; 

SWIVEL: TYPE: PULLING; DIMENSIONS: DIA 32 X LG 126 MM; CAPACITY: 11 KN; PIN DIA 10 MM; RECESS 14 MM: CCE 32MM

ASSEMBLY: TYPE: ROLLER; APPLICATION: GROUND CORNER CABLE; MANUF P/N: SHL3N; RATED LOAD 10KN; CABLE DIA 120-200 MM; WEIGHT 9-26 KG

TOOL: TYPE: CUTTING; STYLE: IN-LINE; DIMENSIONS: 45 MM; BATTERY POWERED;

CRIMPER: TYPE: BATTERY OPERATED; CRIMPING RANGE: 10-240 MM2; FURNISHED ITEMS: CASE; CHARGER; (2) SPARE BATTERY

TOOL: TYPE: CUTTING; STYLE: PISTOL; DIMENSIONS: 45 MM; BATTERY POWERED

CRIMPER: TYPE: 6 TON, BATTERY OPERATED; CRIMPING RANGE: 10-240 MM2; JAW TYPE: HEX NARROW PROFILE R18; CASE; CHARGER; 2 BATTERIES 18V/2-3AH; FULL DIE SET:

CUTTER: TYPE: CUTTER, HAND; SIZE: 50 MM; MATERIAL: METAL, 

CRIMPER: TYPE: BATTERY OPERATED; CRIMPING RANGE: 16-400 MM2; JAW TYPE: HEX; DESIGN TYPE: 12 TON; FURNISHED ITEMS: CASE; CHARGER; (2) SPARE BATTERY; FULL DIE SET ECT400 16-400MM BATTERY POWERED CRIMPING TOOL

GRIP, CABLE: TYPE: PULLING INNER; MATERIAL: STEEL; CONDUCTOR: 35 MM 

HYDRAULIC INDENT CRIMPER KIT INTERNAL DIES C-HEAD 25-120MM  

GRIP, CABLE: TYPE: PULLING INNER; MATERIAL: STEEL; CONDUCTOR: 70 MM;

CRIMPER: TYPE: MECHANICAL; CRIMPING RANGE: 6; 10; 16; 25; 35; 50 MM2; JAW TYPE: HEX

DRUM: TYPE: RUNNING BLOCK SHD; DIMENSIONS: DIA 120 X WD 30 MM; MATERIAL: NYLON

CRIMPER: TYPE: MECHANICAL TOOL; CRIMPING RANGE: 10-120 MM; JAW TYPE: HEX

DRUM: TYPE: RUNNING BLOCK SHD; DIMENSIONS: DIA 320 X WD 60 MM; MATERIAL: NYLON

CRIMPER: TYPE: HYDRAULIC HAND; CRIMPING RANGE: 6-95 MM

DRUM: TYPE: RUNNING BLOCK 300; DIMENSIONS: DIA 450 X WD 30; WEIGT: 1000KG; MATERIAL: ALUMINIUM 

CRIMPER: TYPE: PRE-INSULATED TERMINAL; CRIMPING RANGE: 0.5-6 MM

ASSEMBLY: TYPE: HAND LINE; APPLICATION: PULLEY 120 MM; LENGTH 24M; ID#: HO-HLB-C-24PA-BE

CRIMPER: TYPE: DIE DA10; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 60 TON

ROPE: MATERIAL: POLYPROPYLENE; DIMENSIONS: DIA 12 MM X LG 100 M

CRIMPER: TYPE: DIE DA13; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 60 TON

STAND: TYPE: ADJUSTABLE; MECHANICAL CABLE DRUM; AXLE HEIGHT FROM 0.3 TO 1.1 M - RATED LOAD 30 KN

CRIMPER: TYPE: DIE DS7; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 60 TON

CRIMPER: TYPE: BARE TERMINAL; CRIMPING RANGE: 0.5-10 MM

CRIMPER: TYPE: DIE DS8; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 60 TON

CRIMPER: TYPE: DIE DA7; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 30 TON

CRIMPER: TYPE: DIE DS10; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 60 TON

CRIMPER: TYPE: DIE DA8; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 30 TON

CRIMPER: TYPE: DIE DS12; CRIMPING RANGE: 14-76; DESIGN TYPE: 60 TON

CRIMPER: TYPE: DIE DA9; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 30 TON

CRIMPER: TYPE: DIE DA7; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 100 TON

CRIMPER: TYPE: DIE DA10; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 30 TON

CRIMPER: TYPE: DIE DA8; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 100 TON

CRIMPER: TYPE: DIE DA13; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 30 TON

CRIMPER: TYPE: DIE DA9; CRIMPING RANGE: 4-76 MM; DESIGN TYPE: 100 TON

CRIMPER: TYPE: DIE DS7; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 30 TON

CRIMPER: TYPE: DIE DA10; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 100 TON

CRIMPER: TYPE: DIE DS8; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 30 TON

CRIMPER: TYPE: DIE DA13; CRIMPING RANGE: 14-76; DESIGN TYPE: 100 TON

CRIMPER: TYPE: DIE DS10; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 30 TON

CRIMPER: TYPE: DIE DS7; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 100 TON

CRIMPER: TYPE: DIE DS12; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 30 TON

CRIMPER: TYPE: DIE DS8; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 100 TON

CRIMPER: TYPE: DIE DA7; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 60 TON

CRIMPER: TYPE: DIE DS10; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 100 TON

CRIMPER: TYPE: DIE DA8; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 60 TON

CRIMPER: TYPE: DIE DS12; CRIMPING RANGE: 14-76 MM; DESIGN TYPE: 100 TON

CRIMPER: TYPE: DIE DA9; CRIMPING RANGE: 14-76 M; DESIGN TYPE: 60 TON

HOSE: TYPE: HYDRAULIC; INSIDE DIAMETER: 3/8 IN; OUTSIDE DIAMETER: 3/4 IN; LENGTH: 5 M; MATERIAL: STEEL; FOR CRIMPING WITH MALE/FEMALE COUPLINGS

HOSE: TYPE: HYDRAULIC; INSIDE DIAMETER: 3/8 IN; OUTSIDE DIAMETER: 3/4 IN; LENGTH: 10 M; MATERIAL: STEEL; FOR 

CRIMPING WITH MALE AND FEMALE COUPLINGS

KIT: TYPE: WORKING EARTH; APPLICATION: OVERHEAD LINE 33 KV; (1) STRANDED CU CABLE 16 MM2 X LG 4.5 M, WITH SCREW ON EARTH 

CLAMP-FIT EARTH SPIKE; (1) 2 x STRANDED CU CABLE 16 MM2 X LG 10 M, SNAP ONLINE END CLAMP-FIT CONDUCTOR; RED SHEATHING/CARRY BAG

TOOL: TYPE: CUTTING; STYLE: HAND HYDRAULIC; DIMENSIONS: WD 175 X LG 625.5 MM

KIT: TYPE: SAFELY EARTHING RED; APPLICATION: 3 X 6M 20KA RATED STRANDED COPPER OVERHEAD LEAD.APPLICATION TO CONDUCTOR IN SUBSTATION. SCREW TYPE CLAMP THAT WORKS WITH LINKSTICK APPLICATOR, AND SCREW TYPE CLAMP FOR STRUCTURE/NIPPLE BOLT 

TOOL: TYPE: CRIMPER: STYLE: HAND; SIZE: 16MMSQ; NON-INSULATED 1.26 – 16mm 

KIT: TYPE: SAFELY EARTHING RED; APPLICATION: 3 X 5M 25MMSQ STRANDED COPPER OVERHEAD APPLICATION TO CONDUCTOR IN SUBSTATION. SCREW TYPE CLAMP THAT WORKS WITH LINKSTICK APPLICATOR, AND SCREW TYPE CLAMP FOR STRUCTURE

TAMPER: TYPE: TAMPER HYDRAULIC; STYLE: POLE

KIT: TYPE: WORKING EARTH; APPLICATION: OVERHEAD LINE 33 KV; (1) STRANDED CU CABLE 16 MM2 X LG 4.5 M, WITH SCREW ON EARTH CLAMP-FIT EARTH SPIKE; ROD/SCREW ON CLUSTER BAR END CLAMP-FIT 25 MM BAR; (1) STRANDED CU CABLE 16 MM2 X LG 10 M, WITH SCREW ON CLUSTER BAR END CLAMP FIT 25 MM BAR/SNAP ONLINE END CLAMP-FIT CONDUCTOR; YELLOW SHEATHING/CARRY BAG

GENERATOR, ALTERNATING CURRENT: TYPE: DIESEL; POTENTIAL: 230 VAC; PHASE: SINGLE; POWER: 7 KVA; FREQUENCY 50/60 HZ; (2) FRONT WHEEL; (2) SUPPORT FEET/HANDLE

2X2M X 40 SQUARE MILLIMETER CABLE WITH RED TRANSLUCENT PVC SHEATIHING WITH SNAP ON CLAMPS ON EITHER SIDE, 1 X 12M X 40 SQUARE MILLI METER CABLE WITH RED TRANSLUCENT PVC SHEATING, A SNAP-ON CLAMP ON ONE END AND A BRASS EARTH CLAMP ON THE OTHER END, RED HEAVY DUTY CARRY BAG AND APPLICATOR/REMOVAL TOOL.CURRENT RATING 10KA

GENERATOR, ALTERNATING CURRENT: TYPE: PETROL; POTENTIAL: 230 V; PHASE: THREE; POWER: 7 KVA; FREQUENCY 50/60 HZ; (2) WHEEL FRONT/BACK

3 X 12M X 40 SQUARE MILLIMETER CABLE WITH TRANSLUCENT PVC SHEATHING, A SCREW ON LINE CLAMP ON ONE END AND A BRASS EARTH CLAMP ON THE OTHER END.CURRENT RATING OF 10KA. 

RED HEAVY DUTY BAG AND APPLICATOR.

GENERATOR, ALTERNATING CURRENT: TYPE: PETROL; POTENTIAL: 230 V; PHASE: SINGLE; POWER: 1.5 KVAC; FREQUENCY 50/60 HZ; (2) WHEEL FRONT/BACK

3 X 6M X 95 SQUARE MILLIMETER CABLE WITH TRANSLUCENT PVC SHEATHING, A SCREW ON LINE CLAMP ON ONE END AND A BRASS EARTH CLAMP ON THE OTHER END.CURRENT RATING OF 20KA. RED HEAVY DUTY BAG AND APPLICATOR HEAD.

GENERATOR, ALTERNATING CURRENT: TYPE: PETROL; POTENTIAL: 230 V; PHASE: SINGLE; POWER: 2.5 KVA; FREQUENCY 50/60 HZ; (2) WHEEL FRONT/BACK

2 X 10 M X 16 SQUARE MILLIMETER COPPER CABLES WITH YELLOW TRANSLUCENT PVC SHEATHING, A SNAP ON CLAMP ON ONE END AND A BRASS EARTH CLAMP ON THE OTHER END. 1 X 4 M X 16 SQUARE MILLIMETER CPPER CABLE WITH YELLOW TRANSLUCENT PVC SHEATHING WITH BRASS EARTH CLAMPS ON EAITHER SIDE. 4 X 2M X 16 SQUARE MILLIMETER CABLES WITH YELLOW TRANSLUCENT PVC SHEATHING WITH SNAP ON CLAMPS ON EITHER ENDS. ONE YELLOW HEAVY DUTY CARRY BAG AN APPLICATOR AND 1 CLUSTER BAR. CURRENT RATING 4KA.

GENERATOR, ALTERNATING CURRENT: TYPE: PETROL; POTENTIAL: 230 V; PHASE: SINGLE; POWER: 5 KVA; FREQUENCY 50/60 HZ; (2) WHEEL FRONT/BACK

KIT: TYPE: WORKING EARTH; APPLICATION: OVERHEAD LINE 33 KV; (1) STRANDED CU CABLE 16 MM2 X LG 4.5 M, WITH SCREW ON EARTH CLAMP-FIT EARTH SPIKE; ROD/SCREW ON CLUSTER BAR END CLAMP-FIT 25 MM BAR; (1) STRANDED CU CABLE 16 MM2 X LG 10 M, WITH SCREW ON CLUSTER BAR END CLAMP FIT 25 MM BAR/SNAP ONLINE END CLAMP-FIT CONDUCTOR; YELLOW SHEATHING/CARRY BAG

KIT: TYPE: WORKING EARTH; APPLICATION: OVERHEAD LINE 132 KV; (1) STRANDED CU CABLE 16 MM2 X LG 4.5 M, WITH SCREW ON EARTH CLAMP-FIT EARTH SPIKE; ROD/SCREW ON CLUSTER BAR END CLAMP-FIT 25 MM BAR; (1) STRANDED CU CABLE 16 MM2 X LG 10 M, WITH SCREW ON CLUSTER BAR END CLAMP FIT 25 MM BAR/SNAP ONLINE END CLAMP-FIT CONDUCTOR; YELLOW SHEATHING/BAG

INDICATOR: TYPE: FAULT PATH MK10; DIMENSIONS: WD 80 X LG 120 X HT 60 MM; RANGE: 1-36 KV; RATING: 25 KA; MONITORING A SINGLE-PHASE CONDUCTOR-OVERHEAD 3-PHASE RADIAL SYSTEM

KIT: TYPE: SAFELY EARTHING RED; APPLICATION: 3 X 6M 20KA RATED STRANDED COPPER OVERHEAD LEAD.APPLICATION TO CONDUCTOR IN SUBSTATION. SCREW TYPE CLAMP THAT WORKS WITH LINKSTICK APPLICATOR, AND SCREW TYPE CLAMP FOR STRUCTURE/NIPPLE BOLT 

SAW, POWER: TYPE: RECIPROCATING; BLADE SIZE: 50 MM; STYLE: CORDLESS HEAVY DUTY; RATING: 18 VOLT; WITH CASE; CHARGER; (2) LI-ION BATTERY

KIT: TYPE: SAFELY EARTHING RED; APPLICATION: 3 X 5M 25MMSQ STRANDED COPPER OVERHEAD APPLICATION TO CONDUCTOR IN SUBSTATION. SCREW TYPE CLAMP THAT WORKS WITH LINKSTICK APPLICATOR, AND SCREW TYPE CLAMP FOR STRUCTURE

SAW, POWER: TYPE: BATTERY INSULATED; BLADE SIZE: 184 MM; STYLE: LIVE WORK CLEANING; WITH CHARGER (CIGARRETE LIGHT PIN)

GLOBAL POSITIONING SYSTEM: TYPE: HANDHELD; DISPLAY: LCD; MAP 78S

SAW, POWER: TYPE: BATTERY INSULATED; BLADE SIZE: 184 MM; STYLE: LIVE WORK CLEANING; WITH CHARGER (CIGARRETE LIGHT PIN)

DRILL, POWER: TYPE: CORDLESS HEAVY DUTY; SPEED: 1500 RPM; CHUCK SIZE: 13 MM; POWER: 650 W; POTENTIAL: 28 V; CASE; CHARGER; (2) BATTERY 5 AH

GLOBAL POSITIONING SYSTEM: TYPE: HANDHELD; DISPLAY: LCD; MAP 78S

DRILL: TYPE: BT45; CHUCK SIZE: 13 MM; LENGTH: 235 MM; MATERIAL: METAL/PLASTIC; MANUF P/N: BT45

DRILL, POWER: TYPE: CORDLESS HEAVY DUTY; SPEED: 1500 RPM; CHUCK SIZE: 13 MM; POWER: 650 W; POTENTIAL: 28 V; CASE; CHARGER; (2) BATTERY 5 AH

DRILL: TYPE: PETROL; LENGTH: 470 MM; MATERIAL: CARBON STEEL; MANUF P/N: EDR400 

DRILL, POWER: TYPE: MAGNETIC; SPEED: 1ST GEAR 50-250; 2ND GEAR: 100-510 RPM; CHUCK SIZE: 35 MM; POWER: 1.2 W; POTENTIAL: 220-230 V

DRILL, POWER: TYPE: PORTABLE ELECTRIC POLE; SPEED: 115 RPM; DRIVE SIZE: 52 MM; MANUF P/N: B4-32

DRILL, POWER: TYPE: WOOD POLE; SPEED: 215–2130 RPM; DRIVE SIZE: 16 MM; CHUCK SIZE: 16 MM; POWER: 550 W; POTENTIAL: 18 V; POWER SOURCE: BATTERY; WITH CHARGER (CIGARRETE LIGHT PIN)

DRILL: TYPE: BT45; CHUCK SIZE: 13 MM; LENGTH: 235 MM; MATERIAL: METAL/PLASTIC; MANUF P/N: BT45

KIT: TYPE: WORKING EARTH; APPLICATION: OVERHEAD LINE 132 KV; (1) STRANDED CU CABLE 16 MM2 X LG 4.5 M, WITH SCREW ON EARTH CLAMP-FIT EARTH SPIKE; ROD/SCREW ON CLUSTER BAR END CLAMP-FIT 25 MM BAR; (1) STRANDED CU CABLE 16 MM2 X LG 10 M, WITH SCREW ON CLUSTER BAR END CLAMP FIT 25 MM BAR/SNAP ONLINE END CLAMP-FIT CONDUCTOR; YELLOW SHEATHING/BAG

DRILL: TYPE: PETROL; LENGTH: 470 MM; MATERIAL: CARBON STEEL; MANUF P/N: EDR400 

GRINDER: TYPE: ANGLE; BATTERY OPERATED; SIZE: 190 MM; DISK SIZE: ID 16 

X OD 190 X THK 2.4 MM; WITH CHARGER (CIGARRETE LIGHTER PIN)

DRILL, POWER: TYPE: MAGNETIC; SPEED: 1ST GEAR 50-250; 2ND GEAR: 100-510 RPM. 

CHUCK SIZE: 35 MM; POWER: 1.2 W; POTENTIAL: 220-230 V

DRILL, POWER: TYPE: PORTABLE ELECTRIC POLE; SPEED: 115 RPM; DRIVE SIZE: 52 MM; MANUF P/N: B4-32

DRILL, POWER: TYPE: WOOD POLE; SPEED: 215–2130 RPM; DRIVE SIZE: 16 MM; CHUCK SIZE: 16 MM; POWER: 550 W; POTENTIAL: 18 V; POWER SOURCE: BATTERY; WITH CHARGER (CIGARRETE LIGHT PIN)

GRINDER: TYPE: ANGLE; BATTERY OPERATED; SIZE: 190 MM; DISK SIZE: ID 16 X OD 190 X THK 2.4 MM; WITH CHARGER (CIGARRETE LIGHTER PIN)

TORCH: TYPE: HEAD; DIMENSIONS: SQ 38 X DP 55 MM

DRILL, POWER: TYPE: CORDLESS HEAVY DUTY; SPEED: 1500 RPM; CHUCK SIZE: 13 MM; POWER: 650 W; POTENTIAL: 28 V; CASE; CHARGER; (2) BATTERY 5 AH

INDICATOR: TYPE: FAULT PATH MK10; DIMENSIONS: WD 80 X LG 120 X HT 60 MM; RANGE: 1-36 KV; RATING: 25 KA; MONITORING A SINGLE-PHASE CONDUCTOR-OVERHEAD 3-PHASE RADIAL SYSTEM

DRILL: TYPE: BT45; CHUCK SIZE: 13 MM; LENGTH: 235 MM; MATERIAL: METAL/PLASTIC; MANUF P/N: BT45

SAW, POWER: TYPE: RECIPROCATING; BLADE SIZE: 50 MM; STYLE: CORDLESS HEAVY DUTY; RATING: 18 VOLT; WITH CASE; CHARGER; (2) LI-ION BATTERY

DRILL: TYPE: PETROL; LENGTH: 470 MM; MATERIAL: CARBON STEEL; MANUF P/N: EDR400 

DRILL, POWER: TYPE: MAGNETIC; SPEED: 1ST GEAR 50-250; 2ND GEAR: 100-510 RPM; CHUCK SIZE: 35 MM; POWER: 1.2  W; POTENTIAL: 220-230 V

DRILL, POWER: TYPE: PORTABLE ELECTRIC POLE; SPEED: 115 RPM; DRIVE SIZE: 52 MM; MANUF P/N: B4-32

DRILL, POWER: TYPE: WOOD POLE; SPEED: 215–2130 RPM; DRIVE SIZE: 16 MM; CHUCK SIZE: 16 MM; POWER: 550 W; POTENTIAL: 18 V; POWER SOURCE: BATTERY; WITH CHARGER (CIGARRETE LIGHT PIN)

TORCH: TYPE: HEAD; DIMENSIONS: SQ 38 X DP 55 MM

TESTER: TYPE: MULTIFUNCTION; FREQUENCY: 50/60 HZ; ACCURACY: +-2 PCT; DIMENSIONS: WD 150 X LG 235 X HT 85 MM; RANGE: CONTINUITY: 0.01-99.9 OHM; GROUND TEST CURRENT:  4.5 MA

STICK: TYPE: PHASING

TESTER: TYPE: MULTIMETER 179; POTENTIAL: 1000 V DC/AC RMS; FREQUENCY: 100 HZ; ACCURACY: DC 0.09 PCT; DIMENSIONS: WD 90 X LG 185 X THK 43 MM; DISPLAY TYPE: DIGITAL; POWER: ALKALINE BATTERY 200 HR

TESTER: TYPE: ALCO C1C116:C149; FREQUENCY: 50 HZ; ACCURACY: +-0.05 PCT; DIMENSIONS: WD 56 X LG 124 X HT 41 

MM; DISPLAY TYPE: ZERO: GREEN/LOW: RED/HIGH: BLINKING RED

TESTER: TYPE: MULTIMETER 189; POTENTIAL: AC 2.5 MV TO 1000 V; DC 0-1000 V; FREQUENCY: 0.5 HZ TO 1000 KHZ; ACCURACY: AC 0.025 PCT; DC 0.4 PCT. 

DIMENSIONS: SQ 5 X THK 1 IN; DISPLAY TYPE: ANALOG/DIGITAL

TRANSFORMER: TYPE: VARIAC; CURRENT: 10 A; POTENTIAL: 415 VAC; PHASE: 3; APPARENT POWER: 8.14 KVA; MOUNTING: SURFACE; 50/60 HZ; SQ 175 X DP 410 MM

TESTER: TYPE MULTIMETER 289; TRUE-RMS INDUSTRIAL LOGGING MULTIMETER WITH TRENDCAPTURE. RANGE: 50 mV to 1 Kv, ; 50 OHMS to 500 MOHMS WEIGHT: 871 g

TESTER: TYPE: INSULATION RESISTANCE; POTENTIAL:  30-600 V; FREQUENCY: 50/60 HZ; ACCURACY: +-5 PCT; DIMENSIONS: WD 260 X LG 330 X HT 160 MM; RANGE: 1-10 KV; CURRENT: 0.5-0.55 MA

TESTER: TYPE: MULTIMETER; POTENTIAL: 1000 VDC; 750 VAC; FREQUENCY: 50/60 HZ; ACCURACY: +-5 PCT; DIMENSIONS: WD 72 X LG 155 X HT 32 MM; RANGE: 200 K OHM

TESTER: TYPE: MULTIFUNCTION; FREQUENCY: 50/60 HZ; ACCURACY: +-2 PCT; DIMENSIONS: WD 150 X LG 235 X HT 85 MM; RANGE: CONTINUITY: 0.01-99.9 OHM; GROUND TEST CURRENT:  4.5 MA

TESTER: TYPE CLAMP ON AMMETER: POTENTIAL 1000V Fluke 303 Clamp Meter, Max Current 600A ac CAT III 600 V

TESTER: TYPE: MULTIMETER 179; POTENTIAL: 1000 V DC/AC RMS; FREQUENCY: 100 HZ; ACCURACY: DC 0.09 PCT; DIMENSIONS: WD 90 X LG 185 X THK 43 MM; DISPLAY TYPE: DIGITAL; POWER: ALKALINE BATTERY 200 HR

TESTER: TYPE: CLAMP METER; FREQUENCY: 50 HZ; ACCURACY: <=5 PCT; DIMENSIONS: WD 112 X LG 271 X HT 46 MM; RANGE: 0-1 MOHM; 0-1 KV; DISPLAY TYPE: DIGITAL; 1000 A

TESTER: TYPE: MULTIMETER 189; POTENTIAL: AC 2.5 MV TO 1000 V; DC 0-1000 V; FREQUENCY: 0.5 HZ TO 1000 KHZ; ACCURACY: AC 0.025 PCT; DC 0.4 PCT; DIMENSIONS: SQ 5 X THK 1 IN; DISPLAY TYPE: ANALOG/DIGITAL

TESTER: TYPE: CLAMP METER; FREQUENCY: 50/60 HZ; ACCURACY: +-5 PCT; DIMENSIONS: WD 112 X LG 271 X HT 46 MM; DISPLAY TYPE: DIGITAL; 5 A

METER: TYPE: DC CLAMP METER 365; RANGE: 0-1000 A; READOUT: DIGITAL; STYLE: RANGE TAKING; FREQUENCY RANGE: 50 HZ; VOLTAGE RANGE: 0-1000 V; RESISTANCE RANGE: 0-1 MOHM; DC CLAMP METER 365

OSCILLOSCOPE: TYPE: PORTABLE; LENGTH: 259.5 MM; POWER SOURCE: 100-240 VAC; BANDWIDTH: 60-100 MHZ; WIDTH: 163.2 MM; HEIGHT: 53.3 MM

TESTER: TYPE: AMBIENT TEMPERATURE; FREQUENCY: 100 HZ; ACCURACY: +-0.2 DEG C; DIMENSIONS: WD 79 X LG 169 X HT 29 MM; RANGE: 37 MM AT 100 DEG C

TESTER: TYPE: PORTABLE EARTH LEAKGE; POTENTIAL: 230 V; FREQUENCY: 50/60 HZ; DIMENSIONS: 400 MM; RANGE: X25; CURRENT SETTING 10-35 MA

METER: TYPE: 3 PHASES; READOUT: DISPLAY LCD; STYLE: ROTATION

TESTER: TYPE: POLARITY; FREQUENCY: 50/60 HZ; ACCURACY: +-0.5 PCT; DIMENSIONS: WD 356 X LG 470 X HT 190 MM; FOR CURRENT TRANSFORMERS

METER: TYPE: CONDUCTIVITY; RANGE: 2000 MICRO S, 20.00 MILLI S, TDS: 2000 PPM 20000 PPM; READOUT: LCD 20 X 28 MM; STYLE: HANDHELD; VOLTAGE: 1.5 VDC; FREQUENCY RANGE: 50/60 HZ; ACCURACY: +-2 PCT FS + 1 D; DIMENSIONS: WD 148 X LG 203 X HT 78 MM

DETECTOR: TYPE: VOLTAGE 375; RATING: 11/33 KV; HORIZONTAL/VERTICAL DISTANCE; CC-875-K

TESTER: TYPE: TEMPERATURE; FREQUENCY: 100 HZ; ACCURACY: +-0.05 PCT AT 0.4 DEG C; DIMENSIONS: WD 79 X LG 169 X HT 29 MM; RANGE: 400 DEG C

TESTER: TYPE: CLAMP METER; FREQUENCY: 50/60 HZ; ACCURACY: +-5 PCT; DIMENSIONS: WD 112 X LG 271 X HT 46 MM; DISPLAY TYPE: DIGITAL; 5 A

METER: TYPE: DC CLAMP METER 365; RANGE: 0-1000 A; READOUT: DIGITAL; STYLE: RANGE TAKING; FREQUENCY RANGE: 50 HZ; VOLTAGE RANGE: 0-1000 V; RESISTANCE RANGE: 0-1 MOHM; DC CLAMP METER 365

OSCILLOSCOPE: TYPE: PORTABLE; LENGTH: 259.5 MM; POWER SOURCE: 100-240 VAC; BANDWIDTH: 60-100 MHZ; WIDTH: 163.2 MM; HEIGHT: 53.3 MM

TESTER: TYPE: AMBIENT TEMPERATURE; FREQUENCY: 100 HZ; ACCURACY: +-0.2 DEG C; DIMENSIONS: WD 79 X LG 169 X HT 29 MM; RANGE: 37 MM AT 100 DEG C

THERMOMETER: TYPE: ELECTRONIC; RANGE: 400 DEG C; GRADUATIONS: -200 TO 400 DEG C

TESTER: TYPE: MULTIFUNCTION; FREQUENCY: 50/60 HZ; ACCURACY: +-2 PCT; DIMENSIONS: WD 150 X LG 235 X HT 85 MM; RANGE: CONTINUITY: 0.01-99.9 OHM; GROUND TEST CURRENT:  4.5 MA

THERMOMETER: TYPE: ALCOHOL; RANGE: 2-8 AND -15 TO -25 DEG C; GRADUATIONS: -20 TO 110 DEG C

TESTER: TYPE: MULTIMETER 179; POTENTIAL: 1000 V DC/AC RMS; FREQUENCY: 100 HZ; ACCURACY: DC 0.09 PCT; DIMENSIONS: WD 90 X LG 185 X THK 43 MM; DISPLAY TYPE: DIGITAL; POWER: ALKALINE BATTERY 200 HR

11KV TO 33KV SINGLE- AND THREE PHASE OVERHEAD LINES AND ASSOCIATED EQUIPMENT, AND APPARATUS WITHIN HIGH VOLTAGE SUBSTATIONS, INCLUDING 19KV SWER OVERHEAD LINES AND ASSOCIATED EQUIPMENT;

TESTER: TYPE: HV HORIZONTAL DISTANCE

UNIT FOUR: 44KV TO 132KV SINGLE- AND THREE PHASE OVERHEAD LINES AND ASSOCIATED EQUIPMENT, AND 

APPARATUS WITHIN HIGH VOLTAGE SUBSTATIONS; 

1KV TO 3,3KV SINGLE- AND THREE-PHASE OVERHEAD LINES AND ASSOCIATED EQUIPMENT, AND APPARATUS WITHIN HIGH VOLTAGE SUBSTATIONS

METER: TYPE: ULTRASONIC HEIGHT 600 E; RANGE: 23 M; READOUT: LCD DISPLAY; STYLE: DIGITAL; ACCURACY: 0.5 PCT AT 2 DIGITS; DIMENSIONS: WD 4 X LG 8-1/2 X HT 3 IN

RANGE FINDER: TYPE: DIGITAL LASER; RANGE: 500 M; +-1 PCT; WD 70 X LG 101 X HT 52 MM

RANGE FINDER: TYPE: BINOCULAR; RANGE: 2000 M

TESTER: TYPE: HV INSULATION; POTENTIAL: 10 KV; FREQUENCY: 10-500 HZ; ACCURACY: 5 PCT AT 3 DIGITS; DIMENSIONS: WD 335 X LG 345 X THK 160 MM; MET01 - TERAOHM LT 10 KV; 15-25 A; DIGITAL; ELECTRONIC INTERFACE

UNIT TWO: 3,3KV TO 11KV SINGLE- AND THREE PHASE OVERHEAD LINES AND ASSOCIATED EQUIPMENT, AND APPARATUS WITHIN HIGH VOLTAGE SUBSTATIONS. 

TESTER: TYPE: MULTIFUNCTION; FREQUENCY: 50/60 HZ; ACCURACY: +-2 PCT; DIMENSIONS: WD 150 X LG 235 X HT 85 MM; RANGE: CONTINUITY: 0.01-99.9 OHM; GROUND TEST CURRENT:  4.5 MA

TESTER: TYPE: MULTIMETER 179; POTENTIAL: 1000 V DC/AC RMS; FREQUENCY: 100 HZ; ACCURACY: DC 0.09 PCT; DIMENSIONS: WD 90 X LG 185 X THK 43 MM; DISPLAY TYPE: DIGITAL; POWER: ALKALINE BATTERY 200 HR

TESTER: TYPE: MULTIMETER 179; POTENTIAL: 1000 V DC/AC RMS; FREQUENCY: 100 HZ; ACCURACY: DC 0.09 PCT; DIMENSIONS: WD 90 X LG 185 X THK 43 MM; DISPLAY TYPE: DIGITAL; POWER: ALKALINE BATTERY 200 HR

CUTTER: TYPE: BRUSH, PETROL FS360; SIZE: 7.67 IN; WITH BLADES/HARNESS; BAR LG MIN 380 X MAX 450 MM; PITCH 3/8 IN; POWER 2.9 KW; 50-350 NM

TESTER: TYPE: HV HORIZONTAL DISTANCE

CUTTER: TYPE: BRUSH, PETROL SRM420; SIZE: 7.67 IN; 20-4000 NM

TESTER: TYPE:  POTENTIAL: 250 V; FREQUENCY: 50 HZ; ACCURACY: +-0.2 DEG; RANGE: CT MODE: 1, 4 V; PT MODE: 1, 4, 10, 40, 100, 250 V; 3 PHASE TRANSFORMER TURNS RATIO TESTER WITH BUILT-IN BATTERY/PRINTER; 0-1500 VA; DIGITAL; ELECTRONIC INTERFACE

SET: TYPE: SAFETY GEAR; APPLICATION: BRUSH CUTTER; COMPRISING: (3) TEST LEADS WITH CONNECTORS/CLIPS/TERMINAL ADAPTORS

PRINTER: TYPE: CABLE MAKER

SAW, POWER: TYPE: RECIPROCATING; BLADE SIZE: 355 MM; RATING: 1300 W

TESTER: TYPE: INSULATION RESISTANCE; POTENTIAL: 0-10 KV; ACCURACY: +-5 PCT; DIMENSIONS: SQ 200 X LG 300 MM

GRINDER, ELECTRIC: TYPE: INDUSTRIAL; SPEED: 11000 RPM; WHEEL SIZE: 115 MM MM POWER: 840 W; WD 129 X LG 271 X HT 106 MM

PRINTER, LABEL: WD 100 X LG 250 X HT 125 MM

GRINDER, ELECTRIC: TYPE: INDUSTRIAL; SPEED: 6500 RPM; WHEEL SIZE: 230 MM; POWER: 2200 W; WD 190 X LG 580 X HT 120 MM; SPINDLE LOCK M14

HEAT GUN, ELECTRIC: POWER: 1500 W; SPECIAL FEATURES: FAN SPEED 10-18 FT3/MIN; LATTICE LENGTH 90-600 DEG C; TEMPERATURE RANGE 50-450 DEG C

DRILL, POWER: TYPE: CORDLESS ROTARY HAMMER; SPEED: 0-1200; 0-4800 RPM; CHUCK SIZE: CONCRETE: 26 MM; STEEL: 13 

MM; WOOD: 32 MM; POTENTIAL: 36 V; WITH CASE; CHARGER; (2) BATTERY 2.6 AH

WRENCH, IMPACT: DRIVE SIZE: 1/2 IN; POWER SOURCE: 28 V LI-ION; TORQUE: 440 NM; SPEED: 0-1450 RPM; DUTY: HEAVY DUTY; CORDLESS; WITH CASE; CHARGER; (2) BATTERY

BLOCK, TEST: TYPE: HANDLE

LEAD: TYPE: TEST

ANALYZER: TYPE: CT ACCURACY/PHASE ANGLE VERIFICATION TEST UNIT; RANGE: 0-5 A; 0-120 V; POWER SOURCE: 110-240 VAC 50 HZ

ANALYZER: TYPE: VT TESTING; HARD NYLON

SAW, POWER: TYPE: CORDLESS HEAVY DUTY; STYLE: RECIPROCATING; RATING: 18 V; CUTTING RANGE: ALUMINIUM/STEEL: 6 MM; WOOD: 50 MM; 2700 RPM; STROKE LG 1800 MM; WITH CASE; CHARGER; (2) BATTERY

BLOWER, ELECTRICAL: TYPE: PANEL CORDLESS HEAVY DUTY; CAPACITY: 3-5 AH; POTENTIAL: 18 V; POWER: 35 NM; AIR SPEED 230 KM/H; AIR VOLUME 480 NM3/H; SPEED 6000-12000 RPM; WITH CAS; CHARGR; (2) BATTERY

INVERTER: TYPE: PWM-QUASI SQUARE WAVE; POWER: 2 KW; OUTPUT RATING: 200-240 VAC 200-5500 VA 50 +-0.5 HZ; INPUT RATING: 140-280 VAC 47-53 HZ; 12/24/36/48/72 VDC; BATTERY TYPE: LEAD ACID/TUBULAR; OPERATING TEMPERATURE: 0-50 DEG C

TOOL: TYPE: STRAPPING C00169; STYLE: BAND-IT; DIMENSIONS: WD 101.6 X LG 254 X HT 76.2 MM; FINISH MATERIAL: EPOXY POWDER COATED; 1088.62 KG CUTS OFF THE TAIL OF THE CLAMP BEING FORMED

DRILL, POWER: TYPE: CORDLESS HEAVY DUTY; SPEED: 0-1300 RPM; POTENTIAL: 28 V; WITH CASE; CHARGER; (2) BATTERY 5 AH

DRILL, POWER: TYPE: CORDLESS HEAVY DUTY; SPEED: 10-1800 RPM; POTENTIAL: 18 V; WITH CASE; CHARGER; (2) BATTERY 5 AH

DRILL, POWER: TYPE: CORDLESS HEAVY DUTY; SPEED: 10-1800 RPM; POTENTIAL: 18 V; WITH CASE; CHARGER; (2) BATTERY 5 AH

GRINDER, ELECTRIC: TYPE: CORDLESS HEAVY DUTY; POTENTIAL: 18 V; SPEED: 0-400/1-1500 RPM; POWER: 40 NM; ADJUSTABLE; WITH CASE; CHARGER; (2) BATTERIES 1.5 AH

GRINDER, ELECTRIC: TYPE: CORDLESS HEAVY DUTY; POTENTIAL: 18 V; SPEED: 0-400/1-1500 RPM; POWER: 40 NM; ADJUSTABLE; WITH CASE; CHARGER; (2) BATTERIES 1.5 AH

SAW, POWER: TYPE: CORDLESS HEAVY DUTY; STYLE: RECIPROCATING; RATING: 18 V; CUTTING RANGE: ALUMINIUM/STEEL: 6 MM; WOOD: 50 MM; 2700 RPM; STROKE LG 1800 MM; WITH CASE; CHARGER; (2) BATTERY

BLOWER, ELECTRICAL: TYPE: PANEL CORDLESS HEAVY DUTY; CAPACITY: 3-5 AH; POTENTIAL: 18 V; POWER: 35 NM; AIR SPEED 230 KM/H; AIR VOLUME 480 NM3/H; 

SPEED 6000-12000 RPM; WITH CAS; CHARGR; (2) BATTERY

INVERTER: TYPE: PWM-QUASI SQUARE WAVE; POWER: 2 KW; OUTPUT RATING: 200-240 VAC 200-5500 VA 50 +-0.5 HZ; INPUT RATING: 140-280 VAC 47-53 HZ; 12/24/36/48/72 VDC; BATTERY TYPE: LEAD ACID/TUBULAR; OPERATING TEMPERATURE: 0-50 DEG C

TOOL: TYPE: STRAPPING C00169; STYLE: BAND-IT; DIMENSIONS: WD 101.6 X LG 254 X HT 76.2 MM; FINISH MATERIAL: EPOXY POWDER COATED; 1088.62 KG CUTS OFF THE TAIL OF THE CLAMP BEING FORMED

VISE: TYPE: BENCH; MATERIAL: BODY CAST STEEL; JAW NOMINAL WIDTH: 200 MM; JAW OPENING CAPACITY: 225 MM; BASE TYPE: 360 DEG SWIVEL BASE; LG 492 X HT 89 MM

CUTTER, BOLT: HEAD TYPE: HEAVY DUTY; SIZE: 350 MM; MATERIAL: CHROME VANADIUM STEEL

CUTTER, BOLT: HEAD TYPE: HEAVY DUTY; SIZE: 600 MM; MATERIAL: CHROME VANADIUM STEEL

CUTTER, BOLT: HEAD TYPE: HEAVY DUTY; SIZE: 910 MM; MATERIAL: CHROME VANADIUM STEEL

CUTTER, BOLT: HEAD TYPE: ADJUSTABLE JAW; MATERIAL: CHROME VANADIUM STEEL; MATERIAL ACCOMODATED DIAMETER: 25 MM

SHADE: TYPE: GAZEBO SELF ERRECTING; DIMENSIONS: SQ 3 M

TORCH OUTFIT, WELDING: TYPE: PORTABLE PORTAPACK; ACCOMODATED ITEMS: OXY ACETYLENE GAS WELDING SETS/BOTTLES; (1) ACETYLENE CYLINDER (PORTA PACK SIZE); (1) ACETYLENE REGULATOR (2 GAUGE) MODEL 101-1.4M-AC; (1) BRAZING HANDLE C/W MIXER AND 3 NOZZLES MODEL AG-265; (2) FLASHBACK ARRESTORS; (2) HOSE DIA 6MM X LG 3 M WITH 3/8 IN BSP FITTINGS; (1) OXYGEN REGULATOR (2 GAUGE) MODEL 101-7M-OX; (1) OXYGEN CYLINDER (PORTA PACK SIZE)

CUTTER, BOLT: HEAD TYPE: HEAVY DUTY; SIZE: 910 MM; MATERIAL: CHROME VANADIUM STEEL

CUTTER, BOLT: HEAD TYPE: ADJUSTABLE JAW; MATERIAL: CHROME VANADIUM STEEL; MATERIAL ACCOMODATED DIAMETER: 25 MM

SHADE: TYPE: GAZEBO SELF ERRECTING; DIMENSIONS: SQ 3 M

TORCH OUTFIT, WELDING: TYPE: PORTABLE PORTAPACK; ACCOMODATED ITEMS: OXY ACETYLENE GAS WELDING SETS/BOTTLES; (1) ACETYLENE CYLINDER (PORTA PACK SIZE); (1) ACETYLENE REGULATOR (2 GAUGE) MODEL 101-1.4M-AC; (1) BRAZING HANDLE C/W MIXER AND 3 NOZZLES MODEL AG-265; (2) FLASHBACK ARRESTORS; (2) HOSE DIA 6MM X LG 3 M WITH 3/8 IN BSP FITTINGS; (1) OXYGEN REGULATOR (2 GAUGE) MODEL 101-7M-OX; (1) OXYGEN CYLINDER (PORTA PACK SIZE)

KIT: TYPE: TORCH; APPLICATION: GUN BRAZING FLAME; COMPRISING: LPG 

HEATING BURNER; OXY PRESSURE 500 KPA; LPG PRESSURE 100 KPA; OXY 

CONSUMPTION 48 L/MIN; LPG CONSUMPTION 12 L/MIN; HEAT OUTPUT 40 MJ/HR

PIPE, NON-METALLIC: NOMINAL PIPE SIZE DESIGNATION: ID 9.5/8 X OD 16/14.5 MM; MATERIAL: PVC; LENGTH: 50 M; WALL THICKNESS: 6-7.5 MM; TYPE: NON METALIC; FOR LP GAS

REGULATOR: TYPE: LP GAS; CONNECTION: (2) HOSE CLAMP

PUMP: TYPE: ELECTRICAL; CAPACITY: 60 L/S; RATING: 880 W; POTENTIAL: 230 V; APPLICATION: OIL DRUM

GAUGE, FEELER: DIMENSIONS: LG 100 MM; BLADES: 13

PUMP, CENTRIFUGAL: NPSH: 8 M; CAPACITY: 164 GAL/MIN; TOTAL HEAD: 32 M; SIZE: 2 IN-NPT; SPEED: 3600 RPM; STAGE: 2; TYPE: DRAINAGE OIL; SELF-PRIMING; IMPELLER 4 VANE CASTIRON; SEAL SILICON CARBIDE/SILICON CARBIDE

PUMP: TYPE: DRAINAGE; CAPACITY: 130 L/MIN; POTENTIAL: 230 V; APPLICATION: PETROL DRUM

WASHER, PRESSURE CLEANING: TYPE: HIGH PRESSURE; FLOW RATE: 36000 L/MIN; PRESSURE RATING: 350 BAR; POWER SOURCE: 400 V 3 PH 15 KW; SPEED: 1450 RPM, MAX INLET TEMP 28 DEG C

HAND TOOLBOX FOR PTO/STO THREE TRAY * COATED STEEL * POWDER COATED TOOLKIT

HAND TOOLBOX FOR TO THREE TRAY * STEEL * POWDER COATED *




Manufacture & fabrication

As specified in the Specification unique identifier number M&O -GAUTENG CLUSTER-2024-09-05.
Operating manuals and maintenance schedules

All the tools are to come with manuals and maintenance schedules.
Supply Requirements

As specified on User specification with unique identifier number M&O -GAUTENG CLUSTER-2024-09-05.

Specification of the services to be provided

As specified on User specification with unique identifier number M&O -GAUTENG CLUSTER-2024-09-05.

Constraints on how the Supplier Provides the Goods

Programming constraints 

The Supplier is to indicate all detailed activities for supply and delivery of the goods per purchase order to be issued for acceptance by the Supply Manager prior to the finalisation of the purchase order.The brand and make are to be specified on the activities for approval.

The Supplier shall supply the goods in accordance with the specified requirements and applicable Eskom standards
Constraints at the delivery place and place of use

The Supplier will have to allow sufficient time provision for the delivery of the products to the specified delivery place due to limits at the place of delivery to accommodate multiple simultaneous deliveries. The supplier to adhere to Eskom live saving rules and rules of the specific CNC or delivery location.
Cooperating with Others

The Supplier’s delivery personnel will have to comply to all security and safety requirements prior to the entry at the pace of delivery.

Management meetings

Regular meetings of a general nature may be convened and chaired by the Supply Manager as follows:

	Title and purpose
	Approximate time & interval
	Location
	Attendance by:

	Risk register and compensation events
	Weekly on ________ at ___
	TBC
	All required Stakeholders

	Overall contract progress and feedback
	Monthly on _____ at ___
	
	All required Stakeholders

	
	
	
	


Meetings of a specialist nature may be convened as specified elsewhere in this Goods Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the manufacture of the goods.  Records of these meetings shall be submitted to the Supply Manager by the person convening the meeting within five days of the meeting.  

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.  

Documentation control

The Supplier shall maintain electronic copies of all contract-related documentation in an organized and accessible folder. These documents shall be made available to the Employer upon request.

Contractual communication will be in a form of properly compiled letters or forms in a chronological order, attached to emails.

Health and safety risk management

The Supplier shall comply with the health and Safety requirements stated here or contained on the SHE specification document No. 240-73419711rev1.
Environmental constraints and management

The Supplier shall comply with the Environmental criteria and constraints stated here or contained on the document No. 240-DX-GP-003T
Quality

The Supplier shall comply with the Supplier Quality Management Specification requirements stated here or contained on specification document No. 240-105658000-QM58
Invoicing and payment
Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice showing the amount due for payment equal to that stated in the Supply Manager’s certificate.  
The Supplier shall address the tax invoice to Purchaser and include on each invoice the following information:

· Name and address of the Supplier and the Supply Manager; 

· The contract number and title;

· Supplier’s VAT registration number;

· The Purchaser’s VAT registration number.
· Description of goods and services provided for each item invoiced based on the Price Schedule;

· Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

· Good receipts

	General Information
	X

	-     No Pro-forma Invoice
	

	-     Check Vendor number against the Address and name on Tax invoice
	

	-     Insert the Vendor number on Tax invoice (Top right-hand corner)
	

	-     Bank details must be on the invoice or on an attached sheet, but it does not require a bank stamp just a letter)
	

	-     Check banking details on invoice against SAP system. If more than one banking account check bank account against banking details on invoice. If banking details not on invoice, write the bank code next to the vendor account (bank code 0002)
	

	-     Check Vendor VAT number against the vendor master. (FK03) If VAT number not on master records, prepare a list and forward to Vendor Management to check and update the vendor master records
	

	-     No fax copies of Tax invoices allowed
	

	-     No copies of Tax invoices allowed unless originally printed by the Vendor if a photocopy tax invoice, it must be an original “certified copy” (i.e., not a copy of a “certified copy” invoice) from the vendor and check in system if not previously be paid. Put stamp “not previously paid” on invoice and sign.
	

	-     Ensure that date received stamp is clear on invoice
	

	-     Stamp all Invoices with the Vat stamp, complete and sign (only when VAT is applicable)
	

	-     The stamp should not be stamped over any written information
	

	-     When scanning invoice, check the quality before linking in SAP (inboxes)
	

	
	

	With Reference Invoices
	X

	-     Goods receipt must be done (payment with reference)
	

	-     Ensure that the SAP purchase order number is clear and correct on the invoice
	

	-     GR number to be written on the Invoices
	

	-     If multiple lines on invoice write the line number of the order against the line to ensure that the processors match the correct lines (to ensure that 191100 is matched correctly)
	


Insurance provided by the Purchaser
The Supplier is to provide all insurances up to the point of delivery where they are responsible to deliver.

Contract change management 
All instructions pertaining to this contract must be provided in writing and Eskom governance process must be taken into consideration.
Provision of bonds and guarantees

The form in which a bond or guarantee required by the conditions of contract (if any) is to be provided by the Supplier is given in Part 1 Agreements and Contract Data, document C1.3, Sureties.  

The Purchaser may withhold payment of amounts due to the Supplier until the bond or guarantee required in terms of this contract has been received and accepted by the person notified to the Supplier by the Supply Manager to receive and accept such bond or guarantee.  Such withholding of payment due to the Supplier does not affect the Purchaser’s right to termination stated in this contract. 

Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier
Original documents must be kept by the Supplier and filed in a logical sequence as well as access granted to the Supply Manager upon request.

Procurement
Subcontracting

Preferred subcontractors

SC does not make use of nominated subcontracting, but the Purchaser may list which subcontractors or sub-suppliers the Supplier is required to enter into subcontracts with (if any).  This is usually only required where plant and materials need to be obtained from a particular supplier or group of suppliers in order to comply with operational standards for the goods.

Limitations on subcontracting

The Purchaser may require that the Supplier must subcontract certain specialised work, or that the Supplier shall not subcontract more than a specified proportion of the whole of the contract.  

Spares and consumables
Some contracts may need to include provision for the supply of a minimum category of spares, fuel, oil or other consumables which the Purchaser may need at or just after delivery or commissioning of the goods and that it is best the Supplier provide these initially as part of his Providing the Goods and Services  
Other requirements related to procurement

Other requirements such as ASGISA or socio political enhancements the Supplier is to provide as part of Providing the Goods and Services (if any) could be included here.
List of drawings

Drawings issued by the Purchaser
This is the list of drawings issued by the Purchaser at or before the Contract Date and which apply to this contract.  

	Drawing number
	Revision
	Title

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


C3.2
Supplier’s Goods Information

	This section of the Goods Information will always be contract specific depending on the nature of the goods and services.

It is most likely to be required for supply contracts where the tendering supplier will have proposed specifications and schedules for the goods and services, which once accepted by the Purchaser prior to award of contract now become obligations of the Supplier per core clause 20.1.




This section could also be compiled as a separate file.



� This total is required by the Purchaser for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.


� Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902, www.ecs.co.za.


� International Chamber of Commerce, Incoterms 2010, Paris, January 2011


� Either April 2013 or December 2009 Edition as stated by Purchaser in Contract Data part 1.


� Available from Engineering Contract Strategies Tel 011 803 3008, Fax 086 539 1902, or � HYPERLINK "http://www.ecs.co.za" �www.ecs.co.za� 







Contract
- ii -
SC3 Cover pages


