TENDER NUMBER – NLM/TS/005/2023-24: “Monyakeng: Construction of sewer network for 950 stands in khalinkomo and Vergenoeg.

SCOPE

PORTION 1: THE WORKS

# PS 1	GENERAL DESCRIPTION OF WORKS

Sewer Supply Distribution Networks

- 160mm Ø – 11.5km

- 200mm Ø – 10m

- 110mm Ø – 60m

- Complete waterborne toilet structure for each erf

Sewer Pump Station

- Sump and pump station – 2No.