REQUEST FOR QUOTE FOR PROFESSIONAL SERVICES – STANDARD FORMAT

| RFQ | BUILDING AND ELECTRICAL MAINTENANCE AT THE ARTBANK SA OFFICES |
| --- | --- |
| RFQ ZA |  |
| ISSUE DATE | 18 April 2023 |
| CLOSING DATE | 27 April 2023 |
| CLOSING TIME | 18H00 |

- Background to the National Museum

The National Museum - a natural history, cultural history and art museum was established in 1877 and is a declared cultural institution, which resorts under the Department of Arts and Culture and is governed by a council.  The mission of the National Museum is to provide heritage resources and an enjoyable experience to all people through quality research, conservation, education and exhibitions.  More information about the organisation can be found at www.nasmus.co.za

- Purpose and Background

Background

A compulsory briefing meeting with representatives of the Employer will take place at the Oliewenhuis Art Museum Art Bank Offices, 16 Harry Smith Street, Dan Pienaar, Bloemfontein on  20 April 2023 at 11:30 am.

Technical Enquiries: ZE Mantsengu

Email                       : facilitiesmanager@nasmus.co.za

Tell                          : 051 447 9609

The Occupational Health and Safety Act 1993 (Act No 85 of 1993), the South African electrician’s work must comply with SANS 10142-1 (Edition 2), which is the most recent legislation applicable to the electrical trade shall apply

This, along with the OHS Act’s regulations such as the Electrical Installation Regulations, Electrical Machinery Regulations, and General Safety Regulations

Scope of Work (Terms of Reference)

The National Museum intends to appoint of a Service provider for the Building & Electrical Maintenance at Oliewenhuis “Art Museum Art Bank Offices”, which are based in the Free State Province.

The National Museum by inviting Requests to Quote (RFQ) intends to enter into a suitable once off contract for the required work, using stringent compliance criteria to ensure that contract entered into with a professional service provider who has the capability and capacity to provide the services.

Professional service provider will be expected to meet all the conditions of the various forms of contract that are utilized by the Employer (The National Museum).

Location of the works

The Works are located at Oliewenhuis Art Museum, 16 Harry Smith Street, Dan Pienaar Bloemfontein 9301

Description of the works and services

Building & Electrical Maintenance

Scope of Work:

- Supply and installation of new ceilings

- Supply and Installation of lights

- Paintwork

- Testing and Provision of a COC

Required Deliverables:

The quality of service delivered must be per the National Museum standards/requirements. No payments will be made if the works does not meet the National Museum standards. COVID 19 protocols to be observed by the appointed service provider during delivery and conducting of the works

NB: YOU ARE EXPECTED TO PROVIDE YOUR OWN EQUIPMENT AND TRANSPORT UNLESS INCLUDED IN THE P&G’s

Compulsory Registration with CIDB Grading:

1 GB PE or Higher

And

1 EB or Higher

Participants arriving late will not be allowed into the briefing!!!!!!!

- Compulsory requirements

The bidder must attach the following documents to the quotation as follows;

    - at least three (3) years’ experience in provision of similar services supported by at least three (3) contactable reference letters. A bidder will score more points on technical assessment with more than the required number of years of experience as indicated above. Contactable written reference letter(s) must be attached to support the number of years’ claimed by the bidder.

    - a valid copy or copies of relevant professional registration with a professional body or professional bodies must be attached.

    - Attached SBD forms 4 must be completed and signed and a completed and signed copy must be attached

    - a copy of a detailed CV(s) and qualification(s) of the technician or expert to be used on this project must also accompany the quote.

    - the bidder must be tax compliant and a tax pin issued by SARS must be attached.

    - the must be registered on CSD and CSD supplier report must be attached.

    - the bidder must be an active company registered in the Republic of South Africa and a copy of CIPC registration documents must be attached.

    - Compulsory registration with CIBD 1 GB PE or higher.

Matters for noting

- Non-compliance to the above compulsory requirements will lead to a disqualification of the bidder, except for non-tax compliant with tax matter which is subject to grace period of at least 7 days that will be provided to a preferred service provider should that service provider is not compliant following bid evaluation.

- Failure by this preferred service provider to rectify its tax matters to a compliant status within the grace period provided will lead to an automatic disqualification.

- Validity period for bids or formal written quotations submitted shall be valid for a minimum period of thirty (30) days. The formal written price quotations received from the service provider/supplier will be regarded as valid for 30 days despite expiry date less than 30 days indicated on a quote.

5	Price and Preference Points Evaluation

|  | Preference Points Criteria | Points Allocation |
| --- | --- | --- |
| 1 | Price | 80 |
| 2 | Broad – Based Black Economic Empowerment (BBBEE) | 20 |
|  | Total Points | 100 |

- Bid Evaluation.

All bidders will be subject to a three-stage technical evaluation process as follows;

  - Pre-screening, i.e. determination of compliance to compulsory requirements. The will be required to pass pre-screening to be eligible for further evaluation.

  - Technical assessment, measurement of capability. The bidder will be required to obtain a minimum of 60 points in order to be eligible for preferential procurement evaluation.

  - Preferential procurement calculation 80/20, whereby 80 is for price and 20 points for BBBEE points.

- Technical Assessment

| FUNCTIONALITY CRITERIA | POINTS ALLOCATION |
| --- | --- |
| Experience of firm – for similar scale projects or services required. Score points; 1 = 1 year 2 = 2 years 3 =3 years 4 =4 years 5 =5 years plus | 40 |
| Experience and Qualifications of one (1) Lead Technical – for similar scale Projects or services required. Score points; 1 = 1 year 2 = 2 years 3 =3 years 4 =4 years 5 =5 years plus Certificate, trade test, Diploma or higher = 5 No qualification = 1 | 40 |
| Reference letters Score points; 1 = 1 reference letter 2 = 2 reference letters 3 = 3 reference letters 4 = 4 reference letters 5 – 5 plus reference letters | 20 |
| Total points | 100 points |

- Price

The bidder must provider a cost inclusive quotation including VAT if applicable. The financial offer must be provided in the table below; and a quote with compulsory documents must be forward to scm@nasmus.co.za by the due date for submission of a quote as provided

| NO | DESCRIPTION | Unit | QTY | RATE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
|  | BILL No.1 |  |  |  |  |
|  | ALTERATIONS |  |  |  |  |
|  | REMOVAL OF EXISTING WORK |  |  |  |  |
|  | Taking down and removing ceilings |  |  |  |  |
| 1 | Remove existing gypsum ceiling, brandering and cornice | m² | 35.2 |  |  |
|  | Taking down and removing lights and sundries |  |  |  |  |
| 2 | Remove existing downlighter lights | No | 8 |  |  |
|  | TOTAL TO FINAL SUMMARY |  |  |  | R |
|  | BILL NO.2 |  |  |  |  |
|  | CARPENTRY & JOINERY |  |  |  |  |
|  | SUPPLEMENTARY PREAMBLES |  |  |  |  |
|  | Descriptions |  |  |  |  |
|  | Description of paintwork shall be deemed to include for all cutting in |  |  |  |  |
|  | Paint Specifications |  |  |  |  |
|  | All painting shall be carried out in strict accordance with "Plascon" or equally approved specifications |  |  |  |  |
|  | CEILINGS ETC |  |  |  |  |
|  | "Isotherm" insulation |  |  |  |  |
| 1 | 50mm insulation closely fitted and laid on top of brandering between roof trusses | m² | 35.2 |  |  |
|  | 6.4mm "Rhino" gypsum plasterboard with H-type pressed metal jointing strips |  |  |  |  |
| 2 | Ceilings including 38 x 50mm sawn softwood brandering at 400mm centers | m² | 35.2 |  |  |
|  | CORNICE |  |  |  |  |
|  | "Rhino" gypsum plasterboard cornice |  |  |  |  |
| 3 | 75mm standard coved cornice | m | 37 |  |  |
|  | TOTAL TO FINAL SUMMARY |  |  |  | R |
|  | BILL No. 3 |  |  |  |  |
|  | PAINTWORK |  |  |  |  |
|  | SUPPLEMENTARY PREAMBLES |  |  |  |  |
|  | Descriptions |  |  |  |  |
|  | Description of paintwork shall be deemed to include for all cutting in |  |  |  |  |
|  | Paint Specifications |  |  |  |  |
|  | All painting shall be carried out in strict accordance with "Plascon" or equally approved specifications |  |  |  |  |
|  | One coat alkaline resistant plaster primer and two coats superior acrylic PVA emulsion paint |  |  |  |  |
| 5 | On Ceilings and Cornice | m² | 38 |  |  |
|  | TOTAL TO FINAL SUMMARY |  |  |  | R |
|  | BILL No.6 |  |  |  |  |
|  | ELECTRICAL WORKS |  |  |  |  |
| 1 | 4mm house wire/cable Red/Black/Green (Measured Provisionally) | m | 18 |  |  |
| 2 | Supply and install 5ft light “LED” lights | No | 3 |  |  |
| 3 | Supply and Install “mce econo” solar street light 300w cool white e-ssl-300w-cw | No | 1 |  |  |
| 4 | Supply and Install “mesmerize floodlight led” motion sensor 20w 6500k daylight 1800lm ip65 | No | 1 |  |  |
| 5 | Provide supplementary COC | Item |  |  |  |
|  | TOTAL TO FINAL SUMMARY |  |  |  | R |
|  | FINAL SUMMARY | Ref |  |  |  |
| 1 | Alterations | Bill No. 1 |  |  |  |
| 2 | Carpentry & Joinery | Bill No.2 |  |  |  |
| 3 | Paintwork | Bill No. 3 |  |  |  |
| 4 | Electrical Work | Bill No.4 |  |  |  |
|  | SUB TOTAL |  |  |  | R |
|  | VAT @ 15% |  |  |  | R |
|  | TOTAL TO QUOTATION |  |  |  | R |

- BBBEE Assessment

Preferential procurement calculation 80/20, whereby 80 is for price and 20 points for BBBEE points.

| 1 | 20 |
| --- | --- |
| 2 | 18 |
| 3 | 16 |
| 4 | 14 |
| 5 | 12 |
| 6 | 10 |
| 7 | 8 |
| 8 | 6 |
| Non – contributor | 0 |

NB: The Museum reserves the right to determine whether a technical evaluation or assessment of bids should be applied or not depending on the lowest price obtained from this request for a quote (RFQ) but all compulsory requirements of submission of information stated above must be adhered to by the bidder.

This important notice is in line with the Museum’s approved Supply Chain Policy which is aligned to Public Finance Management Act