{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["1. Total Pricing","2. Training pricing","3. Equipment information"],"read":"whole","date_system":"1900"}

{"sheet":"1. Total Pricing","index":0,"n_rows":71,"n_cols":7,"rows_kept":71}
[null,"Advisory Fee","Fire Equipment Service","Gas Suppression service","Fire alarm system and smoke sensor service","Signage (incl. installation)","Total for all activities"]
["Qty","per month\n-\tInclude and consider scheduled activities for each year\n-\tCover all items in scope of work","1 x Annual service\nRefer to Equipment sheet","1 x Annual Service\nRefer to Equipment Sheet","1 x Annual Service\nRefer to Equipment Sheet","30 units once off during year 1"]
["Year 1 Total"]
["Month 1"]
["Month 2"]
["Month 3"]
["Month 4"]
["Month 5"]
["Month 6"]
["Month 7"]
["Month 8"]
["Month 9"]
["Month 10"]
["Month 11"]
["Month 12"]
["Year 2 total"]
["Month 1"]
["Month 2"]
["Month 3"]
["Month 4"]
["Month 5"]
["Month 6"]
["Month 7"]
["Month 8"]
["Month 9"]
["Month 10"]
["Month 11"]
["Month 12"]
["Year 3 total"]
["Month 1"]
["Month 2"]
["Month 3"]
["Month 4"]
["Month 5"]
["Month 6"]
["Month 7"]
["Month 8"]
["Month 9"]
["Month 10"]
["Month 11"]
["Month 12"]
["Year 4 total"]
["Month 1"]
["Month 2"]
["Month 3"]
["Month 4"]
["Month 5"]
["Month 6"]
["Month 7"]
["Month 8"]
["Month 9"]
["Month 10"]
["Month 11"]
["Month 12"]
["Year 5 total"]
["Month 1"]
["Month 2"]
["Month 3"]
["Month 4"]
["Month 5"]
["Month 6"]
["Month 7"]
["Month 8"]
["Month 9"]
["Month 10"]
["Month 11"]
["Month 12"]
["Total for 5 years"]
["Training for 5 years (total from tab 2)"]
["VAT @ 15 %"]
["Grand total incl. VAT"]

{"sheet":"2. Training pricing","index":1,"n_rows":14,"n_cols":12,"rows_kept":14}
["Training (Equivalent to the following Unit Standards) ","Qty","Unit price Yr 1","Total yr 1","Unit price yr 2","Total yr 2","Unit price yr 3","Total yr 3","Unit price yr 4","Total yr 4","Unit price yr 5","Total yr 5"]
["Provision to be made for the annual training as follows"]
["Health and Safety (SHE REP) (US ID 9964):      ",10]
["First Aid Level 1 (US ID: 119567): ",10]
["Basic Fire Fighting (US ID: 12484): ",10]
["Incident and Investigations (US ID: 117391): ",5]
["Hazard Identification and Risk Assessment (US ID: 13167): ",5]
["Emergency Preparedness (US ID: 259597): ",40]
["Legal Liability for managers (US ID: 244288): ",10]
["OHS Induction (US ID 259639. (Explain basic health and safety principles in the workplace) ",100]
["The OHS Induction must be presented on an annual basis. "]
["Institution must have a HWSETA accreditation provided on SLA"]
["Total for year (include in total pricing)"]
["*  Qty provided is for calculation purposes only and full quantity will be specified each year"]

{"sheet":"3. Equipment information","index":2,"n_rows":54,"n_cols":9,"rows_kept":54,"merged":[[0,0,0,8],[45,0,45,8],[51,0,51,8]]}
["IPPO FIRE EQUIPMENT FULL DESCRIPTION OF SERVICE"]
["Unit No","Location ","Type ","Nett Mass ","Make ","Gross Mass","Service Date ","Press Test","Next Service "]
[1,"G03-The Nexus","Extinquisher DCP","4.5kg","Safequip",null,"10/2025","07/2021","10/2026"]
[2,"G04 Control room","Extinguisher CO2 ","5kg ","Speed Flame ","17.36kg","10/2025","07/2021","10/2026"]
[3,"G13 Canteen kithechen","Extinguisher DCP","4.5kg ","Shaya","7.50kg","10/2025","07/2021","10/2026"]
[4,"G12 Canteen","Hosereel ","30m","INTA","30m ","10/2025",null,"10/2026"]
[5,"G12 Canteen","Extinguisher DCP ","4.5kg ","Safequip","7.20kg","10/2025","07/2021","10/2026"]
[6,"G12 Canteen","Extinguisher DCP ","4.5kg ","Shaya","7.34kg","10/2025","07/2021","10/2026"]
[7,"G12 Canteen","Extinguisher DCP ","4.5kg ","Safequip","7.22kg","10/2025","7/2021","10/2026"]
[8,"G15-Kiosk","Extinguisher DCP","4.5kg","Safequip","7.22kg","10/2025","7/2021","10/2026"]
[9,"Bids Registration","Extinguisher DCP ","4.5kg ","Speed Flame ","7.80kg","10/2025","07/2021","10/2026"]
[10,"Bids Registration","Extinguisher DCP ","4.5kg ","Safequip","7.30kg","10/2025","07/2021","10/2026"]
[11,"Bids Registration","Extinguisher DCP ","4.5kg ","Safequip","7.30kg","10/2025","07/2021","10/2026"]
[12,"Bids Registration","Hosereel","30m","INTA","30m","10/2025","-","10/2026"]
[13,"Bids Receiving","Extinguisher DCP","4.5kg","Safequip","7.24kg","10/2025","07/2021","10/2026"]
[14,"370 Reception","Hosereel","30m","INTA","30m","10/2025","-","10/2026"]
[15,"370 Reception","Extinguisher DCP ","4.5kg ","Safequip","7.32kg","10/2025","07/2021","10/2026"]
[16,"370 Reception","Extinguisher DCP ","4.5kg ","Speed Flame ","7.76kg","10/2025","07/2021","10/2026"]
[17,"371 Fire Escape","Hydrant ","65mm","-","65mm","10/2025",null,"10/2026"]
[18,"369 Kitchen","Hosereel","30m","Shaya","30m","10/2025","07/2021","10/2026"]
[19,"369 Kitchen","Extinguisher DCP ","4.5kg ","Safequip","7.32kg","10/2025","07/2021","10/2026"]
[20,"369 Kitchen","Extinguisher DCP ","4.5kg ","Safequip","7.20kg","10/2025","07/2021","10/2026"]
[21,351,"Extinguisher DCP ","4.5kg ","Safequip","7.20kg","10/2025","07/2021","10/2026"]
[22,351,"Extinguisher DCP ","4.5kg ","Safequip","7.20kg","10/2025","07/2021","10/2026"]
[23,351,"Hosereel ","30m","INTA","30m","10/2025","-","10/2026"]
[24,351,"Hydrant ","65mm","-","65mm","10/2025",null,"10/2026"]
[25,"Patch room","Extinguisher CO2 ","5kg ","Speed Flame ","17.36kg","10/2025","07/2021","10/2026"]
[26,"Eval A 347","Extinguisher DCP ","4.5kg","INTA","17.74kg","10/2025","07/2021","10/2026"]
[27,"Eval A 347","Hosereel","30m","INTA","30m","10/2025",null,"10/2026"]
[28,"Eval A 347","Extinguisher CO2 ","4.5kg","Safequip","17.36kg","10/2025","07/2021","10/2026"]
[29,"Eval A 341","Extinguisher DCP ","4.5kg","Safequip","7.35kg","10/2025","07/2021","10/2026"]
[30,"Eval A 327","Extinguisher DCP ","4.5kg","Safequip","7.35kg","10/2025","07/2021","10/2026"]
[31,"Eval A 327","Extinguisher DCP ","4.5kg","Safequip","7.76kg","10/2025","07/2021","10/2026"]
[32,"Eval A 327","Hosereel","30m","INTA","30m","10/2025",null,"10/2026"]
[33,"Eval B ","Hosereel","30m","INTA","30m","10/2025",null,"10/2026"]
[34,"Eval B ","Extinguisher DCP ","4.5kg ","Safequip","7.22kg","10/2025","07/2021","10/2026"]
[35,"Eval B ","Extinguisher DCP ","4.5kg ","Safequip","7.22kg","10/2025","07/2021","10/2026"]
[36,"Eval B Patch Room","Extinguisher DCP ","4.5kg ","Safequip","7.22kg","10/2025","07/2021","10/2026"]
[37,"Eval B ","Hosereel","30m","INTA","30m","10/2025",null,"10/2026"]
[38,"Eval B ","Extinguisher DCP ","4.5kg ","Safequip","7.22kg","10/2025","07/2021","10/2026"]
[39,"Eval B ","Extinguisher DCP ","4.5kg ","Safequip","7.22kg","10/2025","07/2021","10/2026"]
[40,"Eval B Library","Extinguisher DCP ","4.5kg ","Safequip","7.22kg","10/2025","07/2021","10/2026"]
[41,"Eval B ","Extinguisher DCP ","4.5kg ","Safequip","7.22kg","10/2025","07/2021","10/2026"]
[42,"Eval B ","Extinguisher DCP ","4.5kg ","Safequip","7.22kg","10/2025","07/2021","10/2026"]
[]
["IPPO FIRE EQUIPMENT FULL DESCRIPTION OF SERVICE"]
["Unit No","Location ","Type ","Nett Mass ","Make ","Gross Mass","Service Date ","Press Test","Next Service "]
[null,"G07","Gas suppression","4078kg","H2C227","41kg","2025-10-25",null,"2026-10-26"]
[null,"368 Patchroom","Gas suppression","1653kg","H2C227","41kg","2025-10-25",null,"2026-10-26"]
[null,"Eval B Patchroom","Gas suppression","1653kg","HFC 227ea","83kg","2025-10-25",null,"2026-10-26"]
[]
["IPPO HEAT DETECTORS"]
["Quantity"]
[230]