{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":219,"n_cols":6,"rows_kept":219,"merged":[[5,0,5,5],[7,0,7,5],[10,1,10,5],[27,1,27,4],[28,1,28,4],[29,1,29,4],[30,1,30,5],[33,1,33,5],[46,1,46,4],[47,1,47,4],[48,1,48,4],[49,1,49,5],[52,0,52,5],[67,1,67,4],[68,1,68,4],[69,1,69,4],[73,0,73,5],[82,1,82,4],[83,1,83,4],[84,1,84,4],[88,0,88,5],[106,1,106,4],[107,1,107,4],[108,1,108,4],[112,0,112,5],[123,1,123,4],[124,1,124,4],[125,1,125,4],[132,1,132,4],[146,1,146,4],[147,1,147,4],[148,1,148,4],[152,1,152,4],[193,1,193,4],[194,1,194,4],[195,1,195,4],[197,1,197,5],[198,1,198,5],[222,4,222,5],[223,4,223,5],[226,4,226,5],[227,4,227,5],[231,4,231,5],[232,4,232,5]],"flags":["formulas_cached_only"]}
[]
[null,"BAPSFONTEIN - BUILDING WORKS SCOPE "]
[]
[]
[]
[]
[]
["BILLS OF QUANTITIES"]
[]
[null,"Description","Unit","Qty","Rate","Amount"]
[null," BILL A - Demolition, kitchen, plumbing"]
[]
[1,"Metal work"]
[]
[1.1,"Repair all the metal screen doors, install new bolts","No",36,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
[1.2,"Supply new standard trellidors for the pump house","Nr",2,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
[1.3,"Decommsinoing, removal of Genset, diesel tank","Nr",1,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
["1,4","Disposal of the Genset and diesel tank","Nr",1,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
["1,5","Issue disposal certificate","Nr",1,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
["1,6","supply and installation of powder coated and painted 500 x 1000 x 4,5 diamond/checker/treaded plate (painted grey)","m2",80,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
[]
[null,"TOTAL EXCLUDING VAT ",{"$nulls":3},{"v":0,"d":"0.00"}]
[null,"15% VAT ",{"$nulls":3},{"v":0,"d":"0.00"}]
[null,"TOTAL INCLUDING VAT (to be carried to Summary)",{"$nulls":3},{"v":0,"d":"0.00"}]
[]
[]
[null,"Description","Unit","Qty","Rate","Amount"]
[null," BILL B - Doors and wall finishes "]
[]
["2","Partition and doors"]
[]
["2,1","Remove and replace all locksets for wooden doors","No",32,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
[]
["3","Paintings"]
[]
["3,1","Prepare and repaint all metal screen doors with black enamel","m²",40,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
[]
[]
[null,"TOTAL EXCLUDING VAT ",{"$nulls":3},{"v":0,"d":"R 0.00"}]
[null,"15% VAT ",{"$nulls":3},{"v":0,"d":"R 0.00"}]
[null,"TOTAL INCLUDING VAT (to be carried to Summary)",{"$nulls":3},{"v":0,"d":"R 0.00"}]
[]
[]
[null,"Description","Unit","Qty","Rate","Amount"]
[" BILL C - new electrical installation works "]
[]
["4","Electrical installation"]
[]
["4,1","Assess building and site and provide recommendation","Sum",1,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
["4,3","New steel double channel power trunking including all the accessories.  ","Lm",5,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
[]
["4,4","Provide a sum for implementing recommendations in 4,1","Sum",1,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
["4,5","Provide a sum for light switch replacement and floor cable duct","Sum",1,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
["4,6","Allowance for electrical cable tracing","Sum",1,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
[null,"TOTAL EXCLUDING VAT ",{"$nulls":3},{"v":0,"d":"R 0.00"}]
[null,"15% VAT ",{"$nulls":3},{"v":0,"d":"R 0.00"}]
[null,"TOTAL INCLUDING VAT (to be carried to Summary)",{"$nulls":3},{"v":0,"d":"R 0.00"}]
[]
[]
[null,"Description","Unit","Qty","Rate","Amount"]
[" BILL D - New mechanical installation works "]
[]
["5","Mechanical installation"]
[]
["5,1","Repair the aircondition UNIT in the equipment room","No",2,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
["5,2","Repair and maintain the steel rods that hold cable trays and trunking in the equipment room","item",1,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
[]
[null,"TOTAL EXCLUDING VAT ",{"$nulls":3},{"v":0,"d":"R 0.00"}]
[null,"15% VAT ",{"$nulls":3},{"v":0,"d":"R 0.00"}]
[null,"TOTAL INCLUDING VAT (to be carried to Summary)",{"$nulls":3},{"v":0,"d":"R 0.00"}]
[]
[]
[null,"Description","Unit","Qty","Rate","Amount"]
[" BILL E - New flooring works and refurbishment of existing"]
[]
["6","Flooring installation"]
[]
["6,1","Scrap off the existing epoxy flooring in the equipment room and prepare the surface to receive new wooden tiles ","m²",104,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
["6,2","Supply of new wooden floor tiles to match the existing (PC SUM R400/M2) (Sanding and sealing to be conducted offsite)","m²",104,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
["6,2","Removal of the exisiting wooden floor and prepare for new installation","m²",120,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
["6,4","Supply of new wooden floor tiles to match the existing (PC SUM R400/M2)","m²",120,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
["6,5","Offsite sanding and sealing (No dust alloed on site)","m²",120,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
["6,6","Supply and install epoxy in the toilets and the small office","m²",31,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
[]
[]
[null,"TOTAL EXCLUDING VAT ",{"$nulls":3},{"v":0,"d":"R 0.00"}]
[null,"15% VAT ",{"$nulls":3},{"v":0,"d":"R 0.00"}]
[null,"TOTAL INCLUDING VAT (to be carried to Summary)",{"$nulls":3},{"v":0,"d":"R 0.00"}]
[]
[]
[null,"Description","Unit","Qty","Rate","Amount"]
[" BILL F - Glazing works "]
[]
["7","Glazing"]
[]
["7,1","Replacementt of broken windows including all the accessories"]
[null,"0.6 x 0,6m","no",2,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
["7,2","Servicing of handles, hinges, etc to make sure that all opening sectins of the window are closing properly","Item",1,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
["7,3","Supply and installation 80% to 90% heat reduction window film","m²",60,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
[null,"TOTAL EXCLUDING VAT ",{"$nulls":3},{"v":0,"d":"R 0.00"}]
[null,"15% VAT ",{"$nulls":3},{"v":0,"d":"R 0.00"}]
[null,"TOTAL INCLUDING VAT (to be carried to Summary)",{"$nulls":3},{"v":0,"d":"R 0.00"}]
[]
[]
[]
[]
[]
[null,"Description","Unit","Qty","Rate","Amount"]
[null,"Bill G - Plumbing Installation"]
[]
["8,1","Assess site and building plumbing and give recommendations",null,1,0,{"v":0,"d":"R 0.00"}]
[]
["8,2","Repair the kitchen sink","Item",1,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
["8,3","Remove and replace the urinal flush master","No",1,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
["8,4","Remove the existing solar geyser and install the new solar geyser","No",1,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
["8,5","Repair the shower unit","No",2,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
["8,6","Provide a sum for implementing recommendations in 8,1","Sum",1,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
[null,"TOTAL EXCLUDING VAT ",{"$nulls":3},{"v":0,"d":"R 0.00"}]
[null,"15% VAT ",{"$nulls":3},{"v":0,"d":"R 0.00"}]
[null,"TOTAL INCLUDING VAT (to be carried to Summary)",{"$nulls":3},{"v":0,"d":"R 0.00"}]
[]
[]
[null,"Description","Unit","Qty","Rate","Amount"]
[null,"Bill H - Other"]
[]
[9,"Other "]
[]
[9.1,"Bins for rubble and remove from site","Nr",3,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
[9.2,"Health and safety file","Item",1,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
[null,"Testing and commissioning the electrical installation complete and providing the C.O.C for site and Building",null,1,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
[null,"Testing and commissioning the plumbing installation complete and providing the Certificate of Compliance",null,1,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
[]
[9.3,"P and G's","Item",1,{"v":0,"d":"R 0.00"},{"v":0,"d":"R 0.00"}]
{"$rows_empty":28}
[null,"TOTAL EXCLUDING VAT ",{"$nulls":3},{"v":0,"d":"R 0.00"}]
[null,"15% VAT ",{"$nulls":3},{"v":0,"d":"R 0.00"}]
[null,"TOTAL INCLUDING VAT (to be carried to Summary)",{"$nulls":3},{"v":0,"d":"R 0.00"}]
[]
["Notes: ","Please attach notes of any additional items required, including extra costs and terms and conditions as an addendum to RFQ "]
[null,"All work will be quoted on SA Standard Building Regulations, will be of high quality workmanship and specified products "]
[]
[null,"SUMMARY ",{"$nulls":3},"Amount"]
[]
[" BILL A - Demolition, kitchen, plumbing",{"$nulls":4},{"v":0,"d":"R 0.00"}]
[]
[" BILL B - Doors and wall finishes ",{"$nulls":4},{"v":0,"d":"R 0.00"}]
[]
[" BILL C - new electrical installation works ",{"$nulls":4},{"v":0,"d":"R 0.00"}]
[]
[" BILL D - New mechanical installation works ",{"$nulls":4},{"v":0,"d":"R 0.00"}]
[]
[" BILL E - New flooring works and refurbishment of existing",{"$nulls":4},{"v":0,"d":"R 0.00"}]
[]
[" BILL F - Glazing works ",{"$nulls":4},{"v":0,"d":"R 0.00"}]
[]
["Bill G - Plumbing Installation",{"$nulls":4},{"v":0,"d":"R 0.00"}]
[]
["Bill H - Other",{"$nulls":4},{"v":0,"d":"R 0.00"}]
[]
["TOTAL : (Including 15% VAT)",{"$nulls":4},{"v":0,"d":"R0.00"}]