Eskom Holdings SOC Ltd

Contract No. _________
The supply, delivery, installation, testing, tracing, commissioning of cables and performing fault finding on electrical cables, on an “as and when required basis” at Arnot Power Station for a 36-month period

Part 2: Pricing Data

TSC3 Option A
	Document reference
	Title
	No of pages

	C2.1
	Pricing assumptions: Option A
	2

	C2.2
	The price list 
	[●]


C2.1 Pricing assumptions: Option A
1. How work is priced and assessed for payment
Clause 11 in NEC3 Term Service Contract (TSC3) core clauses and Option A states:

	Identified and defined terms
	11

11.2
	(12) The Price List is the price list unless later changed in accordance with this contract.



	
	
	(17) The Price for Services Provided to Date is the total of 
· the Price for each lump sum item in the Price List which the Contractor has completed and
· where a quantity is stated for an item in the Price List, an amount calculated by multiplying the quantity which the Contractor has completed by the rate.


	
	
	(19) The Prices are the amounts stated in the Price column of the Price List. Where a quantity is stated for an item in the Price List, the Price is calculated by multiplying the quantity by the rate.



This confirms that Option A is a priced contract where the Prices are derived from a list of items of service which can be priced as lump sums or as expected quantities of service multiplied by a rate or a mix of both.
2. Function of the Price List
Clause 54.1 in Option A states: “Information in the Price List is not Service Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price List but in the Service Information.  This is further confirmed by Clause 20.1 which states, “The Contractor Provides the Service in accordance with the Service Information”. Hence the Contractor does not Provide the Service in accordance with the Price List.   The Price List is only a pricing document.  
3. Link to the Contractor’s plan
Clause 21.4 states “The Contractor provides information which shows how each item description on the Price List relates to the operations on each plan which he submits for acceptance”.  Hence when compiling the price list, the tendering contractor needs to develop his first clause 21.2 plan in such a way that operations shown on it can be priced in the price list  and result in a satisfactory cash flow in terms of clause 11.2(17). 

4. Preparing the price list
Before preparing the price list, both the Employer and tendering contractors should read the TSC3 Guidance Notes pages 14 and 15.  In an Option A contract, either Party may have entered items into the price list either as a process of offer and acceptance (tendering) or by negotiation depending on the nature of the service to be provided.  Alternatively the Employer, in his Instructions to Tenderers or in a Tender Schedule, may have listed some items that he requires the Contractor to include in the price list to be prepared and priced by him. 

It is assumed that in preparing or finalising the price list the Contractor:
· Has taken account of the guidance given in the TSC3 Guidance Notes relevant to Option A;

· Understands the function of the Price List and how work is priced and paid for;

· Is aware of the need to link operations shown in his plan to items shown in the Price List;
· Has listed and priced items in the price list which are inclusive of everything necessary and incidental to Providing the Service in accordance with the Service Information, as it was at the time of tender, as well as correct any Defects not caused by an Employer’s risk;
· Has priced work he decides not to show as a separate item within the Prices or rates of other listed items in order to fulfil the obligation to complete the service for the tendered total of the Prices. 
· Understands there is no adjustment to items priced as lump sums if the amount, or quantity, of work within that item later turns out to be different to that which the Contractor estimated at time of tender. The only basis for a change to the (lump sum) Prices is as a result of a compensation event. 
4.1. Format of the price list
(From the example given in an Appendix within the TSC3 Guidance Notes)
Entries in the first four columns in the price list in section C2.2 are made either by the Employer or the tendering contractor. 

If the Contractor is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering contractor enters the amount in the Price column only, the Unit, Expected Quantity and Rate columns being left blank.

If the Contractor is to be paid an amount for an item of work which is the rate for the work multiplied by the quantity completed, the tendering contractor enters the rate which is then multiplied by the Expected Quantity to produce the Price, which is also entered.
If the Contractor is to be paid a Price for an item proportional to the length of time for which a service is provided, a unit of time is stated in the Unit column and the expected length of time (as a quantity of the stated units of time) is stated in the Expected Quantity column.

C2.2 the price list
	Item nr
	Description
	Unit
	Expected Quantity
	Rate
	Price

	
	SUPPLY MEDIUM VOLTAGE CABLES
	
	
	
	

	
	PILC 6.35/11 kV
	 
	 
	
	

	
	630mm2 x 1 core (EPL01XCV) 6.35kV/11kV  
	m
	300
	
	

	
	500mm2 x 1 core (EPL01WCV) 6.35kV/11kV  
	m
	300
	
	

	
	240mm2 x 1 core (EPW01TCV) 6.35kV/11kV
	m
	300
	
	

	
	240mm2 x 3 core (EPW03TCV) 6.35/11 kV
	m
	300
	
	

	
	150mm2 x 3 core (EPW03RCV) 6.35/11 kV
	m
	300
	
	

	
	120mm2x 3 core (EPW03QCV)  6.35/11 kV
	m
	300
	
	

	
	95mm2x 3 core (EPW03PCV) 6.35/11 kV
	m
	300
	
	

	
	70mm2x 3 core (EPW03NCV) 6.35/11 kV
	m
	300
	
	

	
	XLPE 6.35/11 kV
	 
	 
	
	

	
	630mm2 x 1 core (EXE01XCV) 6.35kV/11kV  
	m
	300
	
	

	
	500mm2 x 1 core (EXE01WCV) 6.35kV/11kV  
	m
	300
	
	

	
	240mm2 x 3 core (EXE03TCV) 6.35kV/11kV
	m
	300
	
	

	
	240mm2 x 1 core (EXW01TCV) 6.35kV/11kV
	m
	300
	
	

	
	185mm2 x 3 core (EXX03SCV) 6.35/11 kV
	m
	600
	
	

	
	185mm2 x 4 core (EXX04SCV) 6.35/11 kV
	m
	600
	
	

	
	150mm2 x 3 core (EXE03RCV) 6.35/11 kV
	m
	300
	
	

	
	120mm2x 3 core (EXE03QCV) 6.35/11 kV
	m
	300
	
	

	
	
	
	
	
	

	
	SUPPLY MEDIUM VOLTAGE TERMINATIONS 
	
	
	
	

	
	Termination complete, for 11KV indoor complete with earthing 650mm tails, Glands, and torque shearing lugs 
	
	
	
	

	
	PILC 6.35/11 kV
	
	
	
	

	
	630mm2 x 1 core (EPL01XCV) 6.35kV/11kV  
	no.
	30
	
	

	
	500mm2 x 1 core (EPL01WCV) 6.35kV/11kV  
	no.
	30
	
	

	
	240mm2 x 1 core (EPW01TCV) 6.35kV/11kV
	no.
	30
	
	

	
	240mm2 x 3 core (EPW03TCV) 6.35/11 kV
	no.
	30
	
	

	
	150mm2 x 3 core (EPW03RCV) 6.35/11 kV
	no.
	30
	
	

	
	120mm2x 3 core (EPW03QCV)  6.35/11 kV
	no.
	30
	
	

	
	95mm2x 3 core (EPW03PCV) 6.35/11 kV
	no.
	30
	
	

	
	70mm2x 3 core (EPW03NCV) 6.35/11 kV
	no.
	30
	
	

	
	XLPE 6.35/11 kV
	
	
	
	

	
	630mm2 x 1 core (EXE01XCV) 6.35kV/11kV  
	no.
	30
	
	

	
	500mm2 x 1 core (EXE01WCV) 6.35kV/11kV  
	no.
	30
	
	

	
	240mm2 x 3 core (EXE03TCV) 6.35kV/11kV
	no.
	30
	
	

	
	240mm2 x 1 core (EXW01TCV) 6.35kV/11kV
	no.
	30
	
	

	
	185mm2 x 3 core (EXX03SCV) 6.35/11 kV
	no.
	30
	
	

	
	185mm2 x 4 core (EXX04SCV) 6.35/11 kV
	no.
	40
	
	

	
	150mm2 x 3 core (EXE03RCV) 6.35/11 kV
	no.
	40
	
	

	
	120mm2x 3 core (EXE03QCV) 6.35/11 kV
	no.
	30
	
	

	
	
	
	
	
	

	
	SUPPLY MEDIUM VOLTAGE INLINE THROUGH JOINTS
	
	
	
	

	
	Inline through joint complete for 11kV stranded copper cable and Torque Shearing Ferrules
	
	
	
	

	
	PILC 6.35/11 kV
	
	
	
	

	
	630mm2 x 1 core (EPL01XCV) 6.35kV/11kV  
	no.
	10
	
	

	
	500mm2 x 1 core (EPL01WCV) 6.35kV/11kV  
	no.
	10
	
	

	
	240mm2 x 1 core (EPW01TCV) 6.35kV/11kV
	no.
	20
	
	

	
	240mm2 x 3 core (EPW03TCV) 6.35/11 kV
	no.
	10
	
	

	
	150mm2 x 3 core (EPW03RCV) 6.35/11 kV
	no.
	20
	
	

	
	120mm2x 3 core (EPW03QCV)  6.35/11 kV
	no.
	20
	
	

	
	95mm2x 3 core (EPW03PCV) 6.35/11 kV
	no.
	20
	
	

	
	70mm2x 3 core (EPW03NCV) 6.35/11 kV
	no.
	10
	
	

	
	XLPE 6.35/11 kV
	 
	
	
	

	
	630mm2 x 1 core (EXE01XCV) 6.35kV/11kV  
	no.
	10
	
	

	
	500mm2 x 1 core (EXE01WCV) 6.35kV/11kV  
	no.
	10
	
	

	
	240mm2 x 3 core (EXE03TCV) 6.35kV/11kV
	no.
	10
	
	

	
	240mm2 x 1 core (EXW01TCV) 6.35kV/11kV
	no.
	20
	
	

	
	185mm2 x 3 core (EXX03SCV) 6.35/11 kV
	no.
	10
	
	

	
	185mm2 x 4 core (EXX04SCV) 6.35/11 kV
	no.
	10
	
	

	
	150mm2 x 3 core (EXE03RCV) 6.35/11 kV
	no.
	10
	
	

	
	120mm2x 3 core (EXE03QCV) 6.35/11 kV
	no.
	10
	
	

	
	
	
	
	
	

	
	Strapping of MV cables (on new cables only)
	 
	 
	
	

	
	Cleats and support steel
	no.
	10
	
	

	
	SUB-TOTAL MEDIUM VOLTAGE CABLES 

	
	
	
	

	
	
	
	
	
	

	
	SUPPLY LOW VOLTAGE CABLES
	
	
	
	

	
	1.5mm2 x 3 core (BVX03CCV)
	m
	300
	
	

	
	1.5mm2 x 4 core (BVX04CCV)
	m
	300
	
	

	
	1.5mm2 x 12 core (BVX12CCV)
	m
	300
	
	

	
	2.5mm2 x 2 core (BVX02DCV)
	m
	300
	
	

	
	2.5mm2 x 3 core (BVX03DCV)
	m
	300
	
	

	
	2.5mm2 x 4 core (BVX04DCV)
	m
	300
	
	

	
	2.5mm2 x 7 core (BVX07DCV)
	m
	300
	
	

	
	2.5mm2 x 12 core (BVX12DCV)
	m
	300
	
	

	
	4mm2 x 2 core (BVX02ECV)
	m
	300
	
	

	
	4mm2 x 3 core (BVX03ECV)
	m
	300
	
	

	
	4mm2 x 4 core (BVX04ECV)
	m
	300
	
	

	
	4mm2 x 7 core (BVX07ECV)
	m
	300
	
	

	
	4mm2 x12 core (BVX12ECV)
	m
	300
	
	

	
	4mm2 x19 core (BVX19ECV)
	m
	300
	
	

	
	6mm2 x 4 core (BVX04FCV)
	m
	300
	
	

	
	10mm2 x 4 core (BVX04GCV)
	m
	300
	
	

	
	16mm2 x 3 core (BVX03HCV)
	m
	300
	
	

	
	16mm2 x 4 core (BVX04HCV)
	m
	600
	
	

	
	25mm2 x 4 core (BVX04KCV)
	m
	900
	
	

	
	35mm2 x 3 core (BVX03LCV)
	m
	300
	
	

	
	35mm2 x 4 core (BVX04LCV)
	m
	300
	
	

	
	70mm2 x 3 core (BVX03NCV)
	m
	300
	
	

	
	70mm2 x 4 core (BVX04NCV)
	m
	300
	
	

	
	95mm2 x 3 core (BVX03PCV)
	m
	300
	
	

	
	95mm2 x 4 core (BVX04PCV)
	m
	300
	
	

	
	120mm2 x 3 core (BVX03QCV)
	m
	300
	
	

	
	120mm2 x 4 core (BVX04QCV)
	m
	300
	
	

	
	150mm2 x 3 core (BVX03RCV)
	m
	300
	
	

	
	150mm2 x 4 core (BVX04RCV)
	m
	300
	
	

	
	185mm2 x 3 core (BVX03SCV)
	m
	300
	
	

	
	185mm2 x 4 core (BVX04SCV)
	m
	300
	
	

	
	240mm2 x 4 core (BVX04TCV)
	m
	300
	
	

	
	SUPPLY TERMINATION KITS FOR LV CABLES 
	
	
	
	

	
	
	
	
	
	

	
	Termination kit complete with lugs, for 600/1000V grade 
	
	
	
	

	
	1.5mm2 x 3 core (BVX03CCV)
	no
	20
	
	

	
	1.5mm2 x 4 core (BVX04CCV)
	no
	20
	
	

	
	1.5mm2 x 12 core (BVX12CCV)
	no
	20
	
	

	
	2.5mm2 x 2 core (BVX02DCV)
	no
	20
	
	

	
	2.5mm2 x 3 core (BVX03DCV)
	no
	20
	
	

	
	2.5mm2 x 4 core (BVX04DCV)
	no
	20
	
	

	
	2.5mm2 x 7 core (BVX07DCV)
	no
	20
	
	

	
	2.5mm2 x 12 core (BVX12DCV)
	no
	20
	
	

	
	4mm2 x 2 core (BVX02ECV)
	no
	20
	
	

	
	4mm2 x 3 core (BVX03ECV)
	no
	20
	
	

	
	4mm2 x 4 core (BVX04ECV)
	no
	20
	
	

	
	4mm2 x 7 core (BVX07ECV)
	no
	20
	
	

	
	4mm2 x12 core (BVX12ECV)
	no
	20
	
	

	
	4mm2 x19 core (BVX19ECV)
	no
	20
	
	

	
	6mm2 x 4 core (BVX04FCV)
	no
	20
	
	

	
	10mm2 x 4 core (BVX04GCV)
	no
	20
	
	

	
	16mm2 x 3 core (BVX03HCV)
	no
	20
	
	

	
	16mm2 x 4 core (BVX04HCV)
	no
	20
	
	

	
	25mm2 x 4 core (BVX04KCV)
	no
	20
	
	

	
	35mm2 x 3 core (BVX03LCV)
	no
	20
	
	

	
	35mm2 x 4 core (BVX04LCV)
	no
	20
	
	

	
	70mm2 x 3 core (BVX03NCV)
	no
	20
	
	

	
	70mm2 x 4 core (BVX04NCV)
	no
	20
	
	

	
	95mm2 x 3 core (BVX03PCV)
	no
	20
	
	

	
	95mm2 x 4 core (BVX04PCV)
	no
	20
	
	

	
	120mm2 x 3 core (BVX03QCV)
	no
	20
	
	

	
	120mm2 x 4 core (BVX04QCV)
	no
	20
	
	

	
	150mm2 x 3 core (BVX03RCV)
	no
	20
	
	

	
	150mm2 x 4 core (BVX04RCV)
	no
	20
	
	

	
	185mm2 x 3 core (BVX03SCV)
	no
	20
	
	

	
	185mm2 x 4 core (BVX04SCV)
	no
	20
	
	

	
	240mm2 x 4 core (BVX04TCV)
	no
	20
	
	

	
	Supply complete Through-joint kit including ferrules for 600/1000V grade 
	
	
	
	

	
	PVC/PVC/SWA/PVC stranded copper conductor cable, Scotch's Cast or similar type
	
	
	
	

	
	2.5mm2 x 4 core (BVX04DCV)
	no
	40
	
	

	
	4mm2 x 4 core (BVX04ECV)
	no
	40
	
	

	
	6mm2 x 4 core (BVX04FCV)
	no
	40
	
	

	
	10mm2 x 4 core (BVX04GCV)
	no
	40
	
	

	
	16mm2 x 4 core (BVX04HCV)
	no
	40
	
	

	
	25mm2 x 4 core (BVX04KCV)
	no
	40
	
	

	
	35mm2 x 4 core (BVX04LCV)
	no
	40
	
	

	
	50mm2 x 4 core (BVX04MCV)
	no
	40
	
	

	
	95mm2 x 4 core (BVX04PCV)
	no
	40
	
	

	
	120mm2 x 4 core (BVX04QCV)
	no
	40
	
	

	
	150mm2 x 4 core (BVX04RCV)
	no
	40
	
	

	
	185mm2 x 4 core (BVX04SCV)
	no
	40
	
	

	
	240mm2 x 4 core (BVX04TCV)
	no
	40
	
	

	
	SUB-TOTAL LV CABLES & ASSOCIATED EQUIPMENT
	
	
	
	

	
	
	
	
	
	

	
	Print and Install cable identification labels (copper labels)
	no
	100
	
	

	
	SUB-TOTAL LABELLING OF CABLES 
	
	
	
	

	
	
	
	
	
	

	
	SUPPLY RACKING, CABLE TRAYS, AND ACCESSORIES
	
	
	
	

	
	Cold drawn high tensile galvanized wire mesh cable tray (O-L GRIDSPAN GS 50x50) fixed in all positions, etc., to all heights above floor level, etc and to all areas. Complete with splice clamp sets, hold down brackets, bolts, nuts and washers, etc.
	
	
	
	

	
	100mm x 75mm x 3m
	m
	500
	
	

	
	150mm x 75mm x 3m
	m
	500
	
	

	
	300mm x 75mm x 3m
	m
	500
	
	

	
	600mm x 75mm x 3m
	m
	500
	
	

	
	Cold drawn high tensile galvanized wire mesh cable tray fittings / accessories normal bending radius
	
	
	
	

	
	100mm Wide x 75mm 90-degree horizontal bend
	no
	10
	
	

	
	100mm Wide x 75mm 90 degree external/int bend
	no
	10
	
	

	
	150mm Wide x 75mm 90-degree horizontal bend
	no
	10
	
	

	
	150mm Wide x 75mm 90 degree external/int bend
	no
	10
	
	

	
	300mm Wide x 75mm 90-degree horizontal bend
	no
	10
	
	

	
	300mm Wide x 75mm 90 degree external/int bend
	no
	10
	
	

	
	600mm Wide x 75mm 90-degree horizontal bend
	no
	10
	
	

	
	600mm Wide x 75mm 90 degree external/int bend
	no
	10
	
	

	
	600mm Wide x 75mm tee
	no
	10
	
	

	
	
	
	
	
	

	
	SUPPLY CABLE SUPPORT SYSTEM
	
	
	
	

	
	Galvanized steel channel forming frame support complete with bolts, spring nuts, nuts and washers, fixed in all positions, etc., to all heights above floor level, etc and to all areas.
	
	
	
	

	
	41.3mm x 41.3mm x 2.5mm Thick (O-L 1000)
	m
	200
	
	

	
	82.6mm x 41.3mm x 2.5mm Thick (O-L 1001)
	m
	200
	
	

	
	41.3mm x 41.3mm x 2.5mm Thick (O-L 1000) - covers F1184
	m
	200
	
	

	
	
	
	
	
	

	
	Galvanized steel single arm cantilever with tongue type bracket complete with bolts, spring nuts, nuts, and washers, etc
	
	
	
	

	
	650mm Long x 89mm high (O-L 251-650)
	no
	20
	
	

	
	
	
	
	
	

	
	SUPPLY GALVANIZED CONDUIT
	
	
	
	

	
	Surface mounted and fixed in all positions, etc., to all heights above floor level, etc and to all areas
	
	
	
	

	
	20mm Diameter
	m
	500
	
	

	
	25mm Diameter
	m
	500
	
	

	
	50mm Diameter
	m
	500
	
	

	
	
	
	
	
	

	
	SUPPLY GALVANIZED THREADED ROD
	 
	 
	
	

	
	12 mm Threaded rods with nuts and washers
	no
	15
	
	

	
	
	
	
	
	

	
	SUPPLY WIRING CHANNELS
	
	
	
	

	
	Galvanized steel channel complete with galvanized cover surface mounted and fixed in all positions, etc., to all heights above floor level, etc and to all areas
	
	
	
	

	
	41.3 x 41.3 x 1.6mm Thick (O-L 2000)
	m
	100
	
	

	
	76.2 x 76.2 x 2.1mm Thick (O-L 8000)
	m
	100
	
	

	
	
	
	
	
	

	
	SUPPLY MISCELLANEOUS STEELWORK
	
	
	
	

	
	Painted steel for support of racking, including all necessary fixing, bolts, nuts, washers, welding, etc and holes, notches, etc fixed in all positions, etc., to all heights above floor level, etc and to all areas.
	
	
	
	

	
	25mm x 25mm x 5mm Angle section
	m
	10
	
	

	
	50mm x 50mm x 6mm Angle section
	m
	10
	
	

	
	76mm x 38mm x 6mm Channel iron
	m
	10
	
	

	
	SUB-TOTAL RACKING & ASSOCIATED EQUIPMENT
	
	
	
	

	
	
	
	
	
	

	
	EARTHING
	 
	 
	
	

	
	Earthing installation
	 
	 
	
	

	
	50 x 3 mm Flat Cu +saddles
	m
	300
	
	

	
	Terminations, Joints, cross overs, tee's
	no
	20
	
	

	
	 70mm² Bare Braided  
	m
	300
	
	

	
	95mm² Bare Braided  
	m
	300
	
	

	
	SUB-TOTAL EARTHING
	
	
	
	

	
	
	
	
	
	

	
	Earthworks
	 
	 
	
	

	
	CABLE MARKER, SLABS AND MARKER TAPE
	 
	 
	
	

	
	Danger tape
	m
	500
	
	

	
	Route markers
	no
	25
	
	

	
	Road crossing 12M
	no
	1
	
	

	
	PVC Sleeves 110 mm 
	m
	100
	
	

	
	Core drilling
	 
	 
	
	

	
	holes size 0 - 150mm
	no
	20
	
	

	
	holes size > 150mm
	no
	20
	
	

	
	SUB-TOTAL EARTHWORKS
	
	
	
	

	
	
	
	
	
	

	
	LABOUR AND PLANT
	 
	 
	
	

	
	Site Manager
	
	
	
	

	
	Normal working hours (Monday-Friday 07H00-16H15)
	hr
	2880
	
	

	
	Supervisor
	
	
	
	

	
	Normal working hours
(Monday- Thursday 07H00-16H15)
(Fridays – 07H00 – 12H00)
	hr
	2880
	
	

	
	Overtime (after normal working hours @ 1.5x normal rate)
	hr
	720
	
	

	
	Sundays/Public holidays @ 2x normal rate
	hr
	720
	
	

	
	Skilled Electrician
	
	
	
	

	
	Normal working hours 
(Monday- Thursday 07H00-16H15)

(Fridays – 07H00 – 12H00)
	hr
	11520
	
	

	
	Overtime (after normal working hours @ 1.5x normal rate)
	hr
	2880
	
	

	
	Sundays/Public holidays @ 2x normal rate
	hr
	2880
	
	

	
	Crane truck driver / rigger
	
	
	
	

	
	Normal working hours 
(Monday- Thursday 07H00-16H15)

(Fridays – 07H00 – 12H00)
	hr
	1440
	
	

	
	Overtime (after normal working hours @ 1.5x normal rate)
	hr
	360
	
	

	
	Sundays/Public holidays @ 2x normal rate
	hr
	360
	
	

	
	Semi-skilled worker
	
	
	
	

	
	Normal working hours 
(Monday- Thursday 07H00-16H15)

(Fridays – 07H00 – 12H00)
	hr
	11520
	
	

	
	Overtime (after normal working hours @ 1.5x normal rate)
	hr
	2880
	
	

	
	Sundays/Public holidays @ 2x normal rate
	hr
	2880
	
	

	
	General worker
	hr
	
	
	

	
	Normal working hours 
(Monday- Thursday 07H00-16H15)

(Fridays – 07H00 – 12H00)
	hr
	23040
	
	

	
	Overtime (after normal working hours @ 1.5x normal rate)
	hr
	5760
	
	

	
	Sundays/Public holidays @ 2x normal rate
	hr
	5760
	
	

	
	Plant and Allowance
	
	
	
	

	
	Truck 8ton with crane
	day
	36
	
	

	
	LDV 1ton 
	day
	504
	
	

	
	Test vehicle
	day
	504
	
	

	
	TLB
	day
	36
	
	

	
	SAFETY REQUIREMENTS
	 
	 
	
	

	
	PPE
	Yearly
	57
	
	

	
	Medicals
	Yearly
	57
	
	

	
	Safety file
	Yearly
	3
	
	

	
	SAFETY TRAINING
	 
	 
	
	

	
	Risk Assessor
	no.
	2
	
	

	
	Supervisor
	no.
	2
	
	

	
	First Aider
	no.
	1
	
	

	
	SHE REP
	no.
	1
	
	

	
	Fire Fighter
	no.
	1
	
	

	
	Supervisor for excavation work
	no.
	1
	
	

	
	Working at heights
	No.
	5
	
	

	
	SUB- TOTAL LABOUR & PLANT
	
	
	
	

	
	
	
	
	
	

	
	GRAND TOTAL (excl VAT)
	
	
	
	

	
	
	
	
	
	

	
	PROPOSED CPA FORMULA
	
	
	
	

	
	Copper
	
	50%
	
	

	
	Labour
	
	30%
	
	

	
	Transport
	
	10%
	
	

	
	Fixed
	
	10%
	
	




DOCUMENT C2.1
PAGE 2
PRICING DATA




Part C2: Pricing Data
PAGE 1
C2 TSC3 Cover

