{"text_format":"3","workbook":"xlsx","n_sheets":5,"sheets":["QS Report","SUMMARY","EAL","MWP","ERIC"],"not_rendered":{"images":1,"defined_names":328},"read":"whole","date_system":"1900"}

{"sheet":"QS Report","index":0,"n_rows":51,"n_cols":6,"rows_kept":51,"hidden":true,"merged":[[7,2,7,5],[11,2,11,6],[15,1,15,11],[17,1,17,10],[18,1,18,11],[20,1,20,3],[23,2,23,4],[23,9,23,10],[24,9,24,10],[25,2,25,4],[25,9,25,10],[26,2,26,4],[26,9,26,10],[27,2,27,4],[28,2,28,4],[38,1,38,10],[40,1,40,11],[45,1,45,2],[46,1,46,4],[46,6,46,7],[48,1,48,4],[50,1,50,3],[50,6,50,7]]}
["ESKOM REAL ESTATE"]
["COST ESTIMATE"]
[]
["Phone:",null,"+27 76 511 6100"]
["Email: ",null,"dlabana@eskom.co.za"]
[]
["To: ",null,"Chairperson"]
[null,null,"Cost Estimate Report for Eskom Real Estate Investment Committee"]
[]
["Project:",null,"Eskom Real Estate"]
[]
["Subject",null,"Production Assets for Megawatt Park, Eskom Academy of Learning, and Eskom Research and Innovation Centre"]
[]
[]
[1,"SUMMARY"]
[null,"Eskom Real Estate provide facilities management services for Megawatt Park, Eskom Academy of Learning, and Eskom Research and Innovation Centre. Facilities management is a strategic enabler and operational discipline that focuses on the effective and efficient management of the physical workplace and infrastructure to support Eskom special purpose sites including the head office site.\n\nThe sites are currently operating with outdated equipment that has far exceeded its recommended operational lifespan. This aging infrastructure presents numerous challenges, including the need for frequent repairs, escalating maintenance costs, and, in some cases, complete inoperability. The continued use of these outdated systems is increasingly inefficient, resulting in operational disruptions and a growing financial burden due to the constant need for repairs and replacements. \n\nTo support the sites and improve overall efficiency, a plan has been developed to invest in modern equipment. This upgrade is essential for reducing maintenance costs associated with outdated equipment and for addressing the increasing demand for services.\n\n"]
[]
[2,"Scope description"]
[null,"Purchase of production assets for Megawatt Park, Eskom Academy of Learning, and Eskom Research and Innovation Centre. The production assets encompass a wide range of equipment, including but not limited to kitchen appliances, digital devices, industrial machinery & small tools, gym equipment, and other related assets. "]
[]
[3,"ESTIMATE"]
[null,"Detailed estimate is attached and below is the summary"]
[]
[null,"Item","Description",null,null,"Cost Estimate"]
[]
[null,1,"Megawatt Park ",null,null,{"$f":"#REF!","v":{"$error":"#REF!"}}]
[null,2,"Eskom Academy of Learning",null,null,{"$f":"EAL!E22","v":{"v":0,"d":"R 0.00"}}]
[null,3,"Eskom Research and Innovation Centre",null,null,{"$f":"#REF!","v":{"$error":"#REF!"}}]
[]
[null,null,"Total Cost ",null,null,{"$f":"SUM(F26:F29)","v":{"$error":"#REF!"}}]
[]
[]
[null,null,"Estimating parameters:"]
[null,null,"QS estimate",{"$f":"F30","v":{"$error":"#REF!"}}]
[null,null,"Estimate Value",{"$f":"D34","v":{"$error":"#REF!"}},{"$f":"D35/D34","v":{"$error":"#REF!"}}]
[null,null,"Lower parameter-5%",{"$f":"D35*0.95","v":{"$error":"#REF!"}},{"$f":"D36/D35","v":{"$error":"#REF!"}}]
[null,null,"Upper parameter-5%",{"$f":"D35*1.05","v":{"$error":"#REF!"}},{"$f":"D37/D34","v":{"$error":"#REF!"}}]
[]
[4,"PRICES AND RATES"]
[]
[null,"The activities used in the estimate is base on the total number of production assets required and the rate used is base the market related .CPA will not be applicable."]
[]
[null,"PREPARED BY"]
[]
[]
[]
[null,"Atams Mdledle"]
[null,"Middle Manager Real Estate"]
[null,"Eskom Real Estate"]
[]
[null,{"$f":"NOW()","v":"2025-12-10T09:54:31.660"}]

{"sheet":"SUMMARY","index":1,"n_rows":8,"n_cols":4,"rows_kept":8,"merged":[[1,1,1,3]]}
[]
[null,"SUPPLYAND DELIVERY OF PRODUCTION ASSETS"]
[null,"Item no.","Description","Amount"]
[]
[null,null,"EAL"]
[null,null,"MWP"]
[null,null,"ERIC"]
[null,null,"Total Excl. VAT"]

{"sheet":"EAL","index":2,"n_rows":33,"n_cols":8,"rows_kept":33}
[null,"EAL Production Asset",null,null,"Rate"]
["Item no.","Description","Unit","Qty","Supply and Deliver","Amount"]
[]
[1,"Portable fridge\n3000 Length x 1500 Width x 1800 Height\nContainer type door\nGalvanized floor\n9 000 BTU cooling unit\n-8°C chiller unit\n75mm panels\n2000kg Natis","No",1,null,"0771847"]
[2,"65 Inch smart screen (TV)\nHISENSE 55″ 4K QUANTUM 120Hz ULED SMART TV",null,2,null,"0671554 "]
[3,"Microwaves\nCMO Capacity: 1.4 Cu.Ft / 40 L Heat Source: Grill Power Output Power (Max): 900 W Power Consumption (Microwave): 1,500 W: Power Source 230 V / 50 Hz: Power Level: 10 Display Type: LED Control Method: Membrane Door Opening Type: Button Microwave Distribution: Turntable Cavity Interior: Ceramic Enamel","No",1,null,"07319424 "]
[4,"Jack hammer 1750w\nEngine: 80cc 2 Stroke Power: 2kW @ 4400rpm Impact Frequency: 1300/min Impact Energy: 55J\n ","No",1,null,"0731924 "]
[5,"Dicing machine\nDescription Upgrade your tool collection with the TAP AND DIE TORK CRAFT SET 16PCE IN PLASTIC CASE. This comprehensive set is perfect for any DIY enthusiast or professional mechanic looking to tackle threading tasks with ease. The durable plastic case ensures that your tools stay","No",1,null,"0770884"]
[6,"Drilling rotary hammer 1250w\nRATING\tIndustrial\nBATTERY TYPE\tLithium Ion\nVOLTAGE\t18V\nBATTERIES INCLUDED\t\nBare - No Battery\nMOTOR TYPE\tBrushless\nHAMMER ACTION\tWith Hammer\nCHUCK\tSDS Plus\nMODE SELECTOR\t\n3 Mode (Chipping)\nIMPACT ENERGY\t2.6 Joules\nNO LOAD SPEED (1ST)\t1550rpm\nIMPACT RATE (1ST GEAR)\t5680bpm\nDRILLING CAPACITY [WOOD]\t30mm\nDRILLING CAPACITY [METAL]\t13mm\nDRILLING CAPACITY [MASONRY]\t26mm\nCORE DRILL CAPACITY\t50mm\nCARRY CASE\tCarry Case\nLENGTH (CM)\t38\nWIDTH (CM)\t16\nWEIGHT (KG)\t2.3\nIncludes\n1x DCH133 Rotary Hammer Drill\n1 x Carry Case","No",1,null,"0770164"]
[7,"Hole saw kits for conncrete,marble and steel\nHigh speed bi-metal edge for heavy duty cutting\nVariable tooth pattern for “chatter-free” cutting – 4/6 TPI\nSpare drill bit included\nHigh speed bi-metal for heavy duty cutting\n\nVariable tooth pattern for “chatter-free” cutting – 4/6 TPI. Suitable for general timber and wood\n\nWhat’s in the box\n•20mm Hole saw (30mm cutting depth)\n•22mm Hole saw (30mm cutting depth)\n•25mm Hole saw (30mm cutting depth)\n•32mm Hole saw (38mm cutting depth)\n•38mm Hole saw (38mm cutting depth)\n•40mm Hole saw (38mm cutting depth)\n•WARB1 Arbor\n•WARB2 Arbor\n•WADAP Adaptor","No",1,null,"Do not add to list"]
[8,"Circular saw 1500 w185mm blade \nCircular Saw 185 mm 1500 W RCS-1500","Set",1,null,"0754719 "]
[9,"Gedor ratchet spanners 60pcs\nproduct type\nSpanners\nproduct\nGedore Spanner Set 1b/17m\n","Set",1,null,"0770879"]
[10,"Extension mts reel steel 40x25\n40 M Extension Cord with Reel 2.5 MM","Set",1,null,"0771805"]
[11,"Rechargable lanted led\nSwitched Rechargable Hand-Held Lantern Black 12 W","No",1,null,"0770885"]
[12,"Caliper\nAngle Grinder 230Mm 2200W","No",1,null,"0770877"]
[13,"Grinder 2200-230\nGrind and cut to perfection with the DEWALT DWE492 Industrial Angle Grinder 230mm 2200W","No",1,null,"0770876"]
[14,"Water pump sp9.500 dirty  \nPackage Weight (kg)\t21.050000\nPackage Length (cm)\t47,24\nPackage Width (cm)\t22,1\nPackage Height (cm)\t27,18                                                                                                                                The Taifu Submersible Sewage Pump 0.55KW (WFD6-12-0.55A) is a powerful and efficient solution for wastewater management. Designed for durability, it offers a max flow of 16m³/h and a max head of 15M, making it ideal for residential and industrial applications.","No",1,null,"0770878"]
[15,"Water leak deactector\nGas Detector\nHydrogen, H2 gas\n\nPPM Readings Resolution\n1 PPM H2\n\nGas Sensor Heat-Up Time\n1.5-10 minutes (vary under different environmental conditions)\n\nGas Sensor Pump Flow Rate\n1.5 liters/min\n\nSensor-to-Device Communication\nWireless (Bluetooth BLE4), 10-meter communication distance in open space\n\nScreen Size & Type\nCapacitive touchscreen, 7-inch\n\nPower\nReplaceable Li-Ion 3.7V 3000mAh 18650 batteries (2 units in Device and 1 unit in H2 Sensor, not included) \nPower adaptor: Input: AC 100-240V 50-60Hz\nOutput: DC12V 5A\nElectric plug type: EU (2 pins)\n\nPPM Update Rate\nsec1 \n\nOperational Temperature Range\n-10deg C to 50deg C\n \nDevice Dimensions\n197 x 121 x 36 mm without a silicone cover\n\nH2 Sensor Dimensions\nTotal length: 800 mm\nSensor diameter: 60 mm\nRubber suction cup diameter: 100 mm\n\nSniffer430 System Package\n• Sniffer430 Device.\n• Sniffer430 H2 Sensor.\n• AC power adapter.\n• Silicon rubber protection case for\n• Sniffer430 Device.\n• Neck strip and hand strip.\n• Rugged plastic case.\n\nPackage Dimensions\n46x 34x 19cm\n\nPackage Weight\n5.3kg","No",1,null,"0770165"]
[16,"Floor cable protector  cover cablepro gp1 50meters\nAbrasion protected motor for increased durability","No",1,null,"0770126",null,{"$f":"#REF!/3","v":{"$error":"#REF!"}}]
[17,"Golf cart\nAbrasion protected motor for increased durability","No",2,null,"0766624"]
[18,"Portable toilet\nCatering for approx. 300 – 350 people, this trailer mounted unit is fully self-contained making it ideal for gardens and remote areas. It requires no electricity or water as it runs off solar power and self-contained water tanks. With its sleek and stylish interior, comprising of 4 toilets with hand basins and lights, the quad portable toilet block also comes with hand soap, hand sanitiser, toilet paper, hand paper towel & bin.\nDimensions: 6m L x 2.8m W x 2.9m H plus clearance","No",2,null,"0770168"]
[19,"Centre Pole Umbrellas                                                      Application: Outdoor\nSize Option: 2,5m octagon\nBase Option: 36kg Base (Not for strong wind)\n55kg Base","No.",4,null,"0770167"]
[20,"Portable lights trailer\nModel\tLUX M11\nMast\t9m telescopic rotatable 340 degrees\nFloodlight\t4 x 320W\nLamps\tLED\nWind stability\t80km/h\nRated output\t230V\nEngine\tKubota Z482 2cyl liquid cooled\nFuel\tDiesel\nRpm\t1500\nTank capacity\t80L\nRunning time\t145 hr\nFuel consumption\t0.55 L/h","No",2,null,"0772157"]
[21,"Bullet vests ","No.",1,null,"0758101 / '0670135 "]
[22,"Ear muffs (shooting)","Set",1,null,"0722117 "]
[23,"Cherry picker\nHA41 RTJ PRO DIESEL ARTICULATING BOOM LIFT 39,5 m","No.",1,null,"0770124"]
[24,"Cable Detector \nTechnical specifications – LKD-2500 detector","No.",1,null,"0770880"]
[null,"Transport"]
[25,"LDV","km","Rate Only",null,"Rate only",3000059888]
[{"$f":"+A29+1","v":26},"4X4","km","Rate Only",null,"Rate only",3000059887]
[{"$f":"+A30+1","v":27},"Smaller truck (1-2 tons)","km","Rate Only",null,"Rate only",3000059886]
[null,"All equipment Installations ",{"$nulls":4},3000033033]
[{"$nulls":5},{"$f":"SUM(F1:F32)","v":0}]

{"sheet":"MWP","index":3,"n_rows":32,"n_cols":8,"rows_kept":32,"merged":[[0,4,0,5]]}
[null,"MWP Production Asset",null,null,"Rate"]
["Item no.","Description","Unit","Qty","Supply","Install","Amount","Material Number"]
[{"$nulls":4},"Yes"]
[1,"Screen Mockup (main and west gates)\nP4 Outdoor LED Display Screen:","No",3,"Yes","Yes",null,"0773001"]
[2,"Screen Mockup (mobile)\nP4 Outdoor LED Display Screen: ","No",4,"Yes","No",null,"0773002"]
[3,"Portable Projector \nEpson EB-W51 Standard throw projector 4000 ANSI lumens 3LCD WXGA (1280x800) :Epson EB-W51. Projector brightness: 4000 ANSI lumens, Projection technology: 3LCD, Projector native resolution: WXGA (1280x800). Light source type: Lamp, Service life of light source: 6000 h, Service life of light source (economic mode): 12000 h. Focus: Manual, Focal length range: 16.9 - 20.28 mm, Aperture range (F-F): 1.49 - 1.72. Video processing: 10 bit, Video colour modes: Blackboard, Cinema, Dynamic, Presentation, sRGB. Noise level: 37 dB, Noise level (economic mode): 28 dB, Country of origin: Philippines: ","No",4,"Yes","No",null,"0772263"]
[4,"55 Inch smart screen (TV) \nHisense 139 cm (55 inch) LED Ultra HD (4K) Android TV 2024 Edition","No",4,"Yes","No",null,"0687994 "]
[5,"65 Inch smart screen (TV)\nHISENSE 55″ 4K QUANTUM 120Hz ULED SMART TV:","No",4,"Yes","No",null,"0671554 "]
[6,"Dishwasher canteen big\nCOMENDA -rack conveyor dishwashing machine - AC2E2LP9: ","No",1,"Yes","Yes",null,"0752658 "]
[7,"Cherry picker\nHA41 RTJ PRO DIESEL ARTICULATING BOOM LIFT 39,5 m: ","No",1,"Yes","No",null,"0770124 "]
[8,"Multimeters measuring tool: \nFluke 179 digital multimeter, true RMS, 10A ac Max, 10A dc Max, 100V ac Max","No",4,"Yes","No",null,"0726258 "]
[9,"Temp measuring tool\nPower Supply 4×1.5V AAA Batteries Size 184mm×60mm×29mm Weight 190g(0.41lb)\nAmbient temperature -20 to 60°C (-4 to 140°F) ±0.5°C (0 to 45°C) ±1.0°C(-20 to 0°C, 45 to 60°C) 0.1°C/°F Relative Humidity 0 to 100%RH ±2.0% RH(10% to 90%) ±3.0% RH(0% to 10%, 90% to 100%) 0.1% Wet Bulb Temperature -20 to 60°C (-4 to 140°F) ±0.5°C (0 to 45°C) ","No",1,"Yes","No",null,"0772268"]
[10,"Cable Detector \nTechnical specifications – LKD-2500 detector: ","No",1,"Yes","No",null,"0772188"]
[11,"Insualation resistant tester\nInsulation Test Voltages from 500V to 15kV in 500V steps Short circuit current up to 5mA PI – Polarization Index indication Measurement of AC and DC voltage up to 600V Auto ranging on all insulation ranges Adjustable test time from 1 minute to 30 minutes Visual and audible warning of external voltage greater than 30V AC and DC Auto Power Off Optical USB data transmission to PC’s: ","No",2,"Yes","No",null,"0772269"]
[12,"Hydraulic crimper\nHydraulic crimp tool 10- 185 mm( HYCP185) ","No",1,"Yes","No",null,"0771806"]
[13,"Infra red scanner\nThermal IR camera advanced 384x 288 pxl: ","No",3,"Yes","No",null,"0773003"]
[14,"Welding machine \nWith one more MMA function Single-phase, portable, fan-cooling and wire welding machine for flux(no gas) and MIG/MAG(gas) welding With thermal protection, complete with MIG welding accessories For welding different types of materials such as steel, stainless steel and aluminium is available on request Can weld silicon, TIG LIFT function is available: ","No",1,"Yes","No"]
[15,"Grinder\nAir Angle Grinder 6.2Bar 5mm 550L/min DW 125 – 601556000: ","No",2,"Yes","No"]
[16,"Drill machine \n(CORD)Rated power input 350 W No-load speed 0 - 2500 rpm Weight without cable 1.2 kg Impact rate at no-load speed 1 - 10 bpm:","No",2,"Yes","No",null,"0772213"]
[17,"Drill machine (no Cord)\nBattery voltage 18v Torque (soft/hard/max.) 21/56/56 Nm No-load speed (1st gear / 2nd gear) 374 – 484 / 1,402 – 1,815 rpm Weight incl. battery 1,5 kg Torque settings 20: ","No",2,"Yes","No",null,"0773004"]
[18,"Canteen Geysors\n500lt 12kw 200kPa 750 x 2150: ","No",3,"Yes",null,null,"0772189"]
[19,"Mobile Guardhouse \nGuard hut 1,2 X 2,4 with a 1,2 X 2,4 Veranda extension: ","Sum",1,"Yes","No",null,"0772156"]
[20,"Portable Air-conditioner\nAlliance\nFloor Standing\nINVERTER\nFOUFSI96 - 96 000Btu: ",null,4,"Yes","No",null,"0714631 "]
[22,"Industrial shredder\nKobra 430 TS TOSHIBA: ","No.",1,"Yes","No",null,"0764335"]
[null,"Mobile  tuff trolley holder to hold tuff upright with 600 trays with shelves on castors; ","No.",1,"Yes","No",null,"0772270"]
[null,"Bain marie 3 division, BMHC 1130E bain marie hot cupboard with provision fo 3 * 1/1 GN inserts Dimensions: 1105*750*915:","No.",1,"Yes","Yes",null,"0771807"]
[null,"Bain marie 5 division, BMHC 1130E bain marie hot cupboard with provision fo 35* 1/1 GN inserts Dimensions: 1105*750*915: ","No.",1,"Yes","Yes",null,"0703577 "]
[23,"LDV","km","Rate Only","Yes",null,"Rate only",3000059888]
[24,"4X4","km","Rate Only","Yes",null,"Rate only",3000059887]
[25,"Smaller truck (1-2 tons)","km","Rate Only","Yes",null,"Rate only",3000059886]
[null,"All equipment Installations ",null,null,"Yes",null,null,3000033033]
[{"$nulls":6},{"$f":"SUM(G2:G31)","v":0}]

{"sheet":"ERIC","index":4,"n_rows":39,"n_cols":8,"rows_kept":39,"merged":[[0,1,0,2],[0,5,0,6]]}
[null,"ERIC Production Asset",{"$nulls":3},"Rate"]
[]
[null,"Supply and Installation"]
[]
["Item no.","Description","Specifications","Unit","Qty","Supply","Install","Amount"]
[1,"Supply and install Cash Kiosk Machine  \nFull Height Metal Kiosk \nPC intense 2 i5 with 8 Gb RAM, 256GB SSD\n15” Panel mount, industrial type touch monitor\nOEM Win10 pro\nNetwork Enabled\nFalcon/Aurora Note Acceptor with Stacker\n600Va UPS with Switched Multi-Plug\nCustom Industrial Slip Printer","Stainless\nDimension: 1440.X867mmX940mm\nVoltage: 380V+N\nPower: 14.4kw\nCapacity: 120lt\nWeight: 390kg","No",1]
[2,"Supply and install Tilting Pan  \nStainless\nDimension: 1440.X867mmX940mm\nVoltage: 380V+N\nPower: 14.4kw\nCapacity: 120lt\nWeight: 390kg","Dimensions\tMM\tD1100 X H1060\nPower Supply\t \tElectric\nVoltage\tV\t380+N\nCapacity\tLT\t225\nWeight\tKG\t180\nHeavy duty-stainless steel","No",1]
[3,"Supply and install of Oil Jacketed Pot (225L)  \nDimensions\tMM\tD1100 X H1060\nPower Supply\t \tElectric\nVoltage\tV\t380+N\nCapacity\tLT\t225\nWeight\tKG\t180\nHeavy duty-stainless steel","Power:\t2.15kW\nVoltage: 230V\nCooking Surface: 330 x 355mm\nDimensions: 355 x 466 x 327mm\nWeight: 11Kg","No",1]
[4,"Supply and install of 20-Pan Rational Oven\nRational Oven  Rational ICOMBI Classic 20-1/1 Electric 37.2kw 3nac\n400v Cf2erre.0001437 231kg (20x1/1gn Or 40x1/2gn)","Power Supply: 220Volt /50hz\nPower: 1.8Kw\nN.W: 30kg\nG.W: 34kg\nDimensions:660mm x 500mm x 660mm\nPacking Dimensions:660mm x 510mm x 660mm","No",1]
[5,"Supply of and install Dishwasher Machine (Commercial Freestanding Automatic)  \nAutomatic Electric Freestanding Dishwasher Machine Data.\nFeatures\tSingle Pump Without Window\nVoltage(V)\t220/380\t\nPower (Kw)\t7/9\t/9\nSize(mm)\t760*810*1500\t\nExterior Material  304 Stainless steel\t\nRinse Water Consumption/Basket  2.5-3L Control System\tTime control/temperature control\nCleaning volume/h\t60 Basket/h\nMain wash\t             60℃-65℃\nRinse temperature\t82℃-90℃","170 litre net capacity\nA+ energy\nLarge balcony\nBalcony fits 3 x 2,5L bottles\nDirect cooling\n116L net capacity fridge\n54L net capacity freezer","No",1]
[6,"Supply and install Till Register  \nEasy Pos X30 Point Of Sale Computer (Windows 10 OEM)\n19 Inch LED Monitor (Samsung, AOC, Mecer Depending on stock availability)\nEasy Pos Point Of Sale Software\nEasy Scan 2000 Barcode Scanner\nCash Drawer 8 Coin 4 Note\nEasy Print 58mm Thermal Point Of Sale Printer\nWired Keyboard and Mouse","Hot and Cold Water\nCooling Type: Compressor Model\nVoltage: 220V 50Hz\nPlug: South African 3 Point Plug\nGross Weight: 14Kg\nNett Weight: 13Kg\nDimensions: 325 x 335 x 980mm","No.",1]
[7,"Water Dispensers (38)  \nHot and Cold Water\nCooling Type: Compressor Model\nVoltage: 220V 50Hz\nPlug: South African 3 Point Plug\nGross Weight: 14Kg\nNett Weight: 13Kg\nDimensions: 325 x 335 x 980mm","Compact design\n15L capacity\nEfficient heating\nQuick hot water supply\nSpace-saving over basin installation","No.",38]
[8,"Supply and install HVAC Split Type Units (9000 BTU, 12000 BTU, 24 000 BTU)"]
[8.1,"Split Type Air Conditioner Units (9000 BTU) x 10",null,"No",10]
[8.2,"Split Type Air Conditioner Units (12000 BTU) x 3",null,"No",3]
[8.3,"Cassette Air Conditioner Units (24000 BTU) x 1",null,"No",1]
[9,"Supply of Portable Geysers (34) \n Compact design\n15L capacity\nEfficient heating\nQuick hot water supply\nSpace-saving over basin installation","1.7L Water Capacity\nEasy view water level indicator\nAutomatic switch off once boiled\nBoil dry safety cut out feature","No.",34]
[]
[]
[]
[null,"Supply Only"]
[]
[1,"Supply of Toaster Flat Plate  \nPower:\t2.15kW\nVoltage: 230V\nCooking Surface: 330 x 355mm\nDimensions: 355 x 466 x 327mm\nWeight: 11Kg","Deep Fryer, 2200 W High Voltage 3 Liters with Stainless Steel Chassis and Side Handles","No",1]
[2,"Supply of Deep-Frying Pan  \nDeep Fryer, 2200 W High Voltage 3 Liters with Stainless Steel Chassis and Side Handles","Rational ICOMBI Classic 20-1/1 Electric 37.2kw 3nac\n400v Cf2erre.0001437 231kg (20x1/1gn Or 40x1/2gn)","No",1]
[3,"Supply of Pie Warmer Oven \nPower Supply: 220Volt /50hz\nPower: 1.8Kw\nN.W: 30kg\nG.W: 34kg\nDimensions:660mm x 500mm x 660mm\nPacking Dimensions:660mm x 510mm x 660mm","Colour: Silver\nMaterial: Metal\nDimensions: 51.7 x 31 x 47.5cm\nWeight: 14kg\nWattage: 1000W\nCapacity: 32 Litre\nWarranty: 24 Months","No",1]
[4,"Supply of Cooldrink Fridge  \nStorage Capacity:748L\nDoors: 2 Glass Doors\nNumber of Shelves - 8 (4 Per Door - Adjustable)\nShelf Size - 495mm × 425mm (0.2 m2)\nDouble Stacked - 852 × 330ml cans\nSingle Stacked - 426 × 330ml cans\nNumber of Doors - 2\nSize of Doors - 525mm x 1395mm\nLighting: LED\nCooling System: Finned Evaporator - Fan Forced\nTemperature Control: Electronic\nEnergy: Start Current - 9.19 Amps\nRun Current - 2.75 Amps\nFeet: Adjustable levelling Feet","Storage Capacity:748L\nDoors: 2 Glass Doors\nNumber of Shelves - 8 (4 Per Door - Adjustable)\nShelf Size - 495mm × 425mm (0.2 m2)\nDouble Stacked - 852 × 330ml cans\nSingle Stacked - 426 × 330ml cans\nNumber of Doors - 2\nSize of Doors - 525mm x 1395mm\nLighting: LED\nCooling System: Finned Evaporator - Fan Forced\nTemperature Control: Electronic\nEnergy: Start Current - 9.19 Amps\nRun Current - 2.75 Amps\nFeet: Adjustable levelling Feet","No",1]
[5,"Supply of Microwaves (5)  \nColour: Silver\nMaterial: Metal\nDimensions: 51.7 x 31 x 47.5cm\nWeight: 14kg\nWattage: 1000W\nCapacity: 32 Litre\nWarranty: 24 Months","120 cups per day\nSingle phase 220 - 240V\n24 Beverage selection per cup size\n15g Brewing Chamber\nSmall/Meduim/Large cup size selections available\nSteam jet\nHeight adjustable spout\n7 touch display\nDimensions W325xD670xH574mm ","No.",5]
[6,"Supply of Pause Area Fridge (13)  R5000 \n170 litre net capacity\nA+ energy\nLarge balcony\nBalcony fits 3 x 2,5L bottles\nDirect cooling\n116L net capacity fridge\n54L net capacity freezer","Automatic Electric Freestanding Dishwasher Machine Data.\nFeatures\tSingle Pump Without Window\nVoltage(V)\t220/380\t\nPower (Kw)\t7/9\t/9\nSize(mm)\t760*810*1500\t\nExterior Material  304 Stainless steel\t\nRinse Water Consumption/Basket  2.5-3L Control System\tTime control/temperature control\nCleaning volume/h\t60 Basket/h\nMain wash\t             60℃-65℃\nRinse temperature\t82℃-90℃","No.",13]
[7,"Electrical Kettle (2)  R250\n1.7L Water Capacity\nEasy view water level indicator\nAutomatic switch off once boiled\nBoil dry safety cut out feature","Full Height Metal Kiosk \nPC intense 2 i5 with 8 Gb RAM, 256GB SSD\n15” Panel mount, industrial type touch monitor\nOEM Win10 pro\nNetwork Enabled\nFalcon/Aurora Note Acceptor with Stacker\n600Va UPS with Switched Multi-Plug\nCustom Industrial Slip Printer","No",2]
[8,"Coffee Machine (2)  \n120 cups per day\nSingle phase 220 - 240V\n24 Beverage selection per cup size\n15g Brewing Chamber\nSmall/Meduim/Large cup size selections available\nSteam jet\nHeight adjustable spout\n7 touch display\nDimensions W325xD670xH574mm ","Easy Pos X30 Point Of Sale Computer (Windows 10 OEM)\n19 Inch LED Monitor (Samsung, AOC, Mecer Depending on stock availability)\nEasy Pos Point Of Sale Software\nEasy Scan 2000 Barcode Scanner\nCash Drawer 8 Coin 4 Note\nEasy Print 58mm Thermal Point Of Sale Printer\nWired Keyboard and Mouse","No",2]
[9,"Portable air conditions (X8) (12000BTU)","Spec document attached on the email (Doc name: spec for the SAP PM Tablets/Handheld devices)","No",8]
[10,"URN (20L)\n220V , 16A, 200W.\nType stainless steel",null,"No",4]
[16,"Transport"]
[17,"LDV",null,"km","Rate Only",null,null,"Rate only"]
[18,"4X4",null,"km","Rate Only",null,null,"Rate only"]
[19,"Smaller truck (1-2 tons)",null,"km","Rate Only",null,null,"Rate only"]
[]
[]
[null,null,"TOTAL",{"$nulls":4},{"$f":"SUM(H6:H37)","v":0}]