| No. | Description | UoM | Qty | Rate | Price |
| --- | --- | --- | --- | --- | --- |
| A. | Preliminaries and General: Once - off |  |  |  |  |
| A.1 | FFD | LE | 1 |  |  |
| A.2 | Site Establishment | LE | 1 |  |  |
| A.3 | Site De-establishment | LE | 1 |  |  |
| A.4 | Health and Safety, PPE,Insurances etc. | EA | 1 |  |  |
|  | Sub-Total-A |  |  |  |  |
| B. | Time Base Related Service |  |  |  |  |
| B.1 | Monthly Transport Cost | EA | 1 |  |  |
| B.2 | Site Manager | Hrs | 2076 |  |  |
| B.3 | Site Supervisor | Hrs | 2076 |  |  |
|  | Sub-Total B |  |  |  |  |
| C. | Roof and Ceiling Repairs Based on Quantities |  |  |  |  |
| C.1 | Removal and Replacement of existing cladding | m2 | 3800 |  |  |
| C.2 | Installation insulation and roof covering on existing roof sheeting | m2 | 3800 |  |  |
| C.3 | Removal of old asbestos gutters | m | 600 |  |  |
| C.4 | Installation of fibre cement gutters (resistant to coastal marine) | m | 600 |  |  |
| C.5 | Removal of old asbestos of downpipes | m | 202 |  |  |
| C.6 | Installation of fibre cement downpipes (resistant to coastal | m | 202 |  |  |
| C.7 | Removal and Replacement of clean stones | m2 | 1290 |  |  |
| C.8 | Waterproofing of roof slab | m2 | 1290 |  |  |
| C.9 | Remove damaged ceiling panes and install insulation | m2 | 3800 |  |  |
| C.10 | Remove and Replace Reinforced roof rafter and beams | LE | 1 |  |  |
| C.11 | Replacement of suspended ceiling panels supports, and ceiling panels supports as per Architect requirements. | LE | 1 |  |  |
| C.12 | Unblock existing draining system (Gulley and concrete Embedded pipes) and replace covers with equivalent material | LE | 1 |  |  |
|  | Sub-Total - C |  |  |  |  |
| D. | Provisional Scope (To be Quoted When Required) |  |  |  |  |
| D.1 | Electrical work (all inclusive) - cost guide | m2 | 1000 |  |  |
| D.2 | Structural Engineer Services | Hrs | 1038 |  |  |
| D.3 | HVAC (all inclusive) - cost guide | m2 | 1000 |  |  |
|  | Sub-Total -D |  |  |  |  |
| TOTAL | Sub-totals A , B, C & D |  |  |  |  |