Eskom Holdings SOC Ltd

Contract No. _________

project & Contract title




	[image: image2.jpg]R Eskom






NEC3 Engineering & Construction Contract
	Between


	ESKOM HOLDINGS SOC Ltd 

(Reg No. 2002/015527/30) 

	and


	[Insert at award stage]

(Reg No. ___________ )

	for


	Supply and deliver of three (3) LPG plates and one (1) Electric plate hybrid cooking stoves, LPG Heaters with 9KG LPG Cylinders x 2 and Supply, deliver and install ceiling insulation (SPF and Ceiling boards), electrical re-wiring and asbestos removal and disposal for Air Quality Offset Project on and “as and when required basis” in the Phola settlement in Mpumalanga (Nkangala District Municipality) for a period of 5 years for houses up to six thousand and seventy three (6073).Insert title of the works

	
	

	Contents:


	
	No of pages

	Part C1
	Agreements & Contract Data
	31

	Part C2
	Pricing Data
	2

	Part C3
	Scope of Work
	12

	Part C4
	Site Information
	2

	
	
	

	CONTRACT No.
	

	
	

	
	

	
	


Part C1: Agreements & Contract Data
	Contents:


	
	No of pages

	C1.1
	Form of Offer and Acceptance 

[to be inserted from Returnable Documents at award stage]
	4

	C1.2a
	Contract Data provided by the Employer
	15

	C1.2b
	Contract Data provided by the Contractor
[to be inserted from Returnable Documents at award stage]
	3

	C1.3
	Proforma Guarantees
	9


C1.1 Form of Offer & Acceptance

1.1 Offer

The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

2 Provision of a basic retrofit which consists of Insulation, Electrical wiring, stoves exchange, LPG Heater and asbestos removal (where applicable)
The tenderer, identified in the Offer signature block, has examined the documents listed in the Tender Data and addenda thereto and by submitting this Offer has accepted the Conditions of Tender.

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Contractor under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data. 

Delete the Options which do not apply

	Options A 
	The offered total of the Prices exclusive of VAT is 
	R 

	
	
	

	
	Value Added Tax @ 15% is
	R

	
	The offered total of the amount due inclusive of VAT is

	R 

	
	(in words) 



This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

	Signature(s)


	
	
	

	Name(s)


	
	
	

	Capacity


	
	
	

	For the tenderer:

	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	

	Tenderer’s CIDB registration number (if applicable) 
	


2.1 Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Employer and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in: 

Part C1

Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2

Pricing Data

Part C3

Scope of Work: Works Information

Part C4

Site Information

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed original copy signed between them of this document, including the Schedule of Deviations (if any).  

Unless the tenderer (now Contractor) within five working days of the date of such receipt notifies the Employer in writing of any reason why he cannot accept the contents of this agreement, this agreement shall constitute a binding contract between the Parties.

	Signature(s)


	
	
	

	Name(s)
	
	
	

	Capacity


	
	
	

	for the Employer


	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	


Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

2.2 Schedule of Deviations to be completed by the Employer prior to contract award

Note:

1.  This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.
2. The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

3. A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

	No.
	Subject
	Details

	1
	
	

	2
	
	

	3
	
	

	4
	
	

	5
	
	

	6
	
	

	7
	
	

	
	
	


By the duly authorised representatives signing this Schedule of Deviations below, the Employer and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance.  

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement. 

	
	2.2.1.1 For the tenderer:


	
	2.2.1.2 For the Employer



	Signature


	
	
	

	Name
	
	
	

	Capacity


	
	
	

	On behalf of
	(Insert name and address of organisation)


	
	(Insert name and address of organisation)



	Name & signature of witness
	
	
	

	Date
	
	
	


C1.2 ECC3 Contract Data

3 Part one - Data provided by the Employer
	3.1 Clause
	3.2 Statement
	3.3 Data

	1
	3.4 General
	3.5 

	
	The conditions of contract are the core clauses and the clauses for main Option 
	

	
	
	A:

Priced contract with activity schedule

	
	dispute resolution Option
	W1:
Dispute resolution procedure

	
	and secondary Options 
	

	
	
	X1:

Price adjustment for inflation

	
	
	X2

Changes in the law

	
	
	X4:

Parent company guarantee

	
	
	X5:

Sectional Completion

	
	
	X7:

Delay damages

	
	
	X12:
Partnering

	
	
	X13:
Performance Bond

	
	
	X15:
Limitation of Contractor’s liability for design to reasonable skill and care

	
	
	X16:
Retention

	
	
	X18:
Limitation of liability 

	
	
	Z:

Additional conditions of contract

	
	of the NEC3 Engineering and Construction Contract, April 2013 (ECC3)
	If 2005 Edition is to be used delete “April 2013” and replace with “June 2005 with amendments June 2006”. Always delete this note before finalising this Data

	10.1
	The Employer is (Name):
	Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa

	
	Address
	Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg

	10.1
	The Project Manager is: (Name)
	 Eskom Project Manager 

	
	Address
	Megawatt Park maxwell Drive, Sunninghill Sandton

	
	Tel
	

	
	Fax
	

	
	e-mail
	

	10.1
	The Supervisor is: (Name)
	Project Management Office (PMO) will provide Supervisor

	
	Address
	

	
	Tel No.
	

	
	Fax No.
	

	
	e-mail
	

	11.2(13)
	The works are 
	Supply, deliver and Install of three (3) LPG plates and one (1) Electric plate hybrid cooking stoves and LPG Heaters with 9KG LPG Cylinders x 2 and Supply, deliver and install ceiling insulation (SPF and Ceiling boards) and electrical re-wiring for Air Quality Offset Project on and “as and when required basis” 

	11.2(14)
	The following matters will be included in the Risk Register
	External Stakeholder Management, Possible strikes, unfavourable weather conditions, nonparticipation of households and Lead time of gadgets (Late delivery of gadgets)

	11.2(15)
	The boundaries of the site are 
	Phola Settlements (Emalahleni local Municipality, Nkangala District Municipality in the Mpumalanga Province)

	11.2(16)
	The Site Information is in 
	Part 4: Site Information

	11.2(19)
	The Works Information is in  
	Part 3: Scope of Work and all documents and drawings to which it makes reference.

	12.2
	The law of the contract is the law of 
	The Republic of South Africa

	13.1
	The language of this contract is 
	English

	13.3
	The period for reply is
	One (1) week Contractual matters

One day for site activities

	3.6 2
	3.7 The Contractor's main responsibilities
	A per the Contract

	3.8 3
	3.9 Time
	3.10 

	11.2(3)
	The completion date for the whole of the works is
	30 November 2026

	11.2(9)
	The key dates and the conditions to be met are:
	Condition to be met
	key date

	
	
	1
	500 Fully installed houses
	31 March 2024

	
	
	2
	2024 Fully installed houses
	31 March 2025

	
	
	3
4
	2024 fully installed houses
1525 fully installed houses
	31 March 2026
30 November 2026

	30.1
	The access dates are:
	Part of the Site
	Date: 01 November  2023

	
	
	1
	
	

	
	
	2
	
	

	
	
	3
	
	

	31.1
	The Contractor is to submit a first programme for acceptance within 
	Two (2) weeks of the Contract Date.

	31.2
	The starting date is
	01 November  2023

	32.2
	The Contractor submits revised programmes at intervals no longer than 
	Two (2) weeks.

	35.1
	The Employer is not willing to take over the works before the Completion Date.
	Once the house is complete it will be handed over and the defects will start applying.

	3.11 4
	3.12 Testing and Defects
	3.13 

	42.2
	The defects date is 
	52 weeks after Completion of the whole of the works per house completed.

	43.2
	The defect correction period is 
	Five (5) working days (one week)

	
	except that the defect correction period for 
	

	
	and the defect correction period for 
	

	3.14 5
	3.15 Payment
	3.16 

	50.1
	The assessment interval is 
	between the twenty-five (25) day of each successive month.

	51.1
	The currency of this contract is the 
	South African Rand.

	51.2
	The period within which payments are made is 
	Four (4) weeks upon assessment which has been signed off by relevant personnel.

	51.4
	The interest rate is 
	the publicly quoted prime rate of interest (calculated on a 365-day year) charged from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and 

(ii) the LIBOR rate applicable at the time for amounts due in other currencies.  LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove.

	3.17 6
	3.18 Compensation events
	3.19 Clause 60 process will apply

	60.1(13)
	The place where weather is to be recorded is:
	Phola (Emalahleni local Municipality, Nkangala District Municipality in the Mpumalanga Province) 

	
	The weather measurements to be recorded for each calendar month are, 
	the cumulative rainfall (mm)

	
	
	the number of days with rainfall more than 10 mm

	
	
	the number of days with minimum air temperature less than 0 degrees Celsius

	
	
	the number of days with snow lying at 09:00 hours South African Time

	
	
	and these measurements:

	
	The weather measurements are supplied by
	South African Weather Service 

	
	The weather data are the records of past weather measurements for each calendar month which were recorded at: 
	Phola 

	
	and which are available from: 
	the South African Weather Bureau and included in Annexure A to this Contract Data provided by the Employer

	60.1(13)


	Assumed values for the ten-year return weather data for each weather measurement for each calendar month are:
	As stated in Annexure A to this Contract Data provided by the Employer.

Note:  If this arrangement is used, delete the rows above for 60.1(13) and delete this note.

	3.20 7
	3.21 Title
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.

	3.22 8
	3.23 Risks and insurance
	3.24 Clause 80 process will apply

	80.1
	These are additional Employer's risks  
	Possible Strikes by community

	
	
	Non-Participation of households

	
	
	Unfavourable weather conditions
Community cultural activity (Initiation schools) 

	3.25 9
	3.26 Termination
	NEC Clause 90 will apply

	3.27 10
	3.28 Data for main Option clause
	

	A
	Priced contract with activity schedule
	There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data.

	3.29 11
	3.30 Data for Option W1
	

	W1.1
	The Adjudicator is 
	the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him.  (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA).

	
	Address
	

	
	Tel No.
	

	
	Fax No.
	

	
	e-mail
	

	W1.2(3)
	The Adjudicator nominating body is:
	the Chairman of ICE-SA a joint Division of the South African Institution of Civil Engineering and the London Institution of Civil Engineers. (See www.ice-sa.org.za ) or its successor body.

	W1.4(2)
	The tribunal is: 
	arbitration.

	W1.4(5)
	The arbitration procedure is 
	the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body.

	
	The place where arbitration is to be held is
	South Africa

	
	The person or organisation who will choose an arbitrator 

· if the Parties cannot agree a choice or
· if the arbitration procedure does not state who selects an arbitrator, is
	the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body.

	3.31 12
	3.32 Data for secondary Option clauses
	3.33 

	X1
	Price adjustment for inflation
	

	X1.1(a)
	The base date for indices is 
	

	X1.1(c)
	The proportions used to calculate the Price Adjustment Factor are:
	proportion
	linked to index for
	Index prepared by

	
	
	Fixed 15% 
	
	

	
	
	Material – SPF 40%
	Table O–2 Coke, petroleum, chemical, rubber and plastic products
	Seifsa 

	
	
	Material – Ceiling boards 10%
	Table G–2(A) Building installation
	Seifsa

	
	
	Material – Wiring 10%
	Table G–2 (A) Electrical contractors
	Seifsa

	
	
	Material – Paint 3%
Labour  15%
Overheads 4%
Transport 3%
	Table M – 6 Paint
Table C3 – AHPE
Table D–2 

Table L2–A
	Seifsa
Seifsa

Seifsa

Seifsa



	
	
	
	non-adjustable
	

	
	Total
	100

	
	

	X2
	Changes in the law
	The law of the Republic of South Africa 

	X4
	Parent company guarantee
	If a parent company owns the Contractor, the Contractor gives to the Employer a guarantee by the parent company of the Contractor's performance in the form set out in the Service Information. If the guarantee was not given by the Contract Date, it is given to the Employer within four weeks of the Contract Date. 

	X5
	Sectional Completion
	

	X5.1
	The completion date for each section of the works is:
	Section
	Description
	Completion date

	
	
	1
	500 Fully installed houses
	31 March 2024

	
	
	2
	2024 Fully installed houses
	31 March 2025

	
	
	3
4
	2024 Fully installed houses

1525 Fully installed houses
	30 March 2026

30 November 2026

	X5 & X7
	Sectional Completion and delay damages used together
	

	X7.1

X5.1
	Delay damages for late Completion of the sections of the works are: 
	section
	Description
	Amount per day

	
	
	1
	500 Fully installed houses
	R

	
	
	2
	2024 Fully installed houses
	R

	
	
	3
4
	2024 Fully installed houses

1525 Fully installed houses
	R
R

	
	Remainder of the works
	
	
	R

	
	The total delay damages payable by the Contractor does not exceed:
	

	X7
	Delay damages (but not if Option X5 is also used)
	

	X7.1
	Delay damages for Completion of the whole of the works are
	1% per day up to a limit of 10% of the purchase order.

	X12
	Partnering
	

	X12.1(1)
	The Client is (Name)
	

	
	Address
	

	
	Tel
	

	
	Fax
	

	X12.2(1)
	The Client’s objective is.
	

	X12.1(4)
	The Partnering Information is in 
	

	X13
	Performance bond
	

	X13.1
	The amount of the performance bond is
	R
10% of contract value

	X15
	Limitation of the Contractor’s liability for his design to reasonable skill & care
	The Contractor is not liable for Defects in the works due to his design so far as he proves that he used reasonable skill and care to ensure that his design complied with the Works Information

	X16
	Retention (not used with Option F)
	

	X16.1
	The retention free amount is 
	R

	
	The retention percentage is
	10%

	X18
	Limitation of liability
	

	X18.1
	The Contractor’s liability to the Employer for indirect or consequential loss is limited to:
	R0.0 (zero Rand)

	X18.2
	For any one event, the Contractor’s liability to the Employer for loss of or damage to the Employer’s property is limited to:
	the amount of the deductibles relevant to the event 

	X18.3
	The Contractor’s liability for Defects due to his design which are not listed on the Defects Certificate is limited to
	The greater of 

· the total of the Prices at the Contract Date 

and 

· the amounts excluded and unrecoverable from the Employer’s assets policy for correcting the Defect (other than the resulting physical damage which is not excluded) plus the applicable deductible as at contract date.

	X18.4
	The Contractor’s total liability to the Employer for all matters arising under or in connection with this contract, other than excluded matters, is limited to:
	the total of the Prices other than for the additional excluded matters.

The Contractor’s total liability for the additional excluded matters is not limited. 

The additional excluded matters are amounts for which the Contractor is liable under this contract for

· Defects due to his design which arise before the Defects Certificate is issued,

· Defects due to manufacture and fabrication outside the Site,

· loss of or damage to property (other than the works, Plant and Materials),

· death of or injury to a person and 

· infringement of an intellectual property right.

	X18.5
	The end of liability date is 
	(i) One years after the defects date (Take over) for latent Defects and

(ii) the date on which the liability in question prescribes in accordance with the Prescription Act No. 68 of 1969 (as amended or in terms of any replacement legislation) for any other matter.

A latent Defect is a Defect which would not have been discovered on reasonable inspection by the Employer or the Supervisor before the defects date, without requiring any inspection not ordinarily carried out by the Employer or the Supervisor during that period. 

If the Employer or the Supervisor do undertake any inspection over and above the reasonable inspection, this does not place a greater responsibility on the Employer or the Supervisor to have discovered the Defect.

	Z
	The Additional conditions of contract are
	Z1 to Z15 always apply.

	
	

	Z1
	Cession delegation and assignment

	Z1.1
	The Contractor does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Employer.

	Z1.2
	Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. 

	
	

	Z2
	Joint ventures

	Z2.1
	If the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Employer for the performance of this contract.

	Z2.2
	Unless already notified to the Employer, the persons or organisations notify the Project Manager within two weeks of the Contract Date of the key person who has the authority to bind the Contractor on their behalf.

	Z2.3
	The Contractor does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Employer having been given to the Contractor in writing.

	
	

	Z3
	Change of Broad Based Black Economic Empowerment (B-BBEE) status

	Z3.1
	Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change.

	Z3.2
	The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Project Manager within thirty days of the notification or as otherwise instructed by the Project Manager.

	Z3.3
	Where, as a result, the Contractor’s B-BBEE status has decreased since the Contract Date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Works.

	Z3.4
	Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93.

	
	

	Z4
	Confidentiality

	Z4.1
	The Contractor does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time).  Should the Contractor disclose information to Others in terms of clause 25.1, the Contractor ensures that the provisions of this clause are complied with by the recipient.

	Z4.2
	If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Project Manager.

	Z4.3
	In the event that the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure.  In the event that such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed.

	Z4.4
	The taking of images (whether photographs, video footage or otherwise) of the works or any portion thereof, in the course of Providing the Works and after Completion, requires the prior written consent of the Project Manager.  All rights in and to all such images vests exclusively in the Employer.  

	Z4.5
	The Contractor ensures that all his subcontractors abide by the undertakings in this clause.

	
	

	Z5
	Waiver and estoppel: Add to core clause 12.3:

	Z5.1
	Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Project Manager, the Supervisor, or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing.

	
	

	Z6
	Health, safety and the environment:  Add to core clause 27.4

	Z6.1
	The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the works. Without limitation the Contractor:

· accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2014 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Site;

· warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of works; and

· undertakes, in and about the execution of the works, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	Z6.2
	The Contractor, in and about the execution of the works, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	
	

	Z7
	Provision of a Tax Invoice and interest.  Add to core clause 51

	Z7.1
	Within one week of receiving a payment certificate from the Project Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures stated in the Works Information, showing the amount due for payment equal to that stated in the payment certificate.

	Z7.2
	If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice.  Interest due by the Employer in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made.

	Z7.3
	The Contractor (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment.

	
	

	Z8
	Notifying compensation events

	Z8.1
	Delete from the last sentence in core clause 61.3, “unless the Project Manager should have notified the event to the Contractor but did not”.

	
	

	Z9
	Employer’s limitation of liability

	Z9.1
	The Employer’s liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand)

	Z9.2
	The Contractor’s entitlement under the indemnity in 83.1 is provided for in 60.1(14) and the Employer’s liability under the indemnity is limited.

	
	

	Z10
	Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it":  

	Z10.1
	   or had a business rescue order granted against it.

	
	

	Z11
	Addition to secondary Option X7 Delay damages (if applicable in this contract)

	Z11.1
	If the amount due for the Contractor’s payment of delay damages reaches the limits stated in this Contract Data for Option X7 or Options X5 and X7 used together, the Employer may terminate the Contractor’s obligation to Provide the Works using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table.

	
	


	Z12
	Ethics

	For the purposes of this Z-clause, the following definitions apply:

	Affected Party
	means, as the context requires, any party, irrespective of whether it is the Contractor or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends,

	Coercive Action
	means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally,

	Collusive Action
	means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally,

	Committing Party
	means, as the context requires, the Contractor, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractor or the Subcontractor’s employees,

	Corrupt Action
	means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party,

	Fraudulent Action
	means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation,

	Obstructive Action
	means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and

	Prohibited Action
	means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action.

	Z12.1
	A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof.

	Z12.2
	The Employer may terminate the Contractor’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Contractor did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Employer has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Employer can terminate the Contractor’s obligation to Provide the Services for this reason.

	Z12.3
	If the Employer terminates the Contractor’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2.

	Z12.4
	A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Employer does not have a contractual bond with the Committing Party, the Contractor ensures that the Committing Party co-operates fully with an investigation.

	
	

	Z13
	Insurance

	Z 13.1
	Replace core clause 84 with the following:


	Insurance cover
	84
	

	
	
	

	
	84.1
	When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force.

	
	
	

	
	84.2
	The Contractor provides the insurances stated in the Insurance Table A.

	
	
	

	
	84.3
	The insurances provide cover for events which are at the Contractor’s risk from the starting date until the earlier of Completion and the date of the termination certificate.

	
	
	

	
	
	3.33.1 INSURANCE TABLE A
Insurance against
Minimum amount of cover or minimum limit of indemnity
Loss of or damage to the works, Plant and Materials
The replacement cost where not covered by the Employer’s insurance
The Employer’s policy deductible, as at Contract Date, where covered by the Employer’s insurance
Loss of or damage to Equipment
The replacement cost
Liability for loss of or damage to property (except the works, Plant and Materials and Equipment) and liability for bodily injury to or death of a person (not an employee of the Contractor) caused by activity in connection with this contract
Loss of or damage to property

Employer’s property

The replacement cost where not covered by the Employer’s insurance
The Employer’s policy deductible, as at Contract Date, where covered by the Employer’s insurance
Other property

The replacement cost

Bodily injury to or death of a person 

The amount required by applicable law
Liability for death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract
The amount required by the applicable law


	
	
	

	Z 13.2
	
	Replace core clause 87 with the following:
The Employer provides the insurances stated in the Insurance Table B.

	
	
	

	
	
	

	
	
	

	
	
	INSURANCE TABLE B
Insurance against or name of policy
Minimum amount of cover or minimum limit of indemnity

Assets All Risk

Per the insurance policy document

Contract Works insurance

Per the insurance policy document

Environmental Liability

Per the insurance policy document
General and Public Liability

Per the insurance policy document
Transportation (Marine)

Per the insurance policy document
Motor Fleet and Mobile Plant

Per the insurance policy document
Terrorism

Per the insurance policy document
Cyber Liability

Per the insurance policy document

Nuclear Material Damage and Business Interruption
Per the insurance policy document
Nuclear Material Damage Terrorism
Per the insurance policy document



	Z14
	Nuclear Liability

	Z14.1
	The Employer is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS.

	Z14.2
	The Employer is solely responsible for and indemnifies the Contractor or any other person against any and all liabilities which the Contractor or any person may incur arising out of or resulting from nuclear damage, as defined in Act 47 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Contractor or any other person or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer.

	Z14.3
	Subject to clause Z14.4 below, the Employer waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Contractor or any other person, or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer.

	Z14.4
	The Employer does not waive its rights provided for in section 30 (7) of Act 47 of 1999, or any replacement section dealing with the same subject matter.

	Z14.5
	The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned.

	
	

	Z15
	Asbestos

	For the purposes of this Z-clause, the following definitions apply:

	AAIA
	means approved asbestos inspection authority.

	ACM
	means asbestos containing materials.

	AL
	means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4 hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL.

	Ambient Air
	means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet.

	Compliance Monitoring
	means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	OEL
	means ooccupational exposure limit.

	Parallel Measurements
	means mmeasurements performed in parallel, yet separately, to existing measurements to verify validity of results.

	Safe Levels
	means  airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	Standard
	means the Employer’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles.

	SANAS
	means the South African National Accreditation System.

	TWA
	means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4 hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA.

	Z15.1
	The Employer ensures that the Ambient Air in the area where the Contractor will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM.

	Z15.2
	Upon written request by the Contractor, the Employer certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Contractor may perform Parallel Measurements and related control measures at the Contractor’s expense. For the purposes of compliance, the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z15.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan.

	Z15.3
	The Employer manages asbestos and ACM according to the Standard.

	Z15.4
	In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented, and relevant air monitoring conducted in order to declare the area safe.

	Z15.5
	The Contractor’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable.

	Z15.6
	The Contractor continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations, 2001.

	Z15.7
	Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Employer at the Employer’s expense, and conducted in line with South African legislation.


4 Annexure A:
 One-in-ten-year-return weather data obtained from SA Weather Bureau for [weather station]

If any one of these weather measurements recorded within a calendar month, before the Completion Date for the whole of the works and at the place stated in this Contract Data is shown to be more adverse than the amount stated below then the Contractor may notify a compensation event. The information was recorded from Kendal Power Station (Mpumalanga)
	
	Weather measurement

	Month
	Cumulative rainfall (mm)
	Number of days with rain more than 10mm
	Number of days with min air temp < 0 deg.C
	Number of days with snow lying at 08:00 CAT
	Maximum rain falls in 24 hours
	Max rain days

	January
	
	
	
	
	
	

	February
	
	
	
	
	
	

	March
	
	
	
	
	
	

	April
	
	
	
	
	
	

	May
	
	
	
	
	
	

	June
	
	
	
	
	
	

	July
	
	
	
	
	
	

	August
	
	
	
	
	
	

	September
	
	
	
	
	
	

	October
	
	
	
	
	
	

	November
	
	
	
	
	
	

	December
	
	
	
	
	
	

	Year
	
	
	
	
	
	


Only the difference between the more adverse recorded weather and the equivalent measurement given above is taken into account in assessing a compensation event.

C1.2 Contract Data

5 Part two - Data provided by the Contractor
Notes to a tendering contractor:

1. Please read both the NEC3 Engineering and Construction Contract (April 2013) and the relevant parts of its Guidance Notes (ECC3-GN)
 in order to understand the implications of this Data which the tenderer is required to complete.  An example of the completed Data is provided on pages 156 to 158 of the ECC3 (April 2013) Guidance Notes.

2. The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data

3. Where a form field like this [     ] appears, data is required to be inserted relevant to the option selected. Click on the form field once and type in the data.  Otherwise complete by hand and in ink.

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

	5.1 Clause
	5.2 Statement
	5.3 Data

	10.1
	The Contractor is (Name):
	     

	
	Address
	     

	
	Tel No.
	     

	
	Fax No.
	     

	11.2(8)
	The direct fee percentage is
	     %

	
	The subcontracted fee percentage is
	     %

	11.2(18)
	The working areas are the Site and
	     

	24.1
	The Contractor's key persons are:
	

	
	1
Name:
	     

	
	
Job:
	     

	
	
Responsibilities:
	     

	
	
Qualifications:
	     

	
	
Experience:
	     

	
	2
Name:
	     

	
	
Job
	     

	
	
Responsibilities:
	     

	
	
Qualifications:
	     

	
	
Experience:
	     

	
	
	CV's (and further key persons data including CVs) are appended to Tender Schedule entitled     .

	11.2(3)
	The completion date for the whole of the works is
	     

	11.2(14)
	The following matters will be included in the Risk Register
	     

	11.2(19)
	The Works Information for the Contractor’s design is in:
	     

	31.1
	The programme identified in the Contract Data is
	     

	A
	Priced contract with activity schedule
	

	11.2(20) 
	The activity schedule is in
	     

	11.2(30)
	The tendered total of the Prices is 
	      (in figures) 

      (in words), excluding VAT 

	
	5.4 Data for Schedules of Cost Components
	Note “SCC” means Schedule of Cost Components starting on page 60, and “SSCC” means Shorter Schedule of Cost Components starting on page 63 of ECC3 (April 2013).

	A
	Priced contract with activity schedule
	Data for the Shorter Schedule of Cost Components

	41 in SSCC
	The percentage for people overheads is:
	     %

	21 in SSCC
	The published list of Equipment is the last edition of the list published by
	     

	
	The percentage for adjustment for Equipment in the published list is
	Minus      %

	22 in SSCC
	The rates of other Equipment are:
	Equipment
	Size or capacity
	Rate

	
	
	     
	     
	     

	
	
	     
	     
	     

	
	
	     
	     
	     

	
	
	     
	     
	     

	
	
	     
	     
	     

	61 in SSCC
	The hourly rates for Defined Cost of design outside the Working Areas are
	Category of employee
	Hourly rate

	
	Note:  Hourly rates are estimated ‘cost to company of the employee’ and not selling rates.  
	     
	     

	
	Please insert another schedule if foreign resources may also be used
	     
	     

	
	
	     
	     

	
	
	     
	     

	62 in SSCC
	The percentage for design overheads is
	     %

	63 in SSCC
	The categories of design employees whose travelling expenses to and from the Working Areas are included in Defined Cost are:
	     


C1.3 Forms of Securities 

Pro formas for Bonds & Guarantees

For use with the NEC3 Engineering & Construction Contract 

The conditions of contract stated in the Contract Data Part 1 include the following Secondary Options:

Option X4:
Parent company guarantee

Option X13:
Performance Bond
Option X16:
Retention
Each of these secondary Options requires a bond or guarantee “in the form set out in the Works Information”.    Pro forma documents for these bonds and guarantees are provided here for convenience but are to be treated as part of the Works Information.

Option X16:
Retention (not used with Option F)

The Contractor may provide a Retention Money Guarantee in the form stated here.  When the Employer receives and accepts a Retention Money Guarantee exactly in the form stated he will instruct the Project Manager not to assess any amount be retained in terms of secondary Option X16.

The organisation providing the bond / guarantee does so by copying the pro forma document onto his letterhead without any change to the text or format and completing the required details.  The completed document is then given to the Employer within the time stated in the contract.  

6 Pro forma Parent Company Guarantee (for use with Option X4)

(to be reproduced exactly as shown below on the letterhead of the Contractor’s Parent Company)
	Eskom Holdings SOC Ltd

Megawatt Park

Maxwell Drive

Sandton

Johannesburg
	Date:
	


Dear Sirs,

6.1 Parent Company Guarantee for Contract No  

With reference to the above numbered contract made or to be made between 

	Eskom Holdings SOC Ltd
	(the Employer) and

	{Insert registered name and address of the Contractor}
	(the Contractor), for

	{Insert details of the works from the Contract Data}
	(the works).


	I/We the undersigned 
	

	on behalf of the Contractor’s parent company 
	

	of physical address
	


and duly authorised thereto do hereby unconditionally guarantee to the Employer that the Contractor shall Provide the Works in accordance with the above numbered Contract.

1. If for any reason the Contractor fails to Provide the Works, we hereby agree to cause to Provide the Works at no additional cost to the Employer.

2. If we fail to comply with the terms of this Deed of Guarantee, the Employer may itself procure such performance (whether or not the Agreement be formally determined).  The Employer is to notify us and we shall indemnify the Employer for any additional cost or expense it incurs.

3. Our liability shall be as primary obligor and not merely as surety and shall not be impaired or discharged by reason of any arrangement or change in relationship made between the Contractor and the Employer and/or between us and Contractor; nor any alteration in the obligations undertaken by the Contractor or in the terms of the Agreement; nor any indulgence, failure, delay by you as to any matter; nor any dissolution or liquidation or such other analogous event of the Contractor.

4. The Employer shall not be obliged before taking steps to enforce the terms of this Deed of Guarantee to obtain judgement against the Contractor in any court or other tribunal, to make or file any claim in liquidation (or analogous proceedings) or to seek any remedy or proceed first against the Contractor.

5. This Deed of Guarantee shall be governed by and construed in accordance with the laws of the Republic of South Africa and we hereby submit to the non-exclusive jurisdiction of the High Court of South Africa.

	Signed at
	
	on this
	
	day of 
	
	200_


	Signature(s)
	
	

	Name(s) (printed)
	
	

	Position in parent company


	
	

	Signature of Witness(s)


	
	

	Name(s) (printed)
	
	


7 Pro forma Performance Bond – Demand Guarantee (for use with Option X13)

(to be reproduced exactly as shown below on the letterhead of the Contractor’s Parent Company)
	Eskom Holdings SOC Ltd

Megawatt Park

Maxwell Drive

Sandton

Johannesburg
	Date:
	


Dear Sirs

Reference No. [●] [Drafting Note: Bank reference number to be inserted]
Performance Bond – Demand Guarantee: [Drafting Note: Name of Contractor to be inserted]
Project [  ] Contract Reference: …… [Drafting Note: Contractor contract reference number to be inserted]
1. In this Guarantee the following words and expressions shall have the following meanings:-

1.1 “Bank” - means [●], [●] Branch, (Registration No. [●]); [Drafting Note: Name of Bank to be inserted]

1.2 “Bank’s Address” - means [●]; [Drafting Note: Bank’s physical address to be inserted]

1.3 “Contract” – means the written agreement relating to the Project, entered into between Eskom and the Contractor, on or about the [●] day of [●] 200[●] (Contract Reference No. [.]as amended, varied, restated, novated or substituted from time to time; [Drafting Note: Signature Date and Contract reference number to be inserted]

1.4 “Contractor” – means [●] a company registered in accordance with the laws of [●] under Registration Number [●]. [Drafting Note: Name and details of Contractor to be inserted]

1.5 “Eskom” - means Eskom Holdings SOC Ltd, a company registered in accordance with the laws of the Republic of South Africa under Registration Number 2002/015527/30].

1.6 “Expiry Date” - means the date on which the Defects Certificate is issued in terms of the Contract.

1.7 “Guaranteed Sum” - means the sum of R [●] ([●] Rand); 

1.8 “Project” - means [insert if applicable.].

2. At the instance of the Contractor, we the undersigned ______________ and ______________, in our respective capacities as _____________ and ___________ of the Bank, and duly authorized thereto, confirm that we hold the Guaranteed Sum at the disposal of Eskom, as security for the proper performance by the Contractor of all of its obligations in terms of and arising from the Contract and hereby undertake to pay to Eskom, on written demand from Eskom received prior to the Expiry Date, any sum or sums not exceeding in total the Guaranteed Sum.

3. A demand for payment under this guarantee shall be made in writing at the Bank’s address and shall:

3.1 be signed on behalf of Eskom by a Group Executive, Divisional Executive, Senior General Manager, General Manager  or its delegate;

3.2 state the amount claimed (“the Demand Amount’);

3.3 state that the Demand Amount is payable to Eskom in the circumstances contemplated in the Contract.

4. Notwithstanding the reference herein to the Contract the liability of the Bank in terms hereof is as principal and not as surety and the Bank’s obligation/s to make payment:

4.1 is and shall be absolute provided demand is made in terms of this bond in all circumstances; and

4.2 is not, and shall not be construed to be, accessory or collateral on any basis whatsoever. 

5. The Bank’s obligations in terms of this Guarantee:

5.1 shall be restricted to the payment of money only and shall be limited to the maximum of the Guaranteed Sum; and

5.2 shall not be discharged and compliance with any demand for payment received by the Bank in terms hereof shall not be delayed, by the fact that a dispute may exist between Eskom and the Contractor.

6. Eskom shall be entitled to arrange its affairs with the Contractor in any manner which it sees fit, without advising us and without affecting our liability under this Guarantee. This includes, without limitation, any extensions, indulgences, release or compromise granted to the Contractor or any variation under or to the Contract. 

7. Should Eskom cede its rights against the Contractor to a third party where such cession is permitted under the Contract, then Eskom shall be entitled to cede to such third party the rights of Eskom under this Guarantee on written notification to the Bank of such cession.

8. This Guarantee:

8.1 shall expire on the Expiry Date until which time it is irrevocable;

8.2 is, save as provided for in 7 above, personal to Eskom and is neither negotiable nor transferable;

8.3 shall be returned to the Bank upon the earlier of payment of the full Guaranteed Sum or expiry hereof;

8.4 shall be regarded as a liquid document for the purpose of obtaining a court order; and

8.5 shall be governed by and construed in accordance with the law of the Republic of South Africa and shall be subject to the jurisdiction of the Courts of the Republic of South Africa. 

8.6 Any claim which arises or demand for payment received after expiry date will be invalid and unenforceable.

9. The Bank chooses domicilium citandi et executandi for all purposes in connection with this Guarantee at the Bank’s Address.

Signed at _____________________

Date ____________________________

For and behalf of the Bank

Bank Signatory: ___________________

Bank Signatory: ___________________

Witness: ________________________

Witness: _________________________

Bank’s seal or stamp

8 Pro forma Retention Money Guarantee (may be used when Option X16 applies)

(to be reproduced exactly as shown below on the letterhead of the Bank providing the Guarantee)
	Eskom Holdings SOC Limited

Megawatt Park

Maxwell Drive

Sandton

Johannesburg 
	Date:
	


Dear Sirs

Reference No. [●] [Drafting Note: Bank reference number to be inserted]
Retention Money Guarantee: [Drafting Note: Name of Contractor to be inserted]
Project [  ] : Contract Reference:  [Drafting Note: Contractor contract reference number to be inserted]
1. In this Guarantee the following words and expressions shall have the following meanings:-

1.1 “Bank” - means [●], [●] Branch, (Registration No. [●]); [Drafting Note: Name of Bank to be inserted]

1.2 “Bank’s Address” - means [●]; [Drafting Note: Bank’s physical address to be inserted]

1.3 “Contract” – means the written agreement relating to the Project, entered into between Eskom and the Contractor, on or about the [●] day of [●] 200[●] (Contract Reference No. ………. as amended, varied, restated, novated or substituted from time to time; [Drafting Note: Signature Date and Contract reference number to be inserted]

1.4 “Contractor” – means [●] a company registered in accordance with the laws of [●] under Registration Number [●]. [Drafting Note: Name and details of Contractor to be inserted]

1.5 “Eskom” - means Eskom Holdings SOC Limited, a company registered in accordance with the laws of the Republic of South Africa under Registration Number 2002/015527/30

1.6 “Expiry Date” - means the date on which the Defects Certificate is issued in terms of the Contract.

1.7 “Guaranteed Sum” - means the sum of R [●] ([●] Rand); [Drafting Note: Insert amount of Retention Money Guarantee.].

1.8 “Project” - means the…………………………………..

2. At the instance of the Contractor, we the undersigned ______________ and ______________, in our respective capacities as _____________ and ___________ of the Bank, and duly authorized thereto, confirm that we hold the Guaranteed Sum at the disposal of Eskom, as security for the proper performance by the Contractor of all of its obligations in terms of and arising from the Contract and hereby undertake to pay to Eskom, on written demand from Eskom received prior to the Expiry Date, any sum or sums not exceeding in total the Guaranteed Sum.

3. A demand for payment under this guarantee shall be made in writing at the Bank’s address and shall:

3.1 be signed on behalf of Eskom by a director of Eskom or his authorised delegate.

3.2 state the amount claimed (“the Demand Amount’);

3.3 state that the Contractor has failed to carry out his obligation(s) to rectify certain defect(s) for which he is responsible under the Contract (and the nature of such defect(s)) alternatively that the Demand Amount is payable to Eskom in the circumstances contemplated in the Contract.

4. Notwithstanding the reference herein to the Contract the liability of the Bank in terms hereof is as principal and not as surety and the Bank’s obligation/s to make payment:

4.1 is and shall be absolute provided demand is made in terms of this bond in all circumstances; and

4.2 is not, and shall not be construed to be, accessory or collateral on any basis whatsoever. 

5. The Bank’s obligations in terms of this Guarantee:

5.1 shall be restricted to the payment of money only and shall be limited to the maximum of the Guaranteed Sum; and

5.2 shall not be discharged and compliance with any demand for payment received by the Bank in terms hereof shall not be delayed by the fact that a dispute may exist between Eskom and the Contractor.

6. Eskom shall be entitled to arrange its affairs with the Contractor in any manner which it sees fit, without advising us and without affecting our liability under this Guarantee. This includes, without limitation, any extensions, indulgences, release or compromise granted to the Contractor or any variation under or to the Contract. 

7. Should Eskom cede its rights against the Contractor to a third party where such cession is permitted under the Contract, then Eskom shall be entitled to cede to such third party the rights of Eskom under this Guarantee on written notification to the Bank of such cession.

8. This Guarantee:

8.1 shall expire on the Expiry Date until which time it is irrevocable;

8.2 is, save as provided for in 7 above, personal to Eskom and is neither negotiable nor transferable;

8.3 shall be returned to the Bank upon the earlier of payment of the full Guaranteed Sum or expiry hereof;

8.4 shall be regarded as a liquid document for the purpose of obtaining a court order; and

8.5 shall be governed by and construed in accordance with the law of the Republic of South Africa and shall be subject to the jurisdiction of the Courts of the Republic of South Africa.

8.6 Any claim which arises or demand for payment received after expiry date will be invalid and unenforceable.

9. The Bank chooses domicilium citandi et executandi for all purposes in connection with this Guarantee at the Bank’s Address.

Signed at _____________________

Date ____________  Bank’s seal or stamp

For and behalf of the Bank

Bank Signatory: ___________________

Bank Signatory: ___________________

Witness: ________________________

Witness: _________________________
Part 2: Pricing Data

ECC3 Option A

	Document reference
	Title
	No of pages

	C2.1
	Pricing assumptions: Option A
	2

	C2.2
	The activity schedule  
	1


C2.1 Pricing assumptions: Option A

9 How work is priced and assessed for payment

Clause 11 in NEC3 Engineering and Construction Contract, (ECC3) Option A states:

	Identified and defined terms
	11

11.2
	(20) The Activity Schedule is the activity schedule unless later changed in accordance with this contract.



	
	
	(27) The Price for Work Done to Date is the total of the Prices for 

· each group of completed activities and

· each completed activity which is not in a group.

A completed activity is one which is without Defects which would either delay or be covered by immediately following work.



	
	
	(30) The Prices are the lump sum prices for each of the activities on the Activity Schedule unless later changed in accordance with this contract.




This confirms that Option A is a lump sum form of contract where the work is broken down into activities, each of which is priced by the tendering contractor as a lump sum.   Only completed activities are assessed for payment at each assessment date; no part payment is made if the activity is not completed by the assessment date. 

10 Function of the Activity Schedule

Clause 54.1 in Option A states: “Information in the Activity Schedule is not Works Information or Site Information”.  This confirms that specifications and descriptions of the work or any constraints on how it is to be done are not included in the Activity Schedule but in the Works Information.  This is further confirmed by Clause 20.1 which states, “The Contractor Provides the Works in accordance with the Works Information”. Hence the Contractor does not Provide the Works in accordance with the Activity Schedule.  The Activity Schedule is only a pricing document.  

11 Link to the programme

Clause 31.4 states that “The Contractor provides information which shows how each activity on the Activity Schedule relates to the operations on each programme which he submits for acceptance”.  Ideally the tendering contractor will develop a high level programme first then resource each activity and thus arrive at the lump sum price for that activity both of which can be entered into the activity schedule.  

12 Preparing the activity schedule
Generally it is the tendering contractor who prepares the activity schedule by breaking down the work described within the Works Information into suitable activities which can be well defined, shown on a programme and priced as a lump sum.

The Employer, in his Instructions to Tenderers or in a Tender Schedule, may have listed some items that he requires the Contractor to include in his activity schedule and be priced accordingly. 

It is assumed that in preparing his activity schedule the Contractor:
· Has taken account of the guidance given in the ECC3 Guidance Notes pages 19 and 20;

· Understands the function of the Activity Schedule and how work is priced and paid for;

· Is aware of the need to link the Activity Schedule to activities shown on his programme;

· Has listed and priced activities in the activity schedule which are inclusive of everything necessary and incidental to Providing the Works in accordance with the Works Information, as it was at the time of tender, as well as correct any Defects not caused by an Employer’s risk;
· Has priced work he decides not to show as a separate activity within the Prices of other listed activities in order to fulfil the obligation to complete the works for the tendered total of the Prices. 
· Understands there is no adjustment to the lump sum Activity Schedule price if the amount, or quantity, of work within that activity later turns out to be different to that which the Contractor estimated at time of tender. The only basis for a change to the Prices is as a result of a compensation event. 
An activity schedule could have the following format: 

	Item No.
	Sub.
	Activity description
	Unit
	Quantity
	Rate
	Amount

	
	
	
	
	
	
	
	

	1
	 
	Removal of coal fired cooking stoves
	 
	 
	 
	 
	

	 
	1.1
	Removal of household furniture and covering of the walls (masking)
	sum
	6073
	 
	 
	

	 
	1.2
	Removal of old stoves
	sum 
	6073
	 
	 
	

	 
	1.3
	Masonry Work (Material and labour)
	sum
	6073
	 
	 
	

	 
	1.4
	Transport to disposal of old stoves
	sum
	 
	 
	 
	

	 
	1.5
	Roof Closure (Material and labour)
	sum 
	6073
	 
	 
	

	 
	 
	 
	 
	 
	 
	 
	

	2
	 
	Supply, deliver and install ceiling insulation (SPF and Ceiling boards),
	 
	 
	 
	 
	

	 
	2.1
	Supply of SPF 
	 sum
	6073
	 
	 
	

	 
	2.2
	Supply of Ceiling boards
	 sum
	6073
	 
	 
	

	 
	2.3
	Demolition of ceiling works (on applicable houses)
	 sum
	608
	 
	 
	

	
	2.4
	Installation of SPF
	 sum
	6073
	
	
	

	 
	2.5
	Installation of Ceiling boards
	 sum
	6073
	 
	 
	

	 
	2.6
	Draft Proofing
	 sum
	6073
	 
	 
	

	 
	2.7
	Supply and install of CFL's within the households
	 ea
	12146
	 
	 
	

	 
	2.8
	Fire Tests (Once off)
	 sum
	   1
	 
	 
	

	 
	2.9
	Roof repairs
	 sum
	 6073
	 
	 
	

	3
	 
	Electrical rewiring
	 
	 
	 
	 
	

	 
	3.1
	Stripping of old wiring system
	 sum
	 6073
	 
	 
	

	 
	3.2
	Rewiring (Material, Labour and CoC)
	 sum
	 6073
	 
	 
	

	4
	 
	Supply and deliver of Hybrid domestic cooking stoves
	 
	 
	 
	 
	

	 
	4.1
	Supply of Hybrid stoves with bullnose and other accessories
	 ea
	  6073
	 
	 
	

	 
	4.2
	Delivery of Hybrid stoves 
	km
	 
	 
	 
	

	 
	 4.3
	Installation of Hybrid stove
	 ea
	  6073
	 
	 
	

	5
	 
	Supply and deliver 3 panel gas heaters
	 
	 
	 
	 
	

	 
	5.1
	Supply of 3 panel gas heater with bullnose and other accessories
	 ea
	  6073
	 
	 
	

	 
	5.2
	Delivery of 3 panel gas heater
	 km
	 
	 
	 
	

	 
	 
	 
	 
	 
	 
	 
	

	6
	 
	Supply and deliver of 9kg LPG Cylinders
	 
	 
	 
	 
	

	 
	6.1
	Supply of 9kg LPG Cylinders
	 ea
	12146
	 
	 
	

	 
	6.2
	Once off filling of LPG Gas
	 ea
	12146
	 
	 
	

	7
	 
	Asbestos removal
	 
	 
	 
	 
	

	 
	7.1
	Full removal of the asbestos roofs 
	 sum
	608
	 
	 
	

	 
	7.2
	Disposal of asbestos 
	 sum
	608
	 
	 
	

	 
	7.3
	Transport to disposal site
	 km
	 
	 
	 
	

	 
	7.4
	Supply of corrugated roofing
	 sum
	608
	 
	 
	

	 
	7.5
	Installation of corrugated roofing 
	 sum
	608
	 
	 
	

	
	7.6
	AIA – Personnel as and when required 
	hours
	
	
	
	

	8
	 
	COVID Compliance
	 
	 
	 
	 
	

	 
	8.1
	PPE 
	sum
	 
	 
	 
	

	 
	8.2
	 Sanitizers
	ea 
	 
	 
	 
	

	9
	 
	Proficient all-encompassing PM services
	 
	 
	 
	 
	

	 
	9.1
	Warehouse rental
	months
	36
	 
	 
	

	
	9.2
	Insurance (Comprehensive)
	months
	36
	
	
	

	
	9.3
	Data Collection 
	sum
	
	
	
	

	 
	9.4
	Capturing for registration 
	sum
	 
	 
	 
	

	
	9.5
	Health and Safety obligations (medicals, PPE, signboards, training, etc)
	sum
	
	
	
	

	
	9.6
	Quality Management obligations 
	sum
	
	
	
	

	
	9.7
	Environmental Management obligations
	sum
	
	
	
	

	
	9.8
	Local Stakeholders relations meetings
	months
	12
	
	
	

	
	9.9
	Project administrator
	months
	36
	
	
	

	
	9.10
	Community stakeholder Liaison 
	months
	36
	
	
	

	 
	9.11
	Assistance Community Stakeholder Liaison


	months
	36
	 
	 
	

	
	9.12
	Stock Controller 
	months
	36
	
	
	

	
	9.13
	Security Personnel 
	months
	36
	
	
	

	
	9.14
	Safety Officer (to be trained on LPG Safety)
	months
	36
	
	
	

	
	9.15
	Site Supervisor 
	months
	36
	
	
	

	
	9.16
	Qualified Project Manager
	months
	36
	
	
	

	
	9.17
	Qualified Gas Technician
	months
	36
	
	
	

	
	9.18
	ID Cards, Data books and bibs (Eskom templates)
	
	
	
	
	

	10
	 
	Site establishment
	 
	 
	 
	 
	

	 
	10.1
	 Office rentals 
	months 
	36 
	 
	 
	

	 
	10.2
	 Subsistence costs
	months
	36 
	 
	 
	

	 
	10.3
	 Accommodation 
	months
	36
	 
	 
	

	
	10.4
	Travel
	km
	
	
	
	

	11
	 
	Site de establishment
	 
	 
	 
	 
	

	 
	10.1
	 De-establishment costs
	Once off
	 1
	 
	 
	

	 
	
	 
	 
	 
	 
	 
	

	 12
	 
	 CSDG Percentage
	 Sum
	 0.25%
	 
	 
	

	 
	
	 
	 
	 
	 
	 
	

	 
	 
	Total 
	 
	
	


C2.2 the activity schedule
Use this page as a cover page to the Contractor’s activity schedule.  

Part 3: Scope of Work

	Document reference
	Title
	No of pages

	
	This cover page
	1

	C3.1
	Employer’s Works Information
	12

	C3.2
	Contractor’s Works Information

(insert at award stage or delete if not applicable)
	1

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	


C3.1: Employer’s works Information

13 Description of the works
13.1 Executive overview 
Eskom is pursuing a multi-pronged approach to improve ambient air quality, this include reducing emissions at the existing coal-fired fleet, investing in power generation from renewables and nuclear, and implementing air quality offsets programme in and around communities close to existing coal fired power station. Retrofitting abatement technology and diversifying the energy fleet come at higher cost and requires a longer period to implement. Air Quality Offsets Programmes on the other hand address emission sources directly within vulnerable communities, thus providing greater improvement in air quality that is experienced by community. In addition, Air Quality Offsets Programmes are more cost effective and result in meaningful improvement of air quality within a shorter time frame.

The works entails Supply and deliver of three (3) LPG plates and one (1) Electric plate hybrid cooking stoves and LPG Heaters with 9KG LPG Cylinders x 2 and Supply, deliver and install ceiling insulation (SPF and Ceiling boards), electrical re-wiring and Asbestos removal for Air Quality Offset Project on and “as and when required basis” in the Phola settlement in Mpumalanga (Nkangala District Municipality) for a period of 3 years for houses up to six thousand and seventy three (6073)
The Contractor will be responsible for Services consisting of the following:

The development of the project management plan, logistics management, activity coordination of sub-contractors, time management, quality management, stakeholder and communications management, resource management and risk management to accomplish stated project objectives efficiently and effective.

The project will require the Contractor to engage on an ongoing basis with the affected community and suitable provision for this must be made in the Contractor’s service offering.

13.2 Employer’s objectives and purpose of the works
Eskom wishes to implement air quality offsets in order to achieve the following objective: 

a. Improve the air quality of communities affected by emissions from power stations 

b. Comply to the requirements of the Atmospheric Emission Licences of each power station 

c. Achieve a solution to air quality issues that is beneficial to affected communities and the South African economy, while also meeting the requirement of the relevant authorities 

In addition, the Air Quality offset project is expected to meet the following Eskom objectives.
	Objective Description
	Expected Outcome

	Time
	Complete project within approved timelines.

	Cost
	Complete project within budget

	Quality
	All activities are executed within the approved quality specification and non-conformances are closed before project handover

	Scope
	All works to be executed as per the approved scope of work (baseline). All other changes to follow the change management process. 

	Safety
	Zero harm

	Environment 
	Zero environment contraventions

	Social Development
	Ensure all contracted SD&L requirements are met


13.3 Interpretation and terminology
The following abbreviations are used in this Works Information:
	Abbreviation
	Meaning given to the abbreviation

	LPG 
	Liquefied petroleum gas 

	NG 
	Natural Gas 

	PMO 
	Project Management Office 

	SABS 
	South African Bureau of Standards 

	SANS 
	South African National Standard 

	NHBRC
	National Home Builders Registration Council

	PVA
	Poly Vinyl Acetate


13.4 General

The scope of work includes the Insulation (SPF and Ceiling boards), electrical rewiring and the supply of LPG (liquid petroleum gas) heaters and hybrid Stoves with associated 9kg LPG cylinders for the Air Quality Offset Project on an “as and when required basis” for a period of 3 years (36 months).

The Contractor is responsible for the procurement, supply and installation/construction of the works indicated herein. This includes 

· Set up a project office local to site with adequate security (central to area of implementation, i.e same township)
· Provide a warehouse and ensure stock received is safe and secured at all times (As per warehouse specification to be provided by Employer). Provide the required insurance for the appliance stock in storage and ensure there is insurance cover for stock in transit from warehouse to the households for the entire duration of the contract.
· Setup an area in the warehouse specifically for inspection and testing (functionality) of the Gas-Electric (Hybrid) stoves and heaters supplied by the manufacturer prior to installation. The inspection of the delivered appliances is done within a week after delivery by the manufacturer. The results of the test shall be reported to the Employer 
· Ensure that the eligible participating households are registered for installation. The employer to provide the household participation criteria to the Contractor.
· The Contractor prepares the house for insulation by covering (masking) and moving furniture before work commence and also returns furniture and cleaning up site after completion of the work. The Contractor to note the removal and return of furniture should be done in one day so not to inconvenience the households.

· Ensure the removal of old stoves, incandescent lamps, corrugated steel roofing sheets and associated stoves accessories (i.e chimney etc) from the household to where they will be temporarily stored before being recycled. The storage of the old coal stoves may be kept up to a month depending on the installation rate. 
· Supply/procurement, delivery, off-loading and perform final inspection at the Phola site, temporary structures/ scaffolding, installation of hybrid domestic cooking stove (3 LPG x 1 Electric plate) and LPG heaters each with associated 9kg LPG (liquid petroleum gas) cylinder per household, finishing complete in every detail and final certification.
· Supply/procurement, delivery, off-loading and performs final inspection at the Phola site, temporary structures/ scaffolding, erection/ construction, installation of install ceiling insulation (SPF and Ceiling boards) final painting, and electrical re-wiring, finishing complete in every detail and final certification.
· Demolition of old ceiling in order to access the roof metal for SPF spraying and  removal of chimney.
· Removal of incandescent lamps and replace with new CFLs within the households. 
· Any damages incurred during transit must be managed through the appropriate transit insurance by the Contractor.
· Ensure recycling of the old stoves, incandescent lamps corrugated steel roofing sheets and associated stove accessories (i.e. chimney) at an Eskom approved facility in an environmentally responsible manner.
· Acquire a licenced recycling company with all necessary permits or licences to recycle the old coal stoves, incandescent lamps, corrugated steel roofing sheets and associated stove accessories (i.e chimney etc) and provide documentation (This will form part of the tender returnable by the Contractor)
· Proceeds from the sales of scrapped equipment to be directed to Eskom, the payment details will be provided by the Project Manager.

· Full removal of the asbestos roofs that should then be replaced with corrugated roofing in households that have asbestos roofing. 
The Contractor takes full professional accountabilities for all of the works as per the scope contained herein.

Any discrepancy or ambiguity between the Employer’s Technical Specification is immediately brought to the attention of the Project Manager for clarification.

The Contractor repairs all damage caused to existing infrastructure resulting from the works.

The Contractor submits ALL reports, documents, drawings (detailed, fabrication, etc) and certifications to the Project Manager for record keeping, both in soft and hard copy formats.
The Contractor takes note that review and acceptance of any document or drawing by the Employer in no way relieves the Contractor of his liability for the works. The Contractor remains liable for all works conducted as per this scope. 
 The Contractor ensures that the households understand the terms and conditions of the contract to be entered with them and also that there will be surveys conducted.
13.4.1 proposed layout

The Contractor is issued the google site layout drawing attached in Appendix A which depicts the co-ordinated locations of the various communities that have been identified for each cluster.
13.4.2 Risk of Asbestos 
The Contractor is made aware of the possibility of certain household having asbestos roofing. The contractor is required to have a resource or a contractor that is competent in asbestos Roofing safe handling, removal and disposal as per South African environmental requirements and regulation on handling Asbestos material.
13.5 Codes & Standards to be used in the Works

The Contractor adheres to the latest edition of all applicable SANS standards, Eskom standards and other codes of practice, regulations & standards. This includes but is not limited to:
· SANS 10400 (all parts)

· SANS 1539, Appliances operating on liquefied petroleum gas (LPG) or natural gas (NG) - Safety aspects.

· SANS 1156-2, Hose for natural gas and liquefied petroleum gas (LPG) Part 2: Hose and tubing for use in natural gas and liquefied petroleum gas vapour phase.

· SANS 1237, Single-stage regulators for liquefied petroleum gas (LPG).

· SANS 10019, Transportable pressure receptacles for compressed, dissolved and liquefied gases — Basic design, manufacture, use and maintenance
· SANS 199, Shut-off valves for transportable, refillable liquefied petroleum gas cylinders
13.6 Insulation (SPF and Ceiling boards) AND ELECTRICAL rewiring

13.6.1 General Requirements

The average household at identified communities is to be regarded as 60m2. This average household measurement is to be used to propose cost/pricing of delivering a full insulation and rewiring of household. 

The Contractor is responsible for taking actual measurement of houses as per signed work instruction(s) from the project manager and in line with the database list of household participants. The Contractor is responsible for preparing the BOQ for actual cost per household and submits this to the project Manager for approval before continuing with other activities of the work. The Contractor is responsible for ensure that each house has been sanitized before any work can proceed. 

The Contractor shall identify households with asbestos roofing as well as those that require draught proofing.  The cost for asbestos removal and disposal thereof and the cost associated with draught proofing shall be included and clearly marked as “adhoc” activity in the BOQ for actual cost that will be submitted to the project manager for approval. Where draught proofing is not possible, the contractor is to replace broken windowpanes and doors with significant gaps, this cost is to be also clearly indicated on the BOQ for actual cost.

13.6.2 Architectural design construction and finishes 

The purpose of the proposed alterations to these household is to make the building thermally comfortable which will save cost of keeping the interior warm in winter and cool in summer. All new architectural works to be done is to comply with all parts of SANS 10400.

Construction and architectural finishes:

13.6.3 Ceiling 

6.4 mm thick rhinoboard and an R value of 2 or above to be nailed to 38x38mm SA pine brandering at max. 400mm c/c with ceiling nails and other accessories supplied by manufacturer, prime ceilings with plaster primer and 2 finishing coats of PVA fire resistant paint as per the manufacturer’s instructions. Finishing strips/cornices 76mm coved cornice should be fixed to ceiling boards (and not to walls),

The ceiling must perform adequately in terms of fire propagation properties according to the SANS 428 protocol, using the test specifications as contained in SANS 10177-10:2007 SOUTH AFRICAN NATIONAL STANDARD. Fire testing of materials, components and elements used in buildings. Part 10: Surface burning characteristics of building materials using the inverted channel tunnel test.

Paint color – crisp white

All electrical rewiring is to be done before installation of ceiling board.

13.6.4 Roof sealing
In existing IBR roof sheeting prepare, remove dust, and repair any defect that causes leaks to existing roof and timber/metal rafters. The houses with Asbestos Roofing will require Total roof replacement.

All metal roof sheeting is required to be the "IBR" type profile. The sheets are laid down, fastened and sealed in strict accordance with the manufacturer’s specifications. Finish colour of sheeting is to match existing on site. 
A competent person is to spray paint polyurethane foam on the inside of the roof according to specialist’s directions/manufacturer’s instructions. This is to be 20-30mm thick and as per requirements for the application of the SPF Foam. 

13.6.5 Draught proofing

The Contractor provides permanent ventilation in all rooms where permanent ventilation is required in accordance with SANS 1539.  The Contractor uses a heater heat input of at least 4.5 kW when determining the need for permanent ventilation and assumes that the heater can be used in the same room as the hybrid stove.
Windows - window frames to be clean, dry and sound, internally and externally, acrylic sealant to be applied using caulking gun at the meeting sections of frame and wall, surface of joint to be smoothed by spatula, this installation is to be done according to manufacturer’s instructions.

Colour of sealant - white

Doors- 10x10mm flexible sealant to be stuck on the door frame using self-adhesive tape, this is to be applied in accordance with manufacturer’s instructions.

Colour of tape – black
13.6.6 Painting

In kitchen, living area, bathroom and bedrooms walls are to be cleaned free of dust and defects, apply water based bonding liquid and add a coat of PVA paint according to manufacturer’s instructions.

Paint finish – Sheen

Paint color – beige

13.7 ELECTRICAL WIRING
13.7.1 Scope of Work
The Scope of work includes design, supply, install, commission and provide a certificated of compliance of a specific building in compliance with the requirements of SANS 10142-1, SANS 10400XA and SANS 204.
13.7.1.1 General
The Contractor remains liable to hand over a complete and functioning electrical installation system for a specific building as per the requirements of SANS 10142-1.
The Contractor submits equipment data sheet for any equipment to the Employer for acceptance before installation. It is the Contractor’s responsibility to confirm that equipment provided for the installation is accepted by the Employer prior to construction or installation.
The Contractor provides all tools, equipment and personnel required to execute and implement the Scope of Works. The Contractor remains liable for all works conducted as per the requirements of the Scope of Works. The Contractor submits a fully detailed Method Statement and Quality Control Plan (QCP) to the Employer in two weeks’ time prior commencing of work, for review and acceptance.
The Contractor provides and submits the detail design report and drawings to the Employer for review and acceptance, hard copy formats. The hard copy drawings need to be A3 size and in Eskom template. The accepted drawings will be use as “Construction Copy” and can be revised, if need be, using alphabets as revision number. 
The Contractor submits the installation layouts and drawings as part of a handover to the Employer for his record keeping, in hard copy formats. Three A3 hard copies drawings need to have an “As Build” stamp and signed by a competent ECSA registered engineer or technologist. All hand over drawings need to be revision one (Rev 1).  
Any discrepancy or ambiguity between the Employer’s Scope of Works is immediately brought to the attention of the Employer for clarification.  The Contractor submits Certificate of Compliance (CoC) after commissioning the installation in compliance with the SANS 10142-1. 
13.7.1.2 Distribution Board
The Contractor designs, provides, installs, tests and commissions sufficient distribution board for a specific installation in accordance with the accepted detail design drawing and in compliance with the requirements of SANS 10142-1.
A distribution board need to be functioning and acceptable, it is the Contractor’s responsibility to conduct an inspection and test (QCP to be compiled, accepted, and applied) before delivery on site, in the present of the Employer’s technical and quality representatives. 
13.7.1.3 Lighting Fittings
The Contractor determines, provides, installs, tests and commissions sufficient lighting for a specific installation in accordance with the accepted detail design drawing and in compliance with the requirements of SANS 10142-1, SANS 10400XA and SANS 204.
It is the Contractor’s responsibility to conduct a lux level simulation and submit a report to the Employer’s Electrical Engineer for acceptance before installation.
13.7.1.4 Wiring 
The Contractor determines, provides, installs, tests and terminates (both ends) a sufficient wiring cable for a specific installation in accordance with the accepted detail design drawing and in compliance with the requirements of SANS 10142-1. Wiring shall be carried out in PVC conduit. All conduits shall be clear of moisture and debris before any wiring is commenced.
13.7.1.5 Socket Outlet 
The Contractor determines, provides, installs, wires and tests a sufficient socket outlet for a specific installation in accordance with the accepted detail design drawing and in compliance with the requirements of SANS 10142-1.
13.7.1.6 Switch 
The Contractor determines, provides, installs, wires and tests a sufficient switch for a specific installation in accordance with the accepted detail design drawing and in compliance with the requirements of SANS 10142-1.
13.7.1.7 Certificate of Compliance 
The Contractor’s competent person shall perform illumination measurements (as recommended in SANS 10114 -1) and submitted illumination measurement reports to the Employer. Measurements shall be performed once the installation has been completed. 
On completion of the installation, The Contractor issued an Electrical Certificate of Compliance (CoC) to the Employer in terms of the Occupational Health and Safety Act, (OHS Act 85 of 1993). 
13.8 LPG (liquid petroleum gas) heaters and hybrid Stoves with associated 9kg LPG cylinders
13.8.1 General Requirements

The Contractor submit compliance certificates for the following:

· Roll-about heater compliance to SANS 1539;

· Hybrid stove compliance to SANS 1539

· Pressure regulator compliance to SANS 1237

· Flexible hose compliance to SANS 1156-2

· Gas cylinder compliance to SANS 10019

· Gas cylinder shut off valve to SANS 199

· Hybrid stove to VC 8055 from the National Regulator of Compulsory Specifications (NRCS)
13.8.2 Roll-about heaters
Requirements:

· Comply to SANS 1539.

· Suitable for use with 9kg LPG cylinder.

· Heat input between 4 kW and 4.5 kW

· Three (3) Ceramic Panels

· Three (3) different heat settings.

· Fitted with built in manual ignition device.

· Fitted with bullnose and other accessories 

· Flame failure protection mechanism during operation.

· Flame cut-out when the heater is tilted.

· Regulator complying to SANS 1237

· Flexible hose complying to SANS 1156-2.

· Dimensions

· Total height (Ht) not exceeding 800 mm,

· Width (W) not exceeding 500 mm,

· Depth (D) not exceeding 450 mm.

· The Heater to be Eskom branded
13.8.3 Hybrid Stoves 
Requirements:

· Comply to SANS 1539.

· Comply to VC 8055 from the National Regulator of Compulsory Specifications (NRCS)
· Suitable for use with standalone 9kg LPG cylinder.
· Fitted with 3 gas burners and one electrical plate with independent variable temperature control
    knobs for the gas burners and electrical plate.

· Integrated electrical oven with its variable control knobs (i.e. Grill and Bake functions)

· Storage/Utility compartment.

· Large standard dimension electrical plate, solid or spiral continuous top, with maximum output
   rating not exceeding 2 kW. 

· Electrical functions compatible to the South African electrical network (50Hz and 230V).

· Plug-in cable compatible to South African electrical plugs.

· Electronic Burner Ignition

· Fitted with bullnose and other accessories 

· The maximum operating temperature of the integrated oven does not exceed 250oC, with grill and
   bake functionalities as standard.

· Purchase details for future reference written on the stove i.e. – Serial Number.

· Regulator complying to SANS 1237

· Flexible hose complying to SANS 1156-2.

· The stove with an integrated oven dimensions are as follows:

· Total height (Ht) not exceeding 1200 mm, 

· Floor to cooking level height (Hfc) not exceeding 950 mm,

· Width (W) not exceeding 500 mm and,

· Depth (D) not exceeding 650 mm.

· Electrical plate’s diameter (d) to be large standard dimension 

· The LPG plates’ diameter (d) to be a combination of large and small standard dimensions.

· The integrated oven volume not smaller than 57 Litres.

· The stove to be Eskom branded.

13.8.4 9KG LPG CYLINDER

The Contractor supplies one 9 kg LPG cylinder for each stove and one 9 kg LPG cylinder for each heater. The Contractor is responsible for the first fill of the cylinders.
The LPG cylinders are accepted for exchangeable at a minimum of two local LPG retailers. The cylinder complies with SANS 10019. The Contractor provides written proof of exchangeability and the details for the local LPG retailers.

13.9 Transactional and After Service Specifications

Eskom will require an unconditional product guarantee against latent defects inclusive to all parts (Gas and Electrical) for a period of 12 months.

Eskom will not accept any failure for the first year of operation. Should there be any failures within the first twelve (12) months of installation; the Supplier is liable to replace all failures with new working products at their own costs. 

The Supplier shall provide a written commitment to train 10 (ten) personnel, specified by Eskom. The trainers shall have relevant experience and be competent to provide the training. 

As part of after-sale support, the Supplier shall provide technical support as follows for the entire warranty period of 12 months: 

· Telephonic support within 24 hours after a reported fault/failure 
· Based on the outcome of the telephonic support if call out support is required the Supplier needs to give on-site support within 48 hours from the reported fault. 
· The Supplier shall indicate the lead time on all spares, with a maximum of 48 hours. 
· If, within the first six months of the guarantee period, 20 % or more of any class of installed equipment fails, Eskom may, at their sole discretion, have the right to demand the replacement of all that class of component or materials for the entire set of unit installations at the cost of the Supplier.
13.10 User manuals (User Instructions)

The following topics are covered in the user manuals: 

· Safety Instruction, 

· Installation Instruction, 

· Operation Instruction, 

· Maintenance, 

· List of required spares/parts and 

· Warranty.

Manuals to be submitted in both hardcopy and Electronic copy and written in English. 

Manuals must be included in the tender submission with key contract details.

13.11 Deliverables/ submissions by the contractor 
The Contractor is responsible for the following deliverables. The Contractor is to note that all documents are submitted to the Project Manager for review and acceptance prior to implementation. This includes:
a) Fire Test 

b) Data Base 

c) Product Technical Specification for stove and heater

d) Installation/ Construction Quality Plan;

e) Electrical Design Drawings

f) Electrical COC

g) Gas COC

h) Asbestos Disposal Permit 

Certification is done in accordance with SANS 10400.
All submitted drawings and documents including the concept and detailed design reports (as stated above) are to be signed by an ECSA professional engineer. The Professional Engineer’s ECSA registration number is stated on drawing/ document. All deliverables are to be submitted in both hard and soft copy (USB/CD) formats. All documents are to be in searchable PDF.

14 Management and start up.

14.1 Management meetings

Regular meetings of a general nature may be convened and chaired by the Project Manager as follows:

	Title and purpose
	Approximate time & interval
	Location
	Attendance by:

	Risk register and compensation events
	Weekly on Thursday at 13:00
	Phola (on site)
	Employer, Contractor, Supervisor, and PMO

	Overall contract progress and feedback
	Bi-weekly on Tuesday at 10:00
	Phola (on site)
	Employer, Contractor, Supervisor, and PMO

	Local stakeholders and communication
	Quarterly 
	Phola (on site)
	Employer, Contractor, Supervisor, and PMO

	
	
	
	


Meetings of a specialist nature may be convened as specified elsewhere in this Works Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the works.  Records of these meetings shall be submitted to the Project Manager by the person convening the meeting within five days of the meeting.  
All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.  

14.2 Documentation control and Reporting 
The Contractor will be reporting to the assigned Employer’s Project and Programme Managers: the Contractor must: 
· Adhere to Eskom policy, procedures and standards, including all SHE legal and other requirements, including the quality requirements, during implementation.  Conduct assessments, maintaining a safety file and providing safety training to all personnel working on site.

· Develop a database to store all project related information, including all relevant information on each household. 

· Ensuring that the reporting timelines and close-out processes are adhered to set by Eskom.

· Perform stock reconciliation, installation progress and submit to the employer bi-weekly, by Thursday, 15h00 CAT

· Reporting on any deviation from project schedule, as per contractual agreement

· Arrange and attend bi-weekly/monthly progress meetings with the Employer and relevant stakeholders.

· Development and provision of a report template that will enable Installers to capture full data in the database for the installations completed (this includes house numbers, street name, GPS coordinates, homeowner name and contact details, quantity of material used etc.). 

· The reporting in accordance with the air quality offsets programme requirements on biweekly basis. 

· Real time web-based data capturing and reporting of installations accessible online system. 

· To set up a procedure to deal with customer complaints.

· Continuously liaising with Employer representative (PMO) on issues raised by stakeholders in order to prevent unnecessary escalations. The Contractor will also conduct regular interface with the appointed PMO for the Project.
· Final database to be handed over to Eskom Project Manager no later than 2 weeks after project completion. This database to state all the work completed per house. People who were involved in the project must be listed in the database as per SD&L requirements.
14.3 Health and safety risk management
The Contractor shall comply with the health and safety requirements contained in Annexure ___________ to this Works Information. Safety file submission in line with SHEQ requirements 2 weeks upon appointment
	The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the works. Without limitation the Contractor:

· accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2014 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Site.
· warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of works; and

· undertakes, in and about the execution of the works, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

· Maintain a risk register throughout the implementation period and develop mitigation plans for all identified risks.

	The Contractor, in and about the execution of the works, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.


14.4 Environmental constraints and management
The Contractor is required to ensure that all goods, services or works supplied in terms of the tender/contract/order conform to all relevant & applicable environmental legal and other requirements including bylaws, but not limited to the stated below:
· Occupational, Health and Safety Act (Act 85 of 1993).

· EPC32-727: Eskom SHEQ Policy, 

· ST32-726: SHE Requirements for the Eskom Commercial Process (additional requirements) 

· Project Specific Environmental Management Plan (EMP). 

· Eskom Waste management standard (Waste Management procedure: EPC 32-245)

· Relevant Municipal waste management bylaws. 
· SABS approved Ceiling Materials and electrical wiring tools.
· Adherence to Eskom, ECB and NHBRC work ethics
· Asbestos Standard
Environmental  file submission in line with SHEQ requirements 2 weeks upon appointment
14.5 Quality assurance requirements 
The Contractor shall ensure that 

· Assurance- and quality control plans are in place.
· A quality and safety follow-up interviews with households is conducted
· The quality control assurance and data verification must be done per installation and to check that everything installed is working correctly/ is in order immediately after the installation.

· Adhere to Eskom policy, procedures, and standards, including all SHE legal and other requirements, including the quality requirements, during implementation.
· Quality file submission in line with SHEQ requirements 2 weeks upon appointment
The following to be included as part of Tender Returnable for Quality:

	            DOCUMENT  No.
	DESCRIPTION
	APPLICATION AND RESPONSIBILITY

	1
	240-12248652
	List of Tender Returnables  / Quality  Requirement Document
	Tenderer to submit all tender returnables for section A, B, C, D and E, as per list (Category 3)

	2
	240-68099512
	FORM A: Tender & Contract Quality Requirements For QM 58 and Quality Requirements For ISO 9001 Standard
	Tenderer to complete (section A and E) and sign it.

	3
	240-105658000 (QM 58)
	Supplier Quality Management: Specification
	Specifying Eskom supplier quality requirements. Tenderer to comply with the selected requirements as per Category 3. [Not for submission]

	4
	240-109253698
	Contract Quality Plan (CQP)
	Tenderer to compile and submit a draft document/ plan based on the scope of work/ technical specification.

	5
	240-109253302
	Quality Control Plan (QCP)/ Inspection and Test Plan (ITP)
	Tenderer to compile and submit a draft plan or an example based on the scope of work/ technical specification.


14.6 Human Resource Management 

The Contractor to ensure that the following resources are recruited, and as many as possible should be local to site:

· Fieldworkers for household preparations (explaining and signing of the contract with the households)

· Provide re-usable identification (ID) cards and bibs for field workers and monitoring the movement of such. The monitoring process should ensure that the ID cards are issued every morning and collected every evening

· To ensure that the field workers are screened for criminal record before recruitment, this can be done at a local police station. Proof of this activity to be filed.

· To ensure that the Fieldworkers are paid according to the employment agreement and applicable labour laws. Proof of payment in a form of a signed confirmation by the field worker to be kept as a record by the Contractor and provided as and when required by the Employer.

· A minimum qualification for the field workers is Grade 10 and they must be able to communicate in a preferred language of the installation area.

Other resources which may be recruited based on the project requirements are:

· Project administrator 

· Community stakeholder Liaison 

· Assistance Community Stakeholder Liaison

· Stock Controller 

· Security Personnel 

· Safety Officer (to be trained on LPG Safety)

· Site Supervisor 

· Qualified Project Manager 

· Qualified Gas Technician

The Contractor is required to:
· Ensure that there is a general induction training on the project plan and objective to all staff. Role specific training must be conducted as and when required
· Properly train the Safety Officer, to educate households on the operation and safe use of gas equipment.

· Train the Site Supervisor/Fieldworker to enable them to offer awareness on safe disposal of CFLs to households.

· Ensure that over and above all resources are properly contracted and proof of documentation is kept safely

· Submit proof of qualification for gas and electrical installers before the project can commence.

14.7 Invoicing and payment
Within one week of receiving a payment certificate from the Project Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice showing the amount due for payment equal to that stated in the Project Manager’s payment certificate.  
The Contractor shall address the tax invoice to Eskom Holdings SOC Ltd and include on each invoice the following information:

· Name and address of the Contractor and the Project Manager; 

· The contract number and title;

· Contractor’s VAT registration number;

· The Employer’s VAT registration number 4740101508;

· Description of service provided for each item invoiced based on the Price List;

· Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

· (add other as required)

Add procedures for invoice submission and payment (e. g. electronic payment instructions)
14.8 Provision of bonds and guarantees

The form in which a bond or guarantee required by the conditions of contract (if any) is to be provided by the Contractor is given in Part 1 Agreements and Contract Data, document C1.3, Sureties.  
The Employer may withhold payment of amounts due to the Contractor until the bond or guarantee required in terms of this contract has been received and accepted by the person notified to the Contractor by the Project Manager to receive and accept such bond or guarantee.  Such withholding of payment due to the Contractor does not affect the Employer’s right to termination stated in this contract. 
14.9 Training workshops and technology transfer
The Contractor shall ensure training is conducted for each gadget installed in each household and proof of such training is kept on record, also will provide:

· Training to local field workers on ceiling installation.
· Communicate with households on electrical works and what a CoC means and how it can be used household installation.
15 Procurement
15.1.1 BBBEE and preferencing scheme

The Contractor’s BBBEE Level is Level 1 the supplier to maintain this level for the duration of the contract.
Supplier Development and Localisation (SD&L)  
The Contractor shall comply with the SD&L requirements stated below. The Contractor undertakes to achieve and fulfil these SD&L commitments during the Contract Period, or at an earlier date. The Contractor shall, during the course of the execution of this Contract, take all steps, and to do all things required so as to reasonably demonstrate, at any given time, that it is acting with due diligence and seeking in good faith to achieve and comply with the SD&L commitments.

The Contractor shall keep accurate records and provide the Contract Manager with reports on the Contractor’s actual delivery against the stated SD&L obligations. The Parties shall meet monthly for the duration of the Contract Period, to discuss the Contractor’s skills development and subcontracting obligations in terms of this Contract, and where appropriate, agree in writing on a set of milestones which the Contractor shall satisfy regarding the SD&L obligations. At such meetings, the Parties shall review the Contractor’s performance regarding fulfilling the SD&L obligations of this Contract.

The Contractor’s failure to comply with SD&L obligations constitutes substantial failure on the part of the Contractor to comply with his obligations under this contract.
Skills Development 

The Contractors are required to propose skills development against Eskom’s targets:

Eskom reserves the right to negotiate with the tenderer on Eskom’s requirements. The outcome of the negotiations will be a contractual obligation. If negotiations are not required, the tenderer’s SDL&I undertaking will become a contractual condition.

Skills development is designed to benefit the currently unemployed graduates from school: further education and training campuses and universities.

The composition of these candidates must be representative of the population demographics of South Africa. Note that these targets for skills development candidates categorically exclude Eskom employees and registered learners.

It is expected that the total of 15 individuals will benefit through courses stipulated below (if the budgeted value for this service is utilized) over the period of 36 months. This is how it will be applied:

· Successful tenderer will be obligated to skill one candidate for every R4 Million spend cumulatively through purchase orders/instructions awarded to the supplier; The supplier will be required to implement this requirement a month after the threshold is reached. 

· This obligation will be for the duration of the contract however supplier needs to demonstrate positive progress on monthly basis.
·  Candidates shall be sourced from previously disadvantage groups in South Africa, particularly at the site where the services will be taking place. 

Tenderers are required to propose against the following training initiatives:
	Skills type
	Intake
	Outcome
	Eskom allocation target
	Tenderer proposal

	Installers
	Matric
	Gas Installer
	60%
	

	Gas safety officer
	Matric
	Gas safety officer
	40%
	


Note: The supplier will be required to take candidate that matriculated and who’s unemployed, enrol them to do a gas installation program (to be certified gas installer) for at least 1 years then give them work experience for 6 months thereafter. As for Gas safety officer the supplier will take unemployed safety officers and enrol them into advance and specialized gas safety program for 6 months then give the 6 month working experience.
SDL&I Penalty and Performance Security

Eskom will apply a penalty of 2.5% of the Contract Value for failure to meet SDL&I obligations.

One of the following options will apply for SDL&I performance security:
· Suppliers will be required to report progress towards achieving SDL&I’s contractual obligations on a quarterly basis regardless of the duration of the task order.

· As security Eskom will apply 10% retention on future invoices (excluding VAT) after all cumulative purchase orders awarded to supplier who reached a stipulated threshold of R4 million and failed to comply with fulfilment of the SDL&I obligations.
· For every SDL&I commitment met in terms of the contract, the supplier shall apply for the release of the retention in the next payment certificate after the application and once the Eskom contract manager and the SDL&I compliance and monitoring team are satisfied that the obligations have been met.
Reporting and Monitoring

· The suppliers shall on a monthly/quarterly basis submit a report to Eskom in accordance with Data Collection Template on their compliance with the SDL&I obligations described above.

· Eskom shall review the SDL&I reports submitted by the suppliers within 60 (sixty) days of receipt of the reports and notify the suppliers in writing if their SDL&I obligations have not been met.

· Upon notification by Eskom that the suppliers have not met their SDL&I obligations, the suppliers shall be required to implement corrective measures to meet those SDL&I obligations before the commencement of the following report, failing which Retention clauses shall be invoked.
Every contract shall be accompanied by the SDL&I Implementation Schedule which must be completed by the suppliers and returned to SDL&I representative for acceptance 30 days after contract award.
15.1.2 People restrictions on Site; hours of work, conduct and records

The Contractor is required to work Monday to Friday in line with labour law working hours, weekend work can be arranged and should be approved by the Employer prior working. 

It is very important that the Contractor keeps records of his people on Site, including those of his Subcontractors which the Project Manager or Supervisor have access to at any time.  These records may be needed when assessing compensation events
15.2 Completion, testing, commissioning and correction of Defects

15.2.1 Work to be done by the Completion Date

On or before the Completion Date the Contractor shall have done everything required to Provide the Works except for the work listed below which may be done after the Completion Date but in any case, before the dates stated.  The Project Manager cannot certify Completion until all the work except that listed below has been done and is also free of Defects which would have, in his opinion, prevented the Employer from using the works and Others from doing their work.
	
	Item of work
	To be completed by

	
	Performance testing of the works in use as specified in paragraph       of this Works Information.
	See performance testing requirements.

	
	
	


C3.2
Contractor’s Works Information

	This section of the Works Information will always be contract specific depending on the nature of the works.

It is most likely to be required for design and construct contracts where the tendering contractor will have proposed specifications and schedules for items of Plant and Materials and workmanship, which once accepted by the Employer prior to award of contract now become obligations of the Contractor per core clause 20.1.
Typical sub headings could be

a) 
Contractor’s design

b)
Plant and Materials specifications and schedules

c)
Other



This section could also be compiled as a separate file.


Part 4: Site Information
	Document reference
	Title
	No of pages

	
	This cover page
	1

	C4
	Site Information
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	


Part 4: Site Information

16 General description

Phola is a populated place in the Emalahleni Local Municipality, Nkangala District Municipality in the Mpumalanga Province of South Africa (GPS coordinates: 25.9946 S, 29.0365 E)
 

Emalahleni Local Municipality is situated in Mpumalanga province, and it represents one of the six local municipalities in the Nkangala District Municipality. It forms part of the western regions of the province and borders Gauteng province. The southern parts of Emalahleni Local Municipality form part of the precinct referred to as the Energy Mecca of South Africa, due to its rich deposits of coal reserves and power stations such as Kendal, Matla, Duvha and Ga-Nala. The southward road and rail network connect the Emalahleni area to the Richards Bay and Maputo harbours, offering export opportunities for coal reserves. It comprises of eMalahleni City as the main urban centre in the municipality, with the other activity nodes/towns in the municipal area represented by Ogies, Phola, Ga-Nala, Thubelihle, Rietspruit, Van Dyksdrift and Wilge. (www.emalahleni.gov.za


17 Existing buildings, structures, and plant & machinery on the Site

Below is the overview of Phola township 
[image: image1.png]Learn more Send feedback

i ot
Makause(Combined ..~
School S! Maran:

Google (O 100% Maxar Technologies AfriGIS (Pty) Ltd 1000m | Camera:9490m 25°5959°S29°0239°E 1,533 m

t M S ™ @ i D MY ~ @ 3¢ A ®EY) NG mzﬁx;,u B





� This total is required by the Employer for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.


� Available from Engineering Contract Strategies Tel 011 803 3008, Fax 011 803 3009 or see � HYPERLINK "http://www.ecs.co.za" �www.ecs.co.za� 







DOCUMENT C2.1
PAGE 2
PRICING DATA




Part C2: Pricing Data
PAGE 1
C2 ecc3/a Cover

