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	PART A 
REQUEST FOR INFORMATION (RFI)


	Description of the works/goods/services
	Tutuka Power Station is requesting information from potential tenderers about their ability, experience and current skills to supply a fully functional Sulphur Trioxide Plant at Tutuka Power Station within a period of 18 months after tender award.   

	[bookmark: _Hlk194392396]RFI Number  
	E1095GCDMPTUT


	Deadline for submission
	15 April 2025
	At (South African Standard Time)
	10H00

	Tender Office address
	Tutuka Power Station



Eskom Holdings SOC Ltd (“Eskom”) invites you to submit an:
· Request for information (RFI) to submit information for the works/goods/services as stated in the table. This RFI is a stand-alone information-gathering and market-testing exercise, intended only to inform and assist Eskom’s further deliberation and development of a strategy for the Sulphur Trioxide Flue Gas Injection Plant at Tutuka Power Station.   

Eskom has delegated the responsibility for this RFI to the signatory of this document, whose details can be found below.

We look forward to receipt of your response.  

Yours faithfully
	Name
	Designation
	Signature
	Date

	Tshogarebone Thobejane 
	Senior Advisor Procurement
	
	01 April 2025


	Telephone number
	017 749 5408
	Fax and/or e-mail address
	Thobejta@eskom.co.za











	PART B
RESPONSE SHEET IN TERMS OF A REQUEST FOR AN EXPRESSION OF INTEREST/ REQUEST FOR INFORMATION 
To be completed by the supplier


	To
	Eskom Holdings SOC Ltd

	Date
	01 April 2025


	Attention

	Tshogarebone Thobejane



	Tel no
	017 749 5408
	Fax no and /or e-mail address
	Thobejta@eskom.co.za

	From
	
	Address
	

	Address
	

	Sender
	

	Responses to RFI are to be submitted electronically via Eskom E- tendering site by the stipulated closing date and time
	Tenders are submitted via Eskom Tender bulletin site on the Eskom E- tendering page

	Description of the works/goods/services
	Tutuka has 6 x 600 MW units and is required to install, commission and optimize Sulphur Trioxide Injection (SO3) flue gas conditioning on all units by 31 March 2027. All units are expected to operate below 50 mg/Nm3 following the refurbishment of the Electrostatic Precipitators (ESP), the installation of High Frequency Power Supplies (both initiatives are currently in execution by others) and the retrofit of the full scale SO3 flue gas conditioning plant.
Unit 6 currently has a full-scale dual (SO3 and NH3) flue gas conditioning plant which will need to be made permanent within this scope and integrated to the common system supplying the other 5 units.



Please find below our response to Eskom’s questions:

Take note that you are allowed to submit the responses on a separate sheet if the space provided below is limited
	No.
	Question
	Please indicate your response in this column


	1.
	Company name, contact name and contact details

	

	2.
	Company registration number
	


	3
	Company Central Supplier Database (CSD) Number
	

	4.
	Company CIDB Registration Number
	

	5.
	Have you in the past fifteen years designed, constructed and commissioned a Sulphur Trioxide Flue Gas Injection Plant 
If so, please brief refence to the plant and current contact details of plant owner. 
	



	6.
	Have you provided such plants with an SO3 injection capacity of 20 - 40 ppm or a sulphur burn rate of 30-60 kg/h?
If so, please brief refence to the plant and current contact details of plant owner.
Eskom reserves the right to request a physical verification at the plant referenced.
	

	7.
	Confirm if your company owns Intellectual Property or has a valid licence agreement regarding the Sulphur Injection Technology and provide the name.
	

	8.
	Number of engineers employed and years- experience relating to the Sulphur Trioxide (SO3) Injection Technology

	

	9.
	Brief method statement and project plan to demonstrate that it is achievable to have commissioning complete within 18 months of contract award. The activities must include design, procurement, manufacturing, shipping/transport, installation, commissioning, optimisation and handover of the fully functional SO3 plant.   
	

	10.
	Indicative cost estimate for total project cost to hand-over to Eskom for maintenance and operations.
	

	11.
	What is the lead time from contract placement to first unit completion and commissions?
What is the lead time between units (6 off to be done)?
	



Yours faithfully

	Name
	Designation
	Signature
	Date

	
	
	
	

	Telephone number
	
	Fax and/or e-mail address
	



	Controlled Disclosure

	When downloaded from the document management system, this document is uncontrolled and the responsibility rests with the user to ensure it is in line with the authorized version on the system. No part of this document may be reproduced in any manner or form by third parties without the written consent of Eskom Holdings SOC Ltd, © copyright Eskom Holdings SOC Ltd, Reg No 2002/015527/30
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