MINIMUM SPECIFICATIONS FOR THE SUPPLY, DELIVERY, INSTALLATION AND COMMISSIONING OF WATER JACKET CO2 INCUBATOR AT BACTERIOLOGY

- New functional system to be supplied.

- Temperature range from +40 to +45ºC

- Capacity from 185L to 240L

- Control cock pit

- Support ambient humidity of 95%

- Should have HEPA filter

- Should have shelves

- Adjustable CO2 control system

- CO2 concentration recovery time: +/-  5 minute

- A one year warranty

- Lead time of at least 4- 8 weeks

- Brochure to be sent together with the quotation

- Demonstration on how to use the system

- Total cost must include SANAS calibration, installation and delivery

Please complete the checklist below by indicating with a yes/no

| Specification Requirements | Yes/No |
| --- | --- |
| Is the equipment to be supplied a new system? |  |
| Is the Incubator capacity between 185L to 240L? |  |
| Does the incubator have adjustable CO2 control system? |  |
| Does it allow ambient humidity of 95%? |  |
| Do you know of any local service provider who offer servicing/repairs for this equipment? If yes, please provide the name/s of the service provider. |  |
| Does your company offer SANAS accredited calibration or does it follow the TR25 SANAS calibration requirements? |  |
| Do you offer installation of this equipment? |  |