| Item | Item Description | Any other important detail |
| --- | --- | --- |
| 1. Penetrologger with GPS, standard set | Penetrologger with GPS, standard set for measurement to a depth of 80 cm. Complete set with penetrologger, cones, sounding rods, depth reference plate, battery charger, penetrologger cable, software Penetro viewer, tools and carrying case. Technical specifications Operational temperature - 0 – 50 °C Operational humidity - IP 54 (water-resistant) Penetrologger weight - 3.4 kg (not including probing rod, including batteries) Set weight - 15.5 kg Transport case dimensions - 58 x 29 x 25 cm Memory - 1500 measurements Max. penetration force - 1000 N Force resolution - 1 N Total length measuring rod - 97 cm (excl. cone) Depth registration - 80 cm Depth resolution - 1 cm GPS accuracy - 2 m CEP Circular Error Probable 3.5 m SEP Spherical Error Probable (Egnos compensated) CEP, 50% 24 Hous static, - 130 dBm (type μBlox LEA-6H) < 2.5 m CEP (Circular Error Probable) Soil moisture resolution - 1% Batteries - 5 x AA NiMH 2600 | 3 years warranty |

Technical specifications for Penetrologger with GPS, standard set