eskom holdings SOC ltd

Contract No. _________

CONTRACT TITLE: SUPPLY AND DELIVER OF AIR AND LUBE OIL FILTERS AT KUSILE POWER STATION AS AND WHEN REQUIRED BASIS FOR A PERIOD OF FIVE YEARS.

	[image: image1.jpg]R Eskom






NEC3 Supply Contract (SC3)
	Between


	ESKOM HOLDINGS SOC LIMITED 

(Reg No. 2002/015527/06)

	and


	[Insert at award stage]

(Reg No. ___________ )

	for


	SUPPLY AND DELIVER OF AIR AND LUBE OIL FILTERS AT KUSILE POWER STATION AS AND WHEN REQUIRED BASIS FOR A PERIOD OF FIVE YEARS.
Insert title of the goods and services

	
	

	Contents:


	
	No of pages

	Part C1
	Agreements & Contract Data
	[●]

	Part C2
	Pricing Data
	[●]

	Part C3
	Scope of Work
	[●]

	
	
	

	CONTRACT No.
	[Insert at award stage]

	
	

	
	

	
	


PART C1:
AGREEMENTS & CONTRACT DATA

	Contents:


	
	No of pages

	C1.1
	Form of Offer and Acceptance 

[to be inserted from Returnable Documents at award stage]
	[●]

	C1.2a
	Contract Data provided by the Purchaser
	[●]

	C1.2b
	Contract Data provided by the Supplier
[to be inserted from Returnable Documents at award stage]
	[●]

	
	
	


C1.1 Form of Offer & Acceptance

Offer

The Purchaser, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

SUPPLY AND DELIVER OF AIR AND LUBE OIL FILTERS AT KUSILE POWER STATION AS AND WHEN REQUIRED BASIS FOR A PERIOD OF FIVE YEARS
The tenderer, identified in the Offer signature block, has

	either
	examined the documents listed in the Tender Data and addenda thereto as listed in the Returnable Schedules, and by submitting this Offer has accepted the Conditions of Tender.

	or
	examined the draft contract as listed in the Acceptance section and agreed to provide this Offer.


By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Supplier under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data. 

	
	The offered total of the Prices exclusive of VAT is 
	R 

	
	Value Added Tax @ 15% is
	R 

	
	The offered total of the amount due inclusive of VAT is

	R 

	
	(in words) 



This Offer may be accepted by the Purchaser by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Supplier in the conditions of contract identified in the Contract Data.

	Signature(s)


	
	
	

	Name(s)


	
	
	

	Capacity


	
	
	

	For the tenderer:

	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	

	
	


Acceptance

By signing this part of this Form of Offer and Acceptance, the Purchaser identified below accepts the tenderer’s Offer.  In consideration thereof, the Purchaser shall pay the Supplier the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Purchaser and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in: 

Part C1

Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2

Pricing Data

Part C3

Scope of Work:  Goods Information including Supply Requirements

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Purchaser’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed original copy of this document, including the Schedule of Deviations (if any).  

	Signature(s)


	
	
	

	Name(s)
	
	
	

	Capacity


	
	
	

	for the Purchaser


	Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Sandton, Johannesburg, 2199

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	


Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

Schedule of Deviations to be completed by the Purchaser prior to contract award

Note:

1.  This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.
2. The extent of deviations from the tender documents issued by the Purchaser prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

3. A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

	No.
	Subject
	Details

	1
	[●]
	[●]

	2
	[●]
	[●]

	3
	[●]
	[●]

	4
	[●]
	[●]

	5
	[●]
	[●]

	6
	[●]
	[●]

	7
	[●]
	[●]

	
	
	


By the duly authorised representatives signing this Schedule of Deviations below, the Purchaser and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of Offer and Acceptance.  

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement. 

	
	For the tenderer:


	
	For the Purchaser



	Signature


	
	
	

	Name
	
	
	

	Capacity


	
	
	

	On behalf of
	(Insert name and address of organisation)


	
	Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Sandton, Johannesburg, 2199

	Name & signature of witness
	
	
	

	Date
	
	
	


C1.2 SC3 Contract Data

Part one - Data provided by the Purchaser
1. Please read the relevant clauses in the conditions of contract before you enter data.  The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data.  

2. Some SC3 options are always selected by Eskom Holdings SOC Limited.   The remaining SC3 options are identified by shading in the left hand column.  In the event that the option is not required select and delete the whole row.  Where the following symbol is used “[●]” - data is required to be inserted relevant to the specific option selected.]

Completion of this data in full, according to the Options chosen, is essential to create a complete contract.

	Clause
	Statement
	Data

	1
	General
	

	
	The conditions of contract are the core clauses and the clauses for Options 
	

	
	
	X1:

Price adjustment for inflation

	
	
	X2

Changes in the law

	
	
	X7:

Delay damages

	
	
	Z:

Additional conditions of contract

	
	of the NEC3 Supply Contract (December 2009)

	

	10.1
	The Purchaser is (name):
	Eskom Holdings SOC Limited (Reg No: 2002/015527/06), a juristic person incorporated in terms of the company laws of the Republic of South Africa

	
	Address
	Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg

	
	Tel No.
	+27 13 295 9879

	10.1
	The Supply Manager is (name): 
	Amander Mngomezulu

	
	Address
	Eskom Holdings SOC Ltd

Kusile Power Station

R545 Kendal/Balmoral RD

Haartebeefontein Farm

Witbak

	
	Tel
	+27 13 295 9879 

	
	e-mail
	MngomeAP@eskom.co.za

	11.2(13)
	The goods are 
	Supply and deliver Air and Lube oil filters for a period of five years for Kusile Power Station

	11.2(13)
	The services are 
	Supply and delivery to Kusile Power Station

	11.2(14)
	The following matters will be included in the Risk Register
	Delays on delivery

	11.2(15)
	The Goods Information is in 
	Part 3: Scope of Work and all documents and drawings to which it makes reference.

	11.2(15)
	The Supply Requirements as part of the Goods Information is in 
	Annexure A to this Contract Data

	12.2
	The law of the contract is the law of 
	The Republic of South Africa

	13.1
	The language of this contract is 
	English

	13.3
	The period for reply is
	5 working days

	2
	The Supplier’s main responsibilities
	Data required by this section of the core clauses is provided by the Supplier in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data.

	3
	Time
	

	30.1
	The starting date is.
	01 September 2022

	30.1
	The delivery date of the goods and services is:
	goods and services 
	delivery date

	
	
	1
	
	As per order

	30.2
	The Supplier does not bring the goods to the Delivery Place more than one week before the Delivery Date.
	On request



	31.1
	The Supplier is to submit a first programme for acceptance within 
	N\A

	32.2
	The Supplier submits revised programmes at intervals no longer than 
	N\A

	4
	Testing and defects
	

	42
	The defects date is 
	1 week after delivery

	43.2
	The defect correction period is 
	4 weeks

	
	except that the defect correction period for 
	N\A

	
	and the defect correction period for 
	N\A

	42.2
	The defects access period is  
	2 days

	
	except that the defect access period for 
	N\A

	
	and the defect access period for 
	N\A

	5
	Payment
	

	50.1
	The assessment interval is 
	Assessment will be done after every delivery

	51.1
	The currency of this contract is the 
	South African Rand

	51.2
	The period within which payments are made is
	4 weeks.

	51.4
	The interest rate is 


	zero percent above the publicly quoted prime rate of interest (calculated on a 365 day year) charged from time to time by the Standard Bank of South Africa (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands.

	6
	Compensation events
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.

	7
	Title
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.

	8
	Risks, liabilities, indemnities and insurance

	80.1
	These are additional Purchaser’s risks  
	1. Offloading of goods at delivery place.

2. Quality problems

3. Delivery delays

4. Industrial Actions

5. Rainfall

6.Community strikes1

	84.1


	The Purchaser provides these insurances from the Insurance Table
	See notes about Purchaser provided insurance in Annexure B to this Contract Data

	
	1. Insurance against
	Loss of or damage to the goods, plant and materials.

	
	Cover / indemnity is
	Overseas shipment / transit insurance (only) to cover events at the Supplier’s risk (if any) after the goods have left the Supplier’s overseas premises.  See notes in Annexure B

If this contract includes the supervision of installation, testing, commissioning or building work at the Purchaser’s premises, the Purchaser also provides cover for physical loss of or damage to the Purchaser’s surrounding property including any temporary work required to complete the Delivery.

	
	The deductibles are
	See notes in data for clause 88.2 below and Annexure B

	84.1  


	The Supplier provides these additional insurances
	See notes in Annexure B

	84.2
	The minimum amount of cover for loss of or damage to any plant and materials provided by the Purchaser is:
	Contract value


	84.2
	The minimum limit of indemnity for insurance in respect of loss of or damage to property (except the goods, plant and materials and equipment) and liability for bodily injury to or death of a person (not an employee of the Supplier) caused by activity in connection with this contract for any one event is:
	whatever the Supplier deems necessary in addition to that provided by the Purchaser for any one event with cross liability so that the insurance applies to the Parties separately.

However if the Supplier is exposed to damage to the Purchaser’s property the cover limit amount is not less than

· R15 million (fifteen million Rand) for exposure to Generation Division property;

· R7.5 million (seven million five hundred thousand Rand) for exposure to Transmission Division property and;

R1 million (one million Rand) for exposure to Distribution Division and all other Purchaser’s property

for any one occurrence or series of occurrences arising out of one event but unlimited during the period of insurance. 

	84.2


	The minimum limit of indemnity for insurance in respect of death of or bodily injury to employees of the Supplier arising out of and in the course of their employment in connection with this contract for any one event is: 
	As prescribed by the Compensation for Occupational Injuries and Diseases Act No. 130 of 1993 and the Contractor’s common law liability for people falling outside the scope of the Act with a limit of Indemnity of not less than R500 000 (five hundred thousand Rand).

	88.1
	The Supplier’s liability to the Purchaser for indirect or consequential loss, including loss of profit, revenue and goodwill is limited to
	Contract value

	88.2
	For any one event, the Supplier’s liability to the Purchaser for loss of or damage to the Purchaser’s property is limited to
	(1) for the Purchaser’s existing and surrounding property in the care, custody and control of the Supplier the amount of the deductible (first amount payable) relevant to the event described in the “Format A” / “Format B” / “Format Dx” {choose the applicable format, then delete the others and this note}, insurance policy available on http://www.eskom.co.za/live/content.php?Item_ID=9248
and

(2) for all other existing Purchaser’s property the highest applicable deductible (first amount payable) namely:

R15 million (fifteen million Rand) for Generation Division property;

R7.5 million (seven million five hundred thousand Rand) for Transmission Division property and;

R1 million (one million Rand) for Distribution Division and all other Purchaser’s property

See notes in Annexure B

	88.3
	The Supplier’s liability for Defects due to his design which are not notified before the last defects date is limited to:
	Contract value

	88.4
	The Supplier’s total liability to the Purchaser, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to
	Contract value


	88.5
	The end of liability date is 
	? years after Delivery of the whole of the goods and services.

	9
	Termination and dispute resolution

	94.1
	The Adjudicator is (Name)
	Either: 

state the name of the person selected & complete the contact details below
or, state:
the person selected from the Panel of Adjudicators listed in Annexure C to this Contract Data by the Party intending to refer a dispute to him.

	94.2(3)
	The Adjudicator nominating body is: 
	the Chairman of ICE-SA, a Division of the South African Institution of Civil Engineering, or its successor body (See www.ice-sa.org.za)

	94.4(2)
	The tribunal is: 
	Arbitration

	94.4(5)
	The arbitration procedure is 
	the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body.

	94.4(5)
	The place where arbitration is to be held is
	South Africa

	
	The person or organisation who will choose an arbitrator 

· if the Parties cannot agree a choice or
· if the arbitration procedure does not state who selects an arbitrator, is
	the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body.

	10
	Data for Option clauses
	

	X1
	Price adjustment for inflation
	

	X1.1
	The base date for indices is 
	

	
	The proportions used to calculate the Price Adjustment Factor are:
	proportion
	linked to index for
	Index prepared by

	
	
	
	
	

	
	
	
	
	

	
	
	15%
	non-adjustable
	

	
	
	100%
	
	

	X2
	Changes in the law
	

	X2.1
	A change in the law of 


	[●] is a compensation event if it occurs after the Contract Date

	X7
	Delay damages
	

	X7.1
	Delay damages for Delivery are
	Delivery of
	amount per day

	
	
	Basket strainers

	0.5% (zero point five per centum) increments of the batch order value per calendar day late, until damages have accumulated to 10% of the batch order.

	Z
	The additional conditions of contract are
	Z1 to Z12 always apply for Eskom

	
	

	Z1
	Cession delegation and assignment

	Z1.1
	The Supplier does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Purchaser.

	Z1.2
	Notwithstanding the above, the Purchaser may on written notice to the Supplier cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry and the Electricity Distribution Industry. 

	
	

	Z2
	Joint ventures

	Z2.1
	If the Supplier constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Purchaser for the performance of this contract.

	Z2.2
	Unless already notified to the Purchaser, the persons or organisations notify the Supply Manager within two weeks of the Contract Date of the key person who has the authority to bind the Supplier on their behalf.

	Z2.3
	The Supplier does not substantially alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Purchaser having been given to the Supplier in writing.

	
	

	Z3
	Change of Broad Based Black Economic Empowerment (B-BBEE) status

	Z3.1
	Where a change in the Supplier’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Supplier’s B-BBEE status, the Supplier notifies the Purchaser within seven days of the change.

	Z3.2
	The Supplier is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Supply Manager within thirty days of the notification or as otherwise instructed by the Supply Manager.

	Z3.3
	Where, as a result, the Supplier’s B-BBEE status has decreased since the Contract Date the Purchaser may either re-negotiate this contract or alternatively, terminate the Supplier’s obligation to Provide the Goods and Services.

	Z3.4
	Failure by the Supplier to notify the Purchaser of a change in its B-BBEE status may constitute a reason for termination. If the Purchaser terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93.

	
	

	Z4
	Ethics

	Z4.1
	Any offer, payment, consideration, or benefit of any kind made by the Supplier, which constitutes or could be construed either directly or indirectly as an illegal or corrupt practice, as an inducement or reward for the award or in execution of this contract constitutes grounds for terminating the Supplier’s obligation to Provide the Goods and Services or taking any other action as appropriate against the Supplier (including civil or criminal action).

	Z4.2
	The Purchaser may terminate the Supplier’s obligation to Provide the Goods and Services if the Supplier (or any member of the Supplier where the Supplier constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations) is found guilty by a competent court, administrative or regulatory body of participating in illegal or corrupt practices.   
Such practices include making of offers, payments, considerations, or benefits of any kind or otherwise, whether in connection with any procurement process or contract with the Purchaser or other people or organisations and including in circumstances where the Supplier or any such member is removed from the an approved vendor data base of the Purchaser as a consequence of such practice.

	Z4.3
	Notwithstanding the provisions of core clause 90.2, the procedures on termination in terms of this clause are P1, P2 and P3 as stated in the core clause 92 and the amount due is A1 and A3 as stated in core clause 93.

	
	

	Z5
	Confidentiality

	Z5.1
	The Supplier does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Supplier, enters the public domain or to information which was already in the possession of the Supplier at the time of disclosure (evidenced by written records in existence at that time).  Should the Supplier disclose information to Others in terms of clause 23.1, the Supplier ensures that the provisions of this clause are complied with by the recipient.

	Z5.2
	If the Supplier is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Supply Manager.

	Z5.3
	In the event that the Supplier is, at any time, required by law to disclose any such information which is required to be kept confidential, the Supplier, to the extent permitted by law prior to disclosure, notifies the Purchaser so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure.  In the event that such protective order is not, or cannot, be obtained, then the Supplier may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed.

	Z5.5
	The Supplier ensures that all his subcontractors abide by the undertakings in this clause.

	
	

	Z6
	Waiver and estoppel: Add to core clause 12.3:

	Z6.1
	Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Supply Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing.

	
	

	Z8
	Provision of a Tax Invoice and interest.  Add to core clause 51

	Z8.1
	Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice in accordance with the Purchaser's procedures stated in the Goods Information, showing the amount due for payment equal to that stated in the payment certificate.

	Z8.2
	If the Supplier does not provide a tax invoice in the form and by the time required by this contract, the time by when the Purchaser is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice.  Interest due by the Purchaser in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made.

	Z8.3
	The Supplier (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Purchaser’s VAT number 4740101508 on each invoice he submits for payment.

	
	

	Z9
	Notifying compensation events

	Z9.1
	Delete from the last sentence in core clause 61.3, “unless the Supply Manager should have notified the event to the Supplier but did not”.

	
	

	Z10
	Purchaser’s limitation of liability

	Z10.1
	The Purchaser’s liability to the Supplier for the Supplier’s indirect or consequential loss is limited to R0.00 (zero Rand)

	Z10.2
	The Supplier’s entitlement under the indemnity in 83.1 is provided for in 60.1(12) and the Purchaser’s liability under the indemnity is limited.

	
	

	Z11
	Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it":  

	Z11.1
	   or had a judicial management order granted against it.

	
	

	Z12
	Addition to secondary Option X7 Delay damages (if applicable in this contract)

	Z12.1
	If the amount due for the Supplier’s payment of delay damages reaches the limits stated in this Contract Data for Option X7, the Purchaser may terminate the Supplier’s obligation to Provide the Goods and Services using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table.


Annexure A:
Supply Requirements
[Notes: This template is based on the examples given in the NEC3 Supply Contract Guidance Notes pages 15 to 20 inclusive.  Please read the Guidance Notes before finalising the information given below.  Users may need to adjust the information to comply with actual requirements. First decide whether Incoterms will be used or not, then delete the arrangement below which does not apply and delete these notes]

The Supply Requirements for this contract are based on the use of INCOTERMS:

The Supplier supplies the goods in accordance with INCOTERMS 2000
 as follows:

[Select the group and then term within the group which applies and state the applicable delivery place.  Delete all the other groups and this note]
	Group
	Category
	Term
	Delivery Place

	E
	departure
	EXW
	

	F
	main carriage unpaid
	FCA, FAS, FOB
	

	C
	main carriage paid
	CFR, CIF, CPT, CIP
	

	D
	arrival
	DAF, DES, DEQ, DDU DDP
	


The Parties obligations described in Incoterms for the category and term selected are now incorporated into this contract as part of the Supply Requirements and hence the Goods Information.  

The obligations of seller and buyer for the selected Incoterm determine each Party's costs, risks and insurance requirements incidental to the supply and transport of the goods from Supplier to Purchaser.

For each of the thirteen terms, Incoterms set out obligations of the seller (the Supplier) in ten paragraphs identified as A1 to A10 and the corresponding obligations of the buyer (the Purchaser) in paragraphs B1 to B10.  These obligations cover the following subjects:

	A
	The Supplier’s obligations
	B
	The Purchaser’s obligations

	A1
	Provision of goods in conformity with contract
	B1
	Payment of the price

	A2
	Licences, authorisations and formalities
	B2
	Licences, authorisations and formalities

	A3 
	Contracts of carriage and insurance
	B3
	Contracts of carriage and insurance

	A4
	Delivery
	B4
	Taking delivery

	A5
	Transfer of risks
	B5
	Transfer of risks

	A6 
	Division of costs
	B6
	Division of costs

	A7
	Notice to the buyer 
	B7
	Notice to the seller

	A8
	Proof of delivery, transport document or equivalent electronic message
	B8
	Proof of delivery, transport document or equivalent electronic message

	A9
	Checking - packing - marking
	B9
	Inspection of goods

	A10
	Other obligations
	B10
	Other obligations


[Should there be a need to amplify any of the published obligations listed above for the chosen INCOTERM, add them here.  Before doing so read SC3 Guidance Notes pages 18 to 20 as well as the cross references to INCOTERMS included in the guidance.]

All other information NOT pertinent to the above is given in the balance of the Goods Information
The Supply Requirements for this contract are as follows:

[Use these when INCOTERMS do not apply].  [Revise and complete as required]
All other information NOT pertinent to the above is given in the balance of the Goods Information
	1. The requirements for the supply are
	Constraints (see clause 11.2 (5))

· No compensation is payable if the Supplier arrives on site without prior arrangement with the Purchaser.
· All goods shall be delivered to the Main stores 

· The Purchaser has the right to refuse acceptance of any consumables which in the opinion of Purchaser, does not meet the requirements specified and will have a detrimental effect on equipment/plant performance. 

· The Supplier ensures that all items to be supplied are to the standard and quality accepted by the Purchaser and ensures that they are suitable for the purpose intended for by the manufacturer.

· Material (TEST) certificates as well as complete data packs will be submitted with all the FGD Absorber Recycle Pumps to site.

· The Supplier shall have no claim against the Purchaser in respect of delay due to the above constraints.

	2. The requirements for transport are 
	Supplier is responsible for transporting the goods to the delivery place.

	3. The delivery place is
	Kusile Power Station - Main Stores

	4. Actions of the Parties during supply
	Action
	Party which does it

	
	Giving notice of Delivery
	Supplier

	
	Checking packing and marking before dispatch
	Supplier

	
	Contracting for transport
	Supplier

	
	Pay costs of transport
	Supplier

	
	Arrange access to delivery place
	Purchaser

	
	Loading the goods
	Supplier

	
	Unloading the goods
	Purchaser

	For international procurement
	Undertake export requirements
	

	
	Undertake import requirements
	

	5. Information to be provided by the Supplier 
	Title of document

	
	Packing lists for cases and their contents

	
	Copy of invoice for the goods

	
	Delivery Note

	
	Material Certificates

	For  international procurement
	Licences, authorisations and other formalities associated with export of the goods 

	
	Air Waybill or Bill of Lading with associated landing, delivery and forwarding order 

	
	The Bill of Entry endorsed by the importation authority

	
	Customs work sheets, showing tax, duties and surcharges which the law of the country into which the goods are being imported requires the importer to pay

	
	Invoice from the importation clearing agent showing airline fees, landing charges, wharfage and dock dues as applicable

	
	Specify other import documents required by authorised officials. 


Annexure B:
Insurance provided by the Purchaser
These notes are provided as guidance to tendering suppliers and the Supplier about the insurance provided by the Purchaser. These notes are not part of this contract.  

Transit insurance of goods originating from outside the borders of the Republic of South Africa
For the purpose of supply contracts, the only insurance provided by Eskom (the Purchaser) is transit shipment cover, commonly known as Marine Insurance for air, sea, rail and road freight (including local land arrangements) for conveyance of goods originating outside RSA.   Please consult the website stated below to ascertain whether Format A, Format B or Format Dx is applicable to this contract and then the

· Marine Insurance Policy wording;
· Eskom Shipment Policies and Procedures – note a pre-shipment survey form has to be completed under certain circumstances;
· Marine Claims Handling Procedures – for important shipment actions and claims forms in event of damages to cargo freight via sea, barge, air, road or rail. 

For EXW (Ex Works collections) this is of no concern to the Supplier but for any other Supply Requirement (such as CIF, DDU, or DDP) the Supplier need not provide such insurance even if the INCOTERM requires it and tendering suppliers should ‘discount’ their prices when tendering to allow for this provision by the Purchaser (Eskom). 

Supplier’s liability for damage to the Purchaser’s property

Whilst this is a liability the Supplier carries and should cover (if he is required to deliver the goods to the Purchaser’s premises) his liability is limited to the amount of cover provided to the Purchaser within his assets policy.  This amount varies depending on the Division within Eskom to which the Supplier is making the delivery.  For any one occurrence or series of occurrences arising out of one event but unlimited during the period of insurance the Supplier’s liability would be:
· R15million for Generation Division projects,

· R7.5million for Transmission Division projects or

· R1.0million for Distribution Division projects
All other insurance

As required by clause 84, the Supplier provides all other insurance for his risks.  The Supplier should give further consideration to providing for these additional insurance concepts [for amounts and periods of insurance the Supplier deems fit and necessary].
Professional  Indemnity: The insurance provided shall indemnify the Supplier (and/or his professional consultant) for those sums which the Supplier or his consultant shall become legally liable to pay as damages arising from any claim first made against the Supplier / consultant and reported to their insurers during the Period of Insurance, directly arising out of any negligent act, error or omission committed or alleged to have been committed by the Supplier / consultant in the conduct of professional services (for example, design) in connection with this contract.

Products Liability: A special General Liability extension for liability arising out of the Supplier’s defective:

· production and manufacturing process (workmanship or material), or

· product design, or

· warnings, instructions, usage and maintenance manuals and specifications. 

For any further explanation of insurance requirements tendering suppliers are advised to consult their brokers or insurers who may in turn contact Eskom Insurance Management Services per contact details provided on the following website:
http://www.eskom.co.za/live/content.php?Item_ID=9248 

Annexure C:
The Purchaser’s Panel of Adjudicators 

The following persons listed in alphabetical order of their surname have indicated their willingness to be included in the Purchaser’s Panel of Adjudicators.  Their CV’s may be obtained by using the contact details provided.

	Name
	Location
	Contact details (phone & e mail)

	Nigel ANDREWS
	Gauteng
	+27 11 836-6760

nigela@quoin.net

	Andrew BAIRD
	Gauteng
	+27 11 803 3008

andrewbaird@ecsconsult.co.za

	Christopher BINNINGTON
	Gauteng
	+27 11 888-6141

cdb@bca.co.za

	Peter HIGGINS
	UK
	+44 1293 873 868

peterhiggins@pdconsult.co.uk

	Adv. Bruce LEECH
	Gauteng
	+27 11 290 4000

leech@counsel.co.za

	Nigel NILEN
	Gauteng
	+27 11 465 3601; nilences@global.co.za

	Peter THURLOW
	Gauteng
	+27 11 787 6226

info@thurlowassoc.com 


Information about the Panel and appointment of the selected Adjudicator is available from Eskom Supply Chain Operations management, by contacting  Leighton Itholeng (Tel.: +27 (0)11 800 4031)
(Fax :+27 (0)86 668 0419) E-mail: Leighton.Itholeng@eskom.co.za 

C1.2 Contract Data

Part two - Data provided by the Supplier
[Instructions to the contract compiler:  (delete this note before issue to tenderers with an enquiry)
Whenever a cell is shaded in the left hand column it denotes this data is optional and would be required in relation to the option selected.  In the event that the option is not required select and delete the whole row.]

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

	Clause
	Statement
	Data

	10.1
	The Supplier is (Name):
	     

	
	Address
	     

	
	Tel No.
	     

	
	Fax No.
	     

	11.2(8)
	The Goods Information for the Supplier’s design is in:
	     

	11.2(11)
	The tendered total of the Prices is
	R     , 

      (in words)

	11.2(12)
	The price schedule is in:
	

	11.2(14)
	The following matters will be included in the Risk Register
	     

	25.2
	The restrictions to access for the Supply Manager and Others to work being done for this contract are
	     

	30.1
	The delivery date of the goods and services is:
	goods and services 
	delivery date

	
	
	1
	[●]
	[●]

	
	
	2
	[●]
	[●]

	
	
	3
	[●]
	[●]

	31.1
	The programme identified in the Contract Data is contained in:
	     

	63.2
	The percentage for overheads and profit added to the Defined Cost is
	     %


Part 2: Pricing Data

NEC3 Supply Contract
	Document reference
	Title
	No of pages

	C2.1
	Pricing assumptions
	2

	C2.2
	The price schedule 
	


C2.1 Pricing assumptions

The conditions of contract 

How goods and services are priced and assessed for payment

Clause 11 in NEC3 Supply Contract, December 2009 (SC3) core clauses states:

	Identified and defined terms
	11

11.2
	(11) The Prices are the amounts stated in the price column of the Price Schedule.  Where a quantity is stated for an item in the Price Schedule, the Price is calculated by multiplying the quantity by the rate.



	
	
	(12) The Price Schedule is the price schedule unless later changed in accordance with this contract.



	Assessing the amount due
	50.2
	The amount due is

the Price for each lump sum item in the Price Schedule which the Supplier has completed, 
where a quantity is stated for an item in the Price Schedule, an amount calculated by multiplying the quantity which the Supplier has completed by the rate,

plus other amounts to be paid to the Supplier,

less amounts to be paid by or retained from the Supplier.
Any tax which the law requires the Purchaser to pay to the Supplier is included in the amount due.




This confirms that the Supply Contract is a priced contract where the Prices are derived from a list of items of goods and services which can be priced as lump sums or as expected quantities of goods and services multiplied by a rate, or a mix of both.

Function of the Price Schedule

Clause 53.1 states: “Information in the Price Schedule is not Goods Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price Schedule but in the Goods Information.  This is further confirmed by Clause 20.1 which states, “The Supplier Provides the Goods and Services in accordance with the Goods Information”. Hence the Supplier does not Provide the Goods and Services in accordance with the Price Schedule.   The Price Schedule is only a pricing document.  

Preparing the price schedule
It will be assumed that the tendering supplier has read Pages 11 and 12 and Appendix 5 of the SC3 Guidance Notes before preparing the price schedule.  Items in the price schedule may have been inserted by the Purchaser and the tendering supplier should insert any additional items which he considers necessary.  Whichever party provides the items in the price schedule the total of the Prices is assumed to be fully inclusive of everything necessary to Provide the Goods and Services as described at the time of entering into this contract. 

1 As the Supplier has an obligation to correct Defects (core clause 43.1) and there is no compensation event for this unless the Defect was due to a Supplier’s risk, the lump sum Prices and rates must also include for the correction of Defects.

2 If the Supplier has decided not to identify a particular item in the price schedule at the time of tender the cost to the Supplier of doing the work is assumed to be included in, or spread across, the other Prices and rates in the price schedule in order to fulfil the obligation to Provide the Goods and Services for the tendered total of the Prices.  

3 There is no adjustment to lump sum prices in the price schedule if the amount, or quantity, of work within that lump sum item of goods or services later turns out to be different to that which the Supplier estimated at time of tender. The only basis for a change to the Prices is as a result of a compensation event. See Clause 60.1.

4 Hence the Prices and rates tendered by the Supplier in the price schedule are inclusive of everything necessary and incidental to Providing the Goods and Services in accordance with the Goods Information, as it was at the time of tender, as well as correct any Defects not caused by a Purchaser’s risk. 
5 The Supplier does not have to allow in his Prices and rates for matters that may arise as a result of a compensation event.  It should be noted that the list of compensation events includes those arising as a result of a Purchaser’s risk event listed in core clause 80.1.

Format of the price schedule
(From Appendix 5 on page 78 of the SC3 Guidance Notes)

Entries in the first four columns in the price schedule in section C2.2 are made either by the Purchaser or the tendering supplier. 

If the Supplier is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering supplier enters the amount in the Price column only, the Unit, Quantity and Rate columns being left blank.

If the Supplier is to be paid an amount for the item which is the rate for the item multiplied by the quantity completed, the tendering Supplier enters the rate which is then multiplied by the Quantity to produce the Price, which is also entered.

If the Supplier is to be paid an amount for an item proportional to the length of time for which the goods and services are provided, a unit of time is stated in the Unit column and the length of time (as a quantity of the stated units of time) is stated in the Quantity column.

C2.2 the price schedule
	Item No
	Material Number
	Detailed Description
	UOM
	Quantity
	Unit Price
	Price

	1
	662692
	FAN: TYPE: FILTER UNIT; DIMENSIONS: DIA 215 MM; VOLUME RATING: 2 M3/S; MATERIAL: PLASTIC; SPECIFICATION: TH-CD-2592-00-03; DRIVER: MOTOR; SUPPL P/N: 2592-00-03-28
	EA
	20
	 
	 

	2
	655543
	FILTER, ELEMENT: TYPE: CARTRIDGE AIR; SUPPL P/N: SP-KUS-F2-05418
	EA
	58
	 
	 

	3
	644958
	FILTER, FLUID: TYPE: GAS TRANSFER MEMBRANE; FILTERING MEDIA: WATER; MATERIAL: POLYPROPYLENE; FILTERING ELEMENT QUANTITY: 1; DESIGN TYPE: CYL; MODEL NO: G533RP; X50 FIBRE; MICRON IN/OUT: 220/300U; DIMENSIONS: DIA 356MM X LG 1.156M; 14X28 LIQUI-CEL MEMBRANE CONTATOR; SOURCE DOCUMENT REFERENCE: SMC-0114-12-9024VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	20
	 
	 

	4
	644959
	FILTER, FLUID: TYPE: GAS TRANSFER MEMBRANE; FILTERING MEDIA: DEMIN WATER; MATERIAL: POLYPROPYLENE; FILTERING ELEMENT QUANTITY: 1; DESIGN TYPE: CYL; MODEL NO: G531RP; X40 FIBRE; MICRON IN/OUT: 200/300U; DIMENSIONS: DIA 356MM X LG 1.156M; 14X28 LIQUI-CEL MEMBRANE CONTATOR; SOURCE DOCUMENT REFERENCE: SMC-0114-12-9024; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	20
	 
	 

	5
	662537
	ASSEMBLY: TYPE: SUCTION FILTER; APPLICATION: LIMESTONE HYDRAULIC FEEDER DRIVE; SPECIFICATION: TH-CD-2572-00-02; SUPPL P/N: 2572-00-02-24
	EA
	20
	 
	 

	6
	662568
	SWITCH, PRESSURE: TYPE: FILTER BLOCK; RANGE: -1 TO 2.5 BAR; POTENTIAL: 125-250 V; CURRENT: 3 A; ACTION: SPST; CONNECTION: 1/4 IN; CONTACT ARRANGEMENT: 1NC; APPLICATION: LIMESTONE HYDRAULIC FEEDER DRIVE; SPECIFICATION: TH-CD-2572-00-02; SUPPL P/N: 2572-00-02-26A
	EA
	20
	 
	 

	7
	662545
	FILTER, ELEMENT: TYPE: RETURN LINE; DIMENSIONS: DIA 104 X LG 254 MM; MATERIAL: AL/FIBER; FILTERING RETENTION: 1 U; SPECIFICATION: TH-CD-2572-00-02; SUPPL P/N: 2572-00-02-15B
	EA
	20
	 
	 

	8
	694210
	VALVE: TYPE: DIRT FILTER; VALVE SIZE: DN150; DESIGN RATING: PN16; TEMPERATURE RATING: 543 DEG C; CONNECTION: FLANGE; OPERATED: MANUAL; BODY MATERIAL: GGG-40.3; SPECIFICATION: EN 10204-3.1; SUPPL P/N: 6B857153353466CAE0401EAC37FA5597
	EA
	20
	 
	 

	9
	662688
	BREATHER: TYPE: FILTER; MATERIAL: AL/GLASS; DIMENSIONS: DIA 350 MM; CONNECTION: BSP; SPECIFICATION: TH-CD-2593-00-01; SUPPL P/N: 2593-00-01-12; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	20
	 
	 

	10
	662565
	FILTER, ELEMENT: TYPE: RETURN LINE; DIMENSIONS: DIA 120 X LG 254 MM; MATERIAL: AL/FIBER; FILTERING RETENTION: 2 U; SPECIFICATION: TH-CD-2572-00-02; SUPPL P/N: 2572-00-02-26B
	EA
	20
	 
	 

	11
	662718
	FILTER, ELEMENT: TYPE: RETURN LINE; DIMENSIONS: DIA 100 X LG 250 MM; MATERIAL: BETAMICRON; FILTERING RETENTION: 2 U; SPECIFICATION: TH-CD-2592-00-03; SUPPL P/N: 2592-00-03-19B
	EA
	20
	 
	 

	12
	662559
	ASSEMBLY: TYPE: RETURN LINE FILTER 1; APPLICATION: LIMESTONE HYDRAULIC FEEDER DRIVE; DIMENSIONS: LG 860 MM; SPECIFICATION: TH-CD-2572-00-02; SUPPL P/N: 2572-00-02-26
	EA
	20
	 
	 

	13
	662719
	FILTER, ELEMENT: TYPE: HIGH PRESSURE; DIMENSIONS: DIA 95 X LG 200 MM; MATERIAL: BETAMICRON; FILTERING RETENTION: 1 U; SPECIFICATION: TH-CD-2592-00-03; SUPPL P/N: 2592-00-03-11B
	EA
	20
	 
	 

	14
	695931
	FILTER, FLUID: TYPE: DUAL; FILTERING MEDIA: CARTRIDGES; MATERIAL: PP; DESIGN TYPE: CYL; MOUNTING TYPE: SCREW 2 IN; FILTRATION RATE: 130 U; SUPPL P/N: 70640-004700; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	20
	 
	 

	15
	647816
	FILTER, ELEMENT: TYPE: PNEUMATIC; MATERIAL: MICROGLASS FIBER; FILTERING RETENTION: 0.01 U; SUPPL P/N: 6H10-025; COALESCENT CARTRIDGE FOR HP10N
	EA
	56
	 
	 

	16
	623255
	FILTER, OIL: TYPE: MESH CARTRIDGE; DIMENSIONS: DIA 33 X LG 81 MM; MATERIAL: SS AUSTENITIC; MICRON: 2 U; APPLICATION: H2 SEAL OIL STRAINER; SUPPL P/N: 2Z26A
	EA
	58
	 
	 

	17
	647660
	STRAINER: REFERENCE NO: 112002-000257; 6IN; 4IN SK APOLLO FILTERS POLY BATTERY
	EA
	30
	 
	 

	18
	662707
	ASSEMBLY: TYPE: HP FILTER; APPLICATION: LIMESTONE; SPECIFICATION: TH-CD-2592-00-03; SUPPL P/N: 2592-00-03-11
	EA
	30
	 
	 

	19
	647817
	FILTER, ELEMENT: MATERIAL: CERAMIC; SUPPL P/N: ZZPZFK5-A091
	EA
	30
	 
	 

	20
	687466
	FILTER, ELEMENT: TYPE: CARTRIDGE OIL; DIMENSIONS: DIA 120 MM; MATERIAL: STL; FILTERING RETENTION: 20 U; REFERENCE NO: 300367; SUPPL P/N: 01.NL250.10VG.30.E.P
	EA
	44
	 
	 

	21
	656097
	FILTER, AIR: TYPE: DUST; DIMENSIONS: WD 20M X LG 2M X THK 10MM; MATERIAL: FIBER SYNTHETIC; APPLICATION: CEP VSD DOORS; SHAPE: RECTANGLE; SPECIFICATION: G3:EN779; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	22
	612611
	FILTER, OIL: TYPE: INLINE; DIMENSIONS: ID 106 X OD 210 X LG 287.5 MM; MATERIAL: ALUMINIUM; MICRON: 10; REFERENCE NO: FLND BN/HC 100 FDD 6 C 1.2/-Z
	EA
	30
	 
	 

	23
	664359
	ASSEMBLY: TYPE: HYDRAULIC HIGH PRESSURE FILTER; APPLICATION: STACKER HYDRAULIC SYSTEM 0 1EAD40 AT001; MATERIAL: STL; SPECIFICATION: 0973 0 07404-1; SUPPL P/N: 0973 0 07404-1-22
	EA
	30
	 
	 

	24
	680392
	FILTER, ELEMENT: TYPE: AIR INTAKE; DIMENSIONS: DIA 115 X LG 260 MM; MATERIAL: SSS/GLASSFIBRE; FILTERING RETENTION: 25 U; SUPPL P/N: 2564277215V060; ON EVERY DELIVERY ENSURE DATASHEETS; DRAWINGS AND TEST CERTIFICATES
	EA
	30
	 
	 

	25
	644254
	FILTER, OIL: TYPE: DUPLEX; DIMENSIONS: LG 217.10 MM; MATERIAL: STL; MICRON: 10 U; APPLICATION: FGD OXIBLOWER; PRESSURE RATING: 80 BAR; DRAWING NO: DHF8670-G-INSTR SH1/3 REV 0; SUPPL P/N: 933006-4040; INSERT ORGANIC FIBRES IMPREGNATED AND BONDED WITH EPOXY RESINS SUPPORTED BY MESH; SEALS: NITRIL; FLUROCARBON; ELEMENT HARDWARE: CORROSION PROTECTED CARBON STL; PROOF PRESSURE: 120 BAR; BURST: 380 BAR
	EA
	30
	 
	 

	26
	646207
	FILTER, AIR: SUPPL P/N: FY32-GC; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	27
	641287
	CLOTH: TYPE: FILTER; WIDTH: 3.35 M; LENGTH: 58.265 M; THICKNESS: 1.5 MM; MATERIAL: FIBER; COLOR: BLUE SKY; PACKAGE TYPE: ROLL; SUPPL P/N: HBF-CB-32-011-34
	EA
	30
	 
	 

	28
	646199
	SIEVE: TYPE: DOUBLE FILTER; MESH SIZE: 200 uM; SUPPL P/N: 1204073; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	29
	685809
	FILTER: TYPE: RESIN TRAP; DIMENSIONS: ID 309MM X OD 405MM X LG 1.2M; MATERIAL: SS 316L; MICRON: 0.1 MM; MEDIUM: RESIN; SPECIFICATION: 12S/Q35 X60 FOTI WEDGE WIRE; DRAWING NO: 0.90/173618-02 REV 0; 12 INCH BASKET STRAINER WITH STIFFENER; PLEASE PROVIDE THE FOLLOWING DOCUMENTS: DRAWING, DATA SHEET, MANUAL AND CERTIFICATE
	EA
	30
	 
	 

	30
	637617
	FILTER, AIR: TYPE: CARTRIDGE; DIMENSIONS: DIA 200 X LG 220 MM; MATERIAL: VILEDON REINFORCED; MICRON: 40 U; APPLICATION: AIR ANALYZER; EFFICIENCY: 90 PCT; SHAPE: CYLINDRICAL; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	31
	637612
	FILTER, AIR: TYPE: CARTRIDGE; DIMENSIONS: DIA 250 X LG 340 MM; MATERIAL: VILEDON REINFORCED; MICRON: 40 U; APPLICATION: AIR ANALYZER; EFFICIENCY: 90 PCT; SHAPE: CYLINDRICAL; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	32
	637611
	FILTER, AIR: TYPE: CARTRIDGE; DIMENSIONS: DIA 250 X LG 285 MM; MATERIAL: VILEDON REINFORCED; MICRON: 40 U; APPLICATION: AIR ANALYZER; EFFICIENCY: 90 PCT; SHAPE: CYLINDRICAL; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	33
	647248
	GASKET SET: TYPE: FILTER BODY TO COVER SEALING; APPLICATION: DESUPERHEATING SUPPLY FILTER 10LCE10AT001; DRAWING NO: M76-EA-004 REV 0; T BASKET STRAINER AND ND250 SERIAL 300LBS BW GASKET; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	34
	662535
	ASSEMBLY: TYPE: RETURN LINE FILTER; APPLICATION: TERRACE CONVEYOR HYDRAULIC DRIVE AND CYLINDER EXTENSION SYSTEM; SUPPL P/N: 2570-00-03-21
	EA
	30
	 
	 

	35
	662548
	ASSEMBLY: TYPE: RETURN LINE FILTER; APPLICATION: LIMESTONE HYDRAULIC FEEDER DRIVE; SPECIFICATION: TH-CD-2572-00-02; SUPPL P/N: 2572-00-02-15
	EA
	30
	 
	 

	36
	685807
	FILTER: TYPE: RESIN TRAP; DIMENSIONS: ID 309MM X OD 409MM X LG 1.379M; MATERIAL: SS 316L; MICRON: 0.1 MM; MEDIUM: RESIN; SPECIFICATION: 12S/Q35 X60 FOTI WEDGE WIRE; DRAWING NO: 0.90/173618-01 REV 0; 12 INCH BASKET STRAINER WITH STIFFENER; PLEASE PROVIDE THE FOLLOWING DOCUMENTS: DRAWING, DATA SHEET, MANUAL AND CERTIFICATE
	EA
	30
	 
	 

	37
	685813
	FILTER: TYPE: RESIN TRAP; DIMENSIONS: ID 164MM X OD 218MM X LG 1M; MATERIAL: SS 316L; MICRON: 0.1 MM; MEDIUM: RESIN; SPECIFICATION: 12S/Q25 X36 FOTI WEDGE WIRE; DRAWING NO: 0.90/173618-03 REV 0; 6 INCH BASKET STRAINER WITH STIFFENER; PLEASE PROVIDE THE FOLLOWING DOCUMENTS: DRAWING, DATA SHEET, MANUAL AND CERTIFICATE
	EA
	30
	 
	 

	38
	644173
	FILTER, ELEMENT: TYPE: PRESSURE; REFERENCE NO: 402-50-020; SUPPL P/N: HP065-1-A03AN
	EA
	30
	 
	 

	39
	695126
	FILTER, ELEMENT: TYPE: DRYER; DIMENSIONS: ID 5.5 X OD 6.5 X LG 12 IN; MATERIAL: BOROSILICATE GLASS MICROFIBERS; FILTERING RETENTION: 0.9 U; SPECIFICATION: 712-1H; SUPPL P/N: CCN38435947; END CAPS: CARBON STEEL; SEAL: VITON; CONFIGURATION: SINGLE OPEN END WITH POSITIVE SEALING MECHANISM MEDIA: MICROFORM BOROSILICATE GLASS MICROFIBERS; SUPPORT CORE: CARBON STEEL RETAINER AND CENTER CORE
	EA
	30
	 
	 

	40
	685805
	FILTER: TYPE: RESIN TRAP; DIMENSIONS: WD 218 X LG 750 X HT 164 MM; MATERIAL: SS 316L; MICRON: 0.1 MM; MEDIUM: RESIN; SPECIFICATION: 12S/Q25 X36 FOTI WEDGE WIRE; DRAWING NO: 0.90/173618 REV 0; 6 INCH BASKET STRAINER WITH STIFFENER; PLEASE PROVIDE THE FOLLOWING DOCUMENTS: DRAWING, DATA SHEET, MANUAL AND CERTIFICATE
	EA
	30
	 
	 

	41
	655976
	FILTER, ELEMENT: TYPE: OIL; DIMENSIONS: DIA 60 MM; MATERIAL: MEDIA SYNTHETIC; FILTERING RETENTION: 25 U; SUPPL P/N: RFLD-W/HC661DAS25VE1.0/-Z-A1.5
	EA
	30
	 
	 

	42
	644174
	FILTER, ELEMENT: TYPE: HSU SKID RETURN OIL; REFERENCE NO: 402-51-154; SUPPL P/N: MF100-2-A10HB
	EA
	30
	 
	 

	43
	648245
	FILTER, AIR: TYPE: INLET; DIMENSIONS: ID 243 X OD 344 X HT 286 MM; MATERIAL: PAPER; APPLICATION: PJFFP AERATION BLOWER RAM-208X; MODEL NO: UCD-7; FLOW RATE: 4514M3/HR; SURFACE AREA: 6.270M2; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	44
	662612
	FILTER, AIR: TYPE: AIR CONDITIONING; DIMENSIONS: WD 287 X HT 592 X DP 305 MM; MATERIAL: SYNTHETIC FIBER; MICRON: 10 U; APPLICATION: VENTILATION SYSTEM; SHAPE: RECTANGLE; CLASSIFICATION TYPE: EN779-G4; DRIPACK 25; FRAME MATERIAL: GS; MAX OPERATION TEMP: 66 DEG CVENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	45
	637778
	FILTER, ELEMENT: TYPE: SUCTION; DIMENSIONS: DIA 625 MM; MATERIAL: GLASS FIBER; FILTERING RETENTION: 20 UM; SUPPL P/N: 01.TS.625.25VG.B.P; HORIZONTAL TANK MOUNTED; DATA SHEET SHALL BE SUPPLIED WITH EVERY DELIVERY
	EA
	30
	 
	 

	46
	612650
	FILTER, ELEMENT: TYPE: PLEATED PAPER MESH; DIMENSIONS: DIA 177 MM; MATERIAL: PAPER; FILTERING RETENTION: 3 U; SUPPL P/N: 0005L003P
	EA
	30
	 
	 

	47
	636698
	FILTER, ELEMENT: TYPE: INLINE; DIMENSIONS: WD 94.5 X LG 193.9 X DP 48.1 MM; MATERIAL: SS WIRE MESH; FILTERING RETENTION: 25 U; SPECIFICATION: 1300 R 025 W/HC/K; MODEL NO: RFLW/HC1300CL25V020.8VE.01.X/KB; O-RING: 234; 32 X 5.33MM; QUANTITY: 1
	EA
	30
	 
	 

	48
	637777
	BREATHER: TYPE: FILTER; MATERIAL: GLASS/STL; DIMENSIONS: DIA 55 MM; CONNECTION: G2 IN; SUPPL P/N: 01.NBF.3VLP; FILTRATION EFF D100=3; DATA SHEET SHALL BE SUPPLIED WITH EVERY DELIVERY; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	49
	612615
	FILTER, ELEMENT: TYPE: INLINE; DIMENSIONS: DIA 160 MM; MATERIAL: BETAMICRON; FILTERING RETENTION: 10 U; REFERENCE NO: FLND BN/HC 160DDF 10 C1.2/-Z-A2
	EA
	30
	 
	 

	50
	629630
	FILTER, OIL: TYPE: DUPLEX; DIMENSIONS: ID 135 X OD 189 X LG 990 MM; MATERIAL: CS GALV/SS; MICRON: 10; APPLICATION: BOILER FEED PUMP AIR AND LUBE OIL FILTRATION; MANUF P/N: 321321; 01E.400.10VG.10.EP; REFERENCE NO: 01E.4001.10VG.10.EP; FILTERING MATERIAL FIBREGLASS; MESH SS; FOR USE AT LAC11/12/13AP010; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE); ONLY INTERNORMEN OR EATON ORIGINAL SEGMENTED (4 SEGMENTS) FILTERS WILL BE ACCEPTED; FILTER DATASHEET WILL BE REQUIRED UPON DELIVERY
	EA
	30
	 
	 

	51
	612651
	FILTER, OIL: TYPE: DUPLEX; DIMENSIONS: ID 65 X OD 182 X LG 274 MM; MATERIAL: SS; MICRON: 10; OEM P/N: Pi 3708-12
	EA
	30
	 
	 

	52
	662708
	ASSEMBLY: TYPE: RETURN LINE FILTER; APPLICATION: LIMESTONE; SPECIFICATION: TH-CD-2592-00-03; SUPPL P/N: 2592-00-03-19
	EA
	30
	 
	 

	53
	685817
	FILTER: TYPE: RESIN TRAP; DIMENSIONS: ID 110 X OD 172 X LG 550 MM; MATERIAL: SS 316L; MICRON: 0.1 MM; MEDIUM: RESIN; SPECIFICATION: 12S/Q25 X24 FOTI WEDGE WIRE; DRAWING NO: 0.90/173618-04 REV 0; 4 INCH BASKET STRAINER WITH STIFFENER; PLEASE PROVIDE THE FOLLOWING DOCUMENTS: DRAWING, DATA SHEET, MANUAL AND CERTIFICATE
	EA
	30
	 
	 

	54
	629761
	FILTER, HYDRAULIC: TYPE: SUCTION; MICRON: 20 U; PRESSURE RATING: 3000 PSI; MATERIAL: GLASS FIBER; APPLICATION: HYDRAULIC DRIVE SYSTEM FDR-1; SUPPL P/N: TSW.625.25VG.B-P-PS-8.01.E4-S-100
	EA
	30
	 
	 

	55
	662582
	FILTER, ELEMENT: TYPE: RETURN LINE; DIMENSIONS: DIA 105 MM; MATERIAL: AL/FIBER; FILTERING RETENTION: 0.1 U; SPECIFICATION: TH-CD-2570-00-03; SUPPL P/N: 2570-00-03-21B
	EA
	30
	 
	 

	56
	612664
	FILTER, ELEMENT: TYPE: PI 3111SM-X10; DIMENSIONS: DIA 66 MM; MATERIAL: FIBER CELLULOSE; FILTERING RETENTION: 10 U; OEM P/N: Pi 2111-56
	EA
	30
	 
	 

	57
	648246
	FILTER, AIR: TYPE: F50 1/1 COMPACT POCKET FILTER FINE DUST; DIMENSIONS: SQ 600 X LG 650 MM; MATERIAL: POLYESTER; APPLICATION: FLY ASH SILO BLOWER ROOM; SUPPL P/N: PF50FG0100; ISO EPM10 55PCT CLASS TO ISO 16890; M5 FILTER CLASS; NOMINAL VOLUME FLOW: 4250M3/HR; ENERGY EFFICIENCY CLASS A; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	58
	621943
	FILTER, ELEMENT: TYPE: WIRE-MASH; DIMENSIONS: DIA 114.05 X LG 380 MM; MATERIAL: SS; FILTERING RETENTION: 25 U; SPECIFICATION: MAV23-AT001/002; SUPPL P/N: 0850-R025-W/HC
	EA
	30
	 
	 

	59
	665541
	FILTER, ELEMENT: TYPE: RETURN LINE-2; DIMENSIONS: DIA 150 X LG 300 MM; MATERIAL: AL CAST; FILTERING RETENTION: 10 U; SPECIFICATION: 0973 0 07404-1; SUPPL P/N: 0973 0 07404-1-47
	EA
	30
	 
	 

	60
	621114
	FILTER, ELEMENT: TYPE: BREATHER; DIMENSIONS: DIA 96 X LG 148 MM; MATERIAL: MICROFIBER; FILTERING RETENTION: 10 U; SUPPL P/N: HEK45-20.135-AS-FG010
	EA
	30
	 
	 

	61
	665435
	FILTER, ELEMENT: TYPE: HIGH PRESSURE; DIMENSIONS: DIA 20 X LG 45 MM; MATERIAL: AL CAST; FILTERING RETENTION: HYDRAULIC; SPECIFICATION: 0973 0 07404-1; SUPPL P/N: 0973 0 07404-1-22.1
	EA
	30
	 
	 

	62
	665436
	FILTER, ELEMENT: TYPE: HIGH PRESSURE; DIMENSIONS: DIA 25 X LG 50 MM; MATERIAL: AL CAST; FILTERING RETENTION: HYDRAULIC; SPECIFICATION: 0973 0 07404-1; SUPPL P/N: 0973 0 07404-1-23.1
	EA
	30
	 
	 

	63
	636699
	FILTER, ELEMENT: TYPE: CHANGE OVER INLINE; DIMENSIONS: WD 114 X LG 412.9 X DP 68.1 MM; MATERIAL: SS WIRE MESH; FILTERING RETENTION: 25 U; SPECIFICATION: 0330 R 025 W/HC/K; MODEL NO: RFLDW/HC332FAL25V020.8VE.01.X/KB
	EA
	60
	 
	 

	64
	644792
	FILTER, AIR: TYPE: AIR; DIMENSIONS: SQ 10 MM; MATERIAL: STL; MICRON: 70 U; SHAPE: SQ; SPECIFICATION: SG2000; SUPPL P/N: 0180945802; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	65
	612909
	FILTER, OIL: TYPE: HYDRAULIC; DIMENSIONS: DIA 78 X LG 138 MM; MATERIAL: AL; MICRON: 10 U; APPLICATION: GEARBOX; PRESSURE RATING: 25 BAR
	EA
	450
	 
	 

	66
	647247
	GASKET SET: TYPE: FILTER BODY TO COVER SEALING; APPLICATION: DRP SUCTION FILTER 10LCJ20AT001; DRAWING NO: M76-EA-002 REV 0; T BASKET STRAINER AND ND250 SERIAL 150LBS BW GASKET; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	67
	644794
	FILTER, ELEMENT: TYPE: AIR; DIMENSIONS: DIA 10 X THK 5 MM; MATERIAL: STL; FILTERING RETENTION: 10 U; SUPPL P/N: 925105
	EA
	30
	 
	 

	68
	644795
	FILTER, ELEMENT: TYPE: FUEL; DIMENSIONS: DIA 16 X LG 13 MM; MATERIAL: PAPER; FILTERING RETENTION: 50 U; SUPPL P/N: 31845301
	EA
	30
	 
	 

	69
	629763
	FILTER, HYDRAULIC: TYPE: RETURN LINE; MICRON: 10 U; PRESSURE RATING: 10 BAR; MATERIAL: GLASS FIBER; APPLICATION: HYDRAULIC DRIVE SYSTEM FDR-1; SUPPL P/N: TEF.952.10VG.16.F.S
	EA
	30
	 
	 

	70
	665536
	FILTER, ELEMENT: TYPE: HYDRAULIC; DIMENSIONS: DIA 109 MM; MATERIAL: AL CAST; FILTERING RETENTION: 0.5 U; SPECIFICATION: 0973 0 07404-1; SUPPL P/N: 0973 0 07404-1-57.1
	EA
	30
	 
	 

	71
	612663
	FILTER, OIL: TYPE: DUPLEX; DIMENSIONS: ID 66 X OD 168 X LG 278 MM; MATERIAL: AL; MICRON: 10 U; OEM P/N: Pi 2111-56
	EA
	30
	 
	 

	72
	654190
	FILTER, ELEMENT: TYPE: INSERT; DIMENSIONS: DIA 90 X LG 400 MM; MATERIAL: SS WIRE MESH; FILTERING RETENTION: 45 U; REFERENCE NO: BFD50.140.420/DN50; SUPPL P/N: 1940175
	EA
	30
	 
	 

	73
	662566
	FILTER, ELEMENT: TYPE: SUCTION LINE; DIMENSIONS: DIA 100 MM; MATERIAL: AL/FIBER; FILTERING RETENTION: 0.3 U; SPECIFICATION: TH-CD-2572-00-02; SUPPL P/N: 2572-00-02-24B
	EA
	30
	 
	 

	74
	583433
	FILTER, AIR: TYPE: REGULATOR; DIMENSIONS: 243X118X68 MM; MATERIAL: SINTERED POLYPROPOLENE; MICRON: 40 U; MANUF P/N: 4424-50; B73G-3GK-AD3-RMN; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	75
	664361
	ASSEMBLY: TYPE: HYDRAULIC HIGH PRESSURE FILTER 2; APPLICATION: STACKER HYDRAULIC SYSTEM 0 1EAD40 AT002; MATERIAL: STL; SPECIFICATION: 0973 0 07404-1; SUPPL P/N: 0973 0 07404-1-23
	EA
	30
	 
	 

	76
	665537
	FILTER, ELEMENT: TYPE: HYDRAULIC; DIMENSIONS: DIA 150 MM; MATERIAL: AL CAST; FILTERING RETENTION: 0.5 U; SPECIFICATION: 0973 0 07404-1; SUPPL P/N: 0973 0 07404-1-56.1
	EA
	30
	 
	 

	77
	662396
	ASSEMBLY: TYPE: HIGH PRESSURE FILTER; APPLICATION: TERRACE CONVEYOR HYDRAULIC DRIVE AND CYLINDER EXTENSION SYSTEM; SUPPL P/N: 2570-00-03-04
	EA
	30
	 
	 

	78
	692154
	FILTER, AIR: TYPE: AEROSART CARTRIDGE; DIMENSIONS: 20 IN; MATERIAL: PTFE; MICRON: 02 U; APPLICATION: GTM; OEM P/N: 5152507T2 E C; PLEASE PROVIDE THE FOLLOWING MATERIAL WITH DRAWINGS, MANUALS AND DATA SHEET; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	50
	 
	 

	79
	695798
	FILTER, OIL: TYPE: CONTROL; DIMENSIONS: DIA 80 X LG 145 MM; MATERIAL: STAINLESS STEEL/GLASSFIBRE; MICRON: 10 U; APPLICATION: BFP VORECON; PRESSURE RATING: 32 BAR; SUPPL P/N: 206.00938910
	EA
	50
	 
	 

	80
	645356
	FILTER, ELEMENT: TYPE: DISPOSABLE; SUPPL P/N: 909-151500
	EA
	30
	 
	 

	81
	645357
	FILTER, ELEMENT: SUPPL P/N: 909-153500
	EA
	30
	 
	 

	82
	645358
	FILTER, ELEMENT: SUPPL P/N: 909-164500
	EA
	30
	 
	 

	83
	568166
	FILTER, ELEMENT: TYPE: PRESSURE; DIMENSIONS: ID 90 X OD 90 X LG 400; MATERIAL: GLASS FIBRE; FILTERING RETENTION: 10 U; MANUF P/N: 01.E.450.10VG.30.E.P; INTERNORMAN; STACKER HPU HIGH PRESSURE IN LINE FILTER
	EA
	30
	 
	 

	84
	680358
	FILTER, HYDRAULIC: TYPE: OIL; MICRON: 10 U; PRESSURE RATING: 30 BAR; MATERIAL: GLASS FIBRE; APPLICATION: COAL STOCK YARD DRUM RECLAIMERS; SUPPL P/N: R928006971; SERIES: 350
	EA
	50
	 
	 

	85
	620667
	FILTER, ELEMENT: TYPE: OIL; DIMENSIONS: ID 115 X OD 330 X HT 68 MM; MATERIAL: SS WIRE MESH; FILTERING RETENTION: 25 U; SPECIFICATION: 0660R025W/HC; REFERENCE NO: E7215-1-04-15-WHC; APPLICATION: MILL LUB OIL SYSTEM; FOR USE IN MILL GEARBOX
	EA
	30
	 
	 

	86
	665538
	FILTER, ELEMENT: TYPE: HYDRAULIC; DIMENSIONS: DIA 155 MM; MATERIAL: AL CAST; FILTERING RETENTION: 0.5 U; SPECIFICATION: 0973 0 07404-1; SUPPL P/N: 0973 0 07404-1-47.1
	EA
	30
	 
	 

	87
	629764
	FILTER, HYDRAULIC: TYPE: BREATHER; MICRON: 55 U; PRESSURE RATING: 10 BAR; MATERIAL: PAPER; APPLICATION: HYDRAULIC DRIVE SYSTEM FDR-1; SUPPL P/N: NBF.55.3VL.III
	EA
	30
	 
	 

	88
	662580
	SWITCH, PRESSURE: TYPE: FILTER BLOCK; RANGE: -1 TO 2.5 BAR; POTENTIAL: 125-250 V; CURRENT: 3 A; ACTION: SPDT; CONNECTION: 1/2 IN; CONTACT ARRANGEMENT: 1NO; APPLICATION: TERRACE CONVEYOR HYDRAULIC DRIVE AND CYLINDER EXTENSION SYSTEM; SPECIFICATION: TH-CD-2570-00-03; SUPPL P/N: 2570-00-03-21A
	EA
	30
	 
	 

	89
	643295
	FILTER, FUEL: SUPPL P/N: 65.05510-5020B
	EA
	30
	 
	 

	90
	662549
	SWITCH, PRESSURE: TYPE: FILTER BLOCK; RANGE: -1 TO 2.5 BAR; POTENTIAL: 125-250 V; CURRENT: 3 A; ACTION: SPDT; CONNECTION: 1/4 IN-NPT; CONTACT ARRANGEMENT: NO; APPLICATION: LIMESTONE HYDRAULIC FEEDER DRIVE; SPECIFICATION: TH-CD-2572-00-02; SUPPL P/N: 2572-00-02-15A
	EA
	30
	 
	 

	91
	647815
	FILTER, ELEMENT: TYPE: UNIVERSAL; MATERIAL: PVDF; VITON GLASS; FILTERING RETENTION: 0.1 U; SUPPL P/N: 90F0016; WITH ULTRA-FINE GLASS-FIBRE FILTER ELEMENT
	EA
	30
	 
	 

	92
	644791
	FILTER, FUEL: TYPE: DIESEL; DIMENSIONS: ID 47 X OD 65 X LG 95 MM; MATERIAL: PAPER; MICRON: 50 U; SUPPL P/N: X00042421
	EA
	30
	 
	 

	93
	666243
	FILTER, AIR: TYPE: VENT; DIMENSIONS: WD 10 MM; MATERIAL: SYNTHETIC FIBRE; APPLICATION: CEP VSD DOOR FILTERS (TRANSFORMER SECTION; VSD SERIAL NO: 3BHB90500017); SHAPE: RECTANGULAR; SUPPL P/N: 3BHB021419R0304; THE SET INCLUDES FOLLOWING ITEMS: R0341 1834X674; R0342 1839X700; R0343 1258X674;  12.08.2013/GI; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	94
	662611
	FILTER, AIR: TYPE: AIR CONDITIONING; DIMENSIONS: SQ 592 X THK 305 MM; MATERIAL: SYNTHETIC FIBER; MICRON: 10 U; APPLICATION: VENTILATION SYSTEM; SHAPE: SQUARE; CLASSIFICATION TYPE: EN779-G4; DRIPACK 25; FRAME MATERIAL: GS; MAX OPERATION TEMP: 66 DEG C; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	95
	613151
	FILTER, OIL: TYPE: DUPLEX; DIMENSIONS: ID 72 X OD 140 X LG 248 MM; MATERIAL: SS MESH; MICRON: 10 U; APPLICATION: OIL SEAL; PRESSURE RATING: 40 BAR; OEM P/N: 40FLD0060G10-A00-00X0.8-NOVOAZ-SO
	EA
	30
	 
	 

	96
	583354
	VENTILATOR: TYPE: FAN/FILTER UNIT; DIMENSIONS: 323 X 12.5 MM; CAPACITY: 22.05 DM3; MANUF P/N: SK3327.107; 700-720 M3/H; 230V; PANEL; RAL7035; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	97
	615063
	FILTER, OIL: TYPE: HYDRAULIC; DIMENSIONS: DIA 78 X LG 138 MM; MATERIAL: CELLULOSE/GLASS FIBER; MICRON: 10 U; APPLICATION: GEARBOX; PRESSURE RATING: 25 BAR; REFERENCE NO: 256-7373020; 3/4'' 16UNF THREAD
	EA
	30
	 
	 

	98
	666244
	FILTER, AIR: TYPE: VENT; DIMENSIONS: WD 10 X LG 55 MM; MATERIAL: SYNTHETIC FIBRE; APPLICATION: CEP VSD DOOR FILTERS (TRANSFORMER SECTION; VSD SERIAL NO: 3BHB90500017); SHAPE: RECTANGULAR; SUPPL P/N: 3BHB021419R3500; CONVERTER SET INCLUDES FOLLOWING ITEMS: R3501 230X738; R3502 1839X648; R3503 1839X698; R3504 1839X277; 12.08.2013/GI; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	99
	665701
	FILTER: TYPE: Y; DIMENSIONS: LG 1 IN; MATERIAL: STL; MICRON: 500 U; MEDIUM: WATER; SPECIFICATION: Y222P; SUPPL P/N: 149B-5161; DRAWINGS; DATASHEET AND MANUALS REQUIRED ON EVERY DELIVERY
	EA
	30
	 
	 

	100
	621518
	FILTER, ELECTRONIC: TYPE: SURGE PROTECTION; POTENTIAL: 230 VAC; SPECIFICATION: SFP1-20; SUPPL P/N: V1002870
	EA
	30
	 
	 

	101
	645227
	FILTER, ELEMENT: SPECIFICATION: MPF100-2-AG3/P10NB/MF100-2-P10NB; OEM P/N: HTGD481154P0010, OEM: GE STEAM POWER SERVICE; DRAWING NO: 032-139/CPL. REV 0
	EA
	70
	 
	 

	102
	643296
	FILTER, AIR: SUPPL P/N: 65.08304-6005; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	103
	612103
	FILTER, OIL: TYPE: COALESCER CARTRIDGE; DIMENSIONS: DIA 152 MM X LG 1.1 M; MATERIAL: MESH VELVET; MICRON: 20 U; APPLICATION: TURBINE CENTER LINE/AUXILIARIES; PRESSURE RATING: 75 PSI; SUPPL P/N: CAA43-5; PURIFYING; OPERATION TEMPERATURE: 115DEG C; SPECIFICATION: EI 1581; FIFTH EDITION; CATEGORY C
	EA
	170
	 
	 

	104
	623758
	KIT: TYPE: FILTER SEALS; APPLICATION: DUPLEX FILTER UNIT PI3708-12; COMPRISING: EPDM 830.504.7; FPM 830.505.4; NBR 830.506.2
	EA
	30
	 
	 

	105
	613150
	FILTER, AIR: TYPE: FINE; DIMENSIONS: DIA 150 X LG 610 MM; MATERIAL: GLASS FIBER; MICRON: 1 U; APPLICATION: AIR CONDITIONING; SHAPE: SQ; OEM P/N: 3CPM24246-90; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	106
	24799
	FILTER, AIR: TYPE: INLINE; DIMENSIONS: HT 195 MM; MATERIAL: GLASS; REFERENCE NO: F602-4; PORT SIZE 1/2 INCHVENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	#N/A
	 
	 

	107
	637618
	FILTER, ELEMENT: TYPE: CARTRIDGE; DIMENSIONS: DIA 6 X LG 60 IN; MATERIAL: POLYPROPYLENE; FILTERING RETENTION: 5 U; SPECIFICATION: MPP2/5/60; REFERENCE NO: 2522M-D10-00-00-01/2
	EA
	6000
	 
	 

	108
	640217
	FILTER, AIR: TYPE: POCKET; DIMENSIONS: LG 600 X HT 600 X DP 650 MM; MATERIAL: COTTON POLYESTER; MICRON: 3-10 U; APPLICATION: SILO BLOWER ROOM; EFFICIENCY: 30-35 PCT; REFERENCE NO: 0 7 8ETP10/20 AT001; SUPPL P/N: VILEDON F50; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	109
	621113
	FILTER, HYDRAULIC: TYPE: OIL; MICRON: 10 U; PRESSURE RATING: 170 KPA; MATERIAL: GLASS FIBER MICRO; APPLICATION: HYDRAULIC DRIVE SSC OIL RETURN LINE; SUPPL P/N: HEK0S20.122-AS-FG010; DIMENSIONS: ID 28.8 X OD 70 X LG 145.3 MM
	EA
	30
	 
	 

	110
	574030
	FILTER, ELEMENT: TYPE: BREATHER; DIMENSIONS: DIA 70MM X HT 35MM; MATERIAL: MICROFIBER; FILTERING RETENTION: 10 U; MANUF P/N: HB70-A-8; OIL TANK FILLER CAP
	EA
	30
	 
	 

	111
	640209
	FILTER, AIR: TYPE: INLET; DIMENSIONS: DIA 400 X LG 350 MM; MATERIAL: POLYESTER MESH REINFORCED; MICRON: 10 U; APPLICATION: AEROSLIDE AERATION FAN; SHAPE: CIRCULAR; REFERENCE NO: 1-6 ETP10 AN001-AN002; SERIES 7; PRE FILTER; DUST PARTICLES LARGER THAN 10 MICRON; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	112
	662398
	FILTER, ELEMENT: TYPE: HIGH PRESSURE; DIMENSIONS: SQ 60 X LG 30 MM; MATERIAL: STL; FILTERING RETENTION: 0.1 U; SUPPL P/N: 2570-00-03-04-B
	EA
	30
	 
	 

	113
	659112
	FILTER, AIR: TYPE: SINTERED; DIMENSIONS: DIA 55 MM; MATERIAL: ZINC DIE-CASTING; MICRON: 40 U; APPLICATION: PJFFP; REFERENCE NO: LF-1/2-D-MIDI; SUPPL P/N: 153578; WITH CENTRIFUGAL SEPERATOR; WITH METAL BOWL GUARD; PNEUMATIC CONNECTION: PORT 1 AND 2 G1/2; STANDARD: ISO 8573-1:2010 (7:8:4); VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	114
	576700
	FILTER, ELECTRONIC: TYPE: TWO STAGE GENERAL PERFORMANCE EMI; POTENTIAL: 250VAC; 50/60HZ; FREQUENCY: 0-400 HZ; SPECIFICATION: UL 1283; CSA 22.2 NO.8 1986; IEC/EN 60939; CURRENT: 1 TO 20A AT 40 DEG C; OEM P/N: FN660-16/03, OEM: GE STEAM POWER SERVICE; 1 PHASE; HIGH DIFFERENTIAL AND COMMON MODE ATTENUATION; TEMPERATURE RANGE: -25 TO 100 DEG C
	EA
	30
	 
	 

	115
	639696
	FILTER, AIR: TYPE: ELEMENT; DIMENSIONS: WD 595 X LG 786 MM; MATERIAL: FIBER SYNTHETIC; MICRON: 10 U; APPLICATION: MILL SEAL AIR FAN FILTER; EFFICIENCY: 90 PCT; SHAPE: RECTANGULAR; SUPPL P/N: FL220; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	116
	635434
	FILTER, ELEMENT: TYPE: BREATHER; DIMENSIONS: DIA 98 X LG 145 MM; MATERIAL: GLASS FIBER MICRO; FILTERING RETENTION: 10 U; SPECIFICATION: HF650-20.180-AS-FG010; SUPPL P/N: HHC02727-FG010; APPLICATION: TANK FILLER CAP; SPIN ON TYPE; 3/4 CONNECTION; MUST PASS ISO4572 TEST
	EA
	30
	 
	 

	117
	574046
	FILTER, ELEMENT: TYPE: HYDRAULIC; DIMENSIONS: ID X OD 95 X LG 180 MM; MATERIAL: GLASS FIBER MICRO; FILTERING RETENTION: 10 U; MANUF P/N: HEK50-20.180-FG010-B; FOR IKRON HF650-20.180 FILTER; BUNA SEAL
	EA
	30
	 
	 

	118
	574036
	FILTER, ELEMENT: TYPE: AIR; DIMENSIONS: OD 98 X LG 145 MM; MATERIAL: RESIN TREATED MICRO PAPER; FILTERING RETENTION: 10 U; MANUF P/N: CS05AN; TYPE SPIN ON; 3/4 INCH CONNECTION
	EA
	30
	 
	 

	119
	574029
	FILTER, ELEMENT: TYPE: HYDRAULIC; DIMENSIONS: ID 25.5MM X OD 46.5MM X LG 87MM; MATERIAL: GLASS FIBER MICRO; FILTERING RETENTION: 25 U; MANUF P/N: HFK85-20.80-AS-FG025-LC-B; FOR IKRON HF760-20.080 FILTER
	EA
	72
	 
	 

	120
	616630
	FILTER, ELEMENT: TYPE: AIR BREATHER; DIMENSIONS: ID 81 X OD 117.5 X LG 100 MM; MATERIAL: PAPER; FILTERING RETENTION: 3 U; CONNECTION DIA: 73
	EA
	30
	 
	 

	121
	612612
	FILTER, OIL: TYPE: INLINE; DIMENSIONS: ID 68.2 X OD 75 X LG 182 MM; MATERIAL: ALUMINIUM; MICRON: 6; REFERENCE NO: FLND BN/HC 160DDF 10 C 1.2/-Z-A2
	EA
	30
	 
	 

	122
	644882
	FAN, ELECTRIC: TYPE: FILTER; SIZE: SQ 152 X THK 89 MM; POTENTIAL: 220 VDC 22 W; CURRENT: 0.4 A; VOLUME RATING: 67 M3/HR; DIRECTION: BLOWING; SUPPL P/N: GHV1500220
	EA
	30
	 
	 

	123
	662653
	BREATHER: TYPE: FILTER; MATERIAL: AL/GLASS; DIMENSIONS: DIA 320 MM; CONNECTION: BSP; SPECIFICATION: TH-CD-2599-00-00; SUPPL P/N: 2599-00-00-12; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	124
	639697
	FILTER, AIR: TYPE: ELEMENT; DIMENSIONS: WD 20 MM; MATERIAL: PAPER; MICRON: 10 U; APPLICATION: MILL HYDRAULIC OIL TANK/BREATHER; EFFICIENCY: HIGH; SHAPE: ANNULAR; SUPPL P/N: 0007-L010P; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	125
	612107
	FILTER, AIR: TYPE: SUCTION; DIMENSIONS: ID 180 X OD 292 X LG 145 MM; MATERIAL: MESH VELVET; MICRON: 35 U; APPLICATION: TURBINE CENTER LINE/AUXILIARIES; EFFICIENCY: HIGH; SHAPE: CYLINDRICAL; SUPPL P/N: FA5528.2; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	126
	659101
	CARTRIDGE: TYPE: FILTER; MATERIAL: PE; APPLICATION: ASH HANDLING PLANT PJFFP; REFERENCE NO: LFP-MIDI-40M; SUPPL P/N: 363667; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	50
	 
	 

	127
	655541
	FILTER, HYDRAULIC: TYPE: CHANGE OVER VALVE; MICRON: 10 U; PRESSURE RATING: 10 BAR; MATERIAL: GLASS FIBER; APPLICATION: MILLING; SUPPL P/N: RFD240/10U/R010BN4HC/-B6; DIA 60MM
	EA
	30
	 
	 

	128
	621517
	FILTER, ELECTRONIC: TYPE: MAINS; POTENTIAL: 250 VAC; CURRENT: 10 A; SUPPL P/N: V1000790
	EA
	30
	 
	 

	129
	612106
	FILTER, HYDRAULIC: TYPE: OIL; MICRON: 10 U; PRESSURE RATING: 21 BAR; MATERIAL: MICROGLASS; APPLICATION: TURBINE CENTER LINE/AUXILIARIES; SUPPL P/N: HP0651A10ANP01; STRUCTURE: CARTRIDGE; CERTIFICATION: ISO9001
	EA
	30
	 
	 


	               The total of the Prices
	


Part 3: Scope of Work

	Document reference
	Title
	No of pages

	
	This cover page
	1

	C3.1
	Purchaser’s Goods Information
	

	C3.2
	Supplier’s Goods Information
(insert at award stage or delete if not applicable)
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	


C3.1: purchaser’s goods information
Contents

1Part 3: Scope of Work


2C3.1: Purchaser’s Goods Information


41
Overview and purpose of the goods and services


42
Specification and description of the goods


42.1
Purchaser’s design


42.2
Procedure for submission and acceptance of Supplier’s design


42.3
Other requirements of the Supplier’s design


52.4
Use of Supplier’s design


52.5
Manufacture & fabrication


52.6
Factory acceptance testing (FAT)


52.7
Other tests and inspections and commissioning in place of use


52.8
Operating manuals and maintenance schedules


53
Supply Requirements


64
Specification of the services to be provided


65
Constraints on how the Supplier Provides the Goods


65.1
Programming constraints


65.2
Work to be done by the Delivery Date


65.3
Marking the goods


65.4
Constraints at the delivery place and place of use


65.5
Cooperating with Others


75.6
Services & other things to be provided by the Purchaser or Supplier


75.7
Management meetings


75.8
Documentation control


85.9
Health and safety risk management


85.10
Environmental constraints and management


85.11
Quality


85.12
Invoicing and payment


85.13
Insurance provided by the Purchaser


95.14
Contract change management


95.15
Provision of bonds and guarantees


95.16
Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier


96
Procurement


96.1
Subcontracting


96.1.1
Preferred subcontractors


96.1.2
Limitations on subcontracting


96.1.3
Spares and consumables


106.1.4
Other requirements related to procurement


106.1.5
Cataloguing requirements


107
List of drawings


107.1
Drawings issued by the Purchaser


11C3.2
Supplier’s Goods Information




1
Overview and purpose of the goods and services
Supply and deliver of FGD Absorber Recycle Pumps for a period of five years for Kusile Power Station for a period of five years for Kusile Power Station 
2
Specification and description of the goods

2.1    Detailed specification
	Item No
	Material Number
	Detailed Description
	UOM
	Quantity
	Unit Price
	Price

	1
	662692
	FAN: TYPE: FILTER UNIT; DIMENSIONS: DIA 215 MM; VOLUME RATING: 2 M3/S; MATERIAL: PLASTIC; SPECIFICATION: TH-CD-2592-00-03; DRIVER: MOTOR; SUPPL P/N: 2592-00-03-28
	EA
	20
	 
	 

	2
	655543
	FILTER, ELEMENT: TYPE: CARTRIDGE AIR; SUPPL P/N: SP-KUS-F2-05418
	EA
	58
	 
	 

	3
	644958
	FILTER, FLUID: TYPE: GAS TRANSFER MEMBRANE; FILTERING MEDIA: WATER; MATERIAL: POLYPROPYLENE; FILTERING ELEMENT QUANTITY: 1; DESIGN TYPE: CYL; MODEL NO: G533RP; X50 FIBRE; MICRON IN/OUT: 220/300U; DIMENSIONS: DIA 356MM X LG 1.156M; 14X28 LIQUI-CEL MEMBRANE CONTATOR; SOURCE DOCUMENT REFERENCE: SMC-0114-12-9024VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	20
	 
	 

	4
	644959
	FILTER, FLUID: TYPE: GAS TRANSFER MEMBRANE; FILTERING MEDIA: DEMIN WATER; MATERIAL: POLYPROPYLENE; FILTERING ELEMENT QUANTITY: 1; DESIGN TYPE: CYL; MODEL NO: G531RP; X40 FIBRE; MICRON IN/OUT: 200/300U; DIMENSIONS: DIA 356MM X LG 1.156M; 14X28 LIQUI-CEL MEMBRANE CONTATOR; SOURCE DOCUMENT REFERENCE: SMC-0114-12-9024; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	20
	 
	 

	5
	662537
	ASSEMBLY: TYPE: SUCTION FILTER; APPLICATION: LIMESTONE HYDRAULIC FEEDER DRIVE; SPECIFICATION: TH-CD-2572-00-02; SUPPL P/N: 2572-00-02-24
	EA
	20
	 
	 

	6
	662568
	SWITCH, PRESSURE: TYPE: FILTER BLOCK; RANGE: -1 TO 2.5 BAR; POTENTIAL: 125-250 V; CURRENT: 3 A; ACTION: SPST; CONNECTION: 1/4 IN; CONTACT ARRANGEMENT: 1NC; APPLICATION: LIMESTONE HYDRAULIC FEEDER DRIVE; SPECIFICATION: TH-CD-2572-00-02; SUPPL P/N: 2572-00-02-26A
	EA
	20
	 
	 

	7
	662545
	FILTER, ELEMENT: TYPE: RETURN LINE; DIMENSIONS: DIA 104 X LG 254 MM; MATERIAL: AL/FIBER; FILTERING RETENTION: 1 U; SPECIFICATION: TH-CD-2572-00-02; SUPPL P/N: 2572-00-02-15B
	EA
	20
	 
	 

	8
	694210
	VALVE: TYPE: DIRT FILTER; VALVE SIZE: DN150; DESIGN RATING: PN16; TEMPERATURE RATING: 543 DEG C; CONNECTION: FLANGE; OPERATED: MANUAL; BODY MATERIAL: GGG-40.3; SPECIFICATION: EN 10204-3.1; SUPPL P/N: 6B857153353466CAE0401EAC37FA5597
	EA
	20
	 
	 

	9
	662688
	BREATHER: TYPE: FILTER; MATERIAL: AL/GLASS; DIMENSIONS: DIA 350 MM; CONNECTION: BSP; SPECIFICATION: TH-CD-2593-00-01; SUPPL P/N: 2593-00-01-12; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	20
	 
	 

	10
	662565
	FILTER, ELEMENT: TYPE: RETURN LINE; DIMENSIONS: DIA 120 X LG 254 MM; MATERIAL: AL/FIBER; FILTERING RETENTION: 2 U; SPECIFICATION: TH-CD-2572-00-02; SUPPL P/N: 2572-00-02-26B
	EA
	20
	 
	 

	11
	662718
	FILTER, ELEMENT: TYPE: RETURN LINE; DIMENSIONS: DIA 100 X LG 250 MM; MATERIAL: BETAMICRON; FILTERING RETENTION: 2 U; SPECIFICATION: TH-CD-2592-00-03; SUPPL P/N: 2592-00-03-19B
	EA
	20
	 
	 

	12
	662559
	ASSEMBLY: TYPE: RETURN LINE FILTER 1; APPLICATION: LIMESTONE HYDRAULIC FEEDER DRIVE; DIMENSIONS: LG 860 MM; SPECIFICATION: TH-CD-2572-00-02; SUPPL P/N: 2572-00-02-26
	EA
	20
	 
	 

	13
	662719
	FILTER, ELEMENT: TYPE: HIGH PRESSURE; DIMENSIONS: DIA 95 X LG 200 MM; MATERIAL: BETAMICRON; FILTERING RETENTION: 1 U; SPECIFICATION: TH-CD-2592-00-03; SUPPL P/N: 2592-00-03-11B
	EA
	20
	 
	 

	14
	695931
	FILTER, FLUID: TYPE: DUAL; FILTERING MEDIA: CARTRIDGES; MATERIAL: PP; DESIGN TYPE: CYL; MOUNTING TYPE: SCREW 2 IN; FILTRATION RATE: 130 U; SUPPL P/N: 70640-004700; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	20
	 
	 

	15
	647816
	FILTER, ELEMENT: TYPE: PNEUMATIC; MATERIAL: MICROGLASS FIBER; FILTERING RETENTION: 0.01 U; SUPPL P/N: 6H10-025; COALESCENT CARTRIDGE FOR HP10N
	EA
	56
	 
	 

	16
	623255
	FILTER, OIL: TYPE: MESH CARTRIDGE; DIMENSIONS: DIA 33 X LG 81 MM; MATERIAL: SS AUSTENITIC; MICRON: 2 U; APPLICATION: H2 SEAL OIL STRAINER; SUPPL P/N: 2Z26A
	EA
	58
	 
	 

	17
	647660
	STRAINER: REFERENCE NO: 112002-000257; 6IN; 4IN SK APOLLO FILTERS POLY BATTERY
	EA
	30
	 
	 

	18
	662707
	ASSEMBLY: TYPE: HP FILTER; APPLICATION: LIMESTONE; SPECIFICATION: TH-CD-2592-00-03; SUPPL P/N: 2592-00-03-11
	EA
	30
	 
	 

	19
	647817
	FILTER, ELEMENT: MATERIAL: CERAMIC; SUPPL P/N: ZZPZFK5-A091
	EA
	30
	 
	 

	20
	687466
	FILTER, ELEMENT: TYPE: CARTRIDGE OIL; DIMENSIONS: DIA 120 MM; MATERIAL: STL; FILTERING RETENTION: 20 U; REFERENCE NO: 300367; SUPPL P/N: 01.NL250.10VG.30.E.P
	EA
	44
	 
	 

	21
	656097
	FILTER, AIR: TYPE: DUST; DIMENSIONS: WD 20M X LG 2M X THK 10MM; MATERIAL: FIBER SYNTHETIC; APPLICATION: CEP VSD DOORS; SHAPE: RECTANGLE; SPECIFICATION: G3:EN779; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	22
	612611
	FILTER, OIL: TYPE: INLINE; DIMENSIONS: ID 106 X OD 210 X LG 287.5 MM; MATERIAL: ALUMINIUM; MICRON: 10; REFERENCE NO: FLND BN/HC 100 FDD 6 C 1.2/-Z
	EA
	30
	 
	 

	23
	664359
	ASSEMBLY: TYPE: HYDRAULIC HIGH PRESSURE FILTER; APPLICATION: STACKER HYDRAULIC SYSTEM 0 1EAD40 AT001; MATERIAL: STL; SPECIFICATION: 0973 0 07404-1; SUPPL P/N: 0973 0 07404-1-22
	EA
	30
	 
	 

	24
	680392
	FILTER, ELEMENT: TYPE: AIR INTAKE; DIMENSIONS: DIA 115 X LG 260 MM; MATERIAL: SSS/GLASSFIBRE; FILTERING RETENTION: 25 U; SUPPL P/N: 2564277215V060; ON EVERY DELIVERY ENSURE DATASHEETS; DRAWINGS AND TEST CERTIFICATES
	EA
	30
	 
	 

	25
	644254
	FILTER, OIL: TYPE: DUPLEX; DIMENSIONS: LG 217.10 MM; MATERIAL: STL; MICRON: 10 U; APPLICATION: FGD OXIBLOWER; PRESSURE RATING: 80 BAR; DRAWING NO: DHF8670-G-INSTR SH1/3 REV 0; SUPPL P/N: 933006-4040; INSERT ORGANIC FIBRES IMPREGNATED AND BONDED WITH EPOXY RESINS SUPPORTED BY MESH; SEALS: NITRIL; FLUROCARBON; ELEMENT HARDWARE: CORROSION PROTECTED CARBON STL; PROOF PRESSURE: 120 BAR; BURST: 380 BAR
	EA
	30
	 
	 

	26
	646207
	FILTER, AIR: SUPPL P/N: FY32-GC; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	27
	641287
	CLOTH: TYPE: FILTER; WIDTH: 3.35 M; LENGTH: 58.265 M; THICKNESS: 1.5 MM; MATERIAL: FIBER; COLOR: BLUE SKY; PACKAGE TYPE: ROLL; SUPPL P/N: HBF-CB-32-011-34
	EA
	30
	 
	 

	28
	646199
	SIEVE: TYPE: DOUBLE FILTER; MESH SIZE: 200 uM; SUPPL P/N: 1204073; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	29
	685809
	FILTER: TYPE: RESIN TRAP; DIMENSIONS: ID 309MM X OD 405MM X LG 1.2M; MATERIAL: SS 316L; MICRON: 0.1 MM; MEDIUM: RESIN; SPECIFICATION: 12S/Q35 X60 FOTI WEDGE WIRE; DRAWING NO: 0.90/173618-02 REV 0; 12 INCH BASKET STRAINER WITH STIFFENER; PLEASE PROVIDE THE FOLLOWING DOCUMENTS: DRAWING, DATA SHEET, MANUAL AND CERTIFICATE
	EA
	30
	 
	 

	30
	637617
	FILTER, AIR: TYPE: CARTRIDGE; DIMENSIONS: DIA 200 X LG 220 MM; MATERIAL: VILEDON REINFORCED; MICRON: 40 U; APPLICATION: AIR ANALYZER; EFFICIENCY: 90 PCT; SHAPE: CYLINDRICAL; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	31
	637612
	FILTER, AIR: TYPE: CARTRIDGE; DIMENSIONS: DIA 250 X LG 340 MM; MATERIAL: VILEDON REINFORCED; MICRON: 40 U; APPLICATION: AIR ANALYZER; EFFICIENCY: 90 PCT; SHAPE: CYLINDRICAL; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	32
	637611
	FILTER, AIR: TYPE: CARTRIDGE; DIMENSIONS: DIA 250 X LG 285 MM; MATERIAL: VILEDON REINFORCED; MICRON: 40 U; APPLICATION: AIR ANALYZER; EFFICIENCY: 90 PCT; SHAPE: CYLINDRICAL; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	33
	647248
	GASKET SET: TYPE: FILTER BODY TO COVER SEALING; APPLICATION: DESUPERHEATING SUPPLY FILTER 10LCE10AT001; DRAWING NO: M76-EA-004 REV 0; T BASKET STRAINER AND ND250 SERIAL 300LBS BW GASKET; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	34
	662535
	ASSEMBLY: TYPE: RETURN LINE FILTER; APPLICATION: TERRACE CONVEYOR HYDRAULIC DRIVE AND CYLINDER EXTENSION SYSTEM; SUPPL P/N: 2570-00-03-21
	EA
	30
	 
	 

	35
	662548
	ASSEMBLY: TYPE: RETURN LINE FILTER; APPLICATION: LIMESTONE HYDRAULIC FEEDER DRIVE; SPECIFICATION: TH-CD-2572-00-02; SUPPL P/N: 2572-00-02-15
	EA
	30
	 
	 

	36
	685807
	FILTER: TYPE: RESIN TRAP; DIMENSIONS: ID 309MM X OD 409MM X LG 1.379M; MATERIAL: SS 316L; MICRON: 0.1 MM; MEDIUM: RESIN; SPECIFICATION: 12S/Q35 X60 FOTI WEDGE WIRE; DRAWING NO: 0.90/173618-01 REV 0; 12 INCH BASKET STRAINER WITH STIFFENER; PLEASE PROVIDE THE FOLLOWING DOCUMENTS: DRAWING, DATA SHEET, MANUAL AND CERTIFICATE
	EA
	30
	 
	 

	37
	685813
	FILTER: TYPE: RESIN TRAP; DIMENSIONS: ID 164MM X OD 218MM X LG 1M; MATERIAL: SS 316L; MICRON: 0.1 MM; MEDIUM: RESIN; SPECIFICATION: 12S/Q25 X36 FOTI WEDGE WIRE; DRAWING NO: 0.90/173618-03 REV 0; 6 INCH BASKET STRAINER WITH STIFFENER; PLEASE PROVIDE THE FOLLOWING DOCUMENTS: DRAWING, DATA SHEET, MANUAL AND CERTIFICATE
	EA
	30
	 
	 

	38
	644173
	FILTER, ELEMENT: TYPE: PRESSURE; REFERENCE NO: 402-50-020; SUPPL P/N: HP065-1-A03AN
	EA
	30
	 
	 

	39
	695126
	FILTER, ELEMENT: TYPE: DRYER; DIMENSIONS: ID 5.5 X OD 6.5 X LG 12 IN; MATERIAL: BOROSILICATE GLASS MICROFIBERS; FILTERING RETENTION: 0.9 U; SPECIFICATION: 712-1H; SUPPL P/N: CCN38435947; END CAPS: CARBON STEEL; SEAL: VITON; CONFIGURATION: SINGLE OPEN END WITH POSITIVE SEALING MECHANISM MEDIA: MICROFORM BOROSILICATE GLASS MICROFIBERS; SUPPORT CORE: CARBON STEEL RETAINER AND CENTER CORE
	EA
	30
	 
	 

	40
	685805
	FILTER: TYPE: RESIN TRAP; DIMENSIONS: WD 218 X LG 750 X HT 164 MM; MATERIAL: SS 316L; MICRON: 0.1 MM; MEDIUM: RESIN; SPECIFICATION: 12S/Q25 X36 FOTI WEDGE WIRE; DRAWING NO: 0.90/173618 REV 0; 6 INCH BASKET STRAINER WITH STIFFENER; PLEASE PROVIDE THE FOLLOWING DOCUMENTS: DRAWING, DATA SHEET, MANUAL AND CERTIFICATE
	EA
	30
	 
	 

	41
	655976
	FILTER, ELEMENT: TYPE: OIL; DIMENSIONS: DIA 60 MM; MATERIAL: MEDIA SYNTHETIC; FILTERING RETENTION: 25 U; SUPPL P/N: RFLD-W/HC661DAS25VE1.0/-Z-A1.5
	EA
	30
	 
	 

	42
	644174
	FILTER, ELEMENT: TYPE: HSU SKID RETURN OIL; REFERENCE NO: 402-51-154; SUPPL P/N: MF100-2-A10HB
	EA
	30
	 
	 

	43
	648245
	FILTER, AIR: TYPE: INLET; DIMENSIONS: ID 243 X OD 344 X HT 286 MM; MATERIAL: PAPER; APPLICATION: PJFFP AERATION BLOWER RAM-208X; MODEL NO: UCD-7; FLOW RATE: 4514M3/HR; SURFACE AREA: 6.270M2; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	44
	662612
	FILTER, AIR: TYPE: AIR CONDITIONING; DIMENSIONS: WD 287 X HT 592 X DP 305 MM; MATERIAL: SYNTHETIC FIBER; MICRON: 10 U; APPLICATION: VENTILATION SYSTEM; SHAPE: RECTANGLE; CLASSIFICATION TYPE: EN779-G4; DRIPACK 25; FRAME MATERIAL: GS; MAX OPERATION TEMP: 66 DEG CVENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	45
	637778
	FILTER, ELEMENT: TYPE: SUCTION; DIMENSIONS: DIA 625 MM; MATERIAL: GLASS FIBER; FILTERING RETENTION: 20 UM; SUPPL P/N: 01.TS.625.25VG.B.P; HORIZONTAL TANK MOUNTED; DATA SHEET SHALL BE SUPPLIED WITH EVERY DELIVERY
	EA
	30
	 
	 

	46
	612650
	FILTER, ELEMENT: TYPE: PLEATED PAPER MESH; DIMENSIONS: DIA 177 MM; MATERIAL: PAPER; FILTERING RETENTION: 3 U; SUPPL P/N: 0005L003P
	EA
	30
	 
	 

	47
	636698
	FILTER, ELEMENT: TYPE: INLINE; DIMENSIONS: WD 94.5 X LG 193.9 X DP 48.1 MM; MATERIAL: SS WIRE MESH; FILTERING RETENTION: 25 U; SPECIFICATION: 1300 R 025 W/HC/K; MODEL NO: RFLW/HC1300CL25V020.8VE.01.X/KB; O-RING: 234; 32 X 5.33MM; QUANTITY: 1
	EA
	30
	 
	 

	48
	637777
	BREATHER: TYPE: FILTER; MATERIAL: GLASS/STL; DIMENSIONS: DIA 55 MM; CONNECTION: G2 IN; SUPPL P/N: 01.NBF.3VLP; FILTRATION EFF D100=3; DATA SHEET SHALL BE SUPPLIED WITH EVERY DELIVERY; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	49
	612615
	FILTER, ELEMENT: TYPE: INLINE; DIMENSIONS: DIA 160 MM; MATERIAL: BETAMICRON; FILTERING RETENTION: 10 U; REFERENCE NO: FLND BN/HC 160DDF 10 C1.2/-Z-A2
	EA
	30
	 
	 

	50
	629630
	FILTER, OIL: TYPE: DUPLEX; DIMENSIONS: ID 135 X OD 189 X LG 990 MM; MATERIAL: CS GALV/SS; MICRON: 10; APPLICATION: BOILER FEED PUMP AIR AND LUBE OIL FILTRATION; MANUF P/N: 321321; 01E.400.10VG.10.EP; REFERENCE NO: 01E.4001.10VG.10.EP; FILTERING MATERIAL FIBREGLASS; MESH SS; FOR USE AT LAC11/12/13AP010; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE); ONLY INTERNORMEN OR EATON ORIGINAL SEGMENTED (4 SEGMENTS) FILTERS WILL BE ACCEPTED; FILTER DATASHEET WILL BE REQUIRED UPON DELIVERY
	EA
	30
	 
	 

	51
	612651
	FILTER, OIL: TYPE: DUPLEX; DIMENSIONS: ID 65 X OD 182 X LG 274 MM; MATERIAL: SS; MICRON: 10; OEM P/N: Pi 3708-12
	EA
	30
	 
	 

	52
	662708
	ASSEMBLY: TYPE: RETURN LINE FILTER; APPLICATION: LIMESTONE; SPECIFICATION: TH-CD-2592-00-03; SUPPL P/N: 2592-00-03-19
	EA
	30
	 
	 

	53
	685817
	FILTER: TYPE: RESIN TRAP; DIMENSIONS: ID 110 X OD 172 X LG 550 MM; MATERIAL: SS 316L; MICRON: 0.1 MM; MEDIUM: RESIN; SPECIFICATION: 12S/Q25 X24 FOTI WEDGE WIRE; DRAWING NO: 0.90/173618-04 REV 0; 4 INCH BASKET STRAINER WITH STIFFENER; PLEASE PROVIDE THE FOLLOWING DOCUMENTS: DRAWING, DATA SHEET, MANUAL AND CERTIFICATE
	EA
	30
	 
	 

	54
	629761
	FILTER, HYDRAULIC: TYPE: SUCTION; MICRON: 20 U; PRESSURE RATING: 3000 PSI; MATERIAL: GLASS FIBER; APPLICATION: HYDRAULIC DRIVE SYSTEM FDR-1; SUPPL P/N: TSW.625.25VG.B-P-PS-8.01.E4-S-100
	EA
	30
	 
	 

	55
	662582
	FILTER, ELEMENT: TYPE: RETURN LINE; DIMENSIONS: DIA 105 MM; MATERIAL: AL/FIBER; FILTERING RETENTION: 0.1 U; SPECIFICATION: TH-CD-2570-00-03; SUPPL P/N: 2570-00-03-21B
	EA
	30
	 
	 

	56
	612664
	FILTER, ELEMENT: TYPE: PI 3111SM-X10; DIMENSIONS: DIA 66 MM; MATERIAL: FIBER CELLULOSE; FILTERING RETENTION: 10 U; OEM P/N: Pi 2111-56
	EA
	30
	 
	 

	57
	648246
	FILTER, AIR: TYPE: F50 1/1 COMPACT POCKET FILTER FINE DUST; DIMENSIONS: SQ 600 X LG 650 MM; MATERIAL: POLYESTER; APPLICATION: FLY ASH SILO BLOWER ROOM; SUPPL P/N: PF50FG0100; ISO EPM10 55PCT CLASS TO ISO 16890; M5 FILTER CLASS; NOMINAL VOLUME FLOW: 4250M3/HR; ENERGY EFFICIENCY CLASS A; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	58
	621943
	FILTER, ELEMENT: TYPE: WIRE-MASH; DIMENSIONS: DIA 114.05 X LG 380 MM; MATERIAL: SS; FILTERING RETENTION: 25 U; SPECIFICATION: MAV23-AT001/002; SUPPL P/N: 0850-R025-W/HC
	EA
	30
	 
	 

	59
	665541
	FILTER, ELEMENT: TYPE: RETURN LINE-2; DIMENSIONS: DIA 150 X LG 300 MM; MATERIAL: AL CAST; FILTERING RETENTION: 10 U; SPECIFICATION: 0973 0 07404-1; SUPPL P/N: 0973 0 07404-1-47
	EA
	30
	 
	 

	60
	621114
	FILTER, ELEMENT: TYPE: BREATHER; DIMENSIONS: DIA 96 X LG 148 MM; MATERIAL: MICROFIBER; FILTERING RETENTION: 10 U; SUPPL P/N: HEK45-20.135-AS-FG010
	EA
	30
	 
	 

	61
	665435
	FILTER, ELEMENT: TYPE: HIGH PRESSURE; DIMENSIONS: DIA 20 X LG 45 MM; MATERIAL: AL CAST; FILTERING RETENTION: HYDRAULIC; SPECIFICATION: 0973 0 07404-1; SUPPL P/N: 0973 0 07404-1-22.1
	EA
	30
	 
	 

	62
	665436
	FILTER, ELEMENT: TYPE: HIGH PRESSURE; DIMENSIONS: DIA 25 X LG 50 MM; MATERIAL: AL CAST; FILTERING RETENTION: HYDRAULIC; SPECIFICATION: 0973 0 07404-1; SUPPL P/N: 0973 0 07404-1-23.1
	EA
	30
	 
	 

	63
	636699
	FILTER, ELEMENT: TYPE: CHANGE OVER INLINE; DIMENSIONS: WD 114 X LG 412.9 X DP 68.1 MM; MATERIAL: SS WIRE MESH; FILTERING RETENTION: 25 U; SPECIFICATION: 0330 R 025 W/HC/K; MODEL NO: RFLDW/HC332FAL25V020.8VE.01.X/KB
	EA
	60
	 
	 

	64
	644792
	FILTER, AIR: TYPE: AIR; DIMENSIONS: SQ 10 MM; MATERIAL: STL; MICRON: 70 U; SHAPE: SQ; SPECIFICATION: SG2000; SUPPL P/N: 0180945802; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	65
	612909
	FILTER, OIL: TYPE: HYDRAULIC; DIMENSIONS: DIA 78 X LG 138 MM; MATERIAL: AL; MICRON: 10 U; APPLICATION: GEARBOX; PRESSURE RATING: 25 BAR
	EA
	450
	 
	 

	66
	647247
	GASKET SET: TYPE: FILTER BODY TO COVER SEALING; APPLICATION: DRP SUCTION FILTER 10LCJ20AT001; DRAWING NO: M76-EA-002 REV 0; T BASKET STRAINER AND ND250 SERIAL 150LBS BW GASKET; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	67
	644794
	FILTER, ELEMENT: TYPE: AIR; DIMENSIONS: DIA 10 X THK 5 MM; MATERIAL: STL; FILTERING RETENTION: 10 U; SUPPL P/N: 925105
	EA
	30
	 
	 

	68
	644795
	FILTER, ELEMENT: TYPE: FUEL; DIMENSIONS: DIA 16 X LG 13 MM; MATERIAL: PAPER; FILTERING RETENTION: 50 U; SUPPL P/N: 31845301
	EA
	30
	 
	 

	69
	629763
	FILTER, HYDRAULIC: TYPE: RETURN LINE; MICRON: 10 U; PRESSURE RATING: 10 BAR; MATERIAL: GLASS FIBER; APPLICATION: HYDRAULIC DRIVE SYSTEM FDR-1; SUPPL P/N: TEF.952.10VG.16.F.S
	EA
	30
	 
	 

	70
	665536
	FILTER, ELEMENT: TYPE: HYDRAULIC; DIMENSIONS: DIA 109 MM; MATERIAL: AL CAST; FILTERING RETENTION: 0.5 U; SPECIFICATION: 0973 0 07404-1; SUPPL P/N: 0973 0 07404-1-57.1
	EA
	30
	 
	 

	71
	612663
	FILTER, OIL: TYPE: DUPLEX; DIMENSIONS: ID 66 X OD 168 X LG 278 MM; MATERIAL: AL; MICRON: 10 U; OEM P/N: Pi 2111-56
	EA
	30
	 
	 

	72
	654190
	FILTER, ELEMENT: TYPE: INSERT; DIMENSIONS: DIA 90 X LG 400 MM; MATERIAL: SS WIRE MESH; FILTERING RETENTION: 45 U; REFERENCE NO: BFD50.140.420/DN50; SUPPL P/N: 1940175
	EA
	30
	 
	 

	73
	662566
	FILTER, ELEMENT: TYPE: SUCTION LINE; DIMENSIONS: DIA 100 MM; MATERIAL: AL/FIBER; FILTERING RETENTION: 0.3 U; SPECIFICATION: TH-CD-2572-00-02; SUPPL P/N: 2572-00-02-24B
	EA
	30
	 
	 

	74
	583433
	FILTER, AIR: TYPE: REGULATOR; DIMENSIONS: 243X118X68 MM; MATERIAL: SINTERED POLYPROPOLENE; MICRON: 40 U; MANUF P/N: 4424-50; B73G-3GK-AD3-RMN; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	75
	664361
	ASSEMBLY: TYPE: HYDRAULIC HIGH PRESSURE FILTER 2; APPLICATION: STACKER HYDRAULIC SYSTEM 0 1EAD40 AT002; MATERIAL: STL; SPECIFICATION: 0973 0 07404-1; SUPPL P/N: 0973 0 07404-1-23
	EA
	30
	 
	 

	76
	665537
	FILTER, ELEMENT: TYPE: HYDRAULIC; DIMENSIONS: DIA 150 MM; MATERIAL: AL CAST; FILTERING RETENTION: 0.5 U; SPECIFICATION: 0973 0 07404-1; SUPPL P/N: 0973 0 07404-1-56.1
	EA
	30
	 
	 

	77
	662396
	ASSEMBLY: TYPE: HIGH PRESSURE FILTER; APPLICATION: TERRACE CONVEYOR HYDRAULIC DRIVE AND CYLINDER EXTENSION SYSTEM; SUPPL P/N: 2570-00-03-04
	EA
	30
	 
	 

	78
	692154
	FILTER, AIR: TYPE: AEROSART CARTRIDGE; DIMENSIONS: 20 IN; MATERIAL: PTFE; MICRON: 02 U; APPLICATION: GTM; OEM P/N: 5152507T2 E C; PLEASE PROVIDE THE FOLLOWING MATERIAL WITH DRAWINGS, MANUALS AND DATA SHEET; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	50
	 
	 

	79
	695798
	FILTER, OIL: TYPE: CONTROL; DIMENSIONS: DIA 80 X LG 145 MM; MATERIAL: STAINLESS STEEL/GLASSFIBRE; MICRON: 10 U; APPLICATION: BFP VORECON; PRESSURE RATING: 32 BAR; SUPPL P/N: 206.00938910
	EA
	50
	 
	 

	80
	645356
	FILTER, ELEMENT: TYPE: DISPOSABLE; SUPPL P/N: 909-151500
	EA
	30
	 
	 

	81
	645357
	FILTER, ELEMENT: SUPPL P/N: 909-153500
	EA
	30
	 
	 

	82
	645358
	FILTER, ELEMENT: SUPPL P/N: 909-164500
	EA
	30
	 
	 

	83
	568166
	FILTER, ELEMENT: TYPE: PRESSURE; DIMENSIONS: ID 90 X OD 90 X LG 400; MATERIAL: GLASS FIBRE; FILTERING RETENTION: 10 U; MANUF P/N: 01.E.450.10VG.30.E.P; INTERNORMAN; STACKER HPU HIGH PRESSURE IN LINE FILTER
	EA
	30
	 
	 

	84
	680358
	FILTER, HYDRAULIC: TYPE: OIL; MICRON: 10 U; PRESSURE RATING: 30 BAR; MATERIAL: GLASS FIBRE; APPLICATION: COAL STOCK YARD DRUM RECLAIMERS; SUPPL P/N: R928006971; SERIES: 350
	EA
	50
	 
	 

	85
	620667
	FILTER, ELEMENT: TYPE: OIL; DIMENSIONS: ID 115 X OD 330 X HT 68 MM; MATERIAL: SS WIRE MESH; FILTERING RETENTION: 25 U; SPECIFICATION: 0660R025W/HC; REFERENCE NO: E7215-1-04-15-WHC; APPLICATION: MILL LUB OIL SYSTEM; FOR USE IN MILL GEARBOX
	EA
	30
	 
	 

	86
	665538
	FILTER, ELEMENT: TYPE: HYDRAULIC; DIMENSIONS: DIA 155 MM; MATERIAL: AL CAST; FILTERING RETENTION: 0.5 U; SPECIFICATION: 0973 0 07404-1; SUPPL P/N: 0973 0 07404-1-47.1
	EA
	30
	 
	 

	87
	629764
	FILTER, HYDRAULIC: TYPE: BREATHER; MICRON: 55 U; PRESSURE RATING: 10 BAR; MATERIAL: PAPER; APPLICATION: HYDRAULIC DRIVE SYSTEM FDR-1; SUPPL P/N: NBF.55.3VL.III
	EA
	30
	 
	 

	88
	662580
	SWITCH, PRESSURE: TYPE: FILTER BLOCK; RANGE: -1 TO 2.5 BAR; POTENTIAL: 125-250 V; CURRENT: 3 A; ACTION: SPDT; CONNECTION: 1/2 IN; CONTACT ARRANGEMENT: 1NO; APPLICATION: TERRACE CONVEYOR HYDRAULIC DRIVE AND CYLINDER EXTENSION SYSTEM; SPECIFICATION: TH-CD-2570-00-03; SUPPL P/N: 2570-00-03-21A
	EA
	30
	 
	 

	89
	643295
	FILTER, FUEL: SUPPL P/N: 65.05510-5020B
	EA
	30
	 
	 

	90
	662549
	SWITCH, PRESSURE: TYPE: FILTER BLOCK; RANGE: -1 TO 2.5 BAR; POTENTIAL: 125-250 V; CURRENT: 3 A; ACTION: SPDT; CONNECTION: 1/4 IN-NPT; CONTACT ARRANGEMENT: NO; APPLICATION: LIMESTONE HYDRAULIC FEEDER DRIVE; SPECIFICATION: TH-CD-2572-00-02; SUPPL P/N: 2572-00-02-15A
	EA
	30
	 
	 

	91
	647815
	FILTER, ELEMENT: TYPE: UNIVERSAL; MATERIAL: PVDF; VITON GLASS; FILTERING RETENTION: 0.1 U; SUPPL P/N: 90F0016; WITH ULTRA-FINE GLASS-FIBRE FILTER ELEMENT
	EA
	30
	 
	 

	92
	644791
	FILTER, FUEL: TYPE: DIESEL; DIMENSIONS: ID 47 X OD 65 X LG 95 MM; MATERIAL: PAPER; MICRON: 50 U; SUPPL P/N: X00042421
	EA
	30
	 
	 

	93
	666243
	FILTER, AIR: TYPE: VENT; DIMENSIONS: WD 10 MM; MATERIAL: SYNTHETIC FIBRE; APPLICATION: CEP VSD DOOR FILTERS (TRANSFORMER SECTION; VSD SERIAL NO: 3BHB90500017); SHAPE: RECTANGULAR; SUPPL P/N: 3BHB021419R0304; THE SET INCLUDES FOLLOWING ITEMS: R0341 1834X674; R0342 1839X700; R0343 1258X674;  12.08.2013/GI; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	94
	662611
	FILTER, AIR: TYPE: AIR CONDITIONING; DIMENSIONS: SQ 592 X THK 305 MM; MATERIAL: SYNTHETIC FIBER; MICRON: 10 U; APPLICATION: VENTILATION SYSTEM; SHAPE: SQUARE; CLASSIFICATION TYPE: EN779-G4; DRIPACK 25; FRAME MATERIAL: GS; MAX OPERATION TEMP: 66 DEG C; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	95
	613151
	FILTER, OIL: TYPE: DUPLEX; DIMENSIONS: ID 72 X OD 140 X LG 248 MM; MATERIAL: SS MESH; MICRON: 10 U; APPLICATION: OIL SEAL; PRESSURE RATING: 40 BAR; OEM P/N: 40FLD0060G10-A00-00X0.8-NOVOAZ-SO
	EA
	30
	 
	 

	96
	583354
	VENTILATOR: TYPE: FAN/FILTER UNIT; DIMENSIONS: 323 X 12.5 MM; CAPACITY: 22.05 DM3; MANUF P/N: SK3327.107; 700-720 M3/H; 230V; PANEL; RAL7035; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	97
	615063
	FILTER, OIL: TYPE: HYDRAULIC; DIMENSIONS: DIA 78 X LG 138 MM; MATERIAL: CELLULOSE/GLASS FIBER; MICRON: 10 U; APPLICATION: GEARBOX; PRESSURE RATING: 25 BAR; REFERENCE NO: 256-7373020; 3/4'' 16UNF THREAD
	EA
	30
	 
	 

	98
	666244
	FILTER, AIR: TYPE: VENT; DIMENSIONS: WD 10 X LG 55 MM; MATERIAL: SYNTHETIC FIBRE; APPLICATION: CEP VSD DOOR FILTERS (TRANSFORMER SECTION; VSD SERIAL NO: 3BHB90500017); SHAPE: RECTANGULAR; SUPPL P/N: 3BHB021419R3500; CONVERTER SET INCLUDES FOLLOWING ITEMS: R3501 230X738; R3502 1839X648; R3503 1839X698; R3504 1839X277; 12.08.2013/GI; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	99
	665701
	FILTER: TYPE: Y; DIMENSIONS: LG 1 IN; MATERIAL: STL; MICRON: 500 U; MEDIUM: WATER; SPECIFICATION: Y222P; SUPPL P/N: 149B-5161; DRAWINGS; DATASHEET AND MANUALS REQUIRED ON EVERY DELIVERY
	EA
	30
	 
	 

	100
	621518
	FILTER, ELECTRONIC: TYPE: SURGE PROTECTION; POTENTIAL: 230 VAC; SPECIFICATION: SFP1-20; SUPPL P/N: V1002870
	EA
	30
	 
	 

	101
	645227
	FILTER, ELEMENT: SPECIFICATION: MPF100-2-AG3/P10NB/MF100-2-P10NB; OEM P/N: HTGD481154P0010, OEM: GE STEAM POWER SERVICE; DRAWING NO: 032-139/CPL. REV 0
	EA
	70
	 
	 

	102
	643296
	FILTER, AIR: SUPPL P/N: 65.08304-6005; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	103
	612103
	FILTER, OIL: TYPE: COALESCER CARTRIDGE; DIMENSIONS: DIA 152 MM X LG 1.1 M; MATERIAL: MESH VELVET; MICRON: 20 U; APPLICATION: TURBINE CENTER LINE/AUXILIARIES; PRESSURE RATING: 75 PSI; SUPPL P/N: CAA43-5; PURIFYING; OPERATION TEMPERATURE: 115DEG C; SPECIFICATION: EI 1581; FIFTH EDITION; CATEGORY C
	EA
	170
	 
	 

	104
	623758
	KIT: TYPE: FILTER SEALS; APPLICATION: DUPLEX FILTER UNIT PI3708-12; COMPRISING: EPDM 830.504.7; FPM 830.505.4; NBR 830.506.2
	EA
	30
	 
	 

	105
	613150
	FILTER, AIR: TYPE: FINE; DIMENSIONS: DIA 150 X LG 610 MM; MATERIAL: GLASS FIBER; MICRON: 1 U; APPLICATION: AIR CONDITIONING; SHAPE: SQ; OEM P/N: 3CPM24246-90; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	106
	24799
	FILTER, AIR: TYPE: INLINE; DIMENSIONS: HT 195 MM; MATERIAL: GLASS; REFERENCE NO: F602-4; PORT SIZE 1/2 INCHVENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	#N/A
	 
	 

	107
	637618
	FILTER, ELEMENT: TYPE: CARTRIDGE; DIMENSIONS: DIA 6 X LG 60 IN; MATERIAL: POLYPROPYLENE; FILTERING RETENTION: 5 U; SPECIFICATION: MPP2/5/60; REFERENCE NO: 2522M-D10-00-00-01/2
	EA
	6000
	 
	 

	108
	640217
	FILTER, AIR: TYPE: POCKET; DIMENSIONS: LG 600 X HT 600 X DP 650 MM; MATERIAL: COTTON POLYESTER; MICRON: 3-10 U; APPLICATION: SILO BLOWER ROOM; EFFICIENCY: 30-35 PCT; REFERENCE NO: 0 7 8ETP10/20 AT001; SUPPL P/N: VILEDON F50; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	109
	621113
	FILTER, HYDRAULIC: TYPE: OIL; MICRON: 10 U; PRESSURE RATING: 170 KPA; MATERIAL: GLASS FIBER MICRO; APPLICATION: HYDRAULIC DRIVE SSC OIL RETURN LINE; SUPPL P/N: HEK0S20.122-AS-FG010; DIMENSIONS: ID 28.8 X OD 70 X LG 145.3 MM
	EA
	30
	 
	 

	110
	574030
	FILTER, ELEMENT: TYPE: BREATHER; DIMENSIONS: DIA 70MM X HT 35MM; MATERIAL: MICROFIBER; FILTERING RETENTION: 10 U; MANUF P/N: HB70-A-8; OIL TANK FILLER CAP
	EA
	30
	 
	 

	111
	640209
	FILTER, AIR: TYPE: INLET; DIMENSIONS: DIA 400 X LG 350 MM; MATERIAL: POLYESTER MESH REINFORCED; MICRON: 10 U; APPLICATION: AEROSLIDE AERATION FAN; SHAPE: CIRCULAR; REFERENCE NO: 1-6 ETP10 AN001-AN002; SERIES 7; PRE FILTER; DUST PARTICLES LARGER THAN 10 MICRON; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	112
	662398
	FILTER, ELEMENT: TYPE: HIGH PRESSURE; DIMENSIONS: SQ 60 X LG 30 MM; MATERIAL: STL; FILTERING RETENTION: 0.1 U; SUPPL P/N: 2570-00-03-04-B
	EA
	30
	 
	 

	113
	659112
	FILTER, AIR: TYPE: SINTERED; DIMENSIONS: DIA 55 MM; MATERIAL: ZINC DIE-CASTING; MICRON: 40 U; APPLICATION: PJFFP; REFERENCE NO: LF-1/2-D-MIDI; SUPPL P/N: 153578; WITH CENTRIFUGAL SEPERATOR; WITH METAL BOWL GUARD; PNEUMATIC CONNECTION: PORT 1 AND 2 G1/2; STANDARD: ISO 8573-1:2010 (7:8:4); VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	114
	576700
	FILTER, ELECTRONIC: TYPE: TWO STAGE GENERAL PERFORMANCE EMI; POTENTIAL: 250VAC; 50/60HZ; FREQUENCY: 0-400 HZ; SPECIFICATION: UL 1283; CSA 22.2 NO.8 1986; IEC/EN 60939; CURRENT: 1 TO 20A AT 40 DEG C; OEM P/N: FN660-16/03, OEM: GE STEAM POWER SERVICE; 1 PHASE; HIGH DIFFERENTIAL AND COMMON MODE ATTENUATION; TEMPERATURE RANGE: -25 TO 100 DEG C
	EA
	30
	 
	 

	115
	639696
	FILTER, AIR: TYPE: ELEMENT; DIMENSIONS: WD 595 X LG 786 MM; MATERIAL: FIBER SYNTHETIC; MICRON: 10 U; APPLICATION: MILL SEAL AIR FAN FILTER; EFFICIENCY: 90 PCT; SHAPE: RECTANGULAR; SUPPL P/N: FL220; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	116
	635434
	FILTER, ELEMENT: TYPE: BREATHER; DIMENSIONS: DIA 98 X LG 145 MM; MATERIAL: GLASS FIBER MICRO; FILTERING RETENTION: 10 U; SPECIFICATION: HF650-20.180-AS-FG010; SUPPL P/N: HHC02727-FG010; APPLICATION: TANK FILLER CAP; SPIN ON TYPE; 3/4 CONNECTION; MUST PASS ISO4572 TEST
	EA
	30
	 
	 

	117
	574046
	FILTER, ELEMENT: TYPE: HYDRAULIC; DIMENSIONS: ID X OD 95 X LG 180 MM; MATERIAL: GLASS FIBER MICRO; FILTERING RETENTION: 10 U; MANUF P/N: HEK50-20.180-FG010-B; FOR IKRON HF650-20.180 FILTER; BUNA SEAL
	EA
	30
	 
	 

	118
	574036
	FILTER, ELEMENT: TYPE: AIR; DIMENSIONS: OD 98 X LG 145 MM; MATERIAL: RESIN TREATED MICRO PAPER; FILTERING RETENTION: 10 U; MANUF P/N: CS05AN; TYPE SPIN ON; 3/4 INCH CONNECTION
	EA
	30
	 
	 

	119
	574029
	FILTER, ELEMENT: TYPE: HYDRAULIC; DIMENSIONS: ID 25.5MM X OD 46.5MM X LG 87MM; MATERIAL: GLASS FIBER MICRO; FILTERING RETENTION: 25 U; MANUF P/N: HFK85-20.80-AS-FG025-LC-B; FOR IKRON HF760-20.080 FILTER
	EA
	72
	 
	 

	120
	616630
	FILTER, ELEMENT: TYPE: AIR BREATHER; DIMENSIONS: ID 81 X OD 117.5 X LG 100 MM; MATERIAL: PAPER; FILTERING RETENTION: 3 U; CONNECTION DIA: 73
	EA
	30
	 
	 

	121
	612612
	FILTER, OIL: TYPE: INLINE; DIMENSIONS: ID 68.2 X OD 75 X LG 182 MM; MATERIAL: ALUMINIUM; MICRON: 6; REFERENCE NO: FLND BN/HC 160DDF 10 C 1.2/-Z-A2
	EA
	30
	 
	 

	122
	644882
	FAN, ELECTRIC: TYPE: FILTER; SIZE: SQ 152 X THK 89 MM; POTENTIAL: 220 VDC 22 W; CURRENT: 0.4 A; VOLUME RATING: 67 M3/HR; DIRECTION: BLOWING; SUPPL P/N: GHV1500220
	EA
	30
	 
	 

	123
	662653
	BREATHER: TYPE: FILTER; MATERIAL: AL/GLASS; DIMENSIONS: DIA 320 MM; CONNECTION: BSP; SPECIFICATION: TH-CD-2599-00-00; SUPPL P/N: 2599-00-00-12; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	124
	639697
	FILTER, AIR: TYPE: ELEMENT; DIMENSIONS: WD 20 MM; MATERIAL: PAPER; MICRON: 10 U; APPLICATION: MILL HYDRAULIC OIL TANK/BREATHER; EFFICIENCY: HIGH; SHAPE: ANNULAR; SUPPL P/N: 0007-L010P; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	125
	612107
	FILTER, AIR: TYPE: SUCTION; DIMENSIONS: ID 180 X OD 292 X LG 145 MM; MATERIAL: MESH VELVET; MICRON: 35 U; APPLICATION: TURBINE CENTER LINE/AUXILIARIES; EFFICIENCY: HIGH; SHAPE: CYLINDRICAL; SUPPL P/N: FA5528.2; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	30
	 
	 

	126
	659101
	CARTRIDGE: TYPE: FILTER; MATERIAL: PE; APPLICATION: ASH HANDLING PLANT PJFFP; REFERENCE NO: LFP-MIDI-40M; SUPPL P/N: 363667; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE).
	EA
	50
	 
	 

	127
	655541
	FILTER, HYDRAULIC: TYPE: CHANGE OVER VALVE; MICRON: 10 U; PRESSURE RATING: 10 BAR; MATERIAL: GLASS FIBER; APPLICATION: MILLING; SUPPL P/N: RFD240/10U/R010BN4HC/-B6; DIA 60MM
	EA
	30
	 
	 

	128
	621517
	FILTER, ELECTRONIC: TYPE: MAINS; POTENTIAL: 250 VAC; CURRENT: 10 A; SUPPL P/N: V1000790
	EA
	30
	 
	 

	129
	612106
	FILTER, HYDRAULIC: TYPE: OIL; MICRON: 10 U; PRESSURE RATING: 21 BAR; MATERIAL: MICROGLASS; APPLICATION: TURBINE CENTER LINE/AUXILIARIES; SUPPL P/N: HP0651A10ANP01; STRUCTURE: CARTRIDGE; CERTIFICATION: ISO9001
	EA
	30
	 
	 


3
Supply Requirements

Batches to be clearly mark and packed according to the spares list.

4
Specification of the services to be provided

· All equipment / spares must be on time as per the required order date

· Transported by road on suppliers’ costs and transport

· End user to be informed when delivery will be done at least 2 days upfront

· No deliveries to be done on a Weekend or Public holiday unless if emergency occurred.

· Pellets to convey the batch must be strong enough to carry and transport load at anytime

5
Constraints on how the Supplier Provides the Goods

5.1
Programming constraints 

· All equipment / spares must be on time of required order date

· Transported by road on suppliers’ costs and transport

· End user to be informed when delivery will be done at least 2 days upfront

· No deliveries to be done on a Weekend or public holiday

· Lead time to be negotiated upfront to ensure that end user will receive materials, spares / equipment in time

· All vehicles to be roadworthy

5.2
Work to be done by the Delivery Date

a) Supplier to quote the Eskom official purchase order in all delivery notes and invoices.

b) Goods must be well packaged and safely transported.

c) Eskom to acknowledge receipt of goods by stamping and signing the delivery note of the supplier upon delivery, rejected items to be communicated after the official quality inspection is done on site by the end-user of the product rejected goods must be collected and the correct goods supplied within 14 days.

d) Only goods as specified will be accepted. Any goods which do not meet the specifications will be

rejected.
5.3
Marking the goods 

· Batches to be clearly mark and packed according to the price list or scope

Packaging and Marking must be as follows:

· Name of the supplier, Purchase Order Number, Material Number and Quantity Delivered
5.4
Constraints at the delivery place and place of use

Supplier must follow Eskom Life Saving Rules when delivering goods to Kusile Power Station.

1. Open, Isolate, test, earth, bond and insulate before touching

No person may work on any electrical network unless:

He has been trained and authorised as competent for the task to be done.

2. Hook up at heights

3. Buckle up

No person may drive any vehicle on Eskom business and/or on Eskom premises:

Unless the driver and all passengers are wearing seat belts

4. Be Sober

No person is allowed to work under the influence of drugs and/or alcohol

5. Ensure you have permit to work

When an authorization limitation exists, no person shall work without the required permit to work

Kusile Power Station Delivery Times are as follows:

08h00 A.M to 15h30 P.M Monday to Thursday

08h00 A.M to 11h30 A.M on Friday

No delivery will be accepted afterhours, weekends and including public holidays, unless the Supplier has requested the Purchaser in writing prior to delivery to site.
5.5
Cooperating with Others (N/A)

· Not applicable since it’s a supply and delivery contract.

5.6
Services & other things to be provided by the Purchaser or Supplier
	Number
	Title
	Issued by

	Act 85 of 93
	Occupational Health and Safety Act
	Supplier

	
	Spares Insurance Cover
	Supplier


5.7
Management meetings

Regular meetings of a general nature may be convened and chaired by the Supply Manager as follows:

	Title and purpose
	Approximate time & interval
	Location
	Attendance by:

	Overall contract progress and feedback
	On quotably basis
	MS Teams
	Purchaser, Supplier, and ___

	Rejected items
	As per delivery
	On site
	


Meetings of a specialist nature may be convened as specified elsewhere in this Goods Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the manufacture of the goods.  Records of these meetings shall be submitted to the Supply Manager by the person convening the meeting within five days of the meeting.  

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.  

The meeting between both parties will be arranged and conducted whenever the need arises

5.8
Documentation control

·    Each instruction, certificate, submission, proposal, record, acceptance, notification,   

         reply and other communication which this contract requires is communicated in a form    

         which can be read, copied and recorded. 

•
Writing is in the Language of this contract. 

•
All reports to be discussed, compiled and handed in to the Eskom  

•
All communications must be printed and filed in the Purchaser file

All goods being delivered to Kusile Main Stores must have the following

· Unique delivery note number per delivery

· Delivery note – must have unique number, date of delivery, items that were delivered (material number,

· material short description, serial number and quantity delivered)

· Delivery note must come in duplicates so that one copy is kept at kusile Main Stores and other goes with the supplier for invoicing purposes and as a proof of delivery

· Both copies of delivery notes to be stamped with receiving stamp of Kusile Power Station and must have the signature of the receiver as well as the receiving personnel full manes

5.9
Health and safety risk management

The Supplier shall at all times comply with the health and safety requirements prescribed by law as they may apply to the services (Act 85 of 93 Occupational Health and Safety Act)

The Supplier shall, when coming on site, abide by the Life Saving Rules.  These will be provided by the Purchaser on the start of the contract.  The Supplier shall also abide by the Safety, Health and Environmental Specifications for Suppliers Procedure, which will also be provided by the Purchaser.  

The Purchaser follows an accident prevention policy that includes the investigation of all accidents involving personnel and property.  This is done with the intention of introducing control measures to prevent a recurrence of the same incidents. The Supplier will report any incident and accidents to   Power Station immediately when it occurs.  This report does not relieve the Supplier of his legal obligation to report certain incidents to the Department of Labour, or to keep records in terms of the Occupational Health and Safety Act, and Compensation for Occupational Injuries and Diseases Act.

No Eskom employee or Supplier would be allowed to transport passengers on the back of open light delivery vehicles (LDV’s).

It is a legal requirement to provide safe transportation of Eskom and Supplier employees – therefore the following will be enforced:

·  All passengers must be transported in a closed vehicle with proper and adequate seating, fitted with safety belt for the number of passengers to be transported.  NO passengers may be transported on the back of a light delivery vehicle (LDV) whether open or closed.

· Tools and equipment must be properly secured.

· Only authorised drivers may transport passengers.

· Proof must be submitted on request in terms of valid roadworthiness of the vehicle/s.

· The above must apply to on site and off site transportation of passengers.

The Supplier shall comply with the health and safety requirements stated here

5.10
Environmental constraints and management

The Supplier shall comply with Kusile Power Station environmental management system.  This includes the identification, collection, storage, transportation and disposal of waste.  Hazardous waste shall be disposed off in line with the applicable environmental legislation.  It is important to note that all spillages must be cleaned immediately and reported to the Supply Manager as soon as possible.  It is the responsibility of the polluter to clean all spillages and for the rehabilitation of the polluted land. The clean-up cost is for the Contractor’s account.

5.11
Quality

· Material will go through quality check process before accepted and if not accepted, must be replaced by a new one.

· Materials will be subjected into awaiting quality check within two (2) days.

· Materials not meeting quality requirements will be rejected.

· Supplier will receive MDDA (Materials Delivery Discrepancy Advance) within 24hours of rejection.

· Supplier will be given time to rectify the discrepancy, failure notification of default will be raised.

5.12
Invoicing and payment

Within one week of receiving the goods, the Supplier provides the Purchaser with a tax invoice showing the amount due for payment equal to that stated in the Purchase Order number per batch order.

The Supplier shall address the tax invoice to Purchaser as follows and include on each invoice the following information:

Eskom Holdings SOC Ltd

Finance Department (Account Payable Section)

          Kusile Power Station

          Hartebeesfontein Farm R545  

          Kendal/Balmoral Road WITBANK and include on it the following information:

· Name and address of the Supplier; 

· The contract number and title;

· Supplier’s VAT registration number;

· The Employer’s VAT registration number 4740101508;

· Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

· Purchase Order number as provided by the Employer on monthly basis

Add procedures for invoice submission and payment (e. g. electronic payment instructions)

5.13
Insurance provided by the Purchaser
Below is information with regards to the Eskom Insurance Management Service, for in case the     

Contractor has any questions with regards to insurances:

           Eskom Insurance Management Services (EIMS) Contact Details: 

	Contact Person 
	Contact Number 
	E-mail address 

	Mr Wiseman Khoza 
	+27(0)11 800 6286 
	wiseman.khoza@eskom.co.za 

	Ms Thembi Mabanga 
	+27(0)11 800 6509 
	thembi.mabanga@eskom.co.za

	Ms Mamosidi Katane-Mathibela 
	+27(0)11 800 6380 
	KataneE@eskom.co.za

	Ms Beverley Jemaine-Cain 
	+27(0)11 800 3331 
	Beverley.jemaine-cain@eskom.co.za

	Mr Krishan Chaithoo 
	+27(0)11 800 4455 
	Krishan.chaithoo@eskom.co.za

	Mr Velaphi Mabaso 
	+27 (0)11 800 3836 
	velaphi.mabaso@eskom.co.za 


EIMS General Information: 
Fax Number: +27 11 507 5758 

Telephone Number: +27 11 800 4466

5.14
Contract change management 

N/A

5.15
Provision of bonds and guarantees

N/A

5.16
Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier
Will be done as per Eskom assessments, invoicing and payment procedure and requirements.

6
Procurement

6.1
Subcontracting

6.1.1
Preferred subcontractors

N/A
6.1.2
Limitations on subcontracting

N/A

6.1.3
Spares and consumables

· All materials, spares / equipment will be done via the Eskom Procurement system

6.1.4
Other requirements related to procurement

N/A

6.1.5
Cataloguing requirements by the Supplier

Provide data sheet

7
List of drawings

7.1
Drawings issued by the Purchaser

As per Employer specifications

C3.2
Supplier’s Goods Information

· As per Employer specifications

· All relevant documentation to be handed in as requested from end user / Supply Manager
This section could also be compiled as a separate file.



Note:  Some drawings may contain both Goods Information and Site Information.

	Drawing  number
	Revision
	Title

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


� This total is required by the Purchaser for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.


� Available from Engineering Contract Strategies Tel 011 803 3008 Fax 011 803 3009, www.ecs.co.za.


� International Chamber of Commerce, Incoterms 2000, Paris, January 2000.







DOCUMENT C2.1
PAGE xiv
PRICING DATA




Part C2: Pricing Data
PAGE 1
C2 SC3 Cover

