{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Steel Supplier - Std members"],"not_rendered":{"images":2,"defined_names":1},"read":"whole","date_system":"1900"}

{"sheet":"Steel Supplier - Std members","index":0,"n_rows":40,"n_cols":18,"rows_kept":40,"merged":[[0,0,3,1],[0,2,6,8],[0,9,1,9],[0,10,1,10],[0,11,8,14],[2,9,3,9],[2,10,3,10],[4,0,4,1],[4,9,5,9],[4,10,5,10],[5,0,5,1],[6,0,6,1],[7,0,7,1],[7,2,7,8],[8,0,8,10],[8,15,8,17],[9,1,9,3],[9,4,9,5],[10,0,13,0],[10,1,13,3],[10,4,10,5],[10,7,13,7],[10,8,13,8],[10,9,13,9],[10,11,13,11],[10,12,13,12],[10,13,13,13],[10,15,13,15],[10,16,13,16],[10,17,13,17],[11,4,11,5],[12,4,12,5],[13,4,13,5],[14,0,17,0],[14,1,17,3],[14,4,14,5],[14,7,17,7],[14,8,17,8],[14,9,17,9],[14,11,17,11],[14,12,17,12],[14,13,17,13],[14,15,21,15],[14,16,21,16],[14,17,21,17],[15,4,15,5],[16,4,16,5],[17,4,17,5],[18,0,21,0],[18,1,21,3],[18,4,18,5],[18,7,21,7],[18,8,21,8],[18,9,21,9],[18,11,21,11],[18,12,21,12],[18,13,21,13],[19,4,19,5],[20,4,20,5],[21,4,21,5],[22,0,22,6],[22,9,22,10],[22,11,33,14],[23,0,23,10],[24,0,24,10],[25,0,25,3],[25,4,25,8],[25,9,27,10],[26,0,26,3],[26,4,26,8],[27,0,27,3],[27,4,27,8],[28,0,28,10],[29,0,29,10],[30,0,30,4],[30,5,30,8],[30,9,30,10],[31,0,31,1],[31,2,31,4],[31,6,31,8],[32,0,32,1],[32,2,32,4],[32,6,32,8],[33,0,33,1],[33,2,33,4],[33,6,33,8],[39,9,39,19],[67,0,67,10],[69,0,69,10],[70,0,70,10],[71,0,71,10],[72,0,72,10],[73,0,73,10],[74,0,74,10],[75,0,75,10],[76,0,76,10],[77,0,77,10]]}
[null,null,"Engineering Tender Evaluation Returnables\n\n(for a Transmission Powerline)",{"$nulls":6},"Template No.:","240-141157901"]
[]
[{"$nulls":9},"Template Rev:",3]
[]
["Transmission",{"$nulls":8},"Document No:",{"$f":"#REF!","v":{"$error":"#REF!"}}]
["Engineering"]
["Line Engineering Services (LES)",{"$nulls":8},"Document Rev:",1]
["Name of Project:",null,"Standard Sizes Galvanised Angle Steel Members",{"$nulls":6},"Name of Supplier:"]
[{"$nulls":15},"Evaluator Details"]
["Item","Description",null,null,"Select Option",null,"Tick Applicable Box","Score by Evaluator","Weighting","Details to be submitted in engineering returnables file","Comments from Evaluator","Maximum allowable score","Actual subsection percentage","Is item mandatory for evaluation?","Subsection allowable score","Evaluator Name","Date of evaluation","Signature"]
[1,"Details of the Raw (black) steel supplier -  (mill certificate required with every delivery) ",null,null,"No Information provided (0)",{"$nulls":3},{"v":0.35,"d":"35%"},"Provide:\n- Mill certificate of black steel to be supplied\n",null,5,{"$f":"H11/L11","v":0},null,0]
[{"$nulls":4},"Information provided is not related to Eskom Tx or Dx tower member steel (2)",{"$nulls":9},2]
[{"$nulls":14},4]
[{"$nulls":4},"Information provided is related to Eskom Tx or Dx tower member steel (5)",{"$nulls":9},5]
[2,"Member Size list that (list of angle sizes available)",null,null,"No list provided (0)",{"$nulls":3},{"v":0.35,"d":"35%"},"Provide:\n- spreadsheet of member sizes available vs member sizes requested by Eskom",null,5,{"$f":"H15/L15","v":0},"mandatory",0]
[{"$nulls":4},"Partial member list provided (up to 50% of Eskom member list) (2)",{"$nulls":9},2]
[{"$nulls":4},"Partial member list provided (between 50% and 80% of Eskom member list) (4)",{"$nulls":9},4]
[{"$nulls":4},"Majority members on Eskom member list provided (between 80% and 100%)",{"$nulls":9},5]
[3,"Galvanising. Bath size ( to cater for max member length ) or letter from galvaniser (maximum member length - 9m) - refer to Galvanising standard",null,null,"No Information provided (0)",{"$nulls":3},{"v":0.3,"d":"30%"},"Provide:\n- size of galvanizing bath and/or\n- letter from galvinising company detailing the size of galvanizing bath",null,5,{"$f":"H19/L19","v":0},"mandatory",0]
[{"$nulls":4},"Can galvanise members up to 3m in length (2)",{"$nulls":9},2]
[{"$nulls":4},"Can galvanise members up to 6m in length (4)",{"$nulls":9},4]
[{"$nulls":4},"Can galvanise members up to 9m in length (5)",{"$nulls":9},5]
[{"$nulls":7},{"$f":"SUMPRODUCT(M11:M22,I11:I22)","v":{"v":0,"d":"0%"}},{"$f":"SUM(I11:I22)","v":{"v":1,"d":"100%"}}]
["A total of 70% or higher is required to pass this engineering tender evaluation"]
[" \nThe following four rows must be completed by the supplier:\n\nI HAVE READ AND UNDERSTOOD ALL REQUIREMENTS OF THE TRANSMISSION LINE SPECIFICATION, TRMSCAAC AND OTHER REFERENCED SPECIFICATIONS AND AGREE TO ADHERE TO THESE.\n\n"]
["Technical Tender Returnable Form Populated by:",{"$nulls":8},"SUPPLIER STAMP HERE"]
["Signature:"]
["Date: "]
[]
["Overall Comments by Evaluator:\n\n\n"]
["Evaluated by",{"$nulls":4},"Reviewed by",{"$nulls":3},"Authorised by"]
["Name of Evaluator:",{"$nulls":4},"Name of Reviewer:",{"$nulls":3},"Name of Authoriser:"]
["Signature of Evaluator:",{"$nulls":4},"Signature of Reviewer:",{"$nulls":3},"Signature of Authoriser:"]
["Date: ",{"$nulls":4},"Date: ",{"$nulls":3},"Date: "]
[]
[]
[]
[]
[{"$nulls":9},"Clarification Notes:"]
[{"$nulls":9},"1. Not providing the supporting documentation will result in a ZERO \nscore for that particular question."]