Agricultural Research Council-NRE

141 Cresswell Rd

Weavind Park

Pretoria,

0184

Request for quotation: ‪‪‪ RFQ-015993

Closing Date: 	14 July 2023 at 11h00

VAT Registration:	4140125313

Delivery address: Agricultural Research Council-NRE

141 Cresswell Rd

Weavind Park

Pretoria,

0184

COMPULSORY SITE BRIEFING – 6 July 2023 AT 11:00

Request for Quotation For Building Maintenance Services- Mechanization lab

Good day

- You are kindly requested to submit a written quotation to the Agricultural Research Council per the specifications below.

Quotations with Supporting Documentation must be emailed to:

KubhekaL@arc.agric.za

  - SPECIFICATION IN DETAIL

SPECIFICATION FOR BUILDING MAINTENANCE SERVICES

- The Scope of Work This (RFQ) is for the repairs of the existing interior building at the ARC facility at Silverton. This includes replacing the ceiling and re-painting the interior and tiling. The table below gives details of the space to be cleaned and renovated. Specific area; Description of work; Total square/meter. Control room. Floor tiling; Ceramic tiling; 50m2. Ceiling; Replacement of ceiling and paint in white.; 50m2. Lighting; Double 5Ft open channel T8 fitting for LED; 8 each. SPARE PART ROOM. Wall; Repainting of wall; 19m2. Ceiling; Replacement of ceiling and paint in white.; 35m2. Roof; Waterproof the leaking roof. Tractor Bin. Wall; Repaint walls with cream colour; 100m2. Floor; Repaint with green colour; 80m2. Ceiling; Repair and paint. Lighting; Eurolux vapour proof 664Mm Led 25W 4000K or Equivalent; 4 each. Roof; Waterproof the leaking roof; 100m2. ## Construction Industry Development Board The contractor must be certified as CIBD 1 GB and more. # Specification Structural: - Renovation of the ceiling, replace the peeling ceiling inside the affected areas and re-paint. - Brush paint walls where applicable with one coat of paint similar or equivalent to Plascon Enamel Strictly to manufacturer’s specifications and instructions Colour: Cream light ## Compliance - Service provider must be conversant with and adhere to the National Building Regulations Act No 103 of 1997 - Service provider must be conversant with and adhere to the Health and Safety Act 85 of 1993 - Service provider must be conversant with and adhere to the Electricity Act 1984 (Act 41 of 1984) as amended. ## Reference - At least three reference letters must be provided as proof of previous successful building renovation work (letter of completion) # Contingency Contingency= 10% of the quoted price. NOTE: contingency amount belongs to ARC therefore it’s within our right to use # Requirement - Compulsory Site Briefing.

- Request for Quotation Evaluation stages:

The RFQ evaluation process consists of several stages that are applicable according to the merits of the request for quotation, as defined below:

Stage 1: Specification

Stage 2: Evaluation Criteria: National Treasury Procurement Regulations

Stage 3: Agricultural Research Council Preference Points System – See Annexure A

Requirements (Administrative):

(NOTE: Failure to provide the below-listed documents May lead to disqualification)

| Description | Comply | Do Not Comply |
| --- | --- | --- |
| 1. Submission of original valid Tax pin or a Tax Compliance Status letter issued by the South African Revenue Services |  |  |
| 2. Completed and signed Standard Bidding Documents (SBD) forms included in the bid document. (SBD 4) |  |  |
| 3. Local Content Declaration (Annex C, D, E) |  |  |
| 4. Only bidders registered on the Central Supplier Database (CSD) will be considered. Bidders shall include the CSD registration number with the bid proposal. |  |  |
| 5. BBBEE Certificate or Sworn Affidavit |  |  |

- All price quotations that have a rand value of R 2000.00 to below R 50,000,000.00, including VAT, will be evaluated by applying the 80/20 principle as prescribed by the Preferential Procurement Policy Framework Act 5 of 2000 and its Regulations of 2022, and the Agricultural Research Council Preference Points System – See Annexure A

- Administrative Requirements:

  - Valid Tax Pin issued by the South African Revenue Services (SARS).

  - Only bidders registered on the Central Supplier Database (CSD) will be considered.  Bidders shall include the CSD registration number with the bid proposal.

  - Completed and signed Standard Bidding Documents (SBD) forms included in the bid document.

  - The above-specified goods/services should be delivered/rendered to the at above-mentioned delivery address.

  - The particulars of the guarantee that will apply to the goods quoted for, with regards to the period and extent of the warranty must be clearly stated.  Where services are required, service providers must submit documentation pertaining to the relevant experience.

  - Your written quotation must be emailed to   KubhekaL@arc.agric.za

  - Standard conditions:

  - The validity of the quotations must be indicated.

  - Prices quoted should be in South African Rand and inclusive of VAT costs such as delivery, insurance, taxes, etc.

  - No price adjustments or amendments of the delivery particulars contained in paragraph 2 will be considered by the ARC.

  - The supplier accepts full responsibility for the proper execution and fulfilment of the goods/services quoted.

  - ARC reserves the right to accept or reject any special terms and conditions that may qualify the goods/services to be provided.

  - Quotes should be submitted on official letterhead and duly signed.

  - Goods and services should be supplied/rendered upon receipt of a purchase order from the ARC.

  - The General Conditions of Contract issued by the National Treasury are applicable.

  - The ARC supply chain management code of conduct is applicable.

  - Standard Bidding Documents (SBD) forms must be signed and returned together with the quotation Failure to comply will result in the disqualification of your quotation.

  - Your quotation must indicate the delivery date.

  - The ARC reserves the right to do due diligence on the quotations.

  - The ARC reserves the right to benchmark prices quoted.

Thank you in anticipation.

Ms. Lungile Kubheka

Tel: +27 (0)12 842- 4078

Email: KubhekaL@arc.agric.za

Supply Chain Management: ARC