NEC3 Supply Contract (SC3)

| Between | ESKOM HOLDINGS SOC Ltd (Reg No. 2002/015527/30) |  |
| --- | --- | --- |
| and |  |  |
| for | Supply and Delivery of Bearings to Matimba Power Station over a period of Five years on as and when required basis Insert title of the goods and services |  |
| Contents: |  | No of pages |
| Part C1 | Agreements & Contract Data | [2] |
| Part C2 | Pricing Data | [30] |
| Part C3 | Scope of Work | [37] |
| CONTRACT No. |

# PART C1:	AGREEMENTS & CONTRACT DATA

| Contents: |  | No of pages |
| --- | --- | --- |
| C1.1 | Form of Offer and Acceptance [to be inserted from Returnable Documents at award stage] | [] |
| C1.2a | Contract Data provided by the Purchaser | [] |
| C1.2b | Contract Data provided by the Supplier. [to be inserted from Returnable Documents at award stage] | [] |
| C1.3 | Proforma Guarantees | [] |

C1.1 Form of Offer & Acceptance

## Offer

The Purchaser, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

Supply and Delivery of Bearings to Matimba Power Station over a period of Five years on as and when required basis.

The tenderer, identified in the Offer signature block, has

| either | examined the documents listed in the Tender Data and addenda thereto as listed in the Returnable Schedules, and by submitting this Offer has accepted the Conditions of Tender. |
| --- | --- |
| or | examined the draft contract as listed in the Acceptance section and agreed to provide this Offer. |

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Supplier under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data.

|  | The offered total of the Prices exclusive of VAT is | R |
| --- | --- | --- |
|  | Value Added Tax @ 15% is | R |
|  | The offered total of the amount due inclusive of VAT is | R |
|  | (in words) |  |

This Offer may be accepted by the Purchaser by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Supplier in the conditions of contract identified in the Contract Data.

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| For the tenderer: |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

## Acceptance

By signing this part of this Form of Offer and Acceptance, the Purchaser identified below accepts the tenderer’s Offer.  In consideration thereof, the Purchaser shall pay the Supplier the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Purchaser and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in:

Part C1		Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2		Pricing Data

Part C3		Scope of Work:  Goods Information including Supply Requirements

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Purchaser’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| for the Purchaser | Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Sandton, Johannesburg, 2199 |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

## Schedule of Deviations to be completed by the Purchaser prior to contract award

Note:

- This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.

- The extent of deviations from the tender documents issued by the Purchaser prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

- A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

| No. | Subject | Details |
| --- | --- | --- |
| 1 | N/A | N/A |

By the duly authorised representatives signing this Schedule of Deviations below, the Purchaser and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of Offer and Acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement.

|  | #### For the tenderer: |  | #### For the Purchaser |
| --- | --- | --- | --- |
| Signature |  |  |  |
| Name |  |  |  |
| Capacity |  |  |  |
| On behalf of | (Insert name and address of organisation) |  | Eskom Holdings SOC Ltd, Megawatt Park, Maxwell Drive, Sandton, Johannesburg, 2199 |
| Name & signature of witness |  |  |  |
| Date |  |  |  |

C1.2 SC3 Contract Data

| Clause |  |  | ## Statement |  | ## Data |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  | ## General |  |  |  |  |  |  |  |
|  |  |  | The conditions of contract are the core clauses and the clauses for Options |  | W1 : Dispute Resolution procedure |  |  |  |  |  |
|  |  |  |  |  | X1: Price adjustment for inflation |  |  |  |  |  |
|  |  |  |  |  | X2 Changes in the law X7: Delay damages |  |  |  |  |  |
|  |  |  | of the NEC3 Supply Contract (April 2013) |  | (If the December 2009 edition is to be used delete April 2013 and replace by December 2013) |  |  |  |  |  |
| 10.1 |  |  | The Purchaser is (name): |  | Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa |  |  |  |  |  |
|  |  |  | Address |  | Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg |  |  |  |  |  |
|  |  |  | Tel No. |  |  |  |  |  |  |  |
|  |  |  | F |  |  |  |  |  |  |  |
| 10.1 |  |  | The Supply Manager is (name): |  | Isaac Chiloane |  |  |  |  |  |
|  |  |  | Address |  | Matimba Power Station |  |  |  |  |  |
|  |  |  | Tel |  | 014 763 8443 |  |  |  |  |  |
|  |  |  | Fax |  | N/A |  |  |  |  |  |
|  |  |  | e-mail |  | chiloadi@eskom.co.za |  |  |  |  |  |
| 11.2(13) |  |  | The goods are |  | Bearings |  |  |  |  |  |
| 11.2(13) |  |  | The services are |  | a) Supply and Delivery of Bearings to Matimba Power Station over a period of Five years on as and when required basis |  |  |  |  |  |
| 11.2(14) |  |  | The following matters will be included in the Risk Register |  | - Time: Late Deliveries - Safety: Non-Compliance to Eskom requirement and other requirements - Quality: Non – Compliance to Eskom Quality requirements - Environment: Non-Compliance to environmental compliance obligations. - Other: Skills Development and Localisation. |  |  |  |  |  |
| 11.2(15) |  |  | The Goods Information is in |  | Part 3: Scope of Work and all documents and drawings to which it makes reference. |  |  |  |  |  |
| 11.2(15) |  |  | The Supply Requirements as part of the Goods Information is in |  | Annexure A to this Contract Data |  |  |  |  |  |
| 12.2 |  |  | The law of the contract is the law of |  | the Republic of South Africa |  |  |  |  |  |
| 13.1 |  |  | The language of this contract is |  | English |  |  |  |  |  |
| 13.3 |  |  | The period for reply is |  | 5 working days |  |  |  |  |  |
| ## 2 |  |  | ## The Supplier’s main responsibilities |  | Data required by this section of the core clauses is provided by the Supplier in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |
| ## 3 |  |  | ## Time |  |  |  |  |  |  |  |
| 30.1 |  |  | The starting date is. |  |  |  |  |  |  |  |
| 30.1 |  |  | The delivery date of the goods and services is: |  | Goods shall be delivered as and when required basis over the period of five (5) years. On the dates to be stated in every purchasing order. |  |  |  |  |  |
| 30.2 |  |  | The Supplier does not bring the goods to the Delivery Place more than one week before the Delivery Date. |  | N/A |  |  |  |  |  |
| 31.1 |  |  | The Supplier is to submit a first programme for acceptance within |  | N/A |  |  |  |  |  |
| 32.2 |  |  | The Supplier submits revised programmes at intervals no longer than |  | N/A |  |  |  |  |  |
| ## 4 |  |  | ## Testing and defects |  |  |  |  |  |  |  |
| 42 |  |  | The defects date is |  | 2 weeks after Delivery. |  |  |  |  |  |
| 43.2 |  |  | The defect correction period is |  | 4 weeks |  |  |  |  |  |
|  |  |  | except that the defect correction period for |  | 4 weeks |  |  |  |  |  |
|  |  |  | and the defect correction period for |  | 4 weeks |  |  |  |  |  |
| 42.2 |  |  | The defects access period is |  | 5 days or as agreed by the parties involved |  |  |  |  |  |
|  |  |  | except that the defect access period for |  | 5 days or as agreed by the parties involved |  |  |  |  |  |
|  |  |  | and the defect access period for |  | 5 days or as agreed by the parties involved |  |  |  |  |  |
| ## 5 |  |  | ## Payment |  |  |  |  |  |  |  |
| 50.1 |  |  | The assessment interval is |  | between the 30 days of each successive month. |  |  |  |  |  |
| 51.1 |  |  | The currency of this contract is the |  | South African Rand |  |  |  |  |  |
| 51.2 |  |  | The period within which payments are made is |  | 30 days of receipt of undisputed invoices. |  |  |  |  |  |
| 51.4 |  |  | The interest rate is |  | N/A |  |  |  |  |  |
| ## 6 |  |  | ## Compensation events |  | There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |
| ## 7 |  |  | ## Title |  | ## There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |  |  |
| ## 9 |  |  | ## Termination and dispute resolution |  |  |  |  |  |  |  |
| 94.1 |  |  | The Adjudicator is |  | To be appointed when a dispute arises by mutual agreement of both parties. Adjudicators by the Party intending to refer a dispute to him. (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA). |  |  |  |  |  |
| 94.2(3) |  |  | The Adjudicator nominating body is: |  | the Chairman of ICE-SA, a Division of the South African Institution of Civil Engineering, or its successor body (See www.ice-sa.org.za) |  |  |  |  |  |
| 94.4(2) |  |  | The tribunal is: |  | arbitration |  |  |  |  |  |
| 94.4(5) |  |  | The arbitration procedure is |  | the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |  |
| 94.4(5) |  |  | The place where arbitration is to be held is |  | Gauteng South Africa |  |  |  |  |  |
|  |  |  | The person or organisation who will choose an arbitrator - if the Parties cannot agree a choice or - if the arbitration procedure does not state who selects an arbitrator, is |  | the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |  |  |
| ## 10 |  |  | ## Data for Option clauses |  |  |  |  |  |  |  |
| X1 |  |  | Price adjustment for inflation |  |  |  |  |  |  |  |
| X1.1 |  |  | The base date for indices is |  | (CPA will be effective 16 months from contract start date.) |  |  |  |  |  |
|  |  |  | The proportions used to calculate the Price Adjustment Factor are: |  | proportion | linked to index for |  | Index prepared by |  |  |
|  |  |  |  |  | 85% |  |  |  |  |  |
|  |  |  |  |  | 15% | Non- adjustable |  |  |  |  |
|  |  |  |  |  | 100% |  |  |  |  |  |
| X2 |  |  | Changes in the law |  |  |  |  |  |  |  |
| X2.1 |  |  | A change in the law |  |  |  |  |  |  |  |
| X7 |  |  | Delay damages |  | Will be determined as per NCR raised |  |  |  |  |  |
| X7.1 |  |  | Delay damages for Delivery are |  | Delivery of |  | amount per day |  |  |  |
|  |  |  |  |  | Incorrect items or late deliveries |  | 1% per day up to 10% of Purchasing order value |  |  |  |
| Z |  |  | The additional conditions of contract are |  | Z1 to Z15 always apply for Eskom |  |  |  |  |  |
| Z1 |  | Cession delegation and assignment |  |  |  |  |  |  |  |  |
| Z1.1 |  | The Supplier does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Purchaser. |  |  |  |  |  |  |  |  |
| Z1.2 |  | Notwithstanding the above, the Purchaser may on written notice to the Supplier cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. |  |  |  |  |  |  |  |  |
| Z2 |  | Joint ventures |  |  |  |  |  |  |  |  |
| Z2.1 |  | If the Supplier constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Purchaser for the performance of this contract. |  |  |  |  |  |  |  |  |
| Z2.2 |  | Unless already notified to the Purchaser, the persons or organisations notify the Supply Manager within two weeks of the Contract Date of the key person who has the authority to bind the Supplier on their behalf. |  |  |  |  |  |  |  |  |
| Z2.3 |  | The Supplier does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Purchaser having been given to the Supplier in writing. |  |  |  |  |  |  |  |  |
| Z3 |  |  | Change of Broad Based Black Economic Empowerment (B-BBEE) status |  |  |  |  |  |  |  |
| Z3.1 |  |  | Where a change in the Supplier’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Supplier’s B-BBEE status, the Supplier notifies the Purchaser within seven days of the change. |  |  |  |  |  |  |  |
| Z3.2 |  |  | The Supplier is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Supply Manager within thirty days of the notification or as otherwise instructed by the Supply Manager. |  |  |  |  |  |  |  |
| Z3.3 |  |  | Where, as a result, the Supplier’s B-BBEE status has decreased since the Contract Date the Purchaser may either re-negotiate this contract or alternatively, terminate the Supplier’s obligation to Provide the Goods and Services. |  |  |  |  |  |  |  |
| Z3.4 |  |  | Failure by the Supplier to notify the Purchaser of a change in its B-BBEE status may constitute a reason for termination. If the Purchaser terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93. |  |  |  |  |  |  |  |
| Z4 |  | Confidentiality |  |  |  |  |  |  |  |  |
| Z4.1 |  | The Supplier does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Supplier, enters the public domain or to information which was already in the possession of the Supplier at the time of disclosure (evidenced by written records in existence at that time). Should the Supplier disclose information to Others in terms of clause 23.1, the Supplier ensures that the provisions of this clause are complied with by the recipient. |  |  |  |  |  |  |  |  |
| Z4.2 |  | If the Supplier is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Supply Manager. |  |  |  |  |  |  |  |  |
| Z4.3 |  | In the event that the Supplier is, at any time, required by law to disclose any such information which is required to be kept confidential, the Supplier, to the extent permitted by law prior to disclosure, notifies the Purchaser so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure. In the event that such protective order is not, or cannot, be obtained, then the Supplier may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed. |  |  |  |  |  |  |  |  |
| Z4.4 |  | The taking of images (whether photographs, video footage or otherwise) of the goods or any portion thereof, in the course of Providing the Goods and Services and after Delivery, requires the prior written consent of the Supply Manager. All rights in and to all such images vests exclusively in the Purchaser. |  |  |  |  |  |  |  |  |
| Z4.5 |  | The Supplier ensures that all his subcontractors abide by the undertakings in this clause. |  |  |  |  |  |  |  |  |
| Z5 |  | Waiver and estoppel: Add to core clause 12.3: |  |  |  |  |  |  |  |  |
| Z5.1 |  | Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Supply Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing. |  |  |  |  |  |  |  |  |
| Z6 |  |  | Health, safety and the environment: Add to core clause 25.4 |  |  |  |  |  |  |  |
| Z6.1 |  |  | The Supplier undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the provision of the goods and execution of the services. Without limitation the Supplier: warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of supply and undertakes, in and about the execution of the supply, to comply with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |  |
| Z6.2 |  |  | The Supplier, in and about the execution of the supply, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |  |  |  |
| Z7 |  | Provision of a Tax Invoice and interest. Add to core clause 51 |  |  |  |  |  |  |  |  |
| Z7.1 |  | Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice in accordance with the Purchaser's procedures stated in the Goods Information, showing the amount due for payment equal to that stated in the payment certificate. |  |  |  |  |  |  |  |  |
| Z7.2 |  | If the Supplier does not provide a tax invoice in the form and by the time required by this contract, the time by when the Purchaser is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice. Interest due by the Purchaser in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made. |  |  |  |  |  |  |  |  |
| Z7.3 |  | The Supplier (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Purchaser’s VAT number 4740101508 on each invoice he submits for payment. |  |  |  |  |  |  |  |  |
| Z8 |  | Notifying compensation events |  |  |  |  |  |  |  |  |
| Z8.1 |  | Delete from the last sentence in core clause 61.3 the words, “unless the event arises from the Supply Manager giving an instruction, changing an earlier decision or correcting an assumption”. |  |  |  |  |  |  |  |  |
| Z9 |  | Purchaser’s limitation of liability |  |  |  |  |  |  |  |  |
| Z9.1 |  | The Purchaser’s liability to the Supplier for the Supplier’s indirect or consequential loss is limited to R0.00 (zero Rand) |  |  |  |  |  |  |  |  |
| Z9.2 |  | The Supplier’s entitlement under the indemnity in 83.1 is provided for in 60.1(12) and the Purchaser’s liability under the indemnity is limited. |  |  |  |  |  |  |  |  |
| Z10 |  | Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it": |  |  |  |  |  |  |  |  |
| Z10.1 |  | or had a business rescue order granted against it. |  |  |  |  |  |  |  |  |
| Z11 |  | Addition to secondary Option X7 Delay damages (if applicable in this contract) |  |  |  |  |  |  |  |  |
| Z11.1 |  | If the amount due for the Supplier’s payment of delay damages reaches the limits stated in this Contract Data for Option X7, the Purchaser may terminate the Supplier’s obligation to Provide the Goods and Services using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table. |  |  |  |  |  |  |  |  |
| Z12 | Ethics |  |  |  |  |  |  |  |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |  |  |  |  |  |  |  |
| Affected Party |  |  |  | means, as the context requires, any party, irrespective of whether it is the Supplier or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends, |  |  |  |  |  |
| Coercive Action |  |  |  | means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally, |  |  |  |  |  |
| Collusive Action |  |  |  | means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally, |  |  |  |  |  |
| Committing Party |  |  |  | means, as the context requires, the Supplier, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractors or the Subcontractor’s employees, |  |  |  |  |  |
| Corrupt Action |  |  |  | means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party, |  |  |  |  |  |
| Fraudulent Action |  |  |  | means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation, |  |  |  |  |  |
| Obstructive Action |  |  |  | means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and |  |  |  |  |  |
| Prohibited Action |  |  |  | means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action. |  |  |  |  |  |
| Z12.1 | A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof. |  |  |  |  |  |  |  |  |
| Z12.2 | The Purchaser may terminate the Supplier’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Supplier did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Purchaser has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Purchaser can terminate the Supplier’s obligation to Provide the Services for this reason. |  |  |  |  |  |  |  |  |
| Z12.3 | If the Purchaser terminates the Supplier’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2. |  |  |  |  |  |  |  |  |
| Z12.4 | A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Purchaser does not have a contractual bond with the Committing Party, the Supplier ensures that the Committing Party co-operates fully with an investigation. |  |  |  |  |  |  |  |  |

Z13	Insurance

Z __13.1	Replace core clause 84 with the following:

| Insurance cover | 84 |  |
| --- | --- | --- |
|  | 84.1 | When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force. |
|  | 84.2 | The Supplier provides the insurances stated in the Insurance Table A for events which are at the Supplier’s risk from the starting date until the last defects date or a termination certificate has been issued. |

INSURANCE TABLE A

Insurance against; Minimum amount of cover or minimum limit of indemnity. Loss of or damage to the goods, plant and materials; The replacement cost where not covered by the Purchaser’s insurance. The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance.. Liability for loss of or damage to property (except the goods, plant and materials and equipment) and liability for bodily injury to or death of a person (not an employee of the Supplier) caused by activity in connection with this contract; Loss of or damage to property Purchaser’s property The replacement cost where not covered by the Purchaser’s insurance. The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance. Other property The replacement cost Death of or bodily injury The amount required by the applicable law.. Liability for death of or bodily injury to employees of the Supplier arising out of and in the course of their employment in connection with this contract; The amount required by the applicable law.

Z _13.2		Replace core clause 87 with the following:

| Insurance by the Purchaser |  |  |  | 87 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | 87.1 | The Purchaser provides the insurances stated in the Insurance Table B |  |
|  |  |  |  |  | INSURANCE TABLE B Insurance against or name of policy; Minimum amount of cover or minimum limit of indemnity. Assets All Risk; Per the insurance policy document. Contract Works insurance; Per the insurance policy document. Environmental Liability; Per the insurance policy document. General and Public Liability; Per the insurance policy document. Transportation (Marine); Per the insurance policy document. Motor Fleet and Mobile Plant; Per the insurance policy document. Terrorism; Per the insurance policy document. Cyber Liability; Per the insurance policy document. Nuclear Material Damage and Business Interruption; Per the insurance policy document. Nuclear Material Damage Terrorism; Per the insurance policy document. |
| Z14 |  | Nuclear Liability |  |  |  |  |
| Z14.1 |  | The Purchaser is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS. |  |  |  |  |
| Z14.2 |  | The Purchaser is solely responsible for and indemnifies the Supplier or any other person against any and all liabilities which the Supplier or any person may incur arising out of or resulting from nuclear damage, as defined in Act 47 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Supplier or any other person or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser. |  |  |  |  |
| Z14.3 |  | Subject to clause Z14.4 below, the Purchaser waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Supplier or any other person, or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser. |  |  |  |  |
| Z14.4 |  | The Purchaser does not waive its rights provided for in section 30 (7) of Act 47 of 1999, or any replacement section dealing with the same subject matter. |  |  |  |  |
| Z14.5 |  | The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned. |  |  |  |  |
| Z15 |  | Asbestos |  |  |  |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |  |  |  |  |
| AAIA |  |  |  | means approved asbestos inspection authority. |  |  |
| ACM |  |  |  | means asbestos containing materials. |  |  |
| AL |  |  |  | means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4 hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL. |  |  |
| Ambient Air |  |  |  | means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet. |  |  |
| Compliance Monitoring |  |  |  | means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |  |  |
| OEL |  |  |  | means occupational exposure limit. |  |  |
| Parallel Measurements |  |  |  | means measurements performed in parallel, yet separately, to existing measurements to verify validity of results. |  |  |
| Safe Levels |  |  |  | means airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |  |  |
| Standard |  |  |  | means the Purchaser’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles. |  |  |
| SANAS |  |  |  | means the South African National Accreditation System. |  |  |
| TWA |  |  |  | means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4 hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA. |  |  |
| Z15.1 |  | The Purchaser ensures that the Ambient Air in the area where the Supplier will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM. |  |  |  |  |
| Z15.2 |  | Upon written request by the Supplier, the Purchaser certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Supplier may perform Parallel Measurements and related control measures at the Supplier’s expense. For the purposes of compliance the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z15.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan. |  |  |  |  |
| Z15.3 |  | The Purchaser manages asbestos and ACM according to the Standard. |  |  |  |  |
| Z15.4 |  | In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe. |  |  |  |  |
| Z15.5 |  | The Supplier’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable. |  |  |  |  |
| Z15.6 |  | The Supplier continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations. |  |  |  |  |
| Z15.7 |  | Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Purchaser at the Purchaser’s expense, and conducted in line with South African legislation. |  |  |  |  |

Annexure A:	Supply Requirements

[Notes: The example given in the NEC3 Supply Contract Guidance Notes pages 15 to 20 inclusive is based on Incoterms 2000.   However users will probably wish to use Incoterms 2010 which the details below are based on.    Users may need to adjust the information to comply with actual requirements. First decide whether Incoterms will be used or not, then delete the arrangement below which does not apply and delete these notes]

## The Supply Requirements for this contract are based on the use of INCOTERMS:

The Supplier supplies the goods in accordance with INCOTERMS 2010 as follows:

[Select the group and then term within the group which applies and state the applicable delivery place.  Delete all the other groups and this note]

| Group | Category | Term | Delivery Place |
| --- | --- | --- | --- |
| E | departure | EXW |  |
| F | main carriage unpaid | FCA, FAS, FOB |  |
| C | main carriage paid | CFR, CIF, CPT, CIP |  |
| D | arrival | DAT, DAP, DDP | DDP |

The Parties obligations described in Incoterms for the category and term selected are now incorporated into this contract as part of the Supply Requirements and hence the Goods Information.

The obligations of seller and buyer for the selected Incoterm determine each Party's costs, risks and insurance requirements incidental to the supply and transport of the goods from Supplier to Purchaser.

For each of the thirteen terms, Incoterms set out obligations of the seller (the Supplier) in ten paragraphs identified as A1 to A10 and the corresponding obligations of the buyer (the Purchaser) in paragraphs B1 to B10.  These obligations cover the following subjects:

| A | The Supplier’s obligations | B | The Purchaser’s obligations |
| --- | --- | --- | --- |
| A1 | Provision of goods in conformity with contract | B1 | Payment of the price |
| A2 | Licences, authorisations and formalities | B2 | Licences, authorisations and formalities |
| A3 | Contracts of carriage and insurance | B3 | Contracts of carriage and insurance |
| A4 | Delivery | B4 | Taking delivery |
| A5 | Transfer of risks | B5 | Transfer of risks |
| A6 | Division of costs | B6 | Division of costs |
| A7 | Notice to the buyer | B7 | Notice to the seller |
| A8 | Proof of delivery, transport document or equivalent electronic message | B8 | Proof of delivery, transport document or equivalent electronic message |
| A9 | Checking - packing - marking | B9 | Inspection of goods |
| A10 | Other obligations | B10 | Other obligations |

[Should there be a need to amplify any of the published obligations listed above for the chosen INCOTERM, add them here.]

All other information NOT pertinent to the above is given in the balance of the Goods Information

## The Supply Requirements for this contract are as follows:

[Use these when INCOTERMS do not apply].  [Revise and complete as required]

| 1. The requirements for the supply are | [State the constraints on how the Supplier manufactures, prototypes, tests and stores the goods including order and timing] |  |
| --- | --- | --- |
| 2. The requirements for transport are | [State the extent to which the Supplier transports the goods and the mode of transport] |  |
| 3. The delivery place is | [State the location where the goods are to be placed by the Supplier, such as whether it is a dispatch department at the Supplier’s premises, the Purchaser is to collect or other location the Purchaser may require. If the delivery place for the services is different to the goods state it here] |  |
| 4. Actions of the Parties during supply | Action | Party which does it |
|  | Giving notice of Delivery |  |
|  | Checking packing and marking before dispatch |  |
|  | Contracting for transport |  |
|  | Pay costs of transport |  |
|  | Arrange access to delivery place |  |
|  | Loading the goods |  |
|  | Unloading the goods |  |
| For international procurement | Undertake export requirements |  |
|  | Undertake import requirements |  |
| 5. Information to be provided by the Supplier | Title of document |  |
|  | Packing lists for cases and their contents |  |
|  | Copy of invoice for the goods |  |
|  | Delivery Note |  |
|  | Test results and maintenance manuals |  |
| For international procurement | Licences, authorisations and other formalities associated with export of the goods |  |
|  | Air Waybill or Bill of Lading with associated landing, delivery and forwarding order |  |
|  | The Bill of Entry endorsed by the importation authority |  |
|  | Customs work sheets, showing tax, duties and surcharges which the law of the country into which the goods are being imported requires the importer to pay |  |
|  | Invoice from the importation clearing agent showing airline fees, landing charges, wharfage and dock dues as applicable |  |
|  | Specify other import documents required by authorised officials. |  |

All other information NOT pertinent to the above is given in the balance of the Goods Information

C1.2 Contract Data

# Part two - Data provided by the Supplier

[Instructions to the contract compiler:  (delete this note before issue to tenderers with an enquiry)

Whenever a cell is shaded in the left hand column it denotes this data is optional and would be required in relation to the option selected.  In the event that the option is not required select and delete the whole row.]

Notes to a tendering supplier:

- Please read both the NEC3 Supply Contract (SC3) and the relevant parts of its Guidance Notes (SC3-GN) in order to understand the implications of this Data which the tenderer is required to complete.

- The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data

- Where a form field like this [     ] appears, data is required to be inserted relevant to the option selected. Click on the form field once and type in the data.  Otherwise complete by hand and in ink.

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

| ## Clause | ## Statement | ## Data |  |  |
| --- | --- | --- | --- | --- |
| 10.1 | The Supplier is (Name): |  |  |  |
|  | Address |  |  |  |
|  | Tel No. |  |  |  |
|  | Fax No. |  |  |  |
| 11.2(8) | The Goods Information for the Supplier’s design is in: | Supply and Delivery of Bearings to Matimba Power Station over a period of Five years on as and when required basis |  |  |
| 11.2(11) | The tendered total of the Prices is |  |  |  |
| 11.2(12) | The price schedule is in: |  |  |  |
| 11.2(14) | The following matters will be included in the Risk Register | N/A |  |  |
| 25.2 | The restrictions to access for the Supply Manager and Others to work being done for this contract are | N/A |  |  |
| 30.1 | The delivery date of the goods and services is: | Stated in every purchasing order. |  |
| 31.1 | The programme identified in the Contract Data is contained in: | N/A |  |  |
| 63.2 | The percentage for overheads and profit added to the Defined Cost is | N/A |  |  |

# Part 2: Pricing Data

NEC3 Supply Contract

| Document reference | Title | No of pages |
| --- | --- | --- |
| C2.1 | Pricing assumptions | 22 |
| C2.2 | The price schedule | 24 |

C2.1 Pricing assumptions

# How goods and services are priced and assessed for payment

Clause 11 in NEC3 Supply Contract, (SC3) core clauses states:

| Identified and defined terms | 11 11.2 | (11) The Prices are the amounts stated in the price column of the Price Schedule. Where a quantity is stated for an item in the Price Schedule, the Price is calculated by multiplying the quantity by the rate. |
| --- | --- | --- |
|  |  | (12) The Price Schedule is the price schedule unless later changed in accordance with this contract. |
| Assessing the amount due | 50.2 | The amount due is the Price for each lump sum item in the Price Schedule which the Supplier has completed, where a quantity is stated for an item in the Price Schedule, an amount calculated by multiplying the quantity which the Supplier has completed by the rate, plus other amounts to be paid to the Supplier, less amounts to be paid by or retained from the Supplier. Any tax which the law requires the Purchaser to pay to the Supplier is included in the amount due. |

This confirms that the Supply Contract is a priced contract where the Prices are derived from a list of items of goods and services which can be priced as lump sums or as expected quantities of goods and services multiplied by a rate, or a mix of both.

# Function of the Price Schedule

Clause 53.1 states: “Information in the Price Schedule is not Goods Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price Schedule but in the Goods Information.  This is further confirmed by Clause 20.1 which states, “The Supplier Provides the Goods and Services in accordance with the Goods Information”. Hence the Supplier does not Provide the Goods and Services in accordance with the Price Schedule.   The Price Schedule is only a pricing document.

# Preparing the price schedule

Items in the price schedule may have been inserted by the Purchaser and the tendering supplier should insert any additional items which he considers necessary.  Whichever party provides the items in the price schedule the total of the Prices is assumed to be fully inclusive of everything necessary to Provide the Goods and Services as described at the time of entering into this contract.

It will be assumed that the tendering supplier has

- Read Pages 8, 11, 12 and Appendix 5 of the SC3 Guidance Notes before preparing the price schedule;

- Included in his Prices and rates for correction of Defects (core clause 43.1) as there is no compensation event for this unless the Defect is due to a Supplier’s risk;

- Spread the cost of doing work he chooses not to list as separate items in the price schedule across other Prices and rates in order to fulfil the obligation to Provide the Goods and Services for the tendered total of the Prices;

- Understood that there is no adjustment to lump sum prices in the price schedule if the amount, or quantity, of work within that lump sum item later turns out to be different to that which the Supplier estimated at time of tender. The only basis for a change to the Prices is as a result of a compensation event per clause 60.1;

- Understood that the Supplier does not have to allow in his Prices and rates for matters that may arise as a result of a compensation event.

## Format of the price schedule

Entries in the first four columns in the price schedule in section C2.2 are made either by the Purchaser or the tendering supplier.

If the Supplier is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering supplier enters the amount in the Price column only, the Unit, Quantity and Rate columns being left blank.

If the Supplier is to be paid an amount for the item which is the rate for the item multiplied by the quantity completed, the tendering Supplier enters the rate which is then multiplied by the Quantity to produce the Price, which is also entered.

If the Supplier is to be paid an amount for an item proportional to the length of time for which the goods and services are provided, a unit of time is stated in the Unit column and the length of time (as a quantity of the stated units of time) is stated in the Quantity column.

C2.2 the price schedule

| Item nr | Material number | Material Description and Texts (Bearings) | UMC | QTY | Unit Price | AMOUNT |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 96 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 130 MM; WIDTH: 49 MM; ROW: SINGLE; CAGE MATERIAL: STL; SUPPL P/N: 32312/J2C3; HARDENED, USED ON ASH CONDITIONER GEARBOX BEN260 BTB40:1 2ND REDUCTION SHAFT ITEM 17/34 | EA | 50 |  |  |
| 2 | 113 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 110 MM; WIDTH: 22 MM; ROW: SINGLE; SUPPL P/N: 6212C3; IBI 6212; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 3 | 19350 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 56 MM; LENGTH: 107 MM; MATERIAL: BAKELITE VARNISHED; SUPPL P/N: 38.126228; ISOLATING RING, MATERIAL STF.VT.EM2, FOR INSULATION FOR GENERATOR AND EXITER; ID 57 X OD 68 MM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 4 | 29833 | BEARING, BALL: TYPE: ANGULAR; STYLE: OPEN; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 35 MM; ROW: SINGLE; SUPPL P/N: 6412 STD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 100 |  |  |
| 5 | 29914 | BEARING, BALL: TYPE: SELF ALIGNING; STYLE: OPEN; INSIDE DIAMETER: 75 MM; OUTSIDE DIAMETER: 130 MM; WIDTH: 25 MM; ROW: DOUBLE; SUPPL P/N: 1215; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 6 | 29924 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 23 MM; ROW: SINGLE; SUPPL P/N: 7213B; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 7 | 29928 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 100 MM; OUTSIDE DIAMETER: 135 MM; WIDTH: 25 MM; STYLE: OPEN; SUPPL P/N: 51120; DUTY: MEDIUM; ROW: SINGLE | EA | 50 |  |  |
| 8 | 29930 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 68 MM; WIDTH: 15 MM; ROW: SINGLE; SUPPL P/N: 6008-2Z; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 100 |  |  |
| 9 | 29953 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 110 MM; WIDTH: 27 MM; ROW: SINGLE; SUPPL P/N: 6408; NOTE: ITEM MUST BE ORIGINAL PACKED; DUTY: HEAVY; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 10 | 29976 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 75 MM; LENGTH: 62 MM; MATERIAL: STEEL; MANUF P/N: H317F; SIZE 88 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 11 | 29990 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 140 MM; OUTSIDE DIAMETER: 250 MM; WIDTH: 68 MM; ROW: DOUBLE; SUPPL P/N: 22228CCKW33 | EA | 50 |  |  |
| 12 | 29992 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 15 MM; OUTSIDE DIAMETER: 35 MM; WIDTH: 11 MM; ROW: SINGLE; SUPPL P/N: 6202-2RS1C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 13 | 30002 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 25 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 21 MM; ROW: SINGLE; SUPPL P/N: 6405-2ZC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 14 | 30012 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 100 MM; WIDTH: 25 MM; ROW: SINGLE; SUPPL P/N: 6309-2RS1C3; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 15 | 30021 | BEARING, THRUST: ROLLING ELEMENT: ROLLER NEEDLE; INSIDE DIAMETER: 150 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 5 MM; SUPPL P/N: AXK150190; CAGE ASSEMBLY WITH WASHERS; ROW SINGLE | EA | 25 |  |  |
| 16 | 30030 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 50 MM; OUTSIDE DIAMETER: 70 MM; WIDTH: 14 MM; STYLE: DOUBLE SHIELD; MODEL NO: 51110; SINGLE DIRECTION, NOTE - ITEM MUST BE ORIGINAL PACKED; ROW SINGLE | EA | 50 |  |  |
| 17 | 30038 | SLEEVE, ADAPTOR: TYPE: BEARING; LENGTH: 105 MM; MATERIAL: STL; SUPPL P/N: H2322; APPLICATION: PRIMARY FAN SPHERICAL ROLLER BEARING; ID 100 X OD 143; SUPPLIER NOTE - THE ITEM MUST BE ORIGINAL PROTECTIVE PACKED AND MARKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 18 | 30043 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 50 MM; LENGTH: 45 MM; MATERIAL: STEEL; SUPPL P/N: H311; SUPPLIER NOTE - THE ITEM MUST BE ORIGINAL PROTECTIVE PACKED AND MARKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 19 | 30050 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 90 MM; LENGTH: 71 MM; MATERIAL: STEEL; SUPPL P/N: H320; SUPPLIER NOTE - THE ITEM MUST BE ORIGINAL PROTECTIVE PACKED AND MARKED; SIZE 130 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 20 | 30057 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 100 MM; OUTSIDE DIAMETER: 180 MM; WIDTH: 60.33 MM; ROW: DOUBLE; CAGE MATERIAL: BRS/STL; SUPPL P/N: 23220CC3; THE REFERENCE NUMBER MUST BE CAST AND NOT ENGRAVED ON AND ORIGINAL PACKED, NTERNAL FIT | EA | 50 |  |  |
| 21 | 30096 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 240 MM; WIDTH: 50 MM; ROW: SINGLE; SUPPL P/N: NU322CC3; NOTE - THE REFERENCE NUMBER MUST BE CAST AND NOT ENGRAVED ON AND ORIGINAL PACKED | EA | 25 |  |  |
| 22 | 30107 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 55 MM; OUTSIDE DIAMETER: 78 MM; WIDTH: 16 MM; STYLE: OPEN; SUPPL P/N: 51111; DIRECTIONAL, SINGLE ROW | EA | 25 |  |  |
| 23 | 30109 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 220 MM; OUTSIDE DIAMETER: 270 MM; WIDTH: 37 MM; STYLE: OPEN; OEM P/N: 5160-210, OEM: GE STEAM POWER SERVICE; 5360-210, OEM: GE STEAM POWER SERVICE; MANUF P/N: 51144; SINGLE DIRECTION, SINGLE ROW | EA | 50 |  |  |
| 24 | 30111 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 38 MM; STYLE: OPEN; SUPPL P/N: 51222; NOTE - ITEM MUST BE ORIGINAL PACKED; ROW SINGLE | EA | 25 |  |  |
| 25 | 30122 | BEARING, BALL: TYPE: SELF ALIGNING; STYLE: OPEN; INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 140 MM; WIDTH: 26 MM; ROW: DOUBLE; REFERENCE NO: 1216K; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 26 | 30138 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 150 MM; LENGTH: 122 MM; MATERIAL: STEEL; SUPPL P/N: H3134; SUPPLIER NOTE - THE ITEM MUST BE ORIGINAL PACKED AND MARKED; SIZE 220 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 27 | 30140 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 70 MM; LENGTH: 59 MM; MATERIAL: STEEL; SUPPL P/N: H316; SUPPLIER NOTE - THE ITEM MUST BE ORIGINAL PACKED AND MARKED; SIZE 83 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 28 | 30141 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 80 MM; LENGTH: 65 MM; MATERIAL: STEEL; SUPPL P/N: H318; OD 90 MM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 29 | 30150 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 65 MM; WIDTH: 14 MM; STYLE: OPEN; SUPPL P/N: 51109; DIRECTIONAL, SINGLE ROW | EA | 250 |  |  |
| 30 | 30182 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 130 MM; WIDTH: 31 MM; ROW: SINGLE; SUPPL P/N: 7312B; NOTE: ITEM MUST BE ORIGINAL PACKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 31 | 30184 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 62 MM; WIDTH: 16 MM; ROW: SINGLE; SUPPL P/N: 7206B; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 32 | 30191 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 72 MM; OUTSIDE DIAMETER: 105 MM; WIDTH: 27 MM; STYLE: OPEN; REFERENCE NO: 51214; SINGLE DIRECTION, SINGLE ROW | EA | 50 |  |  |
| 33 | 30220 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 110 MM; WIDTH: 22 MM; ROW: SINGLE; SUPPL P/N: NU212ECPC3 | EA | 25 |  |  |
| 34 | 30221 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 25 MM; LENGTH: 27 MM; MATERIAL: STEEL; SUPPL P/N: H206; REFERENCE NO: H206; 32 MM OD; 83.3 TAPER PER METRE IN MM 1:12 ON DIA; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 35 | 30254 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 100 MM; OUTSIDE DIAMETER: 215 MM; WIDTH: 73 MM; ROW: DOUBLE; SUPPL P/N: 22320BD1C3; REFERENCE NO: 22320BD1; 22320 | EA | 25 |  |  |
| 36 | 30273 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 25.4 MM; OUTSIDE DIAMETER: 57.15 MM; WIDTH: 15.88 MM; ROW: SINGLE; SUPPL P/N: RLS8; SOLE SOURCE: CLYDE BERGEMANN AFRICA PTY LTD; SUPPLIER NOTE: THE ITEM MUST BE ORIGINAL PACKED, SEALED AND CLEARLY MARKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 37 | 30294 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 23 MM; ROW: SINGLE; SUPPL P/N: 6213C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 38 | 30303 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 60 MM; LENGTH: 50 MM; MATERIAL: STEEL; SUPPL P/N: H313; SUPPLIER NOTE - THE ITEM MUST BE ORIGINAL PROTECTIVE PACKED AND MARKED; OD 65 MM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 39 | 30304 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 65 MM; LENGTH: 55 MM; MATERIAL: STEEL; SUPPL P/N: H315; 98 MM OD; SUPPLIER NOTE - THE ITEM MUST BE ORIGINAL PROTECTIVE PACKED AND MARKED; CAMDEN SKF BRAND ONLY; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 40 | 30305 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 100 MM; LENGTH: 77 MM; MATERIAL: STEEL; SUPPL P/N: H322; SUPPLIER NOTE - THE ITEM MUST BE ORIGINAL PROTECTIVE PACKED AND MARKED; SIZE 116.5 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 41 | 30308 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 125 MM; LENGTH: 96 MM; MATERIAL: STEEL; SUPPL P/N: H3128; SUPPLIER NOTE - THE ITEM MUST BE ORIGINAL PROTECTIVE PACKED AND MARKED; SIZE 145 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 42 | 30309 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 140 MM; LENGTH: 119 MM; MATERIAL: STEEL; SUPPL P/N: H3132; 210 MM OD; SUPPLIER NOTE - THE ITEM MUST BE ORIGINAL PACKED AND MARKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 43 | 30313 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 120 MM; OUTSIDE DIAMETER: 260 MM; WIDTH: 55 MM; ROW: SINGLE; SUPPL P/N: 6324C3; NOTE: ITEM MUST BE ORIGINAL PACKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 44 | 30339 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 29 MM; ROW: SINGLE; SUPPL P/N: 6409C3; NOTE:THE REFERENCE NUMBER MUST BE CAST AND NOT ENGRAVED ON BEARING AND ORIGINAL PACKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 45 | 30357 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 170 MM; WIDTH: 58 MM; ROW: DOUBLE; SUPPL P/N: 22316EC3; REFERENCE NO: 22316E | EA | 50 |  |  |
| 46 | 30361 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 34.9 MM; ROW: DOUBLE; SUPPL P/N: 3307AC3; REFERENCE NO: 3307; DUTY: EXTRA LIGHT; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 47 | 30396 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 85 MM; WIDTH: 19 MM; ROW: SINGLE; SUPPL P/N: 6209-2Z; NOTE: ITEM MUST BE ORIGINAL PACKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 48 | 30429 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 50 MM; OUTSIDE DIAMETER: 78 MM; WIDTH: 22 MM; STYLE: OPEN; CAGE MATERIAL: STL; SUPPL P/N: 51210; SINGLE DIRECTION, SINGLE ROW, MEDIUM DUTY, PRESSED | EA | 25 |  |  |
| 49 | 30430 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 70 MM; OUTSIDE DIAMETER: 95 MM; WIDTH: 18 MM; STYLE: OPEN; SUPPL P/N: 51114; FLAT SEATED; ROW SINGLE | EA | 100 |  |  |
| 50 | 30443 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 100 MM; OUTSIDE DIAMETER: 180 MM; WIDTH: 46 MM; ROW: DOUBLE; SUPPL P/N: 22220CCC3; NOTE: THE BEARING REFERENCE NUMBER MUST BE CAST AND NOT ENGRAVED ON BEARING AND ORIGINAL PACKED | EA | 25 |  |  |
| 51 | 30445 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 130 MM; WIDTH: 46 MM; ROW: DOUBLE; SUPPL P/N: 22312C; REFERENCE NO: 22312 | EA | 50 |  |  |
| 52 | 30449 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 200 MM; WIDTH: 69.85 MM; ROW: DOUBLE; SUPPL P/N: 23222CC3; REFERENCE NO: 23222C | EA | 25 |  |  |
| 53 | 30469 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 100 MM; WIDTH: 40 MM; ROW: DOUBLE; SUPPL P/N: 3309BC3; REFERENCE NO: 3309B; NOTE: ITEM MUST BE ORIGINAL PACKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 54 | 30485 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 85 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 28 MM; ROW: SINGLE; SUPPL P/N: 6217C3; THE REFERENCE NUMBER MUST BE CAST AND NOT ENGRAVED ON BEARING AND ORIGINAL PACKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 55 | 30507 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 90 MM; WIDTH: 18 MM; STYLE: OPEN; REFERENCE NO: 51113; ROW SINGLE | EA | 50 |  |  |
| 56 | 30524 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 75 MM; OUTSIDE DIAMETER: 130 MM; WIDTH: 25 MM; ROW: SINGLE; SUPPL P/N: NU215CWC3; REFERENCE NO: NU215CW | EA | 50 |  |  |
| 57 | 30537 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 120 MM; OUTSIDE DIAMETER: 215 MM; WIDTH: 58 MM; ROW: DOUBLE; BORE SHAPE: TAPER; SUPPL P/N: 22224CKC3 | EA | 50 |  |  |
| 58 | 30542 | BEARING, ROLLER: TYPE: TAPER CONE/CUP; INSIDE DIAMETER: 100 MM; OUTSIDE DIAMETER: 180 MM; WIDTH: 49.5 MM; ROW: SINGLE; SUPPL P/N: 32220C3 | EA | 50 |  |  |
| 59 | 30544 | BEARING, ROLLER: TYPE: TAPER; INSIDE DIAMETER: 16 MM; OUTSIDE DIAMETER: 43 MM; WIDTH: 17.5 MM; ROW: SINGLE; SUPPL P/N: 17580 / 17520C3 | EA | 50 |  |  |
| 60 | 30571 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 110 MM; WIDTH: 22 MM; ROW: SINGLE; SUPPL P/N: 6212C3; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 61 | 30584 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 75 MM; OUTSIDE DIAMETER: 130 MM; WIDTH: 25 MM; ROW: SINGLE; SUPPL P/N: 6215C3; REFERENCE NO: 6215; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 62 | 30585 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 115 MM; WIDTH: 28 MM; STYLE: OPEN; SUPPL P/N: 51216; NOTE - ITEM MUST BE ORIGINAL PACKED, WITH WASHERS; ROW SINGLE | EA | 50 |  |  |
| 63 | 30586 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 43 MM; ROW: SINGLE; SUPPL P/N: N318 ECPC3; MODEL NO: N318 ECP; ITEM TO BE ORIGINAL PACKED, NOTE: THE REFERENCE NUMBER MUST BE CAST AND NOT ENGRAVE ON THE BEARING | EA | 50 |  |  |
| 65 | 30589 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 190 MM; OUTSIDE DIAMETER: 320 MM; WIDTH: 105 MM; ROW: DOUBLE; SUPPL P/N: 23138CC3 | EA | 250 |  |  |
| 66 | 30596 | BEARING, BALL: TYPE: SPHERICAL; STYLE: OPEN; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 23 MM; ROW: SINGLE; SUPPL P/N: 1213K; NOTE! ITEM MUST BE ORIGINAL PACKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 67 | 30630 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 62 MM; WIDTH: 16 MM; ROW: SINGLE; SUPPL P/N: 6206-2ZC3; DUTY: EXTRA LIGHT; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 68 | 30633 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 78 MM; WIDTH: 39 MM; STYLE: OPEN; REFERENCE NO: 52210; SINGLE DIRECTION, SINGLE ROW, MEDIUM DUTY | EA | 50 |  |  |
| 69 | 30642 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 75 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 37 MM; ROW: SINGLE; SUPPL P/N: NU315C3; REFERENCE NO: NU315 | EA | 50 |  |  |
| 70 | 30651 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 20 MM; OUTSIDE DIAMETER: 42 MM; WIDTH: 8 MM; ROW: SINGLE; SUPPL P/N: 16004; ITEM MUST BE ORIGINAL PACKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 71 | 31124 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 180 MM; LENGTH: 150 MM; MATERIAL: STEEL; SUPPL P/N: OH3140; NOTE - THE ITEM MUST BE PROTECTIVE PACKED AND CLEARLY MARKED; SIZE 200 MM OD; SNL3140; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 72 | 31130 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 55 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 29 MM; ROW: SINGLE; SUPPL P/N: 6311C3; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 73 | 31141 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 95 MM; OUTSIDE DIAMETER: 200 MM; WIDTH: 67 MM; ROW: SINGLE; SUPPL P/N: 32319A; TOTAL THICKNESS IS 71.5MM | EA | 50 |  |  |
| 74 | 31156 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 170 MM; OUTSIDE DIAMETER: 280 MM; WIDTH: 88 MM; DOUBLE; SUPPL P/N: 23134ESK TVPBC3; REFERENCE NO: 23134ESK TVPB | EA | 50 |  |  |
| 75 | 31163 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 110 MM; LENGTH: 88 MM; MATERIAL: STEEL; SUPPL P/N: H3124; M120 X 2 MM THREAD, 83.3 TAPER PER METRE IN MM 1:12 ON DIA; SIZE 125 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 76 | 31167 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 200 MM; LENGTH: 160 MM; MATERIAL: STEEL; SUPPL P/N: H3144A; REFERENCE NO: H3144HG; OD 230 MM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 77 | 31168 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 220 MM; LENGTH: 155 MM; MATERIAL: STEEL; TYPE AOH 3148; SIZE 240 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 78 | 31169 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 240 MM; LENGTH: 192 MM; MATERIAL: STEEL; REFERENCE NO: H3152A; H3152; 272 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 79 | 31170 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 250 MM; LENGTH: 195 MM; MATERIAL: STEEL; REFERENCE NO: H3156A; SIZE 292 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 80 | 31174 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 43 MM; ROW: SINGLE; CAGE MATERIAL: BRS/STL; SUPPL P/N: NU318C3; RADIAL CLEARANCE, DESIGNATION NU318E.TVP2, ALTERNATE DESIGNATION NU318E.C | EA | 50 |  |  |
| 81 | 31175 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 85 MM; OUTSIDE DIAMETER: 180 MM; WIDTH: 41 MM; ROW: SINGLE; SUPPL P/N: 6317C3; DUTY: HEAVY; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 82 | 31183 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 37 MM; ROW: SINGLE; SUPPL P/N: 6413C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 83 | 31197 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 70 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 38 MM; ROW: SINGLE; SUPPL P/N: 30314C3 | EA | 50 |  |  |
| 84 | 31198 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 170 MM; WIDTH: 62 MM; ROW: SINGLE; REFERENCE NO: 32316B; ITEM MUST BE ORIGINAL PACKED | EA | 25 |  |  |
| 85 | 31199 | COVER: TYPE: BEARING; DIMENSIONS: ID 80 MM X OD 145 MM X WD 1.404 M X HT 105 MM; MATERIAL: ALUMINIUM; REFERENCE NO: DIDC6018; TYPE DAIDO | EA | 50 |  |  |
| 86 | 31200 | BEARING, ROLLER: TYPE: TAPER; INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 170 MM; WIDTH: 62 MM; ROW: SINGLE; SUPPL P/N: HR32316 JC3; REFERENCE NO: HR32316 J | EA | 50 |  |  |
| 87 | 31232 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 85 MM; LENGTH: 68 MM; MATERIAL: STEEL; REFERENCE NO: H319; SIZE 100 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 88 | 31233 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 160 MM; LENGTH: 132 MM; MATERIAL: STEEL; SUPPL P/N: H3136; 187 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 89 | 31234 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 280 MM; LENGTH: 210 MM; MATERIAL: STEEL; SUPPL P/N: H3160; REFERENCE NO: H3160; 310 MM OD, THREAD OUTSIDE DIAMETER 300 MM, 208 MM WIDTH; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 90 | 31235 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 300 MM; LENGTH: 230 MM; MATERIAL: STEEL; REFERENCE NO: H3164; 335 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 91 | 31237 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 90 MM; WIDTH: 25.25 MM; ROW: SINGLE; SUPPL P/N: 31308 | EA | 50 |  |  |
| 92 | 31244 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 60 MM; WIDTH: 16 MM; STYLE: DOUBLE SHIELD; SUPPL P/N: 51108; ITEM MUST BE ORIGINAL PACKED; ROW SINGLE | EA | 50 |  |  |
| 93 | 31263 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 160 MM; OUTSIDE DIAMETER: 290 MM; WIDTH: 80 MM; ROW: DOUBLE; BORE SHAPE: TAPER; REFERENCE NO: 22232CCKW | EA | 25 |  |  |
| 94 | 31280 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 170 MM; LENGTH: 140 MM; MATERIAL: STEEL; SUPPL P/N: H3138; REFERENCE NO: H3138; 200 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 95 | 31285 | BEARING, ROLLER: TYPE: TAPER CONE/CUP; INSIDE DIAMETER: 150 MM; OUTSIDE DIAMETER: 270 MM; WIDTH: 49 MM; ROW: SINGLE; SUPPL P/N: 30230; REFERENCE NO: 30230 | EA | 50 |  |  |
| 96 | 31301 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 23 MM; ROW: SINGLE; SUPPL P/N: NU213ECPC3; REFERENCE NO: NU213ECP | EA | 50 |  |  |
| 97 | 31304 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 19 MM; ROW: SINGLE; SUPPL P/N: 6306-2RSIC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 100 |  |  |
| 98 | 31321 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 140 MM; WIDTH: 33 MM; ROW: SINGLE; SUPPL P/N: 6313C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 100 |  |  |
| 99 | 31328 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 70 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 38.5 MM; ROW: SINGLE; SPECIFICATION: ISO 355; SUPPL P/N: 31314C3; NOMINAL CONTACT ANGLE 10 DEGREE-17 DEGREE, DIMENSIONAL SERIES ACCORDING | EA | 50 |  |  |
| 100 | 31358 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 75 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 40 MM; ROW: SINGLE; SUPPL P/N: 31315 | EA | 50 |  |  |
| 101 | 31359 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 75 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 55 MM; ROW: DOUBLE; SUPPL P/N: 22315CC3 | EA | 50 |  |  |
| 102 | 31360 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 24 MM; ROW: SINGLE; SUPPL P/N: SL182922C3; FULL COMPLEMENT, COND ASH STACKER RLA 33K BNN | EA | 200 |  |  |
| 103 | 31361 | BEARING, ROLLER: TYPE: ANGULAR CONTACT; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 28 MM; ROW: DOUBLE; SUPPL P/N: Y-33207C3; REFERENCE NO: Y-33207 | EA | 200 |  |  |
| 104 | 31362 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 220 MM; OUTSIDE DIAMETER: 300 MM; WIDTH: 48 MM; ROW: SINGLE; SUPPL P/N: SL182944C3; FULL COMPLEMENT | EA | 50 |  |  |
| 105 | 31363 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 63.95 MM; ROW: DOUBLE; SUPPL P/N: 22318EC3; REFERENCE NO: 22318 | EA | 25 |  |  |
| 106 | 31365 | BEARING, ROLLER: TYPE: TAPER; INSIDE DIAMETER: 95 MM; OUTSIDE DIAMETER: 200 MM; WIDTH: 50 MM; ROW: SINGLE; SUPPL P/N: 31319C3; REFERENCE NO: 31319 | EA | 50 |  |  |
| 107 | 31366 | BEARING, THRUST: ROLLING ELEMENT: ROLLER; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 135 MM; WIDTH: 35 MM; REFERENCE NO: 81218C3; ROW SINGLE; TYPE SINGLE DIRECTION | EA | 25 |  |  |
| 108 | 31367 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 150 MM; OUTSIDE DIAMETER: 320 MM; WIDTH: 108 MM; ROW: DOUBLE; REFERENCE NO: 22330CCW33; 22330CCW33C3 | EA | 50 |  |  |
| 109 | 31368 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 240 MM; WIDTH: 80 MM; ROW: DOUBLE; SUPPL P/N: 22322 CC/W33C3; REFERENCE NO: 22322 CC/W33 | EA | 50 |  |  |
| 110 | 31369 | BEARING, ROLLER: TYPE: TAPER; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 25 MM; ROW: SINGLE; REFERENCE NO: 32208 J2; 32208 J2C3 | EA | 50 |  |  |
| 111 | 31382 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 120 MM; OUTSIDE DIAMETER: 215 MM; WIDTH: 40 MM; ROW: SINGLE; SUPPL P/N: N224WC3; REFERENCE NO: N224W | EA | 50 |  |  |
| 112 | 31392 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 120 MM; OUTSIDE DIAMETER: 260 MM; WIDTH: 86 MM; ROW: DOUBLE; SUPPL P/N: 22324CC3; FOR RDH 33 BNN ANR BNR GEARBOX | EA | 50 |  |  |
| 113 | 31401 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 140 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 30 MM; ROW: SINGLE; SUPPL P/N: SL182928C3; FULL COMPLEMENT | EA | 50 |  |  |
| 114 | 31412 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 190 MM; OUTSIDE DIAMETER: 320 MM; WIDTH: 104 MM; ROW: DOUBLE; SUPPL P/N: 23138 CCK/W33C3; REFERENCE NO: 23138CCKW33 | EA | 50 |  |  |
| 115 | 31419 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 220 MM; LENGTH: 170 MM; MATERIAL: STEEL; REFERENCE NO: 0H3148H; 240 MM OUTSIDE DIAMETER, 172 MM WIDTH; 250 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 116 | 31456 | BEARING, SLEEVE: TYPE: BUSH; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 104 MM; LENGTH: 71 MM; MATERIAL: MS; REFERENCE NO: A320X; COMPLETE WITH NUT AND LOCKWASHER | EA | 250 |  |  |
| 117 | 31486 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 140 MM; WIDTH: 33 MM; ROW: SINGLE; REFERENCE NO: NU313ECP | EA | 250 |  |  |
| 119 | 31503 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 130 MM; OUTSIDE DIAMETER: 230 MM; WIDTH: 40 MM; ROW: SINGLE; SUPPL P/N: 6226C3; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 120 | 31512 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 130 MM; OUTSIDE DIAMETER: 230 MM; WIDTH: 40 MM; ROW: SINGLE; SUPPL P/N: NU226MC3; REFERENCE NO: NU226M | EA | 25 |  |  |
| 121 | 31514 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 100 MM; WIDTH: 25 MM; ROW: SINGLE; SUPPL P/N: 7309BG; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 122 | 31515 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 100 MM; WIDTH: 25 MM; ROW: SINGLE; REFERENCE NO: NU309ECPC3; NU309ECP | EA | 50 |  |  |
| 123 | 31527 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 17 MM; ROW: SINGLE; SUPPL P/N: 1207C3; REFERENCE NO: 1207 | EA | 50 |  |  |
| 124 | 31529 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 20 MM; OUTSIDE DIAMETER: 47 MM; WIDTH: 14 MM; ROW: SINGLE; SUPPL P/N: 6204-2ZC3; NOTE:THE REFERENCE NUMBER MUST BE CAST AND NOT ENGRAVED ON BEARING AND ITEM MUST BE ORIGINAL PACKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 125 | 31550 | BEARING, PILLOW BLOCK: INSIDE DIAMETER: 78 MM; BOLT MOUNTING: 2; BOLT DIAMETER: M18; BLOCK SIZE: WD 38 X LG 228 X HT 158 MM; SHAFT HEIGHT: 80 MM; HOUSING MATERIAL: CI; SUPPL P/N: 3283-009-46; SIZE: HOLE DIAMETER FOR WEARING COLLAR 109MM, TIGHTENING HOLES 18MM DIAMETER WITH CENTRES 190MM, TO BS1452 GRADE 22, WITHOUT WEARING COLLAR, FOR USE ON ELECTROSTATIC PRECIP, DISHARGE RAPPING (TOP GRIT); DEEP GROOVE | EA | 50 |  |  |
| 126 | 31552 | BEARING, PILLOW BLOCK: INSIDE DIAMETER: 50 MM; BOLT MOUNTING: 2; BOLT DIAMETER: M14; BLOCK SIZE: WD 62 X LG 220 X HT 107 MM; SHAFT HEIGHT: 60 MM; HOUSING MATERIAL: CI; SUPPL P/N: 328300950; COMPLETE WITH BRASS BUSH SPLIT, 170MM HOLE CENTRES, HOLE SIZE: 13MM WIDE X 23.5MM LONG | EA | 50 |  |  |
| 127 | 31563 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 25 MM; OUTSIDE DIAMETER: 52 MM; WIDTH: 18 MM; ROW: SINGLE; SUPPL P/N: NU2205ECPC3; REFERENCE NO: NU2205ECP | EA | 50 |  |  |
| 128 | 31593 | COVER: TYPE: BEARING; DIMENSIONS: WD 75 X LG 119 X HT 40 MM; MATERIAL: CI; ASSEMBLY; CONSTRUCTION; 4 X 14MM MOUNTING HOLES; COMPLETE WITH KLINGERIT BASE GASKET 6MM THICK, USED ON 30MM DIAMETER SHAFT | EA | 50 |  |  |
| 129 | 31594 | COVER: TYPE: BEARING; DIMENSIONS: WD 75 X LG 120 X HT 40 MM; MATERIAL: CI; ASSEMBLY, I/D 40.3MM, 14MM HOLES, HOLE CENTRES: 90MM X 45MM, COMPLETE WITH GASKET KLINGERITE 5MM THICK, CAST IRON SHAFT | EA | 50 |  |  |
| 130 | 31595 | COVER: TYPE: BEARING; DIMENSIONS: ID 80.5 X WD 138 X LG 181 X HT 82 MM; MATERIAL: CI; ASSEMBLY, CONSTRUCTION, 4 X 18MM MOUNTING HOLES, COMPLETE WITH KLINGERIT BASE GASKET 5MM THICK, FOR USE ON 80MM DIAMETER SHAFT | EA | 25 |  |  |
| 131 | 30586 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 43 MM; ROW: SINGLE; SUPPL P/N: N318 ECPC3; MODEL NO: N318 ECP; ITEM TO BE ORIGINAL PACKED, NOTE: THE REFERENCE NUMBER MUST BE CAST AND NOT ENGRAVE ON THE BEARING | EA | 50 |  |  |
| 132 | 30589 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 190 MM; OUTSIDE DIAMETER: 320 MM; WIDTH: 105 MM; ROW: DOUBLE; SUPPL P/N: 23138CC3 | EA | 50 |  |  |
| 133 | 30596 | BEARING, BALL: TYPE: SPHERICAL; STYLE: OPEN; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 23 MM; ROW: SINGLE; SUPPL P/N: 1213K; NOTE! ITEM MUST BE ORIGINAL PACKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 134 | 30630 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 62 MM; WIDTH: 16 MM; ROW: SINGLE; SUPPL P/N: 6206-2ZC3; DUTY: EXTRA LIGHT; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 135 | 30633 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 78 MM; WIDTH: 39 MM; STYLE: OPEN; REFERENCE NO: 52210; SINGLE DIRECTION, SINGLE ROW, MEDIUM DUTY | EA | 50 |  |  |
| 136 | 30642 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 75 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 37 MM; ROW: SINGLE; SUPPL P/N: NU315C3; REFERENCE NO: NU315 | EA | 50 |  |  |
| 137 | 30651 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 20 MM; OUTSIDE DIAMETER: 42 MM; WIDTH: 8 MM; ROW: SINGLE; SUPPL P/N: 16004; ITEM MUST BE ORIGINAL PACKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 138 | 31124 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 180 MM; LENGTH: 150 MM; MATERIAL: STEEL; SUPPL P/N: OH3140; NOTE - THE ITEM MUST BE PROTECTIVE PACKED AND CLEARLY MARKED; SIZE 200 MM OD; SNL3140; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 139 | 31130 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 55 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 29 MM; ROW: SINGLE; SUPPL P/N: 6311C3; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 140 | 31141 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 95 MM; OUTSIDE DIAMETER: 200 MM; WIDTH: 67 MM; ROW: SINGLE; SUPPL P/N: 32319A; TOTAL THICKNESS IS 71.5MM | EA | 50 |  |  |
| 141 | 31156 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 170 MM; OUTSIDE DIAMETER: 280 MM; WIDTH: 88 MM; DOUBLE; SUPPL P/N: 23134ESK TVPBC3; REFERENCE NO: 23134ESK TVPB | EA | 50 |  |  |
| 142 | 31163 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 110 MM; LENGTH: 88 MM; MATERIAL: STEEL; SUPPL P/N: H3124; M120 X 2 MM THREAD, 83.3 TAPER PER METRE IN MM 1:12 ON DIA; SIZE 125 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 143 | 31167 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 200 MM; LENGTH: 160 MM; MATERIAL: STEEL; SUPPL P/N: H3144A; REFERENCE NO: H3144HG; OD 230 MM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 144 | 31168 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 220 MM; LENGTH: 155 MM; MATERIAL: STEEL; TYPE AOH 3148; SIZE 240 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 100 |  |  |
| 145 | 31169 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 240 MM; LENGTH: 192 MM; MATERIAL: STEEL; REFERENCE NO: H3152A; H3152; 272 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 146 | 31170 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 250 MM; LENGTH: 195 MM; MATERIAL: STEEL; REFERENCE NO: H3156A; SIZE 292 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 147 | 31174 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 43 MM; ROW: SINGLE; CAGE MATERIAL: BRS/STL; SUPPL P/N: NU318C3; RADIAL CLEARANCE, DESIGNATION NU318E.TVP2, ALTERNATE DESIGNATION NU318E.C | EA | 25 |  |  |
| 148 | 31175 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 85 MM; OUTSIDE DIAMETER: 180 MM; WIDTH: 41 MM; ROW: SINGLE; SUPPL P/N: 6317C3; DUTY: HEAVY; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 149 | 31183 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 37 MM; ROW: SINGLE; SUPPL P/N: 6413C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 150 | 31197 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 70 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 38 MM; ROW: SINGLE; SUPPL P/N: 30314C3 | EA | 50 |  |  |
| 151 | 31198 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 170 MM; WIDTH: 62 MM; ROW: SINGLE; REFERENCE NO: 32316B; ITEM MUST BE ORIGINAL PACKED | EA | 50 |  |  |
| 152 | 31199 | COVER: TYPE: BEARING; DIMENSIONS: ID 80 MM X OD 145 MM X WD 1.404 M X HT 105 MM; MATERIAL: ALUMINIUM; REFERENCE NO: DIDC6018; TYPE DAIDO | EA | 50 |  |  |
| 153 | 31200 | BEARING, ROLLER: TYPE: TAPER; INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 170 MM; WIDTH: 62 MM; ROW: SINGLE; SUPPL P/N: HR32316 JC3; REFERENCE NO: HR32316 J | EA | 50 |  |  |
| 154 | 31232 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 85 MM; LENGTH: 68 MM; MATERIAL: STEEL; REFERENCE NO: H319; SIZE 100 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 155 | 31233 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 160 MM; LENGTH: 132 MM; MATERIAL: STEEL; SUPPL P/N: H3136; 187 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 156 | 31234 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 280 MM; LENGTH: 210 MM; MATERIAL: STEEL; SUPPL P/N: H3160; REFERENCE NO: H3160; 310 MM OD, THREAD OUTSIDE DIAMETER 300 MM, 208 MM WIDTH; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 157 | 31235 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 300 MM; LENGTH: 230 MM; MATERIAL: STEEL; REFERENCE NO: H3164; 335 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 158 | 31237 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 90 MM; WIDTH: 25.25 MM; ROW: SINGLE; SUPPL P/N: 31308 | EA | 50 |  |  |
| 159 | 31244 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 60 MM; WIDTH: 16 MM; STYLE: DOUBLE SHIELD; SUPPL P/N: 51108; ITEM MUST BE ORIGINAL PACKED; ROW SINGLE | EA | 50 |  |  |
| 160 | 31263 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 160 MM; OUTSIDE DIAMETER: 290 MM; WIDTH: 80 MM; ROW: DOUBLE; BORE SHAPE: TAPER; REFERENCE NO: 22232CCKW | EA | 100 |  |  |
| 161 | 31280 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 170 MM; LENGTH: 140 MM; MATERIAL: STEEL; SUPPL P/N: H3138; REFERENCE NO: H3138; 200 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 162 | 31285 | BEARING, ROLLER: TYPE: TAPER CONE/CUP; INSIDE DIAMETER: 150 MM; OUTSIDE DIAMETER: 270 MM; WIDTH: 49 MM; ROW: SINGLE; SUPPL P/N: 30230; REFERENCE NO: 30230 | EA | 50 |  |  |
| 163 | 31301 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 23 MM; ROW: SINGLE; SUPPL P/N: NU213ECPC3; REFERENCE NO: NU213ECP | EA | 250 |  |  |
| 164 | 31304 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 19 MM; ROW: SINGLE; SUPPL P/N: 6306-2RSIC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 165 | 31321 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 140 MM; WIDTH: 33 MM; ROW: SINGLE; SUPPL P/N: 6313C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 166 | 31328 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 70 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 38.5 MM; ROW: SINGLE; SPECIFICATION: ISO 355; SUPPL P/N: 31314C3; NOMINAL CONTACT ANGLE 10 DEGREE-17 DEGREE, DIMENSIONAL SERIES ACCORDING | EA | 100 |  |  |
| 167 | 31358 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 75 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 40 MM; ROW: SINGLE; SUPPL P/N: 31315 | EA | 50 |  |  |
| 168 | 31359 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 75 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 55 MM; ROW: DOUBLE; SUPPL P/N: 22315CC3 | EA | 100 |  |  |
| 169 | 31360 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 24 MM; ROW: SINGLE; SUPPL P/N: SL182922C3; FULL COMPLEMENT, COND ASH STACKER RLA 33K BNN | EA | 50 |  |  |
| 170 | 31361 | BEARING, ROLLER: TYPE: ANGULAR CONTACT; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 28 MM; ROW: DOUBLE; SUPPL P/N: Y-33207C3; REFERENCE NO: Y-33207 | EA | 25 |  |  |
| 171 | 31362 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 220 MM; OUTSIDE DIAMETER: 300 MM; WIDTH: 48 MM; ROW: SINGLE; SUPPL P/N: SL182944C3; FULL COMPLEMENT | EA | 25 |  |  |
| 172 | 31363 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 63.95 MM; ROW: DOUBLE; SUPPL P/N: 22318EC3; REFERENCE NO: 22318 | EA | 25 |  |  |
| 173 | 31365 | BEARING, ROLLER: TYPE: TAPER; INSIDE DIAMETER: 95 MM; OUTSIDE DIAMETER: 200 MM; WIDTH: 50 MM; ROW: SINGLE; SUPPL P/N: 31319C3; REFERENCE NO: 31319 | EA | 25 |  |  |
| 174 | 31366 | BEARING, THRUST: ROLLING ELEMENT: ROLLER; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 135 MM; WIDTH: 35 MM; REFERENCE NO: 81218C3; ROW SINGLE; TYPE SINGLE DIRECTION | EA | 25 |  |  |
| 175 | 31367 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 150 MM; OUTSIDE DIAMETER: 320 MM; WIDTH: 108 MM; ROW: DOUBLE; REFERENCE NO: 22330CCW33; 22330CCW33C3 | EA | 25 |  |  |
| 176 | 31368 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 240 MM; WIDTH: 80 MM; ROW: DOUBLE; SUPPL P/N: 22322 CC/W33C3; REFERENCE NO: 22322 CC/W33 | EA | 25 |  |  |
| 177 | 31369 | BEARING, ROLLER: TYPE: TAPER; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 25 MM; ROW: SINGLE; REFERENCE NO: 32208 J2; 32208 J2C3 | EA | 50 |  |  |
| 178 | 31382 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 120 MM; OUTSIDE DIAMETER: 215 MM; WIDTH: 40 MM; ROW: SINGLE; SUPPL P/N: N224WC3; REFERENCE NO: N224W | EA | 25 |  |  |
| 179 | 31392 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 120 MM; OUTSIDE DIAMETER: 260 MM; WIDTH: 86 MM; ROW: DOUBLE; SUPPL P/N: 22324CC3; FOR RDH 33 BNN ANR BNR GEARBOX | EA | 50 |  |  |
| 180 | 31401 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 140 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 30 MM; ROW: SINGLE; SUPPL P/N: SL182928C3; FULL COMPLEMENT | EA | 25 |  |  |
| 181 | 31412 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 190 MM; OUTSIDE DIAMETER: 320 MM; WIDTH: 104 MM; ROW: DOUBLE; SUPPL P/N: 23138 CCK/W33C3; REFERENCE NO: 23138CCKW33 | EA | 250 |  |  |
| 182 | 31419 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 220 MM; LENGTH: 170 MM; MATERIAL: STEEL; REFERENCE NO: 0H3148H; 240 MM OUTSIDE DIAMETER, 172 MM WIDTH; 250 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 250 |  |  |
| 183 | 31456 | BEARING, SLEEVE: TYPE: BUSH; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 104 MM; LENGTH: 71 MM; MATERIAL: MS; REFERENCE NO: A320X; COMPLETE WITH NUT AND LOCKWASHER | EA | 25 |  |  |
| 184 | 31486 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 140 MM; WIDTH: 33 MM; ROW: SINGLE; REFERENCE NO: NU313ECP | EA | 50 |  |  |
| 185 | 31498 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 130 MM; OUTSIDE DIAMETER: 170 MM; WIDTH: 30 MM; STYLE: OPEN; OEM P/N: 7160-098, OEM: GE STEAM POWER SERVICE; 7360-098, OEM: GE STEAM POWER SERVICE; MANUF P/N: 51126MBC3; 51126MB; SINGLE DIRECTION, SINGLE ROW; HP ESV SERVO MOTOR, (51126 DIN 711) | EA | 25 |  |  |
| 186 | 31503 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 130 MM; OUTSIDE DIAMETER: 230 MM; WIDTH: 40 MM; ROW: SINGLE; SUPPL P/N: 6226C3; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 187 | 31512 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 130 MM; OUTSIDE DIAMETER: 230 MM; WIDTH: 40 MM; ROW: SINGLE; SUPPL P/N: NU226MC3; REFERENCE NO: NU226M | EA | 25 |  |  |
| 188 | 31514 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 100 MM; WIDTH: 25 MM; ROW: SINGLE; SUPPL P/N: 7309BG; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 189 | 31515 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 100 MM; WIDTH: 25 MM; ROW: SINGLE; REFERENCE NO: NU309ECPC3; NU309ECP | EA | 200 |  |  |
| 190 | 31527 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 17 MM; ROW: SINGLE; SUPPL P/N: 1207C3; REFERENCE NO: 1207 | EA | 25 |  |  |
| 192 | 31550 | BEARING, PILLOW BLOCK: INSIDE DIAMETER: 78 MM; BOLT MOUNTING: 2; BOLT DIAMETER: M18; BLOCK SIZE: WD 38 X LG 228 X HT 158 MM; SHAFT HEIGHT: 80 MM; HOUSING MATERIAL: CI; SUPPL P/N: 3283-009-46; SIZE: HOLE DIAMETER FOR WEARING COLLAR 109MM, TIGHTENING HOLES 18MM DIAMETER WITH CENTRES 190MM, TO BS1452 GRADE 22, WITHOUT WEARING COLLAR, FOR USE ON ELECTROSTATIC PRECIP, DISHARGE RAPPING (TOP GRIT); DEEP GROOVE | EA | 50 |  |  |
| 193 | 31552 | BEARING, PILLOW BLOCK: INSIDE DIAMETER: 50 MM; BOLT MOUNTING: 2; BOLT DIAMETER: M14; BLOCK SIZE: WD 62 X LG 220 X HT 107 MM; SHAFT HEIGHT: 60 MM; HOUSING MATERIAL: CI; SUPPL P/N: 328300950; COMPLETE WITH BRASS BUSH SPLIT, 170MM HOLE CENTRES, HOLE SIZE: 13MM WIDE X 23.5MM LONG | EA | 50 |  |  |
| 194 | 31563 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 25 MM; OUTSIDE DIAMETER: 52 MM; WIDTH: 18 MM; ROW: SINGLE; SUPPL P/N: NU2205ECPC3; REFERENCE NO: NU2205ECP | EA | 50 |  |  |
| 195 | 31593 | COVER: TYPE: BEARING; DIMENSIONS: WD 75 X LG 119 X HT 40 MM; MATERIAL: CI; ASSEMBLY; CONSTRUCTION; 4 X 14MM MOUNTING HOLES; COMPLETE WITH KLINGERIT BASE GASKET 6MM THICK, USED ON 30MM DIAMETER SHAFT | EA | 200 |  |  |
| 196 | 31594 | COVER: TYPE: BEARING; DIMENSIONS: WD 75 X LG 120 X HT 40 MM; MATERIAL: CI; ASSEMBLY, I/D 40.3MM, 14MM HOLES, HOLE CENTRES: 90MM X 45MM, COMPLETE WITH GASKET KLINGERITE 5MM THICK, CAST IRON SHAFT | EA | 25 |  |  |
| 197 | 31595 | COVER: TYPE: BEARING; DIMENSIONS: ID 80.5 X WD 138 X LG 181 X HT 82 MM; MATERIAL: CI; ASSEMBLY, CONSTRUCTION, 4 X 18MM MOUNTING HOLES, COMPLETE WITH KLINGERIT BASE GASKET 5MM THICK, FOR USE ON 80MM DIAMETER SHAFT | EA | 200 |  |  |
| 198 | 31601 | COVER: TYPE: BEARING; DIMENSIONS: WD 106 X LG 151 X HT 59 MM; MATERIAL: CI; SIZE DN60, 16MM THICK; 4 X 14 MM MOUNTING HOLES, COMPLETE WITH KLINGERIT BASE GASKET 6MM THICK, INSIDE DIAMETER 60.4MM, FOR USE IN 60MM SHAFT AND FOR USE ON SECONDARY AIR REGULATING DAMPER ASSY; ON ALL BURNER LEVELS AND CORNERS, 43M,46M AND 54M LEVELS AND ALL BURNER CORNERS AND ON A-E MILLS LOWER AND UPPER COLD AND HOT AIR REGULATING DAMPER ASSY; 16M LEVEL | EA | 25 |  |  |
| 199 | 31602 | COVER: TYPE: BEARING; DIMENSIONS: WD 172 X LG 192 X HT 81 MM; MATERIAL: CI; ASSEMBLY, CONSTRUCTION, 4 X 18MM MOUNTING HOLES, COMPLETE WITH KLINGERIT BASE GASKET 6MM THICK | EA | 200 |  |  |
| 200 | 31603 | COVER: TYPE: BEARING; DIMENSIONS: WD 203 X LG 253 X HT 124 MM; MATERIAL: CI; ASSEMBLY, CONSTRUCTION, 4 X 23MM MOUNTING HOLES, COMPLETE W ITH KLINGERIT GASKET FOR BASE 6MM THICK | EA | 25 |  |  |
| 201 | 31626 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 21 MM; ROW: SINGLE; SUPPL P/N: NU307ECPC3; REFERENCE NO: NU307ECP | EA | 50 |  |  |
| 202 | 31627 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 200 MM; WIDTH: 53 MM; ROW: DOUBLE; SUPPL P/N: 22222 CDE4C3 | EA | 25 |  |  |
| 203 | 31656 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 27 MM; ROW: DOUBLE; SUPPL P/N: 3207BTVHC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 204 | 31658 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 23 MM; ROW: SINGLE; SUPPL P/N: NU2208ECPC3; REFERENCE NO: NU2208ECP | EA | 50 |  |  |
| 205 | 31663 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 20 MM; OUTSIDE DIAMETER: 52 MM; WIDTH: 22.2 MM; ROW: DOUBLE; SUPPL P/N: 3304ATN9C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 206 | 31667 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 25 MM; OUTSIDE DIAMETER: 62 MM; WIDTH: 17 MM; ROW: SINGLE; REFERENCE NO: NU305E | EA | 50 |  |  |
| 207 | 31681 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 170 MM; OUTSIDE DIAMETER: 230 MM; WIDTH: 38 MM; ROW: SINGLE; SPECIFICATION: ISO 355; SUPPL P/N: 32934C3; OUTER RING WIDTH 30MM, NOMINAL CONTACT ANGLE 10-17 DEGREE, ACCORDING TO DIMENTIONAL SERIES | EA | 50 |  |  |
| 208 | 31684 | BEARING, BALL: TYPE: CONRAD; STYLE: SHIELD; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 19 MM; ROW: SINGLE; SUPPL P/N: 6306 ZC3; REFERENCE NO: 6306 Z; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 209 | 31688 | BEARING, ROLLER: TYPE: TAPER; INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 170 MM; WIDTH: 58 MM; ROW: SINGLE; SUPPL P/N: SL 192316C3; BRAND: INA 01/V12 | EA | 50 |  |  |
| 210 | 31237 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 90 MM; WIDTH: 25.25 MM; ROW: SINGLE; SUPPL P/N: 31308 | EA | 50 |  |  |
| 211 | 31244 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 60 MM; WIDTH: 16 MM; STYLE: DOUBLE SHIELD; SUPPL P/N: 51108; ITEM MUST BE ORIGINAL PACKED; ROW SINGLE | EA | 50 |  |  |
| 212 | 31263 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 160 MM; OUTSIDE DIAMETER: 290 MM; WIDTH: 80 MM; ROW: DOUBLE; BORE SHAPE: TAPER; REFERENCE NO: 22232CCKW | EA | 50 |  |  |
| 213 | 31280 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 170 MM; LENGTH: 140 MM; MATERIAL: STEEL; SUPPL P/N: H3138; REFERENCE NO: H3138; 200 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 214 | 31285 | BEARING, ROLLER: TYPE: TAPER CONE/CUP; INSIDE DIAMETER: 150 MM; OUTSIDE DIAMETER: 270 MM; WIDTH: 49 MM; ROW: SINGLE; SUPPL P/N: 30230; REFERENCE NO: 30230 | EA | 50 |  |  |
| 215 | 31301 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 23 MM; ROW: SINGLE; SUPPL P/N: NU213ECPC3; REFERENCE NO: NU213ECP | EA | 50 |  |  |
| 216 | 31304 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 19 MM; ROW: SINGLE; SUPPL P/N: 6306-2RSIC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 217 | 31321 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 140 MM; WIDTH: 33 MM; ROW: SINGLE; SUPPL P/N: 6313C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 218 | 31328 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 70 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 38.5 MM; ROW: SINGLE; SPECIFICATION: ISO 355; SUPPL P/N: 31314C3; NOMINAL CONTACT ANGLE 10 DEGREE-17 DEGREE, DIMENSIONAL SERIES ACCORDING | EA | 50 |  |  |
| 219 | 31358 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 75 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 40 MM; ROW: SINGLE; SUPPL P/N: 31315 | EA | 350 |  |  |
| 220 | 31359 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 75 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 55 MM; ROW: DOUBLE; SUPPL P/N: 22315CC3 | EA | 50 |  |  |
| 221 | 31360 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 24 MM; ROW: SINGLE; SUPPL P/N: SL182922C3; FULL COMPLEMENT, COND ASH STACKER RLA 33K BNN | EA | 50 |  |  |
| 222 | 31361 | BEARING, ROLLER: TYPE: ANGULAR CONTACT; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 28 MM; ROW: DOUBLE; SUPPL P/N: Y-33207C3; REFERENCE NO: Y-33207 | EA | 75 |  |  |
| 223 | 31362 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 220 MM; OUTSIDE DIAMETER: 300 MM; WIDTH: 48 MM; ROW: SINGLE; SUPPL P/N: SL182944C3; FULL COMPLEMENT | EA | 50 |  |  |
| 224 | 31363 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 63.95 MM; ROW: DOUBLE; SUPPL P/N: 22318EC3; REFERENCE NO: 22318 | EA | 50 |  |  |
| 225 | 31365 | BEARING, ROLLER: TYPE: TAPER; INSIDE DIAMETER: 95 MM; OUTSIDE DIAMETER: 200 MM; WIDTH: 50 MM; ROW: SINGLE; SUPPL P/N: 31319C3; REFERENCE NO: 31319 | EA | 50 |  |  |
| 226 | 31366 | BEARING, THRUST: ROLLING ELEMENT: ROLLER; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 135 MM; WIDTH: 35 MM; REFERENCE NO: 81218C3; ROW SINGLE; TYPE SINGLE DIRECTION | EA | 50 |  |  |
| 227 | 31367 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 150 MM; OUTSIDE DIAMETER: 320 MM; WIDTH: 108 MM; ROW: DOUBLE; REFERENCE NO: 22330CCW33; 22330CCW33C3 | EA | 50 |  |  |
| 228 | 31368 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 240 MM; WIDTH: 80 MM; ROW: DOUBLE; SUPPL P/N: 22322 CC/W33C3; REFERENCE NO: 22322 CC/W33 | EA | 50 |  |  |
| 229 | 31369 | BEARING, ROLLER: TYPE: TAPER; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 25 MM; ROW: SINGLE; REFERENCE NO: 32208 J2; 32208 J2C3 | EA | 50 |  |  |
| 230 | 31382 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 120 MM; OUTSIDE DIAMETER: 215 MM; WIDTH: 40 MM; ROW: SINGLE; SUPPL P/N: N224WC3; REFERENCE NO: N224W | EA | 100 |  |  |
| 231 | 31392 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 120 MM; OUTSIDE DIAMETER: 260 MM; WIDTH: 86 MM; ROW: DOUBLE; SUPPL P/N: 22324CC3; FOR RDH 33 BNN ANR BNR GEARBOX | EA | 50 |  |  |
| 232 | 31401 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 140 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 30 MM; ROW: SINGLE; SUPPL P/N: SL182928C3; FULL COMPLEMENT | EA | 50 |  |  |
| 233 | 31412 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 190 MM; OUTSIDE DIAMETER: 320 MM; WIDTH: 104 MM; ROW: DOUBLE; SUPPL P/N: 23138 CCK/W33C3; REFERENCE NO: 23138CCKW33 | EA | 125 |  |  |
| 234 | 31419 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 220 MM; LENGTH: 170 MM; MATERIAL: STEEL; REFERENCE NO: 0H3148H; 240 MM OUTSIDE DIAMETER, 172 MM WIDTH; 250 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 235 | 31456 | BEARING, SLEEVE: TYPE: BUSH; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 104 MM; LENGTH: 71 MM; MATERIAL: MS; REFERENCE NO: A320X; COMPLETE WITH NUT AND LOCKWASHER | EA | 50 |  |  |
| 236 | 31486 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 140 MM; WIDTH: 33 MM; ROW: SINGLE; REFERENCE NO: NU313ECP | EA | 50 |  |  |
| 238 | 31503 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 130 MM; OUTSIDE DIAMETER: 230 MM; WIDTH: 40 MM; ROW: SINGLE; SUPPL P/N: 6226C3; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 239 | 31512 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 130 MM; OUTSIDE DIAMETER: 230 MM; WIDTH: 40 MM; ROW: SINGLE; SUPPL P/N: NU226MC3; REFERENCE NO: NU226M | EA | 40 |  |  |
| 240 | 31514 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 100 MM; WIDTH: 25 MM; ROW: SINGLE; SUPPL P/N: 7309BG; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 500 |  |  |
| 241 | 31515 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 100 MM; WIDTH: 25 MM; ROW: SINGLE; REFERENCE NO: NU309ECPC3; NU309ECP | EA | 50 |  |  |
| 242 | 31527 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 17 MM; ROW: SINGLE; SUPPL P/N: 1207C3; REFERENCE NO: 1207 | EA | 50 |  |  |
| 244 | 31550 | BEARING, PILLOW BLOCK: INSIDE DIAMETER: 78 MM; BOLT MOUNTING: 2; BOLT DIAMETER: M18; BLOCK SIZE: WD 38 X LG 228 X HT 158 MM; SHAFT HEIGHT: 80 MM; HOUSING MATERIAL: CI; SUPPL P/N: 3283-009-46; SIZE: HOLE DIAMETER FOR WEARING COLLAR 109MM, TIGHTENING HOLES 18MM DIAMETER WITH CENTRES 190MM, TO BS1452 GRADE 22, WITHOUT WEARING COLLAR, FOR USE ON ELECTROSTATIC PRECIP, DISHARGE RAPPING (TOP GRIT); DEEP GROOVE | EA | 10 |  |  |
| 245 | 31552 | BEARING, PILLOW BLOCK: INSIDE DIAMETER: 50 MM; BOLT MOUNTING: 2; BOLT DIAMETER: M14; BLOCK SIZE: WD 62 X LG 220 X HT 107 MM; SHAFT HEIGHT: 60 MM; HOUSING MATERIAL: CI; SUPPL P/N: 328300950; COMPLETE WITH BRASS BUSH SPLIT, 170MM HOLE CENTRES, HOLE SIZE: 13MM WIDE X 23.5MM LONG | EA | 50 |  |  |
| 246 | 31563 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 25 MM; OUTSIDE DIAMETER: 52 MM; WIDTH: 18 MM; ROW: SINGLE; SUPPL P/N: NU2205ECPC3; REFERENCE NO: NU2205ECP | EA | 50 |  |  |
| 247 | 31593 | COVER: TYPE: BEARING; DIMENSIONS: WD 75 X LG 119 X HT 40 MM; MATERIAL: CI; ASSEMBLY; CONSTRUCTION; 4 X 14MM MOUNTING HOLES; COMPLETE WITH KLINGERIT BASE GASKET 6MM THICK, USED ON 30MM DIAMETER SHAFT | EA | 50 |  |  |
| 248 | 31594 | COVER: TYPE: BEARING; DIMENSIONS: WD 75 X LG 120 X HT 40 MM; MATERIAL: CI; ASSEMBLY, I/D 40.3MM, 14MM HOLES, HOLE CENTRES: 90MM X 45MM, COMPLETE WITH GASKET KLINGERITE 5MM THICK, CAST IRON SHAFT | EA | 50 |  |  |
| 249 | 31595 | COVER: TYPE: BEARING; DIMENSIONS: ID 80.5 X WD 138 X LG 181 X HT 82 MM; MATERIAL: CI; ASSEMBLY, CONSTRUCTION, 4 X 18MM MOUNTING HOLES, COMPLETE WITH KLINGERIT BASE GASKET 5MM THICK, FOR USE ON 80MM DIAMETER SHAFT | EA | 50 |  |  |
| 250 | 31601 | COVER: TYPE: BEARING; DIMENSIONS: WD 106 X LG 151 X HT 59 MM; MATERIAL: CI; SIZE DN60, 16MM THICK; 4 X 14 MM MOUNTING HOLES, COMPLETE WITH KLINGERIT BASE GASKET 6MM THICK, INSIDE DIAMETER 60.4MM, FOR USE IN 60MM SHAFT AND FOR USE ON SECONDARY AIR REGULATING DAMPER ASSY; ON ALL BURNER LEVELS AND CORNERS, 43M,46M AND 54M LEVELS AND ALL BURNER CORNERS AND ON A-E MILLS LOWER AND UPPER COLD AND HOT AIR REGULATING DAMPER ASSY; 16M LEVEL | EA | 40 |  |  |
| 251 | 31602 | COVER: TYPE: BEARING; DIMENSIONS: WD 172 X LG 192 X HT 81 MM; MATERIAL: CI; ASSEMBLY, CONSTRUCTION, 4 X 18MM MOUNTING HOLES, COMPLETE WITH KLINGERIT BASE GASKET 6MM THICK | EA | 20 |  |  |
| 252 | 31603 | COVER: TYPE: BEARING; DIMENSIONS: WD 203 X LG 253 X HT 124 MM; MATERIAL: CI; ASSEMBLY, CONSTRUCTION, 4 X 23MM MOUNTING HOLES, COMPLETE W ITH KLINGERIT GASKET FOR BASE 6MM THICK | EA | 300 |  |  |
| 253 | 31626 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 21 MM; ROW: SINGLE; SUPPL P/N: NU307ECPC3; REFERENCE NO: NU307ECP | EA | 50 |  |  |
| 254 | 31627 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 200 MM; WIDTH: 53 MM; ROW: DOUBLE; SUPPL P/N: 22222 CDE4C3 | EA | 150 |  |  |
| 255 | 31656 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 27 MM; ROW: DOUBLE; SUPPL P/N: 3207BTVHC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 30 |  |  |
| 256 | 31658 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 23 MM; ROW: SINGLE; SUPPL P/N: NU2208ECPC3; REFERENCE NO: NU2208ECP | EA | 50 |  |  |
| 257 | 31663 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 20 MM; OUTSIDE DIAMETER: 52 MM; WIDTH: 22.2 MM; ROW: DOUBLE; SUPPL P/N: 3304ATN9C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 258 | 31667 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 25 MM; OUTSIDE DIAMETER: 62 MM; WIDTH: 17 MM; ROW: SINGLE; REFERENCE NO: NU305E | EA | 50 |  |  |
| 259 | 31681 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 170 MM; OUTSIDE DIAMETER: 230 MM; WIDTH: 38 MM; ROW: SINGLE; SPECIFICATION: ISO 355; SUPPL P/N: 32934C3; OUTER RING WIDTH 30MM, NOMINAL CONTACT ANGLE 10-17 DEGREE, ACCORDING TO DIMENTIONAL SERIES | EA | 50 |  |  |
| 260 | 31684 | BEARING, BALL: TYPE: CONRAD; STYLE: SHIELD; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 19 MM; ROW: SINGLE; SUPPL P/N: 6306 ZC3; REFERENCE NO: 6306 Z; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 261 | 31688 | BEARING, ROLLER: TYPE: TAPER; INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 170 MM; WIDTH: 58 MM; ROW: SINGLE; SUPPL P/N: SL 192316C3; BRAND: INA 01/V12 | EA | 30 |  |  |
| 262 | 31691 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 240 MM; OUTSIDE DIAMETER: 320 MM; WIDTH: 48 MM; ROW: SINGLE; SUPPL P/N: SL182948C3; FULL COMPLEMENT | EA | 30 |  |  |
| 263 | 31692 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 120 MM; OUTSIDE DIAMETER: 260 MM; WIDTH: 55 MM; ROW: SINGLE; SUPPL P/N: NU324ECJC3; REFERENCE NO: NU324ECJ | EA | 100 |  |  |
| 264 | 31704 | BEARING, THRUST: ROLLING ELEMENT: ROLLER NEEDLE; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 8.3 MM; REFERENCE NO: AXK 90120C3; AS 90120 PLUS WASHERS; ROW SINGLE | EA | 25 |  |  |
| 265 | 31706 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 130 MM; WIDTH: 31 MM; ROW: SINGLE; SUPPL P/N: 63122RSIC3; REFERENCE NO: 63122RSI; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 266 | 31709 | BEARING, BALL: TYPE: CONRAD; STYLE: SHIELD; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 75 MM; WIDTH: 16 MM; ROW: SINGLE; SUPPL P/N: 6009DUC3; REFERENCE NO: 6009DU; USED ON MAGNETIC CLUTCH FEEDER; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 267 | 31711 | BEARING, ROLLER: TYPE: TAPER CONE/CUP; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 100 MM; WIDTH: 38.25 MM; ROW: SINGLE; SUPPL P/N: HR32309J | EA | 50 |  |  |
| 268 | 31712 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 55 MM; OUTSIDE DIAMETER: 100 MM; WIDTH: 25 MM; ROW: DOUBLE; SUPPL P/N: 22211ESC3 | EA | 50 |  |  |
| 269 | 31713 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 70 MM; OUTSIDE DIAMETER: 110 MM; WIDTH: 20 MM; ROW: SINGLE; SUPPL P/N: 6014AV2SC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 270 | 31720 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 170 MM; WIDTH: 58 MM; ROW: SINGLE; SUPPL P/N: NJG2316VHC3 | EA | 50 |  |  |
| 271 | 31724 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 85 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 28 MM; ROW: SINGLE; REFERENCE NO: NU217; NU217J; NU217C3 | EA | 50 |  |  |
| 272 | 31729 | BEARING, BALL: TYPE: THRUST SINGLE DIRECTION; STYLE: OPEN; INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 105 MM; WIDTH: 19 MM; ROW: SINGLE; SUPPL P/N: 51116; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 273 | 31734 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 50 MM; OUTSIDE DIAMETER: 110 MM; WIDTH: 42.5 MM; ROW: SINGLE; SPECIFICATION: ISO 355; SUPPL P/N: 32310; NOMINAL CONTACT ANGLE 10-17 DEGREE | EA | 75 |  |  |
| 274 | 31736 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 140 MM; WIDTH: 51.5 MM; ROW: SINGLE; SPECIFICATION: ISO 355 AE; SUPPL P/N: 32313JR; NOMINAL CONTACT ANGLE 10-17 DEGREE | EA | 25 |  |  |
| 275 | 31738 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 64 MM; ROW: SINGLE; SUPPL P/N: SL192318C3; FULL COMPLEMENT, FOR GEARBOX KZA 400/A, FOR USE ON ASH DISPOSAL STANDBY CONVEYOR, SPREADER LINK KZA 320 | EA | 50 |  |  |
| 276 | 31752 | BEARING, BALL: TYPE: SELF ALIGNING; STYLE: OPEN; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 30 MM; ROW: DOUBLE; SUPPL P/N: 1218KC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 277 | 31753 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 80 MM; LENGTH: 52 MM; MATERIAL: STEEL; SUPPL P/N: H218; H218 F; REFERENCE NO: H218; H218F; 93 MM OD, FOR PLUMMER BLOCK; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 278 | 31772 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 320 MM; OUTSIDE DIAMETER: 540 MM; WIDTH: 176 MM; ROW: DOUBLE; REFERENCE NO: 23164 S.MB.C3; MACHINED BRASS CAGE INNER RING GUIDED, LUBRICATION GROOVE AND LUBRICATING HOLES IN THE OUTER RING, BRAND: FAG ONLY; SUPPLY A LETTER FROM THE MANUFACTURERS STATING THAT IT IS AN ORIGINAL FAG BEARING | EA | 25 |  |  |
| 279 | 31773 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 300 MM; OUTSIDE DIAMETER: 500 MM; WIDTH: 200 MM; ROW: DOUBLE; CAGE MATERIAL: STL; REFERENCE NO: 24160 B.C3; MACHINED INNER RING GUIDED, LUBRICATION GROOVE AND LUBRICATING HOLES IN THE OUTER RING, AMOUNT OF ROLLERS PER ROW (22 ROLLERS PER ROW) SUPPLY A LETTER FROM THE MANUFACTURERS STATING THAT IT IS AN ORIGINAL FAG BEARING | EA | 50 |  |  |
| 280 | 31776 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 95 MM; OUTSIDE DIAMETER: 200 MM; WIDTH: 45 MM; ROW: SINGLE; SUPPL P/N: 21319C3 | EA | 50 |  |  |
| 281 | 31780 | BEARING, ROLLER: TYPE: SPHERICAL TAPERED; INSIDE DIAMETER: 190 MM; OUTSIDE DIAMETER: 340 MM; WIDTH: 204 MM; ROW: DOUBLE; REFERENCE NO: 564071; 564071C3; SINGLE OUTER SPECIAL CUP TYPE; BRAND FAG ONLY | EA | 50 |  |  |
| 282 | 31785 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 22 MM; ROW: SINGLE; REFERENCE NO: 7307BG; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 283 | 31793 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 170 MM; WIDTH: 47 MM; ROW: SINGLE; SUPPL P/N: 32022JR | EA | 25 |  |  |
| 284 | 31794 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 150 MM; OUTSIDE DIAMETER: 225 MM; WIDTH: 56 MM; ROW: DOUBLE; SUPPL P/N: 23030CCW33C3; WITH LUBRICATION GROOVE AND THREE HOLES IN OUTER RING | EA | 25 |  |  |
| 285 | 31795 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 130 MM; OUTSIDE DIAMETER: 230 MM; WIDTH: 40 MM; ROW: SINGLE; SUPPL P/N: 7226BCBM; DUTY: HEAVY; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 286 | 31796 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 140 MM; WIDTH: 36 MM; ROW: SINGLE; SPECIFICATION: DIN; ISO 355 T2GB065; SUPPL P/N: 30313A; TDIMENSIONAL SERIES | EA | 50 |  |  |
| 287 | 31805 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 18 MM; ROW: SINGLE; SUPPL P/N: 6208-2ZC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 288 | 31808 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 140 MM; WIDTH: 33 MM; ROW: SINGLE; REFERENCE NO: NU313/C3; ITEM TO BE ORIGINAL PACKED, NOTE - THE REFERENCE NUMBER MUST BE CAST AND NOT ENGRAVE ON THE BEARING | EA | 25 |  |  |
| 289 | 31809 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 70 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 35 MM; ROW: SINGLE; REFERENCE NO: NU314/C3; ITEM TO BE ORIGINAL PACKED, NOTE: THE REFERENCE NUMBER MUST BE CAST AN NOT ENGRAVE ON THE BEARING | EA | 100 |  |  |
| 290 | 31810 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 25 MM; OUTSIDE DIAMETER: 62 MM; WIDTH: 17 MM; ROW: SINGLE; SUPPL P/N: 321,01; REFERENCE NO: 6305-2RS1/C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 291 | 31811 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 17 MM; ROW: SINGLE; SUPPL P/N: 6207ZC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 292 | 31812 | BEARING, BALL: TYPE: CONRAD; STYLE: SHIELD; INSIDE DIAMETER: 50 MM; OUTSIDE DIAMETER: 110 MM; WIDTH: 27 MM; ROW: SINGLE; SUPPL P/N: 6310-ZC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 293 | 31814 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 85 MM; OUTSIDE DIAMETER: 180 MM; WIDTH: 41 MM; ROW: SINGLE; REFERENCE NO: N317ECP; N317ECPC3; USED ON T7 COAL CONVEYOR HYDR PUMP MOTOR A/C AND USED ON AUX COOLING FAN MOTOR DE | EA | 100 |  |  |
| 294 | 31815 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 240 MM; WIDTH: 80 MM; ROW: SINGLE; SUPPL P/N: NU2322ECMAC3; REFERENCE NO: NU2322ECMA | EA | 25 |  |  |
| 295 | 31816 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 120 MM; OUTSIDE DIAMETER: 260 MM; WIDTH: 55 MM; ROW: SINGLE; REFERENCE NO: NU324 ECPC3; NU324 ECP | EA | 50 |  |  |
| 296 | 31817 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 85 MM; WIDTH: 19 MM; ROW: SINGLE; SUPPL P/N: 6209 2RSC3; REFERENCE NO: 6209 2RS; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 200 |  |  |
| 297 | 31819 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 85 MM; OUTSIDE DIAMETER: 180 MM; WIDTH: 44.5 MM; ROW: SINGLE; SUPPL P/N: 31317 | EA | 75 |  |  |
| 298 | 31820 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 33 MM; ROW: SINGLE; SUPPL P/N: 32307 | EA | 75 |  |  |
| 299 | 31821 | BEARING, ROLLER: TYPE: TAPER CONE/CUP; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 27.75 MM; ROW: SINGLE; SUPPL P/N: 31307C3; REFERENCE NO: 31307J2Q | EA | 150 |  |  |
| 300 | 31823 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 125 MM; WIDTH: 22 MM; ROW: SINGLE; SUPPL P/N: 6016C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 250 |  |  |
| 301 | 31824 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 240 MM; WIDTH: 50 MM; ROW: SINGLE; SUPPL P/N: 6322C3; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 302 | 31826 | BEARING, BALL: TYPE: CONRAD; STYLE: SHIELD; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 130 MM; WIDTH: 31 MM; ROW: SINGLE; SUPPL P/N: 6312Z; REFERENCE NO: 6312; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 150 |  |  |
| 303 | 31827 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 20 MM; OUTSIDE DIAMETER: 42 MM; WIDTH: 12 MM; ROW: SINGLE; SUPPL P/N: 6004-2ZC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 150 |  |  |
| 304 | 31829 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 90 MM; WIDTH: 23 MM; ROW: SINGLE; REFERENCE NO: 6308-2RS; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 500 |  |  |
| 306 | 31832 | BEARING, BALL: TYPE: SELF ALIGNING; STYLE: OPEN; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 62 MM; WIDTH: 16 MM; ROW: SINGLE; SUPPL P/N: 1206 KC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 307 | 31833 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 90 MM; WIDTH: 33 MM; ROW: DOUBLE; SUPPL P/N: 22308CCC3 | EA | 50 |  |  |
| 308 | 31842 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 18 MM; ROW: SINGLE; SUPPL P/N: N208ECPC3; REFERENCE NO: N208ECP | EA | 75 |  |  |
| 309 | 31843 | BEARING, THRUST: ROLLING ELEMENT: CYLINDRICAL; INSIDE DIAMETER: 100 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 38 MM; CAGE MATERIAL: BRS MACHINED; REFERENCE NO: 81220; 81220C3; ROW SINGLE | EA | 25 |  |  |
| 310 | 31845 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 90 MM; WIDTH: 23 MM; ROW: SINGLE; SUPPL P/N: NU308EC3; REFERENCE NO: NU308E | EA | 50 |  |  |
| 311 | 31846 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 30.16 MM; ROW: DOUBLE; SUPPL P/N: 3306BC3; REFERENCE NO: 3306B; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 312 | 31863 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 25 MM; LENGTH: 31 MM; MATERIAL: STEEL; SUPPL P/N: H306; ON PRECIP DOUBLE FLAP VALVE; OD 32 MM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 100 |  |  |
| 313 | 31885 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 31 MM; ROW: DOUBLE; SUPPL P/N: 22213CCW33 | EA | 100 |  |  |
| 314 | 31896 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 55 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 29 MM; ROW: SINGLE; SUPPL P/N: 6311NC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 100 |  |  |
| 315 | 31938 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 100 MM; OUTSIDE DIAMETER: 180 MM; WIDTH: 46 MM; ROW: DOUBLE; SUPPL P/N: 22220CCKW33C3; REFERENCE NO: 22220CCKW33 | EA | 100 |  |  |
| 315 | 31942 | BEARING, BALL: TYPE: ANGULAR; STYLE: OPEN; INSIDE DIAMETER: 55 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 29 MM; ROW: SINGLE; CAGE MATERIAL: BRASS; REFERENCE NO: 7311BE CB M; FAG BRAND ONLY, 2B = 58MM, MATCHING PAIRS DESIGNED BACK TO BACK, BE - CONTACT ANGLE: 40 DEGREE GA - LIGHT PRELOAD, USED ON H P FEUL OIL PUMPS - NDE; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 317 | 31958 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 160 MM; OUTSIDE DIAMETER: 270 MM; WIDTH: 86 MM; ROW: DOUBLE; SUPPL P/N: 23132CCW33C3 | EA | 25 |  |  |
| 318 | 32012 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 55 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 46 MM; ROW: SINGLE; SUPPL P/N: 32311BC3 | EA | 25 |  |  |
| 319 | 32013 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 95 MM; OUTSIDE DIAMETER: 170 MM; WIDTH: 35 MM; ROW: SINGLE; SPECIFICATION: ISO 355 3FB; SUPPL P/N: 30219; WITH NOMINAL 10 -17 DEGREE CONTACT ANGLE, DIMENSION SERIES | EA | 50 |  |  |
| 320 | 32014 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 70 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 54.5 MM; ROW: SINGLE; SUPPL P/N: 32314C3; INNER RING WIDTH: 51MM OUTER RING WIDTH: 42MM, TOTAL WIDTH: 54MM, DIMENTIONAL SERIES ACCORDING TO ISO 355 | EA | 25 |  |  |
| 321 | 32020 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 15.88 MM; OUTSIDE DIAMETER: 34.93 MM; WIDTH: 7.14 MM; ROW: SINGLE; REFERENCE NO: KLNJ5-8; FOR USE ON PADDLE ALARM VOL/COAL/FEEDER; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 322 | 32021 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 85 MM; WIDTH: 22 MM; ROW: SINGLE; SUPPL P/N: 1145-1 3/4CG; SELF LUBE; INSERTS WITH PARALLEL OUTSIDE DIAMETER AND INTERGRAL 2 SET SCREW 120 DEGREE APART, OUTER RING THICKNESS: 27,78 MM, INNER RING THICKNESS: 49,78 MM, USED ON MILL VOLUMETRIC FEEDER BELT DRIVE PULLEY NON DRIVE END, MUST BE SUPPLIED WITH GROOVE AND CLIP; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 323 | 32025 | BEARING, THRUST: ROLLING ELEMENT: ROLLER NEEDLE; INSIDE DIAMETER: 130 MM; OUTSIDE DIAMETER: 170 MM; WIDTH: 23 MM; SUPPL P/N: AXK130170C3; AXIAL, USED ON SEMPELL VALVE 300MM, TYPE GTS2.300.250-19.60X.57X.57; SINGLE | EA | 25 |  |  |
| 324 | 32028 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 140 MM; WIDTH: 33 MM; ROW: DOUBLE; SUPPL P/N: 22216CCKW33C3; WITH LUBRICATION GROOVE AND THREE GREASE HOLES IN OUTER RING | EA | 25 |  |  |
| 325 | 32108 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 68 MM; WIDTH: 15 MM; ROW: SINGLE; SUPPL P/N: 6008-2RS1C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 326 | 32139 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 85 MM; OUTSIDE DIAMETER: 180 MM; WIDTH: 41 MM; ROW: SINGLE; SUPPL P/N: NU317ECPC3 | EA | 50 |  |  |
| 327 | 32273 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 140 MM; OUTSIDE DIAMETER: 250 MM; WIDTH: 68 MM; ROW: DOUBLE; SUPPL P/N: 22228CC/W33; CYLINDRICAL BORE | EA | 25 |  |  |
| 328 | 32295 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 120 MM; OUTSIDE DIAMETER: 215 MM; WIDTH: 40 MM; ROW: SINGLE; SUPPL P/N: 6224C3; NOTE:THE REFERENCE NUMBER MUST BE CAST AND NOT ENGRAVED ON BEARING, ITEM MUST BE ORIGINAL PACKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 329 | 32470 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 100 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 24 MM; ROW: SINGLE; SUPPL P/N: 6020-2ZC3; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 330 | 32517 | BEARING, ROLLER: TYPE: AXIAL NEEDLE; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 65 MM; WIDTH: 3 MM; ROW: SINGLE; SUPPL P/N: AXK4565; TWO THRUST RING PLATES PART NO:AS 4565, SIZE COMPLETE SET | EA | 25 |  |  |
| 331 | 32532 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 75 MM; WIDTH: 10 MM; ROW: SINGLE; SUPPL P/N: 16009; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 332 | 32542 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 90 MM; WIDTH: 36.51 MM; ROW: DOUBLE; SUPPL P/N: 3308; REFERENCE NO: 3308C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 333 | 32554 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: SINGLE SHIELD; INSIDE DIAMETER: 70 MM; OUTSIDE DIAMETER: 125 MM; WIDTH: 24 MM; ROW: SINGLE; CAGE MATERIAL: STL; MANUF P/N: 6214Z C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 334 | 32564 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 90 MM; WIDTH: 23 MM; ROW: SINGLE; SUPPL P/N: 6406C3; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 335 | 32582 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 140 MM; WIDTH: 26 MM; ROW: SINGLE; SUPPL P/N: 6216C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 336 | 32609 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 130 MM; WIDTH: 31 MM; ROW: SINGLE; REFERENCE NO: NJ312WC3; NJ312C3 | EA | 50 |  |  |
| 337 | 32678 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 25 MM; OUTSIDE DIAMETER: 62 MM; WIDTH: 17 MM; ROW: SINGLE; SUPPL P/N: NU305ECPC3; REFERENCE NO: NU305ECP | EA | 50 |  |  |
| 338 | 32707 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 76.2 MM; OUTSIDE DIAMETER: 177.8 MM; WIDTH: 39.69 MM; ROW: SINGLE; SUPPL P/N: AMS24 TN9; AMS24; MUST BE VACUUM PACKED, USED ON AIRHEATER GEARBOX INPUT BOX,GREASE APPLICATION,DAVID BROWN; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 339 | 33175 | BEARING, BALL: TYPE: ANGULAR CONTACT; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 130 MM; WIDTH: 31 MM; ROW: SINGLE; DRAWING NO: 20.58/7627 ESK REV 1; REFERENCE NO: 7312BEGP; ANTI FRICTION; FOR BOOSTER OIL PUMP, TYPE ETA 150-26; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 340 | 34568 | BEARING, PILLOW BLOCK: INSIDE DIAMETER: 97 MM; BOLT MOUNTING: 2; BOLT DIAMETER: M22; BLOCK SIZE: WD 90 X LG 320 X HT 183 MM; SHAFT HEIGHT: 95 MM; ROLLING ELEMENT: SPHERICAL; HOUSING MATERIAL: CI; SUPPL P/N: SNH 517 TG; SELF ALIGNING, MEDIUM DUTY, COMPLETE WITH DOUBLE LIP SEAL | EA | 50 |  |  |
| 341 | 34570 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 245 MM; OUTSIDE DIAMETER: 340 MM; WIDTH: 78 MM; STYLE: OPEN; SUPPL P/N: 51248; SINGLE DIRECTION, SINGLE ROW, HEAVY DUTY | EA | 25 |  |  |
| 342 | 34571 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 100 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 60 MM; ROW: DOUBLE; SUPPL P/N: SL045020PPC3 | EA | 50 |  |  |
| 343 | 34784 | BEARING, PILLOW BLOCK: INSIDE DIAMETER: 86 MM; BOLT MOUNTING: 2; BOLT DIAMETER: M22; BLOCK SIZE: WD 124 X LG 290 X HT 160 MM; SHAFT HEIGHT: 84 MM; HOUSING MATERIAL: CI; SUPPL P/N: TVN215; REFERENCE NO: 1215; DUTY: MEDIUM | EA | 100 |  |  |
| 344 | 34815 | BEARING, PILLOW BLOCK: INSIDE DIAMETER: 100 MM; BOLT MOUNTING: 2; BOLT DIAMETER: M24; BLOCK SIZE: WD 136 X LG 340 X HT 194 MM; HOUSING MATERIAL: CI; SUPPL P/N: SNH518-615; DEEP GROOVE, PLUMMER WITH LOCATING RINGS, USED ON CONDITIONED ASH TAKE UP TENSION CABLE SHEAVE WHEELS AND FIRST COLLECTOR CONVEYOR DE NDE DRIVE SIDE | EA | 50 |  |  |
| 345 | 34831 | BEARING, PILLOW BLOCK: INSIDE DIAMETER: 140 MM; BOLT MOUNTING: 2; BOLT DIAMETER: M38; BLOCK SIZE: WD 250 X LG 560 X HT 340 MM; SHAFT HEIGHT: 168 MM; HOUSING MATERIAL: CI; SUPPL P/N: SNA532TA; REFERENCE NO: FRB17/290P; HOUSING, COMPLETE WITH V-RING SEALS AND LOCATING RINGS | EA | 50 |  |  |
| 346 | 34844 | BEARING, PILLOW BLOCK: INSIDE DIAMETER: 90 MM; BOLT MOUNTING: 2; BOLT DIAMETER: M30; BLOCK SIZE: WD 110 X LG 380 X HT 215 MM; SHAFT HEIGHT: 112 MM; HOUSING MATERIAL: CI; REFERENCE NO: SNH520-617; HOUSING, FOR SHAFT DIA 90MM, BASE THICKNESS 40MM MOUNTING HOLES (CENTRE TO CENTRE) 320MM | EA | 50 |  |  |
| 347 | 34845 | BEARING, PILLOW BLOCK: INSIDE DIAMETER: 94 MM; BOLT MOUNTING: 2; BOLT DIAMETER: M24; BLOCK SIZE: WD 120 X LG 310 X HT 175 MM; SHAFT HEIGHT: 95 MM; HOUSING MATERIAL: CI; SUPPL P/N: SNH516-613; ROLLING ELEMENT BUSHING; HOUSING, BASE HOLES (CENTRE TO CENTRE) 260MM, BASE TO SHAFT CENTRE: 95MM, PLUMMERBLOCK WITHOUT SEALS, USED ON MILL BIN CONVEYOR TAKE UP PULLEY | EA | 50 |  |  |
| 348 | 41601 | NUT, ADAPTOR: DIAMETER: 160 MM; SLOTS: 4; LOCKING METHOD: STL INSERT; THREAD: 3 MM; MATERIAL: STL; GRADE: 8.8; REFERENCE NO: 16; PSB002-008; CRANKSHAFT ROLLER BEARING CLAMPING; FOR BELLISS AND MORCOM COMPRESSOR TYPE WH 56N | EA | 25 |  |  |
| 349 | 44673 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 105 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 36 MM; ROW: SINGLE; REFERENCE NO: N221 | EA | 50 |  |  |
| 350 | 44679 | BEARING, ROLLER: TYPE: NEEDLE; INSIDE DIAMETER: 26 MM; OUTSIDE DIAMETER: 38 MM; WIDTH: 25 MM; ROW: SINGLE; SUPPL P/N: 117027MARC3; REFERENCE NO: 328400192; WITHOUT INNER RING SEALED ON BOTH SIDES, SIZE SHAFT DIAMETER 25.3MM 1IN X O/DIAMETER 38.1MM 1.5 IN X 25.3MM 1IN WIDE, DESIGNATION MC GILL USA MR-16-S | EA | 50 |  |  |
| 351 | 44681 | BEARING, ROLLER: TYPE: NEEDLE; INSIDE DIAMETER: 33 MM; OUTSIDE DIAMETER: 52 MM; WIDTH: 31.75 MM; ROW: SINGLE; SUPPL P/N: 117023C3; REFERENCE NO: 3284001111; OUTER RING AND ROLLER ASSEMBLY | EA | 25 |  |  |
| 352 | 45280 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 65 MM; LENGTH: 42 MM; MATERIAL: STEEL; SUPPL P/N: H215; COMPLETE WITH LOCK NUT AND WASHER; OD 77 MM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 353 | 69780 | SLEEVE, COUPLING: TYPE: GEAR; DIMENSIONS: ID 51.6 X OD 73 X WD 37 MM; MATERIAL: NYLON; ESCONYL DISC TYPE: 28A, DEPTH 3.2MM, WIDTH 16.5MM, TEETH 34 | EA | 250 |  |  |
| 354 | 182661 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 240 MM; WIDTH: 80 MM; ROW: SINGLE; SUPPL P/N: NJ2322EMAC3; WITH BRASS/STEEL CAGE, USED ON ACC FAN GEARBOXES | EA | 100 |  |  |
| 355 | 186731 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 170 MM; OUTSIDE DIAMETER: 310 MM; WIDTH: 52 MM; ROW: SINGLE; SUPPL P/N: 6234C3; DUTY: HEAVY; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 100 |  |  |
| 356 | 212355 | HOUSING, BEARING UNIT: TYPE: PILLOW; MATERIAL: CI; SUPPL P/N: SNU526; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 357 | 212792 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 200 MM; OUTSIDE DIAMETER: 250 MM; WIDTH: 24 MM; ROW: SINGLE; SUPPL P/N: SL181840C3; FULL COMPLEMENT, STACKER SLEW GEARBOX | EA | 10 |  |  |
| 358 | 212793 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 170 MM; OUTSIDE DIAMETER: 230 MM; WIDTH: 36 MM; ROW: SINGLE; SUPPL P/N: SL182934C3; FULL COMPLEMENT, SOND 350 BUCKET WHEEL COAL STACKER | EA | 10 |  |  |
| 359 | 212794 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 55 MM; OUTSIDE DIAMETER: 90 MM; WIDTH: 26 MM; ROW: SINGLE; SUPPL P/N: SL183011C3; FULL COMPLEMENT, SOND 350 BUCKET WHEEL COAL STACKER | EA | 10 |  |  |
| 360 | 212795 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 240 MM; OUTSIDE DIAMETER: 360 MM; WIDTH: 92 MM; ROW: SINGLE; SUPPL P/N: SL183048C3; FULL COMPLEMENT, OUTPUT SHAFT, T1 A,B | EA | 25 |  |  |
| 361 | 212797 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 260 MM; OUTSIDE DIAMETER: 360 MM; WIDTH: 60 MM; ROW: SINGLE; SUPPL P/N: SL182952C3; FULL COMPLEMENT | EA | 50 |  |  |
| 362 | 212800 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 95 MM; OUTSIDE DIAMETER: 200 MM; WIDTH: 67 MM; ROW: SINGLE; SUPPL P/N: SL192319C3; FULL COMPLEMENT, STACKER RECLAIMER BOOM CONVEYOR AND STACKER BUCKET WHEEL SOND 350 | EA | 10 |  |  |
| 363 | 212811 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 100 MM; OUTSIDE DIAMETER: 215 MM; WIDTH: 73 MM; ROW: SINGLE; SUPPL P/N: SL192320C3; FULL COMPLEMENT | EA | 100 |  |  |
| 364 | 212812 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 240 MM; WIDTH: 80 MM; ROW: SINGLE; SUPPL P/N: SL192322C3; REFERENCE NO: SL192322; FULL COMPLEMENT, WITH DISC CAGE, SOND 350 BUCKET WHEEL COAL STACKER | EA | 10 |  |  |
| 365 | 212813 | BEARING, THRUST: ROLLING ELEMENT: ROLLER; INSIDE DIAMETER: 260 MM; OUTSIDE DIAMETER: 320 MM; WIDTH: 45 MM; STYLE: SPLIT; MATERIAL: STL; SUPPL P/N: 81152; ROW SINGLE, FOR ACC; TYPE AXIAL | EA | 100 |  |  |
| 366 | 214499 | BEARING, THRUST: ROLLING ELEMENT: ROLLER NEEDLE; INSIDE DIAMETER: 60.3 MM; OUTSIDE DIAMETER: 84.5 MM; WIDTH: 5 MM; SUPPL P/N: AXK6085C3; TWO PLATES 1MM THICK TO BE SUPPLIED WITH EACH; ROW SINGLE | EA | 50 |  |  |
| 367 | 218378 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 85 MM; OUTSIDE DIAMETER: 130 MM; WIDTH: 22 MM; ROW: SINGLE; SUPPL P/N: 6017C3; FOR CFA 120 FLENDER GEARBOX; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 368 | 220005 | BEARING, THRUST: ROLLING ELEMENT: NEEDLE; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 90 MM; WIDTH: 18 MM; STYLE: OPEN; MATERIAL: STL; SUPPL P/N: 81113TN; DUTY MEDIUM | EA | 25 |  |  |
| 369 | 227897 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 170 MM; OUTSIDE DIAMETER: 288 MM; WIDTH: 88 MM; ROW: DOUBLE; SUPPL P/N: 23134BD1C3MTN; USED ON S5 CONVEYOR HANSEN GEARBOX | EA | 25 |  |  |
| 370 | 232954 | BEARING, ROLLER: TYPE: PARALLEL; INSIDE DIAMETER: 170 MM; OUTSIDE DIAMETER: 280 MM; WIDTH: 88 MM; ROW: DOUBLE; C3 | EA | 10 |  |  |
| 371 | 239668 | BEARING, ROLLER: TYPE: TAPERED DOUBLE CUP/CONE; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 130 MM; WIDTH: 71 MM; ROW: DOUBLE; SUPPL P/N: 31312 J2/Q DF03; OMPRISING OF TWO CUPS, TWO ROLLER ELEMENTS AND A SPACER RING, TO BE SUPPLIED AS A COMPLETE BEARING | EA | 50 |  |  |
| 372 | 253321 | BEARING, ROLLER: TYPE: TAPER, SPHERICAL; INSIDE DIAMETER: 170 MM; OUTSIDE DIAMETER: 260 MM; WIDTH: 67 MM; CAGE MATERIAL: BRS/STL; REFERENCE NO: 23034.CCK/W33 | EA | 25 |  |  |
| 373 | 502546 | HOUSING: TYPE: BEARING DE; DRAWING NO: ITEM:11 REV 0; A0-104599 REV 1; MODEL NO: FK 3C 44; FOR USE ON WEIR ELECTRIC FEED PUMP; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 10 |  |  |
| 374 | 502551 | HOUSING: TYPE: BEARING NDE; MATERIAL: BS 1501 16 GR.430; DRAWING NO: ITEM:55 REV 0; A0-104599 REV 1; MODEL NO: FK 3C 44; FOR USE ON WEIR 3 STAGE ELECTRIC FEED PUMP; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 10 |  |  |
| 375 | 527765 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 30 MM; ROW: SINGLE; REFERENCE NO: 7218 B; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 376 | 527770 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 69.85 MM; OUTSIDE DIAMETER: 158.75 MM; WIDTH: 34.93 MM; ROW: SINGLE; REFERENCE NO: AMS 22; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 20 |  |  |
| 377 | 527772 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 140 MM; WIDTH: 33 MM; ROW: SINGLE; REFERENCE NO: 7313B; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 378 | 527775 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 76.2 MM; OUTSIDE DIAMETER: 177.8 MM; WIDTH: 39.69 MM; ROW: SINGLE; REFERENCE NO: RMS 24; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 379 | 527777 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 101.6 MM; OUTSIDE DIAMETER: 184.15 MM; WIDTH: 31.75 MM; ROW: SINGLE; REFERENCE NO: ALS 32; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 380 | 552811 | BEARING: TYPE: PUMP; INSIDE DIAMETER: 50 MM; OUTSIDE DIAMETER: 110 MM; WIDTH: 27 MM; MATERIAL: STL; MANUF P/N: 7310-BG-19; DRAWING NO: VTSC/4STG REV 0 | EA | 25 |  |  |
| 381 | 573354 | RING, BEARING INNER: TYPE: LOCATING; INSIDE DIAMETER: 130 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 50 MM; MATERIAL: STL; BORE SHAPE: PARALLEL; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 382 | 573919 | BEARING, BALL: TYPE: CAGED; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 25 MM; OUTSIDE DIAMETER: 62 MM; WIDTH: 25.4 MM; ROW: DOUBLE; CAGE MATERIAL: STL; MANUF P/N: 3305-2RS; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 383 | 573920 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 70 MM; OUTSIDE DIAMETER: 90 MM; WIDTH: 10 MM; ROW: SINGLE; CAGE MATERIAL: STL; MANUF P/N: 61814-2RS; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 384 | 573921 | BEARING, BALL: TYPE: DEEP GROVE; STYLE: SNAP RING; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 21 MM; ROW: SINGLE; CAGE MATERIAL: STL; MANUF P/N: 6307NR; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 385 | 573922 | BEARING, BALL: TYPE: ANGULAR; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 62 MM; WIDTH: 23.8 MM; ROW: DOUBLE; CAGE MATERIAL: STL; MANUF P/N: 3206; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 386 | 573923 | BEARING, ROLLER: TYPE: TAPER; INSIDE DIAMETER: 50 MM; OUTSIDE DIAMETER: 110 MM; WIDTH: 29.25 MM; ROW: SINGLE; BORE SHAPE: PARALLEL; CAGE MATERIAL: BRS/STL; MANUF P/N: 30310J | EA | 50 |  |  |
| 387 | 573924 | BEARING, ROLLER: TYPE: CAGED; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 85 MM; WIDTH: 19 MM; ROW: SINGLE; BORE SHAPE: PARALLEL; CAGE MATERIAL: BRS/STL; ROLLING ELEMENT: CYLINDRICAL; MANUF P/N: NJ209EC | EA | 50 |  |  |
| 388 | 573925 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 110 MM; WIDTH: 27 MM; ROW: SINGLE; CAGE MATERIAL: BRS/STL; MANUF P/N: NJ408 | EA | 50 |  |  |
| 389 | 573926 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 62 MM; WIDTH: 20 MM; ROW: SINGLE; BORE SHAPE: PARALLEL; CAGE MATERIAL: BRS/STL; MANUF P/N: NUP2206EC | EA | 50 |  |  |
| 390 | 573927 | BEARING, ROLLER: TYPE: TAPER; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 110 MM; WIDTH: 48.5 MM; ROW: SINGLE; BORE SHAPE: CYLINDRICAL; CAGE MATERIAL: BRS/STL; MANUF P/N: 32312 | EA | 50 |  |  |
| 391 | 573928 | BEARING, ROLLER: TYPE: TAPER; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 46.5 MM; ROW: SINGLE; MANUF P/N: 30318 | EA | 100 |  |  |
| 392 | 573930 | BEARING, BALL: TYPE: DEEP GROVE; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 55 MM; OUTSIDE DIAMETER: 100 MM; WIDTH: 21 MM; ROW: SINGLE; CAGE MATERIAL: STL; MANUF P/N: 6211-2RS; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 393 | 574063 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 130 MM; OUTSIDE DIAMETER: 230 MM; WIDTH: 40 MM; ROW: SINGLE; CAGE MATERIAL: BRS/STL; MANUF P/N: NJ226 | EA | 50 |  |  |
| 394 | 581361 | INSERT: TYPE: BEARING; DIMENSIONS: ID 40 X OD 80 X THK 52 MM; MATERIAL: STL; DRAWING NO: 60153 (ESKOM) REV 0 | EA | 50 |  |  |
| 395 | 581362 | INSERT: TYPE: BEARING; DIMENSIONS: ID 50 X OD 90 X THK 52 MM; MATERIAL: STL; DRAWING NO: 60154 (ESKOM) REV 0 | EA | 100 |  |  |
| 396 | 596134 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 73 MM; WIDTH: 95 MM; ROW: SINGLE; BORE SHAPE: CYLINDRICAL; STYLE: FLANGE; CAGE MATERIAL: STL; ROLLING ELEMENT: SPHERICAL; SPECIFICATION: DIN 24256; OEM P/N: FB224M60H; IBI 22400 | EA | 50 |  |  |
| 397 | 601255 | BEARING, ROLLER: TYPE: SPHERICAL; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 40 MM; ROW: DOUBLE; REFERENCE NO: 22218CCK/W33; SSC CHAIN GUIDE WHEEL SHAFT BEARING | EA | 50 |  |  |
| 398 | 602642 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 115 MM; LENGTH: 92 MM; MATERIAL: STEEL; OD 130 MM; FOR BEARING 22226CCK/W33; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 399 | 608687 | BEARING, ASSEMBLY: TYPE: SCREW CONVEYOR; APPLICATION: MILL; OUTSIDE DIAMETER: 275 MM; WIDTH: 130 MM; MATERIAL: CI; DRAWING NO: 0.58/40740 REV 0; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 15 |  |  |
| 400 | 613606 | PULLEY, CONVEYOR: TYPE: SQUEEZER; DRUM DIAMETER: 140 MM; DRUM WIDTH: 2 M; MATERIAL: MS; SHAFT DIAMETER: 100 MM; SHAFT LENGTH: 2.448 M; FACE STYLE: 10 UHMW POLYURETHANE; SHORE HARDNESS; 75; RPM: 477; BEARING CENTRE: 155MM; APPLICATION: (CSY) COAL STOCK YARD & OVERSILO; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 401 | 613812 | BEARING, TAKE UP: INSIDE DIAMETER: 65 MM; HOUSING SIZE: WD 120 X LG 165 MM; SLOT WIDTH: 26 MM; FRAME: WD 165 X LG 220 MM; ROLLING ELEMENT: BALL; STYLE: SEALED; HOUSING MATERIAL: CI; REFERENCE NO: UCT213; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 402 | 615043 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 70 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 51 MM; ROW: SINGLE; REFERENCE NO: NU 2314 | EA | 25 |  |  |
| 403 | 636220 | BEARING, ROLLER: TYPE: THRUST TAPERED; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 130 MM; WIDTH: 67 MM; ROW: SINGLE; SUPPL P/N: 31312 J2/QDF; LCC-R 150-500.4 | EA | 50 |  |  |
| 404 | 640546 | BEARING, FLANGE BLOCK: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 65 MM; SHAPE: SQ; BLOCK SIZE: SQ 185 MM; BOLT MOUNTING: 4; BOLT DIAMETER: M14; HOUSING MATERIAL: CI | EA | 50 |  |  |
| 405 | 686795 | HOUSING, BEARING UNIT: TYPE: BEARING BOX; BORE: 130 X 120 MM; MATERIAL: CAST IRON; BLOCK SIZE: WD 1.12 M X LG 660 MM X HT 435 MM; BOLT MOUNTINGS: 4; BOLT DIAMETER: M24; 90 DIN558; TAPERED BORE; EN19 SHAFT; TOP NUT WITH GREASING NIPPLE & CHANNEL; BOTTOM NUT WITH GREASING NIPPLE & CHANNEL; GREASE PIPE; 2 X WASHERS; WITH 2 X 22228 H/CL BEARING; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 5 |  |  |
| 406 | 745243 | HOUSING: TYPE: DE BEARING; DIMENSIONS: ID 103 X OD 450 X LG 130 MM; MATERIAL: CAST IRON; SUPPL P/N: 351.01; DRAWING NO: 0-104.602.276; REFERENCE NO: 104602191201; CEP HPM 400-435; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 15 |  |  |
| 407 | 745250 | HOUSING: TYPE: NDE BEARING; DIMENSIONS: ID 1030 X OD 450 X LG 165 MM; MATERIAL: CAST IRON, DUCTILE; SUPPL P/N: 351.02; DRAWING NO: 0-104.602.276; REFERENCE NO: 104602158201; CEP HPM 400-435; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 15 |  |  |
| 408 | 745254 | COVER: TYPE: BEARING DE; DIMENSIONS: ID 64 X OD 390 X WD 42 MM; MATERIAL: CAST IRON, GRAY; APPLICATION: USE ON HPM 400-435; SUPPL P/N: 360.012; DRAWING NO: 0-104.602.276; REFERENCE NO: 104602143201 | EA | 15 |  |  |
| 409 | 745257 | COVER: TYPE: BEARING DE; DIMENSIONS: ID 25.4 X OD 390 X WD 45 MM; MATERIAL: CAST IRON, DUCTILE; APPLICATION: USE ON HPM 400-435; SUPPL P/N: 360.02; DRAWING NO: 0-104.602.276; REFERENCE NO: 104602141201 | EA | 15 |  |  |
| 411 | 31938 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 100 MM; OUTSIDE DIAMETER: 180 MM; WIDTH: 46 MM; ROW: DOUBLE; SUPPL P/N: 22220CCKW33C3; REFERENCE NO: 22220CCKW33 | EA | 50 |  |  |
| 412 | 621553 | EARING: TYPE: COMPRESSOR; INSIDE DIAMETER: 126 MM; OUTSIDE DIAMETER: 134 MM; WIDTH: 64 MM; MATERIAL: WHITE METAL; REFERENCE NO: PSB 014 002 | EA | 5 |  |  |
| 413 | 725538 | BALL, BEARING: MATERIAL: STEEL; DIAMETER: ID 765 X OD 175 MM; LEAD AND COPPER ON STEEL SHELL; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE) | EA | 10 |  |  |
| 414 | 41602 | RING: TYPE: CLAMPING; INSIDE DIAMETER: 67.5 MM; OUTSIDE DIAMETER: 136.5 MM; MATERIAL: MS; SUPPL P/N: PSB015-003; REFERENCE NO: WH56N; FOR CRANKSHAFT ROLLER BEARING; FOR BELLISS AND MORCOM COMPRESSOR | EA | 5 |  |  |
| 415 | 621205 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 100 MM; OUTSIDE DIAMETER: 180 MM; WIDTH: 46 MM; ROW: DOUBLE; SUPPL P/N: 22220CCKW33C3; REFERENCE NO: 22220CCKW33 | EA | 15 |  |  |
| 416 | 31712 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 55 MM; OUTSIDE DIAMETER: 100 MM; WIDTH: 25 MM; ROW: DOUBLE; SUPPL P/N: 22211ESC3 | EA | 50 |  |  |
| 417 | 173009 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 50 MM; OUTSIDE DIAMETER: 90 MM; WIDTH: 20 MM; ROW: SINGLE; REFERENCE NO: SKF 1210; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 418 | 589415 | BEARING, ROLLER: TYPE: SPHERICAL TAPERED; INSIDE DIAMETER: 50.12 MM; OUTSIDE DIAMETER: 89.96 MM; WIDTH: 23.24 MM; ROW: DOUBLE; MANUF P/N: 22210EAKE4C3 | EA | 50 |  |  |
| 419 | 31830 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 17 MM; OUTSIDE DIAMETER: 40 MM; WIDTH | EA | 250 |  |  |
| 420 | 30086 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 240 MM; OUTSIDE DIAMETER: 400 MM; WIDTH: 128 MM; ROW: DOUBLE; SUPPL P/N: 23148CW33C3; REFERENCE NO: 23148CW33 | EA | 15 |  |  |
| 423 | 30257 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 75 MM; OUTSIDE DIAMETER: 130 MM; WIDTH: 31 MM; ROW: DOUBLE; REFERENCE NO: 22215CCKC3; THE REFERENCE NUMBER MUST BE CAST AND NOT ENGRAVED ON BEARING, ITEM MUST BE ORIGINAL PACKED | EA | 50 |  |  |
| 424 | 30266 | EARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 20 MM; OUTSIDE DIAMETER: 47 MM; WIDTH: 20.6 MM; ROW: DOUBLE; SUPPL P/N: 3204A; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 125 |  |  |
| 425 | 31152 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 200 MM; OUTSIDE DIAMETER: 340 MM; WIDTH: 112 MM; ROW: DOUBLE; SUPPL P/N: 23140 CCK/W33C3; ITEM MUST BE ORIGINAL PACKED | EA | 25 |  |  |
| 426 | 31153 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 220 MM; OUTSIDE DIAMETER: 370 MM; WIDTH: 120 MM; ROW: DOUBLE; SUPPL P/N: 23144CCKW33C3; REFERENCE NO: 23144BKMB; 23144BK; 23144CCKW33 | EA | 25 |  |  |
| 427 | 31171 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 240 MM; OUTSIDE DIAMETER: 400 MM; WIDTH: 128 MM; ROW: DOUBLE; REFERENCE NO: 23148CCKW33C3 | EA | 10 |  |  |
| 428 | 31172 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 260 MM; OUTSIDE DIAMETER: 440 MM; WIDTH: 144 MM; ROW: DOUBLE; SUPPL P/N: 23152CCK W33C3; REFERENCE NO: 23152CCK W33 | EA | 10 |  |  |
| 429 | 31193 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 70 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 70 MM; ROW: SINGLE; SUPPL P/N: 7314BG; REFERENCE NO: 017-733-617-314; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 100 |  |  |
| 430 | 31364 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 170 MM; OUTSIDE DIAMETER: 280 MM; WIDTH: 109 MM; ROW: DOUBLE; SUPPL P/N: 24134C3 | EA | 5 |  |  |
| 431 | 31378 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 25 MM; OUTSIDE DIAMETER: 52 MM; WIDTH: 15 MM; ROW: SINGLE; OEM P/N: 6205 2ZC3; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 250 |  |  |
| 432 | 31459 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 300 MM; OUTSIDE DIAMETER: 500 MM; WIDTH: 160 MM; ROW: DOUBLE; SUPPL P/N: 23160CACKW33C3; REFERENCE NO: 23160CACKW33 | EA | 5 |  |  |
| 433 | 30473 | HOUSING, BEARING UNIT: TYPE: PILLOW BLOCK; MATERIAL: CI; FOR SNUB PULLEY ON JAPAN PIPE CONVEYOR ESCOM OPL 63531; SIZE 165MM WD X 370MM LG X 210MM H; PART NO: SNE220, SUPPLIER: UNKNOWN; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 5 |  |  |
| 436 | 31703 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 62 MM; WIDTH: 11 MM; ROW: DOUBLE; REFERENCE NO: KK30AC5; KK30A; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 437 | 31707 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 320 MM; OUTSIDE DIAMETER: 620 MM; WIDTH: 224 MM; ROW: DOUBLE; BORE SHAPE: TAPER; CAGE MATERIAL: BRASS; REFERENCE NO: 23268CAKMW33CC; ONE PIECE PRONGED MACHINED AND RETAINING FLANGES ON THE INNER RING, ANNULAR GROOVE AND THREE LUBRICATION HOLES IN THE OUTER RING, RADIAL | EA | 15 |  |  |
| 438 | 31710 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 100 MM; WIDTH: 23 MM; ROW: SINGLE; SUPPL P/N: HR32013XJ | EA | 25 |  |  |
| 439 | 31715 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 23 MM; ROW: DOUBLE; SUPPL P/N: 22208ESC3 | EA | 50 |  |  |
| 440 | 31719 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 50 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 20 MM; ROW: SINGLE; SPECIFICATION: ISO 355-3CC; SUPPL P/N: 32010XP5 | EA | 50 |  |  |
| 441 | 31466 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: DEEP GROOVE; INSIDE DIAMETER: 100 MM; OUTSIDE DIAMETER: 215 MM; WIDTH: 47 MM; ROW: SINGLE; CAGE MATERIAL: STL; REFERENCE NO: 7320 BECBM; USED AS C.E. PUMP MOTOR UPPER BEARING; TO HAVE DYNAMIC LOAD RATING OF 203 KN AND STATIC LOAD OF 190 KN WITH THE SPEED RATING OF BETWEEN 2800-3600 REV/MIN; DATA SHEET MUST BE INCLUDED WITH PACKAGE; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 446 | 31528 | BEARING, BALL: TYPE: CONRAD; STYLE: SHIELD; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 19 MM; ROW: SINGLE; SUPPL P/N: 6306ZNRC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 447 | 31564 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 140 MM; WIDTH: 16 MM; ROW: SINGLE; SUPPL P/N: 61822C3; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 50 |  |  |
| 448 | 31822 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 75 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 37 MM; ROW: SINGLE; SUPPL P/N: 6315 R270A1-1062 10C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 10 |  |  |
| 449 | 31825 | EARING, BALL: TYPE: RADIAL CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 12 MM; OUTSIDE DIAMETER: 32 MM; WIDTH: 10 MM; ROW: SGL; SUPPL P/N: 6201ZZC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 250 |  |  |
| 450 | 31828 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 15 MM; OUTSIDE DIAMETER: 32 MM; WIDTH: 9 MM; ROW: SINGLE; SUPPL P/N: 6002-2RSC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 100 |  |  |
| 451 | 31831 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 15 MM; OUTSIDE DIAMETER: 42 MM; WIDTH: 13 MM; ROW: SINGLE; SUPPL P/N: 6302- 2ZC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 100 |  |  |
| 452 | 31834 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 20 MM; OUTSIDE DIAMETER: 52 MM; WIDTH: 15 MM; ROW: SINGLE; SUPPL P/N: 6304C3; REFERENCE NO: 6304; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 453 | 31730 | SET: TYPE: THRUST BEARING; REFERENCE NO: AXK4565; AXK5070; CONSISTING OF 2 SIZES OF BEARINGS COMPLETE WITH WASHERS, 1 OFF INNER DIAMETER 50MM X O/DIAMETER 70MM X HEIGHT 8MM, 1 OFF INNER DIAMETER 45MM X O/DIAMETER 65MM X HEIGHT 5MM | EA | 125 |  |  |
| 455 | 31732 | SET: TYPE: NEEDLE ROLLER THRUST BEARING; CONSISTING OF 2 SIZES OF BEARINGS, 1 OF REF: AXK4060 - I/DIAMETER 40MM, O/DIAMETER 60MM, HEIGHT 5MM AND 1 OF REF: AXK4565 - I/DIAMETER 45MM, O/DIAMETER 65MM, HEIGHT 8MM, COMPLETE WITH SET WASHERS AS4565 AND AS4060 | EA | 75 |  |  |
| 456 | 31733 | SET: TYPE: THRUST BEARING; APPLICATION: BOILER; REFERENCE NO: AXK5578; CONSISTING OF 2 SIZES OF BEARINGS COMPLETE WITH WASSERS 1 OF INNER DIAMETER 45MM O/DIAMETER 65MM, HEIGHT 5MM AND 1 OF INNER DIAMETER 55MM, O/DIAMETER 78MM, HEIGHT 9MM | EA | 100 |  |  |
| 457 | 31775 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 320 MM; OUTSIDE DIAMETER: 540 MM; WIDTH: 176 MM; ROW: DOUBLE; REFERENCE NO: 23164CCKC3W33; USED ON S1 DRIVE HT BEND PULLEY, PRIMARY AND SECONDARY DRIVE PULLEYS, HT DRIVE | EA | 5 |  |  |
| 458 | 31777 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 200 MM; WIDTH: 53 MM; ROW: DOUBLE; SUPPL P/N: 22222CCKW33C3 | EA | 75 |  |  |
| 459 | 31786 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 23 MM; ROW: DOUBLE; SUPPL P/N: 22207CCK/W33; WITH LUBRICATION GROOVE ON OUTER RACE, SERIES K | EA | 15 |  |  |
| 460 | 31806 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 17 MM; OUTSIDE DIAMETER: 47 MM; WIDTH: 14 MM; ROW: SINGLE; SUPPL P/N: 6303-2RSC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 75 |  |  |
| 461 | 31807 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 43 MM; ROW: SINGLE; SUPPL P/N: 6318C3 | EA | 10 |  |  |
| 462 | 31813 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 50 MM; OUTSIDE DIAMETER: 110 MM; WIDTH: 27 MM; ROW: SINGLE; SUPPL P/N: NU310C3; NOTE - THE REFERENCE NUMBER MUST BE CAST AND NOT ENGRAVED ON AND ORIGINAL PROTECTIVE PACKED | EA | 10 |  |  |
| 463 | 31818 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 180 MM; OUTSIDE DIAMETER: 300 MM; WIDTH: 96 MM; ROW: DOUBLE; SUPPL P/N: 23136CCKW33C3; REFERENCE NO: 23136 | EA | 5 |  |  |
| 464 | 31905 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 50 MM; OUTSIDE DIAMETER: 110 MM; WIDTH: 27 MM; ROW: SINGLE; SUPPL P/N: 6310ZZC3; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 465 | 31906 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 50 MM; OUTSIDE DIAMETER: 90 MM; WIDTH: 20 MM; ROW: SINGLE; SUPPL P/N: 6210-2RS; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 100 |  |  |
| 466 | 31910 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 95 MM; OUTSIDE DIAMETER: 170 MM; WIDTH: 43 MM; ROW: DOUBLE; SUPPL P/N: 22219CCKW33 | EA | 25 |  |  |
| 467 | 32023 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 140 MM; OUTSIDE DIAMETER: 225 MM; WIDTH: 68 MM; ROW: SINGLE; BORE SHAPE: TAPER; SUPPL P/N: 23128CCKW33C3; USED ON MILL SCREW CONVEYORS NDE WITH WITHDRAWAL SLEEVE AHX3128 (SHAFT 135) | EA | 30 |  |  |
| 468 | 32100 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 70 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 35 MM; ROW: SINGLE; SUPPL P/N: 6314C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 469 | 32107 | EARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 19 MM; OUTSIDE DIAMETER: 47 MM; WIDTH: 34 MM; ROW: SINGLE; SUPPL P/N: 1020-3/4CG; SELF LUBE; INSERT COMPLETE WITH ECCENTRIC COLLAR LOCK, OUTER RING WIDTH 14 MM, INNER RING WIDTH (WITH COLLAR LOCK) 43,6 MM, FOR USE ON VOL/COAL/FEEDER BELT TOP ADJUSTABLE,TOP NON ADJUSTABLE AND ADJUSTABLE SUPPORT IDLERS; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 250 |  |  |
| 470 | 34796 | BEARING, TAKE UP: INSIDE DIAMETER: 65 MM; HOUSING SIZE: WD 170 X LG 230 MM; SLOT WIDTH: 26 MM; FRAME: DIA 40 X TRAVEL 125 MM; ROLLING ELEMENT: BALL; SUPPL P/N: UCT213; ON CROSSBELT ELECTROMAGNETS; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |
| 471 | 31770 | BEARING, ROLLER: TYPE: SPLIT; INSIDE DIAMETER: 150 MM; OUTSIDE DIAMETER: 255 MM; WIDTH: 100 MM; ROW: SINGLE; SUPPL P/N: 01B-150MMGR; USE WITH CATRIDGE 01C 150MM GR, OR 01C 10 GR TL, PEDESTAL REF: P10, INCLUDE FULL GUARANTEE WITH BEARING, FOR USE ON ASH CONDITIONING PLANT | EA | 100 |  |  |
| 471 | 34819 | BEARING, TAKE UP: INSIDE DIAMETER: 65 MM; HOUSING SIZE: WD 180 X LG 190 MM; SLOT WIDTH: 25 MM; FRAME: WD 180 X LG 236 X HT 78 MM; ROLLING ELEMENT: BALL; REFERENCE NO: UCT313; USED ON ASH CONVEYOR CLEAN-OUT SCRAPER; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 10 |  |  |
| 472 | 32034 | BEARING, ROLLER: TYPE: SPLIT; INSIDE DIAMETER: 145 MM; OUTSIDE DIAMETER: 255 MM; WIDTH: 95 MM; ROW: SINGLE; SUPPL P/N: 01B150MMEXC3; REFERENCE NO: P10; USE WITH CARTRIDGE 01C 150 MM EX OR 01C 10 EX TL AND PEDESTAL; INCLUDE FULL GUARANTEE; FOR USE ON ASH CONDITIONERS | EA | 50 |  |  |
| 473 | 34829 | BEARING: TYPE: CARTRIDGE; INSIDE DIAMETER: 160; 150 MM; OUTSIDE DIAMETER: 300 MM; WIDTH: 170 MM; STYLE: OPEN; MATERIAL: CI; SUPPL P/N: 01C150/160MMGR; FOR NON LOCATING AND LOCATING | EA | 50 |  |  |
| 474 | 32015 | BEARING, BALL: TYPE: CUP/CONE, TAPER; STYLE: OPEN; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 67.5 MM; ROW: SINGLE; SUPPL P/N: 32318; NOMINAL CONTACT ANGLE (10) -17 DEGREE, DIMENTIONAL SERIES ACCORDING TO ISO 355; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA | 25 |  |  |

| The total of the Prices |  |
| --- | --- |

# Part 3: Scope of Work

| Document reference | Title | No of pages |
| --- | --- | --- |
| C3.1 | Purchaser’s Goods Information | 37 |
| C3.2 | Supplier’s Goods Information (insert at award stage or delete if not applicable) |  |
|  | Total number of pages |  |

# C3.1: Purchaser’s Goods Information

| Item nr | Material number | Material Description and Texts (Bearings) | UMC |
| --- | --- | --- | --- |
| 1 | 96 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 130 MM; WIDTH: 49 MM; ROW: SINGLE; CAGE MATERIAL: STL; SUPPL P/N: 32312/J2C3; HARDENED, USED ON ASH CONDITIONER GEARBOX BEN260 BTB40:1 2ND REDUCTION SHAFT ITEM 17/34 | EA |
| 2 | 113 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 110 MM; WIDTH: 22 MM; ROW: SINGLE; SUPPL P/N: 6212C3; IBI 6212; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 3 | 19350 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 56 MM; LENGTH: 107 MM; MATERIAL: BAKELITE VARNISHED; SUPPL P/N: 38.126228; ISOLATING RING, MATERIAL STF.VT.EM2, FOR INSULATION FOR GENERATOR AND EXITER; ID 57 X OD 68 MM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 4 | 29833 | BEARING, BALL: TYPE: ANGULAR; STYLE: OPEN; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 35 MM; ROW: SINGLE; SUPPL P/N: 6412 STD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 5 | 29914 | BEARING, BALL: TYPE: SELF ALIGNING; STYLE: OPEN; INSIDE DIAMETER: 75 MM; OUTSIDE DIAMETER: 130 MM; WIDTH: 25 MM; ROW: DOUBLE; SUPPL P/N: 1215; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 6 | 29924 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 23 MM; ROW: SINGLE; SUPPL P/N: 7213B; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 7 | 29928 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 100 MM; OUTSIDE DIAMETER: 135 MM; WIDTH: 25 MM; STYLE: OPEN; SUPPL P/N: 51120; DUTY: MEDIUM; ROW: SINGLE | EA |
| 8 | 29930 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 68 MM; WIDTH: 15 MM; ROW: SINGLE; SUPPL P/N: 6008-2Z; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 9 | 29953 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 110 MM; WIDTH: 27 MM; ROW: SINGLE; SUPPL P/N: 6408; NOTE: ITEM MUST BE ORIGINAL PACKED; DUTY: HEAVY; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 10 | 29976 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 75 MM; LENGTH: 62 MM; MATERIAL: STEEL; MANUF P/N: H317F; SIZE 88 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 11 | 29990 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 140 MM; OUTSIDE DIAMETER: 250 MM; WIDTH: 68 MM; ROW: DOUBLE; SUPPL P/N: 22228CCKW33 | EA |
| 12 | 29992 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 15 MM; OUTSIDE DIAMETER: 35 MM; WIDTH: 11 MM; ROW: SINGLE; SUPPL P/N: 6202-2RS1C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 13 | 30002 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 25 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 21 MM; ROW: SINGLE; SUPPL P/N: 6405-2ZC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 14 | 30012 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 100 MM; WIDTH: 25 MM; ROW: SINGLE; SUPPL P/N: 6309-2RS1C3; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 15 | 30021 | BEARING, THRUST: ROLLING ELEMENT: ROLLER NEEDLE; INSIDE DIAMETER: 150 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 5 MM; SUPPL P/N: AXK150190; CAGE ASSEMBLY WITH WASHERS; ROW SINGLE | EA |
| 16 | 30030 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 50 MM; OUTSIDE DIAMETER: 70 MM; WIDTH: 14 MM; STYLE: DOUBLE SHIELD; MODEL NO: 51110; SINGLE DIRECTION, NOTE - ITEM MUST BE ORIGINAL PACKED; ROW SINGLE | EA |
| 17 | 30038 | SLEEVE, ADAPTOR: TYPE: BEARING; LENGTH: 105 MM; MATERIAL: STL; SUPPL P/N: H2322; APPLICATION: PRIMARY FAN SPHERICAL ROLLER BEARING; ID 100 X OD 143; SUPPLIER NOTE - THE ITEM MUST BE ORIGINAL PROTECTIVE PACKED AND MARKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 18 | 30043 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 50 MM; LENGTH: 45 MM; MATERIAL: STEEL; SUPPL P/N: H311; SUPPLIER NOTE - THE ITEM MUST BE ORIGINAL PROTECTIVE PACKED AND MARKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 19 | 30050 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 90 MM; LENGTH: 71 MM; MATERIAL: STEEL; SUPPL P/N: H320; SUPPLIER NOTE - THE ITEM MUST BE ORIGINAL PROTECTIVE PACKED AND MARKED; SIZE 130 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 20 | 30057 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 100 MM; OUTSIDE DIAMETER: 180 MM; WIDTH: 60.33 MM; ROW: DOUBLE; CAGE MATERIAL: BRS/STL; SUPPL P/N: 23220CC3; THE REFERENCE NUMBER MUST BE CAST AND NOT ENGRAVED ON AND ORIGINAL PACKED, NTERNAL FIT | EA |
| 21 | 30096 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 240 MM; WIDTH: 50 MM; ROW: SINGLE; SUPPL P/N: NU322CC3; NOTE - THE REFERENCE NUMBER MUST BE CAST AND NOT ENGRAVED ON AND ORIGINAL PACKED | EA |
| 22 | 30107 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 55 MM; OUTSIDE DIAMETER: 78 MM; WIDTH: 16 MM; STYLE: OPEN; SUPPL P/N: 51111; DIRECTIONAL, SINGLE ROW | EA |
| 23 | 30109 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 220 MM; OUTSIDE DIAMETER: 270 MM; WIDTH: 37 MM; STYLE: OPEN; OEM P/N: 5160-210, OEM: GE STEAM POWER SERVICE; 5360-210, OEM: GE STEAM POWER SERVICE; MANUF P/N: 51144; SINGLE DIRECTION, SINGLE ROW | EA |
| 24 | 30111 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 38 MM; STYLE: OPEN; SUPPL P/N: 51222; NOTE - ITEM MUST BE ORIGINAL PACKED; ROW SINGLE | EA |
| 25 | 30122 | BEARING, BALL: TYPE: SELF ALIGNING; STYLE: OPEN; INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 140 MM; WIDTH: 26 MM; ROW: DOUBLE; REFERENCE NO: 1216K; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 26 | 30138 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 150 MM; LENGTH: 122 MM; MATERIAL: STEEL; SUPPL P/N: H3134; SUPPLIER NOTE - THE ITEM MUST BE ORIGINAL PACKED AND MARKED; SIZE 220 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 27 | 30140 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 70 MM; LENGTH: 59 MM; MATERIAL: STEEL; SUPPL P/N: H316; SUPPLIER NOTE - THE ITEM MUST BE ORIGINAL PACKED AND MARKED; SIZE 83 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 28 | 30141 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 80 MM; LENGTH: 65 MM; MATERIAL: STEEL; SUPPL P/N: H318; OD 90 MM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 29 | 30150 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 65 MM; WIDTH: 14 MM; STYLE: OPEN; SUPPL P/N: 51109; DIRECTIONAL, SINGLE ROW | EA |
| 30 | 30182 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 130 MM; WIDTH: 31 MM; ROW: SINGLE; SUPPL P/N: 7312B; NOTE: ITEM MUST BE ORIGINAL PACKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 31 | 30184 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 62 MM; WIDTH: 16 MM; ROW: SINGLE; SUPPL P/N: 7206B; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 32 | 30191 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 72 MM; OUTSIDE DIAMETER: 105 MM; WIDTH: 27 MM; STYLE: OPEN; REFERENCE NO: 51214; SINGLE DIRECTION, SINGLE ROW | EA |
| 33 | 30220 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 110 MM; WIDTH: 22 MM; ROW: SINGLE; SUPPL P/N: NU212ECPC3 | EA |
| 34 | 30221 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 25 MM; LENGTH: 27 MM; MATERIAL: STEEL; SUPPL P/N: H206; REFERENCE NO: H206; 32 MM OD; 83.3 TAPER PER METRE IN MM 1:12 ON DIA; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 35 | 30254 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 100 MM; OUTSIDE DIAMETER: 215 MM; WIDTH: 73 MM; ROW: DOUBLE; SUPPL P/N: 22320BD1C3; REFERENCE NO: 22320BD1; 22320 | EA |
| 36 | 30273 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 25.4 MM; OUTSIDE DIAMETER: 57.15 MM; WIDTH: 15.88 MM; ROW: SINGLE; SUPPL P/N: RLS8; SOLE SOURCE: CLYDE BERGEMANN AFRICA PTY LTD; SUPPLIER NOTE: THE ITEM MUST BE ORIGINAL PACKED, SEALED AND CLEARLY MARKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 37 | 30294 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 23 MM; ROW: SINGLE; SUPPL P/N: 6213C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 38 | 30303 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 60 MM; LENGTH: 50 MM; MATERIAL: STEEL; SUPPL P/N: H313; SUPPLIER NOTE - THE ITEM MUST BE ORIGINAL PROTECTIVE PACKED AND MARKED; OD 65 MM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 39 | 30304 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 65 MM; LENGTH: 55 MM; MATERIAL: STEEL; SUPPL P/N: H315; 98 MM OD; SUPPLIER NOTE - THE ITEM MUST BE ORIGINAL PROTECTIVE PACKED AND MARKED; CAMDEN SKF BRAND ONLY; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 40 | 30305 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 100 MM; LENGTH: 77 MM; MATERIAL: STEEL; SUPPL P/N: H322; SUPPLIER NOTE - THE ITEM MUST BE ORIGINAL PROTECTIVE PACKED AND MARKED; SIZE 116.5 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 41 | 30308 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 125 MM; LENGTH: 96 MM; MATERIAL: STEEL; SUPPL P/N: H3128; SUPPLIER NOTE - THE ITEM MUST BE ORIGINAL PROTECTIVE PACKED AND MARKED; SIZE 145 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 42 | 30309 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 140 MM; LENGTH: 119 MM; MATERIAL: STEEL; SUPPL P/N: H3132; 210 MM OD; SUPPLIER NOTE - THE ITEM MUST BE ORIGINAL PACKED AND MARKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 43 | 30313 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 120 MM; OUTSIDE DIAMETER: 260 MM; WIDTH: 55 MM; ROW: SINGLE; SUPPL P/N: 6324C3; NOTE: ITEM MUST BE ORIGINAL PACKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 44 | 30339 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 29 MM; ROW: SINGLE; SUPPL P/N: 6409C3; NOTE:THE REFERENCE NUMBER MUST BE CAST AND NOT ENGRAVED ON BEARING AND ORIGINAL PACKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 45 | 30357 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 170 MM; WIDTH: 58 MM; ROW: DOUBLE; SUPPL P/N: 22316EC3; REFERENCE NO: 22316E | EA |
| 46 | 30361 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 34.9 MM; ROW: DOUBLE; SUPPL P/N: 3307AC3; REFERENCE NO: 3307; DUTY: EXTRA LIGHT; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 47 | 30396 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 85 MM; WIDTH: 19 MM; ROW: SINGLE; SUPPL P/N: 6209-2Z; NOTE: ITEM MUST BE ORIGINAL PACKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 48 | 30429 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 50 MM; OUTSIDE DIAMETER: 78 MM; WIDTH: 22 MM; STYLE: OPEN; CAGE MATERIAL: STL; SUPPL P/N: 51210; SINGLE DIRECTION, SINGLE ROW, MEDIUM DUTY, PRESSED | EA |
| 49 | 30430 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 70 MM; OUTSIDE DIAMETER: 95 MM; WIDTH: 18 MM; STYLE: OPEN; SUPPL P/N: 51114; FLAT SEATED; ROW SINGLE | EA |
| 50 | 30443 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 100 MM; OUTSIDE DIAMETER: 180 MM; WIDTH: 46 MM; ROW: DOUBLE; SUPPL P/N: 22220CCC3; NOTE: THE BEARING REFERENCE NUMBER MUST BE CAST AND NOT ENGRAVED ON BEARING AND ORIGINAL PACKED | EA |
| 51 | 30445 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 130 MM; WIDTH: 46 MM; ROW: DOUBLE; SUPPL P/N: 22312C; REFERENCE NO: 22312 | EA |
| 52 | 30449 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 200 MM; WIDTH: 69.85 MM; ROW: DOUBLE; SUPPL P/N: 23222CC3; REFERENCE NO: 23222C | EA |
| 53 | 30469 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 100 MM; WIDTH: 40 MM; ROW: DOUBLE; SUPPL P/N: 3309BC3; REFERENCE NO: 3309B; NOTE: ITEM MUST BE ORIGINAL PACKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 54 | 30485 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 85 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 28 MM; ROW: SINGLE; SUPPL P/N: 6217C3; THE REFERENCE NUMBER MUST BE CAST AND NOT ENGRAVED ON BEARING AND ORIGINAL PACKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 55 | 30507 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 90 MM; WIDTH: 18 MM; STYLE: OPEN; REFERENCE NO: 51113; ROW SINGLE | EA |
| 56 | 30524 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 75 MM; OUTSIDE DIAMETER: 130 MM; WIDTH: 25 MM; ROW: SINGLE; SUPPL P/N: NU215CWC3; REFERENCE NO: NU215CW | EA |
| 57 | 30537 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 120 MM; OUTSIDE DIAMETER: 215 MM; WIDTH: 58 MM; ROW: DOUBLE; BORE SHAPE: TAPER; SUPPL P/N: 22224CKC3 | EA |
| 58 | 30542 | BEARING, ROLLER: TYPE: TAPER CONE/CUP; INSIDE DIAMETER: 100 MM; OUTSIDE DIAMETER: 180 MM; WIDTH: 49.5 MM; ROW: SINGLE; SUPPL P/N: 32220C3 | EA |
| 59 | 30544 | BEARING, ROLLER: TYPE: TAPER; INSIDE DIAMETER: 16 MM; OUTSIDE DIAMETER: 43 MM; WIDTH: 17.5 MM; ROW: SINGLE; SUPPL P/N: 17580 / 17520C3 | EA |
| 60 | 30571 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 110 MM; WIDTH: 22 MM; ROW: SINGLE; SUPPL P/N: 6212C3; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 61 | 30584 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 75 MM; OUTSIDE DIAMETER: 130 MM; WIDTH: 25 MM; ROW: SINGLE; SUPPL P/N: 6215C3; REFERENCE NO: 6215; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 62 | 30585 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 115 MM; WIDTH: 28 MM; STYLE: OPEN; SUPPL P/N: 51216; NOTE - ITEM MUST BE ORIGINAL PACKED, WITH WASHERS; ROW SINGLE | EA |
| 63 | 30586 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 43 MM; ROW: SINGLE; SUPPL P/N: N318 ECPC3; MODEL NO: N318 ECP; ITEM TO BE ORIGINAL PACKED, NOTE: THE REFERENCE NUMBER MUST BE CAST AND NOT ENGRAVE ON THE BEARING | EA |
| 65 | 30589 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 190 MM; OUTSIDE DIAMETER: 320 MM; WIDTH: 105 MM; ROW: DOUBLE; SUPPL P/N: 23138CC3 | EA |
| 66 | 30596 | BEARING, BALL: TYPE: SPHERICAL; STYLE: OPEN; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 23 MM; ROW: SINGLE; SUPPL P/N: 1213K; NOTE! ITEM MUST BE ORIGINAL PACKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 67 | 30630 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 62 MM; WIDTH: 16 MM; ROW: SINGLE; SUPPL P/N: 6206-2ZC3; DUTY: EXTRA LIGHT; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 68 | 30633 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 78 MM; WIDTH: 39 MM; STYLE: OPEN; REFERENCE NO: 52210; SINGLE DIRECTION, SINGLE ROW, MEDIUM DUTY | EA |
| 69 | 30642 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 75 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 37 MM; ROW: SINGLE; SUPPL P/N: NU315C3; REFERENCE NO: NU315 | EA |
| 70 | 30651 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 20 MM; OUTSIDE DIAMETER: 42 MM; WIDTH: 8 MM; ROW: SINGLE; SUPPL P/N: 16004; ITEM MUST BE ORIGINAL PACKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 71 | 31124 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 180 MM; LENGTH: 150 MM; MATERIAL: STEEL; SUPPL P/N: OH3140; NOTE - THE ITEM MUST BE PROTECTIVE PACKED AND CLEARLY MARKED; SIZE 200 MM OD; SNL3140; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 72 | 31130 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 55 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 29 MM; ROW: SINGLE; SUPPL P/N: 6311C3; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 73 | 31141 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 95 MM; OUTSIDE DIAMETER: 200 MM; WIDTH: 67 MM; ROW: SINGLE; SUPPL P/N: 32319A; TOTAL THICKNESS IS 71.5MM | EA |
| 74 | 31156 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 170 MM; OUTSIDE DIAMETER: 280 MM; WIDTH: 88 MM; DOUBLE; SUPPL P/N: 23134ESK TVPBC3; REFERENCE NO: 23134ESK TVPB | EA |
| 75 | 31163 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 110 MM; LENGTH: 88 MM; MATERIAL: STEEL; SUPPL P/N: H3124; M120 X 2 MM THREAD, 83.3 TAPER PER METRE IN MM 1:12 ON DIA; SIZE 125 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 76 | 31167 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 200 MM; LENGTH: 160 MM; MATERIAL: STEEL; SUPPL P/N: H3144A; REFERENCE NO: H3144HG; OD 230 MM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 77 | 31168 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 220 MM; LENGTH: 155 MM; MATERIAL: STEEL; TYPE AOH 3148; SIZE 240 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 78 | 31169 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 240 MM; LENGTH: 192 MM; MATERIAL: STEEL; REFERENCE NO: H3152A; H3152; 272 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 79 | 31170 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 250 MM; LENGTH: 195 MM; MATERIAL: STEEL; REFERENCE NO: H3156A; SIZE 292 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 80 | 31174 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 43 MM; ROW: SINGLE; CAGE MATERIAL: BRS/STL; SUPPL P/N: NU318C3; RADIAL CLEARANCE, DESIGNATION NU318E.TVP2, ALTERNATE DESIGNATION NU318E.C | EA |
| 81 | 31175 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 85 MM; OUTSIDE DIAMETER: 180 MM; WIDTH: 41 MM; ROW: SINGLE; SUPPL P/N: 6317C3; DUTY: HEAVY; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 82 | 31183 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 37 MM; ROW: SINGLE; SUPPL P/N: 6413C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 83 | 31197 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 70 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 38 MM; ROW: SINGLE; SUPPL P/N: 30314C3 | EA |
| 84 | 31198 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 170 MM; WIDTH: 62 MM; ROW: SINGLE; REFERENCE NO: 32316B; ITEM MUST BE ORIGINAL PACKED | EA |
| 85 | 31199 | COVER: TYPE: BEARING; DIMENSIONS: ID 80 MM X OD 145 MM X WD 1.404 M X HT 105 MM; MATERIAL: ALUMINIUM; REFERENCE NO: DIDC6018; TYPE DAIDO | EA |
| 86 | 31200 | BEARING, ROLLER: TYPE: TAPER; INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 170 MM; WIDTH: 62 MM; ROW: SINGLE; SUPPL P/N: HR32316 JC3; REFERENCE NO: HR32316 J | EA |
| 87 | 31232 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 85 MM; LENGTH: 68 MM; MATERIAL: STEEL; REFERENCE NO: H319; SIZE 100 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 88 | 31233 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 160 MM; LENGTH: 132 MM; MATERIAL: STEEL; SUPPL P/N: H3136; 187 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 89 | 31234 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 280 MM; LENGTH: 210 MM; MATERIAL: STEEL; SUPPL P/N: H3160; REFERENCE NO: H3160; 310 MM OD, THREAD OUTSIDE DIAMETER 300 MM, 208 MM WIDTH; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 90 | 31235 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 300 MM; LENGTH: 230 MM; MATERIAL: STEEL; REFERENCE NO: H3164; 335 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 91 | 31237 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 90 MM; WIDTH: 25.25 MM; ROW: SINGLE; SUPPL P/N: 31308 | EA |
| 92 | 31244 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 60 MM; WIDTH: 16 MM; STYLE: DOUBLE SHIELD; SUPPL P/N: 51108; ITEM MUST BE ORIGINAL PACKED; ROW SINGLE | EA |
| 93 | 31263 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 160 MM; OUTSIDE DIAMETER: 290 MM; WIDTH: 80 MM; ROW: DOUBLE; BORE SHAPE: TAPER; REFERENCE NO: 22232CCKW | EA |
| 94 | 31280 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 170 MM; LENGTH: 140 MM; MATERIAL: STEEL; SUPPL P/N: H3138; REFERENCE NO: H3138; 200 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 95 | 31285 | BEARING, ROLLER: TYPE: TAPER CONE/CUP; INSIDE DIAMETER: 150 MM; OUTSIDE DIAMETER: 270 MM; WIDTH: 49 MM; ROW: SINGLE; SUPPL P/N: 30230; REFERENCE NO: 30230 | EA |
| 96 | 31301 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 23 MM; ROW: SINGLE; SUPPL P/N: NU213ECPC3; REFERENCE NO: NU213ECP | EA |
| 97 | 31304 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 19 MM; ROW: SINGLE; SUPPL P/N: 6306-2RSIC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 98 | 31321 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 140 MM; WIDTH: 33 MM; ROW: SINGLE; SUPPL P/N: 6313C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 99 | 31328 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 70 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 38.5 MM; ROW: SINGLE; SPECIFICATION: ISO 355; SUPPL P/N: 31314C3; NOMINAL CONTACT ANGLE 10 DEGREE-17 DEGREE, DIMENSIONAL SERIES ACCORDING | EA |
| 100 | 31358 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 75 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 40 MM; ROW: SINGLE; SUPPL P/N: 31315 | EA |
| 101 | 31359 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 75 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 55 MM; ROW: DOUBLE; SUPPL P/N: 22315CC3 | EA |
| 102 | 31360 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 24 MM; ROW: SINGLE; SUPPL P/N: SL182922C3; FULL COMPLEMENT, COND ASH STACKER RLA 33K BNN | EA |
| 103 | 31361 | BEARING, ROLLER: TYPE: ANGULAR CONTACT; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 28 MM; ROW: DOUBLE; SUPPL P/N: Y-33207C3; REFERENCE NO: Y-33207 | EA |
| 104 | 31362 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 220 MM; OUTSIDE DIAMETER: 300 MM; WIDTH: 48 MM; ROW: SINGLE; SUPPL P/N: SL182944C3; FULL COMPLEMENT | EA |
| 105 | 31363 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 63.95 MM; ROW: DOUBLE; SUPPL P/N: 22318EC3; REFERENCE NO: 22318 | EA |
| 106 | 31365 | BEARING, ROLLER: TYPE: TAPER; INSIDE DIAMETER: 95 MM; OUTSIDE DIAMETER: 200 MM; WIDTH: 50 MM; ROW: SINGLE; SUPPL P/N: 31319C3; REFERENCE NO: 31319 | EA |
| 107 | 31366 | BEARING, THRUST: ROLLING ELEMENT: ROLLER; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 135 MM; WIDTH: 35 MM; REFERENCE NO: 81218C3; ROW SINGLE; TYPE SINGLE DIRECTION | EA |
| 108 | 31367 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 150 MM; OUTSIDE DIAMETER: 320 MM; WIDTH: 108 MM; ROW: DOUBLE; REFERENCE NO: 22330CCW33; 22330CCW33C3 | EA |
| 109 | 31368 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 240 MM; WIDTH: 80 MM; ROW: DOUBLE; SUPPL P/N: 22322 CC/W33C3; REFERENCE NO: 22322 CC/W33 | EA |
| 110 | 31369 | BEARING, ROLLER: TYPE: TAPER; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 25 MM; ROW: SINGLE; REFERENCE NO: 32208 J2; 32208 J2C3 | EA |
| 111 | 31382 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 120 MM; OUTSIDE DIAMETER: 215 MM; WIDTH: 40 MM; ROW: SINGLE; SUPPL P/N: N224WC3; REFERENCE NO: N224W | EA |
| 112 | 31392 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 120 MM; OUTSIDE DIAMETER: 260 MM; WIDTH: 86 MM; ROW: DOUBLE; SUPPL P/N: 22324CC3; FOR RDH 33 BNN ANR BNR GEARBOX | EA |
| 113 | 31401 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 140 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 30 MM; ROW: SINGLE; SUPPL P/N: SL182928C3; FULL COMPLEMENT | EA |
| 114 | 31412 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 190 MM; OUTSIDE DIAMETER: 320 MM; WIDTH: 104 MM; ROW: DOUBLE; SUPPL P/N: 23138 CCK/W33C3; REFERENCE NO: 23138CCKW33 | EA |
| 115 | 31419 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 220 MM; LENGTH: 170 MM; MATERIAL: STEEL; REFERENCE NO: 0H3148H; 240 MM OUTSIDE DIAMETER, 172 MM WIDTH; 250 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 116 | 31456 | BEARING, SLEEVE: TYPE: BUSH; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 104 MM; LENGTH: 71 MM; MATERIAL: MS; REFERENCE NO: A320X; COMPLETE WITH NUT AND LOCKWASHER | EA |
| 117 | 31486 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 140 MM; WIDTH: 33 MM; ROW: SINGLE; REFERENCE NO: NU313ECP | EA |
| 119 | 31503 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 130 MM; OUTSIDE DIAMETER: 230 MM; WIDTH: 40 MM; ROW: SINGLE; SUPPL P/N: 6226C3; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 120 | 31512 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 130 MM; OUTSIDE DIAMETER: 230 MM; WIDTH: 40 MM; ROW: SINGLE; SUPPL P/N: NU226MC3; REFERENCE NO: NU226M | EA |
| 121 | 31514 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 100 MM; WIDTH: 25 MM; ROW: SINGLE; SUPPL P/N: 7309BG; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 122 | 31515 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 100 MM; WIDTH: 25 MM; ROW: SINGLE; REFERENCE NO: NU309ECPC3; NU309ECP | EA |
| 123 | 31527 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 17 MM; ROW: SINGLE; SUPPL P/N: 1207C3; REFERENCE NO: 1207 | EA |
| 124 | 31529 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 20 MM; OUTSIDE DIAMETER: 47 MM; WIDTH: 14 MM; ROW: SINGLE; SUPPL P/N: 6204-2ZC3; NOTE:THE REFERENCE NUMBER MUST BE CAST AND NOT ENGRAVED ON BEARING AND ITEM MUST BE ORIGINAL PACKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 125 | 31550 | BEARING, PILLOW BLOCK: INSIDE DIAMETER: 78 MM; BOLT MOUNTING: 2; BOLT DIAMETER: M18; BLOCK SIZE: WD 38 X LG 228 X HT 158 MM; SHAFT HEIGHT: 80 MM; HOUSING MATERIAL: CI; SUPPL P/N: 3283-009-46; SIZE: HOLE DIAMETER FOR WEARING COLLAR 109MM, TIGHTENING HOLES 18MM DIAMETER WITH CENTRES 190MM, TO BS1452 GRADE 22, WITHOUT WEARING COLLAR, FOR USE ON ELECTROSTATIC PRECIP, DISHARGE RAPPING (TOP GRIT); DEEP GROOVE | EA |
| 126 | 31552 | BEARING, PILLOW BLOCK: INSIDE DIAMETER: 50 MM; BOLT MOUNTING: 2; BOLT DIAMETER: M14; BLOCK SIZE: WD 62 X LG 220 X HT 107 MM; SHAFT HEIGHT: 60 MM; HOUSING MATERIAL: CI; SUPPL P/N: 328300950; COMPLETE WITH BRASS BUSH SPLIT, 170MM HOLE CENTRES, HOLE SIZE: 13MM WIDE X 23.5MM LONG | EA |
| 127 | 31563 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 25 MM; OUTSIDE DIAMETER: 52 MM; WIDTH: 18 MM; ROW: SINGLE; SUPPL P/N: NU2205ECPC3; REFERENCE NO: NU2205ECP | EA |
| 128 | 31593 | COVER: TYPE: BEARING; DIMENSIONS: WD 75 X LG 119 X HT 40 MM; MATERIAL: CI; ASSEMBLY; CONSTRUCTION; 4 X 14MM MOUNTING HOLES; COMPLETE WITH KLINGERIT BASE GASKET 6MM THICK, USED ON 30MM DIAMETER SHAFT | EA |
| 129 | 31594 | COVER: TYPE: BEARING; DIMENSIONS: WD 75 X LG 120 X HT 40 MM; MATERIAL: CI; ASSEMBLY, I/D 40.3MM, 14MM HOLES, HOLE CENTRES: 90MM X 45MM, COMPLETE WITH GASKET KLINGERITE 5MM THICK, CAST IRON SHAFT | EA |
| 130 | 31595 | COVER: TYPE: BEARING; DIMENSIONS: ID 80.5 X WD 138 X LG 181 X HT 82 MM; MATERIAL: CI; ASSEMBLY, CONSTRUCTION, 4 X 18MM MOUNTING HOLES, COMPLETE WITH KLINGERIT BASE GASKET 5MM THICK, FOR USE ON 80MM DIAMETER SHAFT | EA |
| 131 | 30586 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 43 MM; ROW: SINGLE; SUPPL P/N: N318 ECPC3; MODEL NO: N318 ECP; ITEM TO BE ORIGINAL PACKED, NOTE: THE REFERENCE NUMBER MUST BE CAST AND NOT ENGRAVE ON THE BEARING | EA |
| 132 | 30589 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 190 MM; OUTSIDE DIAMETER: 320 MM; WIDTH: 105 MM; ROW: DOUBLE; SUPPL P/N: 23138CC3 | EA |
| 133 | 30596 | BEARING, BALL: TYPE: SPHERICAL; STYLE: OPEN; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 23 MM; ROW: SINGLE; SUPPL P/N: 1213K; NOTE! ITEM MUST BE ORIGINAL PACKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 134 | 30630 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 62 MM; WIDTH: 16 MM; ROW: SINGLE; SUPPL P/N: 6206-2ZC3; DUTY: EXTRA LIGHT; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 135 | 30633 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 78 MM; WIDTH: 39 MM; STYLE: OPEN; REFERENCE NO: 52210; SINGLE DIRECTION, SINGLE ROW, MEDIUM DUTY | EA |
| 136 | 30642 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 75 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 37 MM; ROW: SINGLE; SUPPL P/N: NU315C3; REFERENCE NO: NU315 | EA |
| 137 | 30651 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 20 MM; OUTSIDE DIAMETER: 42 MM; WIDTH: 8 MM; ROW: SINGLE; SUPPL P/N: 16004; ITEM MUST BE ORIGINAL PACKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 138 | 31124 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 180 MM; LENGTH: 150 MM; MATERIAL: STEEL; SUPPL P/N: OH3140; NOTE - THE ITEM MUST BE PROTECTIVE PACKED AND CLEARLY MARKED; SIZE 200 MM OD; SNL3140; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 139 | 31130 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 55 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 29 MM; ROW: SINGLE; SUPPL P/N: 6311C3; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 140 | 31141 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 95 MM; OUTSIDE DIAMETER: 200 MM; WIDTH: 67 MM; ROW: SINGLE; SUPPL P/N: 32319A; TOTAL THICKNESS IS 71.5MM | EA |
| 141 | 31156 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 170 MM; OUTSIDE DIAMETER: 280 MM; WIDTH: 88 MM; DOUBLE; SUPPL P/N: 23134ESK TVPBC3; REFERENCE NO: 23134ESK TVPB | EA |
| 142 | 31163 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 110 MM; LENGTH: 88 MM; MATERIAL: STEEL; SUPPL P/N: H3124; M120 X 2 MM THREAD, 83.3 TAPER PER METRE IN MM 1:12 ON DIA; SIZE 125 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 143 | 31167 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 200 MM; LENGTH: 160 MM; MATERIAL: STEEL; SUPPL P/N: H3144A; REFERENCE NO: H3144HG; OD 230 MM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 144 | 31168 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 220 MM; LENGTH: 155 MM; MATERIAL: STEEL; TYPE AOH 3148; SIZE 240 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 145 | 31169 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 240 MM; LENGTH: 192 MM; MATERIAL: STEEL; REFERENCE NO: H3152A; H3152; 272 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 146 | 31170 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 250 MM; LENGTH: 195 MM; MATERIAL: STEEL; REFERENCE NO: H3156A; SIZE 292 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 147 | 31174 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 43 MM; ROW: SINGLE; CAGE MATERIAL: BRS/STL; SUPPL P/N: NU318C3; RADIAL CLEARANCE, DESIGNATION NU318E.TVP2, ALTERNATE DESIGNATION NU318E.C | EA |
| 148 | 31175 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 85 MM; OUTSIDE DIAMETER: 180 MM; WIDTH: 41 MM; ROW: SINGLE; SUPPL P/N: 6317C3; DUTY: HEAVY; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 149 | 31183 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 37 MM; ROW: SINGLE; SUPPL P/N: 6413C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 150 | 31197 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 70 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 38 MM; ROW: SINGLE; SUPPL P/N: 30314C3 | EA |
| 151 | 31198 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 170 MM; WIDTH: 62 MM; ROW: SINGLE; REFERENCE NO: 32316B; ITEM MUST BE ORIGINAL PACKED | EA |
| 152 | 31199 | COVER: TYPE: BEARING; DIMENSIONS: ID 80 MM X OD 145 MM X WD 1.404 M X HT 105 MM; MATERIAL: ALUMINIUM; REFERENCE NO: DIDC6018; TYPE DAIDO | EA |
| 153 | 31200 | BEARING, ROLLER: TYPE: TAPER; INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 170 MM; WIDTH: 62 MM; ROW: SINGLE; SUPPL P/N: HR32316 JC3; REFERENCE NO: HR32316 J | EA |
| 154 | 31232 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 85 MM; LENGTH: 68 MM; MATERIAL: STEEL; REFERENCE NO: H319; SIZE 100 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 155 | 31233 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 160 MM; LENGTH: 132 MM; MATERIAL: STEEL; SUPPL P/N: H3136; 187 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 156 | 31234 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 280 MM; LENGTH: 210 MM; MATERIAL: STEEL; SUPPL P/N: H3160; REFERENCE NO: H3160; 310 MM OD, THREAD OUTSIDE DIAMETER 300 MM, 208 MM WIDTH; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 157 | 31235 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 300 MM; LENGTH: 230 MM; MATERIAL: STEEL; REFERENCE NO: H3164; 335 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 158 | 31237 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 90 MM; WIDTH: 25.25 MM; ROW: SINGLE; SUPPL P/N: 31308 | EA |
| 159 | 31244 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 60 MM; WIDTH: 16 MM; STYLE: DOUBLE SHIELD; SUPPL P/N: 51108; ITEM MUST BE ORIGINAL PACKED; ROW SINGLE | EA |
| 160 | 31263 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 160 MM; OUTSIDE DIAMETER: 290 MM; WIDTH: 80 MM; ROW: DOUBLE; BORE SHAPE: TAPER; REFERENCE NO: 22232CCKW | EA |
| 161 | 31280 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 170 MM; LENGTH: 140 MM; MATERIAL: STEEL; SUPPL P/N: H3138; REFERENCE NO: H3138; 200 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 162 | 31285 | BEARING, ROLLER: TYPE: TAPER CONE/CUP; INSIDE DIAMETER: 150 MM; OUTSIDE DIAMETER: 270 MM; WIDTH: 49 MM; ROW: SINGLE; SUPPL P/N: 30230; REFERENCE NO: 30230 | EA |
| 163 | 31301 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 23 MM; ROW: SINGLE; SUPPL P/N: NU213ECPC3; REFERENCE NO: NU213ECP | EA |
| 164 | 31304 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 19 MM; ROW: SINGLE; SUPPL P/N: 6306-2RSIC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 165 | 31321 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 140 MM; WIDTH: 33 MM; ROW: SINGLE; SUPPL P/N: 6313C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 166 | 31328 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 70 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 38.5 MM; ROW: SINGLE; SPECIFICATION: ISO 355; SUPPL P/N: 31314C3; NOMINAL CONTACT ANGLE 10 DEGREE-17 DEGREE, DIMENSIONAL SERIES ACCORDING | EA |
| 167 | 31358 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 75 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 40 MM; ROW: SINGLE; SUPPL P/N: 31315 | EA |
| 168 | 31359 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 75 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 55 MM; ROW: DOUBLE; SUPPL P/N: 22315CC3 | EA |
| 169 | 31360 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 24 MM; ROW: SINGLE; SUPPL P/N: SL182922C3; FULL COMPLEMENT, COND ASH STACKER RLA 33K BNN | EA |
| 170 | 31361 | BEARING, ROLLER: TYPE: ANGULAR CONTACT; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 28 MM; ROW: DOUBLE; SUPPL P/N: Y-33207C3; REFERENCE NO: Y-33207 | EA |
| 171 | 31362 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 220 MM; OUTSIDE DIAMETER: 300 MM; WIDTH: 48 MM; ROW: SINGLE; SUPPL P/N: SL182944C3; FULL COMPLEMENT | EA |
| 172 | 31363 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 63.95 MM; ROW: DOUBLE; SUPPL P/N: 22318EC3; REFERENCE NO: 22318 | EA |
| 173 | 31365 | BEARING, ROLLER: TYPE: TAPER; INSIDE DIAMETER: 95 MM; OUTSIDE DIAMETER: 200 MM; WIDTH: 50 MM; ROW: SINGLE; SUPPL P/N: 31319C3; REFERENCE NO: 31319 | EA |
| 174 | 31366 | BEARING, THRUST: ROLLING ELEMENT: ROLLER; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 135 MM; WIDTH: 35 MM; REFERENCE NO: 81218C3; ROW SINGLE; TYPE SINGLE DIRECTION | EA |
| 175 | 31367 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 150 MM; OUTSIDE DIAMETER: 320 MM; WIDTH: 108 MM; ROW: DOUBLE; REFERENCE NO: 22330CCW33; 22330CCW33C3 | EA |
| 176 | 31368 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 240 MM; WIDTH: 80 MM; ROW: DOUBLE; SUPPL P/N: 22322 CC/W33C3; REFERENCE NO: 22322 CC/W33 | EA |
| 177 | 31369 | BEARING, ROLLER: TYPE: TAPER; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 25 MM; ROW: SINGLE; REFERENCE NO: 32208 J2; 32208 J2C3 | EA |
| 178 | 31382 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 120 MM; OUTSIDE DIAMETER: 215 MM; WIDTH: 40 MM; ROW: SINGLE; SUPPL P/N: N224WC3; REFERENCE NO: N224W | EA |
| 179 | 31392 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 120 MM; OUTSIDE DIAMETER: 260 MM; WIDTH: 86 MM; ROW: DOUBLE; SUPPL P/N: 22324CC3; FOR RDH 33 BNN ANR BNR GEARBOX | EA |
| 180 | 31401 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 140 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 30 MM; ROW: SINGLE; SUPPL P/N: SL182928C3; FULL COMPLEMENT | EA |
| 181 | 31412 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 190 MM; OUTSIDE DIAMETER: 320 MM; WIDTH: 104 MM; ROW: DOUBLE; SUPPL P/N: 23138 CCK/W33C3; REFERENCE NO: 23138CCKW33 | EA |
| 182 | 31419 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 220 MM; LENGTH: 170 MM; MATERIAL: STEEL; REFERENCE NO: 0H3148H; 240 MM OUTSIDE DIAMETER, 172 MM WIDTH; 250 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 183 | 31456 | BEARING, SLEEVE: TYPE: BUSH; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 104 MM; LENGTH: 71 MM; MATERIAL: MS; REFERENCE NO: A320X; COMPLETE WITH NUT AND LOCKWASHER | EA |
| 184 | 31486 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 140 MM; WIDTH: 33 MM; ROW: SINGLE; REFERENCE NO: NU313ECP | EA |
| 185 | 31498 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 130 MM; OUTSIDE DIAMETER: 170 MM; WIDTH: 30 MM; STYLE: OPEN; OEM P/N: 7160-098, OEM: GE STEAM POWER SERVICE; 7360-098, OEM: GE STEAM POWER SERVICE; MANUF P/N: 51126MBC3; 51126MB; SINGLE DIRECTION, SINGLE ROW; HP ESV SERVO MOTOR, (51126 DIN 711) | EA |
| 186 | 31503 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 130 MM; OUTSIDE DIAMETER: 230 MM; WIDTH: 40 MM; ROW: SINGLE; SUPPL P/N: 6226C3; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 187 | 31512 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 130 MM; OUTSIDE DIAMETER: 230 MM; WIDTH: 40 MM; ROW: SINGLE; SUPPL P/N: NU226MC3; REFERENCE NO: NU226M | EA |
| 188 | 31514 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 100 MM; WIDTH: 25 MM; ROW: SINGLE; SUPPL P/N: 7309BG; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 189 | 31515 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 100 MM; WIDTH: 25 MM; ROW: SINGLE; REFERENCE NO: NU309ECPC3; NU309ECP | EA |
| 190 | 31527 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 17 MM; ROW: SINGLE; SUPPL P/N: 1207C3; REFERENCE NO: 1207 | EA |
| 192 | 31550 | BEARING, PILLOW BLOCK: INSIDE DIAMETER: 78 MM; BOLT MOUNTING: 2; BOLT DIAMETER: M18; BLOCK SIZE: WD 38 X LG 228 X HT 158 MM; SHAFT HEIGHT: 80 MM; HOUSING MATERIAL: CI; SUPPL P/N: 3283-009-46; SIZE: HOLE DIAMETER FOR WEARING COLLAR 109MM, TIGHTENING HOLES 18MM DIAMETER WITH CENTRES 190MM, TO BS1452 GRADE 22, WITHOUT WEARING COLLAR, FOR USE ON ELECTROSTATIC PRECIP, DISHARGE RAPPING (TOP GRIT); DEEP GROOVE | EA |
| 193 | 31552 | BEARING, PILLOW BLOCK: INSIDE DIAMETER: 50 MM; BOLT MOUNTING: 2; BOLT DIAMETER: M14; BLOCK SIZE: WD 62 X LG 220 X HT 107 MM; SHAFT HEIGHT: 60 MM; HOUSING MATERIAL: CI; SUPPL P/N: 328300950; COMPLETE WITH BRASS BUSH SPLIT, 170MM HOLE CENTRES, HOLE SIZE: 13MM WIDE X 23.5MM LONG | EA |
| 194 | 31563 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 25 MM; OUTSIDE DIAMETER: 52 MM; WIDTH: 18 MM; ROW: SINGLE; SUPPL P/N: NU2205ECPC3; REFERENCE NO: NU2205ECP | EA |
| 195 | 31593 | COVER: TYPE: BEARING; DIMENSIONS: WD 75 X LG 119 X HT 40 MM; MATERIAL: CI; ASSEMBLY; CONSTRUCTION; 4 X 14MM MOUNTING HOLES; COMPLETE WITH KLINGERIT BASE GASKET 6MM THICK, USED ON 30MM DIAMETER SHAFT | EA |
| 196 | 31594 | COVER: TYPE: BEARING; DIMENSIONS: WD 75 X LG 120 X HT 40 MM; MATERIAL: CI; ASSEMBLY, I/D 40.3MM, 14MM HOLES, HOLE CENTRES: 90MM X 45MM, COMPLETE WITH GASKET KLINGERITE 5MM THICK, CAST IRON SHAFT | EA |
| 197 | 31595 | COVER: TYPE: BEARING; DIMENSIONS: ID 80.5 X WD 138 X LG 181 X HT 82 MM; MATERIAL: CI; ASSEMBLY, CONSTRUCTION, 4 X 18MM MOUNTING HOLES, COMPLETE WITH KLINGERIT BASE GASKET 5MM THICK, FOR USE ON 80MM DIAMETER SHAFT | EA |
| 198 | 31601 | COVER: TYPE: BEARING; DIMENSIONS: WD 106 X LG 151 X HT 59 MM; MATERIAL: CI; SIZE DN60, 16MM THICK; 4 X 14 MM MOUNTING HOLES, COMPLETE WITH KLINGERIT BASE GASKET 6MM THICK, INSIDE DIAMETER 60.4MM, FOR USE IN 60MM SHAFT AND FOR USE ON SECONDARY AIR REGULATING DAMPER ASSY; ON ALL BURNER LEVELS AND CORNERS, 43M,46M AND 54M LEVELS AND ALL BURNER CORNERS AND ON A-E MILLS LOWER AND UPPER COLD AND HOT AIR REGULATING DAMPER ASSY; 16M LEVEL | EA |
| 199 | 31602 | COVER: TYPE: BEARING; DIMENSIONS: WD 172 X LG 192 X HT 81 MM; MATERIAL: CI; ASSEMBLY, CONSTRUCTION, 4 X 18MM MOUNTING HOLES, COMPLETE WITH KLINGERIT BASE GASKET 6MM THICK | EA |
| 200 | 31603 | COVER: TYPE: BEARING; DIMENSIONS: WD 203 X LG 253 X HT 124 MM; MATERIAL: CI; ASSEMBLY, CONSTRUCTION, 4 X 23MM MOUNTING HOLES, COMPLETE W ITH KLINGERIT GASKET FOR BASE 6MM THICK | EA |
| 201 | 31626 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 21 MM; ROW: SINGLE; SUPPL P/N: NU307ECPC3; REFERENCE NO: NU307ECP | EA |
| 202 | 31627 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 200 MM; WIDTH: 53 MM; ROW: DOUBLE; SUPPL P/N: 22222 CDE4C3 | EA |
| 203 | 31656 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 27 MM; ROW: DOUBLE; SUPPL P/N: 3207BTVHC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 204 | 31658 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 23 MM; ROW: SINGLE; SUPPL P/N: NU2208ECPC3; REFERENCE NO: NU2208ECP | EA |
| 205 | 31663 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 20 MM; OUTSIDE DIAMETER: 52 MM; WIDTH: 22.2 MM; ROW: DOUBLE; SUPPL P/N: 3304ATN9C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 206 | 31667 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 25 MM; OUTSIDE DIAMETER: 62 MM; WIDTH: 17 MM; ROW: SINGLE; REFERENCE NO: NU305E | EA |
| 207 | 31681 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 170 MM; OUTSIDE DIAMETER: 230 MM; WIDTH: 38 MM; ROW: SINGLE; SPECIFICATION: ISO 355; SUPPL P/N: 32934C3; OUTER RING WIDTH 30MM, NOMINAL CONTACT ANGLE 10-17 DEGREE, ACCORDING TO DIMENTIONAL SERIES | EA |
| 208 | 31684 | BEARING, BALL: TYPE: CONRAD; STYLE: SHIELD; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 19 MM; ROW: SINGLE; SUPPL P/N: 6306 ZC3; REFERENCE NO: 6306 Z; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 209 | 31688 | BEARING, ROLLER: TYPE: TAPER; INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 170 MM; WIDTH: 58 MM; ROW: SINGLE; SUPPL P/N: SL 192316C3; BRAND: INA 01/V12 | EA |
| 210 | 31237 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 90 MM; WIDTH: 25.25 MM; ROW: SINGLE; SUPPL P/N: 31308 | EA |
| 211 | 31244 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 60 MM; WIDTH: 16 MM; STYLE: DOUBLE SHIELD; SUPPL P/N: 51108; ITEM MUST BE ORIGINAL PACKED; ROW SINGLE | EA |
| 212 | 31263 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 160 MM; OUTSIDE DIAMETER: 290 MM; WIDTH: 80 MM; ROW: DOUBLE; BORE SHAPE: TAPER; REFERENCE NO: 22232CCKW | EA |
| 213 | 31280 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 170 MM; LENGTH: 140 MM; MATERIAL: STEEL; SUPPL P/N: H3138; REFERENCE NO: H3138; 200 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 214 | 31285 | BEARING, ROLLER: TYPE: TAPER CONE/CUP; INSIDE DIAMETER: 150 MM; OUTSIDE DIAMETER: 270 MM; WIDTH: 49 MM; ROW: SINGLE; SUPPL P/N: 30230; REFERENCE NO: 30230 | EA |
| 215 | 31301 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 23 MM; ROW: SINGLE; SUPPL P/N: NU213ECPC3; REFERENCE NO: NU213ECP | EA |
| 216 | 31304 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 19 MM; ROW: SINGLE; SUPPL P/N: 6306-2RSIC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 217 | 31321 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 140 MM; WIDTH: 33 MM; ROW: SINGLE; SUPPL P/N: 6313C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 218 | 31328 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 70 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 38.5 MM; ROW: SINGLE; SPECIFICATION: ISO 355; SUPPL P/N: 31314C3; NOMINAL CONTACT ANGLE 10 DEGREE-17 DEGREE, DIMENSIONAL SERIES ACCORDING | EA |
| 219 | 31358 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 75 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 40 MM; ROW: SINGLE; SUPPL P/N: 31315 | EA |
| 220 | 31359 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 75 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 55 MM; ROW: DOUBLE; SUPPL P/N: 22315CC3 | EA |
| 221 | 31360 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 24 MM; ROW: SINGLE; SUPPL P/N: SL182922C3; FULL COMPLEMENT, COND ASH STACKER RLA 33K BNN | EA |
| 222 | 31361 | BEARING, ROLLER: TYPE: ANGULAR CONTACT; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 28 MM; ROW: DOUBLE; SUPPL P/N: Y-33207C3; REFERENCE NO: Y-33207 | EA |
| 223 | 31362 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 220 MM; OUTSIDE DIAMETER: 300 MM; WIDTH: 48 MM; ROW: SINGLE; SUPPL P/N: SL182944C3; FULL COMPLEMENT | EA |
| 224 | 31363 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 63.95 MM; ROW: DOUBLE; SUPPL P/N: 22318EC3; REFERENCE NO: 22318 | EA |
| 225 | 31365 | BEARING, ROLLER: TYPE: TAPER; INSIDE DIAMETER: 95 MM; OUTSIDE DIAMETER: 200 MM; WIDTH: 50 MM; ROW: SINGLE; SUPPL P/N: 31319C3; REFERENCE NO: 31319 | EA |
| 226 | 31366 | BEARING, THRUST: ROLLING ELEMENT: ROLLER; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 135 MM; WIDTH: 35 MM; REFERENCE NO: 81218C3; ROW SINGLE; TYPE SINGLE DIRECTION | EA |
| 227 | 31367 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 150 MM; OUTSIDE DIAMETER: 320 MM; WIDTH: 108 MM; ROW: DOUBLE; REFERENCE NO: 22330CCW33; 22330CCW33C3 | EA |
| 228 | 31368 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 240 MM; WIDTH: 80 MM; ROW: DOUBLE; SUPPL P/N: 22322 CC/W33C3; REFERENCE NO: 22322 CC/W33 | EA |
| 229 | 31369 | BEARING, ROLLER: TYPE: TAPER; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 25 MM; ROW: SINGLE; REFERENCE NO: 32208 J2; 32208 J2C3 | EA |
| 230 | 31382 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 120 MM; OUTSIDE DIAMETER: 215 MM; WIDTH: 40 MM; ROW: SINGLE; SUPPL P/N: N224WC3; REFERENCE NO: N224W | EA |
| 231 | 31392 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 120 MM; OUTSIDE DIAMETER: 260 MM; WIDTH: 86 MM; ROW: DOUBLE; SUPPL P/N: 22324CC3; FOR RDH 33 BNN ANR BNR GEARBOX | EA |
| 232 | 31401 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 140 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 30 MM; ROW: SINGLE; SUPPL P/N: SL182928C3; FULL COMPLEMENT | EA |
| 233 | 31412 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 190 MM; OUTSIDE DIAMETER: 320 MM; WIDTH: 104 MM; ROW: DOUBLE; SUPPL P/N: 23138 CCK/W33C3; REFERENCE NO: 23138CCKW33 | EA |
| 234 | 31419 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 220 MM; LENGTH: 170 MM; MATERIAL: STEEL; REFERENCE NO: 0H3148H; 240 MM OUTSIDE DIAMETER, 172 MM WIDTH; 250 MM OD; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 235 | 31456 | BEARING, SLEEVE: TYPE: BUSH; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 104 MM; LENGTH: 71 MM; MATERIAL: MS; REFERENCE NO: A320X; COMPLETE WITH NUT AND LOCKWASHER | EA |
| 236 | 31486 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 140 MM; WIDTH: 33 MM; ROW: SINGLE; REFERENCE NO: NU313ECP | EA |
| 238 | 31503 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 130 MM; OUTSIDE DIAMETER: 230 MM; WIDTH: 40 MM; ROW: SINGLE; SUPPL P/N: 6226C3; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 239 | 31512 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 130 MM; OUTSIDE DIAMETER: 230 MM; WIDTH: 40 MM; ROW: SINGLE; SUPPL P/N: NU226MC3; REFERENCE NO: NU226M | EA |
| 240 | 31514 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 100 MM; WIDTH: 25 MM; ROW: SINGLE; SUPPL P/N: 7309BG; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 241 | 31515 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 100 MM; WIDTH: 25 MM; ROW: SINGLE; REFERENCE NO: NU309ECPC3; NU309ECP | EA |
| 242 | 31527 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 17 MM; ROW: SINGLE; SUPPL P/N: 1207C3; REFERENCE NO: 1207 | EA |
| 244 | 31550 | BEARING, PILLOW BLOCK: INSIDE DIAMETER: 78 MM; BOLT MOUNTING: 2; BOLT DIAMETER: M18; BLOCK SIZE: WD 38 X LG 228 X HT 158 MM; SHAFT HEIGHT: 80 MM; HOUSING MATERIAL: CI; SUPPL P/N: 3283-009-46; SIZE: HOLE DIAMETER FOR WEARING COLLAR 109MM, TIGHTENING HOLES 18MM DIAMETER WITH CENTRES 190MM, TO BS1452 GRADE 22, WITHOUT WEARING COLLAR, FOR USE ON ELECTROSTATIC PRECIP, DISHARGE RAPPING (TOP GRIT); DEEP GROOVE | EA |
| 245 | 31552 | BEARING, PILLOW BLOCK: INSIDE DIAMETER: 50 MM; BOLT MOUNTING: 2; BOLT DIAMETER: M14; BLOCK SIZE: WD 62 X LG 220 X HT 107 MM; SHAFT HEIGHT: 60 MM; HOUSING MATERIAL: CI; SUPPL P/N: 328300950; COMPLETE WITH BRASS BUSH SPLIT, 170MM HOLE CENTRES, HOLE SIZE: 13MM WIDE X 23.5MM LONG | EA |
| 246 | 31563 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 25 MM; OUTSIDE DIAMETER: 52 MM; WIDTH: 18 MM; ROW: SINGLE; SUPPL P/N: NU2205ECPC3; REFERENCE NO: NU2205ECP | EA |
| 247 | 31593 | COVER: TYPE: BEARING; DIMENSIONS: WD 75 X LG 119 X HT 40 MM; MATERIAL: CI; ASSEMBLY; CONSTRUCTION; 4 X 14MM MOUNTING HOLES; COMPLETE WITH KLINGERIT BASE GASKET 6MM THICK, USED ON 30MM DIAMETER SHAFT | EA |
| 248 | 31594 | COVER: TYPE: BEARING; DIMENSIONS: WD 75 X LG 120 X HT 40 MM; MATERIAL: CI; ASSEMBLY, I/D 40.3MM, 14MM HOLES, HOLE CENTRES: 90MM X 45MM, COMPLETE WITH GASKET KLINGERITE 5MM THICK, CAST IRON SHAFT | EA |
| 249 | 31595 | COVER: TYPE: BEARING; DIMENSIONS: ID 80.5 X WD 138 X LG 181 X HT 82 MM; MATERIAL: CI; ASSEMBLY, CONSTRUCTION, 4 X 18MM MOUNTING HOLES, COMPLETE WITH KLINGERIT BASE GASKET 5MM THICK, FOR USE ON 80MM DIAMETER SHAFT | EA |
| 250 | 31601 | COVER: TYPE: BEARING; DIMENSIONS: WD 106 X LG 151 X HT 59 MM; MATERIAL: CI; SIZE DN60, 16MM THICK; 4 X 14 MM MOUNTING HOLES, COMPLETE WITH KLINGERIT BASE GASKET 6MM THICK, INSIDE DIAMETER 60.4MM, FOR USE IN 60MM SHAFT AND FOR USE ON SECONDARY AIR REGULATING DAMPER ASSY; ON ALL BURNER LEVELS AND CORNERS, 43M,46M AND 54M LEVELS AND ALL BURNER CORNERS AND ON A-E MILLS LOWER AND UPPER COLD AND HOT AIR REGULATING DAMPER ASSY; 16M LEVEL | EA |
| 251 | 31602 | COVER: TYPE: BEARING; DIMENSIONS: WD 172 X LG 192 X HT 81 MM; MATERIAL: CI; ASSEMBLY, CONSTRUCTION, 4 X 18MM MOUNTING HOLES, COMPLETE WITH KLINGERIT BASE GASKET 6MM THICK | EA |
| 252 | 31603 | COVER: TYPE: BEARING; DIMENSIONS: WD 203 X LG 253 X HT 124 MM; MATERIAL: CI; ASSEMBLY, CONSTRUCTION, 4 X 23MM MOUNTING HOLES, COMPLETE W ITH KLINGERIT GASKET FOR BASE 6MM THICK | EA |
| 253 | 31626 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 21 MM; ROW: SINGLE; SUPPL P/N: NU307ECPC3; REFERENCE NO: NU307ECP | EA |
| 254 | 31627 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 200 MM; WIDTH: 53 MM; ROW: DOUBLE; SUPPL P/N: 22222 CDE4C3 | EA |
| 255 | 31656 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 27 MM; ROW: DOUBLE; SUPPL P/N: 3207BTVHC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 256 | 31658 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 23 MM; ROW: SINGLE; SUPPL P/N: NU2208ECPC3; REFERENCE NO: NU2208ECP | EA |
| 257 | 31663 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 20 MM; OUTSIDE DIAMETER: 52 MM; WIDTH: 22.2 MM; ROW: DOUBLE; SUPPL P/N: 3304ATN9C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 258 | 31667 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 25 MM; OUTSIDE DIAMETER: 62 MM; WIDTH: 17 MM; ROW: SINGLE; REFERENCE NO: NU305E | EA |
| 259 | 31681 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 170 MM; OUTSIDE DIAMETER: 230 MM; WIDTH: 38 MM; ROW: SINGLE; SPECIFICATION: ISO 355; SUPPL P/N: 32934C3; OUTER RING WIDTH 30MM, NOMINAL CONTACT ANGLE 10-17 DEGREE, ACCORDING TO DIMENTIONAL SERIES | EA |
| 260 | 31684 | BEARING, BALL: TYPE: CONRAD; STYLE: SHIELD; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 19 MM; ROW: SINGLE; SUPPL P/N: 6306 ZC3; REFERENCE NO: 6306 Z; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 261 | 31688 | BEARING, ROLLER: TYPE: TAPER; INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 170 MM; WIDTH: 58 MM; ROW: SINGLE; SUPPL P/N: SL 192316C3; BRAND: INA 01/V12 | EA |
| 262 | 31691 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 240 MM; OUTSIDE DIAMETER: 320 MM; WIDTH: 48 MM; ROW: SINGLE; SUPPL P/N: SL182948C3; FULL COMPLEMENT | EA |
| 263 | 31692 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 120 MM; OUTSIDE DIAMETER: 260 MM; WIDTH: 55 MM; ROW: SINGLE; SUPPL P/N: NU324ECJC3; REFERENCE NO: NU324ECJ | EA |
| 264 | 31704 | BEARING, THRUST: ROLLING ELEMENT: ROLLER NEEDLE; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 8.3 MM; REFERENCE NO: AXK 90120C3; AS 90120 PLUS WASHERS; ROW SINGLE | EA |
| 265 | 31706 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 130 MM; WIDTH: 31 MM; ROW: SINGLE; SUPPL P/N: 63122RSIC3; REFERENCE NO: 63122RSI; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 266 | 31709 | BEARING, BALL: TYPE: CONRAD; STYLE: SHIELD; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 75 MM; WIDTH: 16 MM; ROW: SINGLE; SUPPL P/N: 6009DUC3; REFERENCE NO: 6009DU; USED ON MAGNETIC CLUTCH FEEDER; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 267 | 31711 | BEARING, ROLLER: TYPE: TAPER CONE/CUP; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 100 MM; WIDTH: 38.25 MM; ROW: SINGLE; SUPPL P/N: HR32309J | EA |
| 268 | 31712 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 55 MM; OUTSIDE DIAMETER: 100 MM; WIDTH: 25 MM; ROW: DOUBLE; SUPPL P/N: 22211ESC3 | EA |
| 269 | 31713 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 70 MM; OUTSIDE DIAMETER: 110 MM; WIDTH: 20 MM; ROW: SINGLE; SUPPL P/N: 6014AV2SC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 270 | 31720 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 170 MM; WIDTH: 58 MM; ROW: SINGLE; SUPPL P/N: NJG2316VHC3 | EA |
| 271 | 31724 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 85 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 28 MM; ROW: SINGLE; REFERENCE NO: NU217; NU217J; NU217C3 | EA |
| 272 | 31729 | BEARING, BALL: TYPE: THRUST SINGLE DIRECTION; STYLE: OPEN; INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 105 MM; WIDTH: 19 MM; ROW: SINGLE; SUPPL P/N: 51116; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 273 | 31734 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 50 MM; OUTSIDE DIAMETER: 110 MM; WIDTH: 42.5 MM; ROW: SINGLE; SPECIFICATION: ISO 355; SUPPL P/N: 32310; NOMINAL CONTACT ANGLE 10-17 DEGREE | EA |
| 274 | 31736 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 140 MM; WIDTH: 51.5 MM; ROW: SINGLE; SPECIFICATION: ISO 355 AE; SUPPL P/N: 32313JR; NOMINAL CONTACT ANGLE 10-17 DEGREE | EA |
| 275 | 31738 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 64 MM; ROW: SINGLE; SUPPL P/N: SL192318C3; FULL COMPLEMENT, FOR GEARBOX KZA 400/A, FOR USE ON ASH DISPOSAL STANDBY CONVEYOR, SPREADER LINK KZA 320 | EA |
| 276 | 31752 | BEARING, BALL: TYPE: SELF ALIGNING; STYLE: OPEN; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 30 MM; ROW: DOUBLE; SUPPL P/N: 1218KC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 277 | 31753 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 80 MM; LENGTH: 52 MM; MATERIAL: STEEL; SUPPL P/N: H218; H218 F; REFERENCE NO: H218; H218F; 93 MM OD, FOR PLUMMER BLOCK; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 278 | 31772 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 320 MM; OUTSIDE DIAMETER: 540 MM; WIDTH: 176 MM; ROW: DOUBLE; REFERENCE NO: 23164 S.MB.C3; MACHINED BRASS CAGE INNER RING GUIDED, LUBRICATION GROOVE AND LUBRICATING HOLES IN THE OUTER RING, BRAND: FAG ONLY; SUPPLY A LETTER FROM THE MANUFACTURERS STATING THAT IT IS AN ORIGINAL FAG BEARING | EA |
| 279 | 31773 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 300 MM; OUTSIDE DIAMETER: 500 MM; WIDTH: 200 MM; ROW: DOUBLE; CAGE MATERIAL: STL; REFERENCE NO: 24160 B.C3; MACHINED INNER RING GUIDED, LUBRICATION GROOVE AND LUBRICATING HOLES IN THE OUTER RING, AMOUNT OF ROLLERS PER ROW (22 ROLLERS PER ROW) SUPPLY A LETTER FROM THE MANUFACTURERS STATING THAT IT IS AN ORIGINAL FAG BEARING | EA |
| 280 | 31776 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 95 MM; OUTSIDE DIAMETER: 200 MM; WIDTH: 45 MM; ROW: SINGLE; SUPPL P/N: 21319C3 | EA |
| 281 | 31780 | BEARING, ROLLER: TYPE: SPHERICAL TAPERED; INSIDE DIAMETER: 190 MM; OUTSIDE DIAMETER: 340 MM; WIDTH: 204 MM; ROW: DOUBLE; REFERENCE NO: 564071; 564071C3; SINGLE OUTER SPECIAL CUP TYPE; BRAND FAG ONLY | EA |
| 282 | 31785 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 22 MM; ROW: SINGLE; REFERENCE NO: 7307BG; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 283 | 31793 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 170 MM; WIDTH: 47 MM; ROW: SINGLE; SUPPL P/N: 32022JR | EA |
| 284 | 31794 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 150 MM; OUTSIDE DIAMETER: 225 MM; WIDTH: 56 MM; ROW: DOUBLE; SUPPL P/N: 23030CCW33C3; WITH LUBRICATION GROOVE AND THREE HOLES IN OUTER RING | EA |
| 285 | 31795 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 130 MM; OUTSIDE DIAMETER: 230 MM; WIDTH: 40 MM; ROW: SINGLE; SUPPL P/N: 7226BCBM; DUTY: HEAVY; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 286 | 31796 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 140 MM; WIDTH: 36 MM; ROW: SINGLE; SPECIFICATION: DIN; ISO 355 T2GB065; SUPPL P/N: 30313A; TDIMENSIONAL SERIES | EA |
| 287 | 31805 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 18 MM; ROW: SINGLE; SUPPL P/N: 6208-2ZC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 288 | 31808 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 140 MM; WIDTH: 33 MM; ROW: SINGLE; REFERENCE NO: NU313/C3; ITEM TO BE ORIGINAL PACKED, NOTE - THE REFERENCE NUMBER MUST BE CAST AND NOT ENGRAVE ON THE BEARING | EA |
| 289 | 31809 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 70 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 35 MM; ROW: SINGLE; REFERENCE NO: NU314/C3; ITEM TO BE ORIGINAL PACKED, NOTE: THE REFERENCE NUMBER MUST BE CAST AN NOT ENGRAVE ON THE BEARING | EA |
| 290 | 31810 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 25 MM; OUTSIDE DIAMETER: 62 MM; WIDTH: 17 MM; ROW: SINGLE; SUPPL P/N: 321,01; REFERENCE NO: 6305-2RS1/C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 291 | 31811 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 17 MM; ROW: SINGLE; SUPPL P/N: 6207ZC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 292 | 31812 | BEARING, BALL: TYPE: CONRAD; STYLE: SHIELD; INSIDE DIAMETER: 50 MM; OUTSIDE DIAMETER: 110 MM; WIDTH: 27 MM; ROW: SINGLE; SUPPL P/N: 6310-ZC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 293 | 31814 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 85 MM; OUTSIDE DIAMETER: 180 MM; WIDTH: 41 MM; ROW: SINGLE; REFERENCE NO: N317ECP; N317ECPC3; USED ON T7 COAL CONVEYOR HYDR PUMP MOTOR A/C AND USED ON AUX COOLING FAN MOTOR DE | EA |
| 294 | 31815 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 240 MM; WIDTH: 80 MM; ROW: SINGLE; SUPPL P/N: NU2322ECMAC3; REFERENCE NO: NU2322ECMA | EA |
| 295 | 31816 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 120 MM; OUTSIDE DIAMETER: 260 MM; WIDTH: 55 MM; ROW: SINGLE; REFERENCE NO: NU324 ECPC3; NU324 ECP | EA |
| 296 | 31817 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 85 MM; WIDTH: 19 MM; ROW: SINGLE; SUPPL P/N: 6209 2RSC3; REFERENCE NO: 6209 2RS; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 297 | 31819 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 85 MM; OUTSIDE DIAMETER: 180 MM; WIDTH: 44.5 MM; ROW: SINGLE; SUPPL P/N: 31317 | EA |
| 298 | 31820 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 33 MM; ROW: SINGLE; SUPPL P/N: 32307 | EA |
| 299 | 31821 | BEARING, ROLLER: TYPE: TAPER CONE/CUP; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 27.75 MM; ROW: SINGLE; SUPPL P/N: 31307C3; REFERENCE NO: 31307J2Q | EA |
| 300 | 31823 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 125 MM; WIDTH: 22 MM; ROW: SINGLE; SUPPL P/N: 6016C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 301 | 31824 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 240 MM; WIDTH: 50 MM; ROW: SINGLE; SUPPL P/N: 6322C3; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 302 | 31826 | BEARING, BALL: TYPE: CONRAD; STYLE: SHIELD; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 130 MM; WIDTH: 31 MM; ROW: SINGLE; SUPPL P/N: 6312Z; REFERENCE NO: 6312; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 303 | 31827 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 20 MM; OUTSIDE DIAMETER: 42 MM; WIDTH: 12 MM; ROW: SINGLE; SUPPL P/N: 6004-2ZC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 304 | 31829 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 90 MM; WIDTH: 23 MM; ROW: SINGLE; REFERENCE NO: 6308-2RS; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 306 | 31832 | BEARING, BALL: TYPE: SELF ALIGNING; STYLE: OPEN; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 62 MM; WIDTH: 16 MM; ROW: SINGLE; SUPPL P/N: 1206 KC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 307 | 31833 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 90 MM; WIDTH: 33 MM; ROW: DOUBLE; SUPPL P/N: 22308CCC3 | EA |
| 308 | 31842 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 18 MM; ROW: SINGLE; SUPPL P/N: N208ECPC3; REFERENCE NO: N208ECP | EA |
| 309 | 31843 | BEARING, THRUST: ROLLING ELEMENT: CYLINDRICAL; INSIDE DIAMETER: 100 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 38 MM; CAGE MATERIAL: BRS MACHINED; REFERENCE NO: 81220; 81220C3; ROW SINGLE | EA |
| 310 | 31845 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 90 MM; WIDTH: 23 MM; ROW: SINGLE; SUPPL P/N: NU308EC3; REFERENCE NO: NU308E | EA |
| 311 | 31846 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 30.16 MM; ROW: DOUBLE; SUPPL P/N: 3306BC3; REFERENCE NO: 3306B; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 312 | 31863 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 25 MM; LENGTH: 31 MM; MATERIAL: STEEL; SUPPL P/N: H306; ON PRECIP DOUBLE FLAP VALVE; OD 32 MM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 313 | 31885 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 31 MM; ROW: DOUBLE; SUPPL P/N: 22213CCW33 | EA |
| 314 | 31896 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 55 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 29 MM; ROW: SINGLE; SUPPL P/N: 6311NC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 315 | 31938 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 100 MM; OUTSIDE DIAMETER: 180 MM; WIDTH: 46 MM; ROW: DOUBLE; SUPPL P/N: 22220CCKW33C3; REFERENCE NO: 22220CCKW33 | EA |
| 315 | 31942 | BEARING, BALL: TYPE: ANGULAR; STYLE: OPEN; INSIDE DIAMETER: 55 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 29 MM; ROW: SINGLE; CAGE MATERIAL: BRASS; REFERENCE NO: 7311BE CB M; FAG BRAND ONLY, 2B = 58MM, MATCHING PAIRS DESIGNED BACK TO BACK, BE - CONTACT ANGLE: 40 DEGREE GA - LIGHT PRELOAD, USED ON H P FEUL OIL PUMPS - NDE; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 317 | 31958 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 160 MM; OUTSIDE DIAMETER: 270 MM; WIDTH: 86 MM; ROW: DOUBLE; SUPPL P/N: 23132CCW33C3 | EA |
| 318 | 32012 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 55 MM; OUTSIDE DIAMETER: 120 MM; WIDTH: 46 MM; ROW: SINGLE; SUPPL P/N: 32311BC3 | EA |
| 319 | 32013 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 95 MM; OUTSIDE DIAMETER: 170 MM; WIDTH: 35 MM; ROW: SINGLE; SPECIFICATION: ISO 355 3FB; SUPPL P/N: 30219; WITH NOMINAL 10 -17 DEGREE CONTACT ANGLE, DIMENSION SERIES | EA |
| 320 | 32014 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 70 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 54.5 MM; ROW: SINGLE; SUPPL P/N: 32314C3; INNER RING WIDTH: 51MM OUTER RING WIDTH: 42MM, TOTAL WIDTH: 54MM, DIMENTIONAL SERIES ACCORDING TO ISO 355 | EA |
| 321 | 32020 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 15.88 MM; OUTSIDE DIAMETER: 34.93 MM; WIDTH: 7.14 MM; ROW: SINGLE; REFERENCE NO: KLNJ5-8; FOR USE ON PADDLE ALARM VOL/COAL/FEEDER; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 322 | 32021 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 85 MM; WIDTH: 22 MM; ROW: SINGLE; SUPPL P/N: 1145-1 3/4CG; SELF LUBE; INSERTS WITH PARALLEL OUTSIDE DIAMETER AND INTERGRAL 2 SET SCREW 120 DEGREE APART, OUTER RING THICKNESS: 27,78 MM, INNER RING THICKNESS: 49,78 MM, USED ON MILL VOLUMETRIC FEEDER BELT DRIVE PULLEY NON DRIVE END, MUST BE SUPPLIED WITH GROOVE AND CLIP; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 323 | 32025 | BEARING, THRUST: ROLLING ELEMENT: ROLLER NEEDLE; INSIDE DIAMETER: 130 MM; OUTSIDE DIAMETER: 170 MM; WIDTH: 23 MM; SUPPL P/N: AXK130170C3; AXIAL, USED ON SEMPELL VALVE 300MM, TYPE GTS2.300.250-19.60X.57X.57; SINGLE | EA |
| 324 | 32028 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 140 MM; WIDTH: 33 MM; ROW: DOUBLE; SUPPL P/N: 22216CCKW33C3; WITH LUBRICATION GROOVE AND THREE GREASE HOLES IN OUTER RING | EA |
| 325 | 32108 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 68 MM; WIDTH: 15 MM; ROW: SINGLE; SUPPL P/N: 6008-2RS1C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 326 | 32139 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 85 MM; OUTSIDE DIAMETER: 180 MM; WIDTH: 41 MM; ROW: SINGLE; SUPPL P/N: NU317ECPC3 | EA |
| 327 | 32273 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 140 MM; OUTSIDE DIAMETER: 250 MM; WIDTH: 68 MM; ROW: DOUBLE; SUPPL P/N: 22228CC/W33; CYLINDRICAL BORE | EA |
| 328 | 32295 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 120 MM; OUTSIDE DIAMETER: 215 MM; WIDTH: 40 MM; ROW: SINGLE; SUPPL P/N: 6224C3; NOTE:THE REFERENCE NUMBER MUST BE CAST AND NOT ENGRAVED ON BEARING, ITEM MUST BE ORIGINAL PACKED; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 329 | 32470 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 100 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 24 MM; ROW: SINGLE; SUPPL P/N: 6020-2ZC3; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 330 | 32517 | BEARING, ROLLER: TYPE: AXIAL NEEDLE; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 65 MM; WIDTH: 3 MM; ROW: SINGLE; SUPPL P/N: AXK4565; TWO THRUST RING PLATES PART NO:AS 4565, SIZE COMPLETE SET | EA |
| 331 | 32532 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 75 MM; WIDTH: 10 MM; ROW: SINGLE; SUPPL P/N: 16009; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 332 | 32542 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 90 MM; WIDTH: 36.51 MM; ROW: DOUBLE; SUPPL P/N: 3308; REFERENCE NO: 3308C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 333 | 32554 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: SINGLE SHIELD; INSIDE DIAMETER: 70 MM; OUTSIDE DIAMETER: 125 MM; WIDTH: 24 MM; ROW: SINGLE; CAGE MATERIAL: STL; MANUF P/N: 6214Z C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 334 | 32564 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 90 MM; WIDTH: 23 MM; ROW: SINGLE; SUPPL P/N: 6406C3; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 335 | 32582 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 80 MM; OUTSIDE DIAMETER: 140 MM; WIDTH: 26 MM; ROW: SINGLE; SUPPL P/N: 6216C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 336 | 32609 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 130 MM; WIDTH: 31 MM; ROW: SINGLE; REFERENCE NO: NJ312WC3; NJ312C3 | EA |
| 337 | 32678 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 25 MM; OUTSIDE DIAMETER: 62 MM; WIDTH: 17 MM; ROW: SINGLE; SUPPL P/N: NU305ECPC3; REFERENCE NO: NU305ECP | EA |
| 338 | 32707 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 76.2 MM; OUTSIDE DIAMETER: 177.8 MM; WIDTH: 39.69 MM; ROW: SINGLE; SUPPL P/N: AMS24 TN9; AMS24; MUST BE VACUUM PACKED, USED ON AIRHEATER GEARBOX INPUT BOX,GREASE APPLICATION,DAVID BROWN; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 339 | 33175 | BEARING, BALL: TYPE: ANGULAR CONTACT; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 130 MM; WIDTH: 31 MM; ROW: SINGLE; DRAWING NO: 20.58/7627 ESK REV 1; REFERENCE NO: 7312BEGP; ANTI FRICTION; FOR BOOSTER OIL PUMP, TYPE ETA 150-26; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 340 | 34568 | BEARING, PILLOW BLOCK: INSIDE DIAMETER: 97 MM; BOLT MOUNTING: 2; BOLT DIAMETER: M22; BLOCK SIZE: WD 90 X LG 320 X HT 183 MM; SHAFT HEIGHT: 95 MM; ROLLING ELEMENT: SPHERICAL; HOUSING MATERIAL: CI; SUPPL P/N: SNH 517 TG; SELF ALIGNING, MEDIUM DUTY, COMPLETE WITH DOUBLE LIP SEAL | EA |
| 341 | 34570 | BEARING, THRUST: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 245 MM; OUTSIDE DIAMETER: 340 MM; WIDTH: 78 MM; STYLE: OPEN; SUPPL P/N: 51248; SINGLE DIRECTION, SINGLE ROW, HEAVY DUTY | EA |
| 342 | 34571 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 100 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 60 MM; ROW: DOUBLE; SUPPL P/N: SL045020PPC3 | EA |
| 343 | 34784 | BEARING, PILLOW BLOCK: INSIDE DIAMETER: 86 MM; BOLT MOUNTING: 2; BOLT DIAMETER: M22; BLOCK SIZE: WD 124 X LG 290 X HT 160 MM; SHAFT HEIGHT: 84 MM; HOUSING MATERIAL: CI; SUPPL P/N: TVN215; REFERENCE NO: 1215; DUTY: MEDIUM | EA |
| 344 | 34815 | BEARING, PILLOW BLOCK: INSIDE DIAMETER: 100 MM; BOLT MOUNTING: 2; BOLT DIAMETER: M24; BLOCK SIZE: WD 136 X LG 340 X HT 194 MM; HOUSING MATERIAL: CI; SUPPL P/N: SNH518-615; DEEP GROOVE, PLUMMER WITH LOCATING RINGS, USED ON CONDITIONED ASH TAKE UP TENSION CABLE SHEAVE WHEELS AND FIRST COLLECTOR CONVEYOR DE NDE DRIVE SIDE | EA |
| 345 | 34831 | BEARING, PILLOW BLOCK: INSIDE DIAMETER: 140 MM; BOLT MOUNTING: 2; BOLT DIAMETER: M38; BLOCK SIZE: WD 250 X LG 560 X HT 340 MM; SHAFT HEIGHT: 168 MM; HOUSING MATERIAL: CI; SUPPL P/N: SNA532TA; REFERENCE NO: FRB17/290P; HOUSING, COMPLETE WITH V-RING SEALS AND LOCATING RINGS | EA |
| 346 | 34844 | BEARING, PILLOW BLOCK: INSIDE DIAMETER: 90 MM; BOLT MOUNTING: 2; BOLT DIAMETER: M30; BLOCK SIZE: WD 110 X LG 380 X HT 215 MM; SHAFT HEIGHT: 112 MM; HOUSING MATERIAL: CI; REFERENCE NO: SNH520-617; HOUSING, FOR SHAFT DIA 90MM, BASE THICKNESS 40MM MOUNTING HOLES (CENTRE TO CENTRE) 320MM | EA |
| 347 | 34845 | BEARING, PILLOW BLOCK: INSIDE DIAMETER: 94 MM; BOLT MOUNTING: 2; BOLT DIAMETER: M24; BLOCK SIZE: WD 120 X LG 310 X HT 175 MM; SHAFT HEIGHT: 95 MM; HOUSING MATERIAL: CI; SUPPL P/N: SNH516-613; ROLLING ELEMENT BUSHING; HOUSING, BASE HOLES (CENTRE TO CENTRE) 260MM, BASE TO SHAFT CENTRE: 95MM, PLUMMERBLOCK WITHOUT SEALS, USED ON MILL BIN CONVEYOR TAKE UP PULLEY | EA |
| 348 | 41601 | NUT, ADAPTOR: DIAMETER: 160 MM; SLOTS: 4; LOCKING METHOD: STL INSERT; THREAD: 3 MM; MATERIAL: STL; GRADE: 8.8; REFERENCE NO: 16; PSB002-008; CRANKSHAFT ROLLER BEARING CLAMPING; FOR BELLISS AND MORCOM COMPRESSOR TYPE WH 56N | EA |
| 349 | 44673 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 105 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 36 MM; ROW: SINGLE; REFERENCE NO: N221 | EA |
| 350 | 44679 | BEARING, ROLLER: TYPE: NEEDLE; INSIDE DIAMETER: 26 MM; OUTSIDE DIAMETER: 38 MM; WIDTH: 25 MM; ROW: SINGLE; SUPPL P/N: 117027MARC3; REFERENCE NO: 328400192; WITHOUT INNER RING SEALED ON BOTH SIDES, SIZE SHAFT DIAMETER 25.3MM 1IN X O/DIAMETER 38.1MM 1.5 IN X 25.3MM 1IN WIDE, DESIGNATION MC GILL USA MR-16-S | EA |
| 351 | 44681 | BEARING, ROLLER: TYPE: NEEDLE; INSIDE DIAMETER: 33 MM; OUTSIDE DIAMETER: 52 MM; WIDTH: 31.75 MM; ROW: SINGLE; SUPPL P/N: 117023C3; REFERENCE NO: 3284001111; OUTER RING AND ROLLER ASSEMBLY | EA |
| 352 | 45280 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 65 MM; LENGTH: 42 MM; MATERIAL: STEEL; SUPPL P/N: H215; COMPLETE WITH LOCK NUT AND WASHER; OD 77 MM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 353 | 69780 | SLEEVE, COUPLING: TYPE: GEAR; DIMENSIONS: ID 51.6 X OD 73 X WD 37 MM; MATERIAL: NYLON; ESCONYL DISC TYPE: 28A, DEPTH 3.2MM, WIDTH 16.5MM, TEETH 34 | EA |
| 354 | 182661 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 240 MM; WIDTH: 80 MM; ROW: SINGLE; SUPPL P/N: NJ2322EMAC3; WITH BRASS/STEEL CAGE, USED ON ACC FAN GEARBOXES | EA |
| 355 | 186731 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 170 MM; OUTSIDE DIAMETER: 310 MM; WIDTH: 52 MM; ROW: SINGLE; SUPPL P/N: 6234C3; DUTY: HEAVY; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 356 | 212355 | HOUSING, BEARING UNIT: TYPE: PILLOW; MATERIAL: CI; SUPPL P/N: SNU526; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 357 | 212792 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 200 MM; OUTSIDE DIAMETER: 250 MM; WIDTH: 24 MM; ROW: SINGLE; SUPPL P/N: SL181840C3; FULL COMPLEMENT, STACKER SLEW GEARBOX | EA |
| 358 | 212793 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 170 MM; OUTSIDE DIAMETER: 230 MM; WIDTH: 36 MM; ROW: SINGLE; SUPPL P/N: SL182934C3; FULL COMPLEMENT, SOND 350 BUCKET WHEEL COAL STACKER | EA |
| 359 | 212794 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 55 MM; OUTSIDE DIAMETER: 90 MM; WIDTH: 26 MM; ROW: SINGLE; SUPPL P/N: SL183011C3; FULL COMPLEMENT, SOND 350 BUCKET WHEEL COAL STACKER | EA |
| 360 | 212795 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 240 MM; OUTSIDE DIAMETER: 360 MM; WIDTH: 92 MM; ROW: SINGLE; SUPPL P/N: SL183048C3; FULL COMPLEMENT, OUTPUT SHAFT, T1 A,B | EA |
| 361 | 212797 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 260 MM; OUTSIDE DIAMETER: 360 MM; WIDTH: 60 MM; ROW: SINGLE; SUPPL P/N: SL182952C3; FULL COMPLEMENT | EA |
| 362 | 212800 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 95 MM; OUTSIDE DIAMETER: 200 MM; WIDTH: 67 MM; ROW: SINGLE; SUPPL P/N: SL192319C3; FULL COMPLEMENT, STACKER RECLAIMER BOOM CONVEYOR AND STACKER BUCKET WHEEL SOND 350 | EA |
| 363 | 212811 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 100 MM; OUTSIDE DIAMETER: 215 MM; WIDTH: 73 MM; ROW: SINGLE; SUPPL P/N: SL192320C3; FULL COMPLEMENT | EA |
| 364 | 212812 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 240 MM; WIDTH: 80 MM; ROW: SINGLE; SUPPL P/N: SL192322C3; REFERENCE NO: SL192322; FULL COMPLEMENT, WITH DISC CAGE, SOND 350 BUCKET WHEEL COAL STACKER | EA |
| 365 | 212813 | BEARING, THRUST: ROLLING ELEMENT: ROLLER; INSIDE DIAMETER: 260 MM; OUTSIDE DIAMETER: 320 MM; WIDTH: 45 MM; STYLE: SPLIT; MATERIAL: STL; SUPPL P/N: 81152; ROW SINGLE, FOR ACC; TYPE AXIAL | EA |
| 366 | 214499 | BEARING, THRUST: ROLLING ELEMENT: ROLLER NEEDLE; INSIDE DIAMETER: 60.3 MM; OUTSIDE DIAMETER: 84.5 MM; WIDTH: 5 MM; SUPPL P/N: AXK6085C3; TWO PLATES 1MM THICK TO BE SUPPLIED WITH EACH; ROW SINGLE | EA |
| 367 | 218378 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 85 MM; OUTSIDE DIAMETER: 130 MM; WIDTH: 22 MM; ROW: SINGLE; SUPPL P/N: 6017C3; FOR CFA 120 FLENDER GEARBOX; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 368 | 220005 | BEARING, THRUST: ROLLING ELEMENT: NEEDLE; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 90 MM; WIDTH: 18 MM; STYLE: OPEN; MATERIAL: STL; SUPPL P/N: 81113TN; DUTY MEDIUM | EA |
| 369 | 227897 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 170 MM; OUTSIDE DIAMETER: 288 MM; WIDTH: 88 MM; ROW: DOUBLE; SUPPL P/N: 23134BD1C3MTN; USED ON S5 CONVEYOR HANSEN GEARBOX | EA |
| 370 | 232954 | BEARING, ROLLER: TYPE: PARALLEL; INSIDE DIAMETER: 170 MM; OUTSIDE DIAMETER: 280 MM; WIDTH: 88 MM; ROW: DOUBLE; C3 | EA |
| 371 | 239668 | BEARING, ROLLER: TYPE: TAPERED DOUBLE CUP/CONE; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 130 MM; WIDTH: 71 MM; ROW: DOUBLE; SUPPL P/N: 31312 J2/Q DF03; OMPRISING OF TWO CUPS, TWO ROLLER ELEMENTS AND A SPACER RING, TO BE SUPPLIED AS A COMPLETE BEARING | EA |
| 372 | 253321 | BEARING, ROLLER: TYPE: TAPER, SPHERICAL; INSIDE DIAMETER: 170 MM; OUTSIDE DIAMETER: 260 MM; WIDTH: 67 MM; CAGE MATERIAL: BRS/STL; REFERENCE NO: 23034.CCK/W33 | EA |
| 373 | 502546 | HOUSING: TYPE: BEARING DE; DRAWING NO: ITEM:11 REV 0; A0-104599 REV 1; MODEL NO: FK 3C 44; FOR USE ON WEIR ELECTRIC FEED PUMP; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 374 | 502551 | HOUSING: TYPE: BEARING NDE; MATERIAL: BS 1501 16 GR.430; DRAWING NO: ITEM:55 REV 0; A0-104599 REV 1; MODEL NO: FK 3C 44; FOR USE ON WEIR 3 STAGE ELECTRIC FEED PUMP; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 375 | 527765 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 30 MM; ROW: SINGLE; REFERENCE NO: 7218 B; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 376 | 527770 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 69.85 MM; OUTSIDE DIAMETER: 158.75 MM; WIDTH: 34.93 MM; ROW: SINGLE; REFERENCE NO: AMS 22; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 377 | 527772 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 140 MM; WIDTH: 33 MM; ROW: SINGLE; REFERENCE NO: 7313B; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 378 | 527775 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 76.2 MM; OUTSIDE DIAMETER: 177.8 MM; WIDTH: 39.69 MM; ROW: SINGLE; REFERENCE NO: RMS 24; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 379 | 527777 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 101.6 MM; OUTSIDE DIAMETER: 184.15 MM; WIDTH: 31.75 MM; ROW: SINGLE; REFERENCE NO: ALS 32; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 380 | 552811 | BEARING: TYPE: PUMP; INSIDE DIAMETER: 50 MM; OUTSIDE DIAMETER: 110 MM; WIDTH: 27 MM; MATERIAL: STL; MANUF P/N: 7310-BG-19; DRAWING NO: VTSC/4STG REV 0 | EA |
| 381 | 573354 | RING, BEARING INNER: TYPE: LOCATING; INSIDE DIAMETER: 130 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 50 MM; MATERIAL: STL; BORE SHAPE: PARALLEL; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 382 | 573919 | BEARING, BALL: TYPE: CAGED; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 25 MM; OUTSIDE DIAMETER: 62 MM; WIDTH: 25.4 MM; ROW: DOUBLE; CAGE MATERIAL: STL; MANUF P/N: 3305-2RS; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 383 | 573920 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 70 MM; OUTSIDE DIAMETER: 90 MM; WIDTH: 10 MM; ROW: SINGLE; CAGE MATERIAL: STL; MANUF P/N: 61814-2RS; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 384 | 573921 | BEARING, BALL: TYPE: DEEP GROVE; STYLE: SNAP RING; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 21 MM; ROW: SINGLE; CAGE MATERIAL: STL; MANUF P/N: 6307NR; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 385 | 573922 | BEARING, BALL: TYPE: ANGULAR; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 62 MM; WIDTH: 23.8 MM; ROW: DOUBLE; CAGE MATERIAL: STL; MANUF P/N: 3206; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 386 | 573923 | BEARING, ROLLER: TYPE: TAPER; INSIDE DIAMETER: 50 MM; OUTSIDE DIAMETER: 110 MM; WIDTH: 29.25 MM; ROW: SINGLE; BORE SHAPE: PARALLEL; CAGE MATERIAL: BRS/STL; MANUF P/N: 30310J | EA |
| 387 | 573924 | BEARING, ROLLER: TYPE: CAGED; INSIDE DIAMETER: 45 MM; OUTSIDE DIAMETER: 85 MM; WIDTH: 19 MM; ROW: SINGLE; BORE SHAPE: PARALLEL; CAGE MATERIAL: BRS/STL; ROLLING ELEMENT: CYLINDRICAL; MANUF P/N: NJ209EC | EA |
| 388 | 573925 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 110 MM; WIDTH: 27 MM; ROW: SINGLE; CAGE MATERIAL: BRS/STL; MANUF P/N: NJ408 | EA |
| 389 | 573926 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 62 MM; WIDTH: 20 MM; ROW: SINGLE; BORE SHAPE: PARALLEL; CAGE MATERIAL: BRS/STL; MANUF P/N: NUP2206EC | EA |
| 390 | 573927 | BEARING, ROLLER: TYPE: TAPER; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 110 MM; WIDTH: 48.5 MM; ROW: SINGLE; BORE SHAPE: CYLINDRICAL; CAGE MATERIAL: BRS/STL; MANUF P/N: 32312 | EA |
| 391 | 573928 | BEARING, ROLLER: TYPE: TAPER; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 46.5 MM; ROW: SINGLE; MANUF P/N: 30318 | EA |
| 392 | 573930 | BEARING, BALL: TYPE: DEEP GROVE; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 55 MM; OUTSIDE DIAMETER: 100 MM; WIDTH: 21 MM; ROW: SINGLE; CAGE MATERIAL: STL; MANUF P/N: 6211-2RS; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 393 | 574063 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 130 MM; OUTSIDE DIAMETER: 230 MM; WIDTH: 40 MM; ROW: SINGLE; CAGE MATERIAL: BRS/STL; MANUF P/N: NJ226 | EA |
| 394 | 581361 | INSERT: TYPE: BEARING; DIMENSIONS: ID 40 X OD 80 X THK 52 MM; MATERIAL: STL; DRAWING NO: 60153 (ESKOM) REV 0 | EA |
| 395 | 581362 | INSERT: TYPE: BEARING; DIMENSIONS: ID 50 X OD 90 X THK 52 MM; MATERIAL: STL; DRAWING NO: 60154 (ESKOM) REV 0 | EA |
| 396 | 596134 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 73 MM; WIDTH: 95 MM; ROW: SINGLE; BORE SHAPE: CYLINDRICAL; STYLE: FLANGE; CAGE MATERIAL: STL; ROLLING ELEMENT: SPHERICAL; SPECIFICATION: DIN 24256; OEM P/N: FB224M60H; IBI 22400 | EA |
| 397 | 601255 | BEARING, ROLLER: TYPE: SPHERICAL; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 40 MM; ROW: DOUBLE; REFERENCE NO: 22218CCK/W33; SSC CHAIN GUIDE WHEEL SHAFT BEARING | EA |
| 398 | 602642 | SLEEVE, ADAPTOR: TYPE: BEARING; SHAFT SIZE: 115 MM; LENGTH: 92 MM; MATERIAL: STEEL; OD 130 MM; FOR BEARING 22226CCK/W33; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 399 | 608687 | BEARING, ASSEMBLY: TYPE: SCREW CONVEYOR; APPLICATION: MILL; OUTSIDE DIAMETER: 275 MM; WIDTH: 130 MM; MATERIAL: CI; DRAWING NO: 0.58/40740 REV 0; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 400 | 613606 | PULLEY, CONVEYOR: TYPE: SQUEEZER; DRUM DIAMETER: 140 MM; DRUM WIDTH: 2 M; MATERIAL: MS; SHAFT DIAMETER: 100 MM; SHAFT LENGTH: 2.448 M; FACE STYLE: 10 UHMW POLYURETHANE; SHORE HARDNESS; 75; RPM: 477; BEARING CENTRE: 155MM; APPLICATION: (CSY) COAL STOCK YARD & OVERSILO; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 401 | 613812 | BEARING, TAKE UP: INSIDE DIAMETER: 65 MM; HOUSING SIZE: WD 120 X LG 165 MM; SLOT WIDTH: 26 MM; FRAME: WD 165 X LG 220 MM; ROLLING ELEMENT: BALL; STYLE: SEALED; HOUSING MATERIAL: CI; REFERENCE NO: UCT213; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 402 | 615043 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 70 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 51 MM; ROW: SINGLE; REFERENCE NO: NU 2314 | EA |
| 403 | 636220 | BEARING, ROLLER: TYPE: THRUST TAPERED; INSIDE DIAMETER: 60 MM; OUTSIDE DIAMETER: 130 MM; WIDTH: 67 MM; ROW: SINGLE; SUPPL P/N: 31312 J2/QDF; LCC-R 150-500.4 | EA |
| 404 | 640546 | BEARING, FLANGE BLOCK: ROLLING ELEMENT: BALL; INSIDE DIAMETER: 65 MM; SHAPE: SQ; BLOCK SIZE: SQ 185 MM; BOLT MOUNTING: 4; BOLT DIAMETER: M14; HOUSING MATERIAL: CI | EA |
| 405 | 686795 | HOUSING, BEARING UNIT: TYPE: BEARING BOX; BORE: 130 X 120 MM; MATERIAL: CAST IRON; BLOCK SIZE: WD 1.12 M X LG 660 MM X HT 435 MM; BOLT MOUNTINGS: 4; BOLT DIAMETER: M24; 90 DIN558; TAPERED BORE; EN19 SHAFT; TOP NUT WITH GREASING NIPPLE & CHANNEL; BOTTOM NUT WITH GREASING NIPPLE & CHANNEL; GREASE PIPE; 2 X WASHERS; WITH 2 X 22228 H/CL BEARING; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 406 | 745243 | HOUSING: TYPE: DE BEARING; DIMENSIONS: ID 103 X OD 450 X LG 130 MM; MATERIAL: CAST IRON; SUPPL P/N: 351.01; DRAWING NO: 0-104.602.276; REFERENCE NO: 104602191201; CEP HPM 400-435; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 407 | 745250 | HOUSING: TYPE: NDE BEARING; DIMENSIONS: ID 1030 X OD 450 X LG 165 MM; MATERIAL: CAST IRON, DUCTILE; SUPPL P/N: 351.02; DRAWING NO: 0-104.602.276; REFERENCE NO: 104602158201; CEP HPM 400-435; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 408 | 745254 | COVER: TYPE: BEARING DE; DIMENSIONS: ID 64 X OD 390 X WD 42 MM; MATERIAL: CAST IRON, GRAY; APPLICATION: USE ON HPM 400-435; SUPPL P/N: 360.012; DRAWING NO: 0-104.602.276; REFERENCE NO: 104602143201 | EA |
| 409 | 745257 | COVER: TYPE: BEARING DE; DIMENSIONS: ID 25.4 X OD 390 X WD 45 MM; MATERIAL: CAST IRON, DUCTILE; APPLICATION: USE ON HPM 400-435; SUPPL P/N: 360.02; DRAWING NO: 0-104.602.276; REFERENCE NO: 104602141201 | EA |
| 411 | 31938 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 100 MM; OUTSIDE DIAMETER: 180 MM; WIDTH: 46 MM; ROW: DOUBLE; SUPPL P/N: 22220CCKW33C3; REFERENCE NO: 22220CCKW33 | EA |
| 412 | 621553 | EARING: TYPE: COMPRESSOR; INSIDE DIAMETER: 126 MM; OUTSIDE DIAMETER: 134 MM; WIDTH: 64 MM; MATERIAL: WHITE METAL; REFERENCE NO: PSB 014 002 | EA |
| 413 | 725538 | BALL, BEARING: MATERIAL: STEEL; DIAMETER: ID 765 X OD 175 MM; LEAD AND COPPER ON STEEL SHELL; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE) | EA |
| 414 | 41602 | RING: TYPE: CLAMPING; INSIDE DIAMETER: 67.5 MM; OUTSIDE DIAMETER: 136.5 MM; MATERIAL: MS; SUPPL P/N: PSB015-003; REFERENCE NO: WH56N; FOR CRANKSHAFT ROLLER BEARING; FOR BELLISS AND MORCOM COMPRESSOR | EA |
| 415 | 621205 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 100 MM; OUTSIDE DIAMETER: 180 MM; WIDTH: 46 MM; ROW: DOUBLE; SUPPL P/N: 22220CCKW33C3; REFERENCE NO: 22220CCKW33 | EA |
| 416 | 31712 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 55 MM; OUTSIDE DIAMETER: 100 MM; WIDTH: 25 MM; ROW: DOUBLE; SUPPL P/N: 22211ESC3 | EA |
| 417 | 173009 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 50 MM; OUTSIDE DIAMETER: 90 MM; WIDTH: 20 MM; ROW: SINGLE; REFERENCE NO: SKF 1210; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 418 | 589415 | BEARING, ROLLER: TYPE: SPHERICAL TAPERED; INSIDE DIAMETER: 50.12 MM; OUTSIDE DIAMETER: 89.96 MM; WIDTH: 23.24 MM; ROW: DOUBLE; MANUF P/N: 22210EAKE4C3 | EA |
| 419 | 31830 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 17 MM; OUTSIDE DIAMETER: 40 MM; WIDTH | EA |
| 420 | 30086 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 240 MM; OUTSIDE DIAMETER: 400 MM; WIDTH: 128 MM; ROW: DOUBLE; SUPPL P/N: 23148CW33C3; REFERENCE NO: 23148CW33 | EA |
| 423 | 30257 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 75 MM; OUTSIDE DIAMETER: 130 MM; WIDTH: 31 MM; ROW: DOUBLE; REFERENCE NO: 22215CCKC3; THE REFERENCE NUMBER MUST BE CAST AND NOT ENGRAVED ON BEARING, ITEM MUST BE ORIGINAL PACKED | EA |
| 424 | 30266 | EARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 20 MM; OUTSIDE DIAMETER: 47 MM; WIDTH: 20.6 MM; ROW: DOUBLE; SUPPL P/N: 3204A; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 425 | 31152 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 200 MM; OUTSIDE DIAMETER: 340 MM; WIDTH: 112 MM; ROW: DOUBLE; SUPPL P/N: 23140 CCK/W33C3; ITEM MUST BE ORIGINAL PACKED | EA |
| 426 | 31153 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 220 MM; OUTSIDE DIAMETER: 370 MM; WIDTH: 120 MM; ROW: DOUBLE; SUPPL P/N: 23144CCKW33C3; REFERENCE NO: 23144BKMB; 23144BK; 23144CCKW33 | EA |
| 427 | 31171 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 240 MM; OUTSIDE DIAMETER: 400 MM; WIDTH: 128 MM; ROW: DOUBLE; REFERENCE NO: 23148CCKW33C3 | EA |
| 428 | 31172 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 260 MM; OUTSIDE DIAMETER: 440 MM; WIDTH: 144 MM; ROW: DOUBLE; SUPPL P/N: 23152CCK W33C3; REFERENCE NO: 23152CCK W33 | EA |
| 429 | 31193 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 70 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 70 MM; ROW: SINGLE; SUPPL P/N: 7314BG; REFERENCE NO: 017-733-617-314; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 430 | 31364 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 170 MM; OUTSIDE DIAMETER: 280 MM; WIDTH: 109 MM; ROW: DOUBLE; SUPPL P/N: 24134C3 | EA |
| 431 | 31378 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 25 MM; OUTSIDE DIAMETER: 52 MM; WIDTH: 15 MM; ROW: SINGLE; OEM P/N: 6205 2ZC3; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 432 | 31459 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 300 MM; OUTSIDE DIAMETER: 500 MM; WIDTH: 160 MM; ROW: DOUBLE; SUPPL P/N: 23160CACKW33C3; REFERENCE NO: 23160CACKW33 | EA |
| 433 | 30473 | HOUSING, BEARING UNIT: TYPE: PILLOW BLOCK; MATERIAL: CI; FOR SNUB PULLEY ON JAPAN PIPE CONVEYOR ESCOM OPL 63531; SIZE 165MM WD X 370MM LG X 210MM H; PART NO: SNE220, SUPPLIER: UNKNOWN; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 436 | 31703 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 62 MM; WIDTH: 11 MM; ROW: DOUBLE; REFERENCE NO: KK30AC5; KK30A; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 437 | 31707 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 320 MM; OUTSIDE DIAMETER: 620 MM; WIDTH: 224 MM; ROW: DOUBLE; BORE SHAPE: TAPER; CAGE MATERIAL: BRASS; REFERENCE NO: 23268CAKMW33CC; ONE PIECE PRONGED MACHINED AND RETAINING FLANGES ON THE INNER RING, ANNULAR GROOVE AND THREE LUBRICATION HOLES IN THE OUTER RING, RADIAL | EA |
| 438 | 31710 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 65 MM; OUTSIDE DIAMETER: 100 MM; WIDTH: 23 MM; ROW: SINGLE; SUPPL P/N: HR32013XJ | EA |
| 439 | 31715 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 40 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 23 MM; ROW: DOUBLE; SUPPL P/N: 22208ESC3 | EA |
| 440 | 31719 | BEARING, ROLLER: TYPE: CUP/CONE, TAPER; INSIDE DIAMETER: 50 MM; OUTSIDE DIAMETER: 80 MM; WIDTH: 20 MM; ROW: SINGLE; SPECIFICATION: ISO 355-3CC; SUPPL P/N: 32010XP5 | EA |
| 441 | 31466 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: DEEP GROOVE; INSIDE DIAMETER: 100 MM; OUTSIDE DIAMETER: 215 MM; WIDTH: 47 MM; ROW: SINGLE; CAGE MATERIAL: STL; REFERENCE NO: 7320 BECBM; USED AS C.E. PUMP MOTOR UPPER BEARING; TO HAVE DYNAMIC LOAD RATING OF 203 KN AND STATIC LOAD OF 190 KN WITH THE SPEED RATING OF BETWEEN 2800-3600 REV/MIN; DATA SHEET MUST BE INCLUDED WITH PACKAGE; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 446 | 31528 | BEARING, BALL: TYPE: CONRAD; STYLE: SHIELD; INSIDE DIAMETER: 30 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 19 MM; ROW: SINGLE; SUPPL P/N: 6306ZNRC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 447 | 31564 | BEARING, BALL: TYPE: CONRAD; STYLE: OPEN; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 140 MM; WIDTH: 16 MM; ROW: SINGLE; SUPPL P/N: 61822C3; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 448 | 31822 | BEARING, BALL: TYPE: ANGULAR CONTACT; STYLE: OPEN; INSIDE DIAMETER: 75 MM; OUTSIDE DIAMETER: 160 MM; WIDTH: 37 MM; ROW: SINGLE; SUPPL P/N: 6315 R270A1-1062 10C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 449 | 31825 | EARING, BALL: TYPE: RADIAL CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 12 MM; OUTSIDE DIAMETER: 32 MM; WIDTH: 10 MM; ROW: SGL; SUPPL P/N: 6201ZZC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 450 | 31828 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 15 MM; OUTSIDE DIAMETER: 32 MM; WIDTH: 9 MM; ROW: SINGLE; SUPPL P/N: 6002-2RSC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 451 | 31831 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 15 MM; OUTSIDE DIAMETER: 42 MM; WIDTH: 13 MM; ROW: SINGLE; SUPPL P/N: 6302- 2ZC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 452 | 31834 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 20 MM; OUTSIDE DIAMETER: 52 MM; WIDTH: 15 MM; ROW: SINGLE; SUPPL P/N: 6304C3; REFERENCE NO: 6304; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 453 | 31730 | SET: TYPE: THRUST BEARING; REFERENCE NO: AXK4565; AXK5070; CONSISTING OF 2 SIZES OF BEARINGS COMPLETE WITH WASHERS, 1 OFF INNER DIAMETER 50MM X O/DIAMETER 70MM X HEIGHT 8MM, 1 OFF INNER DIAMETER 45MM X O/DIAMETER 65MM X HEIGHT 5MM | EA |
| 455 | 31732 | SET: TYPE: NEEDLE ROLLER THRUST BEARING; CONSISTING OF 2 SIZES OF BEARINGS, 1 OF REF: AXK4060 - I/DIAMETER 40MM, O/DIAMETER 60MM, HEIGHT 5MM AND 1 OF REF: AXK4565 - I/DIAMETER 45MM, O/DIAMETER 65MM, HEIGHT 8MM, COMPLETE WITH SET WASHERS AS4565 AND AS4060 | EA |
| 456 | 31733 | SET: TYPE: THRUST BEARING; APPLICATION: BOILER; REFERENCE NO: AXK5578; CONSISTING OF 2 SIZES OF BEARINGS COMPLETE WITH WASSERS 1 OF INNER DIAMETER 45MM O/DIAMETER 65MM, HEIGHT 5MM AND 1 OF INNER DIAMETER 55MM, O/DIAMETER 78MM, HEIGHT 9MM | EA |
| 457 | 31775 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 320 MM; OUTSIDE DIAMETER: 540 MM; WIDTH: 176 MM; ROW: DOUBLE; REFERENCE NO: 23164CCKC3W33; USED ON S1 DRIVE HT BEND PULLEY, PRIMARY AND SECONDARY DRIVE PULLEYS, HT DRIVE | EA |
| 458 | 31777 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 110 MM; OUTSIDE DIAMETER: 200 MM; WIDTH: 53 MM; ROW: DOUBLE; SUPPL P/N: 22222CCKW33C3 | EA |
| 459 | 31786 | BEARING, ROLLER: TYPE: SELF ALIGNING; SPHERICAL; INSIDE DIAMETER: 35 MM; OUTSIDE DIAMETER: 72 MM; WIDTH: 23 MM; ROW: DOUBLE; SUPPL P/N: 22207CCK/W33; WITH LUBRICATION GROOVE ON OUTER RACE, SERIES K | EA |
| 460 | 31806 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 17 MM; OUTSIDE DIAMETER: 47 MM; WIDTH: 14 MM; ROW: SINGLE; SUPPL P/N: 6303-2RSC3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 461 | 31807 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 43 MM; ROW: SINGLE; SUPPL P/N: 6318C3 | EA |
| 462 | 31813 | BEARING, ROLLER: TYPE: CYLINDRICAL; INSIDE DIAMETER: 50 MM; OUTSIDE DIAMETER: 110 MM; WIDTH: 27 MM; ROW: SINGLE; SUPPL P/N: NU310C3; NOTE - THE REFERENCE NUMBER MUST BE CAST AND NOT ENGRAVED ON AND ORIGINAL PROTECTIVE PACKED | EA |
| 463 | 31818 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 180 MM; OUTSIDE DIAMETER: 300 MM; WIDTH: 96 MM; ROW: DOUBLE; SUPPL P/N: 23136CCKW33C3; REFERENCE NO: 23136 | EA |
| 464 | 31905 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: DOUBLE SHIELD; INSIDE DIAMETER: 50 MM; OUTSIDE DIAMETER: 110 MM; WIDTH: 27 MM; ROW: SINGLE; SUPPL P/N: 6310ZZC3; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 465 | 31906 | BEARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 50 MM; OUTSIDE DIAMETER: 90 MM; WIDTH: 20 MM; ROW: SINGLE; SUPPL P/N: 6210-2RS; DUTY: MEDIUM; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 466 | 31910 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 95 MM; OUTSIDE DIAMETER: 170 MM; WIDTH: 43 MM; ROW: DOUBLE; SUPPL P/N: 22219CCKW33 | EA |
| 467 | 32023 | BEARING, ROLLER: TYPE: SELF ALIGNING; INSIDE DIAMETER: 140 MM; OUTSIDE DIAMETER: 225 MM; WIDTH: 68 MM; ROW: SINGLE; BORE SHAPE: TAPER; SUPPL P/N: 23128CCKW33C3; USED ON MILL SCREW CONVEYORS NDE WITH WITHDRAWAL SLEEVE AHX3128 (SHAFT 135) | EA |
| 468 | 32100 | BEARING, BALL: TYPE: DEEP GROOVE; STYLE: OPEN; INSIDE DIAMETER: 70 MM; OUTSIDE DIAMETER: 150 MM; WIDTH: 35 MM; ROW: SINGLE; SUPPL P/N: 6314C3; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 469 | 32107 | EARING, BALL: TYPE: CONRAD; STYLE: DOUBLE SEAL; INSIDE DIAMETER: 19 MM; OUTSIDE DIAMETER: 47 MM; WIDTH: 34 MM; ROW: SINGLE; SUPPL P/N: 1020-3/4CG; SELF LUBE; INSERT COMPLETE WITH ECCENTRIC COLLAR LOCK, OUTER RING WIDTH 14 MM, INNER RING WIDTH (WITH COLLAR LOCK) 43,6 MM, FOR USE ON VOL/COAL/FEEDER BELT TOP ADJUSTABLE,TOP NON ADJUSTABLE AND ADJUSTABLE SUPPORT IDLERS; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 470 | 34796 | BEARING, TAKE UP: INSIDE DIAMETER: 65 MM; HOUSING SIZE: WD 170 X LG 230 MM; SLOT WIDTH: 26 MM; FRAME: DIA 40 X TRAVEL 125 MM; ROLLING ELEMENT: BALL; SUPPL P/N: UCT213; ON CROSSBELT ELECTROMAGNETS; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 471 | 31770 | BEARING, ROLLER: TYPE: SPLIT; INSIDE DIAMETER: 150 MM; OUTSIDE DIAMETER: 255 MM; WIDTH: 100 MM; ROW: SINGLE; SUPPL P/N: 01B-150MMGR; USE WITH CATRIDGE 01C 150MM GR, OR 01C 10 GR TL, PEDESTAL REF: P10, INCLUDE FULL GUARANTEE WITH BEARING, FOR USE ON ASH CONDITIONING PLANT | EA |
| 471 | 34819 | BEARING, TAKE UP: INSIDE DIAMETER: 65 MM; HOUSING SIZE: WD 180 X LG 190 MM; SLOT WIDTH: 25 MM; FRAME: WD 180 X LG 236 X HT 78 MM; ROLLING ELEMENT: BALL; REFERENCE NO: UCT313; USED ON ASH CONVEYOR CLEAN-OUT SCRAPER; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |
| 472 | 32034 | BEARING, ROLLER: TYPE: SPLIT; INSIDE DIAMETER: 145 MM; OUTSIDE DIAMETER: 255 MM; WIDTH: 95 MM; ROW: SINGLE; SUPPL P/N: 01B150MMEXC3; REFERENCE NO: P10; USE WITH CARTRIDGE 01C 150 MM EX OR 01C 10 EX TL AND PEDESTAL; INCLUDE FULL GUARANTEE; FOR USE ON ASH CONDITIONERS | EA |
| 473 | 34829 | BEARING: TYPE: CARTRIDGE; INSIDE DIAMETER: 160; 150 MM; OUTSIDE DIAMETER: 300 MM; WIDTH: 170 MM; STYLE: OPEN; MATERIAL: CI; SUPPL P/N: 01C150/160MMGR; FOR NON LOCATING AND LOCATING | EA |
|  | 32015 | BEARING, BALL: TYPE: CUP/CONE, TAPER; STYLE: OPEN; INSIDE DIAMETER: 90 MM; OUTSIDE DIAMETER: 190 MM; WIDTH: 67.5 MM; ROW: SINGLE; SUPPL P/N: 32318; NOMINAL CONTACT ANGLE (10) -17 DEGREE, DIMENTIONAL SERIES ACCORDING TO ISO 355; VENDORS ARE RESPONSIBLE FOR ENSURING THAT THEY ARE PERFORMING AGAINST THE CORRECT DRAWING REVISION NUMBER (IF APPLICABLE). | EA |

= 388

Contents

When the document is complete, insert a ‘Table of Contents’.  To do this go to:  Reference, → Table of Contents.  Three levels and the title (but not the subtitle) may be shown if the formats used in this template are retained.   Alternatively just update the table below when the drafting of the Goods Information is complete by clicking on ‘References’ then ‘Update Table’ then ‘Update entire table’

Part 3: Scope of Work	2

C3.1: Purchaser’s Goods Information	3

1	Overview and purpose of the goods and services	5

2	Specification and description of the goods	5

2.1	Purchaser’s design	5

2.2	Procedure for submission and acceptance of Supplier’s design	5

2.3	Other requirements of the Supplier’s design	5

2.4	Use of Supplier’s design	5

2.5	Manufacture & fabrication	6

2.6	Factory acceptance testing (FAT)	6

2.7	Other tests and inspections and commissioning in place of use	6

2.8	Operating manuals and maintenance schedules	6

3	Supply Requirements	6

4	Specification of the services to be provided	7

5	Constraints on how the Supplier Provides the Goods	7

5.1	Programming constraints	7

5.2	Work to be done by the Delivery Date	7

5.3	Marking the goods	7

5.4	Constraints at the delivery place and place of use	7

5.5	Cooperating with Others	7

5.6	Services & other things to be provided by the Purchaser or Supplier	8

5.7	Management meetings	8

5.8	Documentation control	8

5.9	Health and safety risk management	9

5.10	Environmental constraints and management	9

5.11	Quality	9

5.12	Invoicing and payment	9

5.13	Insurance provided by the Purchaser	9

5.14	Contract change management	10

5.15	Provision of bonds and guarantees	10

5.16	Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier	10

6	Procurement	10

6.1	Subcontracting	10

6.1.1	Preferred subcontractors	10

6.1.2	Limitations on subcontracting	10

6.1.3	Spares and consumables	10

6.1.4	Other requirements related to procurement	11

6.1.5	Cataloguing requirements	11

7	List of drawings	11

7.1	Drawings issued by the Purchaser	11

C3.2	Supplier’s Goods Information	xii

# Overview and purpose of the goods and services

Supply and Delivery of Bearings to Matimba Power Station over a period of Five years on as and when required basis.

# Specification and description of the goods

Refer to: C3.1: PURCHASER’S GOODS INFORMATION

## Other tests and inspections and commissioning in place of use

QC to be done on site after the delivery.

# Supply Requirements

Eskom has chosen to include them in the C1.2a Contract Data.

# Constraints on how the Supplier Provides the Goods

## Health and safety risk management

SHEQ Contractual requirements:

Contractual requirements means all suppliers must submit the OHS returnable on the tender closing date. OHS will evaluate the suppliers that have passed functionality and mandatory. The suppliers who have not

submitted all the requirements or the compliance standards is not satisfactory, OHS will request the outstanding documents from the suppliers only once through the buyer. The suppliers will be given 7 working days to respond to the request. The suppliers that responded within the stipulated time will be re-evaluated, failure to submit the outstanding document will be rendered non-responsive. The evaluation report will be submitted to procurement. This Safety requirements are for OHS (Occupational Health

and safety)

1. Annexure B- Is the acknowledgement of Eskom's OHS legal and other requirements form signed and submitted by the tenderer?

2. Health and Safety Plan- (must address the project /scope of work OHS risk(s) and aligned with the health and safety specification or requirements)

3. Costing for Health and Safety management- Has the tenderer submitted detailed costing for OHS (the cost should be broken down not provided as a lump sum)

4. Valid Letter of Good Standing (COIDA or equivalent

5. OHS policy signed by CEO- The submitted policy must comply to OHS Act Section 7

6. OHS Competency - (Consider scope of work, risks, OHS plan and applicability) CV,s and qualifications / certificates (List competencies required)

7. OHS Competency -(Consider scope of work, risks, OHS plan and applicability) CV,s and qualifications / certificates (List competencies required)

The Supplier shall comply with the health and safety requirements:

- Annexure B- Is the acknowledgement of Eskom's OHS legal and other requirements form signed and submitted by the tenderer.

- OHS plan-(Must address the project /scope of work OHS risk(s) and aligned with the health and safety specification or requirements).

- Baseline OHS Risk Assessment (BRA)-Identification, assessment and management of Safety, Health and Environmental risks related to the scope of work. The methodology used for the risk assessment must be provided together with the BRA.

- Valid Letter of Good Standing.

- OHS policy signed by CEO-The submitted policy document must comply to OHS Act Section 7.

## Environmental constraints and management

Describe or cross refer to environmental constraints applicable to the Supplier’s design of the goods if not already included in the Purchaser’s URS.

The Supplier shall comply with the environmental criteria and constrains:

- Environmental Aspect and impact register

- Environmental policy

- Submit material safety data sheet of all chemicals/dyes used in the production.

## Quality

Specify minimum requirements for the Supplier’s Quality Plan and Work Procedures if required and not already covered in the specifications for the goods.  State whether ISO compliance is a condition and if so which ISO standard shall apply.

| Category 4: Quality Requirements Deliverables to be evaluated indicator = 1 |  |  |
| --- | --- | --- |
|  |  | Apply =1 |
| SECTION A: Quality Management System Requirements ISO 9001 Objective evidence of documented QMS that is not certified but complies with ISO 9001 | A.1 A valid ISO 9001:2015 Certificate with relevant scope of work. If not ISO 9001 certified, a credible proof of ISO 9001:2015 compliant Quality Management System including, a specimen of the Quality Manual or a document that defines and describes the QMS and its scope or Quality Method statement based on the scope of this tender. (Method Statement Template – Ref 240-126469599) | 1 |
|  | A.2 Quality Policy Approved by top management. | 1 |
|  | A.3 Quality Objectives Approved by top management. | 1 |
| Section A Score |  | 3 |
| SECTION B: Evidence of QMS in operation (Tender Quality Requirements -Ref 240-105658000) | B.1 Documented information for defined roles, responsibilities and authorities - Organization chart and Responsibility matrix (must include but not limited to quality management function/role) (Clause 5.3 of ISO 9001:2015) | 1 |
|  | B.2 Documented information for Control of Externally Provided Processes, Products and Services - Must include criteria for evaluation, selection, monitoring of performance, and re-evaluation of external providers (Provide a copy of process/procedure regarding the assessment, selection, management and auditing of suppliers and subcontractors with supporting evidence (reports or records of how his process was implemented) (Clause 8.4 of ISO 9001:2015) | 1 |
| Section B Score |  | 2 |
| SECTION E: User defined additional Requirements & miscellaneous (Ref 240-105658000) Customer specific requirements & other standards and required can be listed and evaluated here | E.1 Form A is completed and signed. | 1 |
|  | E.2 SANAS accredited Facility (Proven Certified) | 1 |
|  | E.3 ISO/IEC 17025:2017 accreditation | 1 |
| Section E Score |  | 3 |

## Invoicing and payment

List the information that is to be shown by the Supplier on his invoices.  State any other requirements relating to payment.   For example:

Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice showing the amount due for payment equal to that stated in the Supply Manager’s certificate.

The Supplier shall address the tax invoice to Purchaser and include on each invoice the following information:

Name and address of the Supplier and the Supply Manager;

The contract number and title;

Supplier’s VAT registration number;

The Purchaser’s VAT registration number.

Description of goods and services provided for each item invoiced based on the Price Schedule;

Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

(add other as required)

Add procedures for invoice submission and payment (e. g. electronic payment instructions)

# C3.2	Supplier’s Goods Information

This section of the Goods Information will always be contract specific depending on the nature of the goods and services. It is most likely to be required for supply contracts where the tendering supplier will have proposed specifications and schedules for the goods and services, which once accepted by the Purchaser prior to award of contract now become obligations of the Supplier per core clause 20.1.

This section could also be compiled as a separate file.

iv.	Planning Programmes

The Contractor develops a contract programme which includes a bar chart conforming to the project master programme dates included and sufficient detail to indicate the Contractor’s intention for executing the works. This programme covers major items relating to design, procurement, manufacture, delivery, erection, start-up and commissioning. The critical path is clearly shown.

Key milestones, access dates, interface dates and commissioning key dates are clearly identified in the contract programme, including access dates and release of terminal points that involve the Employer or Others.

The programme makes provision for site related preparation such as site establishment, safety induction and medical clearance of the entire Contractor’s staff that will be working on site.

g.	Invoicing and payment

There are no additional requirements to the invoicing and payment clauses in Section 5 of the core clauses.

At each assessment interval, the Contractor submits to the Project Manager a forecast rate of invoicing that includes all the expected payments by the Employer to the Contractor on a month-by-month basis.

The Contractor addresses the tax invoice to Eskom Holdings SOC Ltd and include on each invoice the following information:

117.	The registered name of the Contractor

118.	The VAT registration number of the Contractor

119.	The address of the Contractor

120.	The Employer’s contract number

121.	The VAT registration number of the Employer

122.	The value of the invoice split into payments as per the activity schedule as indicated in the Price Lists.

123.	Any retention monies to be deducted from the invoice

124.	Any interest payable

125.	Escalation formula used where applicable

All invoices in PDF format are emailed straight from your system to an Eskom email address.

126.	Email addresses for invoice submission: Invoiceseskomlocal@eskom.co.za. The Project Manager is copied when submitting invoices.

127.	All queries and follow up on invoice payments are made by contacting the FSS Contact Centre:

Tel: 011 800 5060 or e-mail: fss@eskom.co.za

128.	For Foreign invoices, the Contractor is required to physically deliver hard copies of original documents to the Project Manager even though the Contractor has e-mailed those invoices.

129.	The Contractor ensures compliance with the tax Requirement for submitting invoices electronically.

130.	If there is Cost Price Adjustment (CPA) on your invoice, the Employer recommends that the Contractor issue a separate invoice for CPA so that if there are any issues on the CPA the rest of the invoice can be paid while resolving CPA issues.

131.	The base invoice number needs to be mentioned on the CPA invoice.

132.	Electronic invoicing does not guarantee payment but ensures visibility of all invoices and ensures that no invoices get lost. If the Goods Receipt (GR) is not done the invoice is parked and the system automatically sends an e-mail to the Project Manager to do the goods receipt. This is also tracked by the Employer through the parked invoice report.

133.	The Contractor can request a parked invoice report from the Finance Shared Services (FSS) Contact Centre which can then be followed up and corrected. The Contractor is allowed to forward the details of invoices corrected to the FSS Contact Centre.

h.	Insurance provided by the Purchaser

There are no additional requirements to the risk and insurance clause in Section 8 of the core clauses and Z13 of the Additional conditions of contract.

i.	Contract change management

There are no additional requirements to the compensation event clauses in Section 6 of the core clauses.

j.	Provision of bonds and guarantees

The form in which a bond or guarantee required by the conditions of contract (if any) is to be provided by the Supplier is given in Part 1 Agreements and Contract Data, document C1.3, Sureties.

The Purchaser may withhold payment of amounts due to the Supplier until the bond or guarantee required in terms of this contract has been received and accepted by the person notified to the Supplier by the Supply Manager to receive and accept such bond or guarantee.  Such withholding of payment due to the Supplier does not affect the Purchaser’s right to termination stated in this contract.

This total is required by the Purchaser for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.

Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902, www.ecs.co.za.

International Chamber of Commerce, Incoterms 2010, Paris, January 2011

Either April 2013 or December 2009 Edition as stated by Purchaser in Contract Data part 1.

Available from Engineering Contract Strategies Tel 011 803 3008, Fax 086 539 1902, or www.ecs.co.za