{"text_format":"3","workbook":"xlsx","n_sheets":3,"sheets":["Calibration","Spares & Repairs","Part 1 & 2 Consolidated"],"read":"whole","date_system":"1900"}

{"sheet":"Calibration","index":0,"n_rows":48,"n_cols":6,"rows_kept":48,"merged":[[0,0,0,5],[2,0,4,0],[2,1,2,5],[5,0,9,0],[5,1,5,5],[10,0,14,0],[10,1,10,5],[15,0,16,0],[15,1,15,5],[17,0,19,0],[17,1,17,5],[20,0,25,0],[20,1,20,5],[26,0,30,0],[26,1,26,5],[31,0,32,0],[33,0,34,0],[33,1,33,5],[35,0,36,0],[35,1,35,5],[37,0,38,0],[37,1,37,5],[39,0,39,4],[40,0,40,4],[41,0,41,4]]}
["PART 1 PRICING - CALIBRATION/MAINTENANCE (ANNUAL)"]
["Item ","Equipment Description/Brand ","Unit","QTY","Price (Ex-VAT)","Line Total  (ex VAT)\n(QTY x Price)"]
[1,"Ultraviolet Light (UV) Meters"]
[null,"a)      Spectroline","Each",2]
[null,"b)      Goldilux","Each",15]
[2,"Ultrasonic (UT) Flaw Detectors "]
[null,"a)      Krautkramer","Each",8]
[null,"b)      Olympus","Each",13]
[null,"c)      SIUI","Each",5]
[null,"c)      Sonatest","Each",4]
[3,"MPI Benches and Power Packs"]
[null,"a)      Tiede","Each",1]
[null,"b)      Magnaflux (Incl. GW range)","Each",10]
[null,"c)       Magswerke","Each",1]
[null,"d)       Magnaflux M500","Each",2]
[4,"Gauss Meters"]
[null,"a)      F.W Bell/Magnaflux FSM2","Each",14]
[5," Eddy Current Equipment"]
[null,"a)      Nortec","Each",3]
[null,"b)      MIZ-200 (Zetec)","Each",1]
[6,"Ultrasonic Testing Phased Array (UTPA) Machines"]
[null,"a)      Olympus & Omniscan MX","Each",5]
[null,"b)      M2M","Each",2]
[null,"c)      Tomoscan","Each",2]
[null,"d)      SIUI SyncScan 3","Each",2]
[null,"e)      Z-Scan (Zetec)","Each",1]
[7,"Ultrasonic Testing (UT) Thickness Meters"]
[null,"a)      Krautkramer","Each",2]
[null,"b)      Karl-Deutsch","Each",4]
[null,"Crack Depth Meters"]
[null,"a)      Karl-Deutsch","Each",4]
[8,"Hardness Testers"]
[null,"a)      Krautkramer","Each",4]
[9,"Ultraviolet (UV) Lights"]
[null,"a)  EV6000 / EV6500","Each",55]
[10,"Magnetic Yokes "]
[null,"a)  Y6 Yokes ","Each",60]
[11,"Boresonic Equipment (Electricals, Pneumatics & Structurals)"]
[null,"a) Zetec","Each Lot",1]
["PART 1 - TOTAL PER YEAR (EX VAT)"]
["PART 1 - VAT 15%"]
["PART 1 - TOTAL PER YEAR (INCL. VAT)"]
[]
[]
[]
[]
[]
[{"$nulls":3},"j"]

{"sheet":"Spares & Repairs","index":1,"n_rows":42,"n_cols":7,"rows_kept":42,"merged":[[0,0,0,6],[2,0,4,0],[2,1,2,6],[5,0,9,0],[5,1,5,6],[10,0,14,0],[10,1,10,6],[15,0,16,0],[15,1,15,6],[17,0,19,0],[17,1,17,6],[20,0,25,0],[20,1,20,6],[26,0,30,0],[26,1,26,6],[31,0,32,0],[33,0,34,0],[33,1,33,6],[35,0,36,0],[35,1,35,6],[37,0,38,0],[37,1,37,6],[39,0,39,5],[40,0,40,5],[41,0,41,5]]}
["PART 2 PRICING - REPAIRS, SPARES & POST-REPAIR CALIBRATION (AS AND WHEN REQUIRED)"]
["Item ","Equipment Description/Brand ","Unit","Scope - Fault diagnosis, provision of spares, repairs and calibrationworst case including calibration after repairs","QTY of anticipated equipment breakdowns","Price (Ex-VAT)","Line Total  (ex VAT)\n(QTY x Price)"]
[1,"Ultraviolet Light (UV) Meters"]
[null,"a)      Spectroline","Each","XDS-1000 Sensor, Electronic BoardSensor Cable, Battery Compartment with Battery, Contacts Keypad.",2]
[null,"b)      Goldilux","Each","XDS-1000 Sensor, Electronic BoardSensor Cable, Battery Compartment with Battery, Contacts Keypad.",15]
[2,"Ultrasonic (UT) Flaw Detectors "]
[null,"a)      Krautkramer","Each","Battery, Display Screens, Capacitors, Probe connecter",8]
[null,"b)      Olympus","Each","Battery, Display Screens, Capacitors, Probe connecter",13]
[null,"c)      SIUI","Each","Battery, Display Screens, Capacitors, Probe connecter",5]
[null,"c)      Sonatest","Each","Battery, Display Screens, Capacitors, Probe connecter",4]
[3,"MPI Benches and Power Packs"]
[null,"a)      Tiede","Each","Transformer, Prod, Electronic Boards, Switches, Electronic Lugs, Display screen",1]
[null,"b)      Magnaflux (Incl. GW range)","Each","Transformer, Prod, Electronic Boards, Switches, Electronic Lugs, Display screen",10]
[null,"c)       Magswerke","Each","Transformer, Prod, Electronic Boards, Switches, Electronic Lugs, Display screen",1]
[null,"d)       Mag 50","Each","Transformer, Prod, Electronic Boards, Switches, Electronic Lugs, Display screen",2]
[4,"Gauss Meters"]
[null,"a)      F.W Bell","Each","Battery Compartment with Battery, Probe, Display Screen, Capacitors",14]
[5," Eddy Current Equipment"]
[null,"a)      Nortec","Each","Batteries, Display Screens, Capacitors, Probe units and Cables ",3]
[null,"b)      MIZ-200 (Zetec)","Each","Batteries, Display Screens, Capacitors, Probe units and Cables, Motherboard, Probe connectors ",1]
[6,"Ultrasonic Testing Phased Array (UTPA) Machines"]
[null,"a)      Olympus & Omniscan MX","Each","Battery, Display Screen, Electronic Board, Keyboard Display, Lemo probe Connectors to the machine",5]
[null,"b)      M2M","Each","Battery, Display Screen, Electronic Board, Keyboard Display, Lemo probe Connectors to the machine",2]
[null,"c)      Tomoscan","Each","Battery, Display Screen, Electronic Board, Keyboard Display, Lemo probe Connectors to the machine",2]
[null,"d)       SIUI SyncScan 3","Each","Battery, Display Screen, Electronic Board, Keyboard Display, Lemo probe Connectors to the machine",2]
[null,"e)      Z-Scan (Zetec)","Each","Battery, Display Screen, Electronic Board, Keyboard Display, Lemo probe Connectors to the machine",1]
[7,"Ultrasonic Testing (UT) Thickness Meters"]
[null,"a)      Krautkramer","Each","Keypad, Battery Contacts, Probe, Display, Electronic Board.",2]
[null,"b)      Karl-Deutsch","Each","Keypad, Battery Contacts, Probe, Display, Electronic Board.",4]
[null,"Crack Depth Meters"]
[null,"a)      Karl-Deutsch","Each","Keypad, Battery Contacts, Probe, Display, Electronic Board.",4]
[8,"Hardness Testers"]
[null,"a)      Krautkramer","Each","Keypad, Battery Contacts, Probe, Display, Electronic Board, Display Screen",4]
[9,"Ultraviolet (UV) Lights"]
[null,"a)  EV6000 / EV6500","Each","Power Supply, shade front cover filter, Gasket filter, base Cover, Gasket front, Cord replacement, connectors and strain relief",55]
[10,"Magnetic Yokes "]
[null,"a)  Y6 Yokes ","Each","Switch Kit, Cord Grid, Cover rear, Gasket Cover ",60]
[11,"Boresonic Equipment (Electricals, Pneumatics & Structurals)"]
[null,"a) Zetec","Each Lot","Probes, belt, motor, components, connectors",1]
["PART 2 - TOTAL PER YEAR (EX VAT)"]
["PART 2 - VAT 15%"]
["PART 2 - TOTAL PER YEAR (INCL. VAT)"]

{"sheet":"Part 1 & 2 Consolidated","index":2,"n_rows":7,"n_cols":1,"rows_kept":7,"merged":[[0,0,0,5],[1,0,1,4],[2,0,2,4],[3,0,3,4],[4,0,4,4],[5,0,5,4],[6,0,6,4]]}
["CONSOLIDATED PRICING - PART 1 + PART 2"]
["PART 1 - TOTAL PER YEAR (EX. VAT)"]
["PART 2 - TOTAL PER YEAR (EX. VAT)"]
["PART 1 + 2 TOTAL PER YEAR (EX. VAT)"]
["PART 1 + 2 TOTAL 5 YEARS (EX. VAT)"]
[" VAT 15%"]
["PART 1 + 2 TOTAL 5 YEARS (INCL. VAT)"]