SUPPLY OF SERVICES

CONTRACT

Bid for the supply of services for City Power

Johannesburg (SOC) Ltd

REQUEST FOR BID

Bid no: 2324G

REQUEST FOR BID FOR SUPPLY AND DELIVERY OF PERSONAL PROTECTIVE EQUIPMENT (PPE)

COMPANY NAME: ______________________

Closing Date: 15 JULY 2022

Time:	 11h00

Tel  +27(0) 11 490 7000

Fax +27(0) 11 490 7590

40 Heronmere Road         P.O.Box 38766

Reuven                             Booysens

Johannesburg                   2016

TABLE OF CONTENTS

PART 1: TENDERING PROCEDURE

  - INVITATION TO BID ( MBD 1 )

1.2	  TENDER DATA

1.3 	  CIDB STANDARD CONDITION OF TENDER

PART 2: PRICING DATA

2.1    PRICING INSTRUCTION

2.2    FIRM PRICES FORM (MBD 3.1)

2.3    PRICE SCHEDULE

PART 3: AGREEMENTS AND CONTRACT DATA

3.1    FORM OF ACCEPTANCE

3.2    CONTRACT DATA

3.3    FORMAL CONTRACT (MBD 7.1)

PART 4: RETURNABLE DOCUMENTS

4.1   RETURNABLE DOCUMENTS REQUIRED FOR EVALUATION PURPOSE

- Municipal Rates and Taxes (Not in arrears for more than 90 days)v or lease Agreement

- SHERQ Regulations

- Invitation to Bid ( MDB 1)

- Signed Declaration of Interest Form ( MBD 4 )

- Signed Declaration for Procurement above R10 000 000 ( MBD 5 )

- Preference Claim Form ( MBD 6.1 )

- Signed Declaration Certificate for Local Content ( MDB 6.2 )

- Signed Declaration for Purchase of Goods (MBD 7.1)

- Signed Declaration of Bidder’s past SCM practices ( MBD 8 )

- Certificate of Independent Proposal Bid Determination ( MBD 9 )

- Valid Tax Clearance Certificate or SARS Pin

- Financial Statements for the past three years

- Proof of Central Supplier Database  (CSD) Registration Report/ MAAA Supplier Number

- A valid  certified copy of B-BBEE certificate/sworn affidavit (Please note that the Sworn Affidavit must

be compliant as per BBBEE Practice Guide 01 of 2018

4.2   OTHER DOCUMENTS REQUIRED FOR EVALUATION PURPOSE

4.3   DOCUMENTS THAT WILL BE INCORPORATED IN THE CONTRACT

PART 5: SCOPE OF WORK

5.1    EVALUATION CRITERIA

5.2    SPECIFICATIONS

5.3    BILL OF QUANTITIES

  - TENDER NOTICE AND INVITATION TO TENDER

| YOU ARE HEREBY INVITED TO BID FOR REQUIREMENTS OF CITY POWER JOHANNESBURG SOC. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BID NUMBER: | 2324G | CLOSING DATE: |  |  | 15 JULY 2022 |  |  |  |  |  | CLOSING TIME: |  |  |  |  | 11:00 |
| DESCRIPTION | REQUEST FOR BID FOR SUPPLY AND DELIVERY OF PERSONAL PROTECTIVE EQUIPMENT (PPE) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| THE SUCCESSFUL BIDDER WILL BE REQUIRED TO FILL IN AND SIGN A WRITTEN CONTRACT FORM (MBD7). |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BID RESPONSE DOCUMENTS MAY BE DEPOSITED IN THE BID BOX SITUATED AT (STREET ADDRESS) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| City Power Tender Advice Centre |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 40 Heronmere Road |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reuven |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Johannesburg |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Bidders should ensure that bids are delivered timeously to the correct address. If the bid is late, it will not be accepted for consideration. The bid box is generally open 24 hours a day, 7 days a week. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| SUPPLIER INFORMATION |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| NAME OF BIDDER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| POSTAL ADDRESS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| STREET ADDRESS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TELEPHONE NUMBER |  |  | CODE |  |  |  |  |  | NUMBER |  |  |  |  |  |  |  |
| CELLPHONE NUMBER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| FACSIMILE NUMBER |  |  | CODE |  |  |  |  |  | NUMBER |  |  |  |  |  |  |  |
| E-MAIL ADDRESS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| VAT REGISTRATION NUMBER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| TAX COMPLIANCE STATUS |  |  | TCS PIN: |  |  |  | OR |  |  | CSD No: |  |  |  |  |  |  |
| B-BBEE STATUS LEVEL VERIFICATION CERTIFICATE [TICK APPLICABLE BOX] |  |  | Yes No |  |  |  | B-BBEE STATUS LEVEL SWORN AFFIDAVIT |  |  |  |  | Yes No |  |  |  |  |
| [A B-BBEE STATUS LEVEL VERIFICATION CERTIFICATE/ SWORN AFFIDAVIT (FOR EMES & QSEs) MUST BE SUBMITTED IN ORDER TO QUALIFY FOR PREFERENCE POINTS FOR B-BBEE] |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| #### ARE YOU THE ACCREDITED REPRESENTATIVE IN SOUTH AFRICA FOR THE GOODS /SERVICES /WORKS OFFERED? |  |  | Yes No [IF YES ENCLOSE PROOF] |  |  |  |  | - ARE YOU A FOREIGN BASED SUPPLIER FOR THE GOODS /SERVICES /WORKS OFFERED? |  |  |  |  |  |  | Yes No [IF YES, ANSWER PART B:3 ] |  |
| - TOTAL NUMBER OF ITEMS OFFERED |  |  |  |  |  |  |  | - TOTAL BID PRICE |  |  |  |  |  |  | R |  |
| - SIGNATURE OF BIDDER |  |  | ……………………………… |  |  |  |  | - DATE |  |  |  |  |  |  |  |  |
| - CAPACITY UNDER WHICH THIS BID IS SIGNED |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| BIDDING PROCEDURE ENQUIRIES MAY BE DIRECTED TO: |  |  |  |  |  | TECHNICAL INFORMATION MAY BE DIRECTED TO: |  |  |  |  |  |  |  |  |  |  |
| DEPARTMENT |  |  | SCM |  |  | CONTACT PERSON |  |  |  |  |  |  |  |  |  |  |
| CONTACT PERSON |  |  | PRUDENCE HLATSHWAYO |  |  | TELEPHONE NUMBER |  |  |  |  |  |  |  |  |  |  |
| TELEPHONE NUMBER |  |  | 011 4907592 |  |  | FACSIMILE NUMBER |  |  |  |  |  |  |  |  |  |  |
| FACSIMILE NUMBER |  |  | 011 870 3856 |  |  | E-MAIL ADDRESS |  |  |  |  |  |  |  |  |  |  |
| E-MAIL ADDRESS |  |  | Phlatshwayo@gmail.com |  |  |  |  |  |  |  |  |  |  |  |  |  |

# INVITATION TO BID 		                                            MBD 1

PART B

TERMS AND CONDITIONS FOR BIDDING

- BID SUBMISSION:

- BIDS MUST BE DELIVERED BY THE STIPULATED TIME TO THE CORRECT ADDRESS. LATE BIDS WILL NOT BE ACCEPTED FOR CONSIDERATION. - ALL BIDS MUST BE SUBMITTED ON THE OFFICIAL FORMS PROVIDED–(NOT TO BE RE-TYPED) OR ONLINE - THIS BID IS SUBJECT TO THE PREFERENTIAL PROCUREMENT POLICY FRAMEWORK ACT AND THE PREFERENTIAL PROCUREMENT REGULATIONS, 2017, THE GENERAL CONDITIONS OF CONTRACT (GCC) AND, IF APPLICABLE, ANY OTHER SPECIAL CONDITIONS OF CONTRACT.

- TAX COMPLIANCE REQUIREMENTS

- BIDDERS MUST ENSURE COMPLIANCE WITH THEIR TAX OBLIGATIONS. - BIDDERS ARE REQUIRED TO SUBMIT THEIR UNIQUE PERSONAL IDENTIFICATION NUMBER (PIN) ISSUED BY SARS TO ENABLE THE ORGAN OF STATE TO VIEW THE TAXPAYER’S PROFILE AND TAX STATUS. - APPLICATION FOR THE TAX COMPLIANCE STATUS (TCS) CERTIFICATE OR PIN MAY ALSO BE MADE VIA E-FILING. IN ORDER TO USE THIS PROVISION, TAXPAYERS WILL NEED TO REGISTER WITH SARS AS E-FILERS THROUGH THE WEBSITE WWW.SARS.GOV.ZA. - FOREIGN SUPPLIERS MUST COMPLETE THE PRE-AWARD QUESTIONNAIRE IN PART B: 3. - BIDDERS MAY ALSO SUBMIT A PRINTED TCS CERTIFICATE TOGETHER WITH THE BID. - IN BIDS WHERE CONSORTIA / JOINT VENTURES / SUB-CONTRACTORS ARE INVOLVED, EACH PARTY MUST SUBMIT A SEPARATE TCS CERTIFICATE / PIN / CSD NUMBER. - WHERE NO TCS IS AVAILABLE BUT THE BIDDER IS REGISTERED ON THE CENTRAL SUPPLIER DATABASE (CSD), A CSD NUMBER MUST BE PROVIDED.

- QUESTIONNAIRE TO BIDDING FOREIGN SUPPLIERS

- IS THE ENTITY A RESIDENT OF THE REPUBLIC OF SOUTH AFRICA (RSA)? YES NO - DOES THE ENTITY HAVE A BRANCH IN THE RSA? YES NO - DOES THE ENTITY HAVE A PERMANENT ESTABLISHMENT IN THE RSA? YES NO - DOES THE ENTITY HAVE ANY SOURCE OF INCOME IN THE RSA? YES NO - IS THE ENTITY LIABLE IN THE RSA FOR ANY FORM OF TAXATION? YES NO IF THE ANSWER IS “NO” TO ALL OF THE ABOVE, THEN IT IS NOT A REQUIREMENT TO REGISTER FOR A TAX COMPLIANCE STATUS SYSTEM PIN CODE FROM THE SOUTH AFRICAN REVENUE SERVICE (SARS) AND IF NOT REGISTER AS PER 2.3 ABOVE.

NB: FAILURE TO PROVIDE ANY OF THE ABOVE PARTICULARS MAY RENDER THE BID INVALID.

NO BIDS WILL BE CONSIDERED FROM PERSONS IN THE SERVICE OF THE STATE.

SIGNATURE OF BIDDER:					……………………………………………

CAPACITY UNDER WHICH THIS BID IS SIGNED:	……………………………………………

DATE:								…………………………………………...

ANY ENQUIRIES REGARDING THE BIDDING PROCEDURE MAY BE DIRECTED TO:

Municipality / Municipal Entity:   City Power

Department:   Supply Chain Management

Contact Person: Prudence Hlatshwayo

Tel:   011 490 7592

Fax:   011 870 3856

E-mail: phlatshwayo@citypower.co.za

ANY ENQUIRIES REGARDING TECHNICAL INFORMATION MAY BE DIRECTED TO:

Contact Person: Prudence Hlatshwayo

Tel:   011 490 7592

Fax:   011 870 3856

E-mail: phlatshwayo@citypower.co.za

REPORT FRAUD AND CORRUPTION TO EITHER OF THE FOLLOWING SERVICES;

TOLL FREE – 0800 002 587

FAX – 0800 007 788

E-mail: anticorruption@tip-offs.com

  - TENDER DATA

The conditions of tender are the Standard Conditions of Tender as contained in Annex F of the CIDB Standard for Uniformity in Construction Procurement ( July 2015). (See www.cidb.org.za)

The Standard Conditions of Tender make several references to the Tender Data for details that apply specifically to this tender. The Tender Data shall have precedence in the interpretation of any ambiguity or inconsistency between it and the standard conditions of tender. Each item data given below is cross-referenced to the clause in the Standard Conditions of Tender to which it mainly applies.

The CIDB Standard Condition of Tender, as contained in Annex F of the Standard for Uniformity published in July 2015 are included in this document.

F1.1	The employer is City Power Johannesburg (SOC) Ltd

F1.2	The tender documents issued by the employer comprise:

Part 1: Tendering procedure

  - Invitation to Bid ( MBD 1 )

1.2    Tender data

1.3    CIDB Standard conditions of tender (updated July 2015)

Part 2: Pricing data

2.1    Pricing instruction

2.2    Firm Prices Form (MBD 3.1)

2.3    Price Schedule

Part 3: Agreements and contract data

3.1   Form of acceptance

3.2   Contract data

3.3   Formal contract (MBD 7.1)

Part 4: Returnable documents

  - Returnable documents required for evaluation purpose

- Municipal Rates and Taxes (Not in arrears for more than 90 days)v or lease Agreement

- SHERQ Regulations

- Invitation to Bid ( MDB 1)

- Signed Declaration of Interest Form ( MBD 4 )

- Signed Declaration for Procurement above R10 000 000 ( MBD 5 )

- Preference Claim Form ( MBD 6.1 )

- Signed Declaration Certificate for Local Content ( MDB 6.2 )

- Signed Declaration for Purchase of Goods (MBD 7.1)

- Signed Declaration of Bidder’s past SCM practices ( MBD 8 )

- Certificate of Independent Proposal Bid Determination ( MBD 9 )

- Valid Tax Clearance Certificate or SARS Pin

- Financial Statements for the past three years

- Proof of Central Supplier Database  (CSD) Registration Report/ MAAA Supplier Number

- A valid  certified copy of B-BBEE certificate/sworn affidavit (Please note that the Sworn Affidavit must

be compliant as per BBBEE Practice Guide 01 of 2018.

4.2   Other documents required for evaluation purpose

4.3   Documents that will be incorporated in the contract

Part 5: Scope of work

5.1   EVALUATION CRITERIA

5.2    SPECIFICATIONS

5.3    BILL OF QUANTITIES

F1.4	The employer’s agent is:

Name: Prudence Hlatshwayo

Address: 40 Heronmere Road, Booysens, Johannesburg

Tel: 011 490 7592

Fax: 011 870 3856

E-mail: phlatshwayo@citypower.co.za

F2.1	Only those bidders who satisfy the eligibility criteria are eligible to submit tenders and the tenderer, or his principals, is not under any restriction to do business with employer

F2.7	The arrangements for a NON-COMPLSORY clarification meeting are: NOT APPLICABLE

F2.12	If a tenderer wishes to submit an alternative offer, the only criteria permitted for such alternative offer is that it demonstrably satisfies the Employer’s standards and requirements, the details of which may be obtained from the Employer’s agent.

Acceptance of an alternative offer will mean acceptance in principle of the offer. It will be an obligation of the contract for the tenderer, in the event that the alternative is accepted, to accept full responsibility and liability that the alternative offer complies in all respects with the Employer’s standards and requirements.

F2.13.2 Return all returnable documents after completing and signing them in their entirely

F2.13.3 Parts of each tender offer communicated shall be submitted as an original, plus two copies and Memory Stick of the whole tender submission

F2.13.5 The employer’s address for delivery of tender offer and identification details to be shown on each tender offer package are:

Location of tender box: City Power Head Office Tender Advice Centre

Physical address: 40 Heronmere Road, Reuven

Identification details: Tender no: 2324G

Postal address: P.O. Box 38766, Booysens, 2016

F2.13.6 A two envelope system will not be followed

F2.15	The closing time for submission of tender offers is as stated in the Notice and Invitation to Tender. Telephonic, telegraphic, telex, facsimile or e-mailed tender offers will not be accepted.

F2.16	The tender offer is validity period is 150 days.

F2.16.2 The tender must consider extending the validity period if requested by the Purchaser.

F3.4	Tender offers/quotes will be opened by City Power SCM unit, in accordance with City Power procurement policy, in the presence of City Power Legal Representative.

F3.11.3 Method 2 will be used to evaluate the offers

City Power Johannesburg reserves the right to award the bid to a maximum of four (4) Bidders per

specification for Supply and Delivery Of Personal Protective Equipment (PPE) as per evaluation     criteria

The tender period is for 36 months (3 years).

The minimum threshold for functionality is 75% (Only bidders who obtain 75% and above will be evaluated further on Price and B-BBEE)

F3.13.1 Tenders will only be accepted if:

- The tenderer has in his or her possession an original valid tax clearance certificate or pin issued by the South African Revenue Services or a pin

- The tenderer is registered with Central System Database ( CSD)

- The tenderer is not in arrears for more than 3 months with municipal rates and taxes and municipal service charges

- The tenderer or any of its directors is not listed on the Register of Tender Defaulters in terms of the Prevention and Combating of Corrupt Activities Act of 2004 as a person prohibited from doing business with the public sector

- The tenderer has not:

- Abused the Employer’s Supply Chain Management System; or

- Failed to perform on any previous contract and has been given a written notice to this effect

- Has completed the declaration of Interest Form and there are no conflicts of interest which may impact on the tenderer’s ability to perform the contract in the best interest of the employer or potentially compromise the tender process.

- The tenderer has in his or her possession a copy of receipt reflecting the tendering company name and    the bid number issued by City Power (A copy to be filed with Tender Advice Centre – TAC)

1.4                             CIDB STANDARD CONDITIONS OF TENDER

Annex F

(normative)

Standard Conditions of Tender

F.1 General

F.1.1 Actions

F.1.1.1 The employer and each tenderer submitting a tender offer shall comply with these conditions of tender. In their dealings with each other, they shall discharge their duties and obligations as set out in F.2 and F.3, timeously and with integrity, and behave equitably, honestly and transparently, comply with all legal obligations and not engage in anticompetitive practices.

F.1.1.2 The employer and the tenderer and all their agents and employees involved in the tender process shall avoid conflicts of interest and where a conflict of interest is perceived or known, declare any such conflict of interest, indicating the nature of such conflict. Tenderers shall declare any potential conflict of interest in their tender submissions. Employees, agents and advisors of the employer shall declare any conflict of interest to whoever is responsible for overseeing the procurement process at the start of any deliberations relating to the procurement process or as soon as they become aware of such conflict, and abstain from any decisions where such conflict exists or recuse themselves from the procurement process, as appropriate.

Note: 	1) A conflict of interest may arise due to a conflict of roles which might provide an incentive for improper acts in some circumstances. A conflict of interest can create an appearance of impropriety that can undermine confidence in the ability of that person to act properly in his or her position even if no improper acts result.

2) Conflicts of interest in respect of those engaged in the procurement process include direct, indirect or family interests in the tender or outcome of the procurement process and any personal bias, inclination, obligation, allegiance or loyalty which would in any way affect any decisions taken.

F.1.1.3 The employer shall not seek and a tenderer shall not submit a tender without having a firm intention and the capacity to proceed with the contract.

F.1.2 Tender Documents

The documents issued by the employer for the purpose of a tender offer are listed in the tender data.

F.1.3 Interpretation

F.1.3.1 The tender data and additional requirements contained in the tender schedules that are included in the returnable documents are deemed to be part of these conditions of tender.

F.1.3.2 These conditions of tender, the tender data and tender schedules which are only required for tender evaluation purposes, shall not form part of any contract arising from the invitation to tender.

F.1.3.3 For the purposes of these conditions of tender, the following definitions apply:

a)	conflict of interest means any situation in which:

i) someone in a position of trust has competing professional or personal interests which make it difficult to fulfill his or her duties impartially;

ii) an individual or organisation is in a position to exploit a professional or official capacity in some way for their personal or corporate benefit; or

iii) incompatibility or contradictory interests exist between an employee and the organisation which employs that employee.

b)	comparative offer means the price after the factors of a non-firm price and all unconditional discounts it can be utilised to have been taken into consideration;

c) 	corrupt practice means the offering, giving, receiving or soliciting of anything of value to influence the action of the employer or his staff or agents in the tender process;

d) 	fraudulent practice means the misrepresentation of the facts in order to influence the tender process or the award of a contract arising from a tender offer to the detriment of the employer, including collusive practices intended to establish prices at artificial levels;

e) 	organization means a company, firm, enterprise, association or other legal entity, whether incorporated or not, or a public body;

f) 	functionality means the totality of features and characteristics of a product or service that bear on its ability to satisfy stated or implied needs.

F.1.4 Communication and employer’s agent

Each communication between the employer and a tenderer shall be to or from the employer's agent only, and in a form that can be readily read, copied and recorded. Communications shall be in the English language. The employer shall not take any responsibility for non-receipt of communications from or by a tenderer. The name and contact details of the employer’s agent are stated in the tender data.

F.1.5 Cancellation and Re-Invitation of Tenders

F1.5.1 An organ of state may, prior to the award of the tender, cancel a tender if-

(a) due to changed circumstances, there is no longer a need for the services, works or goods requested; or

(b) funds are no longer available to cover the total envisaged expenditure; or

(c) no acceptable tenders are received.

F1.5.2 The decision to cancel a tender must be published in the CIDB website and in the government Tender Bulletin for the media in which the original tender invitation was advertised.

F.1.6 Procurement procedures

F.1.6.1 General

Unless otherwise stated in the tender data, a contract will, subject to F.3.13, be concluded with the tenderer who in terms of F.3.11 is the highest ranked or the tenderer scoring the highest number of tender evaluation points, as relevant, based on the tender submissions that are received at the closing time for tenders.

F.1.6.2 Competitive negotiation procedure

F.1.6.2.1 Where the tender data require that the competitive negotiation procedure is to be followed, tenderers shall submit tender offers in response to the proposed contract in the first round of submissions. Notwithstanding the requirements of F.3.4, the employer shall announce only the names of the tenderers who make a submission. The requirements of F.3.8 relating to the material deviations or qualifications which affect the competitive position of tenderers shall not apply.

F.1.6.2.2 All responsive tenderers, or not less than three responsive tenderers that are highest ranked in terms of the evaluation method and evaluation criteria stated in the tender data, shall be invited in each round to enter into competitive negotiations, based on the principle of equal treatment and keeping confidential the proposed solutions and associated information. Notwithstanding the provisions of F.2.17, the employer may request that tenders be clarified, specified and fine-tuned in order to improve a tenderer’s competitive position provided that such clarification, specification, fine-tuning or additional information does not alter any fundamental aspects of the offers or impose substantial new requirements which restrict or distort competition or have a discriminatory effect.

F.1.6.2.3 At the conclusion of each round of negotiations, tenderers shall be invited by the employer to make a fresh tender offer, based on the same evaluation criteria, with or without adjusted weightings. Tenderers shall be advised when they are to submit their best and final offer.

F.1.6.2.4 The contract shall be awarded in accordance with the provisions of F.3.11 and F.3.13 after tenderers have been requested to submit their best and final offer.

F.1.6.3 Proposal procedure using the two stage-system

F.1.6.3.1 Option 1

Tenderers shall in the first stage submit technical proposals and, if required, cost parameters around which a contract may be negotiated. The employer shall evaluate each responsive submission in terms of the method of evaluation stated in the tender data, and in the second stage negotiate a contract with the tenderer scoring the highest number of evaluation points and award the contract in terms of these conditions of tender.

F.1.6.3.2 Option 2

F.1.6.3.2.1 Tenderers shall submit in the first stage only technical proposals. The employer shall invite all responsive tenderers to submit tender offers in the second stage, following the issuing of procurement documents.

F.1.6.3.2.2 The employer shall evaluate tenders received during the second stage in terms of the method of evaluation stated in the tender data, and award the contract in terms of these conditions of tender.

F.2 Tenderer’s obligations

F.2.1 Eligibility

F.2.1.1 Submit a tender offer only if the tenderer satisfies the criteria stated in the tender data and the tenderer, or any of his principals, is not under any restriction to do business with employer

.

F.2.1.2 Notify the employer of any proposed material change in the capabilities or formation of the tendering entity (or both) or any other criteria which formed part of the qualifying requirements used by the employer as the basis in a prior process to invite the tenderer to submit a tender offer and obtain the employer’s written approval to do so prior to the closing time for tenders.

F.2.2 Cost of tendering

F2.2.1 Accept that, unless otherwise stated in the tender data, the employer will not compensate the tenderer for any costs incurred in the preparation and submission of a tender offer, including the costs of any testing necessary to demonstrate that aspects of the offer complies with requirements.

F2.2.2 The cost of the tender documents charged by the employer shall be limited to the actual cost incurred by the employer for printing the documents. Employers must attempt to make available the tender documents on its website so as not to incur any costs pertaining to the printing of the tender documents.

F.2.3 Check documents

Check the tender documents on receipt for completeness and notify the employer of any discrepancy or omission.

F.2.4 Confidentiality and copyright of documents

Treat as confidential all matters arising in connection with the tender. Use and copy the documents issued by the employer only for the purpose of preparing and submitting a tender offer in response to the invitation.

F.2.5 Reference documents

Obtain, as necessary for submitting a tender offer, copies of the latest versions of standards, specifications, conditions of contract and other publications, which are not attached but which are incorporated into the tender documents by reference.

F.2.6 Acknowledge addenda

Acknowledge receipt of addenda to the tender documents, which the employer may issue, and if necessary apply for an extension to the closing time stated in the tender data, in order to take the addenda into account.

F.2.7 Clarification meeting

Attend, where required, a clarification meeting at which tenderers may familiarize themselves with aspects of the proposed work, services or supply and raise questions. Details of the meeting(s) are stated in the tender data.

F.2.8 Seek clarification

Request clarification of the tender documents, if necessary, by notifying the employer at least five working days before the closing time stated in the tender data.

F.2.9 Insurance

Be aware that the extent of insurance to be provided by the employer (if any) might not be for the full cover required in terms of the conditions of contract identified in the contract data. The tenderer is advised to seek qualified advice regarding insurance.

F.2.10 Pricing the tender offer

F.2.10.1 Include in the rates, prices, and the tendered total of the prices (if any) all duties, taxes (except Value Added Tax (VAT), and other levies payable by the successful tenderer, such duties, taxes and levies being those applicable 14 days before the closing time stated in the tender data.

F2.10.2 Show VAT payable by the employer separately as an addition to the tendered total

of the prices.

F.2.10.3 Provide rates and prices that are fixed for the duration of the contract and not subject to adjustment except as provided for in the conditions of contract identified in the contract data.

F.2.10.4 State the rates and prices in Rand unless instructed otherwise in the tender data. The conditions of contract identified in the contract data may provide for part payment in other currencies.

F.2.11 Alterations to documents

Do not make any alterations or additions to the tender documents, except to comply with instructions issued by the employer, or necessary to correct errors made by the tenderer. All signatories to the tender offer shall initial all such alterations.

F.2.12 Alternative tender offers

F.2.12.1 Unless otherwise stated in the tender data, submit alternative tender offers only if a main tender offer, strictly in accordance with all the requirements of the tender documents, is also submitted as well as a schedule that compares the requirements of the tender documents with the alternative requirements that are proposed.

F.2.12.2 Accept that an alternative tender offer may be based only on the criteria stated in the tender data or criteria otherwise acceptable to the employer.

F.2.12.3 An alternative tender offer may only be considered in the event that the main tender offer is the winning tender.

F.2.13 Submitting a tender offer

F.2.13.1 Submit one tender offer only, either as a single tendering entity or as a member in a joint venture to provide the whole of the works, services or supply identified in the contract data and described in the scope of works, unless stated otherwise in the tender data.

F.2.13.2 Return all returnable documents to the employer after completing them in their entirety, either electronically (if they were issued in electronic format) or by writing legibly in non-erasable ink.

F.2.13.3 Submit the parts of the tender offer communicated on paper as an original plus the number of copies stated in the tender data, with an English translation of any documentation in a language other than English, and the parts communicated electronically in the same format as they were issued by the employer.

F.2.13.4 Sign the original and all copies of the tender offer where required in terms of the tender data. The employer will hold all authorized signatories liable on behalf of the tenderer. Signatories for tenderers proposing to contract as joint ventures shall state which of the signatories is the lead partner whom the employer shall hold liable for the purpose of the tender offer.

F.2.13.5 Seal the original and each copy of the tender offer as separate packages marking the packages as "ORIGINAL" and "COPY". Each package shall state on the outside the employer's address and identification details stated in the tender data, as well as the tenderer's name and contact address.

F.2.13.6 Where a two-envelope system is required in terms of the tender data, place and seal the returnable documents listed in the tender data in an envelope marked ―financial proposal‖ and place the remaining returnable documents in an envelope marked ―technical proposal‖. Each envelope shall state on the outside the employer’s address and identification details stated in the tender data, as well as the tenderer's name and contact address.

F.2.13.7 Seal the original tender offer and copy packages together in an outer package that states on the outside only the employer's address and identification details as stated in the tender data.

F.2.13.8 Accept that the employer will not assume any responsibility for the misplacement or premature opening of the tender offer if the outer package is not sealed and marked as stated.

F.2.13.9 Accept that tender offers submitted by facsimile or e-mail will be rejected by the employer, unless stated otherwise in the tender data.

F.2.14 Information and data to be completed in all respects

Accept that tender offers, which do not provide all the data or information requested completely and in the form required, may be regarded by the employer as non-responsive.

F.2.15 Closing time

F.2.15.1 Ensure that the employer receives the tender offer at the address specified in the tender data not later than the closing time stated in the tender data. Accept that proof of posting shall not be accepted as proof of delivery.

F.2.15.2 Accept that, if the employer extends the closing time stated in the tender data for any reason, the requirements of these conditions of tender apply equally to the extended deadline.

F.2.16 Tender offer validity

F.2.16.1 Hold the tender offer(s) valid for acceptance by the employer at any time during the validity period stated in the tender data after the closing time stated in the tender data.

F.2.16.2 If requested by the employer, consider extending the validity period stated in the tender data for an agreed additional period with or without any conditions attached to such extension.

F.2.16.3 Accept that a tender submission that has been submitted to the employer may only be withdrawn or substituted by giving the employer’s agent written notice before the closing time for tenders that a tender is to be withdrawn or substituted.

F.2.16.4 Where a tender submission is to be substituted, submit a substitute tender in accordance with the requirements of F.2.13 with the packages clearly marked as ―SUBSTITUTE‖.

F.2.17 Clarification of tender offer after submission

Provide clarification of a tender offer in response to a request to do so from the employer during the evaluation of tender offers. This may include providing a breakdown of rates or prices and correction of arithmetical errors by the adjustment of certain rates or item prices (or both). No change in the competitive position of tenderers or substance of the tender offer is sought, offered, or permitted.

Note: Sub-clause F.2.17 does not preclude the negotiation of the final terms of the contract with a preferred tenderer following a competitive selection process, should the Employer elect to do so.

F.2.18 Provide other material

F.2.18.1 Provide, on request by the employer, any other material that has a bearing on the tender offer, the tenderer’s commercial position (including notarized joint venture agreements), preferencing arrangements, or samples of materials, considered necessary by the employer for the purpose of a full and fair risk assessment. Should the tenderer not provide the material, or a satisfactory reason as to why it cannot be provided, by the time for submission stated in the employer’s request, the employer may regard the tender offer as non-responsive.

F.2.18.2 Dispose of samples of materials provided for evaluation by the employer, where required.

F.2.19 Inspections, tests and analysis

Provide access during working hours to premises for inspections, tests and analysis as provided for in the tender data.

F.2.20 Submit securities, bonds and policies

If requested, submit for the employer’s acceptance before formation of the contract, all securities, bonds, guarantees, policies and certificates of insurance required in terms of the conditions of contract identified in the contract data.

F.2.21 Check final draft

Check the final draft of the contract provided by the employer within the time available for the employer to issue the contract.

F.2.22 Return of other tender documents

If so instructed by the employer, return all retained tender documents within 28 days after the expiry of the validity period stated in the tender data.

F.2.23 Certificates

Include in the tender submission or provide the employer with any certificates as stated in the tender data.

F.3 The employer’s undertakings

F.3.1 Respond to requests from the tenderer

F.3.1.1 Unless otherwise stated in the tender Data, respond to a request for clarification received up to five working days before the tender closing time stated in the Tender Data and notify all tenderers who drew procurement documents.

F.3.1.2 Consider any request to make a material change in the capabilities or formation of the tendering entity (or both) or any other criteria which formed part of the qualifying requirements used to prequalify a tenderer to submit a tender offer in terms of a previous procurement process and deny any such request if as a consequence:

a) an individual firm, or a joint venture as a whole, or any individual member of the joint venture fails to meet any of the collective or individual qualifying requirements;

b) the new partners to a joint venture were not prequalified in the first instance, either as individual firms or as another joint venture; or

c) in the opinion of the Employer, acceptance of the material change would compromise the outcome of the prequalification process.

F.3.2 Issue Addenda

If necessary, issue addenda that may amend or amplify the tender documents to each tenderer during the period from the date that tender documents are available until three days before the tender closing time stated in the Tender Data. If, as a result a tenderer applies for an extension to the closing time stated in the Tender Data, the Employer may grant such extension and, shall then notify all tenderers who drew documents.

F.3.3 Return late tender offers

Return tender offers received after the closing time stated in the Tender Data, unopened, (unless it is necessary to open a tender submission to obtain a forwarding address), to the tenderer concerned.

F.3.4 Opening of tender submissions

F.3.4.1 Unless the two-envelope system is to be followed, open valid tender submissions in the presence of tenderers’ agents who choose to attend at the time and place stated in the tender data. Tender submissions for which acceptable reasons for withdrawal have been submitted will not be opened

.

F.3.4.2 Announce at the meeting held immediately after the opening of tender submissions, at a venue indicated in the tender data, the name of each tenderer whose tender offer is opened and, where applicable, the total of his prices, number of points claimed for its BBBEE status level and time for completion for the main tender offer only.

F.3.4.3 Make available the record outlined in F.3.4.2 to all interested persons upon request.

F.3.5 Two-envelope system

F.3.5.1 Where stated in the tender data that a two-envelope system is to be followed, open only the technical proposal of valid tenders in the presence of tenderers’ agents who choose to attend at the time and place stated in the tender data and announce the name of each tenderer whose technical proposal is opened.

F.3.5.2 Evaluate functionality of the technical proposals offered by tenderers, then advise tenderers who remain in contention for the award of the contract of the time and place when the financial proposals will be opened. Open only the financial proposals of tenderers, who score in the functionality evaluation more than the minimum number of points for functionality

stated in the tender data, and announce the score obtained for the technical proposals and the total price and any points claimed on BBBEE status level. Return unopened financial proposals to tenderers whose technical proposals failed to achieve the minimum number of points for functionality.

F.3.6 Non-disclosure

Not disclose to tenderers, or to any other person not officially concerned with such processes, information relating to the evaluation and comparison of tender offers, the final evaluation price and recommendations for the award of a contract, until after the award of the contract to the successful tenderer.

F.3.7 Grounds for rejection and disqualification

Determine whether there has been any effort by a tenderer to influence the processing of tender offers and instantly disqualify a tenderer (and his tender offer) if it is established that he engaged in corrupt or fraudulent practices.

F.3.8 Test for responsiveness

F.3.8.1 Determine, after opening and before detailed evaluation, whether each tender offer properly received:

a)	 complies with the requirements of these Conditions of Tender,

b)	 has been properly and fully completed and signed, and

c)	 is responsive to the other requirements of the tender documents.

F.3.8.2 A responsive tender is one that conforms to all the terms, conditions, and specifications of the tender documents without material deviation or qualification. A material deviation or qualification is one which, in the Employer's opinion, would:

a)	detrimentally affect the scope, quality, or performance of the works, services or supply identified in the Scope of Work,

b) 	significantly change the Employer's or the tenderer's risks and responsibilities under the contract, or

c) 	affect the competitive position of other tenderers presenting responsive tenders, if it were to be rectified. Reject a non-responsive tender offer, and not allow it to be subsequently made responsive by correction or withdrawal of the non-conforming deviation or reservation.

F.3.9 Arithmetical errors, omissions and discrepancies

F.3.9.1 Check the highest ranked tender or tenderer with the highest number of tender evaluation points after the evaluation of tender offers in accordance with F.3.11 for:

a) 	the gross misplacement of the decimal point in any unit rate;

b) 	omissions made in completing the pricing schedule or bills of quantities; or

c) 	arithmetic errors in:

i) line item totals resulting from the product of a unit rate and a quantity in bills of quantities or   schedules of prices; or

ii) the summation of the prices.

F3.9.2 The employer must correct the arithmetical errors in the following manner:

a) 	Where there is a discrepancy between the amounts in words and amounts in figures, the amount in words shall govern.

b) 	If bills of quantities or pricing schedules apply and there is an error in the line item total resulting from the product of the unit rate and the quantity, the line item total shall govern and the rate shall be corrected. Where there is an obviously gross misplacement of the decimal point in the unit rate, the line item total as quoted shall govern, and the unit rate shall be corrected.

c) 	Where there is an error in the total of the prices either as a result of other corrections required by this checking process or in the tenderer's addition of prices, the total of the prices shall govern and the tenderer will be asked to revise selected item prices (and their rates if bills of quantities apply) to achieve the tendered total of the prices.

Consider the rejection of a tender offer if the tenderer does not correct or accept the correction of the arithmetical error in the manner described above.

F.3.10 Clarification of a tender offer

Obtain clarification from a tenderer on any matter that could give rise to ambiguity in a contract arising from the tender offer.

F.3.11 Evaluation of tender offers

F.3.11.1 General

Appoint an evaluation panel of not less than three persons. Reduce each responsive tender offer to a comparative offer and evaluate them using the tender evaluation methods and associated evaluation criteria and weightings that are specified in the tender data.

F.3.11.2 Method 1: Price and Preference

In the case of a price and preference:

1) 	Score tender evaluation points for price

2) 	Score points for BBBEE contribution

3) 	Add the points scored for price and BBBEE.

F.3.11.3 Method 2: Functionality, Price and Preference

The 90/ 10 preference points system for acquisition of services, works or goods with a

Rand value above R 1 million

(5)	(a) The following formula must be used to calculate the points for price in respect of

tenders with a Rand value above R50 000 000 (all applicable taxes included):

# 90/10

Where

Ps = Points scored for comparative price of tender or offer under consideration;

Pt = Comparative price of tender or offer under consideration; and

Pmin = Comparative price of lowest acceptable tender or offer.

(5)(b) Subject to subparagraph(5)(c), points must be awarded to a tender for attaining the B- BBEE status level of contributor in accordance with the table below: B-BBEE status level of contributor Number of points

| B-BBEE status level of contributor | Number of points |
| --- | --- |
| 1 | 10 |
| 2 | 9 |
| 3 | 8 |
| 4 | 5 |
| 5 | 4 |
| 6 | 3 |
| 7 | 2 |
| 8 | 1 |
| Non-compliant contributor | 0 |

(5)	(c) A maximum of 10 points may be allocated in accordance with subparagraph (5)(b).

(5)	(d) The points scored by tender in respect of B-BBEE contribution contemplated in contemplated in subparagraph (5) (b) must be added to the points scored for price as calculated in accordance with subparagraph (5)(a).

(5)	(e) Subject to paragraph 4.3.8 the contract must be awarded to the tender who scores the highest total number of points.

F.3.11.6 Decimal places

Score price, preference and functionality, as relevant, to two decimal places.

F.3.11.7 Scoring Price

Score price of remaining responsive tender offers using the following formula:

NFO = W1 x A

where: NFO is the number of tender evaluation points awarded for price.

W1 is the maximum possible number of tender evaluation points awarded for price as stated in the Tender Data.

A is a number calculated using the formula and option described in Table F.1 as stated in the Tender Data.

Table F.1: Formulae for calculating the value of A

| Formula | Comparison aimed at achieving. | Option 1a | Option 2 a |
| --- | --- | --- | --- |
| 1 | Lowest price or percentage commission / fee | A = (1 +( P - Pm)) Pm | A = P / Pm |
| 2 | Lowest price or percentage commission / fee | A = (1 - (P - Pm)) Pm | A = Pm / P |
| a Pm is the comparative offer of the most favourable comparative offer. P is the comparative offer of the tender offer under consideration. |  |  |  |

F.3.11.8 Scoring preferences

Confirm that tenderers are eligible for the preferences claimed in accordance with the provisions of the tender data and reject all claims for preferences where tenderers are not eligible for such preferences.

Calculate the total number of tender evaluation points for preferences claimed in accordance with the provisions of the tender data.

F.3.11.9 Scoring functionality

Score each of the criteria and subcriteria for quality in accordance with the provisions of the Tender Data.

Calculate the total number of tender evaluation points for quality using the following formula:

NQ = W2 x SO / MS

where: SO is the score for quality allocated to the submission under consideration;

MS is the maximum possible score for quality in respect of a submission; and

W2 is the maximum possible number of tender evaluation points awarded for the

F.3.12 Insurance provided by the employer

If requested by the proposed successful tenderer, submit for the tenderer's information the policies and / or certificates of insurance which the conditions of contract identified in the contract data, require the employer to provide.

F.3.13 Acceptance of tender offer

Accept the tender offer, if in the opinion of the employer, it does not present any risk and only if the tenderer:

a) 	is not under restrictions, or has principals who are under restrictions, preventing participating in the employer’s procurement,

b) 	can, as necessary and in relation to the proposed contract, demonstrate that he or she possesses the professional and technical qualifications, professional and technical competence, financial resources, equipment and other physical facilities, managerial capability, reliability, experience and reputation, expertise and the personnel, to perform the contract,

c)	 has the legal capacity to enter into the contract,

d) 	is not insolvent, in receivership, under Business Rescue as provided for in chapter 6 of the Companies Act, 2008, bankrupt or being wound up, has his affairs administered by a court or a judicial officer, has suspended his business activities, or is subject to legal proceedings in respect of any of the foregoing,

e) 	complies with the legal requirements, if any, stated in the tender data, and

f) 	is able, in the opinion of the employer, to perform the contract free of conflicts of interest.

F.3.14 Prepare contract documents

F.3.14.1 If necessary, revise documents that shall form part of the contract and that were issued by the employer as part of the tender documents to take account of:

a) 	addenda issued during the tender period,

b) 	inclusion of some of the returnable documents, and

c)	other revisions agreed between the employer and the successful tenderer.

F.3.14.2 Complete the schedule of deviations attached to the form of offer and acceptance, if any.

F.3.15 Complete adjudicator's contract

Unless alternative arrangements have been agreed or otherwise provided for in the contract, arrange for both parties to complete formalities for appointing the selected adjudicator at the same time as the main contract is signed.

F.3.16 Notice to unsuccessful tenderers

F.3.16.1 Notify the successful tenderer of the employer's acceptance of his tender offer by completing and returning one copy of the form of offer and acceptance before the expiry of the validity period stated in the tender data, or agreed additional period.

F.3.16.2 After the successful tenderer has been notified of the employer’s acceptance of the tender, notify other tenderers that their tender offers have not been accepted.

F.3.17 Provide copies of the contracts

Provide to the successful tenderer the number of copies stated in the Tender Data of the signed copy of the contract as soon as possible after completion and signing of the form of offer and acceptance.

F.3.18 Provide written reasons for actions taken

Provide upon request written reasons to tenderers for any action that is taken in applying these conditions of tender, but withhold information which is not in the public interest to be divulged, which is considered to prejudice the legitimate commercial interests of tenderers or might prejudice fair competition between tenderers.

F3.19 Transparency in the procurement process

F3.19.1 The CIDB prescripts require that tenders must be advertised and be registered on the CIDB i-Tender system.

F3.19.2 The employer must adopt a transparency model that incorporates the disclosure and accountability as transparency requirements in the procurement process.

F3.19.3 The transparency model must identify the criteria for selection of projects, project information template and the threshold value of the projects to be disclosed in the public domain at various intervals of delivery of infrastructure projects.

F3.19.4 The client must publish the information on a quarterly basis which contains the following information:

Procurement planning process

Procurement method and evaluation process

Contract type

Contract status

Number of firms tendering

Cost estimate

Contract title

Contract firm(s)

Contract price

Contract scope of work

Contract start date and duration

Contract evaluation reports

F3.19.5 The employer must establish a Consultative Forum which will conduct a random audit in the implementation of the transparency requirements in the procurement process.

F3.19.6 Consultative Forum must be an independent structure from the bid committees.

F3.19.7 The information must be published on the employer’s website.

F 3.19.8 Records of such disclosed information must be retained for audit purposes.

MBD 3.1

###### PRICING SCHEDULE – FIRM PRICES

(PURCHASES)

NOTE:	PRICE ADJUSTMENTS WILL BE ALLOWED AT THE PERIODS AND TIMES SPECIFIED IN THE BIDDING DOCUMENTS (INCLUDING PRICES SUBJECT TO RATES OF EXCHANGE VARIATIONS)

IN CASES WHERE DIFFERENT DELIVERY POINTS INFLUENCE THE PRICING, A SEPARATE

PRICING SCHEDULE MUST BE SUBMITTED FOR EACH DELIVERY POINT

Name of Bidder…………………………………… Bid Number…………………... Closing Time ……………. ….. Closing Date ………………………..

OFFER TO BE VALID FOR………….DAYS FROM THE CLOSING DATE OF BID.

__________________________________________________________________________

ITEM	QUANTITY	DESCRIPTION		BID PRICE IN RSA CURRENCY

NO.							** (ALL APPLICABLE TAXES INCLUDED)

1		1		Cost per unit		R

Note:

- Required by:					………………………………….

-	At:						………………………………….

- Brand and Model				………………………………….

- Country of Origin		………………………………….

-	Does the offer comply with the specification(s)?			*YES/NO

- If not to specification, indicate deviation(s)	………………………………….

- Period required for delivery			………………………………….

- Delivery basis					…………………………………….

Note:	All delivery costs must be included in the bid price, for delivery at the prescribed destination.

** “all applicable taxes” includes  value- added tax, pay as you earn, income tax, unemployment  insurance fund contributions and skills development levies.

## PART 3: AGREEMENTS AND CONTRACT DATA

3.1       FORM OF OFFER

The Chief Executive Officer

CITY POWER Johannesburg

Reuven, JOHANNESBURG

SIR, I (or We), the undersigned hereby BID and should this BID be accepted, undertake to supply and deliver the GOODS AND SERVICES as described and referred to in the Specification, Schedule of Quantities, Drawings and Schedule of Prices Conditions of Contract, and have no objection to enter into the formal Contract with the said City Power, embodying the said Conditions of Contract, Specifications, Schedule of Quantities, Drawings and Schedule of Prices, in consideration of the sum (Inclusive of Value Added Tax)  section of the scope as indicated under the headings below.

| ### R |  |  |  |  |  |  |  |  |  |  |  | . |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Amount in Figures (VAT Incl.) |  |

|  | Amount in Words |
| --- | --- |

based on the provisional quantities specified and unit rates incorporated by me (or us) in the said Schedule of Quantities and Schedule of Prices or such other sum as may be ascertained in accordance with the aforementioned documents.

| Name of Authorised Person | Signature of Authorised Person | Date |
| --- | --- | --- |

If the Bidder is a Company, Corporation or Firm, state by what authority the person signing does so, whether by Articles of Association, Resolution, Power of Attorney, or otherwise.

I (We) ___________________________________ am (are) authorised to enter into this contract on behalf of

______________________________ by virtue of ____________________

dated the ______ day of ________________ 20____, a certified copy of which is attached to this BID.

WITNESSES: ____________________________          ____________________________

Signature				       Date

This section must be completed in full otherwise Bids are liable to rejection on the grounds of being incomplete.

MBD 7.1

# CONTRACT FORM - PURCHASE OF GOODS/WORKS

THIS FORM MUST BE FILLED IN DUPLICATE BY BOTH THE SUCCESSFUL BIDDER (PART 1) AND THE PURCHASER (PART 2).  BOTH FORMS MUST BE SIGNED IN THE ORIGINAL SO THAT THE SUCCESSFUL BIDDER AND THE PURCHASER WOULD BE IN POSSESSION OF ORIGINALLY SIGNED CONTRACTS FOR THEIR RESPECTIVE RECORDS.

# PART 1 (TO BE FILLED IN BY THE BIDDER)

- I hereby undertake to supply all or any of the goods and/or works described in the attached bidding documents to (name of institution)………..…………………………. in accordance with the requirements and specifications stipulated in bid number………..……….. at the price/s quoted.  My offer/s remain binding upon me and open for acceptance by the purchaser during the validity period indicated and calculated from the closing time of bid.

- The following documents shall be deemed to form and be read and construed as part of this agreement:

- Bidding documents, viz

- Invitation to bid;

- Tax clearance certificate;

- Pricing schedule(s);

- Technical Specification(s);

- Preference claims  for Broad Based Black Economic Empowerment Status Level of Contribution in terms of the Preferential Procurement Regulations 2011;

- Declaration of interest;

- Declaration of bidder’s past SCM practices;

- Certificate of Independent Bid Determination;

- Special Conditions of Contract;

- General Conditions of Contract; and

- Other (specify)

- I confirm that I have satisfied myself as to the correctness and validity of my bid; that the price(s) and rate(s) quoted cover all the goods and/or works specified in the bidding documents; that the price(s) and rate(s) cover all my obligations and I accept that any mistakes regarding price(s) and rate(s) and calculations will be at my own risk.

- I accept full responsibility for the proper execution and fulfilment of all obligations and conditions devolving on me under this agreement as the principal liable for the due fulfillment of this contract.

- I declare that I have no participation in any collusive practices with any bidder or any other person regarding this or any other bid.

- I confirm that I am duly authorised to sign this contract.

WITNESSES

1	…….……………

- …………………

DATE:	…………………….

NAME (PRINT)		………………………………………….

CAPACITY		………………………………………….

SIGNATURE		………………………………………….

NAME OF FIRM	             ……………………………………

DATE			………………………………………….

MBD 7.1

CONTRACT FORM - PURCHASE OF GOODS/WORKS

# PART 2 (TO BE FILLED IN BY THE PURCHASER)

- I……………………………………………….in,my,capacity as…………………………………………...…..accept your bid under reference number ………………dated………………………for the supply of goods/works indicated hereunder and/or further specified in the annexure(s).

- An official order indicating delivery instructions is forthcoming.

- I undertake to make payment for the goods/works delivered in accordance with the terms and conditions of the contract, within 30 (thirty) days after receipt of an invoice accompanied by the delivery note.

| ## ITEM NO. | PRICE (ALL APPLICABLE TAXES INCLUDED) | ### BRAND | DELIVERY PERIOD | B-BBEE STATUS LEVEL OF CONTRIBUTION | MINIMUM THRESHOLD FOR LOCAL PRODUCTION AND CONTENT (if applicable) |
| --- | --- | --- | --- | --- | --- |

4.	I confirm that I am duly authorized to sign this contract.

SIGNED AT ………………………………………ON………………………………..

NAME (PRINT)	…………………………………….

SIGNATURE	…………………………………….

WITNESSES

- ……………………….

- ……………………….

DATE	……………………….

OFFICIAL STAMP

3.2       CONTRACT DATA

3.2.1	PURCHASE PRICE

3.2.1	The Purchase Price shall be the amount set out in the PURCHASE ORDER.

3.2.2	Unless otherwise stipulated in the PURCHASE ORDER, no additional costs of whatever nature shall be payable by CITY POWER.

3.2.3	VAT shall be deemed to be included from the Purchase Price.

3.2.4	All other taxes payable in respect of the items stipulated on the PURCHASE ORDER shall be deemed to be included in the Purchase Price.

3.2.5	PURCHASE ORDERS placed on a “Price to be Agreed” (PTBA), “Estimated Price” or “Price Subject to Adjustment” basis, are issued on the condition that CITY POWER shall be advised, in writing, of the details of the proposed Purchase Price prior to execution of the order CITY POWER may demand, prior to payment, that the price computation be substantiated by documentary evidence.

3.3 TERMS OF PAYMENT

CITY POWER payment terms are 30 days from the date of receipt of the invoice and statement of account.

3.4 METHOD OF PAYMENT

3.4.1    SUPPLIER must elect payment by cheque or electronic fund transfer for the purpose of a contract within 14 (fourteen) days of a purchase order being awarded. SUPPLIER must exercise its choice in writing and submit it to CITY POWER’s Financial Department, failing which all payments in terms of this contract will be by cheque. The onus is on the SUPPLIER to ensure that the Financial Department has received and recorded its choice in this regard.

3.4.2    The method of payment elected by SUPPLIER may only be altered with CITY POWER’s consent.

3.4.3    If payment is made by cheque, same will be posted.

3.4.4  SUPPLIER assumes the entire risk in cheques from the moment of posting and CITY POWER’s liability is deemed to be met when the cheque is posted.

3.4.5  If cheque(s) will be delivered by hand to SUPPLIER or be collected from CITY POWER by SUPPLIER or its representative. The receiver should acknowledge the receipt.

3.4.6 SUPPLIER shall ensure that CITY POWER at all times has the correct banking information of SUPPLIER in order to make an electronic fund transfer, by submitting a cancelled cheque and a letterhead to:

FINANCIAL ACCOUNTANT

FINANCIAL DEPARTMENT

CITY POWER

P.O. BOX 38766

BOOYSENS

2016

If any aspect of SUPPLIER’s banking information changes, SUPPLIER shall timeously inform CITY POWER in writing of such changes.

SUPPLIER assumes the entire risk of incorrect electronic fund transfers arising from changes in SUPPLIER’s banking information.

3.4.7	  Settlement discount as agreed upon and stated in the contract will be deducted from payment.

3.5 INVOICING

3.5.1	Invoices shall comply with the VAT Act, failing which payment will not be made.

3.5.2	All invoices, monthly statements and other related documentation must be submitted to:

THE FINANCIAL DEPARTMENT

CITY POWER

P.O. BOX 38766

BOOYSENS

2016

3.5.3	SUPPLIERS invoice(s) shall be fully detailed in respect of:

3.5.3.1	Information

-	The CITY POWER Purchase Order Number.

-	The full description of item(s) to which the invoice(s) relate(s)

-	A unique Invoice Number.

- 	Date of issue of the invoice.

-	Company/Close Corporation Registration Number

-	VAT Registration Number

-	Delivery Notes Number

3.5.3.2	Value Added Tax

-	Amount of VAT.

-	In the event of VAT being levied at differentiated rates, each

rate invoiced.

3.5.3.3	Structure of Invoice

-	Total value of GOODS AND SERVICES excluding VAT

-	VAT on amount payable

-	Total amount payable

-	Comments if applicable

- 	Settlement Discount … %

3.6 STATEMENT OF ACCOUNTS

3.6.1	SUPPLIER shall submit an original monthly statement to the Financial Department by not later than the 10th day of the month following the month in which the GOODS AND SERVICES were delivered.

3.6.2	Said statement must reflect the following:

-           Opening balance (which shall be the closing balance of the immediate

preceding statement).

- Add: Amount of the current month’s invoices

Debit notes

(Detailed as per document number)

-	Deduct:  Credit notes

Payments received during month

Settlement discounts allowed

(Detailed as per document number)

-	Closing balance

3.7 ORIGINAL DOCUMENTS

SUPPLIER must submit original invoices, debit/credit notes, for GOODS AND SERVICES supplied and relevant information or documentation and monthly statements. Faxed documents will not be accepted and processed for payment.

3.8 SET OFF

CITY POWER may deduct any amount owed by the SUPPLIER to CITY POWER from any liquidated and fully due amount owed by CITY POWER to SUPPLIER.

3.9 STANDARD COMMERCIAL TERMS AND CONDITIONS

# 3.9.1 ENTIRE CONTRACT

The CONTRACT constitutes the entire CONTRACT between the parties and all previous negotiations, proposals and writings pertaining to the procurement of GOODS AND SERVICES or the subject matter thereof are superseded by this CONTRACT as are SUPPLIERS terms and conditions contained in any of its documentation, invoices and/or delivery notes.

3.9.2 SUPPLY OF GOODS AND

SUPPLIER shall supply the GOODS AND SERVICES as specified in the PURCHASE ORDER in accordance with these Standard Commercial Terms for Procurement of GOODS AND SERVICES.

3.9.3 QUOTATIONS

3.9.3.1	SIGNED AND ACCEPTED IN WRITING:

3.9.3.1.1 Quotations in response to a request by CITY POWER shall be in writing when requested and be signed by the SUPPLIER.

3.9.3.1.2 The quotation must be signed by an authorised representative of the   SUPPLIER.

3.9.3.1.3 Failure to sign the quotation will invalidate the quotation.

3.9.3.1.4 CITY POWER does not hold itself liable to be bound by any agreement, arrangement or order for the procurement of GOODS AND SERVICES, not entered into by and on behalf of CITY POWER by authorised CITY POWER Procurement and Supply Management personnel.

3.9.3.1.5 The representative of the SUPPLIER signing the quotation warrants his/her authority by his/her signature on the quotation.

3.9.3.1.6 Unless otherwise advised, only written acceptance of a quotation, by means of a Purchase Order, by an authorised CITY POWER Official shall be valid.

3.10 TERMS AND CONDITIONS:

3.10.1	CITY POWER reserves the right to adjust arithmetical errors in quotations. CITY POWER will not accept any liability whatsoever for errors in quotations.

3.10.2	The SUPPLIER must prepare and submit its quotations at its own expense.

3.10.3	CITY POWER reserves the right to invite quotations from several potential SUPPLIERS for the supply of GOODS AND SERVICES.

3.10.4	CITY POWER may in its discretion accept or reject quotations without furnishing reasons.

3.10.5	CITY POWER may accept any part of or an item of a quotation without being obliged to accept such quotation in its entirety.

3.10.6	Notwithstanding clause 4.3.1.5, whoever submits an accepted quotation, shall satisfy CITY POWER, if so required by CITY POWER, in the manner and detail required:

3.10.6.1 As to the authority of the person who signed the quotation and the SUPPLIER's legal

capacity to enter into a CONTRACT;

3.10.6.2 As to the SUPPLIER's capability (financially, technically and otherwise) to successfully supply the GOODS AND SERVICES in accordance with the specifications of the GOODS AND SERVICES.

3.10.7    For purposes of making an offer and acceptance thereof the parties agree that the following shall be deemed as acceptable in execution thereof.

- -Facsimile Message delivered by CITY POWER

    - An offer shall be deemed to be accepted upon the terms and conditions contained in the CONTRACT as 	Follows

      - Facsimile Message - Successful despatch per facsimile confirmed by CITY POWER’s fax   transmission report.

3.10.9	It is the responsibility of the SUPPLIER to ensure that their sets of documents relating to the GOODS AND SERVICES are complete and legible, and if not, SUPPLIER must apply to CITY POWER for the required documents of portions thereof. CITY POWER will not accept any liability whatsoever for errors in quotations if the SUPPLIER has failed to perform its obligation in terms thereof.

3.10.10	Both parties undertake to act only on the basis of utmost good faith and trust in the execution of this CONTRACT. Should the SUPPLIER commit any act which compromise or may compromise such relationship, or which is contrary to CITY POWER’s Commercial Ethics with which the SUPPLIER declares itself fully familiar then CITY POWER shall be entitled, notwithstanding the provisions of clause 4.15, to terminate this CONTRACT forthwith.

# 3.10.11 DISCREPANCY IN DESCRIPTION

The SUPPLIER shall immediately inform the relevant Procurement Officer of any discrepancy or ambiguity between the Request for Quotation and the PURCHASE ORDER  with respect to the description, dimension or quantities in the PURCHASE ORDER prior to executing the PURCHASE ORDER, failing which the SUPPLIER shall indemnify CITY POWER against any and all damages arising as a result thereof.

3.11 DELIVERY AND INSPECTION UPON DELIVERY

3.11.1 DELIVERY

3.11.1.1The SUPPLIER rendering the GOODS AND SERVICES to be done in terms of the PURCHASE ORDER to CITY POWER as specified by the project engineer during the hours stipulated in 3.11.1.2. CITY POWER reserves the right to withdraw SUPPLIER’s permits should SUPPLIER not adhere hereto.

3.11.1.2 The GOODS AND SERVICES shall be done during normal working hours at the following times:

Monday – Friday:	08:00 to 17:00

3.11.1.3 In the event that delivery of the GOODS AND SERVICES can only be effected outside of the above stipulated times, the CITY POWER Project co-ordinator shall be contacted.

3.11.1.4 SUPPLIER must ensure that the GOODS AND SERVICES are accompanied by the works completion certificate with a valid CITY POWER purchase order number failing which CITY POWER will not accept the GOODS AND SERVICES. The GOODS AND SERVICES must physically be identifiable per PURCHASE ORDER and line number, failing which no acceptance of the GOODS AND SERVICES can and will be made.  In the event that SUPPLIER delivers the GOODS AND SERVICES by sub contractor, SUPPLIER must ensure that its official works completion certificate accompanies the GOODS AND SERVICES as the sub contractor’s documentation shall not be acceptable. The GOODS AND SERVICES shall be provisionally accepted upon delivery and such provisional acceptance shall be indicated on the works completion certificate by CITY POWER.

3.11.1.5 In the event that the GOODS AND SERVICES are not rendered in accordance with the Standard Commercial Terms of Procurement of GOODS AND SERVICES and the CONTRACT, CITY POWER shall be entitled to withhold payment.

3.11.1.6 SUPPLIER must submit its invoices to the Financial Department as indicated in clause 3.5. The project co-ordinator shall not direct invoices to the Financial Department. CITY POWER shall not be responsible for delays in payment emanating as a result of incorrect submission of invoices or incorrect invoicing procedures followed by the SUPPLIER and no interest shall accrue on such outstanding amounts due the SUPPLIER.

3.11.2 INSPECTION UPON DELIVERY

3.11.2.1 CITY POWER shall inspect the GOODS AND SERVICES upon receipt thereof on site with a signed works completion certificate.

3.11.2.2 GOODS AND SERVICES shall be subject to one or more of the following inspections, whatever the case may be and whichever may be applicable, under the circumstances

- Statutory

- Technical in accordance with applicable specifications

- Visual

- Statutory and Technical inspection shall take place within 3 (three)

business days from date of delivery.

3.11.2.3 Where GOODS AND SERVICES are subject to statutory, technical and visual inspections, the GOODS AND SERVICES will:

- be provisionally accepted upon delivery and such provisional acceptance shall be indicated by CITY POWER on the works completion certificate.

3.11.2.4 In the event that the GOODS AND SERVICES are rejected after either a statutory, technical or visual inspection, CITY POWER shall notify the SUPPLIER verbally or in writing of such rejection and the GOODS AND SERVICES must be rectified by the SUPPLIER within 7 (seven) business days of receipt of notice of the rejection.  Should the SUPPLIER not rectify the DEFECTS within 7 (seven) days, CITY POWER shall notify the SUPPLIER in writing that the GOODS AND SERVICES have not been rectified.

3.11.2.5 CITY POWER reserves the right to rectify the GOODS AND SERVICES should the DEFECTS not be rectified within the above-specified period. CITY POWER shall supply the SUPPLIER with the following documentation:

- Dispatch Advice

- Non-conformance Report, stating the reason for the non-acceptance of the GOODS AND SERVICES,

- Any certification documentation, which accompanied the GOODS AND SERVICES.

3.12 INSPECTION OF GOODS AND SERVICES

3.12.1 CITY POWER shall be entitled to inspect the GOODS AND SERVICES to be performed in terms of a CONTRACT

.

3.12.2 Failure to inspect the GOODS AND SERVICES shall in no way impair and prejudice any of CITY POWER’s rights set out in clause 3.11.2 hereunder nor be deemed to constitute acceptance of the GOODS AND SERVICES by CITY POWER.

  - RISK AND INSURANCE

# 3.13.1 RISK

All risk in the GOODS AND SERVICES which are to be rendered by the SUPPLIER, shall remain with the SUPPLIER until delivery and commissioning of said GOODS AND SERVICES has been made to the point of delivery as stated in the PURCHASE ORDER or clause 4.6 of this CONTRACT and the works completion form signed and accepted by the designated CITY POWER official, at which point the risk shall pass to CITY POWER.

3.13.2 INSURANCE

- The minimum limit of indemnity for insurance in respect of loss or damage to property (except the works, Plant,  Machinery and Equipment) and liability for bodily injury to or death of a person (not an employee of the Contractor) caused by activity in connection with this contract for any one event is R5m

- The contractor is liable for insurance in respect of death of or bodily injury to employees of the Contractor arising out and in the course of their employment in connection with this contract.

- The insurance against loss of or damage to the works, Plant and Materials which includes cover for Plant and Materials provided by the Employer for an amount of R50m. The Contractor is liable for any amount exceeding R50m.

# 3.14 WARRANTIES

The SUPPLIER warrants that the GOODS AND SERVICES supplied by it in terms of the PURCHASE ORDER complies with the specifications of the GOODS AND SERVICES as stipulated in the CONTRACT.

3.15. COMMUNICATIONS

The SUPPLIER must indicate the PURCHASE ORDER number on all its documentation which shall include but not be limited to, invoices, delivery notes, consignment notes, bills of lading, packing lists, packaging and communications, failure to do so will result in delayed payment. No interest will accumulate in respect of such payments and settlement discount shall still be deducted.

3.16. FORCE MAJEURE

3.16.1	Should circumstances which were not foreseeable with reasonable foresight or avoidable with reasonable care ("circumstances"), arise (or be reasonably anticipated) and delay, (or have the potential to delay) performance, (whether in whole or in part) or make performance, (whether in whole or in part) impossible, the party who's performance is affected, (or who's performance may be affected) ("affected party") shall forthwith, in good faith and by the most expeditious means, notify the other party in writing of:

3.16.1.1 the cause(s), nature and extent of the circumstances;

3.16.1.2 the expected duration of the circumstances;

3.16.1.3 the extent to which the performance will be affected.

3.16.2 	If the circumstances change after the affected party has notified the other party in accordance with   clause 4.11.1, the affected party shall forthwith, in good faith and by the most expeditious means inform the other party of such changes and keep the other party updated on such changes.

3.16.3	 Subject to paragraphs 3.16.1 and 3.16.2 the circumstances shall NOT terminate the CONTRACT between the parties or absolve the affected party from performance.

3.16.3.1 Should the circumstances make the agreed performance impossible, the affected party shall, having regard to all relevant factors, as soon as possible and in good faith submit proposals for alternatives to the other party? Such proposals shall be in sufficient detail(s) to enable the other party to technically and financially assess the alternative(s) and to decide whether any alternative is acceptable.

3.16.3.2 Should there be no alternative acceptable to the other party, it may elect to cancel the

CONTRACT.

3.16.4	   Should the circumstances delay the agreed performance?

3.16.4.1  the affected party shall forthwith and in good faith take all reasonable steps to mitigate the delay  and to recover lost time, and

3.16.4.2  having regard to all relevant factors and in good faith notify the other party as soon 	 possible of  the steps to be taken to mitigate the delay and recover lost time and keep the 	 other party updated  on changes and progress thereof;

3.16.4.3 The other party may, if the extent to which the delay may be mitigated and lost time

Be recovered are unacceptable to it, elect to cancel the CONTRACT.

3.16.5 	  Neither of the parties shall have any claim, arising from the circumstances, on the other.

3.16.6 	Without limiting the generality and intention of clause 3.16.1 in any way, the circumstances may include, without being limited thereto:

-	Acts of God;

-	War, riots, civil- or military insurrection and like political happenings;

-	Natural disasters such as earthquakes, fire, storms and floods;

-	Governmental acts or omissions;

-	Terrorism or sabotage;

-	Labour unrest such as strikes and lockouts.

3.17 ADDITIONS AND OMISSIONS

3.17.1	The AGREEMENT may only be amended in writing by "Change Order" under signature of the

parties and SUPPLIER shall only react to written amendments.

3.17.2	No amendment shall be valid unless it is signed on behalf of CITY POWER by:

3.17.2.1 A duly authorised commercial officer or his/her superior.

3.17.3	Terms and conditions in SUPPLIER's documentation, which conflict with the contents hereof,

shall be of no force or effect.

# 3.18 CONCESSIONS

3.18.1	Concessions made by CITY POWER shall not prejudice its rights.

# 3.19 DISPUTE RESOLUTION

3.19.1    Should any dispute arise at any time and in any way in connection with this CONTRACT, the 	  dispute will be referred to contracting parties nominated senior management to resolve the

dispute within ten (7) days after referral of the dispute to them.

3.19.2    Should the PARTIES fail to resolve the dispute or difference within the aforesaid period or such longer period as the PARTIES may agree, such dispute shall be determined by arbitration in terms of the following:

3.19.2.1 Within 3 (three) days after the negotiations in paragraph 3.19.1. became deadlocked, CITY POWER and SUPPLIER shall by negotiating in good faith, agree on a arbitrator, failing which either may refer the matter to Arbitration Board of South Africa for appointment.

3.19.2.2 The PARTIES shall within 14 (fourteen) days of the appointment of the arbitrator or such other period as the arbitrator considers reasonable, submit written representations to him. Thereafter the arbitrator shall give his determination in writing and furnish CITY POWER and the SUPPLIER each with a copy thereof, provided that the arbitrator may, in his discretion, convene a hearing of the parties and their witnesses or accept further representations from the PARTIES, before giving his determination.

3.19.2.3 The cost of appointment of the arbitration, whatever the case may be shall be determined by the arbitrator hearing the dispute.

3.19.2.4 The appointment of an arbitrator shall be in no way prejudice the rights that either party have to institute legal proceedings in a competent Court of Law with jurisdiction over the subject matter.

3.20 TERMINATION

3.20.1	In the event that the GOODS AND SERVICES stipulated in the PURCHASE ORDER:

- not conform to the provisions of the order;

- be defective in any way;

- not be delivered by the stipulated date of performance

CITY POWER shall be entitled to:

- cancel the order, either wholly or in part and claim any damages it may have suffered as a result thereof;

- demand that the rejected GOODS AND SERVICES be re-done at no cost to CITY POWER.

3.20.2   CITY POWER may in its sole and unfettered discretion, unless agreed to otherwise in writing, and at

Any time, with or without cause, terminate the agreement by written notice to SUPPLIER.

3.20.2.1 Unless otherwise agreed in writing such termination shall become effective 3 (three)

business days after date on which SUPPLIER is notified in writing of the termination.

3.20.2.2 Should either of the parties fail to comply with the terms and conditions of this 8		              agreement and remain in default for 3 (three) days or any other period as agreed to

by the parties after having been given notice to remedy the default, then the other

party may cancel this agreement without further notice.

3.20.2.3 Should CITY POWER, at any time, have reason to suspect that SUPPLIER is no

longer capable (financially, technically or otherwise) of supplying the GOODS AND

SERVICES, then CITY POWER may cancel this agreement in terms of 3.20.2.1

3.20.2.4 Cancellation in terms of 3.20.2.1 shall be without prejudice to the cancelling party's

Other rights.

3.20.2.5 If CITY POWER cancels this agreement in terms of 3.20.2.1, it shall be entitled to

retain all Monies due to SUPPLIER until such time as the WORK is completed.

3.20.3 Time is of the essence to the extent that it goes to the root of agreements be between CITY

POWER and SUPPLIER in respect of the delivery date of the GOODS AND SERVICES, and

entitles CITY POWER to cancel in terms of Clause 3.20.

3.21 CESSIONS

3.21.1	SUPPLIER shall not cede, assign, factorise or otherwise make over its right, or obligations, or any part or aspect thereof, in terms of any agreement with CITY POWER, unless consented to in writing by CITY POWER.

    - SUPPLIER shall in no way encumber its rights or obligations in terms of any agreement with CITY POWER.

3.21.3	Should the SUPPLIER be taken over, or should control of the SUPPLIER pass to anybody other than those disclosed to CITY POWER, then CITY POWER may at its discretion cancel the agreement without prior notice.

3.21.4	SUPPLIER shall immediately advise CITY POWER, in writing, of any actual or proposed transfer of ownership, passing of or change of directors, partners or other stakeholders.

# 3.22 CONFIDENTIALITY

3.22.1	SUPPLIER hereby undertakes not to disclose, in whole or in part, any Confidential Information to anybody without the express prior written approval thereto by CITY POWER.

3.22.2	The SUPPLIER shall restrict access to the Confidential Information only to a limited number of its employees, officers, agents or associates and directors (“representatives”) who have a clear need to know the same for the purpose of this Contract.

3.22.3	The SUPPLIER shall be responsible for ensuring that all representatives are underwritten obligation of sufficient scope to obligate them to comply with the terms and conditions of this Contract.

3.22.4	The Confidential Information shall remain the property of CITY POWER and CITY POWER may demand the return thereof at any time upon giving written notice to the SUPPLIER.  Within 30 days of receipt of such notice, the SUPPLIER shall return all of the original Confidential Information and shall destroy all copies and reproductions (including in electronic form) in its possession and in the possession of its representatives to whom it was disclosed pursuant to this Contract.  The SUPPLIER may however retain one copy of the Confidential Information in its confidential legal files for the sole purpose of identifying and maintaining its obligations under this Contract.

3.22.5	Without derogating from the generality of the foregoing, SUPPLIER hereby binds itself not to do anything, directly or indirectly, which will or may prejudicially affect CITY POWER's position in the markets, local and international.

3.22.6	Each party shall, in respect of information received from the other, employ the same methods and endeavours to prevent such information becoming known to others as they do in respect of their own.

3.22.7	Should there be a breach of the provisions of clause 3.22.1, 3.22.2, 3.22.3, 3.22.4 or 3.22.6 of this CONTRACT, CITY POWER shall, without limiting any other rights that it might have, be entitled to forthwith cancel any CONTRACT that it has with SUPPLIER.

# 3.23 TRANSPORT

3.23.1	SUPPLIER shall arrange transport in accordance with CITY POWER's instructions which shall be obtained in good time before the transport is required; however CITY POWER may elect to arrange transport.

3.24 FOREIGN CURRENCY

3.24.1	SUPPLIER shall arrange forward cover for foreign currency, in accordance with CITY POWER's instructions, however CITY POWER may elect to arrange forward cover for foreign currency.

# 3.25 JURISDICTION

3.25.1	The parties consent to the jurisdiction of the Magistrates Court in proceedings arising from the CONTRACT.

3.25.2	The above consent is without prejudice to the right of either of the parties to institute proceedings in any other South African court of competent jurisdiction, at will.

# 3.26 LABOUR RELATIONS

3.26.1	CITY POWER practices labour relations in the spirit of its Mission.

3.26.3	SUPPLIER shall do nothing to the detriment of CITY POWER's labour relations or which may prejudice harmonious labour relations on CITY POWER's premises, regardless of whether CITY POWER's labour or the labour of others are involved.

3.26.4	SUPPLIER shall not recruit personnel:

3.26.4.1 in the employ of CITY POWER or any of its other

SUPPLIERS/CONTRACTORS, or their SUB-CONTRACTORS,

3.26.4.2 anywhere on CITY POWER's premises without CITY POWER's

consent which shall be obtained beforehand in writing.

3.26.5	Should SUPPLIER experience any labour disharmony which may have an impact on CITY POWER's operation or SUPPLIER's supply of the GOODS AND SERVICES it shall immediately inform CITY POWER thereof and keep it informed.

# 3.27 COMPLIANCE WITH LAW AND CITY POWER'S RULES

3.27.1	SUPPLIER shall comply with the law.

3.27.2	Without limiting the generality of 3.26.1, SUPPLIER shall in particular comply with:

3.27.2.1 all laws relating to Security, Safety, Occupational Health and Environment;

3.27.2.2 CITY POWER’S SAFETY AND HEALTH REQUIREMENTS i.e.

1. CITY POWER maintains high standards with respect to Safety and Health.

2. SUPPLIER may enter areas which may be hazardous.

3. In order to maintain Safety Standards, SUPPLIER shall at all times fully comply with the provisions of the provisions of the Occupational Health and Safety Act 85 of 1993, as amended and all regulations published therewith.

4. No delivery SUPPLIER may enter the premises without a guide.

5. All hazardous materials must be delivered with Safety Data Sheets.

- If any delivery must take place after hours, the standby person of the Plant or Standby from Procurement and Supply Management must guide the truck to the correct place.

- After the delivery has been completed it is the responsibility of the guide to ensure that the truck is guided out to the Secondary area.

3.27.2.3 The latest revision of all CITY POWER's rules and in particular those relating to Security, Safety, Occupational Health and Environment which SUPPLIER admits it is fully acquainted with,

3.27.2.4 The successful bidder would be required to submit a signed written agreement with CITY POWER on occupational health and safety regulations in accordance with the provision of Section 37 (2) of the Occupational Health and Safety Act 85 of 1993.

3.27.3 SUPPLIER must acquaint itself with CITY POWER’s Procurement Policy that is available on request.

3.28 NON-EXCLUSIVITY

CITY POWER shall not in any way be precluded from contracting with any other party the supply of the GOODS AND SERVICES during performance of or after expiration of this agreement.

3.29 CONFLICT OF LAWS

The provision of this CONTRACT shall be governed by South African Law and the parties agree to the inclusive jurisdiction of South African courts.

3.30 PENALTY CLAUSE

3.30.1   CITY POWER may deduct from the Contract Price of the GOODS AND SERVICES concerned an amount equal to 0.5% of outstanding purchase order value for each day beyond the specified delivery time.

    - In the event that the supplier fails to perform and the penalty clause is imposed for a period of more than four

weeks, CITY POWER shall terminate the agreement with immediate effect. The SUPPLIER shall not be entitled to claim for damages or for outstanding amount after the aforesaid termination.

    - CITY POWER may in its sole and absolute discretion, obtain the GOODS AND SERVICES from other suppliers and provided that the failure to perform is not attributable to any of the circumstances set out in the vis major or casus fortuitous clause, CITY POWER may recover from SUPPLIER any amount by which the price so paid exceeds of the Contract Price of the GOODS AND SERVICES concerned. The cost to CITY POWER if any of collection of GOODS AND SERVICES shall be taken into account in determining the amount of any such excess.

PART 4: RETURNABLE DOCUMENTS

4.1 RETURNABLE DOCUMENTS REQUIRED FOR TENDER EVALUATION PURPOSES

- Municipal Rates and Taxes (Not in arrears for more than 90 days)v or lease Agreement

- SHERQ Regulations

- Invitation to Bid ( MDB 1)

- Signed Declaration of Interest Form ( MBD 4 )

- Signed Declaration for Procurement above R10 000 000 ( MBD 5 )

- Preference Claim Form ( MBD 6.1 )

- Signed Declaration Certificate for Local Content ( MDB 6.2 )

- Signed Declaration for Purchase of Goods (MBD 7.1)

- Signed Declaration of Bidder’s past SCM practices ( MBD 8 )

- Certificate of Independent Proposal Bid Determination ( MBD 9 )

- Valid Tax Clearance Certificate or SARS Pin

- Financial Statements for the past three years

- Proof of Central Supplier Database  (CSD) Registration Report/ MAAA Supplier Number

- A valid  certified copy of B-BBEE certificate/sworn affidavit (Please note that the Sworn Affidavit must    be compliant as per BBBEE Practice Guide 01 of 2018.

4.2. OTHER DOCUMENTS REQUIRED FOR TENDER EVALUATION PURPOSES

- Electricity, water and rates statement ( latest ) indicating the firm’s good standing with the municipality that the bidders head office is located and it must not be in arrears for more than 90 days

- Audited annual financial statements for the past three years or since the company’s establishment if established during the past three years, the bidder is required by law to prepare annual financial statements for auditing

- Particulars of any contracts awarded to the bidder by an organ of state during the past five years including particulars of any material non-compliance or dispute concerning the execution of such contract.

- Delivery/lead times

- Company profile

- CIDB Registration particulars ( CIDB Registration number ) where applicable

- List of references

4.3. OTHER DOCUMENTS THAT WILL BE INCORPORATED INTO THE CONTRACT

- Offer

- Form of Form ( MBD 3.1)

- Signed contract ( MBD 7.1)

- Suppliers signed bid document

AGREEMENT ON OCCUPATIONAL HEALTH AND SAFETY AND REGULATIONS REGARDING MANDATARIES

- Background

The Occupational Health and Safety Act 85 of 1993 (OHS Act) (Republic of South Africa) schedules comprehensive requirements for employers such as contractors.  The Construction Regulations lay down requirements with respect to clients and designers.

Clients shall, inter alia:

- prepare Health & Safety specification for the construction work

- appoint full-time competent employees in writing

- perform Risk Assessments

- develop a Health and Safety Plan

- train and involve employees on matters pertaining to Health and Safety

- Purpose

To determine the procedure necessary for the implementation and management of

all construction projects to be undertaken.

- Objectives

- To comply with the provisions of OHS Act section 37(2) in implementing and maintaining an effective control system with regard to managing contractors within city power premises.

- implement and maintain an effective management system for each construction project

- minimize and or mitigate risks and hazards associated with construction activities

- develop a cost-effective program for both the contractor and principal contractor

- References

- Occupational Health &, Safety Act 85 of 1993 (Construction Regulations)

- Compensation for Injuries and Diseases Act 130 of 1993

- Integrated ISO Management System

- SANS 16001:2013 (Wellness and Diseases Management System)

- Basic Conditions of Employment Act,1983 (Act 3 of 1983)

- King III Code of Conduct

CITY POWER JHB (SOC) LTD

WRITTEN AGREEMENT ON OCCUPATIONAL

HEALTH AND SAFETY AND REGULATIONS

In accordance with the provision of Section 37 (2) of the

Occupational Health and Safety Act 85 of 1993

AS ENTERED INTO BY AND BETWEEN

City Power of Johannesburg (SOC) Ltd

(Hereinafter referred to as “the Employer”)

AND

COMPANY

(Hereinafter referred to as “the Mandatory”)

WORKMAN`S COMPENSATION FUND NUMBER

CONTRACT/ORDER NO.

PART “A”

GENERAL RULES FOR PROMOTING THE HEALTH, SAFETY AND DISCIPLINE OF CONTRACTORS

1. DEFINITIONS

In these rules, unless inconsistent with the context, the following words of expression shall be

interpreted to have the following meaning:

1.1 Act

The Occupational Health and Safety Act 85 of 1993

1.2 City Power

City Power Johannesburg (SOC) Ltd

1.3 City Power controlled area

The City Power Loss Control department controls entry to the area of City Power works in Johannesburg including all the areas within the works perimeter security fence.

1.4 City Power premises

The whole of City Power control area, together with all other buildings, land, etc. which are owned, rented or leased by City Power or which in any other way fall under the authority of City Power in Johannesburg area.

1.5 Risk area

An area with a probability that a hazard can result in injury to persons or damage

1.6 Competent person

A person who complies with the definition in the regulations of the Act.

1.7 Authorized person

A competent person employed, appointed and authorized by City Power to perform a specific task, operation or duty.

1.8 City Power authorized person

The authorized City Power official appointed to represent City Power in all matters relating to a particular contractor, sub-contractor or contract works. For matters concerning construction and erection work on City Power premises, City Power`s authorized representative shall be either:

a. the area manager, team leader, maintenance manager or his/her nominated representative; or

b. the manager concerned , or his/her nominated representative as indicated to the Contractor in writing at the time of, or subsequent to, the placing of the contract or order, or as indicated to the Contractor`s head representative in writing at the time of or subsequent to, his/her appointment.

1.9 Contractor

Any company, business, firm or individual who has a contract or agreement with or an order from City Power to carry out work or to perform any task or operation for City Power to carry out work or to perform any task or operation for City Power or on City Power premises.

Where appropriate to the context, the word contractor shall be understood to include sub-contractor.

1.10 Sub-contractor

Any company, business, firm or partnership or individual who has a contract or agreement with or an order from a contractor to carry out work or to perform any task or operation for the contractor to carry out work or to perform any task or operation for the contractor or on City Power premises.

1.11 Contract Works

The materials, plant and equipment to be supplied, work to be done and tasks and operations to be performed under terms of a contractor`s contractor order from agreement with City Power or a sub-contractor`s contract or order from or agreement with a contractor.

1.12 Contractor`s head representative

The competent person appointed as a Managing Director, in terms of the Act and as the contractor`s head representative and responsible person for the contract works.

1.13 Contractor`s employees

Includes any of the following:

a. any person employed by the contractor or a sub-contractor, including the contractor’s head representative.

b. any person, other than an employee of City Power, who carries out work or performs any task on City Power premises for or on behalf of the contractor or any sub-contractor.

c. any principal, partner, shareholder, director, consultant, executive, manager, staff member or employee of the contractor or any sub-contractor any contractor’s employee, for any reason whatsoever.

1.14 	Site or construction site

Includes the following:

a. the buildings, ground or any other place on City Power premises, in which or over or under which the contract works are to be executed.

b. any off-loading, stacking or storage areas, yards, workshops, offices, permanent or temporary buildings or other areas erected by, occupied by or allocated to the contractor or sub-contractor for the purpose of carrying out any contract works.

  - Regulation

Refers to any rule in these “General Rules” aimed at improving health, safety and discipline of contractors and/or sub-contractors.

1.16 	Rule

Refers to any rule in these “General Rules” aimed at improving health, safety and discipline of contractors and/or sub-contractors.

1.17 	Gender, singular and plural

Where consistent with the text, any word in these rules implying the masculine gender shall be interpreted as including the feminine gender and vice-versa.

Similarly, any word implying the singular shall be interpreted as including the plural and vice-versa.

2. APPLICABLE LEGISLATION

2.1       City Power premises (offices and depots) are defined as factory, in terms of the Act. Therefore, whilst contractors or sub-contractors or contractor`s employees are on City Power premises, they shall adhere strictly to the requirements of this Act and associated regulations.

2.2       In addition to City Power`s general conditions of contract and the requirements of the Act, these rules are issued in accordance with duties allocated to the Managing Director, as appointed in terms of the Act to draw attention to certain regulations and requirements of the said Act, together with other requirements necessary for safety, health and proper discipline on City Power premises.

2.3       Apart from the Act and Regulations and special instructions issued by the chief inspector, these rules and instructions may be amended, substituted or deleted by authorized City Power officials as and when circumstances and conditions require, in the interest of health and safety and in provision for proper discipline.

2.4      The contractor shall comply with the requirements of the OHS Act and other relevant statutes; Code of Practices; Policies; Standards and Guidelines and Protocols.

3. ENTERING AND WORKING IN RISK AREAS

3.1 	Medical Certificate of fitness

The contractor shall, in compliance with the Act, be responsible for the medical examination of his/her employees and shall provide City Power with written proof that medical examination of his/her employees engaged on the site has been done and that the necessary certificates of fitness have been obtained. These medical examinations shall be conducted before the employee will be allowed to commence working on City Power sites. The Wellness department (City Power) can conduct the examinations at a prescribed fee payable by the contractor.

3.2	Hazard Identification and Risk Assessment

Prior to contract work commencing on site, the contractor together with City Power project team shall conduct HIRA`s related to the specific task to be performed. A HIRA shall be completed before the start of commissioning.

3.3 	Safe Work Procedures

The contractor shall prepare written safe work procedures for all tasks to be performed.

3.4 	Safety Induction Course

All the contractor`s employees shall attend a safety induction course presented by City

Power before commencing work on site

3.4 	Protection Services (Loss Control)

City Power Loss Control is responsible for the security of and controls the movement of persons on City Power premises. In terms of the Control of Access to Public Premises and Vehicles Act, Act No 53 of 1985, security officers have the authority to arrest, search and question any person without a warrant.

It is expected that the contractor`s representative and all contractors employees will give

full co-operation to the security officers in the execution of their duties

PART “B”

AGREEMENT ON OCCUPATIONAL HEALTH AND SAFETY AND REGULATIONS REGARDINGMANDATARIES

1. 	General

The Mandatory and City Power are individual employers, each in its own right, with duties

and obligations prescribed by the Occupational Health and Safety Act 85 of 1993 and Regulations.

The Mandatory accepts, in terms of the general conditions of the contract and in terms of the Act, his/her obligations as an Employer in respect of all persons in his/her employ, other persons on the premises or on the site or place of work to be executed by him/her and under his/her control. S/He shall, before commencement with the execution of the contract work, comply with the procedures stipulated in the Act, and shall implement and maintain a Health and Safety Policy and Programme on the Site and Work for the duration of the contract.

City Power accepts, in terms of the Act, its obligations as an employer of its own employees working on or associated with the site or place of work, and the Mandatory and his/her responsible person shall at all times, co-operate in respect of the health and safety management of the site, and shall agree on the practical arrangements and procedures to be implemented and maintained during execution of work.

2. 	Special Permits

Where special permits are required before work may be carried out such as for work, isolation permits, work permits and occupations, the Mandatory shall apply to City Power Representative or the relevant external Authority for such permit to be issued. The Mandatory shall comply with the conditions and requirements pertaining to the issue of such permits.

3. 	Health and Safety Programme

The Mandatory shall, with his/her tender, submit a Health and Safety Programme setting out the practical arrangements and procedures to be implemented by him/her to ensure compliance by him/her with the Act and Regulations and particularly in respect of :-

(i) the provision, as far as is reasonably practical, of a working environment that is safe and without risk to the health and safety of his/her employees and sub-contractors in terms of section 8 of the OHS Act.

(ii) the execution of the contract work in such a manner as to ensure in terms of section 9 of the OHS Act that persons other than those in the Mandatory`s employment, who may be directly affected by the contract work are not thereby exposed to hazards to their health and safety.

(iii) ensuring, as far as is reasonably practical, in terms of section 37 of the OHS Act that no employee or sub-contractor of the Mandatory does or omits to do any act which could be an offence for the Mandatory to do or omit to do.

3.2 	The Mandatory`s Health and Safety Programme shall be based on a Risk Analysis in respect of the hazards to health and safety of his/her employees and other persons under his/her control, that are associated with or directly affected by the Mandatory`s activities in performing the contract work and shall establish precautionary measures as are reasonable and practical in protecting the safety and health of such employees

and persons.

3.2.1 The Health and Safety Programme shall include full particulars in respect of:

3.2.1.1 	Reporting

The Mandatory and/or his designated person appointed in terms of Section 16(2) of the Occupational Health and Safety Act 85 of 1993 (OHS Act) shall report to the Regional Manager and/or representative designated by the Employer prior to commencing the work at the premises.

3.2.1.2 	Compliance

- In terms of this agreement the Mandatory warrants that s/he agrees tithe arrangements and procedures as prescribed by City Power and as provided for in terms of Section 37 (2) of OHS Act for the purposes of compliance thereto.

- The Mandatory acknowledges that this agreement constitutes an agreement in terms of Section 37 (2) of OHS Act, whereby all responsibility for health and safety matters relating to the work that the Mandatory and his employees are to perform on the premises shall bathe obligation of the Mandatory.

- The Mandatory further warrants that he and/or his employees undertake to maintain such compliance with the OHS Act. Without derogating from the generality of the above, or from the provisions of the said agreement, the Mandatory shall ensure that the clauses as hereunder described are at all times adhered to by him or her

- The Mandatory hereby undertakes to unsure that the health and safety of any other person on the premises is not endangered by the conduct and/or activities of all his employees while they are on the premises of City Power

- City Power may terminate this agreement with immediate effect on written notice to the contractor in the event that the mandatary fails to comply with the signed agreement. This may further lead to liquidation, judgement etc.

3.2.1.3 	Mandatory

The Mandatory shall be deemed to be an employer in his own right while on the premises of City Power. In terms of Section 16 (1) of the OHS Act, the Mandatory shall accordingly ensure that the requirements of the OHS Act are complied with by himself and/or his nominated Managing Director.

3.2.1.4		Appointments and training

The Mandatory shall appoint competent persons as per Section 16 (2) of the OHS Act. Any such appointed person shall be trained on any occupational health and safety matter and the OHS Act provisions pertinent to the work that is to be performed under his responsibility. Copies of any appointments made by the Mandatory shall immediately be provided to the Safety, Health and Environmental Risk (SHEQ) Manager`s office.

The Mandatory shall further ensure that all his/her employees are trained on the health and safety aspects relating to the work and that they understand the hazards associated with such work being carried out on the premises. Without derogating from the afore going, the Mandatory shall, in particular, ensure that all his/her users or operators of any materials, machinery or equipment are properly trained in the use of such materials, machinery or equipment.

Notwithstanding the provision of the above, the Mandatory shall ensure that the appointed responsible persons and his employees are at all times familiar with the provisions of the OHS Act, and that they comply with the provisions thereof.

3.2.1.5		Supervision, disciplinary and reporting

The Mandatory shall ensure that all work performed on City Power premises are done under strict supervision and that no unsafe or unhealthy work practices are permitted. Discipline regarding health and safety matters shall be strictly enforced against any of his/her employees regarding non-compliance by such employee with any health and safety matters.

The Mandatory shall further ensure that his/her employees report to him/her all unsafe or unhealthy work situations immediately after they become aware of the same and that he/she in turn immediately reports these to City Power representative.

3.2.1.6 	Access to the OHS Act

The Mandatory shall ensure that he/she has an updated copy of the OHS Act on site at all times and that this is accessible to his/her appointed responsible persons and employees, save that the parties may make arrangements for the Mandatory and his/her appointed responsible persons and employees to have access to the Employer’s updated copy/copies of the Act.

3.2.1.7 	Co-operation

The Mandatory and/or his/her responsible persons and employees shall provide full co-operation and information if and when City Power or a representative inquiries into occupational health and safety issues concerning the Mandatory. It is hereby recorded that City Power or a representative shall at all times be entitled to make such inquiry.

Without derogating from the generality of the above, the Mandatory and his/her responsible person/s shall make available to City Power or a representative/s, on request, all and any checklists and inspection register/s required to be kept by him/her in respect of any of his/her materials, machinery or equipment.

3.2.1.8 	Work procedures

The Mandatory shall be entitled to utilize the procedures, guidelines and other documentation as used by City Power for the purposes of ensuring a healthy and safe working environment. The Mandatory shall then ensure that his/her responsible persons and employees are familiar with and utilize the documents.

The Mandatory shall implement safe work practices as prescribed by City Power and shall ensure that his/her responsible persons and employees are made conversant with and adhere to such Safe Work Practices.

The Mandatary shall ensure that work for which a permit is required by the Employer is not performed by his employees prior to the obtaining of such a permit.

3.2.1.9 	Health and safety meetings

If required in terms of the OHS Act, the Mandatory shall establish his/her own health and safety committee(s) and ensure that his/her employees, being the committee members, hold health and safety meetings as often as may be required and at least once every three (3) months. City Power may elect to permit the Mandatory’s health and safety representatives to attend City Power`s health and safety committee meetings.

3.2.1.10 	Compensation registration

The Mandatory shall ensure that he/she has a valid registration with the Compensation Commissioner, as required in terms of the Compensation for Occupational Injuries and Diseases Act 130 of 1993 (COID Act), and that all payments owing to the Commissioner are discharged.

The Mandatory shall further ensure that the cover shall remain in force while any such employee is present on the premises

3.2.1.11 	Medical Examinations

The Mandatory shall ensure that all his/her employees undergo routine medical examinations and that they are medically fit for the purposes of the work they are to perform.

3.2.1.12 	Incident Reporting and Investigation

All incidents referred to in Section 24 of the OHS Act shall be reported by the Mandatory to the Department of Labour and to City Power. City Power shall further be provided with copies of any written documentation relating to any incident.

City Power retains an interest in the reporting of any incident as described above as well as in any formal investigation and/or inquiry conducted in terms of Section 32 of the OHS Act into such incident.

3.2.1.13 	Subcontractors

The Mandatory shall notify City Power or a representative of any subcontractor he/she may wish to perform work on the Employer’s premises. It is hereby recorded that all the terms and provisions contained in this clause shall be equally binding upon the subcontractor commencing with the work.

Without derogating from the generality of this paragraph:

[a] The Mandatory shall ensure that training as discussed under Appointments and training, is provided prior to the subcontractor commencing work on City Power premises.

[b] The Mandatory shall ensure that work performed by the subcontractor is done under strict supervision and discipline, as described under the section Supervision, discipline and reporting.

[c] The Mandatory shall inform the Employer of any health and safety hazard and/or issue that the subcontractor may have brought to his attention.

[d] The Mandatory shall inform City Power or a representative of any difficulty encountered regarding compliance by the subcontractor with any health and safety instruction, procedure and/or legal provision applicable to the work the subcontractor performs on City Power premises.

3.2.1.14 	Security and Access

The Mandatory and his/her employees shall enter and leave the premises only through the main gate(s) and/or checkpoint(s) designated by City Power. The Mandatory shall ensure that employees observe the security rules of City Power at all times and shall not permit any person who is not directly associated with the work from entering the premises.

The Mandatory and his/her employees shall not enter any area of the premises that is not directly associated with the work.

The Mandatory shall ensure that all materials, machinery or equipment brought by him/her onto the premises are recorded at the main gate(s) and/or checkpoint(s). A failure to do this may result in a refusal by the Employer to allow the materials, machinery or equipment to be removed from the premises.

3.2.1.15 	Fire Precautions and Facilities

The Mandatory shall ensure that an adequate supply of fire-protection and first-aid facilities are provided for the work to be performed on the Employer’s premises, save that the parties may mutually make arrangements for the provision of such facilities.

The Mandatory shall further ensure that all his/her employees are familiar with fire precautions at the premises, which include fire-alarm signals and emergency exits, and that such precautions are adhered to.

3.2.1.16 	Hygiene and Cleanliness

The Mandatory shall ensure that the work site and surrounding area is at all times maintained to a reasonably practicable level of hygiene and cleanliness. In this regard, no loose materials shall be left lying about unnecessarily and the work site shall be cleared of waste material regularly and on completion of the work.

3.2.1.17 	Nuisance

The Mandatory shall ensure that neither he nor his employees undertake any activity that may cause environmental impairment or constitute any form of nuisance to the Employer and/or his surroundings.

The Mandatory shall ensure that no hindrance, hazard, annoyance or inconvenience is inflicted on the Employer, another Mandatory or any tenants. Where such situations are unavoidable, the Mandatory shall

give prior notice to the Employer.

3.2.1.18	Intoxication

No intoxicating substance of any form shall be allowed on site. Any person suspected of being intoxicated shall not be allowed on the site. Any person required to take medication shall notify the relevant responsible person thereof, as well as the potential side effects of the medication.

3.2.1.19 	Personal Protective Equipment

NB: Non-conformance to the PPE Policy and any instruction regarding the use of PPE is regarded as a serious and dismissible misconduct.

The Mandatory shall ensure that his responsible persons and employees are provided with adequate personal protective equipment (PPE) for the work they may perform and in accordance with the requirements of General Safety Regulation 2(1) of the OHS Act, Construction Regulation Sec.4 )e) & (h) and the approved City Power PPE Policy. The Mandatory shall further ensure that his responsible persons and employees wear the PPE issued to them all material times.

The Mandatory shall supply his/her employees with the necessary safety clothing and equipment as required by the areas worked in, which includes amongst others:

o Hard hats

o Safety shoes

o Eye protection

o Respirators

o Safety gloves

o Hearing protection

o Overalls (fire/acid resistant)

o Safety harness and any other appropriate PPE relevant to the scope of the activity.

The Mandatory shall ensure that the equipment is maintained in a good condition. In the event of the Mandatary committing a breach of this agreement and failing to remedy such breach within seven (07) days of receiving a Non-Conformance Notice from City Power to remedy such breach, City Power shall be entitled to terminate the contract with immediate effect.

3.2.1.20 	Plant, Machinery and Equipment

The Mandatory shall ensure that all the plant, machinery, equipment and/or vehicles he may wish to utilize on the Employer’s premises is/are at all times of sound order and fit for the purpose for which they intended, and that it/they complies/comply, with the requirements of Section 10 of the OHS Act.

In accordance with provisions of Section 10(4) of the OHS Act, the Mandatory hereby assumes the liability for taking the necessary steps to ensure that any article or substance that it erects or installs at the premises, or manufactures, sells or supplies to or for the Employer, complies with all the prescribed requirements and will be safe and without risks to health and safety when properly used.

3.2.1.21 	Usage of the Employer’s Equipment

The Mandatory hereby acknowledges that his employees shall not be permitted to use any materials, machinery or equipment of the Employer unless the prior written consent of the Employer has been obtained, in which case the Mandatory shall ensure that only those persons authorized to make use of same, have access thereto.

3.2.1.22 	Transport

The Mandatory shall ensure that all road vehicles used on the premises are in a roadworthy condition and are licensed and insured. All drivers shall have relevant and valid driving licenses and no vehicle shall carry passengers unless it is specifically designated to do so. All drivers shall adhere to the speed limits and road signs on the premises at all time.

In the event that any hazardous substances are to be transported on premises, the Mandatory shall ensure that the requirements of then Regulations for Hazardous Chemical Substances (OHS Act 85 of 1993) are complied with at all times.

3.2.1.23 	Clarification

In the event that the Mandatory requires clarification of any of the terms of provisions of this agreement, he should contact the Safety Health and Environmental Risk Department.

3.2.1.24 	Duration of Agreement

This agreement shall remain in force for the duration of the work to be performed by the Mandatory and/or while any of the Mandatory’s workmen are present on the Employer’s premises.

3.2.1.25 	Headings

The headings as contained in this agreement are for reference purposes only and shall not be construed as having any interpretative value in themselves or as giving any indication as to the meaning of the contents of the paragraphs contained in this agreement.

In the event of the Mandatary committing a breach of this agreement City Power shall be entitled to suspend and or terminate the Contract with immediate effect as per 11.2.1.2 (v)(Compliance).

Signatories

Thus done and signed at _______________________________________ on ________________________

________________________________________

for and on behalf of the Employer

_______________________________________

for and on behalf of the Mandatory

Witnesses:

- _______________________________________

- _______________________________________

INDEMNITY CLAUSE

I/We the undersigned do hereby indemnify and hold harmless City Power Johannesburg (Pty) Ltd in respect of all loss, damage or injury that may be caused to any premises or to any person or animal by reason of the performance of this contract.

I/We, further indemnify City Power Johannesburg (Pty) Ltd in respect of all legal and other expenses that may be incurred by City Power Johannesburg in examining, resisting or settling any claims which may be made by the third party in respect of any damage, injury or less that may in any way be occasioned by work necessary in terms of the contract.

BUSINESS NAME AND ADDRESS

____________________________________

____________________________________

____________________________________

____________________________________

NAME OF PERSON AUTHORISED

TO SIGN THIS BID			             ____________________________________________

(Block Letters)

SIGNATURE					____________________________________________

WITNESSES  (Block Letters)

(1)	___________________________

(2)	___________________________

Telephone	_____________________

Facsimile	_____________________

MBD 4

DECLARATION OF INTEREST

1.	No bid will be accepted from persons in the service of the state¹.

- Any person, having a kinship with persons in the service of the state, including a blood relationship, may make an offer or offers in terms of this invitation to bid.  In view of possible allegations of favouritism, should the resulting bid, or part thereof, be awarded to persons connected with or related to persons in service of the state, it is required that the bidder or their authorised representative declare their position in relation to the evaluating/adjudicating authority.

3	. In order to give effect to the above, the following questionnaire must be completed and submitted with the bid.

3.1  Full Name of bidder or his or her representative:……………………………………………..

3.2 Identity Number: ………………………………………………………………………….

3.3  Position occupied in the Company (director, trustee, shareholder²)

:………………………..

3.4  Company Registration Number: ………………………………………………………….

3.5  Tax Reference number……………………………………………………………………

3.6  VAT Registration Number:  …………………………………………………………

3.7  The names of all directors / trustees / shareholders members, their individual identity

numbers and state employee numbers must be indicated in paragraph 4 below.

3.8   Are you presently in the service of the state?                                             YES / NO

3.8.1 If yes, furnish particulars.

………………………………………………………………………………………

¹MSCM Regulations: “in the service of the state” means to be –

- a member of –

  - any municipal council;

  - any provincial legislature; or

  - the national Assembly or the national Council of provinces;

- a member of the board of directors of any municipal entity;

- an official of any municipality or municipal entity;

- an employee of any national or provincial department, national or provincial public entity or constitutional institution within the meaning of the Public Finance Management Act, 1999 (Act No.1 of 1999);

- a member of the accounting authority of any national or provincial public entity; or

- an employee of Parliament or a provincial legislature.

² Shareholder” means a person who owns shares in the company and is actively involved in the management of the company or business and exercises control over the company.

3.9     Have you been in the service of the state for the past twelve months?    YES / NO

3.9.1If yes, furnish particulars.

………………………...……………………………………..

………………………………………………………………

3.10   Do you have any relationship (family, friend, other) with persons

in the service of the state and who may be involved with

the evaluation and or adjudication of this bid? ……………………………YES / NO

3.10.1  If yes, furnish particulars.

………………………………………………………………………………

……………………………………………………………………………

3.11   Are you, aware of any relationship (family, friend, other) between

any other bidder and any persons in the service of the state who

may be involved with the evaluation and or adjudication of this bid?       YES / NO

3.11.1  If yes, furnish particulars

…………………………………………………………………………………

……………………………….……............................................................

3.12   Are any of the company’s directors, trustees, managers,

principle shareholders or stakeholders in service of the state?               YES / NO

3.12.1  If yes, furnish particulars.

……………………………………………………………………………….

……………………………………………………………………………….

3.13   Are any spouse, child or parent of the company’s directors

trustees, managers, principle shareholders or stakeholders

in service of the state?                                                                                YES / NO

3.13.1  If yes, furnish particulars.

……………………………………………………………………………….

……………………………………………………………………………….

3.14   Do you or any of the directors, trustees, managers,

principle shareholders, or stakeholders of this company

have any interest in any other related companies or

business whether or not they are bidding for this contract.                     YES / NO

3.14.1  If yes, furnish particulars:

……………………………………………………………………………..

……………………………………………………………………………..

4.	Full details of directors / trustees / members / shareholders.

| Full Name | Identity Number | State Employee Number |
| --- | --- | --- |

…………………………………..	                          ……………………………………..

Signature                                                                    Date

………………………………….	                        ………………………………………

Capacity                                                               Name of Bidder

MBD5

DECLARATION FOR PROCUREMENT ABOVE R10 MILLION (ALL APPLICABLE TAXES INCLUDED)

For all procurement expected to exceed R10 million (all applicable taxes included), bidders must complete the following questionnaire:

1	Are you by law required to prepare annual financial statements for auditing?

1.1	If yes, submit audited annual financial statements for the past three years or since the date of establishment if established during the past three years.

………………………………………………………………

………………………………………………………………

2	Do you have any outstanding undisputed commitments for municipal services towards any municipality for more than three months or any other service provider in respect of which payment is overdue for more than 30 days?

2.1	If no, this serves to certify that the bidder has no undisputed commitments for municipal services towards any municipality for more than three months or other service provider in respect of which payment is overdue for more than 30 days.

  - If yes, provide particulars.  *YES / NO

………………………………………………………………

……………………………………………………………….

……………………………………………………………….

……………………………………………………………..

3	Has any contract been awarded to you by an organ of state during the past five years, including particulars of any material non-compliance or dispute concerning the execution of such contract?

  - If yes, provide particulars.  *YES / NO

## …………………………………………………

# …………………………………………………

- Will any portion of goods or services be sourced from outside    the Republic, and, if so, what portion and whether any portion of payment from municipality / municipal entity is expected to be transferred out of the Republic?

  - If yes, provide particulars.  *YES / NO

……………………………………………………..

……………………………………………………..

# CERTIFICATION

I, THE UNDERSIGNED (NAME)     ………………………………………………………………………

CERTIFY THAT THE INFORMATION FURNISHED ON THIS DECLARATION FORM IS CORRECT.

I ACCEPT THAT THE STATE MAY ACT AGAINST ME SHOULD THIS DECLARATION PROVE TO BE FALSE.

…………………………………..	……………………………………..

Signature	Date

……………………….................	…………………………………….

Position 	        Name of Bidder

# MBD 6.1

PREFERENCE POINTS CLAIM FORM IN TERMS OF THE PREFERENTIAL PROCUREMENT REGULATIONS 2017

This preference form must form part of all bids invited.  It contains general information and serves as a claim form for preference points for Broad-Based Black Economic Empowerment (B-BBEE) Status Level of Contribution

NB:	BEFORE COMPLETING THIS FORM, BIDDERS MUST STUDY THE GENERAL CONDITIONS, DEFINITIONS AND DIRECTIVES APPLICABLE IN RESPECT OF B-BBEE, AS PRESCRIBED IN THE PREFERENTIAL PROCUREMENT REGULATIONS, 2017.

- GENERAL CONDITIONS

  - The following preference point systems are applicable to all bids:

- the 80/20 system for requirements with a Rand value of up to R50 000 000 (all applicable taxes included); and

- the 90/10 system for requirements with a Rand value above R50 000 000 (all applicable taxes included).

a) The value of this bid is estimated to exceed/not exceed R50 000 000 (all applicable taxes included) and therefore the………….. preference point system shall be applicable; or

b) Either the 80/20 or 90/10 preference point system will be applicable to this tender (delete whichever is not applicable for this tender).

  - Points for this bid shall be awarded for:

- Price; and

- B-BBEE Status Level of Contributor.

  - The maximum points for this bid are allocated as follows:

|  | POINTS |
| --- | --- |
| PRICE |  |
| B-BBEE STATUS LEVEL OF CONTRIBUTOR |  |
| Total points for Price and B-BBEE must not exceed | 100 |

  - Failure on the part of a bidder to submit proof of B-BBEE Status level of contributor together with the bid, will be interpreted to mean that preference points for B-BBEE status level of contribution are not claimed.

  - The purchaser reserves the right to require of a bidder, either before a bid is adjudicated or at any time subsequently, to substantiate any claim in regard to preferences, in any manner required by the purchaser.

- DEFINITIONS

- “B-BBEE” means broad-based black economic empowerment as defined in section 1 of the Broad-Based Black Economic Empowerment Act;

- “B-BBEE status level of contributor” means the B-BBEE status of an entity in terms of a code of good practice on black economic empowerment, issued in terms of section 9(1) of the Broad-Based Black Economic Empowerment Act;

- “bid” means a written offer in a prescribed or stipulated form in response to an invitation by an organ of state for the provision of goods or services, through price quotations, advertised competitive bidding processes or proposals;

- “Broad-Based Black Economic Empowerment Act” means the Broad-Based Black Economic Empowerment Act, 2003 (Act No. 53 of 2003);

- “EME” means an Exempted Micro Enterprise in terms of a code of good practice  on black economic empowerment issued in terms of section 9 (1) of the Broad-Based Black Economic Empowerment Act;

- “functionality” means the ability of a tenderer to provide goods or services in accordance with specifications as set out in the tender documents.

- “prices” includes all applicable taxes less all unconditional discounts;

- “proof of B-BBEE status level of contributor” means:

- B-BBEE Status level certificate issued by an authorized body or person;

- A sworn affidavit as prescribed by the B-BBEE Codes of Good Practice;

- Any other requirement prescribed in terms of the B-BBEE Act;

- “QSE” means a qualifying small business enterprise in terms of a code of good practice  on black economic empowerment issued in terms of section 9 (1) of the Broad-Based Black Economic Empowerment Act;

- “rand value” means the total estimated value of a contract in Rand, calculated at the time of bid invitation, and includes all applicable taxes;

- POINTS AWARDED FOR PRICE

  - THE 80/20 OR 90/10 PREFERENCE POINT SYSTEMS

A maximum of 80 or 90 points is allocated for price on the following basis:

# 80/20	or	90/10

or

Where

Ps	=	Points scored for price of bid under consideration

Pt	=	Price of bid under consideration

Pmin	=	Price of lowest acceptable bid

- POINTS AWARDED FOR B-BBEE STATUS LEVEL OF CONTRIBUTOR

  - In terms of Regulation 6 (2) and 7 (2) of the Preferential Procurement Regulations, preference points must be awarded to a bidder for attaining the B-BBEE status level of contribution in accordance with the table below:

| B-BBEE Status Level of Contributor | Number of points (90/10 system) | Number of points (80/20 system) |
| --- | --- | --- |
| 1 | 10 | 20 |
| 2 | 9 | 18 |
| 3 | 6 | 14 |
| 4 | 5 | 12 |
| 5 | 4 | 8 |
| 6 | 3 | 6 |
| 7 | 2 | 4 |
| 8 | 1 | 2 |
| Non-compliant contributor | 0 | 0 |

- BID DECLARATION

  - Bidders who claim points in respect of B-BBEE Status Level of Contribution must complete the following:

- B-BBEE STATUS LEVEL OF CONTRIBUTOR CLAIMED IN TERMS OF PARAGRAPHS 1.4 AND 4.1

  - B-BBEE Status Level of Contributor:	.      =     ………(maximum of 10 or 20 points)

(Points claimed in respect of paragraph 7.1 must be in accordance with the table reflected in paragraph 4.1 and must be substantiated by relevant proof of B-BBEE status level of contributor.

- SUB-CONTRACTING

  - Will any portion of the contract be sub-contracted?

(Tick applicable box)

| YES |  | NO |  |
| --- | --- | --- | --- |

    - If yes, indicate:

- What percentage of the contract will be subcontracted.......…………….…………%

- The name of the sub-contractor…………………………………………………..

- The B-BBEE status level of the sub-contractor....................................……………..

- Whether the sub-contractor is an EME or QSE

(Tick applicable box)

| YES |  | NO |  |
| --- | --- | --- | --- |

- Specify, by ticking the appropriate box, if subcontracting with an enterprise in terms of Preferential Procurement Regulations,2017:

| Designated Group: An EME or QSE which is at last 51% owned by: | EME √ | QSE √ |
| --- | --- | --- |
| Black people |  |  |
| Black people who are youth |  |  |
| Black people who are women |  |  |
| Black people with disabilities |  |  |
| Black people living in rural or underdeveloped areas or townships |  |  |
| Cooperative owned by black people |  |  |
| Black people who are military veterans |  |  |
| OR |  |  |
| Any EME |  |  |
| Any QSE |  |  |

- DECLARATION WITH REGARD TO COMPANY/FIRM

  - Name of company/firm:…………………………………………………………………….

  - VAT registration number:……………………………….…………………………………

  - Company registration number:……….……………………….…………………………….

  - TYPE OF COMPANY/ FIRM

Partnership/Joint Venture / Consortium

One person business/sole propriety

Close corporation

Company

(Pty) Limited

[Tick applicable box]

  - DESCRIBE PRINCIPAL BUSINESS ACTIVITIES

…………………………………………………………………………………………………………………………………………………………………………………………………………………………………

  - COMPANY CLASSIFICATION

Manufacturer

Supplier

Professional service provider

Other service providers, e.g. transporter, etc.

[Tick applicable box]

  - MUNICIPAL INFORMATION

Municipality where business is situated: …………………………………………….

Registered Account Number: ………………………….

Stand Number:……………………………………………….

  - Total number of years the company/firm has been in business:…………………………

  - I/we, the undersigned, who is / are duly authorised to do so on behalf of the company/firm, certify that the points claimed, based on the B-BBE status level of contributor indicated in paragraphs 1.4 and 6.1 of the foregoing certificate, qualifies the company/ firm for the preference(s) shown and I / we acknowledge that:

- The information furnished is true and correct;

- The preference points claimed are in accordance with the General Conditions as indicated in paragraph 1 of this form;

- In the event of a contract being awarded as a result of points claimed as shown in paragraphs 1.4 and 6.1, the contractor may be required to furnish documentary proof to the satisfaction of the purchaser that the claims are correct;

- If the B-BBEE status level of contributor has been claimed or obtained on a fraudulent basis or any of the conditions of contract have not been fulfilled, the purchaser may, in addition to any other remedy it may have –

  - disqualify the person from the bidding process;

  - recover costs, losses or damages it has incurred or suffered as a result of that person’s conduct;

  - cancel the contract and claim any damages which it has suffered as a result of having to make less favourable arrangements due to such cancellation;

  - recommend that the bidder or contractor, its shareholders and directors, or only the shareholders and directors who acted on a fraudulent basis, be restricted by the National Treasury from obtaining business from any organ of state for a period not exceeding 10 years, after the audi alteram partem (hear the other side) rule has been applied; and

  - forward the matter for criminal prosecution.

WITNESSES

- ……………………………………..

- …………………………………….

……………………………………….

SIGNATURE(S) OF BIDDERS(S)

DATE:		…………………………………..

ADDRESS	…………………………………..

…………………………………..

…………………………………..

MBD 6.2

DECLARATION CERTIFICATE FOR LOCAL PRODUCTION AND CONTENT

This Municipal Bidding Document (MBD) must form part of all bids invited. It contains general information and serves as a declaration form for local content (local production and local content are used interchangeably).

Before completing this declaration, bidders must study the General Conditions, Definitions, Directives applicable in respect of Local Content as prescribed in the Preferential Procurement Regulations, 2017,  the South African Bureau of Standards (SABS) approved technical specification number SATS 1286:2011 (Edition 1) and the Guidance on the Calculation of Local Content together with the Local Content Declaration Templates [Annex C (Local Content Declaration: Summary Schedule), D (Imported Content Declaration: Supporting Schedule to Annex C) and E (Local Content Declaration: Supporting Schedule to Annex C)].

- General Conditions

  - Preferential Procurement Regulations, 2017 (Regulation 8) make provision for the promotion of local production and content.

  - Regulation 8.(2) prescribes that in the case of designated sectors, organs of state must advertise such tenders with the specific bidding condition that only locally produced or manufactured goods, with a stipulated minimum threshold for local production and content will be considered.

  - Where necessary, for tenders referred to in paragraph 1.2 above, a two stage bidding process may be followed, where the first stage involves a minimum threshold for local production and content and the second stage price and B-BBEE.

  - A person awarded a contract in relation to a designated sector, may not sub-contract in such a manner that the local production and content of the overall value of the contract is reduced to below the stipulated minimum threshold.

  - The local content (LC) expressed as a percentage of the bid price must be calculated in accordance with the SABS approved technical specification number SATS 1286: 2011 as follows:

LC = [1 - x / y] * 100

Where

x 	is the imported content in Rand

y	is the bid price in Rand excluding value added tax (VAT)

Prices referred to in the determination of x must be converted to Rand (ZAR) by using the exchange rate published by South African Reserve Bank (SARB) on the date of advertisement of the bid as indicated in paragraph 3.1 below.

The SABS approved technical specification number SATS 1286:2011 is accessible on http:/www.thedti.gov.za/industrial development/ip.jsp at no cost.

  - A bid may be disqualified if this Declaration Certificate and the Annex C (Local Content Declaration: Summary Schedule) are not submitted as part of the bid documentation;

- The stipulated minimum threshold(s) for local production and content  for this bid is/are as follows:

Description of services, works or goods 	    Stipulated minimum threshold

| No | Description | Minimum threshold |
| --- | --- | --- |
|  | ARC RATED |  |
|  | Winter Jacket | 100% |
|  | Flash Suit | 100% |
|  | Flame Resistance Overalls | 100% |
|  | Flash Casual Wear Personal Clothing | 100% |
|  | rated insulating gloves | 100% |
|  | GENERAL PPE |  |
|  | Hand Protection | 0% |
|  | Face Protection | 100% |
|  | Hard Hats | 100% |
|  | Industrial Hearing Protection | 0% |
|  | Foot Wear Protection | 100% |
|  | Alkaline Battery | 0% |
|  | Lab PPE | 100% |
|  | Danger and Warning Signs | 0% |
|  | Danger Warning Tapes- | 0% |
|  | Barricading work in progress indication | 0% |
|  | Traffic Road Cones | 0% |
|  | GENERAL CLOTHING PPE |  |
|  | Reflective Vest 100% | 100% |
|  | Rain Suit 100% | 100% |
|  | Wellness PPE 100% | 100% |
|  | Security Uniform 100% | 100% |

NOTE: BIDDERS HAVE TO COMPLETE ANNEX C PER ITEM/COMMODITY BEFORE COMPLETING ANNEX D and E.

3.	Does any portion of the goods or services offered

have any imported content?

(Tick applicable box)

| YES |  | NO |  |
| --- | --- | --- | --- |

3.1	 If yes, the rate(s) of exchange to be used in this bid to calculate the local content as prescribed in paragraph 1.5 of the general conditions must be the rate(s) published by SARB for the specific currency on the date of advertisement of the bid.

The relevant rates of exchange information is accessible on www.reservebank.co.za

Indicate the rate(s) of exchange against the appropriate currency in the table below (refer to Annex A of SATS 1286:2011):

| Currency | Rates of exchange |
| --- | --- |
| US Dollar |  |
| Pound Sterling |  |
| Euro |  |
| Yen |  |
| Other |  |

NB: Bidders must submit proof of the SARB rate (s) of exchange used.

- Where, after the award of a bid, challenges are experienced in meeting the stipulated minimum  threshold for local content the DTI must be informed accordingly in order for the DTI to verify and in consultation with the AO/AA provide directives in this regard.

LOCAL CONTENT DECLARATION

(REFER TO ANNEX B OF SATS 1286:2011)

LOCAL CONTENT DECLARATION BY CHIEF FINANCIAL OFFICER OR OTHER LEGALLY RESPONSIBLE PERSON NOMINATED IN WRITING BY THE CHIEF EXECUTIVE OR SENIOR MEMBER/PERSON WITH MANAGEMENT RESPONSIBILITY (CLOSE CORPORATION, PARTNERSHIP OR INDIVIDUAL) IN RESPECT OF BID NO. ................................................................................. ISSUED BY: (Procurement Authority / Name of Institution): ......................................................................................................................... NB - The obligation to complete, duly sign and submit this declaration cannot be transferred to an external authorized representative, auditor or any other third party acting on behalf of the bidder. - Guidance on the Calculation of Local Content together with Local Content Declaration Templates (Annex C, D and E) is accessible on http://www.thedti.gov.za/industrial_development/ip.jsp. Bidders should first complete Declaration D. After completing Declaration D, bidders should complete Declaration E and then consolidate the information on Declaration C. Declaration C should be submitted with the bid documentation at the closing date and time of the bid in order to substantiate the declaration made in paragraph (c) below. Declarations D and E should be kept by the bidders for verification purposes for a period of at least 5 years. The successful bidder is required to continuously update Declarations C, D and E with the actual values for the duration of the contract. I, the undersigned, …………………………….................................................... (full names), do hereby declare, in my capacity as ……………………………………… ……….. of ...............................................................................................................(name of bidder entity), the following: - The facts contained herein are within my own personal knowledge. - I have satisfied myself that: - the goods/services/works to be delivered in terms of the above-specified bid comply with the minimum local content requirements as specified in the bid, and as measured in terms of SATS 1286:2011; and - The local content percentage (%) indicated below has been calculated using the formula given in clause 3 of SATS 1286:2011, the rates of exchange indicated in paragraph 3.1 above and the information contained in Declaration D and E which has been consolidated in Declaration C: Bid price, excluding VAT (y); R. Imported content (x), as calculated in terms of SATS 1286:2011; R. Stipulated minimum threshold for local content (paragraph 3 above). Local content %, as calculated in terms of SATS 1286:2011. If the bid is for more than one product, the local content percentages for each product contained in Declaration C shall be used instead of the table above. The local content percentages for each product has been calculated using the formula given in clause 3 of SATS 1286:2011, the rates of exchange indicated in paragraph 3.1 above and the information contained in Declaration D and E. - I accept that the Procurement Authority / Institution has the right to request that the local content be verified in terms of the requirements of SATS 1286:2011. - I understand that the awarding of the bid is dependent on the accuracy of the information furnished in this application. I also understand that the submission of incorrect data, or data that are not verifiable as described in SATS 1286:2011, may result in the Procurement Authority / Institution imposing any or all of the remedies as provided for in Regulation 14 of the Preferential Procurement Regulations, 2017 promulgated under the Preferential Policy Framework Act (PPPFA), 2000 (Act No. 5 of 2000). SIGNATURE: ________________________ WITNESS No. 1 DATE: ___________ WITNESS No. 2 DATE: ___________

MBD 8

# DECLARATION OF BIDDER’S PAST SUPPLY CHAIN MANAGEMENT PRACTICES

- This Municipal Bidding Document must form part of all bids invited.

- It serves as a declaration to be used by municipalities and municipal entities in ensuring that when goods and services are being procured, all reasonable steps are taken to combat the abuse of the supply chain management system.

- The bid of any bidder may be rejected if that bidder, or any of its directors have:

  - abused the municipality’s / municipal entity’s supply chain management system or committed any improper conduct in relation to such system;

  - been convicted for fraud or corruption during the past five years;

  - willfully neglected, reneged on or failed to comply with any government, municipal or other public sector contract during the past five years; or

  - been listed in the Register for Tender Defaulters in terms of section 29 of the Prevention and Combating of Corrupt Activities Act (No 12 of 2004).

- In order to give effect to the above, the following questionnaire must be completed and submitted with the bid.

| Item | Question | Yes | No |
| --- | --- | --- | --- |
| 4.1 | Is the bidder or any of its directors listed on the National Treasury’s Database of Restricted Suppliers as companies or persons prohibited from doing business with the public sector? (Companies or persons who are listed on this Database were informed in writing of this restriction by the Accounting Officer/Authority of the institution that imposed the restriction after the audi alteram partem rule was applied). The Database of Restricted Suppliers now resides on the National Treasury’s website(www.treasury.gov.za) and can be accessed by clicking on its link at the bottom of the home page. | Yes | No |
| 4.1.1 | If so, furnish particulars: |  |  |
| 4.2 | Is the bidder or any of its directors listed on the Register for Tender Defaulters in terms of section 29 of the Prevention and Combating of Corrupt Activities Act (No 12 of 2004)? The Register for Tender Defaulters can be accessed on the National Treasury’s website (www.treasury.gov.za) by clicking on its link at the bottom of the home page. | Yes | No |
| 4.2.1 | If so, furnish particulars: |  |  |
| 4.3 | Was the bidder or any of its directors convicted by a court of law (including a court of law outside the Republic of South Africa) for fraud or corruption during the past five years? | Yes | No |
| 4.3.1 | If so, furnish particulars: |  |  |
| Item | Question | Yes | No |
| 4.4 | Does the bidder or any of its directors owe any municipal rates and taxes or municipal charges to the municipality / municipal entity, or to any other municipality / municipal entity, that is in arrears for more than three months? | Yes | No |
| 4.4.1 | If so, furnish particulars: |  |  |
| 4.5 | Was any contract between the bidder and the municipality / municipal entity or any other organ of state terminated during the past five years on account of failure to perform on or comply with the contract? | Yes | No |
| 4.7.1 | If so, furnish particulars: |  |  |

CERTIFICATION

I, THE UNDERSIGNED (FULL NAME) …………..……………………………..……

CERTIFY THAT THE INFORMATION FURNISHED ON THIS

DECLARATION FORM TRUE AND CORRECT.

I ACCEPT THAT, IN ADDITION TO CANCELLATION OF A CONTRACT,

ACTION MAY BE TAKEN AGAINST ME SHOULD THIS DECLARATION

PROVE TO BE FALSE.

………………………………………...		…………………………..

Signature 			Date

……………………………………….		…………………………..

Position			Name of Bidder

MBD 9

CERTIFICATE OF INDEPENDENT BID DETERMINATION

1	This Municipal Bidding Document (MBD) must form part of all bids¹ invited.

2	Section 4 (1) (b) (iii) of the Competition Act No. 89 of 1998, as amended, prohibits an agreement between, or concerted practice by, firms, or a decision by an association of firms, if it is between parties in a horizontal relationship and if it involves collusive bidding (or bid rigging).² Collusive bidding is a pe se prohibition meaning that it cannot be justified under any grounds.

3	Municipal Supply Regulation 38 (1) prescribes that a supply chain management policy must provide measures for the combating of abuse of the supply chain management system, and must enable the accounting officer, among others, to:

a.	take all reasonable steps to prevent such abuse;

b.	reject the bid of any bidder if that bidder or any of its directors has abused the supply chain management system of the municipality or municipal entity or has committed any improper conduct in relation to such system; and

c.	cancel a contract awarded to a person if the person committed any corrupt or fraudulent act during the bidding process or the execution of the contract.

- This MBD serves as a certificate of declaration that would be used by institutions to ensure that, when bids are considered, reasonable steps are taken to prevent any form of bid-rigging.

- In order to give effect to the above, the attached Certificate of Bid Determination (MBD 9) must be completed and submitted with the bid:

¹ Includes price quotations, advertised competitive bids, limited bids and proposals.

² Bid rigging (or collusive bidding) occurs when businesses, that would otherwise be expected to compete, secretly conspire to raise prices or lower the quality of goods and / or services for purchasers who wish to acquire goods and / or services through a bidding process.  Bid rigging is, therefore, an agreement between competitors not to compete.

MBD 9

CERTIFICATE OF INDEPENDENT BID DETERMINATION

I, the undersigned, in submitting the accompanying bid:

________________________________________________________________________

(Bid Number and Description)

in response to the invitation for the bid made by:

______________________________________________________________________________

(Name of Municipality / Municipal Entity)

do hereby make the following statements that I certify to be true and complete in every respect:

I certify, on behalf of: _______________________________________________________that:

(Name of Bidder)

- I have read and I understand the contents of this Certificate;

- I understand that the accompanying bid will be disqualified if this Certificate is found not to be true and complete in every respect;

- I am authorized by the bidder to sign this Certificate, and to submit the accompanying bid, on behalf of the bidder;

- Each person whose signature appears on the accompanying bid has been authorized by the bidder to determine the terms of, and to sign, the bid, on behalf of the bidder;

- For the purposes of this Certificate and the accompanying bid, I understand that the word “competitor” shall include any individual or organization, other than the bidder, whether or not affiliated with the bidder, who:

(a) 	has been requested to submit a bid in response to this bid invitation;

(b) 	could potentially submit a bid in response to this bid invitation, based on their qualifications, abilities or experience; and

(c)	provides the same goods and services as the bidder and/or is in the same line of business as the bidder

- The bidder has arrived at the accompanying bid independently from, and without consultation, communication, agreement or arrangement with any competitor. However communication between partners in a joint venture or consortium³ will not be construed as collusive bidding.

- In particular, without limiting the generality of paragraphs 6 above, there has been no consultation, communication, agreement or arrangement with any competitor regarding:

- prices;

- geographical area where product or service will be rendered (market allocation)

(c) 	methods, factors or formulas used to calculate prices;

(d)	 the intention or decision to submit or not to submit, a bid;

(e)	 the submission of a bid which does not meet the specifications and conditions of the bid; or

(f)        bidding with the intention not to win the bid.

- In addition, there have been no consultations, communications, agreements or arrangements with any competitor regarding the quality, quantity, specifications and conditions or delivery particulars of the products or services to which this bid invitation relates.

- The terms of the accompanying bid have not been, and will not be, disclosed by the bidder, directly or indirectly, to any competitor, prior to the date and time of the official bid opening or of the awarding of the contract.

³ Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.

- I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to bids and contracts, bids that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No 89 of 1998 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act  No 12 of 2004 or any other applicable legislation.

…………………………………………………		…………………………………

Signature							Date

………………………………………………….		…………………………………

Position 							Name of Bidder

5.1 TECHNICAL EVALUATION CRITERIA

CATEGORY 1: EVALUATION CRITERIA 1 – ARC RATED WINTER JACKET CP_TSSPEC_191

| Bid no: 2324G : REQUEST FOR BIDS FOR SUPPLY & DELIVERY OF PERSONAL PROPECTIVE EQUIPMENT |  |  |
| --- | --- | --- |
| Mandatory requirements |  | Yes/No |
| 1. | Local content Annexure C and MBD6.2 to be completed in full, failure to complete the local Content and MBD 6.2 will result in your bid being non- responsive, ANNEXTURES C, D AND E |  |
| 2. | Technical schedules to be completed in full and signed as per schedule A, failure to complete the technical schedule as indicated will result in your bid being non- responsive |  |
| 3. | BOQs selected to be priced in full, failure to complete the BOQs in full will result in your bid being non – responsive. Distributors to provide a letter of agreement from the manufacturer, failure to provide the agreement from the manufacture will also result in the bid being considered non –responsive. |  |
| Stage 1 Evaluation: A minimum threshold of 75% must be achieved to proceed to the Stage 2 Evaluation Evaluation will be done on a relationship to the weighting on a scale of 0 to 10 |  |  |
| Technical Evaluation: |  | Weight |
| 1. | Type Test - Provide a signed type test report for ARC RATED WINTER JACKET from an accredited body - Provided a type test report = 10 point - Did not provide a type test report = 0 points Max score points = 10 points | 40 |
| 2. | ISO Requirements - Provide a valid ISO 9001 certificate from the manufacturer - Provided a valid ISO 9001 certificate from the manufacturer = 10 points - Did not provide a valid ISO 9001 certificate from the manufacturer =0 points Max score points = 10 points | 20 |
| 3. | LEAD TIME: - Lead time for delivery - 2-4 weeks = 10 points - 5-7 weeks =7.5 points - More than 7 weeks = 0 points Max score points = 10 points | 10 |
| 4. | EXPERIENCE - Provide reference letters, signed letterhead including contact details of a similar scope of works as per specification, also indicating contract period and value - Provided three (3) reference letters and more = 10 points - Provided two (2) reference letters = 7 points - Provided one (1) reference letter = 1 point - Did not provide reference letters = 0 point (No appointment letters, contracts and purchase orders from clients will be accepted as reference letters.) Max score=10 points | 15 |
|  | NOTE TO ALL BIDDERS: ONLY BIDDERS WHO MEET THE MINIMUM OF WEIGHTING OF 60 POINTS OF THE EVALUATION CRITERIA 1,2,3,4, WILL BE ELIGIBLE FOR SITE VERIFICATION |  |
| 5. | Site Verification - Manufacturing capacity = 3 points - Store/warehouse capacity = 3 points - ISO certification/s displayed/verification = 1 points - Samples/ on site sample verification = 3 points Note : Will look at the relationship between manufacturing capacity and storage capacity Note: City Power still reserve the right to request samples from the bidder to City Power premises Bidders will be required to make arrangements for site visit with their manufacturers for site visit purposes Max score=10 points | 15 |
|  | Total | 100 |
| Stage 2 Evaluation |  |  |
| PRICE |  | 80 |
| B-BBEE |  | 20 |

MAXIMUM OF (4) FOUR BIDDERS PER CRITERIA

|  |  |  | REFERENCE |  |  | REV |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TITLE |  | SPECIFICATION FOR ARC RATED WINTER JACKETS | CP_TSSPEC_191 |  |  | 1 |  |
|  |  |  | DATE: | OCTOBER 2018 |  |  |  |
|  |  |  | PAGE: | 1 | OF |  | 22 |

TABLE OF CONTENTS

Page

1.SCOPE	3

2.NORMATIVE REFERENCES	3

3.DEFINITIONS AND ABBREVIATIONS	3

4.BASIC REQUIREMENTS	3

5. TESTS	4

6.  MARKING AND PACKAGING	4

7. DOCUMENTATION	4

8. QUALITY MANAGEMENT	4

9. ENVIRONMENTAL MANAGEMENT	4

10. HEALTH AND SAFETY	5

ANNEX A - Bibliography	6

ANNEX B - Revision information	7

Annex C - Technical schedules A and B- SAP 11396	8

Annex C - Technical schedules A and B SAP 1983	10

Annex C - Technical schedules A and B SAP 1984	12

Annex C - Technical schedules A and B SAP 1985	14

Annex C - Technical schedules A and B SAP 1986	16

Annex C - Technical schedules A and B SAP 1987	18

Annex C - Technical schedules A and B SAP 1988	20

Annex D – Stock Items	22

# SCOPE

The purpose of this document is to prescribe the specification requirements for arc rated winter jackets required within City Power.

# NORMATIVE REFERENCES

The following documents contain provisions that, through reference in the text, constitute requirements of this specification.  At the time of publication, the editions indicated were valid.  All standards and specifications are subject to revision, and parties to agreements based on this specification are encouraged to investigate the possibility of applying the most recent editions of the documents listed below;

SANS 724	:	Personal protective equipment and protective clothing against the thermal hazards of an electric arc

SANS 434    :        General protective clothing

# DEFINITIONS AND ABBREVIATIONS

HRC	-	Hazard Risk Category

NFPA	-	National Fire Protection Agency

ATPV           -        Arc Thermal Performance Value

# BASIC REQUIREMENTS

4.1	This specifications calls for the supply of winter jackets for purposes of keeping electrical workers warm whilst not derogating from the minimum level of electrical arc flash protection provided at present.

4.2	Winter jackets are required for use over daily work wear.

4.3	Daily work wear consists of underwear (e.g. vests), innerwear (e.g shirt or t-shirt), HRC 3 jacket as per SANS 724.

4.4	The winter jackets shall be rated a HRC 3 as per NFPA 70E – 2012 standards.

4.5	The arc withstand performance of the fabric shall originate from the inherent characteristics of the fabric prior to any treatments.

4.6	Size designations shall be compliant to SANS 434 (latest edition)

4.7	The Garments shall provide provision for male cut.

4.8	The Garments shall provide provision for female cut.

4.9	The Garments shall have a stitched arc rated reflective tape in both arms.

4.10.	Garment shall be navy blue in colour with City of Johannesburg and City Power branding on upper left pocket of the jacket and the rear trousers pocket.

4.7	A sample of the jacket to be supplied shall be provided with the tender document.

4.8	The colour of the winter jacket must preferably be navy blue.

# 5. TESTS

5.1 Routine test

Visually examine each winter jacket for compliance with this specification.

5.2 Compulsory type tests

5.2.1	All tests as required by ASTM F1506 or IEC 61482-2

(Clearly indicate the Edition used for testing)

5.2.2.	Provision of arc test results (e.g. ASTM F1959, IEC 61482-1/2 or ASTM F2621) exclusively

without the provision of the requirements of 5.2.1 shall be considered non-conforming to this

specification

5.2.3	ASTM F2621 or IEC 61482-1 (Method B) (state Edition used). Where the requirements of 5.2.1

have been met, but this requirement not met, City Power may at its discretion allow a supplier

to perform this test before finalizing its decision.

# 6.  MARKING AND PACKAGING

6.1	All labels shall be permanently secured such that they, including the marking, will outlast the expected service life of the garment.

6.2	The following information shall be included as a minimum on the label secured to the garment:

a) The manufacturer’s name

b) The batch number and the year of manufacture;

c) The size designation;

d) The arc rating designation;

e) The expected service life

6.3	The arc-rating designation applicable to the material shall be visibly indicated on the garment.

  - City of Johannesburg and City Power branding shall be displayed on upper left of jacket.

# 7.	 DOCUMENTATION

Documentation shall be submitted in a technical catalogue format.

# 8.	 QUALITY MANAGEMENT

A quality management plan shall be set up in order to assure the proper quality management of the arc rated winter jackets during design, development, production, installation and servicing phases. Guidance on the requirements for a quality management plan may be found in the SANS ISO 9001. The details shall be subject to agreement between City Power and the Supplier.

# 9.           ENVIRONMENTAL MANAGEMENT

An environmental management plan shall be set up in order to assure the proper environmental management of the arc rated winter jackets throughout its entire life cycle (i.e. during design, development, production, installation, operation and maintenance, decommissioning and disposal phases). Guidance on the requirements for an environmental management system may be found in SANS ISO 14001 standards. The details shall be subject to agreement between City Power and the Supplier. This is to ensure that the asset created conforms to environmental standards and City Power SHEQ Policy.

# 10. HEALTH AND SAFETY

A health and safety plan shall be set up in order to ensure proper management of the Arc rated winter jackets and compliance of the queuing system during installation, operation, maintenance, and decommissioning phases. Guidance on the requirements of a health and safety plan may be found in OHSAS 18001 standards. This is to ensure that the asset conforms to standard operating procedures and City Power SHERQ Policy. The details shall be subject to agreement between City Power and the Supplier.

# Annex C - Technical schedules A and B- SAP 11396

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Sub clause of CP_TSSPEC_191 | Description | Schedule A | Schedule B (*) |
| --- | --- | --- | --- | --- |
| 1 | 4.3 | The garment shall comply with SANS 724 requirements. | Required |  |
| 2 | 4.6 | The garment shall comply with SANS 434 requirements. | Required |  |
| 3 | 4.6 | Garment to consist of one piece | Required |  |
| 4 | 4.10 | Garment to be navy blue in colour. | Required |  |
| 5 | 8 | The fabric manufacture shall have a valid ISO 9001 quality certificate and this shall also be provided with all tender submissions. | Required |  |
| 6 | 4.3 | The complete garment shall be suitably rated to be worm in a HRC 3 environment as per SANS 724 after a minimum of 130 washes. | Required |  |
| 7 | 4.5 | Fabric used in the manufacture of the garments shall be an inherently fire resistant fabric manufactured with a meta-aramid fibre composition, with a basis weight not greater than 270gsm. | Required |  |
| 8 | 6.2 | Garment marking and care labeling compliance | Required |  |
| 9 | 4.6 | Design and cut compliance | Required |  |
| 10 | 5.2.2 | Fabric type tested in accordance with ASTM F1959-04 and signed test reports submitted | Required |  |
| 11 | 5.2.3 | Complete garment type tested in accordance with ASTM F2621 and signed test reports submitted | Required |  |
| 12 | 7 | Detailed material technical data sheet from the original material manufacturer to be submitted with any tender submissions. | Required |  |
| 13 | 6.2 | Garment manufacturer’s name | Required |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________  __________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

Technical schedules A and B

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_191 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	_________________________________	__________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Annex C - Technical schedules A and B SAP 1983

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Sub clause of CP_TSSPEC_191 | Description | Schedule A | Schedule B (*) |
| --- | --- | --- | --- | --- |
| 1 | 4.3 | The garment shall comply with SANS 724 requirements. | Required |  |
| 2 | 4.6 | The garment shall comply with SANS 434 requirements. | Required |  |
| 3 | 4.6 | Garment to consist of one piece | Required |  |
| 4 | 4.10 | Garment to be navy blue in colour. | Required |  |
| 5 | 8 | The fabric manufacture shall have a valid ISO 9001 quality certificate and this shall also be provided with all tender submissions. | Required |  |
| 6 | 4.3 | The complete garment shall be suitably rated to be worm in a HRC 3 environment as per SANS 724 after a minimum of 130 washes. | Required |  |
| 7 | 4.5 | Fabric used in the manufacture of the garments shall be an inherently fire resistant fabric manufactured with a meta-aramid fibre composition, with a basis weight not greater than 270gsm. | Required |  |
| 8 | 6.2 | Garment marking and care labeling compliance | Required |  |
| 9 | 4.6 | Design and cut compliance | Required |  |
| 10 | 5.2.2 | Fabric type tested in accordance with ASTM F1959-04 and signed test reports submitted | Required |  |
| 11 | 5.2.3 | Complete garment type tested in accordance with ASTM F2621 and signed test reports submitted | Required |  |
| 12 | 7 | Detailed material technical data sheet from the original material manufacturer to be submitted with any tender submissions. | Required |  |
| 13 | 6.2 | Garment manufacturer’s name | Required |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________  __________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

Technical schedules A and B

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_191 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	_________________________________	__________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Annex C - Technical schedules A and B SAP 1984

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Sub clause of CP_TSSPEC_191 | Description | Schedule A | Schedule B (*) |
| --- | --- | --- | --- | --- |
| 1 | 4.3 | The garment shall comply with SANS 724 requirements. | Required |  |
| 2 | 4.6 | The garment shall comply with SANS 434 requirements. | Required |  |
| 3 | 4.6 | Garment to consist of one piece | Required |  |
| 4 | 4.10 | Garment to be navy blue in colour. | Required |  |
| 5 | 8 | The fabric manufacture shall have a valid ISO 9001 quality certificate and this shall also be provided with all tender submissions. | Required |  |
| 6 | 4.3 | The complete garment shall be suitably rated to be worm in a HRC 3 environment as per SANS 724 after a minimum of 130 washes. | Required |  |
| 7 | 4.5 | Fabric used in the manufacture of the garments shall be an inherently fire resistant fabric manufactured with a meta-aramid fibre composition, with a basis weight not greater than 270gsm. | Required |  |
| 8 | 6.2 | Garment marking and care labeling compliance | Required |  |
| 9 | 4.6 | Design and cut compliance | Required |  |
| 10 | 5.2.2 | Fabric type tested in accordance with ASTM F1959-04 and signed test reports submitted | Required |  |
| 11 | 5.2.3 | Complete garment type tested in accordance with ASTM F2621 and signed test reports submitted | Required |  |
| 12 | 7 | Detailed material technical data sheet from the original material manufacturer to be submitted with any tender submissions. | Required |  |
| 13 | 6.2 | Garment manufacturer’s name | Required |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: ______________________________	__________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

Technical schedules A and B

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_191 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	________________________________	__________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Annex C - Technical schedules A and B SAP 1985

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Sub clause of CP_TSSPEC_191 | Description | Schedule A | Schedule B (*) |
| --- | --- | --- | --- | --- |
| 1 | 4.3 | The garment shall comply with SANS 724 requirements. | Required |  |
| 2 | 4.6 | The garment shall comply with SANS 434 requirements. | Required |  |
| 3 | 4.6 | Garment to consist of one piece | Required |  |
| 4 | 4.10 | Garment to be navy blue in colour. | Required |  |
| 5 | 8 | The fabric manufacture shall have a valid ISO 9001 quality certificate and this shall also be provided with all tender submissions. | Required |  |
| 6 | 4.3 | The complete garment shall be suitably rated to be worm in a HRC 3 environment as per SANS 724 after a minimum of 130 washes. | Required |  |
| 7 | 4.5 | Fabric used in the manufacture of the garments shall be an inherently fire resistant fabric manufactured with a meta-aramid fibre composition, with a basis weight not greater than 270gsm. | Required |  |
| 8 | 6.2 | Garment marking and care labeling compliance | Required |  |
| 9 | 4.6 | Design and cut compliance | Required |  |
| 10 | 5.2.2 | Fabric type tested in accordance with ASTM F1959-04 and signed test reports submitted | Required |  |
| 11 | 5.2.3 | Complete garment type tested in accordance with ASTM F2621 and signed test reports submitted | Required |  |
| 12 | 7 | Detailed material technical data sheet from the original material manufacturer to be submitted with any tender submissions. | Required |  |
| 13 | 6.2 | Garment manufacturer’s name | Required |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _______________________________	__________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

Technical schedules A and B

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_191 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	_________________________________	__________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Annex C - Technical schedules A and B SAP 1986

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Sub clause of CP_TSSPEC_191 | Description | Schedule A | Schedule B (*) |
| --- | --- | --- | --- | --- |
| 1 | 4.3 | The garment shall comply with SANS 724 requirements. | Required |  |
| 2 | 4.6 | The garment shall comply with SANS 434 requirements. | Required |  |
| 3 | 4.6 | Garment to consist of one piece | Required |  |
| 4 | 4.10 | Garment to be navy blue in colour. | Required |  |
| 5 | 8 | The fabric manufacture shall have a valid ISO 9001 quality certificate and this shall also be provided with all tender submissions. | Required |  |
| 6 | 4.3 | The complete garment shall be suitably rated to be worm in a HRC 3 environment as per SANS 724 after a minimum of 130 washes. | Required |  |
| 7 | 4.5 | Fabric used in the manufacture of the garments shall be an inherently fire resistant fabric manufactured with a meta-aramid fibre composition, with a basis weight not greater than 270gsm. | Required |  |
| 8 | 6.2 | Garment marking and care labeling compliance | Required |  |
| 9 | 4.6 | Design and cut compliance | Required |  |
| 10 | 5.2.2 | Fabric type tested in accordance with ASTM F1959-04 and signed test reports submitted | Required |  |
| 11 | 5.2.3 | Complete garment type tested in accordance with ASTM F2621 and signed test reports submitted | Required |  |
| 12 | 7 | Detailed material technical data sheet from the original material manufacturer to be submitted with any tender submissions. | Required |  |
| 13 | 6.2 | Garment manufacturer’s name | Required |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________ __________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

Technical schedules A and B

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_191 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	_________________________________	__________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Annex C - Technical schedules A and B SAP 1987

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Sub clause of CP_TSSPEC_191 | Description | Schedule A | Schedule B (*) |
| --- | --- | --- | --- | --- |
| 1 | 4.3 | The garment shall comply with SANS 724 requirements. | Required |  |
| 2 | 4.6 | The garment shall comply with SANS 434 requirements. | Required |  |
| 3 | 4.6 | Garment to consist of one piece | Required |  |
| 4 | 4.10 | Garment to be navy blue in colour. | Required |  |
| 5 | 8 | The fabric manufacture shall have a valid ISO 9001 quality certificate and this shall also be provided with all tender submissions. | Required |  |
| 6 | 4.3 | The complete garment shall be suitably rated to be worm in a HRC 3 environment as per SANS 724 after a minimum of 130 washes. | Required |  |
| 7 | 4.5 | Fabric used in the manufacture of the garments shall be an inherently fire resistant fabric manufactured with a meta-aramid fibre composition, with a basis weight not greater than 270gsm. | Required |  |
| 8 | 6.2 | Garment marking and care labeling compliance | Required |  |
| 9 | 4.6 | Design and cut compliance | Required |  |
| 10 | 5.2.2 | Fabric type tested in accordance with ASTM F1959-04 and signed test reports submitted | Required |  |
| 11 | 5.2.3 | Complete garment type tested in accordance with ASTM F2621 and signed test reports submitted | Required |  |
| 12 | 7 | Detailed material technical data sheet from the original material manufacturer to be submitted with any tender submissions. | Required |  |
| 13 | 6.2 | Garment manufacturer’s name | Required |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________ __________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

Technical schedules A and B

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_191 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	_________________________________	__________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Annex C - Technical schedules A and B SAP 1988

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Sub clause of CP_TSSPEC_191 | Description | Schedule A | Schedule B (*) |
| --- | --- | --- | --- | --- |
| 1 | 4.3 | The garment shall comply with SANS 724 requirements. | Required |  |
| 2 | 4.6 | The garment shall comply with SANS 434 requirements. | Required |  |
| 3 | 4.6 | Garment to consist of one piece. | Required |  |
| 4 | 4.10 | Garment to be navy blue in colour. | Required |  |
| 5 | 8 | The fabric manufacture shall have a valid ISO 9001 quality certificate and this shall also be provided with all tender submissions. | Required |  |
| 6 | 4.3 | The complete garment shall be suitably rated to be worm in a HRC 3 environment as per SANS 724 after a minimum of 130 washes. | Required |  |
| 7 | 4.5 | Fabric used in the manufacture of the garments shall be an inherently fire resistant fabric manufactured with a meta-aramid fibre composition, with a basis weight not greater than 270gsm. | Required |  |
| 8 | 6.2 | Garment marking and care labeling compliance | Required |  |
| 9 | 4.6 | Design and cut compliance | Required |  |
| 10 | 5.2.2 | Fabric type tested in accordance with ASTM F1959-04 and signed test reports submitted | Required |  |
| 11 | 5.2.3 | Complete garment type tested in accordance with ASTM F2621 and signed test reports submitted | Required |  |
| 12 | 7 | Detailed material technical data sheet from the original material manufacturer to be submitted with any tender submissions. | Required |  |
| 13 | 6.2 | Garment manufacturer’s name | Required |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: ______________________________	__________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

Technical schedules A and B

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_191 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	_____________________________	__________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Annex D – Stock Items

Material Group: 	PERSONAL PROTECTIVE EQUIPMENT

| Item | SAP No | SAP Short Description | SAP Long Description |
| --- | --- | --- | --- |
| 1 | 11396 | Arc rated winter jackets (S) | Arc rated winter jackets (S) Specification CP_TSSPEC_191 |
| 2 | 1983 | Arc rated winter jackets (M) | Arc rated winter jackets (M) Specification CP_TSSPEC_191 |
| 3 | 1984 | Arc rated winter jackets (L) | Arc rated winter jackets (L) Specification CP_TSSPEC_191 |
| 4 | 1985 | Arc rated winter jackets (XL) | Arc rated winter jackets (XL) Specification CP_TSSPEC_191 |
| 5 | 1986 | Arc rated winter jackets (XXL) | Arc rated winter jackets (XXL) Specification CP_TSSPEC_191 |
| 6 | 1987 | Arc rated winter jackets (XXXL) | Arc rated winter jackets (XXXL) Specification CP_TSSPEC_191 |
| 7 | 1988 | Arc rated winter jackets (XXXXL) | Arc rated winter jackets (XXXXL) Specification CP_TSSPEC_191 |

# BOQ

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
| 1. | 11396 | Arc rated winter jackets (S) | S | 1 |  |
| 2. | 1983 | Arc rated winter jackets (M) | M | 1 |  |
| 3. | 1984 | Arc rated winter jackets (L) | L | 1 |  |
| 4. | 1985 | Arc rated winter jackets (XL) | XL | 1 |  |
| 5. | 1986 | Arc rated winter jackets (XXL) | 2XL | 1 |  |
| 6. | 1987 | Arc rated winter jackets (XXXL) | 3XL | 1 |  |
| 7. | 1988 | Arc rated winter jackets (XXXXL) | 4XL | 1 |  |

CATEGORY 1 : EVALUATION CRITERIA 2 - ARC RATED FLASH SUIT CP_TSSPEC_143

| Bid no: 2324G : REQUEST FOR BIDS FOR SUPPLY & DELIVERY OF PERSONAL PROPECTIVE EQUIPMENT |  |  |
| --- | --- | --- |
| Mandatory requirements |  | Yes/No |
| 1. | Local content Annexure C and MBD6.2 to be completed in full, failure to complete the local Content and MBD 6.2 will result in your bid being non- responsive, ANNEXTURES C, D AND E |  |
| 2. | Technical schedules to be completed in full and signed as per schedule A, failure to complete the technical schedule as indicated will result in your bid being non- responsive |  |
| 3. | BOQs selected to be priced in full, failure to complete the BOQs in full will result in your bid being non – responsive. Distributors to provide a letter of agreement from the manufacturer, failure to provide the agreement from the manufacture will also result in the bid being considered non –responsive. |  |
| Stage 1 Evaluation: A minimum threshold of 75% must be achieved to proceed to the Stage 2 Evaluation Evaluation will be done on a relationship to the weighting on a scale of 0 to 10 |  |  |
| Technical Evaluation: |  | Weight |
| 1. | Type Test - Provide a signed type test report for ARC RATED FLASH SUIT from an accredited body - Provided a type test report = 10 point - Did not provide a type test report = 0 points Max score points = 10 points | 40 |
| 2. | ISO Requirements - Provide a valid ISO 9001 certificate from the manufacturer - Provided a valid ISO 9001 certificate from the manufacturer = 10 points - Did not provide a valid ISO 9001 certificate from the manufacturer =0 points Max score points = 10 points | 20 |
| 3. | LEAD TIME: - Lead time for delivery - 2-4 weeks = 10 points - 5-7 weeks =7.5 points - More than 7 weeks = 0 points Max score points = 10 points | 10 |
| 4. | EXPERIENCE - Provide reference letters, signed letterhead including contact details of a similar scope of works as per specification, also indicating contract period and value - Provided three (3) reference letters and more = 10 points - Provided two (2) reference letters = 7 points - Provided one (1) reference letter = 1 point - Did not provide reference letters = 0 point (No appointment letters, contracts and purchase orders from clients will be accepted as reference letters.) Max score=10 points | 15 |
|  | NOTE TO ALL BIDDERS: ONLY BIDDERS WHO MEET THE MINIMUM OF WEIGHTING OF 60 POINTS OF THE EVALUATION CRITERIA 1,2,3,4, WILL BE ELIGIBLE FOR SITE VERIFICATION |  |
| 5. | Site Verification - Manufacturing capacity = 3 points - Store/warehouse capacity = 3 points - ISO certification/s displayed/verification = 1 points - Samples/ on site sample verification = 3 points Note : Will look at the relationship between manufacturing capacity and storage capacity Note: City Power still reserve the right to request samples from the bidder to City Power premises Bidders will be required to make arrangements for site visit with their manufacturers for site visit purposes Max score=10 points | 15 |
|  | Total | 100 |
| Stage 2 Evaluation |  |  |
| PRICE |  | 80 |
| B-BBEE |  | 20 |

MAXIMUM OF (4) FOUR BIDDERS PER CRITERIA

|  |  |  | REFERENCE |  |  | REV |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TITLE |  | SPECIFICATION FOR ARC RATED FLASH SUITE OPERATING KIT AND ACCESSORIES | CP_TSSPEC_143 |  |  | 1 |  |
|  |  |  | DATE: | JUNE 2020 |  |  |  |
|  |  |  | PAGE: | 1 | OF |  | 17 |

TABLE OF CONTENTS

INTRODUCTION

1SCOPE	3

2NORMATIVE REFERENCES	3

3DEFINITIONS AND ABBREVIATIONS	3

4REQUIREMENTS	3

5QUALITY MANAGEMENT	5

6ENVIRONMENTAL MANAGEMENT	6

7HEALTH AND SAFETY	6

Annex A - Bibliography	7

Annex B - Revision information	8

Annex C - Technical Schedules A and B for Arc Rated Flash Suite Operating Kit	9

Annex C – Deviation Schedule for Arc Rated Flash Suite Operating Kit	10

Annex C - Technical Schedules A and B for Arc Rated LV Switching Face Shield	11

Annex C – Deviation Schedule for Arc Rated LV Switching Face Shield	12

Annex C - Technical Schedules A and B Arc Rated Full Body Harnes	13

Annex C – Deviation Schedule for Arc Rated Full Body Harnes	14

Annex C - Technical Schedules A and B for Arc Rated LV Hard Hat	15

Annex C – Deviation Schedule for Arc Rated LV Hard Hat	16

Annex D – Stock Items	17

Page

# INTRODUCTION

City Power personnel routinely carry out work in close proximity to electrical equipment. Whilst every possible safety precaution is followed, the employer is obliged to provide overalls which will give personnel the maximum possible degree of safety whilst, simultaneously, being comfortable enough not to restrict movement or cause discomfort.

# SCOPE

This specification covers City Power’s requirements for flame arc rated flash suite in accordance with the requirements of Occupational Health and Safety Act, General Safety Regulations, point 2 – Personal Safety Equipment and Facilities.

# NORMATIVE REFERENCES

The following documents contain provisions that, through reference in the text, constitute requirements of this specification.  At the time of publication, the editions indicated were valid.  All standards and specifications are subject to revision, and parties to agreements based on this specification are encouraged to investigate the possibility of applying the most recent editions of the documents listed below;

SANS 724 – Personal protective equipment and protective clothing against the thermal hazards of an electric arc flash.

SANS – 61482-2 – Live working ad protection against thermal hazard

SANS 434 – General protective clothing.

SANS 1397 – Hard hat

SANS 50361 – Full body harness

SANS 50362 – Connector against falls from height.

SANS 50353 - Guided type fall arrestors.

SANS 50354 - Lanyards

SANS 50355 - Energy absobers.

# DEFINITIONS AND ABBREVIATIONS

Meta-aramid fibres- Any class of strong, heat-resistant synthetic fibres use to construct inherently arc rated material for use in Personal Protective Equipment (PPE).

HRC	Hazard Risk Category

ATPV      Arc Thermal Perfomance Value

NFPA      National Fire Protection Agency

# REQUIREMENTS

4.1 General requirements Arc Rated Flash Suite

- The arc flash suit shall be rated HRC 4, multi layered fabric construction as per SANS 724.

- The arc rated flash suite shall consist of a storage arc flash bag, Chinese collar jacket, Trouser with adjustable braces for wearing comfort and high front maximum upper body protection, Gloves, Balaclava, and Hood fitted with safety cap and visor and fots snugly over head and shoulders.

- The arc withstand performance of the fabric shall originate from the inherent characteristics of the fabric prior to any treatment.

- Garments shall be suitable for use by both male and female employees.

- Garment shall be navy blue in colour with City of Johannesburg on the right breast and City Power branding on upper left pocket of the jacket and the rear right trousers pocket

- Size designations shall be compliant to SANS 434

- The colour of the suit must be navy blue.

- The Garments shall have a stitched arc rated reflective tape in both arm and legs.

Note 2: 	The supplier is responsible for ensuring that the above sizes are in accordance with the arc flash suite operating kit currently in use at City Power, and special customized sizes upon request shall be required.

4.2 Test

- All tests as required by ASTM F1506 or IEC 61482-2

- Provision of arc test results (e.g. ASTM F1959, IEC 61482-1/2 or ASTM F2621)

- ASTM F2621 or IEC 61482-1 (Method B) (state Edition used). Where the requirements of have been met, but this requirement not met, City Power may at its discretion allow a supplier to perform this test before finalizing its decision.

4.3 Marking, Care labelling and packaging for arc flash suit

Labels shall be permanently secured on the garment, and should withstand a minimum of 130 washes under standard industrial laundry conditions.

City Power branding shall be displayed on upper left pocket of jacket and the rear trousers pocket

Information shall be in legible and indelible letters of height at least 2mm.

The garment shall be packed in a bag which is adequately labelled showing the size.

The following information shall be included as a minimum on the label secured to the garment:

- Compliance to SANS 724,

- Manufacturer’s name or trade mark,

- Garment shall be navy blue in colour with City of Johannesburg and City Power branding

- Year of manufacture,

- Size designation,

- Care labelling instructions with number of washes tick sheet, and

- ATPV Rating indicated on the trousers and jacket of the garment

4.4 LV Switching Face Shield

4.4.1 General requirements

a) The face shield and helmet shall fit the existing hard hats and shall comply with HRC 4 as per SANS 724.

b) The face shield shall provide protection against electrical burns and flashes.

c) The face shield shall be made of a transparent material which shall be made of polycarbonate as per SANS 1404

d) The face shield shall have anti-fog coating.

e) The face shield shall have a protection bag.

f) The face shield shall be able to mount a standard hard

g) Garment shall have City of Johannesburg and City Power branding

4.4.2 Test

a) All test shall be done in accordance to SANS 724. ASTM F2178

b) Complete Type test report shall be submitted with the tender.

4.4.3 Packaging and labelling

The face shield shall be packed in a robust plastic adequately labelled.

4.5 Arc fall protection Harness

4.5.1 General requirements

a) The full body safety harness shall comply to SANS 50361.

b) The full body safety harnesses, shall be HRC 4, and as per SANS 724.

c) The use of a material which shall not ignite during an exposure to arc shall be accepted, and

no nylon material shall be accepted.

d) The material shall have a stitched arc rated reflective tape.

e) ) The full body safety harness shall have City of Johannesburg and City Power branding.

4.6.2 Test

a) All test shall be done in accordance to ASTM F887 as per SANS 50361

b) Complete Type test report shall be submitted with the tender.

4.6.3 Packaging and labelling

The full body safety shall be packed in a suitable bag which will eliminate damage to the all the harness accessories.

4.5 Arc Rated LV Hard Hat

4.5.1 General requirements

a) The arc rated low voltage hard hat shall comply to SANS 1397.

b) The Hard hat safety harnesses, shall be HRC 4, and as per SANS 724

c) The hard hat shall bear SABS mark.

d) The hard hat shall have an adjustable chin strap in accordance with SANS 1397.

e) The colour of the hard hat shall be blue in accordance with City Power corporate identity.

f) ) The hard hat shall have City of Johannesburg and City Power branding

4.6.2 Test

a) All test shall be done in accordance to ASTM F887 as per SANS 1397.

b) Complete Type test report shall be submitted with the tender.

    - Packaging and labelling

The hard hat shall be packed in a suitable packaging.

Note: City Power reserves the right to view an existing arc flash suite operating kit and accessories complying with this specification or if no such arc flash suite operating kit exist a prototype shall be built and made available for inspection by representatives of City Power.

# QUALITY MANAGEMENT

A quality management plan shall be set up in order to assure the proper quality management of the arc rated flash operating kit and accessories services during design, development, production, installation and servicing phases. Guidance on the requirements for a quality management plan may be found in the ISO 9001:2015. The details shall be subject to agreement between City Power and the Supplier.

# ENVIRONMENTAL MANAGEMENT

An environmental management plan shall be set up in order to assure the proper environmental management of the arc rated flash operating kit and accessories throughout its entire life cycle (i.e. during design, development, production, installation, operation and maintenance, decommissioning and disposal phases). Guidance on the requirements for an environmental management system may be found in ISO 14001:2015 standards. The details shall be subject to agreement between City Power and the Supplier. This is to ensure that the asset created conforms to environmental standards and City Power SHERQ Policy

# HEALTH AND SAFETY

A health and safety plan shall be set up in order to ensure proper management and compliance of the arc rated flash operating kit and accessories during installation, operation, maintenance, and decommissioning phases. Guidance on the requirements of a health and safety plan may be found in ISO 45001:2018 standards. This is to ensure that the asset conforms to standard operating procedures and City Power SHERQ Policy. The details shall be subject to agreement between City Power and the Supplier.

# Annex C - Technical Schedules A and B for Arc Rated Flash Suite Operating Kit

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Sub clause of CP_TSSPEC_143 | Description | Schedule A | Schedule B (*) |
| --- | --- | --- | --- | --- |
| 1 | 4.1 | The garment shall comply with SANS 724 requirements. | Required |  |
| 2 | 4.1 | The garment shall comply with SANS 434 requirements. | Required |  |
| 3 | 4.1 | Arc rated flash suite operating kit | Required |  |
| 4 | 4.1 | Garment to be navy blue in colour. | Required |  |
| 5 | 5 | The fabric manufacture shall have a valid ISO 9001 quality certificate and this shall also be provided with all tender submissions. | Required |  |
| 6 | 4.1 | The complete garment shall be suitably rated to be warm in a HRC 4 environment as per SANS 724 after a minimum of 130 washes. | Required |  |
| 7 | 4.1 | Fabric used in the manufacture of the garments shall be an inherently fire resistant fabric manufactured with a meta-aramid fibre composition, with a basis weight not greater than 270gsm. | Required |  |
| 8 | 4.3 | Garment marking and care labeling compliance | Required |  |
| 9 | 4.1 | Design and cut compliance | Required |  |
| 10 | 4.2 | Fabric type tested in accordance with ASTM F1506-04 or 61482-2 and signed test reports submitted | Required |  |
| 11 | 4.2 | Complete garment type tested in accordance with ASTM F2621 or 61482-1/2 and ASTM F1959 and signed test reports submitted | Required |  |
| 12 | 4.3 | Detailed material technical data sheet from the original material manufacturer to be submitted with any tender submissions. | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: ________________________________	__________________

Name in block letters	                        Signature

Full name of company: 	   ______________________________________________________

# Annex C – Deviation Schedule for Arc Rated Flash Suite Operating Kit

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_143 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	________________________________		________________

Name in block letters			Signature

Full name of company: 	 _____________________________________________________________

# Annex C - Technical Schedules A and B for Arc Rated LV Switching Face Shield

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Sub clause of CP_TSSPEC_143 | Description | Schedule A | Schedule B (*) |
| --- | --- | --- | --- | --- |
| 1 | 4.1 | The face shield protection shall comply with SANS 1404 requirements. | Required |  |
| 4 | 4.1 | Garment to be navy blue in colour. | Required |  |
| 5 | 5 | The manufacture shall have a valid ISO 9001 quality certificate and this shall also be provided with all tender submissions. | Required |  |
| 6 | 4.4.1 | The complete face shield shall be suitably rated to be warn in a HRC 4 environment as per SANS 724 | Required |  |
| 8 | 4.4.1 | Face shield shall be transparent material made of polycarbonate | Required |  |
| 9 | 4.4.1 | Face shield shall have anti-fog coating | Required |  |
| 10 | 4.2 | Complete garment type tested in accordance 724 signed test reports submitted | Required |  |
| 11 | 4.3 | Detailed material technical data sheet from the original material manufacturer to be submitted with any tender submissions. | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	______________________________	__________________

Name in block letters                        Signature

Full name of company: 	 ______________________________________________________

# Annex C – Deviation Schedule for Arc Rated LV  Switching Face Shield

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_143 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	______________________________	__________________

Name in block letters	                        Signature

Full name of company: 	   ______________________________________________________

# Annex C - Technical Schedules A and B Arc Rated Full Body Harnes

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Sub clause of CP_TSSPEC_143 | Description | Schedule A | Schedule B (*) |
| --- | --- | --- | --- | --- |
| 1 | 4.1 | The garment shall comply with SANS 724 requirements. | Required |  |
| 2 | 4.1 | The garment shall comply with SANS 50361 requirements. | Required |  |
| 3 | 4.1 | Garment to consist of two pieces. | Required |  |
| 4 | 4.1 | Garment to be navy blue in colour. | Required |  |
| 5 | 5 | The fabric manufacture shall have a valid ISO 9001 quality certificate and this shall also be provided with all tender submissions. | Required |  |
| 6 | 4.1 | The complete garment shall be suitably rated to be warm in a HRC 4 environment as per SANS 724 after a minimum of 130 washes. | Required |  |
| 7 | 4.1 | Fabric used in the manufacture of the garments shall be an inherently fire resistant fabric manufactured with a meta-aramid fibre composition, with a basis weight not greater than 270gsm. | Required |  |
| 8 | 4.3 | Garment marking and care labeling compliance | Required |  |
| 9 | 4.1 | Design and cut compliance | Required |  |
| 10 | 4.2 | Fabric type tested in accordance with ASTM F1506-04 or 61482-2 and signed test reports submitted | Required |  |
| 11 | 4.2 | Complete garment type tested in accordance with ASTM F2621 or 61482-1/2 and ASTM F1959 and signed test reports submitted | Required |  |
| 12 | 4.3 | Detailed material technical data sheet from the original material manufacturer to be submitted with any tender submissions. | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	______________________________	__________________

Name in block letters	                        Signature

Full name of company: ______________________________________________________

# Annex C – Deviation Schedule for Arc Rated Full Body Harnes

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_143 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	______________________________ __________________

Name in block letters	   Signature

Full name of company: 	   ______________________________________________________

# Annex C - Technical Schedules A and B for Arc Rated LV Hard Hat

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Sub clause of CP_TSSPEC_143 | Description | Schedule A | Schedule B (*) |
| --- | --- | --- | --- | --- |
| 1 | 4.5 | The Arc rated hard hat shall comply with SANS 1397 requirements. | Required |  |
| 2 | 4.5 | The Arc rated Hard hat shall comply with SANS 724 requirements. | Required |  |
| 4 | 4.5 | Arc rated Hard hat to be navy blue in colour. | Required |  |
| 5 | 5 | The Hard hat manufacture shall have a valid ISO 9001 quality certificate and this shall also be provided with all tender submissions. | Required |  |
| 6 | 4.4.1 | The arc rated shall be suitably rated in an HRC 4 environment as per SANS 724 | Required |  |
| 7 | 4.4.1 | City Power branding required | Required |  |
| 8 | 4.4.1 | Face shield shall have anti-fog coating | Required |  |
| 9 | 4.5.1 | Complete type tested in accordance SANS 1397 | Required |  |
| 10 | 4.3 | Detailed material technical data sheet from the original material manufacturer to be submitted with any tender submissions. | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	______________________________	__________________

Name in block letters	                        Signature

Full name of company:   ______________________________________________________

# Annex C – Deviation Schedule for Arc Rated LV Hard Hat

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_143 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	______________________________   __________________

Name in block letters	       Signature

Full name of company: 	   ______________________________________________________

# Annex D – Stock Items

Material Group: PROTEC-CL

ARC FLASH KIT

| Item | SAP No. | SAP Material Name | SAP Short Specification |
| --- | --- | --- | --- |
| 1 | 232 | ARC FLASH FLAME RESISTANT SUITE | ARC RATED FLAME RESISTANT SUIT CATEGORY 4, COMPLIENCE WITH SPECIFICATION, CP_TSSPEC_143 |
| 2 | 2103 | ARC RATED LV SWITCHING FACESHIELD | ARC RATED LV SWITCHING FACESHIELD CATERGORY 2,AND COMPLIENCE WITH SPECIFICATION CP_TSSPEC_143 |
| 3 | 3351 | ARC RATED FULL BODY HARNES | ARC RATED FULL PROTECTION HARNES CATERGORY 2,AND COMPLIENCE WITH SPECIFICATION CP_TSSPEC_143 |
| 4 | xxx | ARC RATED LV HARD HAT | ARC RATED LV HARD HAT CATERGORY 2 AND COMPLIENCE SPECIFICATION CP_TSSPEC_143 |

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
| 1. | 232 | Arc Flash Flame Resistant Suite | N/A | 1 |  |
| 2. | 2103 | Arc Rated Lv Switching Faceshield | N/A | 1 |  |
| 3. | 3351 | Arc Rated Full Body Harnes | N/A | 1 |  |
| 4. | Xxx | Arc Rated Lv Hard Hat | N/A | 1 |  |

BOQ

CATEGORY 1 : EVALUATION CRITERIA 3 - ARC RATED FLAME RESISTANCE OVERALLS CP_TSSPEC_176

| Bid no: 2324G : REQUEST FOR BIDS FOR SUPPLY & DELIVERY OF PERSONAL PROPECTIVE EQUIPMENT |  |  |
| --- | --- | --- |
| Mandatory requirements |  | Yes/No |
| 1. | Local content Annexure C and MBD6.2 to be completed in full, failure to complete the local Content and MBD 6.2 will result in your bid being non- responsive, ANNEXTURES C, D AND E |  |
| 2. | Technical schedules to be completed in full and signed as per schedule A, failure to complete the technical schedule as indicated will result in your bid being non- responsive |  |
| 3. | BOQs selected to be priced in full, failure to complete the BOQs in full will result in your bid being non – responsive. Distributors to provide a letter of agreement from the manufacturer, failure to provide the agreement from the manufacture will also result in the bid being considered non –responsive. |  |
| Stage 1 Evaluation: A minimum threshold of 75% must be achieved to proceed to the Stage 2 Evaluation Evaluation will be done on a relationship to the weighting on a scale of 0 to 10 |  |  |
| Technical Evaluation: |  | Weight |
| 1. | Type Test - Provide a signed type test report for ARC RATED FLAME RESISTANCE OVERALLS from an accredited body - Provided a type test report = 10 point - Did not provide a type test report = 0 points Max score points = 10 points | 40 |
| 2. | ISO Requirements - Provide a valid ISO 9001 certificate from the manufacturer - Provided a valid ISO 9001 certificate from the manufacturer = 10 points - Did not provide a valid ISO 9001 certificate from the manufacturer =0 points Max score points = 10 points | 20 |
| 3. | LEAD TIME: - Lead time for delivery - 2-4 weeks = 10 points - 5-7 weeks =7.5 points - More than 7 weeks = 0 points Max score points = 10 points | 10 |
| 4. | EXPERIENCE - Provide reference letters, signed letterhead including contact details of a similar scope of works as per specification, also indicating contract period and value - Provided three (3) reference letters and more = 10 points - Provided two (2) reference letters = 7 points - Provided one (1) reference letter = 1 point - Did not provide reference letters = 0 point (No appointment letters, contracts and purchase orders from clients will be accepted as reference letters.) Max score=10 points | 15 |
|  | NOTE TO ALL BIDDERS: ONLY BIDDERS WHO MEET THE MINIMUM OF WEIGHTING OF 60 POINTS OF THE EVALUATION CRITERIA 1,2,3,4, WILL BE ELIGIBLE FOR SITE VERIFICATION |  |
| 5. | Site Verification - Manufacturing capacity = 3 points - Store/warehouse capacity = 3 points - ISO certification/s displayed/verification = 1 points - Samples/ on site sample verification = 3 points Note : Will look at the relationship between manufacturing capacity and storage capacity Note: City Power still reserve the right to request samples from the bidder to City Power premises Bidders will be required to make arrangements for site visit with their manufacturers for site visit purposes Max score=10 points | 15 |
|  | Total | 100 |
| Stage 2 Evaluation |  |  |
| PRICE |  | 80 |
| B-BBEE |  | 20 |

MAXIMUM OF (4) FOUR BIDDERS PER CRITERIA

|  |  |  | REFERENCE |  |  | REV |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TITLE |  | SPECIFICATION FOR ARC RATED FLAME RESISTANT OVERALLS | CP_TSSPEC_176 |  |  | 4 |  |
|  |  |  | DATE: | JUNE 2020 |  |  |  |
|  |  |  | PAGE: | 1 | OF |  | 22 |

TABLE OF CONTENTS

Page

INTRODUCTION

1SCOPE	3

2NORMATIVE REFERENCES	3

3DEFINITIONS AND ABBREVIATIONS	3

4REQUIREMENTS	3

5TESTS	7

6QUALITY MANAGEMENT	8

7ENVIRONMENTAL MANAGEMENT	8

8HEALTH AND SAFETY	8

Annex A - Bibliography	9

Annex B - Revision information	10

Annex C - Technical Schedules A and B for Arc Rated Flame Resistant Overalls	11

Annex C – Deviation Schedule for Arc Rated Flame Resistant Overalls	12

Annexure C - Technical schedules A and B for UNDERPANTS	13

Annexure C - Technical schedules A and B for Bra	15

Annex D – Stock Items	19

# INTRODUCTION

City Power personnel routinely carry out work in close proximity to electrical equipment. Whilst every possible safety precaution is followed, the employer is obliged to provide overalls which will give personnel the maximum possible degree of safety whilst, simultaneously, being comfortable enough not to restrict movement or cause discomfort.

# SCOPE

This specification covers City Power’s requirements for flame resistant overalls in accordance with the requirements of Occupational Health and Safety Act, General Safety Regulations, point 2 – Personal Safety Equipment and Facilities.

# NORMATIVE REFERENCES

The following documents contain provisions that, through reference in the text, constitute requirements of this specification.  At the time of publication, the editions indicated were valid.  All standards and specifications are subject to revision, and parties to agreements based on this specification are encouraged to investigate the possibility of applying the most recent editions of the documents listed below;

SANS 724 – Personal protective equipment and protective clothing against the thermal hazards of an electric arc flash.

SANS 434 – General design clothing

SANS 1360-6 Underwear pants for males

SANS 1360-7 Underwear pants for females

SANS 1382 - Socks

# DEFINITIONS AND ABBREVIATIONS

Meta-aramid fibres - Any class of strong, heat-resistant synthetic fibres use to construct inherently arc rated material for use in Personal Protective Equipment (PPE).

HRC	Hazard Risk Category

ATPV      Arc Thermal Performance Value

NFTPA   National Fire Protection Agency

# REQUIREMENTS

- Overalls

    - The garments shall be rated HRC 2 as per SANS 724

    - The garments shall comply with SANS 724 requirements.

    - Size designations shall comply with SANS 434 requirements.

    - The garments shall consist of two pieces; a trousers and a jacket combination.

    - The arc withstand performance of the fabric shall originate from the inherent characteristics of  the fabric prior to any treatment.

    - Garment shall be navy blue in colour with City Power branding on upper left pocket, City of Johannesburg on the right breast of the jacket and the City Power branding on rear right trousers pocket.

      - The Garments shall provide provision for male cut.

      - The Garments shall provide provision for female cut

      - The Garments shall have a stitched arc rated reflective tape in both arm and legs.

    - Garment shall be navy blue in colour with City of Johannesburg on right breast and City Power branding on upper left pocket of the jacket and the rear right trousers pocket.

  - Underwear (Bra and Pants)

- General requirements

- The Bra and Pants shall be arc rated as per SANS 724.

- The underwear shall be 100% treated cotton that does not melt.

- The bras shall not have wire support and shall be 100% treated cotton that does not melt.

- The sizes shall range from small to XXX large.

- The underwear and pants for men shall comply to SANS 1360-6 for manufacturing.

- The underwear and pants for women shall comply to SANS 1360-7 for manufacturing.

4.2.3 Packaging and labelling

The underwear shall be packed in a suitable packaging designating the size.

  - Socks

- The long and short shall be arc rated as per SANS 724.

- Long and short navy blue socks shall be made from 100% treated cotton that does not melt.

- The socks are available in three different sizes, namely: 4-6, 7-9 and 10-12.

- The socks shall comply to SANS 1382 as per the process of manufacturing.

### 4.3.1 Size ranging

The protective clothing shall be sized in accordance with the requirements of SANS 434.

| Size range | Chest circumference | Back length | Back width | Sleeve Length | Cuff circumference |
| --- | --- | --- | --- | --- | --- |
| 82 | 99 | 71 | 38 | 47 | 27 |
| 87 | 104 | 72 | 40 | 48 | 27 |
| 92 | 109 | 73 | 42 | 48 | 28 |
| 97 | 114 | 74 | 44 | 49 | 28 |
| 102 | 119 | 74,5 | 46 | 49 | 28 |
| 107 | 124 | 75 | 48 | 50 | 29 |
| 112 | 129 | 75,5 | 50 | 50 | 29 |
| 117 | 134 | 76 | 52 | 51 | 29 |
| 122 | 139 | 76,5 | 54 | 51 | 30 |
| 127 | 144 | 77 | 56 | 52 | 30 |
| 132 | 149 | 77,5 | 58 | 52 | 30 |
| 137 | 154 | 78 | 60 | 53 | 31 |
| 142 | 159 | 78,5 | 62 | 53 | 31 |
| 147 | 164 | 79 | 64 | 54 | 31 |

Table 2: Size range for work wear suits - jackets

| Size designation | Outside leg length | Inside leg length | Waist | Seat circumference | Knee circumference | Bottom circumference |
| --- | --- | --- | --- | --- | --- | --- |
| 82/72 | 104 | 79 | 85 | 97 | 52 | 44 |
| 87/77 | 106 | 80 | 90 | 102 | 53 | 46 |
| 92/82 | 108 | 81 | 95 | 107 | 54 | 48 |
| 97/87 | 110 | 82 | 100 | 112 | 55 | 50 |
| 102/92 | 110 | 82 | 105 | 117 | 56 | 50 |
| 107/97 | 111 | 82 | 110 | 122 | 57 | 50 |
| 112/102 | 111 | 82 | 115 | 127 | 58 | 50 |
| 117/107 | 111 | 81 | 120 | 132 | 58,5 | 51 |
| 122/112 | 111 | 81 | 125 | 137 | 59 | 51 |
| 127/117 | 111 | 80 | 130 | 142 | 59,5 | 51 |
| 132/122 | 111 | 80 | 135 | 147 | 60 | 51 |
| 137/127 | 112 | 80 | 140 | 152 | 60,5 | 52 |
| 142/132 | 112 | 80 | 145 | 157 | 61 | 52 |
| 147/137 | 113 | 80 | 150 | 162 | 61,5 | 52 |

Table 3: Size range for work wear suits - trousers

Note 1: 	Table 2 & 3 taken from SANS 434 document.

Note 2: 	The supplier is responsible for ensuring that the above sizes are in accordance with the overalls currently in use at City Power, and special customized sizes upon request shall be required.

### 4.3.2	Marking and Care labeling

- Labels shall be permanently secured on the garment, and should withstand a minimum of 130 washes under standard industrial laundry conditions.

- City Power branding shall be displayed on upper left pocket of jacket and the rear trousers pocket

- Information shall be in legible and indelible letters of height at least 2mm.

- The following information shall be included as a minimum on the label secured to the garment:

- Compliance to SANS 724,

- Manufacturer’s name or trade mark,

- Year of manufacture,

- Size designation,

- Care labeling instructions with number of washes tick sheet, and

- ATPV Rating indicated on the trousers and jacket of the garment.

### Design and cut

- City Power reserves the right to make minor changes to the design in order to accommodate aesthetic requirements.

- Jacket and trousers shall conform to the general design shown in figures 1 and 2.

- Jacket and trousers shall accommodate female cuts

Figure 1:	Jacket design, SANS 434, Style C, Slide fastener with butted fronts, breast pocket with flap, two side pockets

Figure 2:	Trousers design, SANS 434, Front and back view

Note:	Figure 1 & 2 are taken from SANS 434 document

# TESTS

5.1 Routine test

Visually examine the complete garment for compliance with this specification. City Power reserves the right to request to approve prototype testing before any ordering can commence.

5.2 Compulsory type tests and technical documents

5.2.1	All type tests as required by ASTM F1506 or IEC 61482-2 (Clearly indicate the Edition used for testing)

5.2.2.	Provision of arc test results (e.g. ASTM F1959, IEC 61482-1/2 or ASTM F2621) exclusively without the provision of the requirements of 5.2.1 shall be considered non-conforming to this specification

5.2.3	All type tests shall be conducted by an independent accredited test laboratory and these must be signed.

5.2.4	City Power reserves the right to verify the authenticity of type test reports submitted and also to carry out any further type testing of materials.

5.2.5	Detailed material technical data sheet from the original material manufacturer to be submitted with any tender submissions.

Note: City Power reserves the right to view an existing arc rated flame resistant overalls complying with  this specification or if no such arc rated flame resistant overalls exist a prototype shall be built and made available for inspection by representatives of City Power.

# QUALITY MANAGEMENT

A quality management plan shall be set up in order to assure the proper quality management of the arc rated flame resistance overall services during design, development, production, installation and servicing phases. Guidance on the requirements for a quality management plan may be found in the ISO 9001:2015. The details shall be subject to agreement between City Power and the Supplier.

# ENVIRONMENTAL MANAGEMENT

An environmental management plan shall be set up in order to assure the proper environmental management of the arc rated flame resistance overall throughout its entire life cycle (i.e. during design, development, production, installation, operation and maintenance, decommissioning and disposal phases). Guidance on the requirements for an environmental management system may be found in ISO 14001:2015 standards. The details shall be subject to agreement between City Power and the Supplier. This is to ensure that the asset created conforms to environmental standards and City Power SHERQ Policy

# HEALTH AND SAFETY

A health and safety plan shall be set up in order to ensure proper management and compliance of the arc rated flame resistance overall during installation, operation, maintenance, and decommissioning phases. Guidance on the requirements of a health and safety plan may be found in  ISO 45001:2018 standards. This is to ensure that the asset conforms to standard operating procedures and City Power SHERQ Policy. The details shall be subject to agreement between City Power and the Supplier.

# Annex C - Technical Schedules A and B for Arc Rated Flame Resistant Overalls

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Sub clause of CP_TSSPEC_176 | Description | Schedule A | Schedule B (*) |
| --- | --- | --- | --- | --- |
| 1 | 4.1.1 | The garment shall comply with SANS 724 requirements. | Required |  |
| 2 | 4.1.2 | The garment shall comply with SANS 434 requirements. | Required |  |
| 3 | 4.1.3 | Garment to consist of two pieces. | Required |  |
| 4 | 4.1.5 | Garment to be navy blue in colour. | Required |  |
| 5 | 4.1.6 | The fabric manufacture shall have a valid ISO 9001 quality certificate and this shall also be provided with all tender submissions. | Required |  |
| 6 | 4.2.1.1 | The complete garment shall be suitably rated to be worm in a HRC 2 environment as per SANS 724 after a minimum of 130 washes. | Required |  |
| 7 | 4.2.1.2 | Fabric used in the manufacture of the garments shall be an inherently fire resistant fabric manufactured with a meta-aramid fibre composition, with a basis weight not greater than 270gsm. | Required |  |
| 8 | 4.2.3 | Garment marking and care labeling compliance | Required |  |
| 9 | 4.2.4 | Design and cut compliance | Required |  |
| 10 | 5.2.1 | Fabric type tested in accordance with ASTM F1959-04 and signed test reports submitted | Required |  |
| 11 | 5.2.2 | Complete garment type tested in accordance with ASTM F2621 and signed test reports submitted | Required |  |
| 12 | 5.2.5 | Detailed material technical data sheet from the original material manufacturer to be submitted with any tender submissions. | Required |  |
| 13 |  | Garment manufacturer’s name | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	______________________________	__________________

Name in block letters                   Signature

Full name of company: 	   ______________________________________________________

# Annex C – Deviation Schedule for Arc Rated Flame Resistant Overalls

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_176 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	________________________________		________________

Name in block letters	                          Signature

Full name of company: 	 _____________________________________________________________

# Annexure C - Technical schedules A and B for UNDERPANTS

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Underpants comply to specification |  | Yes |  |
| 2 | Compliance to SANS/ASTM |  | SANS 724 |  |
| 3 | Documentation supplied |  | Required |  |
| 4 | Name of the manufacturer |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________ ___________________

Name in block letters	                                 Signature

Full name of company: ____________________________________________________________

Technical schedules A and B

Deviation schedule for UNDERPANTS

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_176 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________ ___________________

Name in block letters			Signature

Full name of company: ____________________________________________________________

# Annexure C - Technical schedules A and B for Bra

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Bra comply to specification |  | Yes |  |
| 2 | Compliance to SANS/ASTM |  | SANS 724 |  |
| 3 | Documentation supplied |  | Required |  |
| 4 | Name of the manufacturer |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________ ___________________

Name in block letters	                                 Signature

Full name of company: ____________________________________________________________

Technical schedules A and B

Deviation schedule for Bra

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_176 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________ ___________________

Name in block letters				Signature

Full name of company: ____________________________________________________________

Annexure C - Technical schedules A and B for Socks

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 2 | Compliance to Specification Compliance to SANS 1382 |  | Yes Yes |  |
| 3 | Documentation supplied |  | Required |  |
| 4 | Name of the manufacturer |  | Required |  |

Note: Ticks, Cross [√, X], Asterik [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________ ___________________

Name in block letters                                Signature

Full name of company: ____________________________________________________________

Technical schedules A and B

Deviation schedule for Socks

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_176 | Proposed deviation |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: ________________________________ ___________________

Name in block letters	                                              Signature

Full name of company: ____________________________________________________________

# Annex D – Stock Items

Material Group: PROTEC-CL

JACKET FLAME RESISTANT

| Item | SAP No. | SAP Material Name | SAP Short Specification |
| --- | --- | --- | --- |
| 1 | 231 | Jacket: Flame Resistant (Size 32/82) | Jacket ARC RATED Flame Resistant OVERALL, Size 32/82 AND COmpliance with SPECIFICATION CP_TSSPEC_176 |
| 2 | 1989 | Jacket: Flame Resistant (Size 34/87) | Jacket ARC RATED Flame Resistant OVERALL, Size 34/87 AND COmpliance with SPECIFICATION CP_TSSPEC_176 |
| 3 | 1990 | Jacket: Flame Resistant (Size 36/92) | Jacket: ARC RATED Flame Resistant OVERALL, Size 36/92 AND COmpliance with SPECIFICATION CP_TSSPEC_176 |
| 4 | 1991 | Jacket: Flame Resistant (Size 38/97) | Jacket ARC RATED Flame Resistant OVERALL, Size 38/97 AND COmpliance with SPECIFICATION CP_TSSPEC_176 |
| 5 | 1992 | Jacket: Flame Resistant (Size 40/102) | Jacket ARC RATED Flame Resistant OVERALL, Size 40/102 AND COmpliance with SPECIFICATION CP_TSSPEC_176 |
| 6 | 1993 | Jacket: Flame Resistant (Size 42/107) | Jacket ARC RATED Flame Resistant OVERALL, Size 42/107 AND COmpliance with SPECIFICATION CP_TSSPEC_176 |
| 7 | 1994 | Jacket: Flame Resistant (Size 44/112) | Jacket ARC RATED Flame Resistant OVERALL, Size 44/112 AND COmpliance with SPECIFICATION CP_TSSPEC_176 |
| 8 | 1995 | Jacket: Flame Resistant (Size 46/117) | Jacket ARC RATED Flame Resistant OVERALL, Size 46/117 AND COmpliance with SPECIFICATION CP_TSSPEC_176 |
| 9 | 1996 | Jacket: Flame Resistant (Size 48/122) | Jacket ARC RATED Flame Resistant OVERALL, Size 48/122 AND COmpliance with SPECIFICATION CP_TSSPEC_176 |
| 10 | 1997 | Jacket: Flame Resistant (Size 50/127) | Jacket ARC RATED Flame Resistant OVERALL, Size 50/127 AND COmpliance with SPECIFICATION CP_TSSPEC_176 |
| 11 | 1998 | Jacket: Flame Resistant (Size 52/132) | Jacket ARC RATED Flame Resistant OVERALL, Size 52/132 AND COmpliance with SPECIFICATION CP_TSSPEC_176 |
| 12 | 1999 | Jacket: Flame Resistant (Size 54/137) | Jacket ARC RATED Flame Resistant OVERALL, Size 54/137 AND COmpliance with SPECIFICATION CP_TSSPEC_176 |
| 13 | 2000 | Jacket: Flame Resistant (Size 56/142) | Jacket ARC RATED Flame Resistant OVERALL, Size 56/142 AND COmpliance with SPECIFICATION CP_TSSPEC_176 |
| 14 | 2001 | Jacket: Flame Resistant (Size 58/147) | Jacket ARC RATED Flame Resistant OVERALL, Size 58/147) |

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
| # 1. | 231 | Jacket: Flame Resistant (Size 32/82) | 32/82 | 1 |  |
| # 2. | 1989 | Jacket: Flame Resistant (Size 34/87) | 34/87 | 1 |  |
| # 3. | 1990 | Jacket: Flame Resistant (Size 36/92) | 36/92 | 1 |  |
| # 4. | 1991 | Jacket: Flame Resistant (Size 38/97) | 38/97 | 1 |  |
| # 5. | 1992 | Jacket: Flame Resistant (Size 40/102) | 40/102 | 1 |  |
| # 6. | 1993 | Jacket: Flame Resistant (Size 42/107) | 42/107 | 1 |  |
| # 7. | 1994 | Jacket: Flame Resistant (Size 44/112) | 44/112 | 1 |  |
| # 8. | 1995 | Jacket: Flame Resistant (Size 46/117) | 46/117 | 1 |  |
| # 9. | 1996 | Jacket: Flame Resistant (Size 48/122) | 48/122 | 1 |  |
| # 10. | 1997 | Jacket: Flame Resistant (Size 50/127) | 50/127 | 1 |  |
| # 11. | 1998 | Jacket: Flame Resistant (Size 52/132) | 52/132 | 1 |  |
| # 12. | 1999 | Jacket: Flame Resistant (Size 54/137) | 54/137 | 1 |  |
| # 13. | 2000 | Jacket: Flame Resistant (Size 56/142) | 56/142 | 1 |  |
| # 14. | 2001 | Jacket: Flame Resistant (Size 58/147) | 58/147 | 1 |  |

BOQ

TROUSERS FLAME RESISTANT

| Item | SAP No. | SAP Material Name | SAP Short Specification |
| --- | --- | --- | --- |
| 1 | 11380 | TROUSERS: Flame Resistant (Size 32/82) | TROUSERS ARC RATED Flame Resistant OVERALL, Size 32/82 AND COmpliance with SPECIFICATION CP_TSSPEC_176 |
| 2 | 2002 | TROUSERS: Flame Resistant (Size 34/87) | TROUSERS ARC RATED Flame Resistant OVERALL, Size 34/87 AND COmpliance with SPECIFICATION CP_TSSPEC_176 |
| 3 | 2003 | TROUSERS: Flame Resistant (Size 36/92) | TROUSERS ARC RATED Flame Resistant OVERALL, Size 36/92 AND COmpliance with SPECIFICATION CP_TSSPEC_176 |
| 4 | 2004 | TROUSERS: Flame Resistant (Size 38/97) | TROUSERS ARC RATED Flame Resistant OVERALL, Size 38/97 AND COmpliance with SPECIFICATION CP_TSSPEC_176 |
| 5 | 2005 | TROUSERS: Flame Resistant (Size 40/102) | TROUSERS ARC RATED Flame Resistant OVERALL, Size 40/102 AND COmpliance with SPECIFICATION CP_TSSPEC_176 |
| 6 | 2006 | TROUSERS: Flame Resistant (Size 42/107) | TROUSERS ARC RATED Flame Resistant OVERALL, Size 42/107 AND COmpliance with SPECIFICATION CP_TSSPEC_176 |
| 7 | 2007 | TROUSERS : Flame Resistant (Size 44/112) | ARC RATED Flame Resistant OVERALL, Size 44/112 AND COmpliance with SPECIFICATION CP_TSSPEC_176 |
| 8 | 2008 | TROUSERS: Flame Resistant (Size 46/117) | TROUSERS ARC RATED Flame Resistant OVERALL, Size 46/117 AND COmpliance with SPECIFICATION CP_TSSPEC_176 |
| 9 | 2009 | TROUSERS: Flame Resistant (Size 48/122) | TROUSERS ARC RATED Flame Resistant OVERALL, Size 48/122 AND COmpliance with SPECIFICATION CP_TSSPEC_176 |
| 10 | 2010 | TROUSERS: Flame Resistant (Size 50/127) | TROUSERS ARC RATED Flame Resistant OVERALL, Size 50/127 AND COmpliance with SPECIFICATION CP_TSSPEC_176 |
| 11 | 2011 | TROUSERS: Flame Resistant (Size 52/132) | TROUSERS ARC RATED Flame Resistant OVERALL, Size 52/132 AND COmpliance with SPECIFICATION CP_TSSPEC_176 |
| 12 | 2012 | TROUSERS: Flame Resistant (Size 54/137) | TROUSERS ARC RATED Flame Resistant OVERALL, Size 54/137 AND COmpliance with SPECIFICATION CP_TSSPEC_176 |
| 13 | 2013 | TROUSERS: Flame Resistant (Size 56/142) | TROUSERS ARC RATED Flame Resistant OVERALL, Size 56/142 AND COmpliance with SPECIFICATION CP_TSSPEC_176 |
| 14 | 2014 | TROUSERS: Flame Resistant (Size 58/147) | TROUSERS ARC RATED Flame Resistant OVERALL, Size 58/147 AND COmpliance with SPECIFICATION CP_TSSPEC_176 |

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
| # 1. | 11380 | TROUSERS: Flame Resistant (Size 32/82) | 32/82 | 1 |  |
| # 2. | 2002 | TROUSERS: Flame Resistant (Size 34/87) | 34/87 | 1 |  |
| # 3. | 2003 | TROUSERS: Flame Resistant (Size 36/92) | 36/92 | 1 |  |
| # 4. | 2004 | TROUSERS: Flame Resistant (Size 38/97) | 38/97 | 1 |  |
| # 5. | 2005 | TROUSERS: Flame Resistant (Size 40/102) | 40/102 | 1 |  |
| # 6. | 2006 | TROUSERS: Flame Resistant (Size 42/107) | 42/107 | 1 |  |
| # 7. | 2007 | TROUSERS : Flame Resistant (Size 44/112) | 44/112 | 1 |  |
| # 8. | 2008 | TROUSERS: Flame Resistant (Size 46/117) | 46/117 | 1 |  |
| # 9. | 2009 | TROUSERS: Flame Resistant (Size 48/122) | 48/122 | 1 |  |
| # 10. | 2010 | TROUSERS: Flame Resistant (Size 50/127) | 50/127 | 1 |  |
| # 11. | 2011 | TROUSERS: Flame Resistant (Size 52/132) | 52/132 | 1 |  |
| # 12. | 2012 | TROUSERS: Flame Resistant (Size 54/137) | 54/137 | 1 |  |
| # 13. | 2013 | TROUSERS: Flame Resistant (Size 56/142) | 56/142 | 1 |  |
| # 14. | 2014 | TROUSERS: Flame Resistant (Size 58/147) | 58/147 | 1 |  |

BOQ

UNDERWEAR ARC RATED

| Item | SAP No. | SAP Material Name | SAP Short Specification |
| --- | --- | --- | --- |
| 1 | 3388 | Under-pants 100% Cotton female Small | Under-pants 100% Cotton female Small Compliance with Specification CP_TSSPEC_176 |
| 2 | 3389 | Under-pants 100% Cotton female | Under-pants 100% Cotton female medium Compliance with Specification CP_TSSPEC_176 |
| 3 | 3390 | Under-pants 100% Cotton female large | Under-pants 100% Cotton female large Compliance with Specification CP_TSSPEC_176 |
| 4 | 3391 | Under-pants 100% Cotton female X large | Under-pants 100% Cotton female X large Compliance with Specification CP_TSSPEC_176 |
| 5 | 3392 | Under-pants 100% Cotton female XX large | Under-pants 100% Cotton female XX large Compliance with Specification CP_TSSPEC_176 |
| 6 | 3393 | Under-pants 100% Cotton female XXX large | Under-pants 100% Cotton female XXX large Compliance with Specification CP_TSSPEC_176 |
| 7 | 3382 | Under-pants 100% Cotton Male small | Under-pants 100% Cotton male small Compliance with Specification CP_TSSPEC_176 |
| 8 | 3383 | Under-pants 100% Cotton Male medium | Under-pants 100% Cotton male medium Compliance with Specification CP_TSSPEC_176 |
| 9 | 3384 | Under-pants 100% Cotton Male large | Under-pants 100% Cotton male large Compliance with Specification CP_TSSPEC_176 |
| 10 | 3385 | Under-pants 100% Cotton Male X large | Under-pants 100% Cotton male XX large Compliance with Specification CP_TSSPEC_176 |
| 11 | 3386 | Under-pants 100% Cotton Male XX large | Under-pants 100% Cotton male XX large Compliance with Specification CP_TSSPEC_176 |
| 12 | 3387 | Under-pants 100% Cotton Male XXX large | Under-pants 100% Cotton male XXX large Compliance with Specification CP_TSSPEC_176 |
| 13 | 3394 | Bra 100% cotton small | Bra 100% cotton small Compliance with Specification CP_TSSPEC_176 |
| 14 | 3395 | Bra 100% cotton medium | Bra 100% cotton medium Compliance with Specification CP_TSSPEC_176 |
| 15 | 3396 | Bra 100% cotton large | Bra 100% cotton large Compliance with Specification CP_TSSPEC_176 |
| 16 | 3398 | Bra 100% cotton X large | Bra 100% cotton X large Compliance with Specification CP_TSSPEC_176 |
| 17 | 3397 | Bra 100% cotton XX large | Bra 100% cotton XX large Compliance with Specification CP_TSSPEC_176 |
| 18 | 3399 | Bra 100% cotton XXX large | Bra 100% cotton XXX large Compliance with Specification CP_TSSPEC_176 |

BOQ

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
| # 1. | 3388 | Under-pants 100% Cotton female Small | S | 1 |  |
| # 2. | 3389 | Under-pants 100% Cotton female | M | 1 |  |
| # 3. | 3390 | Under-pants 100% Cotton female large | L | 1 |  |
| # 4. | 3391 | Under-pants 100% Cotton female X large | XL | 1 |  |
| # 5. | 3392 | Under-pants 100% Cotton female XX large | 2XL | 1 |  |
| # 6. | 3393 | Under-pants 100% Cotton female XXX large | 3XL | 1 |  |
| # 7. | 3382 | Under-pants 100% Cotton Male small | S | 1 |  |
| # 8. | 3383 | Under-pants 100% Cotton Male medium | M | 1 |  |
| # 9. | 3384 | Under-pants 100% Cotton Male large | L | 1 |  |
| # 10. | 3385 | Under-pants 100% Cotton Male X large | XL | 1 |  |
| # 11. | 3386 | Under-pants 100% Cotton Male XX large | 2XL | 1 |  |
| # 12. | 3387 | Under-pants 100% Cotton Male XXX large | 3XL | 1 |  |
| # 13. | 3394 | Bra 100% cotton small | S | 1 |  |
| # 14. | 3395 | Bra 100% cotton medium | M | 1 |  |
| # 15. | 3396 | Bra 100% cotton large | L | 1 |  |
| # 16. | 3398 | Bra 100% cotton X large | XL | 1 |  |
| # 17. | 3397 | Bra 100% cotton XX large | 2XL | 1 |  |
| # 18. | 3399 | Bra 100% cotton XXX large | 3XL | 1 |  |

Material Group: PERSONAL PROTECTIVE ARC RATED SOCKS

| Item | SAP No | SAP Short Description | SAP Long Description |
| --- | --- | --- | --- |
| 1 | 11394 | Socks 100% cotton navy blue size 4-6 | Socks 100% cotton navy blue size 4-6 compliance with Specification CP_TSSPEC_176 |
| 2 | 3362 | Socks 100% cotton navy blue size 7-9 | Socks 100% cotton navy blue size 7-9 compliance with Specification CP_TSSPEC_176 |
| 3 | 3363 | Socks 100% cotton navy blue size 10-12 | Socks 100% cotton navy blue size 10-12 compliance with Specification CP_TSSPEC_176 |

BOQ

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
| # 1. | 11394 | Socks 100% cotton navy blue size 4-6 | 4-6 | 1 |  |
| # 2. | 3362 | Socks 100% cotton navy blue size 7-9 | 7-9 | 1 |  |
| # 3. | 3363 | Socks 100% cotton navy blue size 10-12 | 10-12 | 1 |  |

CATEGORY 1:   EVALUATION CRITERIA 4 - ARC RATED FLASH CASUAL WEAR PERSONAL CLOTHING CP_TSSPEC_282

| Bid no: 2324G : REQUEST FOR BIDS FOR SUPPLY & DELIVERY OF PERSONAL PROPECTIVE EQUIPMENT |  |  |
| --- | --- | --- |
| Mandatory requirements |  | Yes/No |
| 1. | Local content Annexure C and MBD6.2 to be completed in full, failure to complete the local Content and MBD 6.2 will result in your bid being non- responsive, ANNEXTURES C, D AND E |  |
| 2. | Technical schedules to be completed in full and signed as per schedule A, failure to complete the technical schedule as indicated will result in your bid being non- responsive |  |
| 3. | BOQs selected to be priced in full, failure to complete the BOQs in full will result in your bid being non – responsive. Distributors to provide a letter of agreement from the manufacturer, failure to provide the agreement from the manufacture will also result in the bid being considered non –responsive. |  |
| Stage 1 Evaluation: A minimum threshold of 75% must be achieved to proceed to the Stage 2 Evaluation Evaluation will be done on a relationship to the weighting on a scale of 0 to 10 |  |  |
| Technical Evaluation: |  | Weight |
| 1. | Type Test - Provide a signed type test report for ARC RATED FLASH CASUAL WEAR PERSONAL CLOTHING from an accredited body - Provided a type test report = 10 point - Did not provide a type test report = 0 points Max score points = 10 points | 40 |
| 2. | ISO Requirements - Provide a valid ISO 9001 certificate from the manufacturer - Provided a valid ISO 9001 certificate from the manufacturer = 10 points - Did not provide a valid ISO 9001 certificate from the manufacturer =0 points Max score points = 10 points | 20 |
| 3. | LEAD TIME: - Lead time for delivery - 2-4 weeks = 10 points - 5-7 weeks =7.5 points - More than 7 weeks = 0 points Max score points = 10 points | 10 |
| 4. | EXPERIENCE - Provide reference letters, signed letterhead including contact details of a similar scope of works as per specification, also indicating contract period and value - Provided three (3) reference letters and more = 10 points - Provided two (2) reference letters = 7 points - Provided one (1) reference letter = 1 point - Did not provide reference letters = 0 point (No appointment letters, contracts and purchase orders from clients will be accepted as reference letters.) Max score=10 points | 15 |
|  | NOTE TO ALL BIDDERS: ONLY BIDDERS WHO MEET THE MINIMUM OF WEIGHTING OF 60 POINTS OF THE EVALUATION CRITERIA 1,2,3,4, WILL BE ELIGIBLE FOR SITE VERIFICATION |  |
| 5. | Site Verification - Manufacturing capacity = 3 points - Store/warehouse capacity = 3 points - ISO certification/s displayed/verification = 1 points - Samples/ on site sample verification = 3 points Note : Will look at the relationship between manufacturing capacity and storage capacity Note: City Power still reserve the right to request samples from the bidder to City Power premises Bidders will be required to make arrangements for site visit with their manufacturers for site visit purposes Max score=10 points | 15 |
|  | Total | 100 |
| Stage 2 Evaluation |  |  |
| PRICE |  | 80 |
| B-BBEE |  | 20 |

MAXIMUM OF (4) FOUR BIDDERS PER CRITERIA

|  |  |  | REFERENCE |  |  | REV |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TITLE |  | SPECIFICATION FOR ARC RATED FLASH CASUAL WEAR PERSONAL CLOTHING | CP_TSSPEC_282 |  |  | 0 |  |
|  |  |  | DATE: | APRIL 2019 |  |  |  |
|  |  |  | PAGE: | 1 | OF |  | 21 |

TABLE OF CONTENTS

Page

INTRODUCTION

1SCOPE	3

2NORMATIVE REFERENCES	3

3DEFINITIONS AND ABBREVIATIONS	3

4REQUIREMENTS	4

5TESTS	6

6QUALITY MANAGEMENT	7

7 ENVIRONMENTAL MANAGEMENT	7

8. HEALTH AND SAFETY	7

Annex A - Bibliography	8

Annex B - Revision information	9

Annex C - Technical Schedules A and B for 	Arc Flash casual wear warm jacket	10

Annex C – Deviation Schedule for Arc Flash casual wear warm jacket	11

Annex C - Technical Schedules A and B for Arc Flash Long Sleeve Casual Wear Shirt	12

Annex C – Deviation Schedule for Arc Flash Long Sleeve casual Wear Shirt	13

Annex C - Technical Schedules A and B for 	Arc Flash Short Sleeve Casual Wear Shirt	14

Annex C – Deviation Schedule for Arc Flash Short Sleeve Casual Wear Shirt	15

Annex C - Technical Schedules A and B for Arc Flash Jean Casual Wear Trouser	16

Annex C – Deviation Schedule for Arc Flash Jean Casual Wear Trouser	17

Annex D – Stock Items	18

# INTRODUCTION

City Power personnel routinely carry out work in close proximity to electrical equipment. Whilst every possible safety precaution is followed, the employer is obliged to provide arc flash clothing which will give personnel the maximum possible degree of safety whilst, simultaneously, being comfortable enough not to restrict movement or cause discomfort.

# 1 SCOPE

This specification covers City Power’s requirements for jean casual wear in accordance with the requirements of Occupational Health and Safety Act, General Safety Regulations, point 2 – Personal Safety Equipment and Facilities.

# NORMATIVE REFERENCES

The following documents contain provisions that, through reference in the text, constitute requirements of this specification.  At the time of publication, the editions indicated were valid.  All standards and specifications are subject to revision, and parties to agreements based on this specification are encouraged to investigate the possibility of applying the most recent editions of the documents listed below;

ASTM F 1506: Standard performance specification for jean casual wear textile materials for wearing

apparel for use by electrical workers exposed to momentary electric arc and related thermal

hazards.

ASTM F 1959: Standard test method for determining the arc rating of materials for clothing.

ASTM F 2621: Standard practice for determining response characteristics and design integrity of

arc rated finished products in an electric arc exposure.

IEC 61482-1-2: Live working – Protective clothing against the thermal hazards of an electric arc –

Part 1-2: Test methods – Method 2: Determination of arc protection class of material and clothing by

using a constrained and directed arc (box test).

IEC 61482-2: Live working – Protective clothing against the thermal hazards of an electric arc –

Part 2: Requirements.

ISO 17493: Clothing and equipment for protection against heat – Test method for convective heat

resistance using a hot air circulating oven.

NFPA 70E:2009: Standard for electrical safety in the workplace.

SANS 984/IEEE Std 1584, Guide for performing arc-flash hazard calculations.

SANS 434, General protective clothing.

SANS 724 – Personal protective equipment and protective clothing against the thermal hazards of an electric arc flash.

# DEFINITIONS AND ABBREVIATIONS

Meta-aramid fibres - Any class of strong, heat-resistant synthetic fibres use to construct inherently arc rated material for use in Personal Protective Equipment (PPE).

HRC	Hazard Risk Category

ATPV      Arc Thermal Performance value

NFPA      National Fire Protection Agency

# REQUIREMENTS

  - Arc Flash casual wear warm jacket

    - This specification calls for the supply of Arc flash wear jackets for purposes of keeping   electrical workers warm whilst not derogating from the minimum level of electrical arc flash protection  provided at present.

    - It shall have standard button down collar, adjustable cuffs with button closure.

    - It shall be a New “Easy Fit” design for comfort fit and fashionable appearance.

    - Arc flash casual wear jackets are required for use over daily work wear.

    - Daily work wear consists of underwear (e.g. vests), innerwear (e.g shirt or t-shirt),

HRC 2 jacket   as per as per SANS 724

    - The arc flash casual wear jackets shall be rated a HRC 2 as per NFPA 70E.

    - The arc flash casual wear jackets shall be rated a HRC 2, ATPV 12.3cal/cm.

    - The arc withstand performance of the fabric shall originate from the inherent             characteristics of the fabric prior to any treatments.

    - Size designations shall be compliant to SANS 434 (latest edition).

    - The Garments shall provide provision for male cut sizes.

    - The Garments shall provide provision for female cut sizes.

    - The Garments shall have a stitched arc rated reflective tape in both arms.

    - Garment shall be navy in colour with City of Johannesburg on the right breast and City

Power branding on upper left pocket of the jacket.

    - The colour of the arc flash wear jacket shall preferably be navy.

  - Arc Flash Long Sleeve  Casual Wear Shirt

    - The garments of the shirt shall comply to SANS 724.

    - The arc flash long sleeved wear shirt shall be rated a HRC 2 as per NFPA 70E.

    - The arc flash long sleeved wear shirt shall be rated a HRC 2, ATPV 12.3cal/cm.

    - Size designations shall comply with SANS 434 requirements.

    - The arc withstand performance of the fabric shall originate from the inherent characteristics of  the fabric prior to any treatment.

    - The Garments shall provide provision for male cut.

    - The Garments shall provide provision for female cut

    - The long sleeve wear shirt shall have buttons and two breast pockets.

    - It shall have standard button down collar, adjustable cuffs with button closure.

    - It shall be a New “Easy Fit” design for comfort fit and fashionable appearance.

    - Garment shall be navy blue in colour with City of Johannesburg on the right breast and City    Power branding on   upper pocket of the shirt.

  - Arc Flash Short Sleeve casual Wear Shirt

    - The garments of the shirt shall comply to SANS 724.

    - The arc flash long sleeved wear shirt shall be rated a HRC 2 as per NFPA 70E.

    - The arc flash long sleeved wear shirt shall be rated a HRC 2, ATPV 12.3cal/cm.

    - Size designations shall comply with SANS 434 requirements.

    - The arc withstand performance of the fabric shall originate from the inherent characteristics of

the fabric prior to any treatment.

    - The Garments shall provide provision for male cut.

    - The Garments shall provide provision for female cut

    - The short sleeve wear shirt shall have buttons and two breast pockets.

    - It shall have standard button down collar, adjustable cuffs with button closure.

    - It shall be a New “Easy Fit” design for comfort fit and fashionable appearance.

    - Garment shall be navy blue in colour with City of Johannesburg on the right breast and City

Power branding on upper pockets of the shirt.

    - It shall be triple layerd material, nomex, modacrylic and antistatic.

  - Arc Flash Jean Casual Wear Trouser

    - The garments of the shirt shall comply to SANS 724.

    - The arc flash jean casual trouser shall be rated a HRC 2 as per NFPA 70E

    - The arc flash jean casual trouser shall be rated a HRC 2, ATPV 12.3cal/cm.

    - The arc flash jean casual trouser shall be rated a HRC 2 as per NFPA 70E

    - The arc flash jean casual trouser shall be rated a HRC 2, ATPV 12.3cal/cm.

    - Size designations shall comply with SANS 434 requirements.

    - The arc withstand performance of the fabric shall originate from the inherent characteristics of

the fabric prior to any treatment.

    - The Garments shall provide provision for male cut.

    - The Garments shall provide provision for female cut

    - It shall be of denim regular material with zip and one back pocket.

    - It shall be a New “Easy Fit” design for comfort fit and fashionable appearance.

    - Garment shall be navy blue in colour with City of Johannesburg and City Power branding on

rear right trousers pocket.

### 4.3.1 Size ranging

The protective clothing shall be sized in accordance with the requirements of SANS 434.

| Size range | Chest circumference | Back length | Back width | Sleeve Length | Cuff circumference |
| --- | --- | --- | --- | --- | --- |
| 82 | 99 | 71 | 38 | 47 | 27 |
| 87 | 104 | 72 | 40 | 48 | 27 |
| 92 | 109 | 73 | 42 | 48 | 28 |
| 97 | 114 | 74 | 44 | 49 | 28 |
| 102 | 119 | 74,5 | 46 | 49 | 28 |
| 107 | 124 | 75 | 48 | 50 | 29 |
| 112 | 129 | 75,5 | 50 | 50 | 29 |
| 117 | 134 | 76 | 52 | 51 | 29 |
| 122 | 139 | 76,5 | 54 | 51 | 30 |
| 127 | 144 | 77 | 56 | 52 | 30 |
| 132 | 149 | 77,5 | 58 | 52 | 30 |
| 137 | 154 | 78 | 60 | 53 | 31 |
| 142 | 159 | 78,5 | 62 | 53 | 31 |
| 147 | 164 | 79 | 64 | 54 | 31 |

Table 2: Size range for arc casual wear warm jackets

| Size designation | Outside leg length | Inside leg length | Waist | Seat circumference | Knee circumference | Bottom circumference |
| --- | --- | --- | --- | --- | --- | --- |
| 82/72 | 104 | 79 | 85 | 97 | 52 | 44 |
| 87/77 | 106 | 80 | 90 | 102 | 53 | 46 |
| 92/82 | 108 | 81 | 95 | 107 | 54 | 48 |
| 97/87 | 110 | 82 | 100 | 112 | 55 | 50 |
| 102/92 | 110 | 82 | 105 | 117 | 56 | 50 |
| 107/97 | 111 | 82 | 110 | 122 | 57 | 50 |
| 112/102 | 111 | 82 | 115 | 127 | 58 | 50 |
| 117/107 | 111 | 81 | 120 | 132 | 58,5 | 51 |
| 122/112 | 111 | 81 | 125 | 137 | 59 | 51 |
| 127/117 | 111 | 80 | 130 | 142 | 59,5 | 51 |
| 132/122 | 111 | 80 | 135 | 147 | 60 | 51 |
| 137/127 | 112 | 80 | 140 | 152 | 60,5 | 52 |
| 142/132 | 112 | 80 | 145 | 157 | 61 | 52 |
| 147/137 | 113 | 80 | 150 | 162 | 61,5 | 52 |

Table 3: Size range for work wear suits - trousers

Note 1: 	Table 2 & 3 taken from SANS 434 document.

Note 2: 	The supplier is responsible for ensuring that the above sizes are in accordance with the arc flash casual wear currently in use at City Power, and special customized sizes upon request shall be required.

# 5	TESTS

5.1 Routine test

Visually examine the complete garment as per SANS 724 for compliance with this specification. City Power reserves the right to request to approve prototype testing before any ordering can commence.

5.2 Compulsory type tests and technical documents

5.2.1	All type tests as required by ASTM F1506 or IEC 61482-2

5.2.2.	Provision of arc test results (e.g. ASTM F1959, IEC 61482-1/2 or ASTM F2621) exclusively

without the provision of the requirements of 5.2.1 shall be considered non-conforming to this

specification

5.2.3	All type tests shall be conducted by an independent accredited test laboratory and these must

be signed.

5.2.4	City Power reserves the right to verify the authenticity of type test reports submitted and also to

carry out any further type testing of materials.

5.2.5	Detailed material technical data sheet from the original material manufacturer to be submitted

with any tender submissions.

Note: City Power reserves the right to view an existing arc rated flash casual wear personal clothing complying with this specification or if no such arc rated flash casual wear personal clothing exists a prototype shall be built and made available for inspection by representatives of City Power.

- QUALITY MANAGEMENT

A quality management plan shall be set up in order to assure the proper quality management of the arc rated flash casual wear during design, development, production, installation and servicing phases. Guidance on the requirements for a quality management plan may be found in the ISO 9001:2015. The details shall be subject to agreement between City Power and the Supplier.

# 7 ENVIRONMENTAL MANAGEMENT

An environmental management plan shall be set up in order to assure the proper environmental management of the arc rated flash casual wear throughout its entire life cycle (i.e. during design, development, production, installation, operation and maintenance, decommissioning and disposal phases). Guidance on the requirements for an environmental management system may be found in ISO 14001:2015 standards. The details shall be subject to agreement between City Power and the Supplier. This is to ensure that the asset created conforms to environmental standards and City Power SHERQ Policy

# 8. HEALTH AND SAFETY

A health and safety plan shall be set up in order to ensure proper management and compliance of the arc rated flash during installation, operation, maintenance, and decommissioning phases. Guidance on the requirements of a health and safety plan may be found in ISO 45001:2018 standards. This is to ensure that the asset conforms to standard operating procedures and City Power SHERQ Policy. The details shall be subject to agreement between City Power and the Supplier.

# Annex C - Technical Schedules A and B for 	Arc Flash casual wear warm jacket

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Sub clause of CP_TSSPEC_282 | Description | Schedule A | Schedule B (*) |
| --- | --- | --- | --- | --- |
| 1 | 4.1.1 | The garment shall comply with SANS 724 requirements. | Required |  |
| 2 | 4.1.2 | The garment shall comply with SANS 434 requirements. | Required |  |
| 3 | 4.1.3 | Garment to consist of one pieces. | Required |  |
| 4 | 4.1.5 | Garment to be navy blue in colour. | Required |  |
| 5 | 4.1.6 | The fabric manufacture shall have a valid ISO 9001 quality certificate and this shall also be provided with all tender submissions. | Required |  |
| 6 | 4.2.1.1 | The complete garment shall be suitably rated to be worm in a HRC 2 environment as per SANS 724 | Required |  |
| 7 | 4.2.1.2 | Fabric used in the manufacture of the garments shall be an inherently fire resistant fabric manufactured with a meta-aramid fibre composition, with a basis weight not greater than 270gsm. | Required |  |
| 8 | 4.2.3 | Garment marking and care labeling compliance | Required |  |
| 9 | 4.2.4 | Design and cut compliance | Required |  |
| 10 | 5.2.1 | Fabric type tested in accordance with ASTM F1959-04 and signed test reports submitted | Required |  |
| 11 | 5.2.2 | Complete garment type tested in accordance with ASTM F2621 and signed test reports submitted | Required |  |
| 12 | 5.2.5 | Detailed material technical data sheet from the original material manufacturer to be submitted with any tender submissions. | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	______________________________   __________________

Name in block letters                   Signature

Full name of company: 	   ______________________________________________________

# Annex C – Deviation Schedule for Arc Flash casual wear warm jacket

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_282 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	________________________________		________________

Name in block letters                          Signature

Full name of company: 	 _____________________________________________________________

# Annex C - Technical Schedules A and B for Arc Flash Long Sleeve Casual Wear Shirt

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Sub clause of CP_TSSPEC_282 | Description | Schedule A | Schedule B (*) |
| --- | --- | --- | --- | --- |
| 1 | 4.1.1 | The garment shall comply with SANS 724 requirements. | Required |  |
| 2 | 4.1.2 | The garment shall comply with SANS 434 requirements. | Required |  |
| 3 | 4.1.3 | Garment to consist of one piece. | Required |  |
| 4 | 4.1.5 | Garment to be navy blue in colour. | Required |  |
| 5 | 4.1.6 | The fabric manufacture shall have a valid ISO 9001 quality certificate and this shall also be provided with all tender submissions. | Required |  |
| 6 | 4.2.1.1 | The complete garment shall be suitably rated to be worm in a HRC 2 environment as per SANS 724. | Required |  |
| 7 | 4.2.1.2 | Fabric used in the manufacture of the garments shall be an inherently fire resistant fabric manufactured with a meta-aramid fibre composition, with a basis weight not greater than 270gsm. | Required |  |
| 8 | 4.2.3 | Garment marking and care labeling compliance | Required |  |
| 9 | 4.2.4 | Design and cut compliance | Required |  |
| 10 | 5.2.1 | Fabric type tested in accordance with ASTM F1959-04 and signed test reports submitted | Required |  |
| 11 | 5.2.2 | Complete garment type tested in accordance with ASTM F2621 and signed test reports submitted | Required |  |
| 12 | 5.2.5 | Detailed material technical data sheet from the original material manufacturer to be submitted with any tender submissions. | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	______________________________	__________________

Name in block letters                   Signature

Full name of company: 	   ______________________________________________________

# Annex C – Deviation Schedule for Arc Flash Long Sleeve casual Wear Shirt

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_282 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	________________________________		________________

Name in block letters                          Signature

Full name of company: 	 _____________________________________________________________

# Annex C - Technical Schedules A and B for 	Arc Flash Short Sleeve Casual Wear Shirt

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Sub clause of CP_TSSPEC_282 | Description | Schedule A | Schedule B (*) |
| --- | --- | --- | --- | --- |
| 1 | 4.1.1 | The garment shall comply with SANS 724 requirements. | Required |  |
| 2 | 4.1.2 | The garment shall comply with SANS 434 requirements. | Required |  |
| 3 | 4.1.3 | Garment to consist of one piece. | Required |  |
| 4 | 4.1.5 | Garment to be navy blue in colour. | Required |  |
| 5 | 4.1.6 | The fabric manufacture shall have a valid ISO 9001 quality certificate and this shall also be provided with all tender submissions. | Required |  |
| 6 | 4.2.1.1 | The complete garment shall be suitably rated to be worm in a HRC 2 environment as per SANS 724 after a minimum of 130 washes. | Required |  |
| 7 | 4.2.1.2 | Fabric used in the manufacture of the garments shall be an inherently fire resistant fabric manufactured with a meta-aramid fibre composition, with a basis weight not greater than 270gsm. | Required |  |
| 8 | 4.2.3 | Garment marking and care labeling compliance | Required |  |
| 9 | 4.2.4 | Design and cut compliance | Required |  |
| 10 | 5.2.1 | Fabric type tested in accordance with ASTM F1959-04 and signed test reports submitted | Required |  |
| 11 | 5.2.2 | Complete garment type tested in accordance with ASTM F2621 and signed test reports submitted | Required |  |
| 12 | 5.2.5 | Detailed material technical data sheet from the original material manufacturer to be submitted with any tender submissions. | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	______________________________	__________________

Name in block letters                   Signature

Full name of company: 	   ______________________________________________________

# Annex C – Deviation Schedule for Arc Flash Short Sleeve Casual Wear Shirt

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_282 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	________________________________		________________

Name in block letters							                          Signature

Full name of company: 	 _____________________________________________________________

# Annex C - Technical Schedules A and B for Arc Flash Jean Casual Wear Trouser

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Sub clause of CP_TSSPEC_282 | Description | Schedule A | Schedule B (*) |
| --- | --- | --- | --- | --- |
| 1 | 4.1.1 | The garment shall comply with SANS 724 requirements. | Required |  |
| 2 | 4.1.2 | The garment shall comply with SANS 434 requirements. | Required |  |
| 3 | 4.1.3 | Garment to consist of one piece. | Required |  |
| 4 | 4.1.5 | Garment to be navy blue in colour. | Required |  |
| 5 | 4.1.6 | The fabric manufacture shall have a valid ISO 9001 quality certificate and this shall also be provided with all tender submissions. | Required |  |
| 6 | 4.2.1.1 | The complete garment shall be suitably rated to be worm in a HRC 2 environment as per SANS 724 after a minimum of 130 washes. | Required |  |
| 7 | 4.2.1.2 | Fabric used in the manufacture of the garments shall be an inherently fire resistant fabric manufactured with a meta-aramid fibre composition, with a basis weight not greater than 270gsm. | Required |  |
| 8 | 4.2.3 | Garment marking and care labeling compliance | Required |  |
| 9 | 4.2.4 | Design and cut compliance | Required |  |
| 10 | 5.2.1 | Fabric type tested in accordance with ASTM F1959-04 and signed test reports submitted | Required |  |
| 11 | 5.2.2 | Complete garment type tested in accordance with ASTM F2621 and signed test reports submitted | Required |  |
| 12 | 5.2.5 | Detailed material technical data sheet from the original material manufacturer to be submitted with any tender submissions. | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	______________________________	__________________

Name in block letters	                  Signature

Full name of company: 	   ______________________________________________________

# Annex C – Deviation Schedule for Arc Flash Jean Casual Wear Trouser

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_282 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	________________________________		________________

Name in block letters                          Signature

Full name of company: 	 _____________________________________________________________

# Annex D – Stock Items

Material Group: PROTEC-CL

ARC FLASH CASUAL WEAR WARM JACKET

| Item | SAP No. | SAP Material Name | SAP Short Specification |
| --- | --- | --- | --- |
| 1 | 4221 | ARC FLASH CASUAL WEAR WARM JACKET (Size 32/82) | ARC FLASH CASUAL WEAR WARM JACKET, Size 32/82 AND COmpliance with SPECIFICATION CP_TSSPEC_282 |
| 2 | 4222 | ARC FLASH CASUAL WEAR WARM JACKET (Size 34/87) | ARC FLASH CASUAL WEAR WARM JACKET, Size 34/87 AND COmpliance with SPECIFICATION CP_TSSPEC_282 |
| 3 | 4223 | ARC FLASH CASUAL WEAR WARM JACKET (Size 36/92) | Jacket: ARC RATED JEAN CASUAL WEAR OVERALL, Size 36/92 AND COmpliance with SPECIFICATION CP_TSSPEC_282 |
| 4 | 4224 | ARC FLASH CASUAL WEAR WARM JACKET (Size 38/97) | ARC FLASH CASUAL WEAR WARM JACKET, Size 38/97 AND COmpliance with SPECIFICATION CP_TSSPEC_282 |
| 5 | 4225 | ARC FLASH CASUAL WEAR WARM JACKET (Size 40/102) | ARC FLASH CASUAL WEAR WARM JACKET, Size 40/102 AND COmpliance with SPECIFICATION CP_TSSPEC_282 |
| 6 | 4226 | ARC FLASH CASUAL WEAR WARM JACKET (Size 42/107) | ARC FLASH CASUAL WEAR WARM JACKET, Size 42/107 AND COmpliance with SPECIFICATION CP_TSSPEC_282 |
| 7 | 4227 | ARC FLASH CASUAL WEAR WARM JACKET (Size 44/112) | ARC FLASH CASUAL WEAR WARM JACKET, Size 44/112 AND COmpliance with SPECIFICATION CP_TSSPEC_282 |
| 8 | 4228 | ARC FLASH CASUAL WEAR WARM JACKET (Size 46/117) | ARC FLASH CASUAL WEAR WARM JACKET, Size 46/117 AND COmpliance with SPECIFICATION CP_TSSPEC_282 |
| 9 | 4229 | ARC FLASH CASUAL WEAR WARM JACKET (Size 48/122) | ARC FLASH CASUAL WEAR WARM JACKET, Size 48/122 AND COmpliance with SPECIFICATION CP_TSSPEC_282 |
| 10 | 4230 | ARC FLASH CASUAL WEAR WARM JACKET (Size 50/127) | ARC FLASH CASUAL WEAR WARM JACKET, Size 50/127 AND COmpliance with SPECIFICATION CP_TSSPEC_282 |
| 11 | 4231 | ARC FLASH CASUAL WEAR WARM JACKET (Size 52/132) | ARC FLASH CASUAL WEAR WARM JACKET, Size 52/132 AND COmpliance with SPECIFICATION CP_TSSPEC_282 |
| 12 | 4232 | ARC FLASH CASUAL WEAR WARM JACKET (Size 54/137) | ARC FLASH CASUAL WEAR WARM JACKET, Size 54/137 AND COmpliance with SPECIFICATION CP_TSSPEC_282 |
| 13 | 4233 | ARC FLASH CASUAL WEAR WARM JACKET (Size 56/142) | ARC FLASH CASUAL WEAR WARM JACKET, Size 56/142 AND COmpliance with SPECIFICATION CP_TSSPEC_282 |
| 14 | 4234 | ARC FLASH CASUAL WEAR WARM JACKET (Size 58/147) | ARC FLASH CASUAL WEAR WARM JACKET, Size 58/147) |

BOQ

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
| # 1. | 4221 | ARC FLASH CASUAL WEAR WARM JACKET (Size 32/82) | 32/82 | 1 |  |
| # 2. | 4222 | ARC FLASH CASUAL WEAR WARM JACKET (Size 34/87) | 34/87 | 1 |  |
| # 3. | 4223 | ARC FLASH CASUAL WEAR WARM JACKET (Size 36/92) | 36/92 | 1 |  |
| # 4. | 4224 | ARC FLASH CASUAL WEAR WARM JACKET (Size 38/97) | 38/97 | 1 |  |
| # 5. | 4225 | ARC FLASH CASUAL WEAR WARM JACKET (Size 40/102) | 40/102 | 1 |  |
| # 6. | 4226 | ARC FLASH CASUAL WEAR WARM JACKET (Size 42/107) | 42/107 | 1 |  |
| # 7. | 4227 | ARC FLASH CASUAL WEAR WARM JACKET (Size 44/112) | 44/112 | 1 |  |
| # 8. | 4228 | ARC FLASH CASUAL WEAR WARM JACKET (Size 46/117) | 46/117 | 1 |  |
| # 9. | 4229 | ARC FLASH CASUAL WEAR WARM JACKET (Size 48/122) | 48/122 | 1 |  |
| # 10. | 4230 | ARC FLASH CASUAL WEAR WARM JACKET (Size 50/127) | 50/127 | 1 |  |
| # 11. | 4231 | ARC FLASH CASUAL WEAR WARM JACKET (Size 52/132) | 52/132 | 1 |  |
| # 12. | 4232 | ARC FLASH CASUAL WEAR WARM JACKET (Size 54/137) | 54/137 | 1 |  |
| # 13. | 4233 | ARC FLASH CASUAL WEAR WARM JACKET (Size 56/142) | 56/142 | 1 |  |
| # 14. | 4234 | ARC FLASH CASUAL WEAR WARM JACKET (Size 58/147) | 58/147 | 1 |  |

ARC FLASH LONG SLEEVE CASUAL WEAR SHIRT

| Item | SAP No. | SAP Material Name | SAP Short Specification |
| --- | --- | --- | --- |
| 1 | 4235 | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton female Small | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton female Small Compliance with Specification CP_TSSPEC_282 |
| 2 | 4236 | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton female Meduim | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton female medium Compliance with Specification CP_TSSPEC_282 |
| 3 | 4237 | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton female large | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton female large Compliance with Specification CP_TSSPEC_282 |
| 4 | 4238 | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton female X large | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton female X large Compliance with Specification CP_TSSPEC_282 |
| 5 | 4239 | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton female XX large | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton female XX large Compliance with Specification CP_TSSPEC_282 |
| 6 | 4240 | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton Male small | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton male small Compliance with Specification CP_TSSPEC_282 |
| 7 | 4241 | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton Male medium | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton male medium Compliance with Specification CP_TSSPEC_282 |
| 8 | 4242 | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton Male large | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton male large Compliance with Specification CP_TSSPEC_282 |
| 9 | 4243 | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton Male X large | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton male XX large Compliance with Specification CP_TSSPEC_282 |
| 10 | 4244 | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton Male XX large | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton male XX large Compliance with Specification CP_TSSPEC_282 |

BOQ

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
| # 1. | 4235 | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton female Small | S | 1 |  |
| # 2. | 4236 | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton female Meduim | M | 1 |  |
| # 3. | 4237 | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton female large | L | 1 |  |
| # 4. | 4238 | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton female X large | XL | 1 |  |
| # 5. | 4239 | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton female XX large | 2XL | 1 |  |
| # 6. | 4240 | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton Male small | S | 1 |  |
| # 7. | 4241 | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton Male medium | M | 1 |  |
| # 8. | 4242 | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton Male large | L | 1 |  |
| # 9. | 4243 | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton Male X large | XL | 1 |  |
| # 10. | 4244 | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton Male XX large | 2XL | 1 |  |

ARC FLASH SHORT SLEEVE WEAR SHIRT

| Item | SAP No. | SAP Material Name | SAP Short Specification |
| --- | --- | --- | --- |
| 1 | 4245 | ARC FLASH SHORT SLEEVE CASUAL SHIRT100% Cotton female Small | ARC FLASH SHORT SLEEVE CASUAL SHIRT100% Cotton female Small Compliance with Specification CP_TSSPEC_282 |
| 2 | 4246 | ARC FLASH SHORT SLEEVE CASUAL SHIRT100% Cotton female MEDIUM | ARC FLASH SHORT SLEEVE CASUAL SHIRT100% Cotton female medium Compliance with Specification CP_TSSPEC_282 |
| 3 | 4247 | ARC FLASH SHORT SLEEVE CASUAL SHIRT100% Cotton female large | ARC FLASH SHORT SLEEVE CASUAL SHIRT100% Cotton female large Compliance with Specification CP_TSSPEC_282 |
| 4 | 4248 | ARC FLASH SHORT SLEEVE CASUAL SHIRT100% Cotton female X large | ARC FLASH SHORT SLEEVE CASUAL SHIRT100% Cotton female X large Compliance with Specification CP_TSSPEC_282 |
| 5 | 4249 | ARC FLASH SHORT SLEEVE CASUAL SHIRT100% Cotton female XX large | ARC FLASH SHORT SLEEVE CASUAL SHIRT100% Cotton female XX large Compliance with Specification CP_TSSPEC_282 |
| 6 | 4250 | ARC FLASH SHORT SLEEVE CASUAL SHIRT100% Cotton Male small | ARC FLASH SHORT SLEEVE CASUAL SHIRT100% Cotton male small Compliance with Specification CP_TSSPEC_282 |
| 7 | 4251 | ARC FLASH SHORT SLEEVE CASUAL SHIRT100% Cotton Male medium | ARC FLASH SHORT SLEEVE CASUAL SHIRT100% Cotton male medium Compliance with Specification CP_TSSPEC_282 |
| 8 | 4252 | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton Male large | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton male large Compliance with Specification CP_TSSPEC_282 |
| 9 | 4253 | ARC FLASH SHORT SLEEVE CASUAL SHIRT100% Cotton Male X large | ARC FLASH SHORT SLEEVE CASUAL SHIRT100% Cotton male XX large Compliance with Specification CP_TSSPEC_282 |
| 10 | 4254 | ARC FLASH SHORT SLEEVE CASUAL SHIRT100% Cotton Male XX large | ARC FLASH SHORT SLEEVE CASUAL SHIRT100% Cotton male XX large Compliance with Specification CP_TSSPEC_282 |

BOQ

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
| # 1. | 4245 | ARC FLASH SHORT SLEEVE CASUAL SHIRT100% Cotton female Small | S | 1 |  |
| # 2. | 4246 | ARC FLASH SHORT SLEEVE CASUAL SHIRT100% Cotton female MEDIUM | M | 1 |  |
| # 3. | 4247 | ARC FLASH SHORT SLEEVE CASUAL SHIRT100% Cotton female large | L | 1 |  |
| # 4. | 4248 | ARC FLASH SHORT SLEEVE CASUAL SHIRT100% Cotton female X large | XL | 1 |  |
| # 5. | 4249 | ARC FLASH SHORT SLEEVE CASUAL SHIRT100% Cotton female XX large | 2XL | 1 |  |
| # 6. | 4250 | ARC FLASH SHORT SLEEVE CASUAL SHIRT100% Cotton Male small | S | 1 |  |
| # 7. | 4251 | ARC FLASH SHORT SLEEVE CASUAL SHIRT100% Cotton Male medium | M | 1 |  |
| # 8. | 4252 | ARC FLASH LONG SLEEVE CASUAL SHIRT100% Cotton Male large | L | 1 |  |
| # 9. | 4253 | ARC FLASH SHORT SLEEVE CASUAL SHIRT100% Cotton Male X large | XL | 1 |  |
| # 10. | 4254 | ARC FLASH SHORT SLEEVE CASUAL SHIRT100% Cotton Male XX large | 2XL | 1 |  |

ARC FLASH JEAN CASUAL WEAR TROUSER

| Item | SAP No. | SAP Material Name | SAP Short Specification |
| --- | --- | --- | --- |
| 1 | 4255 | TROUSERS: JEAN CASUAL WEAR (Size 32/82) | TROUSERS ARC RATED JEAN CASUAL WEAR, Size 32/82 AND COmpliance with SPECIFICATION CP_TSSPEC_282 |
| 2 | 4256 | TROUSERS: JEAN CASUAL WEAR (Size 34/87) | TROUSERS ARC RATED JEAN CASUAL WEAR, Size 34/87 AND COmpliance with SPECIFICATION CP_TSSPEC_282 |
| 3 | 4257 | TROUSERS: JEAN CASUAL WEAR (Size 36/92) | TROUSERS ARC RATED JEAN CASUAL WEAR , Size 36/92 AND COmpliance with SPECIFICATION CP_TSSPEC_282 |
| 4 | 4258 | TROUSERS: JEAN CASUAL WEAR (Size 38/97) | TROUSERS ARC RATED JEAN CASUAL WEAR, Size 38/97 AND COmpliance with SPECIFICATION CP_TSSPEC_282 |
| 5 | 4259 | TROUSERS: JEAN CASUAL WEAR (Size 40/102) | TROUSERS ARC RATED JEAN CASUAL WEAR, Size 40/102 AND COmpliance with SPECIFICATION CP_TSSPEC_282 |
| 6 | 4260 | TROUSERS: JEAN CASUAL WEAR (Size 42/107) | TROUSERS ARC RATED JEAN CASUAL WEAR, Size 42/107 AND COmpliance with SPECIFICATION CP_TSSPEC_282 |
| 7 | 4261 | TROUSERS : JEAN CASUAL WEAR (Size 44/112) | ARC RATED JEAN CASUAL WEAR, Size 44/112 AND COmpliance with SPECIFICATION CP_TSSPEC_282 |
| 8 | 4262 | TROUSERS: JEAN CASUAL WEAR (Size 46/117) | TROUSERS ARC RATED JEAN CASUAL WEAR , Size 46/117 AND COmpliance with SPECIFICATION CP_TSSPEC_282 |
| 9 | 4263 | TROUSERS: JEAN CASUAL WEAR (Size 48/122) | TROUSERS ARC RATED JEAN CASUAL WEAR , Size 48/122 AND COmpliance with SPECIFICATION CP_TSSPEC_282 |
| 10 | 4264 | TROUSERS: JEAN CASUAL WEAR (Size 50/127) | TROUSERS ARC RATED JEAN CASUAL WEAR, Size 50/127 AND COmpliance with SPECIFICATION CP_TSSPEC_282 |
| 11 | 4265 | TROUSERS: JEAN CASUAL WEAR (Size 52/132) | TROUSERS ARC RATED JEAN CASUAL WEAR, Size 52/132 AND COmpliance with SPECIFICATION CP_TSSPEC_282 |
| 12 | 4266 | TROUSERS: JEAN CASUAL WEAR (Size 54/137) | TROUSERS ARC RATED JEAN CASUAL WEAR , Size 54/137 AND COmpliance with SPECIFICATION CP_TSSPEC_282 |
| 13 | 4267 | TROUSERS: JEAN CASUAL WEAR (Size 56/142) | TROUSERS ARC RATED JEAN CASUAL WEAR, Size 56/142 AND COmpliance with SPECIFICATION CP_TSSPEC_282 |
| 14 | 4268 | TROUSERS: JEAN CASUAL WEAR (Size 58/147) | TROUSERS ARC RATED JEAN CASUAL WEAR , Size 58/147 AND COmpliance with SPECIFICATION CP_TSSPEC_282 |

BOQ

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
| # 1. | 4255 | TROUSERS: JEAN CASUAL WEAR (Size 32/82) | 32/82 | 1 |  |
| # 2. | 4256 | TROUSERS: JEAN CASUAL WEAR (Size 34/87) | 34/87 | 1 |  |
| # 3. | 4257 | TROUSERS: JEAN CASUAL WEAR (Size 36/92) | 36/92 | 1 |  |
| # 4. | 4258 | TROUSERS: JEAN CASUAL WEAR (Size 38/97) | 38/97 | 1 |  |
| # 5. | 4259 | TROUSERS: JEAN CASUAL WEAR (Size 40/102) | 40/102 | 1 |  |
| # 6. | 4260 | TROUSERS: JEAN CASUAL WEAR (Size 42/107) | 42/107 | 1 |  |
| # 7. | 4261 | TROUSERS : JEAN CASUAL WEAR (Size 44/112) | 44/112 | 1 |  |
| # 8. | 4262 | TROUSERS: JEAN CASUAL WEAR (Size 46/117) | 46/117 | 1 |  |
| # 9. | 4263 | TROUSERS: JEAN CASUAL WEAR (Size 48/122) | 48/122 | 1 |  |
| # 10. | 4264 | TROUSERS: JEAN CASUAL WEAR (Size 50/127) | 50/127 | 1 |  |
| # 11. | 4265 | TROUSERS: JEAN CASUAL WEAR (Size 52/132) | 52/132 | 1 |  |
| # 12. | 4266 | TROUSERS: JEAN CASUAL WEAR (Size 54/137) | 54/137 | 1 |  |
| # 13. | 4267 | TROUSERS: JEAN CASUAL WEAR (Size 56/142) | 56/142 | 1 |  |
| # 14. | 4268 | TROUSERS: JEAN CASUAL WEAR (Size 58/147) | 58/147 | 1 |  |

CATEGORY 1 ARC RATED EVALUATION CRITERIA 5- ARC RATED INSULATING GLOVES CP_TSSPEC_127

| Bid no: 2324G : REQUEST FOR BIDS FOR SUPPLY & DELIVERY OF PERSONAL PROPECTIVE EQUIPMENT |  |  |
| --- | --- | --- |
| Mandatory requirements |  | Yes/No |
| 1. | Local content Annexure C and MBD6.2 to be completed in full, failure to complete the local Content and MBD 6.2 will result in your bid being non- responsive, ANNEXTURES C, D AND E |  |
| 2. | Technical schedules to be completed in full and signed as per schedule A, failure to complete the technical schedule as indicated will result in your bid being non- responsive |  |
| 3. | BOQs selected to be priced in full, failure to complete the BOQs in full will result in your bid being non – responsive. Distributors to provide a letter of agreement from the manufacturer, failure to provide the agreement from the manufacture will also result in the bid being considered non –responsive. |  |
| Stage 1 Evaluation: A minimum threshold of 75% must be achieved to proceed to the Stage 2 Evaluation Evaluation will be done on a relationship to the weighting on a scale of 0 to 10 |  |  |
| Technical Evaluation: |  | Weight |
| 1. | Type Test - Provide a signed type test report for ARC RATED INSULATING GLOVES personal clothing from an accredited body - Provided a type test report = 10 point 1.1.2 Did not provide a type test report = 0 points Max score points = 10 points | 40 |
| 2. | ISO Requirements - Provide a valid ISO 9001 certificate from the manufacturer - Provided a valid ISO 9001 certificate from the manufacturer = 10 points - Did not provide a valid ISO 9001 certificate from the manufacturer =0 points Max score points = 10 points | 20 |
| 3. | LEAD TIME: - Lead time for delivery - 2-4 weeks = 10 points - 5-7 weeks =7.5 points - More than 7 weeks = 0 points Max score points = 10 points | 10 |
| 4. | EXPERIENCE - Provide reference letters, signed letterhead including contact details of a similar scope of works as per specification, also indicating contract period and value - Provided three (3) reference letters and more = 10 points - Provided two (2) reference letters = 7 points - Provided one (1) reference letter = 1 point - Did not provide reference letters = 0 point (No appointment letters, contracts and purchase orders from clients will be accepted as reference letters.) Max score=10 points | 15 |
|  | NOTE TO ALL BIDDERS: ONLY BIDDERS WHO MEET THE MINIMUM OF WEIGHTING OF 60 POINTS OF THE EVALUATION CRITERIA 1,2,3,4, WILL BE ELIGIBLE FOR SITE VERIFICATION |  |
| 5. | Site Verification 5.1 Manufacturing capacity = 3 points - Store/warehouse capacity = 3 points - ISO certification/s displayed/verification = 1 points - Samples/ on site sample verification = 3 points Note : Will look at the relationship between manufacturing capacity and storage capacity Note: City Power still reserve the right to request samples from the bidder to City Power premises Bidders will be required to make arrangements for site visit with their manufacturers for site visit purposes Max score=10 points | 15 |
|  | Total | 100 |
| Stage 2 Evaluation |  |  |
| PRICE |  | 80 |
| B-BBEE |  | 20 |

MAXIMUM OF (4) FOUR BIDDERS PER CRITERIA

|  |  |  | REFERENCE |  |  | REV |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TITLE |  | SPECIFICATION FOR AN ARC RATED INSULATING GLOVE SYSTEM | CP_TSSPEC_127 |  |  | 1 |  |
|  |  |  | DATE: | OCTOBER 2018 |  |  |  |
|  |  |  | PAGE: | 1 | OF |  | 19 |
|  |  |  | REVISION DATE: OCTOBER 2022 |  |  |  |  |

TABLE OF CONTENTS

Page

INTRODUCTION

1SCOPE	4

2NORMATIVE REFERENCES	4

3DEFINITIONS AND ABBREVIATIONS	4

4REQUIREMENTS	4

4.1	General	4

5TESTS	5

6MARKING AND PACKAGING	5

7DOCUMENTATION	5

8TRAINING	5

9QUALITY ASSURANCE	5

10. ENVIRONMENTAL MANAGEMENT	6

11. HEALTH AND SAFETY	6

Annex A - Bibliography	7

Annex B - Revision information	8

Annex C - Technical schedules A and B Arc Rated Operating Gloves	9

Annex C - Technical schedules A and B Arc Rated Operating Gloves	11

Annex C - Technical schedules A and B Arc Rated Operating Gloves	13

Annex C - Technical schedules A and B Arc Rated Operating Gloves	15

Annex C - Technical schedules A and B Arc Rated Operating Gloves	17

Annex D – Stock Items	19

INTRODUCTION

The importance of the safety and reliability of personal protective equipment (PPE) is crucial in terms of operator safety. It is therefore important to ensure that PPE complies with the required specifications and are of acceptable quality. As this is difficult to manage within the present City Power business structures it has been decided that SABS support structures will be relied upon to manage compliance to specification as well as quality. The implication to suppliers is that City Power will only purchase PPE that bears the SABS or IEC marks.

1. SCOPE

This specification covers City Power’s requirements for an insulating glove system (incorporating    under gloves, insulating gloves and protector gloves) in accordance with SANS 60903.

# 2. NORMATIVE REFERENCES

The following documents contain provisions that, through reference in the text, constitute requirements of this specification. At the time of publication, the editions indicated were valid. All standards and specifications are subject to revision, and parties to agreements based on this specification are encouraged to investigate the possibility of applying the most recent editions of the documents listed below.

SANS 60903, Gloves and mitts of insulating material for live work

# DEFINITIONS AND ABBREVIATIONS

The definitions and abbreviations in the above document shall apply to this specification.

# REQUIREMENTS

## General

    - The rubber gauntlets shall comply with SANS 60903.

    - The rubber gauntlets shall be Class 0 (1 000 V).

    - The rubber gauntlets shall be category M (increased mechanical resistance).

    - The rubber gauntlets shall be at least 1,0 mm thick and made from latex.

    - The gauntlets shall be supplied in size categories 8, 9, 10 or 11. The quantities and sizes shall be specified at the time of order.

    - The length of the gauntlets shall be 360 mm.

    - The gauntlets shall have a tensile strength of at least 20 MPa and a puncture resistance of at least 30 N/mm.

    - Under gloves are required to be supplied. The under gloves shall be made of cotton and shall be designed to be worn under the rubber gauntlet.

    - Over gloves (or protector gloves) are also required to be supplied. The over gloves shall be made of silicon grain leather and shall be lightweight and flexible. The over gloves shall be designed to be worn over the rubber gauntlets to provide mechanical and chemical protection to the rubber gauntlets.

In the cases of both the under and over gloves, either a one-size-fits-all or individually-sized glove solution shall be supplied. Full details shall be provided with the tender.

Note: 	The supplier is responsible for ensuring that the above sizes are in accordance with the arc rated insulating gloves currently in use at City Power, and special customized sizes upon request shall be required.

# TESTS

The gauntlets shall have been tested in accordance with the requirements of SANS 60903. In addition to the requirements of SANS 60903, each gauntlet shall be routine tested at a proof test voltage of 5 kV for one minute. The measured leakage current shall not exceed 14 mA at any time during the proof voltage test period.

Note: City Power reserves the right to view an existing arc rated insulating glove system complying with this specification or if no such arc rated insulating glove systems exist a prototype shall be built and made available for inspection by representatives of City Power.

# MARKING AND PACKAGING

  - In addition to the requirements of SANS 60903, the gauntlets shall be marked with the date the proof voltage test was carried out as well as the proof test voltage level.

Note:	Gauntlets tested more than six months prior to the date of delivery shall not be accepted.

  - The rubber gauntlets shall be supplied in re-sealable moisture proof bags.

# DOCUMENTATION

  - Detailed test reports confirming compliance with SANS 60903 shall be provided.

  - In addition to the documentation required above, full technical information relating to the performance, construction, operation, etc of the insulating glove system shall be supplied.

# TRAINING

8.1	The training shall be offered for City Power’s staff:

- Safe and correct use of the insulating glove system.

Note: City Power reserves the right to view an existing arc rated insulating gloves complying with  this specification or if no such arc rated flame resistant overalls exist a prototype shall be built and made available for inspection by representatives of City Power.

# QUALITY MANAGEMENT

A quality management plan shall be set up in order to assure the proper quality management of the arc rated insulating gloves during design, development, production, installation and servicing phases. Guidance on the requirements for a quality management plan may be found in the ISO 9001:2015. The details shall be subject to agreement between City Power and the Supplier.

# ENVIRONMENTAL MANAGEMENT

An environmental management plan shall be set up in order to assure the proper environmental management of the arc rated insulating gloves throughout its entire life cycle (i.e. during design, development, production, installation, operation and maintenance, decommissioning and disposal phases). Guidance on the requirements for an environmental management system may be found in ISO 14001:2015 standards. The details shall be subject to agreement between City Power and the Supplier. This is to ensure that the asset created conforms to environmental standards and City Power SHERQ Policy

# 11 HEALTH AND SAFETY

A health and safety plan shall be set up in order to ensure proper management and compliance of the arc rated insulating gloves during installation, operation, maintenance, and decommissioning phases. Guidance on the requirements of a health and safety plan may be found in ISO 45001:2018 standards. This is to ensure that the asset conforms to standard operating procedures and City Power SHERQ Policy. The details shall be subject to agreement between City Power and the Supplier.

# Annex C - Technical schedules A and B Arc Rated Operating Gloves

SAP 2361

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Sub-clause of CP_TSSPEC_127 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Name of manufacturer |  | Required |  |
| 2 |  | Place of manufacture |  | Required |  |
| 3 |  | Manufacturer’s identification reference |  | Required |  |
| 4 |  | Specification to which gauntlets comply |  | SANS 60903 |  |
| 5 |  | Nominal system voltage | V | 1 000 |  |
| 6 |  | Glove classification |  | Class 0 |  |
| 7 |  | Special property category |  | M |  |
| 8 |  | Length of gauntlet | mm | 360 |  |
| 9 |  | Size of gauntlets |  | 8/9/10/11 |  |
| 10 |  | Maximum leakage current at routine test voltage of 5 kV | mA | 14 |  |
| 11 |  | Tensile strength | MPa | ≥ 20 |  |
| 12 |  | Puncture resistance | N/mm | ≥ 30 |  |
| 13 | 4.1.8 | Under glove as per clause 4.1.8 |  |  |  |
| 14 | 4.1.9 | Over glove as per clause 4.1.9 |  |  |  |
| 15 | 6.1 | Marking as per clause 6.1 | Yes/No | Yes |  |
| 16 | 6.2 | Packing as per clause 6.2 | Yes/No | Yes |  |
| 17 | 7 | Certified copy of test reports provided with documentation | Yes/No | Yes |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________   __________________

Name in block letters		Signature

Full name of company: 	_____________________________________________________________

Technical schedules A and B SAP 2361

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_127 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory:_________________________________  __________________

Name in block letters		Signature

Full name of company: 	_____________________________________________________________

# Annex C - Technical schedules A and B Arc Rated Operating Gloves

SAP-3851

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Sub-clause of CP_TSSPEC_127 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Name of manufacturer |  | Required |  |
| 2 |  | Place of manufacture |  | Required |  |
| 3 |  | Manufacturer’s identification reference |  | Required |  |
| 4 |  | Specification to which gauntlets comply |  | SANS 60903 |  |
| 5 |  | Nominal system voltage | V | 1 000 |  |
| 6 |  | Glove classification |  | Class 0 |  |
| 7 |  | Special property category |  | M |  |
| 8 |  | Length of gauntlet | mm | 360 |  |
| 9 |  | Size of gauntlets |  | 8 |  |
| 10 |  | Maximum leakage current at routine test voltage of 5 kV | mA | 14 |  |
| 11 |  | Tensile strength | MPa | ≥ 20 |  |
| 12 |  | Puncture resistance | N/mm | ≥ 30 |  |
| 13 | 4.1.8 | Under glove as per clause 4.1.8 |  |  |  |
| 14 | 4.1.9 | Over glove as per clause 4.1.9 |  |  |  |
| 15 | 6.1 | Marking as per clause 6.1 | Yes/No | Yes |  |
| 16 | 6.2 | Packing as per clause 6.2 | Yes/No | Yes |  |
| 17 | 7 | Certified copy of test reports provided with documentation | Yes/No | Yes |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: ________________________________   ________________

Name in block letters		Signature

Full name of company: 	_____________________________________________________________

Technical schedules A and B SAP-3851

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_127 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory:_________________________________  __________________

Name in block letters		Signature

Full name of company: 	_____________________________________________________________

# Annex C - Technical schedules A and B Arc Rated Operating Gloves

SAP-(3852)

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Sub-clause of CP_TSSPEC_127 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Name of manufacturer |  | Required |  |
| 2 |  | Place of manufacture |  | Required |  |
| 3 |  | Manufacturer’s identification reference |  | Required |  |
| 4 |  | Specification to which gauntlets comply |  | SANS 60903 |  |
| 5 |  | Nominal system voltage | V | 1 000 |  |
| 6 |  | Glove classification |  | Class 0 |  |
| 7 |  | Special property category |  | M |  |
| 8 |  | Length of gauntlet | mm | 360 |  |
| 9 |  | Size of gauntlets |  | 9 |  |
| 10 |  | Maximum leakage current at routine test voltage of 5 kV | mA | 14 |  |
| 11 |  | Tensile strength | MPa | ≥ 20 |  |
| 12 |  | Puncture resistance | N/mm | ≥ 30 |  |
| 13 | 4.1.8 | Under glove as per clause 4.1.8 |  |  |  |
| 14 | 4.1.9 | Over glove as per clause 4.1.9 |  |  |  |
| 15 | 6.1 | Marking as per clause 6.1 | Yes/No | Yes |  |
| 16 | 6.2 | Packing as per clause 6.2 | Yes/No | Yes |  |
| 17 | 7 | Certified copy of test reports provided with documentation | Yes/No | Yes |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________   __________________

Name in block letters		Signature

Full name of company: 	_____________________________________________________________

Technical schedules A and B SAP (3852)

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_127 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________    __________________

Name in block letters             	Signature

Full name of company: 	_____________________________________________________________

# Annex C - Technical schedules A and B Arc Rated Operating Gloves

SAP (3853)

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Sub-clause of CP_TSSPEC_127 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Name of manufacturer |  | Required |  |
| 2 |  | Place of manufacture |  | Required |  |
| 3 |  | Manufacturer’s identification reference |  | Required |  |
| 4 |  | Specification to which gauntlets comply |  | SANS 60903 |  |
| 5 |  | Nominal system voltage | V | 1 000 |  |
| 6 |  | Glove classification |  | Class 0 |  |
| 7 |  | Special property category |  | M |  |
| 8 |  | Length of gauntlet | mm | 360 |  |
| 9 |  | Size of gauntlets |  | 10 |  |
| 10 |  | Maximum leakage current at routine test voltage of 5 Kv | mA | 14 |  |
| 11 |  | Tensile strength | MPa | ≥ 20 |  |
| 12 |  | Puncture resistance | N/mm | ≥ 30 |  |
| 13 | 4.1.8 | Under glove as per clause 4.1.8 |  |  |  |
| 14 | 4.1.9 | Over glove as per clause 4.1.9 |  |  |  |
| 15 | 6.1 | Marking as per clause 6.1 | Yes/No | Yes |  |
| 16 | 6.2 | Packing as per clause 6.2 | Yes/No | Yes |  |
| 17 | 7 | Certified copy of test reports provided with documentation | Yes/No | Yes |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: ________________________________   __________________

Name in block letters                    Signature

Full name of company: 	_____________________________________________________________

Technical schedules A and B SAP (3853)

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_127 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory:_________________________________  __________________

Name in block letters	          Signature

Full name of company: 	_____________________________________________________________

# Annex C - Technical schedules A and B Arc Rated Operating Gloves

SAP (3854)

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Sub-clause of CP_TSSPEC_127 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Name of manufacturer |  | Required |  |
| 2 |  | Place of manufacture |  | Required |  |
| 3 |  | Manufacturer’s identification reference |  | Required |  |
| 4 |  | Specification to which gauntlets comply |  | SANS 60903 |  |
| 5 |  | Nominal system voltage | V | 1 000 |  |
| 6 |  | Glove classification |  | Class 0 |  |
| 7 |  | Special property category |  | M |  |
| 8 |  | Length of gauntlet | mm | 360 |  |
| 9 |  | Size of gauntlets |  | 11 |  |
| 10 |  | Maximum leakage current at routine test voltage of 5 Kv | mA | 14 |  |
| 11 |  | Tensile strength | MPa | ≥ 20 |  |
| 12 |  | Puncture resistance | N/mm | ≥ 30 |  |
| 13 | 4.1.8 | Under glove as per clause 4.1.8 |  |  |  |
| 14 | 4.1.9 | Over glove as per clause 4.1.9 |  |  |  |
| 15 | 6.1 | Marking as per clause 6.1 | Yes/No | Yes |  |
| 16 | 6.2 | Packing as per clause 6.2 | Yes/No | Yes |  |
| 17 | 7 | Certified copy of test reports provided with documentation | Yes/No | Yes |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________ __________________

Name in block letters		Signature

Full name of company: 	_____________________________________________________________

Technical schedules A and B SAP (3854)

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_127 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory:_________________________________  __________________

Name in block letters							                     Signature

Full name of company: 	_____________________________________________________________

# Annex D – Stock Items

LV Operating Gloves

| Item | SAP No. | SAP Material Name | SAP Short Specification |
| --- | --- | --- | --- |
| 1 | 2361 | ARC RATED LV OPERATING GLOVES | ARC RATED LV OPERATING GLOVES CATERGORY 2, COMPLIENCE WITH SPECIFICATION CP_TSSPEC_127 |
| 2 | 3851 | GLOVES ARC RATED OPERATING, SIZE 8 | ARC RATED LV OPERATING GLOVES CATERGORY 2 SIZE 8, COMPLIENCE WITH SPECIFICATION CP_TSSPEC_127 |
| 3 | 3852 | GLOVES ARC RATED OPERATING, SIZE 9 | ARC RATED LV OPERATING GLOVES CATERGORY 2 SIZE 9, COMPLIENCE WITH SPECIFICATION CP_TSSPEC_127 |
| 4 | 3853 | GLOVES ARC RATED OPERATING, SIZE 10 | ARC RATED LV OPERATING GLOVES CATERGORY 2 SIZE 10, COMPLIENCE WITH SPECIFICATION CP_TSSPEC_127 |
| 5 | 3854 | GLOVES ARC RATED OPERATING, SIZE 11 | ARC RATED LV OPERATING GLOVES CATERGORY 2 SIZE 11, COMPLIENCE WITH SPECIFICATION CP_TSSPEC_127 |

BOQ

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
| # 1. | 2361 | ARC RATED LV OPERATING GLOVES | 7 | 1 |  |
| # 2. | 3851 | GLOVES ARC RATED OPERATING, SIZE 8 | 8 | 1 |  |
| # 3. | 3852 | GLOVES ARC RATED OPERATING, SIZE 9 | 9 | 1 |  |
| # 4. | 3853 | GLOVES ARC RATED OPERATING, SIZE 10 | 10 | 1 |  |
| # 5. | 3854 | GLOVES ARC RATED OPERATING, SIZE 11 | 11 | 1 |  |

CATEGORY 2: GENERAL PPE

EVALUATION CRITERIA 4: INDUSTRIAL HEARING PROTECTION CP_TSSPEC_195

| Bid no: 2324G : REQUEST FOR BIDS FOR SUPPLY & DELIVERY OF PERSONAL PROPECTIVE EQUIPMENT |  |  |
| --- | --- | --- |
| Mandatory requirements |  | Yes/No |
| 1. | Local content Annexure C and MBD6.2 to be completed in full, failure to complete the local Content and MBD 6.2 will result in your bid being non- responsive, ANNEXTURES C, D AND E |  |
| 2. | Technical schedules to be completed in full and signed as per schedule A, failure to complete the technical schedule as indicated will result in your bid being non- responsive |  |
| 3. | BOQs selected to be priced in full, failure to complete the BOQs in full will result in your bid being non Responsive. Distributors to provide a letter of agreement from the manufacturer, failure to provide the agreement From the manufacture will also result in the bid being considered non –responsive. |  |
| Stage 1 Evaluation: A minimum threshold of 75% must be achieved to proceed to the Stage 2 Evaluation Evaluation will be done on a relationship to the weighting on a scale of 0 to 10 |  |  |
| Technical Evaluation: |  | Weight |
| 1. | Type Test - Provide a signed type test report for INDUSTRIAL HEARING PROTECTION from an accredited body - Provided a type test report = 10 point - Did not provide a type test report = 0 points Max score points = 10 points | 40 |
| 2. | ISO Requirements - Provide a valid ISO 9001 certificate from the manufacturer - Provided a valid ISO 9001 certificate from the manufacturer = 10 points - Did not provide a valid ISO 9001 certificate from the manufacturer =0 points Max score points = 10 points | 10 |
| 3. | LEAD TIME: - Lead time for delivery - 2-4 weeks = 10 points - 5-7 weeks =7.5 points - More than 7 weeks = 0 points Max score points = 10 points | 15 |
| 4. | EXPERIENCE - Provide reference letters, signed letterhead including contact details of a similar scope of works as per specification, also indicating contract period and value - Provided three (3) reference letters and more = 10 points - Provided two (2) reference letters = 7 points - Provided one (1) reference letter = 1 point - Did not provide reference letters = 0 point (No appointment letters, contracts and purchase orders from clients will be accepted as reference letters.) Max score=10 points | 15 |
| 5. | SABS/SANS Mark - Provide a SABS/SANS certificate for INDUSTRIAL HEARING PROTECTION from the manufacturer - Provided a SABS/SANS certificate = 10 points - Did not provide a SABS/SANS certificate = 0 points Max score points = 10 points | 20 |
|  | Total | 100 |
| Stage 2 Evaluation |  |  |
| PRICE |  | 80 |
| B-BBEE |  | 20 |

MAXIMUM OF (4) FOUR BIDDERS PER CRITERIA

|  |  |  | REFERENCE |  |  | REV |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TITLE |  | SPECIFICATION FOR INDUSTRIAL HEARING PROTECTION | CP_TSSPEC_195 |  |  | 0 |  |
|  |  |  | DATE: | OCTOBER 2018 |  |  |  |
|  |  |  | PAGE: | 1 | OF |  | 11 |

TABLE OF CONTENTS

Page

INTRODUCTION	3

SCOPE	3

2NORMATIVE REFERENCES	3

3REQUIREMENTS	3

6DOCUMENTATION	4

5. QUALITY MANAGEMENT	4

6. ENVIRONMENTAL MANAGEMENT	4

7. HEALTH AND SAFETY	4

Annex A - Bibliography	5

Annex B - Revision information	6

Annex C - Technical schedules A and B	7

Annex D – Stock Items	9

# INTRODUCTION

City Power is required in terms of legislation including the occupational health and safety act of 1993, to do everything to ensure the safety of an employee in a working environment. Hearing protectors are required to be used in the event you are exposed in a noisy environment. City Power end-users will be relied upon to manage compliance to this specification as well as quality. The implication to suppliers is that City Power will only purchase hearing protectors that bear the SANS and IEC mark.

# 1 SCOPE

This specification covers City Power’s constructional, design and performance requirements for ear-muffs intended for use as hearing protectors.

# 2 NORMATIVE REFERENCES

The following documents contain provisions that, through reference in the text, constitute requirements of this specification. At the time of publication, the editions indicated were valid.  All standards and specifications are subject to revision, and parties to agreements based on this specification are encouraged to investigate the possibility of applying the most recent editions of the documents listed below.

SANS 1451-1: Ear-muffs, a hearing protector that circularly occludes the ears.

# 3 REQUIREMENTS

  - Ear-muffs

3.1.1 General requirements

3.1.1.1 Ear-muffs shall be in accordance to SANS 1451-1

3.1.1.2 Materials of seals or cushions which may come into contact with the skin shall be

non-staining,   soft, and pliable and not cause skin irritation or have any adverse   effects on health.

    - Test

Ear-muffs shall be tested in accordance to SANS 1451-1.

    - Packaging and labelling

The ear-muffs shall be packed in a suitable packaging.

  - Ear-plugs

    - General requirements

      - Ear-plugs shall be in accordance to SANS 1451-2.  All parts of a pair of ear-plugs shall be so designed and manufactured that they are not likely to cause injury to the wearer when they are fitted and used in accordance with the manufacturer’s instructions.

      - Material used in parts of the ear-plugs which may come into contact with the skin shall be non-staining and not cause skin irritation or have any adverse effects on health.

      - Ear-plugs that have been inserted in accordance with the manufacturer’s instructions shall be capable of being readily and completely removed from the ear canal by the wearer without the use of a tool.

    - Test

Ear-muffs shall be tested in accordance to SANS 1451-2.

    - Packaging and labelling

      - The ear-plugs shall be packed in a suitable packaging.

      - Ear-plugs intended for repeated use shall be supplied in a package in which they can be hygienically stored when not in use.

# DOCUMENTATION

Documentation shall be submitted in a technical catalogue format.

Note: City Power reserves the right to view an existing industrial hearing complying with  this specification or if no such industrial hearing protection exist a prototype shall be built and made available for inspection by representatives of City Power.

# QUALITY MANAGEMENT

A quality management plan shall be set up in order to assure the proper quality management of the industrial hearing protection services during design, development, production, installation and servicing phases. Guidance on the requirements for a quality management plan may be found in the ISO 9001:2015. The details shall be subject to agreement between City Power and the Supplier.

# ENVIRONMENTAL MANAGEMENT

An environmental management plan shall be set up in order to assure the proper environmental management of the industrial hearing protection throughout its entire life cycle (i.e. during design, development, production, installation, operation and maintenance, decommissioning and disposal phases). Guidance on the requirements for an environmental management system may be found in ISO 14001:2015 standards. The details shall be subject to agreement between City Power and the Supplier. This is to ensure that the asset created conforms to environmental standards and City Power SHERQ Policy

# HEALTH AND SAFETY

A health and safety plan shall be set up in order to ensure proper management and compliance of the industrial hearing protection during installation, operation, maintenance, and decommissioning phases. Guidance on the requirements of a health and safety plan may be found in OHSAS ISO 45001:2018 standards. This is to ensure that the asset conforms to standard operating procedures and City Power SHERQ Policy. The details shall be subject to agreement between City Power and the Supplier.

# Annex C - Technical schedules A and B Ear Muffs

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Sub clause of CP_TSSPEC_195 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Quantity of ear-muffs required |  |  |  |
| 2 | 3.2 | Reasonable degree of protective ability |  | Yes |  |
| 3 | 3.3 | The longest dimensions of the opening of an ear-muff with seals fitted shall be at least 50mm and the width of the opening shall be 35mm |  | Yes |  |
| 4 | 6 | Documentation supplied |  | Yes |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________ __________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

Technical schedules A and B

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub clause of CP_TSSPEC_195 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________ __________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Annex C - Technical schedules A and B Ear Plugs

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Sub clause of CP_TSSPEC_195 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Quantity of ear-plugs required |  |  |  |
| 2 | 3.2 | Reasonable degree of protective ability |  | Yes |  |
| 3 | 3.3 | The longest dimensions of the opening of an ear-muff with seals fitted shall be at least 50mm and the width of the opening shall be 35mm |  | Yes |  |
| 4 | 6 | Documentation supplied |  | Yes |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________ __________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

Technical schedules A and B

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub clause of CP_TSSPEC_195 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory:_________________________________ __________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Annex D – Stock Items

Material Group: PERSONAL EAR PROTECTIVE

| Item | SAP No | SAP Short Description | SAP Long Description |
| --- | --- | --- | --- |
| 1 | 244 | Ear muffs | Ear muffs Compliance with Specification CP_TSSPEC_195 |
| 2 | 3364 | Ear plugs | Ear plugs Compliance with Specification CP_TSSPEC_195 |

BOQ

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
| # 1. | 244 | Ear muffs | N/A | 1 |  |
| # 2. | 3364 | Ear plugs | N/A | 1 |  |

| Bid no: 2324G : REQUEST FOR BIDS FOR SUPPLY & DELIVERY OF PERSONAL PROPECTIVE EQUIPMENT |  |  |
| --- | --- | --- |
| Mandatory requirements |  | Yes/No |
| 1. | Local content Annexure C and MBD6.2 to be completed in full, failure to complete the local Content and MBD 6.2 will result in your bid being non- responsive, ANNEXTURES C, D AND E |  |
| 2. | Technical schedules to be completed in full and signed as per schedule A, failure to complete the technical schedule as indicated will result in your bid being non- responsive |  |
| 3. | BOQs selected to be priced in full, failure to complete the BOQs in full will result in your bid being non – responsive. Distributors to provide a letter of agreement from the manufacturer, failure to provide the agreement from the manufacture will also result in the bid being considered non –responsive. |  |
| Stage 1 Evaluation: A minimum threshold of 75% must be achieved to proceed to the Stage 2 Evaluation Evaluation will be done on a relationship to the weighting on a scale of 0 to 10 |  |  |
| Technical Evaluation: |  | Weight |
| 1. | Type Test - Provide a signed type test report for HAND PROTECTION from an accredited body - Provided a type test report = 10 point - Did not provide a type test report = 0 points Max score points = 10 points | 40 |
| 2. | ISO Requirements - Provide a valid ISO 9001 certificate from the manufacturer - Provided a valid ISO 9001 certificate from the manufacturer = 10 points - Did not provide a valid ISO 9001 certificate from the manufacturer =0 points Max score points = 10 points | 20 |
| 3. | LEAD TIME: - Lead time for delivery - 2-4 weeks = 10 points - 5-7 weeks =7.5 points - More than 7 weeks = 0 points Max score points = 10 points | 10 |
| 4. | EXPERIENCE - Provide reference letters, signed letterhead including contact details of a similar scope of works as per specification, also indicating contract period and value - Provided three (3) reference letters and more = 10 points - Provided two (2) reference letters = 7 points - Provided one (1) reference letter = 1 point - Did not provide reference letters = 0 point (No appointment letters, contracts and purchase orders from clients will be accepted as reference letters.) Max score=10 points | 15 |
|  | NOTE TO ALL BIDDERS: ONLY BIDDERS WHO MEET THE MINIMUM OF WEIGHTING OF 60 POINTS OF THE EVALUATION CRITERIA 1,2,3,4 & 5 WILL BE ELIGIBLE FOR SITE VERIFICATION |  |
| 5. | Site Verification - Manufacturing capacity = 3 points - Store/warehouse capacity = 3 points - ISO certification/s displayed/verification = 1 points - Samples/ on site sample verification = 3 points Note : Will look at the relationship between manufacturing capacity and storage capacity Note: City Power still reserve the right to request samples from the bidder to City Power premises Bidders will be required to make arrangements for site visit with their manufacturers for site visit purposes Max score=10 points | 15 |
|  | Total | 100 |
| Stage 2 Evaluation |  |  |
| PRICE |  | 80 |
| B-BBEE |  | 20 |

EVALUATION CRITERIA 1 - HAND PROTECTION CP_TSSPEC_275

MAXIMUM OF (4) FOUR BIDDERS PER CRITERIA

|  |  |  | REFERENCE |  |  | REV |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TITLE |  | SPECIFICATION FOR HAND PROTECTION PERSONAL PROTECTIVE EQUIPMENT | CP_TSSPEC_275 |  |  | 0 |  |
|  |  |  | DATE: | OCTOBER 2018 |  |  |  |
|  |  |  | PAGE: | 1 | OF |  | 22 |

TABLE OF CONTENTS

Page

INTRODUCTION

1SCOPE	4

2NORMATIVE REFERENCES	4

3DEFINITIONS AND ABBREVIATIONS	4

4HAND PROTECTION	4

5GLOVES LEATHER GREEN	5

6GLOVES LATEX	6

7GLOVES FOR WELLNESS USE	6

8QUALITY MANAGEMENT	7

9ENVIRONMENTAL MANAGEMENT	7

10HEALTH AND SAFETY	7

Annex A - Bibliography	8

Annex B - Revision information	9

Annexure C - Technical schedules A and B for Gloves for Cleaning	10

Technical schedules A and B	11

Deviation schedule for Gloves for cleaning	11

Annexure C - Technical schedules A and B for Gloves full grain hide	12

Technical schedules A and B	13

Deviation schedule for Gloves full grain hide	13

Annexure C - Technical schedules A and B for Gloves split leather	14

Technical schedules A and B	15

Deviation schedule for Gloves split leather	15

Annexure C - Technical schedules A and B for Gloves leather green	16

Technical schedules A and B	17

Deviation schedule for Gloves leather green	17

Annexure C - Technical schedules A and B for Gloves pig skin	18

Technical schedules A and B	19

Deviation schedule for Gloves pig skin	19

Annexure C - Technical schedules A and B for Gloves for Wellness Use	20

Technical schedules A and B	21

Deviation schedule for Gloves for Wellness use	21

Annex D – Stock Items	22

# INTRODUCTION

City Power personnel routinely carry out work in using hand protection. Whilst every possible safety precaution is followed, the employer is obliged to provide gloves which will give personnel the maximum possible degree of safety whilst, simultaneously, being comfortable enough not to restrict movement or cause discomfort.

# SCOPE

This specification covers City Power’s requirements for hand protection accordance with the requirements of Occupational Health and Safety Act, General Safety Regulations, point 2 – Personal Safety Equipment and Facilities.

# 2 NORMATIVE REFERENCES

The following documents contain provisions that, through reference in the text, constitute requirements of this specification.  At the time of publication, the editions indicated were valid.  All standards and specifications are subject to revision, and parties to agreements based on this specification are encouraged to investigate the possibility of applying the most recent editions of the documents listed below;

SANS 68 - 	Single use sterile rubber surgical gloves

SANS 316- Industrial hand protective and leather protective clothing

SAN 416 – Chemical resistant gloves

SANS 1228- Abrassion resistant polymetric gloves

SANS 1297- Leather gloves

SANS 11193 -1-2010 Gloves made from rubber latex or rubber solutions

# DEFINITIONS AND ABBREVIATIONS

PPE	Personal Protective Equipment

# HAND PROTECTION

4.1  Working gloves

    - General requirements

      - Shall be designed according to SANS 11193-1 level 3 cut resistance

      - shall be a set of two, one right and the other left

      - shall be made from pig skin leather

      - shall be 250mm

      - shall be of a double stitched construction

      - Full instruction on the washing and care label shall be attached on the inside

4.1.1.7 The size shall range from small to XX large

4.1.2 Test

The gloves shall be tested in accordance to SANS 11193-1

4.1.3 Packaging and labelling

The working gloves shall be packed in a suitable packaging designating the size.

4.2  Gloves for cleaning

    - General requirements

      - Shall be designed according to SANS 11193-1

      - shall be a set of two, one right and the other left

      - Shall be suitable to protect against chemicals (cleaning detergents)

      - Shall be either short or long

      - Shall be yellow in colour

4.2.1.6 The size shall range from small to XX large

4.2.2 Test

The gloves shall be tested in accordance to SANS 11193-1

4.2.3 Packaging and labelling

The cleaning gloves shall be packed in a suitable packaging designating the size.

4.3 Gloves general purpose full grain hide

4.3.1 General requirements

- Shall be designed according to SANS 1228

- Shall be made from full grain hide

- Shall be a set of two, one right and the other left

- Shall be 250mm

- The size shall range from small to XX large

4.3.2 Test

The gloves shall be tested in accordance to SANS 1228

4.3.3 Packaging and labelling

The general purpose gloves shall be packed in a suitable packaging designating the size.

4.4 Gloves Split leather

4.4.1 General requirements

- Shall be designed according to SANS 1297

- Shall be made from split leather

- Shall be 400mm

- Shall be a set of two, one right and the other left

- The size shall range from small to XX large

4.4.2 Test

The gloves shall be tested in accordance to SANS 1297

4.4.3 Packaging and labelling

The split leather gloves 1 shall be packed in a suitable packaging designating the size.

# GLOVES LEATHER GREEN

5.1.1 General requirements

- Shall be designed according to SANS 1297

- Shall be made from leather

- shall be green in colour

- shall be 250mm

- Shall be a set of two, one right and the other left

- The size shall range from small to XX large

5.1.2 Test

The gloves shall be tested in accordance to SANS 1297

5.1.3 Packaging and labelling

The leather green glove shall be packed in a suitable packaging designating the size

# GLOVES LATEX

6.1.1 General requirements

- Shall be designed according to SANS 11193-1

- Shall be made from latex

- shall be black in colour

- shall be 400 mm

- Shall be a set of two, one right and the other left

- The size shall range from small to XX large

6.6.2 Test

The gloves shall be tested in accordance to SANS 11193-1

6.6.3 Packaging and labelling

The latex glove shall be packed in a suitable packaging designating the size

# GLOVES FOR WELLNESS USE

7.1.1 General requirements

- Shall be made from latex material and shall comply to SANS 68

- Shall be suitable for surgical use

- shall be cream white in colour

- shall be a one size fit all

7.1.2 Test

The gloves shall be tested and proof to show that they are suitable for surgical use shall be provide

7.1.3 Packaging and labelling

The wellness gloves shall be packed in a box.

Note: City Power reserves the right to view an existing hand protection personal protective equipment complying with this specification or if no such arc rated flame resistant overalls exist a prototype shall be built and made available for inspection by representatives of City Power.

- QUALITY MANAGEMENT

A quality management plan shall be set up in order to assure the proper quality management of the hand protection personal protective equipment services during design, development, production, installation and servicing phases. Guidance on the requirements for a quality management plan may be found in the ISO 9001:2015. The details shall be subject to agreement between City Power and the Supplier.

- ENVIRONMENTAL MANAGEMENT

An environmental management plan shall be set up in order to assure the proper environmental management of the hand protection personal protective equipment throughout its entire life cycle (i.e. during design, development, production, installation, operation and maintenance, decommissioning and disposal phases). Guidance on the requirements for an environmental management system may be found in ISO 14001:2015 standards. The details shall be subject to agreement between City Power and the Supplier. This is to ensure that the asset created conforms to environmental standards and City Power SHERQ Policy

- HEALTH AND SAFETY

A health and safety plan shall be set up in order to ensure proper management and compliance of the hand protection personal protective equipment during installation, operation, maintenance, and decommissioning phases. Guidance on the requirements of a health and safety plan may be found in  ISO 45001:2018 standards. This is to ensure that the asset conforms to standard operating procedures and City Power SHERQ Policy. The details shall be subject to agreement between City Power and the Supplier.

# Annexure C - Technical schedules A and B for Gloves for Cleaning

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Glove for cleaning comply to specification CP_TSSPEC_275 |  | Yes |  |
| 2 | Compliance to SANS 11193 |  | Required |  |
| 3 | Documentation supplied |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Gloves for cleaning

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_275 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	       Signature

Full name of company: ____________________________________________________________

# Annexure C - Technical schedules A and B for Gloves full grain hide

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Gloves comply to specification CP_TSSPEC_275 |  | Yes |  |
| 2 | Compliance to SANS |  | Required |  |
| 3 | Documentation supplied |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	        Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Gloves full grain hide

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_275 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	     Signature

Full name of company: ____________________________________________________________

# Annexure C - Technical schedules A and B for Gloves split leather

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Gloves comply to specification CP_TSSPEC_275 |  | Yes |  |
| 2 | Compliance to SANS |  | Required |  |
| 3 | Documentation supplied |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	          Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Gloves split leather

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_275 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	               Signature

Full name of company: ____________________________________________________________

# Annexure C - Technical schedules A and B for Gloves leather green

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Gloves comply to specification CP_TSSPEC_275 |  | Yes |  |
| 2 | Compliance to SANS |  | Required |  |
| 3 | Documentation supplied |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Gloves leather green

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_275 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	Signature

Full name of company: ____________________________________________________________

# Annexure C - Technical schedules A and B for Gloves pig skin

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Gloves comply to specification CP_TSSPEC_275 |  | Yes |  |
| 2 | Compliance to SANS |  | Required |  |
| 3 | Documentation supplied |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	          Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Gloves pig skin

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_275 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	         Signature

Full name of company: ____________________________________________________________

# Annexure C - Technical schedules A and B for Gloves for Wellness Use

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Gloves for wellness use comply to specification CP_TSSPEC_275 |  | Yes |  |
| 2 | Compliance to SANS |  | Required |  |
| 3 | Documentation supplied |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	        Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Gloves for Wellness use

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_275 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	            Signature

Full name of company: ____________________________________________________________

# Annex D – Stock Items

Material Group: PROTECTION FOR HANDS

| 1 | 11398 | Gloves for cleaning PVC yellow short | Gloves for cleaning PVC, yellow short Compliance with Specification CP_TSSPEC_275 |
| --- | --- | --- | --- |
| 2 | 3411 | Gloves for cleaning PVC long | Gloves for cleaning PVC, yellow long Compliance with Specification CP_TSSPEC_275 |
| 3 | 11399 | Gloves black industrial latex chemical resistant 400mm | Gloves black industrial latex chemical resistant 400mm Compliance with Specification CP_TSSPEC_275 |
| 4 | 11400 | Gloves for general purpose full grain hide 250mm | Gloves for general purpose full grain hide Compliance with Specification CP_TSSPEC_275 |
| 5 | 11401 | Gloves for split leather 400mm | Gloves for split leather 400mm Compliance with Specification CP_TSSPEC_275 |
| 6 | 11417 | Gloves for heavy duty 250mm pig leather | Gloves for heavy duty 250mm pig leather Compliance with Specification CP_TSSPEC_275 |
| 7 | 11416 | Gloves for heavy duty 250mm green leather | Gloves for heavy duty 250mm green leather Compliance with Specification CP_TSSPEC_275 |
| 8 | 1622 | Clinical gloves wellness | Wellness clinical gloves, Compliance with Specification CP_TSSPEC_275 |

BOQ

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
| # 1. | 11398 | Gloves for cleaning PVC yellow short | n/a | 1 |  |
| # 2. | 3411 | Gloves for cleaning PVC long | n/a | 1 |  |
| # 3. | 11399 | Gloves black industrial latex chemical resistant 400mm | n/a | 1 |  |
| # 4. | 11400 | Gloves for general purpose full grain hide 250mm | n/a | 1 |  |
| # 5. | 11401 | Gloves for split leather 400mm | n/a | 1 |  |
| # 6. | 11417 | Gloves for heavy duty 250mm pig leather | n/a | 1 |  |
| # 7. | 11416 | Gloves for heavy duty 250mm green leather | n/a | 1 |  |
| # 8. | 1622 | Clinical gloves wellness | n/a | 1 |  |

CATEGORY 2: GENERAL PPE EVALUATION CRITERIA 3 - HARD HATS CP_TSSPEC_193

| Bid no: 2324G : REQUEST FOR BIDS FOR SUPPLY & DELIVERY OF PERSONAL PROPECTIVE EQUIPMENT |  |  |
| --- | --- | --- |
| Mandatory requirements |  | Yes/No |
| 1. | Local content Annexure C and MBD6.2 to be completed in full, failure to complete the local Content and MBD 6.2 will result in your bid being non- responsive, ANNEXTURES C, D AND E |  |
| 2. | Technical schedules to be completed in full and signed as per schedule A, failure to complete the technical schedule as indicated will result in your bid being non- responsive |  |
| 3. | BOQs selected to be priced in full, failure to complete the BOQs in full will result in your bid being non Responsive. Distributors to provide a letter of agreement from the manufacturer, failure to provide the agreement From the manufacture will also result in the bid being considered non –responsive. |  |
| Stage 1 Evaluation: A minimum threshold of 75% must be achieved to proceed to the Stage 2 Evaluation Evaluation will be done on a relationship to the weighting on a scale of 0 to 10 |  |  |
| Technical Evaluation: |  | Weight |
| 1. | Type Test - Provide a signed type test report for HARD HATS from an accredited body - Provided a type test report = 10 point - Did not provide a type test report = 0 points Max score points = 10 points | 40 |
| 2. | ISO Requirements - Provide a valid ISO 9001 certificate from the manufacturer - Provided a valid ISO 9001 certificate from the manufacturer = 10 points - Did not provide a valid ISO 9001 certificate from the manufacturer =0 points Max score points = 10 points | 10 |
| 3. | LEAD TIME: - Lead time for delivery - 2-4 weeks = 10 points - 5-7 weeks =7.5 points - More than 7 weeks = 0 points Max score points = 10 points | 15 |
| 4. | EXPERIENCE - Provide reference letters, signed letterhead including contact details of a similar scope of works as per specification, also indicating contract period and value - Provided three (3) reference letters and more = 10 points - Provided two (2) reference letters = 7 points - Provided one (1) reference letter = 1 point - Did not provide reference letters = 0 point (No appointment letters, contracts and purchase orders from clients will be accepted as reference letters.) Max score=10 points | 15 |
| 5. | SABS/SANS Mark - Provide a SABS/SANS certificate for HARD HATS from the manufacturer - Provided a SABS/SANS certificate = 10 points - Did not provide a SABS/SANS certificate = 0 points Max score points = 10 points | 20 |
|  | Total | 100 |
| Stage 2 Evaluation |  |  |
| PRICE |  | 80 |
| B-BBEE |  | 20 |

MAXIMUM OF (4) FOUR BIDDERS PER CRITERIA

|  |  |  | REFERENCE |  |  | REV |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TITLE |  | SPECIFICATION FOR HARD HATS | CP_TSSPEC_193 |  |  | 0 |  |
|  |  |  | DATE: | OCTOBER 2018 |  |  |  |
|  |  |  | PAGE: | 1 | OF |  | 12 |

TABLE OF CONTENTS

Page

INTRODUCTION	3

1SCOPE	3

2NORMATIVE REFERENCES	3

3DEFINITIONS AND ABBREVIATIONS	3

4REQUIREMENTS	3

5DOCUMENTATION	4

6QUALITY MANAGEMENT	4

7ENVIRONMENTAL MANAGEMENT	4

8HEALTH AND SAFETY	4

Annex A - Bibliography	6

Annex B - Revision information	7

Annex C - Technical schedules A and B 241	8

Annex C - Technical schedules A and B SAP 3372	10

# INTRODUCTION

The importance of head protection, where there is a potential for injury from falling objects and which requires hard hats to be worn, is crucial in terms of operator safety. It is therefore important to ensure that hard hats comply with the required specifications and are of acceptable quality. City Power will only purchase equipment that bears the SABS stamp.

# 1 SCOPE

This specification covers City Power’s requirements for protective hard hats to be worn in a working environment in accordance with SANS 1397.

# 2. NORMATIVE REFERENCES

The following documents contain provisions that, through reference in the text, constitute requirements of this specification. At the time of publication, the editions indicated were valid. All standards and specifications are subject to revision, and parties to agreements based on this specification are encouraged to investigate the possibility of applying the most recent editions of the documents listed below.

SANS 1397: Industrial safety helmets for head protection

ANSI Z89.1 Personal protective headwear for Industrial workers requirements

OHS ACT:  Occupational Health and Safety Act 85 of 1993

# DEFINITIONS AND ABBREVIATIONS

The definitions and abbreviations in SANS 1397 shall apply to this specification.

Class A Helmets: are intended to reduce the force of impact of a falling object and to reduce the danger of contact with exposed low voltage electrical conductors. For certification, sample shells are proof tested at 2200 volts.

Class B Helmets: are intended to reduce the force of impact of a falling object and to reduce the danger of contact with exposed high voltage electrical conductors. For certification, sample shells are proof tested at 20 000 volts.

Type 2 helmets: a helmet which has no encircling brim, but may include short brim on the front.

# REQUIREMENTS

4.1 Hard hats for working at ground level

    - General requirements

      - All hard hats used shall bear the SABS mark and shall comply with SANS 1397.

4.1.1.2   All hard hats shall be purchased with an adjustable chin strap in accordance with SANS

1397.

      - The colour of the hard hats shall be yellow in accordance with City Power corporate identity.

      - The colour of City of Johannesburg and City Power logo on the hard hats shall be in accordance with City Power’s corporate identity.

4.1.2 Test

Hard hat shall be tested in accordance to SANS 1397.

4.1.3 Packaging and labelling

The hard hat shall be packed in a suitable packaging.

  - Hard hats for working from Height

    - General requirements

- All hard hats used shall bear the SABS mark and shall comply with SANS 1397.

- All hard hats shall be purchased with an adjustable chin strap in accordance with SANS   1397.

- Shall have a shortened sun peak;

- Limited side rims/gutter;

- Webbing suspension harness;

- Thick sweat band of +/- 4.5 cm;

- Adjustable head bands of standard size 53 cm to 63 cm

- Type 2 helmet, navy blue colour with short brim in front

- The colour of City of Johannesburg and City Power logo on the hard hats shall be in accordance with City Power’s corporate identity

4.2.2   Test

Hard hat shall be tested in accordance to SANS 1397.

4.2.3 Packaging and labelling

The hard hat shall be packed in a suitable packaging.

# DOCUMENTATION

  - Certification from the manufacturers of the hard hat shall be supplied.

  - Detailed test reports confirming compliance with SANS 1397 and shall be provided.

In addition to the documentation required above, full technical information relating to the

performance, construction, etc of the hard hat shall be supplied.

Note: City Power reserves the right to view an existing hard hats complying with  this specification or if no such arc rated flame resistant overalls exist a prototype shall be built and made available for inspection by representatives of City Power.

# QUALITY MANAGEMENT

A quality management plan shall be set up in order to assure the proper quality management of the hard hat services during design, development, production, installation and servicing phases. Guidance on the requirements for a quality management plan may be found in the ISO 9001:2015. The details shall be subject to agreement between City Power and the Supplier.

# ENVIRONMENTAL MANAGEMENT

An environmental management plan shall be set up in order to assure the proper environmental management of the hard hats throughout its entire life cycle (i.e. during design, development, production, installation, operation and maintenance, decommissioning and disposal phases). Guidance on the requirements for an environmental management system may be found in ISO 14001:2015 standards. The details shall be subject to agreement between City Power and the Supplier. This is to ensure that the asset created conforms to environmental standards and City Power SHERQ Policy

# HEALTH AND SAFETY

A health and safety plan shall be set up in order to ensure proper management and compliance of the hard hats during installation, operation, maintenance, and decommissioning phases. Guidance on the requirements of a health and safety plan may be found in ISO 45001:2018 standards. This is to ensure that the asset conforms to standard operating procedures and City Power SHERQ Policy. The details shall be subject to agreement between City Power and the Supplier.

# Annex C - Technical schedules A and B 241

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Sub clause of CP_TSSPEC_193 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Quantity of hard hats required |  | Required |  |
| 2 | 4.1.1 | Compliance with SANS 1397 |  | Yes |  |
| 3 | 4.1.2 | Reasonable degree of protective ability |  | Yes |  |
| 4 | 4.1.7 | Type 2 helmet, yellow colour with short brim in front |  | Yes |  |
| 5 | 7. | Documentation supplied |  | Yes |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	________________

Name in block letters	          Signature

Full name of company: 	_____________________________________________________________

Technical schedules A and B

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub clause of CP_TSSPEC_193 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory:_________________________________   __________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Annex C - Technical schedules A and B SAP 3372

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Sub clause of CP_TSSPEC_193 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Quantity of hard hats required |  | Required |  |
| 2 | 4.1.1 | Compliance with SANS 1397 |  | Yes |  |
| 3 | 4.1.2 | Reasonable degree of protective ability |  | Yes |  |
| 4 | 4.1.7 | Type 2 helmet, navy blue colour with short brim in front |  | Yes |  |
| 5 | 7. | Documentation supplied |  | Yes |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________   __________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

Technical schedules A and B

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub clause of CP_TSSPEC_193 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: ____________________________      _________________

Name in block letters	Signature

Full name of company:_________________________________________________________

Annex D – Stock Items

Material Group: Hard hats PROTECTION FOR THE HEAD

| 1 | 241 | Hard hat for ground level with chin strap yellow | Hard hat for ground level with chin strap yellow Compliance with Specification CP_TSSPEC_193 |
| --- | --- | --- | --- |
| 2 | 3372 | Hard hat for above ground level with chin strap navy blue | Hard hat for above ground level with chin strap navy blue Compliance with Specification CP_TSSPEC_193 |

BOQ

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
| # 1. | 241 | Hard hat for ground level with chin strap yellow | n/a | 1 |  |
| # 2. | 3372 | Hard hat for above ground level with chin strap navy blue | n/a | 1 |  |

EVALUATION CRITERIA FOR FACE PROTECTION CP_TSSPEC_194

| Bid no: 2324G : REQUEST FOR BIDS FOR SUPPLY & DELIVERY OF PERSONAL PROPECTIVE EQUIPMENT |  |  |
| --- | --- | --- |
| Mandatory requirements |  | Yes/No |
| 1. | Local content Annexure C and MBD6.2 to be completed in full, failure to complete the local Content and MBD 6.2 will result in your bid being non- responsive, ANNEXTURES C, D AND E |  |
| 2. | Technical schedules to be completed in full and signed as per schedule A, failure to complete the technical schedule as indicated will result in your bid being non- responsive |  |
| 3. | BOQs selected to be priced in full, failure to complete the BOQs in full will result in your bid being non Responsive. Distributors to provide a letter of agreement from the manufacturer, failure to provide the agreement From the manufacture will also result in the bid being considered non –responsive. |  |
| Stage 1 Evaluation: A minimum threshold of 75% must be achieved to proceed to the Stage 2 Evaluation Evaluation will be done on a relationship to the weighting on a scale of 0 to 10 |  |  |
| Technical Evaluation: |  | Weight |
| 1. | Type Test - Provide a signed type test report for FACE PROTECTION from an accredited body - Provided a type test report = 10 point - Did not provide a type test report = 0 points Max score points = 10 points | 40 |
| 2. | ISO Requirements - Provide a valid ISO 9001 certificate from the manufacturer - Provided a valid ISO 9001 certificate from the manufacturer = 10 points - Did not provide a valid ISO 9001 certificate from the manufacturer =0 points Max score points = 10 points | 10 |
| 3. | LEAD TIME: - Lead time for delivery - 2-4 weeks = 10 points - 5-7 weeks =7.5 points - More than 7 weeks = 0 points Max score points = 10 points | 15 |
| 4. | EXPERIENCE - Provide reference letters, signed letterhead including contact details of a similar scope of works as per specification, also indicating contract period and value - Provided three (3) reference letters and more = 10 points - Provided two (2) reference letters = 7 points - Provided one (1) reference letter = 1 point - Did not provide reference letters = 0 point (No appointment letters, contracts and purchase orders from clients will be accepted as reference letters.) Max score=10 points | 15 |
| 5. | SABS/SANS Mark - Provide a SABS/SANS certificate for FACE PROTECTION from the manufacturer - Provided a SABS/SANS certificate = 10 points - Did not provide a SABS/SANS certificate = 0 points Max score points = 10 points | 20 |
|  | Total | 100 |
| Stage 2 Evaluation |  |  |
| PRICE |  | 80 |
| B-BBEE |  | 20 |

MAXIMUM OF (4) FOUR BIDDERS PER CRITERIA

|  |  |  | REFERENCE |  |  | REV |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TITLE |  | SPECIFICATION FOR FACE PROTECTION | CP_TSSPEC_194 |  |  | 1 |  |
|  |  |  | DATE: | OCTOBER 2018 |  |  |  |
|  |  |  | PAGE: | 1 | OF |  | 14 |

TABLE OF CONTENTS

Page

INTRODUCTION4

1SCOPE	4

2NORMATIVE REFERENCES	4

3FACE PROTECTION	4

4QUALITY MANAGEMENT	5

5ENVIRONMENTAL MANAGEMENT	5

6HEALTH AND SAFETY	5

Annex A - Bibliography	6

Annex B - Revision information	7

Annex C - Technical schedules A and B	8

Annexure C - Technical schedules A and B for Face-shield for General purpose	8

Technical schedules A and B	9

Deviation schedule for Face-shield for General purpose	9

Annexure C - Technical schedules A and B for Face-shield for Welding purpose	10

Technical schedules A and B	11

Deviation schedule for Face-shield for welding purpose	11

Annexure C - Technical schedules A and B for UV Protection Sunglasses	12

Technical schedules A and B	13

Deviation schedule for UV Protection Sunglasses	13

Annex D – Stock Items	14

# INTRODUCTION

Face protection will be used to provide protection and increased visibility for workers.

# 1		. SCOPE

This specification covers City Power’s requirements for face protection.

# 2. NORMATIVE REFERENCES

# The following documents contain provisions that, through reference in the text, constitute requirements of this specification.  At the time of publication, the editions indicated were valid.  All standards and specifications are subject to revision, and parties to agreements based on this specification are encouraged to investigate the possibility of applying the most recent editions of the documents listed below.

# SANS 1404: Eye-protectors for industrial and non-industrial use

# SANS 50471: High-visibility Warning Clothing for Professional Use

# 3.  FACE PROTECTION

# 3.1 Face shield for cutting and grinding

# 3.1.1 General requirements

# Shall comply to SANS 1404

# Shall provide safety against cutting and grinding materials

# Shall be made from a polycarbonate material GR1 impact

3.1.2 Test

The face shield shall be tested and proof to show that they are suitable for protection against cutting and grinding materials as per SANS 1404

3.1.3 Packaging and labelling

The face shield shall be packed in a suitable packaging.

3.2 Eye protection for welding purpose

3.2.1 General requirements

- Shall comply to SANS 1404

- Shall have a lens tint welding shade 5.0 lens coating

- Shall provide protection against impact, non-adherence of molten metal, protection against hot solids.

- Shall be provided with brow guards, chin protectors, chin straps and visors

3.2.2 Test

The welders face protection shall be tested and proof to show that they are suitable for protection during welding as per SANS 1404.

3.2.3 Packaging and labelling

The welders face protection shall be packed in a suitable packaging and correctly labeled.

  - Eye protection against ultra violet rays (UV)

3.3	General requirements

    - Shall comply with ANSI Z87.1 and CE-EN166

    - Sunglasses shall provide protection against UV rays (100% UV Protection)/sun glare and

comprise safety lenses of 60% to 80% shade.

    - Shall have an anti-scratch, anti-fog and anti-static

    - The colour of the frames for the sunglasses shall be dark white and the City Power logo shall appear in yellow and blue on both sides of the frame.

    - There shall be two types of sunglasses – Type 1 shall be worn alone and Type 2 shall be worn over prescribed lenses. Refer to SANS 1404.

Note: City Power reserves the right to view an existing face protection complying with  this specification or if no such arc rated flame resistant overalls exist a prototype shall be built and made available for inspection by representatives of City Power.

# QUALITY MANAGEMENT

A quality management plan shall be set up in order to assure the proper quality management of the face protection services during design, development, production, installation and servicing phases. Guidance on the requirements for a quality management plan may be found in the ISO 9001:2015. The details shall be subject to agreement between City Power and the Supplier.

# ENVIRONMENTAL MANAGEMENT

An environmental management plan shall be set up in order to assure the proper environmental management of the face protection throughout its entire life cycle (i.e. during design, development, production, installation, operation and maintenance, decommissioning and disposal phases). Guidance on the requirements for an environmental management system may be found in ISO 14001:2015 standards. The details shall be subject to agreement between City Power and the Supplier. This is to ensure that the asset created conforms to environmental standards and City Power SHERQ Policy

# HEALTH AND SAFETY

A health and safety plan shall be set up in order to ensure proper management and compliance of the face protection resistance overall during installation, operation, maintenance, and decommissioning phases. Guidance on the requirements of a health and safety plan may be found in  ISO 45001:2018 standards. This is to ensure that the asset conforms to standard operating procedures and City Power SHERQ Policy. The details shall be subject to agreement between City Power and the Supplier.

# Annex C - Technical schedules A and B

# Annexure C - Technical schedules A and B for Face-shield for General purpose

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Face-shield for general purpose comply to specification |  | Yes |  |
| 2 | Compliance to SANS |  | SANS |  |
| 3 | Documentation supplied |  | Yes |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	    Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Face-shield for General purpose

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_194 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	      Signature

Full name of company: ____________________________________________________________

# Annexure C - Technical schedules A and B for Face-shield for Welding purpose

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Face-shield for welding purpose comply to specification |  | Yes |  |
| 2 | Compliance to SANS |  | SANS |  |
| 3 | Documentation supplied |  | Yes |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	             Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Face-shield for welding purpose

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_194 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	Signature

Full name of company: ____________________________________________________________

# Annexure C - Technical schedules A and B for UV Protection Sunglasses

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | UV protection sunglasses comply to specification |  | Yes |  |
| 2 | Compliance to SANS |  | SANS |  |
| 3 | Documentation supplied |  | Yes |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	            Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for UV Protection Sunglasses

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_194 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	Signature

Full name of company: ____________________________________________________________

# Annex D – Stock Items

Material Group: PROTECTION FOR THE FACE

| 1 | 242 | Faceshield for general purpose | Faceshield for general purpose Compliance with Specification CP_TSSPEC_194 |
| --- | --- | --- | --- |
| 2 | 3374 | Faceshield for welding purpose | Faceshield for welding purpose Compliance with Specification CP_TSSPEC_194 |
| 3 | 2711 | Sunglasses UV protection | Sunglasses UV protection Compliance with Specification CP_TSSPEC_194 |

BOQ

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
| # 1. | 242 | Faceshield for general purpose | n/a | 1 |  |
| # 2. | 3374 | Faceshield for welding purpose | n/a | 1 |  |
| # 3. | 2711 | Sunglasses UV protection | N/A | 1 |  |

CATEGORY 2 GENERAL PPE

| Bid no: 2324G : REQUEST FOR BIDS FOR SUPPLY & DELIVERY OF PERSONAL PROPECTIVE EQUIPMENT |  |  |
| --- | --- | --- |
| Mandatory requirements |  | Yes/No |
| 1. | Local content Annexure C and MBD6.2 to be completed in full, failure to complete the local Content and MBD 6.2 will result in your bid being non- responsive, ANNEXTURES C, D AND E |  |
| 2. | Technical schedules to be completed in full and signed as per schedule A, failure to complete the technical schedule as indicated will result in your bid being non- responsive |  |
| 3. | BOQs selected to be priced in full, failure to complete the BOQs in full will result in your bid being non Responsive. Distributors to provide a letter of agreement from the manufacturer, failure to provide the agreement From the manufacture will also result in the bid being considered non –responsive. |  |
| Stage 1 Evaluation: A minimum threshold of 75% must be achieved to proceed to the Stage 2 Evaluation Evaluation will be done on a relationship to the weighting on a scale of 0 to 10 |  |  |
| Technical Evaluation: |  | Weight |
| 1. | Type Test - Provide a signed type test report for FOOT WEAR PROTECTION an accredited body - Provided a type test report = 10 point - Did not provide a type test report = 0 points Max score points = 10 points | 40 |
| 2. | ISO Requirements - Provide a valid ISO 9001 certificate from the manufacturer - Provided a valid ISO 9001 certificate from the manufacturer = 10 points - Did not provide a valid ISO 9001 certificate from the manufacturer =0 points Max score points = 10 points | 10 |
| 3. | LEAD TIME: - Lead time for delivery - 2-4 weeks = 10 points - 5-7 weeks =7.5 points - More than 7 weeks = 0 points Max score points = 10 points | 15 |
| 4. | EXPERIENCE - Provide reference letters, signed letterhead including contact details of a similar scope of works as per specification, also indicating contract period and value - Provided three (3) reference letters and more = 10 points - Provided two (2) reference letters = 7 points - Provided one (1) reference letter = 1 point - Did not provide reference letters = 0 point (No appointment letters, contracts and purchase orders from clients will be accepted as reference letters.) Max score=10 points | 15 |
| 5. | SABS/SANS Mark - Provide a SABS/SANS certificate for Foot Wear Protection from the manufacturer - Provided a SABS/SANS certificate = 10 points - Did not provide a SABS/SANS certificate = 0 points Max score points = 10 points | 20 |
|  | Total | 100 |
| Stage 2 Evaluation |  |  |
| PRICE |  | 80 |
| B-BBEE |  | 20 |

EVALUATION CRITERIA 5 - FOOT WEAR PROTECTION CP_TSSPEC_272

MAXIMUM OF (4) FOUR BIDDERS PER CRITERIA

|  |  |  | REFERENCE |  |  | REV |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TITLE |  | SPECIFICATION FOR FOOT PROTECTION | CP_TSSPEC_272 |  |  | 0 |  |
|  |  |  | DATE: | OCTOBER 2018 |  |  |  |
|  |  |  | PAGE: | 1 | OF |  | 13 |

TABLE OF CONTENTS

Page

INTRODUCTION	3

1SCOPE	3

2NORMATIVE REFERENCES	3

3DEFINITIONS AND ABBREVIATIONS	3

4HREQUIREMENTS	3

4QUALITY MANAGEMENT	4

5ENVIRONMENTAL MANAGEMENT	4

6HEALTH AND SAFETY	4

Annex A - Bibliography	5

Annexure C - Technical schedules A and B for Safety Shoes	6

Technical schedules A and B	7

Deviation schedule for Safety Shoes	7

Annexure C - Technical schedules A and B for Safety Boots	8

Technical schedules A and B	9

Deviation schedule for Safety Boots	9

Annexure C - Technical schedules A and B for Gumboot	10

Annex B - Revision information	11

Annex D – Stock Items	12

# INTRODUCTION

City Power personnel routinely carry out work in close proximity to electrical equipment. Whilst every possible safety precaution is followed, the employer is obliged to provide overalls which will give personnel the maximum possible degree of safety whilst, simultaneously, being comfortable enough not to restrict movement or cause discomfort.

# SCOPE

This specification covers City Power’s requirements for the foot protection in accordance with the requirements SANS 20345

# NORMATIVE REFERENCES

The following documents contain provisions that, through reference in the text, constitute requirements of this specification.  At the time of publication, the editions indicated were valid.  All standards and specifications are subject to revision, and parties to agreements based on this specification are encouraged to investigate the possibility of applying the most recent editions of the documents listed below;

SANS 724 – Personal protective equipment and protective clothing against the thermal hazards of an electric arc flash.

SANS 492- Protective and Safety Gum boots (Part 4), All made from Rubber

DSP 34- Safety Shoes Electrical Testing Specification.

SANS 741- Industrial boots (including Safety Boots) with Direct-vulcanized Soles and Heels

SANS 1114- Industrial Boots (including Safety Boots) with Stuck-on Pre-moulded or Direct-injection -Moulded Soles and Heels

SANS 1167- Industrial Shoes (including safety shoes) with Stuck-on Pre-moulded or Direct-injection - Moulded Soles and Heels

SANS 1168- Industrial Shoes (including Safety Shoes) with Direct Vulcanised Soles and Heels

SANS 20344 - Personal protective equipment - Test methods for footwear

# DEFINITIONS AND ABBREVIATIONS

PPE        Personal Protective Equipment

HRC	Hazard Risk Category

# REQUIREMENTS

5.1 Safety boots/shoes

5.1.1 General requirements

- The boots/shoes shall be black.

- There shall be design make and sizes for male employees.

- The shall be design make and sizes for female employes.

- The Material shall be full grain upper leather

- The design shall be in accordance with SANS 20345 and certified

- The boots/shoes

5.1.2 Test

Safety shoes and safety boots shall be tested as per ASTM F2412 and ISO 20344.

5.1.3 Packaging and labelling

- The safety shoes and boots shall be packed in a box.

- The box shall be adequately labeled and show the shoe or boot size

5.2 Gumboots

5.2.1 General requirements

- Gumboots shall be made of solid rubber and shall be black in colour with a protective toe cap.

- The gumboot shall be a knee length

- Gumboots shall comply with SANS 20345.

- There shall be design make and sizes for male employees.

- The shall be design make and sizes for female employees.

5.2.2 Test

Gumboots shall comply with. ISO 20344

5.2.3 Packaging and labelling

- The gumboots shall be packed in a box.

- The box shall be adequately labeled and show the gumboot size

# QUALITY MANAGEMENT

A quality management plan shall be set up in order to assure the proper quality management of the  foot protection during design, development, production, installation and servicing phases. Guidance on the requirements for a quality management plan may be found in the SANS ISO 9001. The details shall be subject to agreement between City Power and the Supplier.

# ENVIRONMENTAL MANAGEMENT

An environmental management plan shall be set up in order to assure the proper environmental management of the foot protection throughout its entire life cycle (i.e. during design, development, production, installation, operation and maintenance, decommissioning and disposal phases). Guidance on the requirements for an environmental management system may be found in SANS ISO 14001 standards. The details shall be subject to agreement between City Power and the Supplier. This is to ensure that the asset created conforms to environmental standards and City Power SHEQ Policy.

# HEALTH AND SAFETY

A health and safety plan shall be set up in order to ensure proper management of the foot protection and compliance of the queuing system during installation, operation, maintenance, and decommissioning phases. Guidance on the requirements of a health and safety plan may be found in OHSAS 18001 standards. This is to ensure that the asset conforms to standard operating procedures and City Power SHERQ Policy. The details shall be subject to agreement between City Power and the Supplier.

# Annexure C - Technical schedules A and B for Safety Shoes

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Workplace safety shoes comply to specification |  | Yes |  |
| 2 | Compliance to SANS 20345 |  | Yes |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Type tested as per SANS/ISO 20344 |  | Required |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_____________________________	___________________

Name in block letters	Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Safety Shoes

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_272 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_____________________________	___________________

Name in block letters	Signature

Full name of company: ____________________________________________________________

# Annexure C - Technical schedules A and B for Safety Boots

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Workplace Safety boots comply to specification |  | Yes |  |
| 2 | Compliance to SANS |  | SANS 20345 |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Type tester as per SANS/ISO 20344 |  | Required |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_____________________________	___________________

Name in block letters	Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Safety Boots

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_272 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_____________________________	___________________

Name in block letters	                                  Signature

Full name of company: ____________________________________________________________

# Annexure C – Techni-cal schedules A and B for Gumboot

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Workplace Gumboot comply to specification |  | Yes |  |
| 2 | Compliance to SANS |  | SANS 20345 |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Type tested as per SANS 20344 |  | Required |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_____________________________	___________________

Name in block letters	                                  Signature

Full name of company: ____________________________________________________________

# Annex D – Stock Items

Material Group: PERSONAL PROTECTIVE EQUIPMENT

| Item | SAP No | SAP Short Description | SAP Long Description |
| --- | --- | --- | --- |
| 1 | 1950 | Shoes safety (size 4) | Shoes safety Compliance with Specification CP_TSSPEC_272 (size 4) |
| 2 | 1951 | Shoes safety (size 5) | Shoes safety (size 5) |
| 3 | 1952 | Shoes safety (size 6) | Shoes safety Compliance with Specification CP_TSSPEC_272 (size 6) |
| 4 | 1953 | Shoes safety (size 7) | Shoes safety Compliance with Specification CP_TSSPEC_272 (size 7) |
| 5 | 1954 | Shoes safety (size 8) | Shoes safety Compliance with Specification CP_TSSPEC_272 (size 8) |
| 6 | 1955 | Shoes safety (size 9) | Shoes safety Compliance with Specification CP_TSSPEC_272 (size 9) |
| 7 | 1956 | Shoes safety (size 10) | Shoes safety Compliance with Specification CP_TSSPEC_272 (size 10) |
| 8 | 1957 | Shoes safety (size 11) | Shoes safety Compliance with Specification CP_TSSPEC_272 (size 11) |
| 9 | 1958 | Shoes safety (size 12) | Shoes safety Compliance with Specification CP_TSSPEC_272 (size 12) |
| 10 | 1959 | Shoes safety (size 13) | Shoes safety Compliance with Specification CP_TSSPEC_272 (size 13) |
| 11 | 11371 | Boots safety (size 4) | Boots safety Compliance with Specification CP_TSSPEC_272 (size 4) |
| 12 | 1960 | Boots safety (size 5) | Boots safety Compliance with Specification CP_TSSPEC_272 (size 5) |
| 22 | 1961 | Boots safety (size 6) | Boots safety Compliance with Specification CP_TSSPEC_272 (size 6) |
| 13 | 1962 | Boots safety (size 7) | Boots safety Compliance with Specification CP_TSSPEC_272 (size 7) |
| 14 | 1963 | Boots safety (size 8) | Boots safety Compliance with Specification CP_TSSPEC_272 (size 8) |
| 15 | 1964 | Boots safety (size 9) | Boots safety Compliance with Specification CP_TSSPEC_272 (size 9) |
| 16 | 1965 | Boots safety (size 10) | Boots safety Compliance with Specification CP_TSSPEC_272 (size 10) |
| 17 | 1966 | Boots safety (size 11) | Boots safety Compliance with Specification CP_TSSPEC_272 (size 11) |
| 18 | 1967 | Boots safety (size 12 ) | Boots safety Compliance with Specification CP_TSSPEC_272 (size 12 ) |
| 19 | 1968 | Boots safety (size 13 ) | Boots safety Compliance with Specification CP_TSSPEC_272 (size 13 ) |
| 20 | 1969 | Gumboots (size 4) | Gumboots Compliance with Specification CP_TSSPEC_272 (size 4) |
| 21 | 1970 | Gumboots(size 5) | Gumboots Compliance with Specification CP_TSSPEC_272 (size 5) |
| 22 | 11378 | Gumboots (size 6) | Gumboots Compliance with Specification CP_TSSPEC_272 (size 6) |
| 23 | 1932 | Gumboots (size 7) | Gumboots Compliance with Specification CP_TSSPEC_272 (size 7) |
| 24 | 1933 | Gumboots (size 8) | Gumboots Compliance with Specification CP_TSSPEC_272 (size 8) |
| 25 | 1934 | Gumboots (size 9) | Gumboots Compliance with Specification CP_TSSPEC_272 (size 9) |
| 26 | 1935 | Gumboots (size 10) | Gumboots Compliance with Specification CP_TSSPEC_272 (size 10) |
| 27 | 1936 | Gumboots (size 11) | Gumboots Compliance with Specification CP_TSSPEC_272 (size 11) |
| 28 | 1937 | Gumboots (size 12) | Gumboots Compliance with Specification CP_TSSPEC_272 (size 12) |

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
|  | 1950 | Shoes safety (size 4) | 4 | 1 |  |
|  | 1951 | Shoes safety (size 5) | 5 | 1 |  |
|  | 1952 | Shoes safety (size 6) | 6 | 1 |  |
|  | 1953 | Shoes safety (size 7) | 7 | 1 |  |
|  | 1954 | Shoes safety (size 8) | 8 | 1 |  |
|  | 1955 | Shoes safety (size 9) | 9 | 1 |  |
|  | 1956 | Shoes safety (size 10) | 10 | 1 |  |
|  | 1957 | Shoes safety (size 11) | 11 | 1 |  |
|  | 1958 | Shoes safety (size 12) | 12 | 1 |  |
|  | 1959 | Shoes safety (size 13) | 13 | 1 |  |
|  | 11371 | Boots safety (size 4) | 4 | 1 |  |
|  | 1960 | Boots safety (size 5) | 5 | 1 |  |
|  | 1961 | Boots safety (size 6) | 6 | 1 |  |
|  | 1962 | Boots safety (size 7) | 7 | 1 |  |
|  | 1963 | Boots safety (size 8) | 8 | 1 |  |
|  | 1964 | Boots safety (size 9) | 9 | 1 |  |
|  | 1965 | Boots safety (size 10) | 10 | 1 |  |
|  | 1966 | Boots safety (size 11) | 11 | 1 |  |
|  | 1967 | Boots safety (size 12 ) | 12 | 1 |  |
|  | 1968 | Boots safety (size 13 ) | 13 | 1 |  |
|  | 1969 | Gumboots (size 4) | 4 | 1 |  |
|  | 1970 | Gumboots(size 5) | 5 | 1 |  |
|  | 11378 | Gumboots (size 6) | 6 | 1 |  |
|  | 1932 | Gumboots (size 7) | 7 | 1 |  |
|  | 1933 | Gumboots (size 8) | 8 | 1 |  |
|  | 1934 | Gumboots (size 9) | 9 | 1 |  |
|  | 1935 | Gumboots (size 10) | 10 | 1 |  |
|  | 1936 | Gumboots (size 11) | 11 | 1 |  |

CATEGORY 2:  GENERAL PPE

| Bid no: 2324G : REQUEST FOR BIDS FOR SUPPLY & DELIVERY OF PERSONAL PROPECTIVE EQUIPMENT |  |  |
| --- | --- | --- |
| Mandatory requirements |  | Yes/No |
| 1. | Local content Annexure C and MBD6.2 to be completed in full, failure to complete the local Content and MBD 6.2 will result in your bid being non- responsive, ANNEXTURES C, D AND E |  |
| 2. | Technical schedules to be completed in full and signed as per schedule A, failure to complete the technical schedule as indicated will result in your bid being non- responsive |  |
| 3. | BOQs selected to be priced in full, failure to complete the BOQs in full will result in your bid being non Responsive. Distributors to provide a letter of agreement from the manufacturer, failure to provide the agreement From the manufacture will also result in the bid being considered non –responsive. |  |
| Stage 1 Evaluation: A minimum threshold of 75% must be achieved to proceed to the Stage 2 Evaluation Evaluation will be done on a relationship to the weighting on a scale of 0 to 10 |  |  |
| Technical Evaluation: |  | Weight |
| 1. | Type Test - Provide a signed type test report for ALKALINE BATTERY from an accredited body - Provided a type test report = 10 point - Did not provide a type test report = 0 points Max score points = 10 points | 40 |
| 2. | ISO Requirements - Provide a valid ISO 9001 certificate from the manufacturer - Provided a valid ISO 9001 certificate from the manufacturer = 10 points - Did not provide a valid ISO 9001 certificate from the manufacturer =0 points Max score points = 10 points | 10 |
| 3. | LEAD TIME: - Lead time for delivery - 2-4 weeks = 10 points - 5-7 weeks =7.5 points - More than 7 weeks = 0 points Max score points = 10 points | 15 |
| 4. | EXPERIENCE - Provide reference letters, signed letterhead including contact details of a similar scope of works as per specification, also indicating contract period and value - Provided three (3) reference letters and more = 10 points - Provided two (2) reference letters = 7 points - Provided one (1) reference letter = 1 point - Did not provide reference letters = 0 point (No appointment letters, contracts and purchase orders from clients will be accepted as reference letters.) Max score=10 points | 15 |
| 5. | SABS/SANS Mark - Provide a SABS/SANS certificate for ALKALINE BATTERY from the manufacturer - Provided a SABS/SANS certificate = 10 points - Did not provide a SABS/SANS certificate = 0 points Max score points = 10 points | 20 |
|  | Total | 100 |
| Stage 2 Evaluation |  |  |
| PRICE |  | 80 |
| B-BBEE |  | 20 |

EVALUATION CRITERIA 6: ALKALINE BATTERY CP_TSSPEC_274

MAXIMUM OF (4) FOUR BIDDERS PER CRITERIA

|  |  |  | REFERENCE |  |  | REV |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TITLE |  | SPECIFICATION FOR ALCALI/BATTERY PPE | CP_TSSPEC_274 |  |  | 0 |  |
|  |  |  | DATE: | OCTOBER 2018 |  |  |  |
|  |  |  | PAGE: | 1 | OF |  | 13 |

TABLE OF CONTENTS

Page

INTRODUCTION	3

1SCOPE	3

2RNORMATIVE REFERENCES	3

3DEFINITIONS AND ABBREVIATIONS	3

4ALCALI/BATTERY PPE	3

5QUALITY MANAGEMENT	4

6ENVIRONMENTAL MANAGEMENT	4

7HEALTH AND SAFETY	4

Annex A - Bibliography	5

Annex B - Revision information	6

Annexure C - Technical schedules A and B for ALCALI face-shield protection	7

Technical schedules A and B	8

Deviation schedule for ALCALI face-shield protection	8

Annexure C - Technical schedules A and B for ALCALI Apron	9

Technical schedules A and B	10

Deviation schedule for ALCALI Apron	10

Annexure C - Technical schedules A and B for ALCALI protection Gloves	11

Technical schedules A and B	12

Deviation schedule for ALCALI protection Gloves	12

Annex D – Stock Items	13

# INTRODUCTION

City Power personnel routinely carry out work in close proximity to acid equipment. Whilst every possible safety precaution is followed, the employer is obliged to provide overalls which will give personnel the maximum possible degree of safety whilst, simultaneously, being comfortable enough not to restrict movement or cause discomfort.

# SCOPE

This specification covers City Power’s requirements for Alkali/battery accordance with the requirements of Occupational Health and Safety Act, General Safety Regulations, point 2 – Personal Safety Equipment and Facilities.

# NORMATIVE REFERENCES

The following documents contain provisions that, through reference in the text, constitute requirements of this specification.  At the time of publication, the editions indicated were valid.  All standards and specifications are subject to revision, and parties to agreements based on this specification are encouraged to investigate the possibility of applying the most recent editions of the documents listed below;

SANS 1404:  2009 Eye-protectors for Industrial and Non-industrial Use

SANS 416:  2009 Eye-protectors for Industrial and Non-industrial Use

# DEFINITIONS AND ABBREVIATIONS

PPE	Personal Protective Equipment

# ALCALI/BATTERY PPE

4.1 Face protection

4.1.1 General requirements

- The face shield shall provide protection against acid/alkali burn.

- The shield shall be made of a transparent material and which material shall be made of polycarbonate.

- The shield shall have an anti-fog coating

    - Test

- All test shall be done in accordance to SANS 1404

- Complete Type test report shall be submitted with the tender.

    - Packaging and labeling

The face shield shall be packed in a suitable package which will eliminate damage

4.2 Apron

4.2.1 General requirements

- The apron shall be rubber-coated or heavy duty plastic polyester viscose material.

- The apron shall be full length and hang to the knees or below the knees.

- The apron shall be acid resistant

4.2.2 Test

The proof of test for the apron being acid resistant shall be provided.

4.2.3 Packaging and labelling

- The Apron shall be packed in a suitable packaging.

- City Power branding shall be displayed in front of the Apron

4.3 Gloves

4.3.1 General requirements

The gloves shall be rubber-coated or heavy duty plastic polyester viscose material and comply with SANS 416.

4.3.2 Test

- All test shall be done in accordance to SANS 416

- Complete Type test report shall be submitted with the tender.

4.3.3 Packaging and labeling

The gloves shall be packed in a suitable packaging and correctly labeled

Note: City Power reserves the right to view an existing alkali battery complying with  this specification or if no such alkali battery ppe exist a prototype shall be built and made available for inspection by representatives of City Power.

- QUALITY MANAGEMENT

A quality management plan shall be set up in order to assure the proper quality management of the alkali battery ppe services during design, development, production, installation and servicing phases. Guidance on the requirements for a quality management plan may be found in the ISO 9001:2015. The details shall be subject to agreement between City Power and the Supplier.

- ENVIRONMENTAL MANAGEMENT

An environmental management plan shall be set up in order to assure the proper environmental management of the alcali battery ppe throughout its entire life cycle (i.e. during design, development, production, installation, operation and maintenance, decommissioning and disposal phases). Guidance on the requirements for an environmental management system may be found in ISO 14001:2015 standards. The details shall be subject to agreement between City Power and the Supplier. This is to ensure that the asset created conforms to environmental standards and City Power SHERQ Policy

- HEALTH AND SAFETY

A health and safety plan shall be set up in order to ensure proper management and compliance of the arc rated flame resistance overall during installation, operation, maintenance, and decommissioning phases. Guidance on the requirements of a health and safety plan may be found in  ISO 45001:2018 standards. This is to ensure that the asset conforms to standard operating procedures and City Power SHERQ Policy. The details shall be subject to agreement between City Power and the Supplier.

# Annexure C - Technical schedules A and B for ALCALI face-shield protection

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | ALCALI face-shield protection comply to specification |  | Yes /no |  |
| 2 | Compliance to SANS |  | SANS no |  |
| 3 | Documentation supplied |  | Yes/no |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                      Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for ALCALI face-shield protection

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_274 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                      Signature

Full name of company: ____________________________________________________________

# Annexure C - Technical schedules A and B for ALCALI Apron

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | ALCALI Apron comply to specification |  | Yes/no |  |
| 2 | Compliance to SANS |  | SANS no |  |
| 3 | Documentation supplied |  | Yes/no |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                       Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for ALCALI Apron

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_274 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                       Signature

Full name of company: ____________________________________________________________

# Annexure C - Technical schedules A and B for ALCALI protection Gloves

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | ALCALI protection Gloves comply to specification |  | Yes/no |  |
| 2 | Compliance to SANS |  | SANS no |  |
| 3 | Documentation supplied |  | Yes/no |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                   Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for ALCALI protection Gloves

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_274 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                    Signature

Full name of company: ____________________________________________________________

# Annex D – Stock Items

Material Group: PROTEC-CL

ALCALI/BATTERY PROTECTION

| 1 | 2712 | ALCALI/ Battery protection faceshield | ALCALI/Battery protection faceshield and Compliance with Specification CP_TSSPEC_274 |
| --- | --- | --- | --- |
| 2 | 3354 | ALCALI/ Battery protection apron | ALCALI/Battery protection apron and Compliance with Specification CP_TSSPEC_274 |
| 3 | 11397 | ALCALI/ Battery protection gloves | ALCALI/Battery protection gloves and Compliance with Specification CP_TSSPEC_274 |

BOQ

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
|  | 2712 | ALCALI/ Battery protection faceshield | N/A | 1 |  |
|  | 3354 | ALCALI/ Battery protection apron | N/A | 1 |  |
|  | 11397 | ALCALI/ Battery protection gloves | N/A | 1 |  |

CATEGORY 2: GENERAL PPE

EVALUATION CRITERIA 7: PROTECTIVE LAB PPE CP_TSSPEC_273

MAXIMUM OF (4) FOUR BIDDERS PER CRITERIA

| Bid no: 2324G : REQUEST FOR BIDS FOR SUPPLY & DELIVERY OF PERSONAL PROPECTIVE EQUIPMENT |  |  |
| --- | --- | --- |
| Mandatory requirements |  | Yes/No |
| 1. | Local content Annexure C and MBD6.2 to be completed in full, failure to complete the local Content and MBD 6.2 will result in your bid being non- responsive, ANNEXTURES C, D AND E |  |
| 2. | Technical schedules to be completed in full and signed as per schedule A, failure to complete the technical schedule as indicated will result in your bid being non- responsive |  |
| 3. | BOQs selected to be priced in full, failure to complete the BOQs in full will result in your bid being non Responsive. Distributors to provide a letter of agreement from the manufacturer, failure to provide the agreement From the manufacture will also result in the bid being considered non –responsive. |  |
| Stage 1 Evaluation: A minimum threshold of 75% must be achieved to proceed to the Stage 2 Evaluation Evaluation will be done on a relationship to the weighting on a scale of 0 to 10 |  |  |
| Technical Evaluation: |  | Weight |
| 1. | Type Test - Provide a signed type test report for PROTECTIVE LAB PPE from an accredited body - Provided a type test report = 10 point - Did not provide a type test report = 0 points Max score points = 10 points | 40 |
| 2. | ISO Requirements - Provide a valid ISO 9001 certificate from the manufacturer - Provided a valid ISO 9001 certificate from the manufacturer = 10 points - Did not provide a valid ISO 9001 certificate from the manufacturer =0 points Max score points = 10 points | 10 |
| 3. | LEAD TIME: - Lead time for delivery - 2-4 weeks = 10 points - 5-7 weeks =7.5 points - More than 7 weeks = 0 points Max score points = 10 points | 15 |
| 4. | EXPERIENCE - Provide reference letters, signed letterhead including contact details of a similar scope of works as per specification, also indicating contract period and value - Provided three (3) reference letters and more = 10 points - Provided two (2) reference letters = 7 points - Provided one (1) reference letter = 1 point - Did not provide reference letters = 0 point (No appointment letters, contracts and purchase orders from clients will be accepted as reference letters.) Max score=10 points | 15 |
| 5. | SABS/SANS Mark - Provide a SABS/SANS certificate for PROTECTIVE LAB PPE from the manufacturer - Provided a SABS/SANS certificate = 10 points - Did not provide a SABS/SANS certificate = 0 points Max score points = 10 points | 20 |
|  | Total | 100 |
| Stage 2 Evaluation |  |  |
| PRICE |  | 80 |
| B-BBEE |  | 20 |

|  |  |  | REFERENCE |  |  | REV |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TITLE |  | SPECIFICATION FOR PROTECTIVE LABORATORY PPE | CP_TSSPEC_273 |  |  | 1 |  |
|  |  |  | DATE: | SEPTEMBER 2020 |  |  |  |
|  |  |  | PAGE: | 1 | OF |  | 43 |

TABLE OF CONTENTS

Page

INTRODUCTION	4

1SCOPE	4

2NORMATIVE REFERENCES	4

3DEFINITIONS AND ABBREVIATIONS	4

4RESPIRATORY PROTECTION	4

5DUST COAT (LAB)	6

6EYE PROTECTION FOR OIL LAB USE (Goggles)	6

7QUALITY MANAGEMENT	6

8ENVIRONMENTAL MANAGEMENT	7

9HEALTH AND SAFETY	7

Annex A - Bibliography	8

Annex B - Revision information	9

Annexure C - Technical Schedules A and B for Lab acid resistant white coat Small (3352)	10

Technical schedules A and B	11

Deviation schedule for Lab acid resistant white coat Small	11

Annexure C - Technical schedules A and B Lab acid resistant white coat medium (3353)	12

Technical schedules A and B	13

Deviation schedule for Lab acid resistant white coat medium	13

Annexure C - Technical schedules A and B for Lab acid resistant white coat large (3355)	14

Technical schedules A and B	15

Deviation schedule for Lab acid resistant white coat large	15

Annexure C - Technical schedules A and B for Lab acid resistant white coat X large (3356)	16

Technical schedules A and B	17

Deviation schedule for Lab acid resistant white coat X large	17

Annexure C - Technical schedules A and B for Lab acid resistant white coat XX large (3357)	18

Technical schedules A and B	19

Deviation schedule for Lab acid resistant white coat large	19

Annexure C - Technical schedules A and B for Lab acid resistant white coat 273 large (3358)	20

Technical schedules A and B	21

Deviation schedule for Lab acid resistant white large	21

Annexure C - Technical schedules A and B for Lab respirators protection against oil chemical (3359)	22

Technical schedules A and B	23

Deviation schedule for Lab respirators protection against oil chemical	23

Technical schedules A and B	25

Deviation schedule for Lab respirators  catridge protection against oil chemical	25

Technical schedules A and B	27

Deviation schedule for Lab Goggles protection against oil chemical	27

Annexure C - Technical schedules A and B Respirators for chemical purpose	28

Technical schedules A and B	29

Deviation schedule for Respirators for chemical purpose	29

Annexure C - Technical schedules A and B for Dust Mask	30

Technical schedules A and B	31

Deviation schedule for Dust Mask	31

Annexure C - Technical schedule A and B for Clinical Use Mask	32

Technical schedules A and B	33

Deviation schedule for Clinical Use Mask	33

Annexure C - Technical schedules A and B for Cloth Mask Small	34

Technical schedules A and B	35

Deviation schedule for Cloth Mask Small	35

Annexure C - Technical schedules A and B for Cloth Mask medium	36

Technical schedules A and B	37

Deviation schedule for Cloth Mask Medium	37

Annexure C - Technical schedules A and B for Cloth Mask Large	38

Technical schedules A and B	39

Deviation schedule for Cloth mask Mask Large	39

Annexure C - Technical schedule A and B for Cloth Mask X large	40

Technical schedules A and B	41

Deviation schedule for Cloth Mask Xtra large	41

Annex D – Stock Items	42

# INTRODUCTION

City Power personnel routinely carry out work in close proximity to liquid acid. Whilst every possible safety precaution is followed, the employer is obliged to provide overalls which will give personnel the maximum possible degree of safety whilst, simultaneously, being comfortable enough not to restrict movement or cause discomfort.

# 1. SCOPE

This specification covers City Power’s requirements for laboratory PPE in accordance with the requirements of Occupational Health and Safety Act, General Safety Regulations, point 2 – Personal Safety Equipment and Facilities.

# 2. NORMATIVE REFERENCES

The following documents contain provisions that, through reference in the text, constitute requirements of this specification.  At the time of publication, the editions indicated were valid.  All standards and specifications are subject to revision, and parties to agreements based on this specification are encouraged to investigate the possibility of applying the most recent editions of the documents listed below;

SANS 50136 - 	Respiratory protection device

SANS 434 – General protective clothing

SANS 1404 - Eye-protectors for industrial and non-industrial use

ISO 6530- Protective clothing against Liquid chemicals

ISO 6942- Protection against heat and fire

# 3.DEFINITIONS AND ABBREVIATIONS

PPE	Personal Protective Equipment

# RESPIRATORY PROTECTION

4.1.1 General requirements

- Respirators shall comply to SANS 50136

- Shall be of a single cartridge

- The Respirator filters shall comply with SANS 50136

4.1.2 Test

The respirator shall be tested in accordance to SANS 50136

4.1.3 Packaging and labelling

The respirators shall be packed in a suitable packaging Respirators against chemical

4.2 Oil lab gases

4.2.1 General requirements Lab use

- Respirators shall comply to SANS 50136

- The Respirator filters shall comply with SANS 50136

- Shall be of a double cartridges

4.2.2 Test

The respirator shall be tested in accordance to SANS 50136

4.2.3 Packaging and labelling

The respirators shall be packed in a suitable packaging

4.3   Dust Mask

- The dust mask shall comply with SANS 50136

- The mask shall have the firm securing device to the nose

4.3.1 Test

The dust mask shall be tested in accordance to SANS 50136

4.3.2 Packaging and labelling

The dust mask shall be packed in a suitable packaging

4.4 Clinical use Mask

4.4.1 General requirements

- The mask shall have the firm securing device to the nose

- The mask shall be suitable for clinical use

4.4.2 Test

Proof of test report shall be provided showing that the mask is suitable for the surgical use.

4.4.3 Packaging and labelling

The clinical use mask shall be packed in a suitable packaging.

4.5 Cloth Mask

4.5.1 General requirements

a) The cloth mask shall comply to 50136

b) The cloth mask shall comply to an updated guidelines outlined by the Department of Trade, Industry and Competition(DTIC) with respect of COVID- 19.

c) The garment of the cloth mask and material shall comply to SANS 434.

d)  It shall be a three layer garment with

1. inner layer next to the face,

2. Middle filter layer and

3. Outer layer, faces Outwards

e)  It shall be navy blue colour with City Power branding logo on it.

f)  It shall be able to prevent extremely airborne small droplets that are measured up to a size 5 microns, secreted during talking, sneezing or coughing as per(WHO 29/4/2020).

g)  It shall have high performance barrier efficiency.

h) It shall be capable to allow easily breathing.

i)  The cloth mask shall be able to fit properly and be comfortable to wear.

j)  Cleaning and disinfection off all components shall be easy to carry out at home.

k)  All components shall be durable and shall maintain their intergrity during the full life span of the components.

l)   Documentation for manual instructions shall be required.

J) Manufactures shall indicate the sizing of the cloth mask

4.5.2 Test

Proof of test report shall be provided showing that the Cloth mask is suitable for the use to prevent the extremely small droplets of 5 microns in size.

4.5.3 Packaging and labelling

The cloth mask shall be packed in a suitable packaging.

# DUST COAT (LAB)

5.5.1 General requirements

- The garment shall be made of acid resistant material.

- The garment shall be white in colour

- The garment shall be a knee length

- City Power logo shall be displayed on the upper pocket of the jacket

- A provision shall be made for the printing of the name on the left upper pocket of the jacket

- City Power branding shall be on the right upper pocket of the jacket.

- The size shall range from small to 273 large

5.5.2 Test

- All test shall be done in accordance to ISO 6530

- Complete Type test report shall be submitted with the tender.

5.5.3 Packaging and labeling

The coat shall be packed in a suitable packaging designating the size.

# EYE PROTECTION FOR OIL LAB USE (Goggles)

6.6.1 General requirements

- Shall comply to SANS 1404

- Shall be mist resistant and anti-fog coated to ANSI D3 D4

- Lens shall be anti-scratch

- Shall provide protection against gases

6.6.2 Test

The goggles shall be tested and proof to show that they are suitable for protection against gases as per SANS 1404.

Note: City Power reserves the right to view an existing protective laboratory ppe complying with  this specification or if no such arc rated flame resistant overalls exist a prototype shall be built and made available for inspection by representatives of City Power.

# QUALITY MANAGEMENT

A quality management plan shall be set up in order to assure the proper quality management of the protective laboratory ppe services during design, development, production, installation and servicing phases. Guidance on the requirements for a quality management plan may be found in the ISO 9001:2015. The details shall be subject to agreement between City Power and the Supplier.

# ENVIRONMENTAL MANAGEMENT

An environmental management plan shall be set up in order to assure the proper environmental management of the protective laboratory ppe throughout its entire life cycle (i.e. during design, development, production, installation, operation and maintenance, decommissioning and disposal phases). Guidance on the requirements for an environmental management system may be found in ISO 14001:2015 standards. The details shall be subject to agreement between City Power and the Supplier. This is to ensure that the asset created conforms to environmental standards and City Power SHERQ Policy

# HEALTH AND SAFETY

A health and safety plan shall be set up in order to ensure proper management and compliance of the protective laboratory ppe during installation, operation, maintenance, and decommissioning phases. Guidance on the requirements of a health and safety plan may be found in  ISO 45001:2018 standards. This is to ensure that the asset conforms to standard operating procedures and City Power SHERQ Policy. The details shall be subject to agreement between City Power and the Supplier.

# Annexure C - Technical Schedules A and B for Lab acid resistant white coat Small (3352)

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Lab acid resistant white coat small comply to specification |  | Yes |  |
| 2 | Compliance to SANS/ISO 6530 |  | Required |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Name of the Manufacture |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                      Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Lab acid resistant white coat Small

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_273 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                      Signature

Full name of company: ____________________________________________________________

# Annexure C - Technical schedules A and B Lab acid resistant white coat medium (3353)

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Lab acid resistant white coat medium comply to specification ALCALI Apron comply to specification |  | Yes |  |
| 2 | Compliance to SANS/ISO 6530 |  | Required |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Name of the Manufacture |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                       Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Lab acid resistant white coat medium

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_273 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                       Signature

Full name of company: ____________________________________________________________

# Annexure C - Technical schedules A and B for Lab acid resistant white coat large (3355)

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Lab acid resistant white coat large comply to specification |  | Yes |  |
| 2 | Compliance to SANS/ISO 6530 |  | Required |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Name of the Manufacture |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                   Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Lab acid resistant white coat large

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_273 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                    Signature

Full name of company: ____________________________________________________________

# Annexure C - Technical schedules A and B for Lab acid resistant white coat X large (3356)

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Lab acid resistant white coat X large comply to specification |  | Yes |  |
| 2 | Compliance to SANS/ISO 6530 |  | Required |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Name of the manufacture |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                   Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Lab acid resistant white coat X large

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_273 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                    Signature

Full name of company: ____________________________________________________________

# Annexure C - Technical schedules A and B for Lab acid resistant white coat XX large (3357)

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Lab acid resistant white coat XX large comply to specification |  | Yes |  |
| 2 | Compliance to SANS/ISO 6530 |  | Required |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Name of the Manufacture |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                   Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Lab acid resistant white coat large

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_273 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                    Signature

Full name of company: ____________________________________________________________

# Annexure C - Technical schedules A and B for Lab acid resistant white coat 273 large (3358)

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Lab acid resistant white coat 273 large comply to specification |  | Yes |  |
| 2 | Compliance to SANS/ISO 6530 |  | Required |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Name of the Manufacture |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                   Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Lab acid resistant white large

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_273 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                    Signature

Full name of company: ____________________________________________________________

# Annexure C - Technical schedules A and B for Lab respirators protection against oil chemical (3359)

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Lab respirators protection against oil chemical comply to specification |  | Yes |  |
| 2 | Compliance to SANS 50136 |  | Required |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Name of the Manufacture |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                   Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Lab respirators protection against oil chemical

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_273 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                    Signature

Full name of company: ____________________________________________________________

Annexure C - Technical schedules A and B for Lab respirators catridge protection against oil chemical (3360)

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Lab respirators catridge protection against oil chemical comply to specification |  | Yes |  |
| 2 | Compliance to SANS 50136 |  | Required |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Name of the Manufacture |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                   Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Lab respirators  catridge protection against oil chemical

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_273 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                    Signature

Full name of company: ____________________________________________________________

Annexure C- Technical Schedule A and B for Lab Goggles protection against oil chemical (3361)

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Lab goggles protection against oil chemical comply to specification |  | Yes |  |
| 2 | Compliance to SANS 1404 |  | Required |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Name of the Manufacture |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                   Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Lab Goggles protection against oil chemical

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_273 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                    Signature

Full name of company: ____________________________________________________________

# Annexure C - Technical schedules A and B Respirators for chemical purpose

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Dust Mask comply to specification |  | Yes |  |
| 2 | Compliance to SANS 50136 |  | Required |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Name of the Manufacture |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	            Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Respirators for chemical purpose

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_273 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                     Signature

Full name of company: ____________________________________________________________

# Annexure C - Technical schedules A and B for Dust Mask

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Dust Mask comply to specification |  | Yes |  |
| 2 | Compliance to SANS 50136 |  | Required |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Name of the Manufacture |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	            Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Dust Mask

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_273 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:______________________________	___________________

Name in block letters	                     Signature

Full name of company: ____________________________________________________________

# Annexure C - Technical schedule A and B for Clinical Use Mask

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Clinical use mask comply to specification |  | Yes |  |
| 2 | Compliance to SANS 50136 |  | Required |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Name of the Manufacture |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Clinical Use Mask

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_273 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                         Signature

Full name of company: ____________________________________________________________

# Annexure C - Technical schedules A and B for Cloth Mask Small

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Name of the local manufacturer |  | required |  |
| 2 | 100% local content |  | Required |  |
| 3 | Garment to comply to SANS 434 |  | Yes |  |
| 4 | Cloth Mask to comply to SANS 50136 |  | Yes |  |
| 5 | Cloth mask to comply DTIC COVID-19 |  | Yes |  |
| 6 | Restrict droplets of 5 microns as per WHO 29/4/2020 |  | Yes |  |
| 7 | Three layer garment |  | Required |  |
| 8 | Proof to prevent droplets |  | Required |  |
| 9 | Documentation to be supplied |  | Yes |  |
| 10 | Small size |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Cloth Mask Small

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_273 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                         Signature

Full name of company: ____________________________________________________________

# Annexure C - Technical schedules A and B for Cloth Mask medium

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Name of the local manufacturer |  | required |  |
| 2 | 100% local content |  | Required |  |
| 3 | Garment to comply to SANS 434 |  | Yes |  |
| 4 | Cloth Mask to comply to SANS 50136 |  | Yes |  |
| 5 | Cloth mask to comply DTIC COVID-19 |  | Yes |  |
| 6 | Restrict droplets of 5 microns as per WHO 29/4/2020 |  | Yes |  |
| 7 | Three layer garment |  | Required |  |
| 8 | Proof to prevent droplets |  | Required |  |
| 9 | Documentation to be supplied |  | Yes |  |
| 10 | Medium size |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Cloth Mask Medium

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_273 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                         Signature

Full name of company: ____________________________________________________________

# Annexure C - Technical schedules A and B for Cloth Mask Large

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Name of the local manufacturer |  | required |  |
| 2 | 100% local content |  | required |  |
| 3 | Garment to comply to SANS 434 |  | Yes |  |
| 4 | Cloth Mask to comply to SANS 50136 |  | Yes |  |
| 5 | Cloth mask to comply DTIC COVID-19 |  | Yes |  |
| 6 | Restrict droplets of 5 microns as per WHO 29/4/2020 |  | Yes |  |
| 7 | Three layer garment |  | Required |  |
| 8 | Proof to prevent droplets |  | Required |  |
| 9 | Documentation to be supplied |  | Yes |  |
| 10 | Large size |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Cloth Mask Large

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_273 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                         Signature

Full name of company: ____________________________________________________________

# Annexure C - Technical schedule A and B for Cloth Mask X large

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Name of the local manufacturer |  | required |  |
| 2 | 100% local content |  | required |  |
| 3 | Garment to comply to SANS 434 |  | Yes |  |
| 4 | Cloth Mask to comply to SANS 50136 |  | Yes |  |
| 5 | Cloth mask to comply DTIC COVID-19 |  | Yes |  |
| 6 | Restrict droplets of 5 microns as per WHO 29/4/2020 |  | Yes |  |
| 7 | Three layer garment |  | Required |  |
| 8 | Proof to prevent droplets |  | Required |  |
| 9 | Documentation to be supplied |  | Yes |  |
| 10 | X large size |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Cloth Mask X-tra large

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_273 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory:_______________________________	___________________

Name in block letters	                         Signature

Full name of company: ____________________________________________________________

# Annex D – Stock Items

Material Group: PROTECTIVE LAB PPE

| 1 | 3352 | Lab acid resistant white coat Small | Lab acid resistant white coat size small Compliance with Specification CP_TSSPEC_273 |
| --- | --- | --- | --- |
| 2 | 3353 | Lab chemical resistant white coat medium | Lab acid resistant white coat size medium Compliance with Specification CP_TSSPEC_273 |
| 3 | 3355 | Lab chemical resistant white coat large | Lab chemical resistant dust coat size large Compliance with Specification CP_TSSPEC_273 |
| 4 | 3356 | Lab Chemical resistant white coat X large | Lab Chemical resistant white coat size X large Compliance with Specification CP_TSSPEC_273 |
| 5 | 3357 | Lab Chemical resistant white coat XX large | Lab Chemical resistant white coat size XX large Compliance with Specification CP_TSSPEC_273 |
| 6 | 3358 | Lab Chemical resistant white coats 273 large | Lab chemical resistant white coat size XX large Compliance with Specification CP_TSSPEC_273 |
| 7 | 3359 | Lab respirators protection against oil chemical | Lab respirators protection against oil chemical Compliance with Specification CP_TSSPEC_273 |
| 8 | 3360 | Lab respirators catridge protection against oil chemical | Lab respirators catridges protection against oil chemical Compliance with Specification CP_TSSPEC_273 |
| 9 | 3361 | Lab goggles protection against oil chemical | Lab goggles protection against oil chemical Compliance with Specification CP_TSSPEC_273 |

BOQ

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
|  | 3352 | Lab acid resistant white coat Small | S | 1 |  |
|  | 3353 | Lab chemical resistant white coat medium | M | 1 |  |
|  | 3355 | Lab chemical resistant white coat large | L | 1 |  |
|  | 3356 | Lab Chemical resistant white coat X large | XL | 1 |  |
|  | 3357 | Lab Chemical resistant white coat XX large | 2XL | 1 |  |
|  | 3358 | Lab Chemical resistant white coats 273 large | l | 1 |  |
|  | 3359 | Lab respirators protection against oil chemical | n/a | 1 |  |
|  | 3360 | Lab respirators catridge protection against oil chemical | n/a | 1 |  |
|  | 3361 | Lab goggles protection against oil chemical | n/a | 1 |  |

Material Group: PROTECTION FOR THE RESPIRATORY

| 1 | 370 | Respirators for chemical purpose | Respirators for chemical purpose Compliance with Specification CP_TSSPEC_273 |
| --- | --- | --- | --- |
| 2 | 275 | Dust mask for general purpose | Dust mask for general purpose Compliance with Specification CP_TSSPEC_273 |
| 3 | 3371 | Surgical mask wellness | Wellness surgical mask, Compliance with Specification CP_TSSPEC_273 |

BOQ

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
|  | 370 | Respirators for chemical purpose | N/A | 1 |  |
|  | 275 | Dust mask for general purpose | N/A | 1 |  |
|  | 3371 | Surgical mask wellness | N/A | 1 |  |

Material Group: PROTECTION FOR THE RESPIRATORY CLOTH MASK THREE LAYER GARMENT

| 1 | 4551 | Respirators Cloth Mask 3 layer S | Respirators for three layer cloth mask, small size Compliance with Specification CP_TSSPEC_273 |
| --- | --- | --- | --- |
| 2 | 4552 | Respiratoy Cloth Mask 3 layer M | Respirators for three layer cloth mask, medium size Compliance with Specification CP_TSSPEC_273 |
| 3 | 4553 | Respiratory Cloth Mask 3 layer L | Respirators for three layer cloth mask, large size Compliance with Specification CP_TSSPEC_273 |
| 4 | 4554 | Respiratory Cloth Mask 3 layer XL | Respirators for three layer cloth mask, X large size Compliance with Specification CP_TSSPEC_273 |

BOQ

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
|  | 4551 | Respirators Cloth Mask 3 layer S | S | 1 |  |
|  | 4552 | Respiratoy Cloth Mask 3 layer M | M | 1 |  |
|  | 4553 | Respiratory Cloth Mask 3 layer L | L | 1 |  |
|  | 4554 | Respiratory Cloth Mask 3 layer XL | XL | 1 |  |

CATEGORY 2: GENERAL PPE

EVALUATION CRITERIA 8: DANGER AND WARNING SIGNS CP_TSSPEC_078

| Bid no: 2324G : REQUEST FOR BIDS FOR SUPPLY & DELIVERY OF PERSONAL PROPECTIVE EQUIPMENT |  |  |
| --- | --- | --- |
| Mandatory requirements |  | Yes/No |
| 1. | Technical schedules to be completed in full and signed as per schedule A, failure to complete the technical schedule as indicated will result in your bid being non- responsive |  |
| 2. | BOQs selected to be priced in full, failure to complete the BOQs in full will result in your bid being non Responsive. Distributors to provide a letter of agreement from the manufacturer, failure to provide the agreement From the manufacture will also result in the bid being considered non –responsive. |  |
| Stage 1 Evaluation: A minimum threshold of 75% must be achieved to proceed to the Stage 2 Evaluation Evaluation will be done on a relationship to the weighting on a scale of 0 to 10 |  |  |
| Technical Evaluation: |  | Weight |
| 1. | ISO Requirements - Provide a valid ISO 9001 certificate from the manufacturer - Provided a valid ISO 9001 certificate from the manufacturer = 10 points - Did not provide a valid ISO 9001 certificate from the manufacturer =0 points Max score points = 10 points | 20 |
| 2. | LEAD TIME: - Lead time for delivery - 2-4 weeks = 10 points - 5-7 weeks =7.5 points - More than 7 weeks = 0 points Max score points = 10 points | 20 |
| 3. | EXPERIENCE - Provide reference letters, signed letterhead including contact details of a similar scope of works as per specification, also indicating contract period and value - Provided three (3) reference letters and more = 10 points - Provided two (2) reference letters = 7 points - Provided one (1) reference letter = 1 point - Did not provide reference letters = 0 point (No appointment letters, contracts and purchase orders from clients will be accepted as reference letters.) Max score=10 points | 20 |
| 4. | SABS/SANS Mark - Provide a SABS/SANS certificate for DANGER AND WARNING TAPES from the manufacturer - Provided a SABS/SANS certificate = 10 points - Did not provide a SABS/SANS certificate = 0 points Max score points = 10 points | 40 |
|  | Total | 100 |
| Stage 2 Evaluation |  |  |
| PRICE |  | 80 |
| B-BBEE |  | 20 |

MAXIMUM OF (4) FOUR BIDDERS PER CRITERIA

|  |  |  | REFERENCE |  |  | REV |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TITLE |  | SPECIFICATION FOR NOTICES, DANGER AND WARNING SIGNS | CP_TSSPEC_078 |  |  | 2 |  |
|  |  |  | DATE: | NOVEMBER 2018 |  |  |  |
|  |  |  | PAGE: | 1 | OF |  | 21 |

TABLE OF CONTENTS

Page

INTRODUCTION

1SCOPE	4

2NORMATIVE REFERENCES	4

3TYPES	4

4DRAWINGS	5

5ESTANDARDS	5

6MARKING, PACKING AND DOCUMENTATION	5

7QUALITY MANAGEMENT	6

8ENVIRONMENTAL MANAGEMENT	6

9HEALTH AND SAFETY	6

Annex A - Bibliography	7

Annex B - Revision information	8

Annex C - Item No. 1 – Sign 1 – SAP NO. 567	9

Deviation schedule - Item No. 1 – Sign 1 – SAP NO. 567	10

Annex C - Item No. 2 – Sign 2 – SAP NO. 568	11

Deviation schedule - Item No. 2 – Sign 2 – SAP NO. 568	12

Annex C - Item No. 3 – Sign 3 – SAP NO. 6232	13

Deviation schedule - Item No. 3 – Sign 3 – SAP NO. 6232	14

Annex C - Item No. 4 – Sign 4 – SAP NO. 5666	15

Deviation schedule - Item No. 4 – Sign 4 – SAP NO. 5666	16

Annex C - Item No. 5 – Sign 5 – SAP NO. 569	17

Deviation schedule - Item No. 5 – Sign 5 – SAP NO. 569	18

Annex C - Item No. 6 – Sign 6 – SAP NO. 7114	19

Deviation schedule - Item No. 6 – Sign 6 – SAP NO. 7114	20

Annex D – Stock Items	21

# INTRODUCTION

In order to comply with the Occupational Health and Safety Act, it is imperative to have the necessary notices, danger and warning signs installed on City Power’s distribution networks.

# SCOPE

This specification covers the design content of notices, warning and danger signs displayed on the City Power’s distribution network.

# NORMATIVE REFERENCES

The following documents contain provisions that through reference in the text constitute requirements of this specification.  At the time of publication the editions indicated were valid.  All standards and specifications are subject to revision. and parties to agreements based on this specification are encouraged to investigate the possibility of applying the most recent editions of the documents listed below.

Occupational Health and Safety Act 85 of 1993.

SANS 10140:	Identification Colour Marking

SANS 1091:	National Colour Standards

SANS 1186:	Standard Signs and General Requirements

SANS 3668:	Paints and Varnishes-Visual Comparison of the Colour Paints

SANS 7724:	Paints and Varnishes

# TYPES

Six types of notices, warning and danger signs are specified in this standard, for use on the Distribution network.

a)	Sign 1	Low voltage enclosures.

b)	Sign 2	Medium voltage chambers and enclosures

c)	Sign 3	Procedure in case of fire.

d)	Sign 4	Perform first aid and resuscitate a person suffering from the effects of electric                                           shock.

e)	Sign 5	Prohibit unauthorized persons from entering and interfering with electrical apparatus

f)	Sign 6	Flooding by OC (pepper) gas repellent.

# DRAWINGS

The following drawings form part of and should be read in conjunction with this specification:

CP_TSDRAW_012 Sheets 1 to 6: Standard notices, warning and danger signs.

# STANDARDS

  - Material

    - Signs 1 and 2 shall be constructed from 270mm x 120mm x 0.6mm chromadek material

with black and safety yellow screen printed on white background. The sign board shall

be white and composed of Z200 hot dip galvanized substrate pre-primed and finished

in final paint coat. Drawing CP_DRAW_012_SHT 1 and CP_DRAW_012_SHT 2

    - Sign 3 shall be constructed from 250mm x 294mm x 0.6mm chromadek (Z200) screen

printed then powder coated to SANS 1274 or mild steel 1.2mm thick with vitreous

enamel finishing. The sign must be in 	English. Drawing CP_DRAW_012_SHT 3

    - Sign 4 shall be constructed from white 410mm x 294mm x 0.6mm thick chromadek

material (Z200) screen printed then clear powder coated to SANS 1274 or mild steel

1.2 mm thick with vitreous enamel finishing. The pictograms must be white and Signal

Red (A11 of SANS 1091). CP_DRAW_012_SHT 4

    - Sign 5 shall be constructed from 240mm x 150mm x 0.6mm white chromadek material.

The sign board shall be white and composed of Z200 hot dip galvanized substrate pre-primed and finished in final paint coat. The lettering must be in the three languages of English, Afrikaans and Zulu. CP_DRAW_012_SHT 5

    - Sign 6 shall be constructed from 270mm x 270mm 0.6 mm thick chromadek material

with black lettering on a white background. The sign board shall be white and composed of Z200 hot dip galvanized substrate pre-primed and finished in final paint coat CP_DRAW_012_SHT 6

5.2 Language

The above mentioned signs shall be as stated in the Occupational Health and Safety Act: (EMR (4))

“In three languages to be exhibited within and at all designated entrances to the premises, as the case may be, on which generating plant and transforming, switching or linking apparatus are situated.”

# MARKING, PACKING AND DOCUMENTATION

  - Marking

The following information shall be legibly and permanently marked on the front of each sign:

The manufacturer's name, trade name or trade mark; and the space occupied by the marking shall not exceed 12 mm in height and 25 mm in width. A label shall be attached to each packet of decals. An informative note to the effect that the decals are to be applied to a surface that is continuous, flat, rigid, and smooth and weatherproof shall appear on the label.

6.2 Packing

Only signs of the same type designation, material and size shall be packed together. The front of each sign shall be covered with a suitable material and the signs shall be so packed as to ensure that they are not damaged during normal handling, transportation and storage.

6.3  Documentation

6.3.1	Documentation shall be submitted in a technical catalogue format.

6.3.2	The technical catalogue shall specify the dimensions, reference numbers, and if applicable the complete range of other products and accessories available.

Note: City Power reserves the right to view an existing notice, danger and warning signs complying with  this specification or if no such arc rated flame resistant overalls exist a prototype shall be built and made available for inspection by representatives of City Power.

# QUALITY MANAGEMENT

A quality management plan shall be set up in order to assure the proper quality management of the notice, danger and warning signs services during design, development, production, installation and servicing phases. Guidance on the requirements for a quality management plan may be found in the ISO 9001:2015. The details shall be subject to agreement between City Power and the Supplier.

# ENVIRONMENTAL MANAGEMENT

An environmental management plan shall be set up in order to assure the proper environmental management of the danger, notice and warning signs throughout its entire life cycle (i.e. during design, development, production, installation, operation and maintenance, decommissioning and disposal phases). Guidance on the requirements for an environmental management system may be found in ISO 14001:2015 standards. The details shall be subject to agreement between City Power and the Supplier. This is to ensure that the asset created conforms to environmental standards and City Power SHERQ Policy

# HEALTH AND SAFETY

A health and safety plan shall be set up in order to ensure proper management and compliance of the danger, notice and warning signs during installation, operation, maintenance, and decommissioning phases. Guidance on the requirements of a health and safety plan may be found in OHSAS ISO 45001:2018 standards. This is to ensure that the asset conforms to standard operating procedures and City Power SHERQ Policy. The details shall be subject to agreement between City Power and the Supplier.

# Annex C - Item No. 1 – Sign 1 – SAP NO. 567

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Subclause of CP_TSSPEC_078 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Quantity of signs required |  |  |  |
| 2 | 2 | Do the signs comply with SANS 1186? |  | Required |  |
| 3 | 2 | Do the colours comply with SANS 1091? |  | Required |  |
| 4 | 4 | Do the signs comply with the drawings? |  | Required |  |
| 5 | 5 | Does the material for the signs comply? |  | Required |  |
| 6 | 6 | Is City Power’s SAP number on the packaging? |  | Required |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________ __________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Deviation schedule - Item No. 1 – Sign 1 – SAP NO. 567

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition. Evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_078 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	_________________________________	__________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Annex C - Item No. 2 – Sign 2 – SAP NO. 568

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Subclause of CP_TSSPEC_078 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Quantity of signs required |  |  |  |
| 2 | 2 | Do the signs comply with SANS 1186? |  | Required |  |
| 3 | 2 | Do the colours comply with SANS 1091? |  | Required |  |
| 4 | 4 | Do the signs comply with the drawings? |  | Required |  |
| 5 | 5 | Does the material for the signs comply? |  | Required |  |
| 6 | 6 | Is City Power’s SAP number on the packaging? |  | Required |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________  __________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Deviation schedule - Item No. 2 – Sign 2 – SAP NO. 568

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition. evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_078 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	_________________________________	__________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Annex C - Item No. 3 – Sign 3 – SAP NO. 6232

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Subclause of CP_TSSPEC_078 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Quantity of signs required |  |  |  |
| 2 | 2 | Do the signs comply with SANS 1186? |  | Required |  |
| 3 | 2 | Do the colours comply with SANS 1091? |  | Required |  |
| 4 | 4 | Do the signs comply with the drawings? |  | Required |  |
| 5 | 5 | Does the material for the signs comply? |  | Required |  |
| 6 | 6 | Is City Power’s SAP number on the packaging? |  | Required |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________    _________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Deviation schedule - Item No. 3 – Sign 3 – SAP NO. 6232

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition. Evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_078 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	_________________________________	__________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Annex C - Item No. 4 – Sign 4 – SAP NO. 5666

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Subclause of CP_TSSPEC_078 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Quantity of signs required |  |  |  |
| 2 | 2 | Do the signs comply with SANS 1186? |  | Required |  |
| 3 | 2 | Do the colours comply with SANS 1091? |  | Required |  |
| 4 | 4 | Do the signs comply with the drawings? |  | Required |  |
| 5 | 5 | Does the material for the signs comply? |  | Required |  |
| 6 | 6 | Is City Power’s SAP number on the packaging? |  | Required |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory    						   _______________________________________________                 _________________________

Name in block letters	                     Signature

Full name of company: 	_____________________________________________________________

# Deviation schedule - Item No. 4 – Sign 4 – SAP NO. 5666

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition. evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_078 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	_________________________________	_________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Annex C - Item No. 5 – Sign 5 – SAP NO. 569

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Subclause of CP_TSSPEC_078 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Quantity of signs required |  |  |  |
| 2 | 2 | Do the signs comply with SANS 1186? |  | Required |  |
| 3 | 2 | Do the colours comply with SANS 1091? |  | Required |  |
| 4 | 4 | Do the signs comply with the drawings? |  | Required |  |
| 5 | 5 | Does the material for the signs comply? |  | Required |  |
| 6 | 6 | Is City Power’s SAP number on the packaging? |  | Required |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________  __________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Deviation schedule - Item No. 5 – Sign 5 – SAP NO. 569

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition. Evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_078 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: 	_________________________________	__________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Annex C - Item No. 6 – Sign 6 – SAP NO. 7114

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Subclause of CP_TSSPEC_078 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Quantity of signs required |  |  |  |
| 2 | 2 | Do the signs comply with SANS 1186? |  | Required |  |
| 3 | 2 | Do the colours comply with SANS 1091? |  | Required |  |
| 4 | 4 | Do the signs comply with the drawings? |  | Required |  |
| 5 | 5 | Does the material for the signs comply? |  | Required |  |
| 6 | 6 | Is City Power’s SAP number on the packaging? |  | Required |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________    __________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Deviation schedule - Item No. SAP NO. 7114

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition. evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_078 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	__________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Annex D – Stock Items

Material Group: SIGNS

| Item | SAP No. | SAP Short Description | SAP Long Description |
| --- | --- | --- | --- |
| 1 | 567 | SIGN 1 LV | SIGN. NUMBER 1. 270 MM X 120 MM X 0.6 MM. LOW VOLTAGES. ITEM SPECIFICATION NO. CP_TSSPEC_078 |
| 2 | 568 | SIGN 2 MV | SIGN. NUMBER 2. 270 MM X 120 MM X 0.6 MM. MEDIUM VOLTAGES. ITEM SPECIFICATION NO. CP_TSSPEC_078 |
| 3 | 6232 | SIGN 3 FIRE | SIGN. NUMBER 3. 250 MM X 294 MM X 0.6 MM. PROCEDURES IN CASE OF FIRE. ITEM SPECIFICATION NO. CP_TSSPEC_078 |
| 4 | 5666 | SIGN 4 FIRST AID | SIGN. NUMBER 4. 410 MM X 294 MM X 0.6 MM. FIRST AID TREATMENT OF PERSONS SUFFERING FROM THE EFFECTS OF ELECTRIC SHOCK. ITEM SPECIFICATION NO. CP_TSSPEC_078 |
| 5 | 569 | SIGN 5 EXPOSED EQUIPMENT | SIGN. NUMBER 5. 240 MM X 150 MM X 0.6 MM. PROHIBIT UNAUTHORIZED PERSONS FROM HANDLING OR INTERFERING WITH EXPOSED ELECTRICAL EQUIPMENT. ITEM SPECIFICATION NO. CP_TSSPEC_078 |
| 6 | 7114 | SIGN 6 OC GAS | SIGN. NUMBER 6. 270 MM X 270 MM X 0.6 MM. FLOODING BY OC GAS REPELLENT. ITEM SPECIFICATION NO. CP_TSSPEC_078 |

BOQ

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
|  | 567 | SIGN 1 LV | N/A | 1 |  |
|  | 568 | SIGN 2 MV | N/A | 1 |  |
|  | 6232 | SIGN 3 FIRE | N/A | 1 |  |
|  | 5666 | SIGN 4 FIRST AID | N/A | 1 |  |
|  | 569 | SIGN 5 EXPOSED EQUIPMENT | N/A | 1 |  |
|  | 7114 | SIGN 6 OC GAS | N/A | 1 |  |

CATEGORY 2: GENERAL PPE

EVALUATION CRITERIA 9: DANGER AND WARNING TAPES CP_TSSPEC_083

| Bid no: 2324G : REQUEST FOR BIDS FOR SUPPLY & DELIVERY OF PERSONAL PROPECTIVE EQUIPMENT |  |  |
| --- | --- | --- |
| Mandatory requirements |  | Yes/No |
| 1. | Technical schedules to be completed in full and signed as per schedule A, failure to complete the technical schedule as indicated will result in your bid being non- responsive |  |
| 2. | BOQs selected to be priced in full, failure to complete the BOQs in full will result in your bid being non Responsive. Distributors to provide a letter of agreement from the manufacturer, failure to provide the agreement From the manufacture will also result in the bid being considered non –responsive. |  |
| Stage 1 Evaluation: A minimum threshold of 75% must be achieved to proceed to the Stage 2 Evaluation Evaluation will be done on a relationship to the weighting on a scale of 0 to 10 |  |  |
| Technical Evaluation: |  | Weight |
| 1. | ISO Requirements - Provide a valid ISO 9001 certificate from the manufacturer - Provided a valid ISO 9001 certificate from the manufacturer = 10 points - Did not provide a valid ISO 9001 certificate from the manufacturer =0 points Max score points = 10 points | 20 |
| 2. | LEAD TIME: - Lead time for delivery - 2-4 weeks = 10 points - 5-7 weeks =7.5 points - More than 7 weeks = 0 points Max score points = 10 points | 20 |
| 3. | EXPERIENCE - Provide reference letters, signed letterhead including contact details of a similar scope of works as per specification, also indicating contract period and value - Provided three (3) reference letters and more = 10 points - Provided two (2) reference letters = 7 points - Provided one (1) reference letter = 1 point - Did not provide reference letters = 0 point (No appointment letters, contracts and purchase orders from clients will be accepted as reference letters.) Max score=10 points | 20 |
| 4. | SABS/SANS Mark - Provide a SABS/SANS certificate for DANGER AND WARNING SIGNS from the manufacturer - Provided a SABS/SANS certificate = 10 points - Did not provide a SABS/SANS certificate = 0 points Max score points = 10 points | 40 |
|  | Total | 100 |
| Stage 2 Evaluation |  |  |
| PRICE |  | 80 |
| B-BBEE |  | 20 |

MAXIMUM OF (4) FOUR BIDDERS PER CRITERIA

|  |  |  | REFERENCE |  |  | REV |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TITLE |  | SPECIFICATION FOR DANGER AND WARNING TAPES | CP_TSSPEC_083 |  |  | 2 |  |
|  |  |  | DATE: | NOVEMBER 2018 |  |  |  |
|  |  |  | PAGE: | 1 | OF |  | 12 |

TABLE OF CONTENTS

Page

INTRODUCTION

1SCOPE	3

2NORMATIVE REFERENCES	3

3WARNING TAPE	3

4CABLE TRENCH DANGER TAPE	3

5MARKING, PACKING AND DOCUMENTATION	4

6QUALITY MANAGEMENT	4

7ENVIRONMENTAL MANAGEMENT	4

8HEALTH AND SAFETY	5

Annex A - Bibliography	6

Annex B - Revision information	7

Annex C – Item No. 1 – Warning tape – SAP No. 6190	8

Item No. 1 – Warning tape – SAP No. 6190	9

Item No. 2 – Cable trench danger tape – SAP No. 6024	11

Annex D – Stock Items	12

# INTRODUCTION

To achieve standardisation and rationalisation, good quality PVC danger and warning tapes which shall be easily visible and resistant to deterioration shall be used. The cable trench danger tape shall be used to bring into attention the presence of cables in the proximity when excavating and the warning tape for cordoning off hazardous and dangerous areas.

# SCOPE

This specification covers City Power’s requirements for cable trench danger and warning tapes.

# NORMATIVE REFERENCES

The following documents contain provisions that through reference in the text constitute requirements of this specification. At the time of publication the editions indicated were valid.  All standards and specifications are subject to revision and parties to agreements based on this specification are encouraged to investigate the possibility of applying the most recent editions of the documents listed below.

SANS 1186:	Symbolic safety signs.

# WARNING TAPE

3.1	Material

The tape shall be of a non-adhesive polyvinyl chloride (PVC) type.

3.2	Size

The tape shall be provided in rolls of 500 m long X 90 mm wide.

3.3	Thickness

The tape shall have a thickness of 100 µm.

3.4	Colour

3.4.1	The chevron tape shall be white with non-fading red diagonal stripes.

3.4.2	The diagonal stripes shall be 53 mm wide at an angle of 450 apart to the edge of the tape.

3.4.3	The red diagonal stripes shall be spaced 75 mm along the edge of the tape.

# CABLE TRENCH DANGER TAPE

4.1	Material

- The tape shall be of a non-adhesive polyvinyl chloride (PVC) type.

4.2	Size

- The tape shall be provided in rolls of 500 m long X 450 mm wide.

4.3	Thickness

- The tape shall have a thickness of 100 µm.

4.4	Colour and markings

4.4.1	The tape shall be yellow with non-fading black printing.

4.4.2	The printing shall be suitably spaced and repeated every 1000 mm over the full length of the tape.

4.4.3	The printing shall be as follows:

a)	Electricity (danger) logo, sign WW7, as per SANS 1186, and lettering 12 mm high followed by the notice “DANGER / GEVAAR / INGOZI”, followed by.

b)	“ELECTRIC CABLE / ELEKTRIESE KABEL” in black lettering, 30 mm high.

# MARKING, PACKING AND DOCUMENTATION

5.1	Marking

The tape core shall be clearly and indelibly marked with the following:

a)	Brand name or trade mark.

5.2	Packing

5.2.1	The tapes shall be individually packed, in acceptable plastic wrapping, so that they are adequately protected from damage during normal transit.

5.2.2	Each roll shall be supplied on a suitable reel which shall be sturdy and hard.

5.2.3	Catalogue number shall be marked on each roll.

5.2.4	City Power’s SAP number shall be clearly shown on the label.

5.3	Documentation

5.3.1	Documentation shall be submitted in a technical catalogue format.

5.3.2	The technical catalogue shall specify the sizes, dimensions, reference numbers, and if applicable, the complete range of other products and accessories available.

Note: City Power reserves the right to view an existing danger and warning tapes complying with  this specification or if no such arc rated flame resistant overalls exist a prototype shall be built and made available for inspection by representatives of City Power.

- QUALITY MANAGEMENT

A quality management plan shall be set up in order to assure the proper quality management of the danger and warning tapes services during design, development, production, installation and servicing phases. Guidance on the requirements for a quality management plan may be found in the ISO 9001:2015. The details shall be subject to agreement between City Power and the Supplier.

- ENVIRONMENTAL MANAGEMENT

An environmental management plan shall be set up in order to assure the proper environmental management of thedanger and warning tapes throughout its entire life cycle (i.e. during design, development, production, installation, operation and maintenance, decommissioning and disposal phases). Guidance on the requirements for an environmental management system may be found in ISO 14001:2015 standards. The details shall be subject to agreement between City Power and the Supplier. This is to ensure that the asset created conforms to environmental standards and City Power SHERQ Policy

- HEALTH AND SAFETY

A health and safety plan shall be set up in order to ensure proper management and compliance of the danger and warning tapes during installation, operation, maintenance, and decommissioning phases. Guidance on the requirements of a health and safety plan may be found in OHSAS ISO 45001:2018 standards. This is to ensure that the asset conforms to standard operating procedures and City Power SHERQ Policy. The details shall be subject to agreement between City Power and the Supplier.

# Annex C – Item No. 1 – Warning tape – SAP No. 6190

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Subclause of CP_TSSPEC_083 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Manufacturer |  | Required |  |
| 2 | 3.4.1 | Printing of stripes |  | Non-fading ink |  |
| 3 | 3.4.1 | Colour of tape and stripe |  | White with red diagonal stripes |  |
| 4 | 3.2 | Width of tape | mm | 90 |  |
| 5 | 3.2 | Length of tape | m | 500 |  |
| 6 | 3.4.2 | Width of stripe | mm | 53 |  |
| 7 | 3.4.3 | Distance between stripes | mm | 75 |  |
| 8 | 3.3 | Thickness of tape | µm | 100 |  |
| 9 | 5 | Markings comply |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________    __________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Item No. 1 – Warning tape – SAP No. 6190

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_083 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________  __________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

Annex C - Item No. 2 – Cable trench danger tape – SAP No. 6024

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Subclause of CP_TSSPEC_083 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Manufacturer |  | Required |  |
| 2 | 4.4.1 | Printing of letters |  | Non-fading ink |  |
| 3 | 4.4.1 | Colour of tape, print and logo |  | Yellow with black printing |  |
| 4 | 4.2 | Width of tape | mm | 45 |  |
| 5 | 4.2 | Length of tape | m | 500 |  |
| 6 | 4.4.3 | Width of letters | mm | 30 |  |
| 7 | 4.4.2 | Pitch of lettering | mm | Every one meter |  |
| 8 | 4.3 | Thickness of tape | µm | 100 |  |
| 9 | 5 | Markings comply |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________ __________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Item No. 2 – Cable trench danger tape – SAP No. 6024

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_083 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________    ___________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Annex D – Stock Items

Material Group: CONT-TAPE

| Item | SAP No. | SAP Short Description | SAP Long Description |
| --- | --- | --- | --- |
| 1 | 6024 | TAPE DANGER YELLOW BLACK 45 MM THICK | TAPE, DANGER, NON ADHESIVE, POLYVINYL CHLORIDE, 500M X 45MM, YELLOW WITH BLACK PRINT FOR WARNING AND CABLE MARKING PURPOSES, ITEM SPECIFICATION NO. CP_TSSPEC_083 |
| 2 | 6190 | TAPE WARNING RED WHITE 90MM THIICK | TAPE, CHEVRON, NON ADHESIVE, POLYVINYL CHLORIDE, 500M X 90MM, RED AND WHITE FOR WARNING PURPOSE, ITEM SPECIFICATION NO. CP_TSSPEC_083 |

BOQ

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
|  | 6024 | TAPE DANGER YELLOW BLACK 45 MM THICK | N/A | 1 |  |
|  | 6190 | TAPE WARNING RED WHITE 90MM THIICK | N/A | 1 |  |

CATEGORY 2 GENERAL PPE

EVALUATION CRITERIA 10: BARRICADING WORK IN PROGRESS INDICATION CP_TSSPEC_279

| Bid no: 2324G : REQUEST FOR BIDS FOR SUPPLY & DELIVERY OF PERSONAL PROPECTIVE EQUIPMENT |  |  |
| --- | --- | --- |
| Mandatory requirements |  | Yes/No |
| 1. | Technical schedules to be completed in full and signed as per schedule A, failure to complete the technical schedule as indicated will result in your bid being non- responsive |  |
| 2. | BOQs selected to be priced in full, failure to complete the BOQs in full will result in your bid being non Responsive. Distributors to provide a letter of agreement from the manufacturer, failure to provide the agreement From the manufacture will also result in the bid being considered non –responsive. |  |
| Stage 1 Evaluation: A minimum threshold of 75% must be achieved to proceed to the Stage 2 Evaluation Evaluation will be done on a relationship to the weighting on a scale of 0 to 10 |  |  |
| Technical Evaluation: |  | Weight |
| 1. | ISO Requirements - Provide a valid ISO 9001 certificate from the manufacturer - Provided a valid ISO 9001 certificate from the manufacturer = 10 points - Did not provide a valid ISO 9001 certificate from the manufacturer =0 points Max score points = 10 points | 20 |
| 2. | LEAD TIME: - Lead time for delivery - 2-4 weeks = 10 points - 5-7 weeks =7.5 points - More than 7 weeks = 0 points Max score points = 10 points | 20 |
| 3. | EXPERIENCE - Provide reference letters, signed letterhead including contact details of a similar scope of works as per specification, also indicating contract period and value - Provided three (3) reference letters and more = 10 points - Provided two (2) reference letters = 7 points - Provided one (1) reference letter = 1 point - Did not provide reference letters = 0 point (No appointment letters, contracts and purchase orders from clients will be accepted as reference letters.) Max score=10 points | 20 |
| 4. | SABS/SANS Mark - Provide a SABS/SANS certificate for BARRICADING WORK IN PROGRESS INDICATION from the manufacturer - Provided a SABS/SANS certificate = 10 points - Did not provide a SABS/SANS certificate = 0 points Max score points = 10 points | 40 |
|  | Total | 100 |
| Stage 2 Evaluation |  |  |
| PRICE |  | 80 |
| B-BBEE |  | 20 |

MAXIMUM OF (4) FOUR BIDDERS PER CRITERIA

|  |  |  | REFERENCE |  |  | REV |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TITLE |  | SPECIFICATION FOR BARRICATING WORK IN PROGRES INDICATION | CP_TSSPEC_279 |  |  | 1 |  |
|  |  |  | DATE: | NOVEMBER 2018 |  |  |  |
|  |  |  | PAGE: | 1 | OF |  | 13 |

TABLE OF CONTENTS

Page

INTRODUCTION

1SCOPE	3

2NORMATIVE REFERENCES	3

3BARRIERS (Shark nets)	3

4WORK IN PROGRESS SIGN	3

5QUALITY MANAGEMENT	4

6ENVIRONMENTAL MANAGEMENT	4

7HEALTH AND SAFETY	4

Annex A - Bibliography	5

Annex B - Revision information	6

Annex C – Item No. 1 – BARRIER (Shark nets) HEAVY DUTY PLASTIC ORANGE – SAP No. 3401	7

Item No. 1 –– BARRIER (Shark nets) HEAVY DUTY PLASTIC ORANGE – SAP No. 3401	8

Item No. 2 WORK IN PROGRESS AHEAD INFORMATIVE SIGN 300m– SAP No. 3412	10

Item No. 3 WORK IN PROGRESS AHEAD INFORMATIVE SIGN 200m– SAP No. 3413	12

Annex D – Stock Items	13

# INTRODUCTION

To achieve standardisation and rationalisation, good quality of barricading work in progress which shall be easily visible and resistant to deterioration shall be used. The barricading work in progress shall be used to bring into attention the presence of danger in the proximity when excavating for cordoning off hazardous and dangerous areas.

# 1. SCOPE

This specification covers City Power’s requirements for barricading work in progress.

# NORMATIVE REFERENCES

The following documents contain provisions that through reference in the text constitute requirements of this specification. At the time of publication the editions indicated were valid.  All standards and specifications are subject to revision and parties to agreements based on this specification are encouraged to investigate the possibility of applying the most recent editions of the documents listed below.

SANS 1186:	Symbolic safety signs.

ISO 45001:2018 specifies requirements for an occupational health and safety (OH&S) management system, and gives guidance for its use.

ANSI 107-2015: High visibility safety apparel and accessories

# BARRIERS (Shark nets)

3.3.1 General requirements

- The barrier shall comply be made from a durable plastic material

- The barrier shall be orange

- The barrier shall at least be more than 1.5m in height

3.3.2 Packaging and labelling

The barrier shall be packed in a suitable packaging

# WORK IN PROGRESS SIGN

- The sign shall comply with SANS 1186

- The shall be from stainless steel materials as per SANS 1186

- The sign shall be triangular in shape as per the warning sign in SANS 1186 and permanently fixed  on a foldable stand

- The sign shall show the work in progress at 300m, 200m, 100m and work in progress at the point of work

4.4.1 Test

The sign shall be tested in accordance to SANS 1186

4.4.2 Packaging and labelling

The sign shall be packed in a suitable packaging adequately labelled.

Note: City Power reserves the right to view an existing barricading work in progress indication complying with this specification or if no such arc rated flame resistant overalls exist a prototype shall be built and made available for inspection by representatives of City Power.

# QUALITY MANAGEMENT

A quality management plan shall be set up in order to assure the proper quality management of the barricading work in progress indication services during design, development, production, installation and servicing phases. Guidance on the requirements for a quality management plan may be found in the ISO 9001:2015. The details shall be subject to agreement between City Power and the Supplier.

# ENVIRONMENTAL MANAGEMENT

An environmental management plan shall be set up in order to assure the proper environmental management of the barricading work in progress indication throughout its entire life cycle (i.e. during design, development, production, installation, operation and maintenance, decommissioning and disposal phases). Guidance on the requirements for an environmental management system may be found in ISO 14001:2015 standards. The details shall be subject to agreement between City Power and the Supplier. This is to ensure that the asset created conforms to environmental standards and City Power SHERQ Policy

# HEALTH AND SAFETY

A health and safety plan shall be set up in order to ensure proper management and compliance of the barricading work in progress indication during installation, operation, maintenance, and decommissioning phases. Guidance on the requirements of a health and safety plan may be found in OHSAS ISO 45001:2018 standards. This is to ensure that the asset conforms to standard operating procedures and City Power SHERQ Policy. The details shall be subject to agreement between City Power and the Supplier.

# Annex C – Item No. 1 – BARRIER (Shark nets) HEAVY DUTY PLASTIC ORANGE – SAP No. 3401

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Sub clause of CP_TSSPEC_279 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 | 3.31 | Manufacturer |  | xxxx |  |
| 2 | 3.31 | Colour of Net |  | Orange and White |  |
| 3 | 3.31 | Compliance to SANS |  | SANS NO |  |
| 4 | 3.31 | Documentation required |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________   __________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Item No. 1 –– BARRIER (Shark nets) HEAVY DUTY PLASTIC ORANGE – SAP No. 3401

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_279 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________   __________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

Annex C - Item No. 2 –WORK IN PROGRESS AHEAD INFORMATIVE SIGN 300m– SAP No. 3412

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Subclause of CP_TSSPEC_279 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 | 4. | Work in progress signs comply to specification |  | xxxx |  |
| 3 | 4. | Compliance to SANS |  | SANS NO. |  |
| 9 | 4. | Documentation required |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________   _______________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Item No. 2 WORK IN PROGRESS AHEAD INFORMATIVE SIGN 300m– SAP No. 3412

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_279 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________   __________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

Annex C - Item No. 3 –WORK IN PROGRESS AHEAD INFORMATIVE SIGN 200m– SAP No. 3413

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Subclause of CP_TSSPEC_279 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 | 4 | Work in progress signs comply to specification |  | xxxx |  |
| 3 | 4. | Compliance to SANS |  | SANS NO. |  |
| 9 | 4. | Documentation required |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory:_____________________________	__________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Item No. 3 WORK IN PROGRESS AHEAD INFORMATIVE SIGN 200m– SAP No. 3413

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_279 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________ _________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Annex D – Stock Items

Material Group: BARRIERS FOR ACCESS CONTROL

| Item | SAP No. | SAP Short Description | SAP Long Description |
| --- | --- | --- | --- |
| 1 | 3401 | Barrier (Shark nets) heavy duty plastic orange | Barrier (Shark nets) heavy plastic orange Compliance with Specification CP_TSSPEC_279 |
| 2 | 3412 | Work in progress ahead informative sign 300m | Work in progress ahead informative sign 300m Compliance with Specification CP_TSSPEC_279 |
| 3 | 3413 | Work in progress ahead informative sign 200m | Work in progress ahead informative sign 300m Compliance with Specification CP_TSSPEC_279 |

BOQ

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
|  | 3401 | Barrier (Shark nets) heavy duty plastic orange | N/A | 1 |  |
|  | 3412 | Work in progress ahead informative sign 300m | N/A | 1 |  |
|  | 3413 | Work in progress ahead informative sign 200m | N/A | 1 |  |

CATEGORY 2:  GENERAL PPE EVALUATION CRITERIA 11 - TRAFFIC ROAD CONES CP_TSSPEC_187

| Bid no: 2324G : REQUEST FOR BIDS FOR SUPPLY & DELIVERY OF PERSONAL PROPECTIVE EQUIPMENT |  |  |
| --- | --- | --- |
| Mandatory requirements |  | Yes/No |
| 1. | Technical schedules to be completed in full and signed as per schedule A, failure to complete the technical schedule as indicated will result in your bid being non- responsive |  |
| 2. | BOQs selected to be priced in full, failure to complete the BOQs in full will result in your bid being non Responsive. Distributors to provide a letter of agreement from the manufacturer, failure to provide the agreement From the manufacture will also result in the bid being considered non –responsive. |  |
| Stage 1 Evaluation: A minimum threshold of 75% must be achieved to proceed to the Stage 2 Evaluation Evaluation will be done on a relationship to the weighting on a scale of 0 to 10 |  |  |
| Technical Evaluation: |  | Weight |
| 1. | ISO Requirements - Provide a valid ISO 9001 certificate from the manufacturer - Provided a valid ISO 9001 certificate from the manufacturer = 10 points 1.1.2 Did not provide a valid ISO 9001 certificate from the manufacturer =0 points Max score points = 10 points | 20 |
| 2. | LEAD TIME: - Lead time for delivery - 2-4 weeks = 10 points - 5-7 weeks =7.5 points - More than 7 weeks = 0 points Max score points = 10 points | 20 |
| 3. | EXPERIENCE - Provide reference letters, signed letterhead including contact details of a similar scope of works as per specification, also indicating contract period and value - Provided three (3) reference letters and more = 10 points - Provided two (2) reference letters = 7 points - Provided one (1) reference letter = 1 point - Did not provide reference letters = 0 point (No appointment letters, contracts and purchase orders from clients will be accepted as reference letters.) Max score=10 points | 20 |
| 4. | SABS/SANS Mark - Provide a SABS/SANS certificate for TRAFFIC ROAD CONES from the manufacturer - Provided a SABS/SANS certificate = 10 points - Did not provide a SABS/SANS certificate = 0 points Max score points = 10 points | 40 |
|  | Total | 100 |
| Stage 2 Evaluation |  |  |
| PRICE |  | 80 |
| B-BBEE |  | 20 |

MAXIMUM OF (4) FOUR BIDDERS PER CRITERIA

|  |  |  | REFERENCE |  |  | REV |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TITLE |  | SPECIFICATION FOR TRAFFIC ROAD CONES | CP_TSSPEC_187 |  |  | 2 |  |
|  |  |  | DATE: | NOVEMBER 2018 |  |  |  |
|  |  |  | PAGE: | 1 | OF |  | 12 |

TABLE OF CONTENTS

Page

INTRODUCTION	3

1SCOPE	3

2NORMATIVE REFERENCES	3

3TRAFFIC ROAD CONE	3

4MARKING, PACKING AND DOCUMENTATION	3

4QUALITY MANAGEMENT	4

5ENVIRONMENTAL MANAGEMENT	4

6HEALTH AND SAFETY	4

Annex A - Bibliography	5

Annex B - Revision information	6

Annex C – Item No. 1 – Road Cone – SAP No. 291	7

Item No. 1 – Road Cone – SAP No. 291	8

Item No. 2 – Road Cone – SAP No. 6616	10

Annex D – Stock Items	11

# INTRODUCTION

To achieve standardisation and rationalisation, good quality PVC traffic road cones which shall be easily visible and resistant to deterioration shall be used. The traffic road cone shall be used to bring into attention the presence of cables in the proximity when excavating for cordoning off hazardous and dangerous areas.

# SCOPE

This specification covers City Power’s requirements for traffic road cones and warning tapes.

# NORMATIVE REFERENCES

The following documents contain provisions that through reference in the text constitute requirements of this specification. At the time of publication the editions indicated were valid.  All standards and specifications are subject to revision and parties to agreements based on this specification are encouraged to investigate the possibility of applying the most recent editions of the documents listed below.

SANS 1186:	Symbolic safety signs.

ISO 45001:2018 specifies requirements for an occupational health and safety (OH&S) management system, and gives guidance for its use.

ANSI 107-2015: High visibility safety apparel and accessories

# TRAFFIC ROAD CONE

3.1	Material

3.1.1 The traffic road cone shall be made from a Polyethylene material

3.1.2 The traffic road cones shall be manufactured through pressure-molding, the plastic is extremely dense and sturdy yet soft enough to avoid damaging

3.2	Size

The traffic road cone tape shall be 450 mm and 750 mm in height..

3.4	Colour

3.4.1	The traffic road cone shall be orange and white

# MARKING, PACKING AND DOCUMENTATION

4.1	Marking

The traffic road cone shall be clearly and indelibly marked with the following:

a)	Brand name or trade mark.

4.2	Packing

4.2.1	The traffic road cone shall be individually packed, in acceptable plastic wrapping, so that they are adequately protected from damage during normal transit.

4.2.2	Each roll shall be supplied on a suitable reel which shall be sturdy and hard.

4.2.3	Catalogue number shall be marked on cone.

4.2.4	City Power’s SAP number shall be clearly shown on the label.

4.3	Documentation

4.3.1	Documentation shall be submitted in a technical catalogue format.

4.3.2	The technical catalogue shall specify the sizes, dimensions, reference numbers, and if applicable, the complete range of other products and accessories available.

Note: City Power reserves the right to view an existing traffic road cone complying with  this specification or if no such arc rated flame resistant overalls exist a prototype shall be built and made available for inspection by representatives of City Power.

# QUALITY MANAGEMENT

A quality management plan shall be set up in order to assure the proper quality management of the traffic road cone services during design, development, production, installation and servicing phases. Guidance on the requirements for a quality management plan may be found in the ISO 9001:2015. The details shall be subject to agreement between City Power and the Supplier.

# ENVIRONMENTAL MANAGEMENT

An environmental management plan shall be set up in order to assure the proper environmental management of the traffic road cone throughout its entire life cycle (i.e. during design, development, production, installation, operation and maintenance, decommissioning and disposal phases). Guidance on the requirements for an environmental management system may be found in ISO 14001:2015 standards. The details shall be subject to agreement between City Power and the Supplier. This is to ensure that the asset created conforms to environmental standards and City Power SHERQ Policy

# HEALTH AND SAFETY

A health and safety plan shall be set up in order to ensure proper management and compliance of the traffic road cone during installation, operation, maintenance, and decommissioning phases. Guidance on the requirements of a health and safety plan may be found in OHSAS ISO 45001:2018 standards. This is to ensure that the asset conforms to standard operating procedures and City Power SHERQ Policy. The details shall be subject to agreement between City Power and the Supplier.

# Annex C – Item No. 1 – Road Cone – SAP No. 291

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Sub clause of CP_TSSPEC_187 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Manufacturer name |  | Required |  |
| 2 | 3.4 | Colour of cone |  | Orange and White |  |
| 3 | 3.2 | Height of cone | mm | 750 |  |
| 4 | 4.1 | Markings comply |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________     __________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Item No. 1 – Road Cone – SAP No. 291

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_187 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: ________________________________       __________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

Annex C - Item No. 2 – Road Cone – SAP No. 6016

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Subclause of CP_TSSPEC_187 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Manufacturer name |  | Required |  |
| 3 | 4.4.1 | Colour of the cone |  | Orange and white |  |
| 5 | 4.2 | Height of cone | mm | 450 |  |
| 9 | 4.1 | Markings comply |  | Required |  |

(*)  In schedule B column, “no ticks” and words like “Noted” or “TBA” etc. shall be accepted as answers to any of the answers.

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________   __________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Item No. 2 – Road Cone – SAP No. 6616

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_187 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________      __________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Annex D – Stock Items

Material Group: CONT-TAPE

| Item | SAP No. | SAP Short Description | SAP Long Description |
| --- | --- | --- | --- |
| 1 | 291 | Road cone 750mm height | Road cone 750mm height Compliance with Specification CP_TSSPEC_187 |
| 2 | 6616 | Road cone 450mm height | Road cone 4500mm height Compliance with Specification CP_TSSPEC_187 |

BOQ

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
|  | 291 | Road cone 750mm height | N/A | 1 |  |
|  | 6616 | Road cone 450mm height | N/A | 1 |  |

ATEGORY 3: GENERAL CLOTHING PPE EVALUATION CRITERIA 1: REFLECTIVE VEST CP_TSSPEC_189

| Bid no: 2324G : REQUEST FOR BIDS FOR SUPPLY & DELIVERY OF PERSONAL PROPECTIVE EQUIPMENT |  |  |
| --- | --- | --- |
| Mandatory requirements |  | Yes/No |
| 1. | Local content Annexure C and MBD6.2 to be completed in full, failure to complete the local Content and MBD 6.2 will result in your bid being non- responsive, ANNEXTURES C, D AND E |  |
| 2. | Technical schedules to be completed in full and signed as per schedule A, failure to complete the technical schedule as indicated will result in your bid being non- responsive |  |
| 3. | BOQs selected to be priced in full, failure to complete the BOQs in full will result in your bid being non Responsive. Distributors to provide a letter of agreement from the manufacturer, failure to provide the agreement From the manufacture will also result in the bid being considered non –responsive. |  |
| Stage 1 Evaluation: A minimum threshold of 75% must be achieved to proceed to the Stage 2 Evaluation Evaluation will be done on a relationship to the weighting on a scale of 0 to 10 |  |  |
| Technical Evaluation: |  | Weight |
| 1. | Type Test - Provide a signed type test report for REFLECTIVE VEST from an accredited body - Provided a type test report = 10 point - Did not provide a type test report = 0 points Max score points = 10 points | 40 |
| 2. | ISO Requirements - Provide a valid ISO 9001 certificate from the manufacturer - Provided a valid ISO 9001 certificate from the manufacturer = 10 points - Did not provide a valid ISO 9001 certificate from the manufacturer =0 points Max score points = 10 points | 10 |
| 3. | LEAD TIME: - Lead time for delivery - 2-4 weeks = 10 points - 5-7 weeks =7.5 points - More than 7 weeks = 0 points Max score points = 10 points | 15 |
| 4. | EXPERIENCE - Provide reference letters, signed letterhead including contact details of a similar scope of works as per specification, also indicating contract period and value - Provided three (3) reference letters and more = 10 points - Provided two (2) reference letters = 7 points - Provided one (1) reference letter = 1 point - Did not provide reference letters = 0 point (No appointment letters, contracts and purchase orders from clients will be accepted as reference letters.) Max score=10 points | 15 |
| 5. | SABS/SANS Mark - Provide a SABS/SANS certificate for REFLECTIVE VEST from the manufacturer - Provided a SABS/SANS certificate = 10 points - Did not provide a SABS/SANS certificate = 0 points Max score points = 10 points | 20 |
|  | Total | 100 |
| Stage 2 Evaluation |  |  |
| PRICE |  | 80 |
| B-BBEE |  | 20 |

MAXIMUM OF FOUR (4) BIDDERS

|  |  |  | REFERENCE |  |  | REV |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TITLE |  | SPECIFICATION FOR REFLECTIVE VESTS | CP_TSSPEC_189 |  |  | 1 |  |
|  |  |  | DATE: | OCTOBER 2018 |  |  |  |
|  |  |  | PAGE: | 1 | OF |  | 20 |

TABLE OF CONTENTS

Page

INTRODUCTION

1SCOPE	4

2NORMATIVE REFERENCES	4

3REFLECTIVE VESTS/BIBS	4

4TESTS	5

5MARKING AND PACKAGING	5

6DOCUMENTATION	5

7QUALITY MANAGEMENT	5

8ENVIRONMENTAL MANAGEMENT	5

9HEALTH AND SAFETY	5

Annex A - Bibliography	6

Annex B - Revision information	7

Annex C - Technical schedules A and B SAP 1978	8

Annex C - Technical schedules A and B SAP 1979	10

Annex C - Technical schedules A and B- SAP 1980	12

Annex C - Technical schedules A and B SAP 1981	14

Annex C - Technical schedules A and B SAP 1982	16

Annex C - Technical schedules A and B- SAP 233	18

Annex D – Stock Items	20

# INTRODUCTION

Reflective vests will be used to provide increased visibility for workers.

NOTE: Reflective Vests are not intended for use whilst working on or operating electrical equipment. The correct arc flash retardant or flame resistant garments must be worn in such circumstances.

# SCOPE

This specification covers City Power’s requirements for reflective vests.

# NORMATIVE REFERENCES

The following documents contain provisions that, through reference in the text, constitute requirements of this specification.  At the time of publication, the editions indicated were valid.  All standards and specifications are subject to revision, and parties to agreements based on this specification are encouraged to investigate the possibility of applying the most recent editions of the documents listed below.

SANS 50471: High-visibility Warning Clothing for Professional Use

# REFLECTIVE VESTS/BIBS

3.1 General requirements

The reflective vest shall be durable and of a good quality, as per this specification.

a)	The vests/bibs design shall comply with SANS 50471.

b)	The reflective tape (retro reflective material) shall comply with SANS 50471 and shall be a minimum of 50mm in width.

c)	Colour requirements for background and combined performance material shall comply with SANS 50471.

d)	The front shall be closed by a zip fastener which shall comply with SANS 1822 and be of nonconductive material.

e)	The sizes shall be from small to XXX large

f)	The colour shall be florescent orange-red silver retro reflective material

g)	The City of Johannesburg and City Power corporate branding shall be displayed on the upper left side of the vest.

Figure 1: City of Johannesburg and City Power Corporate Branding

3.2	Washing instructions

The reflective vest shall be supplied with full instructions regarding washing and care.

# TESTS

4.1 Type test

The vest/bib shall be tested in accordance to SANS 50471

4.2	Routine test

Visually examine each reflective vest for compliance with this specification. City Power reserves the right to request to approve prototype testing before any ordering can commence.

# MARKING AND PACKAGING

5.1	Marking

5.1.1	All reflective vests shall have the size indelibly marked on the vest.

5.1.2	The manufacturer’s trademark or name shall be on all reflective vests.

5.2	Packaging

All reflective vests shall be packed in sealed plastic packets.

# DOCUMENTATION

Documentation shall be submitted in a technical catalogue format.

Note: City Power reserves the right to view an existing reflective vest complying with  this specification or if no such arc rated flame resistant overalls exist a prototype shall be built and made available for inspection by representatives of City Power.

# QUALITY MANAGEMENT

A quality management plan shall be set up in order to assure the proper quality management of the reflective vest services during design, development, production, installation and servicing phases. Guidance on the requirements for a quality management plan may be found in the ISO 9001:2015. The details shall be subject to agreement between City Power and the Supplier.

# ENVIRONMENTAL MANAGEMENT

An environmental management plan shall be set up in order to assure the proper environmental management of the reflective vest throughout its entire life cycle (i.e. during design, development, production, installation, operation and maintenance, decommissioning and disposal phases). Guidance on the requirements for an environmental management system may be found in ISO 14001:2015 standards. The details shall be subject to agreement between City Power and the Supplier. This is to ensure that the asset created conforms to environmental standards and City Power SHERQ Policy

# HEALTH AND SAFETY

A health and safety plan shall be set up in order to ensure proper management and compliance of the reflective vest during installation, operation, maintenance, and decommissioning phases. Guidance on the requirements of a health and safety plan may be found in OHSAS ISO 45001:2018 standards. This is to ensure that the asset conforms to standard operating procedures and City Power SHERQ Policy. The details shall be subject to agreement between City Power and the Supplier.

# Annex C - Technical schedules A and B SAP 1978

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Subclause of CP_TSSPEC_189 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Quantity of reflective vests required |  | Required |  |
| 2 | 2.2 | Reasonable degree of reflective ability | Yes | Yes |  |
| 3 | 6 | Documentation supplied | Yes | Yes |  |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: __________________________  __________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

Technical schedules A and B

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_189 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory:_________________________________  __________________

Name in block letters	Signature

Full name of company: _______________________________________________________

# Annex C - Technical schedules A and B SAP 1979

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Subclause of CP_TSSPEC_189 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Quantity of reflective vests required |  | Required |  |
| 2 | 2.2 | Reasonable degree of reflective ability | Yes | Yes |  |
| 3 | 6 | Documentation supplied | Yes | Yes |  |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________      __________________

Name in block letters	     Signature

Full name of company: 	_____________________________________________________________

Technical schedules A and B

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_189 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _______________________________	     __________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Annex C - Technical schedules A and B- SAP 1980

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Subclause of CP_TSSPEC_189 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Quantity of reflective vests required |  | Required |  |
| 2 | 2.2 | Reasonable degree of reflective ability | Yes | Yes |  |
| 3 | 6 | Documentation supplied | Yes | Yes |  |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory:______________________________	__________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

Technical schedules A and B

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_189 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory:____________________________	__________________

Name in block letters	Signature

Full name of company: _____________________________________________________________

# Annex C - Technical schedules A and B SAP 1981

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Subclause of CP_TSSPEC_189 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Quantity of reflective vests required |  | Required |  |
| 2 | 2.2 | Reasonable degree of reflective ability | Yes | Yes |  |
| 3 | 6 | Documentation supplied | Yes | Yes |  |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory:____________________________	__________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

Technical schedules A and B

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_189 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: __________________________	__________________

Name in block letters	Signature

Full name of company: _____________________________________________________________

# Annex C - Technical schedules A and B SAP 1982

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Subclause of CP_TSSPEC_189 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Quantity of reflective vests required |  | Required |  |
| 2 | 2.2 | Reasonable degree of reflective ability | Yes | Yes |  |
| 3 | 6 | Documentation supplied | Yes | Yes |  |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: ___________________________	__________________

Name in block letters	Signature

Full name of company: 	____________________________________________________________

Technical schedules A and B

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_189 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory:____________________________	__________________

Name in block letters	Signature

Full name of company: _____________________________________________________________

# Annex C - Technical schedules A and B- SAP 233

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Subclause of CP_TSSPEC_189 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Quantity of reflective vests required |  | Required |  |
| 2 | 2.2 | Reasonable degree of reflective ability | Yes | Yes |  |
| 3 | 6 | Documentation supplied | Yes | Yes |  |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory	__________________________	__________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

Technical schedules A and B

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_189 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory:___________________________	__________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Annex D – Stock Items

Material Group: 	PERSONAL PROTECTIVE EQUIPMENT

| Item | SAP No | SAP Short Description | SAP Long Description |
| --- | --- | --- | --- |
| 1 | 1978 | Vests reflective (M) | Vests reflective (M). Specification CP_TSSPEC_189 |
| 2 | 1979 | Vests reflective (L) | Vests reflective (L) Specification CP_TSSPEC_189 |
| 3 | 1980 | Vests reflective (XL) | Vests reflective (XL) Specification CP_TSSPEC_189 |
| 4 | 1981 | Vests reflective (XXL) | Vests reflective (XXL) Specification CP_TSSPEC_189 |
| 5 | 1982 | Vests reflective (XXXL) | Vests reflective (XXXL) Specification CP_TSSPEC_189 |
| 6 | 233 | Reflective vest small(S) | Reflective vest small(S) Specification CP_TSSPEC_189 |

BOQ

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
|  | 1978 | Vests reflective (M) | M | 1 |  |
|  | 1979 | Vests reflective (L) | L | 1 |  |
|  | 1980 | Vests reflective (XL) | XL | 1 |  |
|  | 1981 | Vests reflective (XXL) | 2XL | 1 |  |
|  | 1982 | Vests reflective (XXXL) | 3XL | 1 |  |
|  | 233 | Reflective vest small(S) | S | 1 |  |

CATEGORY 3: GENERAL CLOTHING PPE

EVALUATION CRITERIA 2: RAIN SUIT CP_TSSPEC_192

| Bid no: 2324G : REQUEST FOR BIDS FOR SUPPLY & DELIVERY OF PERSONAL PROPECTIVE EQUIPMENT |  |  |
| --- | --- | --- |
| Mandatory requirements |  | Yes/No |
| 1. | Local content Annexure C and MBD6.2 to be completed in full, failure to complete the local Content and MBD 6.2 will result in your bid being non- responsive, ANNEXTURES C, D AND E |  |
| 2. | Technical schedules to be completed in full and signed as per schedule A, failure to complete the technical schedule as indicated will result in your bid being non- responsive |  |
| 3. | BOQs selected to be priced in full, failure to complete the BOQs in full will result in your bid being non Responsive. Distributors to provide a letter of agreement from the manufacturer, failure to provide the agreement From the manufacture will also result in the bid being considered non –responsive. |  |
| Stage 1 Evaluation: A minimum threshold of 75% must be achieved to proceed to the Stage 2 Evaluation Evaluation will be done on a relationship to the weighting on a scale of 0 to 10 |  |  |
| Technical Evaluation: |  | Weight |
| 1. | ISO Requirements - Provide a valid ISO 9001 certificate from the manufacturer - Provided a valid ISO 9001 certificate from the manufacturer = 10 points - Did not provide a valid ISO 9001 certificate from the manufacturer =0 points Max score points = 10 points | 20 |
| 2. | LEAD TIME: - Lead time for delivery - 2-4 weeks = 10 points - 5-7 weeks =7.5 points - More than 7 weeks = 0 points Max score points = 10 points | 20 |
| 3. | EXPERIENCE - Provide reference letters, signed letterhead including contact details of a similar scope of works as per specification, also indicating contract period and value - Provided three (3) reference letters and more = 10 points - Provided two (2) reference letters = 7 points - Provided one (1) reference letter = 1 point - Did not provide reference letters = 0 point (No appointment letters, contracts and purchase orders from clients will be accepted as reference letters.) Max score=10 points | 20 |
| 4. | SABS/SANS Mark - Provide a SABS/SANS certificate for RAIN SUIT from the manufacturer - Provided a SABS/SANS certificate = 10 points - Did not provide a SABS/SANS certificate = 0 points Max score points = 10 points | 40 |
|  | Total | 100 |
| Stage 2 Evaluation |  |  |
| PRICE |  | 80 |
| B-BBEE |  | 20 |

MAXIMUM OF (4) FOUR BIDDERS PER CRITERIA

|  |  |  | REFERENCE |  |  | REV |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TITLE |  | SPECIFICATION FOR RAIN SUITE | CP_TSSPEC_192 |  |  | 1 |  |
|  |  |  | DATE: | OCTOBER 2018 |  |  |  |
|  |  |  | PAGE: | 1 | OF |  | 20 |

TABLE OF CONTENTS

Page

INTRODUCTION

1SCOPE	4

2NORMATIVE REFERENCES	4

3RAINWEAR	4

4QUALITY MANAGEMENT	5

5ENVIRONMENTAL MANAGEMENT	5

6HEALTH AND SAFETY	5

Annex A - Bibliography	6

Annex B - Revision information	7

Annex C - Technical schedules A and B: Rainwear jacket and a trouser  small	8

Annex C - Technical schedules A and B	10

Rainwear jacket and a trouser  small medium	10

Annex C - Technical schedules A and B	11

Rainwear jacket  and a trouser  large	11

Annex C - Technical schedules A and B	14

Rainwear jacket and a trouser  X large	14

Annex C - Technical schedules A and B	16

Rainwear jacket and a trouser  XX large	16

Annex C - Technical schedules A and B	18

Rainwear jacket and a trouser XXX large	18

# INTRODUCTION

Rain suite will be used to provide increased visibility for workers.

NOTE: Rain suite are not intended for use whilst working on or operating electrical equipment. The correct arc flash retardant or flame resistant garments must be worn in such circumstances.

# SCOPE

This specification covers City Power’s requirements for rain suite.

# NORMATIVE REFERENCES

The following documents contain provisions that, through reference in the text, constitute requirements of this specification.  At the time of publication, the editions indicated were valid.  All standards and specifications are subject to revision, and parties to agreements based on this specification are encouraged to investigate the possibility of applying the most recent editions of the documents listed below.

SANS 50471: High-visibility Warning Clothing for Professional Use

SANS 1585: 2005 Coated fabrics for shelters and rainwear

SANS 5266, Water resistance of textile fabrics: Variable head test.

SANS 5300, Water repellency of textile fabrics (Spray test).

SANS 5415, Accelerated aging of coated textile fabrics.

SANS 5484 (SABS SM 484), Resistance to fungal attack by mixed fungi.

SANS 6009, Abrasion resistance of textile fabrics (Martindale test).

SANS 6026, Dry-cleaning pretreatment of textile fabrics.

SANS 6163, Water-vapour transfer through a textile fabric.

# RAINWEAR

3.1 General requirements

- The rain jacket shall have a nylon zip and a closed fly front secured by press-studs.

- The rain jacket shall comply to SANS 1585

- The zip shall comply with SANS 1822.

- The hood shall be attached to the rain jacket.

- The rain jacket shall cover the buttocks.

- The sleeves shall have a false elastic sleeve at the end (made of a softer material) to prevent rain entering the sleeve.

- The pants shall have two side slits and elasticised waist.

- Rain suits shall be navy blue in colour.

- The City Power logo shall be silk-screened in accordance with City Power Corporate identity, on the front and on the back.

- The size of the City Power logo on the front shall be 65 mm high and on the back the City Power logo shall be 150 mm high.

- The fabric for the jacket and pants shall be minimum of 180gsm (gsm- grams per square meter) and the face side 100% polyester, plain weave with 170 threads per square inch and coated with a water resistant coating. The inside to be laminated with PVC coating.  Seams strength to be 50 kPa, (converts to 50kNm²).The lining to be 80% cotton and 20% polyester.

- The sizes of the rainwear shall be from small to 192 large

3.2 Packaging and labelling

The rainwear shall be packed in a suitable packaging designating the size

Note: City Power reserves the right to view an existing rain suite complying with  this specification or if no such arc rated flame resistant overalls exist a prototype shall be built and made available for inspection by representatives of City Power.

# QUALITY MANAGEMENT

A quality management plan shall be set up in order to assure the proper quality management of the rain suite services during design, development, production, installation and servicing phases. Guidance on the requirements for a quality management plan may be found in the ISO 9001:2015. The details shall be subject to agreement between City Power and the Supplier.

# ENVIRONMENTAL MANAGEMENT

An environmental management plan shall be set up in order to assure the proper environmental management of the rain suite throughout its entire life cycle (i.e. during design, development, production, installation, operation and maintenance, decommissioning and disposal phases). Guidance on the requirements for an environmental management system may be found in ISO 14001:2015 standards. The details shall be subject to agreement between City Power and the Supplier. This is to ensure that the asset created conforms to environmental standards and City Power SHERQ Policy

# HEALTH AND SAFETY

A health and safety plan shall be set up in order to ensure proper management and compliance of the rain suite during installation, operation, maintenance, and decommissioning phases. Guidance on the requirements of a health and safety plan may be found in OHSAS ISO 45001:2018 standards. This is to ensure that the asset conforms to standard operating procedures and City Power SHERQ Policy. The details shall be subject to agreement between City Power and the Supplier.

# Annex C - Technical schedules A and B: Rainwear jacket and a trouser  small

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Subclause of CP_TSSPEC_192 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Quantity of rain suite required |  | Required |  |
| 2 | 2.2 | Reasonable degree of reflective ability | Yes/No | Yes |  |
| 3 | 6 | Documentation supplied | Yes/No | Yes |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________		__________________

Name in block letters	                          Signature

Full name of company: 	_____________________________________________________________

Technical schedules A and B

Rainwear jacket and a trouser small

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_192 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________		__________________

Name in block letters	Signature

Full name of company: 	_____________________________________________________________

# Annex C - Technical schedules A and B

# Rainwear jacket and a trouser  small medium

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Subclause of CP_TSSPEC_192 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Quantity of rain suite required |  | Required |  |
| 2 | 2.2 | Reasonable degree of reflective ability | Yes/No | Yes |  |
| 3 | 6 | Documentation supplied | Yes/No | Yes |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________		__________________

Name in block letters			Signature

Full name of company: 	_____________________________________________________________

Technical schedules A and B

Rainwear jacket and a trouser small medium

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_192 | Proposed deviation |

Tender Number: 	_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________		__________________

Name in block letters				Signature

Full name of company: 	_____________________________________________________________

# Annex C - Technical schedules A and B

# Rainwear jacket  and a trouser  large

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Subclause of CP_TSSPEC_192 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Quantity of rain suite required |  | Required |  |
| 2 | 2.2 | Reasonable degree of reflective ability | Yes/No | Yes |  |
| 3 | 6 | Documentation supplied | Yes/No | Yes |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________		__________________

Name in block letters				Signature

Full name of company: 	_____________________________________________________________

Technical schedules A and B

Rainwear jacket and a trouser  large

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_192 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________		__________________

Name in block letters			Signature

Full name of company: 	_____________________________________________________________

# Annex C - Technical schedules A and B

# Rainwear jacket and a trouser  X large

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Subclause of CP_TSSPEC_192 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Quantity of rain suite required |  | Required |  |
| 2 | 2.2 | Reasonable degree of reflective ability | Yes/No | Yes |  |
| 3 | 6 | Documentation supplied | Yes/No | Yes |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number:________________________________________________________________

Tenderer’s Authorised Signatory: ________________________________		__________________

Name in block letters	                      Signature

Full name of company: 	_____________________________________________________________

Technical schedules A and B

Rainwear jacket and a trouser X large

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_192 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________		__________________

Name in block letters	                       Signature

Full name of company: 	_____________________________________________________________

# Annex C - Technical schedules A and B

# Rainwear jacket and a trouser  XX large

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Subclause of CP_TSSPEC_192 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Quantity of rain suite required |  | Required |  |
| 2 | 2.2 | Reasonable degree of reflective ability | Yes/No | Yes |  |
| 3 | 6 | Documentation supplied | Yes/No | Yes |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number:_________________________________________________________________

Tenderer’s Authorised Signatory:_________________________________		__________________

Name in block letters			Signature

Full name of company: 	_____________________________________________________________

Technical schedules A and B

Rainwear jacket and a trouser XX large

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_192 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________		__________________

Name in block letters			Signature

Full name of company: 	_____________________________________________________________

# Annex C - Technical schedules A and B

# Rainwear jacket and a trouser XXX large

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Subclause of CP_TSSPEC_192 | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- | --- |
| 1 |  | Quantity of rain suite required |  | Required |  |
| 2 | 2.2 | Reasonable degree of reflective ability | Yes/No | Yes |  |
| 3 | 6 | Documentation supplied | Yes/No | Yes |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number:_________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________		__________________

Name in block letters			Signature

Full name of company: 	_____________________________________________________________

Technical schedules A and B

Rainwear jacket and a trouser XXX large

Deviation schedule

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Subclause of CP_TSSPEC_192 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________		__________________

Name in block letters			Signature

Full name of company: 	_____________________________________________________________

Annex D – Stock Items

PERSONAL RAINWEAR PROTECTIVE JACKET

| Item | Sap No. | Sap Material Name | Sap Short Specification |
| --- | --- | --- | --- |
| 1 | 11386 | Rainwear jacket and a trouser small | Rainwear jacket and a trouser small, Compliance with Specification CP_TSSPEC_192 |
| 2 | 1971 | Rainwear jacket and a trouser small medium | Rainwear jacket and a trouser medium Compliance with Specification CP_TSSPEC_192 |
| 3 | 1972 | Rainwear jacket and a trouser large | Rainwear jacket and a trouser large Compliance with Specification CP_TSSPEC_192 |
| 4 | 1973 | Rainwear jacket and a trouser X large | Rainwear jacket and a trouser X large Compliance with Specification CP_TSSPEC_192 |
| 5 | 1974 | Rainwear jacket and a trouser XX large | Rainwear jacket and a trouser XX large Compliance with Specification CP_TSSPEC_192 |
| 6 | 1975 | Rainwear jacket and a trouser XXX large | Rainwear jacket and a trouser XXX large Compliance with Specification CP_TSSPEC_192 |

BOQ

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
|  | 11386 | Rainwear jacket and a trouser small | M | 1 |  |
|  | 1971 | Rainwear jacket and a trouser small medium | L | 1 |  |
|  | 1972 | Rainwear jacket and a trouser large | XL | 1 |  |
|  | 1973 | Rainwear jacket and a trouser X large | 2XL | 1 |  |
|  | 1974 | Rainwear jacket and a trouser XX large | 3XL | 1 |  |
|  | 1975 | Rainwear jacket and a trouser XXX large | S | 1 |  |

CATEGORY 3: GENERAL CLOTHING PPE

EVALUATION CRITERIA 3: WELLNESS & GENEREAL CLOTHING CP_TSSPEC_281

| Bid no: 2324G : REQUEST FOR BIDS FOR SUPPLY & DELIVERY OF PERSONAL PROPECTIVE EQUIPMENT |  |  |
| --- | --- | --- |
| Mandatory requirements |  | Yes/No |
| 1. | Local content Annexure C and MBD6.2 to be completed in full, failure to complete the local Content and MBD 6.2 will result in your bid being non- responsive, ANNEXTURES C, D AND E |  |
| 2. | Technical schedules to be completed in full and signed as per schedule A, failure to complete the technical schedule as indicated will result in your bid being non- responsive |  |
| 3. | BOQs selected to be priced in full, failure to complete the BOQs in full will result in your bid being non Responsive. Distributors to provide a letter of agreement from the manufacturer, failure to provide the agreement From the manufacture will also result in the bid being considered non –responsive. |  |
| Stage 1 Evaluation: A minimum threshold of 75% must be achieved to proceed to the Stage 2 Evaluation Evaluation will be done on a relationship to the weighting on a scale of 0 to 10 |  |  |
| Technical Evaluation: |  | Weight |
| 1. | ISO Requirements - Provide a valid ISO 9001 certificate from the manufacturer - Provided a valid ISO 9001 certificate from the manufacturer = 10 points 1.1.2 Did not provide a valid ISO 9001 certificate from the manufacturer =0 points Max score points = 10 points | 20 |
| 2. | LEAD TIME: - Lead time for delivery - 2-4 weeks = 10 points - 5-7 weeks =7.5 points - More than 7 weeks = 0 points Max score points = 10 points | 20 |
| 3. | EXPERIENCE - Provide reference letters, signed letterhead including contact details of a similar scope of works as per specification, also indicating contract period and value - Provided three (3) reference letters and more = 10 points - Provided two (2) reference letters = 7 points - Provided one (1) reference letter = 1 point - Did not provide reference letters = 0 point (No appointment letters, contracts and purchase orders from clients will be accepted as reference letters.) Max score=10 points | 20 |
| 4. | SABS/SANS Mark - Provide a SABS/SANS certificate for WELLNESS & GENEREAL CLOTHING from the manufacturer - Provided a SABS/SANS certificate = 10 points - Did not provide a SABS/SANS certificate = 0 points Max score points = 10 points | 40 |
|  | Total | 100 |
| Stage 2 Evaluation |  |  |
| PRICE |  | 80 |
| B-BBEE |  | 20 |

MAXIMUM OF (4) FOUR BIDDERS PER CRITERIA

|  |  |  | REFERENCE |  |  | REV |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TITLE |  | SPECIFICATION FOR PROTECTIVE WELLNESS AND GENERAL CLOTHING | CP_TSSPEC_281 |  |  | 2 |  |
|  |  |  | DATE: | SEPTEMBER 2021 |  |  |  |
|  |  |  | PAGE: | 1 | OF |  | 18 |

TABLE OF CONTENTS

Page

INTRODUCTION

1SCOPE	3

2NORMATIVE REFERENCES	3

3DEFINITIONS AND ABBREVIATIONS	4

4WELLNESS CLOTHING	4

5QUALITY MANAGEMENT	7

6 ENVIRONMENTAL MANAGEMENT	7

7.HEALTH AND SAFETY	7

Annex A - Bibliography	8

Annex B - Revision information	9

Annexure C - Technical schedules A and B for Dust coat for Wellness	10

Technical schedules A and B	11

Deviation schedule for Dust coat for Wellness	11

Annexure C - Technical schedules A and B for Dust coat for General purpose	12

Technical schedules A and B	13

Deviation schedule for Dust coat for General Purpose	13

Annex D – Stock Items	18

INTRODUCTION

City Power personnel routinely carry out work in close proximity to the wellness of the workers. Whilst every possible safety precaution is followed, the employer is obliged to provide wellness clothing which will give personnel the maximum possible degree of safety whilst, simultaneously, being comfortable enough not to restrict movement or cause discomfort.

# SCOPE

This specification covers City Power’s requirements for safety accordance with the requirements of Occupational Health and Safety Act, General Safety Regulations, point 2 – Personal Safety Equipment and Facilities.

# NORMATIVE REFERENCES

The following documents contain provisions that, through reference in the text, constitute requirements of this specification.  At the time of publication, the editions indicated were valid.  All standards and specifications are subject to revision, and parties to agreements based on this specification are encouraged to investigate the possibility of applying the most recent editions of the documents listed below;

SANS 434 - General Protective clothing

SANS 789- Knitted jerseys and cardigans

SANS 811- Clothing, men, outerwear, shirts, sizes, specification, textile, workplace safety, workwear.

SANS 1360-1: Size designation of clothes, men's and boys' outerwear garments

SANS 1360-2: Size designation of clothes for women and girls outwear garments

SANS 1360-5: Size designation of headwear clothes

SANS 1360-6: Size designation of clothes for men's and boys' underwear, nightwear

SANS 1360-7: Size designation of clothes for women and girls underwear.

SANS 1387-4: Cotton jean and drill fabrics

SANS 10101: Standard nomenclature for stitches, seams, and stitchings

SANS 1362: Sewing threads

SANS 1382-1: Clothing, clothing sizes, colour fastness, dimensions, hosiery, institutional, ladies' clothing, marking, men's clothing, packaging, polyamides, shrinkage, socks, specifications, textile products, textiles, wool

# DEFINITIONS AND ABBREVIATIONS

PPE	Personal Safety Equipment

# WELLNESS CLOTHING

- Dust coat for Wellness employees

- General requirements

- The garment shall be white in colour

- The material shall be suitable for the clinical use

- The garment shall be 3/4

- City Power logo shall be displayed on the upper pocket of the coat

- A provision shall be made for the printing of the name on the upper pocket of the jacket below the City Power branding.

- The size shall range from small to XXX large

- The size shall be in accordance with SANS 434

- Packaging and labelling

The coat shall be packed in a suitable packaging designating the size.

- Test

The dust coat shall be tested in accordance to SANS 434

- Dust coat for general purposes

- General requirements

- The dust coat shall be navy blue in colour

- The dust coat shall be 3/4.

- The size shall be in accordance with SANS 434

- City Power logo shall be displaced on the upper pocket of the coat

- A provision shall be made for the printing of the name on the upper pocket of the coat below the City Power branding.

- The size shall be from small to XXX large.

- Packaging and labelling

The dust coat shall be packed in a suitable packaging.

- Test

- The test shall be according to sans 434

- Soft hats

4.3.1 General requirements

- The material shall be pre-shrunk 100 % woven cotton fabric in accordance with SANS 1387-4.

- The headwear clothes shall be in accordance to SANS 1360-5.

- The colours shall be in accordance with City Power navy blue corporate identity.

- The City Power logo shall be embroidered on the front of the hat in accordance with the City Power Corporate identity.

- Soft hats shall have a reinforced stiffened broad brim of at least 80 mm.

- The stitching shall comply with SANS 10101.

- The thread used shall comply with SANS 1362.

4.3.2 Packaging and labelling

The soft hat shall be packed in a suitable packaging

- Wool winter hats

4.4.1 General requirements

- The material shall be 100 % wool.

- The colours shall be in accordance with City Power navy blue corporate identity.

- The City Power shall be embroidered on the front of the hat in accordance with the City Power Corporate identity.

- The headwear clothes shall be in accordance to SANS 1360-5.

- The wool shall comply with SANS 789.

- The thread used shall comply with SANS 1362.

- The size shall be suitable and stretch for both man and woman.

- Security Winter Jacket

4.1.1 General requirements

a)	Size designations shall be compliant to SANS 434 (latest edition)

b)	The Garments shall provide provision for male cut.

c)	The Garments shall provide provision for female cut.

d)	The Garments shall be a windbreaker.

e)	Garment shall be navy blue in colour with City of Johannesburg and City Power branding on upper left pocket of the jacket.

f)	It shall be rubberized outer, quilted polyester lining.

g)	The colour of the security winter jacket shall preferably be navy blue.

h)  It shall have two breast pockets and two hip pockets, epaulettes and zip with stud closing.

i)   Available sizes, Small, large, X large, 2X large and 3X large.

h) It shall be available in 3/4

Sizes

The protective clothing shall be sized in accordance with the requirements of SANS 434.

Table 1: Size range for work wear suits – jackets

| Size range | Chest circumference | Back length | Back width | Sleeve Length | Cuff circumference |
| --- | --- | --- | --- | --- | --- |
| 82 | 99 | 71 | 38 | 47 | 27 |
| 87 | 104 | 72 | 40 | 48 | 27 |
| 92 | 109 | 73 | 42 | 48 | 28 |
| 97 | 114 | 74 | 44 | 49 | 28 |
| 102 | 119 | 74,5 | 46 | 49 | 28 |
| 107 | 124 | 75 | 48 | 50 | 29 |
| 112 | 129 | 75,5 | 50 | 50 | 29 |
| 117 | 134 | 76 | 52 | 51 | 29 |
| 122 | 139 | 76,5 | 54 | 51 | 30 |
| 127 | 144 | 77 | 56 | 52 | 30 |
| 132 | 149 | 77,5 | 58 | 52 | 30 |
| 137 | 154 | 78 | 60 | 53 | 31 |
| 142 | 159 | 78,5 | 62 | 53 | 31 |
| 147 | 164 | 79 | 64 | 54 | 31 |

Table 2: Size range for work wear suits - trousers

| Size designation | Outside leg length | Inside leg length | Waist | Seat circumference | Knee circumference | Bottom circumference |
| --- | --- | --- | --- | --- | --- | --- |
| 82/72 | 104 | 79 | 85 | 97 | 52 | 44 |
| 87/77 | 106 | 80 | 90 | 102 | 53 | 46 |
| 92/82 | 108 | 81 | 95 | 107 | 54 | 48 |
| 97/87 | 110 | 82 | 100 | 112 | 55 | 50 |
| 102/92 | 110 | 82 | 105 | 117 | 56 | 50 |
| 107/97 | 111 | 82 | 110 | 122 | 57 | 50 |
| 112/102 | 111 | 82 | 115 | 127 | 58 | 50 |
| 117/107 | 111 | 81 | 120 | 132 | 58,5 | 51 |
| 122/112 | 111 | 81 | 125 | 137 | 59 | 51 |
| 127/117 | 111 | 80 | 130 | 142 | 59,5 | 51 |
| 132/122 | 111 | 80 | 135 | 147 | 60 | 51 |
| 137/127 | 112 | 80 | 140 | 152 | 60,5 | 52 |
| 142/132 | 112 | 80 | 145 | 157 | 61 | 52 |
| 147/137 | 113 | 80 | 150 | 162 | 61,5 | 52 |

Note 1: 	Table 1 & 2 taken from SANS 434 document.

Note 2: 	The supplier is responsible for ensuring that the above sizes are in accordance with the overalls currently

# 5. 	QUALITY MANAGEMENT

A quality management plan shall be set up in order to assure the proper quality management of the during design, protective wellness and general clothing development, production, installation and servicing phases. Guidance on the requirements for a quality management plan may be found in the ISO 9001:2015. The details shall be subject to agreement between City Power and the Supplier.

# 6. ENVIRONMENTAL MANAGEMENT

An environmental management plan shall be set up in order to assure the proper environmental management of the protective wellness and general clothing throughout its entire life cycle (i.e. during design, development, production, installation, operation and maintenance, decommissioning and disposal phases). Guidance on the requirements for an environmental management system may be found in ISO 14001:2015 standards. The details shall be subject to agreement between City Power and the Supplier. This is to ensure that the asset created conforms to environmental standards and City Power SHERQ Policy

# 7. HEALTH AND SAFETY

A health and safety plan shall be set up in order to ensure proper management and compliance of the protective wellness and general clothing during installation operation, maintenance, and decommissioning phases. Guidance on the requirements of a health and safety plan may be found in OHSAS 18001:2007 standards. This is to ensure that the asset conforms to standard operating procedures and City Power SHERQ Policy. The details shall be subject to agreement between City Power and the Supplier.

# Annexure C - Technical schedules A and B for Dust coat for Wellness

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Dust coat for Wellness comply to specification Compliance to SANS 434 |  | Yes Yes |  |
| 2 | Documentation supplied |  | Yes |  |
| 3 | Local Manufacturer |  | Required |  |
| 4 | Size |  | Required |  |
| 5. | Colour |  | Required |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Dust coat for Wellness

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_281 | Proposed deviation |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                            Signature

Full name of company: ____________________________________________________________

# Annexure C - Technical schedules A and B for Dust coat for General purpose

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Dust coat for general purpose comply to specification |  | Yes |  |
| 2 | Compliance to SANS 434 |  | Yes |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Local manufacturer |  | Required |  |
| 5 | Colour |  | Required |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Namein block letters	                 Signature

Full name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Dust coat for General Purpose

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_281 | Proposed deviation |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                             Signature

Full name of company: ____________________________________________________________

Annexure C - Technical schedule A and B for Soft Hats

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Soft hats comply to specification |  | Yes |  |
| 2 | Compliance to SANS 1360-5 |  | 1360-5 |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Local manufacturer |  | Required |  |
| 5 | Colour |  | Requred |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                             Signature

Full name of company: ____________________________________________________________

Technical schedules A and B

Deviation schedule for Soft Hats

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_281 | Proposed deviation |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                        Signature

Full name of company: ____________________________________________________________

Annexure C - Technical schedules A and B for Winter Wool Hats

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Winter wool hats comply to specification |  | Yes |  |
| 2 | Compliance to SANS1360-5/789 |  | Yes |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Local Manufacturer |  | Required |  |
| 5 | Colour |  | Required |  |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                          Signature

Full name of company: ____________________________________________________________

Technical schedules A and B

Deviation schedule for Winter Wool Hats

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_281 | Proposed deviation |

Note: Ticks, Cross [√, X], Astrick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                         Signature

Full name of company: ____________________________________________________________

# Annex D – Stock Items

Material Group: PROTECTION FOR WELLNESS

| 1 | 3365 | Medical Attendant white coat small | Wellness white coat small, small Compliance with Specification CP_TSSPEC_281 |
| --- | --- | --- | --- |
| 2 | 3366 | Medical Attendant white coat Medium | Wellness white coat medium Compliance with Specification CP_TSSPEC_281 |
| 3 | 3367 | Medical Attendant white coat large | Wellness white coat large Compliance with Specification CP_TSSPEC_281 |
| 4 | 3368 | Medical Attendant white coat X large | Wellness white coat X large Compliance with Specification CP_TSSPEC_281 |
| 5 | 3369 | Medical Attendant white coat XX large | Wellness white coat XX large Compliance with Specification CP_TSSPEC_281 |
| 6 | 3370 | Medical Attendant white coat XXX large | Wellness white coat size XXX large Compliance with Specification CP_TSSPEC_281 |

BOQ

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
|  | 3365 | Medical Attendant white coat small | S | 1 |  |
|  | 3366 | Medical Attendant white coat Medium | M | 1 |  |
|  | 3367 | Medical Attendant white coat large | L | 1 |  |
|  | 3368 | Medical Attendant white coat X large | XL | 1 |  |
|  | 3369 | Medical Attendant white coat XX large | 2XL | 1 |  |
|  | 3370 | Medical Attendant white coat XXX large | 3XL | 1 |  |

Material Group: GENERAL PURPOSE COAT

| 1 | 11374 | General purpose navy blue coat small | General purpose navy blue coat small Compliance with Specification CP_TSSPEC_281 |
| --- | --- | --- | --- |
| 2 | 3377 | General purpose navy blue coat Medium | General purpose navy blue coat medium Compliance with Specification CP_TSSPEC_281 |
| 3 | 3378 | General purpose navy blue coat large | General purpose navy blue coat large Compliance with Specification CP_TSSPEC_281 |
| 4 | 3379 | General purpose navy blue coat X large | General purpose navy blue coat X large Compliance with Specification CP_TSSPEC_281 |
| 5 | 3380 | General purpose navy blue coat XX large | General purpose navy blue coat XX large Compliance with Specification CP_TSSPEC_281 |
| 6 | 3381 | General purpose navy blue coat XXX large | General purpose navy blue coat XXX large Compliance with Specification CP_TSSPEC_281 |

BOQ

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
|  | 11374 | General purpose navy blue coat small | S | 1 |  |
|  | 3377 | General purpose navy blue coat Medium | M | 1 |  |
|  | 3378 | General purpose navy blue coat large | L | 1 |  |
|  | 3379 | General purpose navy blue coat X large | XL | 1 |  |
|  | 3380 | General purpose navy blue coat XX large | 2XL | 1 |  |
|  | 3381 | General purpose navy blue coat XXX large | 3XL | 1 |  |

Material Group: PROTECTION FOR THE HEAD

| 1 | 11376 | Soft hat cotton navy blue | Soft hat cotton navy blue Compliance with Specification CP_TSSPEC_281 |
| --- | --- | --- | --- |
| 2 | 3373 | Winter hat wool navy blue | Winter hat wool navy blue Compliance with Specification CP_TSSPEC_281 |

BOQ

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
|  | 11376 | Soft hat cotton navy blue | N/A | 1 |  |
|  | 3373 | Winter hat wool navy blue | N/A | 1 |  |

CATEGORY 3: GENERAL CLOTHING PPE

| Bid no: 2324G : REQUEST FOR BIDS FOR SUPPLY & DELIVERY OF PERSONAL PROPECTIVE EQUIPMENT |  |  |
| --- | --- | --- |
| Mandatory requirements |  | Yes/No |
| 1. | Local content Annexure C and MBD6.2 to be completed in full, failure to complete the local Content and MBD 6.2 will result in your bid being non- responsive, ANNEXTURES C, D AND E |  |
| 2. | Technical schedules to be completed in full and signed as per schedule A, failure to complete the technical schedule as indicated will result in your bid being non- responsive |  |
| 3. | BOQs selected to be priced in full, failure to complete the BOQs in full will result in your bid being non Responsive. Distributors to provide a letter of agreement from the manufacturer, failure to provide the agreement From the manufacture will also result in the bid being considered non –responsive. |  |
| Stage 1 Evaluation: A minimum threshold of 75% must be achieved to proceed to the Stage 2 Evaluation Evaluation will be done on a relationship to the weighting on a scale of 0 to 10 |  |  |
| Technical Evaluation: |  | Weight |
| 1. | ISO Requirements - Provide a valid ISO 9001 certificate from the manufacturer - Provided a valid ISO 9001 certificate from the manufacturer = 10 points - Did not provide a valid ISO 9001 certificate from the manufacturer =0 points Max score points = 10 points | 20 |
| 2. | LEAD TIME: - Lead time for delivery - 2-4 weeks = 10 points - 5-7 weeks =7.5 points - More than 7 weeks = 0 points Max score points = 10 points | 20 |
| 3. | EXPERIENCE - Provide reference letters, signed letterhead including contact details of a similar scope of works as per specification, also indicating contract period and value - Provided three (3) reference letters and more = 10 points - Provided two (2) reference letters = 7 points - Provided one (1) reference letter = 1 point - Did not provide reference letters = 0 point (No appointment letters, contracts and purchase orders from clients will be accepted as reference letters.) Max score=10 points | 20 |
| 4. | SABS/SANS Mark - Provide a SABS/SANS certificate for SECURITY UNIFORM (EXCLUDING FOOTWARE) from the manufacturer - Provided a SABS/SANS certificate = 10 points - Did not provide a SABS/SANS certificate = 0 points Max score points = 10 points | 40 |
|  | Total | 100 |
| Stage 2 Evaluation |  |  |
| PRICE |  | 80 |
| B-BBEE |  | 20 |

EVALUATION CRITERIA 4: SECURITY UNIFORM CP_TSSPEC_352 (EXCLUDING FOOTWARE)

MAXIMUM OF (4) FOUR BIDDERS PER CRITERIA

CATEGORY 3: GENERAL CLOTHING PPE

EVALUATION CRITERIA 5: SECURITY UNIFORM FOOTWARE CP_TSSPEC_352

| Bid no: 2324G : REQUEST FOR BIDS FOR SUPPLY & DELIVERY OF PERSONAL PROPECTIVE EQUIPMENT |  |  |
| --- | --- | --- |
| Mandatory requirements |  | Yes/No |
| 1. | Local content Annexure C and MBD6.2 to be completed in full, failure to complete the local Content and MBD 6.2 will result in your bid being non- responsive, ANNEXTURES C, D AND E |  |
| 2. | Technical schedules to be completed in full and signed as per schedule A, failure to complete the technical schedule as indicated will result in your bid being non- responsive |  |
| 3. | BOQs selected to be priced in full, failure to complete the BOQs in full will result in your bid being non Responsive. Distributors to provide a letter of agreement from the manufacturer, failure to provide the agreement From the manufacture will also result in the bid being considered non –responsive. |  |
| Stage 1 Evaluation: A minimum threshold of 75% must be achieved to proceed to the Stage 2 Evaluation Evaluation will be done on a relationship to the weighting on a scale of 0 to 10 |  |  |
| Technical Evaluation: |  | Weight |
| 1. | Type Test - Provide a signed type test report for SECURITY UNIFORM FOOTWARE from an accredited body - Provided a type test report = 10 point 1.1.2 Did not provide a type test report = 0 points Max score points = 10 points | 40 |
| 2. | ISO Requirements - Provide a valid ISO 9001 certificate from the manufacturer - Provided a valid ISO 9001 certificate from the manufacturer = 10 points - Did not provide a valid ISO 9001 certificate from the manufacturer =0 points Max score points = 10 points | 10 |
| 3. | LEAD TIME: - Lead time for delivery - 2-4 weeks = 10 points - 5-7 weeks =7.5 points 3.1.3 More than 7 weeks = 0 points Max score points = 10 points | 15 |
| 4. | EXPERIENCE 4.1 Provide reference letters, signed letterhead including contact details of a similar scope of works as per specification, also indicating contract period and value - Provided three (3) reference letters and more = 10 points - Provided two (2) reference letters = 7 points - Provided one (1) reference letter = 1 point 4.1.4 Did not provide reference letters = 0 point (No appointment letters, contracts and purchase orders from clients will be accepted as reference letters.) Max score=10 points | 15 |
| 5. | SABS/SANS Mark - Provide a SABS/SANS certificate for SECURITY UNIFORM FOOTWARE from the manufacturer - Provided a SABS/SANS certificate = 10 points - Did not provide a SABS/SANS certificate = 0 points Max score points = 10 points | 20 |
|  | Total | 100 |
| Stage 2 Evaluation |  |  |
| PRICE |  | 80 |
| B-BBEE |  | 20 |

MAXIMUM OF (4) FOUR BIDDERS PER CRITERIA

|  |  |  | REFERENCE |  |  | REV |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TITLE |  | SPECIFICATION FOR SECURITY UNIFORM | CP_TSSPEC_352 |  |  | 0 |  |
|  |  |  | DATE: | AUGUST 2021 |  |  |  |
|  |  |  | PAGE: | 1 | OF |  | 46 |

TABLE OF CONTENTS

Page

INTRODUCTION

1SCOPE___	___________________________________________________________________________ 212

2NORMATIVE REFERENCES	212

3DEFINITIONS AND ABBREVIATIONS	212

4SECURITY UNIFORM	212

5RAINWEAR	212

6QUALITY MANAGEMENT	216

7ENVIRONMENTAL MANAGEMENT	216

8HEALTH AND SAFETY	217

Annexure C Security Uniform___________________________________________________________________  218

Technical schedules A and B _____________________________________________________________221

Deviation schedule _____________________________________________________________________________ 221

Annexure C Combat Jersey' _____________________________________________________________  222

Technical schedules A and B _____________________________________________________________225

Deviation schedule ____________________________________________________________________   225

Annexure C Combat Shirts______________________________________________________________   226

Technical schedules A and B_____________________________________________________________ 229

Deviation schedule _____________________________________________________________________ 229

Annexure C Pilot Shirts_________________________________________________________________   230

Technical schedules A and B_____________________________________________________________ 233

Deviation schedule _____________________________________________________________________ 233

Annexure C Long  Combat Trousers _______________________________________________________234

Technical schedules A and B _____________________________________________________________235

Deviation schedule  _____________________________________________________________________235

Annexure C Long Formal Trousers________________________________________________________ 236

Technical schedules A and B ____________________________________________________________ 237

Deviation schedule _____________________________________________________________________ 237

Annexure C Security ____________________________________________________________________238

Technical schedules A and B_____________________________________________________________239

Deviation schedule _____________________________________________________________________239

Annexure C - Technical schedulle A and B for Parabellum Shoes, Male Cut	240

Technical schedules A and B	241

Deviation schedule for Parabellum Shoes	241

Annexure C - Technical schedulle A and B for Parabellum Shoes, Female Cut	242

Technical schedules A and B	243

Deviation schedule for Parabellum Shoes for females	243

Annexure C - Technical schedulle A and B for Boots, Combat, Unisex	244

Technical schedules A and B	245

Annexure C Rain Wear __________________________________________________________________246

Deviation schedule for Boots, Combat, Unisex______________________________________________ 247

Annex D – Stock Items	247

# INTRODUCTION

City Power personnel routinely carry out work in close proximity to the wellness of the workers. Whilst every possible safety precaution is followed, the employer is obliged to provide security clothing which will give personnel the maximum possible degree of safety whilst, simultaneously, being comfortable enough not to restrict movement or cause discomfort.

# 1. SCOPE

This specification covers City Power’s requirements for safety and security in accordance with the requirements of Occupational Health and Safety Act, General Safety Regulations, point 2 – Personal Safety Equipment and Facilities, Private Security Industry Regulation Authority Act as well as the National key Point Act.

# 2. NORMATIVE REFERENCES

The following documents contain provisions that, through reference in the text, constitute requirements of this specification.  At the time of publication, the editions indicated were valid.  All standards and specifications are subject to revision, and parties to agreements based on this specification are encouraged to investigate the possibility of applying the most recent editions of the documents listed below;

SANS 434 – General protective clothing

SANS 1822 Standard for Zip

SANS 1457 Plastic buttons

SANS 789- Knitted jersey

SANS 20345- Personal protective equipment- Safety footwear

SANS 20344:2011, Personal protective equipment — Test methods for footwear

SANS 50471: High-visibility Warning Clothing for Professional Use

SANS 1585: 2005 Coated fabrics for shelters and rainwear

ISO 9001, Quality systems- Model for quality assurance in production, installation and servicing

ISO 14001, Environmental management

SANS/ISO 45001, Health and safety

# DEFINITIONS AND ABBREVIATIONS

PSE Personal Safety Equipment

# SECURITY UNIFORM

- Security Winter Jacket

4.1.1 General requirements

a)	Size designations shall be compliant to SANS 434.

b)	The general outline for the garments shall provide a tailored design for male and female respectively.

c)	The garments shall be made from J54 material.

d)	The garment shall be navy blue in colour with City of Johannesburg on the right breast and City Power branding embroidered with white colour on the upper left pocket of the jacket with Security Management department, branded underneath the pocket centered the logos

e)	It shall be rubberized outer, quilted polyester lining.

f)  It shall have one left breast press stud pocket and two hip pockets, epaulettes and zip with stud closing.

g)  The available sizes shall be from X small, large, X large, 2X large and 3X large.

- Security Jacket

4.2.1 General requirements

a)	Size designations shall be compliant to SANS 434

b)	The general outline for the garments shall provide a tailored design for male and female respectively.

c)	The garments shall be a windbreaker, light in weight and be made from J54 material

d)	The garment shall be navy blue in colour with City of Johannesburg on the right breast and City Power branding embroidered white in colour on upper left pocket of the jacket with Security Management department, branded underneath the pocket centered the logos

e)	It shall be rubberized outer, quilted polyester lining.

f)	The colour of the security jacket shall be City Power navy blue in accordance to corporate identity.

g)  One left breast press stud pocket, two hip pockets, elasticated waistband, and zip with stud closing.

h)  The available sizes shall be from, X small, large, X large, 2X large and 3X large.

- Combat Jersey

4.3.1 General requirements

- The material shall be 100 % wool.

- The colours of the combat jersey shall be in accordance with City Power navy blue corporate identity.

- The City of Johannesburg branding on the right breast and City Power logo with Security Management Department branded underneath centered between logos shall be embroidered white in colour on the left breast of the V neck jersey in accordance with the City Power Corporate identity.

- It shall be available in all sizes from X Small up to 3X large for both men and woman.

- It shall be knitted according to SANS 789.

- Combat Pull Over Jersey

4.4.1 General requirements

- The material shall be 100 % wool.

- The colours of the combat pull over jersey shall be in accordance with City Power navy blue corporate identity.

- The City of Johannesburg branding on right breast and City Power logo with the Security Management branded underneath centered between the logos shall be embroidered white in colour on the left breast of the V neck jersey in accordance with the City Power Corporate identity.

- It shall be available in all sizes from X Small up to 3X large for both men and woman

- It shall be knitted according to SANS 789.

- Long combat Trouser

4.5.1 General requirements

    - Size designations and material shall comply with SANS 434 requirements.

    - The garments shall provide provision for male and female in all sizes, X Small up to 3X large.

    - The material shall be made from J54 material.

    - It shall be of combat regular material with zip, belt loops, one back pocket, two hip side pocket and two side leg flip cover pockets.

    - It shall be a New “Easy Fit” design for comfort fit and fashionable appearance.

    - The garments shall be navy blue in colour and be made from J54 material.

    - The City of Johannesburg branding on the right breast and City Power logo with Security Management Department branded underneath centered between logos shall be embroidered white in colour on the rear trousers pocket in accordance with the City Power Corporate identity.

- Long Formal Trouser

4.6.1 General requirements

- Size designations and material shall comply with SANS 434 requirements.

- The Garments shall provide provision for male and female in all sizes from X Small up to 3X large.

- It shall be of regular material with zip, belt loops, two back pocket and two side pocket.

- It shall be a New “Easy Fit” design for comfort fit and fashionable appearance.

- Garment shall be navy blue in colour

- Combat Long Sleeve Shirt

4.7.1 Requirements

- Size designations shall comply with SANS 434 requirements.

- The Garments shall provide provision for both male and female cut in all sizes from X small up to 3X large.

- The garment shall be made from J54 material.

- The long sleeve wear shirt shall have buttons and two breast pockets.

- It shall have standard button down collar, adjustable cuffs with button closure.

- It shall be a New “Easy Fit” design for comfort fit and fashionable appearance.

- Garment shall be navy blue in colour with City of Johannesburg branding on the right breast and City Power branding on   upper left pocket of the shirt with Security Management Department branded underneath centered between logos embroidered white in colour.

- Combat Short Sleeve Shirt

4.8.1 Requirements

- Size designations shall comply with SANS 434 requirements.

- The Garments shall provide provision for both male and female cut in all sizes.

- The garment shall be made from J54 material.

- The short sleeve wear shirt shall have buttons and two breast pockets.

- It shall have standard button down collar, adjustable cuffs with button closure.

- It shall be a New “Easy Fit” design for comfort fit and fashionable appearance.

- Garment shall be navy blue in colour with City of Johannesburg branding on the right breast and City Power branding on upper pockets of the shirt with Security Management Department branded underneath centered between the logos, embroidered white in colour.

- Pilot shirt

4.9.1 Requirements

- Size designations shall comply with SANS 434 requirements.

- The Garments shall provide provision for both male and female cut in all sizes from X Small up to 3X large

- The short sleeve wear shirt shall have buttons, one breast pocket on the left side.

- The long sleeve wear shirt shall have buttons, one breast pocket on the left side.

- It shall have standard button down collar, adjustable cuffs with button closure.

- It shall be a New “Easy Fit” design for comfort fit and fashionable appearance.

- Garment shall be light blue in colour with City of Johannesburg branding on the right breast and City Power branding on upper left pockets of the shirt with Security Management Department, branded underneath centered between logos and embroidered white in colour.

- It shall be manufactured in poly cotton.

- Security Caps

4.10.1 General requirements

- The colours of the Cap shall be in accordance with City Power navy blue corporate identity.

- The City of Johannesburg and City Power logo shall be embroidered white in colour on the front of the hat with Security Management Department branded underneath centered in accordance with the City Power Corporate identity.

- Security Cap shall have a reinforced stiffened broad brim of at least 80 mm.

- The garment shall be according to SANS 434

The security uniform shall be sized in accordance with the requirements of SANS 434.

- Parabellum shoes

4.11.1 General requirements

- The parabellum shoes shall be black.

- There shall be design make and sizes for male employees.

- There shall be design make and sizes for female employees.

- The Material shall be full upper leather.

- The sole shall be stitched rubber.

- The  design shall be in accordance with SANS 20345 and certified

- The shoes shall water resistant.

- The sole of shoe shall be slip resistant

4.11.2 Test

Parabellum shoes shall be tested as per SANS 20345 requirements.

    - Combine Package and labelling

a)  The parabellum shoes shall be packed in a box.

b) The box shall be adequately labeled and show the shoe size

- Combat Boots shoes,

4.12.1 General requirements

- The Combat Boots shall be black in colour.

- The general outline for the garments shall provide a tailored design for male and female respectively.

- The Combat boots shall be made of leather material with non steel toe cap.

- The design shall be in accordance with SANS 20345 and certified.

- The Combat Boots sole shall be slip resistant and water proof.

    - Test

- Combat boots shall be tested as per SANS 20345 requirements.

    - Packaging and labelling

a) The Combat Boots shall be packed in a box.

b) The box shall be adequately labeled and show the boot size.

# RAINWEAR

5.1 General requirements

- The rain jacket shall have a nylon zip and a closed fly front secured by press-studs.

- The Security rainwear shall comply to SANS 1585.

- The hood shall be attached to the rain jacket.

- The rain jacket shall cover the buttocks.

- The sleeves shall have a false elastic sleeve at the end (made of a softer material) to prevent rain  entering the sleeve.

- The pants shall have two side slits and elasticised waist.

- Security rainwear shall be navy blue in colour.

- The City of Johannesburg branding on the right breast and City Power logo with Security Management department branded underneath centered between the logos shall be embroidered white in colour, be silk-screened in accordance with City Power Corporate identity, on the front and on the back.

- The size of the City Power logo on the front shall be 65 mm high and on the back the City Power logo shall be 150 mm high.

- The fabric for the jacket and pants shall be minimum of 180gsm (gsm- grams per square meter) and the face side 100% polyester, plain weave with 170 threads per square inch and coated with a water resistant coating. The inside to be laminated with PVC coating.  Seams strength to be 50 KPa, (converts to 50kNm²).The lining to be 80% cotton and 20% polyester.

- The sizes of the rainwear shall be from small to 3X large

5.2 Test

5.2.1 Rain shall be tested as per SANS 1585 requirements .

5.3 Combine package and labelling

5.3.1 The security rainwear shall be packed in a suitable packaging designating the size.

Note: 	The supplier is responsible for ensuring that the above sizes are in accordance with the security uniform currently in use at City Power, and special customized sizes upon request shall be required.

5.4 Combat Belt

a) The combat belt shall be made from nylon material.

b) The belt shall have a metal fastener.

c)  It shall be one size fit all.

d)  The colour shall be navy blue.

Note: City Power reserves the right to view an existing security uniform complying with this specification or if no such security uniform exist a prototype shall be built and made available for inspection by representatives of City Power.

# QUALITY MANAGEMENT

A quality management plan shall be set up in order to assure the proper quality management of the security uniform services during design, development, production, installation and servicing phases. Guidance on the requirements for a quality management plan may be found in the ISO 9001:2015. The details shall be subject to agreement between City Power and the Supplier.

# ENVIRONMENTAL MANAGEMENT

An environmental management plan shall be set up in order to assure the proper environmental management of the security uniform throughout its entire life cycle (i.e. during design, development, production, installation, operation and maintenance, decommissioning and disposal phases). Guidance on the requirements for an environmental management system may be found in ISO 14001:2015 standards. The details shall be subject to agreement between City Power and the Supplier. This is to ensure that the asset created conforms to environmental standards and City Power SHERQ Policy

# HEALTH AND SAFETY

A health and safety plan shall be set up in order to ensure proper management and compliance of the security uniform during, operation, maintenance, and decommissioning phases. Guidance on the requirements of a health and safety plan may be found in  ISO 45001:2018 standards. This is to ensure that the asset conforms to standard operating procedures and City Power SHERQ Policy. The details shall be subject to agreement between City Power and the Supplier.

# Annex C

Annexure C - Technical schedule A and B for Security Winter Jackets

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Security Winter Jackets comply to specification |  | Yes |  |
| 2 | Compliance to SANS 434 |  | Yes |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Local manufacturer name |  | Required |  |
| 5 | Sizes for Security Winter Jacket |  | Required |  |
| 6. | Quantity |  | Required |  |
| 7. | Colour |  | Navy blue |  |
| 8. | Type of material required |  | J54 |  |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                          Signature

Long name of company: ____________________________________________________________

Technical schedules A and B

Deviation schedule for Security Winter Jackets

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_352 | Proposed deviation |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                         Signature

Long name of company: ____________________________________________________________

Annexure C - Technical schedule A and B for Security Jackets

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Security Jackets comply to specification |  | Yes |  |
| 2 | Compliance to SANS 434 |  | Yes |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Local manufacturer name |  | Required |  |
| 5 | Sizes for Security Jacket |  | Required |  |
| 6. | Quantity |  | Required |  |
| 7. | Colour |  | Navy blue |  |
| 8. | Type of material required |  | J54 |  |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                          Signature

Long name of company: ____________________________________________________________

Technical schedules A and B

Deviation schedule for Security Jackets

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_352 | Proposed deviation |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                         Signature

Long name of company: ____________________________________________________________

Annexure C - Technical schedule A and B for Combat Jersey

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Combat jersey comply to specification |  | Yes |  |
| 2 | Compliance to SANS 789 |  | Yes |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Local manufacturer name |  | Required |  |
| 5 | Sizes for Combat Jersey |  | Required |  |
| 6. | Quantity |  | Required |  |
| 7 | Colour |  | Navy blue |  |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                          Signature

Long name of company: ____________________________________________________________

Technical schedules A and B

Deviation schedule for Combat Jersey

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_352 | Proposed deviation |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                         Signature

Long name of company: ____________________________________________________________

Annexure C - Technical schedule A and B for Combat Pull Over Jersey

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Combat Pull Over Jersey comply to specification |  | Yes |  |
| 2 | Compliance to SANS 789 |  | Yes |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Local manufacturer name |  | Required |  |
| 5 | Sizes for Combat Pull Over Jersey |  | Required |  |
| 6. | Quantity |  | Required |  |
| 7. | Colour |  | Navy blue |  |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                          Signature

Long name of company: ____________________________________________________________

Technical schedules A and B

Deviation schedule for Combat Pull Over Jersey

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_352 | Proposed deviation |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                         Signature

Long name of company: ____________________________________________________________

Annexure C - Technical schedule A and B for Combat Shirt Long sleeve

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Combat Shirt Long sleeve comply to specification |  | Yes |  |
| 2 | Compliance to SANS 434 |  | Yes |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Local manufacturer name |  | Required |  |
| 5 | Sizes for Combat shirt long sleeve |  | Required |  |
| 6. | Quantity |  | Required |  |
| 7. | Colour |  | Navy blue |  |
| 8. | Type of material required |  | J54 |  |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                          Signature

Long name of company: ____________________________________________________________

Technical schedules A and B

Deviation schedule for Combat Shirt Long Sleeve

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_352 | Proposed deviation |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                         Signature

Long name of company: ____________________________________________________________

Annexure C - Technical schedule A and B for Combat Shirt Short Sleeve

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Combat shirt short sleeve comply to specification |  | Yes |  |
| 2 | Compliance to SANS 434 |  | Yes |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Local manufacturer name |  | Required |  |
| 5 | Sizes for Combat Shirt short sleeve |  | Required |  |
| 6. | Quantity |  | Required |  |
| 7. | Colour |  | Navy blue |  |
| 8. | Type of material required |  | J54 |  |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                          Signature

Long name of company: ____________________________________________________________

Technical schedules A and B

Deviation schedule for Combat Shirt Short Sleeve

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_352 | Proposed deviation |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                         Signature

Long name of company: ____________________________________________________________

Annexure C - Technical schedule A and B for Pilot shirt short sleeve

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Pilot shirt short sleeve comply to specification |  | Yes |  |
| 2 | Compliance to SANS 434 |  | Yes |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Local manufacturer name |  | Required |  |
| 5 | Sizes for Pilot shirt |  | Required |  |
| 6. | Quantity |  | Required |  |
| 7. | Colour |  | Light blue |  |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                          Signature

Long name of company: ____________________________________________________________

Technical schedules A and B

Deviation schedule for Pilot Shirt Short Sleeve

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_352 | Proposed deviation |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                         Signature

Long name of company: ____________________________________________________________

Annexure C - Technical schedule A and B for Pilot Shirt Long Sleeve

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Pilot Shirt Long Sleeve comply to specification |  | Yes |  |
| 2 | Compliance to SANS 434 |  | Yes |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Local manufacturer name |  | Required |  |
| 5 | Sizes for Pilot shirt |  | Required |  |
| 6. | Quantity |  | Required |  |
| 7 | Colour |  | Light blue |  |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                          Signature

Long name of company: ____________________________________________________________

Technical schedules A and B

Deviation schedule for Pilot Shirt Long Sleeve

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_352 | Proposed deviation |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                         Signature

Long name of company: ____________________________________________________________

Annexure C - Technical schedule A and B for Long Combat Trouser

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Long Combat Trouser comply to specification |  | Yes |  |
| 2 | Compliance to SANS 434 |  | Yes |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Local manufacturer name |  | Required |  |
| 5 | Sizes for Long combat trouser |  | Required |  |
| 6. | Quantity |  | Required |  |
| 7 | Colour |  | Navy blue |  |
| 8. | Type of material required |  | J54 |  |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                          Signature

Long name of company: ____________________________________________________________

Technical schedules A and B

Deviation schedule for Long Combat Trouser

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_352 | Proposed deviation |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                         Signature

Long name of company: ____________________________________________________________

Annexure C - Technical schedule A and B for Long Formal Trouser

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Long formal trouser comply to specification |  | Yes |  |
| 2 | Compliance to SANS 434 |  | Yes |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Local manufacturer name |  | Required |  |
| 5 | Sizes for Long formal trouser |  | Required |  |
| 6. | Quantity |  | Required |  |
| 7. | Colour |  | Navy blue |  |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                          Signature

Long name of company: ____________________________________________________________

Technical schedules A and B

Deviation schedule for Long Formal Trouser

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_352 | Proposed deviation |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                         Signature

Long name of company: ____________________________________________________________

Annexure C - Technical schedule A and B for Security Caps

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Security Caps comply to specification |  | Yes |  |
| 2 | Compliance to SANS 434 |  | Yes |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Local manufacturer name |  | Required |  |
| 5 | Sizes for Security Cap |  | Required |  |
| 6. | Quantity |  | Required |  |
| 7. | Colour |  | Navy blue |  |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                          Signature

Long name of company: ____________________________________________________________

Technical schedules A and B

Deviation schedule for Caps

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_352 | Proposed deviation |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                         Signature

Long name of company: ____________________________________________________________

# Annexure C - Technical schedulle A and B for Parabellum Shoes, Male Cut

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Name of the manufacturer |  | Required |  |
| 2 | Workplace Parabellum shoes comply to the specification |  | Yes |  |
| 3 | Compliance to SANS 20345 |  | Yes |  |
| 4 | Documentation supplied |  | Required |  |
| 5 | Type tested as per SANS 20345 |  | Required |  |
| 6 | Black leather male cut |  | Required |  |
| 7 | Sizes required (3-13) |  | Required |  |
| 8 | Shoe sole slip resistance and water proof |  | Required |  |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	Signature

Long name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Parabellum Shoes

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_352 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                  Signature

Long name of company: ____________________________________________________________

# Annexure C - Technical schedulle A and B for Parabellum Shoes, Female Cut

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Name of the manufacturer |  | Required |  |
| 2 | Workplace Parabellum shoes comply to the specification |  | Yes |  |
| 3 | Compliance to SANS 20345 |  | Yes |  |
| 4 | Documentation supplied |  | Required |  |
| 5 | Type tested as per SANS 20345 |  | Required |  |
| 6 | Black leather female cut |  | Required |  |
| 7 | Sizes required(3-13) |  | Required |  |
| 8 | Sole slip resistant and water proof |  | Required |  |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	Signature

Long name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Parabellum Shoes for females

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_352 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                  Signature

Long name of company: ____________________________________________________________

# Annexure C - Technical schedulle A and B for Boots, Combat, Unisex

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Name of the manufacturer |  | Required |  |
| 2 | Workplace Boot Combat, Unisex comply to the specification |  | Yes |  |
| 3 | Compliance to SANS 20345 |  | Yes |  |
| 4 | Documentation supplied |  | Required |  |
| 5 | Type tested as per SANS 20345 |  | Required |  |
| 6 | Black leather colour |  | Required |  |
| 7 | Sizes required (3-13) |  | Required |  |
| 8 | Sole slip resistant and water proof |  | Required |  |
| 9 | Non steel toe cap |  | Required |  |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	Signature

Long name of company: ____________________________________________________________

# Technical schedules A and B

# Deviation schedule for Boots, Combat, Unisex

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_352 | Proposed deviation |

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                  Signature

Long name of company: ____________________________________________________________

Annexure C - Technical schedule A and B for Security Rainwear- Jacket and trouser

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Security rainwear comply to specification |  | Yes |  |
| 2 | Compliance to SANS 1585 |  | Yes |  |
| 3 | Documentation supplied |  | Yes |  |
| 4 | Local manufacturer name |  | Required |  |
| 5 | Sizes for Security rainwear |  | Required |  |
| 6. | Quantity |  | Required |  |
| 7. | Colour |  | Navy blue |  |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                          Signature

Long name of company: ____________________________________________________________

Technical schedules A and B

Deviation schedule for Security Rainwear- Jacket and Trouser

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_352 | Proposed deviation |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                         Signature

Long name of company: ____________________________________________________________

Annexure C - Technical schedule A and B for Combat Belt

Schedule A:  Purchaser's specific requirements

Schedule B:  Guarantees and technical particulars of equipment offered

| Item | Description |  | Schedule A | Schedule B |
| --- | --- | --- | --- | --- |
| 1 | Combat belt comply to specification |  | Yes |  |
| 2 | Documentation supplied |  | Required |  |
| 3 | Local manufacturer name |  | Required |  |
| 4 | One size fit all |  | Required |  |
| 5. | Quantity |  | Required |  |
| 6. | Colour |  | Navy blue |  |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                          Signature

Long name of company: ____________________________________________________________

Technical schedules A and B

Deviation schedule for Combat Belt

| Any deviations offered to this specification shall be listed below with reasons for deviation. In addition, evidence shall be provided that the proposed deviation will at least be more cost-effective than that specified by City Power. |  |  |
| --- | --- | --- |
| Item | Sub-clause of CP_TSSPEC_352 | Proposed deviation |

Note: Ticks, Cross [√, X], Asterick [*], Word [Noted] or TBA [“To Be Advice”] will not be accepted

Tender Number: _________________________________________________________________

Tenderer’s Authorised Signatory: _________________________________	___________________

Name in block letters	                                         Signature

Long name of company: ____________________________________________________________

# Annex D – Stock Items

MATERIEL GROUP: SECURITY UNIFORM

| 1 | 4591 | Security Winter Jacket navy blue small | Security winter jacket navy blue small Compliance with Specification CP_TSSPEC_352 |
| --- | --- | --- | --- |
| 2 | 4592 | Security Winter Jacket navy blue Medium | Security winter jacket navy blue medium Compliance with Specification CP_TSSPEC_352 |
| 3 | 4593 | Security Winter Jacket navy blue large | Security winter jacket navy blue large Compliance with Specification CP_TSSPEC_352 |
| 4 | 4594 | Security Winter Jacket navy blue X large | Security winter jacket navy blue X large Compliance with Specification CP_TSSPEC_352 |
| 5 | 4595 | Security Winter Jacket navy blue 2X large | Security winter jacket navy blue 2X large Compliance with Specification CP_TSSPEC_352 |
| 6 | 4596 | Security Winter Jacket navy blue 352 large | Security winter jacket navy blue 352 large Compliance with Specification CP_TSSPEC_352 |
| 7 | 4597 | Security Jacket navy blue Small | Security jacket navy blue small Compliance with Specification CP_TSSPEC_352 |
| 8 | 4599 | Security Jacket navy blue Medium | Security jacket navy blue medium Compliance with Specification CP_TSSPEC_352 |
| 9 | 4600 | Security Jacket navy blue large | Security jacket navy blue large Compliance with Specification CP_TSSPEC_352 |
| 10 | 4601 | Security Jacket navy blue X large | Security jacket navy blue X large Compliance with Specification CP_TSSPEC_352 |
| 11 | 4602 | Security Jacket navy blue 2X large | Security jacket navy blue 2X large Compliance with Specification CP_TSSPEC_352 |
| 12 | 4603 | Security Jacket navy blue 352 large | Security jacket navy blue 352 large Compliance with Specification CP_TSSPEC_352 |
| 13 | 4604 | Combat Jersey navy blue small | Combat jersey navy blue small Compliance with Specification CP_TSSPEC_352 |
| 14 | 4605 | Combat Jersey navy blue medium | Combat jersey navy blue medium Compliance with Specification CP_TSSPEC_352 |
| 15 | 4606 | Combat Jersey navy blue large | Combat jersey navy blue large Compliance with Specification CP_TSSPEC_352 |
| 16 | 4607 | Combat Jersey navy blue X large | Combat jersey navy blue X large Compliance with Specification CP_TSSPEC_352 |
| 17 | 4608 | Combat Jersey navy blue 2X large | Combat jersey navy blue 2X large Compliance with Specification CP_TSSPEC_352 |
| 18 | 4609 | Combat Jersey navy blue 352 large | Security combat jersey navy blue 352 large Compliance with Specification CP_TSSPEC_352 |
| 19 | 4610 | Combat Pull Over Jersey navy blue small. | Combat pullover jersey navy blue small Compliance with Specification CP_TSSPEC_352 |
| 20 | 4611 | Combat Pull Over Jersey navy blue medium. | Combat pullover jersey navy blue medium Compliance with Specification CP_TSSPEC_352 |
| 21 | 4612 | Combat Pull Over Jersey navy blue large | Combat pullover jersey navy blue large Compliance with Specification CP_TSSPEC_352 |
| 22 | 4613 | Combat Pull Over Jersey navy blue X large | Combat pullover jersey navy blue X large Compliance with Specification CP_TSSPEC_352 |
| 23 | 4614 | Combat Pull Over Jersey navy blue 2X large | Combat pullover jersey navy blue 2X large Compliance with Specification CP_TSSPEC_352 |
| 24 | 4615 | Combat Pull Over Jersey navy blue 352 large | Combat pullover jersey navy blue 352 large Compliance with Specification CP_TSSPEC_352 |
| 25 | 4616 | Combat Shirt- long sleeve navyt blue small | Combat Shirt- long sleeve navy blue small Compliance with Specification CP_TSSPEC_352 |
| 26 | 4617 | Combat Shirt- long sleeve navy blue medium | Combat Shirt- long sleeve navy blue medium Compliance with Specification CP_TSSPEC_352 |
| 27 | 4618 | Combat Shirt- long sleeve navy blue large | Combat Shirt- long sleeve navy blue large Compliance with Specification CP_TSSPEC_352 |
| 28 | 4619 | Combat Shirt- long sleeve navy blue X large | Combat Shirt- long sleeve navy blue X large Compliance with Specification CP_TSSPEC_352 |
| 29 | 4620 | Combat Shirt- long sleeve navy blue 2X large | Combat Shirt- long sleeve navy blue 2X large Compliance with Specification CP_TSSPEC_352 |
| 30 | 4621 | Combat Shirt- long sleeve navy blue 352 large | Combat Shirt- long sleeve navy blue 352 large Compliance with Specification CP_TSSPEC_352 |
| 31 | 4622 | Combat Shirt -Short Sleeve navy blue small | Combat Shirt- Short sleeve navy blue small Compliance with Specification CP_TSSPEC_352 |
| 32 | 4623 | Combat Shirt -Short Sleeve navy blue medium | Combat Shirt- Short sleeve navy blue medium Compliance with Specification CP_TSSPEC_352 |
| 33 | 4624 | Combat Shirt -Short Sleeve navy blue large | Combat Shirt- Short sleeve navy blue large Compliance with Specification CP_TSSPEC_352 |
| 34 | 4625 | Combat Shirt -Short Sleeve navy blue X large | Combat Shirt- Short sleeve navy blue X large Compliance with Specification CP_TSSPEC_352 |
| 35 | 4626 | Combat Shirt -Short Sleeve navy blue 2X large | Combat Shirt- Short sleeve navy blue 2X large Compliance with Specification CP_TSSPEC_352 |
| 36 | 4627 | Combat Shirt -Short Sleeve navy blue 352 large | Combat Shirt- Short sleeve navy blue 352 large Compliance with Specification CP_TSSPEC_352 |
| 37 | 4628 | Pilot shirt – Short Sleeve light blue small | Pilot Shirt- Short sleeve light blue small Compliance with Specification CP_TSSPEC_352 |
| 38 | 4629 | Pilot shirt – Short Sleeve light blue medium | Pilot Shirt- Short sleeve light blue medium Compliance with Specification CP_TSSPEC_352 |
| 39 | 4630 | Pilot shirt – Short Sleeve light blue large | Pilot Shirt- Short sleeve light blue large Compliance with Specification CP_TSSPEC_352 |
| 40 | 4631 | Pilot shirt – Short Sleeve navy blue X large | Pilot Shirt- Short sleeve light blue X large Compliance with Specification CP_TSSPEC_352 |
| 41 | 4632 | Pilot shirt – Short Sleeve light blue 2X large | Pilot Shirt- Short sleeve light blue 2X large Compliance with Specification CP_TSSPEC_352 |
| 42 | 4633 | Pilot shirt – Short Sleeve light blue 352 large | Pilot Shirt- Short sleeve light blue 352 large Compliance with Specification CP_TSSPEC_352 |
| 43 | 4634 | Long Combat Trousers navy blue small | Long Combat Trousers navy blue small Compliance with Specification CP_TSSPEC_352 |
| 44 | 4635 | Long Combat Trousers navy blue medium | Long Combat Trousers navy blue medium Compliance with Specification CP_TSSPEC_352 |
| 45 | 4636 | Long Combat Trousers navy blue large | Long Combat Trousers navy blue large Compliance with Specification CP_TSSPEC_352 |
| 46 | 4637 | Long Combat Trousers navy blue X large | Long Combat Trousers navy blue X large Compliance with Specification CP_TSSPEC_352 |
| 47 | 4638 | Long Combat Trousers navy blue 2X large | Long Combat Trousers navy blue 2X large Compliance with Specification CP_TSSPEC_352 |
| 48 | 4639 | Long Combat Trousers navy blue 352 large | Long Combat Trousers navy blue 352 large Compliance with Specification CP_TSSPEC_352 |
| 49 | 4640 | Long formal trouser navy blue small | Long formal trousers navy blue small Compliance with Specification CP_TSSPEC_352 |
| 50 | 4641 | Long formal trouser navy blue medium | Long formal trousers navy blue medium Compliance with Specification CP_TSSPEC_352 |
| 51 | 4642 | Long formal trouser navy blue large | Long formal trousers navy blue large Compliance with Specification CP_TSSPEC_352 |
| 52 | 4643 | Long formal trouser navy blue X large | Long formal trousers navy blue X large Compliance with Specification CP_TSSPEC_352 |
| 53 | 4644 | Long formal trouser navy blue 2X large | Long formal trousers navy blue 2X large Compliance with Specification CP_TSSPEC_352 |
| 54 | 4645 | Long formal trouser navy blue 352 large | Long formal trousers navy blue 352 large Compliance with Specification CP_TSSPEC_352 |
| 55 | 4646 | Security caps navy blue small | Security Caps navy blue small Compliance with Specification CP_TSSPEC_352 |
| 56 | 4648 | Security caps navy blue medium | Security Caps navy blue medium Compliance with Specification CP_TSSPEC_352 |
| 57 | 4649 | Security caps navy blue large | Security Caps navy blue large Compliance with Specification CP_TSSPEC_352 |
| 58 | 4741 | Combat belt | Combat belt navy blue comply to specification CP_TSSPEC_352 |

BOQ

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
| 1 | 4591 | Security Winter Jacket navy blue small | S | 1 |  |
| 2 | 4592 | Security Winter Jacket navy blue Medium | M | 1 |  |
| 3 | 4593 | Security Winter Jacket navy blue large | L | 1 |  |
| 4 | 4594 | Security Winter Jacket navy blue X large | XL | 1 |  |
| 5 | 4595 | Security Winter Jacket navy blue 2X large | 2XL | 1 |  |
| 6 | 4596 | Security Winter Jacket navy blue 3XL large | 3XL | 1 |  |
| 7 | 4597 | Security Jacket navy blue Small | S | 1 |  |
| 8 | 4599 | Security Jacket navy blue Medium | M | 1 |  |
| 9 | 4600 | Security Jacket navy blue large | L | 1 |  |
| 10 | 4601 | Security Jacket navy blue X large | XL | 1 |  |
| 11 | 4602 | Security Jacket navy blue 2X large | 2XL | 1 |  |
| 12 | 4603 | Security Jacket navy blue 3X large | 3XL | 1 |  |
| 13 | 4604 | Combat Jersey navy blue small | S | 1 |  |
| 14 | 4605 | Combat Jersey navy blue medium | M | 1 |  |
| 15 | 4606 | Combat Jersey navy blue large | L | 1 |  |
| 16 | 4607 | Combat Jersey navy blue X large | XL | 1 |  |
| 17 | 4608 | Combat Jersey navy blue 2X large | 2XL | 1 |  |
| 18 | 4609 | Combat Jersey navy blue 3X large | 3XL | 1 |  |
| 19 | 4610 | Combat Pull Over Jersey navy blue small. | S | 1 |  |
| 20 | 4611 | Combat Pull Over Jersey navy blue medium. | M | 1 |  |
| 21 | 4612 | Combat Pull Over Jersey navy blue large | L | 1 |  |
| 22 | 4613 | Combat Pull Over Jersey navy blue X large | XL | 1 |  |
| 23 | 4614 | Combat Pull Over Jersey navy blue 2X large | 2XL | 1 |  |
| 24 | 4615 | Combat Pull Over Jersey navy blue 3X large | 3XL | 1 |  |
| 25 | 4616 | Combat Shirt- long sleeve navyt blue small | S | 1 |  |
| 26 | 4617 | Combat Shirt- long sleeve navy blue medium | M | 1 |  |
| 27 | 4618 | Combat Shirt- long sleeve navy blue large | L | 1 |  |
| 28 | 4619 | Combat Shirt- long sleeve navy blue X large | XL | 1 |  |
| 29 | 4620 | Combat Shirt- long sleeve navy blue 2X large | 2XL | 1 |  |
| 30 | 4621 | Combat Shirt- long sleeve navy blue 352 large | 3XL | 1 |  |
| 31 | 4622 | Combat Shirt -Short Sleeve navy blue small | S | 1 |  |
| 32 | 4623 | Combat Shirt -Short Sleeve navy blue medium | M | 1 |  |
| 33 | 4624 | Combat Shirt -Short Sleeve navy blue large | L | 1 |  |
| 34 | 4625 | Combat Shirt -Short Sleeve navy blue X large | XL | 1 |  |
| 35 | 4626 | Combat Shirt -Short Sleeve navy blue 2X large | 2XL | 1 |  |
| 36 | 4627 | Combat Shirt -Short Sleeve navy blue 3X large | 3XL | 1 |  |
| 37 | 4628 | Pilot shirt – Short Sleeve light blue small | S | 1 |  |
| 38 | 4629 | Pilot shirt – Short Sleeve light blue medium | M | 1 |  |
| 39 | 4630 | Pilot shirt – Short Sleeve light blue large | L | 1 |  |
| 40 | 4631 | Pilot shirt – Short Sleeve navy blue X large | XL | 1 |  |
| 41 | 4632 | Pilot shirt – Short Sleeve light blue 2X large | 2XL | 1 |  |
| 42 | 4633 | Pilot shirt – Short Sleeve light blue 3X large | 3XL | 1 |  |
| 43 | 4634 | Long Combat Trousers navy blue small | S | 1 |  |
| 44 | 4635 | Long Combat Trousers navy blue medium | M | 1 |  |
| 45 | 4636 | Long Combat Trousers navy blue large | L | 1 |  |
| 46 | 4637 | Long Combat Trousers navy blue X large | XL | 1 |  |
| 47 | 4638 | Long Combat Trousers navy blue 2X large | 2XL | 1 |  |
| 48 | 4639 | Long Combat Trousers navy blue 3X large | 3XL | 1 |  |
| 49 | 4640 | Long formal trouser navy blue small | S | 1 |  |
| 50 | 4641 | Long formal trouser navy blue medium | M | 1 |  |
| 51 | 4642 | Long formal trouser navy blue large | L | 1 |  |
| 52 | 4643 | Long formal trouser navy blue X large | XL | 1 |  |
| 53 | 4644 | Long formal trouser navy blue 2X large | 2XL | 1 |  |
| 54 | 4645 | Long formal trouser navy blue 3X large | 3XL | 1 |  |
| 55 | 4646 | Security caps navy blue small | S | 1 |  |
| 56 | 4648 | Security caps navy blue medium | M | 1 |  |
| 57 | 4649 | Security caps navy blue large | L | 1 |  |
| 58 | 4741 | Combat belt |  | 1 |  |

Material Group: SECURITY FOOTWEAR

| Item | SAP No | SAP Short Description | SAP Long Description |
| --- | --- | --- | --- |
| 59 | 1944 | Parabellum shoes (size 4) | Parabellum shoes Compliance with Specification CP_TSSPEC_352 (size 4) |
| 60 | 1945 | Parabellum shoes (size 5) | Parabellum shoes Compliance with Specification CP_TSSPEC_352(size 5) |
| 61 | 1946 | Parabellum shoes (size 6) | Parabellum shoes Compliance with Specification CP_TSSPEC_352 (size 6) |
| 62 | 1947 | Parabellum shoes (size 7) | Parabellum shoes Compliance with Specification CP_TSSPEC_352 (size 7) |
| 63 | 1948 | Parabellum shoes (size 8) | Parabellum shoes Compliance with Specification CP_TSSPEC_352 (size 8) |
| 64 | 1949 | Parabellum shoes (size 9) | Parabellum shoes Compliance with Specification CP_TSSPEC_352 (size 9) |
| 65 | 1941 | Parabellum shoes (size 10) | Parabellum shoes Compliance with Specification CP_TSSPEC_352 (size 10) |
| 66 | 1942 | Parabellum shoes (size 11) | Parabellum shoes Compliance with Specification CP_TSSPEC_352 (size 11) |
| 67 | 1943 | Parabellum shoes (size 12) | Parabellum shoes Compliance with Specification CP_TSSPEC_352 (size 11) |
| 68 | xxxx | Parabellum shoes (size 3) | Parabellum shoes Compliance with Specification CP_TSSPEC_352 (size 3) |
| 69 | xxxx | Boots, Combat, Unisex (size 3 | Boots Combat shoes, unisex Complience with Specification CP__TSSPEC_352 (size 3) |
| 69 | 4581 | Boots, Combat, Unisex (size 4) | Boots Combat shoes, unisex Complience with Specification CP__TSSPEC_352 (size 4) |
| 70 | 4582 | Boots, Combat, Unisex (size 5) | Boots Combat shoes, unisex Complience with Specification CP__TSSPEC_352 (size 5) |
| 71 | 4583 | Boots, Combat, Unisex (size 6) | Boots Combat shoes, unisex Complience with Specification CP__TSSPEC_352 (size 6) |
| 72 | 4584 | Boots, Combat, Unisex (size 7) | Boots Combat shoes, unisex Complience with Specification CP__TSSPEC_352 (size 7) |
| 73 | 4585 | Boots, Combat, Unisex (size 8) | Boots Combat shoes, unisex Complience with Specification CP__TSSPEC_352 (size 8) |
| 74 | 4586 | Boots, Combat, Unisex (size 9) | Boots Combat shoes, unisex Complience with Specification CP__TSSPEC_352 (size 9) |
| 75 | 4587 | Boots, Combat, Unisex (size 10) | Boots Combat shoes, unisex Complience with Specification CP__TSSPEC_352 (size 10) |
| 76 | 4588 | Boots, Combat, Unisex (size 11) | Boots Combat shoes, unisex Complience with Specification CP__TSSPEC_352 (size 11) |
| 77 | 4589 | Boots, Combat, Unisex (size 12) | Boots Combat shoes, unisex Complience with Specification CP__TSSPEC_352 (size 12) |

BOQ

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
| 1 | 1944 | Parabellum shoes (size 4) | 4 | 1 |  |
| 2 | 1945 | Parabellum shoes (size 5) | 5 | 1 |  |
| 3 | 1946 | Parabellum shoes (size 6) | 6 | 1 |  |
| 4 | 1947 | Parabellum shoes (size 7) | 7 | 1 |  |
| 5 | 1948 | Parabellum shoes (size 8) | 8 | 1 |  |
| 6 | 1949 | Parabellum shoes (size 9) | 9 | 1 |  |
| 7 | 1941 | Parabellum shoes (size 10) | 10 | 1 |  |
| 8 | 1942 | Parabellum shoes (size 11) | 11 | 1 |  |
| 9 | 1943 | Parabellum shoes (size 12) | 12 | 1 |  |
| 10 | xxxx | Parabellum shoes (size 3) | 3 | 1 |  |
| 11 | xxxx | Boots, Combat, Unisex (size 3 | 3 | 1 |  |
| 12 | 4581 | Boots, Combat, Unisex (size 4) | 4 | 1 |  |
| 13 | 4582 | Boots, Combat, Unisex (size 5) | 5 | 1 |  |
| 14 | 4583 | Boots, Combat, Unisex (size 6) | 6 | 1 |  |
| 15 | 4584 | Boots, Combat, Unisex (size 7) | 7 | 1 |  |
| 16 | 4585 | Boots, Combat, Unisex (size 8) | 8 | 1 |  |
| 17 | 4586 | Boots, Combat, Unisex (size 9) | 9 | 1 |  |
| 18 | 4587 | Boots, Combat, Unisex (size 10) | 10 | 1 |  |
| 19 | 4588 | Boots, Combat, Unisex (size 11) | 11 | 1 |  |
| 20 | 4589 | Boots, Combat, Unisex (size 12) | 12 | 1 |  |

Material group: SECURITY RAINWEAR: JACKET AND TROUSER

| Item | Sap No. | Sap Material Name | Sap Short Specification |
| --- | --- | --- | --- |
| 78 | 11386 | Security rainwear jacket and a trouser small | Security rainwear jacket and a trouser small, Compliance with Specification CP_TSSPEC_352 |
| 79 | 1971 | Security rainwear jacket and a trouser medium | Security rainwear jacket and a trouser medium Compliance with Specification CP_TSSPEC_352 |
| 80 | 1972 | Security rainwear jacket and a trouser large | Security rainwear jacket and a trouser large Compliance with Specification CP_TSSPEC_352 |
| 81 | 1974 | Security rainwear jacket and a trouser X large | Security rainwear jacket and a trouser X large Compliance with Specification CP_TSSPEC_ 352 |
| 82 | 1975 | Security rainwear jacket and a trouser 2X large | Security rainwear jacket and a trouser 2X large Compliance with Specification CP_TSSPEC _352 |
| 83 | 1976 | Security rainwear jacket and a trouser 3X large | Security rainwear jacket and a trouser 352 large Compliance with Specification CP_TSSPEC_ 352 |

BOQ

| Item | SAP # | SAP Short Description | SIZE | QTY | UNIT PRICE |
| --- | --- | --- | --- | --- | --- |
| 1 | 11386 | Security rainwear jacket and a trouser small | S | 1 |  |
| 2 | 1971 | Security rainwear jacket and a trouser medium | M | 1 |  |
| 3 | 1972 | Security rainwear jacket and a trouser large | L | 1 |  |
| 4 | 1974 | Security rainwear jacket and a trouser X large | XL | 1 |  |
| 5 | 1975 | Security rainwear jacket and a trouser 2X large | 2XL | 1 |  |
| 6 | 1976 | Security rainwear jacket and a trouser 3X large | 3XL | 1 |  |

ANNEXURES C, D, & E AS PER ATTACHMENTS