- Pipette set specification

- Set of 4 pipettes

  - 0.5 – 10 µL

  - 2 – 20 µL

  - 20 – 200 µL

  - 100 – 1000 µL

- 1 x Pipette stand

- 1 x Pipette tips box for each size, autoclavable (4 boxes in total)

- 1 x Pack of pipette tips for each size, autoclavable (4 packs in total)

Picture attached for guideline only.