SPECIFICATIONS FOR REPAIR OF SEWERAGE PLANT: ARC-PHP

- Clean all the manholes and sewer line

- Diagnose the requirement to restore operational requirements.

- Supply and Replace the stolen gate valves

- Restore operational functionality to entire plant systems.

- Repair all leaks or even corroded galvanized pipes

NB. All   the materials used must be SABS approved.

Use the same original dimeter size of the pipes.

There   must be a one-year guarantee

24/05/22