{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["PHP MAIN CAMPUS","VREDENBURG "],"read":"whole","date_system":"1900"}

{"sheet":"PHP MAIN CAMPUS","index":0,"n_rows":89,"n_cols":13,"rows_kept":89}
[]
[null,null,"ARC-PHP ROODEPLAAT FIRE EXTINGUISHERS"]
[]
["NUMBER","ASSET NUMBER","ASSET DISCRIPTION","ASSET LOCATION","FIRE EXTINGUISHER TYPE\nDCP / CO2 / W/ STP","FIRE EXTINGUISHER MASS / VOLUME ","FIRE EXTINGUISHER SERVICED\n►► DATE OF SERVICE","DATE OF NEXT SERVICE \n(ONE YEAR FROM PREVIOUS SERVICE DATE)","PRESSURE TEST PERFUMED\nYES / NO","DATE OF NEXT PRESSURE TEST\n(5 YEARS FROM LAST PRESSURE TEST)","FIRE EXTINGUISHER REFILLED\nYES / NO","FIRE EXTINGUISHER CONDEMNED\nYES / NO","FIRE EXTINGUISHER REPLACED\nYES / NO \n►►IF YES PLEASE PROVIDE FULL DETAILS"]
[1,"FAF000033997","FIRE EXTINGUISHER","Block A Admin BLOCK A31 LIBRARY"]
[2,"FAF000034980","FIRE EXTINGUISHER","BLOCK G STORE ROOM BLOCK G6 STORE"]
[3,"FAF000036196","FIRE EXTINGUISHER","Block A admin BLOCK A90 Office"]
[4,"FAF000036197","FIRE EXTINGUISHER","Block A Admin BLOCK A CONTROL ROOM"]
[5,"FAF000036198","FIRE EXTINGUISHER","Reitondale Security"]
[6,"FAF000036199","FIRE EXTINGUISHER","Block M Quarantine east passage"]
[7,"FAF000036200","FIRE EXTINGUISHER","Block A - Admin Store room A 5"]
[8,"FAF000036201","FIRE EXTINGUISHER","Block A - Admin Store room A 5"]
[9,"FAF000036202","FIRE EXTINGUISHER","Block M Weeds 387"]
[10,"FAF000036203","FIRE EXTINGUISHER","Block A - Admin Store room A 5"]
[11,"FAF000036204","FIRE EXTINGUISHER","RDP L14"]
[12,"FAF000036205","FIRE EXTINGUISHER","RDP L25"]
[13,"FAF000036206","FIRE EXTINGUISHER","RDP L30"]
[14,"FAF000036207","FIRE EXTINGUISHER","Block M Lab corridor block-M"]
[15,"FAF000036208","FIRE EXTINGUISHER","Block M Lab corridor block-M"]
[16,"FAF000036209","FIRE EXTINGUISHER","Block M Lab corridor block-M"]
[17,"FAF000036239","FIRE EXTINGUISHER","RDP K19"]
[18,"FAF000036240","FIRE EXTINGUISHER","Block J PRIU Annex spray room J14"]
[19,"FAF000036241","FIRE EXTINGUISHER","BLOCK K ELECTRON MICROSPY BLOCK K2 OFFICE"]
[20,"FAF000036242","FIRE EXTINGUISHER","BLOCK K ELECTRON MICROSPY BLOCK K7 LAB"]
[21,"FAF000036243","FIRE EXTINGUISHER","BLOCK K ELECTRON MICROSPY BLOCK K12 STORE ROOM"]
[22,"FAF000036244","FIRE EXTINGUISHER","BLOCK K ELECTRON MICROSPY Passage K1"]
[23,"FAF000036245","FIRE EXTINGUISHER","BLOCK K ELECTRON MICROSPY BLOCK K9 LAB"]
[24,"FAF000036246","FIRE EXTINGUISHER","BLOCK K ELECTRON MICROSPY BLOCK K11 LAB"]
[25,"FAF000036247","FIRE EXTINGUISHER","BLOCK K ELECTRON MICROSPY BLOCK K11 LAB"]
[26,"FAF000036248","FIRE EXTINGUISHER","BLOCK K ELECTRON MICROSPY Passage K1"]
[27,"FAF000036249","FIRE EXTINGUISHER","BLOCK K ELECTRON MICROSPY BLOCK K8 LAB"]
[28,"FAF000036250","FIRE EXTINGUISHER","BLOCK K ELECTRON MICROSPY BLOCK K13 OFFICE"]
[29,"FAF000036251","FIRE EXTINGUISHER","BLOCK K ELECTRON MICROSPY BLOCK K9 LAB"]
[30,"FAF000036739","FIRE EXTINGUISHER","RDP A101"]
[31,"FAF000036740","FIRE EXTINGUISHER","RDP A54"]
[32,"FAF000036741","FIRE EXTINGUISHER","RDP L05"]
[33,"FAF000036742","FIRE EXTINGUISHER","Block A Admin BLOCK A31 LIBRARY"]
[34,"FAF000036743","FIRE EXTINGUISHER","RPP HUIS 1"]
[35,"FAF000036744","FIRE EXTINGUISHER","RDP A4"]
[36,"FAF000036745","FIRE EXTINGUISHER","RDP A03"]
[37,"FAF000036746","FIRE EXTINGUISHER","RDP L40"]
[38,"FAF000036747","FIRE EXTINGUISHER","Block A Admin BLOC A57"]
[39,"FAF000036748","FIRE EXTINGUISHER","BLOCK A ENTOMOLOGY BLOCK A10 TYPE COLLECTION"]
[40,"FAF000036749","FIRE EXTINGUISHER","BLOCK A ENTOMOLOGY BLOCK A10 TYPE COLLECTION"]
[41,"FAF000036750","FIRE EXTINGUISHER","RDP A90"]
[42,"FAF000036751","FIRE EXTINGUISHER","RDP C1A"]
[43,"FAF000036752","FIRE EXTINGUISHER","RDP C1A"]
[44,"FAF000036753","FIRE EXTINGUISHER","Block X  Office X24"]
[45,"FAF000036754","FIRE EXTINGUISHER","RDP C42"]
[46,"FAF000036755","FIRE EXTINGUISHER","Block C Pesticide BLOCK C34+C39 PREPARATION LAB"]
[47,"FAF000036756","FIRE EXTINGUISHER","Block C Pesticide BLOCK C34+C39 PREPARATION LAB"]
[48,"FAF000036757","FIRE EXTINGUISHER","RDP C20"]
[49,"FAF000036758","FIRE EXTINGUISHER","Block A Admin BLOCK A31 LIBRARY"]
[50,"FAF000036760","FIRE EXTINGUISHER","RDP I-9"]
[51,"FAF000036761","FIRE EXTINGUISHER","RDP C31"]
[52,"FAF000036762","FIRE EXTINGUISHER","RPP HUIS 2"]
[53,"FAF000036763","FIRE EXTINGUISHER","RDP C1B"]
[54,"FAF000037484","FIRE EXTINGUISHER C02 2KG","Block A Admin BLOCK A90 OFFICE","CO2",2]
[55,"FAF000037485","FIRE EXTINGUISHER C02 2KG","Block A Admin BLOCK A80 REGISTRY","CO2",2]
[56,"FAF000037486","FIRE EXTINGUISHER C02 2KG","Block A Admin BLOCK A RECEPTION","CO2",2]
[57,"FAF000037487","FIRE EXTINGUISHER C02 2KG","Block A Fungal BLOCK A72 LAB","CO2",2]
[58,"FAF000037488","FIRE EXTINGUISHER ABC 4 5KG","RDP A94","DCP",4.5]
[59,"FAF000037489","FIRE EXTINGUISHER ABC 4 5KG","RDP A94","DCP",4.5]
[60,"FAF000037490","FIRE EXTINGUISHER C02 5KG","Roodeplaat Passage Fire Extenguisher","CO2",5]
[61,"FAF000037530","FIRE EXTINGUISHER","RTD","DCP"]
[62,"FAF000037591","FIRE EXTINGUISHER: 6 kB DP  90","Roodeplaat Passage Fire Extenguisher","DCP",6]
[63,"FAF000037592","FIRE EXTINGUISHER: 6 kB DP  90","Roodeplaat Passage Fire Extenguisher","DCP",6]
[64,"FAF000037593","FIRE EXTINGUISHER: 6 kB DP  90","Roodeplaat Passage Fire Extenguisher","DCP",6]
[65,"FAF000037594","FIRE extinguisher: 5 kg CO2","Roodeplaat Passage Fire Extenguisher","CO2",5]
[66,"FAF000037595","FIRE extinguisher: 5 kg CO2","Roodeplaat Passage Fire Extenguisher","CO2",5]
[67,"FAF000037596","FIRE extinguisher: 5 kg CO2","Roodeplaat Passage Fire Extenguisher","CO2",5]
[68,"FAF000037597","FIRE extinguisher: 5 kg CO2","Roodeplaat Passage Fire Extenguisher","CO2",5]
[69,"FAF000037598","FIRE extinguisher: 5 kg CO2","Roodeplaat Passage Fire Extenguisher","CO2",5]
[70,"FAF000037630","FIRE extinguishers DCP 6kg","Block A Admin BLOCK A RECEPTION","DCP",6]
[71,"FAF000037631","FIRE extinguishers DCP 6kg","Block A Admin BLOCK A52 OFFICE","DCP",6]
[72,"FAF000037632","FIRE extinguishers DCP 6kg","Block A Fungal BLOCK A PASSEGE CORRIDOR","DCP",6]
[73,"FAF000037633","FIRE extinguishers DCP 6kg","Block A Fungal BLOCK A PASSEGE CORRIDOR","DCP",6]
[74,"FAF000037634","FIRE extinguishers DCP 6kg","Roodeplaat Passage Fire Extenguisher","DCP",6]
[75,"FAF000037635","FIRE extinguishers DCP 6kg","Roodeplaat Passage Fire Extenguisher","DCP",6]
[76,"FAF000037646","FIRE EXTINGUISHER","RTD","DCP",6]
[77,"FAF000037652","FIRE EXTINGUISHER","RTD","DCP",6]
[78,"FAF000037653","FIRE EXTINGUISHER POWDER4.5kg","STB ","DCP",6]
[79,"FAF000037654","FIRE EXTINGUISHER POWDER4.5kg","VRD-F01","DCP",6]
[80,"FAF000037655","FIRE EXTINGUISHER POWDER4.5kg","VRD-F01","DCP",6]
[81,"FAF000037656","FIRE EXTINGUISHER POWDER4.5kg","STB ","DCP",6]
[82,"FAF000037672","FIRE EXTINGUISHER","Roodeplaat Passage Fire Extenguisher"]
[83,"FAF000037673","CABINET FOR FIRE EXTINGUISHER","Roodeplaat Passage Fire Extenguisher"]
[84,"FAF000038333","FIRE EXTINGUISHER","RDP A72","DCP",6]
[85,"FAF000038336","FIRE EXTINGUISHER","RDP A94","DCP",6]

{"sheet":"VREDENBURG ","index":1,"n_rows":40,"n_cols":17,"rows_kept":40,"merged":[[0,1,0,15],[1,1,1,3],[1,4,1,10],[1,11,1,15]]}
[null,"FIRE FIGHTING EQUIPMENT"]
[null,"AREA:  BHD - Stellenbosch PPRI",null,null,"INSPECTOR:  Samson Booysen",{"$nulls":6},"YEAR:   "]
["Number ","ID NO","LOCATION/TYPE","TYPE","JAN","FEB","MAR","APR","MAY","JUN","JUL","AUG","SEP","OCT","NOV","DEC","COMMENTS"]
[1,30,"Garage/Farm-Dry Powder 13.5kg","DCP","Yes","Yes"]
[2,31,"Farm/Autoclave-Dry Powder 13.5kg","DCP","Yes","Yes"]
[3,32,"Farm/Toilet-Dry Powder 13.9kg","DCP","Yes","Yes"]
[4,33,"Farm/Tea Room-Dry Powder-6kg","DCP","Yes","Yes"]
[5,34,"Dap/Office-Dry Powder-4kg","DCP","Yes","Yes"]
[6,35,"Dap/Office-Firesauce",null,"Yes","Yes"]
[7,36,"Library/Dry Powder-13.6kg","DCP","Yes","Yes"]
[8,37,"Magasyn/Dry Powder-14kg","DCP","Yes","Yes"]
[9,38,"Magasyn/Dry Powder-14kg","DCP","Yes","Yes"]
[10,39,"Interior Court Yard/Firesauce",null,"Yes","Yes"]
[11,40,"Conference Room/Dry Powder-3.7kg","DCP","Yes","Yes"]
[12,41,"Conference Room/Dry Powder-3.7kg","DCP","Yes","Yes"]
[13,42,"Conference Room/Dry Powder-3.7kg","DCP","Yes","Yes"]
[14,43,"Conference Room/Dry Powder-3.7kg","DCP","Yes","Yes"]
[15,44,"Conference Room/Dry Powder-3.7kg","DCP","Yes","Yes"]
[16,45,"Aisle Reception/Co2 - 8.6kg","CO2","Yes","Yes"]
[17,46,"Server Room/Co2 - 10kg","CO2","Yes","Yes"]
[18,47,"Aisle Reception/Dry Powder-8.2kg","DCP","Yes","Yes"]
[19,48,"Dining Room/Dry Powder-14kg","DCP","Yes","Yes"]
[20,49,"Kitchen-Admin/Dry Powder-8kg","DCP","Yes","Yes"]
[21,50,"Kitchen-Admin/Firesauce",null,"Yes","Yes"]
[22,61,"Carport-Dam/Dry Powder","DCP","Yes","Yes"]
[23,62,"Workshop-Carport/Dry Powder","DCP","Yes","Yes"]
[24,63,"Workshop-Carport/Dry Powder","DCP","Yes","Yes"]
[25,64,"Workshop-Carport/Dry Powder","DCP","Yes","Yes"]
[26,65,"Petrolroom/Dry Powder","DCP","Yes","Yes"]
[27,66,"Workshop/Firesauce",null,"Yes","Yes"]
[28,67,"Workshop-Garage / Dry Powder - 14kg","DCP","Yes","Yes"]
[29,68,"Bees - Bakkie / Dry Powder - 3.7kg","DCP","Yes","Yes"]
[30,69,"Ikon / Dry Powder - 3.7kg","DCP","Yes","Yes"]
[31,70,"4x4 / Dry Powder - 3.7kg","DCP","Yes","Yes"]
[32,71,"Bakkie - 40 / Dry Powder - 3.7kg","DCP","Yes","Yes"]
[33,72,"Condor / Dry Powder - 3.7kg","DCP","Yes","Yes"]
[34,73,"Ranger / Dry Powder - 3.7kg","DCP","Yes","Yes"]
[35,74,"IGKW - Bakkie / Dry Powder - 3.7kg","DCP","Yes","Yes"]
[36,75,"Venture / Dry Powder - 3.7kg","DCP","Yes","Yes"]
[37,76,"Polo / Dry Powder - 3.7kg","DCP","Yes","Yes"]