{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":20,"n_cols":3,"rows_kept":20}
[null,"What","Quantity"]
[1,"63mm PVC Female thread ball valve",1]
[2,"Saddle clamp, 63mm x 20mm",10]
[3,"Nylon insert elbow 20mm",10]
[4,"Nylon male adaptor 20mm",10]
[5,"Blue PVC pipe, 63mm x 6m",10]
[6,"PVC pipe glue 500ml",2]
[7,"Black polypipe LDPE, class 3, 20mm x 100m roll",3]
[8,"Black polypipe LDPE, class 3, 15mm x 100m roll",1]
[9,"Nylon insert reducing coupler 20mm x 15mm",10]
[10,"Gulf micro head, blue swivel, brown nozzle & delivery, 30L/H",150]
[11,"Micro flex tube 600mm + barb",150]
[12,"400mm Peg",150]
[13,"63mm PVC elbow",6]
[14,"63mm PVC tee",2]
[15,"PVC male adaptor 63mm",2]
[16,"Thread tape",10]
[17,"63mm PVC end cap",1]
[18,"PVC 75mm to 63mm reducer",1]
[19,"Delivery to Addo EC",1]