The Bill of Quantities below is based on estimated quantities for the purpose of evaluation of price and are not final estimated quantities. Tenderer(s) will be appointed on rates only

| Item No. | Description |  | YEAR 1 |  |  | YEAR 2 |  |  | YEAR 3 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1.00 | SECTION A: TECHNICALASSESSMENT AND TRAINING | Unit | Quantity | Rate | Amount | Quantity | Rate | Amount | Quantity | Rate | Amount |
| 1.10 | Site assessments: Purification treatment process configurations; storage facility, Hazard material handling compliance and Compliance report with recommendations. Training for Chlorine and Chmical Handling. | Sum | 1 |  |  |  |  |  |  |  |  |
| SUBTOTAL TO PRICE SUMMARY SECTION A |  |  |  |  |  |  |  |  |  |  |  |
|  | Supply and deliver of the following: |  |  |  |  |  |  |  |  |  |  |
|  | SECTION B: AREA SOUTH: WATER AND WASTEWATER WATER TREATMENT WORKS: CHLORINE GAS |  |  |  |  |  |  |  |  |  |  |
| 2.00 | Bhobhoyi WTW |  |  |  |  |  |  |  |  |  |  |
| 2.10 | Delivery (Radius) | Km | 1 |  |  |  |  |  |  |  |  |
| 2.11 | Rentals for 36 months | Month | 1 |  |  |  |  |  |  |  |  |
| 2.12 | One-ton chlorine cylinders | Ton | 1 |  |  |  |  |  |  |  |  |
| 2.13 | 70 kg chlorine cylinders | Kg | 70 |  |  |  |  |  |  |  |  |
| 3.00 | Umbango WWTW |  |  |  |  |  |  |  |  |  |  |
| 3.10 | Delivery | Km |  |  |  |  |  |  |  |  |  |
| 3.11 | Rentals for 36 months | Month | 1 |  |  |  |  |  |  |  |  |
| 3.12 | 70 kg chlorine cylinders | Cylinder | 1 |  |  |  |  |  |  |  |  |
| 3.13 | Free chlorine reagent | Pk100 | 20 |  |  |  |  |  |  |  |  |
| 3.14 | Total chlorine reagent | Pk100 | 20 |  |  |  |  |  |  |  |  |
| 3.15 | Biological Enzymes | Ton | 3 |  |  |  |  |  |  |  |  |
| 4.00 | Margate WWTW |  |  |  |  |  |  |  |  |  |  |
| 4.10 | Delivery | Km | 1 |  |  |  |  |  |  |  |  |
| 4.11 | Rentals for 36 months | Month | 1 |  |  |  |  |  |  |  |  |
| 4.12 | 70 kg chlorine cylinders | Cylinder | 1 |  |  |  |  |  |  |  |  |
| 4.13 | Biological Enzymes | Ton | 1 |  |  |  |  |  |  |  |  |
| 5.00 | Ramsgate WWTW |  |  |  |  |  |  |  |  |  |  |
| 5.10 | Delivery | Km | 1 |  |  |  |  |  |  |  |  |
| 5.11 | Rentals for 36 months | Month | 1 |  |  |  |  |  |  |  |  |
| 5.12 | 70 kg chlorine cylinders | Cylinder | 1 |  |  |  |  |  |  |  |  |
| 6.00 | Gamalakhe WWTW |  |  |  |  |  |  |  |  |  |  |
| 6.10 | Delivery | Km | 1 |  |  |  |  |  |  |  |  |
| 6.11 | Rentals for 36 months | Month | 1 |  |  |  |  |  |  |  |  |
| 6.12 | 70 kg chlorine cylinders | Cylinder | 1 |  |  |  |  |  |  |  |  |
| SUBTOTAL TO PRICE SUMMARY SECTION B |  |  |  |  |  |  |  |  |  |  |  |
|  | SECTION C: AREA SOUTH: WATER AND WASTEWATER WATER TREATMENT WORKS: SODIUM HYPOCHLORITE |  |  |  |  |  |  |  |  |  |  |
| 7.00 | Bhobhoyi WTW |  |  |  |  |  |  |  |  |  |  |
| 7.10 | Delivery | Km | 1 |  |  |  |  |  |  |  |  |
| 7.11 | Sodium Hypochlorite (>12%m/v) | Ton | 1 |  |  |  |  |  |  |  |  |
| 8.00 | Kwahlongwa WTW |  |  |  |  |  |  |  |  |  |  |
| 8.10 | Delivery | Km | 1 |  |  |  |  |  |  |  |  |
| 8.11 | Sodium Hypochlorite (>12%m/v) | Ton | 1 |  |  |  |  |  |  |  |  |
| 9.00 | Shelly Beach WWTW |  |  |  |  |  |  |  |  |  |  |
| 9.10 | Delivery | Km | 1 |  |  |  |  |  |  |  |  |
| 9.11 | Sodium Hypochlorite (>12%m/v) | Ton | 1 |  |  |  |  |  |  |  |  |
| 10.00 | Melville WWTW |  |  |  |  |  |  |  |  |  |  |
| 10.10 | Delivery | Km | 1 |  |  |  |  |  |  |  |  |
| 10.11 | Sodium Hypochlorite (>12%m/v) | Ton | 1 |  |  |  |  |  |  |  |  |
| 11.00 | Murchison WWTW |  |  |  |  |  |  |  |  |  |  |
| 11.10 | Delivery | Km | 1 |  |  |  |  |  |  |  |  |
| 11.11 | Sodium Hypochlorite (>12%m/v) | Ton | 1 |  |  |  |  |  |  |  |  |
| 12.00 | Palm Beach WWTW + (South broom WWTW) |  |  |  |  |  |  |  |  |  |  |
| 12.10 | Delivery to Palm Beach WWTW | Km | 1 |  |  |  |  |  |  |  |  |
| 12.11 | Sodium Hypochlorite (>12%m/v) | Ton | 1 |  |  |  |  |  |  |  |  |
| 13:00 | Red desert WWTW + (Eden Wilds WWTW) |  |  |  |  |  |  |  |  |  |  |
| 13.10 | Delivery to Red Desert WWTW | Km | 1 |  |  |  |  |  |  |  |  |
| 13.11 | Sodium Hypochlorite (>12%m/v) | Ton | 1 |  |  |  |  |  |  |  |  |
| SUBTOTAL TO PRICE SUMMARY SECTION C |  |  |  |  |  |  |  |  |  |  |  |
|  | SECTION D: AREA NORTH: WATER AND WASTEWATER WATER TREATMENT WORKS: CHLORINE GAS |  |  |  |  |  |  |  |  |  |  |
| 14.00 | Scottburgh WWTW |  |  |  |  |  |  |  |  |  |  |
| 14.10 | Delivery | Km | 1 |  |  |  |  |  |  |  |  |
| 14.11 | Rentals for 36 months | Month | 1 |  |  |  |  |  |  |  |  |
| 14.12 | 70 kg chlorine cylinders | Cylinder | 1 |  |  |  |  |  |  |  |  |
| 14.13 | Free chlorine reagent | Pk100 | 20 |  |  |  |  |  |  |  |  |
| 14.14 | Total chlorine reagent | Pk100 | 20 |  |  |  |  |  |  |  |  |
| 15.00 | Umzinto WWTW |  |  |  |  |  |  |  |  |  |  |
| 15.10 | Delivery | km |  |  |  |  |  |  |  |  |  |
| 15.11 | Rentals for 36 months | Month | 1 |  |  |  |  |  |  |  |  |
| 15.12 | 70 kg chlorine cylinders | kg | 56 |  |  |  |  |  |  |  |  |
| 16.00 | Pennington WWTW |  |  |  |  |  |  |  |  |  |  |
| 16.10 | Delivery | km | 1 |  |  |  |  |  |  |  |  |
| 16.11 | Rentals for 36 months | Month | 1 |  |  |  |  |  |  |  |  |
| 16.12 | 70 kg chlorine cylinders | Cylinder | 1 |  |  |  |  |  |  |  |  |
| SUBTOTAL TO PRICE SUMMARY SECTION D |  |  |  |  |  |  |  |  |  |  |  |
|  | SECTION E: AREA NORTH: WATER AND WASTEWATER WATER TREATMENT WORKS: SODIUM HYPOCHLORITE |  |  |  |  |  |  |  |  |  |  |
| 17.00 | Vulamehlo WTW |  |  |  |  |  |  |  |  |  |  |
| 17.10 | Delivery | Km | 1 |  |  |  |  |  |  |  |  |
| 17.11 | Sodium Hypochlorite (>12%m/v) | Ton | 1 |  |  |  |  |  |  |  |  |
| 17.12 | Free chlorine reagent | Pk100 | 20 |  |  |  |  |  |  |  |  |
| 17.13 | Total chlorine reagent | Pk100 | 20 |  |  |  |  |  |  |  |  |
| 18.00 | Kwalembe WTW + (Kwandelu WTW + Hlokozi WTW) |  |  |  |  |  |  |  |  |  |  |
| 18.10 | Delivery to Kwalembe WTW | km | 1 |  |  |  |  |  |  |  |  |
| 18.11 | Sodium Hypochlorite (>12%m/v) | Ton | 1 |  |  |  |  |  |  |  |  |
| 19.00 | Malangeni WWTW |  |  |  |  |  |  |  |  |  |  |
| 19.10 | Delivery to Kwalembe WTW | km | 1 |  |  |  |  |  |  |  |  |
| 19.11 | Sodium Hypochlorite (>12%m/v) | Ton | 1 |  |  |  |  |  |  |  |  |
| SUBTOTAL TO PRICE SUMMARY SECTION E |  |  |  |  |  |  |  |  |  |  |  |
|  | SECTION F: AREA SOUTH WEST: WATER AND WASTEWATER WATER TREATMENT WORKS: CHLORINE GAS |  |  |  |  |  |  |  |  |  |  |
| 20.00 | Umtavuna WTW |  |  |  |  |  |  |  |  |  |  |
| 20.10 | Delivery | km | 1 |  |  |  |  |  |  |  |  |
| 20.11 | Rentals for 36 months | Month | 1 |  |  |  |  |  |  |  |  |
| 20.12 | One-ton chlorine cylinders | ton | 1 |  |  |  |  |  |  |  |  |
| 20.13 | 70 kg chlorine cylinders | Cylinder | 1 |  |  |  |  |  |  |  |  |
| SUBTOTAL TO PRICE SUMMARY SECTION F |  |  |  |  |  |  |  |  |  |  |  |
|  | SECTION G: AREA SOUTH WEST: WATER AND WASTEWATER WATER TREATMENT WORKS: SODIUM HYPOCHLORITE |  |  |  |  |  |  |  |  |  |  |
| 21.00 | Harding WWTW |  |  |  |  |  |  |  |  |  |  |
| 21.10 | Delivery | Km | 1 |  |  |  |  |  |  |  |  |
| 21.11 | Sodium Hypochlorite (>12%m/v) | Ton | 1 |  |  |  |  |  |  |  |  |
| 22.00 | Harding WTW +(Kwambotho WWTW + Kwafodo WWTW + Kwanyuswa Phase 1 &2) |  |  |  |  |  |  |  |  |  |  |
| 22.10 | Delivery | km | 1 |  |  |  |  |  |  |  |  |
| 22.11 | Sodium Hypochlorite (>12%m/v) | Ton | 1 |  |  |  |  |  |  |  |  |
| 22.00 | Weza WTW |  |  |  |  |  |  |  |  |  |  |
| 22.10 | Delivery | km | 1 |  |  |  |  |  |  |  |  |
| 22.11 | Sodium Hypochlorite (>12%m/v) | Ton | 1 |  |  |  |  |  |  |  |  |
| SUBTOTAL TO PRICE SUMMARY SECTION G |  |  |  |  |  |  |  |  |  |  |  |
|  | SECTION H: WHOLE DISTRICT: POWERED AND GRANULAR ACTIVATED CARBON, POTASSIUM PERMANGANATE, WHITE LIME, CHLORINATED LIME, CALCIUM HYPOCHLORITE (TABLETS). |  |  |  |  |  |  |  |  |  |  |
| 23.00 | Bhobhoyi WTW |  |  |  |  |  |  |  |  |  |  |
| 23.10 | Delivery | km | 1 |  |  |  |  |  |  |  |  |
| 23.11 | Powered activated carbon | kg | 1 |  |  |  |  |  |  |  |  |
| 23.12 | Granular activated carbon | kg | 1 |  |  |  |  |  |  |  |  |
| 23.13 | Potassium Permanganate | kg | 1 |  |  |  |  |  |  |  |  |
| 23.14 | White lime | kg | 1 |  |  |  |  |  |  |  |  |
| 23.15 | Chlorinated lime | kg | 1 |  |  |  |  |  |  |  |  |
| 23.16 | Calcium hypochlorite (Tablets) | kg | 1 |  |  |  |  |  |  |  |  |
| 23.17 | Free chlorine reagent | Pk100 | 50 |  |  |  |  |  |  |  |  |
| 23.18 | Total chlorine reagent | Pk100 | 50 |  |  |  |  |  |  |  |  |
| 24.00 | Umthavuna WTW |  |  |  |  |  |  |  |  |  |  |
| 24.10 | Delivery | km | 1 |  |  |  |  |  |  |  |  |
| 24.11 | Powered activated carbon | kg | 1 |  |  |  |  |  |  |  |  |
| 24.12 | Granular activated carbon | kg | 1 |  |  |  |  |  |  |  |  |
| 24.13 | Potassium Permanganate | kg | 1 |  |  |  |  |  |  |  |  |
| 24.14 | White lime | kg | 1 |  |  |  |  |  |  |  |  |
| 24.15 | Chlorinated lime | kg | 1 |  |  |  |  |  |  |  |  |
| 24.16 | Calcium hypochlorite (Tablets) | kg | 1 |  |  |  |  |  |  |  |  |
| 24.17 | Free chlorine reagent | Pk100 | 20 |  |  |  |  |  |  |  |  |
| 24.18 | Total chlorine reagent | Pk100 | 20 |  |  |  |  |  |  |  |  |
| SUBTOTAL TO PRICE SUMMARY SECTION H |  |  |  |  |  |  |  |  |  |  |  |
| 25.00 | SECTION I: PROVISIONAL SERVICES BY MAIN THE MAIN CONTRACTOR: AUXILLARY AND CHEMICAL HANDLING EQUIPMENT |  |  |  |  |  |  |  |  |  |  |
| 25.11 | 10 mm Cadmium plated copper flexible connection pipelines | No. | 1 |  |  |  |  |  |  |  |  |
| 25.12 | Electric heated coil catch pot (heated liquid trap) with thermostat | No. | 1 |  |  |  |  |  |  |  |  |
| 25.13 | ≤4 kg/h vacuum changeover switch | No. | 1 |  |  |  |  |  |  |  |  |
| 25.14 | Chlorine resistant vacuum pressure gauge | No. | 1 |  |  |  |  |  |  |  |  |
| 25.15 | Dosing regulator with 230V servo motor and 4 – 20 mA signal input | No. | 1 |  |  |  |  |  |  |  |  |
| 25.16 | ¾’’ ≤ 4 kg/h vacuum regulator | No. | 1 |  |  |  |  |  |  |  |  |
| 25.17 | ≤ 4 kg/h vacuum inductor (0 – 7 bar) | No. | 1 |  |  |  |  |  |  |  |  |
| 25.18 | Cylinder lifting mechanism | No. | 1 |  |  |  |  |  |  |  |  |
| 25.19 | Supply Potable water and wastewater quality lab analyzers set (pH, Chlorine, Dissolved Oxygen, Conductivity Meters) | No. | 1 |  |  |  |  |  |  |  |  |
| 25.20 | UV resistance sodium hypochlorite storage tanks | m3 | 1 |  |  |  |  |  |  |  |  |
| 25.21 | Service for laboratory analyzers: pH, Chlorine, Dissolved Oxygen, Conductivity Meters. | No. | 1 |  |  |  |  |  |  |  |  |
| SUBTOTAL TO PRICE SUMMARY SECTION I |  |  |  |  |  |  |  |  |  |  |  |
| 26.00 | Total from SECTION A |  |  |  |  |  |  |  |  |  |  |
| 27.00 | Total from SECTION B |  |  |  |  |  |  |  |  |  |  |
| 28.00 | Total from SECTION C |  |  |  |  |  |  |  |  |  |  |
| 29.00 | Total from SECTION D |  |  |  |  |  |  |  |  |  |  |
| 30.00 | Total from SECTION E |  |  |  |  |  |  |  |  |  |  |
| 31.00 | Total from SECTION F |  |  |  |  |  |  |  |  |  |  |
| 32.00 | Total from SECTION G |  |  |  |  |  |  |  |  |  |  |
| 33.00 | Total from SECTION H |  |  |  |  |  |  |  |  |  |  |
| 34.00 | Total from SECTION I |  |  |  |  |  |  |  |  |  |  |
| TOTAL TO FORM OF TENDER |  |  |  |  |  |  |  |  |  |  |  |

Rates must be provided for all three years