{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Training _Tools & Spares","11kV_33kV KIOSK CB PS5","TOE 11kV_33KV CB"],"not_rendered":{"external_links":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Training _Tools & Spares","index":0,"n_rows":178,"n_cols":16,"rows_kept":178,"merged":[[8,9,10,9],[8,10,10,10],[8,11,10,11],[8,12,10,12],[8,13,10,13],[8,14,10,14],[8,15,10,15],[54,9,56,9],[54,10,56,10],[54,11,56,11],[54,12,56,12],[54,13,56,13],[54,14,56,14],[54,15,56,15],[98,9,100,9],[98,10,100,10],[98,11,100,11],[98,12,100,12],[98,13,100,13],[98,14,100,14],[98,15,100,15],[144,9,146,9],[144,10,146,10],[144,11,146,11],[144,12,146,12],[144,13,146,13],[144,14,146,14],[144,15,146,15]],"flags":["formulas_cached_only"]}
["ENQUIRY NUMBER : CORP 5656",{"$nulls":3},"                                      PRICES INCLUSIVE OF VAT (VALUE ADDED TAX)"]
[]
[" PRICE SCHEDULE : C (PS5) : 11kV to 33kV  Circuit Breaker Tools, Spares, Control Voltage Conversion Kit, Training (levels 1, 2, 3 &4)",{"$nulls":13},"SUPPLIER:"]
[]
[" PRICE SCHEDULE FOR GOODS MANUFACTURED IN AND OUTSIDE THE R.S.A.  PRICE PER UNIT FOR SUPPLY, DELIVERY AND ERECTION / INSTALLATION.  ALL AMOUNTS EXPRESSED IN RANDS"]
[]
[""]
[" REMARKS",{"$nulls":5},"                       ITEM NO",null,null,1,2,3,4,5,6,7]
[" *Eskom may effect this insurance which includes war",{"$nulls":5},"                  ITEM DESCRIPTION",null,null,"Training Level 1 in Group of 50","Training Level 2 in Group of 50","Training Level 3 in Group of 50","Training Level 4 in Group of 10","Tools & Spares","Tools & Spares","Tools & Spares"]
["   risk insurance"]
["**Please specify"]
["SUPPLIED FROM OUTSIDE R.S.A.:",{"$nulls":7},"(In ZAR)"]
["1: F.O.B. PRICE",{"$nulls":7},"(In ZAR)"]
["2: COST OF SEA  FREIGHT",{"$nulls":7},"(In ZAR)"]
["3: COST OF AIR  FREIGHT",{"$nulls":7},"(In ZAR)"]
["4: COST OF MARINE INSURANCES *",{"$nulls":7},"(In ZAR)"]
["5: TOTAL PRICE DELIVERED PORT R.S.A. ...",{"$nulls":5},"(1+2+3+4)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["6: WHARFAGE",{"$nulls":7},"(In ZAR)"]
["7: LANDING CHARGES",{"$nulls":7},"(In ZAR)"]
["8: CUSTOMS DUTIES",{"$nulls":7},"(In ZAR)"]
["9: IMPORT SURCHARGE",{"$nulls":7},"(In ZAR)"]
["11: COST OF IMPORTATION ...",{"$nulls":5},"(6+7+8+9+10)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["12: COST OF RAIL TRANSPORT IN R.S.A.",{"$nulls":7},"(In ZAR)",{"$nulls":5},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["13: COST OF ROAD TRANSPORT IN R.S.A.",{"$nulls":7},"(In ZAR)"]
["14: TOTAL COST OF TRANSPORT S.A. PORT TO WORK/SITE ...",{"$nulls":5},"(12+13)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["15: TOTAL PRICE (F.O.B.) DELIVERED TO WORKS/SITE...",{"$nulls":5},"(5+11+14)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[{"$nulls":14},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["SUPPLIED FROM INSIDE R.S.A."]
["16: OTHER**"]
["17: F.O.R. PRICE-GOODS MANUFACTURED INSIDE R.S.A."]
["18: F.O.R. PRICE-GOODS SUPPLIED FROM IMPORTED ITEMS"]
["19: TOTAL F.O.R. PRICE ...",{"$nulls":5},"(16+17)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["20: COST OF RAIL TRANSPORT"]
["21: COST OF ROAD TRANSPORT"]
["22: COST OF TRANSPORT WORKS TO SITE ...          ",{"$nulls":5},"(19+20)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["23: PRICE (F.O.R.) DELIVERED TO SITE ...          ",{"$nulls":5},"(18+21)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[" SITE WORK (ERECTION / INSTALLATION INCL. COMMISSIONING) "]
["24: LOCAL LABOUR"]
["25: EXPATRIATE  LABOUR"]
["26: TOTAL PRICE FOR SITE WORK ...          ",{"$nulls":5},"(23+24)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["27: OVERSEAS ENGINEERING SERVICES"]
["28: LOCAL ENGINEERING SERVICES"]
["29: TOTAL PRICE FOR ENGINEERING SERVICES...",{"$nulls":5},"(26+27)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["29a: TOTAL PRICE DELIVERED TO SITE (EXCL VAT)",{"$nulls":5},"(15+22+25+28)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["30. VAT"]
["31: TOTAL  PRICE DELIVERED TO SITE",{"$nulls":5},"(28a+29)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["ENQUIRY NUMBER : CORP 5656",{"$nulls":3},"                                      PRICES INCLUSIVE OF VAT (VALUE ADDED TAX)"]
[]
[" PRICE SCHEDULE : C (PS5) : 11kV to 33kV  Circuit Breaker Tools, Spares, Control Voltage Conversion Kit, Training (levels 1, 2, 3 &4)",{"$nulls":13},"SUPPLIER:"]
[]
[" PRICE SCHEDULE FOR GOODS MANUFACTURED OUTSIDE THE R.S.A.  PRICE PER UNIT FOR ENGINEERING, MANUFACTURE, SUPPLY AND DELIVERY.  ALL AMOUNTS EXPRESSED IN FOREIGN CURRENCY (UP TO LINE 4)."]
[]
[]
[" REMARKS",{"$nulls":5},"                       ITEM NO",null,null,1,2,3,4,5,6,7]
[" *Eskom may effect this insurance which includes war",{"$nulls":5},"                  ITEM DESCRIPTION",null,null,"Training Level 1 in Group of 50","Training Level 2 in Group of 50","Training Level 3 in Group of 50","Training Level 4 in Group of 10","Tools & Spares","Tools & Spares","Tools & Spares"]
["   risk insurance"]
["**Please specify"]
["PRICE DELIVERED TO PORT R.S.A. (LINE 5)",{"$nulls":6},"(In Foreign Currency)"]
["31: CURRENCY A   1 ZAR=............",null,null,"(FOB)",{"$nulls":3},"(In Foreign Currency)"]
["32: CURRENCY B   1 ZAR=............",null,null,"(FOB)",{"$nulls":3},"(In Foreign Currency)"]
["33: CURRENCY C   1 ZAR=............",null,null,"(FOB)",{"$nulls":3},"(In Foreign Currency)"]
["34: CURRENCY D   1 ZAR=............",null,null,"(FREIGHT)",{"$nulls":3},"(In Foreign Currency)"]
["35: CURRENCY E   1 ZAR=............",null,null,"(INSURANCE)",{"$nulls":3},"(In Foreign Currency)"]
["36: TOTAL F.O.B. PRICE ",{"$nulls":5},"(5=31+32+33+34+35)"]
["PRICE EXPATRIATE LABOUR (LINE 25)",{"$nulls":6},"(In Foreign Currency)"]
["37: CURRENCY A   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["38: CURRENCY B   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["39: CURRENCY C   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["40: CURRENCY D   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["41: CURRENCY E   1 ZAR=.............",{"$nulls":6},"(In Foreign Currency)"]
["42.TOTAL PRICE EXPATRIATE LABOUR ",{"$nulls":5},"(24=37+38+39+40+41)"]
["PRICE OVERSEAS ENGINEERING SERVICES (LINE 27)",{"$nulls":6},"(In Foreign Currency)"]
["43: CURRENCY A   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["44: CURRENCY B   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["45: CURRENCY C   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["46: CURRENCY D   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["47: CURRENCY E   1 ZAR=.............",{"$nulls":6},"(In Foreign Currency)"]
["48: TOTAL PRICE OVERSEAS ENGINEERING SERVICES (LINE 27) ",{"$nulls":6},"(27=43+44+45+46+47)"]
["49: FOREIGN CONTENT OF TOTAL PRICE",{"$nulls":5},"(36+42+48)"]
["LOCAL PREFERENCE FOR ELECTRONICS ONLY"]
["50. FOR PRICE GOODS MANUFACTURED IN R.S.A. (LINE 17)"]
["51. PRICE FOR LOCAL DESIGN / ENGINEERING SERVICES (LINE 27) "]
["52. PERCENTAGE PREFERENCE CLAIMED (=................) ON LINE 50"]
["53. PERCENTAGE PREFERENCE CLAIMED (=................) ON LINE 51"]
["54. TOTAL AMOUNT CLAIMED ",null,null,"(52 + 53)"]
[]
[]
["SIGNATURE...................................................................",{"$nulls":6},"CAPACITY........................................................................",{"$nulls":5},"DATE......................................................."]
[]
[]
["ENQUIRY NUMBER : CORP 5656",{"$nulls":3},"                                      PRICES INCLUSIVE OF VAT (VALUE ADDED TAX)"]
[]
[" PRICE SCHEDULE : C (PS5) : 11kV to 33kV  Circuit Breaker Tools, Spares, Control Voltage Conversion Kit, Training (levels 1, 2, 3 &4)",{"$nulls":13},"SUPPLIER:"]
[]
[" PRICE SCHEDULE FOR GOODS MANUFACTURED IN AND OUTSIDE THE R.S.A.  PRICE PER UNIT FOR SUPPLY, DELIVERY AND ERECTION / INSTALLATION.  ALL AMOUNTS EXPRESSED IN RANDS"]
[]
[""]
[" REMARKS",{"$nulls":5},"                       ITEM NO",null,null,1,2,3,4,5,6,7]
[" *Eskom may effect this insurance which includes war",{"$nulls":5},"                  ITEM DESCRIPTION",null,null,"Tools & Spares","Tools & Spares","Tools & Spares","Tools & Spares","Tools & Spares","Tools & Spares","Tools & Spares"]
["   risk insurance"]
["**Please specify"]
["SUPPLIED FROM OUTSIDE R.S.A.:",{"$nulls":7},"(In ZAR)"]
["1: F.O.B. PRICE",{"$nulls":7},"(In ZAR)"]
["2: COST OF SEA  FREIGHT",{"$nulls":7},"(In ZAR)"]
["3: COST OF AIR  FREIGHT",{"$nulls":7},"(In ZAR)"]
["4: COST OF MARINE INSURANCES *",{"$nulls":7},"(In ZAR)"]
["5: TOTAL PRICE DELIVERED PORT R.S.A. ...",{"$nulls":5},"(1+2+3+4)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["6: WHARFAGE",{"$nulls":7},"(In ZAR)"]
["7: LANDING CHARGES",{"$nulls":7},"(In ZAR)"]
["8: CUSTOMS DUTIES",{"$nulls":7},"(In ZAR)"]
["9: IMPORT SURCHARGE",{"$nulls":7},"(In ZAR)"]
["11: COST OF IMPORTATION ...",{"$nulls":5},"(6+7+8+9+10)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["12: COST OF RAIL TRANSPORT IN R.S.A.",{"$nulls":7},"(In ZAR)",{"$nulls":5},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["13: COST OF ROAD TRANSPORT IN R.S.A.",{"$nulls":7},"(In ZAR)"]
["14: TOTAL COST OF TRANSPORT S.A. PORT TO WORK/SITE ...",{"$nulls":5},"(12+13)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["15: TOTAL PRICE (F.O.B.) DELIVERED TO WORKS/SITE...",{"$nulls":5},"(5+11+14)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[{"$nulls":14},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["SUPPLIED FROM INSIDE R.S.A."]
["16: OTHER**"]
["17: F.O.R. PRICE-GOODS MANUFACTURED INSIDE R.S.A."]
["18: F.O.R. PRICE-GOODS SUPPLIED FROM IMPORTED ITEMS"]
["19: TOTAL F.O.R. PRICE ...",{"$nulls":5},"(16+17)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["20: COST OF RAIL TRANSPORT"]
["21: COST OF ROAD TRANSPORT"]
["22: COST OF TRANSPORT WORKS TO SITE ...          ",{"$nulls":5},"(19+20)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["23: PRICE (F.O.R.) DELIVERED TO SITE ...          ",{"$nulls":5},"(18+21)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[" SITE WORK (ERECTION / INSTALLATION INCL. COMMISSIONING) "]
["24: LOCAL LABOUR"]
["25: EXPATRIATE  LABOUR"]
["26: TOTAL PRICE FOR SITE WORK ...          ",{"$nulls":5},"(23+24)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["27: OVERSEAS ENGINEERING SERVICES"]
["28: LOCAL ENGINEERING SERVICES"]
["29: TOTAL PRICE FOR ENGINEERING SERVICES...",{"$nulls":5},"(26+27)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["29a: TOTAL PRICE DELIVERED TO SITE (EXCL VAT)",{"$nulls":5},"(15+22+25+28)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["30. VAT"]
["31: TOTAL  PRICE DELIVERED TO SITE",{"$nulls":5},"(28a+29)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["ENQUIRY NUMBER : CORP 5656",{"$nulls":3},"                                      PRICES INCLUSIVE OF VAT (VALUE ADDED TAX)"]
[]
[" PRICE SCHEDULE : C (PS5) : 11kV to 33kV  Circuit Breaker Tools, Spares, Control Voltage Conversion Kit, Training (levels 1, 2, 3 &4)",{"$nulls":13},"SUPPLIER:"]
[]
[" PRICE SCHEDULE FOR GOODS MANUFACTURED OUTSIDE THE R.S.A.  PRICE PER UNIT FOR ENGINEERING, MANUFACTURE, SUPPLY AND DELIVERY.  ALL AMOUNTS EXPRESSED IN FOREIGN CURRENCY (UP TO LINE 4)."]
[]
[]
[" REMARKS",{"$nulls":5},"                       ITEM NO",null,null,1,2,3,4,5,6,7]
[" *Eskom may effect this insurance which includes war",{"$nulls":5},"                  ITEM DESCRIPTION",null,null,"Tools & Spares","Tools & Spares","Tools & Spares","Tools & Spares","Tools & Spares","Tools & Spares","Tools & Spares"]
["   risk insurance"]
["**Please specify"]
["PRICE DELIVERED TO PORT R.S.A. (LINE 5)",{"$nulls":6},"(In Foreign Currency)"]
["31: CURRENCY A   1 ZAR=............",null,null,"(FOB)",{"$nulls":3},"(In Foreign Currency)"]
["32: CURRENCY B   1 ZAR=............",null,null,"(FOB)",{"$nulls":3},"(In Foreign Currency)"]
["33: CURRENCY C   1 ZAR=............",null,null,"(FOB)",{"$nulls":3},"(In Foreign Currency)"]
["34: CURRENCY D   1 ZAR=............",null,null,"(FREIGHT)",{"$nulls":3},"(In Foreign Currency)"]
["35: CURRENCY E   1 ZAR=............",null,null,"(INSURANCE)",{"$nulls":3},"(In Foreign Currency)"]
["36: TOTAL F.O.B. PRICE ",{"$nulls":5},"(5=31+32+33+34+35)"]
["PRICE EXPATRIATE LABOUR (LINE 25)",{"$nulls":6},"(In Foreign Currency)"]
["37: CURRENCY A   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["38: CURRENCY B   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["39: CURRENCY C   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["40: CURRENCY D   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["41: CURRENCY E   1 ZAR=.............",{"$nulls":6},"(In Foreign Currency)"]
["42.TOTAL PRICE EXPATRIATE LABOUR ",{"$nulls":5},"(24=37+38+39+40+41)"]
["PRICE OVERSEAS ENGINEERING SERVICES (LINE 27)",{"$nulls":6},"(In Foreign Currency)"]
["43: CURRENCY A   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["44: CURRENCY B   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["45: CURRENCY C   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["46: CURRENCY D   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["47: CURRENCY E   1 ZAR=.............",{"$nulls":6},"(In Foreign Currency)"]
["48: TOTAL PRICE OVERSEAS ENGINEERING SERVICES (LINE 27) ",{"$nulls":6},"(27=43+44+45+46+47)"]
["49: FOREIGN CONTENT OF TOTAL PRICE",{"$nulls":5},"(36+42+48)"]
["LOCAL PREFERENCE FOR ELECTRONICS ONLY"]
["50. FOR PRICE GOODS MANUFACTURED IN R.S.A. (LINE 17)"]
["51. PRICE FOR LOCAL DESIGN / ENGINEERING SERVICES (LINE 27) "]
["52. PERCENTAGE PREFERENCE CLAIMED (=................) ON LINE 50"]
["53. PERCENTAGE PREFERENCE CLAIMED (=................) ON LINE 51"]
["54. TOTAL AMOUNT CLAIMED ",null,null,"(52 + 53)"]
[]
[]
["SIGNATURE...................................................................",{"$nulls":6},"CAPACITY........................................................................",{"$nulls":5},"DATE......................................................."]

{"sheet":"11kV_33kV KIOSK CB PS5","index":1,"n_rows":629,"n_cols":14,"rows_kept":629,"merged":[[8,9,10,9],[8,10,10,10],[8,11,10,11],[8,12,10,12],[8,13,10,13],[54,9,56,9],[54,10,56,10],[54,11,56,11],[54,12,56,12],[54,13,56,13],[98,9,100,9],[98,10,100,10],[98,11,100,11],[98,12,100,12],[98,13,100,13],[144,9,146,9],[144,10,146,10],[144,11,146,11],[144,12,146,12],[144,13,146,13],[190,9,192,9],[190,10,192,10],[190,11,192,11],[190,12,192,12],[190,13,192,13],[236,9,238,9],[236,10,238,10],[236,11,238,11],[236,12,238,12],[236,13,238,13],[280,9,282,9],[280,10,282,10],[280,11,282,11],[280,12,282,12],[280,13,282,13],[326,9,328,9],[326,10,328,10],[326,11,328,11],[326,12,328,12],[326,13,328,13],[370,9,372,9],[370,10,372,10],[370,11,372,11],[370,12,372,12],[370,13,372,13],[416,9,418,9],[416,10,418,10],[416,11,418,11],[416,12,418,12],[416,13,418,13],[460,9,462,9],[460,10,462,10],[460,11,462,11],[460,12,462,12],[460,13,462,13],[506,9,508,9],[506,10,508,10],[506,11,508,11],[506,12,508,12],[506,13,508,13],[549,9,551,9],[549,10,551,10],[549,11,551,11],[549,12,551,12],[549,13,551,13],[595,9,597,9],[595,10,597,10],[595,11,597,11],[595,12,597,12],[595,13,597,13]],"flags":["formulas_cached_only"]}
["ENQUIRY NUMBER : CORP XXXX",null,"CORP 5656",null,"                                      PRICES INCLUSIVE OF VAT (VALUE ADDED TAX)"]
[]
[" PRICE SCHEDULE : C (PS5) : 11KV-33KV MEDIUM VOLTAGE (MV) KIOSK CIRCUIT BREAKERS (KIOSK) ",{"$nulls":11},"SUPPLIER:"]
[]
[" PRICE SCHEDULE FOR GOODS MANUFACTURED IN AND OUTSIDE THE R.S.A.  PRICE PER UNIT FOR SUPPLY, DELIVERY AND ERECTION / INSTALLATION.  ALL AMOUNTS EXPRESSED IN RANDS"]
[]
[""]
[" REMARKS",{"$nulls":5},"                       ITEM NO",null,null,1,2,3,4,5]
[" *Eskom may effect this insurance which includes war",{"$nulls":5},"                  ITEM DESCRIPTION",null,null,"BKR:KSK;11 KV;2500 A;25 KA;3;110 VDC","BKR:KSK;11 KV;2500 A 25 KA;3;220 VDC","BKR:KSK;11 KV;2500 A;31.5 KA;3;110 VDC","BKR:KSK;11 KV;2500 A;31,5 KA;3;220 VDC","BKR:KSK;22 KV;800 A;25 KA;3;110 VDC"]
["   risk insurance"]
["**Please specify"]
["SUPPLIED FROM OUTSIDE R.S.A.:",{"$nulls":7},"(In ZAR)"]
["1: F.O.B. PRICE",{"$nulls":7},"(In ZAR)"]
["2: COST OF SEA  FREIGHT",{"$nulls":7},"(In ZAR)"]
["3: COST OF AIR  FREIGHT",{"$nulls":7},"(In ZAR)"]
["4: COST OF MARINE INSURANCES *",{"$nulls":7},"(In ZAR)"]
["5: TOTAL PRICE DELIVERED PORT R.S.A. ...",{"$nulls":5},"(1+2+3+4)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["6: WHARFAGE",{"$nulls":7},"(In ZAR)"]
["7: LANDING CHARGES",{"$nulls":7},"(In ZAR)"]
["8: CUSTOMS DUTIES",{"$nulls":7},"(In ZAR)"]
["9: IMPORT SURCHARGE",{"$nulls":7},"(In ZAR)"]
["11: COST OF IMPORTATION ...",{"$nulls":5},"(6+7+8+9+10)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["12: COST OF RAIL TRANSPORT IN R.S.A.",{"$nulls":7},"(In ZAR)"]
["13: COST OF ROAD TRANSPORT IN R.S.A.",{"$nulls":7},"(In ZAR)"]
["14: TOTAL COST OF TRANSPORT S.A. PORT TO WORK/SITE ...",{"$nulls":5},"(12+13)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["15: TOTAL PRICE (F.O.B.) DELIVERED TO WORKS/SITE...",{"$nulls":5},"(5+11+14)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[]
["SUPPLIED FROM INSIDE R.S.A."]
["16: OTHER**"]
["17: F.O.R. PRICE-GOODS MANUFACTURED INSIDE R.S.A."]
["18: F.O.R. PRICE-GOODS SUPPLIED FROM IMPORTED ITEMS"]
["19: TOTAL F.O.R. PRICE ...",{"$nulls":5},"(16+17)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["20: COST OF RAIL TRANSPORT"]
["21: COST OF ROAD TRANSPORT"]
["22: COST OF TRANSPORT WORKS TO SITE ...          ",{"$nulls":5},"(19+20)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["23: PRICE (F.O.R.) DELIVERED TO SITE ...          ",{"$nulls":5},"(18+21)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[" SITE WORK (ERECTION / INSTALLATION INCL. COMMISSIONING) "]
["24: LOCAL LABOUR"]
["25: EXPATRIATE  LABOUR"]
["26: TOTAL PRICE FOR SITE WORK ...          ",{"$nulls":5},"(23+24)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["27: OVERSEAS ENGINEERING SERVICES"]
["28: LOCAL ENGINEERING SERVICES"]
["29: TOTAL PRICE FOR ENGINEERING SERVICES...",{"$nulls":5},"(26+27)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["29a: TOTAL PRICE DELIVERED TO SITE (EXCL VAT)",{"$nulls":5},"(15+22+25+28)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["30. VAT"]
["31: TOTAL  PRICE DELIVERED TO SITE",{"$nulls":5},"(28a+29)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["ENQUIRY NUMBER : CORP XXXX",null,"CORP 5656",null,"                                      PRICES INCLUSIVE OF VAT (VALUE ADDED TAX)"]
[]
[" PRICE SCHEDULE : C (PS5) : 11KV-33KV MEDIUM VOLTAGE (MV) KIOSK CIRCUIT BREAKERS (KIOSK) "]
[]
[" PRICE SCHEDULE FOR GOODS MANUFACTURED OUTSIDE THE R.S.A.  PRICE PER UNIT FOR ENGINEERING, MANUFACTURE, SUPPLY AND DELIVERY.  ALL AMOUNTS EXPRESSED IN FOREIGN CURRENCY (UP TO LINE 4)."]
[]
[]
[" REMARKS",{"$nulls":5},"                       ITEM NO",null,null,1,2,3,4,5]
[" *Eskom may effect this insurance which includes war",{"$nulls":5},"                  ITEM DESCRIPTION",null,null,"BKR:KSK;11 KV;2500 A;25 KA;3;110 VDC","BKR:KSK;11 KV;2500 A 25 KA;3;220 VDC","BKR:KSK;11 KV;2500 A;31.5 KA;3;110 VDC","BKR:KSK;11 KV;2500 A;31,5 KA;3;220 VDC","BKR:KSK;22 KV;800 A;25 KA;3;110 VDC"]
["   risk insurance"]
["**Please specify"]
["PRICE DELIVERED TO PORT R.S.A. (LINE 5)",{"$nulls":6},"(In Foreign Currency)"]
["31: CURRENCY A   1 ZAR=............",null,null,"(FOB)",{"$nulls":3},"(In Foreign Currency)"]
["32: CURRENCY B   1 ZAR=............",null,null,"(FOB)",{"$nulls":3},"(In Foreign Currency)"]
["33: CURRENCY C   1 ZAR=............",null,null,"(FOB)",{"$nulls":3},"(In Foreign Currency)"]
["34: CURRENCY D   1 ZAR=............",null,null,"(FREIGHT)",{"$nulls":3},"(In Foreign Currency)"]
["35: CURRENCY E   1 ZAR=............",null,null,"(INSURANCE)",{"$nulls":3},"(In Foreign Currency)"]
["36: TOTAL F.O.B. PRICE ",{"$nulls":5},"(5=31+32+33+34+35)"]
["PRICE EXPATRIATE LABOUR (LINE 25)",{"$nulls":6},"(In Foreign Currency)"]
["37: CURRENCY A   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["38: CURRENCY B   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["39: CURRENCY C   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["40: CURRENCY D   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["41: CURRENCY E   1 ZAR=.............",{"$nulls":6},"(In Foreign Currency)"]
["42.TOTAL PRICE EXPATRIATE LABOUR ",{"$nulls":5},"(24=37+38+39+40+41)"]
["PRICE OVERSEAS ENGINEERING SERVICES (LINE 27)",{"$nulls":6},"(In Foreign Currency)"]
["43: CURRENCY A   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["44: CURRENCY B   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["45: CURRENCY C   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["46: CURRENCY D   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["47: CURRENCY E   1 ZAR=.............",{"$nulls":6},"(In Foreign Currency)"]
["48: TOTAL PRICE OVERSEAS ENGINEERING SERVICES (LINE 27) ",{"$nulls":6},"(27=43+44+45+46+47)"]
["49: FOREIGN CONTENT OF TOTAL PRICE",{"$nulls":5},"(36+42+48)"]
["LOCAL PREFERENCE FOR ELECTRONICS ONLY"]
["50. FOR PRICE GOODS MANUFACTURED IN R.S.A. (LINE 17)"]
["51. PRICE FOR LOCAL DESIGN / ENGINEERING SERVICES (LINE 27) "]
["52. PERCENTAGE PREFERENCE CLAIMED (=................) ON LINE 50"]
["53. PERCENTAGE PREFERENCE CLAIMED (=................) ON LINE 51"]
["54. TOTAL AMOUNT CLAIMED ",null,null,"(52 + 53)"]
[]
[]
["SIGNATURE...................................................................",{"$nulls":6},"CAPACITY........................................................................"]
[]
[]
["ENQUIRY NUMBER : CORP XXXX",null,"CORP 5656",null,"                                      PRICES INCLUSIVE OF VAT (VALUE ADDED TAX)"]
[]
["' PRICE SCHEDULE : C (PS5) : 11KV-33KV MEDIUM VOLTAGE (MV) KIOSK CIRCUIT BREAKERS (KIOSK) ",{"$nulls":11},"SUPPLIER:"]
[]
[" PRICE SCHEDULE FOR GOODS MANUFACTURED IN AND OUTSIDE THE R.S.A.  PRICE PER UNIT FOR SUPPLY, DELIVERY AND ERECTION / INSTALLATION.  ALL AMOUNTS EXPRESSED IN RANDS"]
[]
[""]
[" REMARKS",{"$nulls":5},"                       ITEM NO",null,null,6,7,8,9,10]
[" *Eskom may effect this insurance which includes war",{"$nulls":5},"                  ITEM DESCRIPTION",null,null,"BKR:KSK;22 KV;800 A;25 KA;3;220 VDC","BKR:KSK;22 KV;800 A;31.5 KA;3;110 VDC","BKR:KSK;22 KV;800 A;31,5 KA;3;220 VDC","BKR:KSK;22 KV;1250 A;25 KA;3;110 VDC","BKR:KSK;22 KV;1250 A;25 KA;3;220 VDC"]
["   risk insurance"]
["**Please specify"]
["SUPPLIED FROM OUTSIDE R.S.A.:",{"$nulls":7},"(In ZAR)"]
["1: F.O.B. PRICE",{"$nulls":7},"(In ZAR)"]
["2: COST OF SEA  FREIGHT",{"$nulls":7},"(In ZAR)"]
["3: COST OF AIR  FREIGHT",{"$nulls":7},"(In ZAR)"]
["4: COST OF MARINE INSURANCES *",{"$nulls":7},"(In ZAR)"]
["5: TOTAL PRICE DELIVERED PORT R.S.A. ...",{"$nulls":5},"(1+2+3+4)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["6: WHARFAGE",{"$nulls":7},"(In ZAR)"]
["7: LANDING CHARGES",{"$nulls":7},"(In ZAR)"]
["8: CUSTOMS DUTIES",{"$nulls":7},"(In ZAR)"]
["9: IMPORT SURCHARGE",{"$nulls":7},"(In ZAR)"]
["11: COST OF IMPORTATION ...",{"$nulls":5},"(6+7+8+9+10)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["12: COST OF RAIL TRANSPORT IN R.S.A.",{"$nulls":7},"(In ZAR)"]
["13: COST OF ROAD TRANSPORT IN R.S.A.",{"$nulls":7},"(In ZAR)"]
["14: TOTAL COST OF TRANSPORT S.A. PORT TO WORK/SITE ...",{"$nulls":5},"(12+13)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["15: TOTAL PRICE (F.O.B.) DELIVERED TO WORKS/SITE...",{"$nulls":5},"(5+11+14)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[]
["SUPPLIED FROM INSIDE R.S.A."]
["16: OTHER**"]
["17: F.O.R. PRICE-GOODS MANUFACTURED INSIDE R.S.A."]
["18: F.O.R. PRICE-GOODS SUPPLIED FROM IMPORTED ITEMS"]
["19: TOTAL F.O.R. PRICE ...",{"$nulls":5},"(16+17)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["20: COST OF RAIL TRANSPORT"]
["21: COST OF ROAD TRANSPORT"]
["22: COST OF TRANSPORT WORKS TO SITE ...          ",{"$nulls":5},"(19+20)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["23: PRICE (F.O.R.) DELIVERED TO SITE ...          ",{"$nulls":5},"(18+21)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[" SITE WORK (ERECTION / INSTALLATION INCL. COMMISSIONING) "]
["24: LOCAL LABOUR"]
["25: EXPATRIATE  LABOUR"]
["26: TOTAL PRICE FOR SITE WORK ...          ",{"$nulls":5},"(23+24)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["27: OVERSEAS ENGINEERING SERVICES"]
["28: LOCAL ENGINEERING SERVICES"]
["29: TOTAL PRICE FOR ENGINEERING SERVICES...",{"$nulls":5},"(26+27)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["29a: TOTAL PRICE DELIVERED TO SITE (EXCL VAT)",{"$nulls":5},"(15+22+25+28)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["30. VAT"]
["31: TOTAL  PRICE DELIVERED TO SITE",{"$nulls":5},"(28a+29)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["ENQUIRY NUMBER : CORP XXXX",null,"CORP 5656",null,"                                      PRICES INCLUSIVE OF VAT (VALUE ADDED TAX)"]
[]
["' PRICE SCHEDULE : C (PS5) : 11KV-33KV MEDIUM VOLTAGE (MV) KIOSK CIRCUIT BREAKERS (KIOSK) "]
[]
[" PRICE SCHEDULE FOR GOODS MANUFACTURED OUTSIDE THE R.S.A.  PRICE PER UNIT FOR ENGINEERING, MANUFACTURE, SUPPLY AND DELIVERY.  ALL AMOUNTS EXPRESSED IN FOREIGN CURRENCY (UP TO LINE 4)."]
[]
[]
[" REMARKS",{"$nulls":5},"                       ITEM NO",null,null,6,7,8,9,10]
[" *Eskom may effect this insurance which includes war",{"$nulls":5},"                  ITEM DESCRIPTION",null,null,"BKR:KSK;22 KV;800 A;25 KA;3;220 VDC","BKR:KSK;22 KV;800 A;31.5 KA;3;110 VDC","BKR:KSK;22 KV;800 A;31,5 KA;3;220 VDC","BKR:KSK;22 KV;1250 A;25 KA;3;110 VDC","BKR:KSK;22 KV;1250 A;25 KA;3;220 VDC"]
["   risk insurance"]
["**Please specify"]
["PRICE DELIVERED TO PORT R.S.A. (LINE 5)",{"$nulls":6},"(In Foreign Currency)"]
["31: CURRENCY A   1 ZAR=............",null,null,"(FOB)",{"$nulls":3},"(In Foreign Currency)"]
["32: CURRENCY B   1 ZAR=............",null,null,"(FOB)",{"$nulls":3},"(In Foreign Currency)"]
["33: CURRENCY C   1 ZAR=............",null,null,"(FOB)",{"$nulls":3},"(In Foreign Currency)"]
["34: CURRENCY D   1 ZAR=............",null,null,"(FREIGHT)",{"$nulls":3},"(In Foreign Currency)"]
["35: CURRENCY E   1 ZAR=............",null,null,"(INSURANCE)",{"$nulls":3},"(In Foreign Currency)"]
["36: TOTAL F.O.B. PRICE ",{"$nulls":5},"(5=31+32+33+34+35)"]
["PRICE EXPATRIATE LABOUR (LINE 25)",{"$nulls":6},"(In Foreign Currency)"]
["37: CURRENCY A   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["38: CURRENCY B   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["39: CURRENCY C   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["40: CURRENCY D   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["41: CURRENCY E   1 ZAR=.............",{"$nulls":6},"(In Foreign Currency)"]
["42.TOTAL PRICE EXPATRIATE LABOUR ",{"$nulls":5},"(24=37+38+39+40+41)"]
["PRICE OVERSEAS ENGINEERING SERVICES (LINE 27)",{"$nulls":6},"(In Foreign Currency)"]
["43: CURRENCY A   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["44: CURRENCY B   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["45: CURRENCY C   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["46: CURRENCY D   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["47: CURRENCY E   1 ZAR=.............",{"$nulls":6},"(In Foreign Currency)"]
["48: TOTAL PRICE OVERSEAS ENGINEERING SERVICES (LINE 27) ",{"$nulls":6},"(27=43+44+45+46+47)"]
["49: FOREIGN CONTENT OF TOTAL PRICE",{"$nulls":5},"(36+42+48)"]
["LOCAL PREFERENCE FOR ELECTRONICS ONLY"]
["50. FOR PRICE GOODS MANUFACTURED IN R.S.A. (LINE 17)"]
["51. PRICE FOR LOCAL DESIGN / ENGINEERING SERVICES (LINE 27) "]
["52. PERCENTAGE PREFERENCE CLAIMED (=................) ON LINE 50"]
["53. PERCENTAGE PREFERENCE CLAIMED (=................) ON LINE 51"]
["54. TOTAL AMOUNT CLAIMED ",null,null,"(52 + 53)"]
[]
[]
["SIGNATURE...................................................................",{"$nulls":6},"CAPACITY........................................................................"]
[]
[]
[]
[]
["ENQUIRY NUMBER : CORP XXXX",null,"CORP 5656",null,"                                      PRICES INCLUSIVE OF VAT (VALUE ADDED TAX)"]
[]
["' PRICE SCHEDULE : C (PS5) : 11KV-33KV MEDIUM VOLTAGE (MV) KIOSK CIRCUIT BREAKERS (KIOSK) ",{"$nulls":11},"SUPPLIER:"]
[]
[" PRICE SCHEDULE FOR GOODS MANUFACTURED IN AND OUTSIDE THE R.S.A.  PRICE PER UNIT FOR SUPPLY, DELIVERY AND ERECTION / INSTALLATION.  ALL AMOUNTS EXPRESSED IN RANDS"]
[]
[""]
[" REMARKS",{"$nulls":5},"                       ITEM NO",null,null,11,12,13,14,15]
[" *Eskom may effect this insurance which includes war",{"$nulls":5},"                  ITEM DESCRIPTION",null,null,"BKR:KSK;LOW;22 KV;1250 A;25 KA;3;110 VDC","BKR:KSK;LOW;22 KV;1250 A;25 KA;3;220 VDC","BKR:KSK;22 KV;1250 A;31.5 KA;3;110 VDC","BKR:KSK;22 KV;1250 A;31,5 KA;3;220 VDC","BKR:KSK;22 KV;1600 A;25 KA;3;110 VDC"]
["   risk insurance"]
["**Please specify"]
["SUPPLIED FROM OUTSIDE R.S.A.:",{"$nulls":7},"(In ZAR)"]
["1: F.O.B. PRICE",{"$nulls":7},"(In ZAR)"]
["2: COST OF SEA  FREIGHT",{"$nulls":7},"(In ZAR)"]
["3: COST OF AIR  FREIGHT",{"$nulls":7},"(In ZAR)"]
["4: COST OF MARINE INSURANCES *",{"$nulls":7},"(In ZAR)"]
["5: TOTAL PRICE DELIVERED PORT R.S.A. ...",{"$nulls":5},"(1+2+3+4)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["6: WHARFAGE",{"$nulls":7},"(In ZAR)"]
["7: LANDING CHARGES",{"$nulls":7},"(In ZAR)"]
["8: CUSTOMS DUTIES",{"$nulls":7},"(In ZAR)"]
["9: IMPORT SURCHARGE",{"$nulls":7},"(In ZAR)"]
["11: COST OF IMPORTATION ...",{"$nulls":5},"(6+7+8+9+10)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["12: COST OF RAIL TRANSPORT IN R.S.A.",{"$nulls":7},"(In ZAR)"]
["13: COST OF ROAD TRANSPORT IN R.S.A.",{"$nulls":7},"(In ZAR)"]
["14: TOTAL COST OF TRANSPORT S.A. PORT TO WORK/SITE ...",{"$nulls":5},"(12+13)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["15: TOTAL PRICE (F.O.B.) DELIVERED TO WORKS/SITE...",{"$nulls":5},"(5+11+14)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[]
["SUPPLIED FROM INSIDE R.S.A."]
["16: OTHER**"]
["17: F.O.R. PRICE-GOODS MANUFACTURED INSIDE R.S.A."]
["18: F.O.R. PRICE-GOODS SUPPLIED FROM IMPORTED ITEMS"]
["19: TOTAL F.O.R. PRICE ...",{"$nulls":5},"(16+17)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["20: COST OF RAIL TRANSPORT"]
["21: COST OF ROAD TRANSPORT"]
["22: COST OF TRANSPORT WORKS TO SITE ...          ",{"$nulls":5},"(19+20)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["23: PRICE (F.O.R.) DELIVERED TO SITE ...          ",{"$nulls":5},"(18+21)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[" SITE WORK (ERECTION / INSTALLATION INCL. COMMISSIONING) "]
["24: LOCAL LABOUR"]
["25: EXPATRIATE  LABOUR"]
["26: TOTAL PRICE FOR SITE WORK ...          ",{"$nulls":5},"(23+24)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["27: OVERSEAS ENGINEERING SERVICES"]
["28: LOCAL ENGINEERING SERVICES"]
["29: TOTAL PRICE FOR ENGINEERING SERVICES...",{"$nulls":5},"(26+27)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["29a: TOTAL PRICE DELIVERED TO SITE (EXCL VAT)",{"$nulls":5},"(15+22+25+28)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["30. VAT"]
["31: TOTAL  PRICE DELIVERED TO SITE",{"$nulls":5},"(28a+29)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["ENQUIRY NUMBER : CORP XXXX",null,"CORP 5656",null,"                                      PRICES INCLUSIVE OF VAT (VALUE ADDED TAX)"]
[]
["' PRICE SCHEDULE : C (PS5) : 11KV-33KV MEDIUM VOLTAGE (MV) KIOSK CIRCUIT BREAKERS (KIOSK) "]
[]
[" PRICE SCHEDULE FOR GOODS MANUFACTURED OUTSIDE THE R.S.A.  PRICE PER UNIT FOR ENGINEERING, MANUFACTURE, SUPPLY AND DELIVERY.  ALL AMOUNTS EXPRESSED IN FOREIGN CURRENCY (UP TO LINE 4)."]
[]
[]
[" REMARKS",{"$nulls":5},"                       ITEM NO",null,null,11,12,13,14,15]
[" *Eskom may effect this insurance which includes war",{"$nulls":5},"                  ITEM DESCRIPTION",null,null,"BKR:KSK;LOW;22 KV;1250 A;25 KA;3;110 VDC","BKR:KSK;LOW;22 KV;1250 A;25 KA;3;220 VDC","BKR:KSK;22 KV;1250 A;31.5 KA;3;110 VDC","BKR:KSK;22 KV;1250 A;31,5 KA;3;220 VDC","BKR:KSK;22 KV;1600 A;25 KA;3;110 VDC"]
["   risk insurance"]
["**Please specify"]
["PRICE DELIVERED TO PORT R.S.A. (LINE 5)",{"$nulls":6},"(In Foreign Currency)"]
["31: CURRENCY A   1 ZAR=............",null,null,"(FOB)",{"$nulls":3},"(In Foreign Currency)"]
["32: CURRENCY B   1 ZAR=............",null,null,"(FOB)",{"$nulls":3},"(In Foreign Currency)"]
["33: CURRENCY C   1 ZAR=............",null,null,"(FOB)",{"$nulls":3},"(In Foreign Currency)"]
["34: CURRENCY D   1 ZAR=............",null,null,"(FREIGHT)",{"$nulls":3},"(In Foreign Currency)"]
["35: CURRENCY E   1 ZAR=............",null,null,"(INSURANCE)",{"$nulls":3},"(In Foreign Currency)"]
["36: TOTAL F.O.B. PRICE ",{"$nulls":5},"(5=31+32+33+34+35)"]
["PRICE EXPATRIATE LABOUR (LINE 25)",{"$nulls":6},"(In Foreign Currency)"]
["37: CURRENCY A   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["38: CURRENCY B   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["39: CURRENCY C   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["40: CURRENCY D   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["41: CURRENCY E   1 ZAR=.............",{"$nulls":6},"(In Foreign Currency)"]
["42.TOTAL PRICE EXPATRIATE LABOUR ",{"$nulls":5},"(24=37+38+39+40+41)"]
["PRICE OVERSEAS ENGINEERING SERVICES (LINE 27)",{"$nulls":6},"(In Foreign Currency)"]
["43: CURRENCY A   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["44: CURRENCY B   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["45: CURRENCY C   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["46: CURRENCY D   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["47: CURRENCY E   1 ZAR=.............",{"$nulls":6},"(In Foreign Currency)"]
["48: TOTAL PRICE OVERSEAS ENGINEERING SERVICES (LINE 27) ",{"$nulls":6},"(27=43+44+45+46+47)"]
["49: FOREIGN CONTENT OF TOTAL PRICE",{"$nulls":5},"(36+42+48)"]
["LOCAL PREFERENCE FOR ELECTRONICS ONLY"]
["50. FOR PRICE GOODS MANUFACTURED IN R.S.A. (LINE 17)"]
["51. PRICE FOR LOCAL DESIGN / ENGINEERING SERVICES (LINE 27) "]
["52. PERCENTAGE PREFERENCE CLAIMED (=................) ON LINE 50"]
["53. PERCENTAGE PREFERENCE CLAIMED (=................) ON LINE 51"]
["54. TOTAL AMOUNT CLAIMED ",null,null,"(52 + 53)"]
[]
[]
["SIGNATURE...................................................................",{"$nulls":6},"CAPACITY........................................................................"]
[]
[]
["ENQUIRY NUMBER : CORP XXXX",null,"CORP 5656",null,"                                      PRICES INCLUSIVE OF VAT (VALUE ADDED TAX)"]
[]
["'' PRICE SCHEDULE : C (PS5) : 11KV-33KV MEDIUM VOLTAGE (MV) KIOSK CIRCUIT BREAKERS (KIOSK) ",{"$nulls":11},"SUPPLIER:"]
[]
[" PRICE SCHEDULE FOR GOODS MANUFACTURED IN AND OUTSIDE THE R.S.A.  PRICE PER UNIT FOR SUPPLY, DELIVERY AND ERECTION / INSTALLATION.  ALL AMOUNTS EXPRESSED IN RANDS"]
[]
[""]
[" REMARKS",{"$nulls":5},"                       ITEM NO",null,null,16,17,18,19,20]
[" *Eskom may effect this insurance which includes war",{"$nulls":5},"                  ITEM DESCRIPTION",null,null,"BKR:KSK;22 KV;1600 A;25 KA;3;220 VDC","BKR:KSK;22 KV;1600 A;31.5 KA;3;110 VDC","BKR:KSK;22 KV;1600 A;31.5 KA;3;220 VDC","BKR:KSK;22 KV;2500 A;25 KA;3;110 VDC","BKR:KSK;22 KV;2500 A;25 KA;3;220 VDC"]
["   risk insurance"]
["**Please specify"]
["SUPPLIED FROM OUTSIDE R.S.A.:",{"$nulls":7},"(In ZAR)"]
["1: F.O.B. PRICE",{"$nulls":7},"(In ZAR)"]
["2: COST OF SEA  FREIGHT",{"$nulls":7},"(In ZAR)"]
["3: COST OF AIR  FREIGHT",{"$nulls":7},"(In ZAR)"]
["4: COST OF MARINE INSURANCES *",{"$nulls":7},"(In ZAR)"]
["5: TOTAL PRICE DELIVERED PORT R.S.A. ...",{"$nulls":5},"(1+2+3+4)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["6: WHARFAGE",{"$nulls":7},"(In ZAR)"]
["7: LANDING CHARGES",{"$nulls":7},"(In ZAR)"]
["8: CUSTOMS DUTIES",{"$nulls":7},"(In ZAR)"]
["9: IMPORT SURCHARGE",{"$nulls":7},"(In ZAR)"]
["11: COST OF IMPORTATION ...",{"$nulls":5},"(6+7+8+9+10)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["12: COST OF RAIL TRANSPORT IN R.S.A.",{"$nulls":7},"(In ZAR)"]
["13: COST OF ROAD TRANSPORT IN R.S.A.",{"$nulls":7},"(In ZAR)"]
["14: TOTAL COST OF TRANSPORT S.A. PORT TO WORK/SITE ...",{"$nulls":5},"(12+13)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["15: TOTAL PRICE (F.O.B.) DELIVERED TO WORKS/SITE...",{"$nulls":5},"(5+11+14)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[]
["SUPPLIED FROM INSIDE R.S.A."]
["16: OTHER**"]
["17: F.O.R. PRICE-GOODS MANUFACTURED INSIDE R.S.A."]
["18: F.O.R. PRICE-GOODS SUPPLIED FROM IMPORTED ITEMS"]
["19: TOTAL F.O.R. PRICE ...",{"$nulls":5},"(16+17)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["20: COST OF RAIL TRANSPORT"]
["21: COST OF ROAD TRANSPORT"]
["22: COST OF TRANSPORT WORKS TO SITE ...          ",{"$nulls":5},"(19+20)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["23: PRICE (F.O.R.) DELIVERED TO SITE ...          ",{"$nulls":5},"(18+21)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[" SITE WORK (ERECTION / INSTALLATION INCL. COMMISSIONING) "]
["24: LOCAL LABOUR"]
["25: EXPATRIATE  LABOUR"]
["26: TOTAL PRICE FOR SITE WORK ...          ",{"$nulls":5},"(23+24)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["27: OVERSEAS ENGINEERING SERVICES"]
["28: LOCAL ENGINEERING SERVICES"]
["29: TOTAL PRICE FOR ENGINEERING SERVICES...",{"$nulls":5},"(26+27)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["29a: TOTAL PRICE DELIVERED TO SITE (EXCL VAT)",{"$nulls":5},"(15+22+25+28)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["30. VAT"]
["31: TOTAL  PRICE DELIVERED TO SITE",{"$nulls":5},"(28a+29)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["ENQUIRY NUMBER : CORP XXXX",null,"CORP 5656",null,"                                      PRICES INCLUSIVE OF VAT (VALUE ADDED TAX)"]
[]
["'' PRICE SCHEDULE : C (PS5) : 11KV-33KV MEDIUM VOLTAGE (MV) KIOSK CIRCUIT BREAKERS (KIOSK) "]
[]
[" PRICE SCHEDULE FOR GOODS MANUFACTURED OUTSIDE THE R.S.A.  PRICE PER UNIT FOR ENGINEERING, MANUFACTURE, SUPPLY AND DELIVERY.  ALL AMOUNTS EXPRESSED IN FOREIGN CURRENCY (UP TO LINE 4)."]
[]
[]
[" REMARKS",{"$nulls":5},"                       ITEM NO",null,null,16,17,18,19,20]
[" *Eskom may effect this insurance which includes war",{"$nulls":5},"                  ITEM DESCRIPTION",null,null,"BKR:KSK;22 KV;1600 A;25 KA;3;220 VDC","BKR:KSK;22 KV;1600 A;31.5 KA;3;110 VDC","BKR:KSK;22 KV;1600 A;31.5 KA;3;220 VDC","BKR:KSK;22 KV;2500 A;25 KA;3;110 VDC","BKR:KSK;22 KV;2500 A;25 KA;3;220 VDC"]
["   risk insurance"]
["**Please specify"]
["PRICE DELIVERED TO PORT R.S.A. (LINE 5)",{"$nulls":6},"(In Foreign Currency)"]
["31: CURRENCY A   1 ZAR=............",null,null,"(FOB)",{"$nulls":3},"(In Foreign Currency)"]
["32: CURRENCY B   1 ZAR=............",null,null,"(FOB)",{"$nulls":3},"(In Foreign Currency)"]
["33: CURRENCY C   1 ZAR=............",null,null,"(FOB)",{"$nulls":3},"(In Foreign Currency)"]
["34: CURRENCY D   1 ZAR=............",null,null,"(FREIGHT)",{"$nulls":3},"(In Foreign Currency)"]
["35: CURRENCY E   1 ZAR=............",null,null,"(INSURANCE)",{"$nulls":3},"(In Foreign Currency)"]
["36: TOTAL F.O.B. PRICE ",{"$nulls":5},"(5=31+32+33+34+35)"]
["PRICE EXPATRIATE LABOUR (LINE 25)",{"$nulls":6},"(In Foreign Currency)"]
["37: CURRENCY A   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["38: CURRENCY B   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["39: CURRENCY C   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["40: CURRENCY D   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["41: CURRENCY E   1 ZAR=.............",{"$nulls":6},"(In Foreign Currency)"]
["42.TOTAL PRICE EXPATRIATE LABOUR ",{"$nulls":5},"(24=37+38+39+40+41)"]
["PRICE OVERSEAS ENGINEERING SERVICES (LINE 27)",{"$nulls":6},"(In Foreign Currency)"]
["43: CURRENCY A   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["44: CURRENCY B   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["45: CURRENCY C   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["46: CURRENCY D   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["47: CURRENCY E   1 ZAR=.............",{"$nulls":6},"(In Foreign Currency)"]
["48: TOTAL PRICE OVERSEAS ENGINEERING SERVICES (LINE 27) ",{"$nulls":6},"(27=43+44+45+46+47)"]
["49: FOREIGN CONTENT OF TOTAL PRICE",{"$nulls":5},"(36+42+48)"]
["LOCAL PREFERENCE FOR ELECTRONICS ONLY"]
["50. FOR PRICE GOODS MANUFACTURED IN R.S.A. (LINE 17)"]
["51. PRICE FOR LOCAL DESIGN / ENGINEERING SERVICES (LINE 27) "]
["52. PERCENTAGE PREFERENCE CLAIMED (=................) ON LINE 50"]
["53. PERCENTAGE PREFERENCE CLAIMED (=................) ON LINE 51"]
["54. TOTAL AMOUNT CLAIMED ",null,null,"(52 + 53)"]
[]
[]
["SIGNATURE...................................................................",{"$nulls":6},"CAPACITY........................................................................"]
[]
[]
["ENQUIRY NUMBER : CORP XXXX",null,"CORP 5656",null,"                                      PRICES INCLUSIVE OF VAT (VALUE ADDED TAX)"]
[]
["' PRICE SCHEDULE : C (PS5) : 11KV-33KV MEDIUM VOLTAGE (MV) KIOSK CIRCUIT BREAKERS (KIOSK) ",{"$nulls":11},"SUPPLIER:"]
[]
[" PRICE SCHEDULE FOR GOODS MANUFACTURED IN AND OUTSIDE THE R.S.A.  PRICE PER UNIT FOR SUPPLY, DELIVERY AND ERECTION / INSTALLATION.  ALL AMOUNTS EXPRESSED IN RANDS"]
[]
[""]
[" REMARKS",{"$nulls":5},"                       ITEM NO",null,null,21,22,23,24,25]
[" *Eskom may effect this insurance which includes war",{"$nulls":5},"                  ITEM DESCRIPTION",null,null,"BKR:KSK;22 KV;2500 A;31.5 KA;3;110 VDC","BKR:KSK;22 KV;2500 A;31.5 KA;3;220 VDC","BKR:KSK;33 KV;800 A;25 KA;3;110 VDC","BKR:KSK;33 KV;800 A;25 KA;3;220 VDC ","BKR:KSK;33 KV;1250 A;25 KA;3;110 VDC"]
["   risk insurance"]
["**Please specify"]
["SUPPLIED FROM OUTSIDE R.S.A.:",{"$nulls":7},"(In ZAR)"]
["1: F.O.B. PRICE",{"$nulls":7},"(In ZAR)"]
["2: COST OF SEA  FREIGHT",{"$nulls":7},"(In ZAR)"]
["3: COST OF AIR  FREIGHT",{"$nulls":7},"(In ZAR)"]
["4: COST OF MARINE INSURANCES *",{"$nulls":7},"(In ZAR)"]
["5: TOTAL PRICE DELIVERED PORT R.S.A. ...",{"$nulls":5},"(1+2+3+4)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["6: WHARFAGE",{"$nulls":7},"(In ZAR)"]
["7: LANDING CHARGES",{"$nulls":7},"(In ZAR)"]
["8: CUSTOMS DUTIES",{"$nulls":7},"(In ZAR)"]
["9: IMPORT SURCHARGE",{"$nulls":7},"(In ZAR)"]
["11: COST OF IMPORTATION ...",{"$nulls":5},"(6+7+8+9+10)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["12: COST OF RAIL TRANSPORT IN R.S.A.",{"$nulls":7},"(In ZAR)"]
["13: COST OF ROAD TRANSPORT IN R.S.A.",{"$nulls":7},"(In ZAR)"]
["14: TOTAL COST OF TRANSPORT S.A. PORT TO WORK/SITE ...",{"$nulls":5},"(12+13)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["15: TOTAL PRICE (F.O.B.) DELIVERED TO WORKS/SITE...",{"$nulls":5},"(5+11+14)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[]
["SUPPLIED FROM INSIDE R.S.A."]
["16: OTHER**"]
["17: F.O.R. PRICE-GOODS MANUFACTURED INSIDE R.S.A."]
["18: F.O.R. PRICE-GOODS SUPPLIED FROM IMPORTED ITEMS"]
["19: TOTAL F.O.R. PRICE ...",{"$nulls":5},"(16+17)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["20: COST OF RAIL TRANSPORT"]
["21: COST OF ROAD TRANSPORT"]
["22: COST OF TRANSPORT WORKS TO SITE ...          ",{"$nulls":5},"(19+20)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["23: PRICE (F.O.R.) DELIVERED TO SITE ...          ",{"$nulls":5},"(18+21)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[" SITE WORK (ERECTION / INSTALLATION INCL. COMMISSIONING) "]
["24: LOCAL LABOUR"]
["25: EXPATRIATE  LABOUR"]
["26: TOTAL PRICE FOR SITE WORK ...          ",{"$nulls":5},"(23+24)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["27: OVERSEAS ENGINEERING SERVICES"]
["28: LOCAL ENGINEERING SERVICES"]
["29: TOTAL PRICE FOR ENGINEERING SERVICES...",{"$nulls":5},"(26+27)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["29a: TOTAL PRICE DELIVERED TO SITE (EXCL VAT)",{"$nulls":5},"(15+22+25+28)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["30. VAT"]
["31: TOTAL  PRICE DELIVERED TO SITE",{"$nulls":5},"(28a+29)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["ENQUIRY NUMBER : CORP XXXX",null,"CORP 5656",null,"                                      PRICES INCLUSIVE OF VAT (VALUE ADDED TAX)"]
[]
["' PRICE SCHEDULE : C (PS5) : 11KV-33KV MEDIUM VOLTAGE (MV) KIOSK CIRCUIT BREAKERS (KIOSK) "]
[]
[" PRICE SCHEDULE FOR GOODS MANUFACTURED OUTSIDE THE R.S.A.  PRICE PER UNIT FOR ENGINEERING, MANUFACTURE, SUPPLY AND DELIVERY.  ALL AMOUNTS EXPRESSED IN FOREIGN CURRENCY (UP TO LINE 4)."]
[]
[]
[" REMARKS",{"$nulls":5},"                       ITEM NO",null,null,21,22,23,24,25]
[" *Eskom may effect this insurance which includes war",{"$nulls":5},"                  ITEM DESCRIPTION",null,null,"BKR:KSK;22 KV;2500 A;31.5 KA;3;110 VDC","BKR:KSK;22 KV;2500 A;31.5 KA;3;220 VDC","BKR:KSK;33 KV;800 A;25 KA;3;110 VDC","BKR:KSK;33 KV;800 A;25 KA;3;220 VDC ","BKR:KSK;33 KV;1250 A;25 KA;3;110 VDC"]
["   risk insurance"]
["**Please specify"]
["PRICE DELIVERED TO PORT R.S.A. (LINE 5)",{"$nulls":6},"(In Foreign Currency)"]
["31: CURRENCY A   1 ZAR=............",null,null,"(FOB)",{"$nulls":3},"(In Foreign Currency)"]
["32: CURRENCY B   1 ZAR=............",null,null,"(FOB)",{"$nulls":3},"(In Foreign Currency)"]
["33: CURRENCY C   1 ZAR=............",null,null,"(FOB)",{"$nulls":3},"(In Foreign Currency)"]
["34: CURRENCY D   1 ZAR=............",null,null,"(FREIGHT)",{"$nulls":3},"(In Foreign Currency)"]
["35: CURRENCY E   1 ZAR=............",null,null,"(INSURANCE)",{"$nulls":3},"(In Foreign Currency)"]
["36: TOTAL F.O.B. PRICE ",{"$nulls":5},"(5=31+32+33+34+35)"]
["PRICE EXPATRIATE LABOUR (LINE 25)",{"$nulls":6},"(In Foreign Currency)"]
["37: CURRENCY A   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["38: CURRENCY B   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["39: CURRENCY C   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["40: CURRENCY D   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["41: CURRENCY E   1 ZAR=.............",{"$nulls":6},"(In Foreign Currency)"]
["42.TOTAL PRICE EXPATRIATE LABOUR ",{"$nulls":5},"(24=37+38+39+40+41)"]
["PRICE OVERSEAS ENGINEERING SERVICES (LINE 27)",{"$nulls":6},"(In Foreign Currency)"]
["43: CURRENCY A   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["44: CURRENCY B   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["45: CURRENCY C   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["46: CURRENCY D   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["47: CURRENCY E   1 ZAR=.............",{"$nulls":6},"(In Foreign Currency)"]
["48: TOTAL PRICE OVERSEAS ENGINEERING SERVICES (LINE 27) ",{"$nulls":6},"(27=43+44+45+46+47)"]
["49: FOREIGN CONTENT OF TOTAL PRICE",{"$nulls":5},"(36+42+48)"]
["LOCAL PREFERENCE FOR ELECTRONICS ONLY"]
["50. FOR PRICE GOODS MANUFACTURED IN R.S.A. (LINE 17)"]
["51. PRICE FOR LOCAL DESIGN / ENGINEERING SERVICES (LINE 27) "]
["52. PERCENTAGE PREFERENCE CLAIMED (=................) ON LINE 50"]
["53. PERCENTAGE PREFERENCE CLAIMED (=................) ON LINE 51"]
["54. TOTAL AMOUNT CLAIMED ",null,null,"(52 + 53)"]
[]
[]
["SIGNATURE...................................................................",{"$nulls":6},"CAPACITY........................................................................"]
[]
[]
["ENQUIRY NUMBER : CORP XXXX",null,"CORP 5656",null,"                                      PRICES INCLUSIVE OF VAT (VALUE ADDED TAX)"]
[]
["' PRICE SCHEDULE : C (PS5) : 11KV-33KV MEDIUM VOLTAGE (MV) KIOSK CIRCUIT BREAKERS (KIOSK) ",{"$nulls":11},"SUPPLIER:"]
[]
[" PRICE SCHEDULE FOR GOODS MANUFACTURED IN AND OUTSIDE THE R.S.A.  PRICE PER UNIT FOR SUPPLY, DELIVERY AND ERECTION / INSTALLATION.  ALL AMOUNTS EXPRESSED IN RANDS"]
[]
[""]
[" REMARKS",{"$nulls":5},"                       ITEM NO",null,null,26,27,28,29,30]
[" *Eskom may effect this insurance which includes war",{"$nulls":5},"                  ITEM DESCRIPTION",null,null,"BKR:KSK;33 KV;1250 A;25 KA;3;220 VDC","BKR:KSK;33 KV;1250 A;31.5 KA;3;110 VDC","BKR:KSK;33 KV;1250 A;31,5 KA;3;220 VDC","BKR:KSK;33 KV;1600 A;25 KA;3;110 VDC","BKR:KSK;33 KV;1600 A;25 KA;3;220 VDC"]
["   risk insurance"]
["**Please specify"]
["SUPPLIED FROM OUTSIDE R.S.A.:",{"$nulls":7},"(In ZAR)"]
["1: F.O.B. PRICE",{"$nulls":7},"(In ZAR)"]
["2: COST OF SEA  FREIGHT",{"$nulls":7},"(In ZAR)"]
["3: COST OF AIR  FREIGHT",{"$nulls":7},"(In ZAR)"]
["4: COST OF MARINE INSURANCES *",{"$nulls":7},"(In ZAR)"]
["5: TOTAL PRICE DELIVERED PORT R.S.A. ...",{"$nulls":5},"(1+2+3+4)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["6: WHARFAGE",{"$nulls":7},"(In ZAR)"]
["7: LANDING CHARGES",{"$nulls":7},"(In ZAR)"]
["8: CUSTOMS DUTIES",{"$nulls":7},"(In ZAR)"]
["9: IMPORT SURCHARGE",{"$nulls":7},"(In ZAR)"]
["11: COST OF IMPORTATION ...",{"$nulls":5},"(6+7+8+9+10)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["12: COST OF RAIL TRANSPORT IN R.S.A.",{"$nulls":7},"(In ZAR)"]
["13: COST OF ROAD TRANSPORT IN R.S.A.",{"$nulls":7},"(In ZAR)"]
["14: TOTAL COST OF TRANSPORT S.A. PORT TO WORK/SITE ...",{"$nulls":5},"(12+13)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["15: TOTAL PRICE (F.O.B.) DELIVERED TO WORKS/SITE...",{"$nulls":5},"(5+11+14)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[]
["SUPPLIED FROM INSIDE R.S.A."]
["16: OTHER**"]
["17: F.O.R. PRICE-GOODS MANUFACTURED INSIDE R.S.A."]
["18: F.O.R. PRICE-GOODS SUPPLIED FROM IMPORTED ITEMS"]
["19: TOTAL F.O.R. PRICE ...",{"$nulls":5},"(16+17)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["20: COST OF RAIL TRANSPORT"]
["21: COST OF ROAD TRANSPORT"]
["22: COST OF TRANSPORT WORKS TO SITE ...          ",{"$nulls":5},"(19+20)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["23: PRICE (F.O.R.) DELIVERED TO SITE ...          ",{"$nulls":5},"(18+21)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[" SITE WORK (ERECTION / INSTALLATION INCL. COMMISSIONING) "]
["24: LOCAL LABOUR"]
["25: EXPATRIATE  LABOUR"]
["26: TOTAL PRICE FOR SITE WORK ...          ",{"$nulls":5},"(23+24)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["27: OVERSEAS ENGINEERING SERVICES"]
["28: LOCAL ENGINEERING SERVICES"]
["29: TOTAL PRICE FOR ENGINEERING SERVICES...",{"$nulls":5},"(26+27)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["29a: TOTAL PRICE DELIVERED TO SITE (EXCL VAT)",{"$nulls":5},"(15+22+25+28)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["30. VAT"]
["31: TOTAL  PRICE DELIVERED TO SITE",{"$nulls":5},"(28a+29)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["ENQUIRY NUMBER : CORP XXXX",null,"CORP 5656",null,"                                      PRICES INCLUSIVE OF VAT (VALUE ADDED TAX)"]
[]
["' PRICE SCHEDULE : C (PS5) : 11KV-33KV MEDIUM VOLTAGE (MV) KIOSK CIRCUIT BREAKERS (KIOSK) "]
[]
[" PRICE SCHEDULE FOR GOODS MANUFACTURED OUTSIDE THE R.S.A.  PRICE PER UNIT FOR ENGINEERING, MANUFACTURE, SUPPLY AND DELIVERY.  ALL AMOUNTS EXPRESSED IN FOREIGN CURRENCY (UP TO LINE 4)."]
[]
[]
[" REMARKS",{"$nulls":5},"                       ITEM NO",null,null,26,27,28,29,30]
[" *Eskom may effect this insurance which includes war",{"$nulls":5},"                  ITEM DESCRIPTION",null,null,"BKR:KSK;33 KV;1250 A;25 KA;3;220 VDC","BKR:KSK;33 KV;1250 A;31.5 KA;3;110 VDC","BKR:KSK;33 KV;1250 A;31,5 KA;3;220 VDC","BKR:KSK;33 KV;1600 A;25 KA;3;110 VDC","BKR:KSK;33 KV;1600 A;25 KA;3;220 VDC"]
["   risk insurance"]
["**Please specify"]
["PRICE DELIVERED TO PORT R.S.A. (LINE 5)",{"$nulls":6},"(In Foreign Currency)"]
["31: CURRENCY A   1 ZAR=............",null,null,"(FOB)",{"$nulls":3},"(In Foreign Currency)"]
["32: CURRENCY B   1 ZAR=............",null,null,"(FOB)",{"$nulls":3},"(In Foreign Currency)"]
["33: CURRENCY C   1 ZAR=............",null,null,"(FOB)",{"$nulls":3},"(In Foreign Currency)"]
["34: CURRENCY D   1 ZAR=............",null,null,"(FREIGHT)",{"$nulls":3},"(In Foreign Currency)"]
["35: CURRENCY E   1 ZAR=............",null,null,"(INSURANCE)",{"$nulls":3},"(In Foreign Currency)"]
["36: TOTAL F.O.B. PRICE ",{"$nulls":5},"(5=31+32+33+34+35)"]
["PRICE EXPATRIATE LABOUR (LINE 25)",{"$nulls":6},"(In Foreign Currency)"]
["37: CURRENCY A   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["38: CURRENCY B   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["39: CURRENCY C   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["40: CURRENCY D   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["41: CURRENCY E   1 ZAR=.............",{"$nulls":6},"(In Foreign Currency)"]
["42.TOTAL PRICE EXPATRIATE LABOUR ",{"$nulls":5},"(24=37+38+39+40+41)"]
["PRICE OVERSEAS ENGINEERING SERVICES (LINE 27)",{"$nulls":6},"(In Foreign Currency)"]
["43: CURRENCY A   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["44: CURRENCY B   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["45: CURRENCY C   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["46: CURRENCY D   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["47: CURRENCY E   1 ZAR=.............",{"$nulls":6},"(In Foreign Currency)"]
["48: TOTAL PRICE OVERSEAS ENGINEERING SERVICES (LINE 27) ",{"$nulls":6},"(27=43+44+45+46+47)"]
["49: FOREIGN CONTENT OF TOTAL PRICE",{"$nulls":5},"(36+42+48)"]
["LOCAL PREFERENCE FOR ELECTRONICS ONLY"]
["50. FOR PRICE GOODS MANUFACTURED IN R.S.A. (LINE 17)"]
["51. PRICE FOR LOCAL DESIGN / ENGINEERING SERVICES (LINE 27) "]
["52. PERCENTAGE PREFERENCE CLAIMED (=................) ON LINE 50"]
["53. PERCENTAGE PREFERENCE CLAIMED (=................) ON LINE 51"]
["54. TOTAL AMOUNT CLAIMED ",null,null,"(52 + 53)"]
[]
[]
["SIGNATURE...................................................................",{"$nulls":6},"CAPACITY........................................................................"]
[]
["ENQUIRY NUMBER : CORP XXXX",null,"CORP 5656",null,"                                      PRICES INCLUSIVE OF VAT (VALUE ADDED TAX)"]
[]
["' PRICE SCHEDULE : C (PS5) : 11KV-33KV MEDIUM VOLTAGE (MV) KIOSK CIRCUIT BREAKERS (KIOSK) ",{"$nulls":11},"SUPPLIER:"]
[]
[" PRICE SCHEDULE FOR GOODS MANUFACTURED IN AND OUTSIDE THE R.S.A.  PRICE PER UNIT FOR SUPPLY, DELIVERY AND ERECTION / INSTALLATION.  ALL AMOUNTS EXPRESSED IN RANDS"]
[]
[""]
[" REMARKS",{"$nulls":5},"                       ITEM NO",null,null,31,32,33,34,35]
[" *Eskom may effect this insurance which includes war",{"$nulls":5},"                  ITEM DESCRIPTION",null,null,"BKR:KSK;33 KV;1600 A;31.5 KA;3;110 VDC","BKR:KSK;33 KV;1600 A;31.5 KA;3;220V DC"]
["   risk insurance"]
["**Please specify"]
["SUPPLIED FROM OUTSIDE R.S.A.:",{"$nulls":7},"(In ZAR)"]
["1: F.O.B. PRICE",{"$nulls":7},"(In ZAR)"]
["2: COST OF SEA  FREIGHT",{"$nulls":7},"(In ZAR)"]
["3: COST OF AIR  FREIGHT",{"$nulls":7},"(In ZAR)"]
["4: COST OF MARINE INSURANCES *",{"$nulls":7},"(In ZAR)"]
["5: TOTAL PRICE DELIVERED PORT R.S.A. ...",{"$nulls":5},"(1+2+3+4)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["6: WHARFAGE",{"$nulls":7},"(In ZAR)"]
["7: LANDING CHARGES",{"$nulls":7},"(In ZAR)"]
["8: CUSTOMS DUTIES",{"$nulls":7},"(In ZAR)"]
["9: IMPORT SURCHARGE",{"$nulls":7},"(In ZAR)"]
["11: COST OF IMPORTATION ...",{"$nulls":5},"(6+7+8+9+10)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["12: COST OF RAIL TRANSPORT IN R.S.A.",{"$nulls":7},"(In ZAR)"]
["13: COST OF ROAD TRANSPORT IN R.S.A.",{"$nulls":7},"(In ZAR)"]
["14: TOTAL COST OF TRANSPORT S.A. PORT TO WORK/SITE ...",{"$nulls":5},"(12+13)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["15: TOTAL PRICE (F.O.B.) DELIVERED TO WORKS/SITE...",{"$nulls":5},"(5+11+14)",null,"(In ZAR)",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[]
["SUPPLIED FROM INSIDE R.S.A."]
["16: OTHER**"]
["17: F.O.R. PRICE-GOODS MANUFACTURED INSIDE R.S.A."]
["18: F.O.R. PRICE-GOODS SUPPLIED FROM IMPORTED ITEMS"]
["19: TOTAL F.O.R. PRICE ...",{"$nulls":5},"(16+17)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["20: COST OF RAIL TRANSPORT"]
["21: COST OF ROAD TRANSPORT"]
["22: COST OF TRANSPORT WORKS TO SITE ...          ",{"$nulls":5},"(19+20)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["23: PRICE (F.O.R.) DELIVERED TO SITE ...          ",{"$nulls":5},"(18+21)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
[" SITE WORK (ERECTION / INSTALLATION INCL. COMMISSIONING) "]
["24: LOCAL LABOUR"]
["25: EXPATRIATE  LABOUR"]
["26: TOTAL PRICE FOR SITE WORK ...          ",{"$nulls":5},"(23+24)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["27: OVERSEAS ENGINEERING SERVICES"]
["28: LOCAL ENGINEERING SERVICES"]
["29: TOTAL PRICE FOR ENGINEERING SERVICES...",{"$nulls":5},"(26+27)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["29a: TOTAL PRICE DELIVERED TO SITE (EXCL VAT)",{"$nulls":5},"(15+22+25+28)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["30. VAT"]
["31: TOTAL  PRICE DELIVERED TO SITE",{"$nulls":5},"(28a+29)",null,null,{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["ENQUIRY NUMBER : CORP XXXX",null,"CORP 5656",null,"                                      PRICES INCLUSIVE OF VAT (VALUE ADDED TAX)"]
[]
["' PRICE SCHEDULE : C (PS5) : 11KV-33KV MEDIUM VOLTAGE (MV) KIOSK CIRCUIT BREAKERS (KIOSK) "]
[]
[" PRICE SCHEDULE FOR GOODS MANUFACTURED OUTSIDE THE R.S.A.  PRICE PER UNIT FOR ENGINEERING, MANUFACTURE, SUPPLY AND DELIVERY.  ALL AMOUNTS EXPRESSED IN FOREIGN CURRENCY (UP TO LINE 4)."]
[]
[]
[" REMARKS",{"$nulls":5},"                       ITEM NO",null,null,31,32,33,34,35]
[" *Eskom may effect this insurance which includes war",{"$nulls":5},"                  ITEM DESCRIPTION",null,null,"BKR:KSK;33 KV;1600 A;31.5 KA;3;110 VDC","BKR:KSK;33 KV;1600 A;31.5 KA;3;220V DC",{"v":0,"d":"0.00"},{"v":0,"d":"0.00"},{"v":0,"d":"0.00"}]
["   risk insurance"]
["**Please specify"]
["PRICE DELIVERED TO PORT R.S.A. (LINE 5)",{"$nulls":6},"(In Foreign Currency)"]
["31: CURRENCY A   1 ZAR=............",null,null,"(FOB)",{"$nulls":3},"(In Foreign Currency)"]
["32: CURRENCY B   1 ZAR=............",null,null,"(FOB)",{"$nulls":3},"(In Foreign Currency)"]
["33: CURRENCY C   1 ZAR=............",null,null,"(FOB)",{"$nulls":3},"(In Foreign Currency)"]
["34: CURRENCY D   1 ZAR=............",null,null,"(FREIGHT)",{"$nulls":3},"(In Foreign Currency)"]
["35: CURRENCY E   1 ZAR=............",null,null,"(INSURANCE)",{"$nulls":3},"(In Foreign Currency)"]
["36: TOTAL F.O.B. PRICE ",{"$nulls":5},"(5=31+32+33+34+35)"]
["PRICE EXPATRIATE LABOUR (LINE 25)",{"$nulls":6},"(In Foreign Currency)"]
["37: CURRENCY A   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["38: CURRENCY B   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["39: CURRENCY C   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["40: CURRENCY D   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["41: CURRENCY E   1 ZAR=.............",{"$nulls":6},"(In Foreign Currency)"]
["42.TOTAL PRICE EXPATRIATE LABOUR ",{"$nulls":5},"(24=37+38+39+40+41)"]
["PRICE OVERSEAS ENGINEERING SERVICES (LINE 27)",{"$nulls":6},"(In Foreign Currency)"]
["43: CURRENCY A   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["44: CURRENCY B   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["45: CURRENCY C   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["46: CURRENCY D   1 ZAR=............",{"$nulls":6},"(In Foreign Currency)"]
["47: CURRENCY E   1 ZAR=.............",{"$nulls":6},"(In Foreign Currency)"]
["48: TOTAL PRICE OVERSEAS ENGINEERING SERVICES (LINE 27) ",{"$nulls":6},"(27=43+44+45+46+47)"]
["49: FOREIGN CONTENT OF TOTAL PRICE",{"$nulls":5},"(36+42+48)"]
["LOCAL PREFERENCE FOR ELECTRONICS ONLY"]
["50. FOR PRICE GOODS MANUFACTURED IN R.S.A. (LINE 17)"]
["51. PRICE FOR LOCAL DESIGN / ENGINEERING SERVICES (LINE 27) "]
["52. PERCENTAGE PREFERENCE CLAIMED (=................) ON LINE 50"]
["53. PERCENTAGE PREFERENCE CLAIMED (=................) ON LINE 51"]
["54. TOTAL AMOUNT CLAIMED ",null,null,"(52 + 53)"]
[]
[]
["SIGNATURE...................................................................",{"$nulls":6},"CAPACITY........................................................................"]

{"sheet":"TOE 11kV_33KV CB","index":2,"n_rows":100,"n_cols":13,"rows_kept":100,"merged":[[3,1,4,4],[3,5,4,11],[5,1,6,4],[5,5,6,11],[7,1,8,4],[7,5,8,11],[9,1,11,1],[9,2,9,11],[10,2,10,11],[11,2,11,11],[29,1,30,12],[35,1,36,4],[35,5,36,11],[37,1,38,4],[37,5,38,11],[39,1,40,4],[39,5,40,11],[41,1,43,1],[41,2,41,11],[42,2,42,11],[43,2,43,11],[61,1,62,12],[67,1,68,4],[67,5,68,12],[69,1,70,4],[69,5,70,12],[71,1,72,4],[71,5,72,12],[73,1,75,1],[73,2,75,2],[73,3,73,12],[74,3,74,12],[75,3,75,12],[93,1,94,12],[97,1,97,5],[98,1,98,5],[99,1,99,5]],"flags":["formulas_cached_only"]}
[null,"TRANSPORT OF CIRCUIT BREAKERS"]
[]
[]
[null," ENQUIRY NO",{"$nulls":3},"CORP 5656"]
[]
[null,"COMMODITY",{"$nulls":3},"11kV_33kV Circuit Breaker"]
[]
[null,"SUPPLIER"]
[]
[null,"DISTANCE WITHIN A GIVEN RADIUS","PER UNIT PRICE IN SOUTH AFRICAN CURRENCY EXCLUDING VAT"]
[null,null,"TRANSPORT TO SITE OR REGIONAL STORE"]
[null,null,"NUMBER OF UNITS TO BE TRANSPORTED DURING ONE SITE VISIT"]
[null,null,1,2,3,4,5,6,"7 to 9","10 to 12","13 to 18","19 or more"]
[null,"0 - 100"]
[null,"101 - 200"]
[null,"201 - 300"]
[null,"301 - 400"]
[null,"401 - 500"]
[null,"501 - 600"]
[null,"601 - 700"]
[null,"701 - 800"]
[null,"801 - 900"]
[null,"901 - 1000"]
[null,"1001 - 1100"]
[null,"1101 - 1200"]
[null,"1201 - 1300"]
[null,"1301 - 1400"]
[null,"1401 - 1500"]
[]
[null,"ADDITIONAL NOTES:"]
[]
[]
[null,"OFF LOADING OF CIRCUIT BREAKERS"]
[]
[]
[null," ENQUIRY NO",{"$nulls":3},"CORP 5656"]
[]
[null,"COMMODITY",{"$nulls":3},"11kV_ 33kV Circuit Breaker"]
[]
[null,"SUPPLIER"]
[]
[null,"DISTANCE WITHIN A GIVEN RADIUS","PER UNIT PRICE IN SOUTH AFRICAN CURRENCY EXCLUDING VAT"]
[]
[null,null,"NUMBER OF UNITS TO BE OFF LOADED DURING ONE SITE VISIT"]
[null,null,1,2,3,4,5,6,"7 to 9","10 to 12","13 to 18","19 or more"]
[null,"0 - 100"]
[null,"101 - 200"]
[null,"201 - 300"]
[null,"301 - 400"]
[null,"401 - 500"]
[null,"501 - 600"]
[null,"601 - 700"]
[null,"701 - 800"]
[null,"801 - 900"]
[null,"901 - 1000"]
[null,"1001 - 1100"]
[null,"1101 - 1200"]
[null,"1201 - 1300"]
[null,"1301 - 1400"]
[null,"1401 - 1500"]
[]
[null,"ADDITIONAL NOTES:"]
[]
[]
[null,"INSTALLATION AND COMMISSIONING OF CIRCUIT BREAKERS"]
[]
[]
[null," ENQUIRY NO",{"$nulls":3},"CORP 5656"]
[]
[null,"COMMODITY",{"$nulls":3},"11kV _ 33kV Circuit Breaker"]
[]
[null,"SUPPLIER"]
[]
[null,"DESTINATION WITHIN A GIVEN RADIUS","RETURN SITE VISIT","PER UNIT PRICE IN SOUTH AFRICAN CURRENCY EXCLUDING VAT"]
[]
[{"$nulls":3},"NUMBER OF UNITS TO BE ERECTED DURING ONE SITE VISIT"]
[{"$nulls":3},1,2,3,4,5,6,"7 to 9","10 to 12","13 to 18","19 or more"]
[null,"0 - 100"]
[null,"101 - 200"]
[null,"201 - 300"]
[null,"301 - 400"]
[null,"401 - 500"]
[null,"501 - 600"]
[null,"601 - 700"]
[null,"701 - 800"]
[null,"801 - 900"]
[null,"901 - 1000"]
[null,"1001 - 1100"]
[null,"1101 - 1200"]
[null,"1201 - 1300"]
[null,"1301 - 1400"]
[null,"1401 - 1500"]
[]
[null,"ADDITIONAL NOTES:"]
[]
[]
[]
[null,"Monthly manufacturing capacity"]
[null,"Monthly installation capacity"]
[null,"Lead time"]