Once-off Repairs and Mechanical maintenance on 7 (Seven) Vacuum Switchgears

A Switchgear is composed of electrical disconnect switches, fuses or circuit breakers used to control, protect and isolate electrical equipment. Switchgear is used both to de-energize equipment to allow work to be done and to clear faults downstream. This type of equipment is directly linked to the reliability of the electricity supply.

One of the basic functions of switchgear is protection, which is interruption of short-circuit and overload fault currents while maintaining service to unaffected circuits. Switchgear also provides isolation of circuits from power supplies. Switchgear is further used to enhance system availability by allowing more than one source to feed a load.

The HSRC is equipped 6 transformers and each transformer is controlled by a Hawker Siddley Switchgear

HSRC need the expertise of a qualified Engineer  to service 7 switchgears for optimum utilisation and reliability.

Hawker Siddley type Switchgear

- Service voltage:		11kv

- Type: 			v4/1

- Making cap peak:	33.4

- Equivalent MVA:	250

- Asymmetrical:		16.4kA

- Serial number:

Mandatory requirements

- Electrical CIDB registration and supply proof

- Electrical Certificate and trade test (certified copy)

- Electrical Contractors

- Certificate issued by the Department of Labour- The Electrical Contractors Certificate is issued by the Department of Labour according to the Electrical Installation Regulations 1992, Regulation 5, and the Occupational Health and Safety Act 6 of 1983, amended 1992

- NB: Site Visit and inspection -very important

Evaluation

Suppliers will be evaluated on as per table below.

|  | Evaluation Criteria | Description Weight | Points |
| --- | --- | --- | --- |
| 1 | Number of years rendering electrical services | Minimum of three (3) years’ experience in which the company has been rendering electrical services. Company profile clearly indicating the number of years in business providing electrical services. Bidders Experience - 0 Years’ Experience = 0 Points - 1 Years’ Experience = 1 Point - 2 Years’ Experience = 2 Points - 3 Years’ Experience = 3 Points - 4 Years’ and above Experience = 4 | 20 |
| 2 | Client References. | The service provider must provide five (5) positive written contactable references (not older than 1 year) indicating the similar services rendered. The reference letters from the clients of a bidder must include: - Company name - Company letterhead - Contact person and contact telephone numbers - The letter must be signed by a duly authorised person. Bidders Reference Letters - 0 Reference Letter = 0 Points - 1 Reference Letters =1Point - 2 Reference Letters = 2 Points - 3 Reference Letters = 3 | 40 |
| 3 | Repair Warranty Management | Due to the requirement that all works have a warranty of one year after completion. Bidders are expected to demonstrate how they will adhere to this requirement - No warranty management system supplied (0) - Warranty management system supplied (20) | 20 |
| 4 | Project Approach | Bidders to provide Project approach on how the 7 switchgears will be repaired. This should include - Timeframe - Risk analysis (considering that the switchgears are currently being used) - What procedures will be implemented to minimise downtime of electrical supply to essential systems in the building | 20 |

Minimum Threshold 70%