REQUEST FOR QUOTATION FORM FOR GOODS

AND SERVICES

AGRICULTURAL RESEARCH COUNCIL(ARC)

RFQ No:		‪‪‪ 	‪‪‪RFQ-055784

Enquiries: 			Sello Sako

Contact:			018 299 6437 (Administrative)

Schalk Du Plessis

018 299 6283 (Technical)

RFQ Closing Date:  	2022/09/16 11:00

Compulsory Site Inspection: 2022/09/09 10:00

1.	You are kindly requested to submit a written quotation to Agricultural

Research Council as per below or attached terms of reference (TOR’s).

| Description | Quantity | UOM |
| --- | --- | --- |
| Compulsory Site briefing: Supply and Install: 1) 75 mm Cromadec cold room panels for roof and walls (to be installed inside room) 2) Hinged cold room door 3) Condensing unit 4) Evaporator unit 5) Electrical control panel 6) Digital controller with temperature display 7) Light inside cold room to work from lights witch next to door 8) Electrical supply to be connected in DB board by service provider (approximate distance 30m) | 1 | EA |

2.	The above specified goods/services should be delivered/rendered to:

Name of Institute	: ARC- GRAIN CROPS INSTITUTE

Address		: Grain Crops Institute (ARC-GCI)

114 Chris Hanistreet

Agricultural Research Centre Potchefstroom

Hendrik Schoeman & JPF Sellshop Buildings

Potchefstroom

2520

3.	The particulars of the guarantee that will apply to the goods quoted for,

with particular regard to the period and extent of the warranty must be

clearly stated. Where services are required, service providers must submit

documentation pertaining the relevant experience.

4.	Your written quotation must be emailed to:SakoSA@arc.agric.za

5. 	Compulsory Site briefing Address:

114 Chris Hanistreet

Agricultural Research Centre Potchefstroom

Hendrik Schoeman & JPF Sellshop Buildings

Potchefstroom

2520

6.	Standard conditions:

6.1	The validity of the quotations must be indicated.

6.2	Prices quoted should be in South African Rand and inclusive of VAT costs

such as delivery, insurance, taxes, etc.

6.3	No price adjustments or amendment of the delivery particulars contained

in paragraph 2 will be considered by the ARC.

6.4	The supplier accepts full responsibility for the proper execution and

fulfilment of the goods/services quoted for.

6.5	ARC reserves the right to accept or reject any special terms and

conditions that may qualify the goods/services to be provided.

6.6	Quotes should be submitted on an official letterhead and duly signed

6.7	Goods and services should be supplied/rendered upon receipt of a

purchase order from the ARC

6.8	The General Conditions of Contract issued by National Treasury are

applicable.

6.9	The ARC supply chain management code of conduct is applicable.

6.10	SBD Forms must be signed and returned together with the quotation if

your price is above R10 000.00, failure to comply will result to

disqualification of your quotation.

6.11	Only quotation from suppliers who are requested to quote shall be

evaluated and considered.

6.12	Your quotation must indicate the delivery date.

6.13	The ARC reserve the right to do due diligence on the quotations.

6.14	The ARC reserve the right to benchmark prices quoted.

6.15	 When submitting your quotation please attach the following documents

- Quotation (RFQ number should reflect).

- CSD Report (Date of the quotation).

- SBD 4

- Valid Tax Pin

- Valid BBBEEE Certificate or Sworn Affidavit

Thank you in anticipation

Supply Chain Management:ARC

Date: 19/05/2022