Health and safety scope of work Main theatre

Request for quotations                                                Description                             QTY                              PRICE

|  |  | Kitchen and Bar Area – install secondary handrail |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 2,12 |  |  |  |  |  |  |
|  |  | Loft theatre – replace stair nosing x 1 and install second handrail 24m |  |  |  |  |
| 2,166 |  |  |  |  |  |  |
|  |  | Loft theatre – no access to gas suppression room to be upgraded |  |  |  |  |
| 2,167 |  |  |  |  |  |  |
|  |  | Quad Area – install handrails |  |  |  |  |
| 2,174 |  |  |  |  |  |  |
|  |  | Quad Area – install handrails |  |  |  |  |
| 2,175 |  |  |  |  |  |  |